## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1347-4_1_4_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_1347-4_1_4_node_126 | 0.4 | n |  | TRUE
2 | bus_LV_1347-4_1_4_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_1347-4_1_4_node_130 | 0.4 | n |  | TRUE
4 | bus_LV_1347-4_1_4_node_131 | 0.4 | n |  | TRUE
5 | bus_LV_1347-4_1_4_node_148 | 0.4 | n |  | TRUE
6 | bus_LV_1347-4_1_4_node_147 | 0.4 | n |  | TRUE
7 | bus_LV_1347-4_1_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1347-4_1_4_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_1347-4_1_4_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_1347-4_1_4_node_139 | 0.4 | n |  | TRUE
11 | bus_LV_1347-4_1_4_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_1347-4_1_4_node_140 | 0.4 | n |  | TRUE
13 | bus_LV_1347-4_1_4_node_62 | 0.4 | n |  | TRUE
14 | bus_LV_1347-4_1_4_node_141 | 0.4 | n |  | TRUE
15 | bus_LV_1347-4_1_4_node_144 | 0.4 | n |  | TRUE
16 | bus_LV_1347-4_1_4_node_143 | 0.4 | n |  | TRUE
17 | bus_LV_1347-4_1_4_node_142 | 0.4 | n |  | TRUE
18 | bus_LV_1347-4_1_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1347-4_1_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1347-4_1_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1347-4_1_4_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_1347-4_1_4_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_1347-4_1_4_node_145 | 0.4 | n |  | TRUE
24 | bus_LV_1347-4_1_4_node_146 | 0.4 | n |  | TRUE
25 | bus_LV_1347-4_1_4_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_1347-4_1_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1347-4_1_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1347-4_1_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1347-4_1_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1347-4_1_4_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_1347-4_1_4_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_1347-4_1_4_node_150 | 0.4 | n |  | TRUE
33 | bus_LV_1347-4_1_4_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_1347-4_1_4_node_151 | 0.4 | n |  | TRUE
35 | bus_LV_1347-4_1_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_1347-4_1_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_1347-4_1_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1347-4_1_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_1347-4_1_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1347-4_1_4_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1347-4_1_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_1347-4_1_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_1347-4_1_4_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_1347-4_1_4_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_1347-4_1_4_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_1347-4_1_4_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_1347-4_1_4_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_1347-4_1_4_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_1347-4_1_4_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_1347-4_1_4_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_1347-4_1_4_node_123 | 0.4 | n |  | TRUE
52 | bus_LV_1347-4_1_4_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_1347-4_1_4_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_1347-4_1_4_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_1347-4_1_4_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_1347-4_1_4_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_1347-4_1_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_1347-4_1_4_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_1347-4_1_4_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_1347-4_1_4_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_1347-4_1_4_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_1347-4_1_4_node_124 | 0.4 | n |  | TRUE
63 | bus_LV_1347-4_1_4_node_125 | 0.4 | n |  | TRUE
64 | bus_LV_1347-4_1_4_node_127 | 0.4 | n |  | TRUE
65 | bus_MV_19_0_node_16 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1347-4_1_4_load_128 | 0 | 0.0087421 | 0.002191 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1347-4_1_4_load_126 | 1 | 0.050978 | 0.012776 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1347-4_1_4_load_129 | 2 | 0.015514 | 0.0038882 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1347-4_1_4_load_148 | 5 | 0.0055634 | 0.0013943 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1347-4_1_4_load_147 | 6 | 0.00085572 | 0.00021446 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1347-4_1_4_load_7 | 7 | 0.00027923 | 6.9983e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1347-4_1_4_load_45 | 8 | 0.0011468 | 0.00028741 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1347-4_1_4_load_40 | 9 | 0.00032086 | 8.0414e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1347-4_1_4_load_139 | 10 | 0.0020188 | 0.00050597 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1347-4_1_4_load_140 | 12 | 0.0069079 | 0.0017313 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1347-4_1_4_load_62 | 13 | 0.019252 | 0.004825 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1347-4_1_4_load_144 | 15 | 0.0073171 | 0.0018338 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1347-4_1_4_load_142 | 17 | 0.0055605 | 0.0013936 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1347-4_1_4_load_17 | 20 | 0.00051539 | 0.00012917 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1347-4_1_4_load_43 | 21 | 0.00063635 | 0.00015948 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1347-4_1_4_load_145 | 23 | 0.0056807 | 0.0014237 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1347-4_1_4_load_146 | 24 | 0.00048736 | 0.00012214 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1347-4_1_4_load_63 | 25 | 0.0013889 | 0.0003481 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1347-4_1_4_load_22 | 26 | 0.00011279 | 2.8267e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1347-4_1_4_load_23 | 27 | 0.00075604 | 0.00018948 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1347-4_1_4_load_24 | 28 | 0.00020096 | 5.0366e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1347-4_1_4_load_25 | 29 | 0.00022881 | 5.7345e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1347-4_1_4_load_150 | 32 | 0.00018116 | 4.5403e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1347-4_1_4_load_151 | 34 | 0.00043431 | 0.00010885 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1347-4_1_4_load_33 | 35 | 0.00017299 | 4.3354e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1347-4_1_4_load_35 | 37 | 0.00040732 | 0.00010208 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1347-4_1_4_load_36 | 38 | 0.00035027 | 8.7785e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1347-4_1_4_load_37 | 39 | 0.00027549 | 6.9044e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1347-4_1_4_load_39 | 41 | 0.00029697 | 7.4428e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1347-4_1_4_load_44 | 42 | 0.00014316 | 3.588e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1347-4_1_4_load_46 | 43 | 0.002182 | 0.00054686 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1347-4_1_4_load_47 | 44 | 0.0085207 | 0.0021355 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1347-4_1_4_load_48 | 45 | 0.0038332 | 0.00096068 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1347-4_1_4_load_64 | 50 | 0.0018008 | 0.00045132 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1347-4_1_4_load_123 | 51 | 0.021466 | 0.0053799 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1347-4_1_4_load_59 | 53 | 0.0046367 | 0.0011621 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1347-4_1_4_load_55 | 54 | 0.00024671 | 6.1832e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1347-4_1_4_load_56 | 55 | 0.0060325 | 0.0015119 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1347-4_1_4_load_60 | 57 | 0.00028394 | 7.1161e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1347-4_1_4_load_65 | 58 | 0.00044899 | 0.00011253 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1347-4_1_4_load_66 | 59 | 0.00098211 | 0.00024614 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1347-4_1_4_load_67 | 60 | 0.00058552 | 0.00014674 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1347-4_1_4_load_69 | 61 | 0.0002714 | 6.8019e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1347-4_1_4_load_124 | 62 | 0.012261 | 0.0030729 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1347-4_1_4_load_125 | 63 | 0.022095 | 0.0055375 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1347-4_1_4_load_127 | 64 | 0.005988 | 0.0015007 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1347-4_1_4_line_0 |  | 0 | 1 | 0.080972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_1347-4_1_4_line_1 |  | 0 | 2 | 0.0044076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1347-4_1_4_line_2 |  | 1 | 64 | 0.039871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1347-4_1_4_line_3 |  | 2 | 3 | 0.065473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1347-4_1_4_line_4 |  | 3 | 4 | 0.1101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1347-4_1_4_line_5 |  | 4 | 5 | 0.087513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1347-4_1_4_line_6 |  | 4 | 6 | 0.10726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1347-4_1_4_line_7 |  | 6 | 24 | 0.020047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1347-4_1_4_line_8 |  | 7 | 8 | 0.017853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1347-4_1_4_line_9 |  | 7 | 9 | 0.12519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1347-4_1_4_line_10 |  | 9 | 41 | 0.014057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1347-4_1_4_line_11 |  | 10 | 11 | 0.11331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1347-4_1_4_line_12 |  | 11 | 51 | 0.11849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1347-4_1_4_line_13 |  | 12 | 13 | 0.0059336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1347-4_1_4_line_14 |  | 12 | 14 | 0.028846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1347-4_1_4_line_15 |  | 13 | 52 | 0.052981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1347-4_1_4_line_16 |  | 14 | 15 | 0.03193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1347-4_1_4_line_17 |  | 14 | 16 | 0.022769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1347-4_1_4_line_18 |  | 15 | 23 | 0.021017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1347-4_1_4_line_19 |  | 16 | 17 | 0.026123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1347-4_1_4_line_20 |  | 18 | 19 | 0.007289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1347-4_1_4_line_21 |  | 18 | 20 | 0.098112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1347-4_1_4_line_22 |  | 19 | 21 | 0.11549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1347-4_1_4_line_23 |  | 20 | 22 | 0.024897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1347-4_1_4_line_24 |  | 21 | 42 | 0.0021133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1347-4_1_4_line_25 |  | 22 | 31 | 0.005497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1347-4_1_4_line_26 |  | 22 | 28 | 0.0096685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1347-4_1_4_line_27 |  | 24 | 25 | 0.022632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1347-4_1_4_line_28 |  | 25 | 52 | 0.16615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1347-4_1_4_line_29 |  | 26 | 27 | 0.029632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1347-4_1_4_line_30 |  | 26 | 28 | 0.11954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1347-4_1_4_line_31 |  | 27 | 29 | 0.067304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1347-4_1_4_line_32 |  | 29 | 30 | 0.037516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1347-4_1_4_line_33 |  | 30 | 61 | 0.12714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1347-4_1_4_line_34 |  | 30 | 60 | 0.019145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1347-4_1_4_line_35 |  | 31 | 38 | 0.19792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1347-4_1_4_line_36 |  | 32 | 33 | 0.0081342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1347-4_1_4_line_37 |  | 33 | 34 | 0.027675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1347-4_1_4_line_38 |  | 33 | 49 | 0.18263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1347-4_1_4_line_39 |  | 35 | 36 | 0.086406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1347-4_1_4_line_40 |  | 36 | 37 | 0.13505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1347-4_1_4_line_41 |  | 36 | 38 | 0.031712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1347-4_1_4_line_42 |  | 37 | 39 | 0.0058726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1347-4_1_4_line_43 |  | 39 | 40 | 0.032222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1347-4_1_4_line_44 |  | 40 | 41 | 0.065518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1347-4_1_4_line_45 |  | 43 | 44 | 0.0052605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1347-4_1_4_line_46 |  | 43 | 45 | 0.10171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_1347-4_1_4_line_47 |  | 44 | 46 | 0.11142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1347-4_1_4_line_48 |  | 45 | 47 | 0.064364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_1347-4_1_4_line_49 |  | 46 | 48 | 0.014206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1347-4_1_4_line_50 |  | 47 | 49 | 0.01529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_1347-4_1_4_line_51 |  | 48 | 50 | 0.16466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1347-4_1_4_line_52 |  | 49 | 53 | 0.11218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_1347-4_1_4_line_53 |  | 49 | 54 | 0.036185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1347-4_1_4_line_54 |  | 50 | 58 | 0.020864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1347-4_1_4_line_55 |  | 51 | 62 | 0.041126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1347-4_1_4_line_56 |  | 52 | 53 | 0.038434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_1347-4_1_4_line_57 |  | 54 | 55 | 0.057087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1347-4_1_4_line_58 |  | 55 | 56 | 0.058626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1347-4_1_4_line_59 |  | 56 | 57 | 0.085192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1347-4_1_4_line_60 |  | 58 | 59 | 0.049786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1347-4_1_4_line_61 |  | 59 | 60 | 0.031963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1347-4_1_4_line_62 |  | 62 | 63 | 0.0089234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1347-4_1_4_line_63 |  | 63 | 64 | 0.03352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1347-4_1_4_trafo_126 | 0.63 MVA 20/0.4 kV | 65 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2713941.0087 | 1228488.5122 | 2713936.6272 | 1228520.433 | 2713931.1458 | 1228568.8762
1 | 2713931.1458 | 1228568.8762 | 2713930.6502 | 1228573.2558
2 | 2713941.0087 | 1228488.5122 | 2713942.0801 | 1228480.7068 | 2713947.1169 | 1228449.1132
3 | 2713922.9471 | 1228638.2732 | 2713926.2342 | 1228612.2827 | 2713930.6502 | 1228573.2558
4 | 2713845.5174 | 1228669.7485 | 2713918.1386 | 1228675.2319 | 2713922.9471 | 1228638.2732
5 | 2713845.5174 | 1228669.7485 | 2713833.9915 | 1228672.4411 | 2713821.1838 | 1228680.7246 | 2713812.2252 | 1228681.1424 | 2713798.7521 | 1228673.1229 | 2713793.0001 | 1228658.4571 | 2713786.9064 | 1228651.7465 | 2713777.5112 | 1228646.1056
6 | 2713845.5174 | 1228669.7485 | 2713848.3784 | 1228652.5344 | 2713836.488 | 1228643.3886 | 2713835.5815 | 1228640.0687 | 2713841.9388 | 1228612.836 | 2713842.9418 | 1228590.9383 | 2713837.0225 | 1228585.0093 | 2713826.9567 | 1228582.2924 | 2713824.3396 | 1228581.7121
7 | 2713804.7675 | 1228577.3724 | 2713824.3396 | 1228581.7121
8 | 2713236.4687 | 1227957.6304 | 2713245.2763 | 1227955.6409 | 2713253.872 | 1227957.6352
9 | 2713269.4307 | 1228081.8535 | 2713253.872 | 1227957.6352
10 | 2713269.4307 | 1228081.8535 | 2713265.4207 | 1228083.4673 | 2713263.6349 | 1228090.0717 | 2713263.2345 | 1228092.9365
11 | 2713978.9275 | 1228249.5785 | 2714052.7752 | 1228163.6351
12 | 2713978.9275 | 1228249.5785 | 2713960.2736 | 1228366.5866
13 | 2713649.2988 | 1228555.4286 | 2713650.326 | 1228561.2727
14 | 2713655.3196 | 1228589.6829 | 2713650.326 | 1228561.2727
15 | 2713640.1242 | 1228503.2481 | 2713642.3118 | 1228515.6773 | 2713649.2988 | 1228555.4286
16 | 2713655.3196 | 1228589.6829 | 2713664.3443 | 1228588.1875 | 2713665.7246 | 1228588.5364 | 2713666.4155 | 1228589.6616 | 2713667.684 | 1228597.8366 | 2713668.9576 | 1228600.1961 | 2713671.0574 | 1228601.7596 | 2713673.796 | 1228602.4125 | 2713677.1447 | 1228602.4765 | 2713677.4408 | 1228602.4225
17 | 2713659.2562 | 1228612.1088 | 2713657.5067 | 1228602.1343 | 2713655.3196 | 1228589.6829
18 | 2713677.4408 | 1228602.4225 | 2713698.1172 | 1228598.6546
19 | 2713659.2562 | 1228612.1088 | 2713653.0289 | 1228611.5783 | 2713634.2435 | 1228605.0928
20 | 2713442.1867 | 1227876.3425 | 2713439.0669 | 1227882.9326
21 | 2713442.1867 | 1227876.3425 | 2713459.8121 | 1227886.9424 | 2713476.315 | 1227897.1761 | 2713490.5926 | 1227907.2451 | 2713506.8093 | 1227921.7434 | 2713520.2315 | 1227934.9208 | 2713520.2935 | 1227934.9902
22 | 2713439.0669 | 1227882.9326 | 2713435.1096 | 1227891.308 | 2713426.185 | 1227916.5017 | 2713420.2883 | 1227936.349 | 2713418.2382 | 1227952.8226 | 2713418.6305 | 1227966.4294 | 2713424.8525 | 1227994.3284
23 | 2713536.2457 | 1227954.0633 | 2713531.9866 | 1227948.0775 | 2713520.2935 | 1227934.9902
24 | 2713425.3125 | 1227996.391 | 2713424.8525 | 1227994.3284
25 | 2713531.8691 | 1227957.4046 | 2713536.2457 | 1227954.0633
26 | 2713536.2457 | 1227954.0633 | 2713544.3653 | 1227948.8143 | 2713544.3653 | 1227948.8143
27 | 2713782.6478 | 1228577.566 | 2713794.407 | 1228575.0751 | 2713804.7675 | 1228577.3724
28 | 2713640.1242 | 1228503.2481 | 2713655.4474 | 1228504.5196 | 2713717.2453 | 1228539.4498 | 2713744.1296 | 1228568.6753 | 2713777.6046 | 1228578.6343 | 2713782.6478 | 1228577.566
29 | 2713661.7422 | 1227934.057 | 2713676.183 | 1227930.2506 | 2713687.5198 | 1227928.3991 | 2713690.7282 | 1227928.2682
30 | 2713661.7422 | 1227934.057 | 2713607.4295 | 1227948.3734 | 2713593.1764 | 1227950.5252 | 2713576.7419 | 1227950.6114 | 2713547.7873 | 1227948.2347 | 2713544.3653 | 1227948.8143
31 | 2713690.7282 | 1227928.2682 | 2713699.2093 | 1227927.9221 | 2713717.0393 | 1227928.986 | 2713727.1164 | 1227927.6109 | 2713749.2971 | 1227923.1315 | 2713756.5496 | 1227922.8032 | 2713757.4366 | 1227922.9251
32 | 2713794.7006 | 1227926.658 | 2713784.2792 | 1227926.6142 | 2713757.4366 | 1227922.9251
33 | 2713794.7006 | 1227926.658 | 2713825.8983 | 1227920.7503 | 2713917.0497 | 1227892.6383
34 | 2713794.7006 | 1227926.658 | 2713797.0235 | 1227945.6618
35 | 2713531.8691 | 1227957.4046 | 2713522.3876 | 1227967.2869 | 2713518.2458 | 1227984.1319 | 2713512.994 | 1228026.9536 | 2713509.3874 | 1228045.5435 | 2713504.6262 | 1228062.2767 | 2713496.0907 | 1228083.7637 | 2713487.9186 | 1228098.9195 | 2713475.1765 | 1228114.4551 | 2713455.971 | 1228133.3882
36 | 2713577.4421 | 1228177.3774 | 2713576.0819 | 1228169.3577
37 | 2713577.4421 | 1228177.3774 | 2713561.9242 | 1228180.6948 | 2713550.1198 | 1228180.4693
38 | 2713608.664 | 1228357.3012 | 2713592.4868 | 1228263.0752 | 2713588.0419 | 1228239.8502 | 2713577.4421 | 1228177.3774
39 | 2713431.8345 | 1228153.9034 | 2713415.2275 | 1228184.9106 | 2713400.1071 | 1228213.8891 | 2713397.7037 | 1228220.2816 | 2713397.0686 | 1228226.9524 | 2713399.7083 | 1228231.2171
40 | 2713431.8345 | 1228153.9034 | 2713426.1244 | 1228156.4298 | 2713406.6711 | 1228161.4294 | 2713365.1658 | 1228178.1401 | 2713350.9878 | 1228177.1803 | 2713318.472 | 1228163.2723 | 2713304.5809 | 1228159.4852
41 | 2713431.8345 | 1228153.9034 | 2713449.4605 | 1228139.8064 | 2713455.971 | 1228133.3882
42 | 2713304.5809 | 1228159.4852 | 2713298.9151 | 1228157.9406
43 | 2713267.5842 | 1228150.5156 | 2713281.3287 | 1228153.146 | 2713298.9151 | 1228157.9406
44 | 2713267.5842 | 1228150.5156 | 2713275.5282 | 1228124.6247 | 2713277.6305 | 1228117.715 | 2713277.7901 | 1228110.5347 | 2713276.0638 | 1228105.2645 | 2713270.4864 | 1228099.2425 | 2713264.656 | 1228096.1514 | 2713263.1171 | 1228093.7758 | 2713263.2345 | 1228092.9365
45 | 2713741.5476 | 1228255.9672 | 2713744.5599 | 1228255.8642 | 2713746.5084 | 1228256.9824
46 | 2713741.5476 | 1228255.9672 | 2713739.1371 | 1228256.0496 | 2713716.1372 | 1228264.9834 | 2713692.8386 | 1228276.0689 | 2713685.0047 | 1228282.2462 | 2713681.2676 | 1228286.6337 | 2713676.6242 | 1228301.1562 | 2713673.1313 | 1228306.2489 | 2713667.1439 | 1228308.6141 | 2713661.921 | 1228308.6131
47 | 2713823.8126 | 1228206.2195 | 2713819.8468 | 1228208.2897 | 2713800.5058 | 1228237.8981 | 2713788.0416 | 1228254.3279 | 2713776.6455 | 1228264.8514 | 2713769.6516 | 1228268.3203 | 2713761.9738 | 1228268.3179 | 2713755.5169 | 1228266.304 | 2713750.0927 | 1228259.0391 | 2713746.5084 | 1228256.9824
48 | 2713612.5832 | 1228346.5567 | 2713620.402 | 1228343.537 | 2713650.5423 | 1228311.9439 | 2713655.9797 | 1228308.6119 | 2713661.921 | 1228308.6131
49 | 2713828.5965 | 1228193.0898 | 2713828.1749 | 1228197.2961 | 2713826.8829 | 1228201.041 | 2713823.8126 | 1228206.2195
50 | 2713608.664 | 1228357.3012 | 2713614.2374 | 1228355.9733 | 2713612.5832 | 1228346.5567
51 | 2713828.5965 | 1228193.0898 | 2713801.6042 | 1228132.2264 | 2713798.6477 | 1228121.5617 | 2713799.3108 | 1228109.4873 | 2713803.3607 | 1228100.2576 | 2713811.1867 | 1228088.9653 | 2713815.5298 | 1228079.4633 | 2713815.1541 | 1228069.0035 | 2713811.8782 | 1228063.937 | 2713804.8759 | 1228058.7212 | 2713798.3024 | 1228049.7219 | 2713796.3166 | 1228045.9339
52 | 2713608.664 | 1228357.3012 | 2713628.4314 | 1228467.7221
53 | 2713608.664 | 1228357.3012 | 2713604.1491 | 1228358.3714 | 2713599.6503 | 1228360.9764 | 2713595.1665 | 1228364.7826 | 2713582.6293 | 1228380.9582
54 | 2713796.3166 | 1228045.9339 | 2713794.7046 | 1228042.8588 | 2713794.6881 | 1228036.1978 | 2713797.9618 | 1228029.9 | 2713799.1803 | 1228026.4777
55 | 2713960.2736 | 1228366.5866 | 2713953.799 | 1228407.1992
56 | 2713640.1242 | 1228503.2481 | 2713633.3508 | 1228495.2014 | 2713628.4314 | 1228467.7221
57 | 2713582.6293 | 1228380.9582 | 2713573.8668 | 1228392.2637 | 2713549.2461 | 1228420.6267 | 2713547.0711 | 1228425.3778
58 | 2713527.8084 | 1228477.9729 | 2713532.7701 | 1228471.3625 | 2713534.0323 | 1228465.5933 | 2713533.5402 | 1228447.3142 | 2713535.1148 | 1228441.0617 | 2713547.0711 | 1228425.3778
59 | 2713527.8084 | 1228477.9729 | 2713501.9143 | 1228462.7115 | 2713466.9332 | 1228439.4818 | 2713457.3411 | 1228430.4968
60 | 2713800.9016 | 1227977.3887 | 2713802.0207 | 1227986.5442 | 2713803.4083 | 1228007.8984 | 2713802.0631 | 1228018.3807 | 2713799.1803 | 1228026.4777
61 | 2713800.9016 | 1227977.3887 | 2713797.0235 | 1227945.6618
62 | 2713952.3941 | 1228416.0113 | 2713953.799 | 1228407.1992
63 | 2713947.1169 | 1228449.1132 | 2713952.3941 | 1228416.0113

## bus_geodata
| x | y | coords
0 | 2713931.1458 | 1228568.8762
1 | 2713941.0087 | 1228488.5122
2 | 2713930.6502 | 1228573.2558
3 | 2713922.9471 | 1228638.2732
4 | 2713845.5174 | 1228669.7485
5 | 2713777.5112 | 1228646.1056
6 | 2713824.3396 | 1228581.7121
7 | 2713253.872 | 1227957.6352
8 | 2713236.4687 | 1227957.6304
9 | 2713269.4307 | 1228081.8535
10 | 2714052.7752 | 1228163.6351
11 | 2713978.9275 | 1228249.5785
12 | 2713650.326 | 1228561.2727
13 | 2713649.2988 | 1228555.4286
14 | 2713655.3196 | 1228589.6829
15 | 2713677.4408 | 1228602.4225
16 | 2713659.2562 | 1228612.1088
17 | 2713634.2435 | 1228605.0928
18 | 2713442.1867 | 1227876.3425
19 | 2713439.0669 | 1227882.9326
20 | 2713520.2935 | 1227934.9902
21 | 2713424.8525 | 1227994.3284
22 | 2713536.2457 | 1227954.0633
23 | 2713698.1172 | 1228598.6546
24 | 2713804.7675 | 1228577.3724
25 | 2713782.6478 | 1228577.566
26 | 2713661.7422 | 1227934.057
27 | 2713690.7282 | 1227928.2682
28 | 2713544.3653 | 1227948.8143
29 | 2713757.4366 | 1227922.9251
30 | 2713794.7006 | 1227926.658
31 | 2713531.8691 | 1227957.4046
32 | 2713576.0819 | 1228169.3577
33 | 2713577.4421 | 1228177.3774
34 | 2713550.1198 | 1228180.4693
35 | 2713399.7083 | 1228231.2171
36 | 2713431.8345 | 1228153.9034
37 | 2713304.5809 | 1228159.4852
38 | 2713455.971 | 1228133.3882
39 | 2713298.9151 | 1228157.9406
40 | 2713267.5842 | 1228150.5156
41 | 2713263.2345 | 1228092.9365
42 | 2713425.3125 | 1227996.391
43 | 2713741.5476 | 1228255.9672
44 | 2713746.5084 | 1228256.9824
45 | 2713661.921 | 1228308.6131
46 | 2713823.8126 | 1228206.2195
47 | 2713612.5832 | 1228346.5567
48 | 2713828.5965 | 1228193.0898
49 | 2713608.664 | 1228357.3012
50 | 2713796.3166 | 1228045.9339
51 | 2713960.2736 | 1228366.5866
52 | 2713640.1242 | 1228503.2481
53 | 2713628.4314 | 1228467.7221
54 | 2713582.6293 | 1228380.9582
55 | 2713547.0711 | 1228425.3778
56 | 2713527.8084 | 1228477.9729
57 | 2713457.3411 | 1228430.4968
58 | 2713799.1803 | 1228026.4777
59 | 2713800.9016 | 1227977.3887
60 | 2713797.0235 | 1227945.6618
61 | 2713917.0497 | 1227892.6383
62 | 2713953.799 | 1228407.1992
63 | 2713952.3941 | 1228416.0113
64 | 2713947.1169 | 1228449.1132
65 | 2713922.9471 | 1228638.2732

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99718 | -0.053647 | 0.0087421 | 0.002191
1 | 1 | 0 | -0.18086 | -0.045557
2 | 0.99703 | -0.05635 | 0.015514 | 0.0038882
3 | 0.99523 | -0.09064 | 0 | 0
4 | 0.9922 | -0.14858 | 0 | 0
5 | 0.99176 | -0.1572 | 0.0055634 | 0.0013943
6 | 0.98944 | -0.20181 | 0.00085572 | 0.00021446
7 | 0.97459 | -0.49246 | 0.00027923 | 6.9983e-05
8 | 0.97457 | -0.49284 | 0.0011468 | 0.00028741
9 | 0.97476 | -0.48918 | 0.00032086 | 8.0414e-05
10 | 0.99432 | -0.10936 | 0.0020188 | 0.00050597
11 | 0.99453 | -0.10532 | 0 | 0
12 | 0.98187 | -0.34875 | 0.0069079 | 0.0017313
13 | 0.98201 | -0.34602 | 0.019252 | 0.004825
14 | 0.98138 | -0.35844 | 0 | 0
15 | 0.981 | -0.36595 | 0.0073171 | 0.0018338
16 | 0.98126 | -0.36073 | 0 | 0
17 | 0.98113 | -0.36336 | 0.0055605 | 0.0013936
18 | 0.97592 | -0.46616 | 0 | 0
19 | 0.97592 | -0.46626 | 0 | 0
20 | 0.97599 | -0.46475 | 0.00051539 | 0.00012917
21 | 0.97583 | -0.46791 | 0.00063635 | 0.00015948
22 | 0.97602 | -0.46415 | 0 | 0
23 | 0.98089 | -0.36811 | 0.0056807 | 0.0014237
24 | 0.98892 | -0.21169 | 0.00048736 | 0.00012214
25 | 0.98835 | -0.22279 | 0.0013889 | 0.0003481
26 | 0.97659 | -0.4529 | 0.00011279 | 2.8267e-05
27 | 0.97672 | -0.45025 | 0.00075604 | 0.00018948
28 | 0.97606 | -0.46335 | 0.00020096 | 5.0366e-05
29 | 0.97707 | -0.4433 | 0.00022881 | 5.7345e-05
30 | 0.97728 | -0.43927 | 0 | 0
31 | 0.97601 | -0.46448 | 0 | 0
32 | 0.98257 | -0.33514 | 0.00018116 | 4.5403e-05
33 | 0.98257 | -0.33512 | 0 | 0
34 | 0.98256 | -0.33533 | 0.00043431 | 0.00010885
35 | 0.97531 | -0.4783 | 0.00017299 | 4.3354e-05
36 | 0.97532 | -0.47803 | 0 | 0
37 | 0.97498 | -0.4848 | 0.00040732 | 0.00010208
38 | 0.97541 | -0.47633 | 0.00035027 | 8.7785e-05
39 | 0.97497 | -0.48505 | 0.00027549 | 6.9044e-05
40 | 0.97491 | -0.48626 | 0 | 0
41 | 0.97478 | -0.48873 | 0.00029697 | 7.4428e-05
42 | 0.97583 | -0.46792 | 0.00014316 | 3.588e-05
43 | 0.98086 | -0.36864 | 0.002182 | 0.00054686
44 | 0.98077 | -0.37041 | 0.0085207 | 0.0021355
45 | 0.98183 | -0.3496 | 0.0038332 | 0.00096068
46 | 0.97975 | -0.39059 | 0 | 0
47 | 0.98256 | -0.33533 | 0 | 0
48 | 0.97961 | -0.39317 | 0 | 0
49 | 0.98268 | -0.33307 | 0 | 0
50 | 0.9781 | -0.42307 | 0.0018008 | 0.00045132
51 | 0.99474 | -0.10109 | 0.021466 | 0.0053799
52 | 0.9842 | -0.30329 | 0 | 0
53 | 0.98377 | -0.31168 | 0.0046367 | 0.0011621
54 | 0.98246 | -0.33737 | 0.00024671 | 6.1832e-05
55 | 0.98213 | -0.34388 | 0.0060325 | 0.0015119
56 | 0.98211 | -0.34419 | 0 | 0
57 | 0.98209 | -0.34463 | 0.00028394 | 7.1161e-05
58 | 0.97794 | -0.42618 | 0.00044899 | 0.00011253
59 | 0.97759 | -0.43319 | 0.00098211 | 0.00024614
60 | 0.97739 | -0.43712 | 0.00058552 | 0.00014674
61 | 0.97725 | -0.43991 | 0.0002714 | 6.8019e-05
62 | 0.99563 | -0.084091 | 0.012261 | 0.0030729
63 | 0.99592 | -0.078483 | 0.022095 | 0.0055375
64 | 0.99768 | -0.044467 | 0.005988 | 0.0015007
65 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.11482 | -0.029212 | 0.11512 | 0.029399 | 0.00029769 | 0.00018734 | 0.1715 | 0.1715 | 0.1715 | 0.99718 | -0.053647 | 1 | 0 | 15.705
1 | 0.10608 | 0.027021 | -0.10607 | -0.027012 | 1.3833e-05 | 8.6806e-06 | 0.15845 | 0.15845 | 0.15845 | 0.99718 | -0.053647 | 0.99703 | -0.05635 | 14.5104
2 | 0.064088 | 0.016158 | -0.063952 | -0.016072 | 0.00013607 | 8.6565e-05 | 0.095398 | 0.095398 | 0.095398 | 1 | 0 | 0.99768 | -0.044467 | 26.2084
3 | 0.090554 | 0.023124 | -0.090404 | -0.02303 | 0.00014982 | 9.3328e-05 | 0.1353 | 0.1353 | 0.1353 | 0.99703 | -0.05635 | 0.99523 | -0.09064 | 12.3901
4 | 0.090404 | 0.02303 | -0.090153 | -0.022873 | 0.00025194 | 0.00015696 | 0.1353 | 0.1353 | 0.1353 | 0.99523 | -0.09064 | 0.9922 | -0.14858 | 12.3903
5 | 0.0055656 | 0.0013946 | -0.0055634 | -0.0013943 | 2.2864e-06 | 3.3355e-07 | 0.0083468 | 0.0083472 | 0.0083472 | 0.9922 | -0.14858 | 0.99176 | -0.1572 | 2.2932
6 | 0.084587 | 0.021479 | -0.084371 | -0.021345 | 0.0002161 | 0.00013416 | 0.12695 | 0.12696 | 0.12696 | 0.9922 | -0.14858 | 0.98944 | -0.20181 | 11.626
7 | 0.083515 | 0.02113 | -0.083475 | -0.021106 | 3.9576e-05 | 2.4556e-05 | 0.12567 | 0.12567 | 0.12567 | 0.98944 | -0.20181 | 0.98892 | -0.21169 | 11.5082
8 | 0.0011468 | 0.0002872 | -0.0011468 | -0.00028741 | 2.0525e-08 | -2.0933e-07 | 0.0017509 | 0.001751 | 0.001751 | 0.97459 | -0.49246 | 0.97457 | -0.49284 | 0.48103
9 | -0.001426 | -0.00035719 | 0.0014263 | 0.00035577 | 2.2248e-07 | -1.4179e-06 | 0.0021772 | 0.0021767 | 0.0021772 | 0.97459 | -0.49246 | 0.97476 | -0.48918 | 0.59814
10 | -0.0017471 | -0.00043618 | 0.0017472 | 0.00043603 | 3.7478e-08 | -1.5124e-07 | 0.0026665 | 0.0026664 | 0.0026665 | 0.97476 | -0.48918 | 0.97478 | -0.48873 | 0.73254
11 | -0.0020188 | -0.00050597 | 0.0020192 | 0.00050474 | 3.8779e-07 | -1.2219e-06 | 0.0030212 | 0.0030207 | 0.0030212 | 0.99432 | -0.10936 | 0.99453 | -0.10532 | 0.83
12 | -0.0020192 | -0.00050474 | 0.0020196 | 0.00050347 | 4.0535e-07 | -1.2784e-06 | 0.0030207 | 0.0030202 | 0.0030207 | 0.99453 | -0.10532 | 0.99474 | -0.10109 | 0.82986
13 | -0.025481 | -0.0063905 | 0.025485 | 0.0063925 | 3.3185e-06 | 2.0488e-06 | 0.038618 | 0.038618 | 0.038618 | 0.98187 | -0.34875 | 0.98201 | -0.34602 | 10.6094
14 | 0.018573 | 0.0046592 | -0.018565 | -0.0046541 | 8.5714e-06 | 5.121e-06 | 0.028149 | 0.028149 | 0.028149 | 0.98187 | -0.34875 | 0.98138 | -0.35844 | 7.7334
15 | -0.044737 | -0.011217 | 0.044828 | 0.011275 | 9.1302e-05 | 5.7761e-05 | 0.06779 | 0.06779 | 0.06779 | 0.98201 | -0.34602 | 0.9842 | -0.30329 | 18.6236
16 | 0.013003 | 0.0032602 | -0.012998 | -0.0032577 | 4.6546e-06 | 2.5757e-06 | 0.019716 | 0.019717 | 0.019717 | 0.98138 | -0.35844 | 0.981 | -0.36595 | 5.4166
17 | 0.0055618 | 0.0013938 | -0.0055612 | -0.0013937 | 6.0722e-07 | 1.0097e-07 | 0.0084331 | 0.0084332 | 0.0084332 | 0.98138 | -0.35844 | 0.98126 | -0.36073 | 2.3168
18 | 0.0056813 | 0.0014238 | -0.0056807 | -0.0014237 | 5.853e-07 | 1.0928e-07 | 0.0086176 | 0.0086177 | 0.0086177 | 0.981 | -0.36595 | 0.98089 | -0.36811 | 2.3675
19 | 0.0055612 | 0.0013937 | -0.0055605 | -0.0013936 | 6.9671e-07 | 1.1594e-07 | 0.0084332 | 0.0084333 | 0.0084333 | 0.98126 | -0.36073 | 0.98113 | -0.36336 | 2.3168
20 | 0.00077958 | 0.00019385 | -0.00077957 | -0.00019393 | 3.8585e-09 | -8.8607e-08 | 0.0011881 | 0.0011881 | 0.0011881 | 0.97592 | -0.46616 | 0.97592 | -0.46626 | 0.32641
21 | -0.00077958 | -0.00019385 | 0.00077963 | 0.00019265 | 5.1915e-08 | -1.1928e-06 | 0.0011881 | 0.0011877 | 0.0011881 | 0.97592 | -0.46616 | 0.97599 | -0.46475 | 0.3264
22 | 0.00077957 | 0.00019393 | -0.00077951 | -0.00019534 | 6.1165e-08 | -1.4038e-06 | 0.0011881 | 0.0011886 | 0.0011886 | 0.97592 | -0.46626 | 0.97583 | -0.46791 | 0.32655
23 | -0.001295 | -0.00032182 | 0.0012951 | 0.00032153 | 3.6357e-08 | -2.8787e-07 | 0.0019734 | 0.0019733 | 0.0019734 | 0.97599 | -0.46475 | 0.97602 | -0.46415 | 0.54215
24 | 0.00014316 | 3.5854e-05 | -0.00014316 | -3.588e-05 | 3.7767e-11 | -2.6377e-08 | 0.0002183 | 0.00021831 | 0.00021831 | 0.97583 | -0.46791 | 0.97583 | -0.46792 | 0.059974
25 | 0.0032536 | 0.00080789 | -0.0032535 | -0.00080793 | 5.0664e-08 | -3.6273e-08 | 0.0049576 | 0.0049576 | 0.0049576 | 0.97602 | -0.46415 | 0.97601 | -0.46448 | 1.362
26 | -0.0045486 | -0.0011294 | 0.0045488 | 0.0011294 | 1.7417e-07 | -9.3715e-09 | 0.0069309 | 0.0069309 | 0.0069309 | 0.97602 | -0.46415 | 0.97606 | -0.46335 | 1.9041
27 | 0.082988 | 0.020983 | -0.082944 | -0.020956 | 4.4159e-05 | 2.7391e-05 | 0.12494 | 0.12494 | 0.12494 | 0.98892 | -0.21169 | 0.98835 | -0.22279 | 11.4411
28 | 0.081555 | 0.020608 | -0.081242 | -0.020414 | 0.00031343 | 0.00019424 | 0.12285 | 0.12285 | 0.12285 | 0.98835 | -0.22279 | 0.9842 | -0.30329 | 11.2498
29 | -0.0048649 | -0.0012081 | 0.0048655 | 0.0012081 | 6.0989e-07 | 1.9517e-08 | 0.0074086 | 0.0074084 | 0.0074086 | 0.97659 | -0.4529 | 0.97672 | -0.45025 | 2.0353
30 | 0.0047521 | 0.0011798 | -0.0047498 | -0.0011798 | 2.3478e-06 | 7.677e-09 | 0.0072367 | 0.0072372 | 0.0072372 | 0.97659 | -0.4529 | 0.97606 | -0.46335 | 1.9883
31 | -0.0056215 | -0.0013976 | 0.0056234 | 0.0013979 | 1.8494e-06 | 3.4095e-07 | 0.0085602 | 0.0085599 | 0.0085602 | 0.97672 | -0.45025 | 0.97707 | -0.4433 | 2.3517
32 | -0.0058522 | -0.0014552 | 0.0058533 | 0.0014555 | 1.1165e-06 | 2.4456e-07 | 0.0089084 | 0.0089082 | 0.0089084 | 0.97707 | -0.4433 | 0.97728 | -0.43927 | 2.4474
33 | 0.00027141 | 6.6431e-05 | -0.0002714 | -6.8019e-05 | 8.1309e-09 | -1.5878e-06 | 0.00041268 | 0.00041325 | 0.00041325 | 0.97728 | -0.43927 | 0.97725 | -0.43991 | 0.11353
34 | -0.0061247 | -0.0015219 | 0.0061253 | 0.0015221 | 6.2374e-07 | 1.5928e-07 | 0.0093209 | 0.0093208 | 0.0093209 | 0.97728 | -0.43927 | 0.97739 | -0.43712 | 2.5607
35 | 0.0032535 | 0.00080793 | -0.0032517 | -0.00080923 | 1.8245e-06 | -1.3043e-06 | 0.0049576 | 0.0049585 | 0.0049585 | 0.97601 | -0.46448 | 0.97541 | -0.47633 | 1.3622
36 | -0.00018116 | -4.5403e-05 | 0.00018116 | 4.53e-05 | 2.2955e-10 | -1.0288e-07 | 0.00027435 | 0.00027431 | 0.00027435 | 0.98257 | -0.33514 | 0.98257 | -0.33512 | 0.07537
37 | 0.00043432 | 0.0001085 | -0.00043431 | -0.00010885 | 4.4889e-09 | -3.4766e-07 | 0.00065761 | 0.00065774 | 0.00065774 | 0.98257 | -0.33512 | 0.98256 | -0.33533 | 0.1807
38 | -0.00061548 | -0.0001538 | 0.00061554 | 0.00015153 | 5.9425e-08 | -2.2754e-06 | 0.00093192 | 0.0009311 | 0.00093192 | 0.98257 | -0.33512 | 0.98268 | -0.33307 | 0.25602
39 | -0.00017299 | -4.3354e-05 | 0.00017299 | 4.2277e-05 | 2.2537e-09 | -1.0769e-06 | 0.00026392 | 0.00026354 | 0.00026392 | 0.97531 | -0.4783 | 0.97532 | -0.47803 | 0.072506
40 | 0.0027282 | 0.00067942 | -0.0027273 | -0.00068054 | 8.7685e-07 | -1.1236e-06 | 0.0041608 | 0.0041614 | 0.0041614 | 0.97532 | -0.47803 | 0.97498 | -0.4848 | 1.1432
41 | -0.0029012 | -0.0007217 | 0.0029014 | 0.00072145 | 2.3277e-07 | -2.4682e-07 | 0.0044243 | 0.0044242 | 0.0044243 | 0.97532 | -0.47803 | 0.97541 | -0.47633 | 1.2155
42 | 0.00232 | 0.00057846 | -0.00232 | -0.00057851 | 2.7593e-08 | -5.5577e-08 | 0.0035397 | 0.0035397 | 0.0035397 | 0.97498 | -0.4848 | 0.97497 | -0.48505 | 0.97246
43 | 0.0020445 | 0.00050947 | -0.0020444 | -0.00050979 | 1.1758e-07 | -3.2656e-07 | 0.0031193 | 0.0031194 | 0.0031194 | 0.97497 | -0.48505 | 0.97491 | -0.48626 | 0.85699
44 | 0.0020444 | 0.00050979 | -0.0020441 | -0.00051046 | 2.391e-07 | -6.6382e-07 | 0.0031194 | 0.0031197 | 0.0031197 | 0.97491 | -0.48626 | 0.97478 | -0.48873 | 0.85707
45 | 0.018495 | 0.0046294 | -0.018493 | -0.0046285 | 1.5527e-06 | 9.2736e-07 | 0.028056 | 0.028056 | 0.028056 | 0.98086 | -0.36864 | 0.98077 | -0.37041 | 7.7076
46 | -0.020677 | -0.0051763 | 0.020696 | 0.0051857 | 1.8761e-05 | 9.4372e-06 | 0.031366 | 0.031365 | 0.031366 | 0.98086 | -0.36864 | 0.98183 | -0.3496 | 4.3085
47 | 0.0099727 | 0.002493 | -0.0099631 | -0.0024883 | 9.5628e-06 | 4.7156e-06 | 0.015128 | 0.015129 | 0.015129 | 0.98077 | -0.37041 | 0.97975 | -0.39059 | 4.1562
48 | -0.024529 | -0.0061464 | 0.024546 | 0.0061555 | 1.6677e-05 | 9.0442e-06 | 0.037174 | 0.037174 | 0.037174 | 0.98183 | -0.3496 | 0.98256 | -0.33533 | 5.1063
49 | 0.0099631 | 0.0024883 | -0.0099619 | -0.0024877 | 1.2193e-06 | 6.0147e-07 | 0.015129 | 0.015129 | 0.015129 | 0.97975 | -0.39059 | 0.97961 | -0.39317 | 4.1562
50 | -0.024546 | -0.0061555 | 0.024548 | 0.0061566 | 2.6411e-06 | 1.1093e-06 | 0.037174 | 0.037173 | 0.037174 | 0.98256 | -0.33533 | 0.98268 | -0.33307 | 3.4042
51 | 0.0099619 | 0.0024877 | -0.0099477 | -0.0024807 | 1.4133e-05 | 6.9754e-06 | 0.015129 | 0.015129 | 0.015129 | 0.97961 | -0.39317 | 0.9781 | -0.42307 | 4.1564
52 | -0.03173 | -0.0079521 | 0.031762 | 0.0079685 | 3.2369e-05 | 1.6448e-05 | 0.048047 | 0.048046 | 0.048047 | 0.98268 | -0.33307 | 0.98377 | -0.31168 | 4.3999
53 | 0.0065664 | 0.001644 | -0.0065651 | -0.0016436 | 1.3414e-06 | 4.002e-07 | 0.0099426 | 0.0099427 | 0.0099427 | 0.98268 | -0.33307 | 0.98246 | -0.33737 | 2.7315
54 | 0.008147 | 0.0020294 | -0.0081458 | -0.0020289 | 1.201e-06 | 5.0685e-07 | 0.01239 | 0.01239 | 0.01239 | 0.9781 | -0.42307 | 0.97794 | -0.42618 | 3.4038
55 | -0.023486 | -0.0058834 | 0.023505 | 0.005895 | 1.9033e-05 | 1.1647e-05 | 0.035131 | 0.035131 | 0.035131 | 0.99474 | -0.10109 | 0.99563 | -0.084091 | 9.6513
56 | 0.036414 | 0.0091385 | -0.036399 | -0.0091306 | 1.4564e-05 | 7.8563e-06 | 0.055058 | 0.055059 | 0.055059 | 0.9842 | -0.30329 | 0.98377 | -0.31168 | 5.042
57 | 0.0063184 | 0.0015818 | -0.0063164 | -0.0015812 | 1.9603e-06 | 5.3194e-07 | 0.0095691 | 0.0095693 | 0.0095693 | 0.98246 | -0.33737 | 0.98213 | -0.34388 | 2.6289
58 | 0.00028395 | 6.9348e-05 | -0.00028394 | -7.0087e-05 | 4.0592e-09 | -7.3927e-07 | 0.00042957 | 0.00042983 | 0.00042983 | 0.98213 | -0.34388 | 0.98211 | -0.34419 | 0.11808
59 | 0.00028394 | 7.0087e-05 | -0.00028394 | -7.1161e-05 | 5.9074e-09 | -1.0742e-06 | 0.00042983 | 0.00043021 | 0.00043021 | 0.98211 | -0.34419 | 0.98209 | -0.34463 | 0.11819
60 | 0.0076968 | 0.0019164 | -0.0076942 | -0.0019154 | 2.5587e-06 | 1.0131e-06 | 0.011707 | 0.011707 | 0.011707 | 0.97794 | -0.42618 | 0.97759 | -0.43319 | 3.2162
61 | 0.0067121 | 0.0016692 | -0.0067109 | -0.0016688 | 1.25e-06 | 3.9935e-07 | 0.010212 | 0.010212 | 0.010212 | 0.97759 | -0.43319 | 0.97739 | -0.43712 | 2.8056
62 | -0.035766 | -0.008968 | 0.035775 | 0.008974 | 9.5619e-06 | 6.0036e-06 | 0.053456 | 0.053456 | 0.053456 | 0.99563 | -0.084091 | 0.99592 | -0.078483 | 14.6856
63 | -0.05787 | -0.014511 | 0.057964 | 0.014571 | 9.3981e-05 | 5.9711e-05 | 0.086468 | 0.086467 | 0.086468 | 0.99592 | -0.078483 | 0.99768 | -0.044467 | 23.7548

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.23184 | 0.058334

## res_load
| p_mw | q_mvar
0 | 0.0087421 | 0.002191
1 | 0.050978 | 0.012776
2 | 0.015514 | 0.0038882
3 | 0.0055634 | 0.0013943
4 | 0.00085572 | 0.00021446
5 | 0.00027923 | 6.9983e-05
6 | 0.0011468 | 0.00028741
7 | 0.00032086 | 8.0414e-05
8 | 0.0020188 | 0.00050597
9 | 0.0069079 | 0.0017313
10 | 0.019252 | 0.004825
11 | 0.0073171 | 0.0018338
12 | 0.0055605 | 0.0013936
13 | 0.00051539 | 0.00012917
14 | 0.00063635 | 0.00015948
15 | 0.0056807 | 0.0014237
16 | 0.00048736 | 0.00012214
17 | 0.0013889 | 0.0003481
18 | 0.00011279 | 2.8267e-05
19 | 0.00075604 | 0.00018948
20 | 0.00020096 | 5.0366e-05
21 | 0.00022881 | 5.7345e-05
22 | 0.00018116 | 4.5403e-05
23 | 0.00043431 | 0.00010885
24 | 0.00017299 | 4.3354e-05
25 | 0.00040732 | 0.00010208
26 | 0.00035027 | 8.7785e-05
27 | 0.00027549 | 6.9044e-05
28 | 0.00029697 | 7.4428e-05
29 | 0.00014316 | 3.588e-05
30 | 0.002182 | 0.00054686
31 | 0.0085207 | 0.0021355
32 | 0.0038332 | 0.00096068
33 | 0.0018008 | 0.00045132
34 | 0.021466 | 0.0053799
35 | 0.0046367 | 0.0011621
36 | 0.00024671 | 6.1832e-05
37 | 0.0060325 | 0.0015119
38 | 0.00028394 | 7.1161e-05
39 | 0.00044899 | 0.00011253
40 | 0.00098211 | 0.00024614
41 | 0.00058552 | 0.00014674
42 | 0.0002714 | 6.8019e-05
43 | 0.012261 | 0.0030729
44 | 0.022095 | 0.0055375
45 | 0.005988 | 0.0015007

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1