## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1347-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1347-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1347-7_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1347-7_0_5_node_32 | 0.4 | n |  | TRUE
4 | bus_LV_1347-7_0_5_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_1347-7_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1347-7_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1347-7_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1347-7_0_5_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_1347-7_0_5_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_1347-7_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1347-7_0_5_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_1347-7_0_5_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_1347-7_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1347-7_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1347-7_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1347-7_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1347-7_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1347-7_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1347-7_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1347-7_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1347-7_0_5_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_1347-7_0_5_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_1347-7_0_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1347-7_0_5_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1347-7_0_5_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1347-7_0_5_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1347-7_0_5_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1347-7_0_5_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_1347-7_0_5_node_81 | 0.4 | n |  | TRUE
30 | bus_LV_1347-7_0_5_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_1347-7_0_5_node_72 | 0.4 | n |  | TRUE
32 | bus_LV_1347-7_0_5_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1347-7_0_5_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1347-7_0_5_node_79 | 0.4 | n |  | TRUE
35 | bus_LV_1347-7_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1347-7_0_5_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1347-7_0_5_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_1347-7_0_5_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1347-7_0_5_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_1347-7_0_5_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_1347-7_0_5_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_1347-7_0_5_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_1347-7_0_5_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_1347-7_0_5_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_1347-7_0_5_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_1347-7_0_5_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_1347-7_0_5_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_1347-7_0_5_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_1347-7_0_5_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_1347-7_0_5_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_1347-7_0_5_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_1347-7_0_5_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_1347-7_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_1347-7_0_5_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_1347-7_0_5_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_1347-7_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_1347-7_0_5_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_1347-7_0_5_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_1347-7_0_5_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_1347-7_0_5_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_1347-7_0_5_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_1347-7_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_1347-7_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_1347-7_0_5_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_1347-7_0_5_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_1347-7_0_5_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_1347-7_0_5_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_1347-7_0_5_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_1347-7_0_5_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_1347-7_0_5_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_1347-7_0_5_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_1347-7_0_5_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_1347-7_0_5_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_1347-7_0_5_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_1347-7_0_5_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_1347-7_0_5_node_82 | 0.4 | n |  | TRUE
77 | bus_LV_1347-7_0_5_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_1347-7_0_5_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_1347-7_0_5_node_77 | 0.4 | n |  | TRUE
80 | bus_MV_21_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1347-7_0_5_load_0 | 0 | 0.0048078 | 0.001205 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1347-7_0_5_load_1 | 1 | 0.00079529 | 0.00019932 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1347-7_0_5_load_3 | 2 | 0.0057017 | 0.001429 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1347-7_0_5_load_32 | 3 | 0.0026746 | 0.00067031 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1347-7_0_5_load_4 | 5 | 0.0013991 | 0.00035066 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1347-7_0_5_load_18 | 8 | 0.0019349 | 0.00048494 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1347-7_0_5_load_17 | 9 | 0.0026775 | 0.00067104 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1347-7_0_5_load_8 | 10 | 0.016705 | 0.0041866 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1347-7_0_5_load_35 | 11 | 0.004929 | 0.0012353 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1347-7_0_5_load_31 | 12 | 0.0011381 | 0.00028524 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1347-7_0_5_load_9 | 13 | 0.0055124 | 0.0013815 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1347-7_0_5_load_10 | 14 | 0.0016675 | 0.00041792 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1347-7_0_5_load_12 | 16 | 0.0010789 | 0.00027039 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1347-7_0_5_load_13 | 17 | 0.0028929 | 0.00072504 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1347-7_0_5_load_14 | 18 | 0.020817 | 0.0052173 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1347-7_0_5_load_15 | 19 | 0.0028305 | 0.00070938 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1347-7_0_5_load_16 | 20 | 0.0098588 | 0.0024708 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1347-7_0_5_load_19 | 22 | 0.0066671 | 0.0016709 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1347-7_0_5_load_22 | 25 | 0.013788 | 0.0034557 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1347-7_0_5_load_23 | 26 | 0.0081497 | 0.0020425 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1347-7_0_5_load_73 | 28 | 0.0072782 | 0.0018241 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1347-7_0_5_load_81 | 29 | 0.0033181 | 0.0008316 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1347-7_0_5_load_80 | 30 | 0.0021087 | 0.00052849 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1347-7_0_5_load_72 | 31 | 0.012397 | 0.003107 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1347-7_0_5_load_25 | 32 | 0.018121 | 0.0045415 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1347-7_0_5_load_79 | 34 | 0.013788 | 0.0034557 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1347-7_0_5_load_70 | 37 | 0.010609 | 0.002659 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1347-7_0_5_load_59 | 39 | 0.015254 | 0.0038231 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1347-7_0_5_load_58 | 40 | 0.0028972 | 0.00072611 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1347-7_0_5_load_65 | 41 | 0.020007 | 0.0050143 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1347-7_0_5_load_68 | 42 | 0.013763 | 0.0034493 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1347-7_0_5_load_60 | 43 | 0.0015854 | 0.00039733 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1347-7_0_5_load_55 | 45 | 0.0046346 | 0.0011616 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1347-7_0_5_load_57 | 46 | 0.0026448 | 0.00066284 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1347-7_0_5_load_64 | 47 | 0.093966 | 0.02355 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1347-7_0_5_load_40 | 48 | 0.0021007 | 0.00052649 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1347-7_0_5_load_56 | 49 | 0.0030192 | 0.00075667 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1347-7_0_5_load_38 | 50 | 0.0049517 | 0.001241 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1347-7_0_5_load_36 | 51 | 0.0057933 | 0.0014519 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1347-7_0_5_load_37 | 52 | 0.0037588 | 0.00094205 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1347-7_0_5_load_50 | 55 | 0.0033649 | 0.00084332 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1347-7_0_5_load_51 | 57 | 0.0022614 | 0.00056677 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1347-7_0_5_load_41 | 58 | 0.0035073 | 0.000879 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1347-7_0_5_load_42 | 59 | 0.0042824 | 0.0010733 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1347-7_0_5_load_46 | 60 | 0.0034286 | 0.00085928 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1347-7_0_5_load_48 | 62 | 0.0051655 | 0.0012946 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1347-7_0_5_load_49 | 63 | 0.0041777 | 0.001047 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1347-7_0_5_load_52 | 64 | 0.0037768 | 0.00094655 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1347-7_0_5_load_53 | 65 | 0.0099278 | 0.0024881 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1347-7_0_5_load_62 | 67 | 0.0029084 | 0.00072893 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1347-7_0_5_load_61 | 68 | 0.012616 | 0.003162 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1347-7_0_5_load_63 | 69 | 0.0015003 | 0.00037602 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1347-7_0_5_load_84 | 70 | 0.014695 | 0.003683 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1347-7_0_5_load_66 | 72 | 0.038887 | 0.0097461 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1347-7_0_5_load_67 | 73 | 0.060399 | 0.015138 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1347-7_0_5_load_69 | 74 | 0.01478 | 0.0037043 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1347-7_0_5_load_82 | 76 | 0.015197 | 0.0038088 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1347-7_0_5_load_74 | 77 | 0.0043259 | 0.0010842 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1347-7_0_5_load_75 | 78 | 0.014151 | 0.0035466 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1347-7_0_5_load_77 | 79 | 0.0038851 | 0.00097371 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1347-7_0_5_line_0 |  | 0 | 1 | 0.0088629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1347-7_0_5_line_1 |  | 1 | 2 | 0.014345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1347-7_0_5_line_2 |  | 2 | 3 | 0.014533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1347-7_0_5_line_3 |  | 3 | 4 | 0.015443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1347-7_0_5_line_4 |  | 4 | 12 | 0.025791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1347-7_0_5_line_5 |  | 4 | 21 | 0.057641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1347-7_0_5_line_6 |  | 4 | 18 | 0.050915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1347-7_0_5_line_7 |  | 5 | 6 | 0.088933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1347-7_0_5_line_8 |  | 6 | 7 | 0.06557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1347-7_0_5_line_9 |  | 7 | 8 | 0.041176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1347-7_0_5_line_10 |  | 8 | 9 | 0.025445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1347-7_0_5_line_11 |  | 9 | 16 | 0.022702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1347-7_0_5_line_12 |  | 10 | 11 | 0.025779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1347-7_0_5_line_13 |  | 11 | 12 | 0.0012793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1347-7_0_5_line_14 |  | 13 | 14 | 0.026662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1347-7_0_5_line_15 |  | 13 | 15 | 0.053756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1347-7_0_5_line_16 |  | 14 | 16 | 0.024292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1347-7_0_5_line_17 |  | 15 | 17 | 0.030335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1347-7_0_5_line_18 |  | 15 | 18 | 0.024651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1347-7_0_5_line_19 |  | 17 | 19 | 0.0075194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1347-7_0_5_line_20 |  | 19 | 20 | 0.020157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1347-7_0_5_line_21 |  | 21 | 44 | 0.025154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1347-7_0_5_line_22 |  | 21 | 45 | 0.014903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1347-7_0_5_line_23 |  | 22 | 23 | 0.047266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1347-7_0_5_line_24 |  | 22 | 24 | 0.0021423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1347-7_0_5_line_25 |  | 23 | 25 | 0.005161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1347-7_0_5_line_26 |  | 23 | 26 | 0.02053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1347-7_0_5_line_27 |  | 24 | 27 | 0.013326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1347-7_0_5_line_28 |  | 25 | 28 | 0.020642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1347-7_0_5_line_29 |  | 27 | 29 | 0.027384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1347-7_0_5_line_30 |  | 27 | 30 | 0.0074515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1347-7_0_5_line_31 |  | 28 | 31 | 0.023588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1347-7_0_5_line_32 |  | 30 | 34 | 0.0096299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1347-7_0_5_line_33 |  | 31 | 35 | 0.029021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1347-7_0_5_line_34 |  | 32 | 33 | 0.010286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1347-7_0_5_line_35 |  | 33 | 35 | 0.010584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1347-7_0_5_line_36 |  | 34 | 79 | 0.030675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1347-7_0_5_line_37 |  | 35 | 36 | 0.02482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_1347-7_0_5_line_38 |  | 35 | 37 | 0.011302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1347-7_0_5_line_39 |  | 36 | 41 | 0.011673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1347-7_0_5_line_40 |  | 36 | 38 | 0.037147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1347-7_0_5_line_41 |  | 37 | 42 | 0.0079218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1347-7_0_5_line_42 |  | 38 | 39 | 0.029383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1347-7_0_5_line_43 |  | 38 | 40 | 0.040687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_1347-7_0_5_line_44 |  | 39 | 43 | 0.038694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1347-7_0_5_line_45 |  | 40 | 46 | 0.018114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_1347-7_0_5_line_46 |  | 41 | 47 | 0.010499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_1347-7_0_5_line_47 |  | 42 | 73 | 0.026121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1347-7_0_5_line_48 |  | 43 | 68 | 0.010013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1347-7_0_5_line_49 |  | 44 | 48 | 0.014125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1347-7_0_5_line_50 |  | 45 | 49 | 0.012968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_1347-7_0_5_line_51 |  | 46 | 49 | 0.0094505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_1347-7_0_5_line_52 |  | 47 | 72 | 0.016956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1347-7_0_5_line_53 |  | 48 | 50 | 0.0020118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1347-7_0_5_line_54 |  | 50 | 51 | 0.021543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1347-7_0_5_line_55 |  | 51 | 52 | 0.00046258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1347-7_0_5_line_56 |  | 52 | 53 | 0.013554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1347-7_0_5_line_57 |  | 53 | 54 | 0.019108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1347-7_0_5_line_58 |  | 53 | 55 | 0.021161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1347-7_0_5_line_59 |  | 54 | 56 | 0.008379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1347-7_0_5_line_60 |  | 55 | 57 | 0.0048417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1347-7_0_5_line_61 |  | 56 | 58 | 0.029089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1347-7_0_5_line_62 |  | 57 | 62 | 0.011727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1347-7_0_5_line_63 |  | 58 | 59 | 0.0237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1347-7_0_5_line_64 |  | 60 | 61 | 0.02144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1347-7_0_5_line_65 |  | 61 | 62 | 0.0086713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1347-7_0_5_line_66 |  | 61 | 63 | 0.0004712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1347-7_0_5_line_67 |  | 63 | 64 | 0.017669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1347-7_0_5_line_68 |  | 64 | 65 | 0.020182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1347-7_0_5_line_69 |  | 65 | 66 | 0.016103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1347-7_0_5_line_70 |  | 66 | 67 | 0.026397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1347-7_0_5_line_71 |  | 68 | 69 | 0.018282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1347-7_0_5_line_72 |  | 70 | 71 | 0.031576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1347-7_0_5_line_73 |  | 71 | 75 | 0.020389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1347-7_0_5_line_74 |  | 71 | 74 | 0.02345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1347-7_0_5_line_75 |  | 73 | 74 | 0.052844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1347-7_0_5_line_76 |  | 75 | 76 | 0.039632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1347-7_0_5_line_77 |  | 77 | 78 | 0.010588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1347-7_0_5_line_78 |  | 78 | 79 | 0.011564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1347-7_0_5_trafo_64 | 0.63 MVA 20/0.4 kV | 80 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2713956.2067 | 1228974.4316 | 2713956.9676 | 1228977.4762 | 2713957.8718 | 1228983.129
1 | 2713960.1374 | 1228997.2943 | 2713957.8718 | 1228983.129
2 | 2713962.4326 | 1229011.6447 | 2713960.1374 | 1228997.2943
3 | 2713965.077 | 1229026.8587 | 2713963.4167 | 1229017.7976 | 2713962.4326 | 1229011.6447
4 | 2713965.077 | 1229026.8587 | 2713984.4769 | 1229009.8636
5 | 2713950.3976 | 1229071.9234 | 2713953.5754 | 1229067.4475 | 2713948.8339 | 1229059.8063 | 2713946.2455 | 1229054.8863 | 2713953.498 | 1229046.1851 | 2713958.6617 | 1229037.3439 | 2713955.8139 | 1229034.4871 | 2713965.077 | 1229026.8587
6 | 2713965.077 | 1229026.8587 | 2713972.9767 | 1229034.2046 | 2714006.1612 | 1229056.7664
7 | 2714225.2554 | 1229041.5607 | 2714188.2812 | 1229037.1919 | 2714146.6833 | 1229032.8679 | 2714136.8937 | 1229031.537
8 | 2714216.5647 | 1229106.5442 | 2714225.2554 | 1229041.5607
9 | 2714216.5647 | 1229106.5442 | 2714175.7222 | 1229101.3149
10 | 2714150.4834 | 1229098.0835 | 2714175.7222 | 1229101.3149
11 | 2714127.9652 | 1229095.2003 | 2714150.4834 | 1229098.0835
12 | 2714004.8299 | 1228992.0335 | 2713985.4392 | 1229009.0206
13 | 2713985.4392 | 1229009.0206 | 2713984.4769 | 1229009.8636
14 | 2714077.827 | 1229086.3793 | 2714103.8909 | 1229091.9953
15 | 2714026.5466 | 1229070.6262 | 2714059.0074 | 1229082.3243 | 2714077.827 | 1229086.3793
16 | 2714103.8909 | 1229091.9953 | 2714105.2936 | 1229092.2976 | 2714127.9652 | 1229095.2003
17 | 2714026.5466 | 1229070.6262 | 2714043.3652 | 1229045.381
18 | 2714026.5466 | 1229070.6262 | 2714006.1612 | 1229056.7664
19 | 2714047.5342 | 1229039.1231 | 2714043.3652 | 1229045.381
20 | 2714047.5342 | 1229039.1231 | 2714052.2499 | 1229032.0447 | 2714044.9396 | 1229023.2088 | 2714044.7669 | 1229023.1479
21 | 2713929.1162 | 1229064.0986 | 2713932.4806 | 1229067.2766 | 2713937.0776 | 1229067.8318 | 2713941.1075 | 1229065.5517 | 2713950.3976 | 1229071.9234
22 | 2713950.3976 | 1229071.9234 | 2713944.8616 | 1229079.6345 | 2713949.5304 | 1229082.3678
23 | 2714147.3067 | 1229146.8015 | 2714193.8589 | 1229154.9825
24 | 2714195.9688 | 1229155.3533 | 2714193.8589 | 1229154.9825
25 | 2714146.4436 | 1229151.8888 | 2714147.3067 | 1229146.8015
26 | 2714147.3067 | 1229146.8015 | 2714127.116 | 1229143.0844
27 | 2714191.0625 | 1229167.7465 | 2714195.9688 | 1229155.3533
28 | 2714146.4436 | 1229151.8888 | 2714126.2221 | 1229147.744
29 | 2714191.0625 | 1229167.7465 | 2714195.4538 | 1229169.143 | 2714197.1028 | 1229164.9603 | 2714203.6436 | 1229162.1615 | 2714214.6218 | 1229164.199
30 | 2714191.0625 | 1229167.7465 | 2714188.7029 | 1229174.8144
31 | 2714103.1146 | 1229143.0077 | 2714126.2221 | 1229147.744
32 | 2714188.7029 | 1229174.8144 | 2714185.6533 | 1229183.9487
33 | 2714076.9333 | 1229142.17 | 2714080.2903 | 1229143.7578 | 2714084.3117 | 1229139.1536 | 2714103.1146 | 1229143.0077
34 | 2714080.7377 | 1229132.2909 | 2714090.7534 | 1229134.6331
35 | 2714076.9333 | 1229142.17 | 2714080.7377 | 1229132.2909
36 | 2714175.9394 | 1229213.0448 | 2714185.6533 | 1229183.9487
37 | 2714057.1061 | 1229130.4585 | 2714069.3072 | 1229134.3955 | 2714073.104 | 1229138.338 | 2714073.0567 | 1229140.8057 | 2714076.9333 | 1229142.17
38 | 2714076.9333 | 1229142.17 | 2714072.8681 | 1229152.7152
39 | 2714057.1061 | 1229130.4585 | 2714052.9943 | 1229141.3831
40 | 2714021.4931 | 1229119.545 | 2714057.1061 | 1229130.4585
41 | 2714072.8681 | 1229152.7152 | 2714070.0187 | 1229160.1068
42 | 2714021.4931 | 1229119.545 | 2714008.0231 | 1229145.6584
43 | 2714021.4931 | 1229119.545 | 2714013.0593 | 1229115.9472 | 2713995.4846 | 1229109.2719 | 2713984.5094 | 1229102.8464
44 | 2714008.0231 | 1229145.6584 | 2713990.2844 | 1229180.0474
45 | 2713968.8772 | 1229093.6945 | 2713984.5094 | 1229102.8464
46 | 2714049.2962 | 1229151.2088 | 2714052.9943 | 1229141.3831
47 | 2714052.9448 | 1229178.597 | 2714056.8365 | 1229169.3835 | 2714070.0187 | 1229160.1068 | 2714070.0187 | 1229160.1068
48 | 2713985.6943 | 1229188.9459 | 2713990.2844 | 1229180.0474
49 | 2713929.1162 | 1229064.0986 | 2713920.2744 | 1229067.543 | 2713916.4138 | 1229070.1089
50 | 2713949.5304 | 1229082.3678 | 2713960.7217 | 1229088.9198
51 | 2713960.7217 | 1229088.9198 | 2713968.8772 | 1229093.6945
52 | 2714043.3233 | 1229167.0781 | 2714049.2962 | 1229151.2088
53 | 2713916.4138 | 1229070.1089 | 2713914.7382 | 1229071.2225
54 | 2713896.7913 | 1229083.1392 | 2713901.0689 | 1229080.3073 | 2713914.7382 | 1229071.2225
55 | 2713896.4056 | 1229083.3945 | 2713896.7913 | 1229083.1392
56 | 2713885.1035 | 1229090.8765 | 2713896.4056 | 1229083.3945
57 | 2713868.2276 | 1229099.9271 | 2713876.1439 | 1229095.7309 | 2713885.1035 | 1229090.8765
58 | 2713885.1035 | 1229090.8765 | 2713898.4608 | 1229107.2889
59 | 2713860.1646 | 1229102.2857 | 2713868.2276 | 1229099.9271
60 | 2713898.4608 | 1229107.2889 | 2713901.517 | 1229111.0441
61 | 2713860.1646 | 1229102.2857 | 2713853.6664 | 1229130.6397
62 | 2713908.709 | 1229120.307 | 2713901.6513 | 1229111.2091 | 2713901.517 | 1229111.0441
63 | 2713853.6664 | 1229130.6397 | 2713848.3721 | 1229153.7407
64 | 2713914.0241 | 1229127.1584 | 2713902.0833 | 1229137.7045 | 2713896.635 | 1229136.8885
65 | 2713914.0241 | 1229127.1584 | 2713908.709 | 1229120.307
66 | 2713914.3464 | 1229127.5021 | 2713914.0241 | 1229127.1584
67 | 2713914.3464 | 1229127.5021 | 2713926.4334 | 1229140.3898
68 | 2713926.4334 | 1229140.3898 | 2713931.09 | 1229145.3549 | 2713932.5418 | 1229149.4748 | 2713931.159 | 1229158.3744
69 | 2713928.6863 | 1229174.2868 | 2713931.159 | 1229158.3744
70 | 2713928.6863 | 1229174.2868 | 2713946.3703 | 1229193.8851
71 | 2713985.6943 | 1229188.9459 | 2713977.3134 | 1229205.1936
72 | 2714022.9224 | 1229247.6828 | 2713996.4543 | 1229230.4644
73 | 2714038.5461 | 1229260.837 | 2714022.9224 | 1229247.6828
74 | 2714022.9224 | 1229247.6828 | 2714034.1896 | 1229227.1168
75 | 2714052.9448 | 1229178.597 | 2714045.1188 | 1229197.1247 | 2714044.9206 | 1229207.4511 | 2714040.2307 | 1229216.0901 | 2714034.1896 | 1229227.1168
76 | 2714038.5461 | 1229260.837 | 2714062.4945 | 1229279.6997 | 2714069.8806 | 1229285.096
77 | 2714168.9246 | 1229234.0566 | 2714172.2773 | 1229224.014
78 | 2714175.9394 | 1229213.0448 | 2714172.2773 | 1229224.014

## bus_geodata
| x | y | coords
0 | 2713956.2067 | 1228974.4316
1 | 2713957.8718 | 1228983.129
2 | 2713960.1374 | 1228997.2942
3 | 2713962.4326 | 1229011.6447
4 | 2713965.077 | 1229026.8587
5 | 2714136.8937 | 1229031.537
6 | 2714225.2554 | 1229041.5607
7 | 2714216.5647 | 1229106.5442
8 | 2714175.7222 | 1229101.3149
9 | 2714150.4834 | 1229098.0835
10 | 2714004.8299 | 1228992.0335
11 | 2713985.4392 | 1229009.0206
12 | 2713984.4769 | 1229009.8636
13 | 2714077.827 | 1229086.3793
14 | 2714103.8909 | 1229091.9953
15 | 2714026.5466 | 1229070.6262
16 | 2714127.9652 | 1229095.2003
17 | 2714043.3652 | 1229045.381
18 | 2714006.1612 | 1229056.7664
19 | 2714047.5342 | 1229039.1231
20 | 2714044.7669 | 1229023.1479
21 | 2713950.3976 | 1229071.9234
22 | 2714193.8589 | 1229154.9825
23 | 2714147.3067 | 1229146.8015
24 | 2714195.9688 | 1229155.3533
25 | 2714146.4436 | 1229151.8888
26 | 2714127.116 | 1229143.0844
27 | 2714191.0625 | 1229167.7465
28 | 2714126.2221 | 1229147.744
29 | 2714214.6218 | 1229164.199
30 | 2714188.7029 | 1229174.8144
31 | 2714103.1146 | 1229143.0077
32 | 2714090.7534 | 1229134.6331
33 | 2714080.7377 | 1229132.2909
34 | 2714185.6533 | 1229183.9487
35 | 2714076.9333 | 1229142.17
36 | 2714057.1061 | 1229130.4585
37 | 2714072.8681 | 1229152.7152
38 | 2714021.4931 | 1229119.545
39 | 2714008.0231 | 1229145.6584
40 | 2713984.5094 | 1229102.8464
41 | 2714052.9943 | 1229141.3831
42 | 2714070.0187 | 1229160.1068
43 | 2713990.2844 | 1229180.0474
44 | 2713929.1162 | 1229064.0986
45 | 2713949.5304 | 1229082.3678
46 | 2713968.8772 | 1229093.6945
47 | 2714049.2962 | 1229151.2088
48 | 2713916.4138 | 1229070.1089
49 | 2713960.7217 | 1229088.9198
50 | 2713914.7382 | 1229071.2225
51 | 2713896.7913 | 1229083.1392
52 | 2713896.4056 | 1229083.3945
53 | 2713885.1035 | 1229090.8765
54 | 2713868.2276 | 1229099.9271
55 | 2713898.4608 | 1229107.2889
56 | 2713860.1646 | 1229102.2857
57 | 2713901.517 | 1229111.0441
58 | 2713853.6664 | 1229130.6397
59 | 2713848.3721 | 1229153.7407
60 | 2713896.635 | 1229136.8885
61 | 2713914.0241 | 1229127.1584
62 | 2713908.709 | 1229120.307
63 | 2713914.3464 | 1229127.5021
64 | 2713926.4334 | 1229140.3898
65 | 2713931.1589 | 1229158.3744
66 | 2713928.6863 | 1229174.2868
67 | 2713946.3703 | 1229193.8851
68 | 2713985.6943 | 1229188.9459
69 | 2713977.3134 | 1229205.1936
70 | 2713996.4543 | 1229230.4644
71 | 2714022.9224 | 1229247.6828
72 | 2714043.3233 | 1229167.0781
73 | 2714052.9448 | 1229178.597
74 | 2714034.1896 | 1229227.1168
75 | 2714038.5461 | 1229260.837
76 | 2714069.8806 | 1229285.096
77 | 2714168.9246 | 1229234.0566
78 | 2714172.2773 | 1229224.014
79 | 2714175.9394 | 1229213.0448
80 | 2714043.3233 | 1229167.0781

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9871 | -0.24782 | 0.0048078 | 0.001205
1 | 0.98714 | -0.24706 | 0.00079529 | 0.00019932
2 | 0.98721 | -0.24562 | 0.0057017 | 0.001429
3 | 0.98736 | -0.24268 | 0.0026746 | 0.00067031
4 | 0.98756 | -0.23882 | 0 | 0
5 | 0.98297 | -0.32836 | 0.0013991 | 0.00035066
6 | 0.98309 | -0.32611 | 0 | 0
7 | 0.98317 | -0.32445 | 0 | 0
8 | 0.98322 | -0.32341 | 0.0019349 | 0.00048494
9 | 0.9833 | -0.32188 | 0.0026775 | 0.00067104
10 | 0.9866 | -0.25753 | 0.016705 | 0.0041866
11 | 0.987 | -0.24982 | 0.004929 | 0.0012353
12 | 0.98702 | -0.24932 | 0.0011381 | 0.00028524
13 | 0.9838 | -0.3121 | 0.0055124 | 0.0013815
14 | 0.98359 | -0.31631 | 0.0016675 | 0.00041792
15 | 0.98451 | -0.29828 | 0 | 0
16 | 0.98343 | -0.31941 | 0.0010789 | 0.00027039
17 | 0.98407 | -0.30679 | 0.0028929 | 0.00072504
18 | 0.98519 | -0.28505 | 0.020817 | 0.0052173
19 | 0.98398 | -0.3085 | 0.0028305 | 0.00070938
20 | 0.9838 | -0.31208 | 0.0098588 | 0.0024708
21 | 0.9922 | -0.14917 | 0 | 0
22 | 0.9873 | -0.24414 | 0.0066671 | 0.0016709
23 | 0.9894 | -0.20345 | 0 | 0
24 | 0.98722 | -0.24574 | 0 | 0
25 | 0.98967 | -0.19827 | 0.013788 | 0.0034557
26 | 0.98925 | -0.20643 | 0.0081497 | 0.0020425
27 | 0.98671 | -0.25565 | 0 | 0
28 | 0.991 | -0.17252 | 0.0072782 | 0.0018241
29 | 0.98663 | -0.25728 | 0.0033181 | 0.0008316
30 | 0.98645 | -0.26076 | 0.0021087 | 0.00052849
31 | 0.99268 | -0.14015 | 0.012397 | 0.003107
32 | 0.99473 | -0.10079 | 0.018121 | 0.0045415
33 | 0.9949 | -0.097508 | 0 | 0
34 | 0.98613 | -0.26699 | 0.013788 | 0.0034557
35 | 0.99507 | -0.094131 | 0 | 0
36 | 0.99777 | -0.042404 | 0 | 0
37 | 0.99373 | -0.11992 | 0.010609 | 0.002659
38 | 0.99614 | -0.073513 | 0 | 0
39 | 0.99532 | -0.089504 | 0.015254 | 0.0038231
40 | 0.99465 | -0.10215 | 0.0028972 | 0.00072611
41 | 0.99892 | -0.020538 | 0.020007 | 0.0050143
42 | 0.99287 | -0.13655 | 0.013763 | 0.0034493
43 | 0.99476 | -0.1002 | 0.0015854 | 0.00039733
44 | 0.99083 | -0.17567 | 0 | 0
45 | 0.99321 | -0.12982 | 0.0046346 | 0.0011616
46 | 0.99399 | -0.1147 | 0.0026448 | 0.00066284
47 | 1 | 0 | -0.49336 | -0.12492
48 | 0.99006 | -0.19058 | 0.0021007 | 0.00052649
49 | 0.99366 | -0.12114 | 0.0030192 | 0.00075667
50 | 0.98995 | -0.19263 | 0.0049517 | 0.001241
51 | 0.98892 | -0.21271 | 0.0057933 | 0.0014519
52 | 0.9889 | -0.21309 | 0.0037588 | 0.00094205
53 | 0.98836 | -0.22344 | 0 | 0
54 | 0.98823 | -0.2261 | 0 | 0
55 | 0.98768 | -0.23667 | 0.0033649 | 0.00084332
56 | 0.98817 | -0.22726 | 0 | 0
57 | 0.98754 | -0.23941 | 0.0022614 | 0.00056677
58 | 0.98796 | -0.23131 | 0.0035073 | 0.000879
59 | 0.98787 | -0.23312 | 0.0042824 | 0.0010733
60 | 0.98697 | -0.25064 | 0.0034286 | 0.00085928
61 | 0.98703 | -0.24933 | 0 | 0
62 | 0.98723 | -0.24557 | 0.0051655 | 0.0012946
63 | 0.98702 | -0.2495 | 0.0041777 | 0.001047
64 | 0.98675 | -0.25476 | 0.0037768 | 0.00094655
65 | 0.98652 | -0.25939 | 0.0099278 | 0.0024881
66 | 0.98647 | -0.26023 | 0 | 0
67 | 0.9864 | -0.26161 | 0.0029084 | 0.00072893
68 | 0.99463 | -0.10269 | 0.012616 | 0.003162
69 | 0.99461 | -0.10317 | 0.0015003 | 0.00037602
70 | 0.98711 | -0.24807 | 0.014695 | 0.003683
71 | 0.98754 | -0.23977 | 0 | 0
72 | 0.9994 | -0.0115 | 0.038887 | 0.0097461
73 | 0.99035 | -0.1852 | 0.060399 | 0.015138
74 | 0.98818 | -0.22725 | 0.01478 | 0.0037043
75 | 0.98726 | -0.24531 | 0 | 0
76 | 0.9867 | -0.25609 | 0.015197 | 0.0038088
77 | 0.98526 | -0.28395 | 0.0043259 | 0.0010842
78 | 0.9853 | -0.28313 | 0.014151 | 0.0035466
79 | 0.9855 | -0.2793 | 0.0038851 | 0.00097371
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0048078 | -0.001205 | 0.004808 | 0.001205 | 1.7458e-07 | -1.5671e-09 | 0.0072476 | 0.0072476 | 0.0072476 | 0.9871 | -0.24782 | 0.98714 | -0.24706 | 1.9911
1 | -0.0056033 | -0.0014043 | 0.0056037 | 0.0014043 | 3.8378e-07 | 6.2215e-08 | 0.0084464 | 0.0084464 | 0.0084464 | 0.98714 | -0.24706 | 0.98721 | -0.24562 | 2.3204
2 | -0.011305 | -0.0028333 | 0.011307 | 0.0028341 | 1.5825e-06 | 8.2694e-07 | 0.01704 | 0.01704 | 0.01704 | 0.98721 | -0.24562 | 0.98736 | -0.24268 | 4.6814
3 | -0.013981 | -0.0035044 | 0.013984 | 0.0035059 | 2.5712e-06 | 1.448e-06 | 0.021071 | 0.021071 | 0.021071 | 0.98736 | -0.24268 | 0.98756 | -0.23882 | 5.7887
4 | 0.02279 | 0.005718 | -0.022779 | -0.0057111 | 1.1406e-05 | 6.97e-06 | 0.034341 | 0.034341 | 0.034341 | 0.98756 | -0.23882 | 0.98702 | -0.24932 | 9.4344
5 | -0.087597 | -0.022015 | 0.087974 | 0.022255 | 0.00037668 | 0.00024033 | 0.13201 | 0.13201 | 0.13201 | 0.98756 | -0.23882 | 0.9922 | -0.14917 | 36.2662
6 | 0.050823 | 0.012791 | -0.050711 | -0.01272 | 0.00011202 | 7.1044e-05 | 0.076597 | 0.076597 | 0.076597 | 0.98756 | -0.23882 | 0.98519 | -0.28505 | 21.0432
7 | -0.0013991 | -0.00035066 | 0.0013993 | 0.00034963 | 1.4958e-07 | -1.0317e-06 | 0.002118 | 0.0021176 | 0.002118 | 0.98297 | -0.32836 | 0.98309 | -0.32611 | 0.58187
8 | -0.0013993 | -0.00034963 | 0.0013994 | 0.00034887 | 1.1025e-07 | -7.6089e-07 | 0.0021176 | 0.0021173 | 0.0021176 | 0.98309 | -0.32611 | 0.98317 | -0.32445 | 0.58176
9 | -0.0013994 | -0.00034887 | 0.0013995 | 0.00034839 | 6.9217e-08 | -4.779e-07 | 0.0021173 | 0.0021171 | 0.0021173 | 0.98317 | -0.32445 | 0.98322 | -0.32341 | 0.58168
10 | -0.0033344 | -0.00083333 | 0.0033346 | 0.00083316 | 2.429e-07 | -1.6728e-07 | 0.0050455 | 0.0050454 | 0.0050455 | 0.98322 | -0.32341 | 0.9833 | -0.32188 | 1.3861
11 | -0.0060121 | -0.0015042 | 0.0060128 | 0.0015044 | 7.0453e-07 | 1.6289e-07 | 0.0090971 | 0.009097 | 0.0090971 | 0.9833 | -0.32188 | 0.98343 | -0.31941 | 2.4992
12 | -0.016705 | -0.0041866 | 0.016711 | 0.0041902 | 6.1363e-06 | 3.5979e-06 | 0.025194 | 0.025194 | 0.025194 | 0.9866 | -0.25753 | 0.987 | -0.24982 | 6.9215
13 | -0.02164 | -0.0054255 | 0.02164 | 0.0054258 | 5.1062e-07 | 3.1045e-07 | 0.032625 | 0.032625 | 0.032625 | 0.987 | -0.24982 | 0.98702 | -0.24932 | 8.963
14 | 0.008762 | 0.0021938 | -0.0087603 | -0.002193 | 1.7559e-06 | 7.8527e-07 | 0.013252 | 0.013252 | 0.013252 | 0.9838 | -0.3121 | 0.98359 | -0.31631 | 3.6407
15 | -0.014274 | -0.0035754 | 0.014284 | 0.0035807 | 9.3959e-06 | 5.3303e-06 | 0.02159 | 0.021589 | 0.02159 | 0.9838 | -0.3121 | 0.98451 | -0.29828 | 5.9312
16 | 0.0070927 | 0.0017751 | -0.0070917 | -0.0017748 | 1.0487e-06 | 3.6289e-07 | 0.010729 | 0.010729 | 0.010729 | 0.98359 | -0.31631 | 0.98343 | -0.31941 | 2.9477
17 | 0.015591 | 0.0039103 | -0.015585 | -0.0039067 | 6.3175e-06 | 3.6576e-06 | 0.023566 | 0.023566 | 0.023566 | 0.98451 | -0.29828 | 0.98407 | -0.30679 | 6.4742
18 | -0.029875 | -0.007491 | 0.029894 | 0.0075028 | 1.8849e-05 | 1.1749e-05 | 0.045155 | 0.045155 | 0.045155 | 0.98451 | -0.29828 | 0.98519 | -0.28505 | 12.4053
19 | 0.012692 | 0.0031816 | -0.012691 | -0.003181 | 1.0386e-06 | 5.6918e-07 | 0.019192 | 0.019192 | 0.019192 | 0.98407 | -0.30679 | 0.98398 | -0.3085 | 5.2725
20 | 0.0098605 | 0.0024717 | -0.0098588 | -0.0024708 | 1.6807e-06 | 8.1967e-07 | 0.014912 | 0.014912 | 0.014912 | 0.98398 | -0.3085 | 0.9838 | -0.31208 | 4.0966
21 | 0.059651 | 0.015042 | -0.059576 | -0.014994 | 7.5546e-05 | 4.8025e-05 | 0.089493 | 0.089493 | 0.089493 | 0.9922 | -0.14917 | 0.99083 | -0.17567 | 24.5859
22 | -0.14763 | -0.037297 | 0.14776 | 0.037385 | 0.00013709 | 8.7354e-05 | 0.2215 | 0.2215 | 0.2215 | 0.9922 | -0.14917 | 0.99321 | -0.12982 | 30.426
23 | -0.048304 | -0.012128 | 0.048398 | 0.012188 | 9.3962e-05 | 5.953e-05 | 0.07281 | 0.072809 | 0.07281 | 0.9873 | -0.24414 | 0.9894 | -0.20345 | 20.0026
24 | 0.041637 | 0.010457 | -0.041634 | -0.010455 | 3.1644e-06 | 1.9978e-06 | 0.062761 | 0.062761 | 0.062761 | 0.9873 | -0.24414 | 0.98722 | -0.24574 | 17.2421
25 | -0.056549 | -0.014231 | 0.056563 | 0.014239 | 1.4005e-05 | 8.8972e-06 | 0.085068 | 0.085068 | 0.085068 | 0.9894 | -0.20345 | 0.98967 | -0.19827 | 23.3703
26 | 0.0081508 | 0.002043 | -0.0081497 | -0.0020425 | 1.1569e-06 | 4.768e-07 | 0.012259 | 0.012259 | 0.012259 | 0.9894 | -0.20345 | 0.98925 | -0.20643 | 3.3678
27 | 0.041634 | 0.010455 | -0.041614 | -0.010443 | 1.9684e-05 | 1.2428e-05 | 0.062761 | 0.062761 | 0.062761 | 0.98722 | -0.24574 | 0.98671 | -0.25565 | 17.2421
28 | -0.070351 | -0.017695 | 0.070438 | 0.01775 | 8.6645e-05 | 5.5187e-05 | 0.1058 | 0.1058 | 0.1058 | 0.98967 | -0.19827 | 0.991 | -0.17252 | 29.0658
29 | 0.0033184 | 0.00083142 | -0.0033181 | -0.0008316 | 2.5717e-07 | -1.8516e-07 | 0.0050042 | 0.0050043 | 0.0050043 | 0.98671 | -0.25565 | 0.98663 | -0.25728 | 1.3748
30 | 0.038296 | 0.0096113 | -0.038287 | -0.0096054 | 9.3215e-06 | 5.8706e-06 | 0.057757 | 0.057757 | 0.057757 | 0.98671 | -0.25565 | 0.98645 | -0.26076 | 15.8674
31 | -0.077716 | -0.019574 | 0.077837 | 0.019651 | 0.00012052 | 7.683e-05 | 0.11673 | 0.11673 | 0.11673 | 0.991 | -0.17252 | 0.99268 | -0.14015 | 32.0681
32 | 0.036178 | 0.0090769 | -0.036167 | -0.0090702 | 1.0756e-05 | 6.7611e-06 | 0.054576 | 0.054576 | 0.054576 | 0.98645 | -0.26076 | 0.98613 | -0.26699 | 14.9935
33 | -0.090234 | -0.022758 | 0.090433 | 0.022885 | 0.00019925 | 0.00012714 | 0.13531 | 0.13531 | 0.13531 | 0.99268 | -0.14015 | 0.99507 | -0.094131 | 37.1733
34 | -0.018121 | -0.0045415 | 0.018123 | 0.0045431 | 2.8342e-06 | 1.6803e-06 | 0.027107 | 0.027107 | 0.027107 | 0.99473 | -0.10079 | 0.9949 | -0.097508 | 7.4469
35 | -0.018123 | -0.0045431 | 0.018126 | 0.0045449 | 2.9163e-06 | 1.729e-06 | 0.027107 | 0.027107 | 0.027107 | 0.9949 | -0.097508 | 0.99507 | -0.094131 | 7.4469
36 | 0.022379 | 0.0056145 | -0.022366 | -0.0056065 | 1.3119e-05 | 8.0049e-06 | 0.033771 | 0.033771 | 0.033771 | 0.98613 | -0.26699 | 0.9855 | -0.2793 | 9.2777
37 | -0.23863 | -0.06027 | 0.23922 | 0.060649 | 0.00059314 | 0.00037896 | 0.35701 | 0.35701 | 0.35701 | 0.99507 | -0.094131 | 0.99777 | -0.042404 | 49.0396
38 | 0.13007 | 0.03284 | -0.12991 | -0.032737 | 0.00016048 | 0.00010256 | 0.19459 | 0.19459 | 0.19459 | 0.99507 | -0.094131 | 0.99373 | -0.11992 | 53.459
39 | -0.43189 | -0.10957 | 0.43234 | 0.10986 | 0.00045465 | 0.00029036 | 0.64456 | 0.64456 | 0.64456 | 0.99777 | -0.042404 | 0.99892 | -0.020538 | 44.2693
40 | 0.19266 | 0.048923 | -0.19238 | -0.048741 | 0.00028796 | 0.00018236 | 0.28755 | 0.28755 | 0.28755 | 0.99777 | -0.042404 | 0.99614 | -0.073513 | 19.7496
41 | 0.1193 | 0.030078 | -0.11921 | -0.030017 | 9.487e-05 | 6.0614e-05 | 0.1787 | 0.1787 | 0.1787 | 0.99373 | -0.11992 | 0.99287 | -0.13655 | 49.0946
42 | 0.03099 | 0.0077785 | -0.030966 | -0.0077638 | 2.3616e-05 | 1.4732e-05 | 0.046296 | 0.046296 | 0.046296 | 0.99614 | -0.073513 | 0.99532 | -0.089504 | 12.7187
43 | 0.16139 | 0.040962 | -0.16116 | -0.040822 | 0.00022202 | 0.00013998 | 0.24126 | 0.24126 | 0.24126 | 0.99614 | -0.073513 | 0.99465 | -0.10215 | 16.57
44 | 0.015712 | 0.0039407 | -0.015704 | -0.003936 | 8.0069e-06 | 4.6218e-06 | 0.02349 | 0.023491 | 0.023491 | 0.99532 | -0.089504 | 0.99476 | -0.1002 | 6.4535
45 | 0.15827 | 0.040096 | -0.15817 | -0.040036 | 9.5326e-05 | 6.0069e-05 | 0.23692 | 0.23692 | 0.23692 | 0.99465 | -0.10215 | 0.99399 | -0.1147 | 16.2723
46 | -0.45235 | -0.11488 | 0.4528 | 0.11516 | 0.0004476 | 0.00028591 | 0.67436 | 0.67436 | 0.67436 | 0.99892 | -0.020538 | 1 | 0 | 46.3162
47 | 0.10544 | 0.026568 | -0.1052 | -0.026412 | 0.00024477 | 0.00015632 | 0.15808 | 0.15808 | 0.15808 | 0.99287 | -0.13655 | 0.99035 | -0.1852 | 43.4279
48 | 0.014118 | 0.0035387 | -0.014117 | -0.0035378 | 1.6747e-06 | 9.4183e-07 | 0.021119 | 0.021119 | 0.021119 | 0.99476 | -0.1002 | 0.99463 | -0.10269 | 5.802
49 | 0.059576 | 0.014994 | -0.059533 | -0.014967 | 4.2421e-05 | 2.6968e-05 | 0.089493 | 0.089493 | 0.089493 | 0.99083 | -0.17567 | 0.99006 | -0.19058 | 24.5859
50 | -0.1524 | -0.038546 | 0.15246 | 0.038586 | 6.3447e-05 | 3.9935e-05 | 0.22844 | 0.22844 | 0.22844 | 0.99321 | -0.12982 | 0.99366 | -0.12114 | 15.6899
51 | 0.15553 | 0.039373 | -0.15548 | -0.039343 | 4.8085e-05 | 3.0284e-05 | 0.23297 | 0.23297 | 0.23297 | 0.99399 | -0.1147 | 0.99366 | -0.12114 | 16.0004
52 | 0.038909 | 0.0097595 | -0.038887 | -0.0097461 | 2.1316e-05 | 1.342e-05 | 0.0579 | 0.0579 | 0.0579 | 1 | 0 | 0.9994 | -0.0115 | 15.9065
53 | 0.057433 | 0.01444 | -0.057427 | -0.014437 | 5.6235e-06 | 3.5731e-06 | 0.086335 | 0.086335 | 0.086335 | 0.99006 | -0.19058 | 0.98995 | -0.19263 | 23.7185
54 | 0.052475 | 0.013196 | -0.052425 | -0.013164 | 5.0281e-05 | 3.1903e-05 | 0.078892 | 0.078893 | 0.078893 | 0.98995 | -0.19263 | 0.98892 | -0.21271 | 21.6738
55 | 0.046632 | 0.011712 | -0.046631 | -0.011711 | 8.5426e-07 | 5.4079e-07 | 0.070175 | 0.070175 | 0.070175 | 0.98892 | -0.21271 | 0.9889 | -0.21309 | 19.279
56 | 0.042872 | 0.010769 | -0.042851 | -0.010756 | 2.1159e-05 | 1.3368e-05 | 0.064519 | 0.064519 | 0.064519 | 0.9889 | -0.21309 | 0.98836 | -0.22344 | 17.7251
57 | 0.007793 | 0.0019534 | -0.007792 | -0.001953 | 9.8638e-07 | 3.8644e-07 | 0.011733 | 0.011733 | 0.011733 | 0.98836 | -0.22344 | 0.98823 | -0.2261 | 3.2233
58 | 0.035058 | 0.0088027 | -0.035036 | -0.0087888 | 2.2111e-05 | 1.388e-05 | 0.052787 | 0.052787 | 0.052787 | 0.98836 | -0.22344 | 0.98768 | -0.23667 | 14.5019
59 | 0.007792 | 0.001953 | -0.0077916 | -0.0019528 | 4.3254e-07 | 1.6948e-07 | 0.011733 | 0.011733 | 0.011733 | 0.98823 | -0.2261 | 0.98817 | -0.22726 | 3.2233
60 | 0.031671 | 0.0079455 | -0.031667 | -0.0079429 | 4.1341e-06 | 2.5839e-06 | 0.047717 | 0.047718 | 0.047718 | 0.98768 | -0.23667 | 0.98754 | -0.23941 | 13.1092
61 | 0.0077916 | 0.0019528 | -0.0077901 | -0.0019522 | 1.5017e-06 | 5.8849e-07 | 0.011733 | 0.011733 | 0.011733 | 0.98817 | -0.22726 | 0.98796 | -0.23131 | 3.2233
62 | 0.029405 | 0.0073762 | -0.029397 | -0.0073708 | 8.6344e-06 | 5.376e-06 | 0.04431 | 0.04431 | 0.04431 | 0.98754 | -0.23941 | 0.98723 | -0.24557 | 12.1731
63 | 0.0042828 | 0.0010732 | -0.0042824 | -0.0010733 | 3.698e-07 | -6.6782e-08 | 0.0064505 | 0.0064506 | 0.0064506 | 0.98796 | -0.23131 | 0.98787 | -0.23312 | 1.7721
64 | -0.0034286 | -0.00085928 | 0.0034288 | 0.00085915 | 2.1483e-07 | -1.3652e-07 | 0.0051692 | 0.0051691 | 0.0051692 | 0.98697 | -0.25064 | 0.98703 | -0.24933 | 1.4201
65 | -0.024227 | -0.0060735 | 0.024231 | 0.0060762 | 4.3379e-06 | 2.6654e-06 | 0.036524 | 0.036524 | 0.036524 | 0.98703 | -0.24933 | 0.98723 | -0.24557 | 10.0342
66 | 0.020798 | 0.0052144 | -0.020798 | -0.0052143 | 1.7372e-07 | 1.0516e-07 | 0.031355 | 0.031355 | 0.031355 | 0.98703 | -0.24933 | 0.98702 | -0.2495 | 8.6141
67 | 0.01662 | 0.0041673 | -0.016616 | -0.0041648 | 4.1601e-06 | 2.4367e-06 | 0.025057 | 0.025057 | 0.025057 | 0.98702 | -0.2495 | 0.98675 | -0.25476 | 6.8838
68 | 0.012839 | 0.0032183 | -0.012837 | -0.0032167 | 2.8372e-06 | 1.558e-06 | 0.019362 | 0.019362 | 0.019362 | 0.98675 | -0.25476 | 0.98652 | -0.25939 | 5.3192
69 | 0.0029088 | 0.00072858 | -0.0029086 | -0.00072871 | 1.1624e-07 | -1.3121e-07 | 0.0043873 | 0.0043874 | 0.0043874 | 0.98652 | -0.25939 | 0.98647 | -0.26023 | 1.2053
70 | 0.0029086 | 0.00072871 | -0.0029084 | -0.00072893 | 1.9055e-07 | -2.1503e-07 | 0.0043874 | 0.0043875 | 0.0043875 | 0.98647 | -0.26023 | 0.9864 | -0.26161 | 1.2053
71 | 0.0015004 | 0.0003758 | -0.0015003 | -0.00037602 | 3.454e-08 | -2.1517e-07 | 0.0022445 | 0.0022446 | 0.0022446 | 0.99463 | -0.10269 | 0.99461 | -0.10317 | 0.61665
72 | -0.014695 | -0.003683 | 0.014701 | 0.0036863 | 5.8106e-06 | 3.315e-06 | 0.022152 | 0.022152 | 0.022152 | 0.98711 | -0.24807 | 0.98754 | -0.23977 | 6.0858
73 | 0.015209 | 0.0038156 | -0.015205 | -0.0038133 | 4.016e-06 | 2.3095e-06 | 0.022918 | 0.022919 | 0.022919 | 0.98754 | -0.23977 | 0.98726 | -0.24531 | 6.2963
74 | -0.02991 | -0.0075019 | 0.029928 | 0.0075131 | 1.7863e-05 | 1.1132e-05 | 0.045071 | 0.045071 | 0.045071 | 0.98754 | -0.23977 | 0.98818 | -0.22725 | 12.382
75 | 0.044799 | 0.011274 | -0.044709 | -0.011217 | 8.9827e-05 | 5.6811e-05 | 0.067327 | 0.067327 | 0.067327 | 0.99035 | -0.1852 | 0.98818 | -0.22725 | 18.4965
76 | 0.015205 | 0.0038133 | -0.015197 | -0.0038088 | 7.8065e-06 | 4.4897e-06 | 0.022919 | 0.022919 | 0.022919 | 0.98726 | -0.24531 | 0.9867 | -0.25609 | 6.2963
77 | -0.0043259 | -0.0010842 | 0.0043261 | 0.0010841 | 1.6947e-07 | -2.6382e-08 | 0.0065333 | 0.0065333 | 0.0065333 | 0.98526 | -0.28395 | 0.9853 | -0.28313 | 1.7949
78 | -0.018477 | -0.0046308 | 0.018481 | 0.0046328 | 3.3767e-06 | 2.0138e-06 | 0.027905 | 0.027904 | 0.027905 | 0.9853 | -0.28313 | 0.9855 | -0.2793 | 7.6661

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.58732 | 0.14847

## res_load
| p_mw | q_mvar
0 | 0.0048078 | 0.001205
1 | 0.00079529 | 0.00019932
2 | 0.0057017 | 0.001429
3 | 0.0026746 | 0.00067031
4 | 0.0013991 | 0.00035066
5 | 0.0019349 | 0.00048494
6 | 0.0026775 | 0.00067104
7 | 0.016705 | 0.0041866
8 | 0.004929 | 0.0012353
9 | 0.0011381 | 0.00028524
10 | 0.0055124 | 0.0013815
11 | 0.0016675 | 0.00041792
12 | 0.0010789 | 0.00027039
13 | 0.0028929 | 0.00072504
14 | 0.020817 | 0.0052173
15 | 0.0028305 | 0.00070938
16 | 0.0098588 | 0.0024708
17 | 0.0066671 | 0.0016709
18 | 0.013788 | 0.0034557
19 | 0.0081497 | 0.0020425
20 | 0.0072782 | 0.0018241
21 | 0.0033181 | 0.0008316
22 | 0.0021087 | 0.00052849
23 | 0.012397 | 0.003107
24 | 0.018121 | 0.0045415
25 | 0.013788 | 0.0034557
26 | 0.010609 | 0.002659
27 | 0.015254 | 0.0038231
28 | 0.0028972 | 0.00072611
29 | 0.020007 | 0.0050143
30 | 0.013763 | 0.0034493
31 | 0.0015854 | 0.00039733
32 | 0.0046346 | 0.0011616
33 | 0.0026448 | 0.00066284
34 | 0.093966 | 0.02355
35 | 0.0021007 | 0.00052649
36 | 0.0030192 | 0.00075667
37 | 0.0049517 | 0.001241
38 | 0.0057933 | 0.0014519
39 | 0.0037588 | 0.00094205
40 | 0.0033649 | 0.00084332
41 | 0.0022614 | 0.00056677
42 | 0.0035073 | 0.000879
43 | 0.0042824 | 0.0010733
44 | 0.0034286 | 0.00085928
45 | 0.0051655 | 0.0012946
46 | 0.0041777 | 0.001047
47 | 0.0037768 | 0.00094655
48 | 0.0099278 | 0.0024881
49 | 0.0029084 | 0.00072893
50 | 0.012616 | 0.003162
51 | 0.0015003 | 0.00037602
52 | 0.014695 | 0.003683
53 | 0.038887 | 0.0097461
54 | 0.060399 | 0.015138
55 | 0.01478 | 0.0037043
56 | 0.015197 | 0.0038088
57 | 0.0043259 | 0.0010842
58 | 0.014151 | 0.0035466
59 | 0.0038851 | 0.00097371

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1