## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1371-5_1_3_node_151 | 0.4 | n |  | TRUE
1 | bus_LV_1371-5_1_3_node_152 | 0.4 | n |  | TRUE
2 | bus_LV_1371-5_1_3_node_153 | 0.4 | n |  | TRUE
3 | bus_LV_1371-5_1_3_node_154 | 0.4 | n |  | TRUE
4 | bus_LV_1371-5_1_3_node_155 | 0.4 | n |  | TRUE
5 | bus_LV_1371-5_1_3_node_170 | 0.4 | n |  | TRUE
6 | bus_LV_1371-5_1_3_node_156 | 0.4 | n |  | TRUE
7 | bus_LV_1371-5_1_3_node_157 | 0.4 | n |  | TRUE
8 | bus_LV_1371-5_1_3_node_158 | 0.4 | n |  | TRUE
9 | bus_LV_1371-5_1_3_node_159 | 0.4 | n |  | TRUE
10 | bus_LV_1371-5_1_3_node_160 | 0.4 | n |  | TRUE
11 | bus_LV_1371-5_1_3_node_163 | 0.4 | n |  | TRUE
12 | bus_LV_1371-5_1_3_node_164 | 0.4 | n |  | TRUE
13 | bus_LV_1371-5_1_3_node_161 | 0.4 | n |  | TRUE
14 | bus_LV_1371-5_1_3_node_171 | 0.4 | n |  | TRUE
15 | bus_LV_1371-5_1_3_node_181 | 0.4 | n |  | TRUE
16 | bus_LV_1371-5_1_3_node_177 | 0.4 | n |  | TRUE
17 | bus_LV_1371-5_1_3_node_165 | 0.4 | n |  | TRUE
18 | bus_LV_1371-5_1_3_node_168 | 0.4 | n |  | TRUE
19 | bus_LV_1371-5_1_3_node_166 | 0.4 | n |  | TRUE
20 | bus_LV_1371-5_1_3_node_167 | 0.4 | n |  | TRUE
21 | bus_LV_1371-5_1_3_node_210 | 0.4 | n |  | TRUE
22 | bus_LV_1371-5_1_3_node_211 | 0.4 | n |  | TRUE
23 | bus_LV_1371-5_1_3_node_215 | 0.4 | n |  | TRUE
24 | bus_LV_1371-5_1_3_node_214 | 0.4 | n |  | TRUE
25 | bus_LV_1371-5_1_3_node_169 | 0.4 | n |  | TRUE
26 | bus_LV_1371-5_1_3_node_172 | 0.4 | n |  | TRUE
27 | bus_LV_1371-5_1_3_node_173 | 0.4 | n |  | TRUE
28 | bus_LV_1371-5_1_3_node_174 | 0.4 | n |  | TRUE
29 | bus_LV_1371-5_1_3_node_175 | 0.4 | n |  | TRUE
30 | bus_LV_1371-5_1_3_node_176 | 0.4 | n |  | TRUE
31 | bus_LV_1371-5_1_3_node_182 | 0.4 | n |  | TRUE
32 | bus_LV_1371-5_1_3_node_179 | 0.4 | n |  | TRUE
33 | bus_LV_1371-5_1_3_node_178 | 0.4 | n |  | TRUE
34 | bus_LV_1371-5_1_3_node_180 | 0.4 | n |  | TRUE
35 | bus_LV_1371-5_1_3_node_185 | 0.4 | n |  | TRUE
36 | bus_LV_1371-5_1_3_node_183 | 0.4 | n |  | TRUE
37 | bus_LV_1371-5_1_3_node_184 | 0.4 | n |  | TRUE
38 | bus_LV_1371-5_1_3_node_186 | 0.4 | n |  | TRUE
39 | bus_LV_1371-5_1_3_node_187 | 0.4 | n |  | TRUE
40 | bus_LV_1371-5_1_3_node_188 | 0.4 | n |  | TRUE
41 | bus_LV_1371-5_1_3_node_189 | 0.4 | n |  | TRUE
42 | bus_LV_1371-5_1_3_node_190 | 0.4 | n |  | TRUE
43 | bus_LV_1371-5_1_3_node_191 | 0.4 | n |  | TRUE
44 | bus_LV_1371-5_1_3_node_195 | 0.4 | n |  | TRUE
45 | bus_LV_1371-5_1_3_node_192 | 0.4 | n |  | TRUE
46 | bus_LV_1371-5_1_3_node_199 | 0.4 | n |  | TRUE
47 | bus_LV_1371-5_1_3_node_196 | 0.4 | n |  | TRUE
48 | bus_LV_1371-5_1_3_node_200 | 0.4 | n |  | TRUE
49 | bus_LV_1371-5_1_3_node_201 | 0.4 | n |  | TRUE
50 | bus_LV_1371-5_1_3_node_202 | 0.4 | n |  | TRUE
51 | bus_LV_1371-5_1_3_node_203 | 0.4 | n |  | TRUE
52 | bus_LV_1371-5_1_3_node_219 | 0.4 | n |  | TRUE
53 | bus_LV_1371-5_1_3_node_208 | 0.4 | n |  | TRUE
54 | bus_LV_1371-5_1_3_node_209 | 0.4 | n |  | TRUE
55 | bus_LV_1371-5_1_3_node_204 | 0.4 | n |  | TRUE
56 | bus_LV_1371-5_1_3_node_205 | 0.4 | n |  | TRUE
57 | bus_LV_1371-5_1_3_node_206 | 0.4 | n |  | TRUE
58 | bus_LV_1371-5_1_3_node_212 | 0.4 | n |  | TRUE
59 | bus_LV_1371-5_1_3_node_213 | 0.4 | n |  | TRUE
60 | bus_LV_1371-5_1_3_node_216 | 0.4 | n |  | TRUE
61 | bus_LV_1371-5_1_3_node_217 | 0.4 | n |  | TRUE
62 | bus_LV_1371-5_1_3_node_218 | 0.4 | n |  | TRUE
63 | bus_LV_1371-5_1_3_node_109 | 0.4 | n |  | TRUE
64 | bus_MV_22_0_node_207 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1371-5_1_3_load_151 | 0 | 0.00072236 | 0.00018104 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1371-5_1_3_load_152 | 1 | 0.0019988 | 0.00050095 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1371-5_1_3_load_154 | 3 | 0.0019305 | 0.00048382 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1371-5_1_3_load_155 | 4 | 0.0094255 | 0.0023623 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1371-5_1_3_load_170 | 5 | 0.0021048 | 0.00052751 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1371-5_1_3_load_156 | 6 | 0.00094415 | 0.00023663 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1371-5_1_3_load_157 | 7 | 0.00023187 | 5.8111e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1371-5_1_3_load_159 | 9 | 0.00094399 | 0.00023659 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1371-5_1_3_load_160 | 10 | 0.00057476 | 0.00014405 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1371-5_1_3_load_171 | 14 | 0.0017309 | 0.0004338 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1371-5_1_3_load_177 | 16 | 0.0047064 | 0.0011795 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1371-5_1_3_load_165 | 17 | 0.001804 | 0.00045214 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1371-5_1_3_load_210 | 21 | 0.00034203 | 8.5722e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1371-5_1_3_load_211 | 22 | 0.00060304 | 0.00015114 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1371-5_1_3_load_215 | 23 | 0.00062007 | 0.00015541 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1371-5_1_3_load_214 | 24 | 0.00070105 | 0.0001757 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1371-5_1_3_load_169 | 25 | 0.0023753 | 0.00059532 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1371-5_1_3_load_172 | 26 | 0.0030036 | 0.00075278 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1371-5_1_3_load_173 | 27 | 0.0039673 | 0.00099431 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1371-5_1_3_load_174 | 28 | 0.0025804 | 0.0006467 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1371-5_1_3_load_175 | 29 | 0.0089221 | 0.0022361 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1371-5_1_3_load_182 | 31 | 0.0046146 | 0.0011565 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1371-5_1_3_load_179 | 32 | 0.0029147 | 0.00073048 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1371-5_1_3_load_178 | 33 | 0.001401 | 0.00035113 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1371-5_1_3_load_180 | 34 | 0.0020953 | 0.00052514 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1371-5_1_3_load_185 | 35 | 0.0023364 | 0.00058555 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1371-5_1_3_load_183 | 36 | 0.0030042 | 0.00075292 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1371-5_1_3_load_184 | 37 | 0.0014738 | 0.00036937 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1371-5_1_3_load_186 | 38 | 0.0015869 | 0.00039771 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1371-5_1_3_load_187 | 39 | 0.00026297 | 6.5907e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1371-5_1_3_load_189 | 41 | 0.00046032 | 0.00011537 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1371-5_1_3_load_190 | 42 | 0.00079492 | 0.00019922 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1371-5_1_3_load_191 | 43 | 0.0001385 | 3.4712e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1371-5_1_3_load_195 | 44 | 0.00036953 | 9.2613e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1371-5_1_3_load_192 | 45 | 0.001143 | 0.00028647 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1371-5_1_3_load_199 | 46 | 0.0004278 | 0.00010722 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1371-5_1_3_load_196 | 47 | 0.00025051 | 6.2783e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1371-5_1_3_load_200 | 48 | 0.00029285 | 7.3395e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1371-5_1_3_load_202 | 50 | 0.00051761 | 0.00012972 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1371-5_1_3_load_203 | 51 | 0.0026863 | 0.00067325 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1371-5_1_3_load_219 | 52 | 0.0002978 | 7.4637e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1371-5_1_3_load_208 | 53 | 0.000684 | 0.00017143 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1371-5_1_3_load_209 | 54 | 0.00077008 | 0.000193 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1371-5_1_3_load_204 | 55 | 0.00015026 | 3.7658e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1371-5_1_3_load_205 | 56 | 0.00044293 | 0.00011101 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1371-5_1_3_load_206 | 57 | 0.0004281 | 0.00010729 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1371-5_1_3_load_212 | 58 | 0.00036098 | 9.0469e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1371-5_1_3_load_213 | 59 | 0.0007702 | 0.00019303 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1371-5_1_3_load_217 | 61 | 0.00067262 | 0.00016857 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1371-5_1_3_load_218 | 62 | 0.00083244 | 0.00020863 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1371-5_1_3_load_109 | 63 | 0.00059949 | 0.00015025 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1371-5_1_3_line_0 |  | 0 | 1 | 0.054831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1371-5_1_3_line_1 |  | 1 | 2 | 0.072677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1371-5_1_3_line_2 |  | 2 | 3 | 0.014885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1371-5_1_3_line_3 |  | 2 | 4 | 0.09036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1371-5_1_3_line_4 |  | 4 | 5 | 0.026911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1371-5_1_3_line_5 |  | 5 | 25 | 0.0021336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1371-5_1_3_line_6 |  | 6 | 7 | 0.00048732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1371-5_1_3_line_7 |  | 6 | 8 | 0.086631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1371-5_1_3_line_8 |  | 7 | 9 | 0.013674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1371-5_1_3_line_9 |  | 8 | 10 | 0.10163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1371-5_1_3_line_10 |  | 8 | 11 | 0.07242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1371-5_1_3_line_11 |  | 10 | 12 | 0.15276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1371-5_1_3_line_12 |  | 11 | 16 | 0.0091048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1371-5_1_3_line_13 |  | 11 | 13 | 0.059944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1371-5_1_3_line_14 |  | 12 | 17 | 0.088643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1371-5_1_3_line_15 |  | 12 | 18 | 0.1518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1371-5_1_3_line_16 |  | 13 | 14 | 0.025682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1371-5_1_3_line_17 |  | 13 | 15 | 0.015608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1371-5_1_3_line_18 |  | 14 | 25 | 0.020723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1371-5_1_3_line_19 |  | 15 | 35 | 0.078052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1371-5_1_3_line_20 |  | 15 | 34 | 0.023626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1371-5_1_3_line_21 |  | 16 | 33 | 0.014808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1371-5_1_3_line_22 |  | 18 | 23 | 0.003641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1371-5_1_3_line_23 |  | 18 | 24 | 0.051916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1371-5_1_3_line_24 |  | 19 | 20 | 0.0077679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1371-5_1_3_line_25 |  | 19 | 21 | 0.053593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1371-5_1_3_line_26 |  | 20 | 22 | 0.031375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1371-5_1_3_line_27 |  | 22 | 58 | 0.016416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1371-5_1_3_line_28 |  | 23 | 60 | 0.1319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1371-5_1_3_line_29 |  | 24 | 59 | 0.045926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1371-5_1_3_line_30 |  | 26 | 27 | 0.034344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1371-5_1_3_line_31 |  | 26 | 28 | 0.012642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1371-5_1_3_line_32 |  | 27 | 29 | 0.11783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1371-5_1_3_line_33 |  | 28 | 30 | 0.039945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1371-5_1_3_line_34 |  | 30 | 31 | 0.0092089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1371-5_1_3_line_35 |  | 30 | 32 | 0.032059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1371-5_1_3_line_36 |  | 31 | 36 | 0.019481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1371-5_1_3_line_37 |  | 32 | 34 | 0.0192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1371-5_1_3_line_38 |  | 35 | 37 | 0.032847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1371-5_1_3_line_39 |  | 38 | 39 | 0.078075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1371-5_1_3_line_40 |  | 38 | 40 | 0.18619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1371-5_1_3_line_41 |  | 39 | 41 | 0.090263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1371-5_1_3_line_42 |  | 40 | 42 | 0.16515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1371-5_1_3_line_43 |  | 41 | 43 | 0.0079997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1371-5_1_3_line_44 |  | 42 | 44 | 0.051116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1371-5_1_3_line_45 |  | 43 | 45 | 0.086666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1371-5_1_3_line_46 |  | 44 | 47 | 0.0022253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1371-5_1_3_line_47 |  | 45 | 46 | 0.14539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1371-5_1_3_line_48 |  | 46 | 48 | 0.0068742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1371-5_1_3_line_49 |  | 48 | 49 | 0.07307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1371-5_1_3_line_50 |  | 49 | 50 | 0.074569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1371-5_1_3_line_51 |  | 49 | 51 | 0.038891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1371-5_1_3_line_52 |  | 50 | 52 | 0.10504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1371-5_1_3_line_53 |  | 51 | 53 | 0.11201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1371-5_1_3_line_54 |  | 51 | 54 | 0.22886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1371-5_1_3_line_55 |  | 52 | 62 | 0.032174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1371-5_1_3_line_56 |  | 54 | 57 | 0.013943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1371-5_1_3_line_57 |  | 55 | 56 | 0.0048727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1371-5_1_3_line_58 |  | 56 | 57 | 0.069219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1371-5_1_3_line_59 |  | 58 | 59 | 0.044563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1371-5_1_3_line_60 |  | 60 | 61 | 0.055301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1371-5_1_3_line_61 |  | 60 | 62 | 0.127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1371-5_1_3_line_62 |  | 61 | 63 | 0.0045538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1371-5_1_3_trafo_163 | 0.63 MVA 20/0.4 kV | 64 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2690464.6193 | 1216269.2062 | 2690469.1111 | 1216267.714 | 2690493.8296 | 1216270.6245 | 2690518.4324 | 1216276.1176
1 | 2690587.0718 | 1216299.5604 | 2690575.9197 | 1216296.878 | 2690544.4328 | 1216286.1479 | 2690523.7002 | 1216277.2937 | 2690518.4324 | 1216276.1176
2 | 2690587.0718 | 1216299.5604 | 2690580.2961 | 1216312.814
3 | 2690587.0718 | 1216299.5604 | 2690597.2709 | 1216298.5036 | 2690611.641 | 1216294.8083 | 2690625.3854 | 1216292.3045 | 2690640.6209 | 1216291.6245 | 2690658.8076 | 1216295.1146 | 2690675.5082 | 1216300.4387
4 | 2690675.5082 | 1216300.4387 | 2690689.6095 | 1216304.9342 | 2690696.4542 | 1216305.2386 | 2690701.5839 | 1216304.0777
5 | 2690703.6532 | 1216303.5636 | 2690703.1292 | 1216303.728 | 2690701.5839 | 1216304.0777
6 | 2690676.4233 | 1216171.7381 | 2690676.9057 | 1216171.8069
7 | 2690748.2764 | 1216215.266 | 2690734.8233 | 1216211.5921 | 2690721.756 | 1216205.5113 | 2690713.0045 | 1216199.7631 | 2690706.4834 | 1216194.6493 | 2690701.5811 | 1216187.4587 | 2690693.126 | 1216176.7005 | 2690685.1863 | 1216172.9883 | 2690676.9057 | 1216171.8069
8 | 2690662.7743 | 1216172.1802 | 2690675.3283 | 1216171.5819 | 2690676.4233 | 1216171.7381
9 | 2690748.2764 | 1216215.266 | 2690749.8133 | 1216207.5953 | 2690751.5874 | 1216191.8338 | 2690752.5443 | 1216179.8625 | 2690752.0638 | 1216174.0179 | 2690750.8915 | 1216168.7186 | 2690749.5994 | 1216165.3078 | 2690747.9182 | 1216162.0133 | 2690745.8082 | 1216158.9569 | 2690743.2159 | 1216156.1488 | 2690739.9913 | 1216152.9754 | 2690736.4995 | 1216150.3982 | 2690725.3414 | 1216145.1026 | 2690715.4516 | 1216139.2926 | 2690709.8737 | 1216134.9312
10 | 2690748.2764 | 1216215.266 | 2690752.4717 | 1216216.0304 | 2690751.1501 | 1216223.0262 | 2690750.081 | 1216228.9028 | 2690748.9392 | 1216235.0674 | 2690747.8699 | 1216240.9551 | 2690746.8452 | 1216246.9102 | 2690745.9731 | 1216252.8121 | 2690745.541 | 1216256.7526 | 2690772.3401 | 1216258.1727
11 | 2690629.732 | 1216006.0872 | 2690634.4247 | 1216018.5892 | 2690647.1135 | 1216044.0884 | 2690666.4668 | 1216078.2503 | 2690685.3646 | 1216105.901 | 2690699.4755 | 1216125.2511 | 2690707.9247 | 1216133.4074 | 2690709.8737 | 1216134.9312
12 | 2690772.3401 | 1216258.1727 | 2690780.1271 | 1216253.4547
13 | 2690747.9326 | 1216289.6781 | 2690746.0339 | 1216276.7404 | 2690745.4171 | 1216270.8714 | 2690745.2224 | 1216264.7087 | 2690745.3882 | 1216258.8072 | 2690745.541 | 1216256.7526 | 2690772.3401 | 1216258.1727
14 | 2690545.2776 | 1216020.2246 | 2690574.8924 | 1216004.8418 | 2690584.4596 | 1216002.4188 | 2690619.1232 | 1216007.0933 | 2690629.732 | 1216006.0872
15 | 2690712.7649 | 1215899.8112 | 2690643.4238 | 1215955.183 | 2690626.6334 | 1215967.1692 | 2690622.1397 | 1215969.5358 | 2690627.1644 | 1215990.671 | 2690629.732 | 1216006.0872
16 | 2690747.9326 | 1216289.6781 | 2690723.427 | 1216297.3628
17 | 2690747.9326 | 1216289.6781 | 2690750.5611 | 1216305.0619
18 | 2690703.6532 | 1216303.5636 | 2690723.427 | 1216297.3628
19 | 2690750.5611 | 1216305.0619 | 2690757.9874 | 1216305.075 | 2690761.1279 | 1216307.2798 | 2690776.0996 | 1216335.3713 | 2690787.2534 | 1216351.8858 | 2690796.681 | 1216363.5886
20 | 2690750.5611 | 1216305.0619 | 2690753.8749 | 1216328.4548
21 | 2690780.1271 | 1216253.4547 | 2690781.4398 | 1216246.0475 | 2690779.2556 | 1216239.0973
22 | 2690712.7649 | 1215899.8112 | 2690716.3208 | 1215899.0284
23 | 2690712.7649 | 1215899.8112 | 2690661.7974 | 1215889.9347
24 | 2690516.2258 | 1215880.6108 | 2690519.8399 | 1215880.6546 | 2690523.9931 | 1215880.7066
25 | 2690516.2258 | 1215880.6108 | 2690514.5307 | 1215888.7128 | 2690520.3209 | 1215894.9828 | 2690527.333 | 1215913.7909 | 2690528.6298 | 1215920.9043 | 2690525.6982 | 1215925.9187 | 2690522.2263 | 1215927.1066
26 | 2690523.9931 | 1215880.7066 | 2690555.348 | 1215881.8327
27 | 2690555.348 | 1215881.8327 | 2690571.7532 | 1215882.4219
28 | 2690847.16 | 1215886.6932 | 2690780.109 | 1215887.8615 | 2690752.2574 | 1215891.1175 | 2690716.3208 | 1215899.0284
29 | 2690616.2573 | 1215884.5627 | 2690645.7019 | 1215886.8156 | 2690661.7974 | 1215889.9347
30 | 2690717.8988 | 1216371.8109 | 2690705.4536 | 1216383.4731 | 2690690.9963 | 1216392.9539
31 | 2690717.8988 | 1216371.8109 | 2690727.1232 | 1216363.1669
32 | 2690690.9963 | 1216392.9539 | 2690663.6136 | 1216410.9108 | 2690657.6142 | 1216422.4274 | 2690663.9668 | 1216451.5661 | 2690666.9813 | 1216493.7296
33 | 2690763.9277 | 1216378.6932 | 2690727.1232 | 1216363.1669
34 | 2690763.9277 | 1216378.6932 | 2690766.5495 | 1216387.5211
35 | 2690763.9277 | 1216378.6932 | 2690757.1212 | 1216347.3655
36 | 2690772.0956 | 1216406.1956 | 2690766.5495 | 1216387.5211
37 | 2690757.1212 | 1216347.3655 | 2690755.4907 | 1216339.8606 | 2690753.8749 | 1216328.4548
38 | 2690817.2875 | 1216389.168 | 2690796.681 | 1216363.5886
39 | 2691416.9825 | 1216220.4623 | 2691425.5558 | 1216213.9138 | 2691431.3469 | 1216211.6233 | 2691446.4684 | 1216209.4871 | 2691456.2364 | 1216206.8574 | 2691467.6698 | 1216199.1164 | 2691472.5302 | 1216192.6644 | 2691471.8439 | 1216185.927 | 2691466.7542 | 1216181.1012 | 2691466.7542 | 1216181.1012
40 | 2691527.5375 | 1216256.0408 | 2691494.1848 | 1216256.1289 | 2691480.8884 | 1216256.1248 | 2691476.0888 | 1216258.6195 | 2691469.7982 | 1216267.2288 | 2691466.1389 | 1216273.11 | 2691458.0732 | 1216281.1029 | 2691447.3232 | 1216282.9169 | 2691436.8298 | 1216281.366 | 2691424.8817 | 1216270.6977 | 2691408.0036 | 1216258.1637 | 2691402.923 | 1216252.7488 | 2691400.6363 | 1216246.376 | 2691401.3756 | 1216237.2923 | 2691407.2761 | 1216227.8763 | 2691416.9825 | 1216220.4623
41 | 2691383.4885 | 1216160.8215 | 2691383.4885 | 1216160.8215 | 2691390.3776 | 1216164.6853 | 2691403.2975 | 1216176.3691 | 2691414.3363 | 1216181.4863 | 2691428.8172 | 1216182.498 | 2691456.0588 | 1216179.347 | 2691466.7542 | 1216181.1012
42 | 2691527.5375 | 1216256.0408 | 2691543.3983 | 1216254.2164 | 2691562.87 | 1216263.4996 | 2691593.1628 | 1216277.2188 | 2691615.4704 | 1216284.2886 | 2691624.5583 | 1216284.8954 | 2691629.9238 | 1216282.6318 | 2691635.8313 | 1216276.2405 | 2691638.7814 | 1216267.6022 | 2691637.6373 | 1216262.003 | 2691628.7635 | 1216253.4052 | 2691614.3215 | 1216246.9121 | 2691610.6809 | 1216244.6404
43 | 2691375.5333 | 1216161.6043 | 2691375.9376 | 1216161.4951 | 2691383.4885 | 1216160.8215
44 | 2691610.6809 | 1216244.6404 | 2691606.8677 | 1216242.2611 | 2691602.7906 | 1216236.7836 | 2691598.4406 | 1216226.3318 | 2691593.5321 | 1216212.2023 | 2691591.7234 | 1216198.8091
45 | 2691375.5333 | 1216161.6043 | 2691357.1945 | 1216166.5557 | 2691349.0832 | 1216164.6523 | 2691341.0493 | 1216158.1915 | 2691336.6093 | 1216149.6176 | 2691333.6906 | 1216132.9505 | 2691334.8309 | 1216123.4615 | 2691337.6914 | 1216118.1683 | 2691342.3331 | 1216113.0916
46 | 2691591.4255 | 1216196.6037 | 2691591.7234 | 1216198.8091
47 | 2691223.3213 | 1216029.5806 | 2691342.3331 | 1216113.0916
48 | 2691223.3213 | 1216029.5806 | 2691219.2987 | 1216031.7078 | 2691217.0328 | 1216032.2232
49 | 2691146.99 | 1216030.6678 | 2691171.9821 | 1216041.057 | 2691180.1371 | 1216040.6148 | 2691217.0328 | 1216032.2232
50 | 2691146.99 | 1216030.6678 | 2691098.789 | 1216006.9815 | 2691079.1692 | 1215999.8886
51 | 2691146.99 | 1216030.6678 | 2691137.4796 | 1216052.6929 | 2691127.7187 | 1216063.9506
52 | 2691079.1692 | 1215999.8886 | 2690980.3853 | 1215964.1765
53 | 2691022.1387 | 1216073.7419 | 2691027.2705 | 1216071.4996 | 2691047.8256 | 1216076.5725 | 2691095.9206 | 1216080.8435 | 2691107.5342 | 1216078.6862 | 2691124.6164 | 1216067.5286 | 2691127.7187 | 1216063.9506
54 | 2691127.7187 | 1216063.9506 | 2691165.1508 | 1216289.7325
55 | 2690980.3853 | 1215964.1765 | 2690967.8327 | 1215959.6385 | 2690950.3229 | 1215952.7225
56 | 2691156.017 | 1216300.2669 | 2691165.1508 | 1216289.7325
57 | 2691087.4847 | 1216323.0256 | 2691092.3427 | 1216322.6472
58 | 2691092.3427 | 1216322.6472 | 2691115.0612 | 1216320.8772 | 2691151.6498 | 1216305.3038 | 2691156.017 | 1216300.2669
59 | 2690571.7532 | 1215882.4219 | 2690602.8982 | 1215883.5405 | 2690616.2573 | 1215884.5627
60 | 2690847.16 | 1215886.6932 | 2690861.4025 | 1215884.4643 | 2690869.3648 | 1215878.7485 | 2690875.9439 | 1215870.6099 | 2690886.8273 | 1215853.098
61 | 2690847.16 | 1215886.6932 | 2690850.0783 | 1215894.0205 | 2690864.9294 | 1215914.1271 | 2690881.5984 | 1215925.5779 | 2690950.3229 | 1215952.7225
62 | 2690889.231 | 1215849.2302 | 2690886.8273 | 1215853.098

## bus_geodata
| x | y | coords
0 | 2690464.6193 | 1216269.2062
1 | 2690518.4324 | 1216276.1176
2 | 2690587.0718 | 1216299.5604
3 | 2690580.2961 | 1216312.814
4 | 2690675.5081 | 1216300.4387
5 | 2690701.5839 | 1216304.0777
6 | 2690676.9057 | 1216171.8069
7 | 2690676.4233 | 1216171.7381
8 | 2690748.2764 | 1216215.266
9 | 2690662.7743 | 1216172.1802
10 | 2690709.8737 | 1216134.9312
11 | 2690772.3401 | 1216258.1727
12 | 2690629.732 | 1216006.0872
13 | 2690747.9326 | 1216289.6781
14 | 2690723.427 | 1216297.3628
15 | 2690750.5611 | 1216305.0619
16 | 2690780.1271 | 1216253.4547
17 | 2690545.2776 | 1216020.2246
18 | 2690712.7649 | 1215899.8112
19 | 2690516.2258 | 1215880.6108
20 | 2690523.9931 | 1215880.7066
21 | 2690522.2263 | 1215927.1066
22 | 2690555.348 | 1215881.8327
23 | 2690716.3208 | 1215899.0284
24 | 2690661.7974 | 1215889.9347
25 | 2690703.6532 | 1216303.5636
26 | 2690717.8988 | 1216371.8109
27 | 2690690.9963 | 1216392.9539
28 | 2690727.1232 | 1216363.1669
29 | 2690666.9813 | 1216493.7296
30 | 2690763.9277 | 1216378.6932
31 | 2690766.5495 | 1216387.5211
32 | 2690757.1212 | 1216347.3655
33 | 2690779.2556 | 1216239.0973
34 | 2690753.8749 | 1216328.4548
35 | 2690796.681 | 1216363.5886
36 | 2690772.0956 | 1216406.1956
37 | 2690817.2875 | 1216389.168
38 | 2691416.9825 | 1216220.4623
39 | 2691466.7542 | 1216181.1012
40 | 2691527.5375 | 1216256.0408
41 | 2691383.4885 | 1216160.8215
42 | 2691610.6809 | 1216244.6404
43 | 2691375.5333 | 1216161.6043
44 | 2691591.7234 | 1216198.8091
45 | 2691342.3331 | 1216113.0916
46 | 2691223.3213 | 1216029.5806
47 | 2691591.4255 | 1216196.6037
48 | 2691217.0328 | 1216032.2232
49 | 2691146.99 | 1216030.6678
50 | 2691079.1692 | 1215999.8886
51 | 2691127.7187 | 1216063.9506
52 | 2690980.3853 | 1215964.1765
53 | 2691022.1387 | 1216073.7419
54 | 2691165.1508 | 1216289.7325
55 | 2691087.4847 | 1216323.0256
56 | 2691092.3427 | 1216322.6472
57 | 2691156.017 | 1216300.2669
58 | 2690571.7532 | 1215882.4219
59 | 2690616.2573 | 1215884.5627
60 | 2690847.16 | 1215886.6932
61 | 2690886.8273 | 1215853.098
62 | 2690950.3229 | 1215952.7225
63 | 2690889.231 | 1215849.2302
64 | 2690745.541 | 1216256.7526

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99518 | -0.092625 | 0.00072236 | 0.00018104
1 | 0.99522 | -0.091927 | 0.0019988 | 0.00050095
2 | 0.9954 | -0.088444 | 0 | 0
3 | 0.99537 | -0.088949 | 0.0019305 | 0.00048382
4 | 0.99578 | -0.081043 | 0.0094255 | 0.0023623
5 | 0.99613 | -0.074382 | 0.0021048 | 0.00052751
6 | 0.99839 | -0.030766 | 0.00094415 | 0.00023663
7 | 0.99839 | -0.030776 | 0.00023187 | 5.8111e-05
8 | 0.99856 | -0.027552 | 0 | 0
9 | 0.99838 | -0.031002 | 0.00094399 | 0.00023659
10 | 0.99673 | -0.062561 | 0.00057476 | 0.00014405
11 | 1 | 0 | -0.085155 | -0.021073
12 | 0.99407 | -0.11386 | 0 | 0
13 | 0.99698 | -0.057874 | 0 | 0
14 | 0.99651 | -0.06702 | 0.0017309 | 0.0004338
15 | 0.99649 | -0.067438 | 0 | 0
16 | 0.99995 | -0.00096934 | 0.0047064 | 0.0011795
17 | 0.99392 | -0.11669 | 0.001804 | 0.00045214
18 | 0.99167 | -0.16024 | 0 | 0
19 | 0.99137 | -0.16605 | 0 | 0
20 | 0.99137 | -0.166 | 0 | 0
21 | 0.99135 | -0.16637 | 0.00034203 | 8.5722e-05
22 | 0.99138 | -0.16581 | 0.00060304 | 0.00015114
23 | 0.99162 | -0.16117 | 0.00062007 | 0.00015541
24 | 0.99154 | -0.1628 | 0.00070105 | 0.0001757
25 | 0.99616 | -0.073775 | 0.0023753 | 0.00059532
26 | 0.99369 | -0.12144 | 0.0030036 | 0.00075278
27 | 0.99328 | -0.12926 | 0.0039673 | 0.00099431
28 | 0.99387 | -0.1179 | 0.0025804 | 0.0006467
29 | 0.99232 | -0.14786 | 0.0089221 | 0.0022361
30 | 0.99454 | -0.10488 | 0 | 0
31 | 0.99448 | -0.10612 | 0.0046146 | 0.0011565
32 | 0.99531 | -0.090146 | 0.0029147 | 0.00073048
33 | 0.99993 | -0.001331 | 0.001401 | 0.00035113
34 | 0.99582 | -0.080349 | 0.0020953 | 0.00052514
35 | 0.99622 | -0.072663 | 0.0023364 | 0.00058555
36 | 0.99443 | -0.10715 | 0.0030042 | 0.00075292
37 | 0.99617 | -0.073513 | 0.0014738 | 0.00036937
38 | 0.98438 | -0.30246 | 0.0015869 | 0.00039771
39 | 0.98459 | -0.29823 | 0.00026297 | 6.5907e-05
40 | 0.98413 | -0.30724 | 0 | 0
41 | 0.98486 | -0.2929 | 0.00046032 | 0.00011537
42 | 0.98392 | -0.31146 | 0.00079492 | 0.00019922
43 | 0.98489 | -0.29237 | 0.0001385 | 3.4712e-05
44 | 0.98389 | -0.31203 | 0.00036953 | 9.2613e-05
45 | 0.9852 | -0.28632 | 0.001143 | 0.00028647
46 | 0.98587 | -0.27319 | 0.0004278 | 0.00010722
47 | 0.98389 | -0.31204 | 0.00025051 | 6.2783e-05
48 | 0.9859 | -0.27252 | 0.00029285 | 7.3395e-05
49 | 0.98629 | -0.26498 | 0 | 0
50 | 0.98703 | -0.25038 | 0.00051761 | 0.00012972
51 | 0.9861 | -0.26859 | 0.0026863 | 0.00067325
52 | 0.98814 | -0.22888 | 0.0002978 | 7.4637e-05
53 | 0.98603 | -0.26997 | 0.000684 | 0.00017143
54 | 0.98573 | -0.27597 | 0.00077008 | 0.000193
55 | 0.98568 | -0.27698 | 0.00015026 | 3.7658e-05
56 | 0.98568 | -0.27696 | 0.00044293 | 0.00011101
57 | 0.98571 | -0.27623 | 0.0004281 | 0.00010729
58 | 0.9914 | -0.16553 | 0.00036098 | 9.0469e-05
59 | 0.99145 | -0.1645 | 0.0007702 | 0.00019303
60 | 0.98995 | -0.19365 | 0 | 0
61 | 0.98988 | -0.1949 | 0.00067262 | 0.00016857
62 | 0.98848 | -0.22213 | 0.00083244 | 0.00020863
63 | 0.98988 | -0.19495 | 0.00059949 | 0.00015025
64 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00072236 | -0.00018104 | 0.00072239 | 0.00018034 | 2.3981e-08 | -6.9711e-07 | 0.0010801 | 0.0010798 | 0.0010801 | 0.99518 | -0.092625 | 0.99522 | -0.091927 | 0.29673
1 | -0.0027212 | -0.00068129 | 0.0027216 | 0.00068063 | 4.5106e-07 | -6.5587e-07 | 0.0040684 | 0.004068 | 0.0040684 | 0.99522 | -0.091927 | 0.9954 | -0.088444 | 1.1177
2 | 0.0019305 | 0.00048366 | -0.0019305 | -0.00048382 | 4.6488e-08 | -1.6373e-07 | 0.0028859 | 0.0028859 | 0.0028859 | 0.9954 | -0.088444 | 0.99537 | -0.088949 | 0.79283
3 | -0.0046521 | -0.0011643 | 0.0046538 | 0.0011642 | 1.6385e-06 | -1.2641e-07 | 0.0069539 | 0.0069535 | 0.0069539 | 0.9954 | -0.088444 | 0.99578 | -0.081043 | 1.9104
4 | -0.014079 | -0.0035264 | 0.014084 | 0.0035289 | 4.4667e-06 | 2.5085e-06 | 0.021038 | 0.021038 | 0.021038 | 0.99578 | -0.081043 | 0.99613 | -0.074382 | 5.7797
5 | -0.016189 | -0.0040564 | 0.016189 | 0.0040567 | 4.6788e-07 | 2.7166e-07 | 0.024182 | 0.024182 | 0.024182 | 0.99613 | -0.074382 | 0.99616 | -0.073775 | 6.6435
6 | 0.0011759 | 0.00029452 | -0.0011759 | -0.00029453 | 5.6099e-10 | -6.0138e-09 | 0.0017525 | 0.0017525 | 0.0017525 | 0.99839 | -0.030766 | 0.99839 | -0.030776 | 0.48145
7 | -0.00212 | -0.00053115 | 0.0021203 | 0.00053022 | 3.2428e-07 | -9.2553e-07 | 0.0031596 | 0.0031592 | 0.0031596 | 0.99839 | -0.030766 | 0.99856 | -0.027552 | 0.86803
8 | 0.000944 | 0.00023641 | -0.00094399 | -0.00023659 | 1.015e-08 | -1.7232e-07 | 0.0014069 | 0.001407 | 0.001407 | 0.99839 | -0.030776 | 0.99838 | -0.031002 | 0.38653
9 | 0.019777 | 0.0049972 | -0.019744 | -0.0049774 | 3.3134e-05 | 1.9879e-05 | 0.029485 | 0.029485 | 0.029485 | 0.99856 | -0.027552 | 0.99673 | -0.062561 | 8.1004
10 | -0.021897 | -0.0055275 | 0.021926 | 0.005545 | 2.894e-05 | 1.7573e-05 | 0.032644 | 0.032644 | 0.032644 | 0.99856 | -0.027552 | 1 | 0 | 8.9682
11 | 0.019169 | 0.0048333 | -0.019122 | -0.0048053 | 4.6946e-05 | 2.806e-05 | 0.028627 | 0.028628 | 0.028628 | 0.99673 | -0.062561 | 0.99407 | -0.11386 | 7.8648
12 | 0.0061077 | 0.0015305 | -0.0061074 | -0.0015305 | 2.8201e-07 | 6.1044e-08 | 0.0090883 | 0.0090883 | 0.0090883 | 1 | 0 | 0.99995 | -0.00096934 | 2.4968
13 | 0.055471 | 0.013997 | -0.055318 | -0.0139 | 0.00015328 | 9.7315e-05 | 0.082576 | 0.082576 | 0.082576 | 1 | 0 | 0.99698 | -0.057874 | 22.6857
14 | 0.0018043 | 0.00045114 | -0.001804 | -0.00045214 | 2.4245e-07 | -9.9384e-07 | 0.0027005 | 0.0027009 | 0.0027009 | 0.99407 | -0.11386 | 0.99392 | -0.11669 | 0.742
15 | 0.017318 | 0.0043541 | -0.017279 | -0.0043316 | 3.8268e-05 | 2.2528e-05 | 0.025928 | 0.025928 | 0.025928 | 0.99407 | -0.11386 | 0.99167 | -0.16024 | 7.1231
16 | 0.02031 | 0.0050947 | -0.020301 | -0.0050894 | 8.8506e-06 | 5.3297e-06 | 0.030315 | 0.030315 | 0.030315 | 0.99698 | -0.057874 | 0.99651 | -0.06702 | 8.3283
17 | 0.035008 | 0.0088054 | -0.034992 | -0.0087954 | 1.5986e-05 | 1.0028e-05 | 0.052261 | 0.052261 | 0.052261 | 0.99698 | -0.057874 | 0.99649 | -0.067438 | 14.3575
18 | 0.01857 | 0.0046556 | -0.018564 | -0.004652 | 5.9758e-06 | 3.5546e-06 | 0.02773 | 0.02773 | 0.02773 | 0.99651 | -0.06702 | 0.99616 | -0.073775 | 7.6182
19 | 0.0038112 | 0.00095412 | -0.0038103 | -0.00095453 | 9.4794e-07 | -4.0984e-07 | 0.0056908 | 0.0056911 | 0.0056911 | 0.99649 | -0.067438 | 0.99622 | -0.072663 | 1.5635
20 | 0.031181 | 0.0078413 | -0.031162 | -0.0078293 | 1.9216e-05 | 1.199e-05 | 0.046571 | 0.046571 | 0.046571 | 0.99649 | -0.067438 | 0.99582 | -0.080349 | 12.7942
21 | 0.0014011 | 0.00035095 | -0.001401 | -0.00035113 | 2.4137e-08 | -1.788e-07 | 0.0020848 | 0.0020849 | 0.0020849 | 0.99995 | -0.00096934 | 0.99993 | -0.001331 | 0.57277
22 | 0.014501 | 0.0036384 | -0.014501 | -0.003638 | 6.4657e-07 | 3.6683e-07 | 0.021761 | 0.021761 | 0.021761 | 0.99167 | -0.16024 | 0.99162 | -0.16117 | 5.9783
23 | 0.0027779 | 0.00069319 | -0.0027776 | -0.00069364 | 3.381e-07 | -4.5332e-07 | 0.0041672 | 0.0041674 | 0.0041674 | 0.99167 | -0.16024 | 0.99154 | -0.1628 | 1.1449
24 | -0.00034204 | -8.5034e-05 | 0.00034204 | 8.4934e-05 | 7.6698e-10 | -9.9667e-08 | 0.00051315 | 0.00051311 | 0.00051315 | 0.99137 | -0.16605 | 0.99137 | -0.166 | 0.14097
25 | 0.00034204 | 8.5034e-05 | -0.00034203 | -8.5721e-05 | 5.2946e-09 | -6.8762e-07 | 0.00051315 | 0.00051339 | 0.00051339 | 0.99137 | -0.16605 | 0.99135 | -0.16637 | 0.14104
26 | -0.00034204 | -8.4934e-05 | 0.00034204 | 8.4532e-05 | 3.0969e-09 | -4.0257e-07 | 0.00051311 | 0.00051297 | 0.00051311 | 0.99137 | -0.166 | 0.99138 | -0.16581 | 0.14096
27 | -0.00094509 | -0.00023567 | 0.0009451 | 0.00023546 | 1.2379e-08 | -2.0375e-07 | 0.0014181 | 0.001418 | 0.0014181 | 0.99138 | -0.16581 | 0.9914 | -0.16553 | 0.38959
28 | 0.013881 | 0.0034826 | -0.013859 | -0.0034706 | 2.1463e-05 | 1.2038e-05 | 0.020831 | 0.020831 | 0.020831 | 0.99162 | -0.16117 | 0.98995 | -0.19365 | 5.7229
29 | 0.0020765 | 0.00051794 | -0.0020763 | -0.00051843 | 1.6716e-07 | -4.8532e-07 | 0.0031154 | 0.0031156 | 0.0031156 | 0.99154 | -0.1628 | 0.99145 | -0.1645 | 0.85593
30 | 0.012902 | 0.0032366 | -0.012897 | -0.0032339 | 4.8081e-06 | 2.6325e-06 | 0.019322 | 0.019322 | 0.019322 | 0.99369 | -0.12144 | 0.99328 | -0.12926 | 5.3082
31 | -0.015906 | -0.0039893 | 0.015908 | 0.0039909 | 2.6896e-06 | 1.5576e-06 | 0.023819 | 0.023819 | 0.023819 | 0.99369 | -0.12144 | 0.99387 | -0.1179 | 6.5438
32 | 0.00893 | 0.0022396 | -0.0089221 | -0.0022361 | 7.9085e-06 | 3.5378e-06 | 0.013378 | 0.013379 | 0.013379 | 0.99328 | -0.12926 | 0.99232 | -0.14786 | 3.6755
33 | -0.018489 | -0.0046376 | 0.0185 | 0.0046444 | 1.1479e-05 | 6.8287e-06 | 0.027683 | 0.027683 | 0.027683 | 0.99387 | -0.1179 | 0.99454 | -0.10488 | 7.6051
34 | 0.0076194 | 0.0019095 | -0.007619 | -0.0019093 | 4.4879e-07 | 1.6774e-07 | 0.0114 | 0.0114 | 0.0114 | 0.99454 | -0.10488 | 0.99448 | -0.10612 | 3.1319
35 | -0.02612 | -0.0065539 | 0.026138 | 0.0065652 | 1.8363e-05 | 1.1336e-05 | 0.039082 | 0.039082 | 0.039082 | 0.99454 | -0.10488 | 0.99531 | -0.090146 | 10.7369
36 | 0.0030043 | 0.00075276 | -0.0030042 | -0.00075291 | 1.4762e-07 | -1.5827e-07 | 0.0044952 | 0.0044953 | 0.0044953 | 0.99448 | -0.10612 | 0.99443 | -0.10715 | 1.235
37 | -0.029053 | -0.0072957 | 0.029066 | 0.0073041 | 1.3586e-05 | 8.4456e-06 | 0.04344 | 0.04344 | 0.04344 | 0.99531 | -0.090146 | 0.99582 | -0.080349 | 11.934
38 | 0.0014739 | 0.00036898 | -0.0014738 | -0.00036937 | 5.9694e-08 | -3.8945e-07 | 0.0022013 | 0.0022015 | 0.0022015 | 0.99622 | -0.072663 | 0.99617 | -0.073513 | 0.6048
39 | -0.0030024 | -0.00074757 | 0.0030031 | 0.00074697 | 6.0258e-07 | -6.0709e-07 | 0.0045369 | 0.0045365 | 0.0045369 | 0.98438 | -0.30246 | 0.98459 | -0.29823 | 1.2464
40 | 0.0014156 | 0.00034987 | -0.0014153 | -0.00035203 | 3.193e-07 | -2.162e-06 | 0.0021381 | 0.0021389 | 0.0021389 | 0.98438 | -0.30246 | 0.98413 | -0.30724 | 0.58762
41 | -0.003266 | -0.00081287 | 0.0032668 | 0.00081225 | 8.2393e-07 | -6.2098e-07 | 0.0049339 | 0.0049335 | 0.0049339 | 0.98459 | -0.29823 | 0.98486 | -0.2929 | 1.3555
42 | 0.0014153 | 0.00035203 | -0.001415 | -0.00035395 | 2.8344e-07 | -1.9166e-06 | 0.0021389 | 0.0021397 | 0.0021397 | 0.98413 | -0.30724 | 0.98392 | -0.31146 | 0.58782
43 | -0.0037272 | -0.00092762 | 0.0037273 | 0.00092758 | 9.5053e-08 | -4.0966e-08 | 0.005629 | 0.005629 | 0.005629 | 0.98486 | -0.2929 | 0.98489 | -0.29237 | 1.5464
44 | 0.00062005 | 0.00015473 | -0.00062004 | -0.00015537 | 1.6851e-08 | -6.3841e-07 | 0.00093749 | 0.00093772 | 0.00093772 | 0.98392 | -0.31146 | 0.98389 | -0.31203 | 0.25762
45 | -0.0038658 | -0.00096229 | 0.0038669 | 0.00096189 | 1.1077e-06 | -3.9433e-07 | 0.0058382 | 0.0058378 | 0.0058382 | 0.98489 | -0.29237 | 0.9852 | -0.28632 | 1.6039
46 | 0.00025051 | 6.2753e-05 | -0.00025051 | -6.2782e-05 | 1.1978e-10 | -2.8185e-08 | 0.00037885 | 0.00037886 | 0.00037886 | 0.98389 | -0.31203 | 0.98389 | -0.31204 | 0.10408
47 | -0.0050099 | -0.0012484 | 0.005013 | 0.0012485 | 3.1193e-06 | 1.4374e-07 | 0.0075643 | 0.0075636 | 0.0075643 | 0.9852 | -0.28632 | 0.98587 | -0.27319 | 2.0781
48 | -0.0054408 | -0.0013557 | 0.005441 | 0.0013557 | 1.7373e-07 | 2.3527e-08 | 0.0082093 | 0.0082093 | 0.0082093 | 0.98587 | -0.27319 | 0.9859 | -0.27252 | 2.2553
49 | -0.0057339 | -0.0014291 | 0.0057359 | 0.0014295 | 2.0508e-06 | 3.8033e-07 | 0.0086513 | 0.0086509 | 0.0086513 | 0.9859 | -0.27252 | 0.98629 | -0.26498 | 2.3767
50 | -0.010899 | -0.0027182 | 0.010907 | 0.0027221 | 7.5565e-06 | 3.8838e-06 | 0.016439 | 0.016439 | 0.016439 | 0.98629 | -0.26498 | 0.98703 | -0.25038 | 4.5162
51 | 0.0051633 | 0.0012887 | -0.0051624 | -0.0012886 | 8.8457e-07 | 6.9892e-08 | 0.0077879 | 0.0077881 | 0.0077881 | 0.98629 | -0.26498 | 0.9861 | -0.26859 | 2.1396
52 | -0.011424 | -0.0028518 | 0.011436 | 0.0028579 | 1.1678e-05 | 6.1302e-06 | 0.017219 | 0.017218 | 0.017219 | 0.98703 | -0.25038 | 0.98814 | -0.22888 | 4.7304
53 | 0.00068404 | 0.00017002 | -0.000684 | -0.00017142 | 4.4731e-08 | -1.4002e-06 | 0.0010317 | 0.0010322 | 0.0010322 | 0.9861 | -0.26859 | 0.98603 | -0.26997 | 0.28358
54 | 0.001792 | 0.00044534 | -0.0017914 | -0.00044785 | 6.272e-07 | -2.5171e-06 | 0.0027028 | 0.0027038 | 0.0027038 | 0.9861 | -0.26859 | 0.98573 | -0.27597 | 0.74281
55 | -0.011734 | -0.0029326 | 0.011738 | 0.0029346 | 3.7657e-06 | 1.9978e-06 | 0.017667 | 0.017667 | 0.017667 | 0.98814 | -0.22888 | 0.98848 | -0.22213 | 4.8535
56 | 0.0010213 | 0.00025486 | -0.0010213 | -0.00025503 | 1.2422e-08 | -1.6978e-07 | 0.0015414 | 0.0015414 | 0.0015414 | 0.98573 | -0.27597 | 0.98571 | -0.27623 | 0.42347
57 | -0.00015026 | -3.7657e-05 | 0.00015026 | 3.7595e-05 | 9.4039e-11 | -6.2048e-08 | 0.00022683 | 0.00022681 | 0.00022683 | 0.98568 | -0.27698 | 0.98568 | -0.27696 | 0.062317
58 | -0.00059319 | -0.0001486 | 0.00059321 | 0.00014773 | 2.0807e-08 | -8.6899e-07 | 0.00089547 | 0.00089516 | 0.00089547 | 0.98568 | -0.27696 | 0.98571 | -0.27623 | 0.24601
59 | -0.0013061 | -0.00032593 | 0.0013061 | 0.0003254 | 6.418e-08 | -5.3358e-07 | 0.0019598 | 0.0019596 | 0.0019598 | 0.9914 | -0.16553 | 0.99145 | -0.1645 | 0.53841
60 | 0.0012722 | 0.0003181 | -0.0012721 | -0.00031876 | 7.5822e-08 | -6.6242e-07 | 0.001912 | 0.0019123 | 0.0019123 | 0.98995 | -0.19365 | 0.98988 | -0.1949 | 0.52534
61 | 0.012587 | 0.0031525 | -0.01257 | -0.0031432 | 1.7047e-05 | 9.2797e-06 | 0.018919 | 0.01892 | 0.01892 | 0.98995 | -0.19365 | 0.98848 | -0.22213 | 5.1977
62 | 0.00059949 | 0.00015019 | -0.00059949 | -0.00015025 | 1.3868e-09 | -5.7652e-08 | 0.00090115 | 0.00090117 | 0.00090117 | 0.98988 | -0.1949 | 0.98988 | -0.19495 | 0.24757

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.085155 | 0.021073

## res_load
| p_mw | q_mvar
0 | 0.00072236 | 0.00018104
1 | 0.0019988 | 0.00050095
2 | 0.0019305 | 0.00048382
3 | 0.0094255 | 0.0023623
4 | 0.0021048 | 0.00052751
5 | 0.00094415 | 0.00023663
6 | 0.00023187 | 5.8111e-05
7 | 0.00094399 | 0.00023659
8 | 0.00057476 | 0.00014405
9 | 0.0017309 | 0.0004338
10 | 0.0047064 | 0.0011795
11 | 0.001804 | 0.00045214
12 | 0.00034203 | 8.5722e-05
13 | 0.00060304 | 0.00015114
14 | 0.00062007 | 0.00015541
15 | 0.00070105 | 0.0001757
16 | 0.0023753 | 0.00059532
17 | 0.0030036 | 0.00075278
18 | 0.0039673 | 0.00099431
19 | 0.0025804 | 0.0006467
20 | 0.0089221 | 0.0022361
21 | 0.0046146 | 0.0011565
22 | 0.0029147 | 0.00073048
23 | 0.001401 | 0.00035113
24 | 0.0020953 | 0.00052514
25 | 0.0023364 | 0.00058555
26 | 0.0030042 | 0.00075292
27 | 0.0014738 | 0.00036937
28 | 0.0015869 | 0.00039771
29 | 0.00026297 | 6.5907e-05
30 | 0.00046032 | 0.00011537
31 | 0.00079492 | 0.00019922
32 | 0.0001385 | 3.4712e-05
33 | 0.00036953 | 9.2613e-05
34 | 0.001143 | 0.00028647
35 | 0.0004278 | 0.00010722
36 | 0.00025051 | 6.2783e-05
37 | 0.00029285 | 7.3395e-05
38 | 0.00051761 | 0.00012972
39 | 0.0026863 | 0.00067325
40 | 0.0002978 | 7.4637e-05
41 | 0.000684 | 0.00017143
42 | 0.00077008 | 0.000193
43 | 0.00015026 | 3.7658e-05
44 | 0.00044293 | 0.00011101
45 | 0.0004281 | 0.00010729
46 | 0.00036098 | 9.0469e-05
47 | 0.0007702 | 0.00019303
48 | 0.00067262 | 0.00016857
49 | 0.00083244 | 0.00020863
50 | 0.00059949 | 0.00015025

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1