## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1507-11_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1507-11_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1507-11_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1507-11_0_6_node_86 | 0.4 | n |  | TRUE
4 | bus_LV_1507-11_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1507-11_0_6_node_84 | 0.4 | n |  | TRUE
6 | bus_LV_1507-11_0_6_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_1507-11_0_6_node_68 | 0.4 | n |  | TRUE
8 | bus_LV_1507-11_0_6_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_1507-11_0_6_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_1507-11_0_6_node_69 | 0.4 | n |  | TRUE
11 | bus_LV_1507-11_0_6_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_1507-11_0_6_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_1507-11_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1507-11_0_6_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_1507-11_0_6_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_1507-11_0_6_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_1507-11_0_6_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_1507-11_0_6_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_1507-11_0_6_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_1507-11_0_6_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_1507-11_0_6_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_1507-11_0_6_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_1507-11_0_6_node_82 | 0.4 | n |  | TRUE
24 | bus_LV_1507-11_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1507-11_0_6_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_1507-11_0_6_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_1507-11_0_6_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_1507-11_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1507-11_0_6_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_1507-11_0_6_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_1507-11_0_6_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_1507-11_0_6_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_1507-11_0_6_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_1507-11_0_6_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_1507-11_0_6_node_88 | 0.4 | n |  | TRUE
36 | bus_LV_1507-11_0_6_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_1507-11_0_6_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_1507-11_0_6_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_1507-11_0_6_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_1507-11_0_6_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_1507-11_0_6_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_1507-11_0_6_node_78 | 0.4 | n |  | TRUE
43 | bus_LV_1507-11_0_6_node_79 | 0.4 | n |  | TRUE
44 | bus_LV_1507-11_0_6_node_87 | 0.4 | n |  | TRUE
45 | bus_LV_1507-11_0_6_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_1507-11_0_6_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_1507-11_0_6_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1507-11_0_6_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_1507-11_0_6_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_1507-11_0_6_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_1507-11_0_6_node_19 | 0.4 | n |  | TRUE
52 | bus_LV_1507-11_0_6_node_20 | 0.4 | n |  | TRUE
53 | bus_LV_1507-11_0_6_node_21 | 0.4 | n |  | TRUE
54 | bus_LV_1507-11_0_6_node_22 | 0.4 | n |  | TRUE
55 | bus_LV_1507-11_0_6_node_23 | 0.4 | n |  | TRUE
56 | bus_LV_1507-11_0_6_node_24 | 0.4 | n |  | TRUE
57 | bus_LV_1507-11_0_6_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_1507-11_0_6_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_1507-11_0_6_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_1507-11_0_6_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_1507-11_0_6_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_1507-11_0_6_node_29 | 0.4 | n |  | TRUE
63 | bus_LV_1507-11_0_6_node_25 | 0.4 | n |  | TRUE
64 | bus_LV_1507-11_0_6_node_27 | 0.4 | n |  | TRUE
65 | bus_LV_1507-11_0_6_node_31 | 0.4 | n |  | TRUE
66 | bus_LV_1507-11_0_6_node_33 | 0.4 | n |  | TRUE
67 | bus_LV_1507-11_0_6_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_1507-11_0_6_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_1507-11_0_6_node_36 | 0.4 | n |  | TRUE
70 | bus_LV_1507-11_0_6_node_37 | 0.4 | n |  | TRUE
71 | bus_LV_1507-11_0_6_node_38 | 0.4 | n |  | TRUE
72 | bus_LV_1507-11_0_6_node_39 | 0.4 | n |  | TRUE
73 | bus_LV_1507-11_0_6_node_40 | 0.4 | n |  | TRUE
74 | bus_LV_1507-11_0_6_node_43 | 0.4 | n |  | TRUE
75 | bus_LV_1507-11_0_6_node_44 | 0.4 | n |  | TRUE
76 | bus_LV_1507-11_0_6_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_1507-11_0_6_node_47 | 0.4 | n |  | TRUE
78 | bus_LV_1507-11_0_6_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_1507-11_0_6_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_1507-11_0_6_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_1507-11_0_6_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_1507-11_0_6_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_1507-11_0_6_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_1507-11_0_6_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_1507-11_0_6_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_1507-11_0_6_node_73 | 0.4 | n |  | TRUE
87 | bus_MV_24_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1507-11_0_6_load_0 | 0 | 0.0041529 | 0.0010408 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1507-11_0_6_load_84 | 5 | 0.0086362 | 0.0021644 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1507-11_0_6_load_68 | 7 | 0.0034772 | 0.00087147 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1507-11_0_6_load_49 | 8 | 0.0086214 | 0.0021607 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1507-11_0_6_load_26 | 9 | 0.003476 | 0.00087118 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1507-11_0_6_load_69 | 10 | 0.0086216 | 0.0021608 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1507-11_0_6_load_4 | 11 | 0.0051918 | 0.0013012 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1507-11_0_6_load_5 | 12 | 0.0062544 | 0.0015675 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1507-11_0_6_load_32 | 14 | 0.005672 | 0.0014215 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1507-11_0_6_load_45 | 15 | 0.0068389 | 0.001714 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1507-11_0_6_load_30 | 16 | 0.0022457 | 0.00056283 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1507-11_0_6_load_46 | 17 | 0.013095 | 0.0032818 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1507-11_0_6_load_7 | 18 | 0.014275 | 0.0035776 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1507-11_0_6_load_8 | 19 | 0.011395 | 0.0028559 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1507-11_0_6_load_10 | 21 | 0.0134 | 0.0033582 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1507-11_0_6_load_11 | 22 | 0.0097042 | 0.0024321 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1507-11_0_6_load_82 | 23 | 0.0085836 | 0.0021513 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1507-11_0_6_load_17 | 24 | 0.016636 | 0.0041694 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1507-11_0_6_load_56 | 25 | 0.0094279 | 0.0023629 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1507-11_0_6_load_81 | 26 | 0.0041793 | 0.0010474 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1507-11_0_6_load_42 | 27 | 0.001514 | 0.00037944 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1507-11_0_6_load_12 | 29 | 0.0073643 | 0.0018457 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1507-11_0_6_load_13 | 30 | 0.0015635 | 0.00039185 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1507-11_0_6_load_57 | 32 | 0.025241 | 0.006326 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1507-11_0_6_load_15 | 33 | 0.0016816 | 0.00042144 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1507-11_0_6_load_16 | 34 | 0.010584 | 0.0026527 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1507-11_0_6_load_88 | 35 | 0.0018136 | 0.00045453 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1507-11_0_6_load_52 | 36 | 0.0015783 | 0.00039557 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1507-11_0_6_load_60 | 37 | 0.0010697 | 0.00026809 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1507-11_0_6_load_76 | 40 | 0.00056291 | 0.00014108 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1507-11_0_6_load_77 | 41 | 0.0012377 | 0.00031021 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1507-11_0_6_load_79 | 43 | 0.00065654 | 0.00016454 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1507-11_0_6_load_87 | 44 | 0.0027873 | 0.00069856 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1507-11_0_6_load_55 | 45 | 0.0135 | 0.0033834 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1507-11_0_6_load_53 | 46 | 0.015869 | 0.0039772 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1507-11_0_6_load_41 | 47 | 0.0052861 | 0.0013248 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1507-11_0_6_load_54 | 48 | 0.013498 | 0.0033829 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1507-11_0_6_load_72 | 50 | 0.014552 | 0.003647 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1507-11_0_6_load_19 | 51 | 0.01671 | 0.0041878 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1507-11_0_6_load_20 | 52 | 0.019948 | 0.0049994 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1507-11_0_6_load_22 | 54 | 0.025924 | 0.0064971 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1507-11_0_6_load_24 | 56 | 0.0065541 | 0.0016426 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1507-11_0_6_load_48 | 57 | 0.030228 | 0.0075759 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1507-11_0_6_load_59 | 58 | 0.0040588 | 0.0010172 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1507-11_0_6_load_35 | 59 | 0.0040209 | 0.0010077 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1507-11_0_6_load_58 | 60 | 0.0070693 | 0.0017717 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1507-11_0_6_load_34 | 61 | 0.0095466 | 0.0023926 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1507-11_0_6_load_29 | 62 | 0.0060568 | 0.001518 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1507-11_0_6_load_25 | 63 | 0.0068523 | 0.0017174 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1507-11_0_6_load_27 | 64 | 0.011067 | 0.0027738 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1507-11_0_6_load_31 | 65 | 0.0071904 | 0.0018021 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1507-11_0_6_load_50 | 68 | 0.0029497 | 0.00073925 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1507-11_0_6_load_36 | 69 | 0.009557 | 0.0023952 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1507-11_0_6_load_37 | 70 | 0.024179 | 0.0060598 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1507-11_0_6_load_38 | 71 | 0.002941 | 0.00073709 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1507-11_0_6_load_43 | 74 | 0.0033604 | 0.0008422 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1507-11_0_6_load_44 | 75 | 0.0046835 | 0.0011738 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1507-11_0_6_load_62 | 76 | 0.0025443 | 0.00063767 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1507-11_0_6_load_47 | 77 | 0.0061993 | 0.0015537 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1507-11_0_6_load_66 | 78 | 0.020187 | 0.0050594 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1507-11_0_6_load_85 | 80 | 0.00554 | 0.0013884 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1507-11_0_6_load_64 | 81 | 0.028173 | 0.0070609 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1507-11_0_6_load_67 | 82 | 0.0063502 | 0.0015915 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1507-11_0_6_load_75 | 83 | 0.0052426 | 0.0013139 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1507-11_0_6_load_74 | 84 | 0.0058732 | 0.001472 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1507-11_0_6_load_70 | 85 | 0.0041036 | 0.0010285 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1507-11_0_6_load_73 | 86 | 0.0074155 | 0.0018585 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1507-11_0_6_line_0 |  | 0 | 1 | 0.018356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1507-11_0_6_line_1 |  | 0 | 2 | 0.10335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1507-11_0_6_line_2 |  | 1 | 3 | 0.12992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1507-11_0_6_line_3 |  | 2 | 4 | 0.076448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1507-11_0_6_line_4 |  | 3 | 5 | 0.040846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1507-11_0_6_line_5 |  | 4 | 6 | 0.027589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1507-11_0_6_line_6 |  | 4 | 7 | 0.020244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1507-11_0_6_line_7 |  | 5 | 80 | 0.033243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1507-11_0_6_line_8 |  | 6 | 8 | 0.053132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1507-11_0_6_line_9 |  | 6 | 9 | 0.021226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1507-11_0_6_line_10 |  | 7 | 10 | 0.02393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1507-11_0_6_line_11 |  | 9 | 63 | 0.0069469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1507-11_0_6_line_12 |  | 10 | 85 | 0.020474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1507-11_0_6_line_13 |  | 11 | 12 | 0.021011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1507-11_0_6_line_14 |  | 12 | 13 | 0.0066275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1507-11_0_6_line_15 |  | 13 | 14 | 0.016704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1507-11_0_6_line_16 |  | 13 | 15 | 0.031573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1507-11_0_6_line_17 |  | 14 | 16 | 0.021858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1507-11_0_6_line_18 |  | 15 | 17 | 0.017335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1507-11_0_6_line_19 |  | 16 | 65 | 0.0079466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1507-11_0_6_line_20 |  | 17 | 77 | 0.027568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1507-11_0_6_line_21 |  | 18 | 19 | 0.0046579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1507-11_0_6_line_22 |  | 18 | 20 | 0.021583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1507-11_0_6_line_23 |  | 19 | 21 | 0.03005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1507-11_0_6_line_24 |  | 20 | 22 | 0.015831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1507-11_0_6_line_25 |  | 20 | 23 | 0.090759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1507-11_0_6_line_26 |  | 21 | 24 | 0.021875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1507-11_0_6_line_27 |  | 22 | 25 | 0.030527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1507-11_0_6_line_28 |  | 23 | 27 | 0.10115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1507-11_0_6_line_29 |  | 23 | 26 | 0.035267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1507-11_0_6_line_30 |  | 24 | 28 | 0.013136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1507-11_0_6_line_31 |  | 25 | 32 | 0.010714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1507-11_0_6_line_32 |  | 27 | 72 | 0.042222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1507-11_0_6_line_33 |  | 28 | 48 | 0.02142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1507-11_0_6_line_34 |  | 28 | 49 | 0.012969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1507-11_0_6_line_35 |  | 29 | 30 | 0.022199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1507-11_0_6_line_36 |  | 29 | 31 | 0.060112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1507-11_0_6_line_37 |  | 30 | 33 | 0.016337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1507-11_0_6_line_38 |  | 31 | 34 | 0.019848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1507-11_0_6_line_39 |  | 31 | 35 | 0.087179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1507-11_0_6_line_40 |  | 32 | 55 | 0.033019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1507-11_0_6_line_41 |  | 33 | 36 | 0.022113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1507-11_0_6_line_42 |  | 35 | 39 | 0.023278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1507-11_0_6_line_43 |  | 36 | 47 | 0.021691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1507-11_0_6_line_44 |  | 37 | 38 | 0.042585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1507-11_0_6_line_45 |  | 38 | 39 | 0.07386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1507-11_0_6_line_46 |  | 39 | 42 | 0.045534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1507-11_0_6_line_47 |  | 40 | 41 | 0.03605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1507-11_0_6_line_48 |  | 40 | 42 | 0.017005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1507-11_0_6_line_49 |  | 41 | 43 | 0.0050896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1507-11_0_6_line_50 |  | 43 | 44 | 0.047545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1507-11_0_6_line_51 |  | 45 | 46 | 0.025799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1507-11_0_6_line_52 |  | 46 | 48 | 0.013384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1507-11_0_6_line_53 |  | 47 | 72 | 0.00010219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1507-11_0_6_line_54 |  | 49 | 50 | 0.028032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1507-11_0_6_line_55 |  | 51 | 52 | 0.0092515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1507-11_0_6_line_56 |  | 51 | 53 | 0.021468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1507-11_0_6_line_57 |  | 52 | 54 | 0.041202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1507-11_0_6_line_58 |  | 53 | 55 | 0.023544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_1507-11_0_6_line_59 |  | 53 | 56 | 0.012675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_1507-11_0_6_line_60 |  | 54 | 57 | 0.0032272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1507-11_0_6_line_61 |  | 55 | 58 | 0.021939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1507-11_0_6_line_62 |  | 55 | 59 | 0.018058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1507-11_0_6_line_63 |  | 56 | 60 | 0.012525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_1507-11_0_6_line_64 |  | 59 | 61 | 0.026386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1507-11_0_6_line_65 |  | 60 | 62 | 0.017342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_1507-11_0_6_line_66 |  | 61 | 69 | 0.020848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1507-11_0_6_line_67 |  | 62 | 64 | 0.0072046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_1507-11_0_6_line_68 |  | 63 | 64 | 0.029024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_1507-11_0_6_line_69 |  | 65 | 66 | 0.022805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1507-11_0_6_line_70 |  | 66 | 67 | 0.047887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1507-11_0_6_line_71 |  | 67 | 68 | 0.03382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1507-11_0_6_line_72 |  | 69 | 70 | 0.024599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1507-11_0_6_line_73 |  | 71 | 72 | 0.020089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1507-11_0_6_line_74 |  | 71 | 73 | 0.031201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1507-11_0_6_line_75 |  | 73 | 74 | 0.012472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1507-11_0_6_line_76 |  | 73 | 75 | 0.0068768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1507-11_0_6_line_77 |  | 74 | 76 | 0.00029698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1507-11_0_6_line_78 |  | 77 | 78 | 0.023719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1507-11_0_6_line_79 |  | 78 | 79 | 0.033798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1507-11_0_6_line_80 |  | 79 | 82 | 0.026957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1507-11_0_6_line_81 |  | 79 | 81 | 0.067293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1507-11_0_6_line_82 |  | 82 | 83 | 0.017083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_1507-11_0_6_line_83 |  | 83 | 84 | 0.031963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_1507-11_0_6_line_84 |  | 84 | 86 | 0.006392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_1507-11_0_6_line_85 |  | 85 | 86 | 0.025438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1507-11_0_6_trafo_57 | 0.63 MVA 20/0.4 kV | 87 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2665801.3173 | 1203872.62 | 2665809.5852 | 1203877.6919 | 2665817.5394 | 1203881.1068
1 | 2665920.4001 | 1203891.1439 | 2665817.5394 | 1203881.1068
2 | 2665801.3173 | 1203872.62 | 2665679.3023 | 1203917.2378
3 | 2665920.4001 | 1203891.1439 | 2665922.9651 | 1203900.7113 | 2665923.4357 | 1203909.7775 | 2665931.912 | 1203955.2206 | 2665934.0041 | 1203966.2615
4 | 2665679.3023 | 1203917.2378 | 2665667.999 | 1203917.6582 | 2665657.1397 | 1203921.9859 | 2665653.3041 | 1203926.9134 | 2665653.2552 | 1203931.36 | 2665654.7079 | 1203936.946 | 2665655.1725 | 1203938.2476
5 | 2665909.7935 | 1203971.8199 | 2665912.6811 | 1203966.6376 | 2665918.1371 | 1203965.1858 | 2665927.068 | 1203964.6284 | 2665934.0041 | 1203966.2615
6 | 2665934.0041 | 1203966.2615 | 2665938.8615 | 1203970.1063 | 2665942.8148 | 1203973.83 | 2665947.7079 | 1203977.1971 | 2665950.0634 | 1203978.4733
7 | 2665655.1725 | 1203938.2476 | 2665658.5165 | 1203947.6165 | 2665658.6099 | 1203952.9652 | 2665655.9955 | 1203957.5392 | 2665652.5733 | 1203958.7801 | 2665643.5932 | 1203957.7713
8 | 2665909.7935 | 1203971.8199 | 2665907.4038 | 1203967.7467 | 2665907.3071 | 1203964.7883 | 2665917.1347 | 1203958.126 | 2665939.9939 | 1203944.7257 | 2665946.4343 | 1203941.7882
9 | 2665909.7935 | 1203971.8199 | 2665908.8808 | 1203975.9235 | 2665909.9016 | 1203982.0162 | 2665912.0415 | 1203985.2862 | 2665917.0414 | 1203990.0949
10 | 2665950.0634 | 1203978.4733 | 2665967.9848 | 1203988.1831 | 2665971.1043 | 1203989.8721
11 | 2665917.0414 | 1203990.0949 | 2665922.0483 | 1203994.9105
12 | 2665989.0624 | 1203999.6858 | 2665988.8214 | 1203999.4645 | 2665971.1043 | 1203989.8721
13 | 2666072.9703 | 1204025.0431 | 2666070.1561 | 1204004.2218
14 | 2666065.8906 | 1203999.1493 | 2666070.1561 | 1204004.2218 | 2666070.1561 | 1204004.2218
15 | 2666065.8906 | 1203999.1493 | 2666062.8359 | 1203984.3622 | 2666062.368 | 1203982.8276
16 | 2666065.8906 | 1203999.1493 | 2666066.3211 | 1204011.8173 | 2666065.1866 | 1204018.0863 | 2666062.5931 | 1204024.8728 | 2666059.3379 | 1204029.0064
17 | 2666062.368 | 1203982.8276 | 2666056.3161 | 1203962.9772 | 2666056.003 | 1203961.9167
18 | 2666059.3379 | 1204029.0064 | 2666057.7932 | 1204030.9679 | 2666051.2539 | 1204036.1209 | 2666045.6238 | 1204039.3953
19 | 2666053.9044 | 1203954.2638 | 2666054.0207 | 1203955.2027 | 2666056.003 | 1203961.9167
20 | 2666025.324 | 1204057.4245 | 2666025.6779 | 1204056.4616 | 2666030.5628 | 1204050.234 | 2666038.3661 | 1204043.6163 | 2666045.6238 | 1204039.3953
21 | 2665837.2151 | 1204137.3921 | 2665833.6037 | 1204134.4504
22 | 2665853.9492 | 1204151.0234 | 2665837.2151 | 1204137.3921
23 | 2665810.3056 | 1204115.4722 | 2665833.6037 | 1204134.4504
24 | 2665853.9492 | 1204151.0234 | 2665863.3045 | 1204138.2527
25 | 2665853.9492 | 1204151.0234 | 2665862.9173 | 1204241.3385
26 | 2665810.3056 | 1204115.4722 | 2665800.9995 | 1204107.8917 | 2665795.8479 | 1204101.7535 | 2665795.1651 | 1204100.0243
27 | 2665863.3045 | 1204138.2527 | 2665881.3451 | 1204113.6262
28 | 2665862.9173 | 1204241.3385 | 2665768.8558 | 1204278.532
29 | 2665896.3516 | 1204245.6077 | 2665871.631 | 1204237.8929 | 2665862.9173 | 1204241.3385
30 | 2665790.341 | 1204087.8067 | 2665795.1651 | 1204100.0243
31 | 2665887.6767 | 1204104.9831 | 2665881.3451 | 1204113.6262
32 | 2665730.8148 | 1204296.4218 | 2665737.7997 | 1204291.5179 | 2665743.8594 | 1204288.416 | 2665768.8558 | 1204278.532
33 | 2665790.341 | 1204087.8067 | 2665786.9241 | 1204082.3547 | 2665778.0962 | 1204073.5744 | 2665776.0002 | 1204072.1492
34 | 2665800.4425 | 1204079.7353 | 2665796.9182 | 1204083.332 | 2665790.341 | 1204087.8067
35 | 2665687.2394 | 1204255.3066 | 2665682.6834 | 1204248.2745 | 2665676.3344 | 1204236.8645 | 2665675.9835 | 1204236.187
36 | 2665634.5925 | 1204197.76 | 2665641.8963 | 1204199.1411 | 2665648.6509 | 1204201.3499 | 2665653.3372 | 1204203.4583 | 2665656.8804 | 1204205.7319 | 2665659.2842 | 1204207.8485 | 2665662.3942 | 1204211.4626 | 2665665.2787 | 1204215.519 | 2665675.9835 | 1204236.187
37 | 2665687.2394 | 1204255.3066 | 2665687.2394 | 1204255.3066 | 2665690.9143 | 1204260.1277 | 2665697.6491 | 1204267.8872
38 | 2665634.5925 | 1204197.76 | 2665638.2778 | 1204194.7209 | 2665640.4277 | 1204193.6327 | 2665652.6011 | 1204190.1517
39 | 2665634.5925 | 1204197.76 | 2665549.0679 | 1204214.6618
40 | 2665899.6302 | 1204075.0812 | 2665898.0821 | 1204088.5056 | 2665890.9036 | 1204100.5781 | 2665887.6767 | 1204104.9831
41 | 2665713.3827 | 1204283.3646 | 2665708.8989 | 1204279.5705 | 2665702.8296 | 1204273.8559 | 2665697.6491 | 1204267.8872
42 | 2665529.2428 | 1204226.8322 | 2665546.8329 | 1204215.7296 | 2665549.0679 | 1204214.6618
43 | 2665713.3827 | 1204283.3646 | 2665717.6051 | 1204286.9374 | 2665726.1043 | 1204293.0679 | 2665730.7315 | 1204296.3625
44 | 2665512.4006 | 1204298.7464 | 2665512.559 | 1204304.4183 | 2665512.1519 | 1204309.628 | 2665511.5706 | 1204312.6791 | 2665510.6014 | 1204315.7258 | 2665509.1063 | 1204318.1665 | 2665507.4619 | 1204319.6493 | 2665504.9629 | 1204320.667 | 2665502.2217 | 1204320.8815 | 2665498.9704 | 1204320.4345 | 2665492.4104 | 1204317.8277 | 2665488.3929 | 1204315.7628
45 | 2665529.2428 | 1204226.8322 | 2665512.4006 | 1204298.7464
46 | 2665529.2428 | 1204226.8322 | 2665527.3001 | 1204224.9876 | 2665525.6517 | 1204224.0578 | 2665524.0697 | 1204224.0182 | 2665522.0392 | 1204224.6297 | 2665512.2577 | 1204228.5581 | 2665509.5763 | 1204228.8622 | 2665507.2124 | 1204228.6584 | 2665505.0081 | 1204227.7781 | 2665503.4717 | 1204226.3493 | 2665498.7105 | 1204218.5924 | 2665494.7104 | 1204211.4888
47 | 2665501.0305 | 1204196.4437 | 2665501.9482 | 1204195.3139 | 2665504.4822 | 1204191.8062 | 2665505.6746 | 1204189.2178 | 2665506.7275 | 1204186.1719 | 2665509.6273 | 1204177.7542 | 2665510.6351 | 1204171.8839 | 2665510.8491 | 1204168.3286 | 2665510.3049 | 1204165.2319 | 2665509.3121 | 1204162.7973 | 2665509.3121 | 1204162.7973
48 | 2665494.7104 | 1204211.4888 | 2665494.4079 | 1204209.2396 | 2665494.578 | 1204206.9179 | 2665495.2405 | 1204204.7794 | 2665498.4391 | 1204199.6336 | 2665501.0305 | 1204196.4437
49 | 2665506.1144 | 1204158.8376 | 2665509.3121 | 1204162.7973
50 | 2665480.7817 | 1204160.6832 | 2665478.0039 | 1204153.126 | 2665477.6962 | 1204149.9652 | 2665477.8792 | 1204147.8437 | 2665478.954 | 1204146.2656 | 2665480.3289 | 1204145.08 | 2665482.1538 | 1204144.4885 | 2665484.4275 | 1204144.5913 | 2665487.7445 | 1204145.3058 | 2665491.3379 | 1204147.1686 | 2665506.1144 | 1204158.8376
51 | 2665739.069 | 1204060.1256 | 2665763.381 | 1204066.0412 | 2665764.1213 | 1204066.2807
52 | 2665764.1213 | 1204066.2807 | 2665770.3179 | 1204068.2856 | 2665776.0002 | 1204072.1492
53 | 2665730.8148 | 1204296.4218 | 2665730.7315 | 1204296.3625
54 | 2665800.4425 | 1204079.7353 | 2665823.3595 | 1204095.8788
55 | 2665933.6662 | 1204093.6881 | 2665930.5841 | 1204084.9651
56 | 2665921.2916 | 1204066.0814 | 2665925.3181 | 1204070.0616 | 2665930.5841 | 1204084.9651
57 | 2665933.6662 | 1204093.6881 | 2665939.2473 | 1204109.4835 | 2665945.6617 | 1204119.7605 | 2665952.7756 | 1204129.8381
58 | 2665899.6302 | 1204075.0812 | 2665910.5981 | 1204071.9336 | 2665921.2916 | 1204066.0814
59 | 2665921.2916 | 1204066.0814 | 2665928.8902 | 1204055.9369 | 2665928.8902 | 1204055.9369
60 | 2665954.6367 | 1204132.4746 | 2665952.7756 | 1204129.8381
61 | 2665899.6302 | 1204075.0812 | 2665901.412 | 1204053.2151
62 | 2665899.6302 | 1204075.0812 | 2665887.5476 | 1204076.5155 | 2665881.6812 | 1204075.9867
63 | 2665934.0151 | 1204044.5088 | 2665934.0151 | 1204044.5088 | 2665928.8902 | 1204055.9369
64 | 2665881.6812 | 1204075.9867 | 2665868.2949 | 1204074.7799 | 2665856.8123 | 1204070.7843 | 2665856.1166 | 1204070.4162
65 | 2665935.9308 | 1204027.3309 | 2665935.7865 | 1204034.9782 | 2665934.0151 | 1204044.5088
66 | 2665839.8383 | 1204057.83 | 2665847.4554 | 1204065.8337 | 2665856.1166 | 1204070.4162
67 | 2665935.9308 | 1204027.3309 | 2665935.97 | 1204025.2521 | 2665935.2529 | 1204020.1772
68 | 2665935.2529 | 1204020.1772 | 2665934.5586 | 1204015.2638 | 2665930.3102 | 1204005.8891 | 2665923.4547 | 1203996.2632 | 2665922.0483 | 1203994.9105
69 | 2666060.9645 | 1203933.4441 | 2666058.5304 | 1203936.141 | 2666056.7484 | 1203939.0342 | 2666055.2594 | 1203942.2641 | 2666054.2107 | 1203945.5879 | 2666053.7553 | 1203948.9293 | 2666053.5806 | 1203951.6512 | 2666053.9044 | 1203954.2638
70 | 2666060.9645 | 1203933.4441 | 2666063.1064 | 1203931.7112 | 2666066.017 | 1203929.9645 | 2666068.7247 | 1203928.6715 | 2666080.0703 | 1203923.7384 | 2666085.858 | 1203920.5227 | 2666087.9537 | 1203918.8449 | 2666089.6992 | 1203917.1854 | 2666095.0994 | 1203922.1592 | 2666098.5126 | 1203928.6231
71 | 2666098.5126 | 1203928.6231 | 2666102.1416 | 1203962.2479
72 | 2665831.1869 | 1204034.9469 | 2665833.7078 | 1204043.0018 | 2665838.7835 | 1204056.7216 | 2665839.8383 | 1204057.83
73 | 2665730.8148 | 1204296.4218 | 2665747.5534 | 1204307.5302
74 | 2665771.1189 | 1204327.7954 | 2665760.3824 | 1204316.8928 | 2665756.8318 | 1204313.9186 | 2665753.2845 | 1204311.3336 | 2665747.5534 | 1204307.5302
75 | 2665771.1189 | 1204327.7954 | 2665763.2723 | 1204337.4903
76 | 2665771.1189 | 1204327.7954 | 2665775.9438 | 1204332.6954
77 | 2665763.0855 | 1204337.7211 | 2665763.2723 | 1204337.4903
78 | 2666025.324 | 1204057.4245 | 2666022.6342 | 1204064.7441 | 2666019.686 | 1204080.3899
79 | 2665998.29 | 1204098.2509 | 2666004.7542 | 1204099.89 | 2666010.6739 | 1204098.4656 | 2666014.5882 | 1204095.3848 | 2666017.2357 | 1204091.2782 | 2666018.3505 | 1204087.4771 | 2666019.686 | 1204080.3899
80 | 2665998.29 | 1204098.2509 | 2665994.8757 | 1204095.3336 | 2665992.4282 | 1204091.6711 | 2665990.9269 | 1204084.3278 | 2665991.6266 | 1204076.0861 | 2665992.2988 | 1204073.8925
81 | 2665998.29 | 1204098.2509 | 2666002.658 | 1204140.1578 | 2666008.5682 | 1204158.8677 | 2666010.4943 | 1204164.0597
82 | 2665997.3036 | 1204057.5589 | 2665992.2988 | 1204073.8925
83 | 2665997.3036 | 1204057.5589 | 2666002.7322 | 1204039.8425 | 2666004.2356 | 1204031.165 | 2666003.7995 | 1204026.5588
84 | 2666002.9439 | 1204020.2371 | 2666003.3704 | 1204022.0277 | 2666003.7995 | 1204026.5588
85 | 2665989.0624 | 1203999.6858 | 2665997.0087 | 1204006.9817 | 2666001.8144 | 1204015.4954 | 2666002.9439 | 1204020.2371

## bus_geodata
| x | y | coords
0 | 2665817.5394 | 1203881.1068
1 | 2665801.3173 | 1203872.62
2 | 2665920.4001 | 1203891.1439
3 | 2665679.3023 | 1203917.2378
4 | 2665934.0041 | 1203966.2615
5 | 2665655.1725 | 1203938.2476
6 | 2665909.7935 | 1203971.8199
7 | 2665950.0634 | 1203978.4733
8 | 2665946.4343 | 1203941.7882
9 | 2665917.0414 | 1203990.0949
10 | 2665971.1043 | 1203989.8721
11 | 2666072.9703 | 1204025.0431
12 | 2666070.1561 | 1204004.2218
13 | 2666065.8906 | 1203999.1493
14 | 2666062.368 | 1203982.8276
15 | 2666059.3379 | 1204029.0064
16 | 2666056.003 | 1203961.9167
17 | 2666045.6238 | 1204039.3953
18 | 2665837.2151 | 1204137.3921
19 | 2665833.6037 | 1204134.4504
20 | 2665853.9492 | 1204151.0234
21 | 2665810.3056 | 1204115.4722
22 | 2665863.3045 | 1204138.2527
23 | 2665862.9173 | 1204241.3385
24 | 2665795.1651 | 1204100.0243
25 | 2665881.3451 | 1204113.6262
26 | 2665896.3516 | 1204245.6077
27 | 2665768.8558 | 1204278.532
28 | 2665790.341 | 1204087.8067
29 | 2665675.9835 | 1204236.187
30 | 2665687.2394 | 1204255.3066
31 | 2665634.5925 | 1204197.76
32 | 2665887.6767 | 1204104.9831
33 | 2665697.6491 | 1204267.8872
34 | 2665652.6011 | 1204190.1517
35 | 2665549.0679 | 1204214.6618
36 | 2665713.3827 | 1204283.3646
37 | 2665488.3929 | 1204315.7628
38 | 2665512.4006 | 1204298.7464
39 | 2665529.2428 | 1204226.8322
40 | 2665501.0305 | 1204196.4437
41 | 2665509.3121 | 1204162.7973
42 | 2665494.7104 | 1204211.4888
43 | 2665506.1144 | 1204158.8376
44 | 2665480.7817 | 1204160.6832
45 | 2665739.069 | 1204060.1256
46 | 2665764.1213 | 1204066.2807
47 | 2665730.7315 | 1204296.3625
48 | 2665776.0002 | 1204072.1492
49 | 2665800.4425 | 1204079.7353
50 | 2665823.3595 | 1204095.8788
51 | 2665930.5841 | 1204084.9651
52 | 2665933.6662 | 1204093.6881
53 | 2665921.2916 | 1204066.0814
54 | 2665952.7756 | 1204129.8381
55 | 2665899.6302 | 1204075.0812
56 | 2665928.8902 | 1204055.9369
57 | 2665954.6367 | 1204132.4746
58 | 2665901.412 | 1204053.2151
59 | 2665881.6812 | 1204075.9867
60 | 2665934.0151 | 1204044.5088
61 | 2665856.1166 | 1204070.4162
62 | 2665935.9308 | 1204027.3309
63 | 2665922.0483 | 1203994.9105
64 | 2665935.2529 | 1204020.1772
65 | 2666053.9044 | 1203954.2638
66 | 2666060.9645 | 1203933.4441
67 | 2666098.5126 | 1203928.6231
68 | 2666102.1416 | 1203962.2479
69 | 2665839.8383 | 1204057.83
70 | 2665831.1869 | 1204034.9469
71 | 2665747.5534 | 1204307.5302
72 | 2665730.8148 | 1204296.4218
73 | 2665771.1189 | 1204327.7954
74 | 2665763.2723 | 1204337.4903
75 | 2665775.9438 | 1204332.6954
76 | 2665763.0855 | 1204337.7211
77 | 2666025.324 | 1204057.4245
78 | 2666019.686 | 1204080.3899
79 | 2665998.29 | 1204098.2509
80 | 2665643.5932 | 1203957.7713
81 | 2666010.4943 | 1204164.0597
82 | 2665992.2988 | 1204073.8925
83 | 2665997.3036 | 1204057.5589
84 | 2666003.7995 | 1204026.5588
85 | 2665989.0624 | 1203999.6858
86 | 2666002.9439 | 1204020.2371
87 | 2665899.6302 | 1204075.0812

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98344 | -0.31732 | 0.0041529 | 0.0010408
1 | 0.9832 | -0.32202 | 0 | 0
2 | 0.98519 | -0.28323 | 0 | 0
3 | 0.9815 | -0.35529 | 0 | 0
4 | 0.98648 | -0.25808 | 0 | 0
5 | 0.98096 | -0.36577 | 0.0086362 | 0.0021644
6 | 0.98788 | -0.2312 | 0 | 0
7 | 0.98557 | -0.27564 | 0.0034772 | 0.00087147
8 | 0.98746 | -0.23939 | 0.0086214 | 0.0021607
9 | 0.98901 | -0.20948 | 0.003476 | 0.00087118
10 | 0.98452 | -0.29593 | 0.0086216 | 0.0021608
11 | 0.97126 | -0.55531 | 0.0051918 | 0.0013012
12 | 0.97136 | -0.5533 | 0.0062544 | 0.0015675
13 | 0.97144 | -0.55189 | 0 | 0
14 | 0.97115 | -0.55747 | 0.005672 | 0.0014215
15 | 0.97231 | -0.5347 | 0.0068389 | 0.001714
16 | 0.9709 | -0.56247 | 0.0022457 | 0.00056283
17 | 0.97289 | -0.52309 | 0.013095 | 0.0032818
18 | 0.99409 | -0.11303 | 0.014275 | 0.0035776
19 | 0.99366 | -0.12115 | 0.011395 | 0.0028559
20 | 0.99632 | -0.070057 | 0 | 0
21 | 0.99125 | -0.16766 | 0.0134 | 0.0033582
22 | 0.99761 | -0.045468 | 0.0097042 | 0.0024321
23 | 0.99097 | -0.17263 | 0.0085836 | 0.0021513
24 | 0.98977 | -0.19644 | 0.016636 | 0.0041694
25 | 0.99936 | -0.012226 | 0.0094279 | 0.0023629
26 | 0.99083 | -0.17524 | 0.0041793 | 0.0010474
27 | 0.98618 | -0.26508 | 0.001514 | 0.00037944
28 | 0.98908 | -0.20987 | 0 | 0
29 | 0.98207 | -0.34524 | 0.0073643 | 0.0018457
30 | 0.98261 | -0.33478 | 0.0015635 | 0.00039185
31 | 0.98103 | -0.3656 | 0 | 0
32 | 1 | 0 | -0.56226 | -0.14322
33 | 0.98302 | -0.32662 | 0.0016816 | 0.00042144
34 | 0.98084 | -0.36941 | 0.010584 | 0.0026527
35 | 0.98037 | -0.37846 | 0.0018136 | 0.00045453
36 | 0.98362 | -0.31493 | 0.0015783 | 0.00039557
37 | 0.98012 | -0.38339 | 0.0010697 | 0.00026809
38 | 0.98017 | -0.38257 | 0 | 0
39 | 0.98024 | -0.38113 | 0 | 0
40 | 0.97994 | -0.38709 | 0.00056291 | 0.00014108
41 | 0.97978 | -0.39015 | 0.0012377 | 0.00031021
42 | 0.98002 | -0.38547 | 0 | 0
43 | 0.97976 | -0.39047 | 0.00065654 | 0.00016454
44 | 0.97964 | -0.39288 | 0.0027873 | 0.00069856
45 | 0.98755 | -0.23948 | 0.0135 | 0.0033834
46 | 0.98787 | -0.23326 | 0.015869 | 0.0039772
47 | 0.98424 | -0.30286 | 0.0052861 | 0.0013248
48 | 0.98823 | -0.22624 | 0.013498 | 0.0033829
49 | 0.9889 | -0.21323 | 0 | 0
50 | 0.98853 | -0.2205 | 0.014552 | 0.003647
51 | 0.99233 | -0.14625 | 0.01671 | 0.0041878
52 | 0.99169 | -0.15872 | 0.019948 | 0.0049994
53 | 0.99416 | -0.11105 | 0 | 0
54 | 0.98957 | -0.19982 | 0.025924 | 0.0064971
55 | 0.99637 | -0.068801 | 0 | 0
56 | 0.99332 | -0.12695 | 0.0065541 | 0.0016426
57 | 0.98948 | -0.20155 | 0.030228 | 0.0075759
58 | 0.99629 | -0.070364 | 0.0040588 | 0.0010172
59 | 0.9956 | -0.08381 | 0.0040209 | 0.0010077
60 | 0.99252 | -0.1422 | 0.0070693 | 0.0017717
61 | 0.99455 | -0.10391 | 0.0095466 | 0.0023926
62 | 0.99146 | -0.16263 | 0.0060568 | 0.001518
63 | 0.98939 | -0.20224 | 0.0068523 | 0.0017174
64 | 0.99102 | -0.17087 | 0.011067 | 0.0027738
65 | 0.97083 | -0.56396 | 0.0071904 | 0.0018021
66 | 0.97076 | -0.56521 | 0 | 0
67 | 0.97063 | -0.56782 | 0 | 0
68 | 0.97054 | -0.56967 | 0.0029497 | 0.00073925
69 | 0.99391 | -0.11631 | 0.009557 | 0.0023952
70 | 0.99337 | -0.12681 | 0.024179 | 0.0060598
71 | 0.98399 | -0.30768 | 0.002941 | 0.00073709
72 | 0.98424 | -0.30279 | 0 | 0
73 | 0.98369 | -0.31363 | 0 | 0
74 | 0.98362 | -0.31496 | 0.0033604 | 0.0008422
75 | 0.98366 | -0.31421 | 0.0046835 | 0.0011738
76 | 0.98362 | -0.31497 | 0.0025443 | 0.00063767
77 | 0.97417 | -0.49802 | 0.0061993 | 0.0015537
78 | 0.9754 | -0.47381 | 0.020187 | 0.0050594
79 | 0.97779 | -0.42697 | 0 | 0
80 | 0.98079 | -0.36911 | 0.00554 | 0.0013884
81 | 0.97602 | -0.4616 | 0.028173 | 0.0070609
82 | 0.9804 | -0.376 | 0.0063502 | 0.0015915
83 | 0.98127 | -0.35892 | 0.0052426 | 0.0013139
84 | 0.98242 | -0.33665 | 0.0058732 | 0.001472
85 | 0.98368 | -0.31227 | 0.0041036 | 0.0010285
86 | 0.98266 | -0.33198 | 0.0074155 | 0.0018585
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.01421 | 0.0035716 | -0.014207 | -0.0035698 | 3.1831e-06 | 1.8043e-06 | 0.021504 | 0.021504 | 0.021504 | 0.98344 | -0.31732 | 0.9832 | -0.32202 | 5.9078
1 | -0.018363 | -0.0046124 | 0.018393 | 0.0046303 | 2.9926e-05 | 1.7839e-05 | 0.027788 | 0.027787 | 0.027788 | 0.98344 | -0.31732 | 0.98519 | -0.28323 | 7.634
2 | 0.014207 | 0.0035698 | -0.014184 | -0.003557 | 2.253e-05 | 1.2774e-05 | 0.021504 | 0.021505 | 0.021505 | 0.9832 | -0.32202 | 0.9815 | -0.35529 | 5.9079
3 | -0.018393 | -0.0046303 | 0.018415 | 0.0046435 | 2.2135e-05 | 1.3192e-05 | 0.027787 | 0.027787 | 0.027787 | 0.98519 | -0.28323 | 0.98648 | -0.25808 | 7.6339
4 | 0.014184 | 0.003557 | -0.014177 | -0.003553 | 7.0836e-06 | 4.0176e-06 | 0.021505 | 0.021505 | 0.021505 | 0.9815 | -0.35529 | 0.98096 | -0.36577 | 5.908
5 | -0.16488 | -0.041881 | 0.1651 | 0.042016 | 0.00021366 | 0.00013568 | 0.24891 | 0.24891 | 0.24891 | 0.98648 | -0.25808 | 0.98788 | -0.2312 | 22.7937
6 | 0.14647 | 0.037237 | -0.14634 | -0.037159 | 0.00012373 | 7.8413e-05 | 0.22112 | 0.22112 | 0.22112 | 0.98648 | -0.25808 | 0.98557 | -0.27564 | 20.2492
7 | 0.0055408 | 0.0013886 | -0.00554 | -0.0013884 | 8.8063e-07 | 1.4401e-07 | 0.0084049 | 0.008405 | 0.008405 | 0.98096 | -0.36577 | 0.98079 | -0.36911 | 2.3091
8 | 0.0086248 | 0.0021622 | -0.0086214 | -0.0021607 | 3.3629e-06 | 1.4723e-06 | 0.012991 | 0.012992 | 0.012992 | 0.98788 | -0.2312 | 0.98746 | -0.23939 | 3.5692
9 | -0.17372 | -0.044178 | 0.1739 | 0.044294 | 0.00018199 | 0.00011566 | 0.2619 | 0.2619 | 0.2619 | 0.98788 | -0.2312 | 0.98901 | -0.20948 | 23.9834
10 | 0.14287 | 0.036287 | -0.14273 | -0.036199 | 0.00013939 | 8.8299e-05 | 0.21587 | 0.21587 | 0.21587 | 0.98557 | -0.27564 | 0.98452 | -0.29593 | 19.7685
11 | -0.17738 | -0.045165 | 0.17744 | 0.045205 | 6.1964e-05 | 3.9389e-05 | 0.26713 | 0.26713 | 0.26713 | 0.98901 | -0.20948 | 0.98939 | -0.20224 | 24.4623
12 | 0.1341 | 0.034038 | -0.134 | -0.033972 | 0.0001053 | 6.6612e-05 | 0.20284 | 0.20284 | 0.20284 | 0.98452 | -0.29593 | 0.98368 | -0.31227 | 18.5752
13 | -0.0051918 | -0.0013012 | 0.0051923 | 0.0013012 | 4.9847e-07 | 5.8966e-08 | 0.0079541 | 0.007954 | 0.0079541 | 0.97126 | -0.55531 | 0.97136 | -0.5533 | 2.1852
14 | -0.011447 | -0.0028688 | 0.011447 | 0.0028692 | 7.6417e-07 | 4.0703e-07 | 0.017535 | 0.017535 | 0.017535 | 0.97136 | -0.5533 | 0.97144 | -0.55189 | 4.8173
15 | 0.018067 | 0.0045298 | -0.018062 | -0.0045269 | 4.7976e-06 | 2.8638e-06 | 0.027675 | 0.027675 | 0.027675 | 0.97144 | -0.55189 | 0.97115 | -0.55747 | 7.6031
16 | -0.029515 | -0.0073989 | 0.029539 | 0.007414 | 2.42e-05 | 1.5097e-05 | 0.04521 | 0.04521 | 0.04521 | 0.97144 | -0.55189 | 0.97231 | -0.5347 | 12.4204
17 | 0.01239 | 0.0031054 | -0.012387 | -0.0031038 | 2.9543e-06 | 1.6203e-06 | 0.018985 | 0.018985 | 0.018985 | 0.97115 | -0.55747 | 0.9709 | -0.56247 | 5.2156
18 | -0.036378 | -0.009128 | 0.036398 | 0.0091407 | 2.0151e-05 | 1.2682e-05 | 0.055676 | 0.055676 | 0.055676 | 0.97231 | -0.5347 | 0.97289 | -0.52309 | 15.2957
19 | 0.010142 | 0.0025409 | -0.010141 | -0.0025406 | 7.199e-07 | 3.6247e-07 | 0.015543 | 0.015543 | 0.015543 | 0.9709 | -0.56247 | 0.97083 | -0.56396 | 4.27
20 | -0.049493 | -0.012423 | 0.049552 | 0.01246 | 5.9249e-05 | 3.7577e-05 | 0.075704 | 0.075704 | 0.075704 | 0.97289 | -0.52309 | 0.97417 | -0.49802 | 20.7979
21 | 0.099277 | 0.025045 | -0.099238 | -0.025021 | 3.8603e-05 | 2.4646e-05 | 0.14866 | 0.14866 | 0.14866 | 0.99409 | -0.11303 | 0.99366 | -0.12115 | 40.8413
22 | -0.11355 | -0.028623 | 0.11379 | 0.028772 | 0.00023399 | 0.00014947 | 0.17003 | 0.17003 | 0.17003 | 0.99409 | -0.11303 | 0.99632 | -0.070057 | 46.7115
23 | 0.087843 | 0.022165 | -0.087648 | -0.02204 | 0.00019515 | 0.00012451 | 0.1316 | 0.1316 | 0.1316 | 0.99366 | -0.12115 | 0.99125 | -0.16766 | 36.1534
24 | -0.17851 | -0.045267 | 0.17872 | 0.045402 | 0.00021127 | 0.0001348 | 0.26679 | 0.26679 | 0.26679 | 0.99632 | -0.070057 | 0.99761 | -0.045468 | 36.647
25 | 0.064723 | 0.016494 | -0.064404 | -0.016292 | 0.00031866 | 0.00020277 | 0.096761 | 0.096761 | 0.096761 | 0.99632 | -0.070057 | 0.99097 | -0.17263 | 26.5828
26 | 0.074248 | 0.018682 | -0.074146 | -0.018617 | 0.00010196 | 6.497e-05 | 0.11148 | 0.11148 | 0.11148 | 0.99125 | -0.16766 | 0.98977 | -0.19644 | 30.6274
27 | -0.18842 | -0.047834 | 0.18873 | 0.048026 | 0.00030188 | 0.000192 | 0.28126 | 0.28126 | 0.28126 | 0.99761 | -0.045468 | 0.99936 | -0.012226 | 25.7569
28 | 0.051641 | 0.013093 | -0.051412 | -0.012948 | 0.00022839 | 0.00014487 | 0.077596 | 0.077597 | 0.077597 | 0.99097 | -0.17263 | 0.98618 | -0.26508 | 21.3178
29 | 0.0041798 | 0.0010473 | -0.0041793 | -0.0010474 | 5.2096e-07 | -1.2088e-07 | 0.0062762 | 0.0062764 | 0.0062764 | 0.99097 | -0.17263 | 0.99083 | -0.17524 | 1.7243
30 | 0.05751 | 0.014448 | -0.057473 | -0.014424 | 3.6833e-05 | 2.3405e-05 | 0.086473 | 0.086473 | 0.086473 | 0.98977 | -0.19644 | 0.98908 | -0.20987 | 23.7564
31 | -0.19815 | -0.050388 | 0.19827 | 0.050463 | 0.00011679 | 7.4324e-05 | 0.2953 | 0.2953 | 0.2953 | 0.99936 | -0.012226 | 1 | 0 | 27.0423
32 | 0.049898 | 0.012569 | -0.049808 | -0.012512 | 8.9804e-05 | 5.6937e-05 | 0.075312 | 0.075312 | 0.075312 | 0.98618 | -0.26508 | 0.98424 | -0.30279 | 20.6902
33 | 0.042914 | 0.010773 | -0.042881 | -0.010752 | 3.3488e-05 | 2.1158e-05 | 0.064569 | 0.064569 | 0.064569 | 0.98908 | -0.20987 | 0.98823 | -0.22624 | 17.7387
34 | 0.014559 | 0.0036512 | -0.014557 | -0.0036499 | 2.3335e-06 | 1.327e-06 | 0.021904 | 0.021905 | 0.021905 | 0.98908 | -0.20987 | 0.9889 | -0.21323 | 6.0177
35 | -0.026105 | -0.0065478 | 0.026118 | 0.0065559 | 1.3025e-05 | 8.0551e-06 | 0.039556 | 0.039555 | 0.039556 | 0.98207 | -0.34524 | 0.98261 | -0.33478 | 10.8669
36 | 0.018741 | 0.0047021 | -0.018722 | -0.0046913 | 1.8178e-05 | 1.0874e-05 | 0.028397 | 0.028397 | 0.028397 | 0.98207 | -0.34524 | 0.98103 | -0.3656 | 7.8015
37 | -0.027681 | -0.0069477 | 0.027692 | 0.0069544 | 1.0767e-05 | 6.6839e-06 | 0.041923 | 0.041923 | 0.041923 | 0.98261 | -0.33478 | 0.98302 | -0.32662 | 11.5173
38 | 0.010586 | 0.0026536 | -0.010584 | -0.0026527 | 1.919e-06 | 9.7762e-07 | 0.016057 | 0.016057 | 0.016057 | 0.98103 | -0.3656 | 0.98084 | -0.36941 | 4.4113
39 | 0.0081362 | 0.0020376 | -0.0081312 | -0.0020356 | 4.9786e-06 | 2.0863e-06 | 0.01234 | 0.012341 | 0.012341 | 0.98103 | -0.3656 | 0.98037 | -0.37846 | 3.3903
40 | 0.36234 | 0.092758 | -0.36114 | -0.091989 | 0.0012029 | 0.00076859 | 0.53986 | 0.53986 | 0.53986 | 1 | 0 | 0.99637 | -0.068801 | 49.438
41 | -0.029374 | -0.0073759 | 0.02939 | 0.0073861 | 1.6398e-05 | 1.0214e-05 | 0.044468 | 0.044468 | 0.044468 | 0.98302 | -0.32662 | 0.98362 | -0.31493 | 12.2166
42 | 0.0063176 | 0.001581 | -0.0063168 | -0.0015808 | 8.025e-07 | 2.2012e-07 | 0.0095881 | 0.0095882 | 0.0095882 | 0.98037 | -0.37846 | 0.98024 | -0.38113 | 2.6341
43 | -0.030968 | -0.0077816 | 0.030986 | 0.0077928 | 1.7858e-05 | 1.1154e-05 | 0.046856 | 0.046856 | 0.046856 | 0.98362 | -0.31493 | 0.98424 | -0.30286 | 12.8725
44 | -0.0010697 | -0.00026809 | 0.0010697 | 0.00026758 | 4.2113e-08 | -5.0977e-07 | 0.001624 | 0.0016238 | 0.001624 | 0.98012 | -0.38339 | 0.98017 | -0.38257 | 0.44616
45 | -0.0010697 | -0.00026758 | 0.0010698 | 0.0002667 | 7.3018e-08 | -8.8427e-07 | 0.0016238 | 0.0016235 | 0.0016238 | 0.98017 | -0.38257 | 0.98024 | -0.38113 | 0.44611
46 | 0.005247 | 0.0013141 | -0.0052459 | -0.001314 | 1.0832e-06 | 1.1939e-07 | 0.0079647 | 0.0079649 | 0.0079649 | 0.98024 | -0.38113 | 0.98002 | -0.38547 | 2.1882
47 | 0.0046826 | 0.0011729 | -0.0046819 | -0.0011729 | 6.8345e-07 | -1.6678e-08 | 0.0071102 | 0.0071104 | 0.0071104 | 0.97994 | -0.38709 | 0.97978 | -0.39015 | 1.9534
48 | -0.0052455 | -0.0013139 | 0.0052459 | 0.001314 | 4.0455e-07 | 4.4662e-08 | 0.007965 | 0.0079649 | 0.007965 | 0.97994 | -0.38709 | 0.98002 | -0.38547 | 2.1882
49 | 0.0034442 | 0.00086268 | -0.0034441 | -0.00086271 | 5.2218e-08 | -3.0679e-08 | 0.0052306 | 0.0052306 | 0.0052306 | 0.97978 | -0.39015 | 0.97976 | -0.39047 | 1.437
50 | 0.0027876 | 0.00069816 | -0.0027873 | -0.00069856 | 3.1956e-07 | -3.9417e-07 | 0.0042335 | 0.0042337 | 0.0042337 | 0.97976 | -0.39047 | 0.97964 | -0.39288 | 1.1631
51 | -0.0135 | -0.0033834 | 0.013504 | 0.0033856 | 4.003e-06 | 2.2317e-06 | 0.020341 | 0.020341 | 0.020341 | 0.98755 | -0.23948 | 0.98787 | -0.23326 | 5.5882
52 | -0.029373 | -0.0073628 | 0.029383 | 0.0073689 | 9.8253e-06 | 6.1168e-06 | 0.044245 | 0.044244 | 0.044245 | 0.98787 | -0.23326 | 0.98823 | -0.22624 | 12.1551
53 | -0.036272 | -0.0091176 | 0.036273 | 0.0091177 | 1.1529e-07 | 7.2484e-08 | 0.054848 | 0.054848 | 0.054848 | 0.98424 | -0.30286 | 0.98424 | -0.30279 | 15.068
54 | 0.014557 | 0.0036499 | -0.014552 | -0.003647 | 5.0438e-06 | 2.8685e-06 | 0.021905 | 0.021905 | 0.021905 | 0.9889 | -0.21323 | 0.98853 | -0.2205 | 6.0178
55 | 0.076257 | 0.019173 | -0.076212 | -0.019144 | 4.5381e-05 | 2.8924e-05 | 0.11437 | 0.11437 | 0.11437 | 0.99233 | -0.14625 | 0.99169 | -0.15872 | 31.4205
56 | -0.092967 | -0.023361 | 0.093124 | 0.02346 | 0.0001565 | 9.9883e-05 | 0.13943 | 0.13943 | 0.13943 | 0.99233 | -0.14625 | 0.99416 | -0.11105 | 38.3041
57 | 0.056264 | 0.014144 | -0.056154 | -0.014074 | 0.00011017 | 6.9975e-05 | 0.084439 | 0.084439 | 0.084439 | 0.99169 | -0.15872 | 0.98957 | -0.19982 | 23.1977
58 | -0.30904 | -0.078646 | 0.30967 | 0.079049 | 0.00063084 | 0.00040282 | 0.46298 | 0.46298 | 0.46298 | 0.99416 | -0.11105 | 0.99637 | -0.068801 | 42.3977
59 | 0.21592 | 0.055186 | -0.21575 | -0.05508 | 0.00016586 | 0.00010566 | 0.32356 | 0.32356 | 0.32356 | 0.99416 | -0.11105 | 0.99332 | -0.12695 | 29.6298
60 | 0.030231 | 0.0075774 | -0.030228 | -0.0075759 | 2.5008e-06 | 1.559e-06 | 0.045458 | 0.045458 | 0.045458 | 0.98957 | -0.19982 | 0.98948 | -0.20155 | 12.4885
61 | 0.0040591 | 0.0010171 | -0.0040588 | -0.0010172 | 3.0231e-07 | -9.2231e-08 | 0.0060619 | 0.006062 | 0.006062 | 0.99637 | -0.068801 | 0.99629 | -0.070364 | 1.6654
62 | 0.047411 | 0.011923 | -0.047377 | -0.011901 | 3.3962e-05 | 2.1501e-05 | 0.070819 | 0.070819 | 0.070819 | 0.99637 | -0.068801 | 0.9956 | -0.08381 | 19.4558
63 | 0.2092 | 0.053438 | -0.20904 | -0.053339 | 0.0001541 | 9.814e-05 | 0.31374 | 0.31374 | 0.31374 | 0.99332 | -0.12695 | 0.99252 | -0.1422 | 28.7307
64 | 0.043356 | 0.010894 | -0.043314 | -0.010868 | 4.156e-05 | 2.6256e-05 | 0.06481 | 0.06481 | 0.06481 | 0.9956 | -0.08381 | 0.99455 | -0.10391 | 17.8049
65 | 0.20197 | 0.051568 | -0.20177 | -0.051441 | 0.00019921 | 0.00012682 | 0.30314 | 0.30314 | 0.30314 | 0.99252 | -0.1422 | 0.99146 | -0.16263 | 27.7602
66 | 0.033768 | 0.0084749 | -0.033748 | -0.0084624 | 1.9959e-05 | 1.2503e-05 | 0.050526 | 0.050527 | 0.050527 | 0.99455 | -0.10391 | 0.99391 | -0.11631 | 13.8809
67 | 0.19572 | 0.049923 | -0.19564 | -0.049873 | 7.7869e-05 | 4.9557e-05 | 0.29405 | 0.29405 | 0.29405 | 0.99146 | -0.16263 | 0.99102 | -0.17087 | 26.9278
68 | -0.18429 | -0.046922 | 0.18457 | 0.0471 | 0.00027924 | 0.00017759 | 0.27743 | 0.27743 | 0.27743 | 0.98939 | -0.20224 | 0.99102 | -0.17087 | 25.406
69 | 0.0029505 | 0.00073847 | -0.0029503 | -0.00073864 | 1.7487e-07 | -1.7005e-07 | 0.0045219 | 0.004522 | 0.004522 | 0.97083 | -0.56396 | 0.97076 | -0.56521 | 1.2423
70 | 0.0029503 | 0.00073864 | -0.0029499 | -0.000739 | 3.6723e-07 | -3.5694e-07 | 0.004522 | 0.0045222 | 0.0045222 | 0.97076 | -0.56521 | 0.97063 | -0.56782 | 1.2424
71 | 0.0029499 | 0.000739 | -0.0029497 | -0.00073925 | 2.5937e-07 | -2.5198e-07 | 0.0045222 | 0.0045224 | 0.0045224 | 0.97063 | -0.56782 | 0.97054 | -0.56967 | 1.2424
72 | 0.024191 | 0.0060672 | -0.024179 | -0.0060598 | 1.2101e-05 | 7.4257e-06 | 0.036218 | 0.036218 | 0.036218 | 0.99391 | -0.11631 | 0.99337 | -0.12681 | 9.9501
73 | -0.013533 | -0.0033924 | 0.013536 | 0.0033941 | 3.1551e-06 | 1.764e-06 | 0.020465 | 0.020465 | 0.020465 | 0.98399 | -0.30768 | 0.98424 | -0.30279 | 5.6222
74 | 0.010592 | 0.0026553 | -0.010589 | -0.0026537 | 3.0018e-06 | 1.5249e-06 | 0.016017 | 0.016017 | 0.016017 | 0.98399 | -0.30768 | 0.98369 | -0.31363 | 4.4004
75 | 0.0059052 | 0.00148 | -0.0059048 | -0.0014799 | 3.732e-07 | 8.0526e-08 | 0.0089326 | 0.0089327 | 0.0089327 | 0.98369 | -0.31363 | 0.98362 | -0.31496 | 2.454
76 | 0.0046836 | 0.0011738 | -0.0046835 | -0.0011738 | 1.2944e-07 | -4.4532e-09 | 0.0070848 | 0.0070849 | 0.0070849 | 0.98369 | -0.31363 | 0.98366 | -0.31421 | 1.9464
77 | 0.0025443 | 0.00063767 | -0.0025443 | -0.00063767 | 1.6498e-09 | -2.7137e-09 | 0.0038491 | 0.0038491 | 0.0038491 | 0.98362 | -0.31496 | 0.98362 | -0.31497 | 1.0574
78 | -0.055751 | -0.014014 | 0.055816 | 0.014055 | 6.4527e-05 | 4.1002e-05 | 0.085173 | 0.085173 | 0.085173 | 0.97417 | -0.49802 | 0.9754 | -0.47381 | 23.3993
79 | -0.076003 | -0.019114 | 0.076173 | 0.019223 | 0.00017046 | 0.00010867 | 0.11597 | 0.11597 | 0.11597 | 0.9754 | -0.47381 | 0.97779 | -0.42697 | 31.8599
80 | -0.10439 | -0.026313 | 0.10465 | 0.026476 | 0.00025531 | 0.00016306 | 0.15892 | 0.15892 | 0.15892 | 0.97779 | -0.42697 | 0.9804 | -0.376 | 43.6599
81 | 0.02822 | 0.0070899 | -0.028173 | -0.0070609 | 4.6556e-05 | 2.8953e-05 | 0.042952 | 0.042952 | 0.042952 | 0.97779 | -0.42697 | 0.97602 | -0.4616 | 11.8001
82 | -0.111 | -0.028067 | 0.11109 | 0.028125 | 9.1008e-05 | 5.7814e-05 | 0.16856 | 0.16856 | 0.16856 | 0.9804 | -0.376 | 0.98127 | -0.35892 | 23.1538
83 | -0.11633 | -0.029439 | 0.11646 | 0.029518 | 0.00012448 | 7.8453e-05 | 0.17651 | 0.17651 | 0.17651 | 0.98127 | -0.35892 | 0.98242 | -0.33665 | 16.1639
84 | -0.12233 | -0.030989 | 0.12236 | 0.031007 | 2.7466e-05 | 1.7335e-05 | 0.1854 | 0.1854 | 0.1854 | 0.98242 | -0.33665 | 0.98266 | -0.33198 | 16.9785
85 | 0.1299 | 0.032943 | -0.12977 | -0.032865 | 0.00012295 | 7.7718e-05 | 0.19663 | 0.19663 | 0.19663 | 0.98368 | -0.31227 | 0.98266 | -0.33198 | 18.0068

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5875 | 0.14955

## res_load
| p_mw | q_mvar
0 | 0.0041529 | 0.0010408
1 | 0.0086362 | 0.0021644
2 | 0.0034772 | 0.00087147
3 | 0.0086214 | 0.0021607
4 | 0.003476 | 0.00087118
5 | 0.0086216 | 0.0021608
6 | 0.0051918 | 0.0013012
7 | 0.0062544 | 0.0015675
8 | 0.005672 | 0.0014215
9 | 0.0068389 | 0.001714
10 | 0.0022457 | 0.00056283
11 | 0.013095 | 0.0032818
12 | 0.014275 | 0.0035776
13 | 0.011395 | 0.0028559
14 | 0.0134 | 0.0033582
15 | 0.0097042 | 0.0024321
16 | 0.0085836 | 0.0021513
17 | 0.016636 | 0.0041694
18 | 0.0094279 | 0.0023629
19 | 0.0041793 | 0.0010474
20 | 0.001514 | 0.00037944
21 | 0.0073643 | 0.0018457
22 | 0.0015635 | 0.00039185
23 | 0.025241 | 0.006326
24 | 0.0016816 | 0.00042144
25 | 0.010584 | 0.0026527
26 | 0.0018136 | 0.00045453
27 | 0.0015783 | 0.00039557
28 | 0.0010697 | 0.00026809
29 | 0.00056291 | 0.00014108
30 | 0.0012377 | 0.00031021
31 | 0.00065654 | 0.00016454
32 | 0.0027873 | 0.00069856
33 | 0.0135 | 0.0033834
34 | 0.015869 | 0.0039772
35 | 0.0052861 | 0.0013248
36 | 0.013498 | 0.0033829
37 | 0.014552 | 0.003647
38 | 0.01671 | 0.0041878
39 | 0.019948 | 0.0049994
40 | 0.025924 | 0.0064971
41 | 0.0065541 | 0.0016426
42 | 0.030228 | 0.0075759
43 | 0.0040588 | 0.0010172
44 | 0.0040209 | 0.0010077
45 | 0.0070693 | 0.0017717
46 | 0.0095466 | 0.0023926
47 | 0.0060568 | 0.001518
48 | 0.0068523 | 0.0017174
49 | 0.011067 | 0.0027738
50 | 0.0071904 | 0.0018021
51 | 0.0029497 | 0.00073925
52 | 0.009557 | 0.0023952
53 | 0.024179 | 0.0060598
54 | 0.002941 | 0.00073709
55 | 0.0033604 | 0.0008422
56 | 0.0046835 | 0.0011738
57 | 0.0025443 | 0.00063767
58 | 0.0061993 | 0.0015537
59 | 0.020187 | 0.0050594
60 | 0.00554 | 0.0013884
61 | 0.028173 | 0.0070609
62 | 0.0063502 | 0.0015915
63 | 0.0052426 | 0.0013139
64 | 0.0058732 | 0.001472
65 | 0.0041036 | 0.0010285
66 | 0.0074155 | 0.0018585

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1