## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1507-15_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1507-15_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1507-15_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1507-15_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1507-15_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1507-15_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1507-15_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1507-15_0_5_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_1507-15_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1507-15_0_5_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_1507-15_0_5_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_1507-15_0_5_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_1507-15_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1507-15_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1507-15_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1507-15_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1507-15_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1507-15_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1507-15_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1507-15_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1507-15_0_5_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_1507-15_0_5_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_1507-15_0_5_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_1507-15_0_5_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_1507-15_0_5_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_1507-15_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1507-15_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1507-15_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1507-15_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1507-15_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1507-15_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1507-15_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1507-15_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1507-15_0_5_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1507-15_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1507-15_0_5_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_1507-15_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_1507-15_0_5_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_1507-15_0_5_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_1507-15_0_5_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_1507-15_0_5_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1507-15_0_5_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_1507-15_0_5_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_1507-15_0_5_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_1507-15_0_5_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1507-15_0_5_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_1507-15_0_5_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_1507-15_0_5_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_1507-15_0_5_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_1507-15_0_5_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_1507-15_0_5_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_1507-15_0_5_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_1507-15_0_5_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_1507-15_0_5_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_1507-15_0_5_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_1507-15_0_5_node_54 | 0.4 | n |  | TRUE
56 | bus_MV_23_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1507-15_0_5_load_0 | 0 | 0.0126 | 0.0031579 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1507-15_0_5_load_1 | 1 | 0.0088088 | 0.0022077 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1507-15_0_5_load_2 | 2 | 0.014716 | 0.0036881 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1507-15_0_5_load_3 | 3 | 0.014774 | 0.0037028 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1507-15_0_5_load_5 | 5 | 0.0093199 | 0.0023358 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1507-15_0_5_load_6 | 6 | 0.025695 | 0.0064397 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1507-15_0_5_load_48 | 7 | 0.0089649 | 0.0022468 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1507-15_0_5_load_56 | 10 | 0.020838 | 0.0052225 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1507-15_0_5_load_31 | 11 | 0.020524 | 0.0051438 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1507-15_0_5_load_8 | 12 | 0.0019624 | 0.00049182 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1507-15_0_5_load_9 | 13 | 0.0048322 | 0.0012111 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1507-15_0_5_load_11 | 15 | 0.008894 | 0.0022291 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1507-15_0_5_load_13 | 17 | 0.0055451 | 0.0013897 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1507-15_0_5_load_15 | 19 | 0.0087563 | 0.0021945 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1507-15_0_5_load_45 | 20 | 0.028074 | 0.0070359 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1507-15_0_5_load_49 | 21 | 0.0068507 | 0.0017169 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1507-15_0_5_load_51 | 22 | 0.0061292 | 0.0015361 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1507-15_0_5_load_43 | 23 | 0.0088578 | 0.00222 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1507-15_0_5_load_52 | 24 | 0.013549 | 0.0033956 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1507-15_0_5_load_16 | 25 | 0.013511 | 0.0033862 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1507-15_0_5_load_17 | 26 | 0.010354 | 0.002595 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1507-15_0_5_load_21 | 29 | 0.029695 | 0.0074422 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1507-15_0_5_load_22 | 30 | 0.014084 | 0.0035297 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1507-15_0_5_load_23 | 31 | 0.016783 | 0.0042063 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1507-15_0_5_load_20 | 32 | 0.0032292 | 0.00080931 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1507-15_0_5_load_24 | 33 | 0.012317 | 0.003087 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1507-15_0_5_load_25 | 34 | 0.019152 | 0.0047998 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1507-15_0_5_load_26 | 36 | 0.010899 | 0.0027316 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1507-15_0_5_load_58 | 37 | 0.011342 | 0.0028426 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1507-15_0_5_load_46 | 38 | 0.025643 | 0.0064268 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1507-15_0_5_load_57 | 39 | 0.0078568 | 0.0019691 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1507-15_0_5_load_27 | 40 | 0.011344 | 0.0028431 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1507-15_0_5_load_44 | 41 | 0.015475 | 0.0038785 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1507-15_0_5_load_28 | 42 | 0.015728 | 0.0039418 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1507-15_0_5_load_29 | 43 | 0.014118 | 0.0035382 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1507-15_0_5_load_39 | 44 | 0.025701 | 0.0064412 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1507-15_0_5_load_37 | 45 | 0.0047019 | 0.0011784 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1507-15_0_5_load_30 | 46 | 0.020902 | 0.0052385 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1507-15_0_5_load_34 | 47 | 0.0052191 | 0.001308 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1507-15_0_5_load_35 | 48 | 0.0039133 | 0.00098076 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1507-15_0_5_load_40 | 49 | 0.0049223 | 0.0012336 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1507-15_0_5_load_38 | 50 | 0.004294 | 0.0010762 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1507-15_0_5_load_36 | 51 | 0.012008 | 0.0030094 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1507-15_0_5_load_41 | 52 | 0.0078324 | 0.001963 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1507-15_0_5_load_42 | 53 | 0.028072 | 0.0070356 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1507-15_0_5_load_53 | 54 | 0.015317 | 0.0038388 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1507-15_0_5_load_54 | 55 | 0.016783 | 0.0042062 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1507-15_0_5_line_0 |  | 0 | 1 | 0.017515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1507-15_0_5_line_1 |  | 0 | 2 | 0.011483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1507-15_0_5_line_2 |  | 1 | 3 | 0.0087891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1507-15_0_5_line_3 |  | 2 | 4 | 0.014418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1507-15_0_5_line_4 |  | 3 | 5 | 0.019457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1507-15_0_5_line_5 |  | 4 | 6 | 0.017306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1507-15_0_5_line_6 |  | 5 | 7 | 0.0089812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1507-15_0_5_line_7 |  | 6 | 8 | 0.01848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1507-15_0_5_line_8 |  | 7 | 10 | 0.015107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1507-15_0_5_line_9 |  | 8 | 9 | 0.070144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1507-15_0_5_line_10 |  | 9 | 11 | 0.096589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1507-15_0_5_line_11 |  | 10 | 39 | 0.021098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1507-15_0_5_line_12 |  | 11 | 46 | 0.031012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1507-15_0_5_line_13 |  | 12 | 13 | 0.018788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1507-15_0_5_line_14 |  | 12 | 14 | 0.021084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1507-15_0_5_line_15 |  | 13 | 15 | 0.0066949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1507-15_0_5_line_16 |  | 14 | 16 | 0.033317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1507-15_0_5_line_17 |  | 15 | 17 | 0.011741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1507-15_0_5_line_18 |  | 16 | 18 | 0.045715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1507-15_0_5_line_19 |  | 16 | 19 | 0.023109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1507-15_0_5_line_20 |  | 17 | 20 | 0.016322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1507-15_0_5_line_21 |  | 18 | 21 | 0.021282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1507-15_0_5_line_22 |  | 19 | 22 | 0.024372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1507-15_0_5_line_23 |  | 20 | 23 | 0.0039385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1507-15_0_5_line_24 |  | 22 | 24 | 0.021556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1507-15_0_5_line_25 |  | 23 | 52 | 0.016639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1507-15_0_5_line_26 |  | 24 | 54 | 0.010783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1507-15_0_5_line_27 |  | 25 | 26 | 0.0018064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1507-15_0_5_line_28 |  | 25 | 27 | 0.019628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1507-15_0_5_line_29 |  | 26 | 28 | 0.012263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1507-15_0_5_line_30 |  | 27 | 29 | 0.013174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1507-15_0_5_line_31 |  | 28 | 30 | 0.010756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1507-15_0_5_line_32 |  | 28 | 31 | 0.020577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1507-15_0_5_line_33 |  | 29 | 34 | 0.0064284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1507-15_0_5_line_34 |  | 30 | 35 | 0.020349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1507-15_0_5_line_35 |  | 31 | 36 | 0.0073917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1507-15_0_5_line_36 |  | 32 | 33 | 0.023177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1507-15_0_5_line_37 |  | 33 | 37 | 0.029011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1507-15_0_5_line_38 |  | 33 | 38 | 0.0030393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1507-15_0_5_line_39 |  | 35 | 39 | 0.0068778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1507-15_0_5_line_40 |  | 35 | 37 | 0.0034801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1507-15_0_5_line_41 |  | 36 | 40 | 0.019301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1507-15_0_5_line_42 |  | 38 | 41 | 0.016419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1507-15_0_5_line_43 |  | 40 | 42 | 0.00095647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1507-15_0_5_line_44 |  | 41 | 53 | 0.0095848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_1507-15_0_5_line_45 |  | 42 | 43 | 0.02273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1507-15_0_5_line_46 |  | 43 | 44 | 0.0024906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1507-15_0_5_line_47 |  | 44 | 45 | 0.0017011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1507-15_0_5_line_48 |  | 45 | 51 | 0.020621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1507-15_0_5_line_49 |  | 47 | 48 | 0.016112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1507-15_0_5_line_50 |  | 48 | 49 | 0.0093484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1507-15_0_5_line_51 |  | 49 | 50 | 0.017307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1507-15_0_5_line_52 |  | 50 | 51 | 0.0077083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1507-15_0_5_line_53 |  | 52 | 53 | 0.010003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1507-15_0_5_line_54 |  | 54 | 55 | 0.0012819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1507-15_0_5_trafo_22 | 0.63 MVA 20/0.4 kV | 56 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2666342.9951 | 1204703.2233 | 2666342.9951 | 1204703.2233 | 2666341.6026 | 1204697.7823 | 2666338.1996 | 1204686.3802
1 | 2666342.9951 | 1204703.2233 | 2666354.1696 | 1204700.5791 | 2666354.1696 | 1204700.5791
2 | 2666338.1996 | 1204686.3802 | 2666335.686 | 1204677.9581
3 | 2666366.6106 | 1204707.8662 | 2666354.1696 | 1204700.5791
4 | 2666330.1216 | 1204659.3138 | 2666335.686 | 1204677.9581
5 | 2666366.6106 | 1204707.8662 | 2666373.8137 | 1204712.0821 | 2666381.4135 | 1204716.8269
6 | 2666330.1216 | 1204659.3138 | 2666329.8307 | 1204658.3388 | 2666327.4199 | 1204650.7487
7 | 2666396.8278 | 1204727.0135 | 2666387.5564 | 1204720.6622 | 2666381.4135 | 1204716.8269
8 | 2666322.8467 | 1204636.3504 | 2666327.4199 | 1204650.7487
9 | 2666396.8278 | 1204727.0135 | 2666400.7789 | 1204737.019 | 2666400.5647 | 1204756.2839 | 2666400.6269 | 1204770.5265 | 2666405.1706 | 1204776.4917 | 2666415.6721 | 1204780.989 | 2666421.9207 | 1204784.1493
10 | 2666421.9207 | 1204784.1493 | 2666411.9643 | 1204788.0965 | 2666408.5158 | 1204788.9921 | 2666405.385 | 1204791.4143 | 2666401.864 | 1204792.6759 | 2666387.1398 | 1204793.7018 | 2666368.4693 | 1204793.8722 | 2666346.4212 | 1204792.6599 | 2666327.8614 | 1204791.0862 | 2666327.3836 | 1204791.0809
11 | 2666322.8467 | 1204636.3504 | 2666316.46 | 1204616.2427
12 | 2666296.4632 | 1204789.4682 | 2666307.1261 | 1204790.8558 | 2666327.3836 | 1204791.0809
13 | 2666335.0206 | 1204471.4167 | 2666337.1034 | 1204490.0894
14 | 2666328.1323 | 1204451.695 | 2666331.9252 | 1204458.8525 | 2666334.6109 | 1204467.7433 | 2666335.0206 | 1204471.4167
15 | 2666337.1034 | 1204490.0894 | 2666337.8455 | 1204496.743
16 | 2666328.1323 | 1204451.695 | 2666320.7095 | 1204454.2141 | 2666309.5935 | 1204454.98 | 2666295.264 | 1204453.2755
17 | 2666337.8455 | 1204496.743 | 2666339.147 | 1204508.4112
18 | 2666295.264 | 1204453.2755 | 2666289.8656 | 1204448.8796 | 2666274.434 | 1204427.8846 | 2666270.2163 | 1204424.0355 | 2666264.3483 | 1204420.1347
19 | 2666295.264 | 1204453.2755 | 2666288.8153 | 1204456.4503 | 2666286.3118 | 1204459.9247 | 2666283.8506 | 1204471.3007
20 | 2666339.147 | 1204508.4112 | 2666339.5438 | 1204511.9692 | 2666339.6001 | 1204524.7109 | 2666339.6001 | 1204524.7109
21 | 2666264.3483 | 1204420.1347 | 2666252.9586 | 1204416.0838 | 2666245.801 | 1204410.315
22 | 2666283.8506 | 1204471.3007 | 2666282.6069 | 1204477.0495 | 2666279.695 | 1204495.3087
23 | 2666338.5897 | 1204528.5175 | 2666339.6001 | 1204524.7109
24 | 2666279.695 | 1204495.3087 | 2666278.453 | 1204503.0969 | 2666276.4586 | 1204508.6782 | 2666273.2537 | 1204515.7266
25 | 2666338.5897 | 1204528.5175 | 2666336.3605 | 1204536.9156 | 2666334.0354 | 1204544.5182
26 | 2666267.6784 | 1204524.5237 | 2666267.6784 | 1204524.5237 | 2666269.799 | 1204523.3243 | 2666273.2537 | 1204515.7266
27 | 2666280.7853 | 1204626.634 | 2666282.1208 | 1204627.8503
28 | 2666266.2733 | 1204613.4174 | 2666280.7853 | 1204626.634
29 | 2666291.1875 | 1204636.1075 | 2666282.1208 | 1204627.8503
30 | 2666266.2733 | 1204613.4174 | 2666258.0317 | 1204614.3266 | 2666253.1594 | 1204614.6394
31 | 2666291.1875 | 1204636.1075 | 2666298.3136 | 1204628.0511
32 | 2666291.1875 | 1204636.1075 | 2666277.5564 | 1204651.5219
33 | 2666248.7483 | 1204619.3155 | 2666253.1594 | 1204614.6394
34 | 2666310.9522 | 1204612.1235 | 2666303.1754 | 1204622.5546 | 2666298.3136 | 1204628.0511
35 | 2666272.6598 | 1204657.0591 | 2666277.5564 | 1204651.5219
36 | 2666322.6162 | 1204581.8569 | 2666299.6448 | 1204584.9371
37 | 2666322.6162 | 1204581.8569 | 2666319.1663 | 1204593.1365 | 2666316.0817 | 1204600.9848 | 2666312.4079 | 1204608.9625
38 | 2666322.6162 | 1204581.8569 | 2666323.5051 | 1204578.9505
39 | 2666310.9522 | 1204612.1235 | 2666316.46 | 1204616.2427
40 | 2666310.9522 | 1204612.1235 | 2666312.4079 | 1204608.9625
41 | 2666272.6598 | 1204657.0591 | 2666270.9559 | 1204658.9858 | 2666259.6741 | 1204671.3379
42 | 2666328.3068 | 1204563.2498 | 2666323.5051 | 1204578.9505
43 | 2666259.6741 | 1204671.3379 | 2666259.0291 | 1204672.0441
44 | 2666328.3068 | 1204563.2498 | 2666331.1099 | 1204554.084
45 | 2666259.0291 | 1204672.0441 | 2666243.7004 | 1204688.827
46 | 2666242.0207 | 1204690.666 | 2666243.7004 | 1204688.827
47 | 2666242.0207 | 1204690.666 | 2666240.8735 | 1204691.9221
48 | 2666240.8735 | 1204691.9221 | 2666226.9667 | 1204707.1482
49 | 2666205.8641 | 1204734.2499 | 2666199.3983 | 1204742.7431 | 2666196.5087 | 1204747.3489
50 | 2666205.8641 | 1204734.2499 | 2666211.5267 | 1204726.8117
51 | 2666211.5267 | 1204726.8117 | 2666222.0098 | 1204713.0414
52 | 2666222.0098 | 1204713.0414 | 2666224.1408 | 1204710.2421 | 2666226.9667 | 1204707.1482
53 | 2666331.1099 | 1204554.084 | 2666334.0354 | 1204544.5182
54 | 2666266.4141 | 1204524.3115 | 2666267.6784 | 1204524.5237

## bus_geodata
| x | y | coords
0 | 2666342.9951 | 1204703.2233
1 | 2666338.1996 | 1204686.3802
2 | 2666354.1696 | 1204700.5791
3 | 2666335.686 | 1204677.9581
4 | 2666366.6106 | 1204707.8662
5 | 2666330.1216 | 1204659.3138
6 | 2666381.4135 | 1204716.8269
7 | 2666327.4199 | 1204650.7487
8 | 2666396.8278 | 1204727.0135
9 | 2666421.9207 | 1204784.1493
10 | 2666322.8467 | 1204636.3504
11 | 2666327.3836 | 1204791.0809
12 | 2666335.0206 | 1204471.4167
13 | 2666337.1034 | 1204490.0894
14 | 2666328.1323 | 1204451.695
15 | 2666337.8455 | 1204496.743
16 | 2666295.264 | 1204453.2755
17 | 2666339.147 | 1204508.4112
18 | 2666264.3483 | 1204420.1347
19 | 2666283.8506 | 1204471.3007
20 | 2666339.6001 | 1204524.7109
21 | 2666245.801 | 1204410.315
22 | 2666279.695 | 1204495.3087
23 | 2666338.5897 | 1204528.5175
24 | 2666273.2537 | 1204515.7266
25 | 2666280.7853 | 1204626.634
26 | 2666282.1208 | 1204627.8503
27 | 2666266.2733 | 1204613.4174
28 | 2666291.1875 | 1204636.1075
29 | 2666253.1594 | 1204614.6394
30 | 2666298.3136 | 1204628.0511
31 | 2666277.5564 | 1204651.5219
32 | 2666299.6448 | 1204584.9371
33 | 2666322.6162 | 1204581.8569
34 | 2666248.7483 | 1204619.3155
35 | 2666310.9522 | 1204612.1235
36 | 2666272.6598 | 1204657.0591
37 | 2666312.4079 | 1204608.9625
38 | 2666323.5051 | 1204578.9505
39 | 2666316.46 | 1204616.2427
40 | 2666259.6741 | 1204671.3379
41 | 2666328.3068 | 1204563.2498
42 | 2666259.0291 | 1204672.0441
43 | 2666243.7004 | 1204688.827
44 | 2666242.0207 | 1204690.666
45 | 2666240.8735 | 1204691.9221
46 | 2666296.4632 | 1204789.4682
47 | 2666196.5087 | 1204747.3489
48 | 2666205.8641 | 1204734.2499
49 | 2666211.5267 | 1204726.8117
50 | 2666222.0098 | 1204713.0414
51 | 2666226.9667 | 1204707.1482
52 | 2666334.0354 | 1204544.5182
53 | 2666331.1099 | 1204554.084
54 | 2666267.6784 | 1204524.5237
55 | 2666266.4141 | 1204524.3115
56 | 2666291.1875 | 1204636.1075

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98824 | -0.22528 | 0.0126 | 0.0031579
1 | 0.98977 | -0.1958 | 0.0088088 | 0.0022077
2 | 0.98737 | -0.24206 | 0.014716 | 0.0036881
3 | 0.9906 | -0.17967 | 0.014774 | 0.0037028
4 | 0.98648 | -0.25938 | 0 | 0
5 | 0.99272 | -0.13896 | 0.0093199 | 0.0023358
6 | 0.9854 | -0.28021 | 0.025695 | 0.0064397
7 | 0.99377 | -0.11876 | 0.0089649 | 0.0022468
8 | 0.98469 | -0.29397 | 0 | 0
9 | 0.982 | -0.34635 | 0 | 0
10 | 0.99567 | -0.082483 | 0.020838 | 0.0052225
11 | 0.97829 | -0.41895 | 0.020524 | 0.0051438
12 | 0.98609 | -0.26696 | 0.0019624 | 0.00049182
13 | 0.98729 | -0.24363 | 0.0048322 | 0.0012111
14 | 0.98477 | -0.29246 | 0 | 0
15 | 0.98775 | -0.23475 | 0.008894 | 0.0022291
16 | 0.98269 | -0.3329 | 0 | 0
17 | 0.98866 | -0.21734 | 0.0055451 | 0.0013897
18 | 0.98241 | -0.33855 | 0 | 0
19 | 0.9814 | -0.35818 | 0.0087563 | 0.0021945
20 | 0.98999 | -0.19158 | 0.028074 | 0.0070359
21 | 0.98227 | -0.34119 | 0.0068507 | 0.0017169
22 | 0.98023 | -0.38104 | 0.0061292 | 0.0015361
23 | 0.99042 | -0.18341 | 0.0088578 | 0.00222
24 | 0.97932 | -0.39891 | 0.013549 | 0.0033956
25 | 0.99809 | -0.036542 | 0.013511 | 0.0033862
26 | 0.9982 | -0.034571 | 0.010354 | 0.002595
27 | 0.99722 | -0.053332 | 0 | 0
28 | 0.99901 | -0.018986 | 0 | 0
29 | 0.99664 | -0.064617 | 0.029695 | 0.0074422
30 | 1 | 0 | -0.60375 | -0.15295
31 | 0.99657 | -0.065685 | 0.016783 | 0.0042063
32 | 0.99529 | -0.089772 | 0.0032292 | 0.00080931
33 | 0.99536 | -0.088455 | 0.012317 | 0.003087
34 | 0.99652 | -0.066777 | 0.019152 | 0.0047998
35 | 0.99754 | -0.046753 | 0 | 0
36 | 0.99581 | -0.080335 | 0.010899 | 0.0027316
37 | 0.9973 | -0.051417 | 0.011342 | 0.0028426
38 | 0.99517 | -0.092066 | 0.025643 | 0.0064268
39 | 0.99719 | -0.053382 | 0.0078568 | 0.0019691
40 | 0.99401 | -0.11498 | 0.011344 | 0.0028431
41 | 0.99428 | -0.10912 | 0.015475 | 0.0038785
42 | 0.99393 | -0.11651 | 0.015728 | 0.0039418
43 | 0.99238 | -0.14659 | 0.014118 | 0.0035382
44 | 0.99224 | -0.14927 | 0.025701 | 0.0064412
45 | 0.99218 | -0.15032 | 0.0047019 | 0.0011784
46 | 0.97769 | -0.43076 | 0.020902 | 0.0052385
47 | 0.99111 | -0.17124 | 0.0052191 | 0.001308
48 | 0.99118 | -0.16975 | 0.0039133 | 0.00098076
49 | 0.99126 | -0.16823 | 0.0049223 | 0.0012336
50 | 0.99148 | -0.16392 | 0.004294 | 0.0010762
51 | 0.99161 | -0.16141 | 0.012008 | 0.0030094
52 | 0.99234 | -0.14636 | 0.0078324 | 0.001963
53 | 0.99357 | -0.12278 | 0.028072 | 0.0070356
54 | 0.979 | -0.4052 | 0.015317 | 0.0038388
55 | 0.97898 | -0.40559 | 0.016783 | 0.0042062
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.094914 | -0.02397 | 0.095048 | 0.024056 | 0.00013428 | 8.5711e-05 | 0.14298 | 0.14298 | 0.14298 | 0.98824 | -0.22528 | 0.98977 | -0.1958 | 39.2799
1 | 0.082313 | 0.020812 | -0.082247 | -0.02077 | 6.6218e-05 | 4.2232e-05 | 0.12401 | 0.12401 | 0.12401 | 0.98824 | -0.22528 | 0.98737 | -0.24206 | 34.0676
2 | -0.10386 | -0.026264 | 0.10394 | 0.026315 | 8.0438e-05 | 5.1367e-05 | 0.15622 | 0.15622 | 0.15622 | 0.98977 | -0.1958 | 0.9906 | -0.17967 | 42.9181
3 | 0.067531 | 0.017082 | -0.067475 | -0.017046 | 5.6063e-05 | 3.5696e-05 | 0.10183 | 0.10183 | 0.10183 | 0.98737 | -0.24206 | 0.98648 | -0.25938 | 27.975
4 | -0.11871 | -0.030018 | 0.11894 | 0.030166 | 0.00023226 | 0.00014839 | 0.17841 | 0.17841 | 0.17841 | 0.9906 | -0.17967 | 0.99272 | -0.13896 | 49.015
5 | 0.067475 | 0.017046 | -0.067408 | -0.017003 | 6.7291e-05 | 4.2846e-05 | 0.10183 | 0.10183 | 0.10183 | 0.98648 | -0.25938 | 0.9854 | -0.28021 | 27.975
6 | -0.12826 | -0.032502 | 0.12839 | 0.032582 | 0.00012465 | 7.9662e-05 | 0.19238 | 0.19238 | 0.19238 | 0.99272 | -0.13896 | 0.99377 | -0.11876 | 52.8528
7 | 0.041713 | 0.010564 | -0.041686 | -0.010546 | 2.753e-05 | 1.7384e-05 | 0.063029 | 0.063029 | 0.063029 | 0.9854 | -0.28021 | 0.98469 | -0.29397 | 17.3156
8 | -0.13735 | -0.034828 | 0.13759 | 0.034982 | 0.00023996 | 0.00015338 | 0.20581 | 0.20581 | 0.20581 | 0.99377 | -0.11876 | 0.99567 | -0.082483 | 56.5405
9 | 0.041686 | 0.010546 | -0.041581 | -0.01048 | 0.0001045 | 6.5988e-05 | 0.063029 | 0.063029 | 0.063029 | 0.98469 | -0.29397 | 0.982 | -0.34635 | 17.3157
10 | 0.041581 | 0.01048 | -0.041437 | -0.010389 | 0.00014389 | 9.0875e-05 | 0.063029 | 0.06303 | 0.06303 | 0.982 | -0.34635 | 0.97829 | -0.41895 | 17.3158
11 | -0.15843 | -0.040204 | 0.15865 | 0.040346 | 0.0002221 | 0.00014159 | 0.23695 | 0.23695 | 0.23695 | 0.99567 | -0.082483 | 0.99719 | -0.053382 | 32.548
12 | 0.020914 | 0.0052456 | -0.020902 | -0.0052385 | 1.1769e-05 | 7.143e-06 | 0.031812 | 0.031812 | 0.031812 | 0.97829 | -0.41895 | 0.97769 | -0.43076 | 8.7396
13 | -0.069742 | -0.01763 | 0.06982 | 0.01768 | 7.8117e-05 | 4.9755e-05 | 0.1053 | 0.1053 | 0.1053 | 0.98609 | -0.26696 | 0.98729 | -0.24363 | 28.9274
14 | 0.06778 | 0.017138 | -0.067697 | -0.017086 | 8.28e-05 | 5.2723e-05 | 0.10233 | 0.10233 | 0.10233 | 0.98609 | -0.26696 | 0.98477 | -0.29246 | 28.1139
15 | -0.074652 | -0.018891 | 0.074684 | 0.018911 | 3.1819e-05 | 2.0279e-05 | 0.11258 | 0.11258 | 0.11258 | 0.98729 | -0.24363 | 0.98775 | -0.23475 | 30.9282
16 | 0.067697 | 0.017086 | -0.067566 | -0.017002 | 0.00013084 | 8.3315e-05 | 0.10233 | 0.10233 | 0.10233 | 0.98477 | -0.29246 | 0.98269 | -0.3329 | 28.1139
17 | -0.083578 | -0.02114 | 0.083648 | 0.021185 | 6.9872e-05 | 4.4568e-05 | 0.12598 | 0.12598 | 0.12598 | 0.98775 | -0.23475 | 0.98866 | -0.21734 | 34.6091
18 | 0.0068534 | 0.0017178 | -0.0068515 | -0.0017172 | 1.8463e-06 | 6.0261e-07 | 0.010378 | 0.010378 | 0.010378 | 0.98269 | -0.3329 | 0.98241 | -0.33855 | 2.8511
19 | 0.060713 | 0.015285 | -0.060639 | -0.015238 | 7.3281e-05 | 4.6607e-05 | 0.091957 | 0.091957 | 0.091957 | 0.98269 | -0.3329 | 0.9814 | -0.35818 | 25.2629
20 | -0.089193 | -0.022575 | 0.089304 | 0.022645 | 0.00011043 | 7.0468e-05 | 0.13432 | 0.13432 | 0.13432 | 0.98866 | -0.21734 | 0.98999 | -0.19158 | 36.9019
21 | 0.0068515 | 0.0017172 | -0.0068507 | -0.0017169 | 8.5951e-07 | 2.8066e-07 | 0.010378 | 0.010378 | 0.010378 | 0.98241 | -0.33855 | 0.98227 | -0.34119 | 2.8511
22 | 0.051883 | 0.013043 | -0.051827 | -0.013008 | 5.6579e-05 | 3.5903e-05 | 0.078681 | 0.078681 | 0.078681 | 0.9814 | -0.35818 | 0.98023 | -0.38104 | 21.6156
23 | -0.11738 | -0.029681 | 0.11742 | 0.029711 | 4.602e-05 | 2.9402e-05 | 0.17652 | 0.17652 | 0.17652 | 0.98999 | -0.19158 | 0.99042 | -0.18341 | 48.4943
24 | 0.045697 | 0.011471 | -0.045658 | -0.011447 | 3.8907e-05 | 2.4629e-05 | 0.069376 | 0.069377 | 0.069377 | 0.98023 | -0.38104 | 0.97932 | -0.39891 | 19.0595
25 | -0.12628 | -0.031931 | 0.12651 | 0.032074 | 0.00022484 | 0.00014368 | 0.18983 | 0.18983 | 0.18983 | 0.99042 | -0.18341 | 0.99234 | -0.14636 | 52.1503
26 | 0.03211 | 0.0080512 | -0.0321 | -0.0080452 | 9.6255e-06 | 6.0247e-06 | 0.04879 | 0.04879 | 0.04879 | 0.97932 | -0.39891 | 0.979 | -0.4052 | 13.404
27 | -0.062425 | -0.015671 | 0.062431 | 0.015675 | 5.8684e-06 | 3.7321e-06 | 0.093076 | 0.093076 | 0.093076 | 0.99809 | -0.036542 | 0.9982 | -0.034571 | 25.5703
28 | 0.048914 | 0.012285 | -0.048875 | -0.01226 | 3.9153e-05 | 2.4801e-05 | 0.072933 | 0.072933 | 0.072933 | 0.99809 | -0.036542 | 0.99722 | -0.053332 | 20.0365
29 | -0.072785 | -0.01827 | 0.072839 | 0.018304 | 5.4148e-05 | 3.4494e-05 | 0.10851 | 0.10851 | 0.10851 | 0.9982 | -0.034571 | 0.99901 | -0.018986 | 29.8107
30 | 0.048875 | 0.01226 | -0.048848 | -0.012243 | 2.6278e-05 | 1.6646e-05 | 0.072933 | 0.072933 | 0.072933 | 0.99722 | -0.053332 | 0.99664 | -0.064617 | 20.0365
31 | -0.20316 | -0.051229 | 0.20334 | 0.051347 | 0.0001848 | 0.00011799 | 0.30271 | 0.30271 | 0.30271 | 0.99901 | -0.018986 | 1 | 0 | 41.5809
32 | 0.13032 | 0.032925 | -0.13002 | -0.032739 | 0.00029101 | 0.00018597 | 0.1942 | 0.1942 | 0.1942 | 0.99901 | -0.018986 | 0.99657 | -0.065685 | 53.3512
33 | 0.019154 | 0.004801 | -0.019152 | -0.0047998 | 1.9714e-06 | 1.178e-06 | 0.028597 | 0.028597 | 0.028597 | 0.99664 | -0.064617 | 0.99652 | -0.066777 | 7.8564
34 | 0.39876 | 0.1016 | -0.39786 | -0.10103 | 0.00089735 | 0.0005735 | 0.59395 | 0.59395 | 0.59395 | 1 | 0 | 0.99754 | -0.046753 | 54.3912
35 | 0.11324 | 0.028533 | -0.11316 | -0.028482 | 7.9297e-05 | 5.0654e-05 | 0.16914 | 0.16914 | 0.16914 | 0.99657 | -0.065685 | 0.99581 | -0.080335 | 46.4666
36 | -0.0032292 | -0.00080931 | 0.0032294 | 0.00080914 | 2.0257e-07 | -1.7159e-07 | 0.0048278 | 0.0048277 | 0.0048278 | 0.99529 | -0.089772 | 0.99536 | -0.088455 | 1.3263
37 | -0.21952 | -0.055555 | 0.21991 | 0.055804 | 0.00039099 | 0.0002491 | 0.32836 | 0.32836 | 0.32836 | 0.99536 | -0.088455 | 0.9973 | -0.051417 | 30.0693
38 | 0.20397 | 0.051659 | -0.20393 | -0.051636 | 3.5368e-05 | 2.2517e-05 | 0.30512 | 0.30512 | 0.30512 | 0.99536 | -0.088455 | 0.99517 | -0.092066 | 27.941
39 | 0.16656 | 0.042349 | -0.16651 | -0.042315 | 5.3164e-05 | 3.3756e-05 | 0.24867 | 0.24867 | 0.24867 | 0.99754 | -0.046753 | 0.99719 | -0.053382 | 22.7722
40 | 0.2313 | 0.05868 | -0.23125 | -0.058647 | 5.1861e-05 | 3.3055e-05 | 0.34528 | 0.34528 | 0.34528 | 0.99754 | -0.046753 | 0.9973 | -0.051417 | 31.619
41 | 0.10226 | 0.025751 | -0.10209 | -0.025643 | 0.0001691 | 0.00010798 | 0.15285 | 0.15285 | 0.15285 | 0.99581 | -0.080335 | 0.99401 | -0.11498 | 41.9924
42 | 0.17829 | 0.04521 | -0.17815 | -0.045117 | 0.00014606 | 9.2838e-05 | 0.26677 | 0.26677 | 0.26677 | 0.99517 | -0.092066 | 0.99428 | -0.10912 | 24.4298
43 | 0.09075 | 0.0228 | -0.090743 | -0.022795 | 6.6215e-06 | 4.2253e-06 | 0.13587 | 0.13587 | 0.13587 | 0.99401 | -0.11498 | 0.99393 | -0.11651 | 37.327
44 | 0.16267 | 0.041238 | -0.16256 | -0.04117 | 0.00010666 | 6.8012e-05 | 0.24361 | 0.24361 | 0.24361 | 0.99428 | -0.10912 | 0.99357 | -0.12278 | 33.4634
45 | 0.075015 | 0.018854 | -0.074908 | -0.018785 | 0.00010754 | 6.8532e-05 | 0.11232 | 0.11232 | 0.11232 | 0.99393 | -0.11651 | 0.99238 | -0.14659 | 30.8584
46 | 0.06079 | 0.015247 | -0.060783 | -0.015242 | 7.7607e-06 | 4.9347e-06 | 0.091156 | 0.091156 | 0.091156 | 0.99238 | -0.14659 | 0.99224 | -0.14927 | 25.0428
47 | 0.035082 | 0.0088007 | -0.03508 | -0.0087996 | 1.7659e-06 | 1.1082e-06 | 0.052614 | 0.052614 | 0.052614 | 0.99224 | -0.14927 | 0.99218 | -0.15032 | 14.4543
48 | 0.030378 | 0.0076212 | -0.030362 | -0.0076112 | 1.6053e-05 | 1.0008e-05 | 0.045562 | 0.045562 | 0.045562 | 0.99218 | -0.15032 | 0.99161 | -0.16141 | 12.5171
49 | -0.0052191 | -0.001308 | 0.0052194 | 0.0013081 | 3.7096e-07 | 2.9769e-08 | 0.0078357 | 0.0078357 | 0.0078357 | 0.99111 | -0.17124 | 0.99118 | -0.16975 | 2.1527
50 | -0.0091327 | -0.0022888 | 0.0091334 | 0.0022891 | 6.5898e-07 | 3.0125e-07 | 0.01371 | 0.01371 | 0.01371 | 0.99118 | -0.16975 | 0.99126 | -0.16823 | 3.7666
51 | -0.014056 | -0.0035228 | 0.014059 | 0.0035244 | 2.8892e-06 | 1.626e-06 | 0.021099 | 0.021099 | 0.021099 | 0.99126 | -0.16823 | 0.99148 | -0.16392 | 5.7966
52 | -0.018353 | -0.0046005 | 0.018355 | 0.0046019 | 2.193e-06 | 1.3041e-06 | 0.027544 | 0.027544 | 0.027544 | 0.99148 | -0.16392 | 0.99161 | -0.16141 | 7.567
53 | -0.13434 | -0.034037 | 0.13449 | 0.034135 | 0.00015242 | 9.7416e-05 | 0.20157 | 0.20157 | 0.20157 | 0.99234 | -0.14636 | 0.99357 | -0.12278 | 55.3768
54 | 0.016783 | 0.0042064 | -0.016783 | -0.0042062 | 3.1282e-07 | 1.8409e-07 | 0.02551 | 0.02551 | 0.02551 | 0.979 | -0.4052 | 0.97898 | -0.40559 | 7.0081

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61784 | 0.15648

## res_load
| p_mw | q_mvar
0 | 0.0126 | 0.0031579
1 | 0.0088088 | 0.0022077
2 | 0.014716 | 0.0036881
3 | 0.014774 | 0.0037028
4 | 0.0093199 | 0.0023358
5 | 0.025695 | 0.0064397
6 | 0.0089649 | 0.0022468
7 | 0.020838 | 0.0052225
8 | 0.020524 | 0.0051438
9 | 0.0019624 | 0.00049182
10 | 0.0048322 | 0.0012111
11 | 0.008894 | 0.0022291
12 | 0.0055451 | 0.0013897
13 | 0.0087563 | 0.0021945
14 | 0.028074 | 0.0070359
15 | 0.0068507 | 0.0017169
16 | 0.0061292 | 0.0015361
17 | 0.0088578 | 0.00222
18 | 0.013549 | 0.0033956
19 | 0.013511 | 0.0033862
20 | 0.010354 | 0.002595
21 | 0.029695 | 0.0074422
22 | 0.014084 | 0.0035297
23 | 0.016783 | 0.0042063
24 | 0.0032292 | 0.00080931
25 | 0.012317 | 0.003087
26 | 0.019152 | 0.0047998
27 | 0.010899 | 0.0027316
28 | 0.011342 | 0.0028426
29 | 0.025643 | 0.0064268
30 | 0.0078568 | 0.0019691
31 | 0.011344 | 0.0028431
32 | 0.015475 | 0.0038785
33 | 0.015728 | 0.0039418
34 | 0.014118 | 0.0035382
35 | 0.025701 | 0.0064412
36 | 0.0047019 | 0.0011784
37 | 0.020902 | 0.0052385
38 | 0.0052191 | 0.001308
39 | 0.0039133 | 0.00098076
40 | 0.0049223 | 0.0012336
41 | 0.004294 | 0.0010762
42 | 0.012008 | 0.0030094
43 | 0.0078324 | 0.001963
44 | 0.028072 | 0.0070356
45 | 0.015317 | 0.0038388
46 | 0.016783 | 0.0042062

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1