## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1507-21_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1507-21_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1507-21_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1507-21_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1507-21_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1507-21_0_5_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_1507-21_0_5_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_1507-21_0_5_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_1507-21_0_5_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_1507-21_0_5_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_1507-21_0_5_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_1507-21_0_5_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_1507-21_0_5_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_1507-21_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1507-21_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1507-21_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1507-21_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1507-21_0_5_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_1507-21_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1507-21_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1507-21_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1507-21_0_5_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_1507-21_0_5_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_1507-21_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1507-21_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1507-21_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1507-21_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1507-21_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1507-21_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1507-21_0_5_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1507-21_0_5_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1507-21_0_5_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1507-21_0_5_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_1507-21_0_5_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1507-21_0_5_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1507-21_0_5_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_1507-21_0_5_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_1507-21_0_5_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1507-21_0_5_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1507-21_0_5_node_39 | 0.4 | n |  | TRUE
40 | bus_MV_23_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1507-21_0_5_load_0 | 0 | 0.033966 | 0.0085128 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1507-21_0_5_load_1 | 1 | 0.031771 | 0.0079624 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1507-21_0_5_load_4 | 4 | 0.024984 | 0.0062616 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1507-21_0_5_load_22 | 6 | 0.017858 | 0.0044756 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1507-21_0_5_load_27 | 7 | 0.02444 | 0.0061252 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1507-21_0_5_load_21 | 9 | 0.013974 | 0.0035023 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1507-21_0_5_load_19 | 11 | 0.02397 | 0.0060075 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1507-21_0_5_load_5 | 12 | 0.010282 | 0.0025769 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1507-21_0_5_load_6 | 13 | 0.023517 | 0.0058939 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1507-21_0_5_load_7 | 14 | 0.007835 | 0.0019636 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1507-21_0_5_load_8 | 15 | 0.01629 | 0.0040826 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1507-21_0_5_load_9 | 16 | 0.010902 | 0.0027323 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1507-21_0_5_load_36 | 17 | 0.021179 | 0.0053079 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1507-21_0_5_load_10 | 18 | 0.014475 | 0.0036279 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1507-21_0_5_load_37 | 22 | 0.053732 | 0.013466 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1507-21_0_5_load_13 | 23 | 0.0052444 | 0.0013144 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1507-21_0_5_load_15 | 24 | 0.014527 | 0.0036408 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1507-21_0_5_load_16 | 25 | 0.0071836 | 0.0018004 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1507-21_0_5_load_18 | 27 | 0.02717 | 0.0068095 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1507-21_0_5_load_20 | 28 | 0.0041835 | 0.0010485 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1507-21_0_5_load_28 | 29 | 0.0040731 | 0.0010208 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1507-21_0_5_load_29 | 30 | 0.053732 | 0.013466 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1507-21_0_5_load_25 | 31 | 0.0030974 | 0.00077629 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1507-21_0_5_load_40 | 32 | 0.016485 | 0.0041315 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1507-21_0_5_load_30 | 33 | 0.046787 | 0.011726 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1507-21_0_5_load_32 | 34 | 0.01183 | 0.0029649 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1507-21_0_5_load_33 | 35 | 0.046792 | 0.011727 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1507-21_0_5_load_35 | 37 | 0.0050629 | 0.0012689 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1507-21_0_5_load_38 | 38 | 0.0040325 | 0.0010106 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1507-21_0_5_load_39 | 39 | 0.013197 | 0.0033074 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1507-21_0_5_line_0 |  | 0 | 1 | 0.034243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1507-21_0_5_line_1 |  | 0 | 2 | 0.0054331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1507-21_0_5_line_2 |  | 1 | 3 | 0.018775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1507-21_0_5_line_3 |  | 2 | 4 | 0.012537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1507-21_0_5_line_4 |  | 3 | 5 | 0.019817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1507-21_0_5_line_5 |  | 3 | 6 | 0.048475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1507-21_0_5_line_6 |  | 4 | 7 | 0.02148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1507-21_0_5_line_7 |  | 5 | 8 | 0.066442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1507-21_0_5_line_8 |  | 5 | 9 | 0.017458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1507-21_0_5_line_9 |  | 6 | 10 | 0.010546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1507-21_0_5_line_10 |  | 7 | 11 | 0.034703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1507-21_0_5_line_11 |  | 8 | 32 | 0.010859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1507-21_0_5_line_12 |  | 9 | 16 | 0.0026672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1507-21_0_5_line_13 |  | 10 | 31 | 0.01302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1507-21_0_5_line_14 |  | 11 | 26 | 0.062559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1507-21_0_5_line_15 |  | 12 | 13 | 0.029248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1507-21_0_5_line_16 |  | 12 | 14 | 0.0022577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1507-21_0_5_line_17 |  | 13 | 15 | 0.015329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1507-21_0_5_line_18 |  | 14 | 16 | 0.025335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1507-21_0_5_line_19 |  | 15 | 17 | 0.011714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1507-21_0_5_line_20 |  | 18 | 19 | 0.044903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1507-21_0_5_line_21 |  | 19 | 20 | 0.049948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1507-21_0_5_line_22 |  | 19 | 21 | 0.13001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1507-21_0_5_line_23 |  | 20 | 23 | 0.013166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1507-21_0_5_line_24 |  | 21 | 22 | 0.0026081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1507-21_0_5_line_25 |  | 22 | 31 | 0.017987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1507-21_0_5_line_26 |  | 24 | 25 | 0.016765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1507-21_0_5_line_27 |  | 24 | 26 | 0.024308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1507-21_0_5_line_28 |  | 25 | 27 | 0.013813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1507-21_0_5_line_29 |  | 26 | 28 | 0.05918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1507-21_0_5_line_30 |  | 27 | 29 | 0.023549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1507-21_0_5_line_31 |  | 29 | 30 | 0.0064143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1507-21_0_5_line_32 |  | 30 | 33 | 0.0011422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_1507-21_0_5_line_33 |  | 33 | 34 | 0.026304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1507-21_0_5_line_34 |  | 34 | 35 | 0.0052362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1507-21_0_5_line_35 |  | 35 | 36 | 0.020366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1507-21_0_5_line_36 |  | 36 | 37 | 0.028431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1507-21_0_5_line_37 |  | 37 | 38 | 0.02293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1507-21_0_5_line_38 |  | 38 | 39 | 0.027459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1507-21_0_5_trafo_22 | 0.63 MVA 20/0.4 kV | 40 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2666146.9249 | 1205019.7552 | 2666157.7255 | 1205034.4246 | 2666169.0978 | 1205045.7173
1 | 2666143.7036 | 1205015.3801 | 2666146.9249 | 1205019.7552
2 | 2666182.4202 | 1205058.9464 | 2666169.0978 | 1205045.7173
3 | 2666143.7036 | 1205015.3801 | 2666137.7759 | 1205004.3324
4 | 2666165.1947 | 1205068.8282 | 2666182.4202 | 1205058.9464
5 | 2666182.4202 | 1205058.9464 | 2666224.4605 | 1205034.8131
6 | 2666130.177 | 1204984.4796 | 2666132.0616 | 1204993.6825 | 2666137.7759 | 1205004.3324
7 | 2666165.1947 | 1205068.8282 | 2666144.6906 | 1205080.775 | 2666118.0125 | 1205096.5893 | 2666106.7736 | 1205100.3227
8 | 2666165.1947 | 1205068.8282 | 2666167.1127 | 1205072.1737 | 2666172.1645 | 1205081.0239 | 2666174.029 | 1205083.8803
9 | 2666233.6071 | 1205029.5626 | 2666224.4605 | 1205034.8131
10 | 2666130.177 | 1204984.4796 | 2666126.3819 | 1204965.9473 | 2666126.7223 | 1204950.1647
11 | 2666106.7736 | 1205100.3227 | 2666103.4668 | 1205103.5547 | 2666099.014 | 1205107.9192
12 | 2666175.4868 | 1205086.1139 | 2666174.029 | 1205083.8803
13 | 2666233.6071 | 1205029.5626 | 2666244.867 | 1205023.0259
14 | 2666135.3502 | 1204888.3996 | 2666129.9383 | 1204912.0318 | 2666127.0389 | 1204935.4805 | 2666126.7223 | 1204950.1647
15 | 2666189.7993 | 1205109.6922 | 2666201.0522 | 1205125.2819 | 2666206.9885 | 1205133.3555
16 | 2666189.7993 | 1205109.6922 | 2666189.7993 | 1205109.6922 | 2666188.6735 | 1205107.7353
17 | 2666215.7843 | 1205145.8999 | 2666213.11 | 1205141.681 | 2666206.9885 | 1205133.3555
18 | 2666175.4868 | 1205086.1139 | 2666181.7913 | 1205095.7728 | 2666188.6735 | 1205107.7353
19 | 2666215.7843 | 1205145.8999 | 2666221.9393 | 1205155.6095 | 2666222.0394 | 1205155.8033
20 | 2666382.1882 | 1205063.877 | 2666380.8649 | 1205076.1587 | 2666398.1514 | 1205087.491 | 2666392.6228 | 1205098.0067
21 | 2666382.1882 | 1205063.877 | 2666392.0258 | 1205067.8332 | 2666402.8691 | 1205073.0124 | 2666408.4923 | 1205074.2423 | 2666416.8983 | 1205072.1679 | 2666418.9501 | 1205083.2974 | 2666419.2369 | 1205084.8682
22 | 2666262.6786 | 1205012.6858 | 2666382.1882 | 1205063.877
23 | 2666419.2369 | 1205084.8682 | 2666417.0538 | 1205097.8518
24 | 2666262.6786 | 1205012.6858 | 2666260.4231 | 1205013.9953
25 | 2666244.867 | 1205023.0259 | 2666260.4231 | 1205013.9953
26 | 2666169.7418 | 1204910.8532 | 2666155.7042 | 1204901.6883
27 | 2666135.3502 | 1204888.3996 | 2666155.7042 | 1204901.6883
28 | 2666181.308 | 1204918.4045 | 2666181.308 | 1204918.4045 | 2666169.7418 | 1204910.8532
29 | 2666135.3502 | 1204888.3996 | 2666143.8741 | 1204857.8533 | 2666146.25 | 1204850.086 | 2666151.213 | 1204831.3889
30 | 2666181.308 | 1204918.4045 | 2666189.4966 | 1204916.0605 | 2666204.5089 | 1204915.3093
31 | 2666210.9152 | 1204914.9888 | 2666204.5089 | 1204915.3093
32 | 2666210.9152 | 1204914.9888 | 2666212.056 | 1204914.9317
33 | 2666238.3077 | 1204913.3207 | 2666229.5102 | 1204914.0583 | 2666212.056 | 1204914.9317
34 | 2666238.3077 | 1204913.3207 | 2666243.5257 | 1204912.8832
35 | 2666263.8205 | 1204911.1815 | 2666243.5257 | 1204912.8832
36 | 2666263.8205 | 1204911.1815 | 2666269.5682 | 1204883.3376
37 | 2666269.5682 | 1204883.3376 | 2666274.2039 | 1204860.8809
38 | 2666279.755 | 1204833.9893 | 2666274.2039 | 1204860.8809

## bus_geodata
| x | y | coords
0 | 2666146.9249 | 1205019.7552
1 | 2666169.0978 | 1205045.7173
2 | 2666143.7036 | 1205015.3801
3 | 2666182.4202 | 1205058.9464
4 | 2666137.7759 | 1205004.3324
5 | 2666165.1947 | 1205068.8282
6 | 2666224.4605 | 1205034.8131
7 | 2666130.177 | 1204984.4796
8 | 2666106.7736 | 1205100.3227
9 | 2666174.029 | 1205083.8803
10 | 2666233.6071 | 1205029.5626
11 | 2666126.7223 | 1204950.1647
12 | 2666189.7993 | 1205109.6922
13 | 2666206.9885 | 1205133.3555
14 | 2666188.6735 | 1205107.7353
15 | 2666215.7843 | 1205145.8999
16 | 2666175.4868 | 1205086.1139
17 | 2666222.0394 | 1205155.8033
18 | 2666392.6228 | 1205098.0067
19 | 2666382.1882 | 1205063.877
20 | 2666419.2369 | 1205084.8682
21 | 2666262.6786 | 1205012.6858
22 | 2666260.4231 | 1205013.9953
23 | 2666417.0538 | 1205097.8518
24 | 2666155.7042 | 1204901.6883
25 | 2666169.7418 | 1204910.8532
26 | 2666135.3502 | 1204888.3996
27 | 2666181.308 | 1204918.4045
28 | 2666151.213 | 1204831.3889
29 | 2666204.5089 | 1204915.3093
30 | 2666210.9152 | 1204914.9888
31 | 2666244.867 | 1205023.0259
32 | 2666099.014 | 1205107.9192
33 | 2666212.056 | 1204914.9317
34 | 2666238.3077 | 1204913.3207
35 | 2666243.5257 | 1204912.8832
36 | 2666263.8205 | 1204911.1815
37 | 2666269.5682 | 1204883.3376
38 | 2666274.2039 | 1204860.8809
39 | 2666279.755 | 1204833.9893
40 | 2666233.6071 | 1205029.5626

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99005 | -0.18965 | 0.033966 | 0.0085128
1 | 0.99279 | -0.13713 | 0.031771 | 0.0079624
2 | 0.98965 | -0.19718 | 0 | 0
3 | 0.99443 | -0.10582 | 0 | 0
4 | 0.98875 | -0.2146 | 0.024984 | 0.0062616
5 | 0.99223 | -0.148 | 0 | 0
6 | 1 | 0 | -0.58437 | -0.14914
7 | 0.98732 | -0.24212 | 0.02444 | 0.0061252
8 | 0.99123 | -0.16741 | 0 | 0
9 | 0.99057 | -0.18019 | 0.013974 | 0.0035023
10 | 0.99927 | -0.014083 | 0 | 0
11 | 0.98521 | -0.28294 | 0.02397 | 0.0060075
12 | 0.98836 | -0.223 | 0.010282 | 0.0025769
13 | 0.98672 | -0.25488 | 0.023517 | 0.0058939
14 | 0.9885 | -0.22013 | 0.007835 | 0.0019636
15 | 0.98619 | -0.26517 | 0.01629 | 0.0040826
16 | 0.99035 | -0.18445 | 0.010902 | 0.0027323
17 | 0.98596 | -0.26962 | 0.021179 | 0.0053079
18 | 0.99418 | -0.11205 | 0.014475 | 0.0036279
19 | 0.99477 | -0.1006 | 0 | 0
20 | 0.99453 | -0.10521 | 0 | 0
21 | 0.99711 | -0.055533 | 0 | 0
22 | 0.99716 | -0.054631 | 0.053732 | 0.013466
23 | 0.99447 | -0.10643 | 0.0052444 | 0.0013144
24 | 0.98042 | -0.37598 | 0.014527 | 0.0036408
25 | 0.97957 | -0.3927 | 0.0071836 | 0.0018004
26 | 0.98174 | -0.35018 | 0 | 0
27 | 0.97888 | -0.40605 | 0.02717 | 0.0068095
28 | 0.98151 | -0.35466 | 0.0041835 | 0.0010485
29 | 0.97787 | -0.42594 | 0.0040731 | 0.0010208
30 | 0.9776 | -0.43124 | 0.053732 | 0.013466
31 | 0.99836 | -0.031497 | 0.0030974 | 0.00077629
32 | 0.99107 | -0.17058 | 0.016485 | 0.0041315
33 | 0.97757 | -0.43191 | 0.046787 | 0.011726
34 | 0.97658 | -0.45134 | 0.01183 | 0.0029649
35 | 0.97624 | -0.45795 | 0.046792 | 0.011727
36 | 0.97582 | -0.46626 | 0 | 0
37 | 0.97523 | -0.47787 | 0.0050629 | 0.0012689
38 | 0.97486 | -0.48511 | 0.0040325 | 0.0010106
39 | 0.97453 | -0.49176 | 0.013197 | 0.0033074
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.34894 | -0.088612 | 0.34983 | 0.089176 | 0.00088439 | 0.00056425 | 0.52487 | 0.52487 | 0.52487 | 0.99005 | -0.18965 | 0.99279 | -0.13713 | 36.0486
1 | 0.31498 | 0.080099 | -0.31486 | -0.080026 | 0.00011435 | 7.2906e-05 | 0.47382 | 0.47382 | 0.47382 | 0.99005 | -0.18965 | 0.98965 | -0.19718 | 32.5424
2 | -0.3816 | -0.097139 | 0.38218 | 0.097507 | 0.00057687 | 0.00036822 | 0.57249 | 0.57248 | 0.57249 | 0.99279 | -0.13713 | 0.99443 | -0.10582 | 39.319
3 | 0.31486 | 0.080026 | -0.3146 | -0.079858 | 0.00026388 | 0.00016824 | 0.47382 | 0.47382 | 0.47382 | 0.98965 | -0.19718 | 0.98875 | -0.2146 | 32.5424
4 | 0.12117 | 0.030638 | -0.12092 | -0.030481 | 0.00024454 | 0.00015625 | 0.1814 | 0.1814 | 0.1814 | 0.99443 | -0.10582 | 0.99223 | -0.148 | 49.8358
5 | -0.50334 | -0.12814 | 0.50592 | 0.1298 | 0.0025828 | 0.0016505 | 0.75389 | 0.75389 | 0.75389 | 0.99443 | -0.10582 | 1 | 0 | 51.7779
6 | 0.28961 | 0.073597 | -0.28923 | -0.073352 | 0.00038319 | 0.00024414 | 0.43622 | 0.43622 | 0.43622 | 0.98875 | -0.2146 | 0.98732 | -0.24212 | 29.96
7 | 0.016503 | 0.0041419 | -0.016487 | -0.004133 | 1.5263e-05 | 8.9112e-06 | 0.024751 | 0.024751 | 0.024751 | 0.99223 | -0.148 | 0.99123 | -0.16741 | 6.7997
8 | 0.10442 | 0.026339 | -0.10426 | -0.026237 | 0.00016065 | 0.00010259 | 0.15665 | 0.15665 | 0.15665 | 0.99223 | -0.148 | 0.99057 | -0.18019 | 43.0362
9 | 0.076798 | 0.019341 | -0.076747 | -0.019308 | 5.1678e-05 | 3.2936e-05 | 0.11431 | 0.11431 | 0.11431 | 1 | 0 | 0.99927 | -0.014083 | 31.4039
10 | 0.26479 | 0.067227 | -0.26427 | -0.066897 | 0.00051895 | 0.00033036 | 0.39938 | 0.39939 | 0.39939 | 0.98732 | -0.24212 | 0.98521 | -0.28294 | 27.4303
11 | 0.016487 | 0.004133 | -0.016485 | -0.0041315 | 2.4946e-06 | 1.4566e-06 | 0.024751 | 0.024751 | 0.024751 | 0.99123 | -0.16741 | 0.99107 | -0.17058 | 6.7997
12 | 0.090283 | 0.022735 | -0.090265 | -0.022723 | 1.8407e-05 | 1.1746e-05 | 0.13566 | 0.13566 | 0.13566 | 0.99057 | -0.18019 | 0.99035 | -0.18445 | 37.2693
13 | 0.076747 | 0.019308 | -0.076683 | -0.019267 | 6.3797e-05 | 4.066e-05 | 0.11431 | 0.11431 | 0.11431 | 0.99927 | -0.014083 | 0.99836 | -0.031497 | 31.4039
14 | 0.2403 | 0.060889 | -0.23953 | -0.060397 | 0.00077359 | 0.00049192 | 0.36318 | 0.36318 | 0.36318 | 0.98521 | -0.28294 | 0.98174 | -0.35018 | 24.9438
15 | 0.061101 | 0.015358 | -0.061008 | -0.015299 | 9.2845e-05 | 5.9047e-05 | 0.092006 | 0.092006 | 0.092006 | 0.98836 | -0.223 | 0.98672 | -0.25488 | 25.2765
16 | -0.071383 | -0.017935 | 0.071393 | 0.017941 | 9.7812e-06 | 6.231e-06 | 0.10749 | 0.10749 | 0.10749 | 0.98836 | -0.223 | 0.9885 | -0.22013 | 29.5291
17 | 0.037491 | 0.0094047 | -0.037473 | -0.0093931 | 1.8377e-05 | 1.1566e-05 | 0.056541 | 0.056541 | 0.056541 | 0.98672 | -0.25488 | 0.98619 | -0.26517 | 15.5334
18 | -0.079228 | -0.019904 | 0.079363 | 0.019991 | 0.00013517 | 8.6186e-05 | 0.11928 | 0.11928 | 0.11928 | 0.9885 | -0.22013 | 0.99035 | -0.18445 | 32.7692
19 | 0.021183 | 0.0053106 | -0.021179 | -0.0053079 | 4.4878e-06 | 2.7228e-06 | 0.031963 | 0.031963 | 0.031963 | 0.98619 | -0.26517 | 0.98596 | -0.26962 | 8.781
20 | -0.014475 | -0.0036279 | 0.014483 | 0.0036324 | 7.9041e-06 | 4.476e-06 | 0.021666 | 0.021666 | 0.021666 | 0.99418 | -0.11205 | 0.99477 | -0.1006 | 5.9521
21 | 0.0052459 | 0.0013145 | -0.0052447 | -0.0013144 | 1.1533e-06 | 8.9843e-08 | 0.0078469 | 0.0078471 | 0.0078471 | 0.99477 | -0.1006 | 0.99453 | -0.10521 | 2.1558
22 | -0.019729 | -0.0049468 | 0.019772 | 0.0049723 | 4.2463e-05 | 2.5485e-05 | 0.029512 | 0.029512 | 0.029512 | 0.99477 | -0.1006 | 0.99711 | -0.055533 | 8.1078
23 | 0.0052447 | 0.0013144 | -0.0052444 | -0.0013144 | 3.0402e-07 | 2.3741e-08 | 0.0078471 | 0.0078472 | 0.0078472 | 0.99453 | -0.10521 | 0.99447 | -0.10643 | 2.1558
24 | -0.019772 | -0.0049723 | 0.019772 | 0.0049728 | 8.5182e-07 | 5.1114e-07 | 0.029512 | 0.029512 | 0.029512 | 0.99711 | -0.055533 | 0.99716 | -0.054631 | 8.1076
25 | -0.073504 | -0.018439 | 0.073585 | 0.018491 | 8.1164e-05 | 5.171e-05 | 0.10969 | 0.10969 | 0.10969 | 0.99716 | -0.054631 | 0.99836 | -0.031497 | 30.1356
26 | 0.22053 | 0.055524 | -0.22035 | -0.055412 | 0.00017616 | 0.0001119 | 0.33479 | 0.33479 | 0.33479 | 0.98042 | -0.37598 | 0.97957 | -0.3927 | 22.994
27 | -0.23505 | -0.059165 | 0.23534 | 0.059349 | 0.00029018 | 0.00018449 | 0.35684 | 0.35684 | 0.35684 | 0.98042 | -0.37598 | 0.98174 | -0.35018 | 24.5083
28 | 0.21317 | 0.053611 | -0.21303 | -0.053525 | 0.00013584 | 8.6243e-05 | 0.32388 | 0.32388 | 0.32388 | 0.97957 | -0.3927 | 0.97888 | -0.40605 | 22.2446
29 | 0.0041844 | 0.0010483 | -0.0041835 | -0.0010485 | 8.9268e-07 | -1.7683e-07 | 0.0063421 | 0.0063424 | 0.0063424 | 0.98174 | -0.35018 | 0.98151 | -0.35466 | 1.7424
30 | 0.18586 | 0.046716 | -0.18569 | -0.046604 | 0.00017628 | 0.00011164 | 0.28258 | 0.28258 | 0.28258 | 0.97888 | -0.40605 | 0.97787 | -0.42594 | 19.4079
31 | 0.18161 | 0.045583 | -0.18157 | -0.045554 | 4.5934e-05 | 2.9076e-05 | 0.27638 | 0.27638 | 0.27638 | 0.97787 | -0.42594 | 0.9776 | -0.43124 | 18.9822
32 | 0.12783 | 0.032088 | -0.12783 | -0.032085 | 4.055e-06 | 2.5379e-06 | 0.1946 | 0.1946 | 0.1946 | 0.9776 | -0.43124 | 0.97757 | -0.43191 | 13.3651
33 | 0.081043 | 0.020359 | -0.080968 | -0.020312 | 7.5076e-05 | 4.739e-05 | 0.12338 | 0.12338 | 0.12338 | 0.97757 | -0.43191 | 0.97658 | -0.45134 | 16.9475
34 | 0.069138 | 0.017347 | -0.069116 | -0.017333 | 2.1794e-05 | 1.3883e-05 | 0.10535 | 0.10535 | 0.10535 | 0.97658 | -0.45134 | 0.97624 | -0.45795 | 28.9429
35 | 0.022324 | 0.0056058 | -0.022315 | -0.0056004 | 8.8444e-06 | 5.4059e-06 | 0.03403 | 0.03403 | 0.03403 | 0.97624 | -0.45795 | 0.97582 | -0.46626 | 9.349
36 | 0.022315 | 0.0056004 | -0.022302 | -0.0055928 | 1.2347e-05 | 7.547e-06 | 0.03403 | 0.03403 | 0.03403 | 0.97582 | -0.46626 | 0.97523 | -0.47787 | 9.349
37 | 0.017239 | 0.0043239 | -0.017234 | -0.0043204 | 5.9502e-06 | 3.5221e-06 | 0.026305 | 0.026305 | 0.026305 | 0.97523 | -0.47787 | 0.97486 | -0.48511 | 7.2268
38 | 0.013201 | 0.0033098 | -0.013197 | -0.0033074 | 4.1809e-06 | 2.3336e-06 | 0.02015 | 0.02015 | 0.02015 | 0.97486 | -0.48511 | 0.97453 | -0.49176 | 5.5358

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60223 | 0.15361

## res_load
| p_mw | q_mvar
0 | 0.033966 | 0.0085128
1 | 0.031771 | 0.0079624
2 | 0.024984 | 0.0062616
3 | 0.017858 | 0.0044756
4 | 0.02444 | 0.0061252
5 | 0.013974 | 0.0035023
6 | 0.02397 | 0.0060075
7 | 0.010282 | 0.0025769
8 | 0.023517 | 0.0058939
9 | 0.007835 | 0.0019636
10 | 0.01629 | 0.0040826
11 | 0.010902 | 0.0027323
12 | 0.021179 | 0.0053079
13 | 0.014475 | 0.0036279
14 | 0.053732 | 0.013466
15 | 0.0052444 | 0.0013144
16 | 0.014527 | 0.0036408
17 | 0.0071836 | 0.0018004
18 | 0.02717 | 0.0068095
19 | 0.0041835 | 0.0010485
20 | 0.0040731 | 0.0010208
21 | 0.053732 | 0.013466
22 | 0.0030974 | 0.00077629
23 | 0.016485 | 0.0041315
24 | 0.046787 | 0.011726
25 | 0.01183 | 0.0029649
26 | 0.046792 | 0.011727
27 | 0.0050629 | 0.0012689
28 | 0.0040325 | 0.0010106
29 | 0.013197 | 0.0033074

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1