## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1507-23_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1507-23_0_3_node_68 | 0.4 | n |  | TRUE
2 | bus_LV_1507-23_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1507-23_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1507-23_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1507-23_0_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_1507-23_0_3_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_1507-23_0_3_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_1507-23_0_3_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_1507-23_0_3_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_1507-23_0_3_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_1507-23_0_3_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_1507-23_0_3_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_1507-23_0_3_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_1507-23_0_3_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_1507-23_0_3_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_1507-23_0_3_node_63 | 0.4 | n |  | TRUE
17 | bus_LV_1507-23_0_3_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_1507-23_0_3_node_75 | 0.4 | n |  | TRUE
19 | bus_LV_1507-23_0_3_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_1507-23_0_3_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_1507-23_0_3_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_1507-23_0_3_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_1507-23_0_3_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_1507-23_0_3_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_1507-23_0_3_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_1507-23_0_3_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_1507-23_0_3_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_1507-23_0_3_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_1507-23_0_3_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_1507-23_0_3_node_79 | 0.4 | n |  | TRUE
31 | bus_LV_1507-23_0_3_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_1507-23_0_3_node_78 | 0.4 | n |  | TRUE
33 | bus_LV_1507-23_0_3_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_1507-23_0_3_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_1507-23_0_3_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_1507-23_0_3_node_77 | 0.4 | n |  | TRUE
37 | bus_MV_23_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1507-23_0_3_load_0 | 0 | 0.0024371 | 0.0006108 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1507-23_0_3_load_4 | 2 | 0.0062253 | 0.0015602 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1507-23_0_3_load_16 | 5 | 0.010442 | 0.0026169 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1507-23_0_3_load_34 | 6 | 0.0074084 | 0.0018567 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1507-23_0_3_load_17 | 7 | 0.0072124 | 0.0018076 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1507-23_0_3_load_18 | 8 | 0.0079138 | 0.0019834 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1507-23_0_3_load_20 | 10 | 0.0050002 | 0.0012532 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1507-23_0_3_load_21 | 11 | 0.0080816 | 0.0020254 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1507-23_0_3_load_44 | 12 | 0.0049435 | 0.001239 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1507-23_0_3_load_27 | 14 | 0.011876 | 0.0029763 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1507-23_0_3_load_29 | 15 | 0.0094898 | 0.0023784 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1507-23_0_3_load_63 | 16 | 0.0093554 | 0.0023447 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1507-23_0_3_load_75 | 18 | 0.01326 | 0.0033233 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1507-23_0_3_load_37 | 19 | 0.060118 | 0.015067 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1507-23_0_3_load_38 | 20 | 0.0093621 | 0.0023464 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1507-23_0_3_load_67 | 21 | 0.037219 | 0.0093279 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1507-23_0_3_load_80 | 22 | 0.0087913 | 0.0022033 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1507-23_0_3_load_46 | 24 | 0.0094679 | 0.0023729 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1507-23_0_3_load_53 | 25 | 0.0083547 | 0.0020939 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1507-23_0_3_load_54 | 26 | 0.018199 | 0.0045611 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1507-23_0_3_load_58 | 27 | 0.009191 | 0.0023035 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1507-23_0_3_load_57 | 28 | 0.0054811 | 0.0013737 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1507-23_0_3_load_60 | 29 | 0.0079157 | 0.0019839 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1507-23_0_3_load_79 | 30 | 0.018207 | 0.004563 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1507-23_0_3_load_78 | 32 | 0.060129 | 0.01507 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1507-23_0_3_load_73 | 33 | 0.024314 | 0.0060936 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1507-23_0_3_load_74 | 34 | 0.036932 | 0.0092559 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1507-23_0_3_load_76 | 35 | 0.0051756 | 0.0012971 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1507-23_0_3_load_77 | 36 | 0.0083708 | 0.0020979 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1507-23_0_3_line_0 |  | 0 | 1 | 0.05494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1507-23_0_3_line_1 |  | 1 | 31 | 0.012353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1507-23_0_3_line_2 |  | 1 | 21 | 0.014144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1507-23_0_3_line_3 |  | 2 | 3 | 0.020386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1507-23_0_3_line_4 |  | 3 | 4 | 0.03363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1507-23_0_3_line_5 |  | 4 | 5 | 0.018351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1507-23_0_3_line_6 |  | 4 | 6 | 0.039145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1507-23_0_3_line_7 |  | 6 | 17 | 0.023748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1507-23_0_3_line_8 |  | 6 | 18 | 0.040186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1507-23_0_3_line_9 |  | 7 | 8 | 0.014795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1507-23_0_3_line_10 |  | 7 | 9 | 0.0299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1507-23_0_3_line_11 |  | 8 | 10 | 0.0041685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1507-23_0_3_line_12 |  | 9 | 11 | 0.012494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1507-23_0_3_line_13 |  | 10 | 12 | 0.017624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1507-23_0_3_line_14 |  | 11 | 13 | 0.028554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1507-23_0_3_line_15 |  | 12 | 23 | 0.021765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1507-23_0_3_line_16 |  | 13 | 15 | 0.022351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1507-23_0_3_line_17 |  | 13 | 14 | 0.028814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1507-23_0_3_line_18 |  | 15 | 16 | 0.027089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1507-23_0_3_line_19 |  | 16 | 30 | 0.035505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1507-23_0_3_line_20 |  | 17 | 19 | 0.031714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1507-23_0_3_line_21 |  | 17 | 20 | 0.030085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1507-23_0_3_line_22 |  | 18 | 33 | 0.050312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1507-23_0_3_line_23 |  | 19 | 21 | 0.032759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1507-23_0_3_line_24 |  | 20 | 22 | 0.020263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1507-23_0_3_line_25 |  | 23 | 24 | 0.0082381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1507-23_0_3_line_26 |  | 24 | 25 | 0.031116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1507-23_0_3_line_27 |  | 25 | 26 | 0.013155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1507-23_0_3_line_28 |  | 25 | 27 | 0.051168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1507-23_0_3_line_29 |  | 27 | 29 | 0.012486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1507-23_0_3_line_30 |  | 27 | 28 | 0.012327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1507-23_0_3_line_31 |  | 30 | 31 | 0.038632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1507-23_0_3_line_32 |  | 31 | 32 | 0.015467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1507-23_0_3_line_33 |  | 33 | 34 | 0.0084032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1507-23_0_3_line_34 |  | 34 | 35 | 0.01331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1507-23_0_3_line_35 |  | 35 | 36 | 0.011867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1507-23_0_3_trafo_78 | 0.63 MVA 20/0.4 kV | 37 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2666087.0412 | 1204870.7766 | 2666141.7303 | 1204865.5358
1 | 2666087.0412 | 1204870.7766 | 2666075.5117 | 1204875.2962
2 | 2666087.0412 | 1204870.7766 | 2666084.0917 | 1204856.9436
3 | 2666102.332 | 1204745.7145 | 2666112.7441 | 1204745.941 | 2666122.711 | 1204746.2317
4 | 2666069.0172 | 1204742.4329 | 2666078.8213 | 1204744.6649 | 2666081.0751 | 1204745.179 | 2666102.332 | 1204745.7145
5 | 2666076.1263 | 1204728.3474 | 2666073.603 | 1204727.4412 | 2666069.0172 | 1204742.4329
6 | 2666049.1668 | 1204776.1715 | 2666069.0172 | 1204742.4329
7 | 2666060.218 | 1204797.1909 | 2666049.3997 | 1204776.6144 | 2666049.1668 | 1204776.1715
8 | 2666049.1668 | 1204776.1715 | 2666016.1651 | 1204799.1024
9 | 2666011.9184 | 1204980.9126 | 2666017.0054 | 1204978.3562 | 2666020.8515 | 1204977.954 | 2666026.0831 | 1204978.1452
10 | 2666053.0411 | 1204990.6842 | 2666043.8993 | 1204985.0019 | 2666032.9763 | 1204980.1115 | 2666026.0831 | 1204978.1452
11 | 2666009.0928 | 1204983.9774 | 2666011.9184 | 1204980.9126 | 2666011.9184 | 1204980.9126
12 | 2666053.0411 | 1204990.6842 | 2666063.0476 | 1204983.2022
13 | 2665997.0229 | 1204996.7828 | 2665998.4269 | 1204995.7169 | 2666008.2149 | 1204984.9297 | 2666009.0928 | 1204983.9774
14 | 2666089.0286 | 1204973.683 | 2666082.2052 | 1204973.6631 | 2666071.4737 | 1204976.9019 | 2666063.0476 | 1204983.2022
15 | 2665977.6965 | 1204995.7991 | 2665980.6483 | 1204998.5333 | 2665984.0161 | 1205000.1048 | 2665989.2519 | 1205000.6074 | 2665994.2843 | 1204998.862 | 2665997.0229 | 1204996.7828
16 | 2666089.0286 | 1204973.683 | 2666090.1237 | 1204951.3593
17 | 2666089.0286 | 1204973.683 | 2666088.9429 | 1204983.488 | 2666088.1597 | 1205002.4803
18 | 2666090.1237 | 1204951.3593 | 2666091.4509 | 1204924.3026
19 | 2666058.8766 | 1204910.1778 | 2666091.4509 | 1204924.3026
20 | 2666060.218 | 1204797.1909 | 2666071.0523 | 1204822.5038 | 2666072.86 | 1204826.2724
21 | 2666060.218 | 1204797.1909 | 2666073.2777 | 1204793.2663 | 2666088.0067 | 1204792.4843 | 2666089.6229 | 1204793.0054
22 | 2666016.1651 | 1204799.1024 | 2666007.0004 | 1204848.5721
23 | 2666084.0917 | 1204856.9436 | 2666084.0472 | 1204856.7349 | 2666078.3171 | 1204837.6489 | 2666072.86 | 1204826.2724
24 | 2666089.6229 | 1204793.0054 | 2666108.9089 | 1204799.2229
25 | 2665977.6965 | 1204995.7991 | 2665976.0661 | 1204992.5791 | 2665975.3853 | 1204988.7915 | 2665975.4796 | 1204988.0167
26 | 2665982.8197 | 1204957.8495 | 2665979.3519 | 1204968.5342 | 2665976.0798 | 1204983.0847 | 2665975.4796 | 1204988.0167
27 | 2665986.8808 | 1204945.3367 | 2665982.8197 | 1204957.8495
28 | 2665932.973 | 1204946.2976 | 2665982.8197 | 1204957.8495
29 | 2665931.3544 | 1204958.5427 | 2665933.1888 | 1204951.5587 | 2665932.973 | 1204946.2976 | 2665932.973 | 1204946.2976
30 | 2665924.3379 | 1204937.503 | 2665926.6932 | 1204939.7577 | 2665932.973 | 1204946.2976
31 | 2666075.5117 | 1204875.2962 | 2666058.8766 | 1204910.1778
32 | 2666075.5117 | 1204875.2962 | 2666066.7196 | 1204862.5711
33 | 2666007.0004 | 1204848.5721 | 2666002.0796 | 1204853.8492 | 2666001.0604 | 1204854.459
34 | 2665989.4663 | 1204860.9631 | 2665992.354 | 1204859.6675 | 2666001.0604 | 1204854.459
35 | 2665978.3412 | 1204864.7924 | 2665982.1476 | 1204864.2465 | 2665989.4663 | 1204860.9631

## bus_geodata
| x | y | coords
0 | 2666141.7303 | 1204865.5358
1 | 2666087.0412 | 1204870.7766
2 | 2666122.711 | 1204746.2317
3 | 2666102.332 | 1204745.7145
4 | 2666069.0172 | 1204742.4329
5 | 2666076.1263 | 1204728.3474
6 | 2666049.1668 | 1204776.1715
7 | 2666026.0831 | 1204978.1452
8 | 2666011.9184 | 1204980.9126
9 | 2666053.0411 | 1204990.6842
10 | 2666009.0928 | 1204983.9774
11 | 2666063.0476 | 1204983.2022
12 | 2665997.0229 | 1204996.7828
13 | 2666089.0286 | 1204973.683
14 | 2666088.1597 | 1205002.4803
15 | 2666090.1237 | 1204951.3593
16 | 2666091.4509 | 1204924.3026
17 | 2666060.218 | 1204797.1909
18 | 2666016.1651 | 1204799.1024
19 | 2666072.86 | 1204826.2724
20 | 2666089.6229 | 1204793.0054
21 | 2666084.0917 | 1204856.9436
22 | 2666108.9089 | 1204799.2229
23 | 2665977.6965 | 1204995.7991
24 | 2665975.4796 | 1204988.0167
25 | 2665982.8197 | 1204957.8495
26 | 2665986.8808 | 1204945.3367
27 | 2665932.973 | 1204946.2976
28 | 2665924.3379 | 1204937.503
29 | 2665931.3544 | 1204958.5427
30 | 2666058.8766 | 1204910.1778
31 | 2666075.5117 | 1204875.2962
32 | 2666066.7196 | 1204862.5711
33 | 2666007.0004 | 1204848.5721
34 | 2666001.0604 | 1204854.459
35 | 2665989.4663 | 1204860.9631
36 | 2665978.3412 | 1204864.7924
37 | 2666060.6492 | 1204853.7855

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99725 | -0.052309 | 0.0024371 | 0.0006108
1 | 0.99737 | -0.049962 | 0 | 0
2 | 0.98633 | -0.26214 | 0.0062253 | 0.0015602
3 | 0.98645 | -0.25987 | 0 | 0
4 | 0.98664 | -0.25612 | 0 | 0
5 | 0.98646 | -0.25955 | 0.010442 | 0.0026169
6 | 0.98724 | -0.24444 | 0.0074084 | 0.0018567
7 | 0.98098 | -0.36472 | 0.0072124 | 0.0018076
8 | 0.97993 | -0.38523 | 0.0079138 | 0.0019834
9 | 0.98331 | -0.31951 | 0 | 0
10 | 0.97967 | -0.39042 | 0.0050002 | 0.0012532
11 | 0.98428 | -0.30068 | 0.0080816 | 0.0020254
12 | 0.97862 | -0.41079 | 0.0049435 | 0.001239
13 | 0.98671 | -0.25365 | 0 | 0
14 | 0.9864 | -0.25978 | 0.011876 | 0.0029763
15 | 0.98886 | -0.21227 | 0.0094898 | 0.0023784
16 | 0.9917 | -0.1578 | 0.0093554 | 0.0023447
17 | 0.9897 | -0.19694 | 0 | 0
18 | 0.98397 | -0.30793 | 0.01326 | 0.0033233
19 | 0.99351 | -0.1237 | 0.060118 | 0.015067
20 | 0.9892 | -0.20666 | 0.0093621 | 0.0023464
21 | 0.99638 | -0.068784 | 0.037219 | 0.0093279
22 | 0.98904 | -0.20984 | 0.0087913 | 0.0022033
23 | 0.97744 | -0.43403 | 0 | 0
24 | 0.97699 | -0.44284 | 0.0094679 | 0.0023729
25 | 0.97557 | -0.47081 | 0.0083547 | 0.0020939
26 | 0.97534 | -0.47519 | 0.018199 | 0.0045611
27 | 0.97449 | -0.492 | 0.009191 | 0.0023035
28 | 0.97443 | -0.49324 | 0.0054811 | 0.0013737
29 | 0.9744 | -0.49381 | 0.0079157 | 0.0019839
30 | 0.99573 | -0.081034 | 0.018207 | 0.004563
31 | 0.99824 | -0.033377 | 0 | 0
32 | 1 | 0 | -0.37728 | -0.096032
33 | 0.98049 | -0.37592 | 0.024314 | 0.0060936
34 | 0.98009 | -0.38361 | 0.036932 | 0.0092559
35 | 0.97993 | -0.38688 | 0.0051756 | 0.0012971
36 | 0.97984 | -0.38868 | 0.0083708 | 0.0020979
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0024371 | -0.0006108 | 0.0024374 | 0.00061025 | 2.7242e-07 | -5.4254e-07 | 0.0036365 | 0.0036362 | 0.0036365 | 0.99725 | -0.052309 | 0.99737 | -0.049962 | 0.99903
1 | -0.23205 | -0.058925 | 0.23223 | 0.059043 | 0.00018536 | 0.00011815 | 0.34647 | 0.34647 | 0.34647 | 0.99737 | -0.049962 | 0.99824 | -0.033377 | 31.7281
2 | 0.22961 | 0.058314 | -0.2294 | -0.058182 | 0.0002078 | 0.00013244 | 0.34283 | 0.34283 | 0.34283 | 0.99737 | -0.049962 | 0.99638 | -0.068784 | 31.3951
3 | -0.0062253 | -0.0015602 | 0.006226 | 0.0015604 | 6.7429e-07 | 1.7133e-07 | 0.0093917 | 0.0093916 | 0.0093917 | 0.98633 | -0.26214 | 0.98645 | -0.25987 | 2.5801
4 | -0.006226 | -0.0015604 | 0.0062271 | 0.0015607 | 1.1123e-06 | 2.8249e-07 | 0.0093916 | 0.0093915 | 0.0093916 | 0.98645 | -0.25987 | 0.98664 | -0.25612 | 2.5801
5 | 0.010443 | 0.0026178 | -0.010442 | -0.0026169 | 1.7072e-06 | 8.5827e-07 | 0.01575 | 0.015751 | 0.015751 | 0.98664 | -0.25612 | 0.98646 | -0.25955 | 4.3271
6 | -0.01667 | -0.0041784 | 0.01668 | 0.0041839 | 9.279e-06 | 5.4383e-06 | 0.025142 | 0.025142 | 0.025142 | 0.98664 | -0.25612 | 0.98724 | -0.24444 | 6.9071
7 | -0.11267 | -0.028448 | 0.11293 | 0.028613 | 0.00025707 | 0.00016422 | 0.1699 | 0.1699 | 0.1699 | 0.98724 | -0.24444 | 0.9897 | -0.19694 | 46.6765
8 | 0.088586 | 0.022408 | -0.088317 | -0.022236 | 0.00026896 | 0.00017162 | 0.13359 | 0.13359 | 0.13359 | 0.98724 | -0.24444 | 0.98397 | -0.30793 | 36.7018
9 | 0.076805 | 0.019378 | -0.076729 | -0.01933 | 7.5366e-05 | 4.8048e-05 | 0.11655 | 0.11655 | 0.11655 | 0.98098 | -0.36472 | 0.97993 | -0.38523 | 32.0189
10 | -0.084017 | -0.021186 | 0.084199 | 0.021302 | 0.00018224 | 0.00011626 | 0.12749 | 0.12749 | 0.12749 | 0.98098 | -0.36472 | 0.98331 | -0.31951 | 35.0244
11 | 0.068816 | 0.017347 | -0.068799 | -0.017336 | 1.7081e-05 | 1.0879e-05 | 0.10453 | 0.10453 | 0.10453 | 0.97993 | -0.38523 | 0.97967 | -0.39042 | 28.7175
12 | -0.084199 | -0.021302 | 0.084276 | 0.021351 | 7.6153e-05 | 4.8579e-05 | 0.12749 | 0.12749 | 0.12749 | 0.98331 | -0.31951 | 0.98428 | -0.30068 | 35.0244
13 | 0.063798 | 0.016083 | -0.063736 | -0.016043 | 6.2103e-05 | 3.9524e-05 | 0.096937 | 0.096937 | 0.096937 | 0.97967 | -0.39042 | 0.97862 | -0.41079 | 26.6311
14 | -0.092357 | -0.023376 | 0.092566 | 0.02351 | 0.00020899 | 0.00013339 | 0.13971 | 0.13971 | 0.13971 | 0.98428 | -0.30068 | 0.98671 | -0.25365 | 38.3809
15 | 0.058793 | 0.014804 | -0.058727 | -0.014763 | 6.5262e-05 | 4.1494e-05 | 0.08942 | 0.08942 | 0.08942 | 0.97862 | -0.41079 | 0.97744 | -0.43403 | 24.5661
16 | -0.10445 | -0.026488 | 0.10465 | 0.026621 | 0.00020823 | 0.00013298 | 0.15762 | 0.15762 | 0.15762 | 0.98671 | -0.25365 | 0.98886 | -0.21227 | 43.3025
17 | 0.011879 | 0.0029782 | -0.011876 | -0.0029763 | 3.4679e-06 | 1.8515e-06 | 0.017915 | 0.017915 | 0.017915 | 0.98671 | -0.25365 | 0.9864 | -0.25978 | 4.9217
18 | -0.11414 | -0.028999 | 0.11444 | 0.029191 | 0.00030018 | 0.00019177 | 0.1719 | 0.1719 | 0.1719 | 0.98886 | -0.21227 | 0.9917 | -0.1578 | 47.2255
19 | -0.1238 | -0.031536 | 0.12426 | 0.03183 | 0.00046032 | 0.00029414 | 0.18594 | 0.18594 | 0.18594 | 0.9917 | -0.1578 | 0.99573 | -0.081034 | 51.0819
20 | -0.13109 | -0.033168 | 0.13156 | 0.033464 | 0.00046253 | 0.00029561 | 0.19721 | 0.19721 | 0.19721 | 0.9897 | -0.19694 | 0.99351 | -0.1237 | 54.179
21 | 0.018163 | 0.0045553 | -0.018155 | -0.0045503 | 8.414e-06 | 4.9986e-06 | 0.027309 | 0.02731 | 0.02731 | 0.9897 | -0.19694 | 0.9892 | -0.20666 | 7.5026
22 | 0.075057 | 0.018913 | -0.074813 | -0.018758 | 0.00024323 | 0.00015503 | 0.11354 | 0.11354 | 0.11354 | 0.98397 | -0.30793 | 0.98049 | -0.37592 | 31.1928
23 | -0.19167 | -0.048531 | 0.19218 | 0.048854 | 0.00050682 | 0.00032351 | 0.28725 | 0.28725 | 0.28725 | 0.99351 | -0.1237 | 0.99638 | -0.068784 | 39.4577
24 | 0.0087926 | 0.0022039 | -0.0087913 | -0.0022033 | 1.3293e-06 | 5.9069e-07 | 0.013226 | 0.013227 | 0.013227 | 0.9892 | -0.20666 | 0.98904 | -0.20984 | 3.6337
25 | 0.058727 | 0.014763 | -0.058703 | -0.014747 | 2.4702e-05 | 1.5706e-05 | 0.08942 | 0.08942 | 0.08942 | 0.97744 | -0.43403 | 0.97699 | -0.44284 | 24.5661
26 | 0.049235 | 0.012374 | -0.049169 | -0.012333 | 6.5635e-05 | 4.1617e-05 | 0.075 | 0.075 | 0.075 | 0.97699 | -0.44284 | 0.97557 | -0.47081 | 20.6045
27 | 0.018203 | 0.0045634 | -0.018199 | -0.0045611 | 3.803e-06 | 2.2697e-06 | 0.027765 | 0.027765 | 0.027765 | 0.97557 | -0.47081 | 0.97534 | -0.47519 | 7.6277
28 | 0.022612 | 0.0056753 | -0.022589 | -0.0056614 | 2.2828e-05 | 1.3972e-05 | 0.034492 | 0.034492 | 0.034492 | 0.97557 | -0.47081 | 0.97449 | -0.492 | 9.4759
29 | 0.0079164 | 0.0019841 | -0.0079157 | -0.0019839 | 6.8421e-07 | 2.8235e-07 | 0.012088 | 0.012088 | 0.012088 | 0.97449 | -0.492 | 0.9744 | -0.49381 | 3.3209
30 | 0.0054814 | 0.0013737 | -0.0054811 | -0.0013737 | 3.2385e-07 | 5.3693e-08 | 0.0083699 | 0.00837 | 0.00837 | 0.97449 | -0.492 | 0.97443 | -0.49324 | 2.2994
31 | -0.14247 | -0.036393 | 0.14279 | 0.036602 | 0.00032908 | 0.0002096 | 0.21315 | 0.21315 | 0.21315 | 0.99573 | -0.081034 | 0.99824 | -0.033377 | 29.2782
32 | -0.37503 | -0.095645 | 0.37563 | 0.096032 | 0.00060548 | 0.0003869 | 0.55962 | 0.55961 | 0.55962 | 0.99824 | -0.033377 | 1 | 0 | 51.2468
33 | 0.050499 | 0.012664 | -0.050481 | -0.012652 | 1.851e-05 | 1.1741e-05 | 0.076642 | 0.076642 | 0.076642 | 0.98049 | -0.37592 | 0.98009 | -0.38361 | 21.0556
34 | 0.013549 | 0.0033966 | -0.013547 | -0.0033954 | 2.1123e-06 | 1.1841e-06 | 0.020571 | 0.020571 | 0.020571 | 0.98009 | -0.38361 | 0.97993 | -0.38688 | 5.6515
35 | 0.0083715 | 0.0020982 | -0.0083708 | -0.0020979 | 7.1913e-07 | 3.1076e-07 | 0.012712 | 0.012712 | 0.012712 | 0.97993 | -0.38688 | 0.97984 | -0.38868 | 3.4924

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43741 | 0.1111

## res_load
| p_mw | q_mvar
0 | 0.0024371 | 0.0006108
1 | 0.0062253 | 0.0015602
2 | 0.010442 | 0.0026169
3 | 0.0074084 | 0.0018567
4 | 0.0072124 | 0.0018076
5 | 0.0079138 | 0.0019834
6 | 0.0050002 | 0.0012532
7 | 0.0080816 | 0.0020254
8 | 0.0049435 | 0.001239
9 | 0.011876 | 0.0029763
10 | 0.0094898 | 0.0023784
11 | 0.0093554 | 0.0023447
12 | 0.01326 | 0.0033233
13 | 0.060118 | 0.015067
14 | 0.0093621 | 0.0023464
15 | 0.037219 | 0.0093279
16 | 0.0087913 | 0.0022033
17 | 0.0094679 | 0.0023729
18 | 0.0083547 | 0.0020939
19 | 0.018199 | 0.0045611
20 | 0.009191 | 0.0023035
21 | 0.0054811 | 0.0013737
22 | 0.0079157 | 0.0019839
23 | 0.018207 | 0.004563
24 | 0.060129 | 0.01507
25 | 0.024314 | 0.0060936
26 | 0.036932 | 0.0092559
27 | 0.0051756 | 0.0012971
28 | 0.0083708 | 0.0020979

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1