## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1507-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1507-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1507-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1507-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1507-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1507-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1507-2_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1507-2_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1507-2_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1507-2_0_3_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_1507-2_0_3_node_51 | 0.4 | n |  | TRUE
11 | bus_LV_1507-2_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_1507-2_0_3_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1507-2_0_3_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_1507-2_0_3_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_1507-2_0_3_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_1507-2_0_3_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_1507-2_0_3_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_1507-2_0_3_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1507-2_0_3_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_1507-2_0_3_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_1507-2_0_3_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_1507-2_0_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1507-2_0_3_node_94 | 0.4 | n |  | TRUE
24 | bus_LV_1507-2_0_3_node_173 | 0.4 | n |  | TRUE
25 | bus_LV_1507-2_0_3_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_1507-2_0_3_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_1507-2_0_3_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_1507-2_0_3_node_180 | 0.4 | n |  | TRUE
29 | bus_LV_1507-2_0_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_1507-2_0_3_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_1507-2_0_3_node_116 | 0.4 | n |  | TRUE
32 | bus_LV_1507-2_0_3_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_1507-2_0_3_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_1507-2_0_3_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_1507-2_0_3_node_174 | 0.4 | n |  | TRUE
36 | bus_LV_1507-2_0_3_node_115 | 0.4 | n |  | TRUE
37 | bus_LV_1507-2_0_3_node_175 | 0.4 | n |  | TRUE
38 | bus_LV_1507-2_0_3_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_1507-2_0_3_node_78 | 0.4 | n |  | TRUE
40 | bus_LV_1507-2_0_3_node_77 | 0.4 | n |  | TRUE
41 | bus_LV_1507-2_0_3_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_1507-2_0_3_node_196 | 0.4 | n |  | TRUE
43 | bus_LV_1507-2_0_3_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_1507-2_0_3_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_1507-2_0_3_node_74 | 0.4 | n |  | TRUE
46 | bus_LV_1507-2_0_3_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_1507-2_0_3_node_92 | 0.4 | n |  | TRUE
48 | bus_LV_1507-2_0_3_node_93 | 0.4 | n |  | TRUE
49 | bus_LV_1507-2_0_3_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_1507-2_0_3_node_96 | 0.4 | n |  | TRUE
51 | bus_LV_1507-2_0_3_node_117 | 0.4 | n |  | TRUE
52 | bus_LV_1507-2_0_3_node_110 | 0.4 | n |  | TRUE
53 | bus_LV_1507-2_0_3_node_112 | 0.4 | n |  | TRUE
54 | bus_LV_1507-2_0_3_node_114 | 0.4 | n |  | TRUE
55 | bus_LV_1507-2_0_3_node_187 | 0.4 | n |  | TRUE
56 | bus_LV_1507-2_0_3_node_188 | 0.4 | n |  | TRUE
57 | bus_LV_1507-2_0_3_node_118 | 0.4 | n |  | TRUE
58 | bus_LV_1507-2_0_3_node_192 | 0.4 | n |  | TRUE
59 | bus_LV_1507-2_0_3_node_176 | 0.4 | n |  | TRUE
60 | bus_LV_1507-2_0_3_node_177 | 0.4 | n |  | TRUE
61 | bus_LV_1507-2_0_3_node_178 | 0.4 | n |  | TRUE
62 | bus_LV_1507-2_0_3_node_179 | 0.4 | n |  | TRUE
63 | bus_LV_1507-2_0_3_node_191 | 0.4 | n |  | TRUE
64 | bus_LV_1507-2_0_3_node_186 | 0.4 | n |  | TRUE
65 | bus_LV_1507-2_0_3_node_181 | 0.4 | n |  | TRUE
66 | bus_LV_1507-2_0_3_node_182 | 0.4 | n |  | TRUE
67 | bus_LV_1507-2_0_3_node_183 | 0.4 | n |  | TRUE
68 | bus_LV_1507-2_0_3_node_184 | 0.4 | n |  | TRUE
69 | bus_LV_1507-2_0_3_node_185 | 0.4 | n |  | TRUE
70 | bus_LV_1507-2_0_3_node_189 | 0.4 | n |  | TRUE
71 | bus_LV_1507-2_0_3_node_190 | 0.4 | n |  | TRUE
72 | bus_LV_1507-2_0_3_node_195 | 0.4 | n |  | TRUE
73 | bus_LV_1507-2_0_3_node_194 | 0.4 | n |  | TRUE
74 | bus_MV_0_node_50 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1507-2_0_3_load_0 | 0 | 0.0024069 | 0.00060323 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1507-2_0_3_load_1 | 1 | 0.001273 | 0.00031906 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1507-2_0_3_load_3 | 3 | 0.00057689 | 0.00014458 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1507-2_0_3_load_5 | 5 | 0.00079701 | 0.00019975 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1507-2_0_3_load_8 | 6 | 0.00088856 | 0.00022269 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1507-2_0_3_load_9 | 7 | 0.0019007 | 0.00047636 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1507-2_0_3_load_51 | 10 | 0.0016831 | 0.00042184 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1507-2_0_3_load_18 | 12 | 0.0004487 | 0.00011245 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1507-2_0_3_load_19 | 13 | 0.00031119 | 7.799e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1507-2_0_3_load_23 | 16 | 0.00037227 | 9.33e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1507-2_0_3_load_24 | 17 | 0.0016117 | 0.00040394 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1507-2_0_3_load_26 | 19 | 0.0020367 | 0.00051044 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1507-2_0_3_load_56 | 20 | 0.0010592 | 0.00026546 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1507-2_0_3_load_71 | 21 | 0.00075836 | 0.00019006 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1507-2_0_3_load_173 | 24 | 0.014958 | 0.0037488 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1507-2_0_3_load_180 | 28 | 0.00030472 | 7.6371e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1507-2_0_3_load_116 | 31 | 0.00066835 | 0.0001675 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1507-2_0_3_load_52 | 33 | 0.00080871 | 0.00020268 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1507-2_0_3_load_174 | 35 | 0.00030472 | 7.6371e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1507-2_0_3_load_115 | 36 | 0.00037191 | 9.321e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1507-2_0_3_load_175 | 37 | 0.00038065 | 9.54e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1507-2_0_3_load_76 | 38 | 0.00099721 | 0.00024992 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1507-2_0_3_load_78 | 39 | 0.0011843 | 0.00029682 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1507-2_0_3_load_77 | 40 | 0.00062871 | 0.00015757 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1507-2_0_3_load_196 | 42 | 0.00033335 | 8.3545e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1507-2_0_3_load_72 | 43 | 0.00061276 | 0.00015357 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1507-2_0_3_load_73 | 44 | 0.0012895 | 0.00032318 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1507-2_0_3_load_74 | 45 | 0.00036549 | 9.16e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1507-2_0_3_load_75 | 46 | 0.0004916 | 0.00012321 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1507-2_0_3_load_93 | 48 | 0.0028764 | 0.00072088 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1507-2_0_3_load_96 | 50 | 0.0066182 | 0.0016587 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1507-2_0_3_load_117 | 51 | 0.00093203 | 0.00023359 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1507-2_0_3_load_110 | 52 | 0.00060551 | 0.00015176 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1507-2_0_3_load_187 | 55 | 0.00028416 | 7.1218e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1507-2_0_3_load_188 | 56 | 0.00043881 | 0.00010998 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1507-2_0_3_load_192 | 58 | 0.00056126 | 0.00014067 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1507-2_0_3_load_176 | 59 | 0.0024004 | 0.0006016 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1507-2_0_3_load_179 | 62 | 0.00037561 | 9.4137e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1507-2_0_3_load_191 | 63 | 0.0024607 | 0.00061671 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1507-2_0_3_load_183 | 67 | 0.00054205 | 0.00013585 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1507-2_0_3_load_184 | 68 | 0.00087063 | 0.0002182 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1507-2_0_3_load_185 | 69 | 0.00063789 | 0.00015987 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1507-2_0_3_load_189 | 70 | 0.00065648 | 0.00016453 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1507-2_0_3_load_190 | 71 | 0.00044494 | 0.00011151 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1507-2_0_3_load_194 | 73 | 0.0006304 | 0.00015799 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1507-2_0_3_line_0 |  | 0 | 1 | 0.079672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1507-2_0_3_line_1 |  | 0 | 2 | 0.071315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1507-2_0_3_line_2 |  | 1 | 3 | 0.02117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1507-2_0_3_line_3 |  | 2 | 4 | 0.20689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1507-2_0_3_line_4 |  | 2 | 5 | 0.019409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1507-2_0_3_line_5 |  | 4 | 6 | 0.013556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1507-2_0_3_line_6 |  | 5 | 7 | 0.011163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1507-2_0_3_line_7 |  | 6 | 11 | 0.0035078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1507-2_0_3_line_8 |  | 8 | 9 | 0.048148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1507-2_0_3_line_9 |  | 8 | 10 | 0.0066754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1507-2_0_3_line_10 |  | 9 | 38 | 0.0015631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1507-2_0_3_line_11 |  | 9 | 39 | 0.036793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1507-2_0_3_line_12 |  | 10 | 40 | 0.0077148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1507-2_0_3_line_13 |  | 11 | 15 | 0.16963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1507-2_0_3_line_14 |  | 11 | 12 | 0.0753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1507-2_0_3_line_15 |  | 12 | 13 | 0.009235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1507-2_0_3_line_16 |  | 13 | 14 | 0.021462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1507-2_0_3_line_17 |  | 14 | 16 | 0.0084025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1507-2_0_3_line_18 |  | 14 | 17 | 0.025904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1507-2_0_3_line_19 |  | 15 | 18 | 0.14777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1507-2_0_3_line_20 |  | 15 | 19 | 0.062911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1507-2_0_3_line_21 |  | 18 | 20 | 0.19386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1507-2_0_3_line_22 |  | 19 | 21 | 0.12352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1507-2_0_3_line_23 |  | 21 | 43 | 0.0026262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1507-2_0_3_line_24 |  | 22 | 23 | 0.089823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1507-2_0_3_line_25 |  | 22 | 24 | 0.020936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1507-2_0_3_line_26 |  | 23 | 50 | 0.038696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1507-2_0_3_line_27 |  | 23 | 47 | 0.11778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1507-2_0_3_line_28 |  | 25 | 26 | 0.16901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1507-2_0_3_line_29 |  | 25 | 27 | 0.083123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1507-2_0_3_line_30 |  | 25 | 28 | 0.10023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1507-2_0_3_line_31 |  | 26 | 41 | 0.58969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1507-2_0_3_line_32 |  | 27 | 36 | 0.034222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1507-2_0_3_line_33 |  | 27 | 32 | 0.23486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1507-2_0_3_line_34 |  | 28 | 65 | 0.10483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1507-2_0_3_line_35 |  | 29 | 30 | 0.018963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1507-2_0_3_line_36 |  | 29 | 31 | 0.0074223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1507-2_0_3_line_37 |  | 30 | 34 | 0.22816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1507-2_0_3_line_38 |  | 30 | 35 | 0.02036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1507-2_0_3_line_39 |  | 31 | 36 | 0.01563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1507-2_0_3_line_40 |  | 32 | 33 | 0.1803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1507-2_0_3_line_41 |  | 34 | 37 | 0.099572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1507-2_0_3_line_42 |  | 37 | 59 | 0.054849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1507-2_0_3_line_43 |  | 38 | 46 | 0.14333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1507-2_0_3_line_44 |  | 39 | 47 | 0.2076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1507-2_0_3_line_45 |  | 41 | 42 | 0.18826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1507-2_0_3_line_46 |  | 43 | 44 | 0.010429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1507-2_0_3_line_47 |  | 44 | 45 | 0.067773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1507-2_0_3_line_48 |  | 45 | 46 | 0.005097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1507-2_0_3_line_49 |  | 47 | 48 | 0.146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1507-2_0_3_line_50 |  | 48 | 49 | 0.026549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1507-2_0_3_line_51 |  | 49 | 51 | 0.30509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1507-2_0_3_line_52 |  | 51 | 57 | 0.021913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1507-2_0_3_line_53 |  | 52 | 53 | 0.015729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1507-2_0_3_line_54 |  | 53 | 54 | 0.54563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1507-2_0_3_line_55 |  | 54 | 55 | 0.026067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1507-2_0_3_line_56 |  | 54 | 56 | 0.10677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1507-2_0_3_line_57 |  | 55 | 71 | 0.0037347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1507-2_0_3_line_58 |  | 56 | 72 | 0.084446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1507-2_0_3_line_59 |  | 57 | 58 | 0.023238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1507-2_0_3_line_60 |  | 58 | 63 | 0.00090797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1507-2_0_3_line_61 |  | 60 | 61 | 0.013363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1507-2_0_3_line_62 |  | 60 | 62 | 0.025233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1507-2_0_3_line_63 |  | 61 | 63 | 0.017934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1507-2_0_3_line_64 |  | 62 | 64 | 0.41337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1507-2_0_3_line_65 |  | 64 | 70 | 0.17882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1507-2_0_3_line_66 |  | 64 | 67 | 0.086665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1507-2_0_3_line_67 |  | 65 | 66 | 0.027487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1507-2_0_3_line_68 |  | 65 | 67 | 0.037213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1507-2_0_3_line_69 |  | 66 | 68 | 0.013003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1507-2_0_3_line_70 |  | 66 | 69 | 0.015358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1507-2_0_3_line_71 |  | 70 | 71 | 0.02544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1507-2_0_3_line_72 |  | 72 | 73 | 0.0097208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1507-2_0_3_trafo_50 | 0.63 MVA 20/0.4 kV | 74 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2665346.6699 | 1203884.8802 | 2665348.8083 | 1203884.1273 | 2665355.483 | 1203883.2442 | 2665363.201 | 1203883.6734 | 2665373.15 | 1203885.3388 | 2665400.1149 | 1203891.571 | 2665412.3499 | 1203893.6172 | 2665422.212 | 1203894.1811 | 2665425.1002 | 1203893.9696
1 | 2665322.2494 | 1203946.4856 | 2665323.8004 | 1203937.5527 | 2665324.5165 | 1203930.5118 | 2665324.8952 | 1203916.0628 | 2665326.2107 | 1203908.4838 | 2665328.2656 | 1203901.4798 | 2665331.7293 | 1203895.0471 | 2665336.9408 | 1203889.523 | 2665342.316 | 1203886.4132 | 2665346.6699 | 1203884.8802
2 | 2665425.1002 | 1203893.9696 | 2665433.3065 | 1203893.3688 | 2665443.0712 | 1203891.0187 | 2665445.7295 | 1203889.8635
3 | 2665203.4546 | 1204073.6423 | 2665208.1446 | 1204069.1574 | 2665213.8208 | 1204065.6395 | 2665221.2767 | 1204063.5752 | 2665226.3798 | 1204063.7643 | 2665233.7663 | 1204064.5677 | 2665254.1233 | 1204069.7042 | 2665262.1727 | 1204070.4148 | 2665266.7321 | 1204070.2311 | 2665272.1264 | 1204068.8448 | 2665277.199 | 1204065.5538 | 2665281.9619 | 1204059.9802 | 2665286.2465 | 1204052.9228 | 2665290.2569 | 1204041.7154 | 2665300.21 | 1203999.8434 | 2665305.2975 | 1203983.378 | 2665319.1083 | 1203955.4233 | 2665322.2494 | 1203946.4856
4 | 2665322.2494 | 1203946.4856 | 2665329.0845 | 1203951.1075 | 2665331.0944 | 1203953.7755 | 2665334.6753 | 1203960.7245
5 | 2665203.4546 | 1204073.6423 | 2665195.8372 | 1204084.8557
6 | 2665339.7889 | 1203970.6474 | 2665334.6753 | 1203960.7245
7 | 2665193.8662 | 1204087.7573 | 2665195.8372 | 1204084.8557
8 | 2665110.7105 | 1203922.8179 | 2665129.508 | 1203912.6389 | 2665134.3845 | 1203925.2441 | 2665142.7041 | 1203931.8943 | 2665145.372 | 1203932.1458
9 | 2665145.372 | 1203932.1458 | 2665149.0128 | 1203932.4746 | 2665152.0011 | 1203932.0396
10 | 2665110.7105 | 1203922.8179 | 2665110.0461 | 1203924.2327
11 | 2665110.7105 | 1203922.8179 | 2665123.0637 | 1203902.8627 | 2665128.812 | 1203890.8433
12 | 2665152.0011 | 1203932.0396 | 2665159.6354 | 1203930.9282
13 | 2665106.1688 | 1204220.0251 | 2665110.6225 | 1204218.3615 | 2665113.942 | 1204214.651 | 2665115.488 | 1204208.931 | 2665113.4353 | 1204187.8627 | 2665113.5105 | 1204180.27 | 2665114.9381 | 1204173.5371 | 2665117.5079 | 1204169.5182 | 2665122.6397 | 1204164.2821 | 2665135.8672 | 1204156.1992 | 2665149.9389 | 1204145.3572 | 2665163.0294 | 1204134.5046 | 2665168.2157 | 1204128.4575 | 2665172.9165 | 1204122.2828 | 2665193.8662 | 1204087.7573
14 | 2665193.8662 | 1204087.7573 | 2665200.2705 | 1204096.9883 | 2665212.7449 | 1204150.2231 | 2665213.1659 | 1204159.6016
15 | 2665213.1659 | 1204159.6016 | 2665213.58 | 1204168.8273
16 | 2665215.4199 | 1204190.2097 | 2665213.6077 | 1204169.4441 | 2665213.58 | 1204168.8273
17 | 2665215.4199 | 1204190.2097 | 2665223.8064 | 1204190.7281
18 | 2665217.9458 | 1204215.9862 | 2665215.4199 | 1204190.2097
19 | 2665106.1688 | 1204220.0251 | 2665106.3046 | 1204229.1987 | 2665106.4935 | 1204244.6656 | 2665104.6266 | 1204253.3061 | 2665101.6058 | 1204258.9321 | 2665097.1422 | 1204261.5072 | 2665090.6044 | 1204263.8263 | 2665067.665 | 1204266.7226 | 2665058.3285 | 1204269.6449 | 2665049.8984 | 1204276.6573 | 2665042.5993 | 1204288.8074 | 2665041.0961 | 1204292.7045 | 2665040.9787 | 1204297.1948 | 2665042.0412 | 1204307.9128 | 2665047.6239 | 1204325.5175
20 | 2665106.1688 | 1204220.0251 | 2665102.3689 | 1204219.639 | 2665096.4844 | 1204217.1622 | 2665091.5678 | 1204211.7387 | 2665084.8566 | 1204197.8573 | 2665081.5123 | 1204184.2905 | 2665081.3467 | 1204174.3605 | 2665082.0894 | 1204168.3427 | 2665082.0894 | 1204168.3427
21 | 2665047.6239 | 1204325.5175 | 2665070.0446 | 1204324.1275 | 2665094.3472 | 1204325.9711 | 2665106.5012 | 1204326.9931 | 2665126.0603 | 1204330.5751 | 2665136.6417 | 1204330.6905 | 2665146.7939 | 1204329.0113 | 2665153.1369 | 1204325.7118 | 2665189.5428 | 1204304.6518 | 2665195.8794 | 1204300.5518 | 2665203.199 | 1204298.3971 | 2665232.6253 | 1204294.508
22 | 2665046.1132 | 1204083.0751 | 2665049.3856 | 1204084.1915 | 2665083.0121 | 1204095.5534 | 2665090.1051 | 1204098.8549 | 2665093.4383 | 1204101.5706 | 2665096.3553 | 1204105.4825 | 2665099.8977 | 1204113.437 | 2665100.321 | 1204124.1592 | 2665098.7469 | 1204132.4581 | 2665093.9185 | 1204144.0681 | 2665084.5919 | 1204160.7209 | 2665082.0894 | 1204168.3427
23 | 2665046.1132 | 1204083.0751 | 2665043.6277 | 1204082.2272
24 | 2665204.2398 | 1203702.8055 | 2665270.197 | 1203694.0648 | 2665278.7441 | 1203695.2367 | 2665283.6627 | 1203694.2342 | 2665292.7302 | 1203690.9536
25 | 2665292.7302 | 1203690.9536 | 2665298.93 | 1203686.9078 | 2665303.7882 | 1203680.3013 | 2665306.2058 | 1203675.5481
26 | 2665239.3625 | 1203718.7763 | 2665232.1749 | 1203717.1413 | 2665226.4496 | 1203714.6773 | 2665204.2398 | 1203702.8055
27 | 2665204.2398 | 1203702.8055 | 2665202.213 | 1203703.0724 | 2665180.1578 | 1203704.2214 | 2665169.9427 | 1203703.8987 | 2665162.7569 | 1203702.7974 | 2665149.8243 | 1203700.4883 | 2665141.0255 | 1203697.9798 | 2665120.7733 | 1203690.7769 | 2665113.1601 | 1203689.0929 | 2665106.0931 | 1203688.9492 | 2665099.7066 | 1203690.5917 | 2665094.7991 | 1203693.3732 | 2665090.6945 | 1203697.1752
28 | 2664312.8282 | 1204363.8857 | 2664317.1541 | 1204367.7013 | 2664321.1979 | 1204370.1574 | 2664336.8343 | 1204374.8953 | 2664347.9583 | 1204379.718 | 2664356.9865 | 1204382.7615 | 2664370.9856 | 1204379.8883 | 2664384.9275 | 1204379.4939 | 2664416.5898 | 1204383.8934 | 2664435.2696 | 1204391.4216 | 2664450.422 | 1204396.5881 | 2664458.9943 | 1204402.3841 | 2664466.6006 | 1204406.0572 | 2664471.9668 | 1204405.815
29 | 2664471.9668 | 1204405.815 | 2664476.4673 | 1204408.9432 | 2664481.9829 | 1204411.7711 | 2664487.2443 | 1204413.4734 | 2664492.2501 | 1204414.1945 | 2664516.6815 | 1204434.3704 | 2664529.6983 | 1204436.5012 | 2664544.4754 | 1204442.5867
30 | 2664471.9668 | 1204405.815 | 2664467.0802 | 1204401.0928 | 2664462.5965 | 1204395.7078 | 2664459.717 | 1204391.1184 | 2664455.0004 | 1204381.9287 | 2664447.753 | 1204350.6428 | 2664449.547 | 1204344.4362 | 2664454.0322 | 1204336.3019 | 2664459.6979 | 1204320.2979 | 2664460.4186 | 1204314.5048
31 | 2664041.2773 | 1204685.3619 | 2664055.0291 | 1204687.733 | 2664101.2725 | 1204713.4778 | 2664140.0947 | 1204719.02 | 2664163.1226 | 1204714.0532 | 2664213.783 | 1204663.6227 | 2664242.2446 | 1204640.1146 | 2664261.7213 | 1204629.3843 | 2664282.4213 | 1204623.0476 | 2664295.5595 | 1204612.4604 | 2664280.4695 | 1204593.7645 | 2664258.2134 | 1204576.4481 | 2664247.1863 | 1204560.5199 | 2664245.7723 | 1204542.7496 | 2664246.5735 | 1204537.5773 | 2664247.0332 | 1204530.2111 | 2664249.5035 | 1204517.6857 | 2664252.3123 | 1204501.2838 | 2664253.2174 | 1204477.268 | 2664255.9497 | 1204461.6102 | 2664264.4538 | 1204447.6044 | 2664273.9308 | 1204432.9753 | 2664283.9357 | 1204418.0851 | 2664284.017 | 1204406.29 | 2664283.2483 | 1204398.5438 | 2664285.5586 | 1204391.709 | 2664286.001 | 1204388.7786 | 2664287.3548 | 1204382.4561 | 2664303.2863 | 1204371.0985 | 2664311.7713 | 1204364.5414 | 2664312.8282 | 1204363.8857
32 | 2664544.4754 | 1204442.5867 | 2664557.9058 | 1204433.9043 | 2664572.5023 | 1204426.4354 | 2664574.1299 | 1204425.5913
33 | 2664544.4754 | 1204442.5867 | 2664539.4011 | 1204447.5015 | 2664527.6304 | 1204460.3043 | 2664519.1516 | 1204471.9197 | 2664525.7623 | 1204478.2949 | 2664529.9548 | 1204487.3901 | 2664533.9567 | 1204493.0034 | 2664539.6563 | 1204497.8012 | 2664551.3344 | 1204518.184 | 2664559.0096 | 1204531.6417 | 2664565.6478 | 1204537.5837 | 2664574.1444 | 1204541.9115 | 2664583.8668 | 1204545.452 | 2664592.4778 | 1204550.4592 | 2664600.5597 | 1204553.7375 | 2664609.1512 | 1204557.0324 | 2664632.0227 | 1204560.9821 | 2664649.3302 | 1204568.7074 | 2664656.4468 | 1204572.609 | 2664670.6574 | 1204581.079
34 | 2664486.4284 | 1204218.514 | 2664488.9126 | 1204220.2641 | 2664491.1985 | 1204224.8693 | 2664492.5217 | 1204233.3776 | 2664491.878 | 1204239.441 | 2664488.6469 | 1204246.9773 | 2664471.9412 | 1204277.8267 | 2664465.0117 | 1204293.906 | 2664461.2641 | 1204307.7072 | 2664460.4186 | 1204314.5048
35 | 2664594.5529 | 1204414.9001 | 2664611.3559 | 1204406.0209
36 | 2664594.5529 | 1204414.9001 | 2664587.9912 | 1204418.3693
37 | 2664611.3559 | 1204406.0209 | 2664618.0658 | 1204401.8243 | 2664622.8354 | 1204398.3516 | 2664628.2287 | 1204393.4959 | 2664632.1627 | 1204389.2136 | 2664635.4176 | 1204383.7122 | 2664638.2136 | 1204377.0273 | 2664640.3144 | 1204369.9013 | 2664643.7089 | 1204355.018 | 2664655.3558 | 1204350.886 | 2664651.8034 | 1204347.3232 | 2664648.9507 | 1204343.7791 | 2664641.274 | 1204332.567 | 2664638.5682 | 1204327.4013 | 2664637.1542 | 1204323.0834 | 2664636.6203 | 1204320.3983 | 2664636.7164 | 1204317.8422 | 2664637.6874 | 1204315.2956 | 2664640.1045 | 1204311.9864 | 2664644.5483 | 1204308.4102 | 2664655.7215 | 1204299.548 | 2664658.3552 | 1204296.608 | 2664659.6544 | 1204294.6654 | 2664660.2652 | 1204292.3595 | 2664660.6044 | 1204288.4386 | 2664660.5488 | 1204283.0347 | 2664659.683 | 1204277.2774 | 2664651.8845 | 1204247.7864 | 2664649.8387 | 1204239.2814 | 2664648.3475 | 1204226.6354 | 2664648.6887 | 1204215.4991
38 | 2664611.3559 | 1204406.0209 | 2664611.4745 | 1204399.2737 | 2664602.4036 | 1204397.3745 | 2664602.5369 | 1204396.3086 | 2664602.2287 | 1204393.0527
39 | 2664587.9912 | 1204418.3693 | 2664584.6823 | 1204420.1188 | 2664574.1299 | 1204425.5913
40 | 2664670.6574 | 1204581.079 | 2664686.1923 | 1204600.7368 | 2664696.1614 | 1204613.7859 | 2664704.4758 | 1204620.1687 | 2664716.5876 | 1204623.6353 | 2664725.6583 | 1204625.5125 | 2664740.8916 | 1204628.7573 | 2664751.9201 | 1204629.6885 | 2664760.6362 | 1204634.7971 | 2664770.2971 | 1204653.8022 | 2664783.5345 | 1204663.5961 | 2664801.9795 | 1204675.1142 | 2664810.1084 | 1204681.272
41 | 2664648.6887 | 1204215.4991 | 2664651.7241 | 1204212.708 | 2664655.214 | 1204205.8861 | 2664658.6023 | 1204194.4048 | 2664661.2744 | 1204182.3042 | 2664664.2273 | 1204177.2998 | 2664668.3961 | 1204173.1313 | 2664674.7356 | 1204170.1426 | 2664681.1529 | 1204169.1114 | 2664693.0565 | 1204169.4072 | 2664698.048 | 1204168.6497 | 2664703.1004 | 1204165.7915 | 2664707.3482 | 1204162.0575 | 2664713.7358 | 1204154.6352
42 | 2664750.2526 | 1204158.3757 | 2664746.8167 | 1204144.0632 | 2664737.622 | 1204138.8159 | 2664728.1249 | 1204141.1144 | 2664716.24 | 1204151.7254 | 2664713.7358 | 1204154.6352
43 | 2665110.0461 | 1203924.2327 | 2665097.5076 | 1203950.9354 | 2665092.8419 | 1203959.4675 | 2665085.5923 | 1203970.5174 | 2665078.5105 | 1203978.7452 | 2665072.797 | 1203984.9867 | 2665063.5593 | 1203993.469 | 2665054.3464 | 1203999.6724 | 2665031.2264 | 1204010.6718 | 2665022.4298 | 1204015.679 | 2665015.2538 | 1204020.6929 | 2665012.7333 | 1204023.0421
44 | 2665090.6945 | 1203697.1752 | 2665085.8005 | 1203707.795 | 2665084.4789 | 1203715.9521 | 2665084.8944 | 1203723.9059 | 2665090.3503 | 1203757.3743 | 2665095.1049 | 1203776.9935 | 2665102.9644 | 1203794.4674 | 2665130.236 | 1203840.3144 | 2665134.2719 | 1203850.4645 | 2665136.3097 | 1203859.6589 | 2665136.4995 | 1203870.1562 | 2665135.0076 | 1203877.889 | 2665128.812 | 1203890.8433
45 | 2664041.2773 | 1204685.3619 | 2664045.4481 | 1204707.8868 | 2664049.0098 | 1204721.9335 | 2664053.8874 | 1204738.1288 | 2664055.8483 | 1204745.3875 | 2664058.4173 | 1204750.5738 | 2664061.3665 | 1204755.0525 | 2664065.1245 | 1204759.3176 | 2664073.4231 | 1204767.2113 | 2664079.8893 | 1204772.8952 | 2664086.8449 | 1204777.6282 | 2664092.5859 | 1204779.9912 | 2664102.3114 | 1204782.5193 | 2664139.5497 | 1204791.0019 | 2664145.3046 | 1204792.7759 | 2664150.1266 | 1204794.9956 | 2664163.6836 | 1204802.7237
46 | 2665033.757 | 1204078.8599 | 2665043.6277 | 1204082.2272
47 | 2665009.0048 | 1204026.5173 | 2665009.0048 | 1204026.5173 | 2665005.2881 | 1204033.859 | 2665003.0491 | 1204041.7394 | 2665004.0301 | 1204050.8667 | 2665008.5015 | 1204060.1654 | 2665014.3485 | 1204066.7996 | 2665023.0089 | 1204073.598 | 2665030.7688 | 1204077.8405 | 2665033.757 | 1204078.8599
48 | 2665009.0048 | 1204026.5173 | 2665012.7333 | 1204023.0421
49 | 2665090.6945 | 1203697.1752 | 2665084.1166 | 1203692.6453 | 2665066.8619 | 1203691.768 | 2665061.9886 | 1203692.104 | 2665057.0513 | 1203694.1181 | 2665053.9718 | 1203698.1203 | 2665047.3729 | 1203712.9796 | 2665043.8032 | 1203736.1436 | 2665039.855 | 1203745.1616 | 2665029.6097 | 1203751.8096 | 2665024.9857 | 1203765.5898 | 2665019.3285 | 1203768.7524 | 2665013.5081 | 1203765.2314 | 2665007.4001 | 1203753.191 | 2665006.0819 | 1203751.1857
50 | 2664984.7139 | 1203741.7262 | 2664993.6606 | 1203741.1343 | 2664999.818 | 1203741.6571 | 2665006.0819 | 1203751.1857
51 | 2664984.7139 | 1203741.7262 | 2664974.5934 | 1203744.6068 | 2664971.1535 | 1203755.865 | 2664971.4647 | 1203769.9213 | 2664943.9743 | 1203775.5369 | 2664924.0809 | 1203776.6325 | 2664890.4865 | 1203769.1186 | 2664835.6417 | 1203767.1443 | 2664795.2837 | 1203758.8682 | 2664785.2255 | 1203759.5262 | 2664751.3502 | 1203763.8616 | 2664730.2923 | 1203768.5029 | 2664724.9667 | 1203769.1678 | 2664719.6912 | 1203768.7104 | 2664714.4173 | 1203767.408 | 2664708.3171 | 1203765.1184 | 2664706.6877 | 1203764.2501
52 | 2664686.5663 | 1203756.4665 | 2664693.5577 | 1203757.2538 | 2664706.6877 | 1203764.2501
53 | 2664047.1111 | 1203777.5685 | 2664042.4564 | 1203781.6544 | 2664038.1001 | 1203790.1364
54 | 2664047.1111 | 1203777.5685 | 2664049.044 | 1203764.7704 | 2664064.0563 | 1203744.1635 | 2664084.2247 | 1203728.7816 | 2664118.4453 | 1203705.7127 | 2664122.0682 | 1203691.4319 | 2664135.0721 | 1203724.6803 | 2664158.5031 | 1203731.4136 | 2664173.3173 | 1203735.6642 | 2664194.8436 | 1203724.2219 | 2664202.4158 | 1203712.7519 | 2664230.0529 | 1203731.6602 | 2664239.2519 | 1203728.1126 | 2664253.2787 | 1203722.0931 | 2664265.634 | 1203722.9154 | 2664290.033 | 1203732.3057 | 2664309.6333 | 1203737.2307 | 2664318.4861 | 1203743.9411 | 2664329.0589 | 1203750.6034 | 2664329.1838 | 1203760.1994 | 2664330.7151 | 1203766.3751 | 2664341.1389 | 1203774.1476 | 2664352.5336 | 1203854.2183 | 2664360.2463 | 1203915.1491
55 | 2664360.2463 | 1203915.1491 | 2664364.5932 | 1203926.9141 | 2664370.1091 | 1203939.2629
56 | 2664360.2463 | 1203915.1491 | 2664367.1588 | 1203884.4273 | 2664385.0946 | 1203853.8466 | 2664386.8926 | 1203843.7488 | 2664390.6971 | 1203833.8506 | 2664398.6735 | 1203816.6455
57 | 2664371.6322 | 1203942.6728 | 2664370.1091 | 1203939.2629
58 | 2664419.3901 | 1203735.7232 | 2664416.4325 | 1203750.3334 | 2664415.6293 | 1203760.5976 | 2664412.1503 | 1203787.5763 | 2664398.6735 | 1203816.6455
59 | 2664686.5663 | 1203756.4665 | 2664677.0596 | 1203766.6142 | 2664673.4733 | 1203768.9657 | 2664668.6018 | 1203770.2748
60 | 2664667.725 | 1203770.5104 | 2664668.6018 | 1203770.2748
61 | 2664651.9513 | 1203778.5274 | 2664659.716 | 1203789.4179
62 | 2664659.716 | 1203789.4179 | 2664638.5192 | 1203803.1072
63 | 2664651.9513 | 1203778.5274 | 2664661.0655 | 1203772.3 | 2664667.725 | 1203770.5104
64 | 2664444.852 | 1204130.2235 | 2664446.6546 | 1204119.7033 | 2664450.6936 | 1204116.267 | 2664453.6125 | 1204112.285 | 2664467.8141 | 1204104.1 | 2664473.7423 | 1204101.8626 | 2664480.1218 | 1204100.8086 | 2664487.0059 | 1204100.227 | 2664491.5497 | 1204098.664 | 2664496.999 | 1204087.227 | 2664504.4565 | 1204073.7216 | 2664510.714 | 1204070.5762 | 2664508.6101 | 1204063.2046 | 2664517.1061 | 1204052.1675 | 2664527.5651 | 1204037.605 | 2664528.4802 | 1204026.8529 | 2664525.4612 | 1204007.6977 | 2664525.2781 | 1203998.5902 | 2664531.6764 | 1203987.3637 | 2664533.6668 | 1203968.6295 | 2664542.2597 | 1203932.4561 | 2664564.3871 | 1203907.647 | 2664566.2501 | 1203903.5202 | 2664589.9352 | 1203890.8797 | 2664603.4491 | 1203879.519 | 2664608.8004 | 1203861.7106 | 2664613.3402 | 1203835.922 | 2664634.9287 | 1203805.426 | 2664638.5192 | 1203803.1072
65 | 2664444.852 | 1204130.2235 | 2664438.9576 | 1204117.3522 | 2664437.1979 | 1204112.6193 | 2664437.1397 | 1204105.3254 | 2664436.5411 | 1204090.2877 | 2664428.8649 | 1204066.9686 | 2664422.1546 | 1204037.334 | 2664405.2356 | 1204003.2979 | 2664391.2246 | 1203981.0891 | 2664389.1485 | 1203975.3522 | 2664384.8211 | 1203964.1931
66 | 2664444.852 | 1204130.2235 | 2664452.671 | 1204131.8421 | 2664455.2091 | 1204137.762 | 2664463.4142 | 1204157.1733 | 2664468.2318 | 1204169.7106 | 2664485.8786 | 1204167.9777 | 2664489.1939 | 1204168.8585 | 2664493.6992 | 1204174.3771 | 2664495.6742 | 1204183.6161
67 | 2664459.2388 | 1204221.8782 | 2664466.7923 | 1204220.5923 | 2664481.4207 | 1204217.9597 | 2664486.4284 | 1204218.514
68 | 2664486.4284 | 1204218.514 | 2664491.7356 | 1204197.681 | 2664496.9364 | 1204189.5211 | 2664495.6742 | 1204183.6161
69 | 2664459.2388 | 1204221.8782 | 2664450.373 | 1204231.3902
70 | 2664459.2388 | 1204221.8782 | 2664454.5095 | 1204218.0805 | 2664448.6098 | 1204210.9004
71 | 2664371.6322 | 1203942.6728 | 2664375.2169 | 1203950.6983 | 2664383.9444 | 1203961.9325 | 2664384.8211 | 1203964.1931
72 | 2664419.3901 | 1203735.7232 | 2664424.1228 | 1203727.2323

## bus_geodata
| x | y | coords
0 | 2665346.6699 | 1203884.8802
1 | 2665425.1002 | 1203893.9696
2 | 2665322.2494 | 1203946.4856
3 | 2665445.7295 | 1203889.8635
4 | 2665203.4546 | 1204073.6423
5 | 2665334.6753 | 1203960.7245
6 | 2665195.8372 | 1204084.8557
7 | 2665339.7889 | 1203970.6474
8 | 2665145.372 | 1203932.1458
9 | 2665110.7105 | 1203922.8179
10 | 2665152.0011 | 1203932.0396
11 | 2665193.8662 | 1204087.7573
12 | 2665213.1659 | 1204159.6016
13 | 2665213.58 | 1204168.8273
14 | 2665215.4199 | 1204190.2097
15 | 2665106.1688 | 1204220.0251
16 | 2665223.8064 | 1204190.7281
17 | 2665217.9458 | 1204215.9862
18 | 2665047.6239 | 1204325.5175
19 | 2665082.0894 | 1204168.3427
20 | 2665232.6253 | 1204294.508
21 | 2665046.1132 | 1204083.0751
22 | 2665292.7302 | 1203690.9536
23 | 2665204.2398 | 1203702.8055
24 | 2665306.2058 | 1203675.5481
25 | 2664471.9668 | 1204405.815
26 | 2664312.8282 | 1204363.8857
27 | 2664544.4754 | 1204442.5867
28 | 2664460.4186 | 1204314.5048
29 | 2664594.5529 | 1204414.9001
30 | 2664611.3559 | 1204406.0209
31 | 2664587.9912 | 1204418.3693
32 | 2664670.6574 | 1204581.079
33 | 2664810.1084 | 1204681.272
34 | 2664648.6887 | 1204215.4991
35 | 2664602.2287 | 1204393.0527
36 | 2664574.1299 | 1204425.5913
37 | 2664713.7358 | 1204154.6352
38 | 2665110.0461 | 1203924.2327
39 | 2665128.812 | 1203890.8433
40 | 2665159.6354 | 1203930.9282
41 | 2664041.2773 | 1204685.3619
42 | 2664163.6836 | 1204802.7237
43 | 2665043.6277 | 1204082.2272
44 | 2665033.757 | 1204078.8599
45 | 2665009.0048 | 1204026.5173
46 | 2665012.7333 | 1204023.0421
47 | 2665090.6945 | 1203697.1752
48 | 2665006.0819 | 1203751.1857
49 | 2664984.7139 | 1203741.7262
50 | 2665239.3625 | 1203718.7763
51 | 2664706.6877 | 1203764.2501
52 | 2664038.1001 | 1203790.1364
53 | 2664047.1111 | 1203777.5685
54 | 2664360.2463 | 1203915.1491
55 | 2664370.1091 | 1203939.2629
56 | 2664398.6735 | 1203816.6455
57 | 2664686.5663 | 1203756.4665
58 | 2664668.6018 | 1203770.2748
59 | 2664750.2526 | 1204158.3757
60 | 2664659.716 | 1203789.4179
61 | 2664651.9513 | 1203778.5274
62 | 2664638.5192 | 1203803.1072
63 | 2664667.725 | 1203770.5104
64 | 2664444.852 | 1204130.2235
65 | 2664486.4284 | 1204218.514
66 | 2664459.2388 | 1204221.8782
67 | 2664495.6742 | 1204183.6161
68 | 2664450.373 | 1204231.3902
69 | 2664448.6098 | 1204210.9004
70 | 2664384.8211 | 1203964.1931
71 | 2664371.6322 | 1203942.6728
72 | 2664419.3901 | 1203735.7232
73 | 2664424.1228 | 1203727.2323
74 | 2665110.7105 | 1203922.8179

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9909 | -0.17569 | 0.0024069 | 0.00060323
1 | 0.99076 | -0.17831 | 0.001273 | 0.00031906
2 | 0.99117 | -0.1703 | 0 | 0
3 | 0.99075 | -0.17853 | 0.00057689 | 0.00014458
4 | 0.99249 | -0.14477 | 0 | 0
5 | 0.99113 | -0.17123 | 0.00079701 | 0.00019975
6 | 0.99258 | -0.1431 | 0.00088856 | 0.00022269
7 | 0.99111 | -0.17161 | 0.0019007 | 0.00047636
8 | 0.9999 | -0.0019414 | 0 | 0
9 | 1 | 0 | -0.063496 | -0.015687
10 | 0.99989 | -0.0022105 | 0.0016831 | 0.00042184
11 | 0.9926 | -0.14261 | 0 | 0
12 | 0.99241 | -0.14627 | 0.0004487 | 0.00011245
13 | 0.99239 | -0.14665 | 0.00031119 | 7.799e-05
14 | 0.99235 | -0.1474 | 0 | 0
15 | 0.99424 | -0.11083 | 0 | 0
16 | 0.99235 | -0.14746 | 0.00037227 | 9.33e-05
17 | 0.99232 | -0.14814 | 0.0016117 | 0.00040394
18 | 0.9941 | -0.11361 | 0 | 0
19 | 0.99491 | -0.09788 | 0.0020367 | 0.00051044
20 | 0.99391 | -0.11725 | 0.0010592 | 0.00026546
21 | 0.99646 | -0.068079 | 0.00075836 | 0.00019006
22 | 0.98751 | -0.24024 | 0 | 0
23 | 0.98874 | -0.21625 | 0 | 0
24 | 0.98722 | -0.24584 | 0.014958 | 0.0037488
25 | 0.9769 | -0.44937 | 0 | 0
26 | 0.97684 | -0.45049 | 0 | 0
27 | 0.97651 | -0.45691 | 0 | 0
28 | 0.97738 | -0.43962 | 0.00030472 | 7.6371e-05
29 | 0.97631 | -0.461 | 0 | 0
30 | 0.97625 | -0.46208 | 0 | 0
31 | 0.97633 | -0.46058 | 0.00066835 | 0.0001675
32 | 0.97634 | -0.46043 | 0 | 0
33 | 0.9762 | -0.4631 | 0.00080871 | 0.00020268
34 | 0.97566 | -0.47372 | 0 | 0
35 | 0.97625 | -0.46219 | 0.00030472 | 7.6371e-05
36 | 0.97638 | -0.45951 | 0.00037191 | 9.321e-05
37 | 0.97541 | -0.4788 | 0.00038065 | 9.54e-05
38 | 0.99997 | -0.00049714 | 0.00099721 | 0.00024992
39 | 0.99862 | -0.026203 | 0.0011843 | 0.00029682
40 | 0.99988 | -0.002295 | 0.00062871 | 0.00015757
41 | 0.97666 | -0.45425 | 0 | 0
42 | 0.97661 | -0.4554 | 0.00033335 | 8.3545e-05
43 | 0.99649 | -0.067411 | 0.00061276 | 0.00015357
44 | 0.99663 | -0.064648 | 0.0012895 | 0.00032318
45 | 0.99765 | -0.04518 | 0.00036549 | 9.16e-05
46 | 0.99772 | -0.043685 | 0.0004916 | 0.00012321
47 | 0.99107 | -0.17104 | 0 | 0
48 | 0.98866 | -0.21786 | 0.0028764 | 0.00072088
49 | 0.98829 | -0.22503 | 0 | 0
50 | 0.98851 | -0.22082 | 0.0066182 | 0.0016587
51 | 0.98405 | -0.30782 | 0.00093203 | 0.00023359
52 | 0.97786 | -0.43026 | 0.00060551 | 0.00015176
53 | 0.97787 | -0.43008 | 0 | 0
54 | 0.97817 | -0.42397 | 0 | 0
55 | 0.97821 | -0.42316 | 0.00028416 | 7.1218e-05
56 | 0.97807 | -0.42606 | 0.00043881 | 0.00010998
57 | 0.98377 | -0.31342 | 0 | 0
58 | 0.98346 | -0.31937 | 0.00056126 | 0.00014067
59 | 0.97528 | -0.48122 | 0.0024004 | 0.0006016
60 | 0.98313 | -0.3259 | 0 | 0
61 | 0.98327 | -0.32321 | 0 | 0
62 | 0.98287 | -0.33099 | 0.00037561 | 9.4137e-05
63 | 0.98345 | -0.31959 | 0.0024607 | 0.00061671
64 | 0.97878 | -0.41185 | 0 | 0
65 | 0.97793 | -0.42884 | 0 | 0
66 | 0.97789 | -0.4296 | 0 | 0
67 | 0.97817 | -0.42399 | 0.00054205 | 0.00013585
68 | 0.97788 | -0.4298 | 0.00087063 | 0.0002182
69 | 0.97788 | -0.42977 | 0.00063789 | 0.00015987
70 | 0.97828 | -0.4219 | 0.00065648 | 0.00016453
71 | 0.97822 | -0.42303 | 0.00044494 | 0.00011151
72 | 0.97802 | -0.42703 | 0 | 0
73 | 0.97801 | -0.42715 | 0.0006304 | 0.00015799
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0018502 | 0.00046249 | -0.0018499 | -0.00046337 | 2.3059e-07 | -8.7858e-07 | 0.002778 | 0.0027783 | 0.0027783 | 0.9909 | -0.17569 | 0.99076 | -0.17831 | 0.76327
1 | -0.0042571 | -0.0010657 | 0.0042582 | 0.0010655 | 1.0927e-06 | -2.1955e-07 | 0.0063924 | 0.006392 | 0.0063924 | 0.9909 | -0.17569 | 0.99117 | -0.1703 | 1.7561
2 | 0.00057689 | 0.00014431 | -0.00057689 | -0.00014458 | 5.9591e-09 | -2.6881e-07 | 0.00086634 | 0.00086643 | 0.00086643 | 0.99076 | -0.17831 | 0.99075 | -0.17853 | 0.23803
3 | -0.006956 | -0.0017413 | 0.0069645 | 0.0017441 | 8.4587e-06 | 2.7435e-06 | 0.010442 | 0.010441 | 0.010442 | 0.99117 | -0.1703 | 0.99249 | -0.14477 | 2.8687
4 | 0.0026979 | 0.00067581 | -0.0026977 | -0.00067599 | 1.1939e-07 | -1.7373e-07 | 0.0040501 | 0.0040502 | 0.0040502 | 0.99117 | -0.1703 | 0.99113 | -0.17123 | 1.1127
5 | -0.0069645 | -0.0017441 | 0.006965 | 0.0017442 | 5.5419e-07 | 1.7948e-07 | 0.010441 | 0.010441 | 0.010441 | 0.99249 | -0.14477 | 0.99258 | -0.1431 | 2.8685
6 | 0.0019007 | 0.00047624 | -0.0019007 | -0.00047636 | 3.4088e-08 | -1.2204e-07 | 0.0028536 | 0.0028536 | 0.0028536 | 0.99113 | -0.17123 | 0.99111 | -0.17161 | 0.78397
7 | -0.0078536 | -0.0019669 | 0.0078538 | 0.001967 | 1.8233e-07 | 7.135e-08 | 0.011773 | 0.011773 | 0.011773 | 0.99258 | -0.1431 | 0.9926 | -0.14261 | 3.2344
8 | -0.0023119 | -0.00057924 | 0.0023121 | 0.00057874 | 2.137e-07 | -4.9484e-07 | 0.0034404 | 0.0034402 | 0.0034404 | 0.9999 | -0.0019414 | 1 | 0 | 0.94517
9 | 0.0023119 | 0.00057924 | -0.0023119 | -0.00057931 | 2.963e-08 | -6.8595e-08 | 0.0034404 | 0.0034404 | 0.0034404 | 0.9999 | -0.0019414 | 0.99989 | -0.0022105 | 0.94518
10 | 0.018307 | 0.0046114 | -0.018307 | -0.0046112 | 4.3524e-07 | 2.5805e-07 | 0.02725 | 0.02725 | 0.02725 | 1 | 0 | 0.99997 | -0.00049714 | 7.4862
11 | 0.041227 | 0.010496 | -0.041175 | -0.010464 | 5.2023e-05 | 3.2812e-05 | 0.061404 | 0.061405 | 0.061405 | 1 | 0 | 0.99862 | -0.026203 | 16.8694
12 | 0.00062871 | 0.00015747 | -0.00062871 | -0.00015757 | 2.5325e-09 | -9.9568e-08 | 0.0009356 | 0.00093564 | 0.00093564 | 0.99989 | -0.0022105 | 0.99988 | -0.002295 | 0.25704
13 | -0.010598 | -0.0026533 | 0.010614 | 0.0026614 | 1.6055e-05 | 8.0787e-06 | 0.015887 | 0.015886 | 0.015887 | 0.9926 | -0.14261 | 0.99424 | -0.11083 | 4.3646
14 | 0.0027445 | 0.00068629 | -0.0027441 | -0.00068695 | 4.7791e-07 | -6.6727e-07 | 0.0041138 | 0.0041142 | 0.0041142 | 0.9926 | -0.14261 | 0.99241 | -0.14627 | 1.1303
15 | 0.0022954 | 0.0005745 | -0.0022953 | -0.00057459 | 4.1015e-08 | -9.3073e-08 | 0.0034414 | 0.0034414 | 0.0034414 | 0.99241 | -0.14627 | 0.99239 | -0.14665 | 0.94545
16 | 0.0019841 | 0.0004966 | -0.0019841 | -0.00049683 | 7.1226e-08 | -2.317e-07 | 0.0029748 | 0.0029749 | 0.0029749 | 0.99239 | -0.14665 | 0.99235 | -0.1474 | 0.81729
17 | 0.00037227 | 9.3193e-05 | -0.00037227 | -9.33e-05 | 9.818e-10 | -1.0793e-07 | 0.00055818 | 0.00055822 | 0.00055822 | 0.99235 | -0.1474 | 0.99235 | -0.14746 | 0.15336
18 | 0.0016118 | 0.00040364 | -0.0016117 | -0.00040394 | 5.6739e-08 | -2.9834e-07 | 0.0024167 | 0.0024169 | 0.0024169 | 0.99235 | -0.1474 | 0.99232 | -0.14814 | 0.66397
19 | 0.0010595 | 0.00026124 | -0.0010594 | -0.00026306 | 1.3913e-07 | -1.827e-06 | 0.0015842 | 0.0015849 | 0.0015849 | 0.99424 | -0.11083 | 0.9941 | -0.11361 | 0.4354
20 | -0.011674 | -0.0029226 | 0.011681 | 0.0029264 | 7.2004e-06 | 3.7918e-06 | 0.01747 | 0.01747 | 0.01747 | 0.99424 | -0.11083 | 0.99491 | -0.09788 | 4.7996
21 | 0.0010594 | 0.00026306 | -0.0010592 | -0.00026546 | 1.827e-07 | -2.396e-06 | 0.0015849 | 0.0015858 | 0.0015858 | 0.9941 | -0.11361 | 0.99391 | -0.11725 | 0.43565
22 | -0.013718 | -0.0034368 | 0.013737 | 0.0034477 | 1.9497e-05 | 1.0871e-05 | 0.020516 | 0.020516 | 0.020516 | 0.99491 | -0.09788 | 0.99646 | -0.068079 | 5.6363
23 | -0.014496 | -0.0036378 | 0.014496 | 0.003638 | 4.6153e-07 | 2.6117e-07 | 0.021648 | 0.021648 | 0.021648 | 0.99646 | -0.068079 | 0.99649 | -0.067411 | 5.9473
24 | -0.014962 | -0.0037511 | 0.014979 | 0.0037609 | 1.7122e-05 | 9.8073e-06 | 0.022546 | 0.022545 | 0.022546 | 0.98751 | -0.24024 | 0.98874 | -0.21625 | 6.1939
25 | 0.014962 | 0.0037511 | -0.014958 | -0.0037488 | 3.9909e-06 | 2.2864e-06 | 0.022546 | 0.022546 | 0.022546 | 0.98751 | -0.24024 | 0.98722 | -0.24584 | 6.1939
26 | 0.0066196 | 0.0016591 | -0.0066182 | -0.0016587 | 1.4402e-06 | 4.2555e-07 | 0.0099623 | 0.0099625 | 0.0099625 | 0.98874 | -0.21625 | 0.98851 | -0.22082 | 2.7369
27 | -0.021599 | -0.00542 | 0.021645 | 0.0054484 | 4.6673e-05 | 2.8357e-05 | 0.032508 | 0.032507 | 0.032508 | 0.98874 | -0.21625 | 0.99107 | -0.17104 | 8.9307
28 | 0.00033344 | 7.1751e-05 | -0.00033342 | -7.3856e-05 | 1.6116e-08 | -2.1056e-06 | 0.00050394 | 0.0005046 | 0.0005046 | 0.9769 | -0.44937 | 0.97684 | -0.45049 | 0.13863
29 | 0.0049402 | 0.001228 | -0.0049384 | -0.0012279 | 1.7635e-06 | 8.8308e-08 | 0.0075213 | 0.0075217 | 0.0075217 | 0.9769 | -0.44937 | 0.97651 | -0.45691 | 2.0664
30 | -0.0052736 | -0.0012998 | 0.005276 | 0.0013001 | 2.4204e-06 | 2.9358e-07 | 0.008025 | 0.0080246 | 0.008025 | 0.9769 | -0.44937 | 0.97738 | -0.43962 | 2.2047
31 | 0.00033342 | 7.3856e-05 | -0.00033337 | -8.1201e-05 | 5.6577e-08 | -7.3447e-06 | 0.0005046 | 0.00050707 | 0.00050707 | 0.97684 | -0.45049 | 0.97666 | -0.45425 | 0.13931
32 | 0.0041295 | 0.0010303 | -0.004129 | -0.0010304 | 5.0789e-07 | -1.0303e-07 | 0.0062908 | 0.006291 | 0.006291 | 0.97651 | -0.45691 | 0.97638 | -0.45951 | 1.7283
33 | 0.00080895 | 0.00019764 | -0.00080882 | -0.00020049 | 1.3355e-07 | -2.8522e-06 | 0.0012309 | 0.0012319 | 0.0012319 | 0.97651 | -0.45691 | 0.97634 | -0.46043 | 0.33844
34 | -0.0055808 | -0.0013764 | 0.0055836 | 0.0013769 | 2.8324e-06 | 4.9822e-07 | 0.0084885 | 0.008488 | 0.0084885 | 0.97738 | -0.43962 | 0.97793 | -0.42884 | 2.332
35 | 0.0030885 | 0.0007698 | -0.0030883 | -0.00076994 | 1.5747e-07 | -1.3634e-07 | 0.0047057 | 0.0047058 | 0.0047058 | 0.97631 | -0.461 | 0.97625 | -0.46208 | 1.2928
36 | -0.0030885 | -0.0007698 | 0.0030885 | 0.00076975 | 6.1633e-08 | -5.3373e-08 | 0.0047057 | 0.0047056 | 0.0047057 | 0.97631 | -0.461 | 0.97633 | -0.46058 | 1.2928
37 | 0.0027836 | 0.00069382 | -0.002782 | -0.00069568 | 1.5396e-06 | -1.8658e-06 | 0.0042414 | 0.0042424 | 0.0042424 | 0.97625 | -0.46208 | 0.97566 | -0.47372 | 1.1655
38 | 0.00030472 | 7.6117e-05 | -0.00030472 | -7.6371e-05 | 1.6468e-09 | -2.5352e-07 | 0.00046437 | 0.00046446 | 0.00046446 | 0.97625 | -0.46208 | 0.97625 | -0.46219 | 0.1276
39 | -0.0037569 | -0.00093725 | 0.0037571 | 0.00093718 | 1.9205e-07 | -7.2558e-08 | 0.0057243 | 0.0057242 | 0.0057243 | 0.97633 | -0.46058 | 0.97638 | -0.45951 | 1.5726
40 | 0.00080882 | 0.00020049 | -0.00080871 | -0.00020268 | 1.0267e-07 | -2.1887e-06 | 0.0012319 | 0.0012327 | 0.0012327 | 0.97634 | -0.46043 | 0.9762 | -0.4631 | 0.33866
41 | 0.002782 | 0.00069568 | -0.0027814 | -0.0006965 | 6.7211e-07 | -8.1303e-07 | 0.0042424 | 0.0042429 | 0.0042429 | 0.97566 | -0.47372 | 0.97541 | -0.4788 | 1.1656
42 | 0.0024007 | 0.0006011 | -0.0024004 | -0.0006016 | 2.7587e-07 | -5.0798e-07 | 0.0036622 | 0.0036624 | 0.0036624 | 0.97541 | -0.4788 | 0.97528 | -0.48122 | 1.0062
43 | 0.01731 | 0.0043613 | -0.017274 | -0.0043403 | 3.5683e-05 | 2.0961e-05 | 0.025766 | 0.025766 | 0.025766 | 0.99997 | -0.00049714 | 0.99772 | -0.043685 | 7.0787
44 | 0.039991 | 0.010167 | -0.039714 | -0.0099923 | 0.00027691 | 0.00017453 | 0.05964 | 0.059641 | 0.059641 | 0.99862 | -0.026203 | 0.99107 | -0.17104 | 16.3849
45 | 0.00033337 | 8.1201e-05 | -0.00033335 | -8.3545e-05 | 1.8182e-08 | -2.3441e-06 | 0.00050707 | 0.00050791 | 0.00050791 | 0.97666 | -0.45425 | 0.97661 | -0.4554 | 0.13954
46 | -0.015109 | -0.0037916 | 0.015111 | 0.0037927 | 1.9911e-06 | 1.1384e-06 | 0.022563 | 0.022563 | 0.022563 | 0.99649 | -0.067411 | 0.99663 | -0.064648 | 6.1987
47 | -0.0164 | -0.0041159 | 0.016416 | 0.0041248 | 1.5241e-05 | 8.87e-06 | 0.024488 | 0.024488 | 0.024488 | 0.99663 | -0.064648 | 0.99765 | -0.04518 | 6.7276
48 | -0.016781 | -0.0042164 | 0.016782 | 0.0042171 | 1.1978e-06 | 7.0002e-07 | 0.025033 | 0.025033 | 0.025033 | 0.99765 | -0.04518 | 0.99772 | -0.043685 | 6.8773
49 | 0.018068 | 0.0045439 | -0.018028 | -0.00452 | 4.0311e-05 | 2.3922e-05 | 0.027134 | 0.027134 | 0.027134 | 0.99107 | -0.17104 | 0.98866 | -0.21786 | 7.4545
50 | 0.015152 | 0.0037991 | -0.015146 | -0.0037961 | 5.1778e-06 | 2.9735e-06 | 0.022805 | 0.022805 | 0.022805 | 0.98866 | -0.21786 | 0.98829 | -0.22503 | 6.2652
51 | 0.015146 | 0.0037961 | -0.015087 | -0.0037619 | 5.9505e-05 | 3.4191e-05 | 0.022805 | 0.022807 | 0.022807 | 0.98829 | -0.22503 | 0.98405 | -0.30782 | 6.2656
52 | 0.014155 | 0.0035283 | -0.014151 | -0.0035262 | 3.7624e-06 | 2.1296e-06 | 0.021397 | 0.021397 | 0.021397 | 0.98405 | -0.30782 | 0.98377 | -0.31342 | 5.8784
53 | -0.00060551 | -0.00015176 | 0.00060552 | 0.00015156 | 5.0073e-09 | -1.9411e-07 | 0.00092142 | 0.00092135 | 0.00092142 | 0.97786 | -0.43026 | 0.97787 | -0.43008 | 0.25314
54 | -0.00060552 | -0.00015156 | 0.00060569 | 0.00014483 | 1.7323e-07 | -6.7362e-06 | 0.00092135 | 0.00091894 | 0.00092135 | 0.97787 | -0.43008 | 0.97817 | -0.42397 | 0.25312
55 | -0.001675 | -0.00041036 | 0.0016751 | 0.00041008 | 6.3299e-08 | -2.8672e-07 | 0.0025448 | 0.0025446 | 0.0025448 | 0.97817 | -0.42397 | 0.97821 | -0.42316 | 0.69911
56 | 0.0010694 | 0.00026554 | -0.0010692 | -0.00026681 | 1.0587e-07 | -1.2723e-06 | 0.0016258 | 0.0016263 | 0.0016263 | 0.97817 | -0.42397 | 0.97807 | -0.42606 | 0.44679
57 | -0.0019593 | -0.00048129 | 0.0019593 | 0.00048126 | 1.2411e-08 | -3.8942e-08 | 0.0029769 | 0.0029769 | 0.0029769 | 0.97821 | -0.42316 | 0.97822 | -0.42303 | 0.81783
58 | 0.00063043 | 0.00015683 | -0.0006304 | -0.00015787 | 2.9118e-08 | -1.0411e-06 | 0.00095871 | 0.00095909 | 0.00095909 | 0.97807 | -0.42606 | 0.97802 | -0.42703 | 0.26349
59 | 0.014151 | 0.0035262 | -0.014147 | -0.0035239 | 3.9898e-06 | 2.2585e-06 | 0.021397 | 0.021398 | 0.021398 | 0.98377 | -0.31342 | 0.98346 | -0.31937 | 5.8784
60 | 0.013586 | 0.0033833 | -0.013586 | -0.0033832 | 1.4377e-07 | 8.0489e-08 | 0.020548 | 0.020548 | 0.020548 | 0.98346 | -0.31937 | 0.98345 | -0.31959 | 5.6451
61 | -0.011122 | -0.0027648 | 0.011123 | 0.0027655 | 1.4186e-06 | 7.3843e-07 | 0.016825 | 0.016825 | 0.016825 | 0.98313 | -0.3259 | 0.98327 | -0.32321 | 4.6223
62 | 0.011122 | 0.0027648 | -0.011119 | -0.0027634 | 2.6787e-06 | 1.3945e-06 | 0.016825 | 0.016825 | 0.016825 | 0.98313 | -0.3259 | 0.98287 | -0.33099 | 4.6224
63 | -0.011123 | -0.0027655 | 0.011125 | 0.0027665 | 1.9039e-06 | 9.9095e-07 | 0.016825 | 0.016825 | 0.016825 | 0.98327 | -0.32321 | 0.98345 | -0.31959 | 4.6223
64 | 0.010744 | 0.0026692 | -0.010703 | -0.0026482 | 4.0972e-05 | 2.1005e-05 | 0.016257 | 0.016259 | 0.016259 | 0.98287 | -0.33099 | 0.97878 | -0.41185 | 4.4667
65 | 0.0030623 | 0.00075574 | -0.0030608 | -0.00075706 | 1.4511e-06 | -1.3177e-06 | 0.0046513 | 0.0046521 | 0.0046521 | 0.97878 | -0.41185 | 0.97828 | -0.4219 | 1.2781
66 | 0.0076402 | 0.0018925 | -0.0076359 | -0.0018908 | 4.3787e-06 | 1.7138e-06 | 0.011607 | 0.011608 | 0.011608 | 0.97878 | -0.41185 | 0.97817 | -0.42399 | 3.1889
67 | 0.0015086 | 0.00037741 | -0.0015085 | -0.00037772 | 5.4304e-08 | -3.101e-07 | 0.0022952 | 0.0022954 | 0.0022954 | 0.97793 | -0.42884 | 0.97789 | -0.4296 | 0.63059
68 | -0.0070922 | -0.0017543 | 0.0070938 | 0.0017549 | 1.6226e-06 | 5.7148e-07 | 0.010783 | 0.010783 | 0.010783 | 0.97793 | -0.42884 | 0.97817 | -0.42399 | 2.9624
69 | 0.00087064 | 0.00021804 | -0.00087063 | -0.0002182 | 8.558e-09 | -1.5765e-07 | 0.0013248 | 0.0013248 | 0.0013248 | 0.97789 | -0.4296 | 0.97788 | -0.4298 | 0.36396
70 | 0.0006379 | 0.00015968 | -0.00063789 | -0.00015987 | 5.4261e-09 | -1.892e-07 | 0.0009706 | 0.00097067 | 0.00097067 | 0.97789 | -0.4296 | 0.97788 | -0.42977 | 0.26667
71 | 0.0024044 | 0.00059253 | -0.0024042 | -0.00059277 | 1.2735e-07 | -2.3789e-07 | 0.0036536 | 0.0036537 | 0.0036537 | 0.97828 | -0.4219 | 0.97822 | -0.42303 | 1.0038
72 | 0.0006304 | 0.00015787 | -0.0006304 | -0.00015799 | 3.3533e-09 | -1.1984e-07 | 0.00095909 | 0.00095914 | 0.00095914 | 0.97802 | -0.42703 | 0.97801 | -0.42715 | 0.2635

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.063496 | 0.015687

## res_load
| p_mw | q_mvar
0 | 0.0024069 | 0.00060323
1 | 0.001273 | 0.00031906
2 | 0.00057689 | 0.00014458
3 | 0.00079701 | 0.00019975
4 | 0.00088856 | 0.00022269
5 | 0.0019007 | 0.00047636
6 | 0.0016831 | 0.00042184
7 | 0.0004487 | 0.00011245
8 | 0.00031119 | 7.799e-05
9 | 0.00037227 | 9.33e-05
10 | 0.0016117 | 0.00040394
11 | 0.0020367 | 0.00051044
12 | 0.0010592 | 0.00026546
13 | 0.00075836 | 0.00019006
14 | 0.014958 | 0.0037488
15 | 0.00030472 | 7.6371e-05
16 | 0.00066835 | 0.0001675
17 | 0.00080871 | 0.00020268
18 | 0.00030472 | 7.6371e-05
19 | 0.00037191 | 9.321e-05
20 | 0.00038065 | 9.54e-05
21 | 0.00099721 | 0.00024992
22 | 0.0011843 | 0.00029682
23 | 0.00062871 | 0.00015757
24 | 0.00033335 | 8.3545e-05
25 | 0.00061276 | 0.00015357
26 | 0.0012895 | 0.00032318
27 | 0.00036549 | 9.16e-05
28 | 0.0004916 | 0.00012321
29 | 0.0028764 | 0.00072088
30 | 0.0066182 | 0.0016587
31 | 0.00093203 | 0.00023359
32 | 0.00060551 | 0.00015176
33 | 0.00028416 | 7.1218e-05
34 | 0.00043881 | 0.00010998
35 | 0.00056126 | 0.00014067
36 | 0.0024004 | 0.0006016
37 | 0.00037561 | 9.4137e-05
38 | 0.0024607 | 0.00061671
39 | 0.00054205 | 0.00013585
40 | 0.00087063 | 0.0002182
41 | 0.00063789 | 0.00015987
42 | 0.00065648 | 0.00016453
43 | 0.00044494 | 0.00011151
44 | 0.0006304 | 0.00015799

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1