## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1507-3_1_4_node_25 | 0.4 | n |  | TRUE
1 | bus_LV_1507-3_1_4_node_26 | 0.4 | n |  | TRUE
2 | bus_LV_1507-3_1_4_node_27 | 0.4 | n |  | TRUE
3 | bus_LV_1507-3_1_4_node_32 | 0.4 | n |  | TRUE
4 | bus_LV_1507-3_1_4_node_73 | 0.4 | n |  | TRUE
5 | bus_LV_1507-3_1_4_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_1507-3_1_4_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_1507-3_1_4_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_1507-3_1_4_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_1507-3_1_4_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_1507-3_1_4_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_1507-3_1_4_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_1507-3_1_4_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_1507-3_1_4_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_1507-3_1_4_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_1507-3_1_4_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_1507-3_1_4_node_90 | 0.4 | n |  | TRUE
17 | bus_LV_1507-3_1_4_node_88 | 0.4 | n |  | TRUE
18 | bus_LV_1507-3_1_4_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_1507-3_1_4_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_1507-3_1_4_node_96 | 0.4 | n |  | TRUE
21 | bus_LV_1507-3_1_4_node_105 | 0.4 | n |  | TRUE
22 | bus_LV_1507-3_1_4_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_1507-3_1_4_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_1507-3_1_4_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_1507-3_1_4_node_64 | 0.4 | n |  | TRUE
26 | bus_LV_1507-3_1_4_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_1507-3_1_4_node_100 | 0.4 | n |  | TRUE
28 | bus_LV_1507-3_1_4_node_91 | 0.4 | n |  | TRUE
29 | bus_LV_1507-3_1_4_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_1507-3_1_4_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_1507-3_1_4_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_1507-3_1_4_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_1507-3_1_4_node_115 | 0.4 | n |  | TRUE
34 | bus_LV_1507-3_1_4_node_70 | 0.4 | n |  | TRUE
35 | bus_LV_1507-3_1_4_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_1507-3_1_4_node_72 | 0.4 | n |  | TRUE
37 | bus_LV_1507-3_1_4_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_1507-3_1_4_node_92 | 0.4 | n |  | TRUE
39 | bus_LV_1507-3_1_4_node_109 | 0.4 | n |  | TRUE
40 | bus_LV_1507-3_1_4_node_78 | 0.4 | n |  | TRUE
41 | bus_LV_1507-3_1_4_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_1507-3_1_4_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_1507-3_1_4_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_1507-3_1_4_node_82 | 0.4 | n |  | TRUE
45 | bus_LV_1507-3_1_4_node_104 | 0.4 | n |  | TRUE
46 | bus_LV_1507-3_1_4_node_112 | 0.4 | n |  | TRUE
47 | bus_LV_1507-3_1_4_node_89 | 0.4 | n |  | TRUE
48 | bus_LV_1507-3_1_4_node_120 | 0.4 | n |  | TRUE
49 | bus_LV_1507-3_1_4_node_101 | 0.4 | n |  | TRUE
50 | bus_LV_1507-3_1_4_node_102 | 0.4 | n |  | TRUE
51 | bus_LV_1507-3_1_4_node_113 | 0.4 | n |  | TRUE
52 | bus_LV_1507-3_1_4_node_103 | 0.4 | n |  | TRUE
53 | bus_LV_1507-3_1_4_node_110 | 0.4 | n |  | TRUE
54 | bus_LV_1507-3_1_4_node_111 | 0.4 | n |  | TRUE
55 | bus_LV_1507-3_1_4_node_114 | 0.4 | n |  | TRUE
56 | bus_LV_1507-3_1_4_node_116 | 0.4 | n |  | TRUE
57 | bus_LV_1507-3_1_4_node_117 | 0.4 | n |  | TRUE
58 | bus_MV_23_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1507-3_1_4_load_25 | 0 | 0.0024043 | 0.00060257 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1507-3_1_4_load_26 | 1 | 0.0016594 | 0.00041589 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1507-3_1_4_load_27 | 2 | 0.0022647 | 0.00056758 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1507-3_1_4_load_32 | 3 | 0.0021957 | 0.00055028 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1507-3_1_4_load_73 | 4 | 0.0071123 | 0.0017825 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1507-3_1_4_load_28 | 5 | 0.0018439 | 0.00046212 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1507-3_1_4_load_29 | 6 | 0.0043925 | 0.0011009 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1507-3_1_4_load_31 | 8 | 0.0033194 | 0.00083192 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1507-3_1_4_load_41 | 9 | 0.0077901 | 0.0019524 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1507-3_1_4_load_42 | 10 | 0.006526 | 0.0016356 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1507-3_1_4_load_43 | 11 | 0.0027432 | 0.00068752 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1507-3_1_4_load_44 | 12 | 0.0010729 | 0.0002689 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1507-3_1_4_load_51 | 13 | 0.016322 | 0.0040906 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1507-3_1_4_load_90 | 16 | 0.030189 | 0.0075661 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1507-3_1_4_load_88 | 17 | 0.0090202 | 0.0022607 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1507-3_1_4_load_58 | 18 | 0.0035777 | 0.00089666 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1507-3_1_4_load_60 | 19 | 0.0035766 | 0.00089637 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1507-3_1_4_load_96 | 20 | 0.0035778 | 0.00089669 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1507-3_1_4_load_105 | 21 | 0.0065115 | 0.0016319 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1507-3_1_4_load_61 | 22 | 0.015262 | 0.003825 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1507-3_1_4_load_62 | 23 | 0.0016833 | 0.00042186 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1507-3_1_4_load_64 | 25 | 0.0016838 | 0.000422 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1507-3_1_4_load_65 | 26 | 0.0042495 | 0.001065 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1507-3_1_4_load_100 | 27 | 0.0016838 | 0.000422 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1507-3_1_4_load_91 | 28 | 0.0023486 | 0.00058862 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1507-3_1_4_load_66 | 29 | 0.014097 | 0.0035331 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1507-3_1_4_load_67 | 30 | 0.018302 | 0.0045869 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1507-3_1_4_load_68 | 31 | 0.0051558 | 0.0012922 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1507-3_1_4_load_69 | 32 | 0.0049177 | 0.0012325 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1507-3_1_4_load_115 | 33 | 0.005218 | 0.0013078 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1507-3_1_4_load_70 | 34 | 0.0015976 | 0.0004004 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1507-3_1_4_load_71 | 35 | 0.0037677 | 0.00094428 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1507-3_1_4_load_72 | 36 | 0.0036536 | 0.00091568 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1507-3_1_4_load_92 | 38 | 0.0087626 | 0.0021961 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1507-3_1_4_load_109 | 39 | 0.0031292 | 0.00078424 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1507-3_1_4_load_78 | 40 | 0.0082085 | 0.0020572 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1507-3_1_4_load_79 | 41 | 0.002688 | 0.00067367 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1507-3_1_4_load_80 | 42 | 0.0030514 | 0.00076475 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1507-3_1_4_load_81 | 43 | 0.0062967 | 0.0015781 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1507-3_1_4_load_82 | 44 | 0.0030472 | 0.0007637 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1507-3_1_4_load_104 | 45 | 0.0027856 | 0.00069813 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1507-3_1_4_load_112 | 46 | 0.0016914 | 0.00042391 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1507-3_1_4_load_89 | 47 | 0.011782 | 0.0029528 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1507-3_1_4_load_120 | 48 | 0.010723 | 0.0026874 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1507-3_1_4_load_101 | 49 | 0.0051109 | 0.0012809 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1507-3_1_4_load_102 | 50 | 0.0016914 | 0.00042391 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1507-3_1_4_load_113 | 51 | 0.0016905 | 0.00042368 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1507-3_1_4_load_103 | 52 | 0.0069597 | 0.0017443 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1507-3_1_4_load_110 | 53 | 0.0091151 | 0.0022845 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1507-3_1_4_load_111 | 54 | 0.0053908 | 0.0013511 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1507-3_1_4_load_114 | 55 | 0.0039375 | 0.00098682 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1507-3_1_4_load_116 | 56 | 0.015282 | 0.0038299 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1507-3_1_4_load_117 | 57 | 0.0035778 | 0.00089669 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1507-3_1_4_line_0 |  | 0 | 1 | 0.11098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1507-3_1_4_line_1 |  | 0 | 2 | 0.092219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1507-3_1_4_line_2 |  | 1 | 3 | 0.11435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1507-3_1_4_line_3 |  | 2 | 4 | 0.06854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1507-3_1_4_line_4 |  | 3 | 7 | 0.0041417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1507-3_1_4_line_5 |  | 4 | 35 | 0.0041488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1507-3_1_4_line_6 |  | 5 | 6 | 0.042127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1507-3_1_4_line_7 |  | 5 | 7 | 0.018458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1507-3_1_4_line_8 |  | 6 | 8 | 0.021986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1507-3_1_4_line_9 |  | 8 | 9 | 0.020747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1507-3_1_4_line_10 |  | 9 | 10 | 0.0067673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1507-3_1_4_line_11 |  | 10 | 11 | 0.026608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1507-3_1_4_line_12 |  | 11 | 12 | 0.029931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1507-3_1_4_line_13 |  | 13 | 14 | 0.027032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1507-3_1_4_line_14 |  | 14 | 15 | 0.055876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1507-3_1_4_line_15 |  | 15 | 16 | 0.024338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1507-3_1_4_line_16 |  | 15 | 17 | 0.04064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1507-3_1_4_line_17 |  | 17 | 47 | 0.018231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1507-3_1_4_line_18 |  | 17 | 21 | 0.14886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1507-3_1_4_line_19 |  | 18 | 19 | 0.0045878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1507-3_1_4_line_20 |  | 19 | 20 | 0.0042892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1507-3_1_4_line_21 |  | 19 | 21 | 0.059459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1507-3_1_4_line_22 |  | 20 | 48 | 0.0039136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_1507-3_1_4_line_23 |  | 21 | 52 | 0.000692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1507-3_1_4_line_24 |  | 22 | 23 | 0.047296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1507-3_1_4_line_25 |  | 22 | 24 | 0.0076713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1507-3_1_4_line_26 |  | 23 | 25 | 0.0091674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1507-3_1_4_line_27 |  | 24 | 26 | 0.016917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1507-3_1_4_line_28 |  | 25 | 27 | 0.0076149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1507-3_1_4_line_29 |  | 26 | 28 | 0.024625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1507-3_1_4_line_30 |  | 27 | 49 | 0.018912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1507-3_1_4_line_31 |  | 28 | 38 | 0.032431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1507-3_1_4_line_32 |  | 29 | 30 | 0.017873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1507-3_1_4_line_33 |  | 29 | 31 | 0.030931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1507-3_1_4_line_34 |  | 31 | 32 | 0.0030057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1507-3_1_4_line_35 |  | 32 | 33 | 0.0092924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1507-3_1_4_line_36 |  | 33 | 55 | 0.021501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1507-3_1_4_line_37 |  | 34 | 35 | 0.0029762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1507-3_1_4_line_38 |  | 34 | 36 | 0.01536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1507-3_1_4_line_39 |  | 36 | 37 | 0.017091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1507-3_1_4_line_40 |  | 37 | 38 | 0.0067194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1507-3_1_4_line_41 |  | 37 | 39 | 0.036741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1507-3_1_4_line_42 |  | 39 | 53 | 0.0010356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1507-3_1_4_line_43 |  | 40 | 41 | 0.0033934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1507-3_1_4_line_44 |  | 40 | 42 | 0.0023162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_1507-3_1_4_line_45 |  | 41 | 43 | 0.001791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1507-3_1_4_line_46 |  | 42 | 44 | 0.0075156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_1507-3_1_4_line_47 |  | 43 | 45 | 0.002497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_1507-3_1_4_line_48 |  | 44 | 46 | 0.038366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_1507-3_1_4_line_49 |  | 45 | 52 | 0.02017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_1507-3_1_4_line_50 |  | 46 | 51 | 0.007506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_1507-3_1_4_line_51 |  | 48 | 57 | 0.0025647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_1507-3_1_4_line_52 |  | 49 | 50 | 0.003074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_1507-3_1_4_line_53 |  | 50 | 51 | 0.0075045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_1507-3_1_4_line_54 |  | 53 | 54 | 0.034341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1507-3_1_4_line_55 |  | 55 | 56 | 0.049133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_1507-3_1_4_line_56 |  | 56 | 57 | 0.0069435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1507-3_1_4_trafo_114 | 0.63 MVA 20/0.4 kV | 58 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2665924.2008 | 1205455.7052 | 2665925.5104 | 1205466.3745 | 2665924.5439 | 1205480.1944 | 2665922.783 | 1205491.5596 | 2665919.4124 | 1205501.2839 | 2665912.779 | 1205510.9721 | 2665902.0974 | 1205517.3692 | 2665892.309 | 1205517.2612 | 2665880.127 | 1205511.4232 | 2665874.4959 | 1205504.0456 | 2665871.0722 | 1205497.019
1 | 2665977.8698 | 1205380.7118 | 2665924.2008 | 1205455.7052
2 | 2665826.1167 | 1205391.8783 | 2665871.0722 | 1205497.019
3 | 2665936.6149 | 1205325.9787 | 2665977.8698 | 1205380.7118
4 | 2665828.9556 | 1205388.8627 | 2665826.1167 | 1205391.8783
5 | 2665936.6149 | 1205325.9787 | 2665935.2605 | 1205322.0571
6 | 2665842.155 | 1205375.9742 | 2665845.9098 | 1205371.7169 | 2665851.0245 | 1205361.7895 | 2665853.7528 | 1205350.9797 | 2665853.2064 | 1205341.2122 | 2665851.7837 | 1205337.1003
7 | 2665828.9556 | 1205388.8627 | 2665840.2481 | 1205378.1362 | 2665842.155 | 1205375.9742
8 | 2665840.9953 | 1205318.1047 | 2665842.9977 | 1205320.565 | 2665850.0439 | 1205332.0718 | 2665851.7837 | 1205337.1003
9 | 2665827.8988 | 1205302.0134 | 2665840.9953 | 1205318.1047
10 | 2665827.8988 | 1205302.0134 | 2665823.6271 | 1205296.7648
11 | 2665823.6271 | 1205296.7648 | 2665806.8313 | 1205276.1283
12 | 2665794.1295 | 1205249.362 | 2665794.1707 | 1205250.1066 | 2665795.8096 | 1205255.3166 | 2665797.7352 | 1205261.4304 | 2665805.0145 | 1205273.896 | 2665806.8313 | 1205276.1283
13 | 2666083.8672 | 1205084.6709 | 2666081.9122 | 1205072.2973 | 2666082.2758 | 1205061.4392 | 2666082.8746 | 1205057.8483
14 | 2666081.231 | 1205139.3415 | 2666082.7794 | 1205132.7769 | 2666086.3079 | 1205117.7624 | 2666088.0718 | 1205102.039 | 2666086.3735 | 1205095.3384 | 2666084.4575 | 1205088.3797 | 2666083.8672 | 1205084.6709
15 | 2666081.231 | 1205139.3415 | 2666080.8964 | 1205147.5761 | 2666081.7898 | 1205153.4562 | 2666084.9695 | 1205161.0182 | 2666086.1997 | 1205162.5254
16 | 2666081.231 | 1205139.3415 | 2666074.7508 | 1205137.88 | 2666064.2123 | 1205132.6381 | 2666058.6539 | 1205127.618 | 2666056.8016 | 1205120.3932 | 2666058.2032 | 1205113.2505
17 | 2666058.2032 | 1205113.2505 | 2666061.7138 | 1205095.3607
18 | 2665912.7363 | 1205144.8722 | 2666058.2032 | 1205113.2505
19 | 2665970.1479 | 1205127.0147 | 2665970.6886 | 1205131.5705 | 2665970.6886 | 1205131.5705
20 | 2665972.0589 | 1205135.635 | 2665970.6886 | 1205131.5705
21 | 2665912.7363 | 1205144.8722 | 2665970.6886 | 1205131.5705
22 | 2665973.3092 | 1205139.3435 | 2665972.0589 | 1205135.635
23 | 2665912.771 | 1205145.5633 | 2665912.7363 | 1205144.8722
24 | 2665959.9987 | 1205262.6169 | 2665972.4948 | 1205276.5115 | 2665989.749 | 1205291.4778 | 2665994.755 | 1205294.3438
25 | 2666001.4124 | 1205298.1552 | 2665994.755 | 1205294.3438
26 | 2665959.9987 | 1205262.6169 | 2665954.7606 | 1205256.7927 | 2665953.9516 | 1205255.7316
27 | 2666001.4124 | 1205298.1552 | 2665990.8337 | 1205302.7633 | 2665985.4643 | 1205303.0737
28 | 2665953.9516 | 1205255.7316 | 2665949.3344 | 1205249.6762
29 | 2665961.1562 | 1205301.09 | 2665964.3534 | 1205302.1816 | 2665974.3621 | 1205303.7153 | 2665985.4643 | 1205303.0737
30 | 2665949.3344 | 1205249.6762 | 2665937.8672 | 1205234.6372 | 2665937.8672 | 1205234.6372
31 | 2665961.1562 | 1205301.09 | 2665930.4646 | 1205290.6112
32 | 2666040.5748 | 1205241.3814 | 2666048.6831 | 1205250.5155 | 2666051.9104 | 1205255.1646
33 | 2666040.5748 | 1205241.3814 | 2666033.3636 | 1205233.2579 | 2666019.3077 | 1205218.9333
34 | 2666019.3077 | 1205218.9333 | 2666018.8385 | 1205218.4551 | 2666017.3829 | 1205216.6284
35 | 2666011.5919 | 1205209.361 | 2666017.3829 | 1205216.6284
36 | 2665999.1359 | 1205191.8484 | 2666008.3721 | 1205205.3203 | 2666011.5919 | 1205209.361
37 | 2665934.2889 | 1205319.244 | 2665935.2605 | 1205322.0571
38 | 2665934.2889 | 1205319.244 | 2665929.2745 | 1205304.7256
39 | 2665924.1056 | 1205288.4401 | 2665926.7008 | 1205297.2741 | 2665929.2745 | 1205304.7256
40 | 2665924.1056 | 1205288.4401 | 2665930.4646 | 1205290.6112
41 | 2665924.1056 | 1205288.4401 | 2665889.2356 | 1205276.8652
42 | 2665889.2356 | 1205276.8652 | 2665888.2528 | 1205276.5389
43 | 2665914.4911 | 1205173.3472 | 2665913.9956 | 1205169.9902
44 | 2665914.4911 | 1205173.3472 | 2665914.8292 | 1205175.6386
45 | 2665913.9059 | 1205168.2014 | 2665913.9956 | 1205169.9902 | 2665913.9956 | 1205169.9902
46 | 2665915.9265 | 1205183.0736 | 2665914.8292 | 1205175.6386
47 | 2665913.9059 | 1205168.2014 | 2665913.7809 | 1205165.7076
48 | 2665928.8721 | 1205218.9485 | 2665924.2545 | 1205210.8948 | 2665916.4444 | 1205186.5828 | 2665915.9265 | 1205183.0736
49 | 2665912.771 | 1205145.5633 | 2665913.7809 | 1205165.7076
50 | 2665932.6055 | 1205225.4602 | 2665928.8721 | 1205218.9485
51 | 2665973.3092 | 1205139.3435 | 2665974.1286 | 1205141.7737
52 | 2665936.3382 | 1205231.9705 | 2665937.8672 | 1205234.6372
53 | 2665936.3382 | 1205231.9705 | 2665932.6055 | 1205225.4602
54 | 2665888.2528 | 1205276.5389 | 2665882.7393 | 1205274.7087 | 2665859.9811 | 1205266.3194 | 2665855.9562 | 1205264.8751
55 | 2665999.1359 | 1205191.8484 | 2665997.1279 | 1205188.9195 | 2665985.9284 | 1205168.4612 | 2665976.5917 | 1205148.2558
56 | 2665976.5917 | 1205148.2558 | 2665975.5646 | 1205146.0331 | 2665974.1286 | 1205141.7737

## bus_geodata
| x | y | coords
0 | 2665924.2008 | 1205455.7052
1 | 2665871.0722 | 1205497.019
2 | 2665977.8698 | 1205380.7118
3 | 2665826.1167 | 1205391.8783
4 | 2665936.6149 | 1205325.9787
5 | 2665842.155 | 1205375.9742
6 | 2665851.7837 | 1205337.1003
7 | 2665828.9556 | 1205388.8627
8 | 2665840.9953 | 1205318.1047
9 | 2665827.8988 | 1205302.0134
10 | 2665823.6271 | 1205296.7648
11 | 2665806.8313 | 1205276.1283
12 | 2665794.1295 | 1205249.362
13 | 2666082.8746 | 1205057.8483
14 | 2666083.8672 | 1205084.6709
15 | 2666081.231 | 1205139.3415
16 | 2666086.1997 | 1205162.5254
17 | 2666058.2032 | 1205113.2505
18 | 2665970.1479 | 1205127.0147
19 | 2665970.6886 | 1205131.5705
20 | 2665972.0589 | 1205135.635
21 | 2665912.7363 | 1205144.8722
22 | 2665994.755 | 1205294.3438
23 | 2665959.9987 | 1205262.6169
24 | 2666001.4124 | 1205298.1552
25 | 2665953.9516 | 1205255.7316
26 | 2665985.4643 | 1205303.0737
27 | 2665949.3344 | 1205249.6762
28 | 2665961.1562 | 1205301.09
29 | 2666040.5748 | 1205241.3814
30 | 2666051.9104 | 1205255.1646
31 | 2666019.3077 | 1205218.9333
32 | 2666017.3829 | 1205216.6284
33 | 2666011.5919 | 1205209.361
34 | 2665934.2889 | 1205319.244
35 | 2665935.2605 | 1205322.0571
36 | 2665929.2745 | 1205304.7256
37 | 2665924.1056 | 1205288.4401
38 | 2665930.4646 | 1205290.6112
39 | 2665889.2356 | 1205276.8652
40 | 2665914.4911 | 1205173.3472
41 | 2665913.9956 | 1205169.9902
42 | 2665914.8292 | 1205175.6386
43 | 2665913.9059 | 1205168.2014
44 | 2665915.9265 | 1205183.0736
45 | 2665913.7809 | 1205165.7076
46 | 2665928.8721 | 1205218.9485
47 | 2666061.7138 | 1205095.3607
48 | 2665973.3092 | 1205139.3435
49 | 2665937.8672 | 1205234.6372
50 | 2665936.3382 | 1205231.9705
51 | 2665932.6055 | 1205225.4602
52 | 2665912.771 | 1205145.5633
53 | 2665888.2528 | 1205276.5389
54 | 2665855.9562 | 1205264.8751
55 | 2665999.1359 | 1205191.8484
56 | 2665976.5917 | 1205148.2558
57 | 2665974.1286 | 1205141.7738
58 | 2666003.9547 | 1205051.6896

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97987 | -0.38698 | 0.0024043 | 0.00060257
1 | 0.9766 | -0.45077 | 0.0016594 | 0.00041589
2 | 0.98084 | -0.36805 | 0.0022647 | 0.00056758
3 | 0.97341 | -0.51343 | 0.0021957 | 0.00055028
4 | 0.98161 | -0.35306 | 0.0071123 | 0.0017825
5 | 0.97282 | -0.52495 | 0.0018439 | 0.00046212
6 | 0.97181 | -0.54503 | 0.0043925 | 0.0011009
7 | 0.9733 | -0.51554 | 0 | 0
8 | 0.97137 | -0.55374 | 0.0033194 | 0.00083192
9 | 0.97101 | -0.56069 | 0.0077901 | 0.0019524
10 | 0.97095 | -0.56198 | 0.006526 | 0.0016356
11 | 0.97085 | -0.56386 | 0.0027432 | 0.00068752
12 | 0.97082 | -0.56446 | 0.0010729 | 0.0002689
13 | 0.97835 | -0.41696 | 0.016322 | 0.0040906
14 | 0.97876 | -0.40892 | 0 | 0
15 | 0.9796 | -0.39234 | 0 | 0
16 | 0.97892 | -0.4057 | 0.030189 | 0.0075661
17 | 0.98135 | -0.35807 | 0.0090202 | 0.0022607
18 | 0.9947 | -0.10059 | 0.0035777 | 0.00089666
19 | 0.99472 | -0.1003 | 0.0035766 | 0.00089637
20 | 0.99502 | -0.094516 | 0.0035778 | 0.00089669
21 | 0.99064 | -0.1784 | 0.0065115 | 0.0016319
22 | 0.98442 | -0.29843 | 0.015262 | 0.003825
23 | 0.98589 | -0.26994 | 0.0016833 | 0.00042186
24 | 0.98422 | -0.30236 | 0 | 0
25 | 0.98618 | -0.26433 | 0.0016838 | 0.000422
26 | 0.98377 | -0.31103 | 0.0042495 | 0.001065
27 | 0.98642 | -0.2596 | 0.0016838 | 0.000422
28 | 0.98315 | -0.32303 | 0.0023486 | 0.00058862
29 | 0.9977 | -0.044289 | 0.014097 | 0.0035331
30 | 0.9974 | -0.050019 | 0.018302 | 0.0045869
31 | 0.99861 | -0.026757 | 0.0051558 | 0.0012922
32 | 0.99871 | -0.024784 | 0.0049177 | 0.0012325
33 | 0.99907 | -0.017889 | 0.005218 | 0.0013078
34 | 0.98171 | -0.35113 | 0.0015976 | 0.0004004
35 | 0.98167 | -0.35198 | 0.0037677 | 0.00094428
36 | 0.98194 | -0.34662 | 0.0036536 | 0.00091568
37 | 0.98222 | -0.34123 | 0 | 0
38 | 0.98237 | -0.3384 | 0.0087626 | 0.0021961
39 | 0.98162 | -0.35294 | 0.0031292 | 0.00078424
40 | 0.98941 | -0.20207 | 0.0082085 | 0.0020572
41 | 0.98954 | -0.19945 | 0.002688 | 0.00067367
42 | 0.98932 | -0.20375 | 0.0030514 | 0.00076475
43 | 0.98962 | -0.19804 | 0.0062967 | 0.0015781
44 | 0.98904 | -0.20906 | 0.0030472 | 0.0007637
45 | 0.98972 | -0.19598 | 0.0027856 | 0.00069813
46 | 0.98767 | -0.2355 | 0.0016914 | 0.00042391
47 | 0.98116 | -0.36196 | 0.011782 | 0.0029528
48 | 0.9953 | -0.089154 | 0.010723 | 0.0026874
49 | 0.98704 | -0.24767 | 0.0051109 | 0.0012809
50 | 0.98715 | -0.24564 | 0.0016914 | 0.00042391
51 | 0.98741 | -0.24061 | 0.0016905 | 0.00042368
52 | 0.9906 | -0.17901 | 0.0069597 | 0.0017443
53 | 0.98161 | -0.35322 | 0.0091151 | 0.0022845
54 | 0.98144 | -0.35657 | 0.0053908 | 0.0013511
55 | 1 | 0 | -0.31643 | -0.080443
56 | 0.99602 | -0.0754 | 0.015282 | 0.0038299
57 | 0.99549 | -0.085482 | 0.0035778 | 0.00089669
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.031786 | 0.008056 | -0.031689 | -0.0079952 | 9.7102e-05 | 6.0752e-05 | 0.048302 | 0.048303 | 0.048303 | 0.97987 | -0.38698 | 0.9766 | -0.45077 | 13.27
1 | -0.03419 | -0.0086585 | 0.034221 | 0.008675 | 3.1113e-05 | 1.6424e-05 | 0.051953 | 0.051952 | 0.051953 | 0.97987 | -0.38698 | 0.98084 | -0.36805 | 4.7576
2 | 0.030029 | 0.0075793 | -0.02994 | -0.0075233 | 8.9849e-05 | 5.6077e-05 | 0.045774 | 0.045775 | 0.045775 | 0.9766 | -0.45077 | 0.97341 | -0.51343 | 12.5755
3 | -0.036486 | -0.0092425 | 0.036512 | 0.0092568 | 2.6283e-05 | 1.4224e-05 | 0.055388 | 0.055387 | 0.055388 | 0.98084 | -0.36805 | 0.98161 | -0.35306 | 5.0721
4 | 0.027744 | 0.006973 | -0.027741 | -0.0069712 | 2.7946e-06 | 1.7371e-06 | 0.042418 | 0.042418 | 0.042418 | 0.97341 | -0.51343 | 0.9733 | -0.51554 | 11.6534
5 | -0.043625 | -0.011039 | 0.043627 | 0.011041 | 2.2706e-06 | 1.2958e-06 | 0.066168 | 0.066168 | 0.066168 | 0.98161 | -0.35306 | 0.98167 | -0.35198 | 6.0594
6 | 0.025885 | 0.0065014 | -0.02586 | -0.006486 | 2.4771e-05 | 1.5331e-05 | 0.039598 | 0.039598 | 0.039598 | 0.97282 | -0.52495 | 0.97181 | -0.54503 | 10.8787
7 | -0.027729 | -0.0069635 | 0.027741 | 0.0069712 | 1.2454e-05 | 7.7415e-06 | 0.042419 | 0.042418 | 0.042419 | 0.97282 | -0.52495 | 0.9733 | -0.51554 | 11.6534
8 | 0.021468 | 0.0053852 | -0.021459 | -0.0053797 | 8.9093e-06 | 5.4297e-06 | 0.032873 | 0.032873 | 0.032873 | 0.97181 | -0.54503 | 0.97137 | -0.55374 | 9.031
9 | 0.018139 | 0.0045478 | -0.018133 | -0.0045442 | 6.0076e-06 | 3.5881e-06 | 0.027788 | 0.027788 | 0.027788 | 0.97137 | -0.55374 | 0.97101 | -0.56069 | 7.634
10 | 0.010343 | 0.0025918 | -0.010342 | -0.0025915 | 6.3753e-07 | 3.2432e-07 | 0.01585 | 0.01585 | 0.01585 | 0.97101 | -0.56069 | 0.97095 | -0.56198 | 4.3544
11 | 0.0038165 | 0.00095596 | -0.0038162 | -0.00095607 | 3.4133e-07 | -1.106e-07 | 0.0058488 | 0.0058489 | 0.0058489 | 0.97095 | -0.56198 | 0.97085 | -0.56386 | 1.6068
12 | 0.001073 | 0.00026855 | -0.0010729 | -0.0002689 | 3.0352e-08 | -3.5068e-07 | 0.0016444 | 0.0016445 | 0.0016445 | 0.97085 | -0.56386 | 0.97082 | -0.56446 | 0.45179
13 | -0.016322 | -0.0040906 | 0.016328 | 0.0040942 | 6.2467e-06 | 3.6583e-06 | 0.024824 | 0.024824 | 0.024824 | 0.97835 | -0.41696 | 0.97876 | -0.40892 | 6.8198
14 | -0.016328 | -0.0040942 | 0.016341 | 0.0041018 | 1.2912e-05 | 7.5609e-06 | 0.024824 | 0.024824 | 0.024824 | 0.97876 | -0.40892 | 0.9796 | -0.39234 | 6.8198
15 | 0.030208 | 0.0075781 | -0.030189 | -0.0075661 | 1.9219e-05 | 1.1994e-05 | 0.045889 | 0.045889 | 0.045889 | 0.9796 | -0.39234 | 0.97892 | -0.4057 | 12.6068
16 | -0.046549 | -0.01168 | 0.046625 | 0.011728 | 7.6204e-05 | 4.8258e-05 | 0.070713 | 0.070712 | 0.070713 | 0.9796 | -0.39234 | 0.98135 | -0.35807 | 19.4265
17 | 0.011784 | 0.0029539 | -0.011782 | -0.0029528 | 2.1827e-06 | 1.1666e-06 | 0.017868 | 0.017868 | 0.017868 | 0.98135 | -0.35807 | 0.98116 | -0.36196 | 4.9088
18 | -0.067429 | -0.016943 | 0.068013 | 0.017314 | 0.00058373 | 0.00037169 | 0.10226 | 0.10226 | 0.10226 | 0.98135 | -0.35807 | 0.99064 | -0.1784 | 28.0927
19 | -0.0035777 | -0.00089666 | 0.0035778 | 0.00089663 | 4.928e-08 | -2.8014e-08 | 0.005352 | 0.005352 | 0.005352 | 0.9947 | -0.10059 | 0.99472 | -0.1003 | 1.4703
20 | -0.23257 | -0.059317 | 0.23264 | 0.059358 | 6.5032e-05 | 4.1454e-05 | 0.34827 | 0.34827 | 0.34827 | 0.99472 | -0.1003 | 0.99502 | -0.094516 | 31.8932
21 | 0.22542 | 0.057524 | -0.22457 | -0.056984 | 0.00084696 | 0.00053975 | 0.33757 | 0.33757 | 0.33757 | 0.99472 | -0.1003 | 0.99064 | -0.1784 | 30.9132
22 | -0.23621 | -0.060255 | 0.23628 | 0.060294 | 6.1175e-05 | 3.8999e-05 | 0.35362 | 0.35362 | 0.35362 | 0.99502 | -0.094516 | 0.9953 | -0.089154 | 32.3832
23 | 0.15005 | 0.038038 | -0.15004 | -0.038035 | 4.3999e-06 | 2.7892e-06 | 0.22554 | 0.22554 | 0.22554 | 0.99064 | -0.1784 | 0.9906 | -0.17901 | 20.6534
24 | -0.10111 | -0.02552 | 0.10125 | 0.025607 | 0.0001382 | 8.6644e-05 | 0.15289 | 0.15289 | 0.15289 | 0.98442 | -0.29843 | 0.98589 | -0.26994 | 14.0013
25 | 0.085845 | 0.021695 | -0.085829 | -0.021685 | 1.6162e-05 | 1.0051e-05 | 0.12982 | 0.12983 | 0.12983 | 0.98442 | -0.29843 | 0.98422 | -0.30236 | 11.8887
26 | -0.10293 | -0.026029 | 0.10296 | 0.026046 | 2.7686e-05 | 1.7368e-05 | 0.15543 | 0.15543 | 0.15543 | 0.98589 | -0.26994 | 0.98618 | -0.26433 | 14.2339
27 | 0.085829 | 0.021685 | -0.085793 | -0.021663 | 3.5641e-05 | 2.2166e-05 | 0.12983 | 0.12983 | 0.12983 | 0.98422 | -0.30236 | 0.98377 | -0.31103 | 11.8888
28 | -0.10464 | -0.026468 | 0.10466 | 0.026483 | 2.3755e-05 | 1.4911e-05 | 0.15797 | 0.15797 | 0.15797 | 0.98618 | -0.26433 | 0.98642 | -0.2596 | 14.4666
29 | 0.081544 | 0.020598 | -0.081497 | -0.020569 | 4.687e-05 | 2.9059e-05 | 0.1234 | 0.1234 | 0.1234 | 0.98377 | -0.31103 | 0.98315 | -0.32303 | 11.3002
30 | -0.10635 | -0.026905 | 0.10641 | 0.026943 | 6.0909e-05 | 3.8257e-05 | 0.16051 | 0.16051 | 0.16051 | 0.98642 | -0.2596 | 0.98704 | -0.24767 | 14.6992
31 | 0.079148 | 0.01998 | -0.07909 | -0.019944 | 5.8224e-05 | 3.6031e-05 | 0.11984 | 0.11984 | 0.11984 | 0.98315 | -0.32303 | 0.98237 | -0.3384 | 10.9747
32 | 0.018307 | 0.0045899 | -0.018302 | -0.0045869 | 4.9969e-06 | 2.9647e-06 | 0.027304 | 0.027305 | 0.027305 | 0.9977 | -0.044289 | 0.9974 | -0.050019 | 7.5013
33 | -0.032404 | -0.008123 | 0.032431 | 0.0081399 | 2.7093e-05 | 1.6935e-05 | 0.04833 | 0.04833 | 0.04833 | 0.9977 | -0.044289 | 0.99861 | -0.026757 | 13.2775
34 | -0.037587 | -0.0094321 | 0.037591 | 0.0094343 | 3.5363e-06 | 2.2239e-06 | 0.056012 | 0.056012 | 0.056012 | 0.99861 | -0.026757 | 0.99871 | -0.024784 | 15.388
35 | -0.042508 | -0.010667 | 0.042522 | 0.010676 | 1.398e-05 | 8.8256e-06 | 0.06334 | 0.06334 | 0.06334 | 0.99871 | -0.024784 | 0.99907 | -0.017889 | 17.401
36 | -0.04774 | -0.011983 | 0.047781 | 0.012009 | 4.0772e-05 | 2.5812e-05 | 0.071111 | 0.071111 | 0.071111 | 0.99907 | -0.017889 | 1 | 0 | 19.5361
37 | 0.047397 | 0.011986 | -0.047395 | -0.011985 | 1.9221e-06 | 1.1173e-06 | 0.071879 | 0.071879 | 0.071879 | 0.98171 | -0.35113 | 0.98167 | -0.35198 | 6.5824
38 | -0.048994 | -0.012386 | 0.049005 | 0.012393 | 1.0599e-05 | 6.2009e-06 | 0.074301 | 0.074301 | 0.074301 | 0.98171 | -0.35113 | 0.98194 | -0.34662 | 6.8041
39 | -0.052658 | -0.013308 | 0.052672 | 0.013316 | 1.3617e-05 | 8.0661e-06 | 0.079837 | 0.079837 | 0.079837 | 0.98194 | -0.34662 | 0.98222 | -0.34123 | 7.3111
40 | -0.070318 | -0.017742 | 0.070327 | 0.017748 | 9.5393e-06 | 5.85e-06 | 0.10657 | 0.10657 | 0.10657 | 0.98222 | -0.34123 | 0.98237 | -0.3384 | 9.7592
41 | 0.017646 | 0.0044258 | -0.017636 | -0.00442 | 9.8472e-06 | 5.8375e-06 | 0.026734 | 0.026734 | 0.026734 | 0.98222 | -0.34123 | 0.98162 | -0.35294 | 7.3446
42 | 0.014507 | 0.0036358 | -0.014507 | -0.0036356 | 1.878e-07 | 1.071e-07 | 0.021991 | 0.021991 | 0.021991 | 0.98162 | -0.35294 | 0.98161 | -0.35322 | 6.0414
43 | -0.13116 | -0.033242 | 0.13117 | 0.033252 | 1.6526e-05 | 1.0446e-05 | 0.19738 | 0.19738 | 0.19738 | 0.98941 | -0.20207 | 0.98954 | -0.19945 | 18.0754
44 | 0.12295 | 0.031185 | -0.12294 | -0.031179 | 9.913e-06 | 6.2551e-06 | 0.18504 | 0.18504 | 0.18504 | 0.98941 | -0.20207 | 0.98932 | -0.20375 | 16.9449
45 | -0.13386 | -0.033926 | 0.13387 | 0.033932 | 9.0831e-06 | 5.7441e-06 | 0.20143 | 0.20143 | 0.20143 | 0.98954 | -0.19945 | 0.98962 | -0.19804 | 18.4455
46 | 0.11989 | 0.030414 | -0.11985 | -0.030395 | 3.059e-05 | 1.9288e-05 | 0.18045 | 0.18045 | 0.18045 | 0.98932 | -0.20375 | 0.98904 | -0.20906 | 16.5246
47 | -0.14017 | -0.03551 | 0.14018 | 0.035519 | 1.3882e-05 | 8.7881e-06 | 0.21089 | 0.21089 | 0.21089 | 0.98962 | -0.19804 | 0.98972 | -0.19598 | 19.3125
48 | 0.11681 | 0.029631 | -0.11666 | -0.029537 | 0.00014833 | 9.3454e-05 | 0.17586 | 0.17586 | 0.17586 | 0.98904 | -0.20906 | 0.98767 | -0.2355 | 16.1048
49 | -0.14296 | -0.036217 | 0.14308 | 0.036291 | 0.00011663 | 7.3865e-05 | 0.21508 | 0.21508 | 0.21508 | 0.98972 | -0.19598 | 0.9906 | -0.17901 | 19.6961
50 | 0.11497 | 0.029113 | -0.11494 | -0.029096 | 2.8184e-05 | 1.7749e-05 | 0.17332 | 0.17332 | 0.17332 | 0.98767 | -0.2355 | 0.98741 | -0.24061 | 15.8715
51 | -0.247 | -0.062981 | 0.24704 | 0.063009 | 4.3806e-05 | 2.7936e-05 | 0.36966 | 0.36965 | 0.36966 | 0.9953 | -0.089154 | 0.99549 | -0.085482 | 33.8512
52 | -0.11152 | -0.028224 | 0.11153 | 0.028231 | 1.0873e-05 | 6.841e-06 | 0.16822 | 0.16822 | 0.16822 | 0.98704 | -0.24767 | 0.98715 | -0.24564 | 15.4047
53 | -0.11322 | -0.028655 | 0.11325 | 0.028672 | 2.7356e-05 | 1.722e-05 | 0.17077 | 0.17077 | 0.17077 | 0.98715 | -0.24564 | 0.98741 | -0.24061 | 15.6382
54 | 0.0053917 | 0.0013512 | -0.0053908 | -0.0013511 | 8.6027e-07 | 1.1654e-07 | 0.0081732 | 0.0081734 | 0.0081734 | 0.98161 | -0.35322 | 0.98144 | -0.35657 | 2.2454
55 | 0.267 | 0.068434 | -0.26602 | -0.067814 | 0.00097203 | 0.00062017 | 0.39783 | 0.39783 | 0.39783 | 1 | 0 | 0.99602 | -0.0754 | 36.4316
56 | 0.25074 | 0.063984 | -0.25062 | -0.063906 | 0.00012205 | 7.7844e-05 | 0.375 | 0.375 | 0.375 | 0.99602 | -0.0754 | 0.99549 | -0.085482 | 34.3409

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.32036 | 0.08143

## res_load
| p_mw | q_mvar
0 | 0.0024043 | 0.00060257
1 | 0.0016594 | 0.00041589
2 | 0.0022647 | 0.00056758
3 | 0.0021957 | 0.00055028
4 | 0.0071123 | 0.0017825
5 | 0.0018439 | 0.00046212
6 | 0.0043925 | 0.0011009
7 | 0.0033194 | 0.00083192
8 | 0.0077901 | 0.0019524
9 | 0.006526 | 0.0016356
10 | 0.0027432 | 0.00068752
11 | 0.0010729 | 0.0002689
12 | 0.016322 | 0.0040906
13 | 0.030189 | 0.0075661
14 | 0.0090202 | 0.0022607
15 | 0.0035777 | 0.00089666
16 | 0.0035766 | 0.00089637
17 | 0.0035778 | 0.00089669
18 | 0.0065115 | 0.0016319
19 | 0.015262 | 0.003825
20 | 0.0016833 | 0.00042186
21 | 0.0016838 | 0.000422
22 | 0.0042495 | 0.001065
23 | 0.0016838 | 0.000422
24 | 0.0023486 | 0.00058862
25 | 0.014097 | 0.0035331
26 | 0.018302 | 0.0045869
27 | 0.0051558 | 0.0012922
28 | 0.0049177 | 0.0012325
29 | 0.005218 | 0.0013078
30 | 0.0015976 | 0.0004004
31 | 0.0037677 | 0.00094428
32 | 0.0036536 | 0.00091568
33 | 0.0087626 | 0.0021961
34 | 0.0031292 | 0.00078424
35 | 0.0082085 | 0.0020572
36 | 0.002688 | 0.00067367
37 | 0.0030514 | 0.00076475
38 | 0.0062967 | 0.0015781
39 | 0.0030472 | 0.0007637
40 | 0.0027856 | 0.00069813
41 | 0.0016914 | 0.00042391
42 | 0.011782 | 0.0029528
43 | 0.010723 | 0.0026874
44 | 0.0051109 | 0.0012809
45 | 0.0016914 | 0.00042391
46 | 0.0016905 | 0.00042368
47 | 0.0069597 | 0.0017443
48 | 0.0091151 | 0.0022845
49 | 0.0053908 | 0.0013511
50 | 0.0039375 | 0.00098682
51 | 0.015282 | 0.0038299
52 | 0.0035778 | 0.00089669

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1