## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1507-7_1_4_node_39 | 0.4 | n |  | TRUE
1 | bus_LV_1507-7_1_4_node_46 | 0.4 | n |  | TRUE
2 | bus_LV_1507-7_1_4_node_50 | 0.4 | n |  | TRUE
3 | bus_LV_1507-7_1_4_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_1507-7_1_4_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_1507-7_1_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_1507-7_1_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_1507-7_1_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_1507-7_1_4_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_1507-7_1_4_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_1507-7_1_4_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_1507-7_1_4_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_1507-7_1_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1507-7_1_4_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_1507-7_1_4_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_1507-7_1_4_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_1507-7_1_4_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_1507-7_1_4_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_1507-7_1_4_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_1507-7_1_4_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_1507-7_1_4_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_1507-7_1_4_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_1507-7_1_4_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_1507-7_1_4_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_1507-7_1_4_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_1507-7_1_4_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_1507-7_1_4_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_1507-7_1_4_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_1507-7_1_4_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_1507-7_1_4_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_1507-7_1_4_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_1507-7_1_4_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_1507-7_1_4_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_1507-7_1_4_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_1507-7_1_4_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_1507-7_1_4_node_51 | 0.4 | n |  | TRUE
36 | bus_MV_24_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1507-7_1_4_load_46 | 1 | 0.026941 | 0.0067521 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1507-7_1_4_load_11 | 3 | 0.0061343 | 0.0015374 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1507-7_1_4_load_12 | 4 | 0.042218 | 0.010581 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1507-7_1_4_load_14 | 6 | 0.0055041 | 0.0013795 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1507-7_1_4_load_20 | 8 | 0.0028004 | 0.00070185 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1507-7_1_4_load_16 | 9 | 0.0085921 | 0.0021534 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1507-7_1_4_load_21 | 10 | 0.0044423 | 0.0011133 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1507-7_1_4_load_17 | 11 | 0.0044141 | 0.0011063 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1507-7_1_4_load_35 | 13 | 0.015905 | 0.0039861 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1507-7_1_4_load_34 | 15 | 0.031956 | 0.0080088 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1507-7_1_4_load_40 | 17 | 0.01316 | 0.0032982 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1507-7_1_4_load_61 | 18 | 0.0031525 | 0.00079009 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1507-7_1_4_load_27 | 19 | 0.0037608 | 0.00094255 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1507-7_1_4_load_28 | 20 | 0.013725 | 0.0034398 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1507-7_1_4_load_30 | 21 | 0.003407 | 0.00085387 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1507-7_1_4_load_62 | 23 | 0.030117 | 0.0075479 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1507-7_1_4_load_41 | 24 | 0.012879 | 0.0032278 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1507-7_1_4_load_49 | 25 | 0.0060155 | 0.0015076 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1507-7_1_4_load_44 | 26 | 0.026936 | 0.0067507 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1507-7_1_4_load_42 | 27 | 0.012872 | 0.0032261 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1507-7_1_4_load_67 | 30 | 0.015723 | 0.0039406 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1507-7_1_4_load_64 | 31 | 0.030113 | 0.0075471 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1507-7_1_4_load_45 | 32 | 0.023808 | 0.005967 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1507-7_1_4_load_47 | 33 | 0.0070691 | 0.0017717 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1507-7_1_4_load_51 | 35 | 0.0055538 | 0.0013919 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1507-7_1_4_line_0 |  | 0 | 1 | 0.050269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1507-7_1_4_line_1 |  | 0 | 2 | 0.13388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1507-7_1_4_line_2 |  | 1 | 26 | 0.032137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1507-7_1_4_line_3 |  | 2 | 25 | 0.04892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1507-7_1_4_line_4 |  | 3 | 4 | 0.038102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1507-7_1_4_line_5 |  | 3 | 5 | 0.10084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1507-7_1_4_line_6 |  | 4 | 6 | 0.061713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1507-7_1_4_line_7 |  | 5 | 7 | 0.01531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1507-7_1_4_line_8 |  | 6 | 8 | 0.017263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1507-7_1_4_line_9 |  | 7 | 9 | 0.14414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1507-7_1_4_line_10 |  | 8 | 10 | 0.021171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1507-7_1_4_line_11 |  | 9 | 11 | 0.022357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1507-7_1_4_line_12 |  | 10 | 18 | 4.4384e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1507-7_1_4_line_13 |  | 11 | 12 | 0.03616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1507-7_1_4_line_14 |  | 12 | 13 | 0.042654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1507-7_1_4_line_15 |  | 12 | 14 | 0.086974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1507-7_1_4_line_16 |  | 13 | 15 | 0.018178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1507-7_1_4_line_17 |  | 14 | 16 | 0.022658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1507-7_1_4_line_18 |  | 14 | 17 | 0.025861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1507-7_1_4_line_19 |  | 15 | 21 | 0.036057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1507-7_1_4_line_20 |  | 16 | 22 | 0.015651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1507-7_1_4_line_21 |  | 16 | 23 | 0.031261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1507-7_1_4_line_22 |  | 17 | 24 | 0.044089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1507-7_1_4_line_23 |  | 19 | 20 | 0.017077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1507-7_1_4_line_24 |  | 20 | 21 | 0.010637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1507-7_1_4_line_25 |  | 22 | 30 | 0.016531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1507-7_1_4_line_26 |  | 22 | 31 | 0.015611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1507-7_1_4_line_27 |  | 24 | 27 | 0.019415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_1507-7_1_4_line_28 |  | 25 | 35 | 0.018579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1507-7_1_4_line_29 |  | 26 | 32 | 0.013183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1507-7_1_4_line_30 |  | 27 | 28 | 0.15282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1507-7_1_4_line_31 |  | 28 | 29 | 0.16834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1507-7_1_4_line_32 |  | 29 | 34 | 0.01365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1507-7_1_4_line_33 |  | 32 | 33 | 0.05449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1507-7_1_4_line_34 |  | 33 | 34 | 0.040158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1507-7_1_4_trafo_40 | 0.63 MVA 20/0.4 kV | 36 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2665998.29 | 1204098.2509 | 2666002.658 | 1204140.1578 | 2666005.1086 | 1204147.9155
1 | 2665998.29 | 1204098.2509 | 2666004.7542 | 1204099.89 | 2666010.6739 | 1204098.4656 | 2666014.5882 | 1204095.3848 | 2666017.2357 | 1204091.2782 | 2666018.3505 | 1204087.4771 | 2666022.6342 | 1204064.7441 | 2666025.6779 | 1204056.4616 | 2666030.5628 | 1204050.234 | 2666038.3661 | 1204043.6163 | 2666051.2539 | 1204036.1209 | 2666057.7932 | 1204030.9679 | 2666062.5931 | 1204024.8728 | 2666065.1866 | 1204018.0863 | 2666066.3211 | 1204011.8173 | 2666065.8906 | 1203999.1493
2 | 2666015.7509 | 1204178.2299 | 2666008.5682 | 1204158.8677 | 2666005.1086 | 1204147.9155
3 | 2666065.8906 | 1203999.1493 | 2666070.1561 | 1204004.2218 | 2666073.4896 | 1204028.8846 | 2666074.9095 | 1204046.2324
4 | 2666217.1622 | 1204126.2298 | 2666216.6811 | 1204121.359 | 2666213.2606 | 1204096.3727 | 2666211.9887 | 1204088.4869
5 | 2666255.278 | 1204016.4458 | 2666241.1295 | 1204016.8447 | 2666230.8613 | 1204019.9883 | 2666221.6502 | 1204026.6125 | 2666216.5603 | 1204034.1495 | 2666212.9751 | 1204043.2152 | 2666209.7565 | 1204059.0224 | 2666210.0001 | 1204076.1577 | 2666211.9887 | 1204088.4869
6 | 2666217.1622 | 1204126.2298 | 2666218.2475 | 1204137.2193 | 2666218.0841 | 1204151.9597 | 2666218.3589 | 1204187.8876
7 | 2666253.0035 | 1204001.3226 | 2666254.0239 | 1204006.0367 | 2666255.278 | 1204016.4458
8 | 2666218.4909 | 1204205.1504 | 2666218.3589 | 1204187.8876
9 | 2666253.0035 | 1204001.3226 | 2666249.2444 | 1203995.1994 | 2666243.2219 | 1203988.7176 | 2666236.1265 | 1203984.9922 | 2666229.0119 | 1203983.0011 | 2666219.784 | 1203982.8987 | 2666211.0463 | 1203985.9259 | 2666203.3105 | 1203992.6109 | 2666197.8283 | 1204000.5327 | 2666194.5555 | 1204012.9929 | 2666178.834 | 1204072.4419
10 | 2666218.6528 | 1204226.3204 | 2666218.4909 | 1204205.1504
11 | 2666173.1182 | 1204094.0556 | 2666178.834 | 1204072.4419
12 | 2666218.6528 | 1204226.3204 | 2666218.6532 | 1204226.3647
13 | 2666161.1427 | 1204128.0478 | 2666165.695 | 1204118.8927 | 2666169.8425 | 1204106.4422 | 2666173.1182 | 1204094.0556
14 | 2666161.1427 | 1204128.0478 | 2666167.0116 | 1204133.2715 | 2666178.1399 | 1204146.5472 | 2666180.3645 | 1204150.3964 | 2666182.413 | 1204155.033 | 2666184.0252 | 1204159.9094 | 2666184.7142 | 1204162.648
15 | 2666108.4383 | 1204146.7757 | 2666106.0334 | 1204132.4071 | 2666106.157 | 1204130.1738 | 2666106.6277 | 1204128.2111 | 2666107.864 | 1204126.4904 | 2666109.6995 | 1204124.9432 | 2666114.7328 | 1204121.8192 | 2666116.2975 | 1204125.4832 | 2666118.5241 | 1204129.1545 | 2666121.1543 | 1204132.1076 | 2666124.4702 | 1204134.9793 | 2666127.9011 | 1204137.0741 | 2666132.7609 | 1204138.6177 | 2666137.7994 | 1204139.1405 | 2666142.3289 | 1204138.9016 | 2666146.5222 | 1204138.1142 | 2666151.236 | 1204136.3542 | 2666154.9021 | 1204134.3936 | 2666158.3303 | 1204131.2408 | 2666161.1427 | 1204128.0478
16 | 2666187.4084 | 1204180.5362 | 2666187.3138 | 1204178.9573 | 2666186.9619 | 1204171.5823 | 2666184.7142 | 1204162.648
17 | 2666108.4383 | 1204146.7757 | 2666108.3176 | 1204149.4315 | 2666107.367 | 1204151.4556 | 2666105.749 | 1204153.2832 | 2666103.4291 | 1204154.6028 | 2666098.0637 | 1204156.1221 | 2666095.6521 | 1204156.1066 | 2666093.3756 | 1204155.5699 | 2666091.3269 | 1204154.3799
18 | 2666108.4383 | 1204146.7757 | 2666114.6926 | 1204150.8696 | 2666116.4708 | 1204152.4347 | 2666118.2469 | 1204154.878 | 2666119.0321 | 1204157.4883 | 2666119.9668 | 1204167.7165
19 | 2666187.4084 | 1204180.5362 | 2666189.5657 | 1204216.5289
20 | 2666091.3269 | 1204154.3799 | 2666090.1609 | 1204157.3021 | 2666092.9323 | 1204169.4957
21 | 2666091.3269 | 1204154.3799 | 2666089.664 | 1204152.7049 | 2666088.2986 | 1204150.2772 | 2666081.5193 | 1204128.3112 | 2666080.6846 | 1204125.2979
22 | 2666119.9668 | 1204167.7165 | 2666123.9789 | 1204211.6223
23 | 2666191.2238 | 1204244.1927 | 2666190.2021 | 1204227.1467
24 | 2666190.2021 | 1204227.1467 | 2666189.5657 | 1204216.5289
25 | 2666092.9323 | 1204169.4957 | 2666100.1495 | 1204180.7601 | 2666097.8806 | 1204182.9696
26 | 2666092.9323 | 1204169.4957 | 2666078.1842 | 1204174.6134
27 | 2666123.9789 | 1204211.6223 | 2666125.7457 | 1204230.9568
28 | 2666076.4252 | 1204064.7498 | 2666074.9095 | 1204046.2324
29 | 2666015.7509 | 1204178.2299 | 2666020.3359 | 1204190.5897
30 | 2666109.0668 | 1204381.3688 | 2666108.9756 | 1204379.9781 | 2666111.9683 | 1204376.2978 | 2666125.4446 | 1204301.8687 | 2666126.6978 | 1204289.6974 | 2666127.4695 | 1204268.104 | 2666126.7815 | 1204242.2919 | 2666125.7457 | 1204230.9568
31 | 2666022.8119 | 1204273.6722 | 2666047.5785 | 1204309.234 | 2666052.9519 | 1204322.7905 | 2666054.0548 | 1204357.8906 | 2666076.2716 | 1204358.4366 | 2666081.6273 | 1204361.2197 | 2666082.2956 | 1204376.4474 | 2666083.2645 | 1204381.0165 | 2666084.6802 | 1204383.0222 | 2666087.3871 | 1204383.8527 | 2666093.065 | 1204383.6376 | 2666109.0668 | 1204381.3688
32 | 2666011.5941 | 1204267.1109 | 2666015.8294 | 1204267.3245 | 2666022.8119 | 1204273.6722
33 | 2666020.3359 | 1204190.5897 | 2666025.7379 | 1204205.152 | 2666024.9522 | 1204214.9715 | 2666025.9135 | 1204224.3656 | 2666020.8538 | 1204242.9653 | 2666020.7831 | 1204243.3473
34 | 2666011.5941 | 1204267.1109 | 2666009.0123 | 1204263.9138 | 2666005.6959 | 1204263.1545 | 2666005.0853 | 1204261.2688 | 2666006.9867 | 1204259.9446 | 2666018.4127 | 1204260.0709 | 2666018.7501 | 1204254.3267 | 2666020.7831 | 1204243.3473

## bus_geodata
| x | y | coords
0 | 2665998.29 | 1204098.2509
1 | 2666005.1086 | 1204147.9155
2 | 2666065.8906 | 1203999.1493
3 | 2666211.9887 | 1204088.4869
4 | 2666217.1622 | 1204126.2298
5 | 2666255.278 | 1204016.4458
6 | 2666218.3589 | 1204187.8876
7 | 2666253.0035 | 1204001.3226
8 | 2666218.4909 | 1204205.1504
9 | 2666178.834 | 1204072.4419
10 | 2666218.6528 | 1204226.3204
11 | 2666173.1182 | 1204094.0556
12 | 2666161.1427 | 1204128.0478
13 | 2666184.7142 | 1204162.648
14 | 2666108.4383 | 1204146.7757
15 | 2666187.4084 | 1204180.5362
16 | 2666091.3269 | 1204154.3799
17 | 2666119.9668 | 1204167.7165
18 | 2666218.6532 | 1204226.3647
19 | 2666191.2238 | 1204244.1927
20 | 2666190.2021 | 1204227.1467
21 | 2666189.5657 | 1204216.5289
22 | 2666092.9323 | 1204169.4957
23 | 2666080.6846 | 1204125.2979
24 | 2666123.9789 | 1204211.6223
25 | 2666074.9095 | 1204046.2324
26 | 2666015.7509 | 1204178.2299
27 | 2666125.7457 | 1204230.9568
28 | 2666109.0668 | 1204381.3688
29 | 2666022.8119 | 1204273.6722
30 | 2666097.8806 | 1204182.9696
31 | 2666078.1842 | 1204174.6134
32 | 2666020.3359 | 1204190.5897
33 | 2666020.7831 | 1204243.3473
34 | 2666011.5941 | 1204267.1109
35 | 2666076.4252 | 1204064.7498
36 | 2666108.4383 | 1204146.7757

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97265 | -0.52616 | 0 | 0
1 | 0.9732 | -0.51544 | 0.026941 | 0.0067521
2 | 0.97121 | -0.55474 | 0 | 0
3 | 0.9738 | -0.50397 | 0.0061343 | 0.0015374
4 | 0.97173 | -0.54476 | 0.042218 | 0.010581
5 | 0.97985 | -0.38561 | 0 | 0
6 | 0.97081 | -0.56289 | 0.0055041 | 0.0013795
7 | 0.98076 | -0.36777 | 0 | 0
8 | 0.97065 | -0.56621 | 0.0028004 | 0.00070185
9 | 0.98942 | -0.20139 | 0.0085921 | 0.0021534
10 | 0.9705 | -0.56919 | 0.0044423 | 0.0011133
11 | 0.99018 | -0.1869 | 0.0044141 | 0.0011063
12 | 0.99148 | -0.1621 | 0 | 0
13 | 0.98879 | -0.21424 | 0.015905 | 0.0039861
14 | 0.99736 | -0.050164 | 0 | 0
15 | 0.9879 | -0.23138 | 0.031956 | 0.0080088
16 | 0.99579 | -0.080367 | 0 | 0
17 | 1 | 0 | -0.35107 | -0.089639
18 | 0.9705 | -0.56919 | 0.0031525 | 0.00079009
19 | 0.98698 | -0.24932 | 0.0037608 | 0.00094255
20 | 0.98704 | -0.24817 | 0.013725 | 0.0034398
21 | 0.98721 | -0.24485 | 0.003407 | 0.00085387
22 | 0.99513 | -0.092985 | 0 | 0
23 | 0.99493 | -0.09693 | 0.030117 | 0.0075479
24 | 0.9975 | -0.047036 | 0.012879 | 0.0032278
25 | 0.97068 | -0.56521 | 0.0060155 | 0.0015076
26 | 0.97435 | -0.49269 | 0.026936 | 0.0067507
27 | 0.99652 | -0.065629 | 0.012872 | 0.0032261
28 | 0.98965 | -0.19575 | 0 | 0
29 | 0.9821 | -0.34117 | 0 | 0
30 | 0.9949 | -0.097561 | 0.015723 | 0.0039406
31 | 0.99471 | -0.10126 | 0.030113 | 0.0075471
32 | 0.97516 | -0.47686 | 0.023808 | 0.005967
33 | 0.97969 | -0.38812 | 0.0070691 | 0.0017717
34 | 0.98149 | -0.35306 | 0 | 0
35 | 0.97058 | -0.56712 | 0.0055538 | 0.0013919
36 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011591 | -0.0029112 | 0.011597 | 0.0029143 | 5.9293e-06 | 3.1705e-06 | 0.017735 | 0.017735 | 0.017735 | 0.97265 | -0.52616 | 0.9732 | -0.51544 | 4.8723
1 | 0.011591 | 0.0029112 | -0.011576 | -0.0029027 | 1.5791e-05 | 8.4474e-06 | 0.017735 | 0.017736 | 0.017736 | 0.97265 | -0.52616 | 0.97121 | -0.55474 | 4.8725
2 | -0.038538 | -0.0096664 | 0.03858 | 0.0096928 | 4.1848e-05 | 2.6383e-05 | 0.058928 | 0.058928 | 0.058928 | 0.9732 | -0.51544 | 0.97435 | -0.49269 | 16.189
3 | 0.011576 | 0.0029027 | -0.01157 | -0.0028996 | 5.7707e-06 | 3.0882e-06 | 0.017736 | 0.017736 | 0.017736 | 0.97121 | -0.55474 | 0.97068 | -0.56521 | 4.8725
4 | 0.058247 | 0.014647 | -0.058134 | -0.014575 | 0.00011323 | 7.1996e-05 | 0.089022 | 0.089022 | 0.089022 | 0.9738 | -0.50397 | 0.97173 | -0.54476 | 24.4567
5 | -0.064381 | -0.016184 | 0.064747 | 0.016417 | 0.00036611 | 0.00023305 | 0.098396 | 0.098395 | 0.098396 | 0.9738 | -0.50397 | 0.97985 | -0.38561 | 27.0318
6 | 0.015916 | 0.003994 | -0.015902 | -0.003986 | 1.3749e-05 | 8.0354e-06 | 0.024374 | 0.024374 | 0.024374 | 0.97173 | -0.54476 | 0.97081 | -0.56289 | 6.6962
7 | -0.064747 | -0.016417 | 0.064803 | 0.016453 | 5.5584e-05 | 3.5381e-05 | 0.098395 | 0.098395 | 0.098395 | 0.97985 | -0.38561 | 0.98076 | -0.36777 | 27.0316
8 | 0.010398 | 0.0026066 | -0.010396 | -0.0026057 | 1.6444e-06 | 8.3899e-07 | 0.015938 | 0.015938 | 0.015938 | 0.97081 | -0.56289 | 0.97065 | -0.56621 | 4.3785
9 | -0.064803 | -0.016453 | 0.065326 | 0.016786 | 0.00052332 | 0.00033309 | 0.098395 | 0.098394 | 0.098395 | 0.98076 | -0.36777 | 0.98942 | -0.20139 | 27.0316
10 | 0.0075959 | 0.0019039 | -0.0075948 | -0.0019034 | 1.0765e-06 | 4.2733e-07 | 0.011645 | 0.011645 | 0.011645 | 0.97065 | -0.56621 | 0.9705 | -0.56919 | 3.1991
11 | -0.073918 | -0.018939 | 0.07397 | 0.018972 | 5.1943e-05 | 3.2669e-05 | 0.11132 | 0.11132 | 0.11132 | 0.98942 | -0.20139 | 0.99018 | -0.1869 | 15.2907
12 | 0.0031525 | 0.00079009 | -0.0031525 | -0.00079009 | 3.9047e-10 | -3.0018e-10 | 0.0048336 | 0.0048336 | 0.0048336 | 0.9705 | -0.56919 | 0.9705 | -0.56919 | 1.3279
13 | -0.078384 | -0.020078 | 0.078479 | 0.020137 | 9.4323e-05 | 5.9435e-05 | 0.11795 | 0.11795 | 0.11795 | 0.99018 | -0.1869 | 0.99148 | -0.1621 | 16.2018
14 | 0.068984 | 0.017378 | -0.068813 | -0.017268 | 0.00017156 | 0.00010925 | 0.10356 | 0.10356 | 0.10356 | 0.99148 | -0.1621 | 0.98879 | -0.21424 | 28.4515
15 | -0.14746 | -0.037515 | 0.14826 | 0.038025 | 0.00080017 | 0.00050985 | 0.22151 | 0.22151 | 0.22151 | 0.99148 | -0.1621 | 0.99736 | -0.050164 | 30.4274
16 | 0.052908 | 0.013282 | -0.052865 | -0.013255 | 4.3223e-05 | 2.743e-05 | 0.079629 | 0.079629 | 0.079629 | 0.98879 | -0.21424 | 0.9879 | -0.23138 | 21.8761
17 | 0.076129 | 0.019147 | -0.07602 | -0.019077 | 0.00010966 | 6.9888e-05 | 0.11361 | 0.11361 | 0.11361 | 0.99736 | -0.050164 | 0.99579 | -0.080367 | 31.2103
18 | -0.22439 | -0.057172 | 0.22494 | 0.05752 | 0.00054455 | 0.00034784 | 0.33512 | 0.33512 | 0.33512 | 0.99736 | -0.050164 | 1 | 0 | 46.0324
19 | 0.020909 | 0.0052459 | -0.020896 | -0.0052378 | 1.3414e-05 | 8.1234e-06 | 0.031496 | 0.031496 | 0.031496 | 0.9879 | -0.23138 | 0.98721 | -0.24485 | 8.6529
20 | 0.045879 | 0.011515 | -0.045852 | -0.011497 | 2.7591e-05 | 1.7454e-05 | 0.068564 | 0.068564 | 0.068564 | 0.99579 | -0.080367 | 0.99513 | -0.092985 | 18.8362
21 | 0.03014 | 0.0075627 | -0.030117 | -0.0075479 | 2.3783e-05 | 1.4815e-05 | 0.045042 | 0.045042 | 0.045042 | 0.99579 | -0.080367 | 0.99493 | -0.09693 | 12.3742
22 | 0.12448 | 0.03212 | -0.1242 | -0.031939 | 0.00028464 | 0.00018101 | 0.18556 | 0.18556 | 0.18556 | 1 | 0 | 0.9975 | -0.047036 | 25.4889
23 | -0.0037608 | -0.00094255 | 0.003761 | 0.00094246 | 2.0586e-07 | -8.6497e-08 | 0.0056699 | 0.0056699 | 0.0056699 | 0.98698 | -0.24932 | 0.98704 | -0.24817 | 1.5577
24 | -0.017486 | -0.0043823 | 0.017489 | 0.0043839 | 2.7719e-06 | 1.638e-06 | 0.026361 | 0.026361 | 0.026361 | 0.98704 | -0.24817 | 0.98721 | -0.24485 | 7.2421
25 | 0.015726 | 0.0039425 | -0.015723 | -0.0039406 | 3.4281e-06 | 1.9793e-06 | 0.023516 | 0.023516 | 0.023516 | 0.99513 | -0.092985 | 0.9949 | -0.097561 | 6.4605
26 | 0.030125 | 0.0075545 | -0.030113 | -0.0075471 | 1.188e-05 | 7.4002e-06 | 0.045048 | 0.045048 | 0.045048 | 0.99513 | -0.092985 | 0.99471 | -0.10126 | 12.3757
27 | 0.11132 | 0.028711 | -0.11122 | -0.028647 | 0.00010073 | 6.3963e-05 | 0.16635 | 0.16635 | 0.16635 | 0.9975 | -0.047036 | 0.99652 | -0.065629 | 22.8499
28 | 0.0055543 | 0.001392 | -0.0055538 | -0.0013919 | 5.0511e-07 | 9.3627e-08 | 0.0085145 | 0.0085146 | 0.0085146 | 0.97068 | -0.56521 | 0.97058 | -0.56712 | 2.3392
29 | -0.065516 | -0.016444 | 0.065565 | 0.016475 | 4.9498e-05 | 3.1515e-05 | 0.10006 | 0.10006 | 0.10006 | 0.97435 | -0.49269 | 0.97516 | -0.47686 | 27.49
30 | 0.098345 | 0.025421 | -0.097725 | -0.025028 | 0.00062027 | 0.00039302 | 0.14713 | 0.14713 | 0.14713 | 0.99652 | -0.065629 | 0.98965 | -0.19575 | 20.2099
31 | 0.097725 | 0.025028 | -0.097042 | -0.024595 | 0.00068325 | 0.00043299 | 0.14713 | 0.14713 | 0.14713 | 0.98965 | -0.19575 | 0.9821 | -0.34117 | 20.2101
32 | 0.097042 | 0.024595 | -0.096986 | -0.02456 | 5.5403e-05 | 3.5113e-05 | 0.14713 | 0.14713 | 0.14713 | 0.9821 | -0.34117 | 0.98149 | -0.35306 | 20.2102
33 | -0.089374 | -0.022442 | 0.089754 | 0.022685 | 0.00038013 | 0.0002426 | 0.13639 | 0.13639 | 0.13639 | 0.97516 | -0.47686 | 0.97969 | -0.38812 | 37.4707
34 | -0.096823 | -0.024456 | 0.096986 | 0.02456 | 0.00016299 | 0.0001033 | 0.14713 | 0.14713 | 0.14713 | 0.97969 | -0.38812 | 0.98149 | -0.35306 | 20.2102

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36423 | 0.092938

## res_load
| p_mw | q_mvar
0 | 0.026941 | 0.0067521
1 | 0.0061343 | 0.0015374
2 | 0.042218 | 0.010581
3 | 0.0055041 | 0.0013795
4 | 0.0028004 | 0.00070185
5 | 0.0085921 | 0.0021534
6 | 0.0044423 | 0.0011133
7 | 0.0044141 | 0.0011063
8 | 0.015905 | 0.0039861
9 | 0.031956 | 0.0080088
10 | 0.01316 | 0.0032982
11 | 0.0031525 | 0.00079009
12 | 0.0037608 | 0.00094255
13 | 0.013725 | 0.0034398
14 | 0.003407 | 0.00085387
15 | 0.030117 | 0.0075479
16 | 0.012879 | 0.0032278
17 | 0.0060155 | 0.0015076
18 | 0.026936 | 0.0067507
19 | 0.012872 | 0.0032261
20 | 0.015723 | 0.0039406
21 | 0.030113 | 0.0075471
22 | 0.023808 | 0.005967
23 | 0.0070691 | 0.0017717
24 | 0.0055538 | 0.0013919

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1