## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1710-3_1_3_node_67 | 0.4 | n |  | TRUE
1 | bus_LV_1710-3_1_3_node_68 | 0.4 | n |  | TRUE
2 | bus_LV_1710-3_1_3_node_69 | 0.4 | n |  | TRUE
3 | bus_LV_1710-3_1_3_node_70 | 0.4 | n |  | TRUE
4 | bus_LV_1710-3_1_3_node_71 | 0.4 | n |  | TRUE
5 | bus_LV_1710-3_1_3_node_72 | 0.4 | n |  | TRUE
6 | bus_LV_1710-3_1_3_node_73 | 0.4 | n |  | TRUE
7 | bus_LV_1710-3_1_3_node_74 | 0.4 | n |  | TRUE
8 | bus_LV_1710-3_1_3_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_1710-3_1_3_node_76 | 0.4 | n |  | TRUE
10 | bus_LV_1710-3_1_3_node_78 | 0.4 | n |  | TRUE
11 | bus_LV_1710-3_1_3_node_77 | 0.4 | n |  | TRUE
12 | bus_LV_1710-3_1_3_node_86 | 0.4 | n |  | TRUE
13 | bus_LV_1710-3_1_3_node_79 | 0.4 | n |  | TRUE
14 | bus_LV_1710-3_1_3_node_80 | 0.4 | n |  | TRUE
15 | bus_LV_1710-3_1_3_node_85 | 0.4 | n |  | TRUE
16 | bus_LV_1710-3_1_3_node_81 | 0.4 | n |  | TRUE
17 | bus_LV_1710-3_1_3_node_82 | 0.4 | n |  | TRUE
18 | bus_LV_1710-3_1_3_node_83 | 0.4 | n |  | TRUE
19 | bus_LV_1710-3_1_3_node_84 | 0.4 | n |  | TRUE
20 | bus_LV_1710-3_1_3_node_91 | 0.4 | n |  | TRUE
21 | bus_LV_1710-3_1_3_node_89 | 0.4 | n |  | TRUE
22 | bus_LV_1710-3_1_3_node_90 | 0.4 | n |  | TRUE
23 | bus_LV_1710-3_1_3_node_87 | 0.4 | n |  | TRUE
24 | bus_LV_1710-3_1_3_node_88 | 0.4 | n |  | TRUE
25 | bus_LV_1710-3_1_3_node_93 | 0.4 | n |  | TRUE
26 | bus_LV_1710-3_1_3_node_95 | 0.4 | n |  | TRUE
27 | bus_LV_1710-3_1_3_node_96 | 0.4 | n |  | TRUE
28 | bus_LV_1710-3_1_3_node_92 | 0.4 | n |  | TRUE
29 | bus_LV_1710-3_1_3_node_94 | 0.4 | n |  | TRUE
30 | bus_LV_1710-3_1_3_node_97 | 0.4 | n |  | TRUE
31 | bus_LV_1710-3_1_3_node_100 | 0.4 | n |  | TRUE
32 | bus_LV_1710-3_1_3_node_98 | 0.4 | n |  | TRUE
33 | bus_LV_1710-3_1_3_node_99 | 0.4 | n |  | TRUE
34 | bus_LV_1710-3_1_3_node_121 | 0.4 | n |  | TRUE
35 | bus_LV_1710-3_1_3_node_101 | 0.4 | n |  | TRUE
36 | bus_LV_1710-3_1_3_node_102 | 0.4 | n |  | TRUE
37 | bus_LV_1710-3_1_3_node_103 | 0.4 | n |  | TRUE
38 | bus_LV_1710-3_1_3_node_110 | 0.4 | n |  | TRUE
39 | bus_LV_1710-3_1_3_node_114 | 0.4 | n |  | TRUE
40 | bus_LV_1710-3_1_3_node_104 | 0.4 | n |  | TRUE
41 | bus_LV_1710-3_1_3_node_105 | 0.4 | n |  | TRUE
42 | bus_LV_1710-3_1_3_node_106 | 0.4 | n |  | TRUE
43 | bus_LV_1710-3_1_3_node_107 | 0.4 | n |  | TRUE
44 | bus_LV_1710-3_1_3_node_108 | 0.4 | n |  | TRUE
45 | bus_LV_1710-3_1_3_node_109 | 0.4 | n |  | TRUE
46 | bus_LV_1710-3_1_3_node_111 | 0.4 | n |  | TRUE
47 | bus_LV_1710-3_1_3_node_112 | 0.4 | n |  | TRUE
48 | bus_LV_1710-3_1_3_node_113 | 0.4 | n |  | TRUE
49 | bus_LV_1710-3_1_3_node_115 | 0.4 | n |  | TRUE
50 | bus_LV_1710-3_1_3_node_116 | 0.4 | n |  | TRUE
51 | bus_LV_1710-3_1_3_node_117 | 0.4 | n |  | TRUE
52 | bus_LV_1710-3_1_3_node_119 | 0.4 | n |  | TRUE
53 | bus_LV_1710-3_1_3_node_118 | 0.4 | n |  | TRUE
54 | bus_LV_1710-3_1_3_node_124 | 0.4 | n |  | TRUE
55 | bus_LV_1710-3_1_3_node_125 | 0.4 | n |  | TRUE
56 | bus_LV_1710-3_1_3_node_120 | 0.4 | n |  | TRUE
57 | bus_LV_1710-3_1_3_node_122 | 0.4 | n |  | TRUE
58 | bus_LV_1710-3_1_3_node_123 | 0.4 | n |  | TRUE
59 | bus_MV_1_0_node_166 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1710-3_1_3_load_67 | 0 | 0.007752 | 0.0019428 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1710-3_1_3_load_68 | 1 | 0.0021508 | 0.00053904 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1710-3_1_3_load_69 | 2 | 0.0051369 | 0.0012874 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1710-3_1_3_load_70 | 3 | 0.0021679 | 0.00054333 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1710-3_1_3_load_71 | 4 | 0.012402 | 0.0031083 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1710-3_1_3_load_72 | 5 | 0.0095774 | 0.0024003 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1710-3_1_3_load_75 | 8 | 0.0089663 | 0.0022472 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1710-3_1_3_load_78 | 10 | 0.0098627 | 0.0024718 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1710-3_1_3_load_86 | 12 | 0.011282 | 0.0028276 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1710-3_1_3_load_79 | 13 | 0.0024802 | 0.0006216 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1710-3_1_3_load_80 | 14 | 0.0015839 | 0.00039697 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1710-3_1_3_load_81 | 16 | 0.0016976 | 0.00042546 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1710-3_1_3_load_82 | 17 | 0.0009917 | 0.00024854 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1710-3_1_3_load_83 | 18 | 0.0026563 | 0.00066573 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1710-3_1_3_load_84 | 19 | 0.0014915 | 0.00037381 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1710-3_1_3_load_91 | 20 | 0.004556 | 0.0011418 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1710-3_1_3_load_90 | 22 | 0.0019325 | 0.00048432 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1710-3_1_3_load_87 | 23 | 0.0057055 | 0.0014299 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1710-3_1_3_load_88 | 24 | 0.0047809 | 0.0011982 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1710-3_1_3_load_93 | 25 | 0.0029273 | 0.00073365 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1710-3_1_3_load_95 | 26 | 0.0027415 | 0.00068708 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1710-3_1_3_load_96 | 27 | 0.0098952 | 0.00248 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1710-3_1_3_load_92 | 28 | 0.0014903 | 0.00037351 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1710-3_1_3_load_94 | 29 | 0.004631 | 0.0011606 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1710-3_1_3_load_97 | 30 | 0.0039903 | 0.0010001 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1710-3_1_3_load_100 | 31 | 0.0093934 | 0.0023542 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1710-3_1_3_load_98 | 32 | 0.0043798 | 0.0010977 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1710-3_1_3_load_121 | 34 | 0.0078607 | 0.0019701 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1710-3_1_3_load_102 | 36 | 0.0069613 | 0.0017447 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1710-3_1_3_load_103 | 37 | 0.0033656 | 0.00084351 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1710-3_1_3_load_110 | 38 | 0.005322 | 0.0013338 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1710-3_1_3_load_104 | 40 | 0.0025333 | 0.0006349 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1710-3_1_3_load_105 | 41 | 0.004877 | 0.0012223 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1710-3_1_3_load_106 | 42 | 0.0038861 | 0.00097394 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1710-3_1_3_load_107 | 43 | 0.0059239 | 0.0014847 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1710-3_1_3_load_108 | 44 | 0.0017916 | 0.00044902 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1710-3_1_3_load_109 | 45 | 0.007205 | 0.0018057 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1710-3_1_3_load_111 | 46 | 0.0014714 | 0.00036877 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1710-3_1_3_load_112 | 47 | 0.0030127 | 0.00075506 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1710-3_1_3_load_113 | 48 | 0.00067817 | 0.00016996 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1710-3_1_3_load_115 | 49 | 0.0052997 | 0.0013282 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1710-3_1_3_load_116 | 50 | 0.0039326 | 0.00098561 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1710-3_1_3_load_117 | 51 | 0.011468 | 0.0028743 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1710-3_1_3_load_119 | 52 | 0.0026187 | 0.0006563 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1710-3_1_3_load_124 | 54 | 0.0025996 | 0.00065151 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1710-3_1_3_load_125 | 55 | 0.0022452 | 0.0005627 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1710-3_1_3_load_120 | 56 | 0.0052918 | 0.0013263 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1710-3_1_3_load_122 | 57 | 0.0023777 | 0.00059591 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1710-3_1_3_load_123 | 58 | 0.0018706 | 0.00046882 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1710-3_1_3_line_0 |  | 0 | 1 | 0.0019796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1710-3_1_3_line_1 |  | 1 | 2 | 0.061753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1710-3_1_3_line_2 |  | 2 | 3 | 0.0040013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1710-3_1_3_line_3 |  | 3 | 4 | 0.021373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1710-3_1_3_line_4 |  | 4 | 5 | 0.025159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1710-3_1_3_line_5 |  | 5 | 6 | 0.013845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1710-3_1_3_line_6 |  | 6 | 7 | 0.011029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1710-3_1_3_line_7 |  | 7 | 8 | 0.011793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1710-3_1_3_line_8 |  | 8 | 9 | 0.025913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1710-3_1_3_line_9 |  | 9 | 10 | 0.0066313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1710-3_1_3_line_10 |  | 9 | 11 | 0.012303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1710-3_1_3_line_11 |  | 10 | 13 | 0.025689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1710-3_1_3_line_12 |  | 11 | 12 | 0.038891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1710-3_1_3_line_13 |  | 12 | 23 | 0.037204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1710-3_1_3_line_14 |  | 13 | 14 | 0.050606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1710-3_1_3_line_15 |  | 14 | 15 | 0.025168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1710-3_1_3_line_16 |  | 15 | 21 | 0.025482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1710-3_1_3_line_17 |  | 15 | 22 | 0.0047218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1710-3_1_3_line_18 |  | 16 | 17 | 0.021583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1710-3_1_3_line_19 |  | 16 | 18 | 0.0070617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1710-3_1_3_line_20 |  | 17 | 19 | 0.01636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1710-3_1_3_line_21 |  | 19 | 20 | 0.0061246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1710-3_1_3_line_22 |  | 20 | 28 | 0.0012074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1710-3_1_3_line_23 |  | 21 | 25 | 0.011057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1710-3_1_3_line_24 |  | 21 | 26 | 0.034208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1710-3_1_3_line_25 |  | 22 | 27 | 0.019856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1710-3_1_3_line_26 |  | 23 | 24 | 0.037273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1710-3_1_3_line_27 |  | 25 | 28 | 0.030965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1710-3_1_3_line_28 |  | 26 | 29 | 0.0096916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1710-3_1_3_line_29 |  | 27 | 30 | 0.016549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1710-3_1_3_line_30 |  | 30 | 31 | 0.015929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1710-3_1_3_line_31 |  | 31 | 35 | 0.020829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1710-3_1_3_line_32 |  | 32 | 33 | 0.040211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1710-3_1_3_line_33 |  | 33 | 34 | 0.023393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1710-3_1_3_line_34 |  | 34 | 57 | 0.0077522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1710-3_1_3_line_35 |  | 35 | 36 | 0.083746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1710-3_1_3_line_36 |  | 35 | 37 | 0.043998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1710-3_1_3_line_37 |  | 36 | 38 | 0.082035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1710-3_1_3_line_38 |  | 37 | 39 | 0.011488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1710-3_1_3_line_39 |  | 38 | 45 | 0.014686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1710-3_1_3_line_40 |  | 39 | 49 | 0.016198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1710-3_1_3_line_41 |  | 39 | 50 | 0.037363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1710-3_1_3_line_42 |  | 40 | 41 | 0.006706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1710-3_1_3_line_43 |  | 40 | 42 | 0.046346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1710-3_1_3_line_44 |  | 41 | 43 | 0.0064148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1710-3_1_3_line_45 |  | 42 | 44 | 0.010129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1710-3_1_3_line_46 |  | 43 | 45 | 0.025694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1710-3_1_3_line_47 |  | 44 | 46 | 0.15263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1710-3_1_3_line_48 |  | 46 | 47 | 0.0052379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1710-3_1_3_line_49 |  | 47 | 48 | 0.066537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1710-3_1_3_line_50 |  | 49 | 51 | 0.0025272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1710-3_1_3_line_51 |  | 50 | 52 | 0.0050963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1710-3_1_3_line_52 |  | 51 | 53 | 0.032912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1710-3_1_3_line_53 |  | 52 | 56 | 0.013003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1710-3_1_3_line_54 |  | 53 | 54 | 0.022877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1710-3_1_3_line_55 |  | 53 | 55 | 0.035945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1710-3_1_3_line_56 |  | 54 | 58 | 0.033764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1710-3_1_3_line_57 |  | 57 | 58 | 0.005655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1710-3_1_3_trafo_85 | 0.63 MVA 20/0.4 kV | 59 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2682060.5501 | 1216427.2069 | 2682061.469 | 1216425.4535
1 | 2682100.6817 | 1216378.2899 | 2682087.4407 | 1216391.5335 | 2682076.0966 | 1216403.652 | 2682067.9249 | 1216413.1346 | 2682061.469 | 1216425.4535
2 | 2682103.5108 | 1216375.4602 | 2682100.6817 | 1216378.2899
3 | 2682103.5108 | 1216375.4602 | 2682118.6226 | 1216360.3455
4 | 2682118.6226 | 1216360.3455 | 2682119.5467 | 1216359.4212 | 2682126.418 | 1216352.8448 | 2682133.7633 | 1216344.9408 | 2682136.0025 | 1216342.185
5 | 2682144.3035 | 1216331.1103 | 2682138.4983 | 1216339.1133 | 2682136.0025 | 1216342.185
6 | 2682144.3035 | 1216331.1103 | 2682150.6845 | 1216322.1034
7 | 2682150.6845 | 1216322.1034 | 2682154.913 | 1216324.3742 | 2682158.8875 | 1216324.14 | 2682161.3523 | 1216322.4092
8 | 2682174.1661 | 1216300.3905 | 2682174.1349 | 1216302.6582 | 2682164.9797 | 1216317.9087 | 2682162.5679 | 1216321.5557 | 2682161.3523 | 1216322.4092
9 | 2682174.1661 | 1216300.3905 | 2682179.6998 | 1216297.2202 | 2682179.9097 | 1216297.0775
10 | 2682174.1661 | 1216300.3905 | 2682170.9245 | 1216298.6891 | 2682162.7327 | 1216295.841
11 | 2682179.9097 | 1216297.0775 | 2682186.0005 | 1216292.9376 | 2682200.136 | 1216281.2768
12 | 2682162.7327 | 1216295.841 | 2682166.5645 | 1216282.8297 | 2682169.6568 | 1216268.385 | 2682170.9511 | 1216257.9094
13 | 2682170.9511 | 1216257.9094 | 2682175.5134 | 1216220.9861
14 | 2682200.136 | 1216281.2768 | 2682216.4238 | 1216267.8405 | 2682231.2407 | 1216246.2084 | 2682232.526 | 1216243.2004
15 | 2682242.4147 | 1216220.0564 | 2682232.526 | 1216243.2004
16 | 2682259.2084 | 1216236.7547 | 2682257.183 | 1216230.0111 | 2682253.0318 | 1216224.339 | 2682242.4147 | 1216220.0564
17 | 2682242.4147 | 1216220.0564 | 2682243.2287 | 1216215.4053
18 | 2682233.2989 | 1216314.6584 | 2682247.9488 | 1216302.665 | 2682249.3353 | 1216300.4064
19 | 2682227.8348 | 1216319.1317 | 2682233.2989 | 1216314.6584
20 | 2682249.3353 | 1216300.4064 | 2682256.1517 | 1216289.3027 | 2682256.5116 | 1216285.9909
21 | 2682257.1732 | 1216279.9021 | 2682256.5116 | 1216285.9909
22 | 2682257.1732 | 1216279.9021 | 2682257.3036 | 1216278.7018
23 | 2682259.2084 | 1216236.7547 | 2682258.4315 | 1216246.8284 | 2682258.4183 | 1216247.782
24 | 2682259.2084 | 1216236.7547 | 2682283.682 | 1216240.5838 | 2682291.9548 | 1216245.124
25 | 2682243.2287 | 1216215.4053 | 2682246.6522 | 1216195.8463
26 | 2682175.5134 | 1216220.9861 | 2682176.3152 | 1216214.4968 | 2682179.6487 | 1216183.9442
27 | 2682258.4183 | 1216247.782 | 2682258.0915 | 1216271.451 | 2682257.3036 | 1216278.7018
28 | 2682297.7667 | 1216252.7037 | 2682293.2002 | 1216245.8075 | 2682291.9548 | 1216245.124
29 | 2682249.5053 | 1216179.5452 | 2682246.6522 | 1216195.8463
30 | 2682249.5053 | 1216179.5452 | 2682249.5783 | 1216179.1282 | 2682253.0534 | 1216164.0166
31 | 2682257.7214 | 1216143.7172 | 2682253.0534 | 1216164.0166
32 | 2682264.6828 | 1216016.2626 | 2682245.0865 | 1216028.1556 | 2682232.3704 | 1216039.8687
33 | 2682264.6828 | 1216016.2626 | 2682270.6989 | 1216026.5635 | 2682278.968 | 1216034.5041
34 | 2682278.968 | 1216034.5041 | 2682284.5596 | 1216039.8735
35 | 2682257.7214 | 1216143.7172 | 2682286.0481 | 1216131.9448 | 2682298.9399 | 1216128.7874 | 2682336.9985 | 1216124.9325 | 2682338.5199 | 1216124.6682
36 | 2682257.7214 | 1216143.7172 | 2682252.9717 | 1216141.239 | 2682251.0999 | 1216135.4649 | 2682251.8453 | 1216125.4797 | 2682257.6064 | 1216120.1445 | 2682270.8055 | 1216113.6601
37 | 2682341.0462 | 1216148.7853 | 2682357.5102 | 1216140.1926 | 2682371.84 | 1216132.9858 | 2682373.7631 | 1216129.5435 | 2682374.4757 | 1216125.7842 | 2682372.7257 | 1216121.6461 | 2682367.1081 | 1216119.3337 | 2682357.3904 | 1216121.3897 | 2682338.5199 | 1216124.6682
38 | 2682281.1159 | 1216108.5947 | 2682270.8055 | 1216113.6601
39 | 2682330.0692 | 1216158.3169 | 2682337.5243 | 1216150.6234 | 2682341.0462 | 1216148.7853
40 | 2682281.1159 | 1216108.5947 | 2682295.6556 | 1216101.4556
41 | 2682281.1159 | 1216108.5947 | 2682277.7327 | 1216102.8442 | 2682271.295 | 1216096.1287 | 2682261.6329 | 1216094.1608 | 2682250.3897 | 1216096.7073 | 2682250.3897 | 1216096.7073
42 | 2682315.4107 | 1216192.5012 | 2682315.8059 | 1216185.8069
43 | 2682315.4107 | 1216192.5012 | 2682315.4107 | 1216192.5012 | 2682318.0127 | 1216203.1219 | 2682324.2946 | 1216206.2663 | 2682335.4149 | 1216206.5534 | 2682347.3441 | 1216210.3985 | 2682351.6864 | 1216212.2696
44 | 2682316.1839 | 1216179.4033 | 2682316.1839 | 1216179.4033 | 2682315.8059 | 1216185.8069
45 | 2682351.6864 | 1216212.2696 | 2682355.3681 | 1216213.856 | 2682357.7275 | 1216219.5035
46 | 2682316.1839 | 1216179.4033 | 2682321.1625 | 1216167.5086 | 2682330.0692 | 1216158.3169
47 | 2682357.7275 | 1216219.5035 | 2682478.6097 | 1216312.6894
48 | 2682478.6097 | 1216312.6894 | 2682481.9796 | 1216308.6795
49 | 2682481.9796 | 1216308.6795 | 2682490.1258 | 1216298.9864 | 2682497.7752 | 1216296.5796 | 2682519.4608 | 1216305.4078 | 2682530.7206 | 1216303.2845 | 2682540.1206 | 1216297.6016
50 | 2682295.6556 | 1216101.4556 | 2682297.9241 | 1216100.3417
51 | 2682246.1146 | 1216099.4815 | 2682250.3897 | 1216096.7073
52 | 2682325.4345 | 1216084.2015 | 2682324.7022 | 1216087.1934 | 2682297.9241 | 1216100.3417
53 | 2682246.1146 | 1216099.4815 | 2682240.3906 | 1216103.1959 | 2682236.3635 | 1216107.8834
54 | 2682325.4345 | 1216084.2015 | 2682326.4405 | 1216080.0905 | 2682312.9921 | 1216067.1764
55 | 2682325.4345 | 1216084.2015 | 2682339.8122 | 1216081.2315 | 2682355.491 | 1216080.8144 | 2682360.6518 | 1216078.6941
56 | 2682288.6385 | 1216043.7904 | 2682312.9921 | 1216067.1764
57 | 2682284.5596 | 1216039.8735 | 2682288.6385 | 1216043.7904

## bus_geodata
| x | y | coords
0 | 2682060.5501 | 1216427.2069
1 | 2682061.469 | 1216425.4535
2 | 2682100.6817 | 1216378.2899
3 | 2682103.5108 | 1216375.4602
4 | 2682118.6226 | 1216360.3455
5 | 2682136.0025 | 1216342.185
6 | 2682144.3035 | 1216331.1103
7 | 2682150.6845 | 1216322.1034
8 | 2682161.3523 | 1216322.4092
9 | 2682174.1661 | 1216300.3905
10 | 2682179.9097 | 1216297.0775
11 | 2682162.7327 | 1216295.841
12 | 2682170.9511 | 1216257.9094
13 | 2682200.136 | 1216281.2768
14 | 2682232.526 | 1216243.2004
15 | 2682242.4147 | 1216220.0564
16 | 2682233.2989 | 1216314.6584
17 | 2682249.3353 | 1216300.4064
18 | 2682227.8348 | 1216319.1317
19 | 2682256.5116 | 1216285.9909
20 | 2682257.1732 | 1216279.9021
21 | 2682259.2084 | 1216236.7547
22 | 2682243.2287 | 1216215.4053
23 | 2682175.5134 | 1216220.9861
24 | 2682179.6487 | 1216183.9442
25 | 2682258.4183 | 1216247.782
26 | 2682291.9548 | 1216245.124
27 | 2682246.6522 | 1216195.8463
28 | 2682257.3036 | 1216278.7018
29 | 2682297.7667 | 1216252.7037
30 | 2682249.5053 | 1216179.5452
31 | 2682253.0534 | 1216164.0166
32 | 2682232.3704 | 1216039.8687
33 | 2682264.6828 | 1216016.2626
34 | 2682278.968 | 1216034.5041
35 | 2682257.7214 | 1216143.7172
36 | 2682338.5199 | 1216124.6682
37 | 2682270.8055 | 1216113.6601
38 | 2682341.0462 | 1216148.7853
39 | 2682281.1159 | 1216108.5947
40 | 2682315.4107 | 1216192.5012
41 | 2682315.8059 | 1216185.8069
42 | 2682351.6864 | 1216212.2696
43 | 2682316.1839 | 1216179.4033
44 | 2682357.7275 | 1216219.5035
45 | 2682330.0692 | 1216158.3169
46 | 2682478.6097 | 1216312.6894
47 | 2682481.9796 | 1216308.6795
48 | 2682540.1206 | 1216297.6016
49 | 2682295.6556 | 1216101.4556
50 | 2682250.3897 | 1216096.7073
51 | 2682297.9241 | 1216100.3417
52 | 2682246.1146 | 1216099.4815
53 | 2682325.4345 | 1216084.2015
54 | 2682312.9921 | 1216067.1764
55 | 2682360.6518 | 1216078.6941
56 | 2682236.3635 | 1216107.8834
57 | 2682284.5596 | 1216039.8735
58 | 2682288.6385 | 1216043.7904
59 | 2682259.2084 | 1216236.7547

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98784 | -0.23419 | 0.007752 | 0.0019428
1 | 0.98785 | -0.23391 | 0.0021508 | 0.00053904
2 | 0.98841 | -0.223 | 0.0051369 | 0.0012874
3 | 0.98847 | -0.22192 | 0.0021679 | 0.00054333
4 | 0.9888 | -0.21536 | 0.012402 | 0.0031083
5 | 0.98949 | -0.20209 | 0.0095774 | 0.0024003
6 | 0.98998 | -0.19244 | 0 | 0
7 | 0.99038 | -0.18475 | 0 | 0
8 | 0.9908 | -0.17654 | 0.0089663 | 0.0022472
9 | 0.99195 | -0.15441 | 0 | 0
10 | 0.99237 | -0.1462 | 0.0098627 | 0.0024718
11 | 0.9917 | -0.15916 | 0 | 0
12 | 0.99093 | -0.17418 | 0.011282 | 0.0028276
13 | 0.99425 | -0.10999 | 0.0024802 | 0.0006216
14 | 0.99807 | -0.036859 | 0.0015839 | 0.00039697
15 | 1 | 0 | -0.2329 | -0.058729
16 | 0.99873 | -0.024464 | 0.0016976 | 0.00042546
17 | 0.99881 | -0.022822 | 0.0009917 | 0.00024854
18 | 0.99871 | -0.024792 | 0.0026563 | 0.00066573
19 | 0.99889 | -0.021294 | 0.0014915 | 0.00037381
20 | 0.99893 | -0.020563 | 0.004556 | 0.0011418
21 | 0.99946 | -0.010304 | 0 | 0
22 | 0.99947 | -0.010063 | 0.0019325 | 0.00048432
23 | 0.99057 | -0.1811 | 0.0057055 | 0.0014299
24 | 0.99041 | -0.18427 | 0.0047809 | 0.0011982
25 | 0.99931 | -0.013356 | 0.0029273 | 0.00073365
26 | 0.99924 | -0.014706 | 0.0027415 | 0.00068708
27 | 0.99728 | -0.051826 | 0.0098952 | 0.00248
28 | 0.99894 | -0.020322 | 0.0014903 | 0.00037351
29 | 0.99919 | -0.01549 | 0.004631 | 0.0011606
30 | 0.9956 | -0.083894 | 0.0039903 | 0.0010001
31 | 0.99405 | -0.11374 | 0.0093934 | 0.0023542
32 | 0.98689 | -0.25219 | 0.0043798 | 0.0010977
33 | 0.98705 | -0.24904 | 0 | 0
34 | 0.98715 | -0.24721 | 0.0078607 | 0.0019701
35 | 0.99219 | -0.14945 | 0 | 0
36 | 0.98882 | -0.21443 | 0.0069613 | 0.0017447
37 | 0.99004 | -0.19107 | 0.0033656 | 0.00084351
38 | 0.98605 | -0.26826 | 0.005322 | 0.0013338
39 | 0.98951 | -0.20128 | 0 | 0
40 | 0.98487 | -0.2914 | 0.0025333 | 0.0006349
41 | 0.98495 | -0.28979 | 0.004877 | 0.0012223
42 | 0.9844 | -0.30044 | 0.0038861 | 0.00097394
43 | 0.98506 | -0.28769 | 0.0059239 | 0.0014847
44 | 0.98434 | -0.30171 | 0.0017916 | 0.00044902
45 | 0.98563 | -0.27653 | 0.007205 | 0.0018057
46 | 0.98361 | -0.31591 | 0.0014714 | 0.00036877
47 | 0.98359 | -0.31626 | 0.0030127 | 0.00075506
48 | 0.98355 | -0.31707 | 0.00067817 | 0.00016996
49 | 0.98894 | -0.21228 | 0.0052997 | 0.0013282
50 | 0.98911 | -0.20916 | 0.0039326 | 0.00098561
51 | 0.98887 | -0.21375 | 0.011468 | 0.0028743
52 | 0.98907 | -0.20988 | 0.0026187 | 0.0006563
53 | 0.98822 | -0.22628 | 0 | 0
54 | 0.98782 | -0.23408 | 0.0025996 | 0.00065151
55 | 0.98815 | -0.22772 | 0.0022452 | 0.0005627
56 | 0.98901 | -0.21111 | 0.0052918 | 0.0013263
57 | 0.98724 | -0.24551 | 0.0023777 | 0.00059591
58 | 0.98731 | -0.24403 | 0.0018706 | 0.00046882
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.007752 | -0.0019428 | 0.0077521 | 0.0019429 | 1.0122e-07 | 3.944e-08 | 0.011677 | 0.011677 | 0.011677 | 0.98784 | -0.23419 | 0.98785 | -0.23391 | 3.208
1 | -0.0099029 | -0.0024819 | 0.0099081 | 0.0024844 | 5.1528e-06 | 2.5068e-06 | 0.014917 | 0.014917 | 0.014917 | 0.98785 | -0.23391 | 0.98841 | -0.223 | 4.0981
2 | -0.015045 | -0.0037719 | 0.015046 | 0.0037723 | 7.6978e-07 | 4.4137e-07 | 0.02265 | 0.02265 | 0.02265 | 0.98841 | -0.223 | 0.98847 | -0.22192 | 6.2226
3 | -0.017214 | -0.0043156 | 0.017219 | 0.0043188 | 5.3822e-06 | 3.1705e-06 | 0.025914 | 0.025913 | 0.025914 | 0.98847 | -0.22192 | 0.9888 | -0.21536 | 7.1191
4 | -0.029621 | -0.0074271 | 0.02964 | 0.0074388 | 1.8748e-05 | 1.1676e-05 | 0.044577 | 0.044577 | 0.044577 | 0.9888 | -0.21536 | 0.98949 | -0.20209 | 12.2465
5 | -0.039217 | -0.0098391 | 0.039236 | 0.0098505 | 1.806e-05 | 1.1381e-05 | 0.05898 | 0.05898 | 0.05898 | 0.98949 | -0.20209 | 0.98998 | -0.19244 | 16.2033
6 | -0.039236 | -0.0098505 | 0.03925 | 0.0098596 | 1.4387e-05 | 9.0659e-06 | 0.05898 | 0.05898 | 0.05898 | 0.98998 | -0.19244 | 0.99038 | -0.18475 | 16.2033
7 | -0.03925 | -0.0098596 | 0.039265 | 0.0098692 | 1.5384e-05 | 9.6936e-06 | 0.05898 | 0.05898 | 0.05898 | 0.99038 | -0.18475 | 0.9908 | -0.17654 | 16.2032
8 | -0.048232 | -0.012116 | 0.048283 | 0.012149 | 5.1e-05 | 3.2306e-05 | 0.072445 | 0.072445 | 0.072445 | 0.9908 | -0.17654 | 0.99195 | -0.15441 | 19.9026
9 | -0.070076 | -0.017619 | 0.070103 | 0.017636 | 2.7489e-05 | 1.7508e-05 | 0.10514 | 0.10514 | 0.10514 | 0.99195 | -0.15441 | 0.99237 | -0.1462 | 28.8847
10 | 0.021793 | 0.0054699 | -0.021788 | -0.0054669 | 4.9318e-06 | 2.9976e-06 | 0.032695 | 0.032695 | 0.032695 | 0.99195 | -0.15441 | 0.9917 | -0.15916 | 8.9821
11 | -0.079966 | -0.020108 | 0.080105 | 0.020196 | 0.00013856 | 8.8343e-05 | 0.11993 | 0.11993 | 0.11993 | 0.99237 | -0.1462 | 0.99425 | -0.10999 | 32.9475
12 | 0.021788 | 0.0054669 | -0.021773 | -0.0054575 | 1.559e-05 | 9.4762e-06 | 0.032695 | 0.032695 | 0.032695 | 0.9917 | -0.15916 | 0.99093 | -0.17418 | 8.9822
13 | 0.010491 | 0.0026299 | -0.010487 | -0.0026281 | 3.4623e-06 | 1.7368e-06 | 0.015753 | 0.015753 | 0.015753 | 0.99093 | -0.17418 | 0.99057 | -0.1811 | 4.3279
14 | -0.082585 | -0.020818 | 0.082875 | 0.021003 | 0.0002901 | 0.00018501 | 0.12364 | 0.12364 | 0.12364 | 0.99425 | -0.10999 | 0.99807 | -0.036859 | 33.9672
15 | -0.084459 | -0.0214 | 0.084609 | 0.021495 | 0.00014984 | 9.5569e-05 | 0.126 | 0.126 | 0.126 | 0.99807 | -0.036859 | 1 | 0 | 34.6159
16 | 0.023204 | 0.0058214 | -0.023193 | -0.0058145 | 1.1394e-05 | 6.9578e-06 | 0.03453 | 0.03453 | 0.03453 | 1 | 0 | 0.99946 | -0.010304 | 9.4863
17 | 0.12344 | 0.031412 | -0.12338 | -0.031374 | 5.9845e-05 | 3.8239e-05 | 0.18384 | 0.18384 | 0.18384 | 1 | 0 | 0.99947 | -0.010063 | 50.5064
18 | -0.004354 | -0.0010911 | 0.0043543 | 0.0010911 | 3.4059e-07 | -6.4486e-08 | 0.006487 | 0.0064869 | 0.006487 | 0.99873 | -0.024464 | 0.99881 | -0.022822 | 1.7821
19 | 0.0026564 | 0.00066567 | -0.0026563 | -0.00066573 | 4.1479e-08 | -6.586e-08 | 0.0039577 | 0.0039577 | 0.0039577 | 0.99873 | -0.024464 | 0.99871 | -0.024792 | 1.0873
20 | -0.005346 | -0.0013396 | 0.0053464 | 0.0013396 | 3.8915e-07 | 3.4912e-08 | 0.0079643 | 0.0079642 | 0.0079643 | 0.99881 | -0.022822 | 0.99889 | -0.021294 | 2.188
21 | -0.0068379 | -0.0017135 | 0.0068381 | 0.0017135 | 2.383e-07 | 7.2336e-08 | 0.010186 | 0.010186 | 0.010186 | 0.99889 | -0.021294 | 0.99893 | -0.020563 | 2.7984
22 | -0.011394 | -0.0028554 | 0.011394 | 0.0028554 | 1.3043e-07 | 6.7668e-08 | 0.016973 | 0.016973 | 0.016973 | 0.99893 | -0.020563 | 0.99894 | -0.020322 | 4.6628
23 | 0.015818 | 0.0039662 | -0.015816 | -0.0039649 | 2.2999e-06 | 1.3271e-06 | 0.023551 | 0.023551 | 0.023551 | 0.99946 | -0.010304 | 0.99931 | -0.013356 | 6.4702
24 | 0.0073742 | 0.0018482 | -0.0073726 | -0.0018477 | 1.5462e-06 | 5.4139e-07 | 0.010979 | 0.010979 | 0.010979 | 0.99946 | -0.010304 | 0.99924 | -0.014706 | 3.0162
25 | 0.12144 | 0.030889 | -0.1212 | -0.030734 | 0.00024385 | 0.00015581 | 0.18097 | 0.18097 | 0.18097 | 0.99947 | -0.010063 | 0.99728 | -0.051826 | 49.7161
26 | 0.0047816 | 0.0011982 | -0.0047809 | -0.0011982 | 7.2113e-07 | -1.8211e-08 | 0.0071828 | 0.0071829 | 0.0071829 | 0.99057 | -0.1811 | 0.99041 | -0.18427 | 1.9733
27 | 0.012889 | 0.0032313 | -0.012885 | -0.0032289 | 4.2773e-06 | 2.3319e-06 | 0.019192 | 0.019193 | 0.019193 | 0.99931 | -0.013356 | 0.99894 | -0.020322 | 5.2727
28 | 0.0046312 | 0.0011606 | -0.004631 | -0.0011606 | 1.7286e-07 | -1.6319e-08 | 0.0068965 | 0.0068965 | 0.0068965 | 0.99924 | -0.014706 | 0.99919 | -0.01549 | 1.8947
29 | 0.1113 | 0.028254 | -0.11113 | -0.028144 | 0.00017142 | 0.0001095 | 0.1662 | 0.1662 | 0.1662 | 0.99728 | -0.051826 | 0.9956 | -0.083894 | 45.6599
30 | 0.10714 | 0.027144 | -0.10699 | -0.027046 | 0.00015338 | 9.7955e-05 | 0.16024 | 0.16024 | 0.16024 | 0.9956 | -0.083894 | 0.99405 | -0.11374 | 44.0215
31 | 0.097596 | 0.024692 | -0.097429 | -0.024585 | 0.0001669 | 0.00010655 | 0.14618 | 0.14618 | 0.14618 | 0.99405 | -0.11374 | 0.99219 | -0.14945 | 40.1586
32 | -0.0043798 | -0.0010977 | 0.0043804 | 0.0010976 | 6.5757e-07 | -9.3043e-08 | 0.0066037 | 0.0066035 | 0.0066037 | 0.98689 | -0.25219 | 0.98705 | -0.24904 | 1.8142
33 | -0.0043804 | -0.0010976 | 0.0043808 | 0.0010975 | 3.8253e-07 | -5.4217e-08 | 0.0066035 | 0.0066034 | 0.0066035 | 0.98705 | -0.24904 | 0.98715 | -0.24721 | 1.8142
34 | -0.012241 | -0.0030676 | 0.012242 | 0.0030681 | 9.8985e-07 | 5.3439e-07 | 0.018453 | 0.018453 | 0.018453 | 0.98715 | -0.24721 | 0.98724 | -0.24551 | 5.0694
35 | 0.04393 | 0.011108 | -0.043794 | -0.011022 | 0.00013646 | 8.6257e-05 | 0.065918 | 0.065919 | 0.065919 | 0.99219 | -0.14945 | 0.98882 | -0.21443 | 18.1095
36 | 0.053499 | 0.013477 | -0.053393 | -0.01341 | 0.00010628 | 6.7453e-05 | 0.080259 | 0.080259 | 0.080259 | 0.99219 | -0.14945 | 0.99004 | -0.19107 | 22.0492
37 | 0.036833 | 0.0092769 | -0.036738 | -0.0092175 | 9.4564e-05 | 5.9472e-05 | 0.055443 | 0.055443 | 0.055443 | 0.98882 | -0.21443 | 0.98605 | -0.26826 | 15.2317
38 | 0.050027 | 0.012567 | -0.050003 | -0.012551 | 2.4361e-05 | 1.5444e-05 | 0.075201 | 0.075201 | 0.075201 | 0.99004 | -0.19107 | 0.98951 | -0.20128 | 20.6595
39 | 0.031416 | 0.0078836 | -0.031404 | -0.0078759 | 1.238e-05 | 7.7357e-06 | 0.047412 | 0.047412 | 0.047412 | 0.98605 | -0.26826 | 0.98563 | -0.27653 | 13.0254
40 | 0.038155 | 0.0095804 | -0.038135 | -0.0095678 | 2.0001e-05 | 1.2593e-05 | 0.057383 | 0.057383 | 0.057383 | 0.98951 | -0.20128 | 0.98894 | -0.21228 | 15.7646
41 | 0.011848 | 0.0029707 | -0.011844 | -0.0029683 | 4.4481e-06 | 2.367e-06 | 0.017818 | 0.017818 | 0.017818 | 0.98951 | -0.20128 | 0.98911 | -0.20916 | 4.895
42 | -0.013382 | -0.0033536 | 0.013383 | 0.0033542 | 1.028e-06 | 5.7257e-07 | 0.020218 | 0.020218 | 0.020218 | 0.98487 | -0.2914 | 0.98495 | -0.28979 | 5.5545
43 | 0.010849 | 0.0027187 | -0.010844 | -0.0027163 | 4.6693e-06 | 2.3989e-06 | 0.016391 | 0.016391 | 0.016391 | 0.98487 | -0.2914 | 0.9844 | -0.30044 | 4.5031
44 | -0.01826 | -0.0045765 | 0.018262 | 0.0045776 | 1.8306e-06 | 1.09e-06 | 0.027586 | 0.027586 | 0.027586 | 0.98495 | -0.28979 | 0.98506 | -0.28769 | 7.5787
45 | 0.0069579 | 0.0017424 | -0.0069575 | -0.0017422 | 4.2014e-07 | 1.4012e-07 | 0.010517 | 0.010517 | 0.010517 | 0.9844 | -0.30044 | 0.98434 | -0.30171 | 2.8893
46 | -0.024186 | -0.0060623 | 0.024199 | 0.0060702 | 1.2861e-05 | 7.9037e-06 | 0.036535 | 0.036535 | 0.036535 | 0.98506 | -0.28769 | 0.98563 | -0.27653 | 10.0371
47 | 0.0051659 | 0.0012932 | -0.0051624 | -0.0012929 | 3.4903e-06 | 2.9506e-07 | 0.0078087 | 0.0078093 | 0.0078093 | 0.98434 | -0.30171 | 0.98361 | -0.31591 | 2.1454
48 | 0.003691 | 0.00092416 | -0.0036909 | -0.00092419 | 6.1233e-08 | -2.7293e-08 | 0.0055834 | 0.0055834 | 0.0055834 | 0.98361 | -0.31591 | 0.98359 | -0.31626 | 1.5339
49 | 0.00067819 | 0.00016914 | -0.00067817 | -0.00016996 | 2.6258e-08 | -8.2767e-07 | 0.0010257 | 0.001026 | 0.001026 | 0.98359 | -0.31626 | 0.98355 | -0.31707 | 0.28187
50 | 0.032835 | 0.0082396 | -0.032833 | -0.0082381 | 2.3136e-06 | 1.4483e-06 | 0.049409 | 0.049409 | 0.049409 | 0.98894 | -0.21228 | 0.98887 | -0.21375 | 13.5739
51 | 0.0079111 | 0.0019827 | -0.0079108 | -0.0019826 | 2.707e-07 | 1.0784e-07 | 0.011901 | 0.011901 | 0.011901 | 0.98911 | -0.20916 | 0.98907 | -0.20988 | 3.2696
52 | 0.021364 | 0.0053639 | -0.021352 | -0.0053561 | 1.2758e-05 | 7.7435e-06 | 0.032152 | 0.032152 | 0.032152 | 0.98887 | -0.21375 | 0.98822 | -0.22628 | 8.833
53 | 0.0052921 | 0.0013263 | -0.0052918 | -0.0013263 | 3.0911e-07 | 3.0954e-08 | 0.0079618 | 0.0079618 | 0.0079618 | 0.98907 | -0.20988 | 0.98901 | -0.21111 | 2.1873
54 | 0.019106 | 0.0047938 | -0.019099 | -0.0047895 | 7.1015e-06 | 4.252e-06 | 0.028771 | 0.028771 | 0.028771 | 0.98822 | -0.22628 | 0.98782 | -0.23408 | 7.9042
55 | 0.0022453 | 0.00056234 | -0.0022452 | -0.0005627 | 1.5407e-07 | -3.6189e-07 | 0.0033808 | 0.0033809 | 0.0033809 | 0.98822 | -0.22628 | 0.98815 | -0.22772 | 0.92883
56 | 0.0165 | 0.004138 | -0.016492 | -0.0041334 | 7.8222e-06 | 4.5742e-06 | 0.024855 | 0.024856 | 0.024856 | 0.98782 | -0.23408 | 0.98731 | -0.24403 | 6.8285
57 | -0.01462 | -0.003664 | 0.014621 | 0.0036646 | 1.0298e-06 | 5.8674e-07 | 0.022036 | 0.022036 | 0.022036 | 0.98724 | -0.24551 | 0.98731 | -0.24403 | 6.0539

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.2329 | 0.058729

## res_load
| p_mw | q_mvar
0 | 0.007752 | 0.0019428
1 | 0.0021508 | 0.00053904
2 | 0.0051369 | 0.0012874
3 | 0.0021679 | 0.00054333
4 | 0.012402 | 0.0031083
5 | 0.0095774 | 0.0024003
6 | 0.0089663 | 0.0022472
7 | 0.0098627 | 0.0024718
8 | 0.011282 | 0.0028276
9 | 0.0024802 | 0.0006216
10 | 0.0015839 | 0.00039697
11 | 0.0016976 | 0.00042546
12 | 0.0009917 | 0.00024854
13 | 0.0026563 | 0.00066573
14 | 0.0014915 | 0.00037381
15 | 0.004556 | 0.0011418
16 | 0.0019325 | 0.00048432
17 | 0.0057055 | 0.0014299
18 | 0.0047809 | 0.0011982
19 | 0.0029273 | 0.00073365
20 | 0.0027415 | 0.00068708
21 | 0.0098952 | 0.00248
22 | 0.0014903 | 0.00037351
23 | 0.004631 | 0.0011606
24 | 0.0039903 | 0.0010001
25 | 0.0093934 | 0.0023542
26 | 0.0043798 | 0.0010977
27 | 0.0078607 | 0.0019701
28 | 0.0069613 | 0.0017447
29 | 0.0033656 | 0.00084351
30 | 0.005322 | 0.0013338
31 | 0.0025333 | 0.0006349
32 | 0.004877 | 0.0012223
33 | 0.0038861 | 0.00097394
34 | 0.0059239 | 0.0014847
35 | 0.0017916 | 0.00044902
36 | 0.007205 | 0.0018057
37 | 0.0014714 | 0.00036877
38 | 0.0030127 | 0.00075506
39 | 0.00067817 | 0.00016996
40 | 0.0052997 | 0.0013282
41 | 0.0039326 | 0.00098561
42 | 0.011468 | 0.0028743
43 | 0.0026187 | 0.0006563
44 | 0.0025996 | 0.00065151
45 | 0.0022452 | 0.0005627
46 | 0.0052918 | 0.0013263
47 | 0.0023777 | 0.00059591
48 | 0.0018706 | 0.00046882

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1