## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1710-6_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1710-6_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1710-6_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1710-6_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1710-6_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1710-6_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1710-6_0_7_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1710-6_0_7_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1710-6_0_7_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1710-6_0_7_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1710-6_0_7_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1710-6_0_7_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1710-6_0_7_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_1710-6_0_7_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_1710-6_0_7_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1710-6_0_7_node_69 | 0.4 | n |  | TRUE
16 | bus_LV_1710-6_0_7_node_68 | 0.4 | n |  | TRUE
17 | bus_LV_1710-6_0_7_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_1710-6_0_7_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_1710-6_0_7_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_1710-6_0_7_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1710-6_0_7_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1710-6_0_7_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1710-6_0_7_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1710-6_0_7_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1710-6_0_7_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1710-6_0_7_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_1710-6_0_7_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_1710-6_0_7_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_1710-6_0_7_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1710-6_0_7_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_1710-6_0_7_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_1710-6_0_7_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_1710-6_0_7_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1710-6_0_7_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_1710-6_0_7_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_1710-6_0_7_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_1710-6_0_7_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_1710-6_0_7_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_1710-6_0_7_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1710-6_0_7_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1710-6_0_7_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1710-6_0_7_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1710-6_0_7_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_1710-6_0_7_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_1710-6_0_7_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_1710-6_0_7_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_1710-6_0_7_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_1710-6_0_7_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_1710-6_0_7_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_1710-6_0_7_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_1710-6_0_7_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_1710-6_0_7_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_1710-6_0_7_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_1710-6_0_7_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_1710-6_0_7_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_1710-6_0_7_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_1710-6_0_7_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_1710-6_0_7_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_1710-6_0_7_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_1710-6_0_7_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_1710-6_0_7_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_1710-6_0_7_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_1710-6_0_7_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_1710-6_0_7_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_1710-6_0_7_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_1710-6_0_7_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_1710-6_0_7_node_67 | 0.4 | n |  | TRUE
68 | bus_MV_1_0_node_176 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1710-6_0_7_load_0 | 0 | 0.0016602 | 0.00041609 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1710-6_0_7_load_1 | 1 | 0.0013205 | 0.00033096 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1710-6_0_7_load_3 | 3 | 0.00079784 | 0.00019996 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1710-6_0_7_load_4 | 4 | 0.001046 | 0.00026215 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1710-6_0_7_load_5 | 5 | 0.00086183 | 0.000216 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1710-6_0_7_load_6 | 6 | 0.0015795 | 0.00039587 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1710-6_0_7_load_9 | 10 | 0.00022643 | 5.6749e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1710-6_0_7_load_12 | 11 | 0.00014985 | 3.7557e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1710-6_0_7_load_68 | 16 | 0.010846 | 0.0027183 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1710-6_0_7_load_17 | 17 | 0.00013622 | 3.4141e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1710-6_0_7_load_33 | 18 | 0.00062525 | 0.0001567 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1710-6_0_7_load_32 | 19 | 0.00063193 | 0.00015838 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1710-6_0_7_load_24 | 20 | 0.0015627 | 0.00039165 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1710-6_0_7_load_22 | 21 | 0.00033563 | 8.4116e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1710-6_0_7_load_20 | 23 | 0.0014179 | 0.00035536 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1710-6_0_7_load_36 | 25 | 0.00048568 | 0.00012172 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1710-6_0_7_load_34 | 27 | 0.00044069 | 0.00011045 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1710-6_0_7_load_31 | 28 | 0.0020833 | 0.00052212 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1710-6_0_7_load_23 | 29 | 0.0010026 | 0.00025128 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1710-6_0_7_load_35 | 30 | 0.00065866 | 0.00016508 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1710-6_0_7_load_37 | 32 | 0.00078292 | 0.00019622 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1710-6_0_7_load_51 | 34 | 0.0081792 | 0.0020499 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1710-6_0_7_load_50 | 35 | 0.0030849 | 0.00077315 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1710-6_0_7_load_52 | 36 | 0.0055078 | 0.0013804 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1710-6_0_7_load_47 | 37 | 0.0055914 | 0.0014013 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1710-6_0_7_load_25 | 38 | 0.00070405 | 0.00017645 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1710-6_0_7_load_26 | 39 | 0.00041914 | 0.00010505 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1710-6_0_7_load_27 | 40 | 0.00038555 | 9.6629e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1710-6_0_7_load_29 | 42 | 0.0023667 | 0.00059316 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1710-6_0_7_load_30 | 43 | 0.0007346 | 0.00018411 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1710-6_0_7_load_38 | 44 | 0.00032495 | 8.144e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1710-6_0_7_load_41 | 45 | 0.00021175 | 5.307e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1710-6_0_7_load_48 | 46 | 0.00044018 | 0.00011032 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1710-6_0_7_load_42 | 48 | 0.00053824 | 0.0001349 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1710-6_0_7_load_43 | 49 | 0.00024918 | 6.2451e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1710-6_0_7_load_44 | 50 | 0.00030636 | 7.6782e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1710-6_0_7_load_45 | 51 | 0.019099 | 0.0047868 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1710-6_0_7_load_49 | 52 | 0.00019132 | 4.7948e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1710-6_0_7_load_61 | 53 | 0.0048378 | 0.0012125 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1710-6_0_7_load_60 | 54 | 0.032918 | 0.00825 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1710-6_0_7_load_53 | 55 | 0.014984 | 0.0037553 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1710-6_0_7_load_54 | 56 | 0.01 | 0.0025063 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1710-6_0_7_load_56 | 58 | 0.013723 | 0.0034394 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1710-6_0_7_load_57 | 59 | 0.051376 | 0.012876 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1710-6_0_7_load_58 | 60 | 0.0021436 | 0.00053723 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1710-6_0_7_load_59 | 61 | 0.011055 | 0.0027707 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1710-6_0_7_load_63 | 63 | 0.00055595 | 0.00013933 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1710-6_0_7_load_65 | 65 | 0.0036944 | 0.0009259 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1710-6_0_7_load_66 | 66 | 0.00028888 | 7.2401e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1710-6_0_7_load_67 | 67 | 0.00050608 | 0.00012684 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1710-6_0_7_line_0 |  | 0 | 1 | 0.015479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_1710-6_0_7_line_1 |  | 0 | 2 | 0.031546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1710-6_0_7_line_2 |  | 1 | 3 | 0.052416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1710-6_0_7_line_3 |  | 2 | 4 | 0.040217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1710-6_0_7_line_4 |  | 2 | 5 | 0.030263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1710-6_0_7_line_5 |  | 3 | 6 | 0.014814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1710-6_0_7_line_6 |  | 5 | 7 | 0.15637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1710-6_0_7_line_7 |  | 6 | 8 | 0.013003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1710-6_0_7_line_8 |  | 7 | 9 | 0.37056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1710-6_0_7_line_9 |  | 8 | 10 | 0.042959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1710-6_0_7_line_10 |  | 9 | 11 | 0.0043379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1710-6_0_7_line_11 |  | 9 | 12 | 0.15815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1710-6_0_7_line_12 |  | 9 | 13 | 0.12059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1710-6_0_7_line_13 |  | 10 | 14 | 0.53277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1710-6_0_7_line_14 |  | 11 | 17 | 0.17269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1710-6_0_7_line_15 |  | 12 | 18 | 0.018906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1710-6_0_7_line_16 |  | 12 | 19 | 0.016853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1710-6_0_7_line_17 |  | 13 | 20 | 0.029953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1710-6_0_7_line_18 |  | 13 | 21 | 0.014762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1710-6_0_7_line_19 |  | 14 | 15 | 0.041223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1710-6_0_7_line_20 |  | 15 | 16 | 0.28553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1710-6_0_7_line_21 |  | 18 | 27 | 0.013187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1710-6_0_7_line_22 |  | 19 | 28 | 0.059268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1710-6_0_7_line_23 |  | 20 | 22 | 0.041432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1710-6_0_7_line_24 |  | 21 | 29 | 0.017553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1710-6_0_7_line_25 |  | 22 | 23 | 0.01743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1710-6_0_7_line_26 |  | 24 | 25 | 0.029557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1710-6_0_7_line_27 |  | 24 | 26 | 0.04587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1710-6_0_7_line_28 |  | 25 | 30 | 0.0084302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1710-6_0_7_line_29 |  | 26 | 31 | 0.37039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1710-6_0_7_line_30 |  | 26 | 32 | 0.051463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1710-6_0_7_line_31 |  | 27 | 30 | 0.17232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1710-6_0_7_line_32 |  | 28 | 41 | 0.014518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1710-6_0_7_line_33 |  | 31 | 45 | 0.3216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1710-6_0_7_line_34 |  | 32 | 44 | 0.019048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1710-6_0_7_line_35 |  | 33 | 34 | 0.15481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1710-6_0_7_line_36 |  | 33 | 35 | 0.022881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1710-6_0_7_line_37 |  | 34 | 36 | 0.016773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1710-6_0_7_line_38 |  | 35 | 37 | 0.003345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1710-6_0_7_line_39 |  | 36 | 53 | 0.0085295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1710-6_0_7_line_40 |  | 37 | 51 | 0.0094888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1710-6_0_7_line_41 |  | 38 | 39 | 0.0092945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1710-6_0_7_line_42 |  | 39 | 40 | 0.015868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1710-6_0_7_line_43 |  | 40 | 41 | 0.014221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1710-6_0_7_line_44 |  | 41 | 42 | 0.031739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1710-6_0_7_line_45 |  | 42 | 43 | 0.034905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1710-6_0_7_line_46 |  | 45 | 46 | 0.0087426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_1710-6_0_7_line_47 |  | 46 | 47 | 0.14314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_1710-6_0_7_line_48 |  | 47 | 52 | 0.15449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1710-6_0_7_line_49 |  | 47 | 50 | 0.054269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_1710-6_0_7_line_50 |  | 48 | 49 | 0.019756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_1710-6_0_7_line_51 |  | 48 | 50 | 0.02929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_1710-6_0_7_line_52 |  | 49 | 51 | 0.30353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_1710-6_0_7_line_53 |  | 53 | 54 | 0.12632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_1710-6_0_7_line_54 |  | 54 | 60 | 0.023341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_1710-6_0_7_line_55 |  | 55 | 56 | 0.021283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1710-6_0_7_line_56 |  | 55 | 57 | 0.020812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1710-6_0_7_line_57 |  | 57 | 58 | 0.037346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_1710-6_0_7_line_58 |  | 57 | 59 | 0.083786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1710-6_0_7_line_59 |  | 58 | 60 | 0.026662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_1710-6_0_7_line_60 |  | 59 | 61 | 0.0072397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1710-6_0_7_line_61 |  | 61 | 62 | 0.14193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1710-6_0_7_line_62 |  | 62 | 63 | 0.46071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1710-6_0_7_line_63 |  | 62 | 64 | 0.42548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1710-6_0_7_line_64 |  | 63 | 65 | 0.0050408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1710-6_0_7_line_65 |  | 64 | 66 | 0.21252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1710-6_0_7_line_66 |  | 65 | 67 | 0.013472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1710-6_0_7_trafo_21 | 0.63 MVA 20/0.4 kV | 68 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31
0 | 2683296.8562 | 1218578.0043 | 2683304.4835 | 1218591.4735
1 | 2683283.4117 | 1218549.5332 | 2683290.4731 | 1218566.7322 | 2683296.8562 | 1218578.0043
2 | 2683304.4835 | 1218591.4735 | 2683322.0211 | 1218622.4437 | 2683332.5278 | 1218635.5854
3 | 2683283.4117 | 1218549.5332 | 2683323.6868 | 1218547.3392
4 | 2683283.4117 | 1218549.5332 | 2683276.7761 | 1218528.4709 | 2683272.9006 | 1218521.2674
5 | 2683341.7784 | 1218647.1562 | 2683332.5278 | 1218635.5854
6 | 2683161.7918 | 1218415.1674 | 2683175.4524 | 1218435.9942 | 2683232.6012 | 1218476.23 | 2683261.2621 | 1218499.6349 | 2683272.9006 | 1218521.2674
7 | 2683349.8982 | 1218657.3124 | 2683341.7784 | 1218647.1562
8 | 2683161.7918 | 1218415.1674 | 2683153.1491 | 1218393.21 | 2683123.0183 | 1218348.8712 | 2683112.786 | 1218327.1252 | 2683114.742 | 1218314.2439 | 2683132.7545 | 1218278.3712 | 2683130.709 | 1218265.5786 | 2683116.65 | 1218250.9506 | 2683106.5212 | 1218232.1079 | 2683079.5562 | 1218122.3589 | 2683078.2002 | 1218117.2588 | 2683075.7074 | 1218101.1467 | 2683074.0113 | 1218074.1718
9 | 2683349.8982 | 1218657.3124 | 2683364.389 | 1218661.0398 | 2683377.8794 | 1218657.0703 | 2683388.2488 | 1218647.7759 | 2683388.2551 | 1218647.7698
10 | 2683074.0113 | 1218074.1718 | 2683078.1506 | 1218075.4692
11 | 2682946.7327 | 1218133.0381 | 2683019.0208 | 1218076.4292 | 2683037.7564 | 1218066.5615 | 2683060.2283 | 1218058.2246 | 2683064.3964 | 1218063.0748 | 2683067.8204 | 1218065.7688 | 2683074.0113 | 1218074.1718
12 | 2683074.0113 | 1218074.1718 | 2683067.8204 | 1218065.7688 | 2683064.3964 | 1218063.0748 | 2683060.2283 | 1218058.2246 | 2683065.7624 | 1218042.9694 | 2683067.9091 | 1218022.9415 | 2683074.8755 | 1217998.0666 | 2683086.4593 | 1217962.7156
13 | 2683818.7933 | 1218485.4967 | 2683813.3595 | 1218485.965 | 2683800.9356 | 1218486.9132 | 2683775.2816 | 1218487.8531 | 2683747.413 | 1218483.2694 | 2683713.8505 | 1218468.488 | 2683677.9369 | 1218450.8607 | 2683654.289 | 1218446.7705 | 2683619.1982 | 1218446.7446 | 2683562.7368 | 1218452.8901 | 2683541.1418 | 1218459.9142 | 2683515.5553 | 1218477.6897 | 2683500.8056 | 1218495.1057 | 2683491.6344 | 1218512.0218 | 2683450.0701 | 1218587.2342 | 2683388.2551 | 1218647.7698
14 | 2683239.6474 | 1218135.9147 | 2683236.3862 | 1218133.7103 | 2683164.2543 | 1218108.3531 | 2683115.4819 | 1218087.1698 | 2683078.1506 | 1218075.4692
15 | 2682946.7327 | 1218133.0381 | 2682935.9918 | 1218117.4791
16 | 2682946.7327 | 1218133.0381 | 2682933.5081 | 1218143.4847
17 | 2683086.4593 | 1217962.7156 | 2683103.2783 | 1217954.2223 | 2683112.5581 | 1217948.112
18 | 2683086.4593 | 1217962.7156 | 2683080.8954 | 1217952.8871 | 2683080.5741 | 1217949.4343
19 | 2683859.4826 | 1218478.1976 | 2683818.7933 | 1218485.4967
20 | 2683859.4826 | 1218478.1976 | 2683876.655 | 1218456.4581 | 2683998.1323 | 1218365.6529 | 2684034.2471 | 1218337.2653 | 2684057.3598 | 1218296.464 | 2684060.4517 | 1218283.4993
21 | 2682930.9489 | 1218105.6595 | 2682931.8063 | 1218111.416 | 2682935.9918 | 1218117.4791
22 | 2682887.4149 | 1218180.7122 | 2682894.2564 | 1218174.4911 | 2682933.5081 | 1218143.4847
23 | 2683147.6223 | 1217927.8454 | 2683140.2898 | 1217928.3435 | 2683127.7341 | 1217938.1193 | 2683112.5581 | 1217948.112
24 | 2683078.948 | 1217931.9571 | 2683080.5741 | 1217949.4343
25 | 2683147.6223 | 1217927.8454 | 2683159.8435 | 1217915.4181
26 | 2682927.211 | 1217913.7096 | 2682925.7907 | 1217920.3053 | 2682908.0945 | 1217934.6973
27 | 2682912.5424 | 1217870.2544 | 2682924.9103 | 1217905.5721 | 2682927.211 | 1217913.7096
28 | 2682908.0945 | 1217934.6973 | 2682908.0081 | 1217934.7675 | 2682909.1992 | 1217943.0007 | 2682909.1992 | 1217943.0007
29 | 2682912.5424 | 1217870.2544 | 2682907.1953 | 1217861.7299 | 2682890.1675 | 1217841.5908 | 2682873.1407 | 1217804.9964 | 2682868.849 | 1217801.9124 | 2682863.52 | 1217798.0802 | 2682846.1998 | 1217796.2049 | 2682831.8203 | 1217793.581 | 2682809.4374 | 1217778.0041 | 2682793.8317 | 1217748.3565 | 2682786.0073 | 1217739.4419 | 2682771.9922 | 1217731.3419 | 2682763.5231 | 1217717.4706 | 2682756.7906 | 1217711.3842 | 2682744.1585 | 1217707.5507 | 2682732.2328 | 1217712.9777 | 2682727.1256 | 1217709.0153 | 2682719.2192 | 1217698.8988 | 2682712.2966 | 1217694.4665 | 2682700.6295 | 1217692.7479 | 2682687.3451 | 1217687.2265 | 2682679.8708 | 1217678.7839 | 2682677.2341 | 1217671.8539 | 2682676.3767 | 1217657.0544 | 2682674.3487 | 1217650.0216 | 2682668.944 | 1217645.6104 | 2682666.7771 | 1217637.6417
30 | 2682912.5424 | 1217870.2544 | 2682926.349 | 1217849.1324 | 2682944.9086 | 1217830.5985
31 | 2682930.9489 | 1218105.6595 | 2682927.6411 | 1218083.4506 | 2682933.1118 | 1218002.395 | 2682934.3354 | 1217976.6728 | 2682927.8278 | 1217961.0051 | 2682909.1992 | 1217943.0007
32 | 2682876.6736 | 1218190.4794 | 2682887.4149 | 1218180.7122
33 | 2682666.7771 | 1217637.6417 | 2682680.7145 | 1217639.8809 | 2682693.4696 | 1217643.0711 | 2682706.2027 | 1217637.4552 | 2682714.9536 | 1217639.8004 | 2682713.1293 | 1217648.7143 | 2682759.1348 | 1217660.6831 | 2682763.8152 | 1217667.4971 | 2682771.2792 | 1217667.9343 | 2682799.0721 | 1217684.8427 | 2682824.2863 | 1217678.6334 | 2682849.3316 | 1217672.0215 | 2682867.6391 | 1217671.1643 | 2682906.9941 | 1217658.0363 | 2682926.7824 | 1217643.5242 | 2682933.7853 | 1217636.7282 | 2682941.9159 | 1217625.2782 | 2682946.2171 | 1217620.5037
34 | 2682944.9086 | 1217830.5985 | 2682948.5742 | 1217826.9381 | 2682949.6051 | 1217815.0557 | 2682949.5974 | 1217813.1149
35 | 2683411.176 | 1217488.6249 | 2683411.6747 | 1217482.828 | 2683416.4042 | 1217477.9577 | 2683458.5245 | 1217461.0916 | 2683475.2944 | 1217448.1179 | 2683487.6072 | 1217431.4125 | 2683508.0945 | 1217380.5072
36 | 2683411.176 | 1217488.6249 | 2683402.5182 | 1217493.1846 | 2683389.5894 | 1217491.0993
37 | 2683508.0945 | 1217380.5072 | 2683510.198 | 1217375.2806 | 2683513.3914 | 1217364.609
38 | 2683386.287 | 1217490.5667 | 2683389.5894 | 1217491.0993
39 | 2683515.8367 | 1217356.4375 | 2683513.3914 | 1217364.609
40 | 2683377.393 | 1217491.458 | 2683380.4002 | 1217489.6172 | 2683386.287 | 1217490.5667
41 | 2682839.8984 | 1218181.8926 | 2682848.1667 | 1218180.343 | 2682849.0358 | 1218180.4946
42 | 2682864.6673 | 1218183.2223 | 2682849.0358 | 1218180.4946
43 | 2682876.6736 | 1218190.4794 | 2682866.9994 | 1218183.6292 | 2682864.6673 | 1218183.2223
44 | 2682876.6736 | 1218190.4794 | 2682852.9268 | 1218211.5376
45 | 2682852.9268 | 1218211.5376 | 2682826.8114 | 1218234.6964
46 | 2682946.2171 | 1217620.5037 | 2682952.0686 | 1217614.0081
47 | 2683067.1794 | 1217539.1099 | 2683002.6358 | 1217560.2803 | 2682989.7344 | 1217568.684 | 2682975.9982 | 1217588.5059 | 2682964.7419 | 1217605.2492 | 2682954.3997 | 1217611.4205 | 2682952.0686 | 1217614.0081
48 | 2682996.4455 | 1217428.6512 | 2683026.5297 | 1217465.8504 | 2683021.6664 | 1217487.4192 | 2683022.2514 | 1217523.3401 | 2683027.1674 | 1217529.0346 | 2683067.1794 | 1217539.1099
49 | 2683067.1794 | 1217539.1099 | 2683106.0971 | 1217534.0268 | 2683111.8722 | 1217540.167 | 2683110.4851 | 1217546.6109
50 | 2683107.0355 | 1217575.5897 | 2683115.9854 | 1217587.6114 | 2683120.7042 | 1217588.2967
51 | 2683107.0355 | 1217575.5897 | 2683107.0355 | 1217575.5897 | 2683107.6915 | 1217559.5882 | 2683110.4851 | 1217546.6109
52 | 2683120.7042 | 1217588.2967 | 2683129.1984 | 1217589.5303 | 2683205.3008 | 1217594.6956 | 2683255.9072 | 1217591.9449 | 2683284.6674 | 1217584.1193 | 2683315.6938 | 1217568.9762 | 2683338.4016 | 1217559.1316 | 2683358.3581 | 1217528.9017 | 2683373.8301 | 1217493.6391 | 2683377.393 | 1217491.458
53 | 2683512.2459 | 1217239.6116 | 2683519.7557 | 1217243.2045 | 2683524.4692 | 1217248.1628 | 2683529.1916 | 1217257.9021 | 2683530.6484 | 1217267.7068 | 2683530.2243 | 1217281.7101 | 2683525.515 | 1217324.0945 | 2683515.8367 | 1217356.4375
54 | 2683512.2459 | 1217239.6116 | 2683504.6727 | 1217235.9884 | 2683490.0719 | 1217232.7951
55 | 2683435.8497 | 1217187.4125 | 2683440.0496 | 1217166.5484
56 | 2683431.7427 | 1217207.8151 | 2683435.8497 | 1217187.4125
57 | 2683431.7427 | 1217207.8151 | 2683454.8343 | 1217222.1701 | 2683464.5301 | 1217225.1926
58 | 2683431.7427 | 1217207.8151 | 2683411.0979 | 1217194.9287 | 2683379.3765 | 1217192.8613 | 2683361.4343 | 1217195.7122 | 2683352.2264 | 1217198.0249
59 | 2683464.5301 | 1217225.1926 | 2683486.2045 | 1217231.9492 | 2683490.0719 | 1217232.7951
60 | 2683352.2264 | 1217198.0249 | 2683345.2047 | 1217199.7884
61 | 2683213.1501 | 1217191.5041 | 2683215.0671 | 1217195.578 | 2683220.3804 | 1217201.1003 | 2683227.2351 | 1217204.9764 | 2683254.0456 | 1217211.2994 | 2683274.1293 | 1217217.6398 | 2683345.2047 | 1217199.7884
62 | 2683213.1501 | 1217191.5041 | 2683210.7439 | 1217165.3754 | 2683199.0969 | 1217148.0236 | 2683179.5583 | 1217133.6191 | 2683175.9477 | 1217120.3377 | 2683177.9882 | 1217110.1372 | 2683190.6949 | 1217092.3916 | 2683193.9478 | 1217080.7293 | 2683192.3094 | 1217062.1385 | 2683184.0536 | 1217047.1244 | 2683171.7033 | 1217036.0781 | 2683165.6184 | 1217025.9865 | 2683164.3871 | 1217016.2962 | 2683181.3924 | 1216974.0055 | 2683201.1519 | 1216936.2117 | 2683210.3425 | 1216908.7663 | 2683214.8173 | 1216887.3701 | 2683216.4661 | 1216872.6056 | 2683217.0096 | 1216833.6985 | 2683204.3833 | 1216770.4636
63 | 2682958.7438 | 1217095.6277 | 2682964.0631 | 1217092.5664 | 2682979.3918 | 1217087.6654 | 2682984.4683 | 1217088.4032 | 2682991.6053 | 1217093.8395 | 2682999.791 | 1217111.1872 | 2683009.4715 | 1217124.7755 | 2683021.2 | 1217133.0554 | 2683027.9712 | 1217142.9341 | 2683030.2221 | 1217150.3036 | 2683032.1445 | 1217170.3437 | 2683029.669 | 1217179.0928 | 2683016.0863 | 1217200.3622 | 2683016.4983 | 1217208.9291 | 2683025.2663 | 1217217.1678 | 2683053.5575 | 1217235.463 | 2683057.4504 | 1217239.4087 | 2683063.5088 | 1217251.39 | 2683067.7735 | 1217255.8969 | 2683074.5538 | 1217259.6605 | 2683094.974 | 1217265.2822 | 2683119.098 | 1217266.6195 | 2683126.4067 | 1217265.1649 | 2683139.9383 | 1217253.0122 | 2683144.7546 | 1217250.6334 | 2683170.2993 | 1217248.0992 | 2683187.4698 | 1217241.779 | 2683193.4432 | 1217238.0822 | 2683197.5625 | 1217231.2462 | 2683201.0175 | 1217217.6188 | 2683208.1392 | 1217202.3747 | 2683213.1501 | 1217191.5041
64 | 2683203.3963 | 1216765.5204 | 2683204.3833 | 1216770.4636
65 | 2682958.7438 | 1217095.6277 | 2682939.7042 | 1217080.7751 | 2682921.4347 | 1217051.5015 | 2682911.1308 | 1217022.6724 | 2682903.817 | 1217013.5647 | 2682893.0083 | 1217004.6307 | 2682883.0301 | 1217001.4898 | 2682862.9327 | 1216999.876 | 2682856.0668 | 1216996.7785 | 2682823.6621 | 1216973.8686 | 2682814.5557 | 1216962.6235 | 2682812.1545 | 1216957.9715
66 | 2683203.3963 | 1216765.5204 | 2683203.3849 | 1216765.4631 | 2683202.3504 | 1216752.5512 | 2683202.4002 | 1216752.094

## bus_geodata
| x | y | coords
0 | 2683296.8562 | 1218578.0043
1 | 2683304.4835 | 1218591.4735
2 | 2683283.4117 | 1218549.5332
3 | 2683332.5278 | 1218635.5854
4 | 2683323.6868 | 1218547.3392
5 | 2683272.9006 | 1218521.2674
6 | 2683341.7784 | 1218647.1562
7 | 2683161.7918 | 1218415.1674
8 | 2683349.8982 | 1218657.3124
9 | 2683074.0113 | 1218074.1718
10 | 2683388.2551 | 1218647.7698
11 | 2683078.1506 | 1218075.4692
12 | 2682946.7327 | 1218133.0381
13 | 2683086.4593 | 1217962.7156
14 | 2683818.7933 | 1218485.4967
15 | 2683859.4826 | 1218478.1976
16 | 2684060.4517 | 1218283.4993
17 | 2683239.6474 | 1218135.9147
18 | 2682935.9918 | 1218117.4791
19 | 2682933.5081 | 1218143.4847
20 | 2683112.5581 | 1217948.112
21 | 2683080.5741 | 1217949.4343
22 | 2683147.6223 | 1217927.8454
23 | 2683159.8435 | 1217915.4181
24 | 2682927.211 | 1217913.7096
25 | 2682908.0945 | 1217934.6973
26 | 2682912.5424 | 1217870.2544
27 | 2682930.9489 | 1218105.6595
28 | 2682887.4149 | 1218180.7122
29 | 2683078.948 | 1217931.9571
30 | 2682909.1992 | 1217943.0007
31 | 2682666.7771 | 1217637.6417
32 | 2682944.9086 | 1217830.5985
33 | 2683411.176 | 1217488.6249
34 | 2683508.0945 | 1217380.5072
35 | 2683389.5894 | 1217491.0993
36 | 2683513.3914 | 1217364.609
37 | 2683386.287 | 1217490.5667
38 | 2682839.8984 | 1218181.8926
39 | 2682849.0358 | 1218180.4946
40 | 2682864.6673 | 1218183.2223
41 | 2682876.6736 | 1218190.4794
42 | 2682852.9268 | 1218211.5376
43 | 2682826.8114 | 1218234.6964
44 | 2682949.5974 | 1217813.1149
45 | 2682946.2171 | 1217620.5037
46 | 2682952.0686 | 1217614.0081
47 | 2683067.1794 | 1217539.1099
48 | 2683107.0355 | 1217575.5897
49 | 2683120.7042 | 1217588.2967
50 | 2683110.4851 | 1217546.6109
51 | 2683377.393 | 1217491.458
52 | 2682996.4455 | 1217428.6512
53 | 2683515.8367 | 1217356.4375
54 | 2683512.2459 | 1217239.6116
55 | 2683435.8497 | 1217187.4125
56 | 2683440.0496 | 1217166.5484
57 | 2683431.7427 | 1217207.8151
58 | 2683464.5301 | 1217225.1926
59 | 2683352.2264 | 1217198.0249
60 | 2683490.0719 | 1217232.7951
61 | 2683345.2047 | 1217199.7884
62 | 2683213.1501 | 1217191.5041
63 | 2683204.3833 | 1216770.4636
64 | 2682958.7438 | 1217095.6277
65 | 2683203.3963 | 1216765.5204
66 | 2682812.1545 | 1216957.9715
67 | 2683202.4002 | 1216752.094
68 | 2683543.0312 | 1217499.9125

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97887 | -0.40863 | 0.0016602 | 0.00041609
1 | 0.9788 | -0.41002 | 0.0013205 | 0.00033096
2 | 0.97903 | -0.40547 | 0 | 0
3 | 0.97858 | -0.41431 | 0.00079784 | 0.00019996
4 | 0.97899 | -0.40624 | 0.001046 | 0.00026215
5 | 0.9792 | -0.40226 | 0.00086183 | 0.000216
6 | 0.97852 | -0.41545 | 0.0015795 | 0.00039587
7 | 0.98008 | -0.38483 | 0 | 0
8 | 0.97848 | -0.41633 | 0 | 0
9 | 0.98219 | -0.34359 | 0 | 0
10 | 0.97833 | -0.41923 | 0.00022643 | 5.6749e-05
11 | 0.98219 | -0.34362 | 0.00014985 | 3.7557e-05
12 | 0.98331 | -0.32163 | 0 | 0
13 | 0.98171 | -0.35302 | 0 | 0
14 | 0.97564 | -0.47212 | 0 | 0
15 | 0.97522 | -0.48032 | 0 | 0
16 | 0.97233 | -0.53727 | 0.010846 | 0.0027183
17 | 0.98217 | -0.34405 | 0.00013622 | 3.4141e-05
18 | 0.98349 | -0.31818 | 0.00062525 | 0.0001567
19 | 0.9832 | -0.32386 | 0.00063193 | 0.00015838
20 | 0.98163 | -0.35464 | 0.0015627 | 0.00039165
21 | 0.98169 | -0.35338 | 0.00033563 | 8.4116e-05
22 | 0.98157 | -0.3557 | 0 | 0
23 | 0.98155 | -0.35615 | 0.0014179 | 0.00035536
24 | 0.98566 | -0.27579 | 0 | 0
25 | 0.98537 | -0.28156 | 0.00048568 | 0.00012172
26 | 0.98612 | -0.26683 | 0 | 0
27 | 0.98361 | -0.31572 | 0.00044069 | 0.00011045
28 | 0.98283 | -0.33102 | 0.0020833 | 0.00052212
29 | 0.98167 | -0.3537 | 0.0010026 | 0.00025128
30 | 0.98528 | -0.28318 | 0.00065866 | 0.00016508
31 | 0.98996 | -0.19235 | 0 | 0
32 | 0.98607 | -0.26786 | 0.00078292 | 0.00019622
33 | 1 | 0 | -0.22815 | -0.057946
34 | 0.99237 | -0.14487 | 0.0081792 | 0.0020499
35 | 0.99956 | -0.0084603 | 0.0030849 | 0.00077315
36 | 0.99159 | -0.15989 | 0.0055078 | 0.0013804
37 | 0.9995 | -0.0096377 | 0.0055914 | 0.0014013
38 | 0.98273 | -0.33306 | 0.00070405 | 0.00017645
39 | 0.98273 | -0.33294 | 0.00041914 | 0.00010505
40 | 0.98275 | -0.33262 | 0.00038555 | 9.6629e-05
41 | 0.98277 | -0.33223 | 0 | 0
42 | 0.98268 | -0.33401 | 0.0023667 | 0.00059316
43 | 0.98266 | -0.33447 | 0.0007346 | 0.00018411
44 | 0.98606 | -0.26797 | 0.00032495 | 8.144e-05
45 | 0.9933 | -0.12809 | 0.00021175 | 5.307e-05
46 | 0.99339 | -0.12633 | 0.00044018 | 0.00011032
47 | 0.9949 | -0.097307 | 0 | 0
48 | 0.99579 | -0.080248 | 0.00053824 | 0.0001349
49 | 0.99601 | -0.076133 | 0.00024918 | 6.2451e-05
50 | 0.99548 | -0.086259 | 0.00030636 | 7.6782e-05
51 | 0.99934 | -0.01267 | 0.019099 | 0.0047868
52 | 0.99488 | -0.097834 | 0.00019132 | 4.7948e-05
53 | 0.99121 | -0.16726 | 0.0048378 | 0.0012125
54 | 0.9857 | -0.27339 | 0.032918 | 0.00825
55 | 0.98153 | -0.35458 | 0.014984 | 0.0037553
56 | 0.98133 | -0.35843 | 0.01 | 0.0025063
57 | 0.98201 | -0.34518 | 0 | 0
58 | 0.98361 | -0.31401 | 0.013723 | 0.0034394
59 | 0.97676 | -0.44797 | 0.051376 | 0.012876
60 | 0.98492 | -0.28853 | 0.0021436 | 0.00053723
61 | 0.97665 | -0.45011 | 0.011055 | 0.0027707
62 | 0.97598 | -0.4633 | 0 | 0
63 | 0.97394 | -0.50355 | 0.00055595 | 0.00013933
64 | 0.97587 | -0.46566 | 0 | 0
65 | 0.97392 | -0.50394 | 0.0036944 | 0.0009259
66 | 0.97581 | -0.4668 | 0.00028888 | 7.2401e-05
67 | 0.97392 | -0.50406 | 0.00050608 | 0.00012684
68 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.014838 | 0.0037225 | -0.014837 | -0.0037225 | 9.8453e-07 | 4.6399e-08 | 0.022557 | 0.022558 | 0.022558 | 0.97887 | -0.40863 | 0.9788 | -0.41002 | 2.0657
1 | -0.016498 | -0.0041386 | 0.016501 | 0.004139 | 2.4805e-06 | 3.9766e-07 | 0.025081 | 0.025081 | 0.025081 | 0.97887 | -0.40863 | 0.97903 | -0.40547 | 2.2968
2 | 0.013517 | 0.0033915 | -0.013514 | -0.0033917 | 2.767e-06 | -2.051e-07 | 0.02055 | 0.020551 | 0.020551 | 0.9788 | -0.41002 | 0.97858 | -0.41431 | 1.8819
3 | 0.001046 | 0.00026167 | -0.001046 | -0.00026215 | 3.8116e-08 | -4.8131e-07 | 0.0015897 | 0.0015898 | 0.0015898 | 0.97903 | -0.40547 | 0.97899 | -0.40624 | 0.43677
4 | -0.017547 | -0.0044007 | 0.01755 | 0.0044013 | 2.6907e-06 | 5.8022e-07 | 0.02667 | 0.02667 | 0.02667 | 0.97903 | -0.40547 | 0.9792 | -0.40226 | 2.4423
5 | 0.012716 | 0.0031918 | -0.012715 | -0.0031919 | 6.9245e-07 | -1.1514e-07 | 0.019338 | 0.019338 | 0.019338 | 0.97858 | -0.41431 | 0.97852 | -0.41545 | 1.7709
6 | -0.018411 | -0.0046173 | 0.018427 | 0.0046211 | 1.53e-05 | 3.8861e-06 | 0.02798 | 0.027977 | 0.02798 | 0.9792 | -0.40226 | 0.98008 | -0.38483 | 2.5622
7 | 0.011136 | 0.002796 | -0.011135 | -0.0027962 | 4.6619e-07 | -1.9164e-07 | 0.016936 | 0.016936 | 0.016936 | 0.97852 | -0.41545 | 0.97848 | -0.41633 | 1.5509
8 | -0.018427 | -0.0046211 | 0.018463 | 0.0046303 | 3.625e-05 | 9.1605e-06 | 0.027977 | 0.027972 | 0.027977 | 0.98008 | -0.38483 | 0.98219 | -0.34359 | 2.562
9 | 0.011135 | 0.0027962 | -0.011134 | -0.0027968 | 1.5403e-06 | -6.3276e-07 | 0.016936 | 0.016937 | 0.016937 | 0.97848 | -0.41633 | 0.97833 | -0.41923 | 1.551
10 | 0.00028608 | 6.9459e-05 | -0.00028608 | -6.9514e-05 | 3.0447e-10 | -5.4706e-08 | 0.00043262 | 0.00043264 | 0.00043264 | 0.98219 | -0.34359 | 0.98219 | -0.34362 | 0.11886
11 | -0.02307 | -0.0057806 | 0.023094 | 0.00579 | 2.4147e-05 | 9.4426e-06 | 0.034951 | 0.034949 | 0.034951 | 0.98219 | -0.34359 | 0.98331 | -0.32163 | 3.2006
12 | 0.0043212 | 0.0010808 | -0.0043192 | -0.0010811 | 1.9378e-06 | -2.8527e-07 | 0.0065458 | 0.0065464 | 0.0065464 | 0.98219 | -0.34359 | 0.98171 | -0.35302 | 1.7985
13 | 0.010907 | 0.0027401 | -0.01088 | -0.0027358 | 2.7509e-05 | 4.2625e-06 | 0.016592 | 0.016597 | 0.016597 | 0.97833 | -0.41923 | 0.97564 | -0.47212 | 2.2798
14 | 0.00013623 | 3.1957e-05 | -0.00013622 | -3.4141e-05 | 2.7481e-09 | -2.1838e-06 | 0.00020563 | 0.00020638 | 0.00020638 | 0.98219 | -0.34362 | 0.98217 | -0.34405 | 0.056699
15 | -0.030423 | -0.0076258 | 0.030428 | 0.0076282 | 5.0092e-06 | 2.4863e-06 | 0.046039 | 0.046039 | 0.046039 | 0.98331 | -0.32163 | 0.98349 | -0.31818 | 4.216
16 | 0.0073289 | 0.0018357 | -0.0073281 | -0.0018354 | 7.773e-07 | 2.8372e-07 | 0.01109 | 0.01109 | 0.01109 | 0.98331 | -0.32163 | 0.9832 | -0.32386 | 3.0468
17 | 0.002981 | 0.0007461 | -0.0029807 | -0.00074634 | 2.2928e-07 | -2.3194e-07 | 0.004518 | 0.0045181 | 0.0045181 | 0.98171 | -0.35302 | 0.98163 | -0.35464 | 1.2412
18 | 0.0013383 | 0.00033501 | -0.0013383 | -0.00033518 | 2.2776e-08 | -1.7206e-07 | 0.0020284 | 0.0020284 | 0.0020284 | 0.98171 | -0.35302 | 0.98169 | -0.35338 | 0.55726
19 | 0.01088 | 0.0027358 | -0.010876 | -0.0027336 | 4.2582e-06 | 2.2107e-06 | 0.016597 | 0.016597 | 0.016597 | 0.97564 | -0.47212 | 0.97522 | -0.48032 | 4.5596
20 | 0.010876 | 0.0027336 | -0.010846 | -0.0027183 | 2.9497e-05 | 1.5326e-05 | 0.016597 | 0.016598 | 0.016598 | 0.97522 | -0.48032 | 0.97233 | -0.53727 | 4.56
21 | -0.031054 | -0.007785 | 0.031057 | 0.0077868 | 3.639e-06 | 1.8269e-06 | 0.046985 | 0.046985 | 0.046985 | 0.98349 | -0.31818 | 0.98361 | -0.31572 | 4.3026
22 | 0.0066962 | 0.0016771 | -0.0066939 | -0.0016764 | 2.2825e-06 | 7.0946e-07 | 0.010134 | 0.010134 | 0.010134 | 0.9832 | -0.32386 | 0.98283 | -0.33102 | 2.7841
23 | 0.001418 | 0.00035469 | -0.001418 | -0.00035516 | 7.1779e-08 | -4.7781e-07 | 0.0021493 | 0.0021495 | 0.0021495 | 0.98163 | -0.35464 | 0.98157 | -0.3557 | 0.59051
24 | 0.0010026 | 0.00025107 | -0.0010026 | -0.00025128 | 1.5202e-08 | -2.1219e-07 | 0.0015197 | 0.0015198 | 0.0015198 | 0.98169 | -0.35338 | 0.98167 | -0.3537 | 0.41752
25 | 0.001418 | 0.00035516 | -0.0014179 | -0.00035536 | 3.02e-08 | -2.0098e-07 | 0.0021495 | 0.0021496 | 0.0021496 | 0.98157 | -0.3557 | 0.98155 | -0.35615 | 0.59054
26 | 0.032703 | 0.0082147 | -0.032694 | -0.00821 | 9.0076e-06 | 4.635e-06 | 0.049377 | 0.049377 | 0.049377 | 0.98566 | -0.27579 | 0.98537 | -0.28156 | 4.5217
27 | -0.032703 | -0.0082147 | 0.032717 | 0.0082219 | 1.3979e-05 | 7.1918e-06 | 0.049377 | 0.049376 | 0.049377 | 0.98566 | -0.27579 | 0.98612 | -0.26683 | 4.5217
28 | 0.032208 | 0.0080883 | -0.032205 | -0.008087 | 2.4934e-06 | 1.2737e-06 | 0.048643 | 0.048644 | 0.048644 | 0.98537 | -0.28156 | 0.98528 | -0.28318 | 4.4545
29 | -0.033825 | -0.0084986 | 0.033945 | 0.0085616 | 0.00012064 | 6.2976e-05 | 0.051047 | 0.051042 | 0.051047 | 0.98612 | -0.26683 | 0.98996 | -0.19235 | 4.6747
30 | 0.0011079 | 0.00027679 | -0.0011079 | -0.00027742 | 5.3926e-08 | -6.22e-07 | 0.0016715 | 0.0016717 | 0.0016717 | 0.98612 | -0.26683 | 0.98607 | -0.26786 | 0.45927
31 | -0.031498 | -0.0078972 | 0.031547 | 0.007922 | 4.8907e-05 | 2.4727e-05 | 0.047651 | 0.047649 | 0.047651 | 0.98361 | -0.31572 | 0.98528 | -0.28318 | 4.3637
32 | 0.0046107 | 0.0011542 | -0.0046104 | -0.0011543 | 2.6526e-07 | -1.4206e-08 | 0.0069801 | 0.0069802 | 0.0069802 | 0.98283 | -0.33102 | 0.98277 | -0.33223 | 1.9176
33 | -0.033945 | -0.0085616 | 0.03405 | 0.0086162 | 0.00010473 | 5.4578e-05 | 0.051042 | 0.051038 | 0.051042 | 0.98996 | -0.19235 | 0.9933 | -0.12809 | 4.6742
34 | 0.00032495 | 8.1198e-05 | -0.00032495 | -8.144e-05 | 1.7173e-09 | -2.4188e-07 | 0.00049028 | 0.00049037 | 0.00049037 | 0.98607 | -0.26786 | 0.98606 | -0.26797 | 0.13472
35 | 0.1625 | 0.041758 | -0.16137 | -0.041038 | 0.0011349 | 0.00072027 | 0.24217 | 0.24217 | 0.24217 | 1 | 0 | 0.99237 | -0.14487 | 22.177
36 | 0.063998 | 0.016188 | -0.063972 | -0.016172 | 2.5966e-05 | 1.5718e-05 | 0.095282 | 0.095282 | 0.095282 | 1 | 0 | 0.99956 | -0.0084603 | 8.7255
37 | 0.15319 | 0.038988 | -0.15308 | -0.038918 | 0.00011082 | 7.0278e-05 | 0.22991 | 0.22991 | 0.22991 | 0.99237 | -0.14487 | 0.99159 | -0.15989 | 21.0539
38 | 0.060887 | 0.015399 | -0.060883 | -0.015397 | 3.439e-06 | 2.0694e-06 | 0.09069 | 0.09069 | 0.09069 | 0.99956 | -0.0084603 | 0.9995 | -0.0096377 | 8.3049
39 | 0.14757 | 0.037537 | -0.14752 | -0.037504 | 5.2378e-05 | 3.3192e-05 | 0.22164 | 0.22164 | 0.22164 | 0.99159 | -0.15989 | 0.99121 | -0.16726 | 20.2971
40 | 0.055292 | 0.013996 | -0.055284 | -0.013991 | 8.0466e-06 | 4.7768e-06 | 0.082366 | 0.082366 | 0.082366 | 0.9995 | -0.0096377 | 0.99934 | -0.01267 | 7.5426
41 | -0.00070405 | -0.00017645 | 0.00070405 | 0.00017634 | 3.9609e-09 | -1.1523e-07 | 0.001066 | 0.001066 | 0.001066 | 0.98273 | -0.33306 | 0.98273 | -0.33294 | 0.29287
42 | -0.0011232 | -0.00028138 | 0.0011232 | 0.00028119 | 1.7209e-08 | -1.9004e-07 | 0.0017007 | 0.0017006 | 0.0017007 | 0.98273 | -0.33294 | 0.98275 | -0.33262 | 0.46721
43 | -0.0015088 | -0.00037782 | 0.0015088 | 0.00037766 | 2.7828e-08 | -1.6238e-07 | 0.0022844 | 0.0022843 | 0.0022844 | 0.98275 | -0.33262 | 0.98277 | -0.33223 | 0.62757
44 | 0.0031016 | 0.0007766 | -0.0031013 | -0.00077683 | 2.6246e-07 | -2.3415e-07 | 0.0046959 | 0.004696 | 0.004696 | 0.98277 | -0.33223 | 0.98268 | -0.33401 | 1.2901
45 | 0.00073461 | 0.00018368 | -0.0007346 | -0.00018411 | 1.6194e-08 | -4.3183e-07 | 0.0011122 | 0.0011124 | 0.0011124 | 0.98268 | -0.33401 | 0.98266 | -0.33447 | 0.3056
46 | -0.034262 | -0.0086693 | 0.034265 | 0.0086708 | 2.8822e-06 | 1.5051e-06 | 0.051355 | 0.051355 | 0.051355 | 0.9933 | -0.12809 | 0.99339 | -0.12633 | 4.7028
47 | -0.034705 | -0.0087811 | 0.034753 | 0.0088065 | 4.8407e-05 | 2.5412e-05 | 0.052014 | 0.052012 | 0.052014 | 0.99339 | -0.12633 | 0.9949 | -0.097307 | 4.7632
48 | 0.00019132 | 4.5945e-05 | -0.00019132 | -4.7948e-05 | 4.7322e-09 | -2.0032e-06 | 0.00028545 | 0.00028615 | 0.00028615 | 0.9949 | -0.097307 | 0.99488 | -0.097834 | 0.078612
49 | -0.034944 | -0.0088525 | 0.034963 | 0.0088622 | 1.8553e-05 | 9.7587e-06 | 0.052298 | 0.052297 | 0.052298 | 0.9949 | -0.097307 | 0.99548 | -0.086259 | 4.7892
50 | -0.035818 | -0.0090793 | 0.035825 | 0.009083 | 7.0837e-06 | 3.7624e-06 | 0.053559 | 0.053559 | 0.053559 | 0.99579 | -0.080248 | 0.99601 | -0.076133 | 4.9047
51 | 0.03528 | 0.0089444 | -0.035269 | -0.008939 | 1.0189e-05 | 5.3784e-06 | 0.052755 | 0.052755 | 0.052755 | 0.99579 | -0.080248 | 0.99548 | -0.086259 | 4.831
52 | -0.036074 | -0.0091455 | 0.036184 | 0.0092042 | 0.00011035 | 5.873e-05 | 0.053931 | 0.053927 | 0.053931 | 0.99601 | -0.076133 | 0.99934 | -0.01267 | 4.9387
53 | 0.14268 | 0.036292 | -0.14195 | -0.035832 | 0.00072569 | 0.00045958 | 0.21438 | 0.21438 | 0.21438 | 0.99121 | -0.16726 | 0.9857 | -0.27339 | 19.6322
54 | 0.10903 | 0.027582 | -0.10896 | -0.027532 | 7.9135e-05 | 4.9755e-05 | 0.16469 | 0.16469 | 0.16469 | 0.9857 | -0.27339 | 0.98492 | -0.28853 | 15.0815
55 | 0.010002 | 0.0025072 | -0.01 | -0.0025063 | 1.8351e-06 | 9.0552e-07 | 0.015164 | 0.015164 | 0.015164 | 0.98153 | -0.35458 | 0.98133 | -0.35843 | 4.1658
56 | -0.024986 | -0.0062625 | 0.024997 | 0.0062694 | 1.1198e-05 | 6.9036e-06 | 0.037879 | 0.037879 | 0.037879 | 0.98153 | -0.35458 | 0.98201 | -0.34518 | 10.4064
57 | -0.09282 | -0.023385 | 0.092958 | 0.023473 | 0.00013861 | 8.7761e-05 | 0.14069 | 0.14069 | 0.14069 | 0.98201 | -0.34518 | 0.98361 | -0.31401 | 19.3258
58 | 0.067823 | 0.017116 | -0.067491 | -0.016904 | 0.00033212 | 0.00021151 | 0.10281 | 0.10281 | 0.10281 | 0.98201 | -0.34518 | 0.97676 | -0.44797 | 28.2454
59 | -0.10668 | -0.026912 | 0.10681 | 0.026995 | 0.00013031 | 8.2721e-05 | 0.16145 | 0.16145 | 0.16145 | 0.98361 | -0.31401 | 0.98492 | -0.28853 | 22.1775
60 | 0.016115 | 0.0040284 | -0.016113 | -0.0040274 | 1.6357e-06 | 9.5626e-07 | 0.024546 | 0.024546 | 0.024546 | 0.97676 | -0.44797 | 0.97665 | -0.45011 | 6.7434
61 | 0.0050577 | 0.0012567 | -0.0050546 | -0.0012564 | 3.1575e-06 | 2.4595e-07 | 0.007702 | 0.0077026 | 0.0077026 | 0.97665 | -0.45011 | 0.97598 | -0.4633 | 2.1161
62 | 0.0047656 | 0.001192 | -0.0047565 | -0.0011919 | 9.1212e-06 | 9.2191e-08 | 0.007265 | 0.007267 | 0.007267 | 0.97598 | -0.4633 | 0.97394 | -0.50355 | 1.9964
63 | 0.00028893 | 6.4459e-05 | -0.0002889 | -6.9756e-05 | 3.0704e-08 | -5.2968e-06 | 0.0004378 | 0.00043958 | 0.00043958 | 0.97598 | -0.4633 | 0.97587 | -0.46566 | 0.12076
64 | 0.0042006 | 0.0010526 | -0.0042005 | -0.0010526 | 7.7854e-08 | -1.2902e-08 | 0.0064176 | 0.0064177 | 0.0064177 | 0.97394 | -0.50355 | 0.97392 | -0.50394 | 1.7631
65 | 0.0002889 | 6.9756e-05 | -0.00028888 | -7.2401e-05 | 1.5432e-08 | -2.6451e-06 | 0.00043958 | 0.00044052 | 0.00044052 | 0.97587 | -0.46566 | 0.97581 | -0.4668 | 0.12102
66 | 0.00050608 | 0.00012667 | -0.00050608 | -0.00012684 | 3.0201e-09 | -1.6571e-07 | 0.00077316 | 0.00077322 | 0.00077322 | 0.97392 | -0.50394 | 0.97392 | -0.50406 | 0.21242

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.22815 | 0.057946

## res_load
| p_mw | q_mvar
0 | 0.0016602 | 0.00041609
1 | 0.0013205 | 0.00033096
2 | 0.00079784 | 0.00019996
3 | 0.001046 | 0.00026215
4 | 0.00086183 | 0.000216
5 | 0.0015795 | 0.00039587
6 | 0.00022643 | 5.6749e-05
7 | 0.00014985 | 3.7557e-05
8 | 0.010846 | 0.0027183
9 | 0.00013622 | 3.4141e-05
10 | 0.00062525 | 0.0001567
11 | 0.00063193 | 0.00015838
12 | 0.0015627 | 0.00039165
13 | 0.00033563 | 8.4116e-05
14 | 0.0014179 | 0.00035536
15 | 0.00048568 | 0.00012172
16 | 0.00044069 | 0.00011045
17 | 0.0020833 | 0.00052212
18 | 0.0010026 | 0.00025128
19 | 0.00065866 | 0.00016508
20 | 0.00078292 | 0.00019622
21 | 0.0081792 | 0.0020499
22 | 0.0030849 | 0.00077315
23 | 0.0055078 | 0.0013804
24 | 0.0055914 | 0.0014013
25 | 0.00070405 | 0.00017645
26 | 0.00041914 | 0.00010505
27 | 0.00038555 | 9.6629e-05
28 | 0.0023667 | 0.00059316
29 | 0.0007346 | 0.00018411
30 | 0.00032495 | 8.144e-05
31 | 0.00021175 | 5.307e-05
32 | 0.00044018 | 0.00011032
33 | 0.00053824 | 0.0001349
34 | 0.00024918 | 6.2451e-05
35 | 0.00030636 | 7.6782e-05
36 | 0.019099 | 0.0047868
37 | 0.00019132 | 4.7948e-05
38 | 0.0048378 | 0.0012125
39 | 0.032918 | 0.00825
40 | 0.014984 | 0.0037553
41 | 0.01 | 0.0025063
42 | 0.013723 | 0.0034394
43 | 0.051376 | 0.012876
44 | 0.0021436 | 0.00053723
45 | 0.011055 | 0.0027707
46 | 0.00055595 | 0.00013933
47 | 0.0036944 | 0.0009259
48 | 0.00028888 | 7.2401e-05
49 | 0.00050608 | 0.00012684

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1