## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1710-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1710-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1710-7_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1710-7_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1710-7_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1710-7_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1710-7_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1710-7_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1710-7_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1710-7_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1710-7_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1710-7_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1710-7_0_4_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_1710-7_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1710-7_0_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_1710-7_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1710-7_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1710-7_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1710-7_0_4_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_1710-7_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_1710-7_0_4_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_1710-7_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1710-7_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1710-7_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1710-7_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1710-7_0_4_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_1710-7_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_1710-7_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_1710-7_0_4_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1710-7_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1710-7_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1710-7_0_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_1710-7_0_4_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_1710-7_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1710-7_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_1710-7_0_4_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1710-7_0_4_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_1710-7_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1710-7_0_4_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_1710-7_0_4_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_1710-7_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_1710-7_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_1710-7_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_1710-7_0_4_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_1710-7_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1710-7_0_4_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_1710-7_0_4_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_1710-7_0_4_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_1710-7_0_4_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_1710-7_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1710-7_0_4_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_1710-7_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_1710-7_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_1710-7_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_1710-7_0_4_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_1710-7_0_4_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_1710-7_0_4_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_1710-7_0_4_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_1710-7_0_4_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_1710-7_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_1710-7_0_4_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_1710-7_0_4_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_1710-7_0_4_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_1710-7_0_4_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_1710-7_0_4_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_1710-7_0_4_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_1710-7_0_4_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_1710-7_0_4_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_1710-7_0_4_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_1710-7_0_4_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_1710-7_0_4_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_1710-7_0_4_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_1710-7_0_4_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_1710-7_0_4_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_1710-7_0_4_node_77 | 0.4 | n |  | TRUE
75 | bus_LV_1710-7_0_4_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_1710-7_0_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_1710-7_0_4_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_1710-7_0_4_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_1710-7_0_4_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_1710-7_0_4_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_1710-7_0_4_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_1710-7_0_4_node_104 | 0.4 | n |  | TRUE
83 | bus_LV_1710-7_0_4_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_1710-7_0_4_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_1710-7_0_4_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_1710-7_0_4_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_1710-7_0_4_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_1710-7_0_4_node_105 | 0.4 | n |  | TRUE
89 | bus_MV_1_0_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1710-7_0_4_load_0 | 0 | 0.0028474 | 0.00071362 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1710-7_0_4_load_3 | 2 | 0.0023877 | 0.00059841 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1710-7_0_4_load_4 | 3 | 0.0016666 | 0.00041769 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1710-7_0_4_load_6 | 5 | 0.00094287 | 0.00023631 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1710-7_0_4_load_7 | 6 | 0.0078721 | 0.0019729 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1710-7_0_4_load_8 | 7 | 0.0012223 | 0.00030635 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1710-7_0_4_load_10 | 9 | 0.0047274 | 0.0011848 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1710-7_0_4_load_11 | 10 | 0.0015341 | 0.00038449 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1710-7_0_4_load_12 | 11 | 0.0022368 | 0.0005606 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1710-7_0_4_load_32 | 12 | 0.0029071 | 0.00072859 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1710-7_0_4_load_13 | 13 | 0.0022532 | 0.00056471 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1710-7_0_4_load_14 | 15 | 0.0062854 | 0.0015753 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1710-7_0_4_load_15 | 16 | 0.0028081 | 0.00070377 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1710-7_0_4_load_16 | 17 | 0.01672 | 0.0041904 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1710-7_0_4_load_24 | 18 | 0.0034138 | 0.00085558 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1710-7_0_4_load_18 | 19 | 0.0032658 | 0.0008185 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1710-7_0_4_load_19 | 20 | 0.0050961 | 0.0012772 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1710-7_0_4_load_20 | 21 | 0.0020665 | 0.00051791 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1710-7_0_4_load_21 | 22 | 0.0031535 | 0.00079034 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1710-7_0_4_load_22 | 23 | 0.0016736 | 0.00041944 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1710-7_0_4_load_23 | 24 | 0.00287 | 0.00071929 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1710-7_0_4_load_27 | 25 | 0.0017254 | 0.00043244 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1710-7_0_4_load_25 | 26 | 0.0027306 | 0.00068436 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1710-7_0_4_load_26 | 27 | 0.0013406 | 0.00033599 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1710-7_0_4_load_28 | 29 | 0.0028495 | 0.00071416 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1710-7_0_4_load_29 | 30 | 0.0038267 | 0.00095905 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1710-7_0_4_load_44 | 32 | 0.0035913 | 0.00090007 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1710-7_0_4_load_33 | 33 | 0.00086315 | 0.00021633 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1710-7_0_4_load_34 | 34 | 0.0043066 | 0.0010793 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1710-7_0_4_load_35 | 35 | 0.0024111 | 0.00060429 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1710-7_0_4_load_36 | 37 | 0.0023054 | 0.00057778 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1710-7_0_4_load_37 | 38 | 0.0006387 | 0.00016007 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1710-7_0_4_load_39 | 39 | 0.002772 | 0.00069473 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1710-7_0_4_load_40 | 40 | 0.0068392 | 0.0017141 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1710-7_0_4_load_41 | 41 | 0.0017991 | 0.0004509 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1710-7_0_4_load_42 | 42 | 0.0061865 | 0.0015505 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1710-7_0_4_load_43 | 43 | 0.0065101 | 0.0016316 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1710-7_0_4_load_59 | 45 | 0.0057503 | 0.0014412 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1710-7_0_4_load_46 | 46 | 0.0073133 | 0.0018329 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1710-7_0_4_load_47 | 47 | 0.0056519 | 0.0014165 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1710-7_0_4_load_48 | 48 | 0.0079072 | 0.0019817 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1710-7_0_4_load_49 | 49 | 0.0059502 | 0.0014913 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1710-7_0_4_load_51 | 51 | 0.0051608 | 0.0012934 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1710-7_0_4_load_52 | 52 | 0.0096017 | 0.0024064 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1710-7_0_4_load_53 | 53 | 0.0063478 | 0.0015909 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1710-7_0_4_load_60 | 54 | 0.012849 | 0.0032201 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1710-7_0_4_load_54 | 55 | 0.0026368 | 0.00066085 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1710-7_0_4_load_55 | 56 | 0.0057583 | 0.0014432 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1710-7_0_4_load_56 | 57 | 0.0039561 | 0.0009915 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1710-7_0_4_load_57 | 58 | 0.0064228 | 0.0016097 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1710-7_0_4_load_58 | 59 | 0.0018761 | 0.00047019 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1710-7_0_4_load_61 | 60 | 0.0024252 | 0.0006078 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1710-7_0_4_load_62 | 61 | 0.0035243 | 0.00088326 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1710-7_0_4_load_64 | 63 | 0.0021919 | 0.00054935 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1710-7_0_4_load_73 | 66 | 0.032138 | 0.0080545 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1710-7_0_4_load_67 | 67 | 0.0018809 | 0.00047139 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1710-7_0_4_load_68 | 68 | 0.00084536 | 0.00021187 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1710-7_0_4_load_69 | 69 | 0.0013884 | 0.00034798 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1710-7_0_4_load_70 | 70 | 0.0026623 | 0.00066723 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1710-7_0_4_load_71 | 71 | 0.0012523 | 0.00031387 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1710-7_0_4_load_74 | 73 | 0.0026607 | 0.00066684 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1710-7_0_4_load_77 | 74 | 0.0037282 | 0.00093437 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1710-7_0_4_load_75 | 75 | 0.0014107 | 0.00035356 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1710-7_0_4_load_76 | 76 | 0.00095021 | 0.00023815 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1710-7_0_4_load_78 | 77 | 0.0046955 | 0.0011768 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1710-7_0_4_load_79 | 78 | 0.0012395 | 0.00031064 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1710-7_0_4_load_80 | 79 | 0.0044437 | 0.0011137 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1710-7_0_4_load_81 | 80 | 0.0068061 | 0.0017058 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1710-7_0_4_load_82 | 81 | 0.0047597 | 0.0011929 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_1710-7_0_4_load_83 | 83 | 0.0079995 | 0.0020049 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_1710-7_0_4_load_85 | 85 | 0.00921 | 0.0023082 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_1710-7_0_4_load_86 | 86 | 0.0050997 | 0.0012781 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_1710-7_0_4_load_87 | 87 | 0.0034975 | 0.00087657 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_1710-7_0_4_load_105 | 88 | 0.0036257 | 0.0009087 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1710-7_0_4_line_0 |  | 0 | 1 | 0.068554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1710-7_0_4_line_1 |  | 1 | 2 | 0.046994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1710-7_0_4_line_2 |  | 2 | 3 | 0.025874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1710-7_0_4_line_3 |  | 3 | 4 | 0.0091129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1710-7_0_4_line_4 |  | 4 | 5 | 0.0080409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1710-7_0_4_line_5 |  | 4 | 6 | 0.036729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1710-7_0_4_line_6 |  | 5 | 7 | 0.016727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1710-7_0_4_line_7 |  | 7 | 8 | 0.0072959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1710-7_0_4_line_8 |  | 8 | 9 | 0.014183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1710-7_0_4_line_9 |  | 8 | 10 | 0.021292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1710-7_0_4_line_10 |  | 9 | 11 | 0.036199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1710-7_0_4_line_11 |  | 10 | 12 | 0.0055227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1710-7_0_4_line_12 |  | 11 | 13 | 0.024872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1710-7_0_4_line_13 |  | 12 | 33 | 0.010795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1710-7_0_4_line_14 |  | 13 | 14 | 0.0064873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1710-7_0_4_line_15 |  | 14 | 18 | 0.0097196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1710-7_0_4_line_16 |  | 14 | 16 | 0.036263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1710-7_0_4_line_17 |  | 15 | 16 | 0.0080704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1710-7_0_4_line_18 |  | 15 | 17 | 0.024662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1710-7_0_4_line_19 |  | 18 | 26 | 0.00052331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1710-7_0_4_line_20 |  | 19 | 20 | 0.021599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1710-7_0_4_line_21 |  | 19 | 21 | 0.0059547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1710-7_0_4_line_22 |  | 20 | 22 | 0.0089868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1710-7_0_4_line_23 |  | 22 | 23 | 0.023968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1710-7_0_4_line_24 |  | 23 | 24 | 0.0029961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1710-7_0_4_line_25 |  | 24 | 25 | 0.0091621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1710-7_0_4_line_26 |  | 25 | 29 | 0.017994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1710-7_0_4_line_27 |  | 26 | 27 | 0.014277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1710-7_0_4_line_28 |  | 27 | 28 | 0.035666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1710-7_0_4_line_29 |  | 28 | 31 | 0.025601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1710-7_0_4_line_30 |  | 28 | 30 | 0.0097254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1710-7_0_4_line_31 |  | 29 | 30 | 0.0035569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1710-7_0_4_line_32 |  | 31 | 32 | 0.019976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1710-7_0_4_line_33 |  | 32 | 42 | 0.0038679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1710-7_0_4_line_34 |  | 33 | 34 | 0.019401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1710-7_0_4_line_35 |  | 34 | 35 | 0.0020357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1710-7_0_4_line_36 |  | 35 | 36 | 0.013988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1710-7_0_4_line_37 |  | 36 | 37 | 0.019673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1710-7_0_4_line_38 |  | 37 | 38 | 0.023864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1710-7_0_4_line_39 |  | 38 | 39 | 0.015615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1710-7_0_4_line_40 |  | 39 | 40 | 0.016091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1710-7_0_4_line_41 |  | 40 | 41 | 0.19853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1710-7_0_4_line_42 |  | 42 | 43 | 0.057582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1710-7_0_4_line_43 |  | 43 | 44 | 0.054723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1710-7_0_4_line_44 |  | 44 | 45 | 0.046705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_1710-7_0_4_line_45 |  | 45 | 59 | 0.018852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1710-7_0_4_line_46 |  | 46 | 47 | 0.0059814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1710-7_0_4_line_47 |  | 47 | 48 | 0.024438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1710-7_0_4_line_48 |  | 48 | 49 | 0.0080904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1710-7_0_4_line_49 |  | 49 | 50 | 0.013688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_1710-7_0_4_line_50 |  | 50 | 51 | 0.015797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_1710-7_0_4_line_51 |  | 50 | 52 | 0.046809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_1710-7_0_4_line_52 |  | 51 | 53 | 0.0082326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_1710-7_0_4_line_53 |  | 52 | 54 | 0.036213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_1710-7_0_4_line_54 |  | 53 | 55 | 0.016135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_1710-7_0_4_line_55 |  | 54 | 60 | 0.011117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_1710-7_0_4_line_56 |  | 55 | 56 | 0.0070657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_1710-7_0_4_line_57 |  | 56 | 57 | 0.036807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_1710-7_0_4_line_58 |  | 57 | 58 | 0.0049931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_1710-7_0_4_line_59 |  | 58 | 59 | 0.027406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_1710-7_0_4_line_60 |  | 60 | 61 | 0.12027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_1710-7_0_4_line_61 |  | 61 | 62 | 0.065187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_1710-7_0_4_line_62 |  | 62 | 63 | 0.029963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1710-7_0_4_line_63 |  | 62 | 64 | 0.023059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1710-7_0_4_line_64 |  | 63 | 65 | 0.010095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1710-7_0_4_line_65 |  | 64 | 66 | 0.019019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1710-7_0_4_line_66 |  | 65 | 67 | 0.0087028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1710-7_0_4_line_67 |  | 65 | 68 | 0.0051176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1710-7_0_4_line_68 |  | 66 | 72 | 0.033987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1710-7_0_4_line_69 |  | 67 | 69 | 0.028899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1710-7_0_4_line_70 |  | 68 | 70 | 0.027249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1710-7_0_4_line_71 |  | 71 | 72 | 0.029992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1710-7_0_4_line_72 |  | 72 | 73 | 0.0077741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1710-7_0_4_line_73 |  | 73 | 74 | 0.0079262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1710-7_0_4_line_74 |  | 74 | 75 | 0.00098042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1710-7_0_4_line_75 |  | 75 | 76 | 0.014758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1710-7_0_4_line_76 |  | 76 | 77 | 0.017331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1710-7_0_4_line_77 |  | 77 | 78 | 0.019071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1710-7_0_4_line_78 |  | 78 | 79 | 0.0072938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1710-7_0_4_line_79 |  | 79 | 80 | 0.055684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1710-7_0_4_line_80 |  | 80 | 81 | 0.020116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1710-7_0_4_line_81 |  | 80 | 82 | 0.076811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1710-7_0_4_line_82 |  | 81 | 83 | 0.018733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1710-7_0_4_line_83 |  | 82 | 88 | 0.071016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1710-7_0_4_line_84 |  | 83 | 84 | 0.040087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1710-7_0_4_line_85 |  | 84 | 85 | 0.018299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1710-7_0_4_line_86 |  | 84 | 86 | 0.031811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1710-7_0_4_line_87 |  | 85 | 87 | 0.0035641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1710-7_0_4_trafo_49 | 0.63 MVA 20/0.4 kV | 89 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2681644.4182 | 1217835.7471 | 2681649.2023 | 1217832.3104 | 2681648.8229 | 1217825.1004 | 2681652.6183 | 1217815.7017 | 2681672.8045 | 1217797.3662 | 2681684.4875 | 1217783.6244
1 | 2681644.4182 | 1217835.7471 | 2681642.945 | 1217830.8014 | 2681640.7741 | 1217825.8017 | 2681637.4951 | 1217819.675 | 2681632.3026 | 1217810.8202 | 2681628.7693 | 1217802.7554 | 2681626.0611 | 1217795.9694 | 2681625.6783 | 1217792.9357
2 | 2681625.6783 | 1217792.9357 | 2681625.1435 | 1217788.6964 | 2681625.743 | 1217780.9551 | 2681629.5581 | 1217767.6547
3 | 2681631.9367 | 1217758.8586 | 2681630.7337 | 1217763.5564 | 2681629.5581 | 1217767.6547
4 | 2681631.9367 | 1217758.8586 | 2681633.6707 | 1217751.0069
5 | 2681631.9367 | 1217758.8586 | 2681624.2938 | 1217758.1868 | 2681618.0749 | 1217758.3018 | 2681610.4192 | 1217760.2315 | 2681604.0626 | 1217763.1909 | 2681600.9581 | 1217765.3832 | 2681597.5865 | 1217767.7662
6 | 2681633.6707 | 1217751.0069 | 2681634.6319 | 1217746.6541 | 2681635.4927 | 1217735.9144 | 2681635.4151 | 1217734.4217
7 | 2681635.0361 | 1217727.1357 | 2681635.4151 | 1217734.4217
8 | 2681635.0361 | 1217727.1357 | 2681633.0539 | 1217720.5486 | 2681630.8091 | 1217713.5976
9 | 2681635.0361 | 1217727.1357 | 2681644.2566 | 1217720.1574 | 2681650.057 | 1217712.3467
10 | 2681619.2592 | 1217679.2914 | 2681629.6312 | 1217709.9503 | 2681630.8091 | 1217713.5976
11 | 2681650.057 | 1217712.3467 | 2681653.3497 | 1217707.9129
12 | 2681611.2888 | 1217655.7315 | 2681619.2592 | 1217679.2914
13 | 2681660.7066 | 1217700.0463 | 2681655.0458 | 1217705.6289 | 2681653.3497 | 1217707.9129
14 | 2681609.2099 | 1217649.5863 | 2681611.2888 | 1217655.7315
15 | 2681609.2099 | 1217649.5863 | 2681606.4878 | 1217640.2557
16 | 2681609.2099 | 1217649.5863 | 2681585.0947 | 1217676.6686
17 | 2681585.0947 | 1217676.6686 | 2681579.7278 | 1217682.6959
18 | 2681563.3272 | 1217701.1145 | 2681579.7278 | 1217682.6959
19 | 2681606.3412 | 1217639.7533 | 2681606.4878 | 1217640.2557
20 | 2681529.132 | 1217655.7001 | 2681542.3266 | 1217638.6003
21 | 2681525.4943 | 1217660.4144 | 2681529.132 | 1217655.7001
22 | 2681548.4832 | 1217632.0735 | 2681543.6875 | 1217636.8366 | 2681542.3266 | 1217638.6003
23 | 2681548.4832 | 1217632.0735 | 2681565.489 | 1217615.1831
24 | 2681565.489 | 1217615.1831 | 2681567.6148 | 1217613.0718
25 | 2681574.1197 | 1217606.6197 | 2681572.2096 | 1217608.5082 | 2681567.6148 | 1217613.0718
26 | 2681574.1197 | 1217606.6197 | 2681586.9154 | 1217593.9686
27 | 2681602.3427 | 1217626.0472 | 2681606.3412 | 1217639.7533
28 | 2681599.0341 | 1217591.075 | 2681597.8916 | 1217595.7847 | 2681597.5472 | 1217603.7408 | 2681598.5244 | 1217611.1034 | 2681600.7914 | 1217620.7297 | 2681602.3427 | 1217626.0472
29 | 2681599.0341 | 1217591.075 | 2681600.5633 | 1217585.848 | 2681608.515 | 1217567.3224
30 | 2681599.0341 | 1217591.075 | 2681589.7791 | 1217591.1372 | 2681589.4448 | 1217591.4678
31 | 2681589.4448 | 1217591.4678 | 2681586.9154 | 1217593.9686
32 | 2681608.515 | 1217567.3224 | 2681609.6138 | 1217562.4787 | 2681609.476 | 1217559.2413 | 2681608.9458 | 1217556.3766 | 2681607.1979 | 1217550.4154 | 2681606.0315 | 1217548.0432
33 | 2681604.3248 | 1217544.5722 | 2681606.0315 | 1217548.0432
34 | 2681676.9214 | 1217689.5025 | 2681662.5182 | 1217698.2597 | 2681660.7066 | 1217700.0463
35 | 2681676.9214 | 1217689.5025 | 2681678.6608 | 1217688.4449
36 | 2681690.6131 | 1217681.1779 | 2681678.6608 | 1217688.4449
37 | 2681690.6131 | 1217681.1779 | 2681703.3056 | 1217673.4579 | 2681706.729 | 1217670.0693
38 | 2681706.729 | 1217670.0693 | 2681710.6399 | 1217666.1981 | 2681721.922 | 1217651.7117
39 | 2681731.5165 | 1217639.3921 | 2681721.922 | 1217651.7117
40 | 2681731.5165 | 1217639.3921 | 2681732.2387 | 1217638.4648 | 2681742.7095 | 1217632.2264 | 2681745.2159 | 1217631.1507
41 | 2681745.2159 | 1217631.1507 | 2681943.0578 | 1217614.577
42 | 2681604.3248 | 1217544.5722 | 2681604.3248 | 1217544.5722 | 2681601.1114 | 1217539.1914 | 2681597.2453 | 1217533.2345 | 2681590.769 | 1217525.5185 | 2681579.8867 | 1217512.4721 | 2681568.8175 | 1217499.3728
43 | 2681549.9939 | 1217451.7896 | 2681548.3852 | 1217456.1705 | 2681547.4786 | 1217460.8389 | 2681547.4665 | 1217465.0526 | 2681548.1231 | 1217468.664 | 2681549.4135 | 1217472.562 | 2681550.6519 | 1217475.8144 | 2681552.6646 | 1217479.6334 | 2681555.1093 | 1217482.9468 | 2681563.1002 | 1217492.607 | 2681568.8175 | 1217499.3728
44 | 2681549.9939 | 1217451.7896 | 2681539.894 | 1217449.7834 | 2681536.5742 | 1217451.0499 | 2681534.04 | 1217454.8289 | 2681526.2792 | 1217478.2715 | 2681525.6543 | 1217481.8279
45 | 2681525.6543 | 1217481.8279 | 2681523.7846 | 1217492.469 | 2681523.5822 | 1217500.514
46 | 2681467.9383 | 1217655.8453 | 2681469.4284 | 1217650.0525
47 | 2681475.5428 | 1217626.392 | 2681475.2255 | 1217627.5164 | 2681469.4284 | 1217650.0525
48 | 2681475.5428 | 1217626.392 | 2681477.7397 | 1217618.6056
49 | 2681481.4566 | 1217605.4315 | 2681477.7397 | 1217618.6056
50 | 2681481.4566 | 1217605.4315 | 2681485.6351 | 1217590.1971
51 | 2681481.4566 | 1217605.4315 | 2681461.529 | 1217599.8665 | 2681456.1122 | 1217593.4994 | 2681453.9618 | 1217586.9768 | 2681456.756 | 1217576.4495
52 | 2681485.6351 | 1217590.1971 | 2681487.8127 | 1217582.2578
53 | 2681464.9725 | 1217541.2527 | 2681464.271 | 1217548.1365 | 2681456.756 | 1217576.4495
54 | 2681492.2716 | 1217566.7521 | 2681489.5746 | 1217575.834 | 2681487.8127 | 1217582.2578
55 | 2681464.9725 | 1217541.2527 | 2681464.9725 | 1217541.2527 | 2681462.5979 | 1217536.139 | 2681457.327 | 1217534.6438
56 | 2681492.2716 | 1217566.7521 | 2681494.2831 | 1217559.9788
57 | 2681494.2831 | 1217559.9788 | 2681497.1907 | 1217550.1879 | 2681505.5565 | 1217537.9942 | 2681514.2435 | 1217529.9998
58 | 2681517.9176 | 1217526.6187 | 2681514.2435 | 1217529.9998
59 | 2681517.9176 | 1217526.6187 | 2681519.9493 | 1217524.749 | 2681523.3183 | 1217511.0082 | 2681523.5822 | 1217500.514
60 | 2681371.8415 | 1217450.0403 | 2681457.327 | 1217534.6438
61 | 2681317.1549 | 1217480.1383 | 2681321.1671 | 1217481.5272 | 2681324.7758 | 1217481.8878 | 2681327.2966 | 1217480.1989 | 2681334.877 | 1217472.6863 | 2681338.7862 | 1217470.5048 | 2681345.8432 | 1217467.9661 | 2681348.3495 | 1217466.7773 | 2681352.1468 | 1217464.4498 | 2681371.8415 | 1217450.0403
62 | 2681317.1549 | 1217480.1383 | 2681333.3882 | 1217454.9542
63 | 2681304.5695 | 1217499.4793 | 2681317.1549 | 1217480.1383
64 | 2681332.7096 | 1217445.1607 | 2681334.0407 | 1217448.3143 | 2681333.3882 | 1217454.9542
65 | 2681304.5695 | 1217499.4793 | 2681294.1923 | 1217515.4179
66 | 2681332.7096 | 1217445.1607 | 2681337.639 | 1217437.9886
67 | 2681332.7096 | 1217445.1607 | 2681329.8122 | 1217449.3791
68 | 2681272.2275 | 1217539.6425 | 2681276.3582 | 1217538.4647 | 2681280.9158 | 1217536.0475 | 2681285.4476 | 1217528.849 | 2681294.1923 | 1217515.4179
69 | 2681353.5999 | 1217413.8994 | 2681343.4066 | 1217429.5853 | 2681338.0696 | 1217437.3621 | 2681337.639 | 1217437.9886
70 | 2681329.8122 | 1217449.3791 | 2681324.5534 | 1217457.0351 | 2681314.4429 | 1217471.8796
71 | 2681272.2275 | 1217539.6425 | 2681287.5718 | 1217513.8734
72 | 2681272.2275 | 1217539.6425 | 2681268.2511 | 1217546.3227
73 | 2681264.1968 | 1217553.1335 | 2681268.2511 | 1217546.3227
74 | 2681264.1968 | 1217553.1335 | 2681263.6953 | 1217553.976
75 | 2681263.6953 | 1217553.976 | 2681260.3709 | 1217559.5607 | 2681255.6454 | 1217566.3335
76 | 2681255.6454 | 1217566.3335 | 2681245.7285 | 1217580.5467
77 | 2681245.7285 | 1217580.5467 | 2681234.816 | 1217596.187
78 | 2681230.84 | 1217602.298 | 2681232.9221 | 1217598.9014 | 2681234.816 | 1217596.187
79 | 2681230.84 | 1217602.298 | 2681225.5072 | 1217610.9972 | 2681220.0638 | 1217623.2644 | 2681215.0546 | 1217643.2205 | 2681212.5434 | 1217654.4272
80 | 2681212.5434 | 1217654.4272 | 2681209.1457 | 1217669.5907 | 2681208.2947 | 1217674.0875
81 | 2681212.5434 | 1217654.4272 | 2681288.3639 | 1217666.7242
82 | 2681208.2947 | 1217674.0875 | 2681206.7405 | 1217682.2996 | 2681205.7569 | 1217692.628
83 | 2681288.3639 | 1217666.7242 | 2681289.8615 | 1217679.3641 | 2681295.0244 | 1217683.2037 | 2681303.0002 | 1217685.0804 | 2681321.1996 | 1217686.5519 | 2681328.0748 | 1217687.3018 | 2681334.2624 | 1217690.0436 | 2681340.3042 | 1217695.1183 | 2681342.4962 | 1217698.2548
84 | 2681201.9563 | 1217732.5343 | 2681205.7569 | 1217692.628
85 | 2681201.9563 | 1217732.5343 | 2681219.3781 | 1217738.1309
86 | 2681201.9563 | 1217732.5343 | 2681199.7184 | 1217748.014 | 2681196.0658 | 1217760.9061 | 2681194.9638 | 1217763.4485
87 | 2681219.3781 | 1217738.1309 | 2681219.3781 | 1217738.1309 | 2681222.4752 | 1217739.8947

## bus_geodata
| x | y | coords
0 | 2681684.4875 | 1217783.6244
1 | 2681644.4182 | 1217835.7471
2 | 2681625.6783 | 1217792.9357
3 | 2681629.5581 | 1217767.6547
4 | 2681631.9367 | 1217758.8586
5 | 2681633.6707 | 1217751.0069
6 | 2681597.5865 | 1217767.7662
7 | 2681635.4151 | 1217734.4217
8 | 2681635.0361 | 1217727.1357
9 | 2681630.8091 | 1217713.5976
10 | 2681650.057 | 1217712.3467
11 | 2681619.2592 | 1217679.2914
12 | 2681653.3497 | 1217707.9129
13 | 2681611.2888 | 1217655.7315
14 | 2681609.2099 | 1217649.5863
15 | 2681579.7278 | 1217682.6959
16 | 2681585.0947 | 1217676.6686
17 | 2681563.3272 | 1217701.1145
18 | 2681606.4878 | 1217640.2557
19 | 2681529.132 | 1217655.7001
20 | 2681542.3266 | 1217638.6003
21 | 2681525.4943 | 1217660.4144
22 | 2681548.4832 | 1217632.0735
23 | 2681565.489 | 1217615.1831
24 | 2681567.6148 | 1217613.0718
25 | 2681574.1197 | 1217606.6197
26 | 2681606.3412 | 1217639.7533
27 | 2681602.3427 | 1217626.0472
28 | 2681599.0341 | 1217591.075
29 | 2681586.9154 | 1217593.9686
30 | 2681589.4448 | 1217591.4678
31 | 2681608.515 | 1217567.3224
32 | 2681606.0315 | 1217548.0432
33 | 2681660.7066 | 1217700.0463
34 | 2681676.9214 | 1217689.5025
35 | 2681678.6608 | 1217688.4449
36 | 2681690.6131 | 1217681.1779
37 | 2681706.729 | 1217670.0693
38 | 2681721.922 | 1217651.7117
39 | 2681731.5165 | 1217639.3921
40 | 2681745.2159 | 1217631.1507
41 | 2681943.0578 | 1217614.577
42 | 2681604.3248 | 1217544.5722
43 | 2681568.8175 | 1217499.3728
44 | 2681549.9939 | 1217451.7896
45 | 2681525.6543 | 1217481.8279
46 | 2681467.9383 | 1217655.8453
47 | 2681469.4284 | 1217650.0525
48 | 2681475.5428 | 1217626.392
49 | 2681477.7397 | 1217618.6056
50 | 2681481.4566 | 1217605.4315
51 | 2681485.6351 | 1217590.1971
52 | 2681456.756 | 1217576.4495
53 | 2681487.8127 | 1217582.2578
54 | 2681464.9725 | 1217541.2527
55 | 2681492.2716 | 1217566.7521
56 | 2681494.2831 | 1217559.9788
57 | 2681514.2435 | 1217529.9998
58 | 2681517.9176 | 1217526.6187
59 | 2681523.5822 | 1217500.514
60 | 2681457.327 | 1217534.6438
61 | 2681371.8415 | 1217450.0403
62 | 2681317.1549 | 1217480.1383
63 | 2681333.3882 | 1217454.9542
64 | 2681304.5695 | 1217499.4793
65 | 2681332.7096 | 1217445.1607
66 | 2681294.1923 | 1217515.4179
67 | 2681337.639 | 1217437.9886
68 | 2681329.8122 | 1217449.379
69 | 2681353.5999 | 1217413.8994
70 | 2681314.4429 | 1217471.8796
71 | 2681287.5718 | 1217513.8734
72 | 2681272.2275 | 1217539.6425
73 | 2681268.2511 | 1217546.3227
74 | 2681264.1968 | 1217553.1335
75 | 2681263.6953 | 1217553.976
76 | 2681255.6454 | 1217566.3335
77 | 2681245.7285 | 1217580.5467
78 | 2681234.816 | 1217596.187
79 | 2681230.84 | 1217602.298
80 | 2681212.5434 | 1217654.4272
81 | 2681208.2947 | 1217674.0875
82 | 2681288.3639 | 1217666.7242
83 | 2681205.7569 | 1217692.628
84 | 2681201.9563 | 1217732.5343
85 | 2681219.3781 | 1217738.1309
86 | 2681194.9638 | 1217763.4485
87 | 2681222.4752 | 1217739.8947
88 | 2681342.4962 | 1217698.2548
89 | 2681481.4566 | 1217605.4315

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97316 | -0.51753 | 0.0028474 | 0.00071362
1 | 0.97335 | -0.51393 | 0 | 0
2 | 0.97347 | -0.51147 | 0.0023877 | 0.00059841
3 | 0.9736 | -0.50898 | 0.0016666 | 0.00041769
4 | 0.97365 | -0.50782 | 0 | 0
5 | 0.97377 | -0.50564 | 0.00094287 | 0.00023631
6 | 0.97339 | -0.51314 | 0.0078721 | 0.0019729
7 | 0.97401 | -0.5008 | 0.0012223 | 0.00030635
8 | 0.97413 | -0.49853 | 0 | 0
9 | 0.9747 | -0.48725 | 0.0047274 | 0.0011848
10 | 0.9736 | -0.50886 | 0.0015341 | 0.00038449
11 | 0.97632 | -0.45538 | 0.0022368 | 0.0005606
12 | 0.97347 | -0.51138 | 0.0029071 | 0.00072859
13 | 0.97748 | -0.43254 | 0.0022532 | 0.00056471
14 | 0.9778 | -0.42632 | 0 | 0
15 | 0.97676 | -0.44679 | 0.0062854 | 0.0015753
16 | 0.97693 | -0.4434 | 0.0028081 | 0.00070377
17 | 0.97638 | -0.45433 | 0.01672 | 0.0041904
18 | 0.97851 | -0.41244 | 0.0034138 | 0.00085558
19 | 0.98119 | -0.36035 | 0.0032658 | 0.0008185
20 | 0.9813 | -0.35827 | 0.0050961 | 0.0012772
21 | 0.98118 | -0.36058 | 0.0020665 | 0.00051791
22 | 0.98138 | -0.35657 | 0.0031535 | 0.00079034
23 | 0.98168 | -0.35068 | 0.0016736 | 0.00041944
24 | 0.98172 | -0.34986 | 0.00287 | 0.00071929
25 | 0.98188 | -0.34685 | 0.0017254 | 0.00043244
26 | 0.97855 | -0.41166 | 0.0027306 | 0.00068436
27 | 0.97967 | -0.38973 | 0.0013406 | 0.00033599
28 | 0.98252 | -0.33428 | 0 | 0
29 | 0.98221 | -0.3404 | 0.0028495 | 0.00071416
30 | 0.98228 | -0.33894 | 0.0038267 | 0.00095905
31 | 0.98519 | -0.28247 | 0 | 0
32 | 0.98624 | -0.26233 | 0.0035913 | 0.00090007
33 | 0.97325 | -0.51574 | 0.00086315 | 0.00021633
34 | 0.97287 | -0.52327 | 0.0043066 | 0.0010793
35 | 0.97284 | -0.5239 | 0.0024111 | 0.00060429
36 | 0.97265 | -0.5276 | 0 | 0
37 | 0.97239 | -0.5328 | 0.0023054 | 0.00057778
38 | 0.97212 | -0.53811 | 0.0006387 | 0.00016007
39 | 0.97195 | -0.5414 | 0.002772 | 0.00069473
40 | 0.97183 | -0.54397 | 0.0068392 | 0.0017141
41 | 0.97149 | -0.55057 | 0.0017991 | 0.0004509
42 | 0.98638 | -0.25966 | 0.0061865 | 0.0015505
43 | 0.98855 | -0.21774 | 0.0065101 | 0.0016316
44 | 0.99073 | -0.17597 | 0 | 0
45 | 0.99259 | -0.14046 | 0.0057503 | 0.0014412
46 | 0.99952 | -0.009233 | 0.0073133 | 0.0018329
47 | 0.99956 | -0.0084698 | 0.0056519 | 0.0014165
48 | 0.99985 | -0.0029438 | 0.0079072 | 0.0019817
49 | 1 | 0 | -0.32499 | -0.082955
50 | 0.99874 | -0.023692 | 0 | 0
51 | 0.99793 | -0.039035 | 0.0051608 | 0.0012934
52 | 0.99686 | -0.059455 | 0.0096017 | 0.0024064
53 | 0.99752 | -0.046792 | 0.0063478 | 0.0015909
54 | 0.9955 | -0.085175 | 0.012849 | 0.0032201
55 | 0.99675 | -0.061415 | 0.0026368 | 0.00066085
56 | 0.99642 | -0.067717 | 0.0057583 | 0.0014432
57 | 0.99475 | -0.099367 | 0.0039561 | 0.0009915
58 | 0.99453 | -0.10355 | 0.0064228 | 0.0016097
59 | 0.99338 | -0.12552 | 0.0018761 | 0.00047019
60 | 0.99513 | -0.092247 | 0.0024252 | 0.0006078
61 | 0.98922 | -0.20515 | 0.0035243 | 0.00088326
62 | 0.98612 | -0.26485 | 0 | 0
63 | 0.98587 | -0.26967 | 0.0021919 | 0.00054935
64 | 0.98412 | -0.30358 | 0 | 0
65 | 0.98581 | -0.2709 | 0 | 0
66 | 0.98247 | -0.33565 | 0.032138 | 0.0080545
67 | 0.98578 | -0.27141 | 0.0018809 | 0.00047139
68 | 0.98579 | -0.27122 | 0.00084536 | 0.00021187
69 | 0.98574 | -0.27213 | 0.0013884 | 0.00034798
70 | 0.98572 | -0.27252 | 0.0026623 | 0.00066723
71 | 0.98049 | -0.37409 | 0.0012523 | 0.00031387
72 | 0.98053 | -0.37341 | 0 | 0
73 | 0.98009 | -0.38188 | 0.0026607 | 0.00066684
74 | 0.97967 | -0.39015 | 0.0037282 | 0.00093437
75 | 0.97962 | -0.39111 | 0.0014107 | 0.00035356
76 | 0.9789 | -0.40515 | 0.00095021 | 0.00023815
77 | 0.97807 | -0.42136 | 0.0046955 | 0.0011768
78 | 0.97724 | -0.4376 | 0.0012395 | 0.00031064
79 | 0.97693 | -0.44365 | 0.0044437 | 0.0011137
80 | 0.97481 | -0.48545 | 0.0068061 | 0.0017058
81 | 0.97423 | -0.49673 | 0.0047597 | 0.0011929
82 | 0.97455 | -0.49056 | 0 | 0
83 | 0.97378 | -0.50562 | 0.0079995 | 0.0020049
84 | 0.97312 | -0.51875 | 0 | 0
85 | 0.9729 | -0.52303 | 0.00921 | 0.0023082
86 | 0.97297 | -0.52173 | 0.0050997 | 0.0012781
87 | 0.97289 | -0.52326 | 0.0034975 | 0.00087657
88 | 0.97431 | -0.49529 | 0.0036257 | 0.0009087
89 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0028474 | -0.00071362 | 0.0028479 | 0.00071308 | 4.8727e-07 | -5.4006e-07 | 0.0043538 | 0.0043535 | 0.0043538 | 0.97316 | -0.51753 | 0.97335 | -0.51393 | 1.1961
1 | -0.0028479 | -0.00071308 | 0.0028482 | 0.00071271 | 3.3399e-07 | -3.7042e-07 | 0.0043535 | 0.0043533 | 0.0043535 | 0.97335 | -0.51393 | 0.97347 | -0.51147 | 1.196
2 | -0.0052359 | -0.0013111 | 0.0052365 | 0.0013112 | 6.2144e-07 | 7.6e-08 | 0.008003 | 0.0080029 | 0.008003 | 0.97347 | -0.51147 | 0.9736 | -0.50898 | 2.1986
3 | -0.0069031 | -0.0017289 | 0.0069035 | 0.001729 | 3.8036e-07 | 1.301e-07 | 0.01055 | 0.01055 | 0.01055 | 0.9736 | -0.50898 | 0.97365 | -0.50782 | 2.8984
4 | -0.014778 | -0.0037028 | 0.014779 | 0.0037036 | 1.5379e-06 | 8.8425e-07 | 0.022584 | 0.022584 | 0.022584 | 0.97365 | -0.50782 | 0.97377 | -0.50564 | 6.2044
5 | 0.0078741 | 0.0019737 | -0.0078721 | -0.0019729 | 1.9946e-06 | 8.1986e-07 | 0.012034 | 0.012034 | 0.012034 | 0.97365 | -0.50782 | 0.97339 | -0.51314 | 3.3061
6 | -0.015722 | -0.0039399 | 0.015726 | 0.0039421 | 3.6204e-06 | 2.1089e-06 | 0.024025 | 0.024025 | 0.024025 | 0.97377 | -0.50564 | 0.97401 | -0.5008 | 6.6002
7 | -0.016948 | -0.0042484 | 0.01695 | 0.0042495 | 1.8342e-06 | 1.0831e-06 | 0.025892 | 0.025892 | 0.025892 | 0.97401 | -0.5008 | 0.97413 | -0.49853 | 7.1132
8 | -0.043367 | -0.010882 | 0.043391 | 0.010897 | 2.3344e-05 | 1.4764e-05 | 0.06625 | 0.06625 | 0.06625 | 0.97413 | -0.49853 | 0.9747 | -0.48725 | 18.2006
9 | 0.026418 | 0.0066326 | -0.026405 | -0.0066246 | 1.3005e-05 | 8.0585e-06 | 0.040358 | 0.040358 | 0.040358 | 0.97413 | -0.49853 | 0.9736 | -0.50886 | 11.0875
10 | -0.048118 | -0.012082 | 0.048191 | 0.012128 | 7.3267e-05 | 4.6439e-05 | 0.073467 | 0.073467 | 0.073467 | 0.9747 | -0.48725 | 0.97632 | -0.45538 | 20.1833
11 | 0.024871 | 0.0062401 | -0.024868 | -0.0062382 | 2.9927e-06 | 1.8467e-06 | 0.038014 | 0.038014 | 0.038014 | 0.9736 | -0.50886 | 0.97347 | -0.51138 | 10.4433
12 | -0.050428 | -0.012689 | 0.050483 | 0.012724 | 5.5121e-05 | 3.4966e-05 | 0.076876 | 0.076876 | 0.076876 | 0.97632 | -0.45538 | 0.97748 | -0.43254 | 21.1198
13 | 0.02196 | 0.0055096 | -0.021956 | -0.0055069 | 4.5622e-06 | 2.7856e-06 | 0.03357 | 0.03357 | 0.03357 | 0.97347 | -0.51138 | 0.97325 | -0.51574 | 9.2225
14 | -0.052737 | -0.013288 | 0.052752 | 0.013298 | 1.5689e-05 | 9.9596e-06 | 0.080306 | 0.080306 | 0.080306 | 0.97748 | -0.43254 | 0.9778 | -0.42632 | 22.0621
15 | -0.078597 | -0.019787 | 0.078649 | 0.01982 | 5.2171e-05 | 3.3267e-05 | 0.11964 | 0.11964 | 0.11964 | 0.9778 | -0.42632 | 0.97851 | -0.41244 | 32.8681
16 | 0.025844 | 0.0064883 | -0.025823 | -0.0064753 | 2.1039e-05 | 1.3011e-05 | 0.039334 | 0.039334 | 0.039334 | 0.9778 | -0.42632 | 0.97693 | -0.4434 | 10.806
17 | -0.023011 | -0.0057692 | 0.023015 | 0.0057715 | 3.7194e-06 | 2.2794e-06 | 0.035057 | 0.035057 | 0.035057 | 0.97676 | -0.44679 | 0.97693 | -0.4434 | 9.631
18 | 0.016726 | 0.004194 | -0.01672 | -0.0041904 | 6.0051e-06 | 3.5347e-06 | 0.025482 | 0.025482 | 0.025482 | 0.97676 | -0.44679 | 0.97638 | -0.45433 | 7.0005
19 | -0.082062 | -0.020675 | 0.082066 | 0.020677 | 3.058e-06 | 1.9505e-06 | 0.12483 | 0.12483 | 0.12483 | 0.97851 | -0.41244 | 0.97855 | -0.41166 | 34.2943
20 | -0.0053323 | -0.0013363 | 0.0053329 | 0.0013364 | 5.2965e-07 | 6.6151e-08 | 0.0080867 | 0.0080866 | 0.0080867 | 0.98119 | -0.36035 | 0.9813 | -0.35827 | 2.2216
21 | 0.0020665 | 0.00051784 | -0.0020665 | -0.00051791 | 2.1931e-08 | -6.1173e-08 | 0.0031339 | 0.0031339 | 0.0031339 | 0.98119 | -0.36035 | 0.98118 | -0.36058 | 0.86097
22 | -0.010429 | -0.0026136 | 0.01043 | 0.002614 | 8.4281e-07 | 4.2586e-07 | 0.015814 | 0.015814 | 0.015814 | 0.9813 | -0.35827 | 0.98138 | -0.35657 | 4.3445
23 | -0.013583 | -0.0034044 | 0.013587 | 0.0034065 | 3.8126e-06 | 2.1371e-06 | 0.020596 | 0.020595 | 0.020596 | 0.98138 | -0.35657 | 0.98168 | -0.35068 | 5.6581
24 | -0.015261 | -0.003826 | 0.015261 | 0.0038263 | 6.012e-07 | 3.4689e-07 | 0.023132 | 0.023132 | 0.023132 | 0.98168 | -0.35068 | 0.98172 | -0.34986 | 6.355
25 | -0.018131 | -0.0045456 | 0.018134 | 0.0045471 | 2.595e-06 | 1.5449e-06 | 0.027482 | 0.027482 | 0.027482 | 0.98172 | -0.34986 | 0.98188 | -0.34685 | 7.5501
26 | -0.019859 | -0.0049796 | 0.019865 | 0.0049832 | 6.1123e-06 | 3.6842e-06 | 0.030097 | 0.030097 | 0.030097 | 0.98188 | -0.34685 | 0.98221 | -0.3404 | 8.2685
27 | -0.084796 | -0.021362 | 0.084885 | 0.021419 | 8.9073e-05 | 5.6827e-05 | 0.12898 | 0.12898 | 0.12898 | 0.97855 | -0.41166 | 0.97967 | -0.38973 | 35.435
28 | -0.086226 | -0.021755 | 0.086455 | 0.021901 | 0.00022959 | 0.00014649 | 0.13102 | 0.13102 | 0.13102 | 0.97967 | -0.38973 | 0.98252 | -0.33428 | 35.9944
29 | -0.113 | -0.028562 | 0.11329 | 0.028742 | 0.00028148 | 0.00017982 | 0.17123 | 0.17123 | 0.17123 | 0.98252 | -0.33428 | 0.98519 | -0.28247 | 47.0413
30 | 0.026549 | 0.0066611 | -0.026543 | -0.0066574 | 5.8969e-06 | 3.6509e-06 | 0.040211 | 0.040211 | 0.040211 | 0.98252 | -0.33428 | 0.98228 | -0.33894 | 11.0469
31 | -0.022715 | -0.0056974 | 0.022717 | 0.0056984 | 1.5797e-06 | 9.6599e-07 | 0.034414 | 0.034414 | 0.034414 | 0.98221 | -0.3404 | 0.98228 | -0.33894 | 9.4544
32 | -0.11329 | -0.028742 | 0.1134 | 0.028812 | 0.00010982 | 6.9774e-05 | 0.17123 | 0.17123 | 0.17123 | 0.98519 | -0.28247 | 0.98624 | -0.26233 | 23.5206
33 | -0.11699 | -0.029712 | 0.117 | 0.029721 | 1.5087e-05 | 9.5076e-06 | 0.17665 | 0.17665 | 0.17665 | 0.98624 | -0.26233 | 0.98638 | -0.25966 | 16.1766
34 | 0.021093 | 0.0052905 | -0.021085 | -0.0052859 | 7.567e-06 | 4.6019e-06 | 0.03225 | 0.03225 | 0.03225 | 0.97325 | -0.51574 | 0.97287 | -0.52327 | 8.86
35 | 0.016779 | 0.0042066 | -0.016778 | -0.0042063 | 5.0277e-07 | 2.965e-07 | 0.025663 | 0.025664 | 0.025664 | 0.97287 | -0.52327 | 0.97284 | -0.5239 | 7.0504
36 | 0.014367 | 0.003602 | -0.014364 | -0.0036006 | 2.5332e-06 | 1.4476e-06 | 0.021976 | 0.021976 | 0.021976 | 0.97284 | -0.5239 | 0.97265 | -0.5276 | 6.0373
37 | 0.014364 | 0.0036006 | -0.014361 | -0.0035985 | 3.5627e-06 | 2.036e-06 | 0.021976 | 0.021976 | 0.021976 | 0.97265 | -0.5276 | 0.97239 | -0.5328 | 6.0373
38 | 0.012055 | 0.0030207 | -0.012052 | -0.0030191 | 3.0456e-06 | 1.6532e-06 | 0.018448 | 0.018448 | 0.018448 | 0.97239 | -0.5328 | 0.97212 | -0.53811 | 5.0681
39 | 0.011414 | 0.002859 | -0.011412 | -0.0028581 | 1.7872e-06 | 9.5025e-07 | 0.01747 | 0.01747 | 0.01747 | 0.97212 | -0.53811 | 0.97195 | -0.5414 | 4.7996
40 | 0.0086399 | 0.0021633 | -0.0086389 | -0.0021629 | 1.0556e-06 | 4.7621e-07 | 0.013227 | 0.013227 | 0.013227 | 0.97195 | -0.5414 | 0.97183 | -0.54397 | 3.6337
41 | 0.0017997 | 0.0004488 | -0.0017991 | -0.0004509 | 5.6516e-07 | -2.0974e-06 | 0.0027548 | 0.0027556 | 0.0027556 | 0.97183 | -0.54397 | 0.97149 | -0.55057 | 0.75704
42 | -0.12319 | -0.031272 | 0.12344 | 0.031429 | 0.00024896 | 0.00015712 | 0.18598 | 0.18598 | 0.18598 | 0.98638 | -0.25966 | 0.98855 | -0.21774 | 17.0312
43 | -0.12995 | -0.033061 | 0.13021 | 0.033226 | 0.00026219 | 0.00016569 | 0.19578 | 0.19578 | 0.19578 | 0.98855 | -0.21774 | 0.99073 | -0.17597 | 17.9285
44 | -0.13021 | -0.033226 | 0.13043 | 0.033368 | 0.00022377 | 0.00014141 | 0.19578 | 0.19578 | 0.19578 | 0.99073 | -0.17597 | 0.99259 | -0.14046 | 17.9285
45 | -0.13618 | -0.034809 | 0.13628 | 0.034871 | 9.845e-05 | 6.2276e-05 | 0.2044 | 0.2044 | 0.2044 | 0.99259 | -0.14046 | 0.99338 | -0.12552 | 18.7178
46 | -0.0073133 | -0.0018329 | 0.0073136 | 0.001833 | 2.6589e-07 | 9.1768e-08 | 0.010888 | 0.010888 | 0.010888 | 0.99952 | -0.009233 | 0.99956 | -0.0084698 | 2.9911
47 | -0.012965 | -0.0032495 | 0.012969 | 0.0032513 | 3.4141e-06 | 1.8646e-06 | 0.019301 | 0.019301 | 0.019301 | 0.99956 | -0.0084698 | 0.99985 | -0.0029438 | 5.3026
48 | -0.020876 | -0.0052331 | 0.020879 | 0.0052349 | 2.9286e-06 | 1.7682e-06 | 0.031069 | 0.031069 | 0.031069 | 0.99985 | -0.0029438 | 1 | 0 | 8.5355
49 | 0.30246 | 0.07772 | -0.30212 | -0.077498 | 0.00034764 | 0.00022195 | 0.45075 | 0.45075 | 0.45075 | 1 | 0 | 0.99874 | -0.023692 | 41.2776
50 | 0.16919 | 0.043407 | -0.16907 | -0.043327 | 0.00012583 | 7.9911e-05 | 0.25243 | 0.25243 | 0.25243 | 0.99874 | -0.023692 | 0.99793 | -0.039035 | 23.1167
51 | 0.13292 | 0.034091 | -0.13269 | -0.033946 | 0.00023013 | 0.00014545 | 0.19832 | 0.19832 | 0.19832 | 0.99874 | -0.023692 | 0.99686 | -0.059455 | 18.161
52 | 0.16391 | 0.042034 | -0.16384 | -0.041994 | 6.1638e-05 | 3.9126e-05 | 0.24474 | 0.24474 | 0.24474 | 0.99793 | -0.039035 | 0.99752 | -0.046792 | 22.412
53 | 0.12309 | 0.031539 | -0.12294 | -0.031443 | 0.00015323 | 9.6652e-05 | 0.18399 | 0.18399 | 0.18399 | 0.99686 | -0.059455 | 0.9955 | -0.085175 | 16.8485
54 | 0.1575 | 0.040404 | -0.15738 | -0.040333 | 0.00011164 | 7.0817e-05 | 0.23527 | 0.23527 | 0.23527 | 0.99752 | -0.046792 | 0.99675 | -0.061415 | 21.5449
55 | 0.11009 | 0.028222 | -0.11005 | -0.028199 | 3.7732e-05 | 2.3715e-05 | 0.16478 | 0.16478 | 0.16478 | 0.9955 | -0.085175 | 0.99513 | -0.092247 | 15.0898
56 | 0.15475 | 0.039672 | -0.1547 | -0.039642 | 4.7265e-05 | 2.9974e-05 | 0.23133 | 0.23133 | 0.23133 | 0.99675 | -0.061415 | 0.99642 | -0.067717 | 21.1844
57 | 0.14894 | 0.038199 | -0.14871 | -0.038054 | 0.00022825 | 0.00014465 | 0.22273 | 0.22274 | 0.22274 | 0.99642 | -0.067717 | 0.99475 | -0.099367 | 20.397
58 | 0.14476 | 0.037063 | -0.14473 | -0.037044 | 2.934e-05 | 1.8583e-05 | 0.21682 | 0.21682 | 0.21682 | 0.99475 | -0.099367 | 0.99453 | -0.10355 | 19.8551
59 | 0.13831 | 0.035434 | -0.13816 | -0.035341 | 0.00014709 | 9.3071e-05 | 0.20721 | 0.20721 | 0.20721 | 0.99453 | -0.10355 | 0.99338 | -0.12552 | 18.9751
60 | 0.10763 | 0.027591 | -0.10704 | -0.027219 | 0.00058568 | 0.00037173 | 0.16115 | 0.16116 | 0.16116 | 0.99513 | -0.092247 | 0.98922 | -0.20515 | 22.1368
61 | 0.10352 | 0.026336 | -0.10322 | -0.026148 | 0.00029689 | 0.00018834 | 0.15585 | 0.15586 | 0.15586 | 0.98922 | -0.20515 | 0.98612 | -0.26485 | 21.4087
62 | 0.0089717 | 0.0022482 | -0.0089696 | -0.0022473 | 2.0593e-06 | 9.3578e-07 | 0.013538 | 0.013538 | 0.013538 | 0.98612 | -0.26485 | 0.98587 | -0.26967 | 3.7192
63 | 0.094248 | 0.023899 | -0.094073 | -0.023788 | 0.00017514 | 0.0001118 | 0.14232 | 0.14232 | 0.14232 | 0.98612 | -0.26485 | 0.98412 | -0.30358 | 39.0982
64 | 0.0067777 | 0.0016979 | -0.0067773 | -0.0016978 | 3.9614e-07 | 1.2482e-07 | 0.01023 | 0.01023 | 0.01023 | 0.98587 | -0.26967 | 0.98581 | -0.2709 | 2.8103
65 | 0.094073 | 0.023788 | -0.093929 | -0.023695 | 0.00014446 | 9.2211e-05 | 0.14232 | 0.14232 | 0.14232 | 0.98412 | -0.30358 | 0.98247 | -0.33565 | 39.0982
66 | 0.0032695 | 0.00081897 | -0.0032694 | -0.00081903 | 7.9478e-08 | -6.0088e-08 | 0.0049349 | 0.0049349 | 0.0049349 | 0.98581 | -0.2709 | 0.98578 | -0.27141 | 1.3557
67 | 0.0035079 | 0.00087883 | -0.0035078 | -0.00087886 | 5.3801e-08 | -3.0813e-08 | 0.0052948 | 0.0052948 | 0.0052948 | 0.98581 | -0.2709 | 0.98579 | -0.27122 | 1.4546
68 | 0.061791 | 0.015641 | -0.061679 | -0.01557 | 0.00011176 | 7.1099e-05 | 0.093643 | 0.093643 | 0.093643 | 0.98247 | -0.33565 | 0.98053 | -0.37341 | 25.7261
69 | 0.0013885 | 0.00034764 | -0.0013884 | -0.00034798 | 4.7602e-08 | -3.3795e-07 | 0.0020958 | 0.0020959 | 0.0020959 | 0.98578 | -0.27141 | 0.98574 | -0.27213 | 0.5758
70 | 0.0026624 | 0.00066699 | -0.0026623 | -0.00066723 | 1.6503e-07 | -2.4175e-07 | 0.0040188 | 0.0040189 | 0.0040189 | 0.98579 | -0.27122 | 0.98572 | -0.27252 | 1.1041
71 | -0.0012523 | -0.00031387 | 0.0012524 | 0.00031352 | 4.0624e-08 | -3.5228e-07 | 0.0019006 | 0.0019005 | 0.0019006 | 0.98049 | -0.37409 | 0.98053 | -0.37341 | 0.52214
72 | 0.060427 | 0.015256 | -0.060403 | -0.015241 | 2.4537e-05 | 1.5606e-05 | 0.091742 | 0.091742 | 0.091742 | 0.98053 | -0.37341 | 0.98009 | -0.38188 | 25.204
73 | 0.057742 | 0.014574 | -0.057719 | -0.014559 | 2.2863e-05 | 1.4532e-05 | 0.087703 | 0.087703 | 0.087703 | 0.98009 | -0.38188 | 0.97967 | -0.39015 | 24.0942
74 | 0.053991 | 0.013625 | -0.053988 | -0.013623 | 2.4746e-06 | 1.5714e-06 | 0.08204 | 0.08204 | 0.08204 | 0.97967 | -0.39015 | 0.97962 | -0.39111 | 22.5385
75 | 0.052578 | 0.01327 | -0.052542 | -0.013247 | 3.5328e-05 | 2.2424e-05 | 0.079897 | 0.079897 | 0.079897 | 0.97962 | -0.39111 | 0.9789 | -0.40515 | 21.9498
76 | 0.051592 | 0.013009 | -0.051552 | -0.012984 | 4.0001e-05 | 2.5383e-05 | 0.078453 | 0.078453 | 0.078453 | 0.9789 | -0.40515 | 0.97807 | -0.42136 | 21.5531
77 | 0.046857 | 0.011807 | -0.04682 | -0.011784 | 3.6366e-05 | 2.3035e-05 | 0.071309 | 0.07131 | 0.07131 | 0.97807 | -0.42136 | 0.97724 | -0.4376 | 19.5905
78 | 0.045581 | 0.011473 | -0.045568 | -0.011465 | 1.3182e-05 | 8.3452e-06 | 0.069422 | 0.069422 | 0.069422 | 0.97724 | -0.4376 | 0.97693 | -0.44365 | 19.0721
79 | 0.041124 | 0.010351 | -0.041042 | -0.0103 | 8.1971e-05 | 5.1766e-05 | 0.062654 | 0.062654 | 0.062654 | 0.97693 | -0.44365 | 0.97481 | -0.48545 | 17.2127
80 | 0.030608 | 0.0076858 | -0.030592 | -0.0076756 | 1.6471e-05 | 1.0291e-05 | 0.046728 | 0.046728 | 0.046728 | 0.97481 | -0.48545 | 0.97423 | -0.49673 | 12.8374
81 | 0.0036274 | 0.00090794 | -0.0036266 | -0.00090833 | 8.8307e-07 | -3.9216e-07 | 0.0055368 | 0.0055371 | 0.0055371 | 0.97481 | -0.48545 | 0.97455 | -0.49056 | 1.5212
82 | 0.025832 | 0.0064827 | -0.025821 | -0.0064759 | 1.0937e-05 | 6.7668e-06 | 0.039458 | 0.039458 | 0.039458 | 0.97423 | -0.49673 | 0.97378 | -0.50562 | 10.8402
83 | 0.0036266 | 0.00090833 | -0.0036257 | -0.0009087 | 8.1654e-07 | -3.6205e-07 | 0.0055371 | 0.0055374 | 0.0055374 | 0.97455 | -0.49056 | 0.97431 | -0.49529 | 1.5213
84 | 0.017822 | 0.004471 | -0.017811 | -0.0044644 | 1.115e-05 | 6.6377e-06 | 0.027235 | 0.027235 | 0.027235 | 0.97378 | -0.50562 | 0.97312 | -0.51875 | 7.4821
85 | 0.01271 | 0.0031862 | -0.012708 | -0.0031848 | 2.5921e-06 | 1.4317e-06 | 0.019436 | 0.019436 | 0.019436 | 0.97312 | -0.51875 | 0.9729 | -0.52303 | 5.3395
86 | 0.0051004 | 0.0012782 | -0.0050997 | -0.0012781 | 7.2562e-07 | 6.9253e-08 | 0.0077991 | 0.0077992 | 0.0077992 | 0.97312 | -0.51875 | 0.97297 | -0.52173 | 2.1427
87 | 0.0034976 | 0.00087655 | -0.0034975 | -0.00087657 | 3.8247e-08 | -1.978e-08 | 0.0053494 | 0.0053494 | 0.0053494 | 0.9729 | -0.52303 | 0.97289 | -0.52326 | 1.4696

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33094 | 0.084446

## res_load
| p_mw | q_mvar
0 | 0.0028474 | 0.00071362
1 | 0.0023877 | 0.00059841
2 | 0.0016666 | 0.00041769
3 | 0.00094287 | 0.00023631
4 | 0.0078721 | 0.0019729
5 | 0.0012223 | 0.00030635
6 | 0.0047274 | 0.0011848
7 | 0.0015341 | 0.00038449
8 | 0.0022368 | 0.0005606
9 | 0.0029071 | 0.00072859
10 | 0.0022532 | 0.00056471
11 | 0.0062854 | 0.0015753
12 | 0.0028081 | 0.00070377
13 | 0.01672 | 0.0041904
14 | 0.0034138 | 0.00085558
15 | 0.0032658 | 0.0008185
16 | 0.0050961 | 0.0012772
17 | 0.0020665 | 0.00051791
18 | 0.0031535 | 0.00079034
19 | 0.0016736 | 0.00041944
20 | 0.00287 | 0.00071929
21 | 0.0017254 | 0.00043244
22 | 0.0027306 | 0.00068436
23 | 0.0013406 | 0.00033599
24 | 0.0028495 | 0.00071416
25 | 0.0038267 | 0.00095905
26 | 0.0035913 | 0.00090007
27 | 0.00086315 | 0.00021633
28 | 0.0043066 | 0.0010793
29 | 0.0024111 | 0.00060429
30 | 0.0023054 | 0.00057778
31 | 0.0006387 | 0.00016007
32 | 0.002772 | 0.00069473
33 | 0.0068392 | 0.0017141
34 | 0.0017991 | 0.0004509
35 | 0.0061865 | 0.0015505
36 | 0.0065101 | 0.0016316
37 | 0.0057503 | 0.0014412
38 | 0.0073133 | 0.0018329
39 | 0.0056519 | 0.0014165
40 | 0.0079072 | 0.0019817
41 | 0.0059502 | 0.0014913
42 | 0.0051608 | 0.0012934
43 | 0.0096017 | 0.0024064
44 | 0.0063478 | 0.0015909
45 | 0.012849 | 0.0032201
46 | 0.0026368 | 0.00066085
47 | 0.0057583 | 0.0014432
48 | 0.0039561 | 0.0009915
49 | 0.0064228 | 0.0016097
50 | 0.0018761 | 0.00047019
51 | 0.0024252 | 0.0006078
52 | 0.0035243 | 0.00088326
53 | 0.0021919 | 0.00054935
54 | 0.032138 | 0.0080545
55 | 0.0018809 | 0.00047139
56 | 0.00084536 | 0.00021187
57 | 0.0013884 | 0.00034798
58 | 0.0026623 | 0.00066723
59 | 0.0012523 | 0.00031387
60 | 0.0026607 | 0.00066684
61 | 0.0037282 | 0.00093437
62 | 0.0014107 | 0.00035356
63 | 0.00095021 | 0.00023815
64 | 0.0046955 | 0.0011768
65 | 0.0012395 | 0.00031064
66 | 0.0044437 | 0.0011137
67 | 0.0068061 | 0.0017058
68 | 0.0047597 | 0.0011929
69 | 0.0079995 | 0.0020049
70 | 0.00921 | 0.0023082
71 | 0.0050997 | 0.0012781
72 | 0.0034975 | 0.00087657
73 | 0.0036257 | 0.0009087

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1