## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_181-1_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_181-1_0_1_node_9 | 0.4 | n |  | TRUE
2 | bus_LV_181-1_0_1_node_16 | 0.4 | n |  | TRUE
3 | bus_LV_181-1_0_1_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_181-1_0_1_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_181-1_0_1_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_181-1_0_1_node_1 | 0.4 | n |  | TRUE
7 | bus_LV_181-1_0_1_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_181-1_0_1_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_181-1_0_1_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_181-1_0_1_node_3 | 0.4 | n |  | TRUE
11 | bus_LV_181-1_0_1_node_2 | 0.4 | n |  | TRUE
12 | bus_LV_181-1_0_1_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_181-1_0_1_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_181-1_0_1_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_181-1_0_1_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_181-1_0_1_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_181-1_0_1_node_4 | 0.4 | n |  | TRUE
18 | bus_LV_181-1_0_1_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_181-1_0_1_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_181-1_0_1_node_5 | 0.4 | n |  | TRUE
21 | bus_LV_181-1_0_1_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_181-1_0_1_node_6 | 0.4 | n |  | TRUE
23 | bus_LV_181-1_0_1_node_17 | 0.4 | n |  | TRUE
24 | bus_MV_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_181-1_0_1_load_0 | 0 | 0.0012681 | 0.00031782 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_181-1_0_1_load_9 | 1 | 0.0015217 | 0.00038137 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_181-1_0_1_load_7 | 5 | 0.023913 | 0.0059932 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_181-1_0_1_load_1 | 6 | 0.00038828 | 9.7313e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_181-1_0_1_load_14 | 7 | 0.00028518 | 7.1473e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_181-1_0_1_load_20 | 8 | 0.00020868 | 5.23e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_181-1_0_1_load_3 | 10 | 0.00051467 | 0.00012899 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_181-1_0_1_load_2 | 11 | 0.00064452 | 0.00016153 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_181-1_0_1_load_8 | 14 | 0.0010975 | 0.00027505 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_181-1_0_1_load_22 | 15 | 0.00073427 | 0.00018402 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_181-1_0_1_load_10 | 16 | 0.001637 | 0.00041026 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_181-1_0_1_load_4 | 17 | 0.0014291 | 0.00035816 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_181-1_0_1_load_5 | 20 | 0.00073413 | 0.00018399 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_181-1_0_1_load_19 | 21 | 0.00063344 | 0.00015875 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_181-1_0_1_load_6 | 22 | 0.0018754 | 0.00047003 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_181-1_0_1_load_17 | 23 | 0.0002945 | 7.381e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_181-1_0_1_line_0 |  | 0 | 1 | 0.098175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_181-1_0_1_line_1 |  | 1 | 2 | 0.030023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_181-1_0_1_line_2 |  | 2 | 23 | 0.016051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_181-1_0_1_line_3 |  | 2 | 21 | 0.01919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_181-1_0_1_line_4 |  | 3 | 4 | 0.15518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_181-1_0_1_line_5 |  | 3 | 5 | 0.55996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_181-1_0_1_line_6 |  | 4 | 9 | 0.38081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_181-1_0_1_line_7 |  | 4 | 10 | 0.13008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_181-1_0_1_line_8 |  | 6 | 7 | 0.013074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_181-1_0_1_line_9 |  | 7 | 8 | 0.012883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_181-1_0_1_line_10 |  | 8 | 14 | 0.01674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_181-1_0_1_line_11 |  | 9 | 22 | 0.19121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_181-1_0_1_line_12 |  | 10 | 15 | 0.028914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_181-1_0_1_line_13 |  | 11 | 12 | 0.065717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_181-1_0_1_line_14 |  | 12 | 13 | 0.20277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_181-1_0_1_line_15 |  | 12 | 14 | 0.02429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_181-1_0_1_line_16 |  | 13 | 17 | 0.030467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_181-1_0_1_line_17 |  | 15 | 16 | 0.0066103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_181-1_0_1_line_18 |  | 16 | 23 | 0.080629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_181-1_0_1_line_19 |  | 17 | 18 | 0.032735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_181-1_0_1_line_20 |  | 18 | 19 | 0.056059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_181-1_0_1_line_21 |  | 19 | 22 | 0.0278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_181-1_0_1_line_22 |  | 20 | 21 | 0.0050774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_181-1_0_1_trafo_7 | 0.63 MVA 20/0.4 kV | 24 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37
0 | 2708862.3636 | 1251326.9865 | 2708853.2711 | 1251325.6397 | 2708847.1736 | 1251327.14 | 2708842.8263 | 1251331.1746 | 2708820.6058 | 1251343.1874 | 2708809.4994 | 1251346.5195 | 2708798.9307 | 1251347.7042 | 2708771.8125 | 1251339.4775 | 2708770.8854 | 1251339.2991
1 | 2708743.9749 | 1251349.0411 | 2708755.5612 | 1251340.9471 | 2708764.5301 | 1251338.076 | 2708770.8854 | 1251339.2991
2 | 2708743.9749 | 1251349.0411 | 2708750.2883 | 1251363.7977
3 | 2708743.9749 | 1251349.0411 | 2708738.2674 | 1251349.8592 | 2708724.8855 | 1251350.9251
4 | 2708960.5882 | 1251477.9475 | 2708974.3493 | 1251478.4454 | 2709001.47 | 1251472.5504 | 2709012.8904 | 1251465.6882 | 2709023.1041 | 1251452.1984 | 2709027.1018 | 1251439.684 | 2709025.1167 | 1251421.2101 | 2709017.4263 | 1251393.5905 | 2709014.1692 | 1251378.1847 | 2709014.3108 | 1251370.9036
5 | 2709014.3108 | 1251370.9036 | 2709548.662 | 1251203.4982
6 | 2708960.5882 | 1251477.9475 | 2708991.1973 | 1251857.5209
7 | 2708960.5882 | 1251477.9475 | 2708938.347 | 1251467.2965 | 2708924.0628 | 1251455.0128 | 2708908.5454 | 1251437.947 | 2708888.9643 | 1251418.9272 | 2708877.1101 | 1251410.3801 | 2708865.2561 | 1251401.822 | 2708858.7142 | 1251399.3927
8 | 2708871.3743 | 1252028.3823 | 2708859.5857 | 1252028.8417 | 2708858.313 | 1252028.7465
9 | 2708871.3743 | 1252028.3823 | 2708878.5845 | 1252028.1013 | 2708884.0234 | 1252026.5075
10 | 2708900.1802 | 1252022.1461 | 2708893.3313 | 1252023.7799 | 2708884.0234 | 1252026.5075
11 | 2708991.1973 | 1251857.5209 | 2708995.5775 | 1251859.0694 | 2709000.8178 | 1251862.6909 | 2709003.392 | 1251863.9171 | 2709007.4209 | 1251862.8125 | 2709011.1411 | 1251865.3497 | 2709011.7034 | 1251873.3555 | 2709014.3802 | 1251875.1617 | 2709018.7744 | 1251873.4857 | 2709025.3063 | 1251858.2044 | 2709027.3765 | 1251854.8287 | 2709028.9193 | 1251854.2677 | 2709031.0268 | 1251855.0182 | 2709035.1229 | 1251862.9667 | 2709038.4268 | 1251869.2549 | 2709040.9882 | 1251871.1814 | 2709044.3358 | 1251868.5408 | 2709047.7503 | 1251862.2652 | 2709048.9558 | 1251860.7528 | 2709051.7705 | 1251861.6276 | 2709056.9909 | 1251872.8884 | 2709058.3887 | 1251873.637 | 2709062.8066 | 1251871.9058 | 2709066.6625 | 1251870.7647 | 2709068.0543 | 1251871.0238 | 2709069.3773 | 1251872.1491 | 2709069.8928 | 1251876.9514 | 2709070.1545 | 1251879.1358 | 2709071.8319 | 1251880.6902 | 2709074.7536 | 1251880.6773 | 2709082.2352 | 1251877.7793 | 2709086.1548 | 1251876.4615 | 2709089.4152 | 1251877.7337 | 2709099.7569 | 1251884.7187 | 2709108.306 | 1251889.847 | 2709114.3951 | 1251892.8727 | 2709119.6659 | 1251896.4727 | 2709122.3604 | 1251898.3103
12 | 2708831.3426 | 1251390.144 | 2708841.5011 | 1251393.0007 | 2708858.7142 | 1251399.3927
13 | 2708924.1164 | 1252023.7234 | 2708924.5814 | 1252043.1701 | 2708924.0947 | 1252064.2896 | 2708929.4992 | 1252077.4442 | 2708920.0261 | 1252082.8735
14 | 2708924.1164 | 1252023.7234 | 2708930.122 | 1252023.9007 | 2708943.5365 | 1252024.292 | 2708956.1941 | 1252023.5686 | 2709012.5357 | 1252014.6976 | 2709027.5 | 1252010.8698 | 2709040.1934 | 1252005.3322 | 2709050.3346 | 1251999.0136 | 2709106.5375 | 1251952.6325
15 | 2708924.1164 | 1252023.7234 | 2708913.4903 | 1252021.5263 | 2708904.4542 | 1252021.1266 | 2708900.1802 | 1252022.1461
16 | 2709106.5375 | 1251952.6325 | 2709104.1256 | 1251944.2368 | 2709100.9473 | 1251931.9571 | 2709101.114 | 1251922.9108
17 | 2708824.9791 | 1251388.3545 | 2708831.3426 | 1251390.144
18 | 2708750.2883 | 1251363.7977 | 2708750.7794 | 1251364.9456 | 2708757.844 | 1251372.0366 | 2708766.4794 | 1251374.1635 | 2708774.8495 | 1251375.1179 | 2708800.2687 | 1251383.3579 | 2708809.5577 | 1251384.0179 | 2708824.9791 | 1251388.3545
19 | 2709121.8087 | 1251907.9994 | 2709115.4084 | 1251905.068 | 2709109.7771 | 1251905.4646 | 2709104.0374 | 1251912.1533 | 2709101.1569 | 1251920.5849 | 2709101.114 | 1251922.9108
20 | 2709146.7378 | 1251908.2809 | 2709153.212 | 1251914.9835 | 2709136.6618 | 1251928.245 | 2709131.4745 | 1251923.8014 | 2709127.2636 | 1251919.2201 | 2709122.5031 | 1251909.6468 | 2709121.8087 | 1251907.9994
21 | 2709146.7378 | 1251908.2809 | 2709141.7187 | 1251909.4561 | 2709137.7151 | 1251908.7818 | 2709122.3604 | 1251898.3103
22 | 2708719.8241 | 1251351.3282 | 2708724.8855 | 1251350.9251

## bus_geodata
| x | y | coords
0 | 2708862.3636 | 1251326.9865
1 | 2708770.8854 | 1251339.2991
2 | 2708743.9749 | 1251349.0411
3 | 2709014.3108 | 1251370.9036
4 | 2708960.5882 | 1251477.9475
5 | 2709548.662 | 1251203.4982
6 | 2708858.313 | 1252028.7465
7 | 2708871.3743 | 1252028.3823
8 | 2708884.0234 | 1252026.5075
9 | 2708991.1973 | 1251857.5209
10 | 2708858.7142 | 1251399.3927
11 | 2708920.0261 | 1252082.8735
12 | 2708924.1164 | 1252023.7234
13 | 2709106.5375 | 1251952.6325
14 | 2708900.1802 | 1252022.1461
15 | 2708831.3426 | 1251390.144
16 | 2708824.9791 | 1251388.3545
17 | 2709101.114 | 1251922.9108
18 | 2709121.8087 | 1251907.9994
19 | 2709146.7378 | 1251908.2809
20 | 2708719.8241 | 1251351.3282
21 | 2708724.8855 | 1251350.9251
22 | 2709122.3604 | 1251898.3103
23 | 2708750.2883 | 1251363.7977
24 | 2709548.662 | 1251203.4982

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98963 | -0.20006 | 0.0012681 | 0.00031782
1 | 0.98975 | -0.19784 | 0.0015217 | 0.00038137
2 | 0.98982 | -0.19635 | 0 | 0
3 | 0.99319 | -0.13098 | 0 | 0
4 | 0.9913 | -0.16757 | 0 | 0
5 | 1 | 0 | -0.015053 | -0.003384
6 | 0.98713 | -0.24898 | 0.00038828 | 9.7313e-05
7 | 0.98713 | -0.24889 | 0.00028518 | 7.1473e-05
8 | 0.98714 | -0.24873 | 0.00020868 | 5.23e-05
9 | 0.98923 | -0.20789 | 0 | 0
10 | 0.99043 | -0.18454 | 0.00051467 | 0.00012899
11 | 0.98716 | -0.24836 | 0.00064452 | 0.00016153
12 | 0.9872 | -0.24761 | 0 | 0
13 | 0.98769 | -0.23807 | 0 | 0
14 | 0.98715 | -0.24847 | 0.0010975 | 0.00027505
15 | 0.99025 | -0.18805 | 0.00073427 | 0.00018402
16 | 0.99021 | -0.18877 | 0.001637 | 0.00041026
17 | 0.98776 | -0.23663 | 0.0014291 | 0.00035816
18 | 0.98788 | -0.23425 | 0 | 0
19 | 0.98809 | -0.23018 | 0 | 0
20 | 0.9898 | -0.19688 | 0.00073413 | 0.00018399
21 | 0.9898 | -0.19681 | 0.00063344 | 0.00015875
22 | 0.98819 | -0.22816 | 0.0018754 | 0.00047003
23 | 0.98988 | -0.19516 | 0.0002945 | 7.381e-05
24 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0012681 | -0.00031782 | 0.0012683 | 0.00031664 | 1.3382e-07 | -1.1759e-06 | 0.0019067 | 0.0019063 | 0.0019067 | 0.98963 | -0.20006 | 0.98975 | -0.19784 | 0.52383
1 | -0.0027899 | -0.00069801 | 0.0027901 | 0.00069775 | 1.9803e-07 | -2.5913e-07 | 0.004194 | 0.0041939 | 0.004194 | 0.98975 | -0.19784 | 0.98982 | -0.19635 | 1.1522
2 | -0.0041577 | -0.0010402 | 0.004158 | 0.0010401 | 2.3509e-07 | -5.5862e-08 | 0.0062497 | 0.0062497 | 0.0062497 | 0.98982 | -0.19635 | 0.98988 | -0.19516 | 1.717
3 | 0.0013676 | 0.00034245 | -0.0013676 | -0.00034268 | 3.0416e-08 | -2.2719e-07 | 0.0020558 | 0.0020559 | 0.0020559 | 0.98982 | -0.19635 | 0.9898 | -0.19681 | 0.56481
4 | 0.013319 | 0.0033377 | -0.013296 | -0.0033248 | 2.3173e-05 | 1.2826e-05 | 0.019955 | 0.019955 | 0.019955 | 0.99319 | -0.13098 | 0.9913 | -0.16757 | 5.4822
5 | -0.013319 | -0.0033377 | 0.013403 | 0.0033839 | 8.3603e-05 | 4.6209e-05 | 0.019955 | 0.019952 | 0.019955 | 0.99319 | -0.13098 | 1 | 0 | 5.482
6 | 0.0059488 | 0.0014853 | -0.0059375 | -0.0014829 | 1.1384e-05 | 2.3865e-06 | 0.0089276 | 0.0089294 | 0.0089294 | 0.9913 | -0.16757 | 0.98923 | -0.20789 | 2.4531
7 | 0.007347 | 0.0018396 | -0.0073411 | -0.0018375 | 5.9323e-06 | 2.1212e-06 | 0.011028 | 0.011028 | 0.011028 | 0.9913 | -0.16757 | 0.99043 | -0.18454 | 3.0298
8 | -0.00038828 | -9.7312e-05 | 0.00038828 | 9.7146e-05 | 1.6794e-09 | -1.6606e-07 | 0.0005853 | 0.00058524 | 0.0005853 | 0.98713 | -0.24898 | 0.98713 | -0.24889 | 0.1608
9 | -0.00067346 | -0.00016862 | 0.00067347 | 0.00016846 | 4.9783e-09 | -1.6151e-07 | 0.0010151 | 0.0010151 | 0.0010151 | 0.98713 | -0.24889 | 0.98714 | -0.24873 | 0.27888
10 | -0.00088215 | -0.00022076 | 0.00088216 | 0.00022055 | 1.1098e-08 | -2.0691e-07 | 0.0013296 | 0.0013296 | 0.0013296 | 0.98714 | -0.24873 | 0.98715 | -0.24847 | 0.36528
11 | 0.0059375 | 0.0014829 | -0.0059317 | -0.0014817 | 5.7177e-06 | 1.2071e-06 | 0.0089294 | 0.0089302 | 0.0089302 | 0.98923 | -0.20789 | 0.98819 | -0.22816 | 2.4534
12 | 0.0068264 | 0.0017085 | -0.0068253 | -0.0017081 | 1.1403e-06 | 3.5776e-07 | 0.010255 | 0.010255 | 0.010255 | 0.99043 | -0.18454 | 0.99025 | -0.18805 | 2.8174
13 | -0.00064452 | -0.00016153 | 0.00064454 | 0.0001607 | 2.3254e-08 | -8.2532e-07 | 0.00097153 | 0.00097123 | 0.00097153 | 0.98716 | -0.24836 | 0.9872 | -0.24761 | 0.2669
14 | -0.0026242 | -0.00065604 | 0.0026254 | 0.00065421 | 1.1891e-06 | -1.8328e-06 | 0.003955 | 0.003954 | 0.003955 | 0.9872 | -0.24761 | 0.98769 | -0.23807 | 1.0865
15 | 0.0019797 | 0.00049534 | -0.0019796 | -0.0004956 | 8.1094e-08 | -2.5864e-07 | 0.0029837 | 0.0029838 | 0.0029838 | 0.9872 | -0.24761 | 0.98715 | -0.24847 | 0.81974
16 | -0.0026254 | -0.00065421 | 0.0026256 | 0.00065393 | 1.7862e-07 | -2.7564e-07 | 0.003954 | 0.0039539 | 0.003954 | 0.98769 | -0.23807 | 0.98776 | -0.23663 | 1.0863
17 | 0.006091 | 0.0015241 | -0.0060908 | -0.001524 | 2.0762e-07 | 4.7842e-08 | 0.0091519 | 0.0091519 | 0.0091519 | 0.99025 | -0.18805 | 0.99021 | -0.18877 | 2.5143
18 | 0.0044538 | 0.0011138 | -0.0044525 | -0.001114 | 1.3541e-06 | -1.7021e-07 | 0.006692 | 0.0066924 | 0.0066924 | 0.99021 | -0.18877 | 0.98988 | -0.19516 | 1.8386
19 | -0.0040547 | -0.0010121 | 0.0040551 | 0.001012 | 4.5778e-07 | -1.2609e-07 | 0.0061067 | 0.0061066 | 0.0061067 | 0.98776 | -0.23663 | 0.98788 | -0.23425 | 1.6777
20 | -0.0040551 | -0.001012 | 0.0040559 | 0.0010117 | 7.8389e-07 | -2.162e-07 | 0.0061066 | 0.0061063 | 0.0061066 | 0.98788 | -0.23425 | 0.98809 | -0.23018 | 1.6776
21 | -0.0040559 | -0.0010117 | 0.0040563 | 0.0010116 | 3.8872e-07 | -1.0734e-07 | 0.0061063 | 0.0061062 | 0.0061063 | 0.98809 | -0.23018 | 0.98819 | -0.22816 | 1.6776
22 | -0.00073413 | -0.00018399 | 0.00073414 | 0.00018393 | 2.3192e-09 | -6.3775e-08 | 0.0011037 | 0.0011036 | 0.0011037 | 0.9898 | -0.19688 | 0.9898 | -0.19681 | 0.3032

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.038966 | 0.0093772

## res_load
| p_mw | q_mvar
0 | 0.0012681 | 0.00031782
1 | 0.0015217 | 0.00038137
2 | 0.023913 | 0.0059932
3 | 0.00038828 | 9.7313e-05
4 | 0.00028518 | 7.1473e-05
5 | 0.00020868 | 5.23e-05
6 | 0.00051467 | 0.00012899
7 | 0.00064452 | 0.00016153
8 | 0.0010975 | 0.00027505
9 | 0.00073427 | 0.00018402
10 | 0.001637 | 0.00041026
11 | 0.0014291 | 0.00035816
12 | 0.00073413 | 0.00018399
13 | 0.00063344 | 0.00015875
14 | 0.0018754 | 0.00047003
15 | 0.0002945 | 7.381e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1