## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2130-1_1_4_node_41 | 0.4 | n |  | TRUE
1 | bus_LV_2130-1_1_4_node_42 | 0.4 | n |  | TRUE
2 | bus_LV_2130-1_1_4_node_43 | 0.4 | n |  | TRUE
3 | bus_LV_2130-1_1_4_node_47 | 0.4 | n |  | TRUE
4 | bus_LV_2130-1_1_4_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_2130-1_1_4_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_2130-1_1_4_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_2130-1_1_4_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_2130-1_1_4_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_2130-1_1_4_node_108 | 0.4 | n |  | TRUE
10 | bus_LV_2130-1_1_4_node_137 | 0.4 | n |  | TRUE
11 | bus_LV_2130-1_1_4_node_247 | 0.4 | n |  | TRUE
12 | bus_LV_2130-1_1_4_node_73 | 0.4 | n |  | TRUE
13 | bus_LV_2130-1_1_4_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_2130-1_1_4_node_75 | 0.4 | n |  | TRUE
15 | bus_LV_2130-1_1_4_node_76 | 0.4 | n |  | TRUE
16 | bus_LV_2130-1_1_4_node_77 | 0.4 | n |  | TRUE
17 | bus_LV_2130-1_1_4_node_78 | 0.4 | n |  | TRUE
18 | bus_LV_2130-1_1_4_node_79 | 0.4 | n |  | TRUE
19 | bus_LV_2130-1_1_4_node_80 | 0.4 | n |  | TRUE
20 | bus_LV_2130-1_1_4_node_215 | 0.4 | n |  | TRUE
21 | bus_LV_2130-1_1_4_node_110 | 0.4 | n |  | TRUE
22 | bus_LV_2130-1_1_4_node_109 | 0.4 | n |  | TRUE
23 | bus_LV_2130-1_1_4_node_194 | 0.4 | n |  | TRUE
24 | bus_LV_2130-1_1_4_node_113 | 0.4 | n |  | TRUE
25 | bus_LV_2130-1_1_4_node_114 | 0.4 | n |  | TRUE
26 | bus_LV_2130-1_1_4_node_115 | 0.4 | n |  | TRUE
27 | bus_LV_2130-1_1_4_node_116 | 0.4 | n |  | TRUE
28 | bus_LV_2130-1_1_4_node_117 | 0.4 | n |  | TRUE
29 | bus_LV_2130-1_1_4_node_236 | 0.4 | n |  | TRUE
30 | bus_LV_2130-1_1_4_node_118 | 0.4 | n |  | TRUE
31 | bus_LV_2130-1_1_4_node_119 | 0.4 | n |  | TRUE
32 | bus_LV_2130-1_1_4_node_214 | 0.4 | n |  | TRUE
33 | bus_LV_2130-1_1_4_node_148 | 0.4 | n |  | TRUE
34 | bus_LV_2130-1_1_4_node_131 | 0.4 | n |  | TRUE
35 | bus_LV_2130-1_1_4_node_132 | 0.4 | n |  | TRUE
36 | bus_LV_2130-1_1_4_node_133 | 0.4 | n |  | TRUE
37 | bus_LV_2130-1_1_4_node_134 | 0.4 | n |  | TRUE
38 | bus_LV_2130-1_1_4_node_150 | 0.4 | n |  | TRUE
39 | bus_LV_2130-1_1_4_node_135 | 0.4 | n |  | TRUE
40 | bus_LV_2130-1_1_4_node_136 | 0.4 | n |  | TRUE
41 | bus_LV_2130-1_1_4_node_138 | 0.4 | n |  | TRUE
42 | bus_LV_2130-1_1_4_node_139 | 0.4 | n |  | TRUE
43 | bus_LV_2130-1_1_4_node_141 | 0.4 | n |  | TRUE
44 | bus_LV_2130-1_1_4_node_142 | 0.4 | n |  | TRUE
45 | bus_LV_2130-1_1_4_node_187 | 0.4 | n |  | TRUE
46 | bus_LV_2130-1_1_4_node_140 | 0.4 | n |  | TRUE
47 | bus_LV_2130-1_1_4_node_188 | 0.4 | n |  | TRUE
48 | bus_LV_2130-1_1_4_node_181 | 0.4 | n |  | TRUE
49 | bus_LV_2130-1_1_4_node_177 | 0.4 | n |  | TRUE
50 | bus_LV_2130-1_1_4_node_143 | 0.4 | n |  | TRUE
51 | bus_LV_2130-1_1_4_node_144 | 0.4 | n |  | TRUE
52 | bus_LV_2130-1_1_4_node_145 | 0.4 | n |  | TRUE
53 | bus_LV_2130-1_1_4_node_146 | 0.4 | n |  | TRUE
54 | bus_LV_2130-1_1_4_node_147 | 0.4 | n |  | TRUE
55 | bus_LV_2130-1_1_4_node_149 | 0.4 | n |  | TRUE
56 | bus_LV_2130-1_1_4_node_180 | 0.4 | n |  | TRUE
57 | bus_LV_2130-1_1_4_node_151 | 0.4 | n |  | TRUE
58 | bus_LV_2130-1_1_4_node_152 | 0.4 | n |  | TRUE
59 | bus_LV_2130-1_1_4_node_153 | 0.4 | n |  | TRUE
60 | bus_LV_2130-1_1_4_node_226 | 0.4 | n |  | TRUE
61 | bus_LV_2130-1_1_4_node_182 | 0.4 | n |  | TRUE
62 | bus_LV_2130-1_1_4_node_183 | 0.4 | n |  | TRUE
63 | bus_LV_2130-1_1_4_node_185 | 0.4 | n |  | TRUE
64 | bus_LV_2130-1_1_4_node_186 | 0.4 | n |  | TRUE
65 | bus_LV_2130-1_1_4_node_189 | 0.4 | n |  | TRUE
66 | bus_LV_2130-1_1_4_node_190 | 0.4 | n |  | TRUE
67 | bus_LV_2130-1_1_4_node_191 | 0.4 | n |  | TRUE
68 | bus_LV_2130-1_1_4_node_192 | 0.4 | n |  | TRUE
69 | bus_LV_2130-1_1_4_node_193 | 0.4 | n |  | TRUE
70 | bus_LV_2130-1_1_4_node_195 | 0.4 | n |  | TRUE
71 | bus_LV_2130-1_1_4_node_196 | 0.4 | n |  | TRUE
72 | bus_LV_2130-1_1_4_node_209 | 0.4 | n |  | TRUE
73 | bus_LV_2130-1_1_4_node_207 | 0.4 | n |  | TRUE
74 | bus_LV_2130-1_1_4_node_208 | 0.4 | n |  | TRUE
75 | bus_LV_2130-1_1_4_node_231 | 0.4 | n |  | TRUE
76 | bus_LV_2130-1_1_4_node_210 | 0.4 | n |  | TRUE
77 | bus_LV_2130-1_1_4_node_211 | 0.4 | n |  | TRUE
78 | bus_LV_2130-1_1_4_node_233 | 0.4 | n |  | TRUE
79 | bus_LV_2130-1_1_4_node_234 | 0.4 | n |  | TRUE
80 | bus_LV_2130-1_1_4_node_235 | 0.4 | n |  | TRUE
81 | bus_LV_2130-1_1_4_node_248 | 0.4 | n |  | TRUE
82 | bus_MV_28_0_node_30 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2130-1_1_4_load_41 | 0 | 0.0010716 | 0.00026857 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2130-1_1_4_load_42 | 1 | 0.00077868 | 0.00019516 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2130-1_1_4_load_47 | 3 | 0.0018046 | 0.00045228 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2130-1_1_4_load_45 | 5 | 0.00082041 | 0.00020561 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2130-1_1_4_load_46 | 6 | 0.0007917 | 0.00019842 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2130-1_1_4_load_48 | 7 | 0.0015376 | 0.00038537 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2130-1_1_4_load_49 | 8 | 0.0010407 | 0.00026081 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2130-1_1_4_load_108 | 9 | 0.004269 | 0.0010699 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2130-1_1_4_load_247 | 11 | 0.00070307 | 0.00017621 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2130-1_1_4_load_73 | 12 | 0.00064343 | 0.00016126 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2130-1_1_4_load_74 | 13 | 0.00056321 | 0.00014115 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2130-1_1_4_load_77 | 16 | 0.0013985 | 0.00035051 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2130-1_1_4_load_78 | 17 | 0.0027918 | 0.00069968 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2130-1_1_4_load_79 | 18 | 0.00086406 | 0.00021655 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2130-1_1_4_load_80 | 19 | 0.00095914 | 0.00024038 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2130-1_1_4_load_215 | 20 | 0.001425 | 0.00035714 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2130-1_1_4_load_110 | 21 | 0.0032165 | 0.00080612 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2130-1_1_4_load_109 | 22 | 0.0026201 | 0.00065665 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2130-1_1_4_load_194 | 23 | 0.0021047 | 0.00052748 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2130-1_1_4_load_113 | 24 | 0.00099752 | 0.00025 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2130-1_1_4_load_114 | 25 | 0.0013122 | 0.00032887 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2130-1_1_4_load_115 | 26 | 0.0010659 | 0.00026714 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2130-1_1_4_load_117 | 28 | 0.0043837 | 0.0010987 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2130-1_1_4_load_236 | 29 | 0.004926 | 0.0012346 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2130-1_1_4_load_119 | 31 | 0.0010279 | 0.0002576 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2130-1_1_4_load_214 | 32 | 0.0019898 | 0.00049868 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2130-1_1_4_load_148 | 33 | 0.0011414 | 0.00028607 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2130-1_1_4_load_131 | 34 | 0.003989 | 0.00099974 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2130-1_1_4_load_132 | 35 | 0.0052416 | 0.0013137 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2130-1_1_4_load_133 | 36 | 0.0027182 | 0.00068124 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2130-1_1_4_load_134 | 37 | 0.0049201 | 0.0012331 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2130-1_1_4_load_150 | 38 | 0.0033876 | 0.00084902 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2130-1_1_4_load_135 | 39 | 0.00075548 | 0.00018934 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2130-1_1_4_load_136 | 40 | 0.0012039 | 0.00030172 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2130-1_1_4_load_139 | 42 | 0.00097723 | 0.00024492 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2130-1_1_4_load_141 | 43 | 0.00077681 | 0.00019469 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2130-1_1_4_load_142 | 44 | 0.0026209 | 0.00065685 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2130-1_1_4_load_187 | 45 | 0.0036498 | 0.00091474 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2130-1_1_4_load_140 | 46 | 0.00068119 | 0.00017072 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2130-1_1_4_load_188 | 47 | 0.00076316 | 0.00019127 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2130-1_1_4_load_181 | 48 | 0.00074164 | 0.00018587 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2130-1_1_4_load_177 | 49 | 0.0014065 | 0.0003525 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2130-1_1_4_load_143 | 50 | 0.0013856 | 0.00034727 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2130-1_1_4_load_144 | 51 | 0.0011493 | 0.00028805 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2130-1_1_4_load_145 | 52 | 0.0019049 | 0.00047741 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2130-1_1_4_load_146 | 53 | 0.0036707 | 0.00091998 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2130-1_1_4_load_147 | 54 | 0.0014949 | 0.00037465 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2130-1_1_4_load_149 | 55 | 0.001866 | 0.00046767 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2130-1_1_4_load_152 | 58 | 0.001445 | 0.00036214 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2130-1_1_4_load_226 | 60 | 0.0014824 | 0.00037153 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2130-1_1_4_load_182 | 61 | 0.0022032 | 0.00055217 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2130-1_1_4_load_183 | 62 | 0.0021631 | 0.00054212 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2130-1_1_4_load_185 | 63 | 0.0031719 | 0.00079495 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2130-1_1_4_load_186 | 64 | 0.0018676 | 0.00046805 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2130-1_1_4_load_189 | 65 | 0.0018317 | 0.00045907 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2130-1_1_4_load_190 | 66 | 0.0011872 | 0.00029753 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2130-1_1_4_load_192 | 68 | 0.0016742 | 0.00041959 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2130-1_1_4_load_193 | 69 | 0.0034032 | 0.00085292 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2130-1_1_4_load_195 | 70 | 0.0015136 | 0.00037935 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2130-1_1_4_load_196 | 71 | 0.0038424 | 0.00096299 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2130-1_1_4_load_207 | 73 | 0.0029389 | 0.00073656 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2130-1_1_4_load_208 | 74 | 0.0014175 | 0.00035526 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2130-1_1_4_load_231 | 75 | 0.0044044 | 0.0011038 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2130-1_1_4_load_210 | 76 | 0.0049532 | 0.0012414 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2130-1_1_4_load_211 | 77 | 0.0024375 | 0.0006109 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2130-1_1_4_load_233 | 78 | 0.0012447 | 0.00031195 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2130-1_1_4_load_234 | 79 | 0.00139 | 0.00034838 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2130-1_1_4_load_235 | 80 | 0.0039287 | 0.00098463 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2130-1_1_4_load_248 | 81 | 0.0025996 | 0.00065153 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2130-1_1_4_line_0 |  | 0 | 1 | 0.00037994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2130-1_1_4_line_1 |  | 1 | 2 | 0.020783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2130-1_1_4_line_2 |  | 2 | 3 | 0.062658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2130-1_1_4_line_3 |  | 3 | 9 | 0.04548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2130-1_1_4_line_4 |  | 4 | 5 | 0.012546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2130-1_1_4_line_5 |  | 4 | 6 | 0.017248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2130-1_1_4_line_6 |  | 5 | 7 | 0.040302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2130-1_1_4_line_7 |  | 6 | 8 | 0.030178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2130-1_1_4_line_8 |  | 7 | 10 | 0.0022678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2130-1_1_4_line_9 |  | 8 | 11 | 0.024367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2130-1_1_4_line_10 |  | 9 | 22 | 0.043956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2130-1_1_4_line_11 |  | 10 | 42 | 0.027055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2130-1_1_4_line_12 |  | 10 | 39 | 0.067103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2130-1_1_4_line_13 |  | 11 | 81 | 0.047233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2130-1_1_4_line_14 |  | 12 | 13 | 0.011929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2130-1_1_4_line_15 |  | 12 | 14 | 0.027135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2130-1_1_4_line_16 |  | 14 | 15 | 0.005257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2130-1_1_4_line_17 |  | 14 | 16 | 0.019545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2130-1_1_4_line_18 |  | 15 | 17 | 0.04339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2130-1_1_4_line_19 |  | 15 | 18 | 0.0079561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2130-1_1_4_line_20 |  | 16 | 19 | 0.01398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2130-1_1_4_line_21 |  | 17 | 20 | 0.074048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2130-1_1_4_line_22 |  | 18 | 21 | 0.021762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2130-1_1_4_line_23 |  | 20 | 32 | 0.048271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2130-1_1_4_line_24 |  | 22 | 23 | 0.052077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2130-1_1_4_line_25 |  | 23 | 67 | 0.010258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2130-1_1_4_line_26 |  | 24 | 25 | 0.03191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2130-1_1_4_line_27 |  | 24 | 26 | 0.04089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2130-1_1_4_line_28 |  | 25 | 27 | 0.027878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2130-1_1_4_line_29 |  | 26 | 28 | 0.056952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2130-1_1_4_line_30 |  | 26 | 29 | 0.072522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2130-1_1_4_line_31 |  | 27 | 30 | 0.023541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2130-1_1_4_line_32 |  | 27 | 31 | 0.0076981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2130-1_1_4_line_33 |  | 29 | 80 | 0.016159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2130-1_1_4_line_34 |  | 30 | 32 | 0.02568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2130-1_1_4_line_35 |  | 30 | 33 | 0.02536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2130-1_1_4_line_36 |  | 33 | 53 | 0.018872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2130-1_1_4_line_37 |  | 34 | 35 | 0.015237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2130-1_1_4_line_38 |  | 35 | 36 | 0.027573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2130-1_1_4_line_39 |  | 36 | 37 | 0.027939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2130-1_1_4_line_40 |  | 37 | 38 | 0.0025929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2130-1_1_4_line_41 |  | 38 | 57 | 0.019793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2130-1_1_4_line_42 |  | 39 | 40 | 0.0072437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2130-1_1_4_line_43 |  | 40 | 41 | 0.008875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2130-1_1_4_line_44 |  | 41 | 43 | 0.021161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2130-1_1_4_line_45 |  | 42 | 44 | 0.035075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2130-1_1_4_line_46 |  | 42 | 45 | 0.062173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2130-1_1_4_line_47 |  | 43 | 48 | 0.028172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2130-1_1_4_line_48 |  | 44 | 49 | 0.047691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2130-1_1_4_line_49 |  | 45 | 64 | 0.05779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2130-1_1_4_line_50 |  | 46 | 47 | 0.032055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2130-1_1_4_line_51 |  | 47 | 62 | 0.028074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2130-1_1_4_line_52 |  | 48 | 56 | 0.029524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_2130-1_1_4_line_53 |  | 49 | 59 | 0.025958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2130-1_1_4_line_54 |  | 50 | 51 | 0.010934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_2130-1_1_4_line_55 |  | 50 | 52 | 0.026309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2130-1_1_4_line_56 |  | 51 | 53 | 0.013083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_2130-1_1_4_line_57 |  | 52 | 54 | 0.038185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_2130-1_1_4_line_58 |  | 54 | 55 | 0.017574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_2130-1_1_4_line_59 |  | 55 | 56 | 0.026165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_2130-1_1_4_line_60 |  | 56 | 61 | 0.0080137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2130-1_1_4_line_61 |  | 57 | 58 | 0.033109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2130-1_1_4_line_62 |  | 57 | 59 | 0.042902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2130-1_1_4_line_63 |  | 58 | 60 | 0.015596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2130-1_1_4_line_64 |  | 61 | 62 | 0.026001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2130-1_1_4_line_65 |  | 63 | 64 | 0.014297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2130-1_1_4_line_66 |  | 65 | 66 | 0.047892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2130-1_1_4_line_67 |  | 65 | 67 | 0.014149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2130-1_1_4_line_68 |  | 66 | 68 | 0.011607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2130-1_1_4_line_69 |  | 67 | 69 | 0.034098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_2130-1_1_4_line_70 |  | 68 | 70 | 0.040328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2130-1_1_4_line_71 |  | 69 | 71 | 0.038837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_2130-1_1_4_line_72 |  | 71 | 72 | 0.047108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_2130-1_1_4_line_73 |  | 72 | 76 | 0.005118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_2130-1_1_4_line_74 |  | 72 | 73 | 0.049173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2130-1_1_4_line_75 |  | 73 | 74 | 0.010232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2130-1_1_4_line_76 |  | 74 | 75 | 0.046145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2130-1_1_4_line_77 |  | 76 | 77 | 0.023513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_2130-1_1_4_line_78 |  | 77 | 78 | 0.025579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_2130-1_1_4_line_79 |  | 78 | 79 | 0.041286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_2130-1_1_4_line_80 |  | 79 | 80 | 0.0074152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2130-1_1_4_trafo_108 | 0.63 MVA 20/0.4 kV | 82 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2577626.2176 | 1163743.472 | 2577626.0974 | 1163743.1115
1 | 2577617.9188 | 1163724.0889 | 2577622.7469 | 1163733.0642 | 2577626.0974 | 1163743.1115
2 | 2577617.9188 | 1163724.0889 | 2577623.3535 | 1163710.9397 | 2577622.0104 | 1163704.0635 | 2577613.3355 | 1163688.3992 | 2577598.9266 | 1163669.8129
3 | 2577598.9266 | 1163669.8129 | 2577559.4591 | 1163692.4123
4 | 2577660.5697 | 1163811.807 | 2577668.6948 | 1163821.367
5 | 2577660.5697 | 1163811.807 | 2577655.7288 | 1163813.7371 | 2577648.7457 | 1163812.1402 | 2577644.5911 | 1163809.5933
6 | 2577668.6948 | 1163821.367 | 2577689.2016 | 1163845.495 | 2577694.2745 | 1163852.4847
7 | 2577618.863 | 1163793.8213 | 2577644.5911 | 1163809.5933
8 | 2577695.6066 | 1163854.32 | 2577694.2745 | 1163852.4847
9 | 2577618.863 | 1163793.8213 | 2577607.3081 | 1163786.7378 | 2577598.0943 | 1163781.0774
10 | 2577559.4591 | 1163692.4123 | 2577534.6426 | 1163673.0195 | 2577524.5521 | 1163665.7088
11 | 2577695.6066 | 1163854.32 | 2577702.3734 | 1163863.655 | 2577712.9373 | 1163875.0327
12 | 2577695.6066 | 1163854.32 | 2577695.2635 | 1163809.521 | 2577695.6263 | 1163789.7319 | 2577696.1576 | 1163787.2788
13 | 2577558.8246 | 1163754.9795 | 2577568.6028 | 1163762.9596 | 2577598.0943 | 1163781.0774
14 | 2577516.1867 | 1163445.9372 | 2577526.0391 | 1163452.6631
15 | 2577493.9112 | 1163430.4505 | 2577497.698 | 1163433.3155 | 2577516.1867 | 1163445.9372
16 | 2577493.9112 | 1163430.4505 | 2577489.7096 | 1163427.2758
17 | 2577493.9112 | 1163430.4505 | 2577496.3648 | 1163429.0962 | 2577507.6577 | 1163429.9097 | 2577510.2954 | 1163428.6325 | 2577510.6155 | 1163426.1634
18 | 2577489.7096 | 1163427.2758 | 2577491.523 | 1163434.9395 | 2577512.9487 | 1163455.9807 | 2577517.3443 | 1163459.2617
19 | 2577489.7096 | 1163427.2758 | 2577483.3618 | 1163422.4794
20 | 2577510.6439 | 1163413.3457 | 2577508.4715 | 1163416.1553 | 2577508.4897 | 1163421.0021 | 2577510.6155 | 1163426.1634
21 | 2577484.7723 | 1163525.7611 | 2577517.3443 | 1163459.2617
22 | 2577483.3618 | 1163422.4794 | 2577465.9991 | 1163409.3603
23 | 2577484.7723 | 1163525.7611 | 2577494.163 | 1163534.0794 | 2577505.5604 | 1163546.4317 | 2577518.2517 | 1163560.4619
24 | 2577503.0683 | 1163713.1473 | 2577524.5521 | 1163665.7088
25 | 2577493.5434 | 1163713.5386 | 2577495.4294 | 1163712.0196 | 2577501.7573 | 1163712.4294 | 2577503.0683 | 1163713.1473
26 | 2577471.5703 | 1163528.1097 | 2577493.9155 | 1163550.8904
27 | 2577442.937 | 1163498.9183 | 2577471.5703 | 1163528.1097
28 | 2577512.968 | 1163571.2274 | 2577505.2452 | 1163562.4409 | 2577493.9155 | 1163550.8904
29 | 2577442.937 | 1163498.9183 | 2577403.056 | 1163458.2601
30 | 2577442.937 | 1163498.9183 | 2577383.3344 | 1163540.2334
31 | 2577512.968 | 1163571.2274 | 2577534.8604 | 1163580.0386
32 | 2577512.968 | 1163571.2274 | 2577518.2582 | 1163576.8199
33 | 2577383.3344 | 1163540.2334 | 2577386.6559 | 1163547.6579 | 2577392.4984 | 1163553.1593
34 | 2577534.8604 | 1163580.0386 | 2577524.4113 | 1163567.2714 | 2577518.2517 | 1163560.4619
35 | 2577534.8604 | 1163580.0386 | 2577545.4913 | 1163586.1685 | 2577555.3866 | 1163594.7352
36 | 2577568.699 | 1163608.1082 | 2577556.1415 | 1163595.3887 | 2577555.3866 | 1163594.7352
37 | 2577825.081 | 1164064.9812 | 2577820.4867 | 1164079.5092
38 | 2577825.081 | 1164064.9812 | 2577826.9403 | 1164059.1018 | 2577828.2029 | 1164048.5029 | 2577827.0223 | 1164037.8353
39 | 2577816.0784 | 1164012.129 | 2577827.0223 | 1164037.8353 | 2577827.0223 | 1164037.8353
40 | 2577816.0784 | 1164012.129 | 2577815.0627 | 1164009.7432 | 2577815.0627 | 1164009.7432
41 | 2577804.9897 | 1163992.7053 | 2577815.0627 | 1164009.7432
42 | 2577696.1576 | 1163787.2788 | 2577697.6909 | 1163780.1993
43 | 2577697.3424 | 1163771.383 | 2577697.983 | 1163778.851 | 2577697.6909 | 1163780.1993
44 | 2577697.3424 | 1163771.383 | 2577696.3892 | 1163760.1586 | 2577692.5654 | 1163751.0304
45 | 2577736.8024 | 1163900.7363 | 2577712.9373 | 1163875.0327
46 | 2577712.9373 | 1163875.0327 | 2577664.3055 | 1163913.7688
47 | 2577692.5654 | 1163751.0304 | 2577688.0201 | 1163740.1798 | 2577677.7398 | 1163727.3913
48 | 2577736.8024 | 1163900.7363 | 2577743.6512 | 1163908.1127 | 2577770.2849 | 1163934.6887
49 | 2577689.7879 | 1163965.373 | 2577677.533 | 1163934.7166 | 2577664.3055 | 1163913.7688
50 | 2577727.6038 | 1163735.4095 | 2577706.0569 | 1163711.6771
51 | 2577687.1854 | 1163690.8915 | 2577687.1854 | 1163690.8915 | 2577706.0569 | 1163711.6771
52 | 2577659.242 | 1163704.3802 | 2577677.7398 | 1163727.3913
53 | 2577788.6598 | 1163953.0237 | 2577770.2849 | 1163934.6887
54 | 2577585.5722 | 1163625.1992 | 2577577.8906 | 1163617.4185
55 | 2577604.0557 | 1163643.9212 | 2577585.5722 | 1163625.1992
56 | 2577568.699 | 1163608.1082 | 2577577.8906 | 1163617.4185
57 | 2577604.0557 | 1163643.9212 | 2577611.7661 | 1163651.7311 | 2577630.5422 | 1163671.4246
58 | 2577630.5422 | 1163671.4246 | 2577642.6691 | 1163684.144
59 | 2577659.242 | 1163704.3802 | 2577644.622 | 1163686.1923 | 2577642.6691 | 1163684.144
60 | 2577659.242 | 1163704.3802 | 2577666.5152 | 1163701.0156
61 | 2577804.9897 | 1163992.7053 | 2577799.5534 | 1163993.059 | 2577790.7664 | 1163990.3124 | 2577775.2362 | 1163980.3431
62 | 2577788.6598 | 1163953.0237 | 2577804.9897 | 1163992.7053
63 | 2577763.7398 | 1163969.8802 | 2577772.7563 | 1163978.7512 | 2577775.2362 | 1163980.3431
64 | 2577687.1854 | 1163690.8915 | 2577674.1102 | 1163702.8796 | 2577668.0117 | 1163700.3232 | 2577666.5152 | 1163701.0156
65 | 2577689.7879 | 1163965.373 | 2577695.0947 | 1163978.6484
66 | 2577495.3532 | 1163725.5176 | 2577518.1796 | 1163755.645 | 2577525.0496 | 1163763.0408
67 | 2577493.5434 | 1163713.5386 | 2577492.062 | 1163714.7448 | 2577490.8719 | 1163718.0175 | 2577493.9491 | 1163723.6644 | 2577495.3532 | 1163725.5176
68 | 2577532.9494 | 1163771.5452 | 2577525.0496 | 1163763.0408
69 | 2577493.5434 | 1163713.5386 | 2577466.9017 | 1163692.2576
70 | 2577561.1788 | 1163800.334 | 2577543.0414 | 1163782.4096 | 2577532.9494 | 1163771.5452
71 | 2577436.5574 | 1163668.019 | 2577466.9017 | 1163692.2576
72 | 2577436.5574 | 1163668.019 | 2577461.7359 | 1163628.2042
73 | 2577461.7359 | 1163628.2042 | 2577461.4021 | 1163624.9816 | 2577460.067 | 1163623.6607
74 | 2577461.7359 | 1163628.2042 | 2577416.8087 | 1163608.2162
75 | 2577407.4604 | 1163604.0572 | 2577416.8087 | 1163608.2162
76 | 2577407.4604 | 1163604.0572 | 2577362.5622 | 1163614.7101
77 | 2577443.3523 | 1163607.1239 | 2577460.067 | 1163623.6607
78 | 2577443.3523 | 1163607.1239 | 2577439.5074 | 1163603.3199 | 2577426.6039 | 1163587.8164
79 | 2577397.897 | 1163558.2426 | 2577416.8177 | 1163576.0583 | 2577426.6039 | 1163587.8164
80 | 2577392.4984 | 1163553.1593 | 2577397.897 | 1163558.2426

## bus_geodata
| x | y | coords
0 | 2577626.2176 | 1163743.472
1 | 2577626.0974 | 1163743.1115
2 | 2577617.9188 | 1163724.0889
3 | 2577598.9266 | 1163669.8129
4 | 2577660.5697 | 1163811.807
5 | 2577668.6948 | 1163821.367
6 | 2577644.5911 | 1163809.5933
7 | 2577694.2745 | 1163852.4847
8 | 2577618.863 | 1163793.8213
9 | 2577559.4591 | 1163692.4123
10 | 2577695.6066 | 1163854.32
11 | 2577598.0943 | 1163781.0774
12 | 2577516.1867 | 1163445.9372
13 | 2577526.0391 | 1163452.6631
14 | 2577493.9112 | 1163430.4505
15 | 2577489.7096 | 1163427.2758
16 | 2577510.6155 | 1163426.1634
17 | 2577517.3443 | 1163459.2617
18 | 2577483.3618 | 1163422.4794
19 | 2577510.6439 | 1163413.3457
20 | 2577484.7723 | 1163525.7611
21 | 2577465.9991 | 1163409.3603
22 | 2577524.5521 | 1163665.7088
23 | 2577503.0683 | 1163713.1473
24 | 2577471.5703 | 1163528.1097
25 | 2577493.9155 | 1163550.8904
26 | 2577442.937 | 1163498.9183
27 | 2577512.968 | 1163571.2274
28 | 2577403.056 | 1163458.2601
29 | 2577383.3344 | 1163540.2334
30 | 2577534.8604 | 1163580.0386
31 | 2577518.2582 | 1163576.8199
32 | 2577518.2517 | 1163560.4619
33 | 2577555.3866 | 1163594.7352
34 | 2577820.4867 | 1164079.5092
35 | 2577825.081 | 1164064.9812
36 | 2577827.0223 | 1164037.8353
37 | 2577816.0784 | 1164012.129
38 | 2577815.0627 | 1164009.7432
39 | 2577696.1576 | 1163787.2788
40 | 2577697.6909 | 1163780.1993
41 | 2577697.3424 | 1163771.383
42 | 2577712.9373 | 1163875.0327
43 | 2577692.5654 | 1163751.0304
44 | 2577736.8024 | 1163900.7363
45 | 2577664.3055 | 1163913.7688
46 | 2577727.6038 | 1163735.4095
47 | 2577706.0569 | 1163711.6771
48 | 2577677.7398 | 1163727.3913
49 | 2577770.2849 | 1163934.6887
50 | 2577585.5722 | 1163625.1992
51 | 2577577.8906 | 1163617.4185
52 | 2577604.0557 | 1163643.9212
53 | 2577568.6989 | 1163608.1082
54 | 2577630.5422 | 1163671.4246
55 | 2577642.6691 | 1163684.144
56 | 2577659.242 | 1163704.3802
57 | 2577804.9897 | 1163992.7053
58 | 2577775.2362 | 1163980.3431
59 | 2577788.6598 | 1163953.0237
60 | 2577763.7398 | 1163969.8802
61 | 2577666.5152 | 1163701.0156
62 | 2577687.1854 | 1163690.8915
63 | 2577695.0947 | 1163978.6484
64 | 2577689.7879 | 1163965.373
65 | 2577495.3532 | 1163725.5176
66 | 2577525.0496 | 1163763.0408
67 | 2577493.5434 | 1163713.5386
68 | 2577532.9494 | 1163771.5452
69 | 2577466.9017 | 1163692.2576
70 | 2577561.1788 | 1163800.334
71 | 2577436.5574 | 1163668.019
72 | 2577461.7359 | 1163628.2042
73 | 2577416.8087 | 1163608.2162
74 | 2577407.4604 | 1163604.0572
75 | 2577362.5622 | 1163614.7101
76 | 2577460.067 | 1163623.6607
77 | 2577443.3523 | 1163607.1239
78 | 2577426.6039 | 1163587.8164
79 | 2577397.897 | 1163558.2426
80 | 2577392.4984 | 1163553.1593
81 | 2577558.8246 | 1163754.9795
82 | 2577617.9188 | 1163724.0889

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99971 | -0.0056017 | 0.0010716 | 0.00026857
1 | 0.99971 | -0.0055946 | 0.00077868 | 0.00019516
2 | 0.99974 | -0.0049239 | 0 | 0
3 | 0.99985 | -0.0029005 | 0.0018046 | 0.00045228
4 | 0.97606 | -0.46111 | 0 | 0
5 | 0.97612 | -0.45993 | 0.00082041 | 0.00020561
6 | 0.97597 | -0.46273 | 0.0007917 | 0.00019842
7 | 0.97634 | -0.45554 | 0.0015376 | 0.00038537
8 | 0.97585 | -0.46513 | 0.0010407 | 0.00026081
9 | 1 | 0 | -0.14229 | -0.036073
10 | 0.97636 | -0.45523 | 0 | 0
11 | 0.97578 | -0.46661 | 0.00070307 | 0.00017621
12 | 0.98045 | -0.37535 | 0.00064343 | 0.00016126
13 | 0.98045 | -0.37547 | 0.00056321 | 0.00014115
14 | 0.98048 | -0.37475 | 0 | 0
15 | 0.9805 | -0.37441 | 0 | 0
16 | 0.98044 | -0.37559 | 0.0013985 | 0.00035051
17 | 0.98081 | -0.3684 | 0.0027918 | 0.00069968
18 | 0.98047 | -0.375 | 0.00086406 | 0.00021655
19 | 0.98043 | -0.37583 | 0.00095914 | 0.00024038
20 | 0.98152 | -0.3544 | 0.001425 | 0.00035714
21 | 0.9804 | -0.37627 | 0.0032165 | 0.00080612
22 | 0.99817 | -0.034501 | 0.0026201 | 0.00065665
23 | 0.99605 | -0.074739 | 0.0021047 | 0.00052748
24 | 0.98448 | -0.29685 | 0.00099752 | 0.00025
25 | 0.98366 | -0.31265 | 0.0013122 | 0.00032887
26 | 0.98554 | -0.27639 | 0.0010659 | 0.00026714
27 | 0.98296 | -0.32625 | 0 | 0
28 | 0.98531 | -0.28087 | 0.0043837 | 0.0010987
29 | 0.98753 | -0.23787 | 0.004926 | 0.0012346
30 | 0.98238 | -0.33761 | 0 | 0
31 | 0.98296 | -0.32639 | 0.0010279 | 0.0002576
32 | 0.98205 | -0.34404 | 0.0019898 | 0.00049868
33 | 0.98186 | -0.34774 | 0.0011414 | 0.00028607
34 | 0.97093 | -0.56217 | 0.003989 | 0.00099974
35 | 0.97099 | -0.56105 | 0.0052416 | 0.0013137
36 | 0.97122 | -0.55635 | 0.0027182 | 0.00068124
37 | 0.97153 | -0.55018 | 0.0049201 | 0.0012331
38 | 0.97158 | -0.54937 | 0.0033876 | 0.00084902
39 | 0.97774 | -0.42803 | 0.00075548 | 0.00018934
40 | 0.97784 | -0.42605 | 0.0012039 | 0.00030172
41 | 0.97797 | -0.42355 | 0 | 0
42 | 0.97543 | -0.4735 | 0.00097723 | 0.00024492
43 | 0.97828 | -0.41759 | 0.00077681 | 0.00019469
44 | 0.97453 | -0.491 | 0.0026209 | 0.00065685
45 | 0.97492 | -0.4834 | 0.0036498 | 0.00091474
46 | 0.97894 | -0.40465 | 0.00068119 | 0.00017072
47 | 0.97896 | -0.40425 | 0.00076316 | 0.00019127
48 | 0.97869 | -0.40953 | 0.00074164 | 0.00018587
49 | 0.97344 | -0.51255 | 0.0014065 | 0.0003525
50 | 0.98102 | -0.36399 | 0.0013856 | 0.00034727
51 | 0.98123 | -0.36001 | 0.0011493 | 0.00028805
52 | 0.98054 | -0.37336 | 0.0019049 | 0.00047741
53 | 0.98148 | -0.35516 | 0.0036707 | 0.00091998
54 | 0.97987 | -0.38654 | 0.0014949 | 0.00037465
55 | 0.97956 | -0.39245 | 0.001866 | 0.00046767
56 | 0.97913 | -0.40096 | 0 | 0
57 | 0.97195 | -0.54197 | 0 | 0
58 | 0.97186 | -0.54376 | 0.001445 | 0.00036214
59 | 0.97288 | -0.52363 | 0 | 0
60 | 0.97184 | -0.54419 | 0.0014824 | 0.00037153
61 | 0.97908 | -0.40181 | 0.0022032 | 0.00055217
62 | 0.979 | -0.40352 | 0.0021631 | 0.00054212
63 | 0.97461 | -0.48958 | 0.0031719 | 0.00079495
64 | 0.97465 | -0.48874 | 0.0018676 | 0.00046805
65 | 0.99556 | -0.084103 | 0.0018317 | 0.00045907
66 | 0.99537 | -0.087791 | 0.0011872 | 0.00029753
67 | 0.99564 | -0.082558 | 0 | 0
68 | 0.99534 | -0.088442 | 0.0016742 | 0.00041959
69 | 0.99434 | -0.10735 | 0.0034032 | 0.00085292
70 | 0.99528 | -0.089516 | 0.0015136 | 0.00037935
71 | 0.9929 | -0.13489 | 0.0038424 | 0.00096299
72 | 0.9912 | -0.16733 | 0 | 0
73 | 0.99081 | -0.17498 | 0.0029389 | 0.00073656
74 | 0.99075 | -0.17604 | 0.0014175 | 0.00035526
75 | 0.99057 | -0.17965 | 0.0044044 | 0.0011038
76 | 0.99103 | -0.1706 | 0.0049532 | 0.0012414
77 | 0.99028 | -0.18493 | 0.0024375 | 0.0006109
78 | 0.98949 | -0.20017 | 0.0012447 | 0.00031195
79 | 0.98822 | -0.22451 | 0.00139 | 0.00034838
80 | 0.988 | -0.22883 | 0.0039287 | 0.00098463
81 | 0.97566 | -0.46886 | 0.0025996 | 0.00065153
82 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0010716 | -0.00026857 | 0.0010716 | 0.00026856 | 3.6245e-10 | -4.7497e-09 | 0.001595 | 0.001595 | 0.001595 | 0.99971 | -0.0056017 | 0.99971 | -0.0055946 | 0.43819
1 | -0.0018503 | -0.00046372 | 0.0018503 | 0.00046348 | 5.911e-08 | -2.3468e-07 | 0.002754 | 0.0027539 | 0.002754 | 0.99971 | -0.0055946 | 0.99974 | -0.0049239 | 0.75661
2 | -0.0018503 | -0.00046348 | 0.0018505 | 0.00046278 | 1.7818e-07 | -7.0765e-07 | 0.0027539 | 0.0027537 | 0.0027539 | 0.99974 | -0.0049239 | 0.99985 | -0.0029005 | 0.75658
3 | -0.0036551 | -0.00091505 | 0.0036556 | 0.00091478 | 5.0458e-07 | -2.7364e-07 | 0.0054394 | 0.0054391 | 0.0054394 | 0.99985 | -0.0029005 | 1 | 0 | 1.4943
4 | -0.0051365 | -0.0012864 | 0.0051368 | 0.0012864 | 2.8847e-07 | 2.7802e-08 | 0.0078303 | 0.0078303 | 0.0078303 | 0.97606 | -0.46111 | 0.97612 | -0.45993 | 2.1512
5 | 0.0051365 | 0.0012864 | -0.0051361 | -0.0012863 | 3.9658e-07 | 3.8256e-08 | 0.0078303 | 0.0078304 | 0.0078304 | 0.97606 | -0.46111 | 0.97597 | -0.46273 | 2.1512
6 | -0.0059572 | -0.001492 | 0.0059584 | 0.0014923 | 1.2463e-06 | 2.9371e-07 | 0.0090809 | 0.0090807 | 0.0090809 | 0.97612 | -0.45993 | 0.97634 | -0.45554 | 2.4948
7 | 0.0043444 | 0.0010879 | -0.0043439 | -0.001088 | 4.9645e-07 | -5.9337e-08 | 0.0066233 | 0.0066235 | 0.0066235 | 0.97597 | -0.46273 | 0.97585 | -0.46513 | 1.8196
8 | -0.0074961 | -0.0018777 | 0.0074962 | 0.0018777 | 1.1099e-07 | 4.2672e-08 | 0.011424 | 0.011424 | 0.011424 | 0.97634 | -0.45554 | 0.97636 | -0.45523 | 3.1385
9 | 0.0033032 | 0.00082717 | -0.003303 | -0.00082733 | 2.3181e-07 | -1.5605e-07 | 0.0050366 | 0.0050367 | 0.0050367 | 0.97585 | -0.46513 | 0.97578 | -0.46661 | 1.3837
10 | 0.13698 | 0.035158 | -0.13675 | -0.035013 | 0.00022893 | 0.00014479 | 0.20412 | 0.20412 | 0.20412 | 1 | 0 | 0.99817 | -0.034501 | 18.6926
11 | 0.03701 | 0.0093216 | -0.036978 | -0.0093012 | 3.2299e-05 | 2.0333e-05 | 0.056422 | 0.056422 | 0.056422 | 0.97636 | -0.45523 | 0.97543 | -0.4735 | 15.5006
12 | -0.044506 | -0.011199 | 0.044564 | 0.011235 | 5.7915e-05 | 3.5385e-05 | 0.067846 | 0.067846 | 0.067846 | 0.97636 | -0.45523 | 0.97774 | -0.42803 | 9.3195
13 | 0.0025999 | 0.00065112 | -0.0025996 | -0.00065153 | 2.7842e-07 | -4.1176e-07 | 0.0039646 | 0.0039648 | 0.0039648 | 0.97578 | -0.46661 | 0.97566 | -0.46886 | 1.0892
14 | 0.00056321 | 0.000141 | -0.00056321 | -0.00014115 | 3.2683e-09 | -1.4835e-07 | 0.00085472 | 0.00085478 | 0.00085478 | 0.98045 | -0.37535 | 0.98045 | -0.37547 | 0.23483
15 | -0.0012066 | -0.00030226 | 0.0012067 | 0.00030194 | 3.4121e-08 | -3.2038e-07 | 0.0018312 | 0.0018311 | 0.0018312 | 0.98045 | -0.37535 | 0.98048 | -0.37475 | 0.50309
16 | -0.0035645 | -0.00089248 | 0.0035645 | 0.00089245 | 5.7682e-08 | -2.9387e-08 | 0.0054093 | 0.0054092 | 0.0054093 | 0.98048 | -0.37475 | 0.9805 | -0.37441 | 1.4861
17 | 0.0023578 | 0.00059054 | -0.0023577 | -0.00059072 | 9.3841e-08 | -1.8644e-07 | 0.0035781 | 0.0035782 | 0.0035782 | 0.98048 | -0.37475 | 0.98044 | -0.37559 | 0.98303
18 | -0.0076454 | -0.0019149 | 0.0076475 | 0.0019158 | 2.1903e-06 | 8.5435e-07 | 0.011602 | 0.011602 | 0.011602 | 0.9805 | -0.37441 | 0.98081 | -0.3684 | 3.1874
19 | 0.0040808 | 0.0010225 | -0.0040807 | -0.0010225 | 1.1443e-07 | -2.7109e-08 | 0.006193 | 0.0061931 | 0.0061931 | 0.9805 | -0.37441 | 0.98047 | -0.375 | 1.7014
20 | 0.00095915 | 0.00024021 | -0.00095914 | -0.00024038 | 1.1109e-08 | -1.6919e-07 | 0.0014556 | 0.0014557 | 0.0014557 | 0.98044 | -0.37559 | 0.98043 | -0.37583 | 0.39992
21 | -0.010439 | -0.0026155 | 0.010446 | 0.002619 | 6.9648e-06 | 3.5223e-06 | 0.015838 | 0.015837 | 0.015838 | 0.98081 | -0.3684 | 0.98152 | -0.3544 | 4.351
22 | 0.0032167 | 0.00080597 | -0.0032165 | -0.00080612 | 1.9448e-07 | -1.4997e-07 | 0.0048817 | 0.0048818 | 0.0048818 | 0.98047 | -0.375 | 0.9804 | -0.37627 | 1.3412
23 | -0.011871 | -0.0029761 | 0.011877 | 0.0029793 | 5.8632e-06 | 3.142e-06 | 0.017998 | 0.017997 | 0.017998 | 0.98152 | -0.3544 | 0.98205 | -0.34404 | 4.9444
24 | 0.13413 | 0.034357 | -0.13387 | -0.034192 | 0.00026095 | 0.00016497 | 0.20022 | 0.20022 | 0.20022 | 0.99817 | -0.034501 | 0.99605 | -0.074739 | 18.335
25 | 0.13177 | 0.033664 | -0.13172 | -0.033633 | 4.9798e-05 | 3.147e-05 | 0.19707 | 0.19707 | 0.19707 | 0.99605 | -0.074739 | 0.99564 | -0.082558 | 18.0471
26 | 0.083081 | 0.021034 | -0.083018 | -0.020995 | 6.2976e-05 | 3.9088e-05 | 0.12565 | 0.12565 | 0.12565 | 0.98448 | -0.29685 | 0.98366 | -0.31265 | 11.5066
27 | -0.084079 | -0.021284 | 0.084161 | 0.021336 | 8.2646e-05 | 5.1332e-05 | 0.12716 | 0.12716 | 0.12716 | 0.98448 | -0.29685 | 0.98554 | -0.27639 | 11.6446
28 | 0.081706 | 0.020666 | -0.081653 | -0.020633 | 5.3293e-05 | 3.3047e-05 | 0.12367 | 0.12367 | 0.12367 | 0.98366 | -0.31265 | 0.98296 | -0.32625 | 11.3248
29 | 0.0043846 | 0.0010985 | -0.0043837 | -0.0010987 | 9.3601e-07 | -1.265e-07 | 0.00662 | 0.0066203 | 0.0066203 | 0.98554 | -0.27639 | 0.98531 | -0.28087 | 1.8188
30 | -0.089612 | -0.022701 | 0.089778 | 0.022805 | 0.00016616 | 0.00010357 | 0.13539 | 0.13539 | 0.13539 | 0.98554 | -0.27639 | 0.98753 | -0.23787 | 12.3981
31 | 0.080625 | 0.020376 | -0.080581 | -0.020349 | 4.3878e-05 | 2.7187e-05 | 0.12211 | 0.12211 | 0.12211 | 0.98296 | -0.32625 | 0.98238 | -0.33761 | 11.1824
32 | 0.0010279 | 0.00025751 | -0.0010279 | -0.0002576 | 6.989e-09 | -9.3108e-08 | 0.0015559 | 0.001556 | 0.001556 | 0.98296 | -0.32625 | 0.98296 | -0.32639 | 0.42747
33 | -0.094704 | -0.02404 | 0.094745 | 0.024065 | 4.1193e-05 | 2.5743e-05 | 0.14281 | 0.14281 | 0.14281 | 0.98753 | -0.23787 | 0.988 | -0.22883 | 13.0778
34 | 0.013871 | 0.0034804 | -0.013867 | -0.003478 | 4.2518e-06 | 2.3961e-06 | 0.021012 | 0.021012 | 0.021012 | 0.98238 | -0.33761 | 0.98205 | -0.34404 | 5.7726
35 | 0.06671 | 0.016868 | -0.066677 | -0.016849 | 3.2401e-05 | 1.9774e-05 | 0.1011 | 0.1011 | 0.1011 | 0.98238 | -0.33761 | 0.98186 | -0.34774 | 9.2582
36 | 0.065536 | 0.016563 | -0.065513 | -0.016548 | 2.3294e-05 | 1.4192e-05 | 0.09937 | 0.09937 | 0.09937 | 0.98186 | -0.34774 | 0.98148 | -0.35516 | 9.0998
37 | -0.003989 | -0.00099974 | 0.0039892 | 0.00099969 | 2.1355e-07 | -5.1784e-08 | 0.0061135 | 0.0061134 | 0.0061135 | 0.97093 | -0.56217 | 0.97099 | -0.56105 | 1.6795
38 | -0.0092308 | -0.0023134 | 0.0092329 | 0.0023143 | 2.0691e-06 | 9.8309e-07 | 0.014146 | 0.014146 | 0.014146 | 0.97099 | -0.56105 | 0.97122 | -0.55635 | 3.8863
39 | -0.011951 | -0.0029956 | 0.011955 | 0.0029975 | 3.5127e-06 | 1.9023e-06 | 0.01831 | 0.01831 | 0.01831 | 0.97122 | -0.55635 | 0.97153 | -0.55018 | 5.0304
40 | -0.016875 | -0.0042306 | 0.016875 | 0.004231 | 6.4955e-07 | 3.836e-07 | 0.025846 | 0.025846 | 0.025846 | 0.97153 | -0.55018 | 0.97158 | -0.54937 | 7.1006
41 | -0.020263 | -0.00508 | 0.02027 | 0.0050843 | 7.1486e-06 | 4.3299e-06 | 0.031034 | 0.031034 | 0.031034 | 0.97158 | -0.54937 | 0.97195 | -0.54197 | 8.5259
42 | -0.04532 | -0.011424 | 0.045324 | 0.011427 | 4.3103e-06 | 2.486e-06 | 0.068995 | 0.068995 | 0.068995 | 0.97774 | -0.42803 | 0.97784 | -0.42605 | 6.3183
43 | -0.046528 | -0.011728 | 0.046534 | 0.011731 | 5.5652e-06 | 3.2277e-06 | 0.070827 | 0.070827 | 0.070827 | 0.97784 | -0.42605 | 0.97797 | -0.42355 | 6.486
44 | -0.046534 | -0.011731 | 0.046547 | 0.011739 | 1.327e-05 | 7.6957e-06 | 0.070827 | 0.070827 | 0.070827 | 0.97797 | -0.42355 | 0.97828 | -0.41759 | 6.486
45 | 0.027306 | 0.0068767 | -0.027283 | -0.0068626 | 2.2836e-05 | 1.4178e-05 | 0.041667 | 0.041668 | 0.041668 | 0.97543 | -0.4735 | 0.97453 | -0.491 | 11.4471
46 | 0.0086948 | 0.0021796 | -0.0086907 | -0.0021777 | 4.1021e-06 | 1.8496e-06 | 0.013264 | 0.013264 | 0.013264 | 0.97543 | -0.4735 | 0.97492 | -0.4834 | 3.6441
47 | -0.047324 | -0.011934 | 0.047342 | 0.011944 | 1.826e-05 | 1.0625e-05 | 0.072009 | 0.072008 | 0.072009 | 0.97828 | -0.41759 | 0.97869 | -0.40953 | 6.5942
48 | 0.024662 | 0.0062057 | -0.024637 | -0.0061901 | 2.5372e-05 | 1.5645e-05 | 0.037666 | 0.037666 | 0.037666 | 0.97453 | -0.491 | 0.97344 | -0.51255 | 10.3478
49 | 0.0050409 | 0.001263 | -0.0050396 | -0.0012629 | 1.2828e-06 | 1.0059e-07 | 0.0076937 | 0.0076939 | 0.0076939 | 0.97492 | -0.4834 | 0.97465 | -0.48874 | 2.1137
50 | -0.00068119 | -0.00017072 | 0.0006812 | 0.00017033 | 1.2886e-08 | -3.9477e-07 | 0.0010354 | 0.0010353 | 0.0010354 | 0.97894 | -0.40465 | 0.97896 | -0.40425 | 0.28446
51 | -0.0014444 | -0.0003616 | 0.0014444 | 0.00036127 | 5.0735e-08 | -3.2052e-07 | 0.0021953 | 0.0021952 | 0.0021953 | 0.97896 | -0.40425 | 0.979 | -0.40352 | 0.6031
52 | -0.048084 | -0.01213 | 0.048103 | 0.012142 | 1.974e-05 | 1.152e-05 | 0.073136 | 0.073135 | 0.073136 | 0.97869 | -0.40953 | 0.97913 | -0.40096 | 6.6974
53 | 0.02323 | 0.0058376 | -0.023218 | -0.00583 | 1.2279e-05 | 7.5358e-06 | 0.035516 | 0.035516 | 0.035516 | 0.97344 | -0.51255 | 0.97288 | -0.52363 | 9.7572
54 | -0.060667 | -0.015325 | 0.060678 | 0.015332 | 1.1584e-05 | 6.9992e-06 | 0.092062 | 0.092062 | 0.092062 | 0.98102 | -0.36399 | 0.98123 | -0.36001 | 8.4306
55 | 0.059281 | 0.014977 | -0.059254 | -0.014961 | 2.6614e-05 | 1.6037e-05 | 0.08996 | 0.089961 | 0.089961 | 0.98102 | -0.36399 | 0.98054 | -0.37336 | 8.2382
56 | -0.061827 | -0.01562 | 0.061842 | 0.015628 | 1.439e-05 | 8.7139e-06 | 0.093805 | 0.093805 | 0.093805 | 0.98123 | -0.36001 | 0.98148 | -0.35516 | 8.5902
57 | 0.057349 | 0.014484 | -0.057313 | -0.014462 | 3.6186e-05 | 2.1715e-05 | 0.08707 | 0.087071 | 0.087071 | 0.98054 | -0.37336 | 0.97987 | -0.38654 | 7.9735
58 | 0.055818 | 0.014088 | -0.055803 | -0.014078 | 1.5797e-05 | 9.4463e-06 | 0.084801 | 0.084801 | 0.084801 | 0.97987 | -0.38654 | 0.97956 | -0.39245 | 7.7656
59 | 0.053937 | 0.01361 | -0.053915 | -0.013597 | 2.1974e-05 | 1.3076e-05 | 0.081966 | 0.081967 | 0.081967 | 0.97956 | -0.39245 | 0.97913 | -0.40096 | 7.5061
60 | 0.0058112 | 0.0014555 | -0.005811 | -0.0014554 | 2.3437e-07 | 4.9212e-08 | 0.0088312 | 0.0088312 | 0.0088312 | 0.97913 | -0.40096 | 0.97908 | -0.40181 | 2.4262
61 | 0.0029277 | 0.00073325 | -0.0029274 | -0.0007335 | 2.4942e-07 | -2.5067e-07 | 0.004482 | 0.0044821 | 0.0044821 | 0.97195 | -0.54197 | 0.97186 | -0.54376 | 1.2314
62 | -0.023198 | -0.0058176 | 0.023218 | 0.00583 | 2.0294e-05 | 1.2456e-05 | 0.035516 | 0.035516 | 0.035516 | 0.97195 | -0.54197 | 0.97288 | -0.52363 | 9.7572
63 | 0.0014825 | 0.00037136 | -0.0014824 | -0.00037153 | 3.013e-08 | -1.7396e-07 | 0.0022697 | 0.0022698 | 0.0022698 | 0.97186 | -0.54376 | 0.97184 | -0.54419 | 0.62357
64 | 0.0036078 | 0.00090326 | -0.0036075 | -0.0009034 | 2.9311e-07 | -1.3937e-07 | 0.0054828 | 0.0054829 | 0.0054829 | 0.97908 | -0.40181 | 0.979 | -0.40352 | 1.5063
65 | -0.0031719 | -0.00079495 | 0.003172 | 0.00079485 | 1.2573e-07 | -9.7697e-08 | 0.0048428 | 0.0048427 | 0.0048428 | 0.97461 | -0.48958 | 0.97465 | -0.48874 | 1.3304
66 | 0.0043759 | 0.0010958 | -0.0043751 | -0.0010959 | 7.6822e-07 | -1.3097e-07 | 0.0065401 | 0.0065403 | 0.0065403 | 0.99556 | -0.084103 | 0.99537 | -0.087791 | 1.7968
67 | -0.0062076 | -0.0015549 | 0.0062081 | 0.001555 | 4.5671e-07 | 1.0831e-07 | 0.0092779 | 0.0092778 | 0.0092779 | 0.99556 | -0.084103 | 0.99564 | -0.082558 | 2.5489
68 | 0.003188 | 0.00079838 | -0.0031879 | -0.00079846 | 9.8857e-08 | -8.7601e-08 | 0.0047656 | 0.0047657 | 0.0047657 | 0.99537 | -0.087791 | 0.99534 | -0.088442 | 1.3092
69 | 0.12551 | 0.032078 | -0.12536 | -0.031983 | 0.00015032 | 9.4875e-05 | 0.1878 | 0.1878 | 0.1878 | 0.99564 | -0.082558 | 0.99434 | -0.10735 | 17.1975
70 | 0.0015137 | 0.00037887 | -0.0015136 | -0.00037935 | 7.744e-08 | -4.7457e-07 | 0.0022628 | 0.002263 | 0.002263 | 0.99534 | -0.088442 | 0.99528 | -0.089516 | 0.62169
71 | 0.12195 | 0.03113 | -0.12179 | -0.031028 | 0.00016205 | 0.0001022 | 0.1827 | 0.1827 | 0.1827 | 0.99434 | -0.10735 | 0.9929 | -0.13489 | 16.7312
72 | 0.11795 | 0.030065 | -0.11777 | -0.029949 | 0.00018437 | 0.00011617 | 0.17695 | 0.17695 | 0.17695 | 0.9929 | -0.13489 | 0.9912 | -0.16733 | 16.204
73 | 0.109 | 0.027752 | -0.10898 | -0.027741 | 1.7162e-05 | 1.0786e-05 | 0.16379 | 0.16379 | 0.16379 | 0.9912 | -0.16733 | 0.99103 | -0.1706 | 14.999
74 | 0.008765 | 0.002197 | -0.0087619 | -0.0021956 | 3.1928e-06 | 1.4098e-06 | 0.013158 | 0.013159 | 0.013159 | 0.9912 | -0.16733 | 0.99081 | -0.17498 | 3.615
75 | 0.005823 | 0.0014591 | -0.0058227 | -0.001459 | 2.9342e-07 | 5.6022e-08 | 0.0087449 | 0.008745 | 0.008745 | 0.99081 | -0.17498 | 0.99075 | -0.17604 | 2.4025
76 | 0.0044052 | 0.0011037 | -0.0044044 | -0.0011038 | 7.5746e-07 | -1.0936e-07 | 0.006616 | 0.0066162 | 0.0066162 | 0.99075 | -0.17604 | 0.99057 | -0.17965 | 1.8176
77 | 0.10403 | 0.026499 | -0.10396 | -0.026454 | 7.1849e-05 | 4.5075e-05 | 0.15635 | 0.15635 | 0.15635 | 0.99103 | -0.1706 | 0.99028 | -0.18493 | 14.318
78 | 0.10152 | 0.025843 | -0.10145 | -0.025797 | 7.4545e-05 | 4.6723e-05 | 0.15269 | 0.15269 | 0.15269 | 0.99028 | -0.18493 | 0.98949 | -0.20017 | 13.9826
79 | 0.1002 | 0.025485 | -0.10008 | -0.025411 | 0.00011739 | 7.3539e-05 | 0.15082 | 0.15082 | 0.15082 | 0.98949 | -0.20017 | 0.98822 | -0.22451 | 13.8112
80 | 0.098694 | 0.025063 | -0.098674 | -0.02505 | 2.0502e-05 | 1.2837e-05 | 0.14873 | 0.14873 | 0.14873 | 0.98822 | -0.22451 | 0.988 | -0.22883 | 13.6196

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.14656 | 0.037143

## res_load
| p_mw | q_mvar
0 | 0.0010716 | 0.00026857
1 | 0.00077868 | 0.00019516
2 | 0.0018046 | 0.00045228
3 | 0.00082041 | 0.00020561
4 | 0.0007917 | 0.00019842
5 | 0.0015376 | 0.00038537
6 | 0.0010407 | 0.00026081
7 | 0.004269 | 0.0010699
8 | 0.00070307 | 0.00017621
9 | 0.00064343 | 0.00016126
10 | 0.00056321 | 0.00014115
11 | 0.0013985 | 0.00035051
12 | 0.0027918 | 0.00069968
13 | 0.00086406 | 0.00021655
14 | 0.00095914 | 0.00024038
15 | 0.001425 | 0.00035714
16 | 0.0032165 | 0.00080612
17 | 0.0026201 | 0.00065665
18 | 0.0021047 | 0.00052748
19 | 0.00099752 | 0.00025
20 | 0.0013122 | 0.00032887
21 | 0.0010659 | 0.00026714
22 | 0.0043837 | 0.0010987
23 | 0.004926 | 0.0012346
24 | 0.0010279 | 0.0002576
25 | 0.0019898 | 0.00049868
26 | 0.0011414 | 0.00028607
27 | 0.003989 | 0.00099974
28 | 0.0052416 | 0.0013137
29 | 0.0027182 | 0.00068124
30 | 0.0049201 | 0.0012331
31 | 0.0033876 | 0.00084902
32 | 0.00075548 | 0.00018934
33 | 0.0012039 | 0.00030172
34 | 0.00097723 | 0.00024492
35 | 0.00077681 | 0.00019469
36 | 0.0026209 | 0.00065685
37 | 0.0036498 | 0.00091474
38 | 0.00068119 | 0.00017072
39 | 0.00076316 | 0.00019127
40 | 0.00074164 | 0.00018587
41 | 0.0014065 | 0.0003525
42 | 0.0013856 | 0.00034727
43 | 0.0011493 | 0.00028805
44 | 0.0019049 | 0.00047741
45 | 0.0036707 | 0.00091998
46 | 0.0014949 | 0.00037465
47 | 0.001866 | 0.00046767
48 | 0.001445 | 0.00036214
49 | 0.0014824 | 0.00037153
50 | 0.0022032 | 0.00055217
51 | 0.0021631 | 0.00054212
52 | 0.0031719 | 0.00079495
53 | 0.0018676 | 0.00046805
54 | 0.0018317 | 0.00045907
55 | 0.0011872 | 0.00029753
56 | 0.0016742 | 0.00041959
57 | 0.0034032 | 0.00085292
58 | 0.0015136 | 0.00037935
59 | 0.0038424 | 0.00096299
60 | 0.0029389 | 0.00073656
61 | 0.0014175 | 0.00035526
62 | 0.0044044 | 0.0011038
63 | 0.0049532 | 0.0012414
64 | 0.0024375 | 0.0006109
65 | 0.0012447 | 0.00031195
66 | 0.00139 | 0.00034838
67 | 0.0039287 | 0.00098463
68 | 0.0025996 | 0.00065153

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1