## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2140-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2140-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2140-3_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2140-3_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2140-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2140-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2140-3_0_3_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_2140-3_0_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_2140-3_0_3_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_2140-3_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_2140-3_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_2140-3_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_2140-3_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_2140-3_0_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_2140-3_0_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_2140-3_0_3_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_2140-3_0_3_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_2140-3_0_3_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_2140-3_0_3_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_2140-3_0_3_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_2140-3_0_3_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_2140-3_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_2140-3_0_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_2140-3_0_3_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_2140-3_0_3_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_2140-3_0_3_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_2140-3_0_3_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_2140-3_0_3_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_2140-3_0_3_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_2140-3_0_3_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_2140-3_0_3_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_2140-3_0_3_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_2140-3_0_3_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_2140-3_0_3_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_2140-3_0_3_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_2140-3_0_3_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_2140-3_0_3_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_2140-3_0_3_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_2140-3_0_3_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_2140-3_0_3_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_2140-3_0_3_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_2140-3_0_3_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_2140-3_0_3_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_2140-3_0_3_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_2140-3_0_3_node_149 | 0.4 | n |  | TRUE
45 | bus_MV_31_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2140-3_0_3_load_0 | 0 | 0.0015421 | 0.00038648 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2140-3_0_3_load_1 | 1 | 0.0026016 | 0.00065203 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2140-3_0_3_load_4 | 4 | 0.00090323 | 0.00022637 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2140-3_0_3_load_22 | 7 | 0.0080208 | 0.0020102 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2140-3_0_3_load_20 | 8 | 0.0021621 | 0.00054187 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2140-3_0_3_load_14 | 9 | 0.016571 | 0.0041532 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2140-3_0_3_load_15 | 10 | 0.0076443 | 0.0019158 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2140-3_0_3_load_19 | 14 | 0.061394 | 0.015387 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2140-3_0_3_load_60 | 17 | 0.0098926 | 0.0024793 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2140-3_0_3_load_23 | 18 | 0.032404 | 0.0081211 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2140-3_0_3_load_27 | 22 | 0.001385 | 0.00034711 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2140-3_0_3_load_30 | 24 | 0.0068537 | 0.0017177 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2140-3_0_3_load_58 | 25 | 0.013787 | 0.0034554 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2140-3_0_3_load_47 | 26 | 0.0028202 | 0.00070681 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2140-3_0_3_load_31 | 27 | 0.0041046 | 0.0010287 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2140-3_0_3_load_49 | 31 | 0.0011724 | 0.00029383 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2140-3_0_3_load_45 | 32 | 0.0079197 | 0.0019849 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2140-3_0_3_load_52 | 33 | 0.0019369 | 0.00048542 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2140-3_0_3_load_44 | 34 | 0.01132 | 0.0028371 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2140-3_0_3_load_55 | 35 | 0.0015613 | 0.0003913 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2140-3_0_3_load_48 | 36 | 0.00049224 | 0.00012337 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2140-3_0_3_load_63 | 39 | 0.0063834 | 0.0015998 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2140-3_0_3_load_56 | 40 | 0.0059808 | 0.0014989 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2140-3_0_3_load_57 | 41 | 0.009115 | 0.0022844 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2140-3_0_3_load_59 | 42 | 0.0034166 | 0.00085627 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2140-3_0_3_load_149 | 44 | 0.052625 | 0.013189 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2140-3_0_3_line_0 |  | 0 | 1 | 0.0098721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2140-3_0_3_line_1 |  | 1 | 2 | 0.018518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2140-3_0_3_line_2 |  | 2 | 6 | 0.032652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2140-3_0_3_line_3 |  | 3 | 4 | 0.019525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2140-3_0_3_line_4 |  | 3 | 5 | 0.061444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2140-3_0_3_line_5 |  | 4 | 6 | 0.028408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2140-3_0_3_line_6 |  | 5 | 7 | 0.014459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2140-3_0_3_line_7 |  | 5 | 8 | 0.029845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2140-3_0_3_line_8 |  | 6 | 30 | 0.055878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2140-3_0_3_line_9 |  | 9 | 10 | 0.030071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2140-3_0_3_line_10 |  | 9 | 11 | 0.0030417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2140-3_0_3_line_11 |  | 10 | 12 | 0.016161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2140-3_0_3_line_12 |  | 11 | 13 | 0.027749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2140-3_0_3_line_13 |  | 11 | 14 | 0.023792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2140-3_0_3_line_14 |  | 12 | 15 | 0.10325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2140-3_0_3_line_15 |  | 13 | 16 | 0.024404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2140-3_0_3_line_16 |  | 13 | 17 | 0.025716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2140-3_0_3_line_17 |  | 15 | 32 | 0.0040066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2140-3_0_3_line_18 |  | 15 | 28 | 0.06482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2140-3_0_3_line_19 |  | 16 | 20 | 0.045263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2140-3_0_3_line_20 |  | 17 | 42 | 0.035135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2140-3_0_3_line_21 |  | 18 | 19 | 0.026786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2140-3_0_3_line_22 |  | 18 | 20 | 0.038999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2140-3_0_3_line_23 |  | 19 | 21 | 0.025904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2140-3_0_3_line_24 |  | 19 | 22 | 0.071657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2140-3_0_3_line_25 |  | 20 | 23 | 0.044976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2140-3_0_3_line_26 |  | 20 | 24 | 0.04276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2140-3_0_3_line_27 |  | 21 | 25 | 0.024889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2140-3_0_3_line_28 |  | 23 | 26 | 0.041731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2140-3_0_3_line_29 |  | 26 | 35 | 0.056738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2140-3_0_3_line_30 |  | 27 | 28 | 0.023048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2140-3_0_3_line_31 |  | 28 | 29 | 0.011369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2140-3_0_3_line_32 |  | 29 | 30 | 0.057857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2140-3_0_3_line_33 |  | 29 | 31 | 0.0086529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2140-3_0_3_line_34 |  | 30 | 33 | 0.017647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2140-3_0_3_line_35 |  | 31 | 36 | 0.026201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2140-3_0_3_line_36 |  | 32 | 34 | 0.053405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2140-3_0_3_line_37 |  | 35 | 40 | 0.0011824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2140-3_0_3_line_38 |  | 37 | 38 | 0.004816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2140-3_0_3_line_39 |  | 37 | 39 | 0.063785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2140-3_0_3_line_40 |  | 38 | 43 | 0.013674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2140-3_0_3_line_41 |  | 38 | 42 | 0.0078123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2140-3_0_3_line_42 |  | 40 | 41 | 0.038814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2140-3_0_3_line_43 |  | 43 | 44 | 0.028635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2140-3_0_3_trafo_14 | 0.63 MVA 20/0.4 kV | 45 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2571351.0883 | 1167358.0593 | 2571359.0561 | 1167352.2308
1 | 2571374.0021 | 1167341.2976 | 2571359.0561 | 1167352.2308
2 | 2571374.0021 | 1167341.2976 | 2571376.0507 | 1167348.7027 | 2571378.42 | 1167354.3609 | 2571386.6605 | 1167371.2968
3 | 2571350.16 | 1167402.3649 | 2571365.0281 | 1167389.7097
4 | 2571301.2308 | 1167384.2566 | 2571315.1716 | 1167394.2949 | 2571324.2181 | 1167402.1 | 2571328.9389 | 1167408.0694 | 2571335.1436 | 1167410.6632 | 2571341.5245 | 1167410.0657 | 2571346.1959 | 1167405.7411 | 2571349.352 | 1167403.058 | 2571350.16 | 1167402.3649
5 | 2571386.6605 | 1167371.2968 | 2571365.0281 | 1167389.7097
6 | 2571301.2308 | 1167384.2566 | 2571288.8527 | 1167376.7841
7 | 2571301.2308 | 1167384.2566 | 2571304.1693 | 1167372.9145 | 2571304.1325 | 1167365.2441 | 2571300.9302 | 1167355.289
8 | 2571386.6605 | 1167371.2968 | 2571402.8038 | 1167398.5669 | 2571415.7837 | 1167419.0154
9 | 2571552.6991 | 1167252.0046 | 2571525.4404 | 1167264.7033
10 | 2571555.4562 | 1167250.7202 | 2571552.6991 | 1167252.0046
11 | 2571520.7214 | 1167280.0002 | 2571522.024 | 1167277.0592 | 2571523.1313 | 1167271.6845 | 2571523.8809 | 1167268.357 | 2571524.3381 | 1167266.3093 | 2571525.4404 | 1167264.7033
12 | 2571580.8305 | 1167239.3273 | 2571575.9576 | 1167241.5849 | 2571555.4562 | 1167250.7202
13 | 2571555.4562 | 1167250.7202 | 2571546.1055 | 1167228.8424
14 | 2571520.7214 | 1167280.0002 | 2571493.0785 | 1167293.9388 | 2571504.3084 | 1167318.2199 | 2571504.8807 | 1167319.4512 | 2571523.4192 | 1167359.5501
15 | 2571573.0508 | 1167216.1969 | 2571578.7322 | 1167232.6783 | 2571580.8305 | 1167239.3273
16 | 2571580.8305 | 1167239.3273 | 2571585.7934 | 1167238.281 | 2571590.512 | 1167237.3915 | 2571594.1993 | 1167236.9293 | 2571597.5904 | 1167236.9466 | 2571600.8778 | 1167237.7202 | 2571604.471 | 1167240.0155 | 2571604.8902 | 1167241.0261
17 | 2571523.4192 | 1167359.5501 | 2571525.101 | 1167363.1867
18 | 2571464.9753 | 1167387.9316 | 2571523.4192 | 1167359.5501
19 | 2571614.0871 | 1167196.8479 | 2571573.0508 | 1167216.1969
20 | 2571594.0957 | 1167269.6094 | 2571591.113 | 1167262.4236 | 2571591.7979 | 1167259.9524 | 2571593.0767 | 1167258.4567 | 2571595.1121 | 1167256.6906 | 2571602.7591 | 1167250.251 | 2571605.2592 | 1167246.415 | 2571605.617 | 1167242.7781 | 2571604.8902 | 1167241.0261
21 | 2571585.9956 | 1167137.362 | 2571597.4337 | 1167161.5831
22 | 2571614.0871 | 1167196.8479 | 2571597.4337 | 1167161.5831
23 | 2571585.9956 | 1167137.362 | 2571562.3399 | 1167148.0686
24 | 2571585.9956 | 1167137.362 | 2571579.7372 | 1167123.5068 | 2571580.4034 | 1167115.4996 | 2571584.095 | 1167106.2551 | 2571597.7353 | 1167091.6385 | 2571604.2976 | 1167085.6599 | 2571608.6552 | 1167086.0839 | 2571613.2976 | 1167088.4631
25 | 2571655.2585 | 1167178.4769 | 2571614.0871 | 1167196.8479
26 | 2571614.0871 | 1167196.8479 | 2571632.5075 | 1167235.4368
27 | 2571562.3399 | 1167148.0686 | 2571554.3494 | 1167140.2136 | 2571541.9034 | 1167145.9011
28 | 2571655.2585 | 1167178.4769 | 2571672.7999 | 1167216.3423
29 | 2571696.6492 | 1167267.8243 | 2571672.7999 | 1167216.3423
30 | 2571464.9753 | 1167387.9316 | 2571457.2199 | 1167368.3364 | 2571459.0223 | 1167367.5312
31 | 2571464.9753 | 1167387.9316 | 2571463.2036 | 1167388.7961 | 2571466.6991 | 1167396.2832 | 2571466.6662 | 1167397.4173
32 | 2571415.7837 | 1167419.0154 | 2571423.3532 | 1167412.4648 | 2571429.9025 | 1167407.0753 | 2571434.1957 | 1167405.2761 | 2571443.6899 | 1167401.0509 | 2571451.0995 | 1167397.8917 | 2571454.6904 | 1167396.4961 | 2571457.7031 | 1167395.837 | 2571461.6667 | 1167395.5402 | 2571464.1809 | 1167396.2952 | 2571465.4466 | 1167396.8673 | 2571466.6662 | 1167397.4173
33 | 2571466.6662 | 1167397.4173 | 2571469.2267 | 1167399.8508 | 2571471.8989 | 1167403.2287 | 2571472.2348 | 1167403.9695
34 | 2571415.7837 | 1167419.0154 | 2571412.4833 | 1167436.3511
35 | 2571472.2348 | 1167403.9695 | 2571483.0537 | 1167427.8321
36 | 2571525.101 | 1167363.1867 | 2571547.5176 | 1167411.6592
37 | 2571696.6492 | 1167267.8243 | 2571697.1462 | 1167268.8972
38 | 2571597.0907 | 1167276.8248 | 2571598.8801 | 1167281.2964
39 | 2571598.8801 | 1167281.2964 | 2571625.3124 | 1167339.3464
40 | 2571597.0907 | 1167276.8248 | 2571584.6642 | 1167282.6089
41 | 2571597.0907 | 1167276.8248 | 2571594.0957 | 1167269.6094
42 | 2571713.4613 | 1167304.1155 | 2571697.1462 | 1167268.8972
43 | 2571584.6642 | 1167282.6089 | 2571558.704 | 1167294.6938

## bus_geodata
| x | y | coords
0 | 2571351.0883 | 1167358.0593
1 | 2571359.0561 | 1167352.2308
2 | 2571374.0021 | 1167341.2976
3 | 2571350.16 | 1167402.3649
4 | 2571365.0281 | 1167389.7097
5 | 2571301.2308 | 1167384.2566
6 | 2571386.6605 | 1167371.2968
7 | 2571288.8527 | 1167376.7841
8 | 2571300.9302 | 1167355.289
9 | 2571552.6991 | 1167252.0046
10 | 2571525.4404 | 1167264.7033
11 | 2571555.4562 | 1167250.7202
12 | 2571520.7214 | 1167280.0002
13 | 2571580.8305 | 1167239.3273
14 | 2571546.1055 | 1167228.8424
15 | 2571523.4192 | 1167359.5501
16 | 2571573.0508 | 1167216.1969
17 | 2571604.8902 | 1167241.0261
18 | 2571597.4337 | 1167161.5831
19 | 2571585.9956 | 1167137.362
20 | 2571614.0871 | 1167196.8479
21 | 2571562.3399 | 1167148.0686
22 | 2571613.2976 | 1167088.4631
23 | 2571655.2585 | 1167178.4769
24 | 2571632.5075 | 1167235.4368
25 | 2571541.9034 | 1167145.9011
26 | 2571672.7999 | 1167216.3423
27 | 2571459.0223 | 1167367.5312
28 | 2571464.9753 | 1167387.9316
29 | 2571466.6662 | 1167397.4173
30 | 2571415.7837 | 1167419.0154
31 | 2571472.2348 | 1167403.9695
32 | 2571525.101 | 1167363.1867
33 | 2571412.4833 | 1167436.3511
34 | 2571547.5176 | 1167411.6592
35 | 2571696.6492 | 1167267.8243
36 | 2571483.0536 | 1167427.8321
37 | 2571598.8801 | 1167281.2964
38 | 2571597.0907 | 1167276.8248
39 | 2571625.3124 | 1167339.3464
40 | 2571697.1462 | 1167268.8972
41 | 2571713.4613 | 1167304.1155
42 | 2571594.0957 | 1167269.6094
43 | 2571584.6642 | 1167282.6089
44 | 2571558.704 | 1167294.6938
45 | 2571555.4562 | 1167250.7202

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99057 | -0.18144 | 0.0015421 | 0.00038648
1 | 0.99059 | -0.18117 | 0.0026016 | 0.00065203
2 | 0.99066 | -0.1798 | 0 | 0
3 | 0.99031 | -0.18653 | 0 | 0
4 | 0.99049 | -0.183 | 0.00090323 | 0.00022637
5 | 0.98974 | -0.19766 | 0 | 0
6 | 0.99078 | -0.1774 | 0 | 0
7 | 0.98963 | -0.19972 | 0.0080208 | 0.0020102
8 | 0.98968 | -0.19881 | 0.0021621 | 0.00054187
9 | 1 | 0 | -0.2606 | -0.065467
10 | 0.99863 | -0.02616 | 0.0076443 | 0.0019158
11 | 0.99971 | -0.0055056 | 0 | 0
12 | 0.99801 | -0.038086 | 0 | 0
13 | 0.99786 | -0.040958 | 0 | 0
14 | 0.99839 | -0.031014 | 0.061394 | 0.015387
15 | 0.99403 | -0.11462 | 0 | 0
16 | 0.99621 | -0.072588 | 0 | 0
17 | 0.99616 | -0.073569 | 0.0098926 | 0.0024793
18 | 0.99145 | -0.16438 | 0.032404 | 0.0081211
19 | 0.99108 | -0.17159 | 0 | 0
20 | 0.99314 | -0.13153 | 0 | 0
21 | 0.99075 | -0.17793 | 0 | 0
22 | 0.99098 | -0.17335 | 0.001385 | 0.00034711
23 | 0.99234 | -0.14703 | 0 | 0
24 | 0.99288 | -0.13671 | 0.0068537 | 0.0017177
25 | 0.99043 | -0.18402 | 0.013787 | 0.0034554
26 | 0.9916 | -0.16143 | 0.0028202 | 0.00070681
27 | 0.99258 | -0.14258 | 0.0041046 | 0.0010287
28 | 0.99267 | -0.1409 | 0 | 0
29 | 0.99247 | -0.14469 | 0 | 0
30 | 0.99156 | -0.16229 | 0 | 0
31 | 0.99246 | -0.14495 | 0.0011724 | 0.00029383
32 | 0.99396 | -0.11598 | 0.0079197 | 0.0019849
33 | 0.99153 | -0.1629 | 0.0019369 | 0.00048542
34 | 0.99341 | -0.12666 | 0.01132 | 0.0028371
35 | 0.99073 | -0.1782 | 0.0015613 | 0.0003913
36 | 0.99245 | -0.14518 | 0.00049224 | 0.00012337
37 | 0.9937 | -0.12085 | 0 | 0
38 | 0.99373 | -0.12031 | 0 | 0
39 | 0.99333 | -0.12804 | 0.0063834 | 0.0015998
40 | 0.99072 | -0.17851 | 0.0059808 | 0.0014989
41 | 0.99039 | -0.1848 | 0.009115 | 0.0022844
42 | 0.99415 | -0.11217 | 0.0034166 | 0.00085627
43 | 0.99307 | -0.13302 | 0 | 0
44 | 0.99169 | -0.15968 | 0.052625 | 0.013189
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0015421 | -0.00038648 | 0.0015421 | 0.00038637 | 1.9865e-08 | -1.1437e-07 | 0.0023165 | 0.0023164 | 0.0023165 | 0.99057 | -0.18144 | 0.99059 | -0.18117 | 0.63639
1 | -0.0041437 | -0.0010384 | 0.004144 | 0.0010383 | 2.6905e-07 | -6.622e-08 | 0.0062245 | 0.0062244 | 0.0062245 | 0.99059 | -0.18117 | 0.99066 | -0.1798 | 1.71
2 | -0.004144 | -0.0010383 | 0.0041445 | 0.0010382 | 4.7437e-07 | -1.1686e-07 | 0.0062244 | 0.0062242 | 0.0062244 | 0.99066 | -0.1798 | 0.99078 | -0.1774 | 1.71
3 | -0.010189 | -0.0025547 | 0.010191 | 0.0025556 | 1.7163e-06 | 8.4716e-07 | 0.01531 | 0.01531 | 0.01531 | 0.99031 | -0.18653 | 0.99049 | -0.183 | 4.2061
4 | 0.010189 | 0.0025547 | -0.010184 | -0.0025521 | 5.4012e-06 | 2.6667e-06 | 0.01531 | 0.015311 | 0.015311 | 0.99031 | -0.18653 | 0.98974 | -0.19766 | 4.2062
5 | -0.011094 | -0.002782 | 0.011097 | 0.0027835 | 2.9593e-06 | 1.5282e-06 | 0.016667 | 0.016667 | 0.016667 | 0.99049 | -0.183 | 0.99078 | -0.1774 | 4.5789
6 | 0.0080216 | 0.0020105 | -0.0080208 | -0.0020102 | 7.8861e-07 | 3.1891e-07 | 0.01206 | 0.01206 | 0.01206 | 0.98974 | -0.19766 | 0.98963 | -0.19972 | 3.3132
7 | 0.0021622 | 0.00054156 | -0.0021621 | -0.00054187 | 1.1826e-07 | -3.0783e-07 | 0.0032506 | 0.0032508 | 0.0032508 | 0.98974 | -0.19766 | 0.98968 | -0.19881 | 0.89306
8 | -0.015242 | -0.0038217 | 0.015253 | 0.003828 | 1.098e-05 | 6.3071e-06 | 0.022891 | 0.022891 | 0.022891 | 0.99078 | -0.1774 | 0.99156 | -0.16229 | 6.2888
9 | 0.050139 | 0.012681 | -0.050076 | -0.012641 | 6.2838e-05 | 3.9823e-05 | 0.074648 | 0.074648 | 0.074648 | 1 | 0 | 0.99863 | -0.02616 | 20.5078
10 | 0.20881 | 0.052785 | -0.20875 | -0.05275 | 5.5114e-05 | 3.5193e-05 | 0.31087 | 0.31087 | 0.31087 | 1 | 0 | 0.99971 | -0.0055056 | 42.7017
11 | 0.042432 | 0.010726 | -0.042408 | -0.01071 | 2.4251e-05 | 1.5309e-05 | 0.063258 | 0.063258 | 0.063258 | 0.99863 | -0.02616 | 0.99801 | -0.038086 | 17.3786
12 | 0.14728 | 0.037316 | -0.14703 | -0.037156 | 0.00025037 | 0.00015951 | 0.21936 | 0.21936 | 0.21936 | 0.99971 | -0.0055056 | 0.99786 | -0.040958 | 30.1325
13 | 0.061469 | 0.015434 | -0.061394 | -0.015387 | 7.4704e-05 | 4.7499e-05 | 0.091504 | 0.091504 | 0.091504 | 0.99971 | -0.0055056 | 0.99839 | -0.031014 | 25.1384
14 | 0.042408 | 0.01071 | -0.042253 | -0.010613 | 0.00015493 | 9.7812e-05 | 0.063258 | 0.063259 | 0.063259 | 0.99801 | -0.038086 | 0.99403 | -0.11462 | 17.3787
15 | 0.074362 | 0.018808 | -0.07425 | -0.018736 | 0.00011265 | 7.1781e-05 | 0.11095 | 0.11095 | 0.11095 | 0.99786 | -0.040958 | 0.99621 | -0.072588 | 30.4809
16 | 0.07267 | 0.018348 | -0.072557 | -0.018276 | 0.00011335 | 7.2207e-05 | 0.10841 | 0.10841 | 0.10841 | 0.99786 | -0.040958 | 0.99616 | -0.073569 | 29.7842
17 | 0.019247 | 0.0048257 | -0.019246 | -0.004825 | 1.2473e-06 | 7.4634e-07 | 0.028813 | 0.028813 | 0.028813 | 0.99403 | -0.11462 | 0.99396 | -0.11598 | 7.9155
18 | 0.023006 | 0.0057868 | -0.022977 | -0.0057692 | 2.8842e-05 | 1.762e-05 | 0.034446 | 0.034446 | 0.034446 | 0.99403 | -0.11462 | 0.99267 | -0.1409 | 9.4633
19 | 0.07425 | 0.018736 | -0.074041 | -0.018603 | 0.00020895 | 0.00013314 | 0.11095 | 0.11095 | 0.11095 | 0.99621 | -0.072588 | 0.99314 | -0.13153 | 30.481
20 | 0.062664 | 0.015797 | -0.062549 | -0.015723 | 0.00011552 | 7.3478e-05 | 0.093638 | 0.093638 | 0.093638 | 0.99616 | -0.073569 | 0.99415 | -0.11217 | 25.7246
21 | 0.015186 | 0.0038092 | -0.015181 | -0.0038062 | 5.2184e-06 | 2.9945e-06 | 0.022793 | 0.022793 | 0.022793 | 0.99145 | -0.16438 | 0.99108 | -0.17159 | 6.2618
22 | -0.047589 | -0.01193 | 0.047664 | 0.011978 | 7.461e-05 | 4.7247e-05 | 0.071426 | 0.071426 | 0.071426 | 0.99145 | -0.16438 | 0.99314 | -0.13153 | 19.6224
23 | 0.013795 | 0.00346 | -0.013791 | -0.0034576 | 4.1678e-06 | 2.3337e-06 | 0.020714 | 0.020714 | 0.020714 | 0.99108 | -0.17159 | 0.99075 | -0.17793 | 5.6906
24 | 0.0013851 | 0.00034626 | -0.001385 | -0.00034711 | 1.162e-07 | -8.4893e-07 | 0.0020793 | 0.0020796 | 0.0020796 | 0.99108 | -0.17159 | 0.99098 | -0.17335 | 0.57133
25 | 0.019521 | 0.0049073 | -0.019507 | -0.0048987 | 1.4434e-05 | 8.6561e-06 | 0.029254 | 0.029254 | 0.029254 | 0.99314 | -0.13153 | 0.99234 | -0.14703 | 8.0368
26 | 0.0068554 | 0.0017182 | -0.0068537 | -0.0017177 | 1.6917e-06 | 5.2955e-07 | 0.010271 | 0.010272 | 0.010272 | 0.99314 | -0.13153 | 0.99288 | -0.13671 | 2.8219
27 | 0.013791 | 0.0034576 | -0.013787 | -0.0034554 | 4.0045e-06 | 2.2425e-06 | 0.020714 | 0.020714 | 0.020714 | 0.99075 | -0.17793 | 0.99043 | -0.18402 | 5.6906
28 | 0.019507 | 0.0048987 | -0.019494 | -0.0048906 | 1.3393e-05 | 8.0326e-06 | 0.029254 | 0.029254 | 0.029254 | 0.99234 | -0.14703 | 0.9916 | -0.16143 | 8.0369
29 | 0.016673 | 0.0041838 | -0.01666 | -0.004176 | 1.3322e-05 | 7.7946e-06 | 0.025022 | 0.025022 | 0.025022 | 0.9916 | -0.16143 | 0.99073 | -0.1782 | 6.8743
30 | -0.0041046 | -0.0010287 | 0.0041049 | 0.0010286 | 3.2726e-07 | -8.8487e-08 | 0.0061534 | 0.0061533 | 0.0061534 | 0.99258 | -0.14258 | 0.99267 | -0.1409 | 1.6905
31 | 0.018872 | 0.0047405 | -0.018869 | -0.0047385 | 3.4128e-06 | 2.0372e-06 | 0.028293 | 0.028293 | 0.028293 | 0.99267 | -0.1409 | 0.99247 | -0.14469 | 7.7728
32 | 0.017204 | 0.0043217 | -0.017189 | -0.0043132 | 1.4439e-05 | 8.4942e-06 | 0.025797 | 0.025798 | 0.025798 | 0.99247 | -0.14469 | 0.99156 | -0.16229 | 7.0873
33 | 0.0016647 | 0.00041677 | -0.0016647 | -0.00041687 | 2.0211e-08 | -9.8881e-08 | 0.0024957 | 0.0024957 | 0.0024957 | 0.99247 | -0.14469 | 0.99246 | -0.14495 | 0.68564
34 | 0.0019369 | 0.00048523 | -0.0019369 | -0.00048542 | 5.5911e-08 | -1.9184e-07 | 0.0029066 | 0.0029067 | 0.0029067 | 0.99156 | -0.16229 | 0.99153 | -0.1629 | 0.79855
35 | 0.00049225 | 0.00012303 | -0.00049224 | -0.00012337 | 5.351e-09 | -3.3514e-07 | 0.00073792 | 0.00073804 | 0.00073804 | 0.99246 | -0.14495 | 0.99245 | -0.14518 | 0.20276
36 | 0.011326 | 0.0028401 | -0.01132 | -0.0028371 | 5.7581e-06 | 2.9933e-06 | 0.016956 | 0.016956 | 0.016956 | 0.99396 | -0.11598 | 0.99341 | -0.12666 | 4.6584
37 | 0.015099 | 0.0037847 | -0.015098 | -0.0037846 | 2.2803e-07 | 1.3072e-07 | 0.022677 | 0.022677 | 0.022677 | 0.99073 | -0.1782 | 0.99072 | -0.17851 | 6.2301
38 | -0.0063855 | -0.0016004 | 0.0063857 | 0.0016004 | 1.6513e-07 | 4.329e-08 | 0.009562 | 0.009562 | 0.009562 | 0.9937 | -0.12085 | 0.99373 | -0.12031 | 2.6269
39 | 0.0063855 | 0.0016004 | -0.0063834 | -0.0015998 | 2.1871e-06 | 5.7372e-07 | 0.009562 | 0.0095623 | 0.0095623 | 0.9937 | -0.12085 | 0.99333 | -0.12804 | 2.627
40 | 0.052724 | 0.013252 | -0.052692 | -0.013231 | 3.1971e-05 | 2.0285e-05 | 0.078962 | 0.078962 | 0.078962 | 0.99373 | -0.12031 | 0.99307 | -0.13302 | 21.6928
41 | -0.059109 | -0.014852 | 0.059132 | 0.014867 | 2.2958e-05 | 1.4592e-05 | 0.088524 | 0.088524 | 0.088524 | 0.99373 | -0.12031 | 0.99415 | -0.11217 | 24.3197
42 | 0.0091177 | 0.0022857 | -0.009115 | -0.0022844 | 2.7297e-06 | 1.2474e-06 | 0.013695 | 0.013695 | 0.013695 | 0.99072 | -0.17851 | 0.99039 | -0.1848 | 3.7623
43 | 0.052692 | 0.013231 | -0.052625 | -0.013189 | 6.6953e-05 | 4.248e-05 | 0.078962 | 0.078962 | 0.078962 | 0.99307 | -0.13302 | 0.99169 | -0.15968 | 21.6929

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27717 | 0.06962

## res_load
| p_mw | q_mvar
0 | 0.0015421 | 0.00038648
1 | 0.0026016 | 0.00065203
2 | 0.00090323 | 0.00022637
3 | 0.0080208 | 0.0020102
4 | 0.0021621 | 0.00054187
5 | 0.016571 | 0.0041532
6 | 0.0076443 | 0.0019158
7 | 0.061394 | 0.015387
8 | 0.0098926 | 0.0024793
9 | 0.032404 | 0.0081211
10 | 0.001385 | 0.00034711
11 | 0.0068537 | 0.0017177
12 | 0.013787 | 0.0034554
13 | 0.0028202 | 0.00070681
14 | 0.0041046 | 0.0010287
15 | 0.0011724 | 0.00029383
16 | 0.0079197 | 0.0019849
17 | 0.0019369 | 0.00048542
18 | 0.01132 | 0.0028371
19 | 0.0015613 | 0.0003913
20 | 0.00049224 | 0.00012337
21 | 0.0063834 | 0.0015998
22 | 0.0059808 | 0.0014989
23 | 0.009115 | 0.0022844
24 | 0.0034166 | 0.00085627
25 | 0.052625 | 0.013189

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1