## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2152-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2152-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2152-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2152-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2152-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2152-2_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2152-2_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2152-2_0_4_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_2152-2_0_4_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_2152-2_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2152-2_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_2152-2_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2152-2_0_4_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_2152-2_0_4_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_2152-2_0_4_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_2152-2_0_4_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_2152-2_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2152-2_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2152-2_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2152-2_0_4_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_2152-2_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2152-2_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2152-2_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_2152-2_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_2152-2_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_2152-2_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_2152-2_0_4_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_2152-2_0_4_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_2152-2_0_4_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_2152-2_0_4_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_2152-2_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_2152-2_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2152-2_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_2152-2_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_2152-2_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_2152-2_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_2152-2_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2152-2_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_2152-2_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_2152-2_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_2152-2_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_MV_31_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2152-2_0_4_load_0 | 0 | 0.016329 | 0.0040925 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2152-2_0_4_load_1 | 1 | 0.013055 | 0.003272 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2152-2_0_4_load_3 | 3 | 0.00045691 | 0.00011451 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2152-2_0_4_load_4 | 4 | 0.018847 | 0.0047235 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2152-2_0_4_load_31 | 8 | 0.014972 | 0.0037524 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2152-2_0_4_load_9 | 10 | 0.086516 | 0.021683 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2152-2_0_4_load_29 | 12 | 0.061225 | 0.015344 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2152-2_0_4_load_40 | 13 | 0.032182 | 0.0080655 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2152-2_0_4_load_30 | 14 | 0.01476 | 0.0036993 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2152-2_0_4_load_11 | 16 | 0.097746 | 0.024497 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2152-2_0_4_load_12 | 17 | 0.00092755 | 0.00023247 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2152-2_0_4_load_39 | 19 | 0.00073499 | 0.00018421 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2152-2_0_4_load_14 | 20 | 0.0089936 | 0.002254 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2152-2_0_4_load_15 | 21 | 0.031512 | 0.0078976 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2152-2_0_4_load_22 | 22 | 0.00095072 | 0.00023827 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2152-2_0_4_load_23 | 23 | 0.00044979 | 0.00011273 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2152-2_0_4_load_24 | 24 | 0.00069833 | 0.00017502 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2152-2_0_4_load_25 | 25 | 0.006833 | 0.0017125 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2152-2_0_4_load_26 | 26 | 0.0013009 | 0.00032603 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2152-2_0_4_load_35 | 27 | 0.00061965 | 0.0001553 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2152-2_0_4_load_36 | 28 | 0.00055344 | 0.0001387 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2152-2_0_4_load_37 | 29 | 0.00079637 | 0.00019959 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2152-2_0_4_load_16 | 30 | 0.0085559 | 0.0021443 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2152-2_0_4_load_18 | 32 | 0.0059474 | 0.0014906 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2152-2_0_4_load_17 | 33 | 0.0093775 | 0.0023502 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2152-2_0_4_load_19 | 34 | 0.0091632 | 0.0022965 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2152-2_0_4_load_27 | 35 | 0.013786 | 0.0034552 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2152-2_0_4_load_28 | 36 | 0.014015 | 0.0035126 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2152-2_0_4_load_32 | 37 | 0.00056486 | 0.00014157 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2152-2_0_4_load_33 | 38 | 0.00067621 | 0.00016947 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2152-2_0_4_load_38 | 39 | 0.0016351 | 0.00040979 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2152-2_0_4_load_41 | 40 | 0.0082141 | 0.0020586 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2152-2_0_4_line_0 |  | 0 | 1 | 0.0043097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2152-2_0_4_line_1 |  | 0 | 2 | 0.016384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2152-2_0_4_line_2 |  | 1 | 3 | 0.0074438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2152-2_0_4_line_3 |  | 2 | 4 | 0.026496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2152-2_0_4_line_4 |  | 4 | 5 | 0.0081476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2152-2_0_4_line_5 |  | 5 | 9 | 0.030747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2152-2_0_4_line_6 |  | 5 | 10 | 0.024004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2152-2_0_4_line_7 |  | 6 | 7 | 0.013216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2152-2_0_4_line_8 |  | 6 | 8 | 0.0076334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2152-2_0_4_line_9 |  | 7 | 13 | 0.0065365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2152-2_0_4_line_10 |  | 8 | 14 | 0.032858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2152-2_0_4_line_11 |  | 9 | 11 | 0.0084816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2152-2_0_4_line_12 |  | 9 | 12 | 0.011045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2152-2_0_4_line_13 |  | 11 | 13 | 0.0032338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2152-2_0_4_line_14 |  | 12 | 15 | 0.022358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2152-2_0_4_line_15 |  | 14 | 37 | 0.025774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2152-2_0_4_line_16 |  | 15 | 35 | 0.022199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2152-2_0_4_line_17 |  | 15 | 34 | 0.019885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2152-2_0_4_line_18 |  | 16 | 17 | 0.0057859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2152-2_0_4_line_19 |  | 16 | 18 | 0.033293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2152-2_0_4_line_20 |  | 17 | 19 | 0.077914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2152-2_0_4_line_21 |  | 18 | 20 | 0.019301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2152-2_0_4_line_22 |  | 18 | 21 | 0.031949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2152-2_0_4_line_23 |  | 19 | 26 | 0.0025025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2152-2_0_4_line_24 |  | 20 | 30 | 0.0014536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2152-2_0_4_line_25 |  | 21 | 31 | 0.037572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2152-2_0_4_line_26 |  | 22 | 23 | 0.066091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2152-2_0_4_line_27 |  | 22 | 24 | 0.00094013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2152-2_0_4_line_28 |  | 23 | 25 | 0.028678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2152-2_0_4_line_29 |  | 24 | 26 | 0.035231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2152-2_0_4_line_30 |  | 25 | 27 | 0.0079701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2152-2_0_4_line_31 |  | 27 | 28 | 0.0092027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2152-2_0_4_line_32 |  | 28 | 29 | 0.02072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2152-2_0_4_line_33 |  | 31 | 32 | 0.006497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2152-2_0_4_line_34 |  | 32 | 33 | 0.01777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2152-2_0_4_line_35 |  | 33 | 34 | 0.024163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2152-2_0_4_line_36 |  | 35 | 36 | 0.004935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2152-2_0_4_line_37 |  | 37 | 38 | 0.054396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2152-2_0_4_line_38 |  | 38 | 39 | 0.023769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2152-2_0_4_line_39 |  | 39 | 40 | 0.26061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2152-2_0_4_trafo_9 | 0.63 MVA 20/0.4 kV | 41 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2564376.044 | 1165060.1404 | 2564372.0899 | 1165061.8547
1 | 2564391.0759 | 1165053.6232 | 2564376.044 | 1165060.1404
2 | 2564365.2603 | 1165064.8157 | 2564372.0899 | 1165061.8547
3 | 2564391.0759 | 1165053.6232 | 2564390.0265 | 1165052.2843 | 2564407.8111 | 1165043.9299 | 2564412.0473 | 1165041.0087
4 | 2564418.7547 | 1165036.3833 | 2564412.0473 | 1165041.0087
5 | 2564418.7547 | 1165036.3833 | 2564436.2542 | 1165030.3097 | 2564442.6516 | 1165034.7406 | 2564446.8936 | 1165033.4259
6 | 2564418.7547 | 1165036.3833 | 2564414.9137 | 1165021.4206 | 2564412.3994 | 1165013.2425
7 | 2564433.9075 | 1165061.9621 | 2564438.7429 | 1165049.6604
8 | 2564433.9075 | 1165061.9621 | 2564431.723 | 1165069.2762
9 | 2564438.7429 | 1165049.6604 | 2564441.1351 | 1165043.5773
10 | 2564431.723 | 1165069.2762 | 2564428.2464 | 1165080.9165 | 2564424.8186 | 1165098.1457 | 2564424.4533 | 1165101.2667
11 | 2564442.3186 | 1165040.5678 | 2564445.0044 | 1165036.372 | 2564446.8936 | 1165033.4259
12 | 2564446.8936 | 1165033.4259 | 2564452.8602 | 1165024.1307
13 | 2564442.3186 | 1165040.5678 | 2564441.1351 | 1165043.5773
14 | 2564466.144 | 1165006.22 | 2564459.3217 | 1165014.0645 | 2564452.8602 | 1165024.1307
15 | 2564421.2554 | 1165126.8387 | 2564422.1805 | 1165120.6841 | 2564424.4533 | 1165101.2667
16 | 2564466.144 | 1165006.22 | 2564479.2083 | 1165006.3204 | 2564487.9473 | 1165003.6631
17 | 2564466.144 | 1165006.22 | 2564466.762 | 1164999.3906 | 2564466.1921 | 1164991.1009 | 2564465.0424 | 1164986.5251
18 | 2564391.0793 | 1164902.8076 | 2564395.4946 | 1164900.3515 | 2564396.0497 | 1164899.8721
19 | 2564421.2454 | 1164878.1094 | 2564396.0497 | 1164899.8721
20 | 2564391.0793 | 1164902.8076 | 2564318.4044 | 1164930.8955
21 | 2564421.2454 | 1164878.1094 | 2564409.0962 | 1164863.1116
22 | 2564421.2454 | 1164878.1094 | 2564431.3993 | 1164892.2675 | 2564438.5996 | 1164904.883
23 | 2564318.4044 | 1164930.8955 | 2564315.966 | 1164931.458
24 | 2564408.1812 | 1164861.982 | 2564409.0962 | 1164863.1116
25 | 2564452.4639 | 1164939.767 | 2564440.1511 | 1164907.6013 | 2564438.5996 | 1164904.883
26 | 2564215.4155 | 1164920.4524 | 2564237.8603 | 1164926.9813 | 2564265.9875 | 1164932.2496 | 2564280.0764 | 1164932.7848
27 | 2564281.0158 | 1164932.8205 | 2564280.0764 | 1164932.7848
28 | 2564215.4155 | 1164920.4524 | 2564187.8791 | 1164912.4424
29 | 2564281.0158 | 1164932.8205 | 2564305.9539 | 1164933.7678 | 2564315.966 | 1164931.458
30 | 2564180.2262 | 1164910.2162 | 2564187.8791 | 1164912.4424
31 | 2564180.2262 | 1164910.2162 | 2564174.1991 | 1164908.463 | 2564171.4335 | 1164907.5081
32 | 2564151.8478 | 1164900.7457 | 2564171.4335 | 1164907.5081
33 | 2564452.4639 | 1164939.767 | 2564454.3133 | 1164945.5923 | 2564454.4145 | 1164945.9639
34 | 2564454.4145 | 1164945.9639 | 2564459.0827 | 1164963.1093
35 | 2564465.0424 | 1164986.5251 | 2564460.067 | 1164966.7246 | 2564459.0827 | 1164963.1093
36 | 2564492.6689 | 1165002.2275 | 2564487.9473 | 1165003.6631
37 | 2564418.4068 | 1165181.0185 | 2564417.8254 | 1165163.5653 | 2564417.9369 | 1165157.8395 | 2564418.2001 | 1165151.8793 | 2564418.8609 | 1165143.2376 | 2564419.2487 | 1165140.1893 | 2564421.2554 | 1165126.8387
38 | 2564418.4068 | 1165181.0185 | 2564419.1981 | 1165204.7743
39 | 2564419.1981 | 1165204.7743 | 2564679.1668 | 1165186.5648

## bus_geodata
| x | y | coords
0 | 2564376.044 | 1165060.1404
1 | 2564372.0899 | 1165061.8547
2 | 2564391.0759 | 1165053.6232
3 | 2564365.2603 | 1165064.8157
4 | 2564412.0473 | 1165041.0087
5 | 2564418.7547 | 1165036.3833
6 | 2564433.9075 | 1165061.9621
7 | 2564438.7429 | 1165049.6604
8 | 2564431.723 | 1165069.2762
9 | 2564446.8936 | 1165033.4259
10 | 2564412.3994 | 1165013.2425
11 | 2564442.3186 | 1165040.5678
12 | 2564452.8602 | 1165024.1307
13 | 2564441.1351 | 1165043.5773
14 | 2564424.4533 | 1165101.2667
15 | 2564466.144 | 1165006.22
16 | 2564396.0497 | 1164899.8721
17 | 2564391.0793 | 1164902.8076
18 | 2564421.2454 | 1164878.1094
19 | 2564318.4044 | 1164930.8955
20 | 2564409.0962 | 1164863.1116
21 | 2564438.5996 | 1164904.883
22 | 2564280.0764 | 1164932.7848
23 | 2564215.4155 | 1164920.4524
24 | 2564281.0158 | 1164932.8205
25 | 2564187.8791 | 1164912.4424
26 | 2564315.966 | 1164931.458
27 | 2564180.2262 | 1164910.2162
28 | 2564171.4335 | 1164907.5081
29 | 2564151.8478 | 1164900.7457
30 | 2564408.1812 | 1164861.982
31 | 2564452.4639 | 1164939.767
32 | 2564454.4145 | 1164945.9639
33 | 2564459.0827 | 1164963.1093
34 | 2564465.0424 | 1164986.5251
35 | 2564487.9473 | 1165003.6631
36 | 2564492.6689 | 1165002.2275
37 | 2564421.2554 | 1165126.8387
38 | 2564418.4068 | 1165181.0185
39 | 2564419.1981 | 1165204.7743
40 | 2564679.1668 | 1165186.5648
41 | 2564418.7547 | 1165036.3833

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99556 | -0.084809 | 0.016329 | 0.0040925
1 | 0.99551 | -0.085834 | 0.013055 | 0.003272
2 | 0.99601 | -0.076215 | 0 | 0
3 | 0.9955 | -0.085893 | 0.00045691 | 0.00011451
4 | 0.99673 | -0.062333 | 0.018847 | 0.0047235
5 | 0.99709 | -0.055376 | 0 | 0
6 | 0.99229 | -0.14735 | 0 | 0
7 | 0.99279 | -0.1378 | 0 | 0
8 | 0.99201 | -0.15287 | 0.014972 | 0.0037524
9 | 0.99381 | -0.11797 | 0 | 0
10 | 1 | 0 | -0.40225 | -0.10222
11 | 0.99325 | -0.12891 | 0 | 0
12 | 0.99288 | -0.1358 | 0.061225 | 0.015344
13 | 0.99303 | -0.13308 | 0.032182 | 0.0080655
14 | 0.99123 | -0.16793 | 0.01476 | 0.0036993
15 | 0.99141 | -0.16391 | 0 | 0
16 | 0.97766 | -0.43079 | 0.097746 | 0.024497
17 | 0.97758 | -0.43226 | 0.00092755 | 0.00023247
18 | 0.9811 | -0.36326 | 0 | 0
19 | 0.97665 | -0.45067 | 0.00073499 | 0.00018421
20 | 0.98079 | -0.3694 | 0.0089936 | 0.002254
21 | 0.98493 | -0.28883 | 0.031512 | 0.0078976
22 | 0.97625 | -0.45842 | 0.00095072 | 0.00023827
23 | 0.97568 | -0.46962 | 0.00044979 | 0.00011273
24 | 0.97626 | -0.45825 | 0.00069833 | 0.00017502
25 | 0.97545 | -0.47424 | 0.006833 | 0.0017125
26 | 0.97662 | -0.45122 | 0.0013009 | 0.00032603
27 | 0.97543 | -0.47453 | 0.00061965 | 0.0001553
28 | 0.97542 | -0.47476 | 0.00055344 | 0.0001387
29 | 0.97541 | -0.47506 | 0.00079637 | 0.00019959
30 | 0.98078 | -0.36963 | 0.0085559 | 0.0021443
31 | 0.98773 | -0.23475 | 0 | 0
32 | 0.98805 | -0.22853 | 0.0059474 | 0.0014906
33 | 0.98897 | -0.21093 | 0.0093775 | 0.0023502
34 | 0.99028 | -0.1857 | 0.0091632 | 0.0022965
35 | 0.99085 | -0.17486 | 0.013786 | 0.0034552
36 | 0.99079 | -0.17609 | 0.014015 | 0.0035126
37 | 0.99097 | -0.17301 | 0.00056486 | 0.00014157
38 | 0.99044 | -0.18318 | 0.00067621 | 0.00016947
39 | 0.99023 | -0.18735 | 0.0016351 | 0.00040979
40 | 0.98826 | -0.22549 | 0.0082141 | 0.0020586
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.013513 | 0.0033867 | -0.013512 | -0.0033864 | 6.5925e-07 | 3.6589e-07 | 0.020197 | 0.020197 | 0.020197 | 0.99556 | -0.084809 | 0.99551 | -0.085834 | 5.5486
1 | -0.029842 | -0.0074792 | 0.029854 | 0.0074868 | 1.2223e-05 | 7.6097e-06 | 0.044603 | 0.044603 | 0.044603 | 0.99556 | -0.084809 | 0.99601 | -0.076215 | 12.2537
2 | 0.00045691 | 0.00011442 | -0.00045691 | -0.00011451 | 1.3019e-09 | -9.5949e-08 | 0.00068292 | 0.00068296 | 0.00068296 | 0.99551 | -0.085834 | 0.9955 | -0.085893 | 0.18763
3 | -0.029854 | -0.0074868 | 0.029874 | 0.0074991 | 1.9767e-05 | 1.2306e-05 | 0.044603 | 0.044603 | 0.044603 | 0.99601 | -0.076215 | 0.99673 | -0.062333 | 12.2536
4 | -0.048721 | -0.012223 | 0.048737 | 0.012233 | 1.6166e-05 | 1.024e-05 | 0.07274 | 0.07274 | 0.07274 | 0.99673 | -0.062333 | 0.99709 | -0.055376 | 19.9835
5 | 0.3508 | 0.089307 | -0.34974 | -0.088633 | 0.0010553 | 0.00067421 | 0.52401 | 0.52401 | 0.52401 | 0.99709 | -0.055376 | 0.99381 | -0.11797 | 47.9864
6 | -0.39954 | -0.10154 | 0.4006 | 0.10222 | 0.0010685 | 0.0006829 | 0.59675 | 0.59675 | 0.59675 | 0.99709 | -0.055376 | 1 | 0 | 54.6475
7 | -0.040877 | -0.010261 | 0.040895 | 0.010272 | 1.8625e-05 | 1.1749e-05 | 0.061303 | 0.061303 | 0.061303 | 0.99229 | -0.14735 | 0.99279 | -0.1378 | 16.8416
8 | 0.040877 | 0.010261 | -0.040866 | -0.010254 | 1.0758e-05 | 6.7863e-06 | 0.061303 | 0.061303 | 0.061303 | 0.99229 | -0.14735 | 0.99201 | -0.15287 | 16.8416
9 | -0.040895 | -0.010272 | 0.040905 | 0.010278 | 9.2118e-06 | 5.811e-06 | 0.061303 | 0.061303 | 0.061303 | 0.99279 | -0.1378 | 0.99303 | -0.13308 | 16.8416
10 | 0.025894 | 0.0065014 | -0.025875 | -0.0064899 | 1.8593e-05 | 1.1475e-05 | 0.038845 | 0.038845 | 0.038845 | 0.99201 | -0.15287 | 0.99123 | -0.16793 | 10.6718
11 | 0.073139 | 0.018377 | -0.073101 | -0.018353 | 3.8154e-05 | 2.4309e-05 | 0.10953 | 0.10953 | 0.10953 | 0.99381 | -0.11797 | 0.99325 | -0.12891 | 30.0896
12 | 0.2766 | 0.070256 | -0.27637 | -0.070104 | 0.0002372 | 0.00015138 | 0.41449 | 0.41449 | 0.41449 | 0.99381 | -0.11797 | 0.99288 | -0.1358 | 37.9566
13 | 0.073101 | 0.018353 | -0.073086 | -0.018344 | 1.4547e-05 | 9.2685e-06 | 0.10953 | 0.10953 | 0.10953 | 0.99325 | -0.12891 | 0.99303 | -0.13308 | 30.0896
14 | 0.21514 | 0.05476 | -0.21485 | -0.054574 | 0.00029108 | 0.00018543 | 0.32273 | 0.32273 | 0.32273 | 0.99288 | -0.1358 | 0.99141 | -0.16391 | 29.5541
15 | 0.011115 | 0.0027906 | -0.011112 | -0.0027892 | 2.6914e-06 | 1.3904e-06 | 0.016687 | 0.016687 | 0.016687 | 0.99123 | -0.16793 | 0.99097 | -0.17301 | 4.5845
16 | 0.027817 | 0.0069772 | -0.027802 | -0.0069682 | 1.4512e-05 | 9.0016e-06 | 0.041753 | 0.041753 | 0.041753 | 0.99141 | -0.16391 | 0.99085 | -0.17486 | 11.4705
17 | 0.18703 | 0.047597 | -0.18684 | -0.047472 | 0.00019623 | 0.00012482 | 0.28098 | 0.28098 | 0.28098 | 0.99141 | -0.16391 | 0.99028 | -0.1857 | 25.7306
18 | 0.013888 | 0.0034866 | -0.013887 | -0.003486 | 9.6964e-07 | 5.4802e-07 | 0.02114 | 0.02114 | 0.02114 | 0.97766 | -0.43079 | 0.97758 | -0.43226 | 5.8077
19 | -0.11163 | -0.027984 | 0.11199 | 0.028214 | 0.00036044 | 0.00023026 | 0.16991 | 0.16991 | 0.16991 | 0.97766 | -0.43079 | 0.9811 | -0.36326 | 46.6791
20 | 0.01296 | 0.0032536 | -0.012948 | -0.0032473 | 1.1372e-05 | 6.302e-06 | 0.019728 | 0.019729 | 0.019729 | 0.97758 | -0.43226 | 0.97665 | -0.45067 | 5.4199
21 | 0.017555 | 0.0044014 | -0.01755 | -0.0043984 | 5.1311e-06 | 3.0403e-06 | 0.026626 | 0.026626 | 0.026626 | 0.9811 | -0.36326 | 0.98079 | -0.3694 | 7.3147
22 | -0.12955 | -0.032616 | 0.13001 | 0.032912 | 0.00046278 | 0.00029577 | 0.19654 | 0.19654 | 0.19654 | 0.9811 | -0.36326 | 0.98493 | -0.28883 | 53.9937
23 | 0.012213 | 0.003063 | -0.012213 | -0.0030629 | 3.2496e-07 | 1.7666e-07 | 0.018609 | 0.018609 | 0.018609 | 0.97665 | -0.45067 | 0.97662 | -0.45122 | 5.1123
24 | 0.008556 | 0.0021444 | -0.0085559 | -0.0021443 | 9.1853e-08 | 4.0441e-08 | 0.012981 | 0.012981 | 0.012981 | 0.98079 | -0.3694 | 0.98078 | -0.36963 | 3.5662
25 | -0.16152 | -0.040809 | 0.16194 | 0.041077 | 0.00041991 | 0.00026778 | 0.24414 | 0.24414 | 0.24414 | 0.98493 | -0.28883 | 0.98773 | -0.23475 | 33.5363
26 | 0.0092592 | 0.0023216 | -0.0092542 | -0.0023193 | 4.9367e-06 | 2.3336e-06 | 0.014113 | 0.014114 | 0.014114 | 0.97625 | -0.45842 | 0.97568 | -0.46962 | 3.8774
27 | -0.01021 | -0.0025599 | 0.01021 | 0.0025599 | 8.5383e-08 | 4.289e-08 | 0.015562 | 0.015562 | 0.015562 | 0.97625 | -0.45842 | 0.97626 | -0.45825 | 4.2754
28 | 0.0088045 | 0.0022065 | -0.0088025 | -0.0022057 | 1.939e-06 | 8.829e-07 | 0.013428 | 0.013428 | 0.013428 | 0.97568 | -0.46962 | 0.97545 | -0.47424 | 3.689
29 | -0.010908 | -0.0027349 | 0.010912 | 0.0027368 | 3.6524e-06 | 1.8968e-06 | 0.016627 | 0.016627 | 0.016627 | 0.97626 | -0.45825 | 0.97662 | -0.45122 | 4.5678
30 | 0.0019695 | 0.00049315 | -0.0019695 | -0.00049324 | 2.6976e-08 | -8.2225e-08 | 0.0030043 | 0.0030043 | 0.0030043 | 0.97545 | -0.47424 | 0.97543 | -0.47453 | 0.82536
31 | 0.0013498 | 0.00033794 | -0.0013498 | -0.00033804 | 1.4631e-08 | -1.0551e-07 | 0.002059 | 0.0020591 | 0.0020591 | 0.97543 | -0.47453 | 0.97542 | -0.47476 | 0.56568
32 | 0.00079638 | 0.00019934 | -0.00079637 | -0.00019959 | 1.1467e-08 | -2.513e-07 | 0.0012148 | 0.0012149 | 0.0012149 | 0.97542 | -0.47476 | 0.97541 | -0.47506 | 0.33376
33 | -0.16194 | -0.041077 | 0.16199 | 0.041108 | 4.8408e-05 | 3.0731e-05 | 0.24414 | 0.24414 | 0.24414 | 0.98773 | -0.23475 | 0.98805 | -0.22853 | 22.3575
34 | -0.16794 | -0.042598 | 0.16808 | 0.042689 | 0.00014229 | 9.0382e-05 | 0.2531 | 0.2531 | 0.2531 | 0.98805 | -0.22853 | 0.98897 | -0.21093 | 23.1777
35 | -0.17746 | -0.045039 | 0.17768 | 0.045176 | 0.00021566 | 0.00013709 | 0.26721 | 0.26721 | 0.26721 | 0.98897 | -0.21093 | 0.99028 | -0.1857 | 24.4698
36 | 0.014016 | 0.003513 | -0.014015 | -0.0035126 | 8.1994e-07 | 4.612e-07 | 0.021049 | 0.021049 | 0.021049 | 0.99085 | -0.17486 | 0.99079 | -0.17609 | 5.7827
37 | 0.010547 | 0.0026477 | -0.010542 | -0.0026451 | 5.1177e-06 | 2.5749e-06 | 0.015839 | 0.01584 | 0.01584 | 0.99097 | -0.17301 | 0.99044 | -0.18318 | 4.3515
38 | 0.0098661 | 0.0024756 | -0.0098641 | -0.0024747 | 1.9586e-06 | 9.4769e-07 | 0.014824 | 0.014824 | 0.014824 | 0.99044 | -0.18318 | 0.99023 | -0.18735 | 4.0724
39 | 0.008229 | 0.0020649 | -0.0082141 | -0.0020586 | 1.4947e-05 | 6.2204e-06 | 0.012367 | 0.012368 | 0.012368 | 0.99023 | -0.18735 | 0.98826 | -0.22549 | 3.3978

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48877 | 0.12391

## res_load
| p_mw | q_mvar
0 | 0.016329 | 0.0040925
1 | 0.013055 | 0.003272
2 | 0.00045691 | 0.00011451
3 | 0.018847 | 0.0047235
4 | 0.014972 | 0.0037524
5 | 0.086516 | 0.021683
6 | 0.061225 | 0.015344
7 | 0.032182 | 0.0080655
8 | 0.01476 | 0.0036993
9 | 0.097746 | 0.024497
10 | 0.00092755 | 0.00023247
11 | 0.00073499 | 0.00018421
12 | 0.0089936 | 0.002254
13 | 0.031512 | 0.0078976
14 | 0.00095072 | 0.00023827
15 | 0.00044979 | 0.00011273
16 | 0.00069833 | 0.00017502
17 | 0.006833 | 0.0017125
18 | 0.0013009 | 0.00032603
19 | 0.00061965 | 0.0001553
20 | 0.00055344 | 0.0001387
21 | 0.00079637 | 0.00019959
22 | 0.0085559 | 0.0021443
23 | 0.0059474 | 0.0014906
24 | 0.0093775 | 0.0023502
25 | 0.0091632 | 0.0022965
26 | 0.013786 | 0.0034552
27 | 0.014015 | 0.0035126
28 | 0.00056486 | 0.00014157
29 | 0.00067621 | 0.00016947
30 | 0.0016351 | 0.00040979
31 | 0.0082141 | 0.0020586

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1