## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2162-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2162-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2162-1_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2162-1_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2162-1_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2162-1_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2162-1_0_5_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_2162-1_0_5_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_2162-1_0_5_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_2162-1_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2162-1_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2162-1_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2162-1_0_5_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_2162-1_0_5_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_2162-1_0_5_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_2162-1_0_5_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_2162-1_0_5_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2162-1_0_5_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_2162-1_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2162-1_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2162-1_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2162-1_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2162-1_0_5_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_2162-1_0_5_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_2162-1_0_5_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_2162-1_0_5_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_2162-1_0_5_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_2162-1_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_2162-1_0_5_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_2162-1_0_5_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_2162-1_0_5_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2162-1_0_5_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2162-1_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2162-1_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_2162-1_0_5_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_2162-1_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_2162-1_0_5_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2162-1_0_5_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_2162-1_0_5_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_2162-1_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_2162-1_0_5_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2162-1_0_5_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_2162-1_0_5_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_2162-1_0_5_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_2162-1_0_5_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_2162-1_0_5_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_2162-1_0_5_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_2162-1_0_5_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_2162-1_0_5_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_2162-1_0_5_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_2162-1_0_5_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_2162-1_0_5_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_2162-1_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_2162-1_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_2162-1_0_5_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_2162-1_0_5_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_2162-1_0_5_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_2162-1_0_5_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_2162-1_0_5_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_2162-1_0_5_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_2162-1_0_5_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_2162-1_0_5_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_2162-1_0_5_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_2162-1_0_5_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_2162-1_0_5_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_2162-1_0_5_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_2162-1_0_5_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_2162-1_0_5_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_2162-1_0_5_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_2162-1_0_5_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_2162-1_0_5_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_2162-1_0_5_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_2162-1_0_5_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_2162-1_0_5_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_2162-1_0_5_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_2162-1_0_5_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_2162-1_0_5_node_70 | 0.4 | n |  | TRUE
77 | bus_MV_30_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2162-1_0_5_load_0 | 0 | 0.0037059 | 0.00092878 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2162-1_0_5_load_1 | 1 | 0.00043245 | 0.00010838 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2162-1_0_5_load_3 | 3 | 0.0050592 | 0.0012679 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2162-1_0_5_load_4 | 4 | 0.0024434 | 0.00061236 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2162-1_0_5_load_5 | 5 | 0.0022247 | 0.00055756 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2162-1_0_5_load_39 | 7 | 0.0089937 | 0.002254 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2162-1_0_5_load_6 | 9 | 0.0018694 | 0.00046851 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2162-1_0_5_load_7 | 10 | 0.0033103 | 0.00082963 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2162-1_0_5_load_14 | 12 | 0.0025916 | 0.00064952 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2162-1_0_5_load_16 | 13 | 0.0012113 | 0.00030358 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2162-1_0_5_load_18 | 14 | 0.0074692 | 0.001872 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2162-1_0_5_load_75 | 15 | 0.0011293 | 0.00028303 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2162-1_0_5_load_17 | 17 | 0.010842 | 0.0027174 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2162-1_0_5_load_9 | 18 | 0.0017172 | 0.00043038 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2162-1_0_5_load_10 | 19 | 0.004389 | 0.0011 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2162-1_0_5_load_11 | 20 | 0.00061556 | 0.00015427 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2162-1_0_5_load_12 | 21 | 0.0022038 | 0.00055232 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2162-1_0_5_load_38 | 23 | 0.014551 | 0.0036468 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2162-1_0_5_load_27 | 24 | 0.0031947 | 0.00080067 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2162-1_0_5_load_23 | 26 | 0.0009276 | 0.00023248 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2162-1_0_5_load_19 | 27 | 0.0012993 | 0.00032563 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2162-1_0_5_load_43 | 28 | 0.004005 | 0.0010037 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2162-1_0_5_load_42 | 29 | 0.0022295 | 0.00055877 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2162-1_0_5_load_20 | 30 | 0.004255 | 0.0010664 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2162-1_0_5_load_24 | 32 | 0.0021875 | 0.00054823 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2162-1_0_5_load_25 | 33 | 0.004416 | 0.0011068 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2162-1_0_5_load_46 | 34 | 0.0049743 | 0.0012467 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2162-1_0_5_load_26 | 35 | 0.0027468 | 0.00068842 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2162-1_0_5_load_31 | 38 | 0.0032106 | 0.00080466 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2162-1_0_5_load_33 | 39 | 0.0052298 | 0.0013107 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2162-1_0_5_load_34 | 40 | 0.0016974 | 0.00042542 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2162-1_0_5_load_35 | 41 | 0.0017977 | 0.00045055 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2162-1_0_5_load_47 | 42 | 0.0031112 | 0.00077973 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2162-1_0_5_load_76 | 43 | 0.0051047 | 0.0012794 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2162-1_0_5_load_51 | 44 | 0.0036871 | 0.00092409 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2162-1_0_5_load_48 | 45 | 0.00076347 | 0.00019134 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2162-1_0_5_load_36 | 46 | 0.0017696 | 0.00044351 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2162-1_0_5_load_68 | 47 | 0.0067337 | 0.0016876 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2162-1_0_5_load_49 | 48 | 0.0061939 | 0.0015523 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2162-1_0_5_load_37 | 49 | 0.0048679 | 0.00122 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2162-1_0_5_load_40 | 50 | 0.00096412 | 0.00024163 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2162-1_0_5_load_41 | 51 | 0.0022382 | 0.00056094 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2162-1_0_5_load_44 | 52 | 0.0091702 | 0.0022983 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2162-1_0_5_load_45 | 53 | 0.008999 | 0.0022554 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2162-1_0_5_load_50 | 54 | 0.0085355 | 0.0021392 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2162-1_0_5_load_54 | 55 | 0.0028923 | 0.00072489 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2162-1_0_5_load_52 | 56 | 0.00339 | 0.00084961 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2162-1_0_5_load_69 | 57 | 0.0032393 | 0.00081185 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2162-1_0_5_load_53 | 58 | 0.0028847 | 0.00072297 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2162-1_0_5_load_55 | 59 | 0.00041482 | 0.00010396 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2162-1_0_5_load_67 | 61 | 0.0015626 | 0.00039164 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2162-1_0_5_load_74 | 62 | 0.0021754 | 0.00054522 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2162-1_0_5_load_57 | 63 | 0.0063001 | 0.001579 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2162-1_0_5_load_58 | 64 | 0.0050734 | 0.0012715 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2162-1_0_5_load_60 | 66 | 0.0045561 | 0.0011419 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2162-1_0_5_load_61 | 67 | 0.0074469 | 0.0018664 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2162-1_0_5_load_62 | 68 | 0.004127 | 0.0010343 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2162-1_0_5_load_73 | 69 | 0.0034718 | 0.00087011 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2162-1_0_5_load_72 | 70 | 0.0036387 | 0.00091195 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2162-1_0_5_load_63 | 71 | 0.0045577 | 0.0011423 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2162-1_0_5_load_64 | 72 | 0.0037453 | 0.00093867 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2162-1_0_5_load_65 | 73 | 0.010141 | 0.0025416 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2162-1_0_5_load_71 | 74 | 0.0048915 | 0.0012259 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2162-1_0_5_load_66 | 75 | 0.0081107 | 0.0020327 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2162-1_0_5_load_70 | 76 | 0.015081 | 0.0037797 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2162-1_0_5_line_0 |  | 0 | 1 | 0.031008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2162-1_0_5_line_1 |  | 0 | 2 | 0.024692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2162-1_0_5_line_2 |  | 1 | 3 | 0.0029754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2162-1_0_5_line_3 |  | 2 | 4 | 0.011677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2162-1_0_5_line_4 |  | 2 | 5 | 0.045791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2162-1_0_5_line_5 |  | 3 | 9 | 0.028381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2162-1_0_5_line_6 |  | 4 | 10 | 0.0032707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2162-1_0_5_line_7 |  | 5 | 11 | 0.034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2162-1_0_5_line_8 |  | 6 | 7 | 0.052279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2162-1_0_5_line_9 |  | 6 | 8 | 0.011275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2162-1_0_5_line_10 |  | 8 | 23 | 0.12164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2162-1_0_5_line_11 |  | 8 | 24 | 0.028415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2162-1_0_5_line_12 |  | 9 | 12 | 0.071443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2162-1_0_5_line_13 |  | 10 | 13 | 0.032585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2162-1_0_5_line_14 |  | 11 | 14 | 0.056876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2162-1_0_5_line_15 |  | 11 | 15 | 0.11559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2162-1_0_5_line_16 |  | 12 | 16 | 0.033152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2162-1_0_5_line_17 |  | 13 | 17 | 0.0135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2162-1_0_5_line_18 |  | 16 | 25 | 0.039512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2162-1_0_5_line_19 |  | 17 | 29 | 0.51136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2162-1_0_5_line_20 |  | 18 | 19 | 0.0058637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2162-1_0_5_line_21 |  | 18 | 20 | 0.01083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2162-1_0_5_line_22 |  | 19 | 21 | 0.028755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2162-1_0_5_line_23 |  | 20 | 22 | 0.24125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2162-1_0_5_line_24 |  | 21 | 25 | 0.020446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2162-1_0_5_line_25 |  | 22 | 26 | 0.053694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2162-1_0_5_line_26 |  | 23 | 42 | 0.05755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_2162-1_0_5_line_27 |  | 24 | 35 | 0.01432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2162-1_0_5_line_28 |  | 25 | 27 | 0.009335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2162-1_0_5_line_29 |  | 27 | 28 | 0.012627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2162-1_0_5_line_30 |  | 28 | 34 | 0.02415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2162-1_0_5_line_31 |  | 29 | 31 | 0.14015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2162-1_0_5_line_32 |  | 30 | 31 | 0.047806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2162-1_0_5_line_33 |  | 31 | 32 | 0.10127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2162-1_0_5_line_34 |  | 32 | 33 | 0.021765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2162-1_0_5_line_35 |  | 34 | 42 | 0.0005955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2162-1_0_5_line_36 |  | 35 | 36 | 0.049789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2162-1_0_5_line_37 |  | 36 | 37 | 0.0111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2162-1_0_5_line_38 |  | 36 | 38 | 0.020838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2162-1_0_5_line_39 |  | 37 | 39 | 0.016506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2162-1_0_5_line_40 |  | 37 | 40 | 0.018275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2162-1_0_5_line_41 |  | 38 | 41 | 0.010355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2162-1_0_5_line_42 |  | 39 | 44 | 0.0039775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2162-1_0_5_line_43 |  | 40 | 45 | 0.0097506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2162-1_0_5_line_44 |  | 41 | 46 | 0.0091379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2162-1_0_5_line_45 |  | 42 | 43 | 0.15297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2162-1_0_5_line_46 |  | 44 | 47 | 0.012775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2162-1_0_5_line_47 |  | 45 | 48 | 0.023975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_2162-1_0_5_line_48 |  | 46 | 49 | 0.023698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2162-1_0_5_line_49 |  | 47 | 57 | 0.020387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2162-1_0_5_line_50 |  | 48 | 54 | 0.0084767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2162-1_0_5_line_51 |  | 49 | 50 | 0.00036887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2162-1_0_5_line_52 |  | 50 | 51 | 0.0055882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2162-1_0_5_line_53 |  | 51 | 52 | 0.03469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2162-1_0_5_line_54 |  | 52 | 53 | 0.03497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2162-1_0_5_line_55 |  | 54 | 55 | 0.022544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2162-1_0_5_line_56 |  | 55 | 56 | 0.0064299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2162-1_0_5_line_57 |  | 56 | 58 | 0.016736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2162-1_0_5_line_58 |  | 57 | 76 | 0.016051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2162-1_0_5_line_59 |  | 58 | 59 | 0.0098493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2162-1_0_5_line_60 |  | 59 | 60 | 0.039573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2162-1_0_5_line_61 |  | 60 | 61 | 0.023948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2162-1_0_5_line_62 |  | 61 | 62 | 0.017247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2162-1_0_5_line_63 |  | 62 | 69 | 0.012334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2162-1_0_5_line_64 |  | 63 | 64 | 0.032365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2162-1_0_5_line_65 |  | 63 | 65 | 0.019732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2162-1_0_5_line_66 |  | 64 | 66 | 0.032904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2162-1_0_5_line_67 |  | 65 | 67 | 0.010927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2162-1_0_5_line_68 |  | 65 | 68 | 0.012851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2162-1_0_5_line_69 |  | 66 | 71 | 0.033784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2162-1_0_5_line_70 |  | 68 | 72 | 0.018936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2162-1_0_5_line_71 |  | 69 | 70 | 0.036693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2162-1_0_5_line_72 |  | 70 | 74 | 0.026452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2162-1_0_5_line_73 |  | 71 | 73 | 0.033279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2162-1_0_5_line_74 |  | 72 | 74 | 0.006862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2162-1_0_5_line_75 |  | 73 | 75 | 0.026476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2162-1_0_5_trafo_29 | 0.63 MVA 20/0.4 kV | 77 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2571900.5785 | 1154736.0848 | 2571897.9651 | 1154732.0054 | 2571884.1509 | 1154709.7864
1 | 2571913.8982 | 1154756.8766 | 2571900.5785 | 1154736.0848
2 | 2571884.1509 | 1154709.7864 | 2571882.5798 | 1154707.2595
3 | 2571913.8982 | 1154756.8766 | 2571919.9791 | 1154766.8455
4 | 2571913.8982 | 1154756.8766 | 2571923.7554 | 1154748.8264 | 2571936.8636 | 1154738.849 | 2571938.3765 | 1154737.5969 | 2571949.2397 | 1154727.8019
5 | 2571867.5944 | 1154683.1568 | 2571882.5798 | 1154707.2595
6 | 2571921.6824 | 1154769.6377 | 2571919.9791 | 1154766.8455
7 | 2571974.4904 | 1154705.034 | 2571949.2397 | 1154727.8019
8 | 2571711.1496 | 1154408.243 | 2571734.1785 | 1154395.3836 | 2571737.1808 | 1154392.757 | 2571736.2935 | 1154381.9113 | 2571746.0136 | 1154376.6929
9 | 2571711.1496 | 1154408.243 | 2571707.0181 | 1154410.5414 | 2571701.3187 | 1154413.8143
10 | 2571701.3187 | 1154413.8143 | 2571764.8011 | 1154517.5739
11 | 2571701.3187 | 1154413.8143 | 2571695.2436 | 1154404.1048 | 2571684.1531 | 1154391.2715
12 | 2571829.8725 | 1154622.4845 | 2571867.5944 | 1154683.1568
13 | 2571921.6824 | 1154769.6377 | 2571938.6512 | 1154797.4556
14 | 2571974.4904 | 1154705.034 | 2571983.1139 | 1154718.545 | 2571989.8426 | 1154748.4619 | 2571993.6356 | 1154757.9126
15 | 2571974.4904 | 1154705.034 | 2571982.2079 | 1154589.6981
16 | 2571812.0385 | 1154594.5394 | 2571825.3908 | 1154615.276 | 2571829.8725 | 1154622.4845
17 | 2571945.6816 | 1154808.9808 | 2571938.6512 | 1154797.4556
18 | 2571812.0385 | 1154594.5394 | 2571777.0167 | 1154613.0244
19 | 2571945.6816 | 1154808.9808 | 2572103.7767 | 1155295.2831
20 | 2571804.7328 | 1154660.6059 | 2571801.7814 | 1154655.5391
21 | 2571810.1838 | 1154669.9637 | 2571804.7328 | 1154660.6059
22 | 2571787.3081 | 1154630.692 | 2571801.7814 | 1154655.5391
23 | 2571810.1838 | 1154669.9637 | 2571654.6751 | 1154854.3998
24 | 2571777.0167 | 1154613.0244 | 2571787.3081 | 1154630.692
25 | 2571654.6751 | 1154854.3998 | 2571658.1617 | 1154853.6719 | 2571666.141 | 1154857.3805 | 2571696.9302 | 1154885.0936
26 | 2571751.8843 | 1154573.6556 | 2571764.8011 | 1154517.5739
27 | 2571674.7897 | 1154380.4366 | 2571684.1531 | 1154391.2715
28 | 2571777.0167 | 1154613.0244 | 2571771.9937 | 1154605.1561
29 | 2571771.9937 | 1154605.1561 | 2571765.1995 | 1154594.5133
30 | 2571752.2048 | 1154574.1576 | 2571765.1995 | 1154594.5133
31 | 2572142.0999 | 1155430.0948 | 2572103.7767 | 1155295.2831
32 | 2572142.0999 | 1155430.0948 | 2572119.5147 | 1155442.0502 | 2572097.2852 | 1155443.054
33 | 2572142.0999 | 1155430.0948 | 2572203.0003 | 1155511.0008
34 | 2572216.7314 | 1155527.8876 | 2572203.0003 | 1155511.0008
35 | 2571752.2048 | 1154574.1576 | 2571751.8843 | 1154573.6556
36 | 2571639.2153 | 1154345.7289 | 2571664.0904 | 1154368.0559 | 2571674.7897 | 1154380.4366
37 | 2571639.2153 | 1154345.7289 | 2571632.4997 | 1154336.8784
38 | 2571639.2153 | 1154345.7289 | 2571656.5596 | 1154334.1784
39 | 2571632.4997 | 1154336.8784 | 2571621.2652 | 1154348.9709
40 | 2571632.4997 | 1154336.8784 | 2571629.0074 | 1154331.6034 | 2571622.9953 | 1154321.2776
41 | 2571656.5596 | 1154334.1784 | 2571665.1787 | 1154328.4386
42 | 2571621.2652 | 1154348.9709 | 2571621.2652 | 1154348.9709 | 2571623.0324 | 1154352.5342
43 | 2571622.9953 | 1154321.2776 | 2571618.0891 | 1154312.8512
44 | 2571672.7844 | 1154323.3735 | 2571665.1787 | 1154328.4386
45 | 2571751.8843 | 1154573.6556 | 2571600.9762 | 1154598.6699
46 | 2571628.1201 | 1154363.9722 | 2571628.4214 | 1154363.3999 | 2571623.0324 | 1154352.5342
47 | 2571606.0257 | 1154292.1322 | 2571618.0891 | 1154312.8512
48 | 2571672.7844 | 1154323.3735 | 2571674.0166 | 1154322.5529 | 2571692.6703 | 1154310.484
49 | 2571628.1201 | 1154363.9722 | 2571618.6216 | 1154382.0111
50 | 2571601.7605 | 1154284.8067 | 2571606.0257 | 1154292.1322
51 | 2571692.98 | 1154310.2836 | 2571692.6703 | 1154310.484
52 | 2571692.98 | 1154310.2836 | 2571697.6718 | 1154307.2481
53 | 2571728.2708 | 1154316.3041 | 2571722.0863 | 1154311.8098 | 2571707.4214 | 1154304.1195 | 2571701.2424 | 1154304.9379 | 2571697.6718 | 1154307.2481
54 | 2571757.972 | 1154334.7301 | 2571739.0256 | 1154323.5581 | 2571731.0384 | 1154318.3153 | 2571728.2708 | 1154316.3041
55 | 2571601.7605 | 1154284.8067 | 2571590.4168 | 1154265.324
56 | 2571587.3856 | 1154259.66 | 2571588.5358 | 1154262.0933 | 2571590.4168 | 1154265.324
57 | 2571587.3856 | 1154259.66 | 2571580.2334 | 1154244.5292
58 | 2571603.4315 | 1154376.8248 | 2571618.6216 | 1154382.0111
59 | 2571580.2334 | 1154244.5292 | 2571578.5321 | 1154240.9301 | 2571577.0222 | 1154235.2594
60 | 2571566.8403 | 1154197.019 | 2571577.0222 | 1154235.2594
61 | 2571566.8403 | 1154197.019 | 2571552.6633 | 1154198.4869 | 2571543.982 | 1154194.1704
62 | 2571533.4193 | 1154180.5368 | 2571543.982 | 1154194.1704 | 2571543.982 | 1154194.1704
63 | 2571528.9068 | 1154169.2744 | 2571531.1616 | 1154177.6229 | 2571533.4193 | 1154180.5368
64 | 2571463.0478 | 1154107.416 | 2571459.7822 | 1154097.266 | 2571449.8603 | 1154077.964
65 | 2571478.2973 | 1154117.4992 | 2571469.4495 | 1154115.3069 | 2571464.3139 | 1154111.3515 | 2571463.0478 | 1154107.416
66 | 2571427.9074 | 1154053.6289 | 2571429.3429 | 1154055.4899 | 2571448.4155 | 1154075.1534 | 2571449.8603 | 1154077.964
67 | 2571478.2973 | 1154117.4992 | 2571488.7782 | 1154114.4075
68 | 2571478.2973 | 1154117.4992 | 2571478.4581 | 1154130.3494 | 2571478.4581 | 1154130.3494
69 | 2571427.9074 | 1154053.6289 | 2571416.7918 | 1154039.2193 | 2571408.4094 | 1154026.0799
70 | 2571478.4581 | 1154130.3494 | 2571483.4348 | 1154148.6194
71 | 2571528.9068 | 1154169.2744 | 2571493.892 | 1154180.2455
72 | 2571493.892 | 1154180.2455 | 2571485.4687 | 1154155.1701
73 | 2571380.2724 | 1154024.2029 | 2571392.4052 | 1154018.4695 | 2571397.4246 | 1154017.3339 | 2571403.2947 | 1154019.2513 | 2571407.4163 | 1154024.5232 | 2571408.4094 | 1154026.0799
74 | 2571485.4687 | 1154155.1701 | 2571484.1498 | 1154151.2439 | 2571483.4348 | 1154148.6194
75 | 2571380.2724 | 1154024.2029 | 2571376.5305 | 1154025.9711 | 2571373.7593 | 1154030.431 | 2571373.6925 | 1154035.7229 | 2571378.5415 | 1154046.4749

## bus_geodata
| x | y | coords
0 | 2571900.5785 | 1154736.0848
1 | 2571884.1509 | 1154709.7864
2 | 2571913.8982 | 1154756.8766
3 | 2571882.5798 | 1154707.2595
4 | 2571919.9791 | 1154766.8455
5 | 2571949.2397 | 1154727.8019
6 | 2571711.1496 | 1154408.243
7 | 2571746.0136 | 1154376.6929
8 | 2571701.3187 | 1154413.8143
9 | 2571867.5944 | 1154683.1568
10 | 2571921.6824 | 1154769.6377
11 | 2571974.4904 | 1154705.034
12 | 2571829.8725 | 1154622.4845
13 | 2571938.6512 | 1154797.4556
14 | 2571993.6356 | 1154757.9126
15 | 2571982.2079 | 1154589.6981
16 | 2571812.0385 | 1154594.5394
17 | 2571945.6816 | 1154808.9808
18 | 2571804.7329 | 1154660.6059
19 | 2571801.7814 | 1154655.5391
20 | 2571810.1838 | 1154669.9637
21 | 2571787.3081 | 1154630.692
22 | 2571654.6751 | 1154854.3998
23 | 2571764.8011 | 1154517.5739
24 | 2571684.1531 | 1154391.2715
25 | 2571777.0167 | 1154613.0244
26 | 2571696.9302 | 1154885.0936
27 | 2571771.9937 | 1154605.1561
28 | 2571765.1995 | 1154594.5133
29 | 2572103.7767 | 1155295.2831
30 | 2572097.2852 | 1155443.054
31 | 2572142.0999 | 1155430.0948
32 | 2572203.0003 | 1155511.0008
33 | 2572216.7314 | 1155527.8876
34 | 2571752.2048 | 1154574.1576
35 | 2571674.7897 | 1154380.4366
36 | 2571639.2153 | 1154345.7289
37 | 2571632.4997 | 1154336.8784
38 | 2571656.5596 | 1154334.1784
39 | 2571621.2652 | 1154348.9709
40 | 2571622.9953 | 1154321.2776
41 | 2571665.1787 | 1154328.4385
42 | 2571751.8843 | 1154573.6556
43 | 2571600.9762 | 1154598.6699
44 | 2571623.0324 | 1154352.5342
45 | 2571618.0891 | 1154312.8512
46 | 2571672.7844 | 1154323.3735
47 | 2571628.1201 | 1154363.9722
48 | 2571606.0257 | 1154292.1322
49 | 2571692.6703 | 1154310.484
50 | 2571692.98 | 1154310.2836
51 | 2571697.6718 | 1154307.2481
52 | 2571728.2708 | 1154316.3041
53 | 2571757.972 | 1154334.7301
54 | 2571601.7605 | 1154284.8067
55 | 2571590.4168 | 1154265.324
56 | 2571587.3856 | 1154259.66
57 | 2571618.6216 | 1154382.0111
58 | 2571580.2334 | 1154244.5292
59 | 2571577.0222 | 1154235.2594
60 | 2571566.8403 | 1154197.019
61 | 2571543.982 | 1154194.1704
62 | 2571533.4193 | 1154180.5368
63 | 2571463.0478 | 1154107.416
64 | 2571449.8603 | 1154077.964
65 | 2571478.2973 | 1154117.4992
66 | 2571427.9074 | 1154053.6289
67 | 2571488.7782 | 1154114.4075
68 | 2571478.4581 | 1154130.3494
69 | 2571528.9068 | 1154169.2744
70 | 2571493.892 | 1154180.2455
71 | 2571408.4094 | 1154026.0799
72 | 2571483.4348 | 1154148.6194
73 | 2571380.2724 | 1154024.2029
74 | 2571485.4687 | 1154155.1701
75 | 2571378.5415 | 1154046.4749
76 | 2571603.4315 | 1154376.8248
77 | 2571711.1496 | 1154408.243

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9818 | -0.34956 | 0.0037059 | 0.00092878
1 | 0.98311 | -0.3241 | 0.00043245 | 0.00010838
2 | 0.98085 | -0.36822 | 0 | 0
3 | 0.98323 | -0.32164 | 0.0050592 | 0.0012679
4 | 0.98051 | -0.37476 | 0.0024434 | 0.00061236
5 | 0.98039 | -0.37721 | 0.0022247 | 0.00055756
6 | 0.99991 | -0.001768 | 0 | 0
7 | 0.99948 | -0.0099688 | 0.0089937 | 0.002254
8 | 1 | 0 | -0.28238 | -0.071859
9 | 0.98457 | -0.2956 | 0.0018694 | 0.00046851
10 | 0.98042 | -0.37645 | 0.0033103 | 0.00082963
11 | 0.98012 | -0.38252 | 0 | 0
12 | 0.98807 | -0.22799 | 0.0025916 | 0.00064952
13 | 0.97966 | -0.39134 | 0.0012113 | 0.00030358
14 | 0.97972 | -0.39023 | 0.0074692 | 0.001872
15 | 0.98 | -0.38489 | 0.0011293 | 0.00028303
16 | 0.98977 | -0.19524 | 0 | 0
17 | 0.97936 | -0.39721 | 0.010842 | 0.0027174
18 | 0.99038 | -0.18362 | 0.0017172 | 0.00043038
19 | 0.9904 | -0.18328 | 0.004389 | 0.0011
20 | 0.99037 | -0.18392 | 0.00061556 | 0.00015427
21 | 0.9906 | -0.17937 | 0.0022038 | 0.00055232
22 | 0.99016 | -0.18792 | 0 | 0
23 | 0.99449 | -0.10483 | 0.014551 | 0.0036468
24 | 0.99778 | -0.042074 | 0.0031947 | 0.00080067
25 | 0.99079 | -0.17578 | 0 | 0
26 | 0.99012 | -0.18881 | 0.0009276 | 0.00023248
27 | 0.99107 | -0.17038 | 0.0012993 | 0.00032563
28 | 0.99146 | -0.16292 | 0.004005 | 0.0010037
29 | 0.97312 | -0.51978 | 0.0022295 | 0.00055877
30 | 0.9715 | -0.5516 | 0.004255 | 0.0010664
31 | 0.97169 | -0.54785 | 0 | 0
32 | 0.97107 | -0.5602 | 0.0021875 | 0.00054823
33 | 0.97098 | -0.56198 | 0.004416 | 0.0011068
34 | 0.99225 | -0.14782 | 0.0049743 | 0.0012467
35 | 0.99668 | -0.062948 | 0.0027468 | 0.00068842
36 | 0.99292 | -0.13467 | 0 | 0
37 | 0.99225 | -0.14749 | 0 | 0
38 | 0.99229 | -0.14684 | 0.0032106 | 0.00080466
39 | 0.99174 | -0.15742 | 0.0052298 | 0.0013107
40 | 0.99143 | -0.16313 | 0.0016974 | 0.00042542
41 | 0.99201 | -0.15231 | 0.0017977 | 0.00045055
42 | 0.99227 | -0.14742 | 0.0031112 | 0.00077973
43 | 0.99155 | -0.16126 | 0.0051047 | 0.0012794
44 | 0.99163 | -0.15945 | 0.0036871 | 0.00092409
45 | 0.991 | -0.17133 | 0.00076347 | 0.00019134
46 | 0.99177 | -0.15685 | 0.0017696 | 0.00044351
47 | 0.99134 | -0.16512 | 0.0067337 | 0.0016876
48 | 0.98995 | -0.19138 | 0.0061939 | 0.0015523
49 | 0.9912 | -0.16787 | 0.0048679 | 0.00122
50 | 0.9912 | -0.16801 | 0.00096412 | 0.00024163
51 | 0.99109 | -0.17003 | 0.0022382 | 0.00056094
52 | 0.99051 | -0.18123 | 0.0091702 | 0.0022983
53 | 0.99023 | -0.18682 | 0.008999 | 0.0022554
54 | 0.98961 | -0.19801 | 0.0085355 | 0.0021392
55 | 0.98794 | -0.22992 | 0.0028923 | 0.00072489
56 | 0.98748 | -0.23871 | 0.00339 | 0.00084961
57 | 0.991 | -0.17175 | 0.0032393 | 0.00081185
58 | 0.98634 | -0.2606 | 0.0028847 | 0.00072297
59 | 0.9857 | -0.273 | 0.00041482 | 0.00010396
60 | 0.98312 | -0.32269 | 0 | 0
61 | 0.98157 | -0.35289 | 0.0015626 | 0.00039164
62 | 0.98047 | -0.3742 | 0.0021754 | 0.00054522
63 | 0.97361 | -0.50846 | 0.0063001 | 0.001579
64 | 0.97263 | -0.52779 | 0.0050734 | 0.0012715
65 | 0.97433 | -0.49442 | 0 | 0
66 | 0.97179 | -0.5444 | 0.0045561 | 0.0011419
67 | 0.97425 | -0.49591 | 0.0074469 | 0.0018664
68 | 0.97488 | -0.48352 | 0.004127 | 0.0010343
69 | 0.97971 | -0.38899 | 0.0034718 | 0.00087011
70 | 0.97757 | -0.43079 | 0.0036387 | 0.00091195
71 | 0.97107 | -0.55863 | 0.0045577 | 0.0011423
72 | 0.97577 | -0.46606 | 0.0037453 | 0.00093867
73 | 0.9705 | -0.56986 | 0.010141 | 0.0025416
74 | 0.97611 | -0.45928 | 0.0048915 | 0.0012259
75 | 0.9703 | -0.57384 | 0.0081107 | 0.0020327
76 | 0.99078 | -0.17605 | 0.015081 | 0.0037797
77 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.045605 | -0.011485 | 0.04566 | 0.011521 | 5.5583e-05 | 3.5181e-05 | 0.069139 | 0.069138 | 0.069139 | 0.9818 | -0.34956 | 0.98311 | -0.3241 | 18.9941
1 | 0.041899 | 0.010557 | -0.041862 | -0.010533 | 3.7363e-05 | 2.36e-05 | 0.063522 | 0.063522 | 0.063522 | 0.9818 | -0.34956 | 0.98085 | -0.36822 | 17.4511
2 | -0.046093 | -0.011629 | 0.046098 | 0.011632 | 5.4351e-06 | 3.4407e-06 | 0.069793 | 0.069793 | 0.069793 | 0.98311 | -0.3241 | 0.98323 | -0.32164 | 19.1739
3 | 0.031029 | 0.0078174 | -0.031019 | -0.0078114 | 9.7091e-06 | 6.0665e-06 | 0.047088 | 0.047088 | 0.047088 | 0.98085 | -0.36822 | 0.98051 | -0.37476 | 12.9361
4 | 0.010833 | 0.0027156 | -0.010828 | -0.0027132 | 4.638e-06 | 2.3907e-06 | 0.016435 | 0.016435 | 0.016435 | 0.98085 | -0.36822 | 0.98039 | -0.37721 | 4.515
5 | -0.051157 | -0.0129 | 0.051221 | 0.012941 | 6.3841e-05 | 4.0498e-05 | 0.077449 | 0.077449 | 0.077449 | 0.98323 | -0.32164 | 0.98457 | -0.2956 | 21.2773
6 | 0.028576 | 0.007199 | -0.028573 | -0.0071976 | 2.3081e-06 | 1.4359e-06 | 0.04338 | 0.04338 | 0.04338 | 0.98051 | -0.37476 | 0.98042 | -0.37645 | 11.9175
7 | 0.0086036 | 0.0021556 | -0.0086014 | -0.0021547 | 2.1741e-06 | 9.628e-07 | 0.013058 | 0.013058 | 0.013058 | 0.98039 | -0.37721 | 0.98012 | -0.38252 | 3.5874
8 | 0.0089972 | 0.0022556 | -0.0089937 | -0.002254 | 3.5148e-06 | 1.564e-06 | 0.013389 | 0.01339 | 0.01339 | 0.99991 | -0.001768 | 0.99948 | -0.0099688 | 3.6785
9 | -0.0089972 | -0.0022556 | 0.008998 | 0.0022559 | 7.5801e-07 | 3.3722e-07 | 0.013389 | 0.013389 | 0.013389 | 0.99991 | -0.001768 | 1 | 0 | 3.6784
10 | 0.099671 | 0.025493 | -0.099168 | -0.025175 | 0.00050292 | 0.00031869 | 0.14849 | 0.1485 | 0.1485 | 1 | 0 | 0.99449 | -0.10483 | 20.3977
11 | 0.17206 | 0.044109 | -0.17171 | -0.043886 | 0.00035021 | 0.00022339 | 0.25638 | 0.25639 | 0.25639 | 1 | 0 | 0.99778 | -0.042074 | 35.2177
12 | -0.053091 | -0.013409 | 0.053263 | 0.013519 | 0.00017264 | 0.00010958 | 0.080275 | 0.080274 | 0.080275 | 0.98457 | -0.2956 | 0.98807 | -0.22799 | 22.0534
13 | 0.025263 | 0.0063679 | -0.025245 | -0.0063568 | 1.7976e-05 | 1.1094e-05 | 0.038355 | 0.038356 | 0.038356 | 0.98042 | -0.37645 | 0.97966 | -0.39134 | 10.5373
14 | 0.007472 | 0.001873 | -0.0074692 | -0.001872 | 2.7448e-06 | 1.0402e-06 | 0.011344 | 0.011344 | 0.011344 | 0.98012 | -0.38252 | 0.97972 | -0.39023 | 3.1166
15 | 0.0011294 | 0.00028165 | -0.0011293 | -0.00028303 | 1.2741e-07 | -1.3751e-06 | 0.0017142 | 0.0017147 | 0.0017147 | 0.98012 | -0.38252 | 0.98 | -0.38489 | 0.47107
16 | -0.055855 | -0.014168 | 0.055943 | 0.014224 | 8.8089e-05 | 5.5952e-05 | 0.084177 | 0.084177 | 0.084177 | 0.98807 | -0.22799 | 0.98977 | -0.19524 | 23.1256
17 | 0.024034 | 0.0060533 | -0.024027 | -0.0060491 | 6.7505e-06 | 4.1504e-06 | 0.036516 | 0.036516 | 0.036516 | 0.97966 | -0.39134 | 0.97936 | -0.39721 | 10.0318
18 | -0.055943 | -0.014224 | 0.055996 | 0.014257 | 5.2495e-05 | 3.258e-05 | 0.084177 | 0.084177 | 0.084177 | 0.98977 | -0.19524 | 0.99079 | -0.17578 | 11.5628
19 | 0.013185 | 0.0033317 | -0.013108 | -0.0032888 | 7.7036e-05 | 4.2909e-05 | 0.020042 | 0.020044 | 0.020044 | 0.97936 | -0.39721 | 0.97312 | -0.51978 | 5.5067
20 | -0.0032606 | -0.00081335 | 0.0032607 | 0.00081331 | 5.2744e-08 | -4.1701e-08 | 0.0048976 | 0.0048976 | 0.0048976 | 0.99038 | -0.18362 | 0.9904 | -0.18328 | 1.3455
21 | 0.0015434 | 0.00038297 | -0.0015434 | -0.0003831 | 2.1813e-08 | -1.254e-07 | 0.0023175 | 0.0023176 | 0.0023176 | 0.99038 | -0.18362 | 0.99037 | -0.18392 | 0.6367
22 | -0.0076497 | -0.0019133 | 0.0076511 | 0.0019138 | 1.424e-06 | 5.4126e-07 | 0.011492 | 0.011492 | 0.011492 | 0.9904 | -0.18328 | 0.9906 | -0.17937 | 3.1571
23 | 0.00092782 | 0.00022882 | -0.00092764 | -0.00023181 | 1.7562e-07 | -2.9913e-06 | 0.0013927 | 0.0013938 | 0.0013938 | 0.99037 | -0.18392 | 0.99016 | -0.18792 | 0.38292
24 | -0.0098549 | -0.0024662 | 0.0098566 | 0.002467 | 1.6799e-06 | 8.1187e-07 | 0.014802 | 0.014802 | 0.014802 | 0.9906 | -0.17937 | 0.99079 | -0.17578 | 4.0665
25 | 0.00092764 | 0.00023181 | -0.0009276 | -0.00023248 | 3.9124e-08 | -6.6557e-07 | 0.0013938 | 0.0013941 | 0.0013941 | 0.99016 | -0.18792 | 0.99012 | -0.18881 | 0.38298
26 | 0.084618 | 0.021528 | -0.084444 | -0.021419 | 0.00017329 | 0.00010941 | 0.12672 | 0.12672 | 0.12672 | 0.99449 | -0.10483 | 0.99227 | -0.14742 | 17.4072
27 | 0.16852 | 0.043085 | -0.16835 | -0.042977 | 0.00017 | 0.00010843 | 0.25162 | 0.25162 | 0.25162 | 0.99778 | -0.042074 | 0.99668 | -0.062948 | 34.5633
28 | -0.065852 | -0.016724 | 0.065869 | 0.016735 | 1.7147e-05 | 1.0734e-05 | 0.098978 | 0.098978 | 0.098978 | 0.99079 | -0.17578 | 0.99107 | -0.17038 | 13.5959
29 | -0.067169 | -0.01706 | 0.067193 | 0.017075 | 2.4117e-05 | 1.5109e-05 | 0.10093 | 0.10093 | 0.10093 | 0.99107 | -0.17038 | 0.99146 | -0.16292 | 13.8639
30 | -0.071198 | -0.018079 | 0.071249 | 0.018112 | 5.1784e-05 | 3.2518e-05 | 0.10694 | 0.10694 | 0.10694 | 0.99146 | -0.16292 | 0.99225 | -0.14782 | 14.6895
31 | 0.010878 | 0.0027301 | -0.010863 | -0.0027225 | 1.4545e-05 | 7.5701e-06 | 0.016635 | 0.016636 | 0.016636 | 0.97312 | -0.51978 | 0.97169 | -0.54785 | 4.5703
32 | -0.004255 | -0.0010664 | 0.0042557 | 0.0010663 | 7.6141e-07 | -1.0476e-07 | 0.0065172 | 0.006517 | 0.0065172 | 0.9715 | -0.5516 | 0.97169 | -0.54785 | 1.7904
33 | 0.0066078 | 0.0016562 | -0.0066039 | -0.001655 | 3.8885e-06 | 1.2351e-06 | 0.010119 | 0.010119 | 0.010119 | 0.97169 | -0.54785 | 0.97107 | -0.5602 | 2.7801
34 | 0.0044164 | 0.0011067 | -0.004416 | -0.0011068 | 3.738e-07 | -2.9999e-08 | 0.0067674 | 0.0067675 | 0.0067675 | 0.97107 | -0.5602 | 0.97098 | -0.56198 | 1.8592
35 | -0.076224 | -0.019358 | 0.076225 | 0.019359 | 1.4613e-06 | 9.1983e-07 | 0.1144 | 0.1144 | 0.1144 | 0.99225 | -0.14782 | 0.99227 | -0.14742 | 15.7142
36 | 0.1656 | 0.042288 | -0.16503 | -0.041924 | 0.00057194 | 0.00036475 | 0.24752 | 0.24752 | 0.24752 | 0.99668 | -0.062948 | 0.99292 | -0.13467 | 34.0001
37 | 0.13195 | 0.033611 | -0.13187 | -0.03356 | 8.1544e-05 | 5.1902e-05 | 0.19794 | 0.19794 | 0.19794 | 0.99292 | -0.13467 | 0.99225 | -0.14749 | 27.1897
38 | 0.033078 | 0.0083122 | -0.033059 | -0.0083002 | 1.9209e-05 | 1.2025e-05 | 0.04958 | 0.04958 | 0.04958 | 0.99292 | -0.13467 | 0.99229 | -0.14684 | 13.6209
39 | 0.034006 | 0.0085352 | -0.03399 | -0.0085251 | 1.61e-05 | 1.0091e-05 | 0.051001 | 0.051001 | 0.051001 | 0.99225 | -0.14749 | 0.99174 | -0.15742 | 14.0113
40 | 0.097865 | 0.025024 | -0.097791 | -0.024977 | 7.3984e-05 | 4.6878e-05 | 0.14694 | 0.14694 | 0.14694 | 0.99225 | -0.14749 | 0.99143 | -0.16313 | 20.1841
41 | 0.029849 | 0.0074955 | -0.029841 | -0.0074907 | 7.7819e-06 | 4.8467e-06 | 0.044765 | 0.044766 | 0.044766 | 0.99229 | -0.14684 | 0.99201 | -0.15231 | 12.2982
42 | 0.02876 | 0.0072144 | -0.028757 | -0.0072127 | 2.7777e-06 | 1.7264e-06 | 0.043154 | 0.043154 | 0.043154 | 0.99174 | -0.15742 | 0.99163 | -0.15945 | 11.8556
43 | 0.096094 | 0.024552 | -0.096056 | -0.024528 | 3.8117e-05 | 2.4144e-05 | 0.14439 | 0.14439 | 0.14439 | 0.99143 | -0.16313 | 0.991 | -0.17133 | 19.8342
44 | 0.028043 | 0.0070401 | -0.028037 | -0.0070364 | 6.0646e-06 | 3.7634e-06 | 0.042069 | 0.042069 | 0.042069 | 0.99201 | -0.15231 | 0.99177 | -0.15685 | 11.5574
45 | 0.0051081 | 0.0012795 | -0.0051047 | -0.0012794 | 3.366e-06 | 1.7976e-07 | 0.0076599 | 0.0076606 | 0.0076606 | 0.99227 | -0.14742 | 0.99155 | -0.16126 | 2.1046
46 | 0.02507 | 0.0062886 | -0.025063 | -0.0062844 | 6.7807e-06 | 4.1749e-06 | 0.037621 | 0.037621 | 0.037621 | 0.99163 | -0.15945 | 0.99134 | -0.16512 | 10.3356
47 | 0.095292 | 0.024337 | -0.0952 | -0.024278 | 9.2242e-05 | 5.8418e-05 | 0.14325 | 0.14325 | 0.14325 | 0.991 | -0.17133 | 0.98995 | -0.19138 | 19.6767
48 | 0.026267 | 0.0065928 | -0.026254 | -0.0065843 | 1.3805e-05 | 8.5297e-06 | 0.039414 | 0.039414 | 0.039414 | 0.99177 | -0.15685 | 0.9912 | -0.16787 | 10.828
49 | 0.01833 | 0.0045968 | -0.018324 | -0.0045934 | 5.7875e-06 | 3.4412e-06 | 0.027514 | 0.027514 | 0.027514 | 0.99134 | -0.16512 | 0.991 | -0.17175 | 7.5588
50 | 0.089006 | 0.022726 | -0.088978 | -0.022708 | 2.8512e-05 | 1.803e-05 | 0.13394 | 0.13394 | 0.13394 | 0.98995 | -0.19138 | 0.98961 | -0.19801 | 18.3979
51 | 0.021386 | 0.0053643 | -0.021386 | -0.0053642 | 1.4259e-07 | 8.6502e-08 | 0.032106 | 0.032106 | 0.032106 | 0.9912 | -0.16787 | 0.9912 | -0.16801 | 8.8204
52 | 0.020421 | 0.0051226 | -0.020419 | -0.0051214 | 1.9698e-06 | 1.1886e-06 | 0.030659 | 0.030659 | 0.030659 | 0.9912 | -0.16801 | 0.99109 | -0.17003 | 8.4228
53 | 0.018181 | 0.0045605 | -0.018172 | -0.0045547 | 9.6942e-06 | 5.7575e-06 | 0.027299 | 0.027299 | 0.027299 | 0.99109 | -0.17003 | 0.99051 | -0.18123 | 7.4996
54 | 0.0090014 | 0.0022564 | -0.008999 | -0.0022554 | 2.398e-06 | 1.0848e-06 | 0.013523 | 0.013523 | 0.013523 | 0.99051 | -0.18123 | 0.99023 | -0.18682 | 3.715
55 | 0.080442 | 0.020569 | -0.080318 | -0.02049 | 0.00012399 | 7.9063e-05 | 0.1211 | 0.1211 | 0.1211 | 0.98961 | -0.19801 | 0.98794 | -0.22992 | 33.2699
56 | 0.077426 | 0.019765 | -0.077393 | -0.019744 | 3.2864e-05 | 2.0951e-05 | 0.11675 | 0.11675 | 0.11675 | 0.98794 | -0.22992 | 0.98748 | -0.23871 | 32.0731
57 | 0.074003 | 0.018894 | -0.073925 | -0.018844 | 7.8218e-05 | 4.9846e-05 | 0.11164 | 0.11164 | 0.11164 | 0.98748 | -0.23871 | 0.98634 | -0.2606 | 30.6698
58 | 0.015084 | 0.0037815 | -0.015081 | -0.0037797 | 3.088e-06 | 1.7696e-06 | 0.02265 | 0.02265 | 0.02265 | 0.991 | -0.17175 | 0.99078 | -0.17605 | 6.2226
59 | 0.07104 | 0.018121 | -0.070997 | -0.018094 | 4.2513e-05 | 2.7083e-05 | 0.10729 | 0.10729 | 0.10729 | 0.98634 | -0.2606 | 0.9857 | -0.273 | 29.4742
60 | 0.070583 | 0.01799 | -0.070414 | -0.017883 | 0.00016882 | 0.00010754 | 0.10666 | 0.10666 | 0.10666 | 0.9857 | -0.273 | 0.98312 | -0.32269 | 29.3022
61 | 0.070414 | 0.017883 | -0.070312 | -0.017818 | 0.00010217 | 6.5083e-05 | 0.10666 | 0.10666 | 0.10666 | 0.98312 | -0.32269 | 0.98157 | -0.35289 | 29.3023
62 | 0.068749 | 0.017426 | -0.068679 | -0.017381 | 7.0345e-05 | 4.4803e-05 | 0.10429 | 0.10429 | 0.10429 | 0.98157 | -0.35289 | 0.98047 | -0.3742 | 28.6515
63 | 0.066503 | 0.016836 | -0.066456 | -0.016806 | 4.7172e-05 | 3.0035e-05 | 0.10099 | 0.10099 | 0.10099 | 0.98047 | -0.3742 | 0.97971 | -0.38899 | 27.7445
64 | 0.032518 | 0.0081783 | -0.032488 | -0.0081595 | 2.999e-05 | 1.8791e-05 | 0.049709 | 0.049709 | 0.049709 | 0.97361 | -0.50846 | 0.97263 | -0.52779 | 13.6563
65 | -0.038818 | -0.0097573 | 0.038844 | 0.0097737 | 2.6053e-05 | 1.6428e-05 | 0.059337 | 0.059337 | 0.059337 | 0.97361 | -0.50846 | 0.97433 | -0.49442 | 16.3015
66 | 0.027414 | 0.006888 | -0.027393 | -0.0068745 | 2.1711e-05 | 1.3487e-05 | 0.041947 | 0.041947 | 0.041947 | 0.97263 | -0.52779 | 0.97179 | -0.5444 | 11.524
67 | 0.0074474 | 0.0018666 | -0.0074469 | -0.0018664 | 5.3011e-07 | 2.0319e-07 | 0.011374 | 0.011374 | 0.011374 | 0.97433 | -0.49442 | 0.97425 | -0.49591 | 3.1247
68 | -0.046291 | -0.01164 | 0.046315 | 0.011656 | 2.4096e-05 | 1.5261e-05 | 0.070711 | 0.070711 | 0.070711 | 0.97433 | -0.49442 | 0.97488 | -0.48352 | 19.4262
69 | 0.022836 | 0.0057326 | -0.022821 | -0.0057231 | 1.5494e-05 | 9.4978e-06 | 0.034971 | 0.034971 | 0.034971 | 0.97179 | -0.5444 | 0.97107 | -0.55863 | 9.6074
70 | -0.050442 | -0.01269 | 0.050484 | 0.012717 | 4.2112e-05 | 2.6716e-05 | 0.07701 | 0.07701 | 0.07701 | 0.97488 | -0.48352 | 0.97577 | -0.46606 | 21.1567
71 | 0.062984 | 0.015936 | -0.062858 | -0.015856 | 0.00012607 | 8.0221e-05 | 0.095717 | 0.095717 | 0.095717 | 0.97971 | -0.38899 | 0.97757 | -0.43079 | 26.2959
72 | 0.05922 | 0.014944 | -0.059139 | -0.014892 | 8.0668e-05 | 5.1296e-05 | 0.090178 | 0.090178 | 0.090178 | 0.97757 | -0.43079 | 0.97611 | -0.45928 | 24.7743
73 | 0.018263 | 0.0045809 | -0.018253 | -0.004575 | 9.775e-06 | 5.8445e-06 | 0.027987 | 0.027987 | 0.027987 | 0.97107 | -0.55863 | 0.9705 | -0.56986 | 7.6888
74 | -0.05423 | -0.013655 | 0.054247 | 0.013666 | 1.7608e-05 | 1.1184e-05 | 0.082722 | 0.082722 | 0.082722 | 0.97577 | -0.46606 | 0.97611 | -0.45928 | 22.7258
75 | 0.0081123 | 0.0020334 | -0.0081107 | -0.0020327 | 1.5361e-06 | 6.5599e-07 | 0.012438 | 0.012438 | 0.012438 | 0.9705 | -0.56986 | 0.9703 | -0.57384 | 3.4171

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28238 | 0.071859

## res_load
| p_mw | q_mvar
0 | 0.0037059 | 0.00092878
1 | 0.00043245 | 0.00010838
2 | 0.0050592 | 0.0012679
3 | 0.0024434 | 0.00061236
4 | 0.0022247 | 0.00055756
5 | 0.0089937 | 0.002254
6 | 0.0018694 | 0.00046851
7 | 0.0033103 | 0.00082963
8 | 0.0025916 | 0.00064952
9 | 0.0012113 | 0.00030358
10 | 0.0074692 | 0.001872
11 | 0.0011293 | 0.00028303
12 | 0.010842 | 0.0027174
13 | 0.0017172 | 0.00043038
14 | 0.004389 | 0.0011
15 | 0.00061556 | 0.00015427
16 | 0.0022038 | 0.00055232
17 | 0.014551 | 0.0036468
18 | 0.0031947 | 0.00080067
19 | 0.0009276 | 0.00023248
20 | 0.0012993 | 0.00032563
21 | 0.004005 | 0.0010037
22 | 0.0022295 | 0.00055877
23 | 0.004255 | 0.0010664
24 | 0.0021875 | 0.00054823
25 | 0.004416 | 0.0011068
26 | 0.0049743 | 0.0012467
27 | 0.0027468 | 0.00068842
28 | 0.0032106 | 0.00080466
29 | 0.0052298 | 0.0013107
30 | 0.0016974 | 0.00042542
31 | 0.0017977 | 0.00045055
32 | 0.0031112 | 0.00077973
33 | 0.0051047 | 0.0012794
34 | 0.0036871 | 0.00092409
35 | 0.00076347 | 0.00019134
36 | 0.0017696 | 0.00044351
37 | 0.0067337 | 0.0016876
38 | 0.0061939 | 0.0015523
39 | 0.0048679 | 0.00122
40 | 0.00096412 | 0.00024163
41 | 0.0022382 | 0.00056094
42 | 0.0091702 | 0.0022983
43 | 0.008999 | 0.0022554
44 | 0.0085355 | 0.0021392
45 | 0.0028923 | 0.00072489
46 | 0.00339 | 0.00084961
47 | 0.0032393 | 0.00081185
48 | 0.0028847 | 0.00072297
49 | 0.00041482 | 0.00010396
50 | 0.0015626 | 0.00039164
51 | 0.0021754 | 0.00054522
52 | 0.0063001 | 0.001579
53 | 0.0050734 | 0.0012715
54 | 0.0045561 | 0.0011419
55 | 0.0074469 | 0.0018664
56 | 0.004127 | 0.0010343
57 | 0.0034718 | 0.00087011
58 | 0.0036387 | 0.00091195
59 | 0.0045577 | 0.0011423
60 | 0.0037453 | 0.00093867
61 | 0.010141 | 0.0025416
62 | 0.0048915 | 0.0012259
63 | 0.0081107 | 0.0020327
64 | 0.015081 | 0.0037797

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1