## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2163-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2163-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2163-2_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2163-2_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2163-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2163-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2163-2_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_2163-2_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_2163-2_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_2163-2_0_3_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_2163-2_0_3_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_2163-2_0_3_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_2163-2_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2163-2_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_2163-2_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2163-2_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_2163-2_0_3_node_76 | 0.4 | n |  | TRUE
17 | bus_LV_2163-2_0_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_2163-2_0_3_node_83 | 0.4 | n |  | TRUE
19 | bus_LV_2163-2_0_3_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_2163-2_0_3_node_6 | 0.4 | n |  | TRUE
21 | bus_LV_2163-2_0_3_node_86 | 0.4 | n |  | TRUE
22 | bus_LV_2163-2_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2163-2_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2163-2_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2163-2_0_3_node_70 | 0.4 | n |  | TRUE
26 | bus_LV_2163-2_0_3_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_2163-2_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_2163-2_0_3_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_2163-2_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_2163-2_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_2163-2_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_2163-2_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_2163-2_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_2163-2_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_2163-2_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_2163-2_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2163-2_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2163-2_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_2163-2_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_2163-2_0_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_2163-2_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_2163-2_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_2163-2_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_2163-2_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_2163-2_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_2163-2_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_2163-2_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_2163-2_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_2163-2_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_2163-2_0_3_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_2163-2_0_3_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_2163-2_0_3_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_2163-2_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_2163-2_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_2163-2_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_2163-2_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_2163-2_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_2163-2_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_2163-2_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_2163-2_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_2163-2_0_3_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_2163-2_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_2163-2_0_3_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_2163-2_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_2163-2_0_3_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_2163-2_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_2163-2_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_2163-2_0_3_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_2163-2_0_3_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_2163-2_0_3_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_2163-2_0_3_node_85 | 0.4 | n |  | TRUE
72 | bus_LV_2163-2_0_3_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_2163-2_0_3_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_2163-2_0_3_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_2163-2_0_3_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_2163-2_0_3_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_2163-2_0_3_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_2163-2_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_2163-2_0_3_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_2163-2_0_3_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_2163-2_0_3_node_80 | 0.4 | n |  | TRUE
82 | bus_MV_28_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2163-2_0_3_load_0 | 0 | 0.0075638 | 0.0018957 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2163-2_0_3_load_5 | 5 | 0.0067415 | 0.0016896 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2163-2_0_3_load_18 | 7 | 0.0014519 | 0.00036388 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2163-2_0_3_load_9 | 8 | 0.013275 | 0.0033271 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2163-2_0_3_load_16 | 9 | 0.012038 | 0.0030169 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2163-2_0_3_load_13 | 13 | 0.025605 | 0.0064171 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2163-2_0_3_load_17 | 15 | 0.020643 | 0.0051735 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2163-2_0_3_load_76 | 16 | 0.0038091 | 0.00095466 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2163-2_0_3_load_20 | 17 | 0.0019463 | 0.00048778 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2163-2_0_3_load_83 | 18 | 0.0018584 | 0.00046576 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2163-2_0_3_load_6 | 20 | 0.0059996 | 0.0015036 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2163-2_0_3_load_86 | 21 | 0.025468 | 0.006383 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2163-2_0_3_load_11 | 22 | 0.0022715 | 0.00056929 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2163-2_0_3_load_12 | 23 | 0.0021088 | 0.00052853 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2163-2_0_3_load_14 | 24 | 0.0016874 | 0.0004229 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2163-2_0_3_load_70 | 25 | 0.0013548 | 0.00033954 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2163-2_0_3_load_71 | 26 | 0.0013275 | 0.0003327 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2163-2_0_3_load_19 | 27 | 0.002386 | 0.00059799 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2163-2_0_3_load_23 | 29 | 0.018848 | 0.0047237 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2163-2_0_3_load_25 | 31 | 0.012109 | 0.0030348 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2163-2_0_3_load_26 | 32 | 0.016154 | 0.0040485 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2163-2_0_3_load_27 | 33 | 0.017379 | 0.0043556 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2163-2_0_3_load_31 | 34 | 0.0046917 | 0.0011759 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2163-2_0_3_load_32 | 35 | 0.0017692 | 0.00044339 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2163-2_0_3_load_29 | 37 | 0.014801 | 0.0037095 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2163-2_0_3_load_30 | 38 | 0.022612 | 0.005667 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2163-2_0_3_load_33 | 39 | 0.012168 | 0.0030495 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2163-2_0_3_load_34 | 42 | 0.0021907 | 0.00054904 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2163-2_0_3_load_36 | 44 | 0.012057 | 0.0030216 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2163-2_0_3_load_37 | 45 | 0.0081097 | 0.0020325 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2163-2_0_3_load_38 | 47 | 0.020607 | 0.0051647 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2163-2_0_3_load_42 | 48 | 0.0090156 | 0.0022595 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2163-2_0_3_load_82 | 50 | 0.014373 | 0.0036021 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2163-2_0_3_load_84 | 51 | 0.017975 | 0.004505 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2163-2_0_3_load_46 | 52 | 0.0042476 | 0.0010645 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2163-2_0_3_load_47 | 53 | 0.0011719 | 0.0002937 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2163-2_0_3_load_49 | 55 | 0.0011663 | 0.0002923 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2163-2_0_3_load_54 | 57 | 0.00098273 | 0.0002463 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2163-2_0_3_load_51 | 58 | 0.00093841 | 0.00023519 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2163-2_0_3_load_56 | 60 | 0.0012131 | 0.00030403 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2163-2_0_3_load_52 | 61 | 0.00096419 | 0.00024165 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2163-2_0_3_load_73 | 63 | 0.00091891 | 0.0002303 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2163-2_0_3_load_59 | 64 | 0.0033618 | 0.00084255 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2163-2_0_3_load_72 | 65 | 0.00061386 | 0.00015385 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2163-2_0_3_load_57 | 66 | 0.0023193 | 0.00058127 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2163-2_0_3_load_60 | 67 | 0.00084114 | 0.00021081 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2163-2_0_3_load_65 | 68 | 0.0030262 | 0.00075843 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2163-2_0_3_load_63 | 69 | 0.0016284 | 0.00040811 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2163-2_0_3_load_81 | 70 | 0.018605 | 0.0046628 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2163-2_0_3_load_85 | 71 | 0.01774 | 0.004446 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2163-2_0_3_load_79 | 72 | 0.0027928 | 0.00069994 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2163-2_0_3_load_64 | 73 | 0.0020093 | 0.00050357 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2163-2_0_3_load_67 | 75 | 0.0011554 | 0.00028956 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2163-2_0_3_load_68 | 76 | 0.00060046 | 0.00015049 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2163-2_0_3_load_74 | 77 | 0.0016301 | 0.00040855 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2163-2_0_3_load_75 | 78 | 0.001773 | 0.00044436 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2163-2_0_3_load_77 | 79 | 0.0012687 | 0.00031796 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2163-2_0_3_load_78 | 80 | 0.0037993 | 0.00095218 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2163-2_0_3_load_80 | 81 | 0.004249 | 0.0010649 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2163-2_0_3_line_0 |  | 0 | 1 | 0.018668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2163-2_0_3_line_1 |  | 1 | 2 | 0.050068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2163-2_0_3_line_2 |  | 2 | 6 | 0.024352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2163-2_0_3_line_3 |  | 2 | 7 | 0.057552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_2163-2_0_3_line_4 |  | 2 | 8 | 0.018132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2163-2_0_3_line_5 |  | 2 | 9 | 0.017102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2163-2_0_3_line_6 |  | 3 | 4 | 0.035235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2163-2_0_3_line_7 |  | 3 | 5 | 0.02327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2163-2_0_3_line_8 |  | 4 | 10 | 0.051092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2163-2_0_3_line_9 |  | 4 | 11 | 0.0585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2163-2_0_3_line_10 |  | 4 | 7 | 0.0058123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2163-2_0_3_line_11 |  | 6 | 12 | 0.027356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2163-2_0_3_line_12 |  | 6 | 13 | 0.027209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2163-2_0_3_line_13 |  | 8 | 14 | 0.017401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2163-2_0_3_line_14 |  | 9 | 15 | 0.00085131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2163-2_0_3_line_15 |  | 10 | 16 | 0.05134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2163-2_0_3_line_16 |  | 10 | 17 | 0.052043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2163-2_0_3_line_17 |  | 11 | 18 | 0.019004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2163-2_0_3_line_18 |  | 11 | 19 | 0.005601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2163-2_0_3_line_19 |  | 12 | 21 | 0.015777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2163-2_0_3_line_20 |  | 13 | 22 | 0.01777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2163-2_0_3_line_21 |  | 14 | 20 | 0.011318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2163-2_0_3_line_22 |  | 16 | 28 | 0.0018138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2163-2_0_3_line_23 |  | 17 | 27 | 0.027074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2163-2_0_3_line_24 |  | 18 | 51 | 0.017602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2163-2_0_3_line_25 |  | 19 | 50 | 0.045811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2163-2_0_3_line_26 |  | 19 | 49 | 0.015657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2163-2_0_3_line_27 |  | 22 | 23 | 0.022581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2163-2_0_3_line_28 |  | 23 | 24 | 0.021731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2163-2_0_3_line_29 |  | 24 | 25 | 0.010605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2163-2_0_3_line_30 |  | 25 | 26 | 0.012714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2163-2_0_3_line_31 |  | 26 | 64 | 0.092983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2163-2_0_3_line_32 |  | 26 | 62 | 0.0069353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2163-2_0_3_line_33 |  | 28 | 74 | 0.007001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2163-2_0_3_line_34 |  | 29 | 30 | 0.025765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2163-2_0_3_line_35 |  | 30 | 31 | 0.033524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2163-2_0_3_line_36 |  | 31 | 34 | 0.015227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2163-2_0_3_line_37 |  | 32 | 33 | 0.0308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2163-2_0_3_line_38 |  | 33 | 36 | 0.030208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2163-2_0_3_line_39 |  | 33 | 34 | 0.048735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2163-2_0_3_line_40 |  | 34 | 35 | 0.024263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2163-2_0_3_line_41 |  | 35 | 39 | 0.020108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2163-2_0_3_line_42 |  | 36 | 37 | 0.0060035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_2163-2_0_3_line_43 |  | 36 | 38 | 0.037012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2163-2_0_3_line_44 |  | 37 | 40 | 0.028243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2163-2_0_3_line_45 |  | 39 | 42 | 0.0079278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2163-2_0_3_line_46 |  | 40 | 41 | 0.050432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2163-2_0_3_line_47 |  | 41 | 48 | 0.013218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2163-2_0_3_line_48 |  | 42 | 43 | 0.035839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2163-2_0_3_line_49 |  | 43 | 44 | 0.011369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2163-2_0_3_line_50 |  | 43 | 45 | 0.058168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2163-2_0_3_line_51 |  | 45 | 46 | 0.01293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2163-2_0_3_line_52 |  | 46 | 47 | 0.056703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2163-2_0_3_line_53 |  | 48 | 49 | 0.0063222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2163-2_0_3_line_54 |  | 52 | 53 | 0.024221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2163-2_0_3_line_55 |  | 52 | 54 | 0.045915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2163-2_0_3_line_56 |  | 53 | 55 | 0.0038666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2163-2_0_3_line_57 |  | 54 | 56 | 0.096144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2163-2_0_3_line_58 |  | 56 | 60 | 0.049045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2163-2_0_3_line_59 |  | 56 | 61 | 0.038627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2163-2_0_3_line_60 |  | 57 | 58 | 0.057535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2163-2_0_3_line_61 |  | 57 | 59 | 0.068693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2163-2_0_3_line_62 |  | 58 | 61 | 0.058332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2163-2_0_3_line_63 |  | 59 | 62 | 0.067218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2163-2_0_3_line_64 |  | 62 | 63 | 0.016099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2163-2_0_3_line_65 |  | 63 | 65 | 0.024345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2163-2_0_3_line_66 |  | 64 | 66 | 0.019484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2163-2_0_3_line_67 |  | 65 | 77 | 0.00059106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2163-2_0_3_line_68 |  | 67 | 68 | 0.039015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2163-2_0_3_line_69 |  | 68 | 69 | 0.010983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2163-2_0_3_line_70 |  | 69 | 73 | 0.016667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2163-2_0_3_line_71 |  | 70 | 71 | 0.037185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2163-2_0_3_line_72 |  | 70 | 72 | 0.018898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2163-2_0_3_line_73 |  | 72 | 81 | 0.0015482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2163-2_0_3_line_74 |  | 73 | 74 | 0.041118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2163-2_0_3_line_75 |  | 74 | 75 | 0.026981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2163-2_0_3_line_76 |  | 75 | 76 | 0.0047439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2163-2_0_3_line_77 |  | 77 | 78 | 0.023417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2163-2_0_3_line_78 |  | 78 | 79 | 0.022164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2163-2_0_3_line_79 |  | 79 | 80 | 0.0059965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2163-2_0_3_line_80 |  | 80 | 81 | 0.01932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2163-2_0_3_trafo_82 | 0.63 MVA 20/0.4 kV | 82 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2578905.2211 | 1163130.3843 | 2578889.0821 | 1163128.2401 | 2578886.6951 | 1163128.2032
1 | 2578942.9422 | 1163160.022 | 2578932.8145 | 1163146.4953 | 2578921.8351 | 1163134.7613 | 2578905.2211 | 1163130.3843
2 | 2578942.9422 | 1163160.022 | 2578937.8076 | 1163144.032 | 2578932.7019 | 1163138.4472
3 | 2578942.9422 | 1163160.022 | 2578932.8491 | 1163165.0489 | 2578892.5555 | 1163187.8075
4 | 2578942.9422 | 1163160.022 | 2578958.9807 | 1163151.5644
5 | 2578942.9422 | 1163160.022 | 2578945.6266 | 1163163.1919 | 2578948.0725 | 1163166.0847 | 2578953.987 | 1163173.0793
6 | 2578856.7566 | 1163175.5223 | 2578858.6139 | 1163178.7174 | 2578863.0464 | 1163182.3813 | 2578867.7804 | 1163184.6213 | 2578873.6377 | 1163186.1347 | 2578887.4946 | 1163190.6659
7 | 2578856.7566 | 1163175.5223 | 2578836.6658 | 1163163.7818
8 | 2578841.6238 | 1163213.1057 | 2578850.1199 | 1163209.2293 | 2578877.5646 | 1163196.2815 | 2578887.4946 | 1163190.6659
9 | 2578887.4946 | 1163190.6659 | 2578877.5646 | 1163196.2815 | 2578879.7248 | 1163200.665 | 2578882.7554 | 1163206.4572 | 2578892.6871 | 1163227.3771 | 2578897.3698 | 1163238.9775
10 | 2578887.4946 | 1163190.6659 | 2578892.5555 | 1163187.8075
11 | 2578955.0507 | 1163122.5829 | 2578932.7019 | 1163138.4472
12 | 2578932.7019 | 1163138.4472 | 2578921.8915 | 1163131.2149 | 2578909.1923 | 1163124.8565
13 | 2578974.3729 | 1163143.4477 | 2578958.9807 | 1163151.5644
14 | 2578954.5367 | 1163173.7293 | 2578953.987 | 1163173.0793
15 | 2578841.6238 | 1163213.1057 | 2578839.2576 | 1163208.9565 | 2578837.2816 | 1163206.8291 | 2578832.7808 | 1163203.3766 | 2578814.0656 | 1163191.7703 | 2578799.652 | 1163184.9034
16 | 2578841.6238 | 1163213.1057 | 2578832.3613 | 1163216.8737 | 2578800.2206 | 1163227.4149 | 2578792.3269 | 1163229.7014
17 | 2578897.3698 | 1163238.9775 | 2578879.6427 | 1163245.8272
18 | 2578899.2879 | 1163244.2401 | 2578897.3698 | 1163238.9775
19 | 2578955.0507 | 1163122.5829 | 2578951.0146 | 1163118.3838 | 2578959.252 | 1163112.752
20 | 2578891.7044 | 1163121.9504 | 2578898.5906 | 1163122.4926 | 2578909.1923 | 1163124.8565 | 2578909.1923 | 1163124.8565
21 | 2578974.3729 | 1163143.4477 | 2578984.3862 | 1163138.1721
22 | 2578798.0145 | 1163184.1232 | 2578799.652 | 1163184.9034
23 | 2578792.3269 | 1163229.7014 | 2578766.3217 | 1163237.2342
24 | 2578863.224 | 1163252.1713 | 2578879.6427 | 1163245.8272
25 | 2578899.2879 | 1163244.2401 | 2578904.4191 | 1163241.8764 | 2578915.2601 | 1163227.4087 | 2578920.5897 | 1163224.822 | 2578931.079 | 1163212.5301
26 | 2578904.3648 | 1163259.0519 | 2578901.0134 | 1163249.1809 | 2578899.2879 | 1163244.2401
27 | 2578891.7044 | 1163121.9504 | 2578878.187 | 1163120.886 | 2578869.3735 | 1163118.9588
28 | 2578869.3735 | 1163118.9588 | 2578862.2271 | 1163117.3961 | 2578848.6295 | 1163112.6084
29 | 2578839.6547 | 1163106.9589 | 2578848.6295 | 1163112.6084 | 2578848.6295 | 1163112.6084
30 | 2578839.6547 | 1163106.9589 | 2578828.8954 | 1163100.1861
31 | 2578828.8954 | 1163100.1861 | 2578875.8545 | 1163019.9325
32 | 2578822.4492 | 1163097.649 | 2578828.5392 | 1163099.9619 | 2578828.8954 | 1163100.1861
33 | 2578791.677 | 1163181.1108 | 2578798.0145 | 1163184.1232
34 | 2578970.0641 | 1163388.5857 | 2578968.8075 | 1163386.289 | 2578963.961 | 1163384.6496 | 2578959.3359 | 1163384.9882 | 2578950.2254 | 1163394.8048
35 | 2578970.0641 | 1163388.5857 | 2578986.8432 | 1163370.3954 | 2578986.8124 | 1163361.6189
36 | 2578992.8314 | 1163348.6981 | 2578986.7907 | 1163355.4548 | 2578986.8124 | 1163361.6189
37 | 2578932.7424 | 1163341.9358 | 2578953.8247 | 1163319.4823
38 | 2578956.667 | 1163296.8645 | 2578964.6068 | 1163304.7072 | 2578964.6183 | 1163307.9866 | 2578953.8247 | 1163319.4823
39 | 2578953.8247 | 1163319.4823 | 2578992.8314 | 1163348.6981
40 | 2578992.8314 | 1163348.6981 | 2578995.7935 | 1163345.3848 | 2579003.3555 | 1163341.6342 | 2579010.658 | 1163332.9087
41 | 2579023.5632 | 1163317.4887 | 2579010.658 | 1163332.9087
42 | 2578956.667 | 1163296.8645 | 2578952.5077 | 1163301.1938
43 | 2578982.3397 | 1163270.1388 | 2578956.667 | 1163296.8645
44 | 2578932.9405 | 1163321.5604 | 2578952.5077 | 1163301.1938
45 | 2579023.5632 | 1163317.4887 | 2579028.6513 | 1163311.4092
46 | 2578910.3894 | 1163277.6399 | 2578913.2356 | 1163287.6127 | 2578915.6733 | 1163299.0321 | 2578932.9405 | 1163321.5604
47 | 2578910.3894 | 1163277.6399 | 2578906.3141 | 1163265.066
48 | 2579051.6532 | 1163283.925 | 2579028.6513 | 1163311.4092
49 | 2579051.6532 | 1163283.925 | 2579043.3129 | 1163276.1993
50 | 2579051.6532 | 1163283.925 | 2579079.3815 | 1163310.4747 | 2579096.3069 | 1163320.7085
51 | 2579108.006 | 1163326.1048 | 2579100.3669 | 1163323.1633 | 2579096.3069 | 1163320.7085
52 | 2579108.006 | 1163326.1048 | 2579109.2649 | 1163322.5208 | 2579093.7675 | 1163315.2824 | 2579089.229 | 1163309.7288 | 2579084.0268 | 1163300.5646 | 2579078.2068 | 1163285.5774 | 2579078.4267 | 1163283.5768
53 | 2578904.3648 | 1163259.0519 | 2578906.3141 | 1163265.066
54 | 2578650.9974 | 1162939.3296 | 2578639.6313 | 1162940.3194 | 2578633.1674 | 1162940.6204 | 2578627.4516 | 1162942.3639 | 2578627.122 | 1162942.5219
55 | 2578695.229 | 1162932.1728 | 2578692.4575 | 1162934.7284 | 2578689.7362 | 1162936.3167 | 2578685.8801 | 1162937.5755 | 2578676.2749 | 1162937.6986 | 2578655.337 | 1162938.9516 | 2578650.9974 | 1162939.3296
56 | 2578623.6353 | 1162944.1933 | 2578627.122 | 1162942.5219
57 | 2578776.8004 | 1162884.7483 | 2578723.9813 | 1162924.7891 | 2578715.7766 | 1162928.8648 | 2578706.7617 | 1162931.2758 | 2578695.229 | 1162932.1728
58 | 2578776.8004 | 1162884.7483 | 2578778.317 | 1162880.4185 | 2578780.4637 | 1162874.4635 | 2578787.6558 | 1162852.6382 | 2578793.573 | 1162842.8679 | 2578794.6223 | 1162839.2934
59 | 2578776.8004 | 1162884.7483 | 2578775.7672 | 1162891.4776 | 2578754.2369 | 1162914.9055
60 | 2578761.5274 | 1163018.8919 | 2578732.9472 | 1162968.9572
61 | 2578761.5274 | 1163018.8919 | 2578770.1647 | 1163022.3519 | 2578776.5993 | 1163022.4625 | 2578778.9255 | 1163023.9328 | 2578779.8062 | 1163026.0418 | 2578779.4849 | 1163028.333 | 2578772.9683 | 1163035.3374 | 2578771.165 | 1163038.7677 | 2578770.6987 | 1163041.1817 | 2578771.1811 | 1163043.3033 | 2578772.4687 | 1163045.6777 | 2578772.7936 | 1163048.7114 | 2578766.2264 | 1163069.534
62 | 2578732.9472 | 1162968.9572 | 2578732.9472 | 1162968.9572 | 2578740.2516 | 1162948.6656 | 2578751.9675 | 1162917.3749 | 2578754.2369 | 1162914.9055
63 | 2578822.4492 | 1163097.649 | 2578819.6179 | 1163089.7773 | 2578811.5029 | 1163086.6933 | 2578799.5395 | 1163087.0358 | 2578795.2599 | 1163085.4724 | 2578787.1015 | 1163078.7869 | 2578778.5774 | 1163072.6584 | 2578766.2264 | 1163069.534
64 | 2578822.4492 | 1163097.649 | 2578815.3243 | 1163097.274 | 2578806.3873 | 1163097.9724
65 | 2578782.1137 | 1163099.8307 | 2578787.7568 | 1163099.4282 | 2578806.3873 | 1163097.9724
66 | 2578875.8545 | 1163019.9325 | 2578891.0945 | 1163007.7936
67 | 2578781.5242 | 1163099.8727 | 2578782.1137 | 1163099.8307
68 | 2578744.9133 | 1163159.1212 | 2578711.3918 | 1163179.0824
69 | 2578744.9133 | 1163159.1212 | 2578753.8515 | 1163152.7381
70 | 2578753.8515 | 1163152.7381 | 2578754.1122 | 1163152.5519 | 2578770.3968 | 1163153.9781
71 | 2578691.3638 | 1163109.4755 | 2578662.0704 | 1163132.3802
72 | 2578691.3638 | 1163109.4755 | 2578710.2608 | 1163109.6387
73 | 2578710.2608 | 1163109.6387 | 2578711.8089 | 1163109.652
74 | 2578791.677 | 1163181.1108 | 2578789.8248 | 1163179.361 | 2578788.7004 | 1163177.653 | 2578788.1034 | 1163175.6096 | 2578785.9273 | 1163160.2763 | 2578785.5207 | 1163157.9433 | 2578784.4797 | 1163155.9793 | 2578782.0481 | 1163154.9985 | 2578770.3968 | 1163153.9781
75 | 2578791.677 | 1163181.1108 | 2578787.5402 | 1163180.9588 | 2578785.3489 | 1163180.7775 | 2578765.0682 | 1163176.9264
76 | 2578760.4076 | 1163176.0414 | 2578765.0682 | 1163176.9264
77 | 2578758.1665 | 1163101.5387 | 2578781.5242 | 1163099.8727
78 | 2578758.1665 | 1163101.5387 | 2578750.1952 | 1163102.1072 | 2578736.5993 | 1163106.1071
79 | 2578736.5993 | 1163106.1071 | 2578730.8466 | 1163107.7996
80 | 2578711.8089 | 1163109.652 | 2578724.1869 | 1163109.7589 | 2578730.8466 | 1163107.7996

## bus_geodata
| x | y | coords
0 | 2578886.6951 | 1163128.2032
1 | 2578905.2211 | 1163130.3843
2 | 2578942.9422 | 1163160.022
3 | 2578856.7566 | 1163175.5223
4 | 2578887.4946 | 1163190.6659
5 | 2578836.6658 | 1163163.7818
6 | 2578932.7019 | 1163138.4472
7 | 2578892.5555 | 1163187.8075
8 | 2578958.9807 | 1163151.5644
9 | 2578953.987 | 1163173.0793
10 | 2578841.6238 | 1163213.1057
11 | 2578897.3698 | 1163238.9775
12 | 2578955.0507 | 1163122.5829
13 | 2578909.1923 | 1163124.8565
14 | 2578974.3729 | 1163143.4477
15 | 2578954.5367 | 1163173.7293
16 | 2578799.652 | 1163184.9034
17 | 2578792.3269 | 1163229.7014
18 | 2578879.6427 | 1163245.8272
19 | 2578899.2879 | 1163244.2401
20 | 2578984.3862 | 1163138.1721
21 | 2578959.252 | 1163112.752
22 | 2578891.7044 | 1163121.9504
23 | 2578869.3735 | 1163118.9588
24 | 2578848.6295 | 1163112.6084
25 | 2578839.6547 | 1163106.9589
26 | 2578828.8954 | 1163100.1861
27 | 2578766.3217 | 1163237.2342
28 | 2578798.0145 | 1163184.1232
29 | 2578950.2254 | 1163394.8048
30 | 2578970.0641 | 1163388.5857
31 | 2578986.8124 | 1163361.6189
32 | 2578932.7424 | 1163341.9358
33 | 2578953.8247 | 1163319.4823
34 | 2578992.8314 | 1163348.6981
35 | 2579010.658 | 1163332.9087
36 | 2578956.667 | 1163296.8645
37 | 2578952.5077 | 1163301.1938
38 | 2578982.3397 | 1163270.1388
39 | 2579023.5632 | 1163317.4887
40 | 2578932.9405 | 1163321.5604
41 | 2578910.3894 | 1163277.6399
42 | 2579028.6513 | 1163311.4092
43 | 2579051.6532 | 1163283.925
44 | 2579043.3129 | 1163276.1993
45 | 2579096.3069 | 1163320.7085
46 | 2579108.006 | 1163326.1048
47 | 2579078.4267 | 1163283.5768
48 | 2578906.3141 | 1163265.066
49 | 2578904.3648 | 1163259.0519
50 | 2578931.079 | 1163212.5301
51 | 2578863.224 | 1163252.1713
52 | 2578650.9974 | 1162939.3296
53 | 2578627.122 | 1162942.5219
54 | 2578695.229 | 1162932.1728
55 | 2578623.6353 | 1162944.1933
56 | 2578776.8004 | 1162884.7483
57 | 2578761.5274 | 1163018.8919
58 | 2578732.9472 | 1162968.9572
59 | 2578766.2264 | 1163069.534
60 | 2578794.6223 | 1162839.2934
61 | 2578754.2369 | 1162914.9055
62 | 2578822.4492 | 1163097.649
63 | 2578806.3873 | 1163097.9724
64 | 2578875.8545 | 1163019.9325
65 | 2578782.1137 | 1163099.8307
66 | 2578891.0945 | 1163007.7936
67 | 2578711.3918 | 1163179.0824
68 | 2578744.9133 | 1163159.1212
69 | 2578753.8515 | 1163152.7381
70 | 2578691.3638 | 1163109.4755
71 | 2578662.0704 | 1163132.3802
72 | 2578710.2608 | 1163109.6387
73 | 2578770.3968 | 1163153.9781
74 | 2578791.677 | 1163181.1108
75 | 2578765.0682 | 1163176.9264
76 | 2578760.4076 | 1163176.0414
77 | 2578781.5242 | 1163099.8727
78 | 2578758.1665 | 1163101.5387
79 | 2578736.5993 | 1163106.1071
80 | 2578730.8466 | 1163107.7996
81 | 2578711.8089 | 1163109.652
82 | 2578934.0915 | 1163208.9999

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9858 | -0.27158 | 0.0075638 | 0.0018957
1 | 0.98593 | -0.26905 | 0 | 0
2 | 0.98628 | -0.26226 | 0 | 0
3 | 0.98976 | -0.19512 | 0 | 0
4 | 0.98998 | -0.1909 | 0 | 0
5 | 0.98962 | -0.19791 | 0.0067415 | 0.0016896
6 | 0.98531 | -0.28113 | 0 | 0
7 | 0.98964 | -0.19747 | 0.0014519 | 0.00036388
8 | 0.98596 | -0.26852 | 0.013275 | 0.0033271
9 | 0.98577 | -0.27228 | 0.012038 | 0.0030169
10 | 0.98916 | -0.20673 | 0 | 0
11 | 0.99385 | -0.11671 | 0 | 0
12 | 0.98467 | -0.29365 | 0 | 0
13 | 0.98443 | -0.2981 | 0.025605 | 0.0064171
14 | 0.98587 | -0.2704 | 0 | 0
15 | 0.98575 | -0.27259 | 0.020643 | 0.0051735
16 | 0.98855 | -0.2187 | 0.0038091 | 0.00095466
17 | 0.98896 | -0.21075 | 0.0019463 | 0.00048778
18 | 0.99351 | -0.12337 | 0.0018584 | 0.00046576
19 | 0.99425 | -0.10899 | 0 | 0
20 | 0.9858 | -0.27161 | 0.0059996 | 0.0015036
21 | 0.9843 | -0.30087 | 0.025468 | 0.006383
22 | 0.98378 | -0.31066 | 0.0022715 | 0.00056929
23 | 0.98218 | -0.34172 | 0.0021088 | 0.00052853
24 | 0.98068 | -0.37088 | 0.0016874 | 0.0004229
25 | 0.97996 | -0.38482 | 0.0013548 | 0.00033954
26 | 0.97912 | -0.40124 | 0.0013275 | 0.0003327
27 | 0.9889 | -0.2119 | 0.002386 | 0.00059799
28 | 0.98853 | -0.219 | 0 | 0
29 | 0.97885 | -0.40677 | 0.018848 | 0.0047237
30 | 0.9793 | -0.39794 | 0 | 0
31 | 0.97988 | -0.38647 | 0.012109 | 0.0030348
32 | 0.98405 | -0.3054 | 0.016154 | 0.0040485
33 | 0.98451 | -0.29645 | 0.017379 | 0.0043556
34 | 0.98032 | -0.37791 | 0.0046917 | 0.0011759
35 | 0.97904 | -0.40299 | 0.0017692 | 0.00044339
36 | 0.98804 | -0.2282 | 0 | 0
37 | 0.98845 | -0.22023 | 0.014801 | 0.0037095
38 | 0.98727 | -0.24315 | 0.022612 | 0.005667
39 | 0.97801 | -0.42317 | 0.012168 | 0.0030495
40 | 0.98988 | -0.19281 | 0 | 0
41 | 0.99242 | -0.14404 | 0 | 0
42 | 0.97769 | -0.42938 | 0.0021907 | 0.00054904
43 | 0.97633 | -0.45606 | 0 | 0
44 | 0.9762 | -0.45857 | 0.012057 | 0.0030216
45 | 0.97477 | -0.48666 | 0.0081097 | 0.0020325
46 | 0.97453 | -0.49155 | 0 | 0
47 | 0.97344 | -0.51302 | 0.020607 | 0.0051647
48 | 0.99309 | -0.1313 | 0.0090156 | 0.0022595
49 | 0.99342 | -0.12488 | 0 | 0
50 | 1 | 0 | -0.41542 | -0.10628
51 | 0.99322 | -0.12895 | 0.017975 | 0.004505
52 | 0.97522 | -0.47802 | 0.0042476 | 0.0010645
53 | 0.97516 | -0.47906 | 0.0011719 | 0.0002937
54 | 0.9755 | -0.47248 | 0 | 0
55 | 0.97516 | -0.47914 | 0.0011663 | 0.0002923
56 | 0.97609 | -0.46089 | 0 | 0
57 | 0.97736 | -0.43582 | 0.00098273 | 0.0002463
58 | 0.97684 | -0.44602 | 0.00093841 | 0.00023519
59 | 0.97804 | -0.42242 | 0 | 0
60 | 0.97603 | -0.46197 | 0.0012131 | 0.00030403
61 | 0.97637 | -0.45537 | 0.00096419 | 0.00024165
62 | 0.97871 | -0.40932 | 0 | 0
63 | 0.97791 | -0.42498 | 0.00091891 | 0.0002303
64 | 0.97863 | -0.41085 | 0.0033618 | 0.00084255
65 | 0.97672 | -0.44829 | 0.00061386 | 0.00015385
66 | 0.97859 | -0.41167 | 0.0023193 | 0.00058127
67 | 0.98804 | -0.22864 | 0.00084114 | 0.00021081
68 | 0.98807 | -0.22806 | 0.0030262 | 0.00075843
69 | 0.98811 | -0.2273 | 0.0016284 | 0.00040811
70 | 0.97285 | -0.52441 | 0.018605 | 0.0046628
71 | 0.97223 | -0.53656 | 0.01774 | 0.004446
72 | 0.97349 | -0.51176 | 0.0027928 | 0.00069994
73 | 0.98819 | -0.22566 | 0.0020093 | 0.00050357
74 | 0.98847 | -0.22015 | 0 | 0
75 | 0.98843 | -0.221 | 0.0011554 | 0.00028956
76 | 0.98843 | -0.22105 | 0.00060046 | 0.00015049
77 | 0.97669 | -0.44885 | 0.0016301 | 0.00040855
78 | 0.97559 | -0.47037 | 0.001773 | 0.00044436
79 | 0.97459 | -0.49005 | 0.0012687 | 0.00031796
80 | 0.97433 | -0.49525 | 0.0037993 | 0.00095218
81 | 0.97355 | -0.51065 | 0.004249 | 0.0010649
82 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0075638 | -0.0018957 | 0.0075647 | 0.001896 | 9.1251e-07 | 3.4596e-07 | 0.011417 | 0.011417 | 0.011417 | 0.9858 | -0.27158 | 0.98593 | -0.26905 | 3.1366
1 | -0.0075647 | -0.001896 | 0.0075671 | 0.0018969 | 2.4473e-06 | 9.2753e-07 | 0.011417 | 0.011417 | 0.011417 | 0.98593 | -0.26905 | 0.98628 | -0.26226 | 3.1365
2 | 0.13051 | 0.033058 | -0.13039 | -0.032984 | 0.00011817 | 7.4697e-05 | 0.19703 | 0.19703 | 0.19703 | 0.98628 | -0.26226 | 0.98531 | -0.28113 | 18.0429
3 | -0.19006 | -0.04799 | 0.19065 | 0.048367 | 0.00059202 | 0.00037668 | 0.28687 | 0.28687 | 0.28687 | 0.98628 | -0.26226 | 0.98964 | -0.19747 | 26.2699
4 | 0.019281 | 0.0048344 | -0.019276 | -0.0048309 | 5.7542e-06 | 3.4514e-06 | 0.029091 | 0.029091 | 0.029091 | 0.98628 | -0.26226 | 0.98596 | -0.26852 | 7.992
5 | 0.032696 | 0.0082004 | -0.032681 | -0.0081906 | 1.5607e-05 | 9.7704e-06 | 0.049331 | 0.049331 | 0.049331 | 0.98628 | -0.26226 | 0.98577 | -0.27228 | 13.5525
6 | -0.0067424 | -0.0016899 | 0.0067438 | 0.0016903 | 1.3576e-06 | 4.1594e-07 | 0.010137 | 0.010136 | 0.010137 | 0.98976 | -0.19512 | 0.98998 | -0.1909 | 2.7848
7 | 0.0067424 | 0.0016899 | -0.0067415 | -0.0016896 | 8.9662e-07 | 2.7482e-07 | 0.010137 | 0.010137 | 0.010137 | 0.98976 | -0.19512 | 0.98962 | -0.19791 | 2.7848
8 | 0.017427 | 0.0043731 | -0.017414 | -0.0043653 | 1.3148e-05 | 7.7584e-06 | 0.026196 | 0.026196 | 0.026196 | 0.98998 | -0.1909 | 0.98916 | -0.20673 | 7.1968
9 | -0.21633 | -0.054833 | 0.21711 | 0.055326 | 0.00077419 | 0.00049322 | 0.32538 | 0.32538 | 0.32538 | 0.98998 | -0.1909 | 0.99385 | -0.11671 | 29.7969
10 | 0.19216 | 0.048769 | -0.1921 | -0.048731 | 6.0702e-05 | 3.8625e-05 | 0.28905 | 0.28905 | 0.28905 | 0.98998 | -0.1909 | 0.98964 | -0.19747 | 26.4697
11 | 0.025492 | 0.0063978 | -0.025477 | -0.0063884 | 1.5207e-05 | 9.3844e-06 | 0.038502 | 0.038502 | 0.038502 | 0.98531 | -0.28113 | 0.98467 | -0.29365 | 10.5775
12 | 0.1049 | 0.026586 | -0.10482 | -0.026532 | 8.5472e-05 | 5.3663e-05 | 0.15853 | 0.15853 | 0.15853 | 0.98531 | -0.28113 | 0.98443 | -0.2981 | 14.5172
13 | 0.0060005 | 0.0015038 | -0.0059999 | -0.0015037 | 5.3516e-07 | 1.2059e-07 | 0.0090559 | 0.009056 | 0.009056 | 0.98596 | -0.26852 | 0.98587 | -0.2704 | 2.4879
14 | 0.020643 | 0.0051737 | -0.020643 | -0.0051735 | 3.0997e-07 | 1.8753e-07 | 0.03116 | 0.03116 | 0.03116 | 0.98577 | -0.27228 | 0.98575 | -0.27259 | 8.5606
15 | 0.013081 | 0.0032799 | -0.013073 | -0.0032758 | 7.4552e-06 | 4.1127e-06 | 0.019678 | 0.019678 | 0.019678 | 0.98916 | -0.20673 | 0.98855 | -0.2187 | 5.4061
16 | 0.0043332 | 0.0010854 | -0.0043324 | -0.0010855 | 8.2925e-07 | -1.3719e-07 | 0.0065183 | 0.0065186 | 0.0065186 | 0.98916 | -0.20673 | 0.98896 | -0.21075 | 1.7908
17 | 0.019845 | 0.0049774 | -0.019838 | -0.0049736 | 6.292e-06 | 3.7807e-06 | 0.029713 | 0.029713 | 0.029713 | 0.99385 | -0.11671 | 0.99351 | -0.12337 | 8.163
18 | -0.23695 | -0.060303 | 0.23704 | 0.06036 | 8.828e-05 | 5.6281e-05 | 0.35509 | 0.35509 | 0.35509 | 0.99385 | -0.11671 | 0.99425 | -0.10899 | 32.5178
19 | 0.025477 | 0.0063884 | -0.025468 | -0.006383 | 8.7705e-06 | 5.4125e-06 | 0.038502 | 0.038502 | 0.038502 | 0.98467 | -0.29365 | 0.9843 | -0.30087 | 10.5775
20 | 0.079211 | 0.020115 | -0.079163 | -0.020085 | 4.7838e-05 | 3.0165e-05 | 0.11983 | 0.11983 | 0.11983 | 0.98443 | -0.2981 | 0.98378 | -0.31066 | 16.4595
21 | 0.0059999 | 0.0015037 | -0.0059996 | -0.0015036 | 3.4808e-07 | 7.8462e-08 | 0.009056 | 0.009056 | 0.009056 | 0.98587 | -0.2704 | 0.9858 | -0.27161 | 2.4879
22 | 0.0092641 | 0.0023212 | -0.0092639 | -0.0023211 | 1.3226e-07 | 6.1392e-08 | 0.013945 | 0.013945 | 0.013945 | 0.98855 | -0.2187 | 0.98853 | -0.219 | 3.8309
23 | 0.0023862 | 0.00059773 | -0.002386 | -0.00059799 | 1.3087e-07 | -2.6362e-07 | 0.0035902 | 0.0035903 | 0.0035903 | 0.98896 | -0.21075 | 0.9889 | -0.2119 | 0.98635
24 | 0.01798 | 0.0045079 | -0.017975 | -0.004505 | 4.787e-06 | 2.8358e-06 | 0.02693 | 0.02693 | 0.02693 | 0.99351 | -0.12337 | 0.99322 | -0.12895 | 7.3984
25 | -0.41159 | -0.10489 | 0.41377 | 0.10628 | 0.0021772 | 0.0013916 | 0.61661 | 0.61661 | 0.61661 | 0.99425 | -0.10899 | 1 | 0 | 56.4661
26 | 0.17455 | 0.044531 | -0.17442 | -0.044446 | 0.00013385 | 8.5055e-05 | 0.26152 | 0.26152 | 0.26152 | 0.99425 | -0.10899 | 0.99342 | -0.12488 | 23.9484
27 | 0.076891 | 0.019516 | -0.076776 | -0.019443 | 0.00011471 | 7.3128e-05 | 0.11639 | 0.11639 | 0.11639 | 0.98378 | -0.31066 | 0.98218 | -0.34172 | 31.9752
28 | 0.074668 | 0.018914 | -0.074563 | -0.018848 | 0.00010442 | 6.6551e-05 | 0.11319 | 0.11319 | 0.11319 | 0.98218 | -0.34172 | 0.98068 | -0.37088 | 31.0975
29 | 0.072876 | 0.018425 | -0.072827 | -0.018394 | 4.8676e-05 | 3.1019e-05 | 0.11063 | 0.11063 | 0.11063 | 0.98068 | -0.37088 | 0.97996 | -0.38482 | 30.3941
30 | 0.071472 | 0.018054 | -0.071416 | -0.018018 | 5.6205e-05 | 3.5811e-05 | 0.10858 | 0.10858 | 0.10858 | 0.97996 | -0.38482 | 0.97912 | -0.40124 | 29.8289
31 | 0.0056838 | 0.0014241 | -0.0056812 | -0.0014236 | 2.6017e-06 | 4.9623e-07 | 0.0086378 | 0.0086382 | 0.0086382 | 0.97912 | -0.40124 | 0.97863 | -0.41085 | 2.3731
32 | 0.064405 | 0.016261 | -0.06438 | -0.016246 | 2.4938e-05 | 1.5873e-05 | 0.097922 | 0.097922 | 0.097922 | 0.97912 | -0.40124 | 0.97871 | -0.40932 | 26.9017
33 | 0.0092639 | 0.0023211 | -0.0092634 | -0.0023209 | 5.1051e-07 | 2.3697e-07 | 0.013945 | 0.013945 | 0.013945 | 0.98853 | -0.219 | 0.98847 | -0.22015 | 3.8309
34 | -0.018848 | -0.0047237 | 0.018856 | 0.0047284 | 7.9314e-06 | 4.7521e-06 | 0.028652 | 0.028651 | 0.028652 | 0.97885 | -0.40677 | 0.9793 | -0.39794 | 7.8713
35 | -0.018856 | -0.0047284 | 0.018866 | 0.0047346 | 1.032e-05 | 6.1827e-06 | 0.028651 | 0.028651 | 0.028651 | 0.9793 | -0.39794 | 0.97988 | -0.38647 | 7.8713
36 | -0.030975 | -0.0077694 | 0.030987 | 0.0077773 | 1.2635e-05 | 7.8947e-06 | 0.04704 | 0.047039 | 0.04704 | 0.97988 | -0.38647 | 0.98032 | -0.37791 | 12.9229
37 | -0.016154 | -0.0040485 | 0.01616 | 0.0040525 | 6.8911e-06 | 4.0189e-06 | 0.024426 | 0.024426 | 0.024426 | 0.98405 | -0.3054 | 0.98451 | -0.29645 | 6.7105
38 | -0.12674 | -0.032015 | 0.12716 | 0.032281 | 0.00041607 | 0.0002659 | 0.19165 | 0.19165 | 0.19165 | 0.98451 | -0.29645 | 0.98804 | -0.2282 | 52.6503
39 | 0.0932 | 0.023607 | -0.092837 | -0.023375 | 0.0003631 | 0.00023177 | 0.14095 | 0.14095 | 0.14095 | 0.98451 | -0.29645 | 0.98032 | -0.37791 | 38.7236
40 | 0.057157 | 0.014422 | -0.057089 | -0.014378 | 6.8542e-05 | 4.3561e-05 | 0.086793 | 0.086793 | 0.086793 | 0.98032 | -0.37791 | 0.97904 | -0.40299 | 23.8443
41 | 0.05532 | 0.013935 | -0.055266 | -0.013901 | 5.3337e-05 | 3.3883e-05 | 0.084104 | 0.084104 | 0.084104 | 0.97904 | -0.40299 | 0.97801 | -0.42317 | 23.1056
42 | -0.14978 | -0.037958 | 0.14984 | 0.037994 | 5.7355e-05 | 3.6554e-05 | 0.22573 | 0.22573 | 0.22573 | 0.98804 | -0.2282 | 0.98845 | -0.22023 | 31.0065
43 | 0.022628 | 0.0056768 | -0.022612 | -0.005667 | 1.612e-05 | 9.8435e-06 | 0.03408 | 0.03408 | 0.03408 | 0.98804 | -0.2282 | 0.98727 | -0.24315 | 9.3627
44 | -0.16464 | -0.041704 | 0.16486 | 0.041842 | 0.00021715 | 0.00013789 | 0.24801 | 0.24801 | 0.24801 | 0.98845 | -0.22023 | 0.98988 | -0.19281 | 22.7114
45 | 0.043099 | 0.010851 | -0.043086 | -0.010843 | 1.279e-05 | 8.0863e-06 | 0.065591 | 0.065592 | 0.065592 | 0.97801 | -0.42317 | 0.97769 | -0.42938 | 18.0196
46 | -0.16486 | -0.041842 | 0.16525 | 0.042088 | 0.00038775 | 0.00024621 | 0.24801 | 0.24801 | 0.24801 | 0.98988 | -0.19281 | 0.99242 | -0.14404 | 22.7114
47 | -0.16525 | -0.042088 | 0.16535 | 0.042152 | 0.00010163 | 6.4527e-05 | 0.24801 | 0.24801 | 0.24801 | 0.99242 | -0.14404 | 0.99309 | -0.1313 | 22.7113
48 | 0.040895 | 0.010294 | -0.040843 | -0.010261 | 5.2092e-05 | 3.289e-05 | 0.062257 | 0.062257 | 0.062257 | 0.97769 | -0.42938 | 0.97633 | -0.45606 | 17.1037
49 | 0.012058 | 0.0030224 | -0.012057 | -0.0030216 | 1.4399e-06 | 7.7935e-07 | 0.018378 | 0.018378 | 0.018378 | 0.97633 | -0.45606 | 0.9762 | -0.45857 | 5.0488
50 | 0.028785 | 0.0072391 | -0.028743 | -0.0072129 | 4.2e-05 | 2.6154e-05 | 0.04388 | 0.04388 | 0.04388 | 0.97633 | -0.45606 | 0.97477 | -0.48666 | 12.055
51 | 0.020633 | 0.0051804 | -0.020629 | -0.0051775 | 4.8115e-06 | 2.9182e-06 | 0.031501 | 0.031501 | 0.031501 | 0.97477 | -0.48666 | 0.97453 | -0.49155 | 8.654
52 | 0.020629 | 0.0051775 | -0.020607 | -0.0051647 | 2.11e-05 | 1.2798e-05 | 0.031501 | 0.031501 | 0.031501 | 0.97453 | -0.49155 | 0.97344 | -0.51302 | 8.6541
53 | -0.17436 | -0.044412 | 0.17442 | 0.044446 | 5.4047e-05 | 3.4345e-05 | 0.26152 | 0.26152 | 0.26152 | 0.99309 | -0.1313 | 0.99342 | -0.12488 | 23.9484
54 | 0.0023383 | 0.00058572 | -0.0023382 | -0.00058595 | 1.1562e-07 | -2.282e-07 | 0.0035677 | 0.0035678 | 0.0035678 | 0.97522 | -0.47802 | 0.97516 | -0.47906 | 0.98017
55 | -0.0065859 | -0.0016503 | 0.0065876 | 0.0016508 | 1.7386e-06 | 5.3967e-07 | 0.010049 | 0.010049 | 0.010049 | 0.97522 | -0.47802 | 0.9755 | -0.47248 | 2.7607
56 | 0.0011663 | 0.00029226 | -0.0011663 | -0.0002923 | 4.5924e-09 | -4.5299e-08 | 0.0017797 | 0.0017797 | 0.0017797 | 0.97516 | -0.47906 | 0.97516 | -0.47914 | 0.48892
57 | -0.0065876 | -0.0016508 | 0.0065913 | 0.0016519 | 3.6404e-06 | 1.1288e-06 | 0.010049 | 0.010048 | 0.010049 | 0.9755 | -0.47248 | 0.97609 | -0.46089 | 2.7606
58 | 0.0012132 | 0.00030346 | -0.0012131 | -0.00030403 | 6.2902e-08 | -5.7274e-07 | 0.0018492 | 0.0018495 | 0.0018495 | 0.97609 | -0.46089 | 0.97603 | -0.46197 | 0.50809
59 | -0.0078044 | -0.0019554 | 0.0078065 | 0.0019562 | 2.0503e-06 | 8.2925e-07 | 0.011897 | 0.011897 | 0.011897 | 0.97609 | -0.46089 | 0.97637 | -0.45537 | 3.2685
60 | 0.0097177 | 0.0024371 | -0.009713 | -0.0024348 | 4.7233e-06 | 2.3022e-06 | 0.014796 | 0.014796 | 0.014796 | 0.97736 | -0.43582 | 0.97684 | -0.44602 | 4.0648
61 | -0.0107 | -0.0026834 | 0.010707 | 0.002687 | 6.8372e-06 | 3.5143e-06 | 0.016292 | 0.016292 | 0.016292 | 0.97736 | -0.43582 | 0.97804 | -0.42242 | 4.4758
62 | 0.0087746 | 0.0021997 | -0.0087707 | -0.0021979 | 3.9082e-06 | 1.7714e-06 | 0.013366 | 0.013367 | 0.013367 | 0.97684 | -0.44602 | 0.97637 | -0.45537 | 3.6722
63 | -0.010707 | -0.002687 | 0.010714 | 0.0026904 | 6.6901e-06 | 3.4376e-06 | 0.016292 | 0.016291 | 0.016292 | 0.97804 | -0.42242 | 0.97871 | -0.40932 | 4.4757
64 | 0.053666 | 0.013555 | -0.053626 | -0.01353 | 4.0229e-05 | 2.5544e-05 | 0.081631 | 0.081631 | 0.081631 | 0.97871 | -0.40932 | 0.97791 | -0.42498 | 22.4261
65 | 0.052707 | 0.013299 | -0.052648 | -0.013262 | 5.8768e-05 | 3.7306e-05 | 0.080233 | 0.080233 | 0.080233 | 0.97791 | -0.42498 | 0.97672 | -0.44829 | 22.042
66 | 0.0023194 | 0.00058108 | -0.0023193 | -0.00058127 | 9.0868e-08 | -1.8664e-07 | 0.0035266 | 0.0035266 | 0.0035266 | 0.97863 | -0.41085 | 0.97859 | -0.41167 | 0.96886
67 | 0.052034 | 0.013108 | -0.052033 | -0.013107 | 1.3937e-06 | 8.846e-07 | 0.079298 | 0.079298 | 0.079298 | 0.97672 | -0.44829 | 0.97669 | -0.44885 | 21.7851
68 | -0.00084114 | -0.00021081 | 0.00084116 | 0.00021032 | 2.3475e-08 | -4.8466e-07 | 0.0012668 | 0.0012666 | 0.0012668 | 0.98804 | -0.22864 | 0.98807 | -0.22806 | 0.34802
69 | -0.0038673 | -0.00096875 | 0.0038675 | 0.0009687 | 1.397e-07 | -5.1273e-08 | 0.005824 | 0.0058239 | 0.005824 | 0.98807 | -0.22806 | 0.98811 | -0.2273 | 1.6
70 | -0.0054958 | -0.0013768 | 0.0054963 | 0.0013769 | 4.281e-07 | 6.0475e-08 | 0.0082761 | 0.0082761 | 0.0082761 | 0.98811 | -0.2273 | 0.98819 | -0.22566 | 2.2737
71 | 0.01775 | 0.0044521 | -0.01774 | -0.004446 | 1.0279e-05 | 6.1173e-06 | 0.027151 | 0.027151 | 0.027151 | 0.97285 | -0.52441 | 0.97223 | -0.53656 | 7.459
72 | -0.036355 | -0.0091149 | 0.036377 | 0.0091287 | 2.1913e-05 | 1.379e-05 | 0.055608 | 0.055607 | 0.055608 | 0.97285 | -0.52441 | 0.97349 | -0.51176 | 15.2768
73 | -0.039169 | -0.0098286 | 0.039172 | 0.0098299 | 2.0814e-06 | 1.3129e-06 | 0.059876 | 0.059876 | 0.059876 | 0.97349 | -0.51176 | 0.97355 | -0.51065 | 16.4495
74 | -0.0075056 | -0.0018804 | 0.0075075 | 0.0018812 | 1.9694e-06 | 7.3349e-07 | 0.011302 | 0.011301 | 0.011302 | 0.98819 | -0.22566 | 0.98847 | -0.22015 | 3.1048
75 | 0.0017559 | 0.00043969 | -0.0017558 | -0.00043999 | 7.0689e-08 | -3.0061e-07 | 0.0026431 | 0.0026432 | 0.0026432 | 0.98847 | -0.22015 | 0.98843 | -0.221 | 0.72617
76 | 0.00060046 | 0.00015043 | -0.00060046 | -0.00015049 | 1.4536e-09 | -5.9874e-08 | 0.00090394 | 0.00090396 | 0.00090396 | 0.98843 | -0.221 | 0.98843 | -0.22105 | 0.24834
77 | 0.050403 | 0.012699 | -0.050351 | -0.012666 | 5.1814e-05 | 3.2868e-05 | 0.076814 | 0.076814 | 0.076814 | 0.97669 | -0.44885 | 0.97559 | -0.47037 | 21.1028
78 | 0.048578 | 0.012222 | -0.048532 | -0.012193 | 4.5648e-05 | 2.8938e-05 | 0.07411 | 0.07411 | 0.07411 | 0.97559 | -0.47037 | 0.97459 | -0.49005 | 20.3599
79 | 0.047263 | 0.011875 | -0.047252 | -0.011867 | 1.1713e-05 | 7.4218e-06 | 0.072173 | 0.072173 | 0.072173 | 0.97459 | -0.49005 | 0.97433 | -0.49525 | 19.8277
80 | 0.043452 | 0.010915 | -0.043421 | -0.010895 | 3.1915e-05 | 2.0185e-05 | 0.066371 | 0.066371 | 0.066371 | 0.97433 | -0.49525 | 0.97355 | -0.51065 | 18.2337

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42979 | 0.10988

## res_load
| p_mw | q_mvar
0 | 0.0075638 | 0.0018957
1 | 0.0067415 | 0.0016896
2 | 0.0014519 | 0.00036388
3 | 0.013275 | 0.0033271
4 | 0.012038 | 0.0030169
5 | 0.025605 | 0.0064171
6 | 0.020643 | 0.0051735
7 | 0.0038091 | 0.00095466
8 | 0.0019463 | 0.00048778
9 | 0.0018584 | 0.00046576
10 | 0.0059996 | 0.0015036
11 | 0.025468 | 0.006383
12 | 0.0022715 | 0.00056929
13 | 0.0021088 | 0.00052853
14 | 0.0016874 | 0.0004229
15 | 0.0013548 | 0.00033954
16 | 0.0013275 | 0.0003327
17 | 0.002386 | 0.00059799
18 | 0.018848 | 0.0047237
19 | 0.012109 | 0.0030348
20 | 0.016154 | 0.0040485
21 | 0.017379 | 0.0043556
22 | 0.0046917 | 0.0011759
23 | 0.0017692 | 0.00044339
24 | 0.014801 | 0.0037095
25 | 0.022612 | 0.005667
26 | 0.012168 | 0.0030495
27 | 0.0021907 | 0.00054904
28 | 0.012057 | 0.0030216
29 | 0.0081097 | 0.0020325
30 | 0.020607 | 0.0051647
31 | 0.0090156 | 0.0022595
32 | 0.014373 | 0.0036021
33 | 0.017975 | 0.004505
34 | 0.0042476 | 0.0010645
35 | 0.0011719 | 0.0002937
36 | 0.0011663 | 0.0002923
37 | 0.00098273 | 0.0002463
38 | 0.00093841 | 0.00023519
39 | 0.0012131 | 0.00030403
40 | 0.00096419 | 0.00024165
41 | 0.00091891 | 0.0002303
42 | 0.0033618 | 0.00084255
43 | 0.00061386 | 0.00015385
44 | 0.0023193 | 0.00058127
45 | 0.00084114 | 0.00021081
46 | 0.0030262 | 0.00075843
47 | 0.0016284 | 0.00040811
48 | 0.018605 | 0.0046628
49 | 0.01774 | 0.004446
50 | 0.0027928 | 0.00069994
51 | 0.0020093 | 0.00050357
52 | 0.0011554 | 0.00028956
53 | 0.00060046 | 0.00015049
54 | 0.0016301 | 0.00040855
55 | 0.001773 | 0.00044436
56 | 0.0012687 | 0.00031796
57 | 0.0037993 | 0.00095218
58 | 0.004249 | 0.0010649

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1