## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2163-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2163-3_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2163-3_0_3_node_25 | 0.4 | n |  | TRUE
3 | bus_LV_2163-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2163-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2163-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2163-3_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2163-3_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2163-3_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_2163-3_0_3_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_2163-3_0_3_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_2163-3_0_3_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_2163-3_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_2163-3_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2163-3_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_2163-3_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2163-3_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2163-3_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_2163-3_0_3_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_2163-3_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_2163-3_0_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_2163-3_0_3_node_102 | 0.4 | n |  | TRUE
22 | bus_LV_2163-3_0_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_2163-3_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_2163-3_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_2163-3_0_3_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_2163-3_0_3_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_2163-3_0_3_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_2163-3_0_3_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_2163-3_0_3_node_220 | 0.4 | n |  | TRUE
30 | bus_LV_2163-3_0_3_node_98 | 0.4 | n |  | TRUE
31 | bus_LV_2163-3_0_3_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_2163-3_0_3_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_2163-3_0_3_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_2163-3_0_3_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_2163-3_0_3_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_2163-3_0_3_node_90 | 0.4 | n |  | TRUE
37 | bus_LV_2163-3_0_3_node_101 | 0.4 | n |  | TRUE
38 | bus_LV_2163-3_0_3_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_2163-3_0_3_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_2163-3_0_3_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_2163-3_0_3_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_2163-3_0_3_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_2163-3_0_3_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_2163-3_0_3_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_2163-3_0_3_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_2163-3_0_3_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_2163-3_0_3_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_2163-3_0_3_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_2163-3_0_3_node_226 | 0.4 | n |  | TRUE
50 | bus_LV_2163-3_0_3_node_92 | 0.4 | n |  | TRUE
51 | bus_LV_2163-3_0_3_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_2163-3_0_3_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_2163-3_0_3_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_2163-3_0_3_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_2163-3_0_3_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_2163-3_0_3_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_2163-3_0_3_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_2163-3_0_3_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_2163-3_0_3_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_2163-3_0_3_node_94 | 0.4 | n |  | TRUE
61 | bus_LV_2163-3_0_3_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_2163-3_0_3_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_2163-3_0_3_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_2163-3_0_3_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_2163-3_0_3_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_2163-3_0_3_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_2163-3_0_3_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_2163-3_0_3_node_96 | 0.4 | n |  | TRUE
69 | bus_LV_2163-3_0_3_node_93 | 0.4 | n |  | TRUE
70 | bus_LV_2163-3_0_3_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_2163-3_0_3_node_83 | 0.4 | n |  | TRUE
72 | bus_LV_2163-3_0_3_node_84 | 0.4 | n |  | TRUE
73 | bus_LV_2163-3_0_3_node_85 | 0.4 | n |  | TRUE
74 | bus_LV_2163-3_0_3_node_86 | 0.4 | n |  | TRUE
75 | bus_LV_2163-3_0_3_node_87 | 0.4 | n |  | TRUE
76 | bus_LV_2163-3_0_3_node_225 | 0.4 | n |  | TRUE
77 | bus_LV_2163-3_0_3_node_100 | 0.4 | n |  | TRUE
78 | bus_LV_2163-3_0_3_node_99 | 0.4 | n |  | TRUE
79 | bus_LV_2163-3_0_3_node_88 | 0.4 | n |  | TRUE
80 | bus_LV_2163-3_0_3_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_2163-3_0_3_node_91 | 0.4 | n |  | TRUE
82 | bus_LV_2163-3_0_3_node_97 | 0.4 | n |  | TRUE
83 | bus_LV_2163-3_0_3_node_103 | 0.4 | n |  | TRUE
84 | bus_LV_2163-3_0_3_node_221 | 0.4 | n |  | TRUE
85 | bus_MV_28_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2163-3_0_3_load_0 | 0 | 0.0037678 | 0.00094429 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2163-3_0_3_load_25 | 2 | 0.0019919 | 0.00049922 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2163-3_0_3_load_3 | 3 | 0.0020073 | 0.00050308 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2163-3_0_3_load_8 | 7 | 0.0027539 | 0.00069018 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2163-3_0_3_load_9 | 8 | 0.0063946 | 0.0016026 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2163-3_0_3_load_49 | 10 | 0.019679 | 0.004932 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2163-3_0_3_load_10 | 13 | 0.0071136 | 0.0017828 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2163-3_0_3_load_11 | 14 | 0.015182 | 0.003805 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2163-3_0_3_load_13 | 15 | 0.0021506 | 0.00053899 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2163-3_0_3_load_15 | 16 | 0.016886 | 0.004232 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2163-3_0_3_load_16 | 17 | 0.0082843 | 0.0020762 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2163-3_0_3_load_102 | 21 | 0.015847 | 0.0039716 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2163-3_0_3_load_21 | 22 | 0.0015805 | 0.00039611 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2163-3_0_3_load_24 | 24 | 0.0032558 | 0.00081598 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2163-3_0_3_load_44 | 25 | 0.0090956 | 0.0022796 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2163-3_0_3_load_46 | 26 | 0.020933 | 0.0052463 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2163-3_0_3_load_47 | 27 | 0.0062734 | 0.0015723 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2163-3_0_3_load_48 | 28 | 0.0024213 | 0.00060684 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2163-3_0_3_load_98 | 30 | 0.0012969 | 0.00032503 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2163-3_0_3_load_50 | 31 | 0.0037175 | 0.00093168 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2163-3_0_3_load_90 | 36 | 0.0083233 | 0.002086 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2163-3_0_3_load_101 | 37 | 0.0045851 | 0.0011491 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2163-3_0_3_load_55 | 38 | 0.0083239 | 0.0020862 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2163-3_0_3_load_54 | 39 | 0.0043007 | 0.0010779 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2163-3_0_3_load_56 | 40 | 0.0015618 | 0.00039141 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2163-3_0_3_load_57 | 41 | 0.00043724 | 0.00010958 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2163-3_0_3_load_58 | 42 | 0.00043719 | 0.00010957 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2163-3_0_3_load_60 | 44 | 0.00046026 | 0.00011535 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2163-3_0_3_load_61 | 45 | 0.0014671 | 0.0003677 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2163-3_0_3_load_71 | 47 | 0.00054262 | 0.00013599 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2163-3_0_3_load_77 | 48 | 0.0016135 | 0.00040439 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2163-3_0_3_load_226 | 49 | 0.0028526 | 0.00071492 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2163-3_0_3_load_63 | 51 | 0.0004373 | 0.0001096 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2163-3_0_3_load_64 | 52 | 0.0004375 | 0.00010965 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2163-3_0_3_load_65 | 53 | 0.00044536 | 0.00011162 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2163-3_0_3_load_81 | 54 | 0.00043755 | 0.00010966 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2163-3_0_3_load_66 | 55 | 0.0017087 | 0.00042825 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2163-3_0_3_load_67 | 56 | 0.0010968 | 0.00027488 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2163-3_0_3_load_68 | 57 | 0.001712 | 0.00042906 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2163-3_0_3_load_69 | 58 | 0.0019902 | 0.00049878 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2163-3_0_3_load_70 | 59 | 0.0014619 | 0.00036638 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2163-3_0_3_load_94 | 60 | 0.0011317 | 0.00028364 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2163-3_0_3_load_75 | 61 | 0.00040851 | 0.00010238 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2163-3_0_3_load_72 | 62 | 0.0018669 | 0.00046789 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2163-3_0_3_load_73 | 63 | 0.0019725 | 0.00049436 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2163-3_0_3_load_74 | 64 | 0.0021438 | 0.00053728 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2163-3_0_3_load_76 | 65 | 0.0034315 | 0.00086001 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2163-3_0_3_load_79 | 66 | 0.0014834 | 0.00037178 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2163-3_0_3_load_80 | 67 | 0.0012511 | 0.00031356 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2163-3_0_3_load_96 | 68 | 0.001612 | 0.00040401 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2163-3_0_3_load_93 | 69 | 0.0019774 | 0.00049559 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2163-3_0_3_load_82 | 70 | 0.0014928 | 0.00037414 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2163-3_0_3_load_83 | 71 | 0.0018597 | 0.00046608 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2163-3_0_3_load_85 | 73 | 0.0023463 | 0.00058803 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2163-3_0_3_load_225 | 76 | 0.0010959 | 0.00027465 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2163-3_0_3_load_100 | 77 | 0.00028354 | 7.1062e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2163-3_0_3_load_99 | 78 | 0.0022919 | 0.00057441 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2163-3_0_3_load_88 | 79 | 0.0020239 | 0.00050723 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2163-3_0_3_load_89 | 80 | 0.00095876 | 0.00024029 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2163-3_0_3_load_91 | 81 | 0.0036318 | 0.00091021 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2163-3_0_3_load_97 | 82 | 0.0062242 | 0.0015599 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2163-3_0_3_load_103 | 83 | 0.0021901 | 0.0005489 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2163-3_0_3_load_221 | 84 | 0.0013277 | 0.00033276 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2163-3_0_3_line_0 |  | 0 | 1 | 0.029345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2163-3_0_3_line_1 |  | 1 | 2 | 0.06761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2163-3_0_3_line_2 |  | 2 | 24 | 0.027632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2163-3_0_3_line_3 |  | 3 | 4 | 0.021688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2163-3_0_3_line_4 |  | 3 | 5 | 0.065269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2163-3_0_3_line_5 |  | 4 | 6 | 0.028934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2163-3_0_3_line_6 |  | 5 | 7 | 0.029448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2163-3_0_3_line_7 |  | 5 | 8 | 0.048873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2163-3_0_3_line_8 |  | 6 | 9 | 0.057453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2163-3_0_3_line_9 |  | 6 | 10 | 0.086349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2163-3_0_3_line_10 |  | 7 | 11 | 0.01603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2163-3_0_3_line_11 |  | 8 | 12 | 0.039687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2163-3_0_3_line_12 |  | 9 | 18 | 0.030309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2163-3_0_3_line_13 |  | 9 | 17 | 0.027692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2163-3_0_3_line_14 |  | 11 | 19 | 0.043426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2163-3_0_3_line_15 |  | 12 | 13 | 0.052717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2163-3_0_3_line_16 |  | 13 | 14 | 0.01661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2163-3_0_3_line_17 |  | 14 | 15 | 0.017208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2163-3_0_3_line_18 |  | 16 | 17 | 0.014736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2163-3_0_3_line_19 |  | 18 | 27 | 0.017814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2163-3_0_3_line_20 |  | 18 | 25 | 0.010129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2163-3_0_3_line_21 |  | 19 | 20 | 0.003786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2163-3_0_3_line_22 |  | 19 | 21 | 0.06172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2163-3_0_3_line_23 |  | 20 | 23 | 0.064211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2163-3_0_3_line_24 |  | 20 | 22 | 0.015019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2163-3_0_3_line_25 |  | 21 | 83 | 0.0031152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2163-3_0_3_line_26 |  | 23 | 24 | 0.01839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2163-3_0_3_line_27 |  | 25 | 26 | 0.027795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2163-3_0_3_line_28 |  | 26 | 28 | 0.042578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2163-3_0_3_line_29 |  | 27 | 29 | 0.013935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2163-3_0_3_line_30 |  | 28 | 30 | 0.021288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2163-3_0_3_line_31 |  | 29 | 84 | 0.017186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2163-3_0_3_line_32 |  | 29 | 37 | 0.022898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2163-3_0_3_line_33 |  | 31 | 32 | 0.017813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2163-3_0_3_line_34 |  | 32 | 33 | 0.022775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2163-3_0_3_line_35 |  | 32 | 34 | 0.012549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2163-3_0_3_line_36 |  | 33 | 35 | 0.059425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2163-3_0_3_line_37 |  | 33 | 36 | 0.035796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2163-3_0_3_line_38 |  | 34 | 37 | 0.038104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2163-3_0_3_line_39 |  | 34 | 38 | 0.025598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2163-3_0_3_line_40 |  | 35 | 48 | 0.17045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2163-3_0_3_line_41 |  | 36 | 79 | 0.062277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2163-3_0_3_line_42 |  | 38 | 39 | 0.00071567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2163-3_0_3_line_43 |  | 39 | 40 | 0.027846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2163-3_0_3_line_44 |  | 41 | 42 | 0.031284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2163-3_0_3_line_45 |  | 41 | 43 | 0.15535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2163-3_0_3_line_46 |  | 42 | 44 | 0.027125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2163-3_0_3_line_47 |  | 43 | 45 | 0.042388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2163-3_0_3_line_48 |  | 43 | 46 | 0.02212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2163-3_0_3_line_49 |  | 44 | 47 | 0.031969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2163-3_0_3_line_50 |  | 45 | 48 | 0.012471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2163-3_0_3_line_51 |  | 46 | 49 | 0.055023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2163-3_0_3_line_52 |  | 46 | 50 | 0.008859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2163-3_0_3_line_53 |  | 47 | 61 | 0.02445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2163-3_0_3_line_54 |  | 50 | 59 | 0.023905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2163-3_0_3_line_55 |  | 50 | 74 | 0.034294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2163-3_0_3_line_56 |  | 51 | 52 | 0.018937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2163-3_0_3_line_57 |  | 52 | 53 | 0.022355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2163-3_0_3_line_58 |  | 53 | 54 | 0.0028431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2163-3_0_3_line_59 |  | 54 | 69 | 0.030989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2163-3_0_3_line_60 |  | 55 | 56 | 0.0059701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2163-3_0_3_line_61 |  | 55 | 57 | 0.014593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2163-3_0_3_line_62 |  | 56 | 58 | 0.018014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2163-3_0_3_line_63 |  | 57 | 59 | 0.002458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2163-3_0_3_line_64 |  | 58 | 60 | 0.018547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2163-3_0_3_line_65 |  | 60 | 68 | 0.015525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2163-3_0_3_line_66 |  | 62 | 63 | 0.026124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2163-3_0_3_line_67 |  | 63 | 64 | 0.019217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2163-3_0_3_line_68 |  | 64 | 65 | 0.0074609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2163-3_0_3_line_69 |  | 65 | 66 | 0.0089908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2163-3_0_3_line_70 |  | 66 | 67 | 0.016382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2163-3_0_3_line_71 |  | 67 | 68 | 0.0032339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2163-3_0_3_line_72 |  | 69 | 73 | 0.010704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2163-3_0_3_line_73 |  | 70 | 71 | 0.030136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2163-3_0_3_line_74 |  | 70 | 72 | 0.04156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2163-3_0_3_line_75 |  | 71 | 73 | 0.017261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2163-3_0_3_line_76 |  | 72 | 74 | 0.052618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2163-3_0_3_line_77 |  | 72 | 75 | 0.14621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2163-3_0_3_line_78 |  | 74 | 76 | 0.023239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2163-3_0_3_line_79 |  | 75 | 77 | 0.1786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2163-3_0_3_line_80 |  | 75 | 78 | 0.0015227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2163-3_0_3_line_81 |  | 79 | 80 | 0.015884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2163-3_0_3_line_82 |  | 80 | 81 | 0.032468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2163-3_0_3_line_83 |  | 81 | 82 | 0.11385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2163-3_0_3_trafo_55 | 0.63 MVA 20/0.4 kV | 85 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2578792.5481 | 1163301.5904 | 2578778.9394 | 1163293.5679 | 2578774.3891 | 1163286.9363 | 2578779.6241 | 1163285.235
1 | 2578731.5636 | 1163330.7799 | 2578792.5481 | 1163301.5904
2 | 2578714.5819 | 1163352.5774 | 2578731.5636 | 1163330.7799
3 | 2578661.2338 | 1163262.9598 | 2578640.5226 | 1163269.3959
4 | 2578578.4835 | 1163289.6242 | 2578595.9856 | 1163283.2361 | 2578640.5226 | 1163269.3959
5 | 2578661.2338 | 1163262.9598 | 2578657.9324 | 1163252.1995 | 2578653.5054 | 1163235.0844
6 | 2578578.4835 | 1163289.6242 | 2578582.2715 | 1163299.3488 | 2578589.9722 | 1163316.7307
7 | 2578578.4835 | 1163289.6242 | 2578531.4512 | 1163302.9091
8 | 2578653.5054 | 1163235.0844 | 2578643.2687 | 1163193.3 | 2578649.1743 | 1163191.1779 | 2578657.002 | 1163188.8821
9 | 2578653.5054 | 1163235.0844 | 2578648.9218 | 1163236.3459 | 2578646.2629 | 1163238.2007 | 2578631.2162 | 1163254.4292 | 2578625.7828 | 1163257.9392 | 2578619.1209 | 1163260.6199 | 2578578.3361 | 1163272.8298
10 | 2578598.4441 | 1163330.2843 | 2578591.4373 | 1163320.0375 | 2578589.9722 | 1163316.7307
11 | 2578493.2583 | 1163313.6973 | 2578531.4512 | 1163302.9091
12 | 2578632.2643 | 1163183.2787 | 2578636.3202 | 1163184.3981 | 2578639.9439 | 1163186.7419 | 2578643.2687 | 1163193.3 | 2578649.1743 | 1163191.1779 | 2578657.002 | 1163188.8821
13 | 2578657.002 | 1163188.8821 | 2578684.2482 | 1163183.9332
14 | 2578598.4441 | 1163330.2843 | 2578605.1644 | 1163333.2729 | 2578640.1854 | 1163342.3858
15 | 2578493.2583 | 1163313.6973 | 2578506.959 | 1163364.6033
16 | 2578506.959 | 1163364.6033 | 2578511.2757 | 1163380.6421
17 | 2578515.7478 | 1163397.2585 | 2578511.2757 | 1163380.6421
18 | 2578684.2482 | 1163183.9332 | 2578698.7474 | 1163181.2995
19 | 2578632.2643 | 1163183.2787 | 2578628.0047 | 1163183.0604 | 2578623.933 | 1163183.9532 | 2578615.1544 | 1163187.2575
20 | 2578632.2643 | 1163183.2787 | 2578629.1222 | 1163173.6489
21 | 2578643.948 | 1163342.8948 | 2578640.1854 | 1163342.3858
22 | 2578640.1854 | 1163342.3858 | 2578612.9466 | 1163389.0397 | 2578607.3019 | 1163394.2723
23 | 2578643.948 | 1163342.8948 | 2578682.4199 | 1163355.3751 | 2578703.2799 | 1163367.0845
24 | 2578643.948 | 1163342.8948 | 2578654.4639 | 1163332.1722
25 | 2578607.3019 | 1163394.2723 | 2578605.0173 | 1163396.3901
26 | 2578703.2799 | 1163367.0845 | 2578714.5819 | 1163352.5774
27 | 2578620.5005 | 1163147.2248 | 2578629.1222 | 1163173.6489
28 | 2578620.5005 | 1163147.2248 | 2578580.2802 | 1163161.1981
29 | 2578602.1016 | 1163192.1353 | 2578605.2379 | 1163190.9901 | 2578615.1544 | 1163187.2575
30 | 2578560.1712 | 1163168.1843 | 2578580.2802 | 1163161.1981
31 | 2578602.1016 | 1163192.1353 | 2578596.0068 | 1163176.0661
32 | 2578602.1016 | 1163192.1353 | 2578580.5036 | 1163199.7408
33 | 2578549.6374 | 1163238.235 | 2578539.1638 | 1163252.6437
34 | 2578549.6374 | 1163238.235 | 2578541.6624 | 1163242.1211 | 2578527.977 | 1163244.8937
35 | 2578549.6374 | 1163238.235 | 2578554.7166 | 1163234.2148 | 2578558.3067 | 1163229.2994
36 | 2578527.977 | 1163244.8937 | 2578514.0544 | 1163245.5885 | 2578499.6051 | 1163244.651 | 2578483.5415 | 1163242.1296 | 2578473.8822 | 1163239.8298 | 2578469.2112 | 1163238.0902
37 | 2578527.977 | 1163244.8937 | 2578512.3895 | 1163236.3009 | 2578499.8329 | 1163229.1757 | 2578496.7197 | 1163227.4493
38 | 2578558.3067 | 1163229.2994 | 2578561.0538 | 1163224.276 | 2578563.6451 | 1163218.5082 | 2578565.5886 | 1163213.6878 | 2578567.8348 | 1163209.9334 | 2578571.4279 | 1163205.8741 | 2578575.0697 | 1163202.5594 | 2578579.2663 | 1163200.1765 | 2578580.5036 | 1163199.7408
39 | 2578558.3067 | 1163229.2994 | 2578553.4707 | 1163226.3931 | 2578536.7356 | 1163215.5232
40 | 2578469.2112 | 1163238.0902 | 2578463.7273 | 1163236.0533 | 2578454.6349 | 1163229.5383 | 2578449.1757 | 1163223.744 | 2578437.6151 | 1163208.2222 | 2578423.8343 | 1163195.1653 | 2578407.3392 | 1163183.4856 | 2578394.606 | 1163176.3168 | 2578381.4224 | 1163169.5944 | 2578366.2704 | 1163160.7891 | 2578354.6641 | 1163153.9165 | 2578346.1996 | 1163149.5449 | 2578341.2129 | 1163147.3507 | 2578334.9037 | 1163145.895 | 2578329.9075 | 1163145.3351
41 | 2578460.4669 | 1163180.2433 | 2578462.0476 | 1163184.3446 | 2578470.7402 | 1163207.4693 | 2578476.2414 | 1163214.2974 | 2578484.3372 | 1163220.5826 | 2578496.7197 | 1163227.4493
42 | 2578536.1354 | 1163215.1333 | 2578536.7356 | 1163215.5232
43 | 2578527.8669 | 1163194.9802 | 2578523.2202 | 1163202.1449 | 2578523.7381 | 1163205.6003 | 2578525.8624 | 1163208.4608 | 2578536.1354 | 1163215.1333
44 | 2578206.1312 | 1163225.2482 | 2578212.1613 | 1163233.362 | 2578220.8468 | 1163245.87 | 2578223.1751 | 1163251.3427
45 | 2578276.4698 | 1163135.9017 | 2578268.7925 | 1163133.1726 | 2578253.9561 | 1163126.9567 | 2578248.1139 | 1163125.4661 | 2578242.8429 | 1163125.1517 | 2578236.2891 | 1163128.077 | 2578231.1492 | 1163132.2089 | 2578227.6847 | 1163137.891 | 2578224.0456 | 1163148.2316 | 2578218.6811 | 1163162.2137 | 2578211.4865 | 1163172.1449 | 2578199.8774 | 1163185.5716 | 2578197.1001 | 1163190.651 | 2578195.4932 | 1163201.6179 | 2578196.7219 | 1163210.8847 | 2578200.8154 | 1163218.0956 | 2578206.1312 | 1163225.2482
46 | 2578223.1751 | 1163251.3427 | 2578225.0495 | 1163255.7486 | 2578231.9711 | 1163276.9862
47 | 2578276.4698 | 1163135.9017 | 2578299.5691 | 1163143.6774 | 2578306.0692 | 1163144.9656 | 2578312.3443 | 1163145.4542 | 2578317.4387 | 1163145.4927
48 | 2578263.2536 | 1163118.1408 | 2578276.4698 | 1163135.9017
49 | 2578231.9711 | 1163276.9862 | 2578241.8775 | 1163307.382
50 | 2578317.4387 | 1163145.4927 | 2578321.3064 | 1163145.5218 | 2578329.9075 | 1163145.3351 | 2578329.9075 | 1163145.3351
51 | 2578263.2536 | 1163118.1408 | 2578254.5301 | 1163116.2826 | 2578247.4397 | 1163114.8743 | 2578238.1994 | 1163114.152 | 2578227.134 | 1163114.9704 | 2578219.9913 | 1163118.1313 | 2578212.0828 | 1163125.5415
52 | 2578258.2176 | 1163110.8443 | 2578263.2536 | 1163118.1408
53 | 2578241.8775 | 1163307.382 | 2578249.4537 | 1163330.6281
54 | 2578258.2176 | 1163110.8443 | 2578264.5727 | 1163110.1653 | 2578277.3297 | 1163111.1306 | 2578282.0493 | 1163111.2171
55 | 2578228.6367 | 1163094.2768 | 2578235.2782 | 1163096.5093 | 2578239.7655 | 1163098.2716 | 2578244.162 | 1163100.3234 | 2578248.4065 | 1163102.698 | 2578252.5523 | 1163105.3287 | 2578255.4572 | 1163107.9306 | 2578258.2176 | 1163110.8443
56 | 2578180.2173 | 1163271.4957 | 2578174.423 | 1163253.4673
57 | 2578174.423 | 1163253.4673 | 2578173.3267 | 1163250.0563 | 2578168.0697 | 1163232.0353
58 | 2578167.2735 | 1163229.3059 | 2578168.0697 | 1163232.0353
59 | 2578167.2735 | 1163229.3059 | 2578163.6698 | 1163216.9526 | 2578157.1967 | 1163200.0279
60 | 2578299.0964 | 1163111.0752 | 2578305.065 | 1163110.9411 | 2578305.065 | 1163110.9411
61 | 2578299.0964 | 1163111.0752 | 2578287.9622 | 1163111.3255 | 2578284.5069 | 1163111.2621
62 | 2578305.065 | 1163110.9411 | 2578314.0686 | 1163111.8756 | 2578322.837 | 1163113.7271
63 | 2578282.0493 | 1163111.2171 | 2578284.5069 | 1163111.2621
64 | 2578340.8156 | 1163118.2303 | 2578331.8221 | 1163115.6243 | 2578322.837 | 1163113.7271
65 | 2578355.5685 | 1163123.0475 | 2578346.7896 | 1163119.9613 | 2578340.8156 | 1163118.2303
66 | 2578430.972 | 1163153.6986 | 2578406.8762 | 1163143.6054
67 | 2578406.8762 | 1163143.6054 | 2578389.1516 | 1163136.1809
68 | 2578382.2383 | 1163133.3754 | 2578388.3935 | 1163135.8634 | 2578389.1516 | 1163136.1809
69 | 2578373.9028 | 1163130.006 | 2578382.2383 | 1163133.3754
70 | 2578373.9028 | 1163130.006 | 2578364.161 | 1163126.0682 | 2578358.6194 | 1163124.12
71 | 2578358.6194 | 1163124.12 | 2578355.5685 | 1163123.0475
72 | 2578157.1967 | 1163200.0279 | 2578156.9572 | 1163199.4016 | 2578152.525 | 1163190.4
73 | 2578156.8971 | 1163144.1348 | 2578155.6676 | 1163146.1796 | 2578153.662 | 1163152.8125 | 2578152.3152 | 1163159.4541 | 2578150.7987 | 1163169.9982 | 2578150.7564 | 1163173.3895
74 | 2578185.2938 | 1163114.2223 | 2578181.1162 | 1163119.6958 | 2578177.6448 | 1163123.4659 | 2578173.2232 | 1163127.1505 | 2578163.1118 | 1163135.4026 | 2578159.2916 | 1163140.1523 | 2578156.8971 | 1163144.1348
75 | 2578150.7564 | 1163173.3895 | 2578150.6743 | 1163179.9704 | 2578151.7174 | 1163188.7599 | 2578152.525 | 1163190.4
76 | 2578228.6367 | 1163094.2768 | 2578219.8037 | 1163091.8188 | 2578215.3663 | 1163091.1679 | 2578212.4637 | 1163091.3007 | 2578209.5865 | 1163092.0783 | 2578206.971 | 1163093.2217 | 2578204.6012 | 1163094.531 | 2578201.7141 | 1163096.8093 | 2578198.9815 | 1163099.4428 | 2578188.3766 | 1163111.0094 | 2578185.2938 | 1163114.2223
77 | 2578185.2938 | 1163114.2223 | 2578178.0953 | 1163116.772 | 2578170.8101 | 1163118.6662 | 2578163.0305 | 1163119.4171 | 2578152.5268 | 1163118.7996 | 2578146.7121 | 1163118.5429 | 2578142.8607 | 1163118.9349 | 2578138.9214 | 1163120.4501 | 2578135.835 | 1163122.6513 | 2578132.9295 | 1163126.1859 | 2578129.2518 | 1163132.2024 | 2578124.7997 | 1163140.0781 | 2578119.7731 | 1163147.9671 | 2578110.5561 | 1163157.7946 | 2578101.9129 | 1163163.2401 | 2578098.0818 | 1163167.0671 | 2578095.4105 | 1163171.7904 | 2578094.2624 | 1163176.1968 | 2578094.0038 | 1163180.9001 | 2578094.6704 | 1163185.1442 | 2578096.518 | 1163191.8519 | 2578100.5419 | 1163200.9307
78 | 2578228.6367 | 1163094.2768 | 2578225.3645 | 1163095.9895 | 2578221.7881 | 1163096.1693 | 2578213.9348 | 1163095.6309 | 2578208.5421 | 1163097.6515 | 2578207.2395 | 1163099.6573
79 | 2578035.4779 | 1163350.3884 | 2578042.9361 | 1163347.7375 | 2578050.4821 | 1163346.0423 | 2578057.5929 | 1163342.6368 | 2578067.4211 | 1163334.5745 | 2578072.9667 | 1163330.4299 | 2578078.8172 | 1163323.794 | 2578083.1597 | 1163317.4083 | 2578086.1953 | 1163311.7943 | 2578088.1412 | 1163305.6063 | 2578089.4395 | 1163296.1969 | 2578089.9876 | 1163282.7325 | 2578091.0418 | 1163273.5797 | 2578092.9682 | 1163264.1679 | 2578097.0243 | 1163252.7695 | 2578098.3579 | 1163246.7061 | 2578098.9986 | 1163239.7002 | 2578098.7652 | 1163228.2509 | 2578098.8813 | 1163213.9099 | 2578099.3473 | 1163205.2038 | 2578100.5419 | 1163200.9307
80 | 2578100.5419 | 1163200.9307 | 2578101.1012 | 1163202.347
81 | 2578460.4669 | 1163180.2433 | 2578456.1559 | 1163169.0581 | 2578455.19 | 1163165.2826
82 | 2578447.2996 | 1163133.7888 | 2578449.9019 | 1163144.6128 | 2578455.19 | 1163165.2826
83 | 2578425.931 | 1163024.5944 | 2578421.9107 | 1163037.671 | 2578421.469 | 1163044.754 | 2578422.7728 | 1163055.8104 | 2578425.672 | 1163069.6291 | 2578429.7782 | 1163084.6552 | 2578435.2279 | 1163098.398 | 2578441.6115 | 1163114.1273 | 2578445.5705 | 1163126.5971 | 2578447.2996 | 1163133.7888

## bus_geodata
| x | y | coords
0 | 2578779.6241 | 1163285.235
1 | 2578792.5481 | 1163301.5904
2 | 2578731.5636 | 1163330.7799
3 | 2578640.5226 | 1163269.3959
4 | 2578661.2338 | 1163262.9598
5 | 2578578.4835 | 1163289.6242
6 | 2578653.5054 | 1163235.0844
7 | 2578589.9722 | 1163316.7307
8 | 2578531.4512 | 1163302.9091
9 | 2578657.002 | 1163188.8821
10 | 2578578.3361 | 1163272.8298
11 | 2578598.4441 | 1163330.2843
12 | 2578493.2583 | 1163313.6973
13 | 2578506.959 | 1163364.6033
14 | 2578511.2757 | 1163380.6421
15 | 2578515.7478 | 1163397.2585
16 | 2578698.7474 | 1163181.2995
17 | 2578684.2482 | 1163183.9332
18 | 2578632.2643 | 1163183.2787
19 | 2578640.1854 | 1163342.3858
20 | 2578643.948 | 1163342.8948
21 | 2578607.3019 | 1163394.2723
22 | 2578654.4639 | 1163332.1722
23 | 2578703.2799 | 1163367.0845
24 | 2578714.5819 | 1163352.5774
25 | 2578629.1222 | 1163173.6489
26 | 2578620.5005 | 1163147.2248
27 | 2578615.1544 | 1163187.2575
28 | 2578580.2802 | 1163161.1981
29 | 2578602.1016 | 1163192.1353
30 | 2578560.1712 | 1163168.1843
31 | 2578539.1638 | 1163252.6437
32 | 2578549.6374 | 1163238.235
33 | 2578527.977 | 1163244.8937
34 | 2578558.3067 | 1163229.2994
35 | 2578469.2112 | 1163238.0902
36 | 2578496.7197 | 1163227.4493
37 | 2578580.5036 | 1163199.7408
38 | 2578536.7356 | 1163215.5232
39 | 2578536.1354 | 1163215.1333
40 | 2578527.8669 | 1163194.9802
41 | 2578206.1312 | 1163225.2482
42 | 2578223.1751 | 1163251.3427
43 | 2578276.4698 | 1163135.9017
44 | 2578231.9711 | 1163276.9862
45 | 2578317.4387 | 1163145.4927
46 | 2578263.2536 | 1163118.1408
47 | 2578241.8775 | 1163307.382
48 | 2578329.9075 | 1163145.335
49 | 2578212.0828 | 1163125.5415
50 | 2578258.2176 | 1163110.8443
51 | 2578180.2173 | 1163271.4957
52 | 2578174.423 | 1163253.4673
53 | 2578168.0697 | 1163232.0353
54 | 2578167.2735 | 1163229.3059
55 | 2578299.0964 | 1163111.0752
56 | 2578305.065 | 1163110.9411
57 | 2578284.5069 | 1163111.2621
58 | 2578322.837 | 1163113.7271
59 | 2578282.0493 | 1163111.2171
60 | 2578340.8156 | 1163118.2303
61 | 2578249.4537 | 1163330.6281
62 | 2578430.972 | 1163153.6986
63 | 2578406.8762 | 1163143.6054
64 | 2578389.1516 | 1163136.1809
65 | 2578382.2383 | 1163133.3754
66 | 2578373.9028 | 1163130.006
67 | 2578358.6194 | 1163124.12
68 | 2578355.5685 | 1163123.0475
69 | 2578157.1967 | 1163200.0279
70 | 2578156.8971 | 1163144.1348
71 | 2578150.7564 | 1163173.3895
72 | 2578185.2938 | 1163114.2223
73 | 2578152.525 | 1163190.4
74 | 2578228.6367 | 1163094.2768
75 | 2578100.5419 | 1163200.9307
76 | 2578207.2395 | 1163099.6573
77 | 2578035.4779 | 1163350.3884
78 | 2578101.1012 | 1163202.347
79 | 2578460.4669 | 1163180.2433
80 | 2578455.19 | 1163165.2827
81 | 2578447.2996 | 1163133.7888
82 | 2578425.931 | 1163024.5944
83 | 2578605.0172 | 1163396.3901
84 | 2578596.0068 | 1163176.0661
85 | 2578558.3067 | 1163229.2994

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97285 | -0.52384 | 0.0037678 | 0.00094429
1 | 0.97296 | -0.5218 | 0 | 0
2 | 0.97319 | -0.51711 | 0.0019919 | 0.00049922
3 | 0.9803 | -0.37762 | 0.0020073 | 0.00050308
4 | 0.9816 | -0.35238 | 0 | 0
5 | 0.97652 | -0.4516 | 0 | 0
6 | 0.98334 | -0.31881 | 0 | 0
7 | 0.97566 | -0.46851 | 0.0027539 | 0.00069018
8 | 0.97512 | -0.47919 | 0.0063946 | 0.0016026
9 | 0.98782 | -0.23228 | 0 | 0
10 | 0.98177 | -0.34949 | 0.019679 | 0.004932
11 | 0.97523 | -0.47692 | 0 | 0
12 | 0.97421 | -0.49699 | 0 | 0
13 | 0.97301 | -0.52069 | 0.0071136 | 0.0017828
14 | 0.97274 | -0.52599 | 0.015182 | 0.003805
15 | 0.97271 | -0.52667 | 0.0021506 | 0.00053899
16 | 0.98695 | -0.24919 | 0.016886 | 0.004232
17 | 0.98718 | -0.24474 | 0.0082843 | 0.0020762
18 | 0.99089 | -0.17339 | 0 | 0
19 | 0.97407 | -0.49974 | 0 | 0
20 | 0.97404 | -0.50048 | 0 | 0
21 | 0.97304 | -0.52022 | 0.015847 | 0.0039716
22 | 0.97401 | -0.50092 | 0.0015805 | 0.00039611
23 | 0.9735 | -0.51113 | 0 | 0
24 | 0.97334 | -0.51418 | 0.0032558 | 0.00081598
25 | 0.99058 | -0.17946 | 0.0090956 | 0.0022796
26 | 0.98995 | -0.19164 | 0.020933 | 0.0052463
27 | 0.99207 | -0.15083 | 0.0062734 | 0.0015723
28 | 0.9898 | -0.19446 | 0.0024213 | 0.00060684
29 | 0.99303 | -0.13245 | 0 | 0
30 | 0.98978 | -0.19495 | 0.0012969 | 0.00032503
31 | 0.99649 | -0.066515 | 0.0037175 | 0.00093168
32 | 0.99655 | -0.065353 | 0 | 0
33 | 0.99518 | -0.091532 | 0 | 0
34 | 0.99735 | -0.050142 | 0 | 0
35 | 0.99276 | -0.1379 | 0 | 0
36 | 0.99449 | -0.10488 | 0.0083233 | 0.002086
37 | 0.99462 | -0.10205 | 0.0045851 | 0.0011491
38 | 1 | 0 | -0.23511 | -0.05984
39 | 1 | -7.3138e-05 | 0.0043007 | 0.0010779
40 | 0.99996 | -0.00083139 | 0.0015618 | 0.00039141
41 | 0.98337 | -0.31948 | 0.00043724 | 0.00010958
42 | 0.98331 | -0.32052 | 0.00043719 | 0.00010957
43 | 0.98369 | -0.31306 | 0 | 0
44 | 0.98328 | -0.32121 | 0.00046026 | 0.00011535
45 | 0.9853 | -0.2817 | 0.0014671 | 0.0003677
46 | 0.9829 | -0.32855 | 0 | 0
47 | 0.98325 | -0.32176 | 0.00054262 | 0.00013599
48 | 0.9858 | -0.27216 | 0.0016135 | 0.00040439
49 | 0.98276 | -0.33138 | 0.0028526 | 0.00071492
50 | 0.98261 | -0.33431 | 0 | 0
51 | 0.98081 | -0.3695 | 0.0004373 | 0.0001096
52 | 0.98082 | -0.36935 | 0.0004375 | 0.00010965
53 | 0.98084 | -0.36899 | 0.00044536 | 0.00011162
54 | 0.98084 | -0.36892 | 0.00043755 | 0.00010966
55 | 0.98179 | -0.35033 | 0.0017087 | 0.00042825
56 | 0.98169 | -0.35227 | 0.0010968 | 0.00027488
57 | 0.98205 | -0.34513 | 0.001712 | 0.00042906
58 | 0.98141 | -0.35777 | 0.0019902 | 0.00049878
59 | 0.9821 | -0.34418 | 0.0014619 | 0.00036638
60 | 0.98115 | -0.36277 | 0.0011317 | 0.00028364
61 | 0.98324 | -0.32194 | 0.00040851 | 0.00010238
62 | 0.98052 | -0.37515 | 0.0018669 | 0.00046789
63 | 0.98057 | -0.37427 | 0.0019725 | 0.00049436
64 | 0.98063 | -0.37293 | 0.0021438 | 0.00053728
65 | 0.98067 | -0.37212 | 0.0034315 | 0.00086001
66 | 0.98075 | -0.37059 | 0.0014834 | 0.00037178
67 | 0.98092 | -0.36735 | 0.0012511 | 0.00031356
68 | 0.98095 | -0.36664 | 0.001612 | 0.00040401
69 | 0.98089 | -0.36794 | 0.0019774 | 0.00049559
70 | 0.98125 | -0.36097 | 0.0014928 | 0.00037414
71 | 0.98102 | -0.36531 | 0.0018597 | 0.00046608
72 | 0.98161 | -0.35387 | 0 | 0
73 | 0.98093 | -0.36721 | 0.0023463 | 0.00058803
74 | 0.98219 | -0.34243 | 0 | 0
75 | 0.98126 | -0.36071 | 0 | 0
76 | 0.98217 | -0.3429 | 0.0010959 | 0.00027465
77 | 0.98121 | -0.36164 | 0.00028354 | 7.1062e-05
78 | 0.98126 | -0.36077 | 0.0022919 | 0.00057441
79 | 0.99376 | -0.11898 | 0.0020239 | 0.00050723
80 | 0.99361 | -0.12202 | 0.00095876 | 0.00024029
81 | 0.99331 | -0.12767 | 0.0036318 | 0.00091021
82 | 0.99267 | -0.1402 | 0.0062242 | 0.0015599
83 | 0.97303 | -0.52034 | 0.0021901 | 0.0005489
84 | 0.99301 | -0.13285 | 0.0013277 | 0.00033276
85 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0037678 | -0.00094429 | 0.0037681 | 0.00094416 | 3.6546e-07 | -1.3051e-07 | 0.005763 | 0.0057628 | 0.005763 | 0.97285 | -0.52384 | 0.97296 | -0.5218 | 1.5832
1 | -0.0037681 | -0.00094416 | 0.003769 | 0.00094386 | 8.4196e-07 | -3.0102e-07 | 0.0057628 | 0.0057625 | 0.0057628 | 0.97296 | -0.5218 | 0.97319 | -0.51711 | 1.5832
2 | -0.0057609 | -0.0014431 | 0.0057617 | 0.0014433 | 8.039e-07 | 1.7111e-07 | 0.0088082 | 0.008808 | 0.0088082 | 0.97319 | -0.51711 | 0.97334 | -0.51418 | 2.4198
3 | -0.064644 | -0.016353 | 0.064723 | 0.016403 | 7.8396e-05 | 4.9899e-05 | 0.098179 | 0.098179 | 0.098179 | 0.9803 | -0.37762 | 0.9816 | -0.35238 | 26.9723
4 | 0.062637 | 0.01585 | -0.062416 | -0.015709 | 0.00022151 | 0.00014095 | 0.095132 | 0.095133 | 0.095133 | 0.9803 | -0.37762 | 0.97652 | -0.4516 | 26.1353
5 | -0.064723 | -0.016403 | 0.064827 | 0.01647 | 0.00010459 | 6.6569e-05 | 0.098179 | 0.098179 | 0.098179 | 0.9816 | -0.35238 | 0.98334 | -0.31881 | 26.9723
6 | 0.031481 | 0.0079218 | -0.031456 | -0.0079059 | 2.5424e-05 | 1.5903e-05 | 0.047982 | 0.047982 | 0.047982 | 0.97652 | -0.4516 | 0.97566 | -0.46851 | 13.1819
7 | 0.030935 | 0.0077872 | -0.030894 | -0.0077618 | 4.0745e-05 | 2.5466e-05 | 0.04715 | 0.047151 | 0.047151 | 0.97652 | -0.4516 | 0.97512 | -0.47919 | 12.9535
8 | -0.084535 | -0.021419 | 0.084888 | 0.021644 | 0.00035301 | 0.0002252 | 0.128 | 0.128 | 0.128 | 0.98334 | -0.31881 | 0.98782 | -0.23228 | 35.1661
9 | 0.019708 | 0.0049493 | -0.019679 | -0.004932 | 2.8806e-05 | 1.7342e-05 | 0.029826 | 0.029826 | 0.029826 | 0.98334 | -0.31881 | 0.98177 | -0.34949 | 8.194
10 | 0.028702 | 0.0072157 | -0.02869 | -0.0072085 | 1.1523e-05 | 7.1746e-06 | 0.043782 | 0.043782 | 0.043782 | 0.97566 | -0.46851 | 0.97523 | -0.47692 | 12.0281
11 | 0.024499 | 0.0061591 | -0.024478 | -0.0061463 | 2.0809e-05 | 1.2823e-05 | 0.037393 | 0.037393 | 0.037393 | 0.97512 | -0.47919 | 0.97421 | -0.49699 | 10.2727
12 | -0.11008 | -0.027964 | 0.11039 | 0.028164 | 0.000313 | 0.00019993 | 0.16595 | 0.16595 | 0.16595 | 0.98782 | -0.23228 | 0.99089 | -0.17339 | 45.5906
13 | 0.025189 | 0.0063195 | -0.025174 | -0.0063103 | 1.4952e-05 | 9.2153e-06 | 0.037946 | 0.037946 | 0.037946 | 0.98782 | -0.23228 | 0.98718 | -0.24474 | 10.4246
14 | 0.02869 | 0.0072085 | -0.028659 | -0.0071891 | 3.1216e-05 | 1.9437e-05 | 0.043782 | 0.043782 | 0.043782 | 0.97523 | -0.47692 | 0.97407 | -0.49974 | 12.0281
15 | 0.024478 | 0.0061463 | -0.024451 | -0.0061293 | 2.7642e-05 | 1.7035e-05 | 0.037393 | 0.037393 | 0.037393 | 0.97421 | -0.49699 | 0.97301 | -0.52069 | 10.2728
16 | 0.017337 | 0.0043464 | -0.017333 | -0.0043438 | 4.3787e-06 | 2.5961e-06 | 0.026514 | 0.026514 | 0.026514 | 0.97301 | -0.52069 | 0.97274 | -0.52599 | 7.2841
17 | 0.0021507 | 0.00053882 | -0.0021506 | -0.00053899 | 6.9841e-08 | -1.6891e-07 | 0.0032898 | 0.0032899 | 0.0032899 | 0.97274 | -0.52599 | 0.97271 | -0.52667 | 0.90382
18 | -0.016886 | -0.004232 | 0.016889 | 0.0042341 | 3.5817e-06 | 2.1039e-06 | 0.025459 | 0.025459 | 0.025459 | 0.98695 | -0.24919 | 0.98718 | -0.24474 | 6.9941
19 | -0.14416 | -0.036636 | 0.14432 | 0.036736 | 0.0001568 | 9.989e-05 | 0.21667 | 0.21667 | 0.21667 | 0.99089 | -0.17339 | 0.99207 | -0.15083 | 29.7619
20 | 0.033771 | 0.0084722 | -0.033762 | -0.0084661 | 9.7707e-06 | 6.1228e-06 | 0.050717 | 0.050717 | 0.050717 | 0.99089 | -0.17339 | 0.99058 | -0.17946 | 13.9334
21 | 0.010604 | 0.0026581 | -0.010604 | -0.0026579 | 3.7258e-07 | 1.9132e-07 | 0.016199 | 0.016199 | 0.016199 | 0.97407 | -0.49974 | 0.97404 | -0.50048 | 4.4504
22 | 0.018055 | 0.004531 | -0.018037 | -0.0045205 | 1.7609e-05 | 1.0503e-05 | 0.027583 | 0.027583 | 0.027583 | 0.97407 | -0.49974 | 0.97304 | -0.52022 | 7.5778
23 | 0.0090234 | 0.002262 | -0.0090188 | -0.0022598 | 4.5758e-06 | 2.1297e-06 | 0.013785 | 0.013785 | 0.013785 | 0.97404 | -0.50048 | 0.9735 | -0.51113 | 3.7872
24 | 0.0015805 | 0.00039594 | -0.0015805 | -0.00039611 | 3.2833e-08 | -1.6592e-07 | 0.0024145 | 0.0024145 | 0.0024145 | 0.97404 | -0.50048 | 0.97401 | -0.50092 | 0.66334
25 | 0.0021901 | 0.00054887 | -0.0021901 | -0.0005489 | 1.3104e-08 | -3.0308e-08 | 0.0033493 | 0.0033493 | 0.0033493 | 0.97304 | -0.52022 | 0.97303 | -0.52034 | 0.92013
26 | 0.0090188 | 0.0022598 | -0.0090175 | -0.0022592 | 1.3105e-06 | 6.1014e-07 | 0.013785 | 0.013785 | 0.013785 | 0.9735 | -0.51113 | 0.97334 | -0.51418 | 3.7872
27 | 0.024666 | 0.0061865 | -0.024652 | -0.0061777 | 1.4311e-05 | 8.8016e-06 | 0.037054 | 0.037054 | 0.037054 | 0.99058 | -0.17946 | 0.98995 | -0.19164 | 10.1798
28 | 0.0037187 | 0.00093139 | -0.0037182 | -0.00093161 | 4.9886e-07 | -2.2807e-07 | 0.0055895 | 0.0055897 | 0.0055897 | 0.98995 | -0.19164 | 0.9898 | -0.19446 | 1.5356
29 | -0.15059 | -0.038308 | 0.15072 | 0.038393 | 0.00013354 | 8.5104e-05 | 0.22608 | 0.22608 | 0.22608 | 0.99207 | -0.15083 | 0.99303 | -0.13245 | 31.0544
30 | 0.0012969 | 0.00032478 | -0.0012969 | -0.00032503 | 3.0345e-08 | -2.5419e-07 | 0.0019496 | 0.0019497 | 0.0019497 | 0.9898 | -0.19446 | 0.98978 | -0.19495 | 0.53564
31 | 0.0013278 | 0.00033256 | -0.0013277 | -0.00033276 | 2.5511e-08 | -2.06e-07 | 0.0019895 | 0.0019896 | 0.0019896 | 0.99303 | -0.13245 | 0.99301 | -0.13285 | 0.5466
32 | -0.15205 | -0.038726 | 0.15228 | 0.038868 | 0.00022331 | 0.00014233 | 0.22807 | 0.22807 | 0.22807 | 0.99303 | -0.13245 | 0.99462 | -0.10205 | 31.3277
33 | -0.0037175 | -0.00093168 | 0.0037177 | 0.00093158 | 2.0584e-07 | -1.0034e-07 | 0.0055511 | 0.005551 | 0.0055511 | 0.99649 | -0.066515 | 0.99655 | -0.065353 | 1.525
34 | 0.06602 | 0.016786 | -0.065937 | -0.016733 | 8.3139e-05 | 5.2912e-05 | 0.098663 | 0.098664 | 0.098664 | 0.99655 | -0.065353 | 0.99518 | -0.091532 | 27.1054
35 | -0.069738 | -0.017717 | 0.069789 | 0.01775 | 5.1109e-05 | 3.2546e-05 | 0.10421 | 0.10421 | 0.10421 | 0.99655 | -0.065353 | 0.99735 | -0.050142 | 28.6303
36 | 0.044745 | 0.011413 | -0.044645 | -0.01135 | 9.9958e-05 | 6.3203e-05 | 0.066974 | 0.066974 | 0.066974 | 0.99518 | -0.091532 | 0.99276 | -0.1379 | 18.3996
37 | 0.021192 | 0.0053195 | -0.021178 | -0.0053114 | 1.348e-05 | 8.1627e-06 | 0.03169 | 0.03169 | 0.03169 | 0.99518 | -0.091532 | 0.99449 | -0.10488 | 8.706
38 | 0.15726 | 0.040268 | -0.15686 | -0.040017 | 0.00039431 | 0.00025136 | 0.23492 | 0.23492 | 0.23492 | 0.99735 | -0.050142 | 0.99462 | -0.10205 | 32.2699
39 | -0.22704 | -0.058018 | 0.2276 | 0.058371 | 0.00055202 | 0.00035262 | 0.33914 | 0.33914 | 0.33914 | 0.99735 | -0.050142 | 1 | 0 | 46.585
40 | 0.044645 | 0.01135 | -0.044358 | -0.011169 | 0.00028671 | 0.00018131 | 0.066974 | 0.066975 | 0.066975 | 0.99276 | -0.1379 | 0.9858 | -0.27216 | 18.3998
41 | 0.012855 | 0.0032254 | -0.012847 | -0.0032206 | 8.6415e-06 | 4.7231e-06 | 0.019236 | 0.019236 | 0.019236 | 0.99449 | -0.10488 | 0.99376 | -0.11898 | 5.2847
42 | 0.0058625 | 0.0014689 | -0.0058625 | -0.0014689 | 2.0423e-08 | 3.6817e-09 | 0.0087234 | 0.0087234 | 0.0087234 | 1 | 0 | 1 | -7.3138e-05 | 2.3965
43 | 0.0015618 | 0.00039108 | -0.0015618 | -0.00039141 | 5.6397e-08 | -3.2921e-07 | 0.0023239 | 0.002324 | 0.002324 | 1 | -7.3138e-05 | 0.99996 | -0.00083139 | 0.63847
44 | 0.0018488 | 0.00046195 | -0.0018487 | -0.00046229 | 9.1785e-08 | -3.3813e-07 | 0.002797 | 0.0027972 | 0.0027972 | 0.98337 | -0.31948 | 0.98331 | -0.32052 | 0.76845
45 | -0.002286 | -0.00057153 | 0.0022867 | 0.00057001 | 6.9671e-07 | -1.5256e-06 | 0.0034586 | 0.0034579 | 0.0034586 | 0.98337 | -0.31948 | 0.98369 | -0.31306 | 0.95018
46 | 0.0014115 | 0.00035272 | -0.0014114 | -0.00035303 | 4.6393e-08 | -3.1438e-07 | 0.0021356 | 0.0021357 | 0.0021357 | 0.98331 | -0.32052 | 0.98328 | -0.32121 | 0.58673
47 | -0.041196 | -0.010345 | 0.041258 | 0.010384 | 6.1743e-05 | 3.8976e-05 | 0.062324 | 0.062324 | 0.062324 | 0.98369 | -0.31306 | 0.9853 | -0.2817 | 17.122
48 | 0.03891 | 0.0097753 | -0.038881 | -0.0097572 | 2.8744e-05 | 1.8116e-05 | 0.058866 | 0.058866 | 0.058866 | 0.98369 | -0.31306 | 0.9829 | -0.32855 | 16.1721
49 | 0.00095116 | 0.00023768 | -0.00095114 | -0.00023807 | 2.4833e-08 | -3.896e-07 | 0.0014392 | 0.0014393 | 0.0014393 | 0.98328 | -0.32121 | 0.98325 | -0.32176 | 0.39541
50 | -0.042725 | -0.010752 | 0.042745 | 0.010764 | 1.948e-05 | 1.2308e-05 | 0.06454 | 0.06454 | 0.06454 | 0.9853 | -0.2817 | 0.9858 | -0.27216 | 17.7307
51 | 0.002853 | 0.00071447 | -0.0028526 | -0.00071492 | 3.849e-07 | -4.5095e-07 | 0.0043189 | 0.0043192 | 0.0043192 | 0.9829 | -0.32855 | 0.98276 | -0.33138 | 1.1866
52 | 0.036028 | 0.0090428 | -0.036018 | -0.0090365 | 9.8848e-06 | 6.214e-06 | 0.054547 | 0.054548 | 0.054548 | 0.9829 | -0.32855 | 0.98261 | -0.33431 | 14.9856
53 | 0.00040852 | 0.00010208 | -0.00040851 | -0.00010238 | 3.5037e-09 | -3.0786e-07 | 0.00061812 | 0.00061823 | 0.00061823 | 0.98325 | -0.32176 | 0.98324 | -0.32194 | 0.16984
54 | 0.022895 | 0.0057482 | -0.022884 | -0.0057416 | 1.0778e-05 | 6.5953e-06 | 0.034674 | 0.034674 | 0.034674 | 0.98261 | -0.33431 | 0.9821 | -0.34418 | 9.5259
55 | 0.013123 | 0.0032884 | -0.013118 | -0.0032855 | 5.0791e-06 | 2.8164e-06 | 0.019873 | 0.019873 | 0.019873 | 0.98261 | -0.33431 | 0.98219 | -0.34243 | 5.4597
56 | -0.0004373 | -0.0001096 | 0.0004373 | 0.00010936 | 3.1252e-09 | -2.3699e-07 | 0.00066344 | 0.00066335 | 0.00066344 | 0.98081 | -0.3695 | 0.98082 | -0.36935 | 0.18226
57 | -0.0008748 | -0.00021901 | 0.00087481 | 0.00021873 | 1.4763e-08 | -2.727e-07 | 0.0013271 | 0.001327 | 0.0013271 | 0.98082 | -0.36935 | 0.98084 | -0.36899 | 0.36458
58 | -0.0013202 | -0.00033035 | 0.0013202 | 0.00033032 | 4.2759e-09 | -3.3147e-08 | 0.0020026 | 0.0020026 | 0.0020026 | 0.98084 | -0.36899 | 0.98084 | -0.36892 | 0.55018
59 | -0.0017577 | -0.00043998 | 0.0017578 | 0.00043964 | 8.2617e-08 | -3.3826e-07 | 0.0026664 | 0.0026663 | 0.0026664 | 0.98084 | -0.36892 | 0.98089 | -0.36794 | 0.73253
60 | 0.017995 | 0.0045144 | -0.017994 | -0.0045134 | 1.6656e-06 | 9.9049e-07 | 0.027276 | 0.027276 | 0.027276 | 0.98179 | -0.35033 | 0.98169 | -0.35227 | 7.4933
61 | -0.019704 | -0.0049426 | 0.019709 | 0.0049455 | 4.881e-06 | 2.9393e-06 | 0.029866 | 0.029865 | 0.029866 | 0.98179 | -0.35033 | 0.98205 | -0.34513 | 8.2048
62 | 0.016897 | 0.0042385 | -0.016893 | -0.0042359 | 4.4317e-06 | 2.6086e-06 | 0.025613 | 0.025613 | 0.025613 | 0.98169 | -0.35227 | 0.98141 | -0.35777 | 7.0366
63 | -0.021421 | -0.0053746 | 0.021422 | 0.0053752 | 9.7118e-07 | 5.9045e-07 | 0.032459 | 0.032459 | 0.032459 | 0.98205 | -0.34513 | 0.9821 | -0.34418 | 8.9174
64 | 0.014902 | 0.0037371 | -0.014899 | -0.0037351 | 3.551e-06 | 2.0384e-06 | 0.022596 | 0.022596 | 0.022596 | 0.98141 | -0.35777 | 0.98115 | -0.36277 | 6.2077
65 | 0.013767 | 0.0034514 | -0.013765 | -0.00345 | 2.5381e-06 | 1.4284e-06 | 0.02088 | 0.02088 | 0.02088 | 0.98115 | -0.36277 | 0.98095 | -0.36664 | 5.7362
66 | -0.0018669 | -0.00046789 | 0.001867 | 0.00046761 | 7.8633e-08 | -2.792e-07 | 0.0028332 | 0.0028331 | 0.0028332 | 0.98052 | -0.37515 | 0.98057 | -0.37427 | 0.77835
67 | -0.0038395 | -0.00096197 | 0.0038397 | 0.00096188 | 2.4462e-07 | -8.5864e-08 | 0.0058264 | 0.0058263 | 0.0058264 | 0.98057 | -0.37427 | 0.98063 | -0.37293 | 1.6006
68 | -0.0059835 | -0.0014992 | 0.0059838 | 0.0014992 | 2.3063e-07 | 5.3474e-08 | 0.0090793 | 0.0090792 | 0.0090793 | 0.98063 | -0.37293 | 0.98067 | -0.37212 | 2.4943
69 | -0.0094152 | -0.0023592 | 0.0094159 | 0.0023596 | 6.8809e-07 | 3.2693e-07 | 0.014286 | 0.014286 | 0.014286 | 0.98067 | -0.37212 | 0.98075 | -0.37059 | 3.9247
70 | -0.010899 | -0.0027313 | 0.010901 | 0.0027322 | 1.6799e-06 | 8.6836e-07 | 0.016537 | 0.016536 | 0.016537 | 0.98075 | -0.37059 | 0.98092 | -0.36735 | 4.543
71 | -0.012152 | -0.0030458 | 0.012153 | 0.003046 | 4.1211e-07 | 2.2293e-07 | 0.018434 | 0.018434 | 0.018434 | 0.98092 | -0.36735 | 0.98095 | -0.36664 | 5.0644
72 | -0.0037353 | -0.00093524 | 0.0037354 | 0.00093518 | 1.2887e-07 | -5.2644e-08 | 0.0056661 | 0.005666 | 0.0056661 | 0.98089 | -0.36794 | 0.98093 | -0.36721 | 1.5566
73 | 0.0079435 | 0.0019901 | -0.0079419 | -0.0019894 | 1.6398e-06 | 6.6889e-07 | 0.012046 | 0.012046 | 0.012046 | 0.98125 | -0.36097 | 0.98102 | -0.36531 | 3.3093
74 | -0.0094364 | -0.0023642 | 0.0094396 | 0.0023658 | 3.1912e-06 | 1.5172e-06 | 0.01431 | 0.014309 | 0.01431 | 0.98125 | -0.36097 | 0.98161 | -0.35387 | 3.9312
75 | 0.0060822 | 0.0015233 | -0.0060816 | -0.0015232 | 5.5085e-07 | 1.3463e-07 | 0.0092251 | 0.0092252 | 0.0092252 | 0.98102 | -0.36531 | 0.98093 | -0.36721 | 2.5344
76 | -0.012016 | -0.0030076 | 0.012022 | 0.0030112 | 6.5455e-06 | 3.5236e-06 | 0.018213 | 0.018213 | 0.018213 | 0.98161 | -0.35387 | 0.98219 | -0.34243 | 5.0037
77 | 0.0025763 | 0.00064189 | -0.0025755 | -0.00064321 | 8.3583e-07 | -1.3127e-06 | 0.0039041 | 0.0039047 | 0.0039047 | 0.98161 | -0.35387 | 0.98126 | -0.36071 | 1.0727
78 | 0.0010959 | 0.00027438 | -0.0010959 | -0.00027465 | 2.4021e-08 | -2.7874e-07 | 0.0016602 | 0.0016603 | 0.0016603 | 0.98219 | -0.34243 | 0.98217 | -0.3429 | 0.45613
79 | 0.00028355 | 6.8814e-05 | -0.00028354 | -7.1062e-05 | 1.236e-08 | -2.2481e-06 | 0.0004292 | 0.00042999 | 0.00042999 | 0.98126 | -0.36071 | 0.98121 | -0.36164 | 0.11813
80 | 0.0022919 | 0.00057439 | -0.0022919 | -0.00057441 | 6.8976e-09 | -1.4821e-08 | 0.0034755 | 0.0034755 | 0.0034755 | 0.98126 | -0.36071 | 0.98126 | -0.36077 | 0.95482
81 | 0.010823 | 0.0027134 | -0.010821 | -0.0027126 | 1.5644e-06 | 7.9543e-07 | 0.016206 | 0.016206 | 0.016206 | 0.99376 | -0.11898 | 0.99361 | -0.12202 | 4.4522
82 | 0.0098624 | 0.0024723 | -0.0098597 | -0.0024711 | 2.6562e-06 | 1.2795e-06 | 0.01477 | 0.01477 | 0.01477 | 0.99361 | -0.12202 | 0.99331 | -0.12767 | 4.0577
83 | 0.0062279 | 0.0015608 | -0.0062242 | -0.0015599 | 3.7163e-06 | 9.0569e-07 | 0.0093297 | 0.0093302 | 0.0093302 | 0.99331 | -0.12767 | 0.99267 | -0.1402 | 2.5632

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24343 | 0.061926

## res_load
| p_mw | q_mvar
0 | 0.0037678 | 0.00094429
1 | 0.0019919 | 0.00049922
2 | 0.0020073 | 0.00050308
3 | 0.0027539 | 0.00069018
4 | 0.0063946 | 0.0016026
5 | 0.019679 | 0.004932
6 | 0.0071136 | 0.0017828
7 | 0.015182 | 0.003805
8 | 0.0021506 | 0.00053899
9 | 0.016886 | 0.004232
10 | 0.0082843 | 0.0020762
11 | 0.015847 | 0.0039716
12 | 0.0015805 | 0.00039611
13 | 0.0032558 | 0.00081598
14 | 0.0090956 | 0.0022796
15 | 0.020933 | 0.0052463
16 | 0.0062734 | 0.0015723
17 | 0.0024213 | 0.00060684
18 | 0.0012969 | 0.00032503
19 | 0.0037175 | 0.00093168
20 | 0.0083233 | 0.002086
21 | 0.0045851 | 0.0011491
22 | 0.0083239 | 0.0020862
23 | 0.0043007 | 0.0010779
24 | 0.0015618 | 0.00039141
25 | 0.00043724 | 0.00010958
26 | 0.00043719 | 0.00010957
27 | 0.00046026 | 0.00011535
28 | 0.0014671 | 0.0003677
29 | 0.00054262 | 0.00013599
30 | 0.0016135 | 0.00040439
31 | 0.0028526 | 0.00071492
32 | 0.0004373 | 0.0001096
33 | 0.0004375 | 0.00010965
34 | 0.00044536 | 0.00011162
35 | 0.00043755 | 0.00010966
36 | 0.0017087 | 0.00042825
37 | 0.0010968 | 0.00027488
38 | 0.001712 | 0.00042906
39 | 0.0019902 | 0.00049878
40 | 0.0014619 | 0.00036638
41 | 0.0011317 | 0.00028364
42 | 0.00040851 | 0.00010238
43 | 0.0018669 | 0.00046789
44 | 0.0019725 | 0.00049436
45 | 0.0021438 | 0.00053728
46 | 0.0034315 | 0.00086001
47 | 0.0014834 | 0.00037178
48 | 0.0012511 | 0.00031356
49 | 0.001612 | 0.00040401
50 | 0.0019774 | 0.00049559
51 | 0.0014928 | 0.00037414
52 | 0.0018597 | 0.00046608
53 | 0.0023463 | 0.00058803
54 | 0.0010959 | 0.00027465
55 | 0.00028354 | 7.1062e-05
56 | 0.0022919 | 0.00057441
57 | 0.0020239 | 0.00050723
58 | 0.00095876 | 0.00024029
59 | 0.0036318 | 0.00091021
60 | 0.0062242 | 0.0015599
61 | 0.0021901 | 0.0005489
62 | 0.0013277 | 0.00033276

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1