## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2163-6_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2163-6_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2163-6_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2163-6_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2163-6_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2163-6_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2163-6_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2163-6_0_5_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_2163-6_0_5_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_2163-6_0_5_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_2163-6_0_5_node_74 | 0.4 | n |  | TRUE
11 | bus_LV_2163-6_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2163-6_0_5_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_2163-6_0_5_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_2163-6_0_5_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2163-6_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2163-6_0_5_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_2163-6_0_5_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_2163-6_0_5_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_2163-6_0_5_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_2163-6_0_5_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_2163-6_0_5_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_2163-6_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2163-6_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2163-6_0_5_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_2163-6_0_5_node_72 | 0.4 | n |  | TRUE
26 | bus_LV_2163-6_0_5_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_2163-6_0_5_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_2163-6_0_5_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_2163-6_0_5_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_2163-6_0_5_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_2163-6_0_5_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_2163-6_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_2163-6_0_5_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_2163-6_0_5_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_2163-6_0_5_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_2163-6_0_5_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_2163-6_0_5_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_2163-6_0_5_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_2163-6_0_5_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_2163-6_0_5_node_67 | 0.4 | n |  | TRUE
41 | bus_LV_2163-6_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_2163-6_0_5_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_2163-6_0_5_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_2163-6_0_5_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_2163-6_0_5_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_2163-6_0_5_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_2163-6_0_5_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_2163-6_0_5_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_2163-6_0_5_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_2163-6_0_5_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_2163-6_0_5_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_2163-6_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_2163-6_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_2163-6_0_5_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_2163-6_0_5_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_2163-6_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_2163-6_0_5_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_2163-6_0_5_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_2163-6_0_5_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_2163-6_0_5_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_2163-6_0_5_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_2163-6_0_5_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_2163-6_0_5_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_2163-6_0_5_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_2163-6_0_5_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_2163-6_0_5_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_2163-6_0_5_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_2163-6_0_5_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_2163-6_0_5_node_69 | 0.4 | n |  | TRUE
70 | bus_MV_28_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2163-6_0_5_load_0 | 0 | 0.0080885 | 0.0020272 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2163-6_0_5_load_1 | 1 | 0.0088391 | 0.0022153 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2163-6_0_5_load_5 | 5 | 0.010796 | 0.0027057 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2163-6_0_5_load_6 | 6 | 0.016077 | 0.0040292 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2163-6_0_5_load_11 | 8 | 0.005979 | 0.0014985 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2163-6_0_5_load_74 | 10 | 0.083155 | 0.020841 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2163-6_0_5_load_22 | 12 | 0.0018559 | 0.00046512 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2163-6_0_5_load_26 | 13 | 0.028938 | 0.0072526 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2163-6_0_5_load_13 | 14 | 0.01141 | 0.0028596 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2163-6_0_5_load_7 | 15 | 0.064121 | 0.01607 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2163-6_0_5_load_23 | 16 | 0.0043597 | 0.0010927 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2163-6_0_5_load_16 | 17 | 0.012863 | 0.0032237 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2163-6_0_5_load_17 | 18 | 0.012862 | 0.0032236 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2163-6_0_5_load_20 | 20 | 0.010228 | 0.0025633 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2163-6_0_5_load_21 | 21 | 0.010116 | 0.0025352 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2163-6_0_5_load_12 | 22 | 0.025777 | 0.0064603 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2163-6_0_5_load_14 | 23 | 0.085676 | 0.021473 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2163-6_0_5_load_59 | 24 | 0.030697 | 0.0076934 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2163-6_0_5_load_36 | 26 | 0.0038857 | 0.00097386 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2163-6_0_5_load_24 | 27 | 0.0016591 | 0.00041582 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2163-6_0_5_load_60 | 28 | 0.018169 | 0.0045535 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2163-6_0_5_load_27 | 29 | 0.010101 | 0.0025314 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2163-6_0_5_load_28 | 30 | 0.0045909 | 0.0011506 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2163-6_0_5_load_30 | 32 | 0.0054059 | 0.0013549 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2163-6_0_5_load_63 | 34 | 0.0029764 | 0.00074595 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2163-6_0_5_load_66 | 36 | 0.0031993 | 0.00080182 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2163-6_0_5_load_62 | 37 | 0.0012116 | 0.00030366 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2163-6_0_5_load_48 | 39 | 0.0021924 | 0.00054948 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2163-6_0_5_load_67 | 40 | 0.0054014 | 0.0013537 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2163-6_0_5_load_33 | 41 | 0.0035193 | 0.00088202 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2163-6_0_5_load_34 | 42 | 0.0010021 | 0.00025116 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2163-6_0_5_load_35 | 43 | 0.0012042 | 0.0003018 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2163-6_0_5_load_37 | 44 | 0.0026191 | 0.00065641 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2163-6_0_5_load_51 | 45 | 0.0045259 | 0.0011343 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2163-6_0_5_load_38 | 47 | 0.0022339 | 0.00055986 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2163-6_0_5_load_39 | 48 | 0.0031919 | 0.00079998 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2163-6_0_5_load_41 | 50 | 0.0031492 | 0.00078927 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2163-6_0_5_load_61 | 51 | 0.0035843 | 0.00089832 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2163-6_0_5_load_43 | 52 | 0.0018544 | 0.00046475 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2163-6_0_5_load_44 | 53 | 0.0011729 | 0.00029394 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2163-6_0_5_load_45 | 54 | 0.0025047 | 0.00062773 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2163-6_0_5_load_46 | 55 | 0.0033553 | 0.00084091 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2163-6_0_5_load_47 | 56 | 0.0024749 | 0.00062027 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2163-6_0_5_load_52 | 57 | 0.0055839 | 0.0013995 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2163-6_0_5_load_53 | 59 | 0.0035916 | 0.00090013 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2163-6_0_5_load_71 | 60 | 0.0026895 | 0.00067405 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2163-6_0_5_load_58 | 61 | 0.0049221 | 0.0012336 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2163-6_0_5_load_56 | 62 | 0.0017098 | 0.00042851 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2163-6_0_5_load_57 | 63 | 0.0043634 | 0.0010936 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2163-6_0_5_load_54 | 64 | 0.0022103 | 0.00055394 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2163-6_0_5_load_55 | 65 | 0.0024138 | 0.00060497 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2163-6_0_5_load_64 | 66 | 0.0046078 | 0.0011548 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2163-6_0_5_load_65 | 67 | 0.0014806 | 0.00037107 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2163-6_0_5_load_69 | 69 | 0.0032206 | 0.00080716 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2163-6_0_5_line_0 |  | 0 | 1 | 0.074446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2163-6_0_5_line_1 |  | 0 | 2 | 0.056154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2163-6_0_5_line_2 |  | 1 | 3 | 0.096302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2163-6_0_5_line_3 |  | 2 | 4 | 0.028633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_2163-6_0_5_line_4 |  | 2 | 5 | 0.026857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_2163-6_0_5_line_5 |  | 3 | 6 | 0.062132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2163-6_0_5_line_6 |  | 4 | 7 | 0.076086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2163-6_0_5_line_7 |  | 4 | 8 | 0.036599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2163-6_0_5_line_8 |  | 5 | 9 | 0.033941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_2163-6_0_5_line_9 |  | 7 | 10 | 0.005718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2163-6_0_5_line_10 |  | 7 | 11 | 0.073066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2163-6_0_5_line_11 |  | 8 | 12 | 0.082647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2163-6_0_5_line_12 |  | 9 | 13 | 0.0027119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_2163-6_0_5_line_13 |  | 9 | 14 | 0.014749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_2163-6_0_5_line_14 |  | 11 | 15 | 0.020941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2163-6_0_5_line_15 |  | 12 | 16 | 0.018119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2163-6_0_5_line_16 |  | 13 | 24 | 0.029167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_2163-6_0_5_line_17 |  | 14 | 22 | 0.0032636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2163-6_0_5_line_18 |  | 16 | 27 | 0.010874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2163-6_0_5_line_19 |  | 17 | 18 | 0.042874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2163-6_0_5_line_20 |  | 17 | 19 | 0.064367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2163-6_0_5_line_21 |  | 19 | 20 | 0.020741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2163-6_0_5_line_22 |  | 19 | 21 | 0.034675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2163-6_0_5_line_23 |  | 21 | 25 | 0.086811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2163-6_0_5_line_24 |  | 22 | 23 | 0.032395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2163-6_0_5_line_25 |  | 24 | 28 | 0.029937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2163-6_0_5_line_26 |  | 25 | 26 | 0.09149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2163-6_0_5_line_27 |  | 26 | 42 | 0.023021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2163-6_0_5_line_28 |  | 28 | 51 | 0.065765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2163-6_0_5_line_29 |  | 28 | 61 | 0.024825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2163-6_0_5_line_30 |  | 29 | 30 | 0.024762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2163-6_0_5_line_31 |  | 29 | 31 | 0.037203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2163-6_0_5_line_32 |  | 30 | 32 | 0.019252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2163-6_0_5_line_33 |  | 31 | 33 | 0.06069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2163-6_0_5_line_34 |  | 32 | 34 | 0.043615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2163-6_0_5_line_35 |  | 33 | 35 | 0.03003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2163-6_0_5_line_36 |  | 33 | 36 | 0.031859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2163-6_0_5_line_37 |  | 34 | 37 | 0.019351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2163-6_0_5_line_38 |  | 35 | 38 | 0.021036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2163-6_0_5_line_39 |  | 35 | 39 | 0.021021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2163-6_0_5_line_40 |  | 36 | 40 | 0.0093253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2163-6_0_5_line_41 |  | 37 | 66 | 0.054928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2163-6_0_5_line_42 |  | 38 | 61 | 0.013374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2163-6_0_5_line_43 |  | 38 | 62 | 0.038092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2163-6_0_5_line_44 |  | 41 | 42 | 0.019586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2163-6_0_5_line_45 |  | 41 | 43 | 0.022429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2163-6_0_5_line_46 |  | 43 | 44 | 0.011392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2163-6_0_5_line_47 |  | 44 | 45 | 0.031089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2163-6_0_5_line_48 |  | 45 | 46 | 0.026332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2163-6_0_5_line_49 |  | 46 | 51 | 0.0038607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2163-6_0_5_line_50 |  | 46 | 49 | 0.076579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2163-6_0_5_line_51 |  | 47 | 48 | 0.032184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2163-6_0_5_line_52 |  | 47 | 49 | 0.016208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2163-6_0_5_line_53 |  | 49 | 50 | 0.025049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2163-6_0_5_line_54 |  | 52 | 53 | 0.013216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2163-6_0_5_line_55 |  | 52 | 54 | 0.015894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2163-6_0_5_line_56 |  | 53 | 55 | 0.043514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2163-6_0_5_line_57 |  | 54 | 56 | 0.017336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2163-6_0_5_line_58 |  | 55 | 57 | 0.015305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2163-6_0_5_line_59 |  | 56 | 58 | 0.020702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2163-6_0_5_line_60 |  | 57 | 59 | 0.019857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2163-6_0_5_line_61 |  | 58 | 60 | 0.042118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2163-6_0_5_line_62 |  | 59 | 64 | 0.0088784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2163-6_0_5_line_63 |  | 62 | 63 | 0.016489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2163-6_0_5_line_64 |  | 63 | 65 | 0.0060359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2163-6_0_5_line_65 |  | 64 | 65 | 0.017709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2163-6_0_5_line_66 |  | 66 | 67 | 0.016565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2163-6_0_5_line_67 |  | 67 | 68 | 0.03714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2163-6_0_5_line_68 |  | 68 | 69 | 0.035428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2163-6_0_5_trafo_13 | 0.63 MVA 20/0.4 kV | 70 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2578862.5264 | 1163449.6564 | 2578867.1125 | 1163451.0128 | 2578873.9947 | 1163458.6813 | 2578877.4712 | 1163471.4865 | 2578880.0582 | 1163477.4582 | 2578885.2187 | 1163481.2752 | 2578892.5041 | 1163481.6831 | 2578900.1958 | 1163475.6752 | 2578909.2581 | 1163462.3584
1 | 2578820.5952 | 1163476.3232 | 2578834.9277 | 1163453.072 | 2578844.4854 | 1163448.4248 | 2578858.5328 | 1163448.4752 | 2578862.5264 | 1163449.6564
2 | 2578970.0641 | 1163388.5857 | 2578970.2106 | 1163388.8631 | 2578969.525 | 1163392.1227 | 2578917.5919 | 1163450.1122 | 2578909.2581 | 1163462.3584
3 | 2578802.1047 | 1163454.4221 | 2578820.5952 | 1163476.3232
4 | 2578820.5952 | 1163476.3232 | 2578837.1406 | 1163497.4791
5 | 2578925.4262 | 1163421.5258 | 2578959.3359 | 1163384.9882 | 2578963.961 | 1163384.6496 | 2578968.8075 | 1163386.289 | 2578970.0641 | 1163388.5857
6 | 2578802.1047 | 1163454.4221 | 2578791.9387 | 1163443.019 | 2578799.5505 | 1163425.2832 | 2578805.6822 | 1163407.019 | 2578807.6919 | 1163390.5258 | 2578811.0383 | 1163386.0006
7 | 2578802.1047 | 1163454.4221 | 2578779.6041 | 1163472.3997 | 2578774.3156 | 1163478.1304
8 | 2578858.0498 | 1163524.2149 | 2578837.1406 | 1163497.4791
9 | 2578806.7128 | 1163382.2474 | 2578811.0383 | 1163386.0006
10 | 2578811.0383 | 1163386.0006 | 2578818.2875 | 1163380.4722 | 2578827.5953 | 1163374.4473 | 2578840.8824 | 1163365.218 | 2578850.4677 | 1163355.3347 | 2578862.8689 | 1163355.491 | 2578872.9289 | 1163358.5459
11 | 2578774.3156 | 1163478.1304 | 2578720.8347 | 1163415.1205
12 | 2578858.0498 | 1163524.2149 | 2578859.7205 | 1163526.3509
13 | 2578858.0498 | 1163524.2149 | 2578849.1997 | 1163531.8499 | 2578847.255 | 1163534.2136
14 | 2578872.9289 | 1163358.5459 | 2578875.3015 | 1163366.7083 | 2578877.5135 | 1163368.4458 | 2578880.1806 | 1163368.8922 | 2578886.4081 | 1163365.8653
15 | 2578711.7796 | 1163399.4265 | 2578720.8347 | 1163415.1205
16 | 2578877.6905 | 1163549.3248 | 2578859.7205 | 1163526.3509
17 | 2578847.255 | 1163534.2136 | 2578846.497 | 1163537.388
18 | 2578707.2127 | 1163389.6041 | 2578707.2127 | 1163389.6041 | 2578709.0846 | 1163394.7555 | 2578711.7796 | 1163399.4265
19 | 2578680.8234 | 1163514.2353 | 2578651.0735 | 1163483.363
20 | 2578719.5732 | 1163561.4352 | 2578721.9391 | 1163556.9023 | 2578680.8234 | 1163514.2353
21 | 2578700.8679 | 1163552.3638 | 2578719.5732 | 1163561.4352
22 | 2578695.2847 | 1163571.8379 | 2578711.3268 | 1163577.2169 | 2578719.5732 | 1163561.4352
23 | 2578632.533 | 1163631.8249 | 2578695.2847 | 1163571.8379
24 | 2578866.1323 | 1163562.8383 | 2578847.1756 | 1163539.9389 | 2578846.4474 | 1163537.5959 | 2578846.497 | 1163537.388
25 | 2578896.1346 | 1163572.9049 | 2578877.6905 | 1163549.3248
26 | 2578632.533 | 1163631.8249 | 2578642.7345 | 1163636.024 | 2578677.4321 | 1163649.4626 | 2578696.9707 | 1163656.0186 | 2578715.8982 | 1163663.0326 | 2578718.3295 | 1163663.3674
27 | 2578741.0697 | 1163663.1721 | 2578730.5341 | 1163665.0482 | 2578718.3295 | 1163663.3674
28 | 2578896.1346 | 1163572.9049 | 2578892.7502 | 1163575.3403 | 2578842.7064 | 1163611.2518
29 | 2578896.1346 | 1163572.9049 | 2578911.4298 | 1163592.4584
30 | 2578935.3958 | 1163705.4858 | 2578931.4968 | 1163705.5803 | 2578923.8265 | 1163706.7078 | 2578913.1182 | 1163710.7587 | 2578911.6493 | 1163711.532
31 | 2578972.251 | 1163701.446 | 2578968.2481 | 1163702.216 | 2578953.5068 | 1163705.047 | 2578935.3958 | 1163705.4858
32 | 2578911.6493 | 1163711.532 | 2578895.7721 | 1163719.891 | 2578894.6731 | 1163720.6017
33 | 2578946.5608 | 1163646.4421 | 2578972.251 | 1163701.446
34 | 2578864.0678 | 1163751.0179 | 2578864.5765 | 1163750.0496 | 2578869.0427 | 1163743.8418 | 2578874.0667 | 1163737.2541 | 2578879.9128 | 1163731.4194 | 2578887.2671 | 1163725.3905 | 2578894.6731 | 1163720.6017
35 | 2578946.5608 | 1163646.4421 | 2578930.7391 | 1163620.896
36 | 2578946.5608 | 1163646.4421 | 2578977.7056 | 1163639.7365
37 | 2578856.6108 | 1163768.8254 | 2578858.2913 | 1163763.8453 | 2578860.7269 | 1163757.3779 | 2578864.0678 | 1163751.0179
38 | 2578919.6699 | 1163602.9927 | 2578930.7391 | 1163620.896
39 | 2578930.7391 | 1163620.896 | 2578944.5993 | 1163615.7447 | 2578950.8265 | 1163615.4432
40 | 2578977.7056 | 1163639.7365 | 2578986.822 | 1163637.7737
41 | 2578856.6108 | 1163768.8254 | 2578848.6804 | 1163792.3269 | 2578845.5362 | 1163799.8307 | 2578834.2174 | 1163818.6825
42 | 2578919.6699 | 1163602.9927 | 2578911.4298 | 1163592.4584
43 | 2578919.6699 | 1163602.9927 | 2578916.0189 | 1163605.8514 | 2578904.9438 | 1163614.5392 | 2578891.3427 | 1163628.3436
44 | 2578759.4379 | 1163656.9946 | 2578750.5345 | 1163661.4866 | 2578741.0697 | 1163663.1721
45 | 2578759.4379 | 1163656.9946 | 2578779.4624 | 1163646.8919
46 | 2578789.6337 | 1163641.7603 | 2578779.4624 | 1163646.8919
47 | 2578789.6337 | 1163641.7603 | 2578808.0737 | 1163632.4569 | 2578816.935 | 1163626.9464
48 | 2578839.5697 | 1163613.5027 | 2578828.6773 | 1163619.6443 | 2578816.935 | 1163626.9464
49 | 2578839.5697 | 1163613.5027 | 2578842.7064 | 1163611.2518
50 | 2578839.5697 | 1163613.5027 | 2578830.7755 | 1163626.0512 | 2578789.6299 | 1163666.8284 | 2578787.3412 | 1163669.3711
51 | 2578776.5069 | 1163681.4257 | 2578773.9601 | 1163684.2593 | 2578749.7455 | 1163699.0502
52 | 2578787.3412 | 1163669.3711 | 2578776.5069 | 1163681.4257
53 | 2578800.5748 | 1163690.6571 | 2578787.3412 | 1163669.3711
54 | 2578791.4327 | 1163727.836 | 2578800.8657 | 1163718.5798
55 | 2578791.4327 | 1163727.836 | 2578780.0883 | 1163738.9677
56 | 2578831.9247 | 1163688.103 | 2578800.8657 | 1163718.5798
57 | 2578767.7376 | 1163751.1328 | 2578775.8386 | 1163743.1378 | 2578780.0883 | 1163738.9677
58 | 2578831.9247 | 1163688.103 | 2578842.8489 | 1163677.3836
59 | 2578753.003 | 1163765.6745 | 2578767.7376 | 1163751.1328
60 | 2578856.8736 | 1163663.3276 | 2578848.1409 | 1163672.1908 | 2578842.8489 | 1163677.3836
61 | 2578753.003 | 1163765.6745 | 2578770.071 | 1163784.0565 | 2578771.5866 | 1163790.2876 | 2578773.2299 | 1163793.6613 | 2578778.2785 | 1163798.3791
62 | 2578856.8736 | 1163663.3276 | 2578863.1049 | 1163657.0033
63 | 2578891.3427 | 1163628.3436 | 2578879.7702 | 1163640.089
64 | 2578875.5339 | 1163644.3885 | 2578879.7702 | 1163640.089
65 | 2578863.1049 | 1163657.0033 | 2578875.5339 | 1163644.3885
66 | 2578824.9773 | 1163832.3871 | 2578828.9681 | 1163827.4253 | 2578834.2174 | 1163818.6825
67 | 2578801.7002 | 1163861.3277 | 2578824.9773 | 1163832.3871
68 | 2578801.7002 | 1163861.3277 | 2578791.7837 | 1163859.6064 | 2578782.8814 | 1163856.6587 | 2578778.237 | 1163853.618 | 2578773.8631 | 1163849.0868 | 2578771.6401 | 1163845.5988

## bus_geodata
| x | y | coords
0 | 2578862.5264 | 1163449.6564
1 | 2578909.2581 | 1163462.3584
2 | 2578820.5952 | 1163476.3232
3 | 2578970.0641 | 1163388.5857
4 | 2578802.1047 | 1163454.4221
5 | 2578837.1406 | 1163497.4791
6 | 2578925.4262 | 1163421.5258
7 | 2578811.0383 | 1163386.0006
8 | 2578774.3156 | 1163478.1304
9 | 2578858.0498 | 1163524.2149
10 | 2578806.7128 | 1163382.2474
11 | 2578872.9289 | 1163358.5459
12 | 2578720.8347 | 1163415.1205
13 | 2578859.7205 | 1163526.3509
14 | 2578847.255 | 1163534.2136
15 | 2578886.4081 | 1163365.8653
16 | 2578711.7796 | 1163399.4265
17 | 2578680.8234 | 1163514.2353
18 | 2578651.0735 | 1163483.363
19 | 2578719.5732 | 1163561.4352
20 | 2578700.8679 | 1163552.3638
21 | 2578695.2847 | 1163571.8379
22 | 2578846.497 | 1163537.388
23 | 2578866.1323 | 1163562.8383
24 | 2578877.6905 | 1163549.3248
25 | 2578632.533 | 1163631.8249
26 | 2578718.3295 | 1163663.3674
27 | 2578707.2127 | 1163389.6041
28 | 2578896.1346 | 1163572.9049
29 | 2578935.3958 | 1163705.4858
30 | 2578911.6493 | 1163711.532
31 | 2578972.251 | 1163701.446
32 | 2578894.6731 | 1163720.6017
33 | 2578946.5608 | 1163646.4421
34 | 2578864.0678 | 1163751.0179
35 | 2578930.7391 | 1163620.896
36 | 2578977.7056 | 1163639.7365
37 | 2578856.6108 | 1163768.8254
38 | 2578919.6699 | 1163602.9927
39 | 2578950.8265 | 1163615.4432
40 | 2578986.822 | 1163637.7737
41 | 2578759.4379 | 1163656.9946
42 | 2578741.0697 | 1163663.1721
43 | 2578779.4624 | 1163646.8919
44 | 2578789.6337 | 1163641.7603
45 | 2578816.935 | 1163626.9464
46 | 2578839.5697 | 1163613.5027
47 | 2578776.5069 | 1163681.4257
48 | 2578749.7455 | 1163699.0502
49 | 2578787.3412 | 1163669.3711
50 | 2578800.5748 | 1163690.6571
51 | 2578842.7064 | 1163611.2518
52 | 2578791.4327 | 1163727.836
53 | 2578800.8657 | 1163718.5798
54 | 2578780.0883 | 1163738.9677
55 | 2578831.9247 | 1163688.103
56 | 2578767.7376 | 1163751.1328
57 | 2578842.8489 | 1163677.3836
58 | 2578753.003 | 1163765.6745
59 | 2578856.8736 | 1163663.3276
60 | 2578778.2785 | 1163798.3791
61 | 2578911.4298 | 1163592.4584
62 | 2578891.3427 | 1163628.3436
63 | 2578879.7702 | 1163640.089
64 | 2578863.1049 | 1163657.0033
65 | 2578875.5339 | 1163644.3885
66 | 2578834.2174 | 1163818.6825
67 | 2578824.9773 | 1163832.3871
68 | 2578801.7002 | 1163861.3277
69 | 2578771.6401 | 1163845.5988
70 | 2578858.0498 | 1163524.2149

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99402 | -0.11438 | 0.0080885 | 0.0020272
1 | 0.99232 | -0.14716 | 0.0088391 | 0.0022153
2 | 0.99571 | -0.08173 | 0 | 0
3 | 0.9909 | -0.17461 | 0 | 0
4 | 0.99465 | -0.10203 | 0 | 0
5 | 0.99691 | -0.058839 | 0.010796 | 0.0027057
6 | 0.98999 | -0.19236 | 0.016077 | 0.0040292
7 | 0.9895 | -0.20125 | 0 | 0
8 | 0.99419 | -0.11097 | 0.005979 | 0.0014985
9 | 0.99851 | -0.028387 | 0 | 0
10 | 0.98907 | -0.20972 | 0.083155 | 0.020841
11 | 0.98519 | -0.28502 | 0 | 0
12 | 0.9936 | -0.12246 | 0.0018559 | 0.00046512
13 | 0.99836 | -0.031185 | 0.028938 | 0.0072526
14 | 1 | 0 | -0.55911 | -0.14165
15 | 0.98395 | -0.30917 | 0.064121 | 0.01607
16 | 0.9935 | -0.12438 | 0.0043597 | 0.0010927
17 | 0.97239 | -0.53298 | 0.012863 | 0.0032237
18 | 0.97187 | -0.54315 | 0.012862 | 0.0032236
19 | 0.97393 | -0.5025 | 0 | 0
20 | 0.97373 | -0.5064 | 0.010228 | 0.0025633
21 | 0.97509 | -0.47962 | 0.010116 | 0.0025352
22 | 0.99967 | -0.006342 | 0.025777 | 0.0064603
23 | 0.99715 | -0.054872 | 0.085676 | 0.021473
24 | 0.99697 | -0.057634 | 0.030697 | 0.0076934
25 | 0.97882 | -0.40658 | 0 | 0
26 | 0.98275 | -0.3302 | 0.0038857 | 0.00097386
27 | 0.99348 | -0.1247 | 0.0016591 | 0.00041582
28 | 0.99454 | -0.10406 | 0.018169 | 0.0045535
29 | 0.98663 | -0.25692 | 0.010101 | 0.0025314
30 | 0.98609 | -0.26734 | 0.0045909 | 0.0011506
31 | 0.98778 | -0.23456 | 0 | 0
32 | 0.98576 | -0.27387 | 0.0054059 | 0.0013549
33 | 0.98965 | -0.1982 | 0 | 0
34 | 0.98522 | -0.28444 | 0.0029764 | 0.00074595
35 | 0.99082 | -0.17567 | 0 | 0
36 | 0.9894 | -0.20308 | 0.0031993 | 0.00080182
37 | 0.98503 | -0.2881 | 0.0012116 | 0.00030366
38 | 0.99168 | -0.1591 | 0 | 0
39 | 0.99078 | -0.17649 | 0.0021924 | 0.00054948
40 | 0.98936 | -0.20397 | 0.0054014 | 0.0013537
41 | 0.98475 | -0.2915 | 0.0035193 | 0.00088202
42 | 0.98382 | -0.30946 | 0.0010021 | 0.00025116
43 | 0.98589 | -0.26956 | 0.0012042 | 0.0003018
44 | 0.98648 | -0.25819 | 0.0026191 | 0.00065641
45 | 0.98817 | -0.22578 | 0.0045259 | 0.0011343
46 | 0.9897 | -0.19629 | 0 | 0
47 | 0.98902 | -0.20955 | 0.0022339 | 0.00055986
48 | 0.98893 | -0.21138 | 0.0031919 | 0.00079998
49 | 0.9891 | -0.20798 | 0 | 0
50 | 0.98903 | -0.20939 | 0.0031492 | 0.00078927
51 | 0.98996 | -0.19138 | 0.0035843 | 0.00089832
52 | 0.98815 | -0.2275 | 0.0018544 | 0.00046475
53 | 0.98827 | -0.22525 | 0.0011729 | 0.00029394
54 | 0.98804 | -0.22968 | 0.0025047 | 0.00062773
55 | 0.98869 | -0.21695 | 0.0033553 | 0.00084091
56 | 0.98796 | -0.23127 | 0.0024749 | 0.00062027
57 | 0.98889 | -0.21311 | 0.0055839 | 0.0013995
58 | 0.98791 | -0.23227 | 0 | 0
59 | 0.98925 | -0.20616 | 0.0035916 | 0.00090013
60 | 0.9878 | -0.23429 | 0.0026895 | 0.00067405
61 | 0.99264 | -0.14055 | 0.0049221 | 0.0012336
62 | 0.99049 | -0.18204 | 0.0017098 | 0.00042851
63 | 0.99001 | -0.19148 | 0.0043634 | 0.0010936
64 | 0.98944 | -0.20249 | 0.0022103 | 0.00055394
65 | 0.98985 | -0.19447 | 0.0024138 | 0.00060497
66 | 0.98456 | -0.29729 | 0.0046078 | 0.0011548
67 | 0.98449 | -0.29869 | 0.0014806 | 0.00037107
68 | 0.98438 | -0.30085 | 0 | 0
69 | 0.98427 | -0.3029 | 0.0032206 | 0.00080716
70 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.02499 | 0.0062888 | -0.024951 | -0.0062647 | 3.9088e-05 | 2.4053e-05 | 0.037418 | 0.037418 | 0.037418 | 0.99402 | -0.11438 | 0.99232 | -0.14716 | 10.2798
1 | -0.033078 | -0.0083159 | 0.03313 | 0.0083483 | 5.1651e-05 | 3.2327e-05 | 0.049526 | 0.049526 | 0.049526 | 0.99402 | -0.11438 | 0.99571 | -0.08173 | 13.6061
2 | 0.016112 | 0.0040494 | -0.01609 | -0.0040372 | 2.1087e-05 | 1.2253e-05 | 0.024164 | 0.024164 | 0.024164 | 0.99232 | -0.14716 | 0.9909 | -0.17461 | 6.6385
3 | 0.16237 | 0.041168 | -0.16221 | -0.041069 | 0.00015827 | 9.9802e-05 | 0.24281 | 0.24281 | 0.24281 | 0.99571 | -0.08173 | 0.99465 | -0.10203 | 16.6768
4 | -0.1955 | -0.049517 | 0.19571 | 0.049653 | 0.00021519 | 0.00013632 | 0.29234 | 0.29234 | 0.29234 | 0.99571 | -0.08173 | 0.99691 | -0.058839 | 20.0783
5 | 0.01609 | 0.0040372 | -0.016077 | -0.0040292 | 1.3605e-05 | 7.9076e-06 | 0.024164 | 0.024165 | 0.024165 | 0.9909 | -0.17461 | 0.98999 | -0.19236 | 6.6386
6 | 0.14834 | 0.037592 | -0.14764 | -0.037143 | 0.00070356 | 0.00044831 | 0.22207 | 0.22207 | 0.22207 | 0.99465 | -0.10203 | 0.9895 | -0.20125 | 30.5046
7 | 0.013865 | 0.0034771 | -0.013859 | -0.0034738 | 5.905e-06 | 3.3044e-06 | 0.020742 | 0.020743 | 0.020743 | 0.99465 | -0.10203 | 0.99419 | -0.11097 | 5.6985
8 | -0.20651 | -0.052359 | 0.20681 | 0.052551 | 0.00030274 | 0.00019198 | 0.30845 | 0.30845 | 0.30845 | 0.99691 | -0.058839 | 0.99851 | -0.028387 | 21.185
9 | 0.083189 | 0.020862 | -0.083155 | -0.020841 | 3.356e-05 | 2.1405e-05 | 0.1251 | 0.1251 | 0.1251 | 0.9895 | -0.20125 | 0.98907 | -0.20972 | 34.3693
10 | 0.064452 | 0.016281 | -0.064195 | -0.016117 | 0.00025764 | 0.00016396 | 0.096969 | 0.096969 | 0.096969 | 0.9895 | -0.20125 | 0.98519 | -0.28502 | 26.64
11 | 0.0078796 | 0.0019753 | -0.0078753 | -0.0019736 | 4.3109e-06 | 1.6879e-06 | 0.011794 | 0.011794 | 0.011794 | 0.99419 | -0.11097 | 0.9936 | -0.12246 | 3.2401
12 | 0.23836 | 0.060626 | -0.23832 | -0.060605 | 3.2135e-05 | 2.0424e-05 | 0.35552 | 0.35552 | 0.35552 | 0.99851 | -0.028387 | 0.99836 | -0.031185 | 24.4178
13 | -0.44517 | -0.11318 | 0.44578 | 0.11357 | 0.0006096 | 0.00038937 | 0.66398 | 0.66398 | 0.66398 | 0.99851 | -0.028387 | 1 | 0 | 45.6028
14 | 0.064195 | 0.016117 | -0.064121 | -0.01607 | 7.3843e-05 | 4.6993e-05 | 0.096969 | 0.09697 | 0.09697 | 0.98519 | -0.28502 | 0.98395 | -0.30917 | 26.64
15 | 0.0060195 | 0.0015085 | -0.0060189 | -0.0015083 | 5.5217e-07 | 1.1874e-07 | 0.0090147 | 0.0090148 | 0.0090148 | 0.9936 | -0.12246 | 0.9935 | -0.12438 | 2.4766
16 | 0.20939 | 0.053353 | -0.20912 | -0.053184 | 0.00026685 | 0.00016926 | 0.31239 | 0.31239 | 0.31239 | 0.99836 | -0.031185 | 0.99697 | -0.057634 | 21.4556
17 | 0.11169 | 0.028081 | -0.11165 | -0.028059 | 3.3815e-05 | 2.1599e-05 | 0.16622 | 0.16622 | 0.16622 | 1 | 0 | 0.99967 | -0.006342 | 45.6652
18 | 0.0016592 | 0.0004157 | -0.0016591 | -0.00041582 | 2.518e-08 | -1.2469e-07 | 0.002485 | 0.002485 | 0.002485 | 0.9935 | -0.12438 | 0.99348 | -0.1247 | 0.6827
19 | 0.012868 | 0.003227 | -0.012862 | -0.0032236 | 6.2351e-06 | 3.4589e-06 | 0.019693 | 0.019693 | 0.019693 | 0.97239 | -0.53298 | 0.97187 | -0.54315 | 5.4102
20 | -0.025731 | -0.0064507 | 0.025769 | 0.0064739 | 3.7425e-05 | 2.3152e-05 | 0.039376 | 0.039376 | 0.039376 | 0.97239 | -0.53298 | 0.97393 | -0.5025 | 10.8177
21 | 0.01023 | 0.0025643 | -0.010228 | -0.0025633 | 1.9e-06 | 9.5795e-07 | 0.01563 | 0.01563 | 0.01563 | 0.97393 | -0.5025 | 0.97373 | -0.5064 | 4.2938
22 | -0.035998 | -0.0090382 | 0.036038 | 0.0090629 | 3.9342e-05 | 2.4747e-05 | 0.055006 | 0.055005 | 0.055006 | 0.97393 | -0.5025 | 0.97509 | -0.47962 | 15.1114
23 | -0.046153 | -0.011598 | 0.046315 | 0.0117 | 0.00016154 | 0.0001023 | 0.070442 | 0.070442 | 0.070442 | 0.97509 | -0.47962 | 0.97882 | -0.40658 | 19.3522
24 | 0.085875 | 0.021599 | -0.085676 | -0.021473 | 0.00019858 | 0.00012667 | 0.12785 | 0.12785 | 0.12785 | 0.99967 | -0.006342 | 0.99715 | -0.054872 | 35.1244
25 | 0.17842 | 0.04549 | -0.17802 | -0.045236 | 0.00039889 | 0.00025451 | 0.26658 | 0.26658 | 0.26658 | 0.99697 | -0.057634 | 0.99454 | -0.10406 | 36.6178
26 | -0.046315 | -0.0117 | 0.046485 | 0.011808 | 0.00017024 | 0.0001078 | 0.070442 | 0.070441 | 0.070442 | 0.97882 | -0.40658 | 0.98275 | -0.3302 | 19.3521
27 | -0.050371 | -0.012782 | 0.050421 | 0.012814 | 5.0291e-05 | 3.1894e-05 | 0.076325 | 0.076325 | 0.076325 | 0.98275 | -0.3302 | 0.98382 | -0.30946 | 20.9683
28 | 0.076111 | 0.019505 | -0.07579 | -0.019301 | 0.00032067 | 0.00020438 | 0.11403 | 0.11403 | 0.11403 | 0.99454 | -0.10406 | 0.98996 | -0.19138 | 31.3268
29 | 0.083745 | 0.021177 | -0.083598 | -0.021084 | 0.00014631 | 9.3317e-05 | 0.12536 | 0.12536 | 0.12536 | 0.99454 | -0.10406 | 0.99264 | -0.14055 | 34.4409
30 | 0.023525 | 0.0059049 | -0.023513 | -0.0058978 | 1.1691e-05 | 7.1664e-06 | 0.035483 | 0.035484 | 0.035484 | 0.98663 | -0.25692 | 0.98609 | -0.26734 | 9.7482
31 | -0.033626 | -0.0084364 | 0.033662 | 0.0084589 | 3.5885e-05 | 2.2491e-05 | 0.050717 | 0.050717 | 0.050717 | 0.98663 | -0.25692 | 0.98778 | -0.23456 | 13.9332
32 | 0.018923 | 0.0047472 | -0.018917 | -0.0047437 | 5.8871e-06 | 3.5222e-06 | 0.028556 | 0.028556 | 0.028556 | 0.98609 | -0.26734 | 0.98576 | -0.27387 | 7.845
33 | -0.033662 | -0.0084589 | 0.03372 | 0.0084955 | 5.8539e-05 | 3.6687e-05 | 0.050717 | 0.050716 | 0.050717 | 0.98778 | -0.23456 | 0.98965 | -0.1982 | 13.9332
34 | 0.013511 | 0.0033888 | -0.013504 | -0.003385 | 6.8036e-06 | 3.7986e-06 | 0.020396 | 0.020396 | 0.020396 | 0.98576 | -0.27387 | 0.98522 | -0.28444 | 5.6032
35 | -0.042323 | -0.010652 | 0.042369 | 0.010681 | 4.5625e-05 | 2.8814e-05 | 0.063652 | 0.063652 | 0.063652 | 0.98965 | -0.1982 | 0.99082 | -0.17567 | 17.4867
36 | 0.0086029 | 0.0021564 | -0.0086009 | -0.0021556 | 1.999e-06 | 8.701e-07 | 0.012935 | 0.012935 | 0.012935 | 0.98965 | -0.1982 | 0.9894 | -0.20308 | 3.5537
37 | 0.010528 | 0.002639 | -0.010526 | -0.0026381 | 1.8346e-06 | 9.278e-07 | 0.0159 | 0.0159 | 0.0159 | 0.98522 | -0.28444 | 0.98503 | -0.2881 | 4.3683
38 | -0.044561 | -0.01123 | 0.044597 | 0.011252 | 3.5353e-05 | 2.2354e-05 | 0.066944 | 0.066944 | 0.066944 | 0.99082 | -0.17567 | 0.99168 | -0.1591 | 18.3913
39 | 0.0021925 | 0.00054926 | -0.0021924 | -0.00054948 | 8.5466e-08 | -2.1603e-07 | 0.0032927 | 0.0032928 | 0.0032928 | 0.99082 | -0.17567 | 0.99078 | -0.17649 | 0.9046
40 | 0.0054017 | 0.0013538 | -0.0054014 | -0.0013537 | 2.3079e-07 | 2.7949e-08 | 0.0081238 | 0.0081239 | 0.0081239 | 0.9894 | -0.20308 | 0.98936 | -0.20397 | 2.2318
41 | 0.0093141 | 0.0023345 | -0.00931 | -0.0023325 | 4.0779e-06 | 1.911e-06 | 0.01407 | 0.01407 | 0.01407 | 0.98503 | -0.2881 | 0.98456 | -0.29729 | 3.8655
42 | -0.078606 | -0.019806 | 0.078676 | 0.01985 | 6.9817e-05 | 4.451e-05 | 0.11799 | 0.11799 | 0.11799 | 0.99168 | -0.1591 | 0.99264 | -0.14055 | 32.4139
43 | 0.03401 | 0.0085534 | -0.033973 | -0.00853 | 3.7216e-05 | 2.3327e-05 | 0.051042 | 0.051042 | 0.051042 | 0.99168 | -0.1591 | 0.99049 | -0.18204 | 14.0227
44 | 0.051468 | 0.013093 | -0.051423 | -0.013065 | 4.4503e-05 | 2.8233e-05 | 0.07784 | 0.07784 | 0.07784 | 0.98475 | -0.2915 | 0.98382 | -0.30946 | 21.3847
45 | -0.054987 | -0.013975 | 0.055045 | 0.014012 | 5.8162e-05 | 3.6938e-05 | 0.083158 | 0.083158 | 0.083158 | 0.98475 | -0.2915 | 0.98589 | -0.26956 | 22.8456
46 | -0.056249 | -0.014314 | 0.05628 | 0.014334 | 3.0849e-05 | 1.9598e-05 | 0.084975 | 0.084975 | 0.084975 | 0.98589 | -0.26956 | 0.98648 | -0.25819 | 23.3449
47 | -0.058899 | -0.01499 | 0.058991 | 0.015049 | 9.2193e-05 | 5.8606e-05 | 0.088926 | 0.088926 | 0.088926 | 0.98648 | -0.25819 | 0.98817 | -0.22578 | 24.4302
48 | -0.063517 | -0.016183 | 0.063608 | 0.016241 | 9.0514e-05 | 5.7591e-05 | 0.095741 | 0.095741 | 0.095741 | 0.98817 | -0.22578 | 0.9897 | -0.19629 | 26.3025
49 | -0.072189 | -0.018391 | 0.072206 | 0.018402 | 1.7088e-05 | 1.0887e-05 | 0.10864 | 0.10864 | 0.10864 | 0.9897 | -0.19629 | 0.98996 | -0.19138 | 29.8467
50 | 0.0085807 | 0.0021508 | -0.0085759 | -0.0021487 | 4.7798e-06 | 2.0756e-06 | 0.012901 | 0.012901 | 0.012901 | 0.9897 | -0.19629 | 0.9891 | -0.20798 | 3.5444
51 | 0.0031922 | 0.00079974 | -0.0031919 | -0.00079998 | 2.7839e-07 | -2.3481e-07 | 0.0048027 | 0.0048028 | 0.0048028 | 0.98902 | -0.20955 | 0.98893 | -0.21138 | 1.3195
52 | -0.0054261 | -0.0013596 | 0.0054265 | 0.0013596 | 4.0506e-07 | 5.1227e-08 | 0.0081636 | 0.0081635 | 0.0081636 | 0.98902 | -0.20955 | 0.9891 | -0.20798 | 2.2427
53 | 0.0031494 | 0.00078908 | -0.0031492 | -0.00078927 | 2.1087e-07 | -1.8652e-07 | 0.0047379 | 0.0047381 | 0.0047381 | 0.9891 | -0.20798 | 0.98903 | -0.20939 | 1.3017
54 | -0.009525 | -0.0023866 | 0.009526 | 0.0023871 | 1.0195e-06 | 4.8319e-07 | 0.014343 | 0.014343 | 0.014343 | 0.98815 | -0.2275 | 0.98827 | -0.22525 | 3.9404
55 | 0.0076706 | 0.0019218 | -0.0076698 | -0.0019215 | 7.9519e-07 | 3.0534e-07 | 0.011551 | 0.011551 | 0.011551 | 0.98815 | -0.2275 | 0.98804 | -0.22968 | 3.1733
56 | -0.010699 | -0.002681 | 0.010703 | 0.0026831 | 4.2344e-06 | 2.1522e-06 | 0.016109 | 0.016109 | 0.016109 | 0.98827 | -0.22525 | 0.98869 | -0.21695 | 4.4255
57 | 0.0051652 | 0.0012938 | -0.0051648 | -0.0012938 | 3.9336e-07 | 2.9741e-08 | 0.0077786 | 0.0077787 | 0.0077787 | 0.98804 | -0.22968 | 0.98796 | -0.23127 | 2.137
58 | -0.014058 | -0.0035241 | 0.014061 | 0.0035255 | 2.5694e-06 | 1.4481e-06 | 0.021159 | 0.021158 | 0.021159 | 0.98869 | -0.21695 | 0.98889 | -0.21311 | 5.8128
59 | 0.0026899 | 0.00067349 | -0.0026898 | -0.00067368 | 1.2741e-07 | -1.8354e-07 | 0.0040511 | 0.0040512 | 0.0040512 | 0.98796 | -0.23127 | 0.98791 | -0.23227 | 1.113
60 | -0.019645 | -0.004925 | 0.019651 | 0.0049289 | 6.5068e-06 | 3.9095e-06 | 0.029561 | 0.029561 | 0.029561 | 0.98889 | -0.21311 | 0.98925 | -0.20616 | 8.1211
61 | 0.0026898 | 0.00067368 | -0.0026895 | -0.00067405 | 2.5924e-07 | -3.7331e-07 | 0.0040512 | 0.0040514 | 0.0040514 | 0.98791 | -0.23227 | 0.9878 | -0.23429 | 1.113
62 | -0.023243 | -0.005829 | 0.023247 | 0.0058315 | 4.0699e-06 | 2.4907e-06 | 0.034963 | 0.034963 | 0.034963 | 0.98925 | -0.20616 | 0.98944 | -0.20249 | 9.6052
63 | 0.032263 | 0.0081015 | -0.032248 | -0.0080924 | 1.4529e-05 | 9.0864e-06 | 0.048474 | 0.048474 | 0.048474 | 0.99049 | -0.18204 | 0.99001 | -0.19148 | 13.317
64 | 0.027885 | 0.0069989 | -0.027881 | -0.0069964 | 3.9767e-06 | 2.4675e-06 | 0.041916 | 0.041916 | 0.041916 | 0.99001 | -0.19148 | 0.98985 | -0.19447 | 11.5153
65 | -0.025457 | -0.0063854 | 0.025467 | 0.0063914 | 9.7349e-06 | 6.0028e-06 | 0.038287 | 0.038287 | 0.038287 | 0.98944 | -0.20249 | 0.98985 | -0.19447 | 10.5184
66 | 0.0047022 | 0.0011777 | -0.0047018 | -0.0011777 | 3.1371e-07 | -9.8745e-09 | 0.0071064 | 0.0071064 | 0.0071064 | 0.98456 | -0.29729 | 0.98449 | -0.29869 | 1.9523
67 | 0.0032212 | 0.00080665 | -0.0032209 | -0.00080691 | 3.3013e-07 | -2.6091e-07 | 0.0048686 | 0.0048687 | 0.0048687 | 0.98449 | -0.29869 | 0.98438 | -0.30085 | 1.3376
68 | 0.0032209 | 0.00080691 | -0.0032206 | -0.00080716 | 3.1493e-07 | -2.4877e-07 | 0.0048687 | 0.0048689 | 0.0048689 | 0.98438 | -0.30085 | 0.98427 | -0.3029 | 1.3376

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57052 | 0.14451

## res_load
| p_mw | q_mvar
0 | 0.0080885 | 0.0020272
1 | 0.0088391 | 0.0022153
2 | 0.010796 | 0.0027057
3 | 0.016077 | 0.0040292
4 | 0.005979 | 0.0014985
5 | 0.083155 | 0.020841
6 | 0.0018559 | 0.00046512
7 | 0.028938 | 0.0072526
8 | 0.01141 | 0.0028596
9 | 0.064121 | 0.01607
10 | 0.0043597 | 0.0010927
11 | 0.012863 | 0.0032237
12 | 0.012862 | 0.0032236
13 | 0.010228 | 0.0025633
14 | 0.010116 | 0.0025352
15 | 0.025777 | 0.0064603
16 | 0.085676 | 0.021473
17 | 0.030697 | 0.0076934
18 | 0.0038857 | 0.00097386
19 | 0.0016591 | 0.00041582
20 | 0.018169 | 0.0045535
21 | 0.010101 | 0.0025314
22 | 0.0045909 | 0.0011506
23 | 0.0054059 | 0.0013549
24 | 0.0029764 | 0.00074595
25 | 0.0031993 | 0.00080182
26 | 0.0012116 | 0.00030366
27 | 0.0021924 | 0.00054948
28 | 0.0054014 | 0.0013537
29 | 0.0035193 | 0.00088202
30 | 0.0010021 | 0.00025116
31 | 0.0012042 | 0.0003018
32 | 0.0026191 | 0.00065641
33 | 0.0045259 | 0.0011343
34 | 0.0022339 | 0.00055986
35 | 0.0031919 | 0.00079998
36 | 0.0031492 | 0.00078927
37 | 0.0035843 | 0.00089832
38 | 0.0018544 | 0.00046475
39 | 0.0011729 | 0.00029394
40 | 0.0025047 | 0.00062773
41 | 0.0033553 | 0.00084091
42 | 0.0024749 | 0.00062027
43 | 0.0055839 | 0.0013995
44 | 0.0035916 | 0.00090013
45 | 0.0026895 | 0.00067405
46 | 0.0049221 | 0.0012336
47 | 0.0017098 | 0.00042851
48 | 0.0043634 | 0.0010936
49 | 0.0022103 | 0.00055394
50 | 0.0024138 | 0.00060497
51 | 0.0046078 | 0.0011548
52 | 0.0014806 | 0.00037107
53 | 0.0032206 | 0.00080716

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1