## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2163-7_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2163-7_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2163-7_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2163-7_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2163-7_0_2_node_119 | 0.4 | n |  | TRUE
5 | bus_LV_2163-7_0_2_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_2163-7_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2163-7_0_2_node_164 | 0.4 | n |  | TRUE
8 | bus_LV_2163-7_0_2_node_173 | 0.4 | n |  | TRUE
9 | bus_LV_2163-7_0_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2163-7_0_2_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_2163-7_0_2_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_2163-7_0_2_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_2163-7_0_2_node_171 | 0.4 | n |  | TRUE
14 | bus_LV_2163-7_0_2_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_2163-7_0_2_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_2163-7_0_2_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_2163-7_0_2_node_136 | 0.4 | n |  | TRUE
18 | bus_LV_2163-7_0_2_node_71 | 0.4 | n |  | TRUE
19 | bus_LV_2163-7_0_2_node_151 | 0.4 | n |  | TRUE
20 | bus_LV_2163-7_0_2_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_2163-7_0_2_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_2163-7_0_2_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_2163-7_0_2_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_2163-7_0_2_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_2163-7_0_2_node_142 | 0.4 | n |  | TRUE
26 | bus_LV_2163-7_0_2_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_2163-7_0_2_node_128 | 0.4 | n |  | TRUE
28 | bus_LV_2163-7_0_2_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_2163-7_0_2_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_2163-7_0_2_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_2163-7_0_2_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_2163-7_0_2_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_2163-7_0_2_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_2163-7_0_2_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_2163-7_0_2_node_152 | 0.4 | n |  | TRUE
36 | bus_LV_2163-7_0_2_node_93 | 0.4 | n |  | TRUE
37 | bus_LV_2163-7_0_2_node_168 | 0.4 | n |  | TRUE
38 | bus_LV_2163-7_0_2_node_70 | 0.4 | n |  | TRUE
39 | bus_LV_2163-7_0_2_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_2163-7_0_2_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_2163-7_0_2_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_2163-7_0_2_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_2163-7_0_2_node_159 | 0.4 | n |  | TRUE
44 | bus_LV_2163-7_0_2_node_89 | 0.4 | n |  | TRUE
45 | bus_LV_2163-7_0_2_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_2163-7_0_2_node_91 | 0.4 | n |  | TRUE
47 | bus_LV_2163-7_0_2_node_92 | 0.4 | n |  | TRUE
48 | bus_LV_2163-7_0_2_node_140 | 0.4 | n |  | TRUE
49 | bus_LV_2163-7_0_2_node_100 | 0.4 | n |  | TRUE
50 | bus_LV_2163-7_0_2_node_166 | 0.4 | n |  | TRUE
51 | bus_LV_2163-7_0_2_node_101 | 0.4 | n |  | TRUE
52 | bus_LV_2163-7_0_2_node_102 | 0.4 | n |  | TRUE
53 | bus_LV_2163-7_0_2_node_104 | 0.4 | n |  | TRUE
54 | bus_LV_2163-7_0_2_node_105 | 0.4 | n |  | TRUE
55 | bus_LV_2163-7_0_2_node_129 | 0.4 | n |  | TRUE
56 | bus_LV_2163-7_0_2_node_120 | 0.4 | n |  | TRUE
57 | bus_LV_2163-7_0_2_node_160 | 0.4 | n |  | TRUE
58 | bus_LV_2163-7_0_2_node_125 | 0.4 | n |  | TRUE
59 | bus_LV_2163-7_0_2_node_154 | 0.4 | n |  | TRUE
60 | bus_LV_2163-7_0_2_node_138 | 0.4 | n |  | TRUE
61 | bus_LV_2163-7_0_2_node_139 | 0.4 | n |  | TRUE
62 | bus_LV_2163-7_0_2_node_141 | 0.4 | n |  | TRUE
63 | bus_LV_2163-7_0_2_node_156 | 0.4 | n |  | TRUE
64 | bus_LV_2163-7_0_2_node_169 | 0.4 | n |  | TRUE
65 | bus_LV_2163-7_0_2_node_149 | 0.4 | n |  | TRUE
66 | bus_LV_2163-7_0_2_node_150 | 0.4 | n |  | TRUE
67 | bus_LV_2163-7_0_2_node_163 | 0.4 | n |  | TRUE
68 | bus_LV_2163-7_0_2_node_153 | 0.4 | n |  | TRUE
69 | bus_LV_2163-7_0_2_node_155 | 0.4 | n |  | TRUE
70 | bus_LV_2163-7_0_2_node_157 | 0.4 | n |  | TRUE
71 | bus_LV_2163-7_0_2_node_158 | 0.4 | n |  | TRUE
72 | bus_LV_2163-7_0_2_node_162 | 0.4 | n |  | TRUE
73 | bus_LV_2163-7_0_2_node_161 | 0.4 | n |  | TRUE
74 | bus_LV_2163-7_0_2_node_167 | 0.4 | n |  | TRUE
75 | bus_MV_28_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2163-7_0_2_load_0 | 0 | 0.0045882 | 0.0011499 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2163-7_0_2_load_3 | 2 | 0.0060018 | 0.0015042 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2163-7_0_2_load_4 | 3 | 0.0045262 | 0.0011344 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2163-7_0_2_load_119 | 4 | 0.0044864 | 0.0011244 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2163-7_0_2_load_5 | 6 | 0.0029411 | 0.00073711 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2163-7_0_2_load_164 | 7 | 0.0013299 | 0.0003333 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2163-7_0_2_load_173 | 8 | 0.00084304 | 0.00021129 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2163-7_0_2_load_12 | 9 | 0.0018051 | 0.0004524 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2163-7_0_2_load_30 | 12 | 0.0022955 | 0.00057532 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2163-7_0_2_load_171 | 13 | 0.0053773 | 0.0013477 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2163-7_0_2_load_38 | 14 | 0.022963 | 0.0057551 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2163-7_0_2_load_151 | 19 | 0.0034011 | 0.0008524 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2163-7_0_2_load_42 | 20 | 0.0027152 | 0.00068049 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2163-7_0_2_load_43 | 21 | 0.0032107 | 0.00080468 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2163-7_0_2_load_44 | 22 | 0.0012362 | 0.00030983 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2163-7_0_2_load_45 | 23 | 0.0026336 | 0.00066004 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2163-7_0_2_load_142 | 25 | 0.0017604 | 0.0004412 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2163-7_0_2_load_54 | 26 | 0.0015805 | 0.00039612 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2163-7_0_2_load_128 | 27 | 0.0013529 | 0.00033907 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2163-7_0_2_load_53 | 28 | 0.0022887 | 0.00057359 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2163-7_0_2_load_57 | 29 | 0.0029357 | 0.00073576 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2163-7_0_2_load_60 | 32 | 0.0018025 | 0.00045175 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2163-7_0_2_load_61 | 33 | 0.0032822 | 0.00082259 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2163-7_0_2_load_62 | 34 | 0.0042921 | 0.0010757 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2163-7_0_2_load_168 | 37 | 0.0016828 | 0.00042174 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2163-7_0_2_load_70 | 38 | 0.0033223 | 0.00083266 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2163-7_0_2_load_73 | 40 | 0.0041479 | 0.0010396 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2163-7_0_2_load_74 | 41 | 0.0042935 | 0.001076 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2163-7_0_2_load_75 | 42 | 0.0018569 | 0.00046537 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2163-7_0_2_load_159 | 43 | 0.0021457 | 0.00053776 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2163-7_0_2_load_89 | 44 | 0.0014853 | 0.00037226 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2163-7_0_2_load_91 | 46 | 0.0053313 | 0.0013361 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2163-7_0_2_load_92 | 47 | 0.0036583 | 0.00091686 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2163-7_0_2_load_100 | 49 | 0.0048399 | 0.001213 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2163-7_0_2_load_166 | 50 | 0.0025235 | 0.00063245 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2163-7_0_2_load_101 | 51 | 0.0058464 | 0.0014652 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2163-7_0_2_load_102 | 52 | 0.0020596 | 0.0005162 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2163-7_0_2_load_104 | 53 | 0.0075809 | 0.0018999 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2163-7_0_2_load_129 | 55 | 0.0010177 | 0.00025505 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2163-7_0_2_load_120 | 56 | 0.0019537 | 0.00048963 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2163-7_0_2_load_160 | 57 | 0.0033519 | 0.00084008 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2163-7_0_2_load_125 | 58 | 0.0023096 | 0.00057883 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2163-7_0_2_load_154 | 59 | 0.0034806 | 0.00087233 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2163-7_0_2_load_138 | 60 | 0.0036902 | 0.00092486 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2163-7_0_2_load_139 | 61 | 0.0021638 | 0.0005423 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2163-7_0_2_load_141 | 62 | 0.0038531 | 0.00096568 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2163-7_0_2_load_156 | 63 | 0.0021714 | 0.0005442 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2163-7_0_2_load_169 | 64 | 0.0061512 | 0.0015416 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2163-7_0_2_load_149 | 65 | 0.0032373 | 0.00081135 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2163-7_0_2_load_150 | 66 | 0.0025282 | 0.00063362 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2163-7_0_2_load_163 | 67 | 0.00681 | 0.0017067 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2163-7_0_2_load_153 | 68 | 0.0058782 | 0.0014732 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2163-7_0_2_load_155 | 69 | 0.0024074 | 0.00060335 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2163-7_0_2_load_157 | 70 | 0.0037797 | 0.00094728 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2163-7_0_2_load_158 | 71 | 0.0022431 | 0.00056218 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2163-7_0_2_load_162 | 72 | 0.0018596 | 0.00046607 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2163-7_0_2_load_161 | 73 | 0.0058844 | 0.0014748 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2163-7_0_2_load_167 | 74 | 0.0047214 | 0.0011833 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2163-7_0_2_line_0 |  | 0 | 1 | 0.070639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2163-7_0_2_line_1 |  | 1 | 2 | 0.031873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2163-7_0_2_line_2 |  | 1 | 3 | 0.014685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2163-7_0_2_line_3 |  | 2 | 4 | 0.027787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2163-7_0_2_line_4 |  | 3 | 5 | 0.02159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2163-7_0_2_line_5 |  | 4 | 56 | 0.0265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2163-7_0_2_line_6 |  | 5 | 17 | 0.01768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2163-7_0_2_line_7 |  | 5 | 15 | 0.036384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2163-7_0_2_line_8 |  | 6 | 7 | 0.10917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2163-7_0_2_line_9 |  | 6 | 8 | 0.42822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2163-7_0_2_line_10 |  | 7 | 55 | 0.017651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2163-7_0_2_line_11 |  | 8 | 10 | 0.09143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2163-7_0_2_line_12 |  | 9 | 10 | 0.040938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2163-7_0_2_line_13 |  | 11 | 12 | 0.022549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2163-7_0_2_line_14 |  | 11 | 13 | 0.12343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2163-7_0_2_line_15 |  | 13 | 71 | 0.20178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2163-7_0_2_line_16 |  | 14 | 15 | 0.010954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2163-7_0_2_line_17 |  | 15 | 16 | 0.06275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2163-7_0_2_line_18 |  | 16 | 18 | 0.040915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2163-7_0_2_line_19 |  | 16 | 19 | 0.035262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2163-7_0_2_line_20 |  | 17 | 59 | 0.06028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2163-7_0_2_line_21 |  | 18 | 40 | 0.057828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2163-7_0_2_line_22 |  | 18 | 38 | 0.021827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2163-7_0_2_line_23 |  | 19 | 65 | 0.0041365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2163-7_0_2_line_24 |  | 20 | 21 | 0.022123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2163-7_0_2_line_25 |  | 20 | 22 | 0.020929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2163-7_0_2_line_26 |  | 21 | 23 | 0.01672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2163-7_0_2_line_27 |  | 22 | 24 | 0.026404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2163-7_0_2_line_28 |  | 23 | 25 | 0.012628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2163-7_0_2_line_29 |  | 24 | 26 | 0.012535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2163-7_0_2_line_30 |  | 24 | 27 | 0.018715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2163-7_0_2_line_31 |  | 25 | 63 | 0.056554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2163-7_0_2_line_32 |  | 25 | 64 | 0.037786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2163-7_0_2_line_33 |  | 25 | 53 | 0.021849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2163-7_0_2_line_34 |  | 26 | 28 | 0.034651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2163-7_0_2_line_35 |  | 27 | 54 | 0.01467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2163-7_0_2_line_36 |  | 29 | 30 | 0.070352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2163-7_0_2_line_37 |  | 29 | 31 | 0.004617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2163-7_0_2_line_38 |  | 30 | 32 | 0.036793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2163-7_0_2_line_39 |  | 31 | 33 | 0.024055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2163-7_0_2_line_40 |  | 31 | 34 | 0.030332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2163-7_0_2_line_41 |  | 32 | 35 | 0.019148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2163-7_0_2_line_42 |  | 33 | 36 | 0.014622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2163-7_0_2_line_43 |  | 34 | 37 | 0.016296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2163-7_0_2_line_44 |  | 35 | 67 | 0.026475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2163-7_0_2_line_45 |  | 35 | 66 | 0.014294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2163-7_0_2_line_46 |  | 36 | 49 | 0.027199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2163-7_0_2_line_47 |  | 36 | 45 | 0.063155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2163-7_0_2_line_48 |  | 38 | 39 | 0.018397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2163-7_0_2_line_49 |  | 39 | 41 | 0.024474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2163-7_0_2_line_50 |  | 39 | 42 | 0.020865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2163-7_0_2_line_51 |  | 42 | 43 | 2.1843e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2163-7_0_2_line_52 |  | 43 | 70 | 0.028442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2163-7_0_2_line_53 |  | 44 | 45 | 0.0153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2163-7_0_2_line_54 |  | 44 | 46 | 0.012637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2163-7_0_2_line_55 |  | 45 | 47 | 0.016987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2163-7_0_2_line_56 |  | 47 | 48 | 0.045454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2163-7_0_2_line_57 |  | 48 | 60 | 0.0079782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2163-7_0_2_line_58 |  | 49 | 50 | 0.029252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2163-7_0_2_line_59 |  | 51 | 52 | 0.0076641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2163-7_0_2_line_60 |  | 52 | 53 | 0.026147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2163-7_0_2_line_61 |  | 54 | 55 | 0.017903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2163-7_0_2_line_62 |  | 56 | 57 | 0.037701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2163-7_0_2_line_63 |  | 56 | 58 | 0.037708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2163-7_0_2_line_64 |  | 57 | 73 | 0.031287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2163-7_0_2_line_65 |  | 59 | 68 | 0.0043158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2163-7_0_2_line_66 |  | 60 | 61 | 0.014398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2163-7_0_2_line_67 |  | 61 | 62 | 0.013146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2163-7_0_2_line_68 |  | 63 | 71 | 0.029612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2163-7_0_2_line_69 |  | 63 | 69 | 0.032363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2163-7_0_2_line_70 |  | 65 | 66 | 0.0262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2163-7_0_2_line_71 |  | 69 | 70 | 0.0061131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2163-7_0_2_line_72 |  | 71 | 72 | 0.0084326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2163-7_0_2_line_73 |  | 73 | 74 | 0.030939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2163-7_0_2_trafo_70 | 0.63 MVA 20/0.4 kV | 75 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2579633.208 | 1163400.4102 | 2579631.6825 | 1163406.7741 | 2579634.2511 | 1163407.588 | 2579632.1921 | 1163410.2408 | 2579635.5059 | 1163416.1769 | 2579630.4619 | 1163414.9601 | 2579628.2073 | 1163416.4019 | 2579630.48 | 1163420.285 | 2579642.2189 | 1163428.438 | 2579652.5094 | 1163434.1392 | 2579664.4558 | 1163438.7986
1 | 2579633.208 | 1163400.4102 | 2579601.9887 | 1163393.9888
2 | 2579633.208 | 1163400.4102 | 2579637.6689 | 1163401.3288 | 2579643.0074 | 1163401.3106 | 2579647.49 | 1163399.6168
3 | 2579575.2916 | 1163386.3186 | 2579598.9159 | 1163393.3567 | 2579601.9887 | 1163393.9888
4 | 2579653.3115 | 1163379.4535 | 2579653.8954 | 1163384.4874 | 2579650.0043 | 1163395.6951 | 2579647.49 | 1163399.6168
5 | 2579575.2916 | 1163386.3186 | 2579549.8947 | 1163378.7524
6 | 2579653.3115 | 1163379.4535 | 2579657.6133 | 1163378.6163 | 2579663.7312 | 1163366.7896
7 | 2579653.3115 | 1163379.4535 | 2579649.659 | 1163377.5094 | 2579618.8046 | 1163367.8206
8 | 2579804.3816 | 1163348.8267 | 2579819.3602 | 1163456.9682
9 | 2579819.3602 | 1163456.9682 | 2579929.7708 | 1163870.7109
10 | 2579804.3816 | 1163348.8267 | 2579790.9765 | 1163348.5051 | 2579786.7568 | 1163348.9388
11 | 2579840.28 | 1163889.4433 | 2579929.7708 | 1163870.7109
12 | 2579840.28 | 1163889.4433 | 2579832.6034 | 1163886.412 | 2579819.5481 | 1163884.9998 | 2579804.3365 | 1163889.142 | 2579800.5516 | 1163889.29
13 | 2579704.6391 | 1162908.0321 | 2579712.8564 | 1162891.6405 | 2579715.4533 | 1162888.3226
14 | 2579704.6391 | 1162908.0321 | 2579698.554 | 1163031.3144
15 | 2579705.2505 | 1163232.9812 | 2579698.554 | 1163031.3144
16 | 2579618.8046 | 1163367.8206 | 2579629.3966 | 1163365.029
17 | 2579563.7758 | 1163339.8386 | 2579577.1668 | 1163351.7434 | 2579582.939 | 1163355.3588 | 2579591.5002 | 1163359.2427 | 2579618.8046 | 1163367.8206
18 | 2579563.7758 | 1163339.8386 | 2579589.5663 | 1163346.9209 | 2579593.6171 | 1163346.618 | 2579598.4304 | 1163345.2899 | 2579602.594 | 1163342.1408
19 | 2579563.7758 | 1163339.8386 | 2579541.6956 | 1163320.2487 | 2579537.2005 | 1163318.3075 | 2579536.3721 | 1163318.1269
20 | 2579663.7312 | 1163366.7896 | 2579670.5597 | 1163370.2014 | 2579699.1045 | 1163390.0034 | 2579701.6068 | 1163393.819 | 2579701.9963 | 1163400.2654 | 2579701.0404 | 1163402.9588 | 2579698.6602 | 1163406.2066
21 | 2579602.594 | 1163342.1408 | 2579595.0026 | 1163339.6098 | 2579590.1713 | 1163337.9143 | 2579582.2917 | 1163327.2581 | 2579580.2291 | 1163322.1403 | 2579580.4547 | 1163316.4256 | 2579587.7159 | 1163297.5587
22 | 2579602.594 | 1163342.1408 | 2579604.9874 | 1163338.7087 | 2579610.6562 | 1163329.9516 | 2579612.8136 | 1163323.0711
23 | 2579536.3721 | 1163318.1269 | 2579532.3305 | 1163317.2459
24 | 2579748.1249 | 1163302.8196 | 2579727.8162 | 1163294.0465
25 | 2579748.1249 | 1163302.8196 | 2579754.2188 | 1163305.4521 | 2579766.7817 | 1163312.2649
26 | 2579711.5264 | 1163292.379 | 2579711.5264 | 1163292.379 | 2579723.068 | 1163291.9953 | 2579727.8162 | 1163294.0465
27 | 2579789.9928 | 1163324.8521 | 2579766.7817 | 1163312.2649
28 | 2579699.9547 | 1163297.3125 | 2579700.0838 | 1163297.0979 | 2579711.5264 | 1163292.379
29 | 2579789.9928 | 1163324.8521 | 2579798.7711 | 1163315.9039
30 | 2579789.9928 | 1163324.8521 | 2579778.1956 | 1163339.3807
31 | 2579699.9547 | 1163297.3125 | 2579678.6135 | 1163244.9394
32 | 2579699.9547 | 1163297.3125 | 2579662.9621 | 1163305.0168
33 | 2579699.9547 | 1163297.3125 | 2579696.2451 | 1163303.4808 | 2579697.4706 | 1163312.5034 | 2579701.8399 | 1163315.9189
34 | 2579823.0371 | 1163291.1682 | 2579798.7711 | 1163315.9039
35 | 2579768.948 | 1163350.7695 | 2579778.1956 | 1163339.3807
36 | 2579443.6465 | 1163288.98 | 2579446.9751 | 1163283.5769 | 2579452.26 | 1163281.3021 | 2579506.372 | 1163259.7331
37 | 2579510.6608 | 1163258.0236 | 2579506.372 | 1163259.7331
38 | 2579443.6465 | 1163288.98 | 2579445.0144 | 1163294.7559 | 2579452.1212 | 1163298.8558 | 2579474.1475 | 1163304.1481
39 | 2579510.6608 | 1163258.0236 | 2579532.1308 | 1163247.1756
40 | 2579510.6608 | 1163258.0236 | 2579505.5407 | 1163254.7506 | 2579498.5847 | 1163256.6754 | 2579486.0785 | 1163259.4419 | 2579481.8615 | 1163259.7575
41 | 2579492.7653 | 1163308.6214 | 2579474.1475 | 1163304.1481
42 | 2579544.7912 | 1163239.9534 | 2579541.4297 | 1163242.4773 | 2579532.1308 | 1163247.1756
43 | 2579466.1537 | 1163256.5309 | 2579477.0502 | 1163260.1176 | 2579481.8615 | 1163259.7575
44 | 2579468.0099 | 1163315.3429 | 2579480.3053 | 1163313.6666 | 2579486.4701 | 1163313.3453 | 2579489.3986 | 1163311.879 | 2579492.7653 | 1163308.6214
45 | 2579492.7653 | 1163308.6214 | 2579506.7314 | 1163311.6657
46 | 2579544.7912 | 1163239.9534 | 2579550.9701 | 1163266.441
47 | 2579501.4892 | 1163221.3478 | 2579513.4277 | 1163218.272 | 2579524.2057 | 1163216.3231 | 2579537.83 | 1163215.6984 | 2579540.5036 | 1163218.046 | 2579542.2014 | 1163221.7754 | 2579545.4169 | 1163236.9943 | 2579544.7912 | 1163239.9534
48 | 2579616.8064 | 1163305.1182 | 2579613.2627 | 1163321.6386 | 2579612.8136 | 1163323.0711
49 | 2579616.8064 | 1163305.1182 | 2579620.7792 | 1163308.8844 | 2579622.3306 | 1163312.3586 | 2579624.5327 | 1163324.7462 | 2579626.1788 | 1163326.7861
50 | 2579616.8064 | 1163305.1182 | 2579617.5754 | 1163301.5138 | 2579627.6282 | 1163287.5829
51 | 2579627.641 | 1163287.5652 | 2579627.6282 | 1163287.5829
52 | 2579647.1458 | 1163266.8848 | 2579647.1458 | 1163266.8848 | 2579628.5685 | 1163286.2799 | 2579627.641 | 1163287.5652
53 | 2579501.4892 | 1163221.3478 | 2579510.0308 | 1163210.4797 | 2579511.2603 | 1163209.6608
54 | 2579522.6326 | 1163204.278 | 2579514.3257 | 1163207.6192 | 2579511.2603 | 1163209.6608
55 | 2579501.4892 | 1163221.3478 | 2579493.2822 | 1163222.532 | 2579484.6052 | 1163223.0945
56 | 2579439.608 | 1163217.0911 | 2579471.918 | 1163222.0828 | 2579482.0557 | 1163223.2597 | 2579484.6052 | 1163223.0945
57 | 2579439.608 | 1163217.0911 | 2579446.4078 | 1163212.9181
58 | 2579571.7993 | 1163280.4482 | 2579555.7748 | 1163277.9905 | 2579554.1782 | 1163276.9955 | 2579553.0933 | 1163275.5429 | 2579550.9701 | 1163266.441
59 | 2579733.5652 | 1163326.4191 | 2579726.5528 | 1163323.3262
60 | 2579701.8399 | 1163315.9189 | 2579703.361 | 1163317.108 | 2579717.2625 | 1163319.2286 | 2579726.5528 | 1163323.3262
61 | 2579768.948 | 1163350.7695 | 2579786.7568 | 1163348.9388
62 | 2579513.0092 | 1163371.1702 | 2579541.3277 | 1163376.2002 | 2579549.8947 | 1163378.7524
63 | 2579549.8947 | 1163378.7524 | 2579546.9512 | 1163416.3457
64 | 2579482.2047 | 1163365.6987 | 2579513.0092 | 1163371.1702
65 | 2579698.6602 | 1163406.2066 | 2579696.109 | 1163409.6876
66 | 2579459.4314 | 1163206.8582 | 2579449.5904 | 1163210.9649 | 2579446.4078 | 1163212.9181
67 | 2579472.1377 | 1163203.5061 | 2579459.8779 | 1163206.6719 | 2579459.4314 | 1163206.8582
68 | 2579678.6135 | 1163244.9394 | 2579690.3329 | 1163238.3127 | 2579702.2171 | 1163232.7807 | 2579705.2505 | 1163232.9812
69 | 2579651.9351 | 1163263.0857 | 2579665.3723 | 1163252.4267 | 2579678.6135 | 1163244.9394
70 | 2579532.3305 | 1163317.2459 | 2579506.7314 | 1163311.6657
71 | 2579647.1458 | 1163266.8848 | 2579651.9351 | 1163263.0857
72 | 2579713.6648 | 1163233.5373 | 2579705.2505 | 1163232.9812
73 | 2579451.7423 | 1163360.2879 | 2579482.2047 | 1163365.6987

## bus_geodata
| x | y | coords
0 | 2579664.4558 | 1163438.7986
1 | 2579633.208 | 1163400.4102
2 | 2579601.9887 | 1163393.9888
3 | 2579647.49 | 1163399.6168
4 | 2579575.2916 | 1163386.3186
5 | 2579653.3115 | 1163379.4535
6 | 2579819.3602 | 1163456.9682
7 | 2579804.3816 | 1163348.8267
8 | 2579929.7708 | 1163870.7109
9 | 2579800.5516 | 1163889.29
10 | 2579840.28 | 1163889.4433
11 | 2579704.6391 | 1162908.0321
12 | 2579715.4533 | 1162888.3226
13 | 2579698.554 | 1163031.3144
14 | 2579629.3966 | 1163365.029
15 | 2579618.8046 | 1163367.8206
16 | 2579563.7758 | 1163339.8386
17 | 2579663.7312 | 1163366.7896
18 | 2579602.594 | 1163342.1408
19 | 2579536.3721 | 1163318.1269
20 | 2579748.1249 | 1163302.8196
21 | 2579727.8162 | 1163294.0465
22 | 2579766.7817 | 1163312.2649
23 | 2579711.5264 | 1163292.379
24 | 2579789.9928 | 1163324.8521
25 | 2579699.9547 | 1163297.3125
26 | 2579798.7711 | 1163315.9039
27 | 2579778.1956 | 1163339.3807
28 | 2579823.0371 | 1163291.1682
29 | 2579506.372 | 1163259.7331
30 | 2579443.6465 | 1163288.98
31 | 2579510.6608 | 1163258.0236
32 | 2579474.1475 | 1163304.1481
33 | 2579532.1308 | 1163247.1756
34 | 2579481.8615 | 1163259.7575
35 | 2579492.7653 | 1163308.6214
36 | 2579544.7912 | 1163239.9534
37 | 2579466.1537 | 1163256.5309
38 | 2579612.8136 | 1163323.0711
39 | 2579616.8064 | 1163305.1182
40 | 2579587.7159 | 1163297.5587
41 | 2579626.1788 | 1163326.7861
42 | 2579627.6282 | 1163287.5829
43 | 2579627.641 | 1163287.5652
44 | 2579511.2603 | 1163209.6608
45 | 2579501.4892 | 1163221.3478
46 | 2579522.6326 | 1163204.278
47 | 2579484.6052 | 1163223.0945
48 | 2579439.608 | 1163217.0911
49 | 2579550.9701 | 1163266.441
50 | 2579571.7993 | 1163280.4482
51 | 2579733.5652 | 1163326.4191
52 | 2579726.5528 | 1163323.3262
53 | 2579701.8399 | 1163315.9189
54 | 2579768.948 | 1163350.7695
55 | 2579786.7568 | 1163348.9388
56 | 2579549.8947 | 1163378.7524
57 | 2579513.0092 | 1163371.1702
58 | 2579546.9512 | 1163416.3457
59 | 2579698.6602 | 1163406.2066
60 | 2579446.4078 | 1163212.9181
61 | 2579459.4314 | 1163206.8582
62 | 2579472.1377 | 1163203.5061
63 | 2579678.6135 | 1163244.9394
64 | 2579662.9621 | 1163305.0168
65 | 2579532.3305 | 1163317.2459
66 | 2579506.7314 | 1163311.6657
67 | 2579468.0099 | 1163315.3429
68 | 2579696.109 | 1163409.6876
69 | 2579651.9351 | 1163263.0857
70 | 2579647.1458 | 1163266.8848
71 | 2579705.2505 | 1163232.9812
72 | 2579713.6648 | 1163233.5373
73 | 2579482.2047 | 1163365.6987
74 | 2579451.7423 | 1163360.2879
75 | 2579616.8064 | 1163305.1182

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98541 | -0.28039 | 0.0045882 | 0.0011499
1 | 0.9857 | -0.27458 | 0 | 0
2 | 0.98486 | -0.29101 | 0.0060018 | 0.0015042
3 | 0.98615 | -0.26581 | 0.0045262 | 0.0011344
4 | 0.98428 | -0.30236 | 0.0044864 | 0.0011244
5 | 0.98691 | -0.25118 | 0 | 0
6 | 0.98854 | -0.22093 | 0.0029411 | 0.00073711
7 | 0.9891 | -0.21002 | 0.0013299 | 0.0003333
8 | 0.9875 | -0.24127 | 0.00084304 | 0.00021129
9 | 0.98728 | -0.24554 | 0.0018051 | 0.0004524
10 | 0.98735 | -0.24422 | 0 | 0
11 | 0.99153 | -0.1628 | 0 | 0
12 | 0.99149 | -0.16372 | 0.0022955 | 0.00057532
13 | 0.99179 | -0.15778 | 0.0053773 | 0.0013477
14 | 0.98826 | -0.22499 | 0.022963 | 0.0057551
15 | 0.98849 | -0.2205 | 0 | 0
16 | 0.99254 | -0.14229 | 0 | 0
17 | 0.98676 | -0.25414 | 0 | 0
18 | 0.99735 | -0.050293 | 0 | 0
19 | 0.99067 | -0.17825 | 0.0034011 | 0.0008524
20 | 0.9902 | -0.18855 | 0.0027152 | 0.00068049
21 | 0.99055 | -0.18181 | 0.0032107 | 0.00080468
22 | 0.98993 | -0.19392 | 0.0012362 | 0.00030983
23 | 0.99086 | -0.17577 | 0.0026336 | 0.00066004
24 | 0.98961 | -0.20011 | 0 | 0
25 | 0.99113 | -0.17062 | 0.0017604 | 0.0004412
26 | 0.98956 | -0.20098 | 0.0015805 | 0.00039612
27 | 0.98945 | -0.20322 | 0.0013529 | 0.00033907
28 | 0.98949 | -0.20239 | 0.0022887 | 0.00057359
29 | 0.98393 | -0.30884 | 0.0029357 | 0.00073576
30 | 0.98651 | -0.25863 | 0 | 0
31 | 0.98377 | -0.3119 | 0 | 0
32 | 0.98786 | -0.23247 | 0.0018025 | 0.00045175
33 | 0.98309 | -0.32527 | 0.0032822 | 0.00082259
34 | 0.9836 | -0.31517 | 0.0042921 | 0.0010757
35 | 0.9886 | -0.21827 | 0 | 0
36 | 0.98271 | -0.33254 | 0 | 0
37 | 0.98358 | -0.31566 | 0.0016828 | 0.00042174
38 | 1 | 0 | -0.21058 | -0.053236
39 | 0.99874 | -0.024026 | 0 | 0
40 | 0.99713 | -0.054497 | 0.0041479 | 0.0010396
41 | 0.99865 | -0.025863 | 0.0042935 | 0.001076
42 | 0.9974 | -0.049778 | 0.0018569 | 0.00046537
43 | 0.99739 | -0.049804 | 0.0021457 | 0.00053776
44 | 0.98144 | -0.35746 | 0.0014853 | 0.00037226
45 | 0.98154 | -0.35558 | 0 | 0
46 | 0.98138 | -0.35868 | 0.0053313 | 0.0013361
47 | 0.98133 | -0.35969 | 0.0036583 | 0.00091686
48 | 0.98092 | -0.36768 | 0 | 0
49 | 0.98253 | -0.33616 | 0.0048399 | 0.001213
50 | 0.98246 | -0.33749 | 0.0025235 | 0.00063245
51 | 0.99059 | -0.18109 | 0.0058464 | 0.0014652
52 | 0.99063 | -0.1803 | 0.0020596 | 0.0005162
53 | 0.99082 | -0.17663 | 0.0075809 | 0.0018999
54 | 0.98934 | -0.2053 | 0 | 0
55 | 0.98921 | -0.20783 | 0.0010177 | 0.00025505
56 | 0.98383 | -0.31105 | 0.0019537 | 0.00048963
57 | 0.98335 | -0.32053 | 0.0033519 | 0.00084008
58 | 0.98375 | -0.31262 | 0.0023096 | 0.00057883
59 | 0.98624 | -0.26425 | 0.0034806 | 0.00087233
60 | 0.98085 | -0.36908 | 0.0036902 | 0.00092486
61 | 0.98077 | -0.37065 | 0.0021638 | 0.0005423
62 | 0.98072 | -0.37157 | 0.0038531 | 0.00096568
63 | 0.99353 | -0.12419 | 0.0021714 | 0.0005442
64 | 0.99091 | -0.17475 | 0.0061512 | 0.0015416
65 | 0.99046 | -0.18223 | 0.0032373 | 0.00081135
66 | 0.98923 | -0.20595 | 0.0025282 | 0.00063362
67 | 0.98843 | -0.22148 | 0.00681 | 0.0017067
68 | 0.98621 | -0.2647 | 0.0058782 | 0.0014732
69 | 0.99531 | -0.089765 | 0.0024074 | 0.00060335
70 | 0.99566 | -0.083018 | 0.0037797 | 0.00094728
71 | 0.99321 | -0.13035 | 0.0022431 | 0.00056218
72 | 0.99319 | -0.13063 | 0.0018596 | 0.00046607
73 | 0.98304 | -0.32652 | 0.0058844 | 0.0014748
74 | 0.98291 | -0.32915 | 0.0047214 | 0.0011833
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0045882 | -0.0011499 | 0.0045895 | 0.0011498 | 1.2715e-06 | -8.6367e-08 | 0.0069285 | 0.0069282 | 0.0069285 | 0.98541 | -0.28039 | 0.9857 | -0.27458 | 1.9034
1 | 0.028762 | 0.007226 | -0.028739 | -0.0072119 | 2.2539e-05 | 1.4019e-05 | 0.043425 | 0.043425 | 0.043425 | 0.9857 | -0.27458 | 0.98486 | -0.29101 | 11.9299
2 | -0.033351 | -0.0083758 | 0.033365 | 0.0083845 | 1.3962e-05 | 8.7486e-06 | 0.050353 | 0.050353 | 0.050353 | 0.9857 | -0.27458 | 0.98615 | -0.26581 | 13.8332
3 | 0.022737 | 0.0057077 | -0.022725 | -0.0057002 | 1.23e-05 | 7.5187e-06 | 0.034357 | 0.034357 | 0.034357 | 0.98486 | -0.29101 | 0.98428 | -0.30236 | 9.4387
4 | -0.037891 | -0.0095189 | 0.037918 | 0.0095356 | 2.6473e-05 | 1.6667e-05 | 0.057182 | 0.057182 | 0.057182 | 0.98615 | -0.26581 | 0.98691 | -0.25118 | 15.7095
5 | 0.018239 | 0.0045758 | -0.018231 | -0.0045713 | 7.5561e-06 | 4.4993e-06 | 0.027575 | 0.027575 | 0.027575 | 0.98428 | -0.30236 | 0.98383 | -0.31105 | 7.5755
6 | 0.0093648 | 0.0023483 | -0.0093635 | -0.0023477 | 1.3219e-06 | 6.2014e-07 | 0.01412 | 0.01412 | 0.01412 | 0.98691 | -0.25118 | 0.98676 | -0.25414 | 3.8792
7 | -0.047283 | -0.011884 | 0.047352 | 0.011928 | 6.9367e-05 | 4.3929e-05 | 0.071303 | 0.071302 | 0.071303 | 0.98691 | -0.25118 | 0.98849 | -0.2205 | 19.5886
8 | -0.0055922 | -0.0013955 | 0.0055951 | 0.0013959 | 2.8993e-06 | 4.551e-07 | 0.0084156 | 0.0084151 | 0.0084156 | 0.98854 | -0.22093 | 0.9891 | -0.21002 | 2.312
9 | 0.0026511 | 0.00065838 | -0.0026485 | -0.00066223 | 2.5557e-06 | -3.8485e-06 | 0.0039884 | 0.0039903 | 0.0039903 | 0.98854 | -0.22093 | 0.9875 | -0.24127 | 1.0962
10 | -0.006925 | -0.0017292 | 0.0069257 | 0.0017295 | 7.1809e-07 | 2.33e-07 | 0.010416 | 0.010416 | 0.010416 | 0.9891 | -0.21002 | 0.98921 | -0.20783 | 2.8615
11 | 0.0018055 | 0.00045094 | -0.0018052 | -0.00045195 | 2.537e-07 | -1.0072e-06 | 0.00272 | 0.0027204 | 0.0027204 | 0.9875 | -0.24127 | 0.98735 | -0.24422 | 0.74737
12 | -0.0018051 | -0.0004524 | 0.0018052 | 0.00045195 | 1.1362e-07 | -4.5082e-07 | 0.0027206 | 0.0027204 | 0.0027206 | 0.98728 | -0.24554 | 0.98735 | -0.24422 | 0.74742
13 | 0.0022956 | 0.00057509 | -0.0022955 | -0.00057532 | 1.0036e-07 | -2.266e-07 | 0.003445 | 0.0034451 | 0.0034451 | 0.99153 | -0.1628 | 0.99149 | -0.16372 | 0.94646
14 | -0.0022956 | -0.00057509 | 0.0022962 | 0.00057385 | 5.4925e-07 | -1.2409e-06 | 0.003445 | 0.0034445 | 0.003445 | 0.99153 | -0.1628 | 0.99179 | -0.15778 | 0.94643
15 | -0.0076735 | -0.0019215 | 0.0076835 | 0.0019253 | 1.0027e-05 | 3.8098e-06 | 0.011512 | 0.011511 | 0.011512 | 0.99179 | -0.15778 | 0.99321 | -0.13035 | 3.1627
16 | -0.022963 | -0.0057551 | 0.022968 | 0.0057581 | 4.9105e-06 | 3.0024e-06 | 0.034576 | 0.034576 | 0.034576 | 0.98826 | -0.22499 | 0.98849 | -0.2205 | 9.4988
17 | -0.07032 | -0.017686 | 0.070584 | 0.017854 | 0.00026379 | 0.00016802 | 0.10588 | 0.10588 | 0.10588 | 0.98849 | -0.2205 | 0.99254 | -0.14229 | 29.0874
18 | -0.12854 | -0.032544 | 0.12911 | 0.032908 | 0.00057048 | 0.00036458 | 0.19283 | 0.19283 | 0.19283 | 0.99254 | -0.14229 | 0.99735 | -0.050293 | 52.9741
19 | 0.057957 | 0.01469 | -0.057857 | -0.014626 | 9.9968e-05 | 6.3525e-05 | 0.086948 | 0.086948 | 0.086948 | 0.99254 | -0.14229 | 0.99067 | -0.17825 | 23.8869
20 | 0.0093635 | 0.0023477 | -0.0093589 | -0.0023456 | 4.5072e-06 | 2.115e-06 | 0.01412 | 0.014121 | 0.014121 | 0.98676 | -0.25414 | 0.98624 | -0.26425 | 3.8793
21 | 0.0041487 | 0.0010393 | -0.0041479 | -0.0010396 | 8.3085e-07 | -2.2274e-07 | 0.0061897 | 0.0061899 | 0.0061899 | 0.99735 | -0.050293 | 0.99713 | -0.054497 | 1.7005
22 | -0.13326 | -0.033947 | 0.13358 | 0.034155 | 0.00032418 | 0.00020719 | 0.19902 | 0.19902 | 0.19902 | 0.99735 | -0.050293 | 1 | 0 | 54.6745
23 | 0.054456 | 0.013774 | -0.054446 | -0.013767 | 1.039e-05 | 6.5961e-06 | 0.08184 | 0.08184 | 0.08184 | 0.99067 | -0.17825 | 0.99046 | -0.18223 | 22.4835
24 | -0.017128 | -0.0042888 | 0.017133 | 0.004292 | 5.4954e-06 | 3.2324e-06 | 0.025737 | 0.025737 | 0.025737 | 0.9902 | -0.18855 | 0.99055 | -0.18181 | 7.0707
25 | 0.014413 | 0.0036083 | -0.014409 | -0.0036062 | 3.6812e-06 | 2.0868e-06 | 0.021657 | 0.021657 | 0.021657 | 0.9902 | -0.18855 | 0.98993 | -0.19392 | 5.9498
26 | -0.020344 | -0.0050967 | 0.02035 | 0.0051003 | 5.8559e-06 | 3.5325e-06 | 0.03056 | 0.03056 | 0.03056 | 0.99055 | -0.18181 | 0.99086 | -0.17577 | 8.3957
27 | 0.013173 | 0.0032964 | -0.013169 | -0.0032942 | 3.8815e-06 | 2.1448e-06 | 0.019799 | 0.019799 | 0.019799 | 0.98993 | -0.19392 | 0.98961 | -0.20011 | 5.4393
28 | -0.022984 | -0.0057603 | 0.022989 | 0.0057637 | 5.6414e-06 | 3.4478e-06 | 0.034515 | 0.034515 | 0.034515 | 0.99086 | -0.17577 | 0.99113 | -0.17062 | 9.4822
29 | 0.0038695 | 0.00096931 | -0.0038693 | -0.00096936 | 1.5912e-07 | -5.9205e-08 | 0.0058182 | 0.0058182 | 0.0058182 | 0.98961 | -0.20011 | 0.98956 | -0.20098 | 1.5984
30 | 0.0092994 | 0.0023249 | -0.009298 | -0.0023243 | 1.3718e-06 | 6.3755e-07 | 0.013981 | 0.013981 | 0.013981 | 0.98961 | -0.20011 | 0.98945 | -0.20322 | 3.8409
31 | -0.046395 | -0.011631 | 0.046498 | 0.011697 | 0.0001029 | 6.5125e-05 | 0.069656 | 0.069656 | 0.069656 | 0.99113 | -0.17062 | 0.99353 | -0.12419 | 19.1362
32 | 0.0061524 | 0.0015419 | -0.0061512 | -0.0015416 | 1.209e-06 | 2.8688e-07 | 0.0092368 | 0.009237 | 0.009237 | 0.99113 | -0.17062 | 0.99091 | -0.17475 | 2.5376
33 | 0.015493 | 0.0038845 | -0.015489 | -0.003882 | 4.4332e-06 | 2.5557e-06 | 0.023261 | 0.023261 | 0.023261 | 0.99113 | -0.17062 | 0.99082 | -0.17663 | 6.3903
34 | 0.0022888 | 0.00057325 | -0.0022887 | -0.00057359 | 1.5392e-07 | -3.4662e-07 | 0.0034416 | 0.0034417 | 0.0034417 | 0.98956 | -0.20098 | 0.98949 | -0.20239 | 0.94553
35 | 0.0079451 | 0.0019852 | -0.0079443 | -0.0019849 | 7.8515e-07 | 3.1409e-07 | 0.011946 | 0.011946 | 0.011946 | 0.98945 | -0.20322 | 0.98934 | -0.2053 | 3.282
36 | -0.039806 | -0.0099984 | 0.039902 | 0.010059 | 9.5632e-05 | 6.0308e-05 | 0.060207 | 0.060207 | 0.060207 | 0.98393 | -0.30884 | 0.98651 | -0.25863 | 16.5404
37 | 0.03687 | 0.0092627 | -0.036865 | -0.0092593 | 5.3846e-06 | 3.3875e-06 | 0.055767 | 0.055768 | 0.055768 | 0.98393 | -0.30884 | 0.98377 | -0.3119 | 15.3207
38 | -0.039902 | -0.010059 | 0.039952 | 0.01009 | 5.0014e-05 | 3.1539e-05 | 0.060207 | 0.060207 | 0.060207 | 0.98651 | -0.25863 | 0.98786 | -0.23247 | 16.5404
39 | 0.030889 | 0.0077618 | -0.030869 | -0.0077495 | 1.9697e-05 | 1.2301e-05 | 0.046729 | 0.046729 | 0.046729 | 0.98377 | -0.3119 | 0.98309 | -0.32527 | 12.8376
40 | 0.0059758 | 0.0014975 | -0.0059749 | -0.0014973 | 9.2928e-07 | 2.0968e-07 | 0.0090387 | 0.0090388 | 0.0090388 | 0.98377 | -0.3119 | 0.9836 | -0.31517 | 2.4832
41 | -0.041754 | -0.010542 | 0.041782 | 0.01056 | 2.8428e-05 | 1.7949e-05 | 0.062922 | 0.062922 | 0.062922 | 0.98786 | -0.23247 | 0.9886 | -0.21827 | 17.2862
42 | 0.027587 | 0.0069269 | -0.027578 | -0.006921 | 9.5627e-06 | 5.9348e-06 | 0.041761 | 0.041761 | 0.041761 | 0.98309 | -0.32527 | 0.98271 | -0.33254 | 11.4728
43 | 0.0016828 | 0.00042156 | -0.0016828 | -0.00042174 | 3.9605e-08 | -1.8149e-07 | 0.0025457 | 0.0025458 | 0.0025458 | 0.9836 | -0.31517 | 0.98358 | -0.31566 | 0.69939
44 | 0.006811 | 0.0017071 | -0.00681 | -0.0017067 | 1.0435e-06 | 3.2842e-07 | 0.010252 | 0.010252 | 0.010252 | 0.9886 | -0.21827 | 0.98843 | -0.22148 | 2.8165
45 | -0.048593 | -0.012267 | 0.048622 | 0.012285 | 2.8701e-05 | 1.8185e-05 | 0.073174 | 0.073173 | 0.073174 | 0.9886 | -0.21827 | 0.98923 | -0.20595 | 20.1026
46 | 0.0073648 | 0.0018456 | -0.0073636 | -0.0018452 | 1.2684e-06 | 4.6726e-07 | 0.011152 | 0.011152 | 0.011152 | 0.98271 | -0.33254 | 0.98253 | -0.33616 | 3.0637
47 | 0.020213 | 0.0050754 | -0.020191 | -0.005062 | 2.219e-05 | 1.3402e-05 | 0.030609 | 0.03061 | 0.03061 | 0.98271 | -0.33254 | 0.98154 | -0.35558 | 8.4092
48 | 0.075343 | 0.019081 | -0.075256 | -0.019025 | 8.6822e-05 | 5.5325e-05 | 0.11218 | 0.11218 | 0.11218 | 1 | 0 | 0.99874 | -0.024026 | 30.8191
49 | 0.0042939 | 0.001076 | -0.0042935 | -0.001076 | 3.7561e-07 | -7.9851e-08 | 0.0063973 | 0.0063974 | 0.0063974 | 0.99874 | -0.024026 | 0.99865 | -0.025863 | 1.7575
50 | 0.070962 | 0.017949 | -0.070875 | -0.017894 | 8.7557e-05 | 5.5764e-05 | 0.10578 | 0.10578 | 0.10578 | 0.99874 | -0.024026 | 0.9974 | -0.049778 | 29.0616
51 | 0.069018 | 0.017428 | -0.069018 | -0.017428 | 8.6922e-08 | 5.5347e-08 | 0.10301 | 0.10301 | 0.10301 | 0.9974 | -0.049778 | 0.99739 | -0.049804 | 28.3006
52 | 0.066872 | 0.016891 | -0.066766 | -0.016823 | 0.00010626 | 6.7635e-05 | 0.099813 | 0.099813 | 0.099813 | 0.99739 | -0.049804 | 0.99566 | -0.083018 | 27.4212
53 | -0.0068169 | -0.0017084 | 0.0068175 | 0.0017086 | 6.129e-07 | 1.9889e-07 | 0.010336 | 0.010335 | 0.010336 | 0.98144 | -0.35746 | 0.98154 | -0.35558 | 2.8394
54 | 0.0053316 | 0.0013362 | -0.0053313 | -0.0013361 | 3.0965e-07 | 3.8498e-08 | 0.0080835 | 0.0080836 | 0.0080836 | 0.98144 | -0.35746 | 0.98138 | -0.35868 | 2.2208
55 | 0.013373 | 0.0033533 | -0.01337 | -0.0033519 | 2.6184e-06 | 1.4611e-06 | 0.020274 | 0.020274 | 0.020274 | 0.98154 | -0.35558 | 0.98133 | -0.35969 | 5.5699
56 | 0.0097121 | 0.002435 | -0.0097084 | -0.0024332 | 3.6969e-06 | 1.792e-06 | 0.014727 | 0.014727 | 0.014727 | 0.98133 | -0.35969 | 0.98092 | -0.36768 | 4.046
57 | 0.0097084 | 0.0024332 | -0.0097078 | -0.0024329 | 6.489e-07 | 3.1459e-07 | 0.014727 | 0.014727 | 0.014727 | 0.98092 | -0.36768 | 0.98085 | -0.36908 | 4.046
58 | 0.0025237 | 0.00063219 | -0.0025235 | -0.00063245 | 1.6024e-07 | -2.679e-07 | 0.0038219 | 0.0038221 | 0.0038221 | 0.98253 | -0.33616 | 0.98246 | -0.33749 | 1.05
59 | -0.0058464 | -0.0014652 | 0.0058466 | 0.0014653 | 2.2167e-07 | 4.3199e-08 | 0.0087822 | 0.0087822 | 0.0087822 | 0.99059 | -0.18109 | 0.99063 | -0.1803 | 2.4127
60 | -0.0079063 | -0.0019815 | 0.0079077 | 0.001982 | 1.3829e-06 | 5.4835e-07 | 0.011876 | 0.011876 | 0.011876 | 0.99063 | -0.1803 | 0.99082 | -0.17663 | 3.2626
61 | 0.0079443 | 0.0019849 | -0.0079434 | -0.0019845 | 9.5814e-07 | 3.8335e-07 | 0.011946 | 0.011947 | 0.011947 | 0.98934 | -0.2053 | 0.98921 | -0.20783 | 3.282
62 | 0.013968 | 0.0035032 | -0.013961 | -0.0034997 | 6.3102e-06 | 3.56e-06 | 0.021127 | 0.021127 | 0.021127 | 0.98383 | -0.31105 | 0.98335 | -0.32053 | 5.8041
63 | 0.0023097 | 0.00057846 | -0.0023096 | -0.00057883 | 1.7256e-07 | -3.6836e-07 | 0.0034933 | 0.0034934 | 0.0034934 | 0.98383 | -0.31105 | 0.98375 | -0.31262 | 0.95973
64 | 0.010609 | 0.0026596 | -0.010606 | -0.0026581 | 3.0241e-06 | 1.5386e-06 | 0.016055 | 0.016055 | 0.016055 | 0.98335 | -0.32053 | 0.98304 | -0.32652 | 4.4106
65 | 0.0058783 | 0.0014732 | -0.0058782 | -0.0014732 | 1.2731e-07 | 2.6405e-08 | 0.0088691 | 0.0088691 | 0.0088691 | 0.98624 | -0.26425 | 0.98621 | -0.2647 | 2.4366
66 | 0.0060175 | 0.001508 | -0.0060171 | -0.0015079 | 4.4996e-07 | 1.0627e-07 | 0.009129 | 0.0091291 | 0.0091291 | 0.98085 | -0.36908 | 0.98077 | -0.37065 | 2.508
67 | 0.0038533 | 0.00096562 | -0.0038531 | -0.00096568 | 1.6849e-07 | -5.8055e-08 | 0.0058462 | 0.0058462 | 0.0058462 | 0.98077 | -0.37065 | 0.98072 | -0.37157 | 1.6061
68 | 0.01179 | 0.0029553 | -0.011786 | -0.0029535 | 3.4624e-06 | 1.8326e-06 | 0.017658 | 0.017658 | 0.017658 | 0.99353 | -0.12419 | 0.99321 | -0.13035 | 4.8511
69 | -0.060459 | -0.015196 | 0.060559 | 0.015259 | 9.9541e-05 | 6.3287e-05 | 0.090565 | 0.090565 | 0.090565 | 0.99353 | -0.12419 | 0.99531 | -0.089765 | 24.8806
70 | 0.051209 | 0.012956 | -0.05115 | -0.012919 | 5.8217e-05 | 3.6922e-05 | 0.076976 | 0.076976 | 0.076976 | 0.99046 | -0.18223 | 0.98923 | -0.20595 | 21.1474
71 | -0.062966 | -0.015863 | 0.062986 | 0.015876 | 2.0327e-05 | 1.293e-05 | 0.094164 | 0.094164 | 0.094164 | 0.99531 | -0.089765 | 0.99566 | -0.083018 | 25.8693
72 | 0.0018597 | 0.00046597 | -0.0018596 | -0.00046607 | 2.4546e-08 | -9.3421e-08 | 0.0027861 | 0.0027861 | 0.0027861 | 0.99321 | -0.13035 | 0.99319 | -0.13063 | 0.76542
73 | 0.004722 | 0.0011833 | -0.0047214 | -0.0011833 | 5.9275e-07 | -1.2838e-08 | 0.0071476 | 0.0071478 | 0.0071478 | 0.98304 | -0.32652 | 0.98291 | -0.32915 | 1.9637

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.2139 | 0.054068

## res_load
| p_mw | q_mvar
0 | 0.0045882 | 0.0011499
1 | 0.0060018 | 0.0015042
2 | 0.0045262 | 0.0011344
3 | 0.0044864 | 0.0011244
4 | 0.0029411 | 0.00073711
5 | 0.0013299 | 0.0003333
6 | 0.00084304 | 0.00021129
7 | 0.0018051 | 0.0004524
8 | 0.0022955 | 0.00057532
9 | 0.0053773 | 0.0013477
10 | 0.022963 | 0.0057551
11 | 0.0034011 | 0.0008524
12 | 0.0027152 | 0.00068049
13 | 0.0032107 | 0.00080468
14 | 0.0012362 | 0.00030983
15 | 0.0026336 | 0.00066004
16 | 0.0017604 | 0.0004412
17 | 0.0015805 | 0.00039612
18 | 0.0013529 | 0.00033907
19 | 0.0022887 | 0.00057359
20 | 0.0029357 | 0.00073576
21 | 0.0018025 | 0.00045175
22 | 0.0032822 | 0.00082259
23 | 0.0042921 | 0.0010757
24 | 0.0016828 | 0.00042174
25 | 0.0033223 | 0.00083266
26 | 0.0041479 | 0.0010396
27 | 0.0042935 | 0.001076
28 | 0.0018569 | 0.00046537
29 | 0.0021457 | 0.00053776
30 | 0.0014853 | 0.00037226
31 | 0.0053313 | 0.0013361
32 | 0.0036583 | 0.00091686
33 | 0.0048399 | 0.001213
34 | 0.0025235 | 0.00063245
35 | 0.0058464 | 0.0014652
36 | 0.0020596 | 0.0005162
37 | 0.0075809 | 0.0018999
38 | 0.0010177 | 0.00025505
39 | 0.0019537 | 0.00048963
40 | 0.0033519 | 0.00084008
41 | 0.0023096 | 0.00057883
42 | 0.0034806 | 0.00087233
43 | 0.0036902 | 0.00092486
44 | 0.0021638 | 0.0005423
45 | 0.0038531 | 0.00096568
46 | 0.0021714 | 0.0005442
47 | 0.0061512 | 0.0015416
48 | 0.0032373 | 0.00081135
49 | 0.0025282 | 0.00063362
50 | 0.00681 | 0.0017067
51 | 0.0058782 | 0.0014732
52 | 0.0024074 | 0.00060335
53 | 0.0037797 | 0.00094728
54 | 0.0022431 | 0.00056218
55 | 0.0018596 | 0.00046607
56 | 0.0058844 | 0.0014748
57 | 0.0047214 | 0.0011833

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1