## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_226-1_3_1_node_89 | 0.4 | n |  | TRUE
1 | bus_LV_226-1_3_1_node_274 | 0.4 | n |  | TRUE
2 | bus_LV_226-1_3_1_node_266 | 0.4 | n |  | TRUE
3 | bus_LV_226-1_3_1_node_209 | 0.4 | n |  | TRUE
4 | bus_LV_226-1_3_1_node_210 | 0.4 | n |  | TRUE
5 | bus_LV_226-1_3_1_node_211 | 0.4 | n |  | TRUE
6 | bus_LV_226-1_3_1_node_213 | 0.4 | n |  | TRUE
7 | bus_LV_226-1_3_1_node_212 | 0.4 | n |  | TRUE
8 | bus_LV_226-1_3_1_node_284 | 0.4 | n |  | TRUE
9 | bus_LV_226-1_3_1_node_283 | 0.4 | n |  | TRUE
10 | bus_LV_226-1_3_1_node_227 | 0.4 | n |  | TRUE
11 | bus_LV_226-1_3_1_node_214 | 0.4 | n |  | TRUE
12 | bus_LV_226-1_3_1_node_216 | 0.4 | n |  | TRUE
13 | bus_LV_226-1_3_1_node_215 | 0.4 | n |  | TRUE
14 | bus_LV_226-1_3_1_node_218 | 0.4 | n |  | TRUE
15 | bus_LV_226-1_3_1_node_219 | 0.4 | n |  | TRUE
16 | bus_LV_226-1_3_1_node_261 | 0.4 | n |  | TRUE
17 | bus_LV_226-1_3_1_node_255 | 0.4 | n |  | TRUE
18 | bus_LV_226-1_3_1_node_220 | 0.4 | n |  | TRUE
19 | bus_LV_226-1_3_1_node_221 | 0.4 | n |  | TRUE
20 | bus_LV_226-1_3_1_node_223 | 0.4 | n |  | TRUE
21 | bus_LV_226-1_3_1_node_222 | 0.4 | n |  | TRUE
22 | bus_LV_226-1_3_1_node_224 | 0.4 | n |  | TRUE
23 | bus_LV_226-1_3_1_node_225 | 0.4 | n |  | TRUE
24 | bus_LV_226-1_3_1_node_237 | 0.4 | n |  | TRUE
25 | bus_LV_226-1_3_1_node_240 | 0.4 | n |  | TRUE
26 | bus_LV_226-1_3_1_node_228 | 0.4 | n |  | TRUE
27 | bus_LV_226-1_3_1_node_226 | 0.4 | n |  | TRUE
28 | bus_LV_226-1_3_1_node_280 | 0.4 | n |  | TRUE
29 | bus_LV_226-1_3_1_node_229 | 0.4 | n |  | TRUE
30 | bus_LV_226-1_3_1_node_230 | 0.4 | n |  | TRUE
31 | bus_LV_226-1_3_1_node_232 | 0.4 | n |  | TRUE
32 | bus_LV_226-1_3_1_node_254 | 0.4 | n |  | TRUE
33 | bus_LV_226-1_3_1_node_233 | 0.4 | n |  | TRUE
34 | bus_LV_226-1_3_1_node_268 | 0.4 | n |  | TRUE
35 | bus_LV_226-1_3_1_node_234 | 0.4 | n |  | TRUE
36 | bus_LV_226-1_3_1_node_235 | 0.4 | n |  | TRUE
37 | bus_LV_226-1_3_1_node_236 | 0.4 | n |  | TRUE
38 | bus_LV_226-1_3_1_node_251 | 0.4 | n |  | TRUE
39 | bus_LV_226-1_3_1_node_258 | 0.4 | n |  | TRUE
40 | bus_LV_226-1_3_1_node_248 | 0.4 | n |  | TRUE
41 | bus_LV_226-1_3_1_node_238 | 0.4 | n |  | TRUE
42 | bus_LV_226-1_3_1_node_239 | 0.4 | n |  | TRUE
43 | bus_LV_226-1_3_1_node_241 | 0.4 | n |  | TRUE
44 | bus_LV_226-1_3_1_node_242 | 0.4 | n |  | TRUE
45 | bus_LV_226-1_3_1_node_243 | 0.4 | n |  | TRUE
46 | bus_LV_226-1_3_1_node_244 | 0.4 | n |  | TRUE
47 | bus_LV_226-1_3_1_node_245 | 0.4 | n |  | TRUE
48 | bus_LV_226-1_3_1_node_246 | 0.4 | n |  | TRUE
49 | bus_LV_226-1_3_1_node_247 | 0.4 | n |  | TRUE
50 | bus_LV_226-1_3_1_node_250 | 0.4 | n |  | TRUE
51 | bus_LV_226-1_3_1_node_285 | 0.4 | n |  | TRUE
52 | bus_LV_226-1_3_1_node_249 | 0.4 | n |  | TRUE
53 | bus_LV_226-1_3_1_node_252 | 0.4 | n |  | TRUE
54 | bus_LV_226-1_3_1_node_253 | 0.4 | n |  | TRUE
55 | bus_LV_226-1_3_1_node_260 | 0.4 | n |  | TRUE
56 | bus_LV_226-1_3_1_node_256 | 0.4 | n |  | TRUE
57 | bus_LV_226-1_3_1_node_257 | 0.4 | n |  | TRUE
58 | bus_LV_226-1_3_1_node_259 | 0.4 | n |  | TRUE
59 | bus_LV_226-1_3_1_node_262 | 0.4 | n |  | TRUE
60 | bus_LV_226-1_3_1_node_263 | 0.4 | n |  | TRUE
61 | bus_LV_226-1_3_1_node_264 | 0.4 | n |  | TRUE
62 | bus_LV_226-1_3_1_node_265 | 0.4 | n |  | TRUE
63 | bus_LV_226-1_3_1_node_267 | 0.4 | n |  | TRUE
64 | bus_LV_226-1_3_1_node_278 | 0.4 | n |  | TRUE
65 | bus_LV_226-1_3_1_node_269 | 0.4 | n |  | TRUE
66 | bus_LV_226-1_3_1_node_270 | 0.4 | n |  | TRUE
67 | bus_LV_226-1_3_1_node_276 | 0.4 | n |  | TRUE
68 | bus_LV_226-1_3_1_node_277 | 0.4 | n |  | TRUE
69 | bus_LV_226-1_3_1_node_282 | 0.4 | n |  | TRUE
70 | bus_LV_226-1_3_1_node_275 | 0.4 | n |  | TRUE
71 | bus_LV_226-1_3_1_node_416 | 0.4 | n |  | TRUE
72 | bus_LV_226-1_3_1_node_286 | 0.4 | n |  | TRUE
73 | bus_LV_226-1_3_1_node_279 | 0.4 | n |  | TRUE
74 | bus_LV_226-1_3_1_node_281 | 0.4 | n |  | TRUE
75 | bus_MV_26_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_226-1_3_1_load_266 | 2 | 0.00082279 | 0.00020621 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_226-1_3_1_load_209 | 3 | 0.00039203 | 9.8252e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_226-1_3_1_load_210 | 4 | 0.00066241 | 0.00016602 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_226-1_3_1_load_284 | 8 | 0.0011688 | 0.00029293 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_226-1_3_1_load_283 | 9 | 0.0013504 | 0.00033843 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_226-1_3_1_load_214 | 11 | 0.0011945 | 0.00029937 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_226-1_3_1_load_219 | 15 | 0.0004969 | 0.00012453 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_226-1_3_1_load_261 | 16 | 0.0030304 | 0.0007595 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_226-1_3_1_load_220 | 18 | 0.0011605 | 0.00029086 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_226-1_3_1_load_221 | 19 | 0.0014291 | 0.00035818 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_226-1_3_1_load_225 | 23 | 0.0008493 | 0.00021285 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_226-1_3_1_load_237 | 24 | 0.00166 | 0.00041604 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_226-1_3_1_load_240 | 25 | 0.0010795 | 0.00027054 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_226-1_3_1_load_226 | 27 | 0.0025391 | 0.00063636 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_226-1_3_1_load_280 | 28 | 0.0009091 | 0.00022784 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_226-1_3_1_load_229 | 29 | 0.0021589 | 0.00054108 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_226-1_3_1_load_230 | 30 | 0.00050303 | 0.00012607 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_226-1_3_1_load_232 | 31 | 0.0016914 | 0.00042391 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_226-1_3_1_load_254 | 32 | 0.00092642 | 0.00023218 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_226-1_3_1_load_233 | 33 | 0.00092242 | 0.00023118 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_226-1_3_1_load_268 | 34 | 0.0025585 | 0.00064123 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_226-1_3_1_load_234 | 35 | 0.0018764 | 0.00047027 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_226-1_3_1_load_235 | 36 | 0.0011207 | 0.00028087 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_226-1_3_1_load_258 | 39 | 0.0021451 | 0.00053761 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_226-1_3_1_load_248 | 40 | 0.0015812 | 0.00039629 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_226-1_3_1_load_238 | 41 | 0.00068485 | 0.00017164 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_226-1_3_1_load_239 | 42 | 0.00073547 | 0.00018433 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_226-1_3_1_load_241 | 43 | 0.0028917 | 0.00072473 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_226-1_3_1_load_242 | 44 | 0.0032741 | 0.00082056 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_226-1_3_1_load_243 | 45 | 0.0021219 | 0.00053179 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_226-1_3_1_load_245 | 47 | 0.0016638 | 0.00041698 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_226-1_3_1_load_247 | 49 | 0.00058872 | 0.00014755 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_226-1_3_1_load_285 | 51 | 0.0025243 | 0.00063266 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_226-1_3_1_load_249 | 52 | 0.0014362 | 0.00035994 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_226-1_3_1_load_252 | 53 | 0.0017838 | 0.00044707 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_226-1_3_1_load_260 | 55 | 0.00081252 | 0.00020364 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_226-1_3_1_load_256 | 56 | 0.0022549 | 0.00056513 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_226-1_3_1_load_257 | 57 | 0.00040516 | 0.00010154 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_226-1_3_1_load_259 | 58 | 0.00091004 | 0.00022808 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_226-1_3_1_load_262 | 59 | 0.00066133 | 0.00016575 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_226-1_3_1_load_263 | 60 | 0.0014818 | 0.00037136 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_226-1_3_1_load_265 | 62 | 0.0090811 | 0.0022759 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_226-1_3_1_load_267 | 63 | 0.0005275 | 0.0001322 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_226-1_3_1_load_269 | 65 | 0.00019997 | 5.0117e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_226-1_3_1_load_276 | 67 | 0.0016909 | 0.00042379 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_226-1_3_1_load_282 | 69 | 0.00083537 | 0.00020936 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_226-1_3_1_load_416 | 71 | 0.0044351 | 0.0011115 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_226-1_3_1_load_286 | 72 | 0.0021009 | 0.00052653 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_226-1_3_1_load_279 | 73 | 0.00085733 | 0.00021487 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_226-1_3_1_load_281 | 74 | 0.00069442 | 0.00017404 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_226-1_3_1_line_0 |  | 0 | 1 | 0.091499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_226-1_3_1_line_1 |  | 0 | 2 | 0.061478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_226-1_3_1_line_2 |  | 1 | 69 | 0.037989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_226-1_3_1_line_3 |  | 2 | 61 | 0.009553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_226-1_3_1_line_4 |  | 3 | 4 | 0.0005018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_226-1_3_1_line_5 |  | 4 | 5 | 0.031978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_226-1_3_1_line_6 |  | 5 | 6 | 0.031255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_226-1_3_1_line_7 |  | 6 | 10 | 0.019825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_226-1_3_1_line_8 |  | 6 | 7 | 0.028156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_226-1_3_1_line_9 |  | 7 | 8 | 0.032754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_226-1_3_1_line_10 |  | 7 | 9 | 0.018323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_226-1_3_1_line_11 |  | 9 | 70 | 0.014972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_226-1_3_1_line_12 |  | 10 | 26 | 0.031683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_226-1_3_1_line_13 |  | 10 | 27 | 0.02574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_226-1_3_1_line_14 |  | 11 | 12 | 0.011192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_226-1_3_1_line_15 |  | 12 | 15 | 0.00011035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_226-1_3_1_line_16 |  | 12 | 13 | 0.027908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_226-1_3_1_line_17 |  | 13 | 14 | 0.087446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_226-1_3_1_line_18 |  | 14 | 16 | 0.038755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_226-1_3_1_line_19 |  | 15 | 17 | 0.026147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_226-1_3_1_line_20 |  | 17 | 56 | 0.024797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_226-1_3_1_line_21 |  | 17 | 57 | 0.014705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_226-1_3_1_line_22 |  | 18 | 19 | 0.010666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_226-1_3_1_line_23 |  | 19 | 20 | 0.0088427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_226-1_3_1_line_24 |  | 20 | 24 | 0.0077378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_226-1_3_1_line_25 |  | 21 | 22 | 0.017341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_226-1_3_1_line_26 |  | 21 | 23 | 0.019786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_226-1_3_1_line_27 |  | 22 | 25 | 0.022105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_226-1_3_1_line_28 |  | 23 | 26 | 0.034287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_226-1_3_1_line_29 |  | 24 | 40 | 0.013797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_226-1_3_1_line_30 |  | 25 | 41 | 0.005609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_226-1_3_1_line_31 |  | 26 | 28 | 0.021679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_226-1_3_1_line_32 |  | 28 | 73 | 0.015488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_226-1_3_1_line_33 |  | 29 | 30 | 0.022969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_226-1_3_1_line_34 |  | 30 | 31 | 0.014467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_226-1_3_1_line_35 |  | 31 | 32 | 0.012606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_226-1_3_1_line_36 |  | 32 | 53 | 0.0025807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_226-1_3_1_line_37 |  | 33 | 34 | 0.013209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_226-1_3_1_line_38 |  | 34 | 49 | 0.0012506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_226-1_3_1_line_39 |  | 35 | 36 | 0.0069061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_226-1_3_1_line_40 |  | 36 | 37 | 0.022234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_226-1_3_1_line_41 |  | 37 | 38 | 0.035252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_226-1_3_1_line_42 |  | 37 | 39 | 0.010872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_226-1_3_1_line_43 |  | 38 | 53 | 0.023261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_226-1_3_1_line_44 |  | 38 | 54 | 0.019234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_226-1_3_1_line_45 |  | 38 | 43 | 0.019455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_226-1_3_1_line_46 |  | 39 | 50 | 0.019188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_226-1_3_1_line_47 |  | 40 | 52 | 0.018025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_226-1_3_1_line_48 |  | 41 | 42 | 0.011746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_226-1_3_1_line_49 |  | 42 | 43 | 0.0020317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_226-1_3_1_line_50 |  | 44 | 45 | 0.010485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_226-1_3_1_line_51 |  | 44 | 46 | 0.015587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_226-1_3_1_line_52 |  | 45 | 47 | 0.017419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_226-1_3_1_line_53 |  | 46 | 48 | 0.014219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_226-1_3_1_line_54 |  | 46 | 49 | 0.014421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_226-1_3_1_line_55 |  | 48 | 50 | 0.014353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_226-1_3_1_line_56 |  | 48 | 51 | 0.008836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_226-1_3_1_line_57 |  | 50 | 52 | 0.032062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_226-1_3_1_line_58 |  | 51 | 64 | 0.054927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_226-1_3_1_line_59 |  | 54 | 55 | 0.0071431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_226-1_3_1_line_60 |  | 55 | 58 | 0.020598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_226-1_3_1_line_61 |  | 57 | 58 | 0.023297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_226-1_3_1_line_62 |  | 59 | 60 | 0.02422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_226-1_3_1_line_63 |  | 59 | 61 | 0.02244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_226-1_3_1_line_64 |  | 60 | 62 | 0.0038759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_226-1_3_1_line_65 |  | 61 | 63 | 0.048705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_226-1_3_1_line_66 |  | 62 | 64 | 0.029431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_226-1_3_1_line_67 |  | 64 | 72 | 0.037256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_226-1_3_1_line_68 |  | 65 | 66 | 0.013431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_226-1_3_1_line_69 |  | 66 | 67 | 0.013713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_226-1_3_1_line_70 |  | 66 | 68 | 0.056927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_226-1_3_1_line_71 |  | 67 | 70 | 0.029751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_226-1_3_1_line_72 |  | 68 | 71 | 0.014983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_226-1_3_1_line_73 |  | 73 | 74 | 0.0043696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_226-1_3_1_trafo_234 | 0.63 MVA 20/0.4 kV | 75 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2705965.122 | 1257945.0824 | 2705981.4198 | 1257967.3036 | 2706009.9183 | 1258001.7647 | 2706014.9728 | 1258011.3298 | 2706015.7865 | 1258019.7847
1 | 2705965.122 | 1257945.0824 | 2706013.2582 | 1257906.8396
2 | 2706015.7865 | 1258019.7847 | 2706020.1063 | 1258022.3753 | 2706022.7283 | 1258022.9227 | 2706028.0199 | 1258024.7301 | 2706034.3878 | 1258032.9621 | 2706041.9566 | 1258043.6065 | 2706042.8585 | 1258044.4186
3 | 2706020.7379 | 1257900.8972 | 2706013.2582 | 1257906.8396
4 | 2706092.9363 | 1258121.0421 | 2706092.4609 | 1258120.8814
5 | 2706115.5838 | 1258107.6679 | 2706111.373 | 1258111.1953 | 2706105.8089 | 1258122.9053 | 2706101.7919 | 1258124.0342 | 2706092.9363 | 1258121.0421
6 | 2706115.5838 | 1258107.6679 | 2706132.1649 | 1258115.7274 | 2706133.0529 | 1258113.7306 | 2706137.6664 | 1258104.1498
7 | 2706137.6664 | 1258104.1498 | 2706144.412 | 1258090.4816 | 2706146.3119 | 1258086.3011
8 | 2706137.6664 | 1258104.1498 | 2706133.0529 | 1258113.7306 | 2706132.1649 | 1258115.7274 | 2706127.5434 | 1258126.1754 | 2706125.926 | 1258129.7383
9 | 2706125.926 | 1258129.7383 | 2706147.1404 | 1258135.1009 | 2706155.921 | 1258141.6526
10 | 2706125.926 | 1258129.7383 | 2706118.3565 | 1258146.4247
11 | 2706110.0736 | 1258158.8226 | 2706116.889 | 1258149.6594 | 2706118.3565 | 1258146.4247
12 | 2706159.4008 | 1258057.4342 | 2706146.3119 | 1258086.3011
13 | 2706146.3119 | 1258086.3011 | 2706123.8857 | 1258073.6665
14 | 2706277.8602 | 1257998.789 | 2706288.1716 | 1257994.4372
15 | 2706277.8602 | 1257998.789 | 2706277.7771 | 1257998.7164
16 | 2706277.8602 | 1257998.789 | 2706299.178 | 1258016.8756
17 | 2706276.7716 | 1258060.2092 | 2706276.6408 | 1258051.5441 | 2706278.9938 | 1258045.2367 | 2706286.0538 | 1258043.0505 | 2706307.4755 | 1258047.3721 | 2706318.1809 | 1258033.2638 | 2706312.9916 | 1258028.7113 | 2706299.178 | 1258016.8756
18 | 2706276.7716 | 1258060.2092 | 2706265.6628 | 1258054.8053 | 2706245.6204 | 1258037.6198
19 | 2706259.5705 | 1257980.0451 | 2706268.9655 | 1257991.0229 | 2706277.7771 | 1257998.7164
20 | 2706259.5705 | 1257980.0451 | 2706237.016 | 1257990.4934
21 | 2706259.5705 | 1257980.0451 | 2706250.0424 | 1257968.9204 | 2706249.9931 | 1257968.8913
22 | 2706139.3698 | 1257983.1122 | 2706133.2383 | 1257974.3851
23 | 2706129.9012 | 1257966.1963 | 2706133.2383 | 1257974.3851 | 2706133.2383 | 1257974.3851
24 | 2706129.9012 | 1257966.1963 | 2706128.795 | 1257958.5379
25 | 2706188.6083 | 1257992.2596 | 2706184.9359 | 1258000.2337 | 2706181.3574 | 1258008.0204
26 | 2706181.3574 | 1258008.0204 | 2706173.4279 | 1258026.148
27 | 2706188.6083 | 1257992.2596 | 2706170.3857 | 1257979.7464
28 | 2706159.4008 | 1258057.4342 | 2706162.0312 | 1258051.6321 | 2706169.0742 | 1258036.1011 | 2706173.4279 | 1258026.148
29 | 2706128.774 | 1257944.7781 | 2706128.5472 | 1257946.2555 | 2706128.5194 | 1257956.6303 | 2706128.795 | 1257958.5379
30 | 2706167.6822 | 1257975.0144 | 2706167.6822 | 1257975.0144 | 2706169.352 | 1257979.0366 | 2706170.3857 | 1257979.7464
31 | 2706159.4008 | 1258057.4342 | 2706154.5882 | 1258053.7337 | 2706154.5724 | 1258048.7292 | 2706159.4952 | 1258039.3371
32 | 2706157.7078 | 1258026.5689 | 2706161.5568 | 1258029.3273 | 2706162.4145 | 1258031.956 | 2706161.4438 | 1258035.6194 | 2706159.4952 | 1258039.3371
33 | 2706235.6169 | 1257896.7222 | 2706223.027 | 1257899.3891 | 2706214.2396 | 1257904.3669
34 | 2706203.0091 | 1257913.4063 | 2706211.5914 | 1257905.867 | 2706214.2396 | 1257904.3669
35 | 2706197.2261 | 1257924.4876 | 2706201.9525 | 1257914.3345 | 2706203.0091 | 1257913.4063
36 | 2706196.1369 | 1257926.8272 | 2706197.2261 | 1257924.4876
37 | 2706148.0434 | 1257846.7617 | 2706146.7813 | 1257859.9104
38 | 2706146.6618 | 1257861.1552 | 2706146.7813 | 1257859.9104
39 | 2706150.334 | 1257945.883 | 2706152.2506 | 1257939.2482
40 | 2706163.7608 | 1257920.8214 | 2706157.5081 | 1257926.7587 | 2706153.7418 | 1257934.0861 | 2706152.2506 | 1257939.2482
41 | 2706163.7608 | 1257920.8214 | 2706179.5453 | 1257940.9323 | 2706186.3201 | 1257947.9152
42 | 2706163.7608 | 1257920.8214 | 2706156.8025 | 1257912.4678
43 | 2706186.3201 | 1257947.9152 | 2706196.1369 | 1257926.8272
44 | 2706201.2673 | 1257960.06 | 2706193.6121 | 1257954.229 | 2706186.3201 | 1257947.9152
45 | 2706186.3201 | 1257947.9152 | 2706174.3522 | 1257963.2536
46 | 2706144.523 | 1257897.724 | 2706147.2765 | 1257901.0317 | 2706156.8025 | 1257912.4678
47 | 2706128.774 | 1257944.7781 | 2706131.0919 | 1257929.6763 | 2706131.9324 | 1257927.0614
48 | 2706167.6822 | 1257975.0144 | 2706168.9839 | 1257970.1337 | 2706173.1024 | 1257964.8554
49 | 2706174.3522 | 1257963.2536 | 2706173.1024 | 1257964.8554
50 | 2706158.6898 | 1257873.8326 | 2706169.1635 | 1257874.3186
51 | 2706143.3821 | 1257875.1515 | 2706149.0396 | 1257873.3848 | 2706158.6898 | 1257873.8326
52 | 2706186.5636 | 1257875.1259 | 2706169.1635 | 1257874.3186
53 | 2706143.3821 | 1257875.1515 | 2706135.1946 | 1257886.7921
54 | 2706143.3821 | 1257875.1515 | 2706146.3039 | 1257864.8843 | 2706146.6618 | 1257861.1552
55 | 2706144.523 | 1257897.724 | 2706135.1946 | 1257886.7921
56 | 2706135.1946 | 1257886.7921 | 2706128.052 | 1257881.5904
57 | 2706144.523 | 1257897.724 | 2706136.7388 | 1257912.1074 | 2706131.9324 | 1257927.0614
58 | 2706081.8864 | 1257851.8632 | 2706100.4773 | 1257863.5394 | 2706108.9413 | 1257868.8511 | 2706120.6194 | 1257876.1776 | 2706128.052 | 1257881.5904
59 | 2706201.2673 | 1257960.06 | 2706208.3821 | 1257959.4254
60 | 2706208.3821 | 1257959.4254 | 2706208.8431 | 1257959.3843 | 2706223.3573 | 1257959.5226 | 2706228.951 | 1257960.0658
61 | 2706249.9931 | 1257968.8913 | 2706236.2828 | 1257960.7778 | 2706228.951 | 1257960.0658
62 | 2706041.4253 | 1257892.5573 | 2706044.4718 | 1257890.7028 | 2706058.3198 | 1257875.3801
63 | 2706020.7379 | 1257900.8972 | 2706035.475 | 1257896.1795 | 2706041.4253 | 1257892.5573
64 | 2706058.3198 | 1257875.3801 | 2706060.9187 | 1257872.5045
65 | 2706020.7379 | 1257900.8972 | 2706017.7456 | 1257895.7616 | 2706009.7148 | 1257885.6316 | 2706006.1216 | 1257878.2612 | 2706007.1242 | 1257868.1819 | 2706011.7343 | 1257857.64
66 | 2706081.8864 | 1257851.8632 | 2706063.6679 | 1257869.4624 | 2706060.9187 | 1257872.5045
67 | 2706081.8864 | 1257851.8632 | 2706067.804 | 1257841.5134 | 2706059.5083 | 1257832.7019 | 2706056.412 | 1257825.6769
68 | 2706105.1718 | 1258201.2922 | 2706104.3627 | 1258204.7805 | 2706100.4808 | 1258213.8336
69 | 2706105.1718 | 1258201.2922 | 2706108.2681 | 1258187.9329
70 | 2706150.2057 | 1258189.512 | 2706151.2583 | 1258193.8901 | 2706150.7102 | 1258199.218 | 2706147.9397 | 1258202.3265 | 2706143.3156 | 1258203.678 | 2706105.1718 | 1258201.2922
71 | 2706110.0736 | 1258158.8226 | 2706112.2173 | 1258170.8933 | 2706108.2681 | 1258187.9329
72 | 2706135.3106 | 1258187.5211 | 2706150.2057 | 1258189.512
73 | 2706154.1562 | 1258024.0235 | 2706157.7078 | 1258026.5689

## bus_geodata
| x | y | coords
0 | 2705965.122 | 1257945.0824
1 | 2706015.7865 | 1258019.7847
2 | 2706013.2582 | 1257906.8396
3 | 2706092.4609 | 1258120.8814
4 | 2706092.9363 | 1258121.0421
5 | 2706115.5838 | 1258107.6679
6 | 2706137.6664 | 1258104.1498
7 | 2706125.926 | 1258129.7383
8 | 2706155.921 | 1258141.6526
9 | 2706118.3565 | 1258146.4247
10 | 2706146.3119 | 1258086.3011
11 | 2706288.1716 | 1257994.4372
12 | 2706277.8602 | 1257998.789
13 | 2706299.178 | 1258016.8756
14 | 2706276.7716 | 1258060.2092
15 | 2706277.7771 | 1257998.7164
16 | 2706245.6204 | 1258037.6198
17 | 2706259.5705 | 1257980.0451
18 | 2706139.3698 | 1257983.1122
19 | 2706133.2383 | 1257974.3851
20 | 2706129.9012 | 1257966.1963
21 | 2706181.3574 | 1258008.0204
22 | 2706188.6083 | 1257992.2596
23 | 2706173.4279 | 1258026.148
24 | 2706128.795 | 1257958.5379
25 | 2706170.3857 | 1257979.7464
26 | 2706159.4008 | 1258057.4342
27 | 2706123.8857 | 1258073.6665
28 | 2706159.4952 | 1258039.3371
29 | 2706235.6169 | 1257896.7222
30 | 2706214.2396 | 1257904.3669
31 | 2706203.0091 | 1257913.4063
32 | 2706197.2261 | 1257924.4876
33 | 2706148.0434 | 1257846.7617
34 | 2706146.7813 | 1257859.9104
35 | 2706150.334 | 1257945.883
36 | 2706152.2506 | 1257939.2482
37 | 2706163.7608 | 1257920.8214
38 | 2706186.3201 | 1257947.9152
39 | 2706156.8025 | 1257912.4678
40 | 2706128.774 | 1257944.7781
41 | 2706167.6822 | 1257975.0144
42 | 2706173.1024 | 1257964.8554
43 | 2706174.3522 | 1257963.2536
44 | 2706158.6898 | 1257873.8326
45 | 2706169.1635 | 1257874.3186
46 | 2706143.3821 | 1257875.1515
47 | 2706186.5636 | 1257875.1259
48 | 2706135.1946 | 1257886.7921
49 | 2706146.6618 | 1257861.1552
50 | 2706144.523 | 1257897.724
51 | 2706128.052 | 1257881.5904
52 | 2706131.9324 | 1257927.0614
53 | 2706196.1369 | 1257926.8272
54 | 2706201.2673 | 1257960.06
55 | 2706208.3821 | 1257959.4254
56 | 2706237.016 | 1257990.4934
57 | 2706249.9931 | 1257968.8912
58 | 2706228.951 | 1257960.0658
59 | 2706041.4253 | 1257892.5573
60 | 2706058.3198 | 1257875.3801
61 | 2706020.7379 | 1257900.8972
62 | 2706060.9187 | 1257872.5045
63 | 2706011.7343 | 1257857.64
64 | 2706081.8864 | 1257851.8632
65 | 2706100.4808 | 1258213.8336
66 | 2706105.1718 | 1258201.2922
67 | 2706108.2681 | 1258187.9329
68 | 2706150.2057 | 1258189.512
69 | 2706042.8585 | 1258044.4186
70 | 2706110.0736 | 1258158.8226
71 | 2706135.3106 | 1258187.5211
72 | 2706056.412 | 1257825.6769
73 | 2706157.7078 | 1258026.5689
74 | 2706154.1562 | 1258024.0235
75 | 2706163.7608 | 1257920.8214

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99512 | -0.09403 | 0 | 0
1 | 0.99505 | -0.09538 | 0 | 0
2 | 0.99516 | -0.09312 | 0.00082279 | 0.00020621
3 | 0.99418 | -0.11201 | 0.00039203 | 9.8252e-05
4 | 0.99418 | -0.11201 | 0.00066241 | 0.00016602
5 | 0.99421 | -0.11141 | 0 | 0
6 | 0.99424 | -0.11083 | 0 | 0
7 | 0.99402 | -0.11522 | 0 | 0
8 | 0.99398 | -0.1159 | 0.0011688 | 0.00029293
9 | 0.99389 | -0.11771 | 0.0013504 | 0.00033843
10 | 0.99442 | -0.10736 | 0 | 0
11 | 0.99603 | -0.076306 | 0.0011945 | 0.00029937
12 | 0.99604 | -0.076071 | 0 | 0
13 | 0.99597 | -0.077559 | 0 | 0
14 | 0.99573 | -0.082221 | 0 | 0
15 | 0.99604 | -0.076063 | 0.0004969 | 0.00012453
16 | 0.99562 | -0.084286 | 0.0030304 | 0.0007595
17 | 0.99616 | -0.073891 | 0 | 0
18 | 0.99655 | -0.066319 | 0.0011605 | 0.00029086
19 | 0.99656 | -0.066102 | 0.0014291 | 0.00035818
20 | 0.99658 | -0.0657 | 0 | 0
21 | 0.99553 | -0.085926 | 0 | 0
22 | 0.99578 | -0.08112 | 0 | 0
23 | 0.99525 | -0.091413 | 0.0008493 | 0.00021285
24 | 0.9966 | -0.065349 | 0.00166 | 0.00041604
25 | 0.9961 | -0.074996 | 0.0010795 | 0.00027054
26 | 0.99478 | -0.10041 | 0 | 0
27 | 0.99436 | -0.10852 | 0.0025391 | 0.00063636
28 | 0.99473 | -0.10135 | 0.0009091 | 0.00022784
29 | 0.99649 | -0.067478 | 0.0021589 | 0.00054108
30 | 0.99653 | -0.066608 | 0.00050303 | 0.00012607
31 | 0.99657 | -0.065932 | 0.0016914 | 0.00042391
32 | 0.99662 | -0.064968 | 0.00092642 | 0.00023218
33 | 0.99637 | -0.069833 | 0.00092242 | 0.00023118
34 | 0.99638 | -0.069619 | 0.0025585 | 0.00064123
35 | 1 | 0 | -0.078957 | -0.019471
36 | 0.99952 | -0.0092801 | 0.0011207 | 0.00028087
37 | 0.99798 | -0.038783 | 0 | 0
38 | 0.99678 | -0.061846 | 0 | 0
39 | 0.9976 | -0.046129 | 0.0021451 | 0.00053761
40 | 0.99665 | -0.064319 | 0.0015812 | 0.00039629
41 | 0.99618 | -0.073337 | 0.00068485 | 0.00017164
42 | 0.99637 | -0.069721 | 0.00073547 | 0.00018433
43 | 0.99641 | -0.069069 | 0.0028917 | 0.00072473
44 | 0.99634 | -0.070445 | 0.0032741 | 0.00082056
45 | 0.9963 | -0.071142 | 0.0021219 | 0.00053179
46 | 0.99644 | -0.068513 | 0 | 0
47 | 0.99627 | -0.071651 | 0.0016638 | 0.00041698
48 | 0.99658 | -0.065734 | 0 | 0
49 | 0.99638 | -0.069543 | 0.00058872 | 0.00014755
50 | 0.99696 | -0.058387 | 0 | 0
51 | 0.99643 | -0.068534 | 0.0025243 | 0.00063266
52 | 0.99675 | -0.062475 | 0.0014362 | 0.00035994
53 | 0.99663 | -0.064729 | 0.0017838 | 0.00044707
54 | 0.99662 | -0.064921 | 0 | 0
55 | 0.99656 | -0.066064 | 0.00081252 | 0.00020364
56 | 0.99611 | -0.074874 | 0.0022549 | 0.00056513
57 | 0.99625 | -0.072088 | 0.00040516 | 0.00010154
58 | 0.99641 | -0.069065 | 0.00091004 | 0.00022808
59 | 0.99522 | -0.091974 | 0.00066133 | 0.00016575
60 | 0.99528 | -0.090756 | 0.0014818 | 0.00037136
61 | 0.99518 | -0.09284 | 0 | 0
62 | 0.9953 | -0.09046 | 0.0090811 | 0.0022759
63 | 0.99515 | -0.093293 | 0.0005275 | 0.0001322
64 | 0.99566 | -0.083513 | 0 | 0
65 | 0.99357 | -0.12387 | 0.00019997 | 5.0117e-05
66 | 0.99357 | -0.12383 | 0 | 0
67 | 0.99363 | -0.1227 | 0.0016909 | 0.00042379
68 | 0.99334 | -0.12829 | 0 | 0
69 | 0.99502 | -0.095939 | 0.00083537 | 0.00020936
70 | 0.9938 | -0.11938 | 0 | 0
71 | 0.99328 | -0.12946 | 0.0044351 | 0.0011115
72 | 0.99559 | -0.08489 | 0.0021009 | 0.00052653
73 | 0.99471 | -0.10178 | 0.00085733 | 0.00021487
74 | 0.99471 | -0.10183 | 0.00069442 | 0.00017404
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00083544 | 0.00020773 | -0.00083539 | -0.00020888 | 5.3517e-08 | -1.1544e-06 | 0.0012487 | 0.0012491 | 0.0012491 | 0.99512 | -0.09403 | 0.99505 | -0.09538 | 0.34316
1 | -0.00083544 | -0.00020773 | 0.00083548 | 0.00020695 | 3.5938e-08 | -7.7573e-07 | 0.0012487 | 0.0012484 | 0.0012487 | 0.99512 | -0.09403 | 0.99516 | -0.09312 | 0.34304
2 | 0.00083539 | 0.00020888 | -0.00083537 | -0.00020936 | 2.223e-08 | -4.7923e-07 | 0.0012491 | 0.0012493 | 0.0012493 | 0.99505 | -0.09538 | 0.99502 | -0.095939 | 0.3432
3 | -0.0016583 | -0.00041316 | 0.0016583 | 0.00041305 | 2.2009e-08 | -1.1003e-07 | 0.0024787 | 0.0024786 | 0.0024787 | 0.99516 | -0.09312 | 0.99518 | -0.09284 | 0.68095
4 | -0.00039203 | -9.8252e-05 | 0.00039203 | 9.8245e-05 | 6.4724e-11 | -6.4654e-09 | 0.00058676 | 0.00058676 | 0.00058676 | 0.99418 | -0.11201 | 0.99418 | -0.11201 | 0.1612
5 | -0.0010544 | -0.00026426 | 0.0010545 | 0.00026387 | 2.9865e-08 | -3.9556e-07 | 0.0015782 | 0.0015781 | 0.0015782 | 0.99418 | -0.11201 | 0.99421 | -0.11141 | 0.43357
6 | -0.0010545 | -0.00026387 | 0.0010545 | 0.00026348 | 2.9185e-08 | -3.8665e-07 | 0.0015781 | 0.0015779 | 0.0015781 | 0.99421 | -0.11141 | 0.99424 | -0.11083 | 0.43353
7 | -0.0099054 | -0.0024811 | 0.0099071 | 0.0024819 | 1.6338e-06 | 7.8845e-07 | 0.014824 | 0.014824 | 0.014824 | 0.99424 | -0.11083 | 0.99442 | -0.10736 | 4.0726
8 | 0.0088509 | 0.0022176 | -0.0088491 | -0.0022168 | 1.8527e-06 | 8.2065e-07 | 0.013246 | 0.013246 | 0.013246 | 0.99424 | -0.11083 | 0.99402 | -0.11522 | 3.6391
9 | 0.0011688 | 0.00029253 | -0.0011688 | -0.00029293 | 3.7601e-08 | -4.005e-07 | 0.0017496 | 0.0017497 | 0.0017497 | 0.99402 | -0.11522 | 0.99398 | -0.1159 | 0.48069
10 | 0.0076802 | 0.0019242 | -0.0076793 | -0.0019239 | 9.0822e-07 | 3.4378e-07 | 0.011497 | 0.011497 | 0.011497 | 0.99402 | -0.11522 | 0.99389 | -0.11771 | 3.1585
11 | 0.006329 | 0.0015855 | -0.0063285 | -0.0015853 | 5.0407e-07 | 1.286e-07 | 0.0094753 | 0.0094753 | 0.0094753 | 0.99389 | -0.11771 | 0.9938 | -0.11938 | 2.6031
12 | -0.012446 | -0.003118 | 0.01245 | 0.0031202 | 4.1208e-06 | 2.2262e-06 | 0.018624 | 0.018624 | 0.018624 | 0.99442 | -0.10736 | 0.99478 | -0.10041 | 5.1164
13 | 0.0025393 | 0.00063612 | -0.0025391 | -0.00063636 | 1.3936e-07 | -2.4473e-07 | 0.0037995 | 0.0037997 | 0.0037997 | 0.99442 | -0.10736 | 0.99436 | -0.10852 | 1.0439
14 | -0.0011945 | -0.00029937 | 0.0011945 | 0.00029923 | 1.3365e-08 | -1.3712e-07 | 0.0017845 | 0.0017845 | 0.0017845 | 0.99603 | -0.076306 | 0.99604 | -0.076071 | 0.49025
15 | -0.0042261 | -0.0010575 | 0.0042261 | 0.0010575 | 1.6491e-09 | -3.8034e-10 | 0.0063129 | 0.0063129 | 0.0063129 | 0.99604 | -0.076071 | 0.99604 | -0.076063 | 1.7343
16 | 0.0030316 | 0.00075825 | -0.0030314 | -0.00075848 | 2.1462e-07 | -2.2586e-07 | 0.0045285 | 0.0045286 | 0.0045286 | 0.99604 | -0.076071 | 0.99597 | -0.077559 | 1.2441
17 | 0.0030314 | 0.00075848 | -0.0030307 | -0.00075919 | 6.7257e-07 | -7.0728e-07 | 0.0045286 | 0.004529 | 0.004529 | 0.99597 | -0.077559 | 0.99573 | -0.082221 | 1.2442
18 | 0.0030307 | 0.00075919 | -0.0030304 | -0.0007595 | 2.9811e-07 | -3.1325e-07 | 0.004529 | 0.0045292 | 0.0045292 | 0.99573 | -0.082221 | 0.99562 | -0.084286 | 1.2443
19 | -0.004723 | -0.001182 | 0.0047235 | 0.001182 | 4.8805e-07 | -2.8002e-08 | 0.0070553 | 0.0070551 | 0.0070553 | 0.99604 | -0.076063 | 0.99616 | -0.073891 | 1.9383
20 | 0.002255 | 0.00056488 | -0.0022549 | -0.00056513 | 1.0551e-07 | -2.5528e-07 | 0.0033683 | 0.0033685 | 0.0033685 | 0.99616 | -0.073891 | 0.99611 | -0.074874 | 0.9254
21 | -0.0069785 | -0.0017469 | 0.0069791 | 0.0017471 | 5.9911e-07 | 1.9198e-07 | 0.010423 | 0.010423 | 0.010423 | 0.99616 | -0.073891 | 0.99625 | -0.072088 | 2.8636
22 | -0.0011605 | -0.00029086 | 0.0011605 | 0.00029072 | 1.201e-08 | -1.3128e-07 | 0.0017329 | 0.0017328 | 0.0017329 | 0.99655 | -0.066319 | 0.99656 | -0.066102 | 0.47606
23 | -0.0025897 | -0.0006489 | 0.0025897 | 0.00064882 | 4.9579e-08 | -8.3485e-08 | 0.0038667 | 0.0038667 | 0.0038667 | 0.99656 | -0.066102 | 0.99658 | -0.0657 | 1.0623
24 | -0.0025897 | -0.00064882 | 0.0025898 | 0.00064874 | 4.3384e-08 | -7.3058e-08 | 0.0038667 | 0.0038667 | 0.0038667 | 0.99658 | -0.0657 | 0.9966 | -0.065349 | 1.0623
25 | -0.015771 | -0.0039554 | 0.015775 | 0.0039575 | 3.6139e-06 | 2.0874e-06 | 0.023574 | 0.023574 | 0.023574 | 0.99553 | -0.085926 | 0.99578 | -0.08112 | 6.4764
26 | 0.015771 | 0.0039554 | -0.015767 | -0.003953 | 4.1235e-06 | 2.3818e-06 | 0.023574 | 0.023574 | 0.023574 | 0.99553 | -0.085926 | 0.99525 | -0.091413 | 6.4764
27 | -0.015775 | -0.0039575 | 0.015779 | 0.0039601 | 4.6067e-06 | 2.6607e-06 | 0.023574 | 0.023574 | 0.023574 | 0.99578 | -0.08112 | 0.9961 | -0.074996 | 6.4764
28 | 0.014918 | 0.0037402 | -0.014911 | -0.0037365 | 6.3966e-06 | 3.6485e-06 | 0.022304 | 0.022305 | 0.022305 | 0.99525 | -0.091413 | 0.99478 | -0.10041 | 6.1276
29 | -0.0042498 | -0.0010648 | 0.00425 | 0.0010647 | 2.0831e-07 | -4.6471e-08 | 0.0063452 | 0.0063452 | 0.0063452 | 0.9966 | -0.065349 | 0.99665 | -0.064319 | 1.7432
30 | -0.016859 | -0.0042307 | 0.01686 | 0.0042315 | 1.3343e-06 | 7.8093e-07 | 0.025186 | 0.025186 | 0.025186 | 0.9961 | -0.074996 | 0.99618 | -0.073337 | 6.9194
31 | 0.002461 | 0.0006163 | -0.0024609 | -0.00061651 | 1.1016e-07 | -2.1094e-07 | 0.003681 | 0.0036811 | 0.0036811 | 0.99478 | -0.10041 | 0.99473 | -0.10135 | 1.0113
32 | 0.0015518 | 0.00038867 | -0.0015517 | -0.00038885 | 3.1294e-08 | -1.8102e-07 | 0.0023212 | 0.0023213 | 0.0023213 | 0.99473 | -0.10135 | 0.99471 | -0.10178 | 0.63771
33 | -0.0021589 | -0.00054108 | 0.002159 | 0.00054083 | 8.9515e-08 | -2.4194e-07 | 0.0032238 | 0.0032237 | 0.0032238 | 0.99649 | -0.067478 | 0.99653 | -0.066608 | 0.88567
34 | -0.002662 | -0.00066691 | 0.0026621 | 0.00066677 | 8.5712e-08 | -1.3363e-07 | 0.0039748 | 0.0039748 | 0.0039748 | 0.99653 | -0.066608 | 0.99657 | -0.065932 | 1.092
35 | -0.0043535 | -0.0010907 | 0.0043537 | 0.0010906 | 1.9974e-07 | -3.6421e-08 | 0.0065003 | 0.0065002 | 0.0065003 | 0.99657 | -0.065932 | 0.99662 | -0.064968 | 1.7858
36 | -0.0052802 | -0.0013228 | 0.0052802 | 0.0013228 | 6.0145e-08 | 4.864e-09 | 0.0078834 | 0.0078834 | 0.0078834 | 0.99662 | -0.064968 | 0.99663 | -0.064729 | 2.1658
37 | -0.00092242 | -0.00023118 | 0.00092243 | 0.00023101 | 9.3999e-09 | -1.6602e-07 | 0.0013776 | 0.0013775 | 0.0013776 | 0.99637 | -0.069833 | 0.99638 | -0.069619 | 0.37846
38 | -0.003481 | -0.00087225 | 0.003481 | 0.00087224 | 1.2674e-08 | -8.1772e-09 | 0.0051985 | 0.0051985 | 0.0051985 | 0.99638 | -0.069619 | 0.99638 | -0.069543 | 1.4282
39 | 0.077307 | 0.019471 | -0.077273 | -0.019449 | 3.4291e-05 | 2.1855e-05 | 0.11507 | 0.11507 | 0.11507 | 1 | 0 | 0.99952 | -0.0092801 | 31.6122
40 | 0.076152 | 0.019169 | -0.076045 | -0.0191 | 0.00010722 | 6.8331e-05 | 0.1134 | 0.1134 | 0.1134 | 0.99952 | -0.0092801 | 0.99798 | -0.038783 | 31.1539
41 | 0.0374 | 0.0093968 | -0.037359 | -0.0093709 | 4.1121e-05 | 2.5858e-05 | 0.055773 | 0.055773 | 0.055773 | 0.99798 | -0.038783 | 0.99678 | -0.061846 | 15.3223
42 | 0.038645 | 0.0097035 | -0.038631 | -0.0096949 | 1.3539e-05 | 8.5231e-06 | 0.057627 | 0.057627 | 0.057627 | 0.99798 | -0.038783 | 0.9976 | -0.046129 | 15.8317
43 | 0.007065 | 0.0017702 | -0.0070641 | -0.0017699 | 9.7027e-07 | 3.1782e-07 | 0.010547 | 0.010547 | 0.010547 | 0.99678 | -0.061846 | 0.99663 | -0.064729 | 2.8975
44 | 0.0091109 | 0.002282 | -0.0091096 | -0.0022814 | 1.3342e-06 | 6.032e-07 | 0.0136 | 0.013601 | 0.013601 | 0.99678 | -0.061846 | 0.99662 | -0.064921 | 3.7364
45 | 0.021183 | 0.0053187 | -0.021176 | -0.0053143 | 7.2972e-06 | 4.4167e-06 | 0.031626 | 0.031626 | 0.031626 | 0.99678 | -0.061846 | 0.99641 | -0.069069 | 8.6885
46 | 0.036486 | 0.0091573 | -0.036465 | -0.0091439 | 2.1315e-05 | 1.3391e-05 | 0.054428 | 0.054428 | 0.054428 | 0.9976 | -0.046129 | 0.99696 | -0.058387 | 14.9527
47 | -0.0058312 | -0.001461 | 0.0058318 | 0.0014611 | 5.1232e-07 | 9.2965e-08 | 0.008706 | 0.0087059 | 0.008706 | 0.99665 | -0.064319 | 0.99675 | -0.062475 | 2.3917
48 | -0.017545 | -0.0044031 | 0.017548 | 0.0044049 | 3.0258e-06 | 1.7836e-06 | 0.026209 | 0.026209 | 0.026209 | 0.99618 | -0.073337 | 0.99637 | -0.069721 | 7.2004
49 | -0.018284 | -0.0045892 | 0.018284 | 0.0045895 | 5.6814e-07 | 3.3715e-07 | 0.027308 | 0.027308 | 0.027308 | 0.99637 | -0.069721 | 0.99641 | -0.069069 | 7.5021
50 | 0.0037858 | 0.00094851 | -0.0037857 | -0.00094856 | 1.2569e-07 | -5.6103e-08 | 0.0056539 | 0.005654 | 0.005654 | 0.99634 | -0.070445 | 0.9963 | -0.071142 | 1.5533
51 | -0.0070598 | -0.0017691 | 0.0070605 | 0.0017693 | 6.4981e-07 | 2.1286e-07 | 0.010544 | 0.010544 | 0.010544 | 0.99634 | -0.070445 | 0.99644 | -0.068513 | 2.8966
52 | 0.0016638 | 0.00041678 | -0.0016638 | -0.00041698 | 4.0334e-08 | -2.0101e-07 | 0.0024849 | 0.002485 | 0.002485 | 0.9963 | -0.071142 | 0.99627 | -0.071651 | 0.68268
53 | -0.01113 | -0.002789 | 0.011132 | 0.0027898 | 1.4731e-06 | 7.5753e-07 | 0.016621 | 0.016621 | 0.016621 | 0.99644 | -0.068513 | 0.99658 | -0.065734 | 4.5663
54 | 0.0040699 | 0.0010197 | -0.0040697 | -0.0010198 | 1.9976e-07 | -5.9993e-08 | 0.0060776 | 0.0060777 | 0.0060777 | 0.99644 | -0.068513 | 0.99638 | -0.069543 | 1.6697
55 | -0.029185 | -0.007316 | 0.029196 | 0.0073224 | 1.0221e-05 | 6.3546e-06 | 0.043578 | 0.043578 | 0.043578 | 0.99658 | -0.065734 | 0.99696 | -0.058387 | 11.972
56 | 0.018054 | 0.0045263 | -0.018051 | -0.0045249 | 2.4078e-06 | 1.4259e-06 | 0.026957 | 0.026957 | 0.026957 | 0.99658 | -0.065734 | 0.99643 | -0.068534 | 7.4057
57 | 0.0072694 | 0.0018216 | -0.0072679 | -0.0018211 | 1.4154e-06 | 4.8785e-07 | 0.01085 | 0.01085 | 0.01085 | 0.99696 | -0.058387 | 0.99675 | -0.062475 | 2.9807
58 | 0.015527 | 0.0038922 | -0.015516 | -0.0038858 | 1.1074e-05 | 6.3726e-06 | 0.023187 | 0.023187 | 0.023187 | 0.99643 | -0.068534 | 0.99566 | -0.083513 | 6.3702
59 | 0.0091096 | 0.0022814 | -0.0091091 | -0.0022812 | 4.9549e-07 | 2.2404e-07 | 0.013601 | 0.013601 | 0.013601 | 0.99662 | -0.064921 | 0.99656 | -0.066064 | 3.7364
60 | 0.0082966 | 0.0020775 | -0.0082954 | -0.0020771 | 1.1853e-06 | 4.9024e-07 | 0.012387 | 0.012388 | 0.012388 | 0.99656 | -0.066064 | 0.99641 | -0.069065 | 3.4032
61 | -0.0073843 | -0.0018486 | 0.0073854 | 0.001849 | 1.0626e-06 | 3.7666e-07 | 0.011029 | 0.011028 | 0.011029 | 0.99625 | -0.072088 | 0.99641 | -0.069065 | 3.0298
62 | -0.0028472 | -0.00071014 | 0.0028474 | 0.00070993 | 1.645e-07 | -2.0946e-07 | 0.0042559 | 0.0042557 | 0.0042559 | 0.99522 | -0.091974 | 0.99528 | -0.090756 | 1.1692
63 | 0.0021859 | 0.0005444 | -0.0021858 | -0.00054463 | 8.9821e-08 | -2.3409e-07 | 0.0032671 | 0.0032672 | 0.0032672 | 0.99522 | -0.091974 | 0.99518 | -0.09284 | 0.89757
64 | -0.0043292 | -0.0010813 | 0.0043292 | 0.0010813 | 6.0864e-08 | -1.1419e-08 | 0.0064711 | 0.0064711 | 0.0064711 | 0.99528 | -0.090756 | 0.9953 | -0.09046 | 1.7778
65 | 0.00052751 | 0.00013158 | -0.0005275 | -0.0001322 | 1.136e-08 | -6.2555e-07 | 0.00078853 | 0.00078875 | 0.00078875 | 0.99518 | -0.09284 | 0.99515 | -0.093293 | 0.21669
66 | -0.01341 | -0.0033572 | 0.013415 | 0.0033597 | 4.4357e-06 | 2.4562e-06 | 0.020048 | 0.020048 | 0.020048 | 0.9953 | -0.09046 | 0.99566 | -0.083513 | 5.5076
67 | 0.002101 | 0.00052613 | -0.0021009 | -0.00052653 | 1.3774e-07 | -3.9635e-07 | 0.0031398 | 0.00314 | 0.00314 | 0.99566 | -0.083513 | 0.99559 | -0.08489 | 0.86264
68 | -0.00019997 | -5.0117e-05 | 0.00019997 | 4.9944e-05 | 4.5166e-10 | -1.7366e-07 | 0.00029948 | 0.00029942 | 0.00029948 | 0.99357 | -0.12387 | 0.99357 | -0.12383 | 0.082276
69 | -0.0046363 | -0.0011613 | 0.0046365 | 0.0011613 | 2.4791e-07 | -1.895e-08 | 0.0069433 | 0.0069432 | 0.0069433 | 0.99357 | -0.12383 | 0.99363 | -0.1227 | 1.9075
70 | 0.0044363 | 0.0011114 | -0.0044354 | -0.0011115 | 9.4234e-07 | -1.3401e-07 | 0.0066438 | 0.0066441 | 0.0066441 | 0.99357 | -0.12383 | 0.99334 | -0.12829 | 1.8253
71 | -0.0063275 | -0.0015851 | 0.0063285 | 0.0015853 | 1.0017e-06 | 2.5565e-07 | 0.0094755 | 0.0094753 | 0.0094755 | 0.99363 | -0.1227 | 0.9938 | -0.11938 | 2.6031
72 | 0.0044354 | 0.0011115 | -0.0044351 | -0.0011115 | 2.4803e-07 | -3.5205e-08 | 0.0066441 | 0.0066442 | 0.0066442 | 0.99334 | -0.12829 | 0.99328 | -0.12946 | 1.8253
73 | 0.00069442 | 0.00017398 | -0.00069442 | -0.00017404 | 1.7682e-09 | -5.5589e-08 | 0.0010388 | 0.0010388 | 0.0010388 | 0.99471 | -0.10178 | 0.99471 | -0.10183 | 0.28538

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.080834 | 0.019942

## res_load
| p_mw | q_mvar
0 | 0.00082279 | 0.00020621
1 | 0.00039203 | 9.8252e-05
2 | 0.00066241 | 0.00016602
3 | 0.0011688 | 0.00029293
4 | 0.0013504 | 0.00033843
5 | 0.0011945 | 0.00029937
6 | 0.0004969 | 0.00012453
7 | 0.0030304 | 0.0007595
8 | 0.0011605 | 0.00029086
9 | 0.0014291 | 0.00035818
10 | 0.0008493 | 0.00021285
11 | 0.00166 | 0.00041604
12 | 0.0010795 | 0.00027054
13 | 0.0025391 | 0.00063636
14 | 0.0009091 | 0.00022784
15 | 0.0021589 | 0.00054108
16 | 0.00050303 | 0.00012607
17 | 0.0016914 | 0.00042391
18 | 0.00092642 | 0.00023218
19 | 0.00092242 | 0.00023118
20 | 0.0025585 | 0.00064123
21 | 0.0018764 | 0.00047027
22 | 0.0011207 | 0.00028087
23 | 0.0021451 | 0.00053761
24 | 0.0015812 | 0.00039629
25 | 0.00068485 | 0.00017164
26 | 0.00073547 | 0.00018433
27 | 0.0028917 | 0.00072473
28 | 0.0032741 | 0.00082056
29 | 0.0021219 | 0.00053179
30 | 0.0016638 | 0.00041698
31 | 0.00058872 | 0.00014755
32 | 0.0025243 | 0.00063266
33 | 0.0014362 | 0.00035994
34 | 0.0017838 | 0.00044707
35 | 0.00081252 | 0.00020364
36 | 0.0022549 | 0.00056513
37 | 0.00040516 | 0.00010154
38 | 0.00091004 | 0.00022808
39 | 0.00066133 | 0.00016575
40 | 0.0014818 | 0.00037136
41 | 0.0090811 | 0.0022759
42 | 0.0005275 | 0.0001322
43 | 0.00019997 | 5.0117e-05
44 | 0.0016909 | 0.00042379
45 | 0.00083537 | 0.00020936
46 | 0.0044351 | 0.0011115
47 | 0.0021009 | 0.00052653
48 | 0.00085733 | 0.00021487
49 | 0.00069442 | 0.00017404

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1