## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2300-1_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_2300-1_1_2_node_120 | 0.4 | n |  | TRUE
2 | bus_LV_2300-1_1_2_node_134 | 0.4 | n |  | TRUE
3 | bus_LV_2300-1_1_2_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_2300-1_1_2_node_119 | 0.4 | n |  | TRUE
5 | bus_LV_2300-1_1_2_node_130 | 0.4 | n |  | TRUE
6 | bus_LV_2300-1_1_2_node_131 | 0.4 | n |  | TRUE
7 | bus_LV_2300-1_1_2_node_132 | 0.4 | n |  | TRUE
8 | bus_LV_2300-1_1_2_node_133 | 0.4 | n |  | TRUE
9 | bus_LV_2300-1_1_2_node_314 | 0.4 | n |  | TRUE
10 | bus_LV_2300-1_1_2_node_115 | 0.4 | n |  | TRUE
11 | bus_LV_2300-1_1_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2300-1_1_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2300-1_1_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2300-1_1_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2300-1_1_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2300-1_1_2_node_137 | 0.4 | n |  | TRUE
17 | bus_LV_2300-1_1_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2300-1_1_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2300-1_1_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2300-1_1_2_node_135 | 0.4 | n |  | TRUE
21 | bus_LV_2300-1_1_2_node_136 | 0.4 | n |  | TRUE
22 | bus_LV_2300-1_1_2_node_139 | 0.4 | n |  | TRUE
23 | bus_LV_2300-1_1_2_node_142 | 0.4 | n |  | TRUE
24 | bus_LV_2300-1_1_2_node_143 | 0.4 | n |  | TRUE
25 | bus_LV_2300-1_1_2_node_144 | 0.4 | n |  | TRUE
26 | bus_LV_2300-1_1_2_node_319 | 0.4 | n |  | TRUE
27 | bus_LV_2300-1_1_2_node_145 | 0.4 | n |  | TRUE
28 | bus_LV_2300-1_1_2_node_146 | 0.4 | n |  | TRUE
29 | bus_LV_2300-1_1_2_node_147 | 0.4 | n |  | TRUE
30 | bus_LV_2300-1_1_2_node_148 | 0.4 | n |  | TRUE
31 | bus_LV_2300-1_1_2_node_150 | 0.4 | n |  | TRUE
32 | bus_LV_2300-1_1_2_node_151 | 0.4 | n |  | TRUE
33 | bus_LV_2300-1_1_2_node_152 | 0.4 | n |  | TRUE
34 | bus_LV_2300-1_1_2_node_320 | 0.4 | n |  | TRUE
35 | bus_LV_2300-1_1_2_node_308 | 0.4 | n |  | TRUE
36 | bus_LV_2300-1_1_2_node_309 | 0.4 | n |  | TRUE
37 | bus_LV_2300-1_1_2_node_310 | 0.4 | n |  | TRUE
38 | bus_LV_2300-1_1_2_node_311 | 0.4 | n |  | TRUE
39 | bus_LV_2300-1_1_2_node_313 | 0.4 | n |  | TRUE
40 | bus_LV_2300-1_1_2_node_322 | 0.4 | n |  | TRUE
41 | bus_LV_2300-1_1_2_node_117 | 0.4 | n |  | TRUE
42 | bus_LV_2300-1_1_2_node_323 | 0.4 | n |  | TRUE
43 | bus_LV_2300-1_1_2_node_123 | 0.4 | n |  | TRUE
44 | bus_LV_2300-1_1_2_node_121 | 0.4 | n |  | TRUE
45 | bus_LV_2300-1_1_2_node_122 | 0.4 | n |  | TRUE
46 | bus_LV_2300-1_1_2_node_118 | 0.4 | n |  | TRUE
47 | bus_LV_2300-1_1_2_node_126 | 0.4 | n |  | TRUE
48 | bus_LV_2300-1_1_2_node_125 | 0.4 | n |  | TRUE
49 | bus_LV_2300-1_1_2_node_124 | 0.4 | n |  | TRUE
50 | bus_LV_2300-1_1_2_node_127 | 0.4 | n |  | TRUE
51 | bus_MV_36_0_node_1 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2300-1_1_2_load_128 | 0 | 0.0037211 | 0.00093259 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2300-1_1_2_load_134 | 2 | 0.0032443 | 0.00081309 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2300-1_1_2_load_129 | 3 | 0.0092924 | 0.0023289 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2300-1_1_2_load_130 | 5 | 0.0030126 | 0.00075502 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2300-1_1_2_load_131 | 6 | 0.0024062 | 0.00060306 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2300-1_1_2_load_133 | 8 | 0.0031278 | 0.0007839 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2300-1_1_2_load_314 | 9 | 0.0011152 | 0.00027948 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2300-1_1_2_load_115 | 10 | 0.002513 | 0.00062981 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2300-1_1_2_load_7 | 11 | 0.0077772 | 0.0019492 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2300-1_1_2_load_8 | 12 | 0.0016596 | 0.00041593 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2300-1_1_2_load_10 | 14 | 0.0008449 | 0.00021175 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2300-1_1_2_load_137 | 16 | 0.004468 | 0.0011198 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2300-1_1_2_load_12 | 17 | 0.0046673 | 0.0011697 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2300-1_1_2_load_13 | 18 | 0.00060485 | 0.00015159 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2300-1_1_2_load_14 | 19 | 0.00061185 | 0.00015334 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2300-1_1_2_load_135 | 20 | 0.0044188 | 0.0011074 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2300-1_1_2_load_136 | 21 | 0.0032297 | 0.00080943 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2300-1_1_2_load_139 | 22 | 0.0025104 | 0.00062916 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2300-1_1_2_load_142 | 23 | 0.0022509 | 0.00056412 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2300-1_1_2_load_144 | 25 | 0.0021886 | 0.00054852 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2300-1_1_2_load_319 | 26 | 0.00066667 | 0.00016708 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2300-1_1_2_load_145 | 27 | 0.0023491 | 0.00058873 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2300-1_1_2_load_146 | 28 | 0.0023598 | 0.00059142 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2300-1_1_2_load_148 | 30 | 0.0045585 | 0.0011425 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2300-1_1_2_load_150 | 31 | 0.0016624 | 0.00041663 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2300-1_1_2_load_152 | 33 | 0.0014534 | 0.00036426 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2300-1_1_2_load_320 | 34 | 0.0038614 | 0.00096776 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2300-1_1_2_load_308 | 35 | 0.00055238 | 0.00013844 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2300-1_1_2_load_309 | 36 | 0.0015666 | 0.00039262 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2300-1_1_2_load_313 | 39 | 0.0017494 | 0.00043844 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2300-1_1_2_load_322 | 40 | 0.0021671 | 0.00054313 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2300-1_1_2_load_323 | 42 | 0.0011922 | 0.00029879 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2300-1_1_2_load_121 | 44 | 0.0036359 | 0.00091124 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2300-1_1_2_load_126 | 47 | 0.0062623 | 0.0015695 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2300-1_1_2_load_124 | 49 | 0.0013422 | 0.00033638 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2300-1_1_2_load_127 | 50 | 0.004481 | 0.001123 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2300-1_1_2_line_0 |  | 0 | 1 | 0.075382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2300-1_1_2_line_1 |  | 0 | 2 | 0.019261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2300-1_1_2_line_2 |  | 1 | 47 | 0.019116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2300-1_1_2_line_3 |  | 1 | 46 | 0.11178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2300-1_1_2_line_4 |  | 2 | 10 | 0.17017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2300-1_1_2_line_5 |  | 3 | 4 | 0.062358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2300-1_1_2_line_6 |  | 3 | 5 | 0.03558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2300-1_1_2_line_7 |  | 4 | 46 | 0.004171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2300-1_1_2_line_8 |  | 5 | 6 | 0.084366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2300-1_1_2_line_9 |  | 6 | 7 | 0.027328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2300-1_1_2_line_10 |  | 7 | 8 | 0.11211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2300-1_1_2_line_11 |  | 8 | 9 | 0.12092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2300-1_1_2_line_12 |  | 9 | 38 | 0.032493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2300-1_1_2_line_13 |  | 10 | 44 | 0.047926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2300-1_1_2_line_14 |  | 11 | 12 | 0.020096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2300-1_1_2_line_15 |  | 11 | 13 | 0.023211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2300-1_1_2_line_16 |  | 12 | 14 | 0.0062747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2300-1_1_2_line_17 |  | 13 | 15 | 0.026455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2300-1_1_2_line_18 |  | 14 | 16 | 0.048254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2300-1_1_2_line_19 |  | 15 | 17 | 0.025618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2300-1_1_2_line_20 |  | 16 | 22 | 0.04429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2300-1_1_2_line_21 |  | 16 | 20 | 0.032127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2300-1_1_2_line_22 |  | 17 | 18 | 0.0069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2300-1_1_2_line_23 |  | 18 | 19 | 0.0080033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2300-1_1_2_line_24 |  | 20 | 21 | 0.034835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2300-1_1_2_line_25 |  | 22 | 23 | 0.030105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2300-1_1_2_line_26 |  | 23 | 24 | 0.036637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2300-1_1_2_line_27 |  | 24 | 25 | 0.019572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2300-1_1_2_line_28 |  | 25 | 26 | 0.070241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2300-1_1_2_line_29 |  | 26 | 41 | 0.0089988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2300-1_1_2_line_30 |  | 26 | 34 | 0.038215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2300-1_1_2_line_31 |  | 27 | 28 | 0.053025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2300-1_1_2_line_32 |  | 27 | 29 | 0.051262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2300-1_1_2_line_33 |  | 28 | 30 | 0.060047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2300-1_1_2_line_34 |  | 29 | 31 | 0.037184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2300-1_1_2_line_35 |  | 30 | 32 | 0.024833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2300-1_1_2_line_36 |  | 32 | 33 | 0.038621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2300-1_1_2_line_37 |  | 33 | 34 | 0.057931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2300-1_1_2_line_38 |  | 35 | 36 | 0.016938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2300-1_1_2_line_39 |  | 35 | 37 | 0.013398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2300-1_1_2_line_40 |  | 36 | 38 | 0.038613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2300-1_1_2_line_41 |  | 37 | 39 | 0.033615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2300-1_1_2_line_42 |  | 37 | 40 | 0.035339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2300-1_1_2_line_43 |  | 41 | 45 | 0.057698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2300-1_1_2_line_44 |  | 42 | 43 | 0.010164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2300-1_1_2_line_45 |  | 43 | 48 | 0.004676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2300-1_1_2_line_46 |  | 43 | 45 | 0.053306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2300-1_1_2_line_47 |  | 44 | 45 | 0.023603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2300-1_1_2_line_48 |  | 47 | 50 | 0.018896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2300-1_1_2_line_49 |  | 48 | 49 | 0.013154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2300-1_1_2_trafo_121 | 0.63 MVA 20/0.4 kV | 51 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2585313.5686 | 1176373.5021 | 2585338.7289 | 1176351.8847 | 2585353.1966 | 1176345.6015 | 2585366.203 | 1176344.9137 | 2585377.4924 | 1176337.6712
1 | 2585393.7045 | 1176327.2707 | 2585377.4924 | 1176337.6712
2 | 2585313.5686 | 1176373.5021 | 2585294.5591 | 1176375.5181
3 | 2585412.4746 | 1176361.3532 | 2585407.3434 | 1176366.4128 | 2585402.1663 | 1176371.4725 | 2585396.5903 | 1176375.9217 | 2585389.1424 | 1176380.5645 | 2585382.1355 | 1176384.3058 | 2585374.2253 | 1176387.4713 | 2585368.3141 | 1176389.1978 | 2585365.6869 | 1176389.9713 | 2585358.9497 | 1176391.4774 | 2585355.4283 | 1176389.1738 | 2585351.3649 | 1176387.105 | 2585325.4689 | 1176379.9316 | 2585313.5686 | 1176373.5021
4 | 2585485.0328 | 1176183.6898 | 2585393.7045 | 1176327.2707
5 | 2585415.4091 | 1176364.3253 | 2585418.6576 | 1176367.5746 | 2585414.3682 | 1176373.0879 | 2585410.3597 | 1176377.8334 | 2585402.2821 | 1176387.5581 | 2585392.461 | 1176393.7075 | 2585385.9011 | 1176395.8692 | 2585376.8848 | 1176396.7139 | 2585372.5892 | 1176397.5363
6 | 2585372.5892 | 1176397.5363 | 2585367.8858 | 1176398.4368 | 2585360.4765 | 1176400.1003 | 2585352.6909 | 1176401.0866 | 2585342.3141 | 1176401.8903 | 2585337.3753 | 1176402.0525
7 | 2585412.4746 | 1176361.3532 | 2585415.4091 | 1176364.3253
8 | 2585253.6769 | 1176408.8912 | 2585256.9137 | 1176407.926 | 2585267.4466 | 1176405.3431 | 2585276.0104 | 1176403.8434 | 2585286.1569 | 1176402.5955 | 2585301.044 | 1176402.2031 | 2585331.7068 | 1176402.2387 | 2585337.3753 | 1176402.0525
9 | 2585227.6189 | 1176417.1031 | 2585229.6346 | 1176416.3088 | 2585241.4638 | 1176412.5332 | 2585253.6769 | 1176408.8912
10 | 2585227.6189 | 1176417.1031 | 2585225.4403 | 1176423.1116 | 2585204.7438 | 1176429.266 | 2585185.1317 | 1176435.051 | 2585171.6192 | 1176441.1098 | 2585156.2562 | 1176446.7732 | 2585138.0395 | 1176451.2319 | 2585125.3175 | 1176452.4642 | 2585124.3613 | 1176452.4892
11 | 2585124.3613 | 1176452.4892 | 2585105.5166 | 1176452.9805 | 2585084.6309 | 1176453.6886 | 2585078.3818 | 1176454.727 | 2585069.9529 | 1176455.1039 | 2585055.2453 | 1176453.8734 | 2585041.452 | 1176451.4956 | 2585020.3876 | 1176451.0371 | 2585006.6353 | 1176452.8393 | 2585004.0495 | 1176453.6443
12 | 2585004.0495 | 1176453.6443 | 2585012.8027 | 1176422.3527
13 | 2585532.6426 | 1176189.1845 | 2585485.0328 | 1176183.6898
14 | 2585765.696 | 1176064.2433 | 2585763.8675 | 1176070.1672 | 2585763.103 | 1176073.304 | 2585762.0964 | 1176077.4418 | 2585761.2866 | 1176080.7899 | 2585760.0242 | 1176083.472
15 | 2585772.5442 | 1176042.0655 | 2585769.973 | 1176050.387 | 2585765.696 | 1176064.2433
16 | 2585753.7916 | 1176083.4545 | 2585755.332 | 1176083.7723 | 2585760.0242 | 1176083.472 | 2585760.0242 | 1176083.472
17 | 2585772.5442 | 1176042.0655 | 2585784.8553 | 1176047.5834 | 2585796.5249 | 1176053.3697
18 | 2585740.5144 | 1176129.8464 | 2585753.7916 | 1176083.4545
19 | 2585796.5249 | 1176053.3697 | 2585820.1867 | 1176063.1894
20 | 2585704.1666 | 1176104.7954 | 2585723.1544 | 1176115.6988 | 2585740.5144 | 1176129.8464
21 | 2585766.5555 | 1176148.6581 | 2585741.5566 | 1176130.6957 | 2585740.5144 | 1176129.8464
22 | 2585826.5596 | 1176065.8343 | 2585820.1867 | 1176063.1894
23 | 2585826.5596 | 1176065.8343 | 2585833.9516 | 1176068.902
24 | 2585766.5555 | 1176148.6581 | 2585788.5734 | 1176164.4785 | 2585795.1332 | 1176168.5538
25 | 2585704.1666 | 1176104.7954 | 2585698.1882 | 1176101.3624 | 2585683.0788 | 1176092.2496 | 2585677.8605 | 1176090.3125
26 | 2585644.8706 | 1176098.5112 | 2585656.1427 | 1176097.9172 | 2585664.0504 | 1176090.3276 | 2585672.5754 | 1176088.3506 | 2585677.8605 | 1176090.3125
27 | 2585644.8706 | 1176098.5112 | 2585644.2676 | 1176102.0256 | 2585638.4477 | 1176116.9367
28 | 2585638.4477 | 1176116.9367 | 2585569.0767 | 1176127.9547
29 | 2585564.1897 | 1176120.5949 | 2585569.0739 | 1176127.0531 | 2585569.0767 | 1176127.9547
30 | 2585578.7329 | 1176164.1931 | 2585570.7135 | 1176147.6151 | 2585569.109 | 1176138.381 | 2585569.0767 | 1176127.9547
31 | 2585696.6606 | 1176217.6248 | 2585694.0546 | 1176229.3374 | 2585693.6512 | 1176233.2182 | 2585691.9218 | 1176238.6918 | 2585690.2579 | 1176242.8534 | 2585688.5626 | 1176246.615 | 2585685.9058 | 1176251.0125 | 2585680.9892 | 1176256.4937 | 2585675.0363 | 1176260.0543 | 2585671.8741 | 1176261.1264
32 | 2585716.7036 | 1176173.099 | 2585710.019 | 1176177.5728 | 2585706.4809 | 1176181.0386 | 2585703.7313 | 1176185.0139 | 2585701.8028 | 1176190.3323 | 2585700.8913 | 1176195.8818 | 2585696.7843 | 1176217.0691 | 2585696.6606 | 1176217.6248
33 | 2585637.0246 | 1176221.7954 | 2585638.7392 | 1176227.9808 | 2585640.5423 | 1176234.0462 | 2585642.7101 | 1176239.2103 | 2585645.8515 | 1176245.6393 | 2585649.4579 | 1176251.5559 | 2585651.6982 | 1176255.0967 | 2585654.1358 | 1176258.0924 | 2585656.5037 | 1176260.6769 | 2585659.1822 | 1176262.1156 | 2585661.7517 | 1176262.732 | 2585664.9238 | 1176262.8689 | 2585667.8044 | 1176262.5062 | 2585671.8741 | 1176261.1264
34 | 2585686.7288 | 1176151.3153 | 2585707.9318 | 1176164.5379 | 2585711.1947 | 1176167.476 | 2585716.7036 | 1176173.099
35 | 2585632.4367 | 1176197.4804 | 2585632.8904 | 1176204.9609 | 2585635.4471 | 1176216.1049 | 2585637.0246 | 1176221.7954
36 | 2585636.4724 | 1176159.4847 | 2585634.8103 | 1176192.8946 | 2585632.4367 | 1176197.4804
37 | 2585636.4724 | 1176159.4847 | 2585578.7329 | 1176164.1931
38 | 2584958.0569 | 1176423.7955 | 2584966.1719 | 1176424.3599 | 2584974.9497 | 1176425.0245
39 | 2584948.8518 | 1176417.6224 | 2584950.5933 | 1176423.2764 | 2584958.0569 | 1176423.7955
40 | 2585012.8027 | 1176422.3527 | 2585006.3596 | 1176425.2815 | 2584994.8758 | 1176426.5332 | 2584974.9497 | 1176425.0245
41 | 2584948.8518 | 1176417.6224 | 2584944.7467 | 1176423.2912 | 2584928.2423 | 1176421.7987 | 2584918.1993 | 1176421.9184
42 | 2584948.8518 | 1176417.6224 | 2584952.1793 | 1176382.4405
43 | 2585545.0484 | 1176172.9791 | 2585551.5323 | 1176158.2892 | 2585553.2654 | 1176154.3497 | 2585560.403 | 1176138.1797 | 2585558.7788 | 1176127.0891 | 2585564.1897 | 1176120.5949
44 | 2585567.3743 | 1176189.0332 | 2585567.5136 | 1176199.1936
45 | 2585567.3743 | 1176189.0332 | 2585563.3907 | 1176191.4996
46 | 2585545.0484 | 1176172.9791 | 2585551.5323 | 1176158.2892 | 2585559.5613 | 1176162.9944 | 2585566.2837 | 1176174.1838 | 2585567.3743 | 1176189.0332
47 | 2585545.0484 | 1176172.9791 | 2585531.5746 | 1176182.7834 | 2585531.0651 | 1176186.9868 | 2585532.6426 | 1176189.1845
48 | 2585277.4199 | 1176383.4629 | 2585294.4666 | 1176375.5279 | 2585294.5591 | 1176375.5181
49 | 2585563.3907 | 1176191.4996 | 2585559.2018 | 1176184.9953 | 2585557.8539 | 1176179.748

## bus_geodata
| x | y | coords
0 | 2585377.4924 | 1176337.6712
1 | 2585313.5686 | 1176373.5021
2 | 2585393.7045 | 1176327.2707
3 | 2585372.5892 | 1176397.5363
4 | 2585415.4091 | 1176364.3253
5 | 2585337.3753 | 1176402.0525
6 | 2585253.6769 | 1176408.8912
7 | 2585227.6189 | 1176417.1031
8 | 2585124.3613 | 1176452.4892
9 | 2585004.0495 | 1176453.6443
10 | 2585485.0328 | 1176183.6898
11 | 2585765.696 | 1176064.2433
12 | 2585760.0242 | 1176083.472
13 | 2585772.5442 | 1176042.0655
14 | 2585753.7916 | 1176083.4545
15 | 2585796.5249 | 1176053.3697
16 | 2585740.5144 | 1176129.8464
17 | 2585820.1867 | 1176063.1894
18 | 2585826.5596 | 1176065.8343
19 | 2585833.9516 | 1176068.902
20 | 2585766.5555 | 1176148.6581
21 | 2585795.1332 | 1176168.5538
22 | 2585704.1666 | 1176104.7954
23 | 2585677.8605 | 1176090.3125
24 | 2585644.8705 | 1176098.5112
25 | 2585638.4477 | 1176116.9367
26 | 2585569.0767 | 1176127.9547
27 | 2585696.6606 | 1176217.6248
28 | 2585671.8741 | 1176261.1264
29 | 2585716.7036 | 1176173.099
30 | 2585637.0246 | 1176221.7954
31 | 2585686.7288 | 1176151.3153
32 | 2585632.4367 | 1176197.4804
33 | 2585636.4724 | 1176159.4847
34 | 2585578.7329 | 1176164.1931
35 | 2584958.0569 | 1176423.7955
36 | 2584974.9497 | 1176425.0245
37 | 2584948.8518 | 1176417.6224
38 | 2585012.8027 | 1176422.3527
39 | 2584918.1993 | 1176421.9184
40 | 2584952.1793 | 1176382.4405
41 | 2585564.1897 | 1176120.5949
42 | 2585567.5136 | 1176199.1936
43 | 2585567.3743 | 1176189.0332
44 | 2585532.6426 | 1176189.1845
45 | 2585545.0484 | 1176172.9791
46 | 2585412.4746 | 1176361.3532
47 | 2585294.5591 | 1176375.5181
48 | 2585563.3907 | 1176191.4996
49 | 2585557.8539 | 1176179.748
50 | 2585277.4199 | 1176383.4629
51 | 2585535.3903 | 1176193.0127

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99061 | -0.17946 | 0.0037211 | 0.00093259
1 | 0.98813 | -0.22746 | 0 | 0
2 | 0.99131 | -0.16597 | 0.0032443 | 0.00081309
3 | 0.98402 | -0.3074 | 0.0092924 | 0.0023289
4 | 0.98545 | -0.27937 | 0 | 0
5 | 0.9835 | -0.31747 | 0.0030126 | 0.00075502
6 | 0.98251 | -0.3368 | 0.0024062 | 0.00060306
7 | 0.98225 | -0.34188 | 0 | 0
8 | 0.98119 | -0.36274 | 0.0031278 | 0.0007839
9 | 0.98039 | -0.37842 | 0.0011152 | 0.00027948
10 | 0.998 | -0.03787 | 0.002513 | 0.00062981
11 | 0.98861 | -0.21924 | 0.0077772 | 0.0019492
12 | 0.98886 | -0.21435 | 0.0016596 | 0.00041593
13 | 0.98849 | -0.22168 | 0 | 0
14 | 0.98895 | -0.21264 | 0.0008449 | 0.00021175
15 | 0.98834 | -0.22446 | 0 | 0
16 | 0.98967 | -0.19874 | 0.004468 | 0.0011198
17 | 0.9882 | -0.22715 | 0.0046673 | 0.0011697
18 | 0.9882 | -0.2273 | 0.00060485 | 0.00015159
19 | 0.98819 | -0.22739 | 0.00061185 | 0.00015334
20 | 0.98944 | -0.20311 | 0.0044188 | 0.0011074
21 | 0.98934 | -0.20512 | 0.0032297 | 0.00080943
22 | 0.99081 | -0.17647 | 0.0025104 | 0.00062916
23 | 0.99166 | -0.16002 | 0.0022509 | 0.00056412
24 | 0.99277 | -0.13858 | 0 | 0
25 | 0.99337 | -0.12715 | 0.0021886 | 0.00054852
26 | 0.99564 | -0.083518 | 0.00066667 | 0.00016708
27 | 0.99324 | -0.12985 | 0.0023491 | 0.00058873
28 | 0.99343 | -0.12609 | 0.0023598 | 0.00059142
29 | 0.99316 | -0.13136 | 0 | 0
30 | 0.99378 | -0.11933 | 0.0045585 | 0.0011425
31 | 0.9931 | -0.13245 | 0.0016624 | 0.00041663
32 | 0.99403 | -0.11454 | 0 | 0
33 | 0.99441 | -0.10709 | 0.0014534 | 0.00036426
34 | 0.99507 | -0.094447 | 0.0038614 | 0.00096776
35 | 0.97992 | -0.38759 | 0.00055238 | 0.00013844
36 | 0.97999 | -0.38621 | 0.0015666 | 0.00039262
37 | 0.97987 | -0.38854 | 0 | 0
38 | 0.9802 | -0.38198 | 0 | 0
39 | 0.97982 | -0.38961 | 0.0017494 | 0.00043844
40 | 0.9798 | -0.38993 | 0.0021671 | 0.00054313
41 | 0.99606 | -0.075268 | 0 | 0
42 | 0.99869 | -0.025107 | 0.0011922 | 0.00029879
43 | 0.9987 | -0.024895 | 0 | 0
44 | 1 | 0 | -0.10257 | -0.02567
45 | 0.99882 | -0.022533 | 0 | 0
46 | 0.98555 | -0.2775 | 0 | 0
47 | 0.98794 | -0.23113 | 0.0062623 | 0.0015695
48 | 0.99869 | -0.025005 | 0 | 0
49 | 0.99867 | -0.025314 | 0.0013422 | 0.00033638
50 | 0.98786 | -0.23264 | 0.004481 | 0.001123
51 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.035954 | 0.0090862 | -0.035871 | -0.0090343 | 8.2533e-05 | 5.1853e-05 | 0.054034 | 0.054034 | 0.054034 | 0.99061 | -0.17946 | 0.98813 | -0.22746 | 14.8445
1 | -0.039675 | -0.010019 | 0.039701 | 0.010035 | 2.5677e-05 | 1.6185e-05 | 0.059623 | 0.059623 | 0.059623 | 0.99061 | -0.17946 | 0.99131 | -0.16597 | 16.38
2 | 0.010746 | 0.0026935 | -0.010744 | -0.0026925 | 1.8771e-06 | 9.5651e-07 | 0.016182 | 0.016182 | 0.016182 | 0.98813 | -0.22746 | 0.98794 | -0.23113 | 4.4456
3 | 0.025126 | 0.0063409 | -0.025066 | -0.0063039 | 6.0062e-05 | 3.7011e-05 | 0.037852 | 0.037853 | 0.037853 | 0.98813 | -0.22746 | 0.98555 | -0.2775 | 10.3991
4 | -0.042945 | -0.010848 | 0.04321 | 0.011016 | 0.00026541 | 0.00016765 | 0.064493 | 0.064492 | 0.064493 | 0.99131 | -0.16597 | 0.998 | -0.03787 | 17.7178
5 | -0.02503 | -0.0062818 | 0.025063 | 0.0063025 | 3.3506e-05 | 2.065e-05 | 0.037853 | 0.037853 | 0.037853 | 0.98402 | -0.3074 | 0.98545 | -0.27937 | 10.3992
6 | 0.015737 | 0.0039529 | -0.01573 | -0.0039485 | 7.5584e-06 | 4.3857e-06 | 0.023801 | 0.023801 | 0.023801 | 0.98402 | -0.3074 | 0.9835 | -0.31747 | 6.5388
7 | -0.025063 | -0.0063025 | 0.025066 | 0.0063039 | 2.2411e-06 | 1.3812e-06 | 0.037853 | 0.037853 | 0.037853 | 0.98545 | -0.27937 | 0.98555 | -0.2775 | 10.3991
8 | 0.012717 | 0.0031935 | -0.012706 | -0.0031871 | 1.1716e-05 | 6.4286e-06 | 0.019243 | 0.019244 | 0.019244 | 0.9835 | -0.31747 | 0.98251 | -0.3368 | 5.2867
9 | 0.010299 | 0.002584 | -0.010297 | -0.0025828 | 2.4938e-06 | 1.25e-06 | 0.015599 | 0.0156 | 0.0156 | 0.98251 | -0.3368 | 0.98225 | -0.34188 | 4.2856
10 | 0.010297 | 0.0025828 | -0.010287 | -0.0025776 | 1.0231e-05 | 5.1301e-06 | 0.0156 | 0.0156 | 0.0156 | 0.98225 | -0.34188 | 0.98119 | -0.36274 | 4.2857
11 | 0.0071589 | 0.0017937 | -0.0071535 | -0.0017918 | 5.3451e-06 | 1.8948e-06 | 0.010857 | 0.010857 | 0.010857 | 0.98119 | -0.36274 | 0.98039 | -0.37842 | 2.9827
12 | 0.0060384 | 0.0015124 | -0.0060374 | -0.0015121 | 1.0234e-06 | 2.4534e-07 | 0.0091646 | 0.0091648 | 0.0091648 | 0.98039 | -0.37842 | 0.9802 | -0.38198 | 2.5178
13 | -0.045723 | -0.011645 | 0.045807 | 0.011698 | 8.3688e-05 | 5.2933e-05 | 0.068239 | 0.068239 | 0.068239 | 0.998 | -0.03787 | 1 | 0 | 18.7469
14 | -0.013663 | -0.0034241 | 0.013667 | 0.0034259 | 3.1872e-06 | 1.7821e-06 | 0.020566 | 0.020565 | 0.020566 | 0.98861 | -0.21924 | 0.98886 | -0.21435 | 5.6499
15 | 0.0058862 | 0.0014749 | -0.0058855 | -0.0014748 | 6.8321e-07 | 1.3968e-07 | 0.0088596 | 0.0088597 | 0.0088597 | 0.98861 | -0.21924 | 0.98849 | -0.22168 | 2.434
16 | -0.015326 | -0.0038418 | 0.015327 | 0.0038425 | 1.2515e-06 | 7.2048e-07 | 0.023063 | 0.023063 | 0.023063 | 0.98886 | -0.21435 | 0.98895 | -0.21264 | 6.3359
17 | 0.0058855 | 0.0014748 | -0.0058847 | -0.0014746 | 7.7872e-07 | 1.593e-07 | 0.0088597 | 0.0088598 | 0.0088598 | 0.98849 | -0.22168 | 0.98834 | -0.22446 | 2.434
18 | -0.016172 | -0.0040543 | 0.016183 | 0.0040605 | 1.0715e-05 | 6.238e-06 | 0.024334 | 0.024334 | 0.024334 | 0.98895 | -0.21264 | 0.98967 | -0.19874 | 6.6852
19 | 0.0058847 | 0.0014746 | -0.005884 | -0.0014745 | 7.5411e-07 | 1.5437e-07 | 0.0088598 | 0.0088599 | 0.0088599 | 0.98834 | -0.22446 | 0.9882 | -0.22715 | 2.434
20 | -0.028301 | -0.0070975 | 0.028331 | 0.0071162 | 3.0076e-05 | 1.8679e-05 | 0.042554 | 0.042554 | 0.042554 | 0.98967 | -0.19874 | 0.99081 | -0.17647 | 11.6907
21 | 0.0076503 | 0.0019172 | -0.0076487 | -0.0019166 | 1.5941e-06 | 6.0747e-07 | 0.011503 | 0.011503 | 0.011503 | 0.98967 | -0.19874 | 0.98944 | -0.20311 | 3.1601
22 | 0.0012167 | 0.00030475 | -0.0012167 | -0.00030483 | 8.6847e-09 | -8.2841e-08 | 0.001832 | 0.0018321 | 0.0018321 | 0.9882 | -0.22715 | 0.9882 | -0.2273 | 0.50331
23 | 0.00061185 | 0.00015324 | -0.00061185 | -0.00015334 | 2.5475e-09 | -1.009e-07 | 0.00092129 | 0.00092132 | 0.00092132 | 0.9882 | -0.2273 | 0.98819 | -0.22739 | 0.25311
24 | 0.00323 | 0.00080918 | -0.0032297 | -0.00080943 | 3.0823e-07 | -2.501e-07 | 0.0048574 | 0.0048576 | 0.0048576 | 0.98944 | -0.20311 | 0.98934 | -0.20512 | 1.3345
25 | -0.030842 | -0.0077454 | 0.030866 | 0.0077605 | 2.4226e-05 | 1.5117e-05 | 0.046324 | 0.046324 | 0.046324 | 0.99081 | -0.17647 | 0.99166 | -0.16002 | 12.7264
26 | -0.033117 | -0.0083246 | 0.033151 | 0.0083458 | 3.3938e-05 | 2.1247e-05 | 0.049701 | 0.049701 | 0.049701 | 0.99166 | -0.16002 | 0.99277 | -0.13858 | 13.6542
27 | -0.033151 | -0.0083458 | 0.033169 | 0.0083572 | 1.813e-05 | 1.135e-05 | 0.049701 | 0.049701 | 0.049701 | 0.99277 | -0.13858 | 0.99337 | -0.12715 | 13.6542
28 | -0.035358 | -0.0089057 | 0.035432 | 0.0089521 | 7.3932e-05 | 4.6405e-05 | 0.05298 | 0.052979 | 0.05298 | 0.99337 | -0.12715 | 0.99564 | -0.083518 | 14.5548
29 | -0.052368 | -0.013202 | 0.052389 | 0.013215 | 2.0685e-05 | 1.3122e-05 | 0.078293 | 0.078293 | 0.078293 | 0.99564 | -0.083518 | 0.99606 | -0.075268 | 21.5092
30 | 0.01627 | 0.0040828 | -0.016261 | -0.0040778 | 8.4744e-06 | 4.9269e-06 | 0.024318 | 0.024318 | 0.024318 | 0.99564 | -0.083518 | 0.99507 | -0.094447 | 6.6807
31 | -0.0040117 | -0.0010044 | 0.0040124 | 0.0010041 | 7.1812e-07 | -2.2682e-07 | 0.0060097 | 0.0060094 | 0.0060097 | 0.99324 | -0.12985 | 0.99343 | -0.12609 | 1.651
32 | 0.0016626 | 0.00041562 | -0.0016625 | -0.00041621 | 1.1924e-07 | -5.8709e-07 | 0.0024904 | 0.0024907 | 0.0024907 | 0.99324 | -0.12985 | 0.99316 | -0.13136 | 0.68425
33 | -0.0063721 | -0.0015955 | 0.0063742 | 0.0015961 | 2.051e-06 | 5.3493e-07 | 0.009544 | 0.0095437 | 0.009544 | 0.99343 | -0.12609 | 0.99378 | -0.11933 | 2.622
34 | 0.0016625 | 0.00041621 | -0.0016624 | -0.00041663 | 8.6506e-08 | -4.2579e-07 | 0.0024907 | 0.0024908 | 0.0024908 | 0.99316 | -0.13136 | 0.9931 | -0.13245 | 0.6843
35 | -0.010933 | -0.0027385 | 0.010935 | 0.0027398 | 2.4952e-06 | 1.2751e-06 | 0.016369 | 0.016369 | 0.016369 | 0.99378 | -0.11933 | 0.99403 | -0.11454 | 4.497
36 | -0.010935 | -0.0027398 | 0.010939 | 0.0027418 | 3.8806e-06 | 1.9828e-06 | 0.016369 | 0.016369 | 0.016369 | 0.99403 | -0.11454 | 0.99441 | -0.10709 | 4.497
37 | -0.012392 | -0.003106 | 0.0124 | 0.0031101 | 7.4702e-06 | 4.0289e-06 | 0.018544 | 0.018544 | 0.018544 | 0.99441 | -0.10709 | 0.99507 | -0.094447 | 5.0945
38 | -0.0044693 | -0.0011192 | 0.0044696 | 0.0011192 | 2.9252e-07 | -2.6178e-08 | 0.0067864 | 0.0067863 | 0.0067864 | 0.97992 | -0.38759 | 0.97999 | -0.38621 | 1.8644
39 | 0.0039169 | 0.00098079 | -0.0039167 | -0.00098085 | 1.7772e-07 | -5.5029e-08 | 0.0059476 | 0.0059476 | 0.0059476 | 0.97992 | -0.38759 | 0.97987 | -0.38854 | 1.634
40 | -0.0060362 | -0.0015118 | 0.0060374 | 0.0015121 | 1.2162e-06 | 2.9178e-07 | 0.009165 | 0.0091648 | 0.009165 | 0.97999 | -0.38621 | 0.9802 | -0.38198 | 2.5178
41 | 0.0017495 | 0.00043807 | -0.0017494 | -0.00043844 | 8.8967e-08 | -3.6646e-07 | 0.0026566 | 0.0026567 | 0.0026567 | 0.97987 | -0.38854 | 0.97982 | -0.38961 | 0.72987
42 | 0.0021673 | 0.00054278 | -0.0021671 | -0.00054313 | 1.4354e-07 | -3.5325e-07 | 0.003291 | 0.0032912 | 0.0032912 | 0.97987 | -0.38854 | 0.9798 | -0.38993 | 0.90417
43 | -0.052389 | -0.013215 | 0.052521 | 0.013299 | 0.00013263 | 8.413e-05 | 0.078293 | 0.078293 | 0.078293 | 0.99606 | -0.075268 | 0.99882 | -0.022533 | 21.5091
44 | -0.0011922 | -0.00029879 | 0.0011922 | 0.00029866 | 1.2026e-08 | -1.253e-07 | 0.0017763 | 0.0017763 | 0.0017763 | 0.99869 | -0.025107 | 0.9987 | -0.024895 | 0.488
45 | 0.0013422 | 0.00033617 | -0.0013422 | -0.00033622 | 7.0124e-09 | -5.6698e-08 | 0.0019998 | 0.0019998 | 0.0019998 | 0.9987 | -0.024895 | 0.99869 | -0.025005 | 0.54939
46 | -0.0025344 | -0.00063483 | 0.0025347 | 0.00063431 | 2.85e-07 | -5.152e-07 | 0.003776 | 0.0037758 | 0.003776 | 0.9987 | -0.024895 | 0.99882 | -0.022533 | 1.0374
47 | 0.055116 | 0.013971 | -0.055056 | -0.013934 | 5.9614e-05 | 3.7844e-05 | 0.082069 | 0.082069 | 0.082069 | 1 | 0 | 0.99882 | -0.022533 | 22.5464
48 | 0.0044813 | 0.001123 | -0.004481 | -0.001123 | 3.2282e-07 | -3.5334e-08 | 0.0067496 | 0.0067497 | 0.0067497 | 0.98794 | -0.23113 | 0.98786 | -0.23264 | 1.8543
49 | 0.0013422 | 0.00033622 | -0.0013422 | -0.00033638 | 1.9727e-08 | -1.5949e-07 | 0.0019998 | 0.0019998 | 0.0019998 | 0.99869 | -0.025005 | 0.99867 | -0.025314 | 0.54941

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.10621 | 0.026581

## res_load
| p_mw | q_mvar
0 | 0.0037211 | 0.00093259
1 | 0.0032443 | 0.00081309
2 | 0.0092924 | 0.0023289
3 | 0.0030126 | 0.00075502
4 | 0.0024062 | 0.00060306
5 | 0.0031278 | 0.0007839
6 | 0.0011152 | 0.00027948
7 | 0.002513 | 0.00062981
8 | 0.0077772 | 0.0019492
9 | 0.0016596 | 0.00041593
10 | 0.0008449 | 0.00021175
11 | 0.004468 | 0.0011198
12 | 0.0046673 | 0.0011697
13 | 0.00060485 | 0.00015159
14 | 0.00061185 | 0.00015334
15 | 0.0044188 | 0.0011074
16 | 0.0032297 | 0.00080943
17 | 0.0025104 | 0.00062916
18 | 0.0022509 | 0.00056412
19 | 0.0021886 | 0.00054852
20 | 0.00066667 | 0.00016708
21 | 0.0023491 | 0.00058873
22 | 0.0023598 | 0.00059142
23 | 0.0045585 | 0.0011425
24 | 0.0016624 | 0.00041663
25 | 0.0014534 | 0.00036426
26 | 0.0038614 | 0.00096776
27 | 0.00055238 | 0.00013844
28 | 0.0015666 | 0.00039262
29 | 0.0017494 | 0.00043844
30 | 0.0021671 | 0.00054313
31 | 0.0011922 | 0.00029879
32 | 0.0036359 | 0.00091124
33 | 0.0062623 | 0.0015695
34 | 0.0013422 | 0.00033638
35 | 0.004481 | 0.001123

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1