## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2325-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2325-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2325-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2325-12_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2325-12_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2325-12_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2325-12_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2325-12_0_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_2325-12_0_3_node_101 | 0.4 | n |  | TRUE
9 | bus_LV_2325-12_0_3_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_2325-12_0_3_node_99 | 0.4 | n |  | TRUE
11 | bus_LV_2325-12_0_3_node_109 | 0.4 | n |  | TRUE
12 | bus_LV_2325-12_0_3_node_107 | 0.4 | n |  | TRUE
13 | bus_LV_2325-12_0_3_node_115 | 0.4 | n |  | TRUE
14 | bus_LV_2325-12_0_3_node_116 | 0.4 | n |  | TRUE
15 | bus_LV_2325-12_0_3_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_2325-12_0_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_2325-12_0_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_2325-12_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_2325-12_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_2325-12_0_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_2325-12_0_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_2325-12_0_3_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_2325-12_0_3_node_112 | 0.4 | n |  | TRUE
24 | bus_LV_2325-12_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_2325-12_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_2325-12_0_3_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_2325-12_0_3_node_111 | 0.4 | n |  | TRUE
28 | bus_LV_2325-12_0_3_node_125 | 0.4 | n |  | TRUE
29 | bus_LV_2325-12_0_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_2325-12_0_3_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_2325-12_0_3_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_2325-12_0_3_node_100 | 0.4 | n |  | TRUE
33 | bus_LV_2325-12_0_3_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_2325-12_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_2325-12_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2325-12_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_2325-12_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_2325-12_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_2325-12_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_2325-12_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_2325-12_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_2325-12_0_3_node_108 | 0.4 | n |  | TRUE
43 | bus_LV_2325-12_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_2325-12_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_2325-12_0_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_2325-12_0_3_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_2325-12_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_2325-12_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_2325-12_0_3_node_75 | 0.4 | n |  | TRUE
50 | bus_LV_2325-12_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_2325-12_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_2325-12_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_2325-12_0_3_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_2325-12_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_2325-12_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2325-12_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_2325-12_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_2325-12_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_2325-12_0_3_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_2325-12_0_3_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_2325-12_0_3_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_2325-12_0_3_node_106 | 0.4 | n |  | TRUE
63 | bus_LV_2325-12_0_3_node_105 | 0.4 | n |  | TRUE
64 | bus_LV_2325-12_0_3_node_77 | 0.4 | n |  | TRUE
65 | bus_LV_2325-12_0_3_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_2325-12_0_3_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_2325-12_0_3_node_81 | 0.4 | n |  | TRUE
68 | bus_LV_2325-12_0_3_node_82 | 0.4 | n |  | TRUE
69 | bus_LV_2325-12_0_3_node_126 | 0.4 | n |  | TRUE
70 | bus_LV_2325-12_0_3_node_117 | 0.4 | n |  | TRUE
71 | bus_LV_2325-12_0_3_node_83 | 0.4 | n |  | TRUE
72 | bus_LV_2325-12_0_3_node_113 | 0.4 | n |  | TRUE
73 | bus_LV_2325-12_0_3_node_102 | 0.4 | n |  | TRUE
74 | bus_LV_2325-12_0_3_node_103 | 0.4 | n |  | TRUE
75 | bus_LV_2325-12_0_3_node_110 | 0.4 | n |  | TRUE
76 | bus_MV_37_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2325-12_0_3_load_0 | 0 | 0.0003804 | 9.5337e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2325-12_0_3_load_1 | 1 | 0.00045442 | 0.00011389 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2325-12_0_3_load_3 | 3 | 0.00028754 | 7.2066e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2325-12_0_3_load_5 | 4 | 0.0056604 | 0.0014186 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2325-12_0_3_load_6 | 5 | 0.0001994 | 4.9975e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2325-12_0_3_load_7 | 6 | 0.0020334 | 0.00050963 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2325-12_0_3_load_16 | 7 | 0.0062962 | 0.001578 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2325-12_0_3_load_101 | 8 | 0.0024422 | 0.00061206 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2325-12_0_3_load_17 | 9 | 0.00037958 | 9.5132e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2325-12_0_3_load_99 | 10 | 0.003474 | 0.00087066 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2325-12_0_3_load_109 | 11 | 0.004141 | 0.0010378 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2325-12_0_3_load_107 | 12 | 0.006848 | 0.0017163 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2325-12_0_3_load_115 | 13 | 0.01092 | 0.0027369 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2325-12_0_3_load_116 | 14 | 0.00017233 | 4.3191e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2325-12_0_3_load_18 | 15 | 0.0040554 | 0.0010164 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2325-12_0_3_load_19 | 16 | 0.005215 | 0.001307 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2325-12_0_3_load_20 | 17 | 0.0028469 | 0.00071349 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2325-12_0_3_load_23 | 20 | 0.0025027 | 0.00062724 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2325-12_0_3_load_24 | 21 | 0.0024081 | 0.00060353 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2325-12_0_3_load_52 | 22 | 0.001725 | 0.00043234 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2325-12_0_3_load_112 | 23 | 0.0012626 | 0.00031645 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2325-12_0_3_load_25 | 24 | 0.0026901 | 0.00067421 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2325-12_0_3_load_111 | 27 | 0.0023225 | 0.00058208 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2325-12_0_3_load_125 | 28 | 0.002484 | 0.00062255 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2325-12_0_3_load_45 | 29 | 0.0016427 | 0.0004117 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2325-12_0_3_load_42 | 30 | 0.0010315 | 0.00025852 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2325-12_0_3_load_78 | 31 | 0.0040976 | 0.001027 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2325-12_0_3_load_100 | 32 | 0.0031481 | 0.00078898 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2325-12_0_3_load_40 | 33 | 0.0029167 | 0.00073099 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2325-12_0_3_load_27 | 34 | 0.0034801 | 0.0008722 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2325-12_0_3_load_28 | 35 | 0.0026814 | 0.00067202 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2325-12_0_3_load_29 | 36 | 0.0038626 | 0.00096807 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2325-12_0_3_load_30 | 37 | 0.003808 | 0.00095437 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2325-12_0_3_load_32 | 39 | 0.012948 | 0.0032451 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2325-12_0_3_load_34 | 41 | 0.0022614 | 0.00056677 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2325-12_0_3_load_108 | 42 | 0.01292 | 0.0032381 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2325-12_0_3_load_38 | 43 | 0.001717 | 0.00043033 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2325-12_0_3_load_39 | 44 | 0.0027004 | 0.00067678 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2325-12_0_3_load_35 | 45 | 0.0050568 | 0.0012674 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2325-12_0_3_load_76 | 46 | 0.001447 | 0.00036265 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2325-12_0_3_load_36 | 47 | 0.014572 | 0.0036521 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2325-12_0_3_load_37 | 48 | 0.0011433 | 0.00028654 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2325-12_0_3_load_75 | 49 | 0.0041506 | 0.0010402 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2325-12_0_3_load_41 | 50 | 0.006552 | 0.0016421 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2325-12_0_3_load_43 | 51 | 0.0033265 | 0.0008337 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2325-12_0_3_load_44 | 52 | 0.0020948 | 0.00052501 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2325-12_0_3_load_57 | 53 | 0.0019849 | 0.00049745 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2325-12_0_3_load_46 | 54 | 0.0019051 | 0.00047746 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2325-12_0_3_load_47 | 55 | 0.0015591 | 0.00039075 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2325-12_0_3_load_49 | 56 | 0.001659 | 0.00041577 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2325-12_0_3_load_50 | 57 | 0.0019993 | 0.00050107 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2325-12_0_3_load_51 | 58 | 0.0018431 | 0.00046191 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2325-12_0_3_load_62 | 59 | 0.0027031 | 0.00067746 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2325-12_0_3_load_63 | 60 | 0.033597 | 0.0084201 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2325-12_0_3_load_64 | 61 | 0.033597 | 0.0084202 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2325-12_0_3_load_106 | 62 | 0.0036606 | 0.00091742 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2325-12_0_3_load_105 | 63 | 0.0014538 | 0.00036436 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2325-12_0_3_load_77 | 64 | 0.0014969 | 0.00037517 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2325-12_0_3_load_79 | 65 | 0.0049973 | 0.0012524 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2325-12_0_3_load_81 | 67 | 0.0059425 | 0.0014893 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2325-12_0_3_load_82 | 68 | 0.00046574 | 0.00011673 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2325-12_0_3_load_126 | 69 | 0.00037186 | 9.3197e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2325-12_0_3_load_117 | 70 | 0.009245 | 0.002317 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2325-12_0_3_load_83 | 71 | 0.012003 | 0.0030082 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2325-12_0_3_load_113 | 72 | 0.0083659 | 0.0020967 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2325-12_0_3_load_102 | 73 | 0.0015211 | 0.00038121 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2325-12_0_3_load_110 | 75 | 0.01241 | 0.0031103 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2325-12_0_3_line_0 |  | 0 | 1 | 0.022067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2325-12_0_3_line_1 |  | 0 | 2 | 0.019163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2325-12_0_3_line_2 |  | 1 | 3 | 0.086195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2325-12_0_3_line_3 |  | 2 | 4 | 0.049361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2325-12_0_3_line_4 |  | 3 | 5 | 0.019923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2325-12_0_3_line_5 |  | 4 | 6 | 0.031238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2325-12_0_3_line_6 |  | 5 | 7 | 0.0049474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2325-12_0_3_line_7 |  | 6 | 8 | 0.0089194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2325-12_0_3_line_8 |  | 7 | 9 | 0.014155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2325-12_0_3_line_9 |  | 8 | 10 | 0.0077986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2325-12_0_3_line_10 |  | 9 | 13 | 0.052156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2325-12_0_3_line_11 |  | 10 | 32 | 0.011674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2325-12_0_3_line_12 |  | 11 | 12 | 0.021791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2325-12_0_3_line_13 |  | 12 | 42 | 0.026979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2325-12_0_3_line_14 |  | 13 | 14 | 0.031307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2325-12_0_3_line_15 |  | 14 | 70 | 0.013838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2325-12_0_3_line_16 |  | 15 | 16 | 0.0017748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2325-12_0_3_line_17 |  | 15 | 17 | 0.031856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2325-12_0_3_line_18 |  | 16 | 18 | 0.012561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2325-12_0_3_line_19 |  | 17 | 19 | 0.013169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2325-12_0_3_line_20 |  | 18 | 20 | 0.01496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2325-12_0_3_line_21 |  | 18 | 21 | 0.011798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_2325-12_0_3_line_22 |  | 19 | 22 | 0.04054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2325-12_0_3_line_23 |  | 19 | 23 | 0.014639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2325-12_0_3_line_24 |  | 20 | 24 | 0.0069982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2325-12_0_3_line_25 |  | 21 | 25 | 0.014051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2325-12_0_3_line_26 |  | 22 | 26 | 0.0050467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2325-12_0_3_line_27 |  | 23 | 27 | 0.017988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2325-12_0_3_line_28 |  | 24 | 28 | 0.0099092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2325-12_0_3_line_29 |  | 25 | 29 | 0.0074851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2325-12_0_3_line_30 |  | 25 | 30 | 0.013431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2325-12_0_3_line_31 |  | 26 | 58 | 0.010077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2325-12_0_3_line_32 |  | 26 | 55 | 0.013554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2325-12_0_3_line_33 |  | 27 | 75 | 0.029233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2325-12_0_3_line_34 |  | 28 | 31 | 0.0035964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2325-12_0_3_line_35 |  | 29 | 32 | 0.0079757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2325-12_0_3_line_36 |  | 30 | 33 | 0.0020029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2325-12_0_3_line_37 |  | 31 | 64 | 0.017029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2325-12_0_3_line_38 |  | 33 | 50 | 0.02277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2325-12_0_3_line_39 |  | 34 | 35 | 0.0078801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2325-12_0_3_line_40 |  | 34 | 36 | 0.015056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2325-12_0_3_line_41 |  | 35 | 37 | 0.002948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2325-12_0_3_line_42 |  | 36 | 38 | 0.012454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2325-12_0_3_line_43 |  | 37 | 39 | 0.046436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2325-12_0_3_line_44 |  | 38 | 40 | 0.000967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2325-12_0_3_line_45 |  | 38 | 41 | 0.022911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2325-12_0_3_line_46 |  | 39 | 42 | 0.034321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2325-12_0_3_line_47 |  | 40 | 43 | 0.011255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2325-12_0_3_line_48 |  | 40 | 44 | 0.023303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2325-12_0_3_line_49 |  | 41 | 45 | 0.017191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2325-12_0_3_line_50 |  | 44 | 46 | 0.0018404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2325-12_0_3_line_51 |  | 45 | 47 | 0.0068094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2325-12_0_3_line_52 |  | 46 | 49 | 0.0085788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_2325-12_0_3_line_53 |  | 47 | 48 | 0.025363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2325-12_0_3_line_54 |  | 49 | 64 | 0.0028024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_2325-12_0_3_line_55 |  | 50 | 51 | 0.01468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2325-12_0_3_line_56 |  | 51 | 52 | 0.022468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2325-12_0_3_line_57 |  | 52 | 53 | 0.0009108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2325-12_0_3_line_58 |  | 54 | 55 | 0.013908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2325-12_0_3_line_59 |  | 54 | 56 | 0.099688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2325-12_0_3_line_60 |  | 56 | 57 | 0.019678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2325-12_0_3_line_61 |  | 58 | 59 | 0.034639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2325-12_0_3_line_62 |  | 59 | 60 | 0.047757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2325-12_0_3_line_63 |  | 60 | 61 | 4.7664e-07 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2325-12_0_3_line_64 |  | 61 | 62 | 0.0075825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2325-12_0_3_line_65 |  | 62 | 63 | 0.059326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2325-12_0_3_line_66 |  | 63 | 74 | 0.019898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2325-12_0_3_line_67 |  | 65 | 66 | 0.02469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2325-12_0_3_line_68 |  | 66 | 67 | 0.014294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2325-12_0_3_line_69 |  | 66 | 68 | 0.020249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2325-12_0_3_line_70 |  | 67 | 71 | 0.0013059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2325-12_0_3_line_71 |  | 68 | 69 | 0.015716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2325-12_0_3_line_72 |  | 69 | 70 | 0.001209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2325-12_0_3_line_73 |  | 71 | 72 | 0.0087851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2325-12_0_3_line_74 |  | 73 | 74 | 0.0034358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2325-12_0_3_trafo_39 | 0.63 MVA 20/0.4 kV | 76 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2559151.0211 | 1153400.9671 | 2559152.6989 | 1153397.6459 | 2559162.8648 | 1153382.3741
1 | 2559142.3804 | 1153418.071 | 2559151.0211 | 1153400.9671
2 | 2559152.9571 | 1153325.8163 | 2559175.7504 | 1153332.7337 | 2559186.5405 | 1153339.8863 | 2559183.6304 | 1153353.1017 | 2559169.5214 | 1153372.3742 | 2559162.8648 | 1153382.3741
3 | 2559142.3804 | 1153418.071 | 2559137.6475 | 1153415.9577 | 2559093.6813 | 1153412.0549 | 2559093.6424 | 1153412.0516
4 | 2559152.9571 | 1153325.8163 | 2559152.4624 | 1153325.6662 | 2559134.4407 | 1153318.4678
5 | 2559093.6424 | 1153412.0516 | 2559062.5127 | 1153409.4562
6 | 2559134.4407 | 1153318.4678 | 2559129.8463 | 1153316.6326
7 | 2559062.5127 | 1153409.4562 | 2559053.6242 | 1153408.7151
8 | 2559116.7011 | 1153311.3821 | 2559129.8463 | 1153316.6326
9 | 2559045.8525 | 1153408.0671 | 2559053.6242 | 1153408.7151
10 | 2559067.7631 | 1153293.7485 | 2559077.0438 | 1153295.5418 | 2559116.7011 | 1153311.3821
11 | 2559045.8525 | 1153408.0671 | 2559034.2189 | 1153407.0971
12 | 2558916.2475 | 1153189.3138 | 2558916.004 | 1153186.5961 | 2558914.5799 | 1153175.8226 | 2558914.0612 | 1153167.6435
13 | 2558916.2475 | 1153189.3138 | 2558916.6104 | 1153193.3621 | 2558919.8084 | 1153203.2453 | 2558923.3896 | 1153215.2495
14 | 2559067.7631 | 1153293.7485 | 2559037.0243 | 1153287.8089
15 | 2559023.4381 | 1153285.1836 | 2559037.0243 | 1153287.8089
16 | 2558988.7654 | 1153406.9341 | 2558989.5819 | 1153405.3582
17 | 2558966.1801 | 1153427.5324 | 2558966.1801 | 1153427.5324 | 2558971.8337 | 1153425.1481 | 2558980.0063 | 1153420.879 | 2558986.0313 | 1153412.2112 | 2558988.7654 | 1153406.9341
18 | 2558995.3607 | 1153394.2049 | 2558989.5819 | 1153405.3582
19 | 2558958.1486 | 1153437.8481 | 2558963.5419 | 1153432.1861 | 2558966.1801 | 1153427.5324
20 | 2558995.3607 | 1153394.2049 | 2558982.6828 | 1153386.2633
21 | 2558995.3607 | 1153394.2049 | 2559001.9487 | 1153398.3287 | 2559005.7979 | 1153399.5082
22 | 2558958.1486 | 1153437.8481 | 2558928.2383 | 1153439.5756 | 2558917.9164 | 1153437.2527
23 | 2558958.1486 | 1153437.8481 | 2558972.7637 | 1153437.0042
24 | 2558976.7522 | 1153382.5482 | 2558976.7522 | 1153382.5482 | 2558982.6828 | 1153386.2633
25 | 2559019.2324 | 1153403.6246 | 2559005.7979 | 1153399.5082
26 | 2558912.9929 | 1153436.1447 | 2558917.9164 | 1153437.2527
27 | 2558972.7637 | 1153437.0042 | 2558990.4671 | 1153435.982 | 2558990.7217 | 1153435.971
28 | 2558970.2794 | 1153375.0451 | 2558976.7522 | 1153382.5482
29 | 2559019.2324 | 1153403.6246 | 2559026.39 | 1153405.8145
30 | 2559019.2324 | 1153403.6246 | 2559021.5549 | 1153390.3962
31 | 2558912.9929 | 1153436.1447 | 2558906.8987 | 1153428.1193
32 | 2558912.9929 | 1153436.1447 | 2558901.3579 | 1153443.0973
33 | 2559019.9279 | 1153434.7186 | 2558990.7217 | 1153435.971
34 | 2558970.2794 | 1153375.0451 | 2558967.9302 | 1153372.322
35 | 2559026.39 | 1153405.8145 | 2559029.2197 | 1153406.6803 | 2559034.2189 | 1153407.0971
36 | 2559021.9013 | 1153388.4234 | 2559021.5549 | 1153390.3962
37 | 2558967.9302 | 1153372.322 | 2558963.4425 | 1153367.1201 | 2558957.2386 | 1153359.0755
38 | 2559021.9013 | 1153388.4234 | 2559022.8808 | 1153382.8446 | 2559026.6104 | 1153371.7246 | 2559030.8607 | 1153368.4307
39 | 2558940.3838 | 1153297.017 | 2558940.7774 | 1153304.176 | 2558940.8489 | 1153304.8826
40 | 2558942.3654 | 1153319.8621 | 2558940.8489 | 1153304.8826
41 | 2558940.3838 | 1153297.017 | 2558940.222 | 1153294.0735
42 | 2558934.3438 | 1153329.3884 | 2558942.3654 | 1153319.8621
43 | 2558931.8258 | 1153248.4894 | 2558939.7522 | 1153285.529 | 2558940.222 | 1153294.0735
44 | 2558934.9932 | 1153330.1066 | 2558934.3438 | 1153329.3884
45 | 2558934.3438 | 1153329.3884 | 2558930.1083 | 1153323.7367 | 2558923.3531 | 1153313.1552 | 2558921.7628 | 1153310.2696
46 | 2558923.3896 | 1153215.2495 | 2558928.0694 | 1153230.9364 | 2558931.8258 | 1153248.4894
47 | 2558934.9932 | 1153330.1066 | 2558928.3165 | 1153333.2427 | 2558924.7962 | 1153334.8714
48 | 2558934.9932 | 1153330.1066 | 2558944.7401 | 1153342.8687 | 2558949.1644 | 1153348.6057
49 | 2558921.7628 | 1153310.2696 | 2558913.465 | 1153295.2137
50 | 2558949.1644 | 1153348.6057 | 2558950.2883 | 1153350.063
51 | 2558913.465 | 1153295.2137 | 2558910.1783 | 1153289.2501
52 | 2558955.5272 | 1153356.8563 | 2558950.2883 | 1153350.063
53 | 2558910.1783 | 1153289.2501 | 2558906.9218 | 1153283.3412 | 2558900.5617 | 1153268.8328 | 2558899.6298 | 1153266.2194
54 | 2558955.5272 | 1153356.8563 | 2558957.2386 | 1153359.0755
55 | 2559030.8607 | 1153368.4307 | 2559039.3025 | 1153361.8886 | 2559043.2658 | 1153361.3483
56 | 2559043.2658 | 1153361.3483 | 2559065.5276 | 1153358.3137
57 | 2559066.4301 | 1153358.1907 | 2559065.5276 | 1153358.3137
58 | 2558889.4191 | 1153450.2314 | 2558901.3579 | 1153443.0973
59 | 2558889.4191 | 1153450.2314 | 2558790.2543 | 1153440.0319
60 | 2558790.1438 | 1153459.7094 | 2558790.2543 | 1153440.0319
61 | 2558906.8987 | 1153428.1193 | 2558892.6697 | 1153409.3812 | 2558886.0302 | 1153400.4724
62 | 2558864.2044 | 1153358.4484 | 2558874.7822 | 1153385.3802 | 2558886.0302 | 1153400.4724
63 | 2558864.2044 | 1153358.4484 | 2558864.2043 | 1153358.448
64 | 2558864.2043 | 1153358.448 | 2558861.4323 | 1153351.3903
65 | 2558848.6892 | 1153293.793 | 2558850.6836 | 1153310.4401 | 2558854.7295 | 1153334.3246 | 2558861.4323 | 1153351.3903
66 | 2558846.291 | 1153274.0404 | 2558847.9329 | 1153287.4804 | 2558848.6892 | 1153293.793
67 | 2558992.1024 | 1153281.1025 | 2558993.9026 | 1153288.5607 | 2558989.9701 | 1153298.0591 | 2558987.1239 | 1153304.1661
68 | 2558992.1024 | 1153281.1025 | 2558986.7408 | 1153267.852
69 | 2558992.1024 | 1153281.1025 | 2559011.042 | 1153273.938
70 | 2558986.2509 | 1153266.6414 | 2558986.7408 | 1153267.852
71 | 2559022.2511 | 1153284.9543 | 2559011.042 | 1153273.938
72 | 2559022.2511 | 1153284.9543 | 2559023.4381 | 1153285.1836
73 | 2558982.9557 | 1153258.4978 | 2558986.2509 | 1153266.6414
74 | 2558846.291 | 1153274.0404 | 2558845.678 | 1153270.6597

## bus_geodata
| x | y | coords
0 | 2559151.0211 | 1153400.9671
1 | 2559162.8648 | 1153382.3741
2 | 2559142.3804 | 1153418.071
3 | 2559152.9571 | 1153325.8163
4 | 2559093.6424 | 1153412.0516
5 | 2559134.4407 | 1153318.4678
6 | 2559062.5127 | 1153409.4562
7 | 2559129.8463 | 1153316.6326
8 | 2559053.6242 | 1153408.7151
9 | 2559116.7011 | 1153311.3821
10 | 2559045.8525 | 1153408.0671
11 | 2558914.0612 | 1153167.6435
12 | 2558916.2475 | 1153189.3138
13 | 2559067.7631 | 1153293.7485
14 | 2559037.0243 | 1153287.8089
15 | 2558988.7654 | 1153406.9341
16 | 2558989.5819 | 1153405.3582
17 | 2558966.1801 | 1153427.5324
18 | 2558995.3607 | 1153394.2049
19 | 2558958.1486 | 1153437.8481
20 | 2558982.6828 | 1153386.2633
21 | 2559005.7979 | 1153399.5082
22 | 2558917.9164 | 1153437.2527
23 | 2558972.7637 | 1153437.0042
24 | 2558976.7522 | 1153382.5482
25 | 2559019.2324 | 1153403.6246
26 | 2558912.9929 | 1153436.1447
27 | 2558990.7217 | 1153435.971
28 | 2558970.2794 | 1153375.0451
29 | 2559026.39 | 1153405.8145
30 | 2559021.5549 | 1153390.3962
31 | 2558967.9302 | 1153372.322
32 | 2559034.2189 | 1153407.0971
33 | 2559021.9013 | 1153388.4234
34 | 2558940.8489 | 1153304.8826
35 | 2558940.3838 | 1153297.017
36 | 2558942.3654 | 1153319.8621
37 | 2558940.222 | 1153294.0735
38 | 2558934.3438 | 1153329.3884
39 | 2558931.8258 | 1153248.4894
40 | 2558934.9932 | 1153330.1066
41 | 2558921.7628 | 1153310.2696
42 | 2558923.3896 | 1153215.2495
43 | 2558924.7962 | 1153334.8714
44 | 2558949.1644 | 1153348.6057
45 | 2558913.465 | 1153295.2137
46 | 2558950.2883 | 1153350.063
47 | 2558910.1783 | 1153289.2501
48 | 2558899.6298 | 1153266.2194
49 | 2558955.5272 | 1153356.8563
50 | 2559030.8607 | 1153368.4307
51 | 2559043.2658 | 1153361.3483
52 | 2559065.5276 | 1153358.3137
53 | 2559066.4301 | 1153358.1907
54 | 2558889.4191 | 1153450.2314
55 | 2558901.3579 | 1153443.0973
56 | 2558790.2543 | 1153440.0319
57 | 2558790.1438 | 1153459.7094
58 | 2558906.8987 | 1153428.1193
59 | 2558886.0302 | 1153400.4724
60 | 2558864.2044 | 1153358.4484
61 | 2558864.2043 | 1153358.448
62 | 2558861.4323 | 1153351.3903
63 | 2558848.6892 | 1153293.793
64 | 2558957.2386 | 1153359.0755
65 | 2558987.1239 | 1153304.1661
66 | 2558992.1024 | 1153281.1025
67 | 2558986.7408 | 1153267.852
68 | 2559011.042 | 1153273.938
69 | 2559022.2511 | 1153284.9543
70 | 2559023.4381 | 1153285.1836
71 | 2558986.2509 | 1153266.6414
72 | 2558982.9557 | 1153258.4978
73 | 2558845.678 | 1153270.6597
74 | 2558846.291 | 1153274.0404
75 | 2559019.9279 | 1153434.7186
76 | 2558934.9932 | 1153330.1066

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98422 | -0.30071 | 0.0003804 | 9.5337e-05
1 | 0.98298 | -0.32461 | 0.00045442 | 0.00011389
2 | 0.9853 | -0.27988 | 0 | 0
3 | 0.97818 | -0.41782 | 0.00028754 | 7.2066e-05
4 | 0.98809 | -0.22642 | 0.0056604 | 0.0014186
5 | 0.97707 | -0.43939 | 0.0001994 | 4.9975e-05
6 | 0.99001 | -0.1896 | 0.0020334 | 0.00050963
7 | 0.9768 | -0.44473 | 0.0062962 | 0.001578
8 | 0.99058 | -0.17879 | 0.0024422 | 0.00061206
9 | 0.9761 | -0.45841 | 0.00037958 | 9.5132e-05
10 | 0.99109 | -0.16901 | 0.003474 | 0.00087066
11 | 0.99404 | -0.11479 | 0.004141 | 0.0010378
12 | 0.99412 | -0.11319 | 0.006848 | 0.0017163
13 | 0.97355 | -0.50863 | 0.01092 | 0.0027369
14 | 0.97233 | -0.53259 | 0.00017233 | 4.3191e-05
15 | 0.99171 | -0.15737 | 0.0040554 | 0.0010164
16 | 0.99189 | -0.1539 | 0.005215 | 0.001307
17 | 0.98858 | -0.21744 | 0.0028469 | 0.00071349
18 | 0.99323 | -0.12827 | 0 | 0
19 | 0.98732 | -0.24172 | 0 | 0
20 | 0.99472 | -0.099953 | 0.0025027 | 0.00062724
21 | 0.99269 | -0.13861 | 0.0024081 | 0.00060353
22 | 0.98404 | -0.30516 | 0.001725 | 0.00043234
23 | 0.9871 | -0.24591 | 0.0012626 | 0.00031645
24 | 0.99542 | -0.086583 | 0.0026901 | 0.00067421
25 | 0.99206 | -0.15065 | 0 | 0
26 | 0.98364 | -0.31293 | 0 | 0
27 | 0.98686 | -0.25065 | 0.0023225 | 0.00058208
28 | 0.99643 | -0.06745 | 0.002484 | 0.00062255
29 | 0.99178 | -0.15588 | 0.0016427 | 0.0004117
30 | 0.99184 | -0.15491 | 0.0010315 | 0.00025852
31 | 0.9968 | -0.060437 | 0.0040976 | 0.001027
32 | 0.9915 | -0.16134 | 0.0031481 | 0.00078898
33 | 0.99181 | -0.15551 | 0.0029167 | 0.00073099
34 | 0.99712 | -0.05534 | 0.0034801 | 0.0008722
35 | 0.99681 | -0.061331 | 0.0026814 | 0.00067202
36 | 0.99776 | -0.042988 | 0.0038626 | 0.00096807
37 | 0.9967 | -0.063434 | 0.003808 | 0.00095437
38 | 0.99833 | -0.03194 | 0 | 0
39 | 0.99514 | -0.093512 | 0.012948 | 0.0032451
40 | 0.9984 | -0.030694 | 0 | 0
41 | 0.99785 | -0.041175 | 0.0022614 | 0.00056677
42 | 0.99439 | -0.10797 | 0.01292 | 0.0032381
43 | 0.99838 | -0.031032 | 0.001717 | 0.00043033
44 | 1 | 0 | -0.31482 | -0.080155
45 | 0.99753 | -0.047428 | 0.0050568 | 0.0012674
46 | 0.9998 | -0.0037448 | 0.001447 | 0.00036265
47 | 0.99743 | -0.049302 | 0.014572 | 0.0036521
48 | 0.99741 | -0.049811 | 0.0011433 | 0.00028654
49 | 0.99888 | -0.021112 | 0.0041506 | 0.0010402
50 | 0.99152 | -0.16114 | 0.006552 | 0.0016421
51 | 0.99142 | -0.16307 | 0.0033265 | 0.0008337
52 | 0.99133 | -0.1647 | 0.0020948 | 0.00052501
53 | 0.99133 | -0.16473 | 0.0019849 | 0.00049745
54 | 0.98348 | -0.31607 | 0.0019051 | 0.00047746
55 | 0.98355 | -0.31467 | 0.0015591 | 0.00039075
56 | 0.98314 | -0.32265 | 0.001659 | 0.00041577
57 | 0.98311 | -0.32336 | 0.0019993 | 0.00050107
58 | 0.98291 | -0.32717 | 0.0018431 | 0.00046191
59 | 0.98045 | -0.37512 | 0.0027031 | 0.00067746
60 | 0.97717 | -0.43927 | 0.033597 | 0.0084201
61 | 0.97717 | -0.43927 | 0.033597 | 0.0084202
62 | 0.97713 | -0.44019 | 0.0036606 | 0.00091742
63 | 0.97696 | -0.44341 | 0.0014538 | 0.00036436
64 | 0.99858 | -0.02669 | 0.0014969 | 0.00037517
65 | 0.97058 | -0.56709 | 0.0049973 | 0.0012524
66 | 0.9707 | -0.56481 | 0 | 0
67 | 0.97035 | -0.57177 | 0.0059425 | 0.0014893
68 | 0.97129 | -0.55309 | 0.00046574 | 0.00011673
69 | 0.97176 | -0.54387 | 0.00037186 | 9.3197e-05
70 | 0.9718 | -0.54315 | 0.009245 | 0.002317
71 | 0.97032 | -0.57226 | 0.012003 | 0.0030082
72 | 0.97026 | -0.57362 | 0.0083659 | 0.0020967
73 | 0.97693 | -0.44406 | 0.0015211 | 0.00038121
74 | 0.97694 | -0.44396 | 0 | 0
75 | 0.98653 | -0.25714 | 0.01241 | 0.0031103
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.06079 | 0.0155 | -0.06072 | -0.015455 | 7.0044e-05 | 4.4548e-05 | 0.092002 | 0.092002 | 0.092002 | 0.98422 | -0.30071 | 0.98298 | -0.32461 | 25.2753
1 | -0.06117 | -0.015595 | 0.061232 | 0.015634 | 6.1588e-05 | 3.9172e-05 | 0.092577 | 0.092577 | 0.092577 | 0.98422 | -0.30071 | 0.9853 | -0.27988 | 25.4333
2 | 0.060266 | 0.015341 | -0.059996 | -0.01517 | 0.00026952 | 0.00017141 | 0.091314 | 0.091315 | 0.091315 | 0.98298 | -0.32461 | 0.97818 | -0.41782 | 25.0865
3 | -0.061232 | -0.015634 | 0.061391 | 0.015735 | 0.00015864 | 0.0001009 | 0.092577 | 0.092577 | 0.092577 | 0.9853 | -0.27988 | 0.98809 | -0.22642 | 25.4333
4 | 0.059708 | 0.015098 | -0.059647 | -0.015058 | 6.1702e-05 | 3.9239e-05 | 0.090877 | 0.090877 | 0.090877 | 0.97818 | -0.41782 | 0.97707 | -0.43939 | 24.9663
5 | -0.067051 | -0.017154 | 0.067171 | 0.01723 | 0.00011974 | 7.623e-05 | 0.1011 | 0.1011 | 0.1011 | 0.98809 | -0.22642 | 0.99001 | -0.1896 | 27.7751
6 | 0.059447 | 0.015009 | -0.059432 | -0.014999 | 1.522e-05 | 9.6789e-06 | 0.090574 | 0.090574 | 0.090574 | 0.97707 | -0.43939 | 0.9768 | -0.44473 | 24.8829
7 | -0.069204 | -0.01774 | 0.069241 | 0.017763 | 3.6287e-05 | 2.3109e-05 | 0.10416 | 0.10416 | 0.10416 | 0.99001 | -0.1896 | 0.99058 | -0.17879 | 28.6146
8 | 0.053136 | 0.013421 | -0.053101 | -0.013399 | 3.4812e-05 | 2.2102e-05 | 0.080982 | 0.080983 | 0.080983 | 0.9768 | -0.44473 | 0.9761 | -0.45841 | 22.2479
9 | -0.071683 | -0.018375 | 0.071717 | 0.018396 | 3.4001e-05 | 2.166e-05 | 0.10783 | 0.10783 | 0.10783 | 0.99058 | -0.17879 | 0.99109 | -0.16901 | 29.6225
10 | 0.052722 | 0.013304 | -0.052595 | -0.013223 | 0.00012644 | 8.0273e-05 | 0.080404 | 0.080404 | 0.080404 | 0.9761 | -0.45841 | 0.97355 | -0.50863 | 22.089
11 | -0.075191 | -0.019267 | 0.075219 | 0.019285 | 2.797e-05 | 1.76e-05 | 0.11304 | 0.11304 | 0.11304 | 0.99109 | -0.16901 | 0.9915 | -0.16134 | 15.5277
12 | -0.004141 | -0.0010378 | 0.0041413 | 0.0010377 | 3.1399e-07 | -8.1553e-08 | 0.0061988 | 0.0061987 | 0.0061988 | 0.99404 | -0.11479 | 0.99412 | -0.11319 | 1.703
13 | -0.010989 | -0.002754 | 0.010992 | 0.0027554 | 2.7374e-06 | 1.402e-06 | 0.016449 | 0.016449 | 0.016449 | 0.99412 | -0.11319 | 0.99439 | -0.10797 | 4.5189
14 | 0.041675 | 0.010486 | -0.041627 | -0.010456 | 4.7658e-05 | 3.0112e-05 | 0.063713 | 0.063713 | 0.063713 | 0.97355 | -0.50863 | 0.97233 | -0.53259 | 17.5036
15 | 0.041455 | 0.010413 | -0.041434 | -0.0104 | 2.089e-05 | 1.3198e-05 | 0.063449 | 0.063449 | 0.063449 | 0.97233 | -0.53259 | 0.9718 | -0.54315 | 17.4311
16 | -0.11132 | -0.028361 | 0.11134 | 0.028373 | 1.8606e-05 | 1.1885e-05 | 0.1672 | 0.1672 | 0.1672 | 0.99171 | -0.15737 | 0.99189 | -0.1539 | 45.9334
17 | 0.10727 | 0.027345 | -0.10696 | -0.027147 | 0.00031008 | 0.00019804 | 0.16111 | 0.16111 | 0.16111 | 0.99171 | -0.15737 | 0.98858 | -0.21744 | 44.2618
18 | -0.11656 | -0.02968 | 0.1167 | 0.029772 | 0.00014429 | 9.2186e-05 | 0.17502 | 0.17502 | 0.17502 | 0.99189 | -0.1539 | 0.99323 | -0.12827 | 48.0827
19 | 0.10411 | 0.026433 | -0.10399 | -0.026356 | 0.00012146 | 7.7566e-05 | 0.15683 | 0.15683 | 0.15683 | 0.98858 | -0.21744 | 0.98732 | -0.24172 | 43.0846
20 | -0.21718 | -0.055448 | 0.21748 | 0.055638 | 0.00029761 | 0.00019008 | 0.32573 | 0.32573 | 0.32573 | 0.99323 | -0.12827 | 0.99472 | -0.099953 | 44.7435
21 | 0.10048 | 0.025675 | -0.10043 | -0.025643 | 5.0247e-05 | 3.1853e-05 | 0.15071 | 0.15071 | 0.15071 | 0.99323 | -0.12827 | 0.99269 | -0.13861 | 20.7022
22 | 0.087982 | 0.022341 | -0.087714 | -0.02217 | 0.00026772 | 0.00017083 | 0.1327 | 0.1327 | 0.1327 | 0.98732 | -0.24172 | 0.98404 | -0.30516 | 36.4573
23 | 0.016006 | 0.0040146 | -0.016002 | -0.0040128 | 3.1948e-06 | 1.8575e-06 | 0.024124 | 0.024124 | 0.024124 | 0.98732 | -0.24172 | 0.9871 | -0.24591 | 6.6274
24 | -0.21998 | -0.056265 | 0.22012 | 0.056356 | 0.00014244 | 9.098e-05 | 0.32948 | 0.32948 | 0.32948 | 0.99472 | -0.099953 | 0.99542 | -0.086583 | 45.2577
25 | 0.098023 | 0.02504 | -0.097966 | -0.025004 | 5.701e-05 | 3.6123e-05 | 0.1471 | 0.1471 | 0.1471 | 0.99269 | -0.13861 | 0.99206 | -0.15065 | 20.2064
26 | 0.085989 | 0.021738 | -0.085957 | -0.021718 | 3.203e-05 | 2.0435e-05 | 0.1301 | 0.1301 | 0.1301 | 0.98404 | -0.30516 | 0.98364 | -0.31293 | 35.7406
27 | 0.01474 | 0.0036963 | -0.014736 | -0.0036944 | 3.3305e-06 | 1.9016e-06 | 0.02222 | 0.02222 | 0.02222 | 0.9871 | -0.24591 | 0.98686 | -0.25065 | 6.1045
28 | -0.22281 | -0.05703 | 0.22302 | 0.057162 | 0.00020665 | 0.000132 | 0.3335 | 0.3335 | 0.3335 | 0.99542 | -0.086583 | 0.99643 | -0.06745 | 45.8101
29 | 0.08005 | 0.020511 | -0.08003 | -0.020498 | 2.0287e-05 | 1.2791e-05 | 0.12023 | 0.12023 | 0.12023 | 0.99206 | -0.15065 | 0.99178 | -0.15588 | 16.5152
30 | 0.017915 | 0.0044924 | -0.017912 | -0.0044903 | 3.637e-06 | 2.1543e-06 | 0.026872 | 0.026872 | 0.026872 | 0.99206 | -0.15065 | 0.99184 | -0.15491 | 7.3826
31 | 0.078833 | 0.019933 | -0.078779 | -0.019899 | 5.38e-05 | 3.4304e-05 | 0.11932 | 0.11932 | 0.11932 | 0.98364 | -0.31293 | 0.98291 | -0.32717 | 32.7798
32 | 0.0071247 | 0.0017846 | -0.0071241 | -0.0017844 | 5.904e-07 | 2.0582e-07 | 0.010778 | 0.010778 | 0.010778 | 0.98364 | -0.31293 | 0.98355 | -0.31467 | 2.9609
33 | 0.012414 | 0.0031123 | -0.01241 | -0.0031103 | 3.841e-06 | 2.0849e-06 | 0.018718 | 0.018719 | 0.018719 | 0.98686 | -0.25065 | 0.98653 | -0.25714 | 5.1425
34 | -0.2255 | -0.057785 | 0.22558 | 0.057834 | 7.6676e-05 | 4.8979e-05 | 0.33721 | 0.33721 | 0.33721 | 0.99643 | -0.06745 | 0.9968 | -0.060437 | 46.3196
35 | 0.078387 | 0.020087 | -0.078367 | -0.020074 | 2.074e-05 | 1.3068e-05 | 0.11777 | 0.11777 | 0.11777 | 0.99178 | -0.15588 | 0.9915 | -0.16134 | 16.1766
36 | 0.01688 | 0.0042318 | -0.01688 | -0.0042315 | 4.8172e-07 | 2.8245e-07 | 0.025325 | 0.025325 | 0.025325 | 0.99184 | -0.15491 | 0.99181 | -0.15551 | 6.9574
37 | -0.22968 | -0.058861 | 0.23005 | 0.059101 | 0.00037636 | 0.00024042 | 0.34332 | 0.34332 | 0.34332 | 0.9968 | -0.060437 | 0.99858 | -0.02669 | 47.1598
38 | 0.013963 | 0.0035005 | -0.013959 | -0.0034984 | 3.7474e-06 | 2.1046e-06 | 0.020949 | 0.020949 | 0.020949 | 0.99181 | -0.15551 | 0.99152 | -0.16114 | 5.7553
39 | 0.043436 | 0.010919 | -0.043423 | -0.010911 | 1.242e-05 | 7.8463e-06 | 0.064832 | 0.064832 | 0.064832 | 0.99712 | -0.05534 | 0.99681 | -0.061331 | 17.8109
40 | -0.046916 | -0.011791 | 0.046944 | 0.011809 | 2.7685e-05 | 1.7522e-05 | 0.070025 | 0.070025 | 0.070025 | 0.99712 | -0.05534 | 0.99776 | -0.042988 | 19.2376
41 | 0.040742 | 0.010239 | -0.040738 | -0.010236 | 4.0905e-06 | 2.5795e-06 | 0.060829 | 0.060829 | 0.060829 | 0.99681 | -0.061331 | 0.9967 | -0.063434 | 16.7112
42 | -0.050806 | -0.012777 | 0.050833 | 0.012794 | 2.6823e-05 | 1.7004e-05 | 0.075786 | 0.075785 | 0.075786 | 0.99776 | -0.042988 | 0.99833 | -0.03194 | 20.8202
43 | 0.03693 | 0.009282 | -0.036877 | -0.0092488 | 5.2951e-05 | 3.3285e-05 | 0.055144 | 0.055144 | 0.055144 | 0.9967 | -0.063434 | 0.99514 | -0.093512 | 15.1494
44 | -0.073885 | -0.018577 | 0.073889 | 0.01858 | 4.3994e-06 | 2.803e-06 | 0.11015 | 0.11015 | 0.11015 | 0.99833 | -0.03194 | 0.9984 | -0.030694 | 30.2599
45 | 0.023052 | 0.0057832 | -0.023041 | -0.005777 | 1.0144e-05 | 6.1926e-06 | 0.03436 | 0.03436 | 0.03436 | 0.99833 | -0.03194 | 0.99785 | -0.041175 | 9.4397
46 | 0.023929 | 0.0060036 | -0.023912 | -0.0059935 | 1.6479e-05 | 1.0101e-05 | 0.035783 | 0.035783 | 0.035783 | 0.99514 | -0.093512 | 0.99439 | -0.10797 | 9.8304
47 | 0.0017171 | 0.0004302 | -0.001717 | -0.00043033 | 2.7641e-08 | -1.295e-07 | 0.002559 | 0.0025591 | 0.0025591 | 0.9984 | -0.030694 | 0.99838 | -0.031032 | 0.70305
48 | -0.075606 | -0.01901 | 0.075717 | 0.019081 | 0.000111 | 7.0736e-05 | 0.1127 | 0.1127 | 0.1127 | 0.9984 | -0.030694 | 1 | 0 | 30.9629
49 | 0.02078 | 0.0052103 | -0.020774 | -0.0052065 | 6.1905e-06 | 3.7374e-06 | 0.030988 | 0.030988 | 0.030988 | 0.99785 | -0.041175 | 0.99753 | -0.047428 | 8.5133
50 | 0.23745 | 0.061074 | -0.23741 | -0.061046 | 4.3217e-05 | 2.7611e-05 | 0.35389 | 0.35389 | 0.35389 | 1 | 0 | 0.9998 | -0.0037448 | 48.6113
51 | 0.015717 | 0.0039392 | -0.015716 | -0.0039384 | 1.4036e-06 | 8.0942e-07 | 0.023445 | 0.023445 | 0.023445 | 0.99753 | -0.047428 | 0.99743 | -0.049302 | 6.441
52 | 0.23596 | 0.060684 | -0.23576 | -0.060557 | 0.000199 | 0.00012714 | 0.35174 | 0.35174 | 0.35174 | 0.9998 | -0.0037448 | 0.99888 | -0.021112 | 48.3155
53 | 0.0011434 | 0.00028623 | -0.0011433 | -0.00028654 | 2.767e-08 | -3.1332e-07 | 0.0017056 | 0.0017057 | 0.0017057 | 0.99743 | -0.049302 | 0.99741 | -0.049811 | 0.4686
54 | 0.23161 | 0.059516 | -0.23155 | -0.059476 | 6.2743e-05 | 4.0082e-05 | 0.34555 | 0.34555 | 0.34555 | 0.99888 | -0.021112 | 0.99858 | -0.02669 | 47.4662
55 | 0.0074071 | 0.0018563 | -0.0074065 | -0.0018561 | 6.8026e-07 | 2.4605e-07 | 0.011116 | 0.011116 | 0.011116 | 0.99152 | -0.16114 | 0.99142 | -0.16307 | 3.0539
56 | 0.00408 | 0.0010224 | -0.0040797 | -0.0010224 | 3.1594e-07 | -8.7497e-08 | 0.0061236 | 0.0061237 | 0.0061237 | 0.99142 | -0.16307 | 0.99133 | -0.1647 | 1.6823
57 | 0.0019849 | 0.00049744 | -0.0019849 | -0.00049745 | 3.0317e-09 | -9.8026e-09 | 0.0029793 | 0.0029793 | 0.0029793 | 0.99133 | -0.1647 | 0.99133 | -0.16473 | 0.81849
58 | -0.0055646 | -0.0013936 | 0.0055649 | 0.0013936 | 3.6966e-07 | 6.0086e-08 | 0.0084189 | 0.0084188 | 0.0084189 | 0.98348 | -0.31607 | 0.98355 | -0.31467 | 2.3129
59 | 0.0036595 | 0.00091611 | -0.0036583 | -0.00091664 | 1.146e-06 | -5.3112e-07 | 0.0055365 | 0.0055369 | 0.0055369 | 0.98348 | -0.31607 | 0.98314 | -0.32265 | 1.5211
60 | 0.0019994 | 0.00050087 | -0.0019993 | -0.00050107 | 6.7572e-08 | -2.0627e-07 | 0.003026 | 0.0030261 | 0.0030261 | 0.98314 | -0.32265 | 0.98311 | -0.32336 | 0.83135
61 | 0.076936 | 0.019437 | -0.076759 | -0.019324 | 0.00017638 | 0.00011245 | 0.11653 | 0.11653 | 0.11653 | 0.98291 | -0.32717 | 0.98045 | -0.37512 | 32.0133
62 | 0.074056 | 0.018647 | -0.07383 | -0.018503 | 0.00022636 | 0.00014427 | 0.11243 | 0.11243 | 0.11243 | 0.98045 | -0.37512 | 0.97717 | -0.43927 | 30.8863
63 | 0.040233 | 0.010083 | -0.040233 | -0.010083 | 6.7091e-10 | 4.2938e-10 | 0.061266 | 0.061266 | 0.061266 | 0.97717 | -0.43927 | 0.97717 | -0.43927 | 16.8314
64 | 0.0066362 | 0.0016624 | -0.006636 | -0.0016623 | 2.9036e-07 | 9.0848e-08 | 0.010105 | 0.010105 | 0.010105 | 0.97717 | -0.43927 | 0.97713 | -0.44019 | 2.7762
65 | 0.0029754 | 0.00074486 | -0.0029749 | -0.00074531 | 4.5671e-07 | -4.5069e-07 | 0.0045308 | 0.004531 | 0.004531 | 0.97713 | -0.44019 | 0.97696 | -0.44341 | 1.2448
66 | 0.0015211 | 0.00038095 | -0.0015211 | -0.00038117 | 4.0049e-08 | -2.2352e-07 | 0.0023167 | 0.0023168 | 0.0023168 | 0.97696 | -0.44341 | 0.97694 | -0.44396 | 0.63648
67 | -0.0049973 | -0.0012524 | 0.0049979 | 0.0012525 | 5.4347e-07 | 4.264e-08 | 0.0076614 | 0.0076613 | 0.0076614 | 0.97058 | -0.56709 | 0.9707 | -0.56481 | 2.1048
68 | 0.026321 | 0.0066001 | -0.026312 | -0.0065947 | 8.7269e-06 | 5.4085e-06 | 0.040349 | 0.040349 | 0.040349 | 0.9707 | -0.56481 | 0.97035 | -0.57177 | 11.085
69 | -0.031319 | -0.0078526 | 0.031336 | 0.0078635 | 1.7503e-05 | 1.0952e-05 | 0.048011 | 0.04801 | 0.048011 | 0.9707 | -0.56481 | 0.97129 | -0.55309 | 13.1897
70 | 0.02037 | 0.0051054 | -0.020369 | -0.0051051 | 4.7784e-07 | 2.8969e-07 | 0.031237 | 0.031237 | 0.031237 | 0.97035 | -0.57177 | 0.97032 | -0.57226 | 8.5815
71 | -0.031802 | -0.0079803 | 0.031816 | 0.007989 | 1.3992e-05 | 8.76e-06 | 0.048724 | 0.048724 | 0.048724 | 0.97129 | -0.55309 | 0.97176 | -0.54387 | 13.3857
72 | -0.032188 | -0.0080822 | 0.032189 | 0.0080829 | 1.1016e-06 | 6.9004e-07 | 0.049293 | 0.049293 | 0.049293 | 0.97176 | -0.54387 | 0.9718 | -0.54315 | 13.5421
73 | 0.0083664 | 0.0020969 | -0.0083659 | -0.0020967 | 5.423e-07 | 2.3857e-07 | 0.01283 | 0.01283 | 0.01283 | 0.97032 | -0.57226 | 0.97026 | -0.57362 | 3.5248
74 | -0.0015211 | -0.00038121 | 0.0015211 | 0.00038117 | 6.9156e-09 | -3.8594e-08 | 0.0023168 | 0.0023168 | 0.0023168 | 0.97693 | -0.44406 | 0.97694 | -0.44396 | 0.63649

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.31752 | 0.080831

## res_load
| p_mw | q_mvar
0 | 0.0003804 | 9.5337e-05
1 | 0.00045442 | 0.00011389
2 | 0.00028754 | 7.2066e-05
3 | 0.0056604 | 0.0014186
4 | 0.0001994 | 4.9975e-05
5 | 0.0020334 | 0.00050963
6 | 0.0062962 | 0.001578
7 | 0.0024422 | 0.00061206
8 | 0.00037958 | 9.5132e-05
9 | 0.003474 | 0.00087066
10 | 0.004141 | 0.0010378
11 | 0.006848 | 0.0017163
12 | 0.01092 | 0.0027369
13 | 0.00017233 | 4.3191e-05
14 | 0.0040554 | 0.0010164
15 | 0.005215 | 0.001307
16 | 0.0028469 | 0.00071349
17 | 0.0025027 | 0.00062724
18 | 0.0024081 | 0.00060353
19 | 0.001725 | 0.00043234
20 | 0.0012626 | 0.00031645
21 | 0.0026901 | 0.00067421
22 | 0.0023225 | 0.00058208
23 | 0.002484 | 0.00062255
24 | 0.0016427 | 0.0004117
25 | 0.0010315 | 0.00025852
26 | 0.0040976 | 0.001027
27 | 0.0031481 | 0.00078898
28 | 0.0029167 | 0.00073099
29 | 0.0034801 | 0.0008722
30 | 0.0026814 | 0.00067202
31 | 0.0038626 | 0.00096807
32 | 0.003808 | 0.00095437
33 | 0.012948 | 0.0032451
34 | 0.0022614 | 0.00056677
35 | 0.01292 | 0.0032381
36 | 0.001717 | 0.00043033
37 | 0.0027004 | 0.00067678
38 | 0.0050568 | 0.0012674
39 | 0.001447 | 0.00036265
40 | 0.014572 | 0.0036521
41 | 0.0011433 | 0.00028654
42 | 0.0041506 | 0.0010402
43 | 0.006552 | 0.0016421
44 | 0.0033265 | 0.0008337
45 | 0.0020948 | 0.00052501
46 | 0.0019849 | 0.00049745
47 | 0.0019051 | 0.00047746
48 | 0.0015591 | 0.00039075
49 | 0.001659 | 0.00041577
50 | 0.0019993 | 0.00050107
51 | 0.0018431 | 0.00046191
52 | 0.0027031 | 0.00067746
53 | 0.033597 | 0.0084201
54 | 0.033597 | 0.0084202
55 | 0.0036606 | 0.00091742
56 | 0.0014538 | 0.00036436
57 | 0.0014969 | 0.00037517
58 | 0.0049973 | 0.0012524
59 | 0.0059425 | 0.0014893
60 | 0.00046574 | 0.00011673
61 | 0.00037186 | 9.3197e-05
62 | 0.009245 | 0.002317
63 | 0.012003 | 0.0030082
64 | 0.0083659 | 0.0020967
65 | 0.0015211 | 0.00038121
66 | 0.01241 | 0.0031103

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1