## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2325-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2325-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2325-17_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2325-17_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2325-17_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2325-17_0_3_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_2325-17_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2325-17_0_3_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_2325-17_0_3_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_2325-17_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_2325-17_0_3_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_2325-17_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_2325-17_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2325-17_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2325-17_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2325-17_0_3_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_2325-17_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2325-17_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2325-17_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_2325-17_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_2325-17_0_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_2325-17_0_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_2325-17_0_3_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_2325-17_0_3_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_2325-17_0_3_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_2325-17_0_3_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_2325-17_0_3_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_2325-17_0_3_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_2325-17_0_3_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_2325-17_0_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_2325-17_0_3_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_2325-17_0_3_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_2325-17_0_3_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_2325-17_0_3_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_2325-17_0_3_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_2325-17_0_3_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_2325-17_0_3_node_56 | 0.4 | n |  | TRUE
37 | bus_MV_37_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2325-17_0_3_load_0 | 0 | 0.0020375 | 0.00051065 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2325-17_0_3_load_3 | 2 | 0.0013665 | 0.00034247 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2325-17_0_3_load_15 | 5 | 0.0013825 | 0.00034649 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2325-17_0_3_load_5 | 6 | 0.0013558 | 0.00033979 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2325-17_0_3_load_36 | 7 | 0.0073663 | 0.0018462 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2325-17_0_3_load_19 | 8 | 0.0021294 | 0.00053369 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2325-17_0_3_load_14 | 9 | 0.0020862 | 0.00052286 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2325-17_0_3_load_35 | 10 | 0.0073681 | 0.0018466 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2325-17_0_3_load_20 | 11 | 0.00087165 | 0.00021846 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2325-17_0_3_load_6 | 12 | 0.001116 | 0.00027969 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2325-17_0_3_load_7 | 13 | 0.0035379 | 0.00088668 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2325-17_0_3_load_24 | 15 | 0.0028238 | 0.00070772 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2325-17_0_3_load_11 | 16 | 0.0012991 | 0.00032558 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2325-17_0_3_load_18 | 17 | 0.001276 | 0.00031979 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2325-17_0_3_load_17 | 18 | 0.093461 | 0.023424 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2325-17_0_3_load_16 | 19 | 0.0011301 | 0.00028323 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2325-17_0_3_load_21 | 20 | 0.00093771 | 0.00023501 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2325-17_0_3_load_22 | 21 | 0.0017506 | 0.00043875 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2325-17_0_3_load_48 | 22 | 0.0025672 | 0.00064341 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2325-17_0_3_load_45 | 23 | 0.0028589 | 0.00071652 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2325-17_0_3_load_46 | 24 | 0.002767 | 0.00069346 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2325-17_0_3_load_47 | 25 | 0.0033134 | 0.00083041 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2325-17_0_3_load_52 | 26 | 0.0023572 | 0.00059077 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2325-17_0_3_load_32 | 27 | 0.0050631 | 0.0012689 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2325-17_0_3_load_54 | 28 | 0.0012752 | 0.00031959 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2325-17_0_3_load_50 | 29 | 0.0024733 | 0.00061987 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2325-17_0_3_load_49 | 30 | 0.0008061 | 0.00020203 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2325-17_0_3_load_51 | 31 | 0.0031949 | 0.00080071 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2325-17_0_3_load_53 | 32 | 0.0016576 | 0.00041544 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2325-17_0_3_load_58 | 33 | 0.003013 | 0.00075513 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2325-17_0_3_load_55 | 35 | 0.00054524 | 0.00013665 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2325-17_0_3_load_56 | 36 | 0.0021876 | 0.00054827 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2325-17_0_3_line_0 |  | 0 | 1 | 0.022665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2325-17_0_3_line_1 |  | 1 | 2 | 0.039477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2325-17_0_3_line_2 |  | 2 | 6 | 0.0113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2325-17_0_3_line_3 |  | 3 | 4 | 0.071524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2325-17_0_3_line_4 |  | 3 | 5 | 0.047247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2325-17_0_3_line_5 |  | 4 | 7 | 0.058538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2325-17_0_3_line_6 |  | 5 | 9 | 0.035546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2325-17_0_3_line_7 |  | 6 | 8 | 0.019236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2325-17_0_3_line_8 |  | 6 | 9 | 0.060213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2325-17_0_3_line_9 |  | 7 | 10 | 0.00026013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2325-17_0_3_line_10 |  | 8 | 11 | 0.026674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2325-17_0_3_line_11 |  | 9 | 19 | 0.031162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2325-17_0_3_line_12 |  | 11 | 20 | 0.027817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2325-17_0_3_line_13 |  | 12 | 13 | 0.046521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2325-17_0_3_line_14 |  | 12 | 14 | 0.00096355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2325-17_0_3_line_15 |  | 13 | 15 | 0.077176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2325-17_0_3_line_16 |  | 14 | 16 | 0.024163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2325-17_0_3_line_17 |  | 15 | 27 | 0.015069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2325-17_0_3_line_18 |  | 16 | 17 | 0.015934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2325-17_0_3_line_19 |  | 17 | 18 | 0.020527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2325-17_0_3_line_20 |  | 18 | 19 | 0.021409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2325-17_0_3_line_21 |  | 20 | 21 | 0.02722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2325-17_0_3_line_22 |  | 21 | 22 | 0.051125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2325-17_0_3_line_23 |  | 22 | 24 | 0.026033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2325-17_0_3_line_24 |  | 23 | 24 | 0.01551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2325-17_0_3_line_25 |  | 23 | 25 | 0.021135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2325-17_0_3_line_26 |  | 23 | 26 | 0.044184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2325-17_0_3_line_27 |  | 26 | 28 | 0.00069456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2325-17_0_3_line_28 |  | 26 | 29 | 0.0072439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2325-17_0_3_line_29 |  | 29 | 30 | 0.012869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2325-17_0_3_line_30 |  | 30 | 31 | 0.00064158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2325-17_0_3_line_31 |  | 31 | 32 | 6.8736e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2325-17_0_3_line_32 |  | 32 | 33 | 0.00069659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2325-17_0_3_line_33 |  | 33 | 34 | 0.011246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2325-17_0_3_line_34 |  | 34 | 36 | 0.014738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2325-17_0_3_line_35 |  | 35 | 36 | 0.00016881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2325-17_0_3_trafo_18 | 0.63 MVA 20/0.4 kV | 37 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2558629.2571 | 1153589.1372 | 2558622.8313 | 1153595.2179 | 2558609.6655 | 1153599.4128
1 | 2558629.2571 | 1153589.1372 | 2558612.7582 | 1153568.5625 | 2558609.1893 | 1153555.954
2 | 2558606.1116 | 1153545.0812 | 2558609.1893 | 1153555.954
3 | 2558490.312 | 1153608.7835 | 2558490.921 | 1153621.408 | 2558542.6621 | 1153620.3502 | 2558549.5859 | 1153618.6349
4 | 2558549.5859 | 1153618.6349 | 2558553.5849 | 1153571.5579
5 | 2558490.312 | 1153608.7835 | 2558470.0032 | 1153602.0315 | 2558464.4906 | 1153591.4753 | 2558460.3668 | 1153566.5877
6 | 2558546.4806 | 1153536.7302 | 2558547.2562 | 1153540.1217 | 2558553.5849 | 1153571.5579
7 | 2558606.1116 | 1153545.0812 | 2558605.673 | 1153543.5318 | 2558606.2684 | 1153525.9156
8 | 2558606.1116 | 1153545.0812 | 2558546.4806 | 1153536.7302
9 | 2558460.3243 | 1153566.331 | 2558460.3668 | 1153566.5877
10 | 2558608.5419 | 1153499.3733 | 2558606.7117 | 1153512.7977 | 2558606.2684 | 1153525.9156
11 | 2558546.4806 | 1153536.7302 | 2558539.5338 | 1153506.3523
12 | 2558607.8429 | 1153471.628 | 2558609.1071 | 1153495.2278 | 2558608.5419 | 1153499.3733
13 | 2558538.3563 | 1153423.7177 | 2558538.7328 | 1153416.8506 | 2558542.0113 | 1153388.3022 | 2558542.5787 | 1153377.4091
14 | 2558538.3563 | 1153423.7177 | 2558538.3035 | 1153424.6798
15 | 2558594.6821 | 1153320.4755 | 2558542.5787 | 1153377.4091
16 | 2558538.3035 | 1153424.6798 | 2558537.2689 | 1153448.8205
17 | 2558608.1765 | 1153313.9087 | 2558601.4554 | 1153317.9339 | 2558594.6821 | 1153320.4755
18 | 2558537.2689 | 1153448.8205 | 2558536.5987 | 1153464.4564 | 2558536.5889 | 1153464.7396
19 | 2558535.9431 | 1153485.2502 | 2558535.8884 | 1153484.9163 | 2558536.5889 | 1153464.7396
20 | 2558539.5338 | 1153506.3523 | 2558539.0603 | 1153504.2821 | 2558535.9431 | 1153485.2502
21 | 2558608.757 | 1153444.4374 | 2558607.663 | 1153468.2683 | 2558607.8429 | 1153471.628
22 | 2558608.757 | 1153444.4374 | 2558650.7168 | 1153415.2283
23 | 2558650.7168 | 1153415.2283 | 2558654.6391 | 1153427.9464 | 2558667.3104 | 1153426.792
24 | 2558682.756 | 1153425.3849 | 2558667.3104 | 1153426.792
25 | 2558700.1247 | 1153437.4273 | 2558682.756 | 1153425.3849
26 | 2558684.1636 | 1153381.223 | 2558682.756 | 1153425.3849
27 | 2558683.4712 | 1153381.1682 | 2558684.1636 | 1153381.223
28 | 2558684.1636 | 1153381.223 | 2558691.3849 | 1153381.7943
29 | 2558704.214 | 1153382.8093 | 2558691.3849 | 1153381.7943
30 | 2558704.214 | 1153382.8093 | 2558704.8536 | 1153382.8599
31 | 2558704.8536 | 1153382.8599 | 2558704.9221 | 1153382.8653
32 | 2558704.9221 | 1153382.8653 | 2558705.6165 | 1153382.9202
33 | 2558716.827 | 1153383.8072 | 2558705.6165 | 1153382.9202
34 | 2558716.827 | 1153383.8072 | 2558731.4361 | 1153385.754
35 | 2558731.6035 | 1153385.7763 | 2558731.4361 | 1153385.754

## bus_geodata
| x | y | coords
0 | 2558609.6655 | 1153599.4128
1 | 2558629.2571 | 1153589.1372
2 | 2558609.1893 | 1153555.954
3 | 2558549.5859 | 1153618.6349
4 | 2558490.312 | 1153608.7835
5 | 2558553.5849 | 1153571.5579
6 | 2558606.1116 | 1153545.0812
7 | 2558460.3668 | 1153566.5877
8 | 2558606.2684 | 1153525.9156
9 | 2558546.4806 | 1153536.7302
10 | 2558460.3243 | 1153566.331
11 | 2558608.5419 | 1153499.3733
12 | 2558538.3563 | 1153423.7177
13 | 2558542.5787 | 1153377.4091
14 | 2558538.3035 | 1153424.6798
15 | 2558594.6821 | 1153320.4755
16 | 2558537.2689 | 1153448.8205
17 | 2558536.5889 | 1153464.7396
18 | 2558535.9431 | 1153485.2502
19 | 2558539.5338 | 1153506.3523
20 | 2558607.8429 | 1153471.628
21 | 2558608.757 | 1153444.4374
22 | 2558650.7168 | 1153415.2283
23 | 2558682.756 | 1153425.3849
24 | 2558667.3104 | 1153426.792
25 | 2558700.1247 | 1153437.4273
26 | 2558684.1636 | 1153381.223
27 | 2558608.1765 | 1153313.9087
28 | 2558683.4712 | 1153381.1682
29 | 2558691.3849 | 1153381.7943
30 | 2558704.214 | 1153382.8093
31 | 2558704.8536 | 1153382.8599
32 | 2558704.9221 | 1153382.8653
33 | 2558705.6165 | 1153382.9202
34 | 2558716.827 | 1153383.8072
35 | 2558731.6035 | 1153385.7763
36 | 2558731.4361 | 1153385.754
37 | 2558538.3035 | 1153424.6798

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99345 | -0.12566 | 0.0020375 | 0.00051065
1 | 0.99349 | -0.12484 | 0 | 0
2 | 0.99356 | -0.12342 | 0.0013665 | 0.00034247
3 | 0.99462 | -0.10321 | 0 | 0
4 | 0.99366 | -0.1218 | 0 | 0
5 | 0.99525 | -0.090946 | 0.0013825 | 0.00034649
6 | 0.9936 | -0.12274 | 0.0013558 | 0.00033979
7 | 0.99287 | -0.13704 | 0.0073663 | 0.0018462
8 | 0.99299 | -0.13454 | 0.0021294 | 0.00053369
9 | 0.99578 | -0.080867 | 0.0020862 | 0.00052286
10 | 0.99287 | -0.13707 | 0.0073681 | 0.0018466
11 | 0.99219 | -0.14992 | 0.00087165 | 0.00021846
12 | 0.99951 | -0.009344 | 0.001116 | 0.00027969
13 | 0.99903 | -0.018624 | 0.0035379 | 0.00088668
14 | 0.99952 | -0.0091331 | 0 | 0
15 | 0.99848 | -0.029262 | 0.0028238 | 0.00070772
16 | 0.9998 | -0.0038459 | 0.0012991 | 0.00032558
17 | 1 | 0 | -0.1684 | -0.042032
18 | 0.99858 | -0.027281 | 0.093461 | 0.023424
19 | 0.99742 | -0.049318 | 0.0011301 | 0.00028323
20 | 0.99138 | -0.16555 | 0.00093771 | 0.00023501
21 | 0.99061 | -0.18042 | 0.0017506 | 0.00043875
22 | 0.98925 | -0.20681 | 0.0025672 | 0.00064341
23 | 0.98828 | -0.22563 | 0.0028589 | 0.00071652
24 | 0.98862 | -0.21908 | 0.002767 | 0.00069346
25 | 0.98821 | -0.22688 | 0.0033134 | 0.00083041
26 | 0.98757 | -0.23945 | 0.0023572 | 0.00059077
27 | 0.99841 | -0.030596 | 0.0050631 | 0.0012689
28 | 0.98757 | -0.23947 | 0.0012752 | 0.00031959
29 | 0.98748 | -0.24125 | 0.0024733 | 0.00061987
30 | 0.98734 | -0.24387 | 0.0008061 | 0.00020203
31 | 0.98734 | -0.24399 | 0.0031949 | 0.00080071
32 | 0.98734 | -0.244 | 0.0016576 | 0.00041544
33 | 0.98733 | -0.24407 | 0.003013 | 0.00075513
34 | 0.9873 | -0.24462 | 0 | 0
35 | 0.98727 | -0.24535 | 0.00054524 | 0.00013665
36 | 0.98727 | -0.24534 | 0.0021876 | 0.00054827
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0020375 | -0.00051065 | 0.0020376 | 0.0005104 | 7.9157e-08 | -2.4281e-07 | 0.0030518 | 0.0030517 | 0.0030518 | 0.99345 | -0.12566 | 0.99349 | -0.12484 | 0.83842
1 | -0.0020376 | -0.0005104 | 0.0020377 | 0.00050998 | 1.3786e-07 | -4.2299e-07 | 0.0030517 | 0.0030516 | 0.0030517 | 0.99349 | -0.12484 | 0.99356 | -0.12342 | 0.83839
2 | -0.0034042 | -0.00085245 | 0.0034043 | 0.00085238 | 1.1013e-07 | -7.5866e-08 | 0.0050981 | 0.005098 | 0.0050981 | 0.99356 | -0.12342 | 0.9936 | -0.12274 | 1.4006
3 | 0.014758 | 0.0037063 | -0.014745 | -0.0036989 | 1.3079e-05 | 7.443e-06 | 0.022082 | 0.022082 | 0.022082 | 0.99462 | -0.10321 | 0.99366 | -0.1218 | 6.0666
4 | -0.014758 | -0.0037063 | 0.014767 | 0.0037112 | 8.6391e-06 | 4.9155e-06 | 0.022082 | 0.022082 | 0.022082 | 0.99462 | -0.10321 | 0.99525 | -0.090946 | 6.0665
5 | 0.014745 | 0.0036989 | -0.014734 | -0.0036928 | 1.0704e-05 | 6.0931e-06 | 0.022082 | 0.022083 | 0.022083 | 0.99366 | -0.1218 | 0.99287 | -0.13704 | 6.0666
6 | -0.016149 | -0.0040577 | 0.016157 | 0.0040622 | 7.7733e-06 | 4.5128e-06 | 0.024149 | 0.024149 | 0.024149 | 0.99525 | -0.090946 | 0.99578 | -0.080867 | 6.6343
7 | 0.03487 | 0.0087989 | -0.03485 | -0.0087865 | 1.9688e-05 | 1.2351e-05 | 0.052242 | 0.052242 | 0.052242 | 0.9936 | -0.12274 | 0.99299 | -0.13454 | 14.3522
8 | -0.03963 | -0.009991 | 0.039709 | 0.010041 | 7.959e-05 | 5.0156e-05 | 0.05937 | 0.05937 | 0.05937 | 0.9936 | -0.12274 | 0.99578 | -0.080867 | 16.3106
9 | 0.0073681 | 0.0018466 | -0.0073681 | -0.0018466 | 1.1895e-08 | 4.2487e-09 | 0.011043 | 0.011043 | 0.011043 | 0.99287 | -0.13704 | 0.99287 | -0.13707 | 3.0337
10 | 0.03272 | 0.0082528 | -0.032696 | -0.0082378 | 2.4067e-05 | 1.5058e-05 | 0.049051 | 0.049051 | 0.049051 | 0.99299 | -0.13454 | 0.99219 | -0.14992 | 13.4756
11 | -0.057953 | -0.014626 | 0.05804 | 0.014682 | 8.7711e-05 | 5.5729e-05 | 0.086636 | 0.086636 | 0.086636 | 0.99578 | -0.080867 | 0.99742 | -0.049318 | 23.8011
12 | 0.031825 | 0.0080193 | -0.031801 | -0.0080044 | 2.3779e-05 | 1.4859e-05 | 0.047744 | 0.047744 | 0.047744 | 0.99219 | -0.14992 | 0.99138 | -0.16555 | 13.1165
13 | 0.011434 | 0.0028675 | -0.011429 | -0.0028649 | 5.0556e-06 | 2.6262e-06 | 0.017023 | 0.017023 | 0.017023 | 0.99951 | -0.009344 | 0.99903 | -0.018624 | 4.6768
14 | -0.01255 | -0.0031472 | 0.01255 | 0.0031473 | 1.2615e-07 | 6.8105e-08 | 0.018685 | 0.018685 | 0.018685 | 0.99951 | -0.009344 | 0.99952 | -0.0091331 | 5.1331
15 | 0.0078913 | 0.0019782 | -0.0078873 | -0.0019767 | 3.9985e-06 | 1.5491e-06 | 0.011754 | 0.011754 | 0.011754 | 0.99903 | -0.018624 | 0.99848 | -0.029262 | 3.2292
16 | -0.01255 | -0.0031473 | 0.012554 | 0.003149 | 3.1633e-06 | 1.7078e-06 | 0.018685 | 0.018685 | 0.018685 | 0.99952 | -0.0091331 | 0.9998 | -0.0038459 | 5.1331
17 | 0.0050635 | 0.001269 | -0.0050631 | -0.0012689 | 3.2177e-07 | 8.8547e-09 | 0.007546 | 0.007546 | 0.007546 | 0.99848 | -0.029262 | 0.99841 | -0.030596 | 2.0731
18 | -0.013853 | -0.0034746 | 0.013855 | 0.003476 | 2.54e-06 | 1.4166e-06 | 0.020618 | 0.020618 | 0.020618 | 0.9998 | -0.0038459 | 1 | 0 | 5.6643
19 | 0.15289 | 0.038556 | -0.15269 | -0.038429 | 0.00019936 | 0.00012706 | 0.22759 | 0.22759 | 0.22759 | 1 | 0 | 0.99858 | -0.027281 | 31.2627
20 | 0.059233 | 0.015005 | -0.05917 | -0.014965 | 6.2628e-05 | 3.9802e-05 | 0.088322 | 0.088322 | 0.088322 | 0.99858 | -0.027281 | 0.99742 | -0.049318 | 24.2643
21 | 0.030863 | 0.0077694 | -0.030841 | -0.0077558 | 2.1917e-05 | 1.3676e-05 | 0.046337 | 0.046337 | 0.046337 | 0.99138 | -0.16555 | 0.99061 | -0.18042 | 12.7299
22 | 0.029091 | 0.007317 | -0.029054 | -0.0072942 | 3.6625e-05 | 2.2782e-05 | 0.043707 | 0.043707 | 0.043707 | 0.99061 | -0.18042 | 0.98925 | -0.20681 | 12.0075
23 | 0.026487 | 0.0066508 | -0.026471 | -0.0066412 | 1.55e-05 | 9.5857e-06 | 0.039846 | 0.039846 | 0.039846 | 0.98925 | -0.20681 | 0.98862 | -0.21908 | 10.9467
24 | -0.023697 | -0.0059432 | 0.023704 | 0.0059478 | 7.4048e-06 | 4.5402e-06 | 0.035681 | 0.035681 | 0.035681 | 0.98828 | -0.22563 | 0.98862 | -0.21908 | 9.8025
25 | 0.0033136 | 0.00083026 | -0.0033134 | -0.00083041 | 1.9728e-07 | -1.4454e-07 | 0.0049891 | 0.0049892 | 0.0049892 | 0.98828 | -0.22563 | 0.98821 | -0.22688 | 1.3707
26 | 0.017524 | 0.0043964 | -0.017513 | -0.0043896 | 1.1537e-05 | 6.8181e-06 | 0.026388 | 0.026388 | 0.026388 | 0.98828 | -0.22563 | 0.98757 | -0.23945 | 7.2494
27 | 0.0012752 | 0.00031958 | -0.0012752 | -0.00031958 | 9.6142e-10 | -8.2716e-09 | 0.0019213 | 0.0019214 | 0.0019214 | 0.98757 | -0.23945 | 0.98757 | -0.23947 | 0.52784
28 | 0.013881 | 0.0034793 | -0.013879 | -0.0034786 | 1.1883e-06 | 6.678e-07 | 0.020915 | 0.020915 | 0.020915 | 0.98757 | -0.23945 | 0.98748 | -0.24125 | 5.7458
29 | 0.011406 | 0.0028588 | -0.011405 | -0.002858 | 1.4257e-06 | 7.4782e-07 | 0.017188 | 0.017188 | 0.017188 | 0.98748 | -0.24125 | 0.98734 | -0.24387 | 4.7219
30 | 0.010599 | 0.002656 | -0.010599 | -0.0026559 | 6.1383e-08 | 3.108e-08 | 0.015973 | 0.015973 | 0.015973 | 0.98734 | -0.24387 | 0.98734 | -0.24399 | 4.3882
31 | 0.0074037 | 0.0018552 | -0.0074036 | -0.0018552 | 3.209e-09 | 1.1756e-09 | 0.011158 | 0.011158 | 0.011158 | 0.98734 | -0.24399 | 0.98734 | -0.244 | 3.0654
32 | 0.005746 | 0.0014398 | -0.005746 | -0.0014398 | 1.9589e-08 | 3.6284e-09 | 0.0086598 | 0.0086598 | 0.0086598 | 0.98734 | -0.244 | 0.98733 | -0.24407 | 2.3791
33 | 0.002733 | 0.00068468 | -0.0027329 | -0.00068478 | 7.1544e-08 | -9.8027e-08 | 0.0041189 | 0.0041189 | 0.0041189 | 0.98733 | -0.24407 | 0.9873 | -0.24462 | 1.1316
34 | 0.0027329 | 0.00068478 | -0.0027329 | -0.00068491 | 9.3767e-08 | -1.2846e-07 | 0.0041189 | 0.004119 | 0.004119 | 0.9873 | -0.24462 | 0.98727 | -0.24534 | 1.1316
35 | -0.00054524 | -0.00013665 | 0.00054524 | 0.00013665 | 4.2487e-11 | -2.1312e-09 | 0.00082179 | 0.00082179 | 0.00082179 | 0.98727 | -0.24535 | 0.98727 | -0.24534 | 0.22577

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.16968 | 0.042352

## res_load
| p_mw | q_mvar
0 | 0.0020375 | 0.00051065
1 | 0.0013665 | 0.00034247
2 | 0.0013825 | 0.00034649
3 | 0.0013558 | 0.00033979
4 | 0.0073663 | 0.0018462
5 | 0.0021294 | 0.00053369
6 | 0.0020862 | 0.00052286
7 | 0.0073681 | 0.0018466
8 | 0.00087165 | 0.00021846
9 | 0.001116 | 0.00027969
10 | 0.0035379 | 0.00088668
11 | 0.0028238 | 0.00070772
12 | 0.0012991 | 0.00032558
13 | 0.001276 | 0.00031979
14 | 0.093461 | 0.023424
15 | 0.0011301 | 0.00028323
16 | 0.00093771 | 0.00023501
17 | 0.0017506 | 0.00043875
18 | 0.0025672 | 0.00064341
19 | 0.0028589 | 0.00071652
20 | 0.002767 | 0.00069346
21 | 0.0033134 | 0.00083041
22 | 0.0023572 | 0.00059077
23 | 0.0050631 | 0.0012689
24 | 0.0012752 | 0.00031959
25 | 0.0024733 | 0.00061987
26 | 0.0008061 | 0.00020203
27 | 0.0031949 | 0.00080071
28 | 0.0016576 | 0.00041544
29 | 0.003013 | 0.00075513
30 | 0.00054524 | 0.00013665
31 | 0.0021876 | 0.00054827

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1