## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2325-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2325-5_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2325-5_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2325-5_0_2_node_144 | 0.4 | n |  | TRUE
4 | bus_LV_2325-5_0_2_node_145 | 0.4 | n |  | TRUE
5 | bus_LV_2325-5_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2325-5_0_2_node_90 | 0.4 | n |  | TRUE
7 | bus_LV_2325-5_0_2_node_80 | 0.4 | n |  | TRUE
8 | bus_LV_2325-5_0_2_node_89 | 0.4 | n |  | TRUE
9 | bus_LV_2325-5_0_2_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_2325-5_0_2_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_2325-5_0_2_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_2325-5_0_2_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_2325-5_0_2_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_2325-5_0_2_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_2325-5_0_2_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_2325-5_0_2_node_104 | 0.4 | n |  | TRUE
17 | bus_LV_2325-5_0_2_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_2325-5_0_2_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_2325-5_0_2_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_2325-5_0_2_node_98 | 0.4 | n |  | TRUE
21 | bus_LV_2325-5_0_2_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_2325-5_0_2_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_2325-5_0_2_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_2325-5_0_2_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_2325-5_0_2_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_2325-5_0_2_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_2325-5_0_2_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_2325-5_0_2_node_143 | 0.4 | n |  | TRUE
29 | bus_LV_2325-5_0_2_node_105 | 0.4 | n |  | TRUE
30 | bus_LV_2325-5_0_2_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_2325-5_0_2_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_2325-5_0_2_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_2325-5_0_2_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_2325-5_0_2_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_2325-5_0_2_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_2325-5_0_2_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_2325-5_0_2_node_141 | 0.4 | n |  | TRUE
38 | bus_LV_2325-5_0_2_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_2325-5_0_2_node_81 | 0.4 | n |  | TRUE
40 | bus_LV_2325-5_0_2_node_140 | 0.4 | n |  | TRUE
41 | bus_LV_2325-5_0_2_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_2325-5_0_2_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_2325-5_0_2_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_2325-5_0_2_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_2325-5_0_2_node_100 | 0.4 | n |  | TRUE
46 | bus_LV_2325-5_0_2_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_2325-5_0_2_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_2325-5_0_2_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_2325-5_0_2_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_2325-5_0_2_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_2325-5_0_2_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_2325-5_0_2_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_2325-5_0_2_node_154 | 0.4 | n |  | TRUE
54 | bus_LV_2325-5_0_2_node_102 | 0.4 | n |  | TRUE
55 | bus_LV_2325-5_0_2_node_99 | 0.4 | n |  | TRUE
56 | bus_LV_2325-5_0_2_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_2325-5_0_2_node_101 | 0.4 | n |  | TRUE
58 | bus_LV_2325-5_0_2_node_86 | 0.4 | n |  | TRUE
59 | bus_LV_2325-5_0_2_node_87 | 0.4 | n |  | TRUE
60 | bus_LV_2325-5_0_2_node_88 | 0.4 | n |  | TRUE
61 | bus_LV_2325-5_0_2_node_91 | 0.4 | n |  | TRUE
62 | bus_LV_2325-5_0_2_node_92 | 0.4 | n |  | TRUE
63 | bus_LV_2325-5_0_2_node_93 | 0.4 | n |  | TRUE
64 | bus_LV_2325-5_0_2_node_94 | 0.4 | n |  | TRUE
65 | bus_LV_2325-5_0_2_node_95 | 0.4 | n |  | TRUE
66 | bus_LV_2325-5_0_2_node_96 | 0.4 | n |  | TRUE
67 | bus_LV_2325-5_0_2_node_103 | 0.4 | n |  | TRUE
68 | bus_LV_2325-5_0_2_node_129 | 0.4 | n |  | TRUE
69 | bus_LV_2325-5_0_2_node_127 | 0.4 | n |  | TRUE
70 | bus_LV_2325-5_0_2_node_142 | 0.4 | n |  | TRUE
71 | bus_LV_2325-5_0_2_node_126 | 0.4 | n |  | TRUE
72 | bus_LV_2325-5_0_2_node_128 | 0.4 | n |  | TRUE
73 | bus_LV_2325-5_0_2_node_139 | 0.4 | n |  | TRUE
74 | bus_LV_2325-5_0_2_node_153 | 0.4 | n |  | TRUE
75 | bus_LV_2325-5_0_2_node_137 | 0.4 | n |  | TRUE
76 | bus_MV_37_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2325-5_0_2_load_0 | 0 | 0.00015108 | 3.7863e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2325-5_0_2_load_1 | 1 | 0.00014972 | 3.7522e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2325-5_0_2_load_2 | 2 | 0.00018808 | 4.7137e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2325-5_0_2_load_144 | 3 | 0.00047154 | 0.00011818 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2325-5_0_2_load_145 | 4 | 0.00047166 | 0.00011821 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2325-5_0_2_load_90 | 6 | 0.00020105 | 5.0387e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2325-5_0_2_load_80 | 7 | 0.0017276 | 0.00043297 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2325-5_0_2_load_21 | 9 | 0.0027048 | 0.00067787 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2325-5_0_2_load_22 | 10 | 0.00080303 | 0.00020126 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2325-5_0_2_load_24 | 12 | 0.0014043 | 0.00035196 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2325-5_0_2_load_26 | 14 | 0.0019709 | 0.00049396 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2325-5_0_2_load_27 | 15 | 0.008193 | 0.0020534 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2325-5_0_2_load_104 | 16 | 0.00058241 | 0.00014596 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2325-5_0_2_load_45 | 18 | 0.001703 | 0.00042681 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2325-5_0_2_load_40 | 19 | 0.00071062 | 0.0001781 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2325-5_0_2_load_32 | 21 | 0.00057181 | 0.00014331 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2325-5_0_2_load_28 | 22 | 0.0007647 | 0.00019165 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2325-5_0_2_load_44 | 23 | 0.0014888 | 0.00037312 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2325-5_0_2_load_29 | 25 | 0.00062573 | 0.00015682 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2325-5_0_2_load_31 | 26 | 0.00050416 | 0.00012635 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2325-5_0_2_load_33 | 27 | 0.00047646 | 0.00011941 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2325-5_0_2_load_143 | 28 | 0.00071159 | 0.00017834 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2325-5_0_2_load_105 | 29 | 0.00036026 | 9.0289e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2325-5_0_2_load_34 | 30 | 0.0017958 | 0.00045007 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2325-5_0_2_load_35 | 31 | 0.001107 | 0.00027743 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2325-5_0_2_load_39 | 34 | 0.00043789 | 0.00010975 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2325-5_0_2_load_41 | 35 | 0.00098178 | 0.00024606 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2325-5_0_2_load_82 | 36 | 0.00032712 | 8.1984e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2325-5_0_2_load_141 | 37 | 0.0023552 | 0.00059028 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2325-5_0_2_load_50 | 38 | 0.00042577 | 0.00010671 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2325-5_0_2_load_81 | 39 | 0.00032689 | 8.1926e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2325-5_0_2_load_140 | 40 | 0.0087318 | 0.0021884 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2325-5_0_2_load_69 | 42 | 0.00029113 | 7.2965e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2325-5_0_2_load_55 | 43 | 0.00065414 | 0.00016394 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2325-5_0_2_load_67 | 44 | 0.00087344 | 0.0002189 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2325-5_0_2_load_100 | 45 | 0.00038668 | 9.6911e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2325-5_0_2_load_53 | 46 | 0.00037965 | 9.515e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2325-5_0_2_load_66 | 47 | 0.0020087 | 0.00050343 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2325-5_0_2_load_52 | 48 | 0.00074194 | 0.00018595 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2325-5_0_2_load_54 | 49 | 0.0015874 | 0.00039785 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2325-5_0_2_load_62 | 50 | 0.0031557 | 0.0007909 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2325-5_0_2_load_63 | 51 | 0.00061619 | 0.00015443 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2325-5_0_2_load_64 | 52 | 0.00044159 | 0.00011067 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2325-5_0_2_load_154 | 53 | 0.0011429 | 0.00028644 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2325-5_0_2_load_102 | 54 | 0.0063103 | 0.0015815 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2325-5_0_2_load_99 | 55 | 0.00074246 | 0.00018608 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2325-5_0_2_load_68 | 56 | 0.00072502 | 0.00018171 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2325-5_0_2_load_101 | 57 | 0.00064077 | 0.00016059 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2325-5_0_2_load_86 | 58 | 0.00082998 | 0.00020801 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2325-5_0_2_load_87 | 59 | 0.00017413 | 4.3641e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2325-5_0_2_load_88 | 60 | 0.00094385 | 0.00023655 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2325-5_0_2_load_91 | 61 | 9.816e-05 | 2.4601e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2325-5_0_2_load_92 | 62 | 0.00077743 | 0.00019484 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2325-5_0_2_load_93 | 63 | 0.00077768 | 0.0001949 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2325-5_0_2_load_95 | 65 | 0.0030937 | 0.00077536 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2325-5_0_2_load_129 | 68 | 0.00053405 | 0.00013385 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2325-5_0_2_load_127 | 69 | 0.00047295 | 0.00011853 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2325-5_0_2_load_142 | 70 | 0.0013336 | 0.00033424 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2325-5_0_2_load_126 | 71 | 0.00048146 | 0.00012067 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2325-5_0_2_load_128 | 72 | 0.0015509 | 0.0003887 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2325-5_0_2_load_153 | 74 | 0.0030269 | 0.00075861 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2325-5_0_2_load_137 | 75 | 0.00024407 | 6.117e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2325-5_0_2_line_0 |  | 0 | 1 | 0.00041231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2325-5_0_2_line_1 |  | 1 | 2 | 0.030737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2325-5_0_2_line_2 |  | 2 | 5 | 0.24455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2325-5_0_2_line_3 |  | 3 | 4 | 2.0384e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2325-5_0_2_line_4 |  | 3 | 5 | 0.27652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2325-5_0_2_line_5 |  | 5 | 6 | 0.19871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2325-5_0_2_line_6 |  | 6 | 7 | 0.32689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2325-5_0_2_line_7 |  | 6 | 8 | 0.012327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2325-5_0_2_line_8 |  | 7 | 39 | 0.007362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2325-5_0_2_line_9 |  | 8 | 61 | 0.049024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2325-5_0_2_line_10 |  | 8 | 59 | 0.019146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2325-5_0_2_line_11 |  | 9 | 10 | 0.022066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2325-5_0_2_line_12 |  | 9 | 11 | 0.033869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2325-5_0_2_line_13 |  | 10 | 12 | 0.054195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2325-5_0_2_line_14 |  | 11 | 13 | 0.097235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2325-5_0_2_line_15 |  | 11 | 14 | 0.0044314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2325-5_0_2_line_16 |  | 12 | 15 | 0.013268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2325-5_0_2_line_17 |  | 13 | 16 | 0.06795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2325-5_0_2_line_18 |  | 13 | 17 | 0.011438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2325-5_0_2_line_19 |  | 14 | 18 | 0.038414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2325-5_0_2_line_20 |  | 15 | 19 | 0.02474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2325-5_0_2_line_21 |  | 16 | 20 | 0.044809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2325-5_0_2_line_22 |  | 17 | 21 | 0.014974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2325-5_0_2_line_23 |  | 17 | 22 | 0.010342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2325-5_0_2_line_24 |  | 18 | 23 | 0.031744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2325-5_0_2_line_25 |  | 19 | 24 | 0.036672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2325-5_0_2_line_26 |  | 20 | 67 | 0.034327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2325-5_0_2_line_27 |  | 20 | 66 | 0.15814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2325-5_0_2_line_28 |  | 21 | 28 | 0.02264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2325-5_0_2_line_29 |  | 22 | 25 | 0.024323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2325-5_0_2_line_30 |  | 24 | 35 | 0.007517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2325-5_0_2_line_31 |  | 24 | 31 | 0.05859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2325-5_0_2_line_32 |  | 25 | 26 | 0.0050312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2325-5_0_2_line_33 |  | 26 | 27 | 0.024151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2325-5_0_2_line_34 |  | 27 | 29 | 0.01486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2325-5_0_2_line_35 |  | 30 | 31 | 0.032884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2325-5_0_2_line_36 |  | 30 | 32 | 0.034692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2325-5_0_2_line_37 |  | 32 | 33 | 0.007201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2325-5_0_2_line_38 |  | 32 | 34 | 0.057739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2325-5_0_2_line_39 |  | 33 | 36 | 0.06327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2325-5_0_2_line_40 |  | 34 | 37 | 0.033242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2325-5_0_2_line_41 |  | 35 | 38 | 0.038737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2325-5_0_2_line_42 |  | 36 | 39 | 0.00050484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2325-5_0_2_line_43 |  | 37 | 40 | 0.078421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2325-5_0_2_line_44 |  | 38 | 41 | 0.031543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2325-5_0_2_line_45 |  | 40 | 73 | 0.048021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2325-5_0_2_line_46 |  | 41 | 42 | 0.010435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2325-5_0_2_line_47 |  | 41 | 43 | 0.036186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2325-5_0_2_line_48 |  | 41 | 44 | 0.046415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2325-5_0_2_line_49 |  | 42 | 45 | 0.015549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2325-5_0_2_line_50 |  | 43 | 46 | 0.031338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2325-5_0_2_line_51 |  | 44 | 47 | 0.017122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2325-5_0_2_line_52 |  | 45 | 57 | 0.011905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2325-5_0_2_line_53 |  | 46 | 48 | 0.009419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2325-5_0_2_line_54 |  | 47 | 56 | 0.0086238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2325-5_0_2_line_55 |  | 48 | 49 | 0.00029175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2325-5_0_2_line_56 |  | 50 | 51 | 0.00671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2325-5_0_2_line_57 |  | 50 | 52 | 0.0094203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2325-5_0_2_line_58 |  | 51 | 53 | 0.52954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2325-5_0_2_line_59 |  | 52 | 54 | 0.29048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2325-5_0_2_line_60 |  | 54 | 55 | 0.0063519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2325-5_0_2_line_61 |  | 55 | 66 | 0.18007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2325-5_0_2_line_62 |  | 58 | 59 | 0.015445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2325-5_0_2_line_63 |  | 58 | 60 | 0.0020839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2325-5_0_2_line_64 |  | 62 | 63 | 0.00031655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2325-5_0_2_line_65 |  | 62 | 64 | 0.22797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2325-5_0_2_line_66 |  | 64 | 65 | 0.030379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2325-5_0_2_line_67 |  | 64 | 66 | 0.042351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2325-5_0_2_line_68 |  | 67 | 68 | 0.0031404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2325-5_0_2_line_69 |  | 67 | 69 | 0.00855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2325-5_0_2_line_70 |  | 68 | 70 | 0.025183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2325-5_0_2_line_71 |  | 69 | 71 | 0.013925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2325-5_0_2_line_72 |  | 71 | 72 | 0.015422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2325-5_0_2_line_73 |  | 73 | 74 | 0.19711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2325-5_0_2_line_74 |  | 74 | 75 | 0.012917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2325-5_0_2_trafo_40 | 0.63 MVA 20/0.4 kV | 76 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2560116.408 | 1153699.2444 | 2560116.2719 | 1153699.6336
1 | 2560116.2719 | 1153699.6336 | 2560106.1264 | 1153728.6479
2 | 2560010.8388 | 1153953.8348 | 2560101.7765 | 1153741.0878 | 2560106.1264 | 1153728.6479
3 | 2560287.3407 | 1153958.0231 | 2560287.3287 | 1153958.0066
4 | 2560287.3287 | 1153958.0066 | 2560010.8388 | 1153953.8348
5 | 2560010.8388 | 1153953.8348 | 2559996.4698 | 1153957.2989 | 2559980.9335 | 1153958.2807 | 2559967.4559 | 1153957.3478 | 2559954.9343 | 1153953.6849 | 2559943.899 | 1153947.4219 | 2559935.0906 | 1153940.3326 | 2559926.3878 | 1153931.8196 | 2559901.5355 | 1153900.2582 | 2559882.125 | 1153874.8415 | 2559869.888 | 1153859.8489 | 2559860.3626 | 1153849.4166
6 | 2559636.7013 | 1154087.8103 | 2559860.3626 | 1153849.4166
7 | 2559852.0509 | 1153840.3136 | 2559860.3626 | 1153849.4166
8 | 2559636.7013 | 1154087.8103 | 2559629.6565 | 1154089.9481
9 | 2559852.0509 | 1153840.3136 | 2559853.9857 | 1153835.954 | 2559854.6835 | 1153832.4587 | 2559855.6847 | 1153805.4937 | 2559854.2124 | 1153791.8666
10 | 2559852.0509 | 1153840.3136 | 2559837.7917 | 1153827.537
11 | 2559454.605 | 1154299.2468 | 2559447.9237 | 1154311.8256 | 2559444.0529 | 1154318.624
12 | 2559425.3762 | 1154346.7513 | 2559431.184 | 1154340.042 | 2559437.2872 | 1154330.507 | 2559444.0529 | 1154318.624
13 | 2559465.1197 | 1154247.2303 | 2559465.2284 | 1154268.4198 | 2559464.002 | 1154278.8001 | 2559460.6647 | 1154287.8384 | 2559454.605 | 1154299.2468
14 | 2559425.3762 | 1154346.7513 | 2559413.872 | 1154335.7901 | 2559402.8812 | 1154322.4686 | 2559392.6849 | 1154306.4071 | 2559384.9584 | 1154290.3066 | 2559374.042 | 1154265.3343
15 | 2559425.3762 | 1154346.7513 | 2559428.8519 | 1154349.5001
16 | 2559465.0517 | 1154233.9621 | 2559465.1197 | 1154247.2303
17 | 2559374.042 | 1154265.3343 | 2559348.9745 | 1154202.1768
18 | 2559374.042 | 1154265.3343 | 2559384.6995 | 1154261.1045
19 | 2559458.9816 | 1154373.3287 | 2559428.8519 | 1154349.5001
20 | 2559465.0517 | 1154233.9621 | 2559465.0103 | 1154225.8995 | 2559463.989 | 1154209.2535
21 | 2559332.4442 | 1154160.5287 | 2559348.9745 | 1154202.1768
22 | 2559384.6995 | 1154261.1045 | 2559387.9224 | 1154275.728
23 | 2559384.6995 | 1154261.1045 | 2559384.6539 | 1154250.7625
24 | 2559458.9816 | 1154373.3287 | 2559483.88 | 1154393.02
25 | 2559461.7433 | 1154172.6498 | 2559463.989 | 1154209.2535
26 | 2559332.4442 | 1154160.5287 | 2559338.5256 | 1154155.7073 | 2559341.0965 | 1154152.4438 | 2559353.0581 | 1154133.4531
27 | 2559212.989 | 1154088.8685 | 2559235.5184 | 1154089.7383 | 2559255.5556 | 1154088.4795 | 2559269.7816 | 1154088.9277 | 2559280.8324 | 1154090.6203 | 2559291.571 | 1154094.9275 | 2559302.5598 | 1154103.324 | 2559309.7824 | 1154111.8016 | 2559315.7094 | 1154121.5331 | 2559324.171 | 1154139.6518 | 2559332.4442 | 1154160.5287
28 | 2559396.5922 | 1154296.5867 | 2559388.5379 | 1154278.5208 | 2559387.9224 | 1154275.728
29 | 2559384.5467 | 1154226.4393 | 2559384.6539 | 1154250.7625
30 | 2559461.7433 | 1154172.6498 | 2559457.6944 | 1154166.3164
31 | 2559461.7433 | 1154172.6498 | 2559514.9083 | 1154148.0262
32 | 2559384.5245 | 1154221.4082 | 2559384.5467 | 1154226.4393
33 | 2559384.5245 | 1154221.4082 | 2559384.4986 | 1154215.538 | 2559386.1035 | 1154208.9571 | 2559392.12 | 1154205.8816 | 2559394.1657 | 1154202.0991 | 2559394.1931 | 1154201.6506
34 | 2559395.098 | 1154186.8183 | 2559394.1931 | 1154201.6506
35 | 2559514.9083 | 1154148.0262 | 2559544.747 | 1154134.2063
36 | 2559574.6198 | 1154116.7604 | 2559565.0066 | 1154123.4619 | 2559556.2975 | 1154128.8566 | 2559544.747 | 1154134.2063
37 | 2559574.6198 | 1154116.7604 | 2559569.9798 | 1154111.2444
38 | 2559574.6198 | 1154116.7604 | 2559588.0735 | 1154133.5451 | 2559606.6147 | 1154164.669
39 | 2559569.9798 | 1154111.2444 | 2559577.839 | 1154106.0777 | 2559584.7518 | 1154102.7851 | 2559603.2613 | 1154097.9581 | 2559629.1734 | 1154090.0947
40 | 2559606.6147 | 1154164.669 | 2559614.0819 | 1154177.2037 | 2559623.3814 | 1154193.3715
41 | 2559438.9474 | 1154132.622 | 2559446.5083 | 1154149.9966 | 2559455.3391 | 1154162.6323 | 2559457.6944 | 1154166.3164
42 | 2559629.6565 | 1154089.9481 | 2559629.1734 | 1154090.0947
43 | 2559623.3814 | 1154193.3715 | 2559639.9297 | 1154222.1419 | 2559645.7538 | 1154230.3625 | 2559652.5432 | 1154238.3988 | 2559661.3192 | 1154246.3884 | 2559671.786 | 1154253.6997
44 | 2559426.709 | 1154103.5509 | 2559434.8353 | 1154123.1727 | 2559438.9474 | 1154132.622
45 | 2559714.8262 | 1154274.9217 | 2559704.4374 | 1154270.0667 | 2559682.9753 | 1154260.0945 | 2559671.786 | 1154253.6997 | 2559671.786 | 1154253.6997
46 | 2559426.709 | 1154103.5509 | 2559418.978 | 1154106.0933 | 2559416.6834 | 1154106.0019
47 | 2559426.709 | 1154103.5509 | 2559421.6259 | 1154090.3896 | 2559415.8119 | 1154081.4576 | 2559405.362 | 1154076.8527
48 | 2559426.709 | 1154103.5509 | 2559430.4172 | 1154098.3009 | 2559438.3796 | 1154092.522 | 2559438.054 | 1154081.8076 | 2559439.5051 | 1154062.4319
49 | 2559401.147 | 1154105.3833 | 2559416.6834 | 1154106.0019
50 | 2559385.1427 | 1154057.1811 | 2559386.4871 | 1154067.2152 | 2559398.0224 | 1154073.6183 | 2559405.362 | 1154076.8527
51 | 2559439.5051 | 1154062.4319 | 2559439.6584 | 1154060.3858 | 2559433.8458 | 1154046.4817
52 | 2559398.5466 | 1154113.702 | 2559397.7376 | 1154105.2475 | 2559401.147 | 1154105.3833
53 | 2559385.1427 | 1154057.1811 | 2559383.8919 | 1154047.8454
54 | 2559430.5196 | 1154038.5252 | 2559433.8458 | 1154046.4817
55 | 2559383.8532 | 1154047.5563 | 2559383.8919 | 1154047.8454
56 | 2558825.6494 | 1154367.0585 | 2558823.9229 | 1154360.5745
57 | 2558821.4991 | 1154351.4713 | 2558823.9229 | 1154360.5745
58 | 2558825.6494 | 1154367.0585 | 2558871.6035 | 1154894.599
59 | 2559072.209 | 1154204.7634 | 2558821.4991 | 1154351.4713
60 | 2559072.209 | 1154204.7634 | 2559076.6552 | 1154200.227
61 | 2559212.989 | 1154088.8685 | 2559204.2212 | 1154088.9837 | 2559197.9557 | 1154090.4159 | 2559192.4329 | 1154092.7768 | 2559150.6539 | 1154120.9642 | 2559113.4856 | 1154162.6495 | 2559076.6552 | 1154200.227
62 | 2559826.2886 | 1153817.2299 | 2559837.7917 | 1153827.537
63 | 2559826.2886 | 1153817.2299 | 2559824.7366 | 1153815.8393 | 2559824.7366 | 1153815.8393
64 | 2559231.144 | 1154358.5616 | 2559231.1735 | 1154358.8768
65 | 2559215.6005 | 1154131.128 | 2559225.0915 | 1154275.9046 | 2559230.186 | 1154348.3182 | 2559231.144 | 1154358.5616
66 | 2559215.6005 | 1154131.128 | 2559237.3251 | 1154128.7238 | 2559245.913 | 1154128.1097
67 | 2559212.989 | 1154088.8685 | 2559215.6005 | 1154131.128
68 | 2559353.0581 | 1154133.4531 | 2559353.6121 | 1154136.5442
69 | 2559353.0581 | 1154133.4531 | 2559351.456 | 1154125.0545
70 | 2559357.2521 | 1154161.4502 | 2559355.8166 | 1154148.8423 | 2559353.6121 | 1154136.5442
71 | 2559347.907 | 1154111.5916 | 2559351.3003 | 1154124.238 | 2559351.456 | 1154125.0545
72 | 2559343.9103 | 1154096.6961 | 2559347.907 | 1154111.5916
73 | 2559714.8262 | 1154274.9217 | 2559909.5652 | 1154305.3899
74 | 2559909.5652 | 1154305.3899 | 2559922.1835 | 1154302.6258

## bus_geodata
| x | y | coords
0 | 2560116.408 | 1153699.2444
1 | 2560116.2719 | 1153699.6336
2 | 2560106.1264 | 1153728.6479
3 | 2560287.3287 | 1153958.0066
4 | 2560287.3407 | 1153958.0231
5 | 2560010.8388 | 1153953.8348
6 | 2559860.3626 | 1153849.4166
7 | 2559636.7013 | 1154087.8103
8 | 2559852.0509 | 1153840.3136
9 | 2559444.0529 | 1154318.624
10 | 2559454.605 | 1154299.2468
11 | 2559425.3762 | 1154346.7513
12 | 2559465.1197 | 1154247.2303
13 | 2559374.042 | 1154265.3343
14 | 2559428.8519 | 1154349.5001
15 | 2559465.0517 | 1154233.9621
16 | 2559348.9745 | 1154202.1768
17 | 2559384.6995 | 1154261.1045
18 | 2559458.9816 | 1154373.3287
19 | 2559463.989 | 1154209.2535
20 | 2559332.4442 | 1154160.5287
21 | 2559387.9224 | 1154275.728
22 | 2559384.6539 | 1154250.7625
23 | 2559483.8801 | 1154393.02
24 | 2559461.7433 | 1154172.6498
25 | 2559384.5467 | 1154226.4393
26 | 2559384.5245 | 1154221.4082
27 | 2559394.1931 | 1154201.6506
28 | 2559396.5922 | 1154296.5867
29 | 2559395.098 | 1154186.8183
30 | 2559544.747 | 1154134.2063
31 | 2559514.9083 | 1154148.0262
32 | 2559574.6198 | 1154116.7604
33 | 2559569.9798 | 1154111.2444
34 | 2559606.6147 | 1154164.669
35 | 2559457.6944 | 1154166.3164
36 | 2559629.1734 | 1154090.0947
37 | 2559623.3814 | 1154193.3715
38 | 2559438.9474 | 1154132.622
39 | 2559629.6565 | 1154089.9481
40 | 2559671.786 | 1154253.6997
41 | 2559426.709 | 1154103.5509
42 | 2559416.6834 | 1154106.0019
43 | 2559405.362 | 1154076.8527
44 | 2559439.5051 | 1154062.4319
45 | 2559401.147 | 1154105.3833
46 | 2559385.1427 | 1154057.1811
47 | 2559433.8458 | 1154046.4817
48 | 2559383.8919 | 1154047.8454
49 | 2559383.8532 | 1154047.5563
50 | 2558823.9229 | 1154360.5745
51 | 2558825.6494 | 1154367.0585
52 | 2558821.4991 | 1154351.4713
53 | 2558871.6035 | 1154894.599
54 | 2559072.209 | 1154204.7634
55 | 2559076.6552 | 1154200.227
56 | 2559430.5196 | 1154038.5252
57 | 2559398.5466 | 1154113.702
58 | 2559826.2886 | 1153817.2299
59 | 2559837.7917 | 1153827.537
60 | 2559824.7366 | 1153815.8393
61 | 2559854.2124 | 1153791.8666
62 | 2559231.144 | 1154358.5616
63 | 2559231.1735 | 1154358.8768
64 | 2559215.6005 | 1154131.1281
65 | 2559245.913 | 1154128.1097
66 | 2559212.989 | 1154088.8685
67 | 2559353.0581 | 1154133.4531
68 | 2559353.6121 | 1154136.5442
69 | 2559351.456 | 1154125.0545
70 | 2559357.2521 | 1154161.4502
71 | 2559347.907 | 1154111.5916
72 | 2559343.9103 | 1154096.6961
73 | 2559714.8262 | 1154274.9217
74 | 2559909.5652 | 1154305.3899
75 | 2559922.1835 | 1154302.6258
76 | 2559461.7433 | 1154172.6498

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99438 | -0.10873 | 0.00015108 | 3.7863e-05
1 | 0.99438 | -0.10873 | 0.00014972 | 3.7522e-05
2 | 0.99439 | -0.10856 | 0.00018808 | 4.7137e-05
3 | 0.99426 | -0.11105 | 0.00047154 | 0.00011818
4 | 0.99426 | -0.11105 | 0.00047166 | 0.00011821
5 | 0.9945 | -0.10643 | 0 | 0
6 | 0.99475 | -0.10135 | 0.00020105 | 5.0387e-05
7 | 0.99585 | -0.07999 | 0.0017276 | 0.00043297
8 | 0.99473 | -0.10179 | 0 | 0
9 | 0.99615 | -0.073682 | 0.0027048 | 0.00067787
10 | 0.99684 | -0.060528 | 0.00080303 | 0.00020126
11 | 0.99518 | -0.092294 | 0 | 0
12 | 0.99856 | -0.027536 | 0.0014043 | 0.00035196
13 | 0.99286 | -0.13704 | 0 | 0
14 | 0.99516 | -0.092697 | 0.0019709 | 0.00049396
15 | 0.999 | -0.01915 | 0.008193 | 0.0020534
16 | 0.99148 | -0.16359 | 0.00058241 | 0.00014596
17 | 0.99282 | -0.13786 | 0 | 0
18 | 0.99505 | -0.094856 | 0.001703 | 0.00042681
19 | 1 | 0 | -0.079868 | -0.01973
20 | 0.9906 | -0.18068 | 0 | 0
21 | 0.9928 | -0.1382 | 0.00057181 | 0.00014331
22 | 0.99279 | -0.13836 | 0.0007647 | 0.00019165
23 | 0.99501 | -0.095689 | 0.0014888 | 0.00037312
24 | 0.99888 | -0.021453 | 0 | 0
25 | 0.99275 | -0.1392 | 0.00062573 | 0.00015682
26 | 0.99274 | -0.13932 | 0.00050416 | 0.00012635
27 | 0.99272 | -0.13968 | 0.00047646 | 0.00011941
28 | 0.99278 | -0.13848 | 0.00071159 | 0.00017834
29 | 0.99272 | -0.13977 | 0.00036026 | 9.0289e-05
30 | 0.99694 | -0.058949 | 0.0017958 | 0.00045007
31 | 0.99761 | -0.045862 | 0.001107 | 0.00027743
32 | 0.99628 | -0.071681 | 0 | 0
33 | 0.99624 | -0.072453 | 0 | 0
34 | 0.9955 | -0.086708 | 0.00043789 | 0.00010975
35 | 0.99882 | -0.022727 | 0.00098178 | 0.00024606
36 | 0.99589 | -0.079235 | 0.00032712 | 8.1984e-05
37 | 0.99506 | -0.095113 | 0.0023552 | 0.00059028
38 | 0.99851 | -0.028632 | 0.00042577 | 0.00010671
39 | 0.99589 | -0.079286 | 0.00032689 | 8.1926e-05
40 | 0.9942 | -0.11171 | 0.0087318 | 0.0021884
41 | 0.99827 | -0.033208 | 0 | 0
42 | 0.99826 | -0.033449 | 0.00029113 | 7.2965e-05
43 | 0.99816 | -0.035338 | 0.00065414 | 0.00016394
44 | 0.99812 | -0.036138 | 0.00087344 | 0.0002189
45 | 0.99825 | -0.033728 | 0.00038668 | 9.6911e-05
46 | 0.99809 | -0.036824 | 0.00037965 | 9.515e-05
47 | 0.99808 | -0.036957 | 0.0020087 | 0.00050343
48 | 0.99807 | -0.037207 | 0.00074194 | 0.00018595
49 | 0.99806 | -0.037216 | 0.0015874 | 0.00039785
50 | 0.98453 | -0.29913 | 0.0031557 | 0.0007909
51 | 0.98451 | -0.29934 | 0.00061619 | 0.00015443
52 | 0.98457 | -0.29829 | 0.00044159 | 0.00011067
53 | 0.98396 | -0.31031 | 0.0011429 | 0.00028644
54 | 0.986 | -0.27024 | 0.0063103 | 0.0015815
55 | 0.98607 | -0.26891 | 0.00074246 | 0.00018608
56 | 0.99807 | -0.037066 | 0.00072502 | 0.00018171
57 | 0.99824 | -0.033862 | 0.00064077 | 0.00016059
58 | 0.99467 | -0.10293 | 0.00082998 | 0.00020801
59 | 0.9947 | -0.10245 | 0.00017413 | 4.3641e-05
60 | 0.99467 | -0.10296 | 0.00094385 | 0.00023655
61 | 0.99473 | -0.10188 | 9.816e-05 | 2.4601e-05
62 | 0.98762 | -0.23871 | 0.00077743 | 0.00019484
63 | 0.98762 | -0.23871 | 0.00077768 | 0.0001949
64 | 0.98794 | -0.23236 | 0 | 0
65 | 0.98786 | -0.23404 | 0.0030937 | 0.00077536
66 | 0.98812 | -0.22884 | 0 | 0
67 | 0.99047 | -0.18334 | 0 | 0
68 | 0.99046 | -0.18345 | 0.00053405 | 0.00013385
69 | 0.99045 | -0.18373 | 0.00047295 | 0.00011853
70 | 0.99043 | -0.18405 | 0.0013336 | 0.00033424
71 | 0.99042 | -0.18423 | 0.00048146 | 0.00012067
72 | 0.9904 | -0.18465 | 0.0015509 | 0.0003887
73 | 0.99406 | -0.11449 | 0 | 0
74 | 0.99347 | -0.12588 | 0.0030269 | 0.00075861
75 | 0.99347 | -0.12593 | 0.00024407 | 6.117e-05
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00015108 | -3.7863e-05 | 0.00015108 | 3.7858e-05 | 7.701e-12 | -5.3435e-09 | 0.00022607 | 0.00022607 | 0.00022607 | 0.99438 | -0.10873 | 0.99438 | -0.10873 | 0.062108
1 | -0.00030079 | -7.538e-05 | 0.0003008 | 7.4983e-05 | 2.3345e-09 | -3.9724e-07 | 0.00045011 | 0.00044997 | 0.00045011 | 0.99438 | -0.10873 | 0.99439 | -0.10856 | 0.12366
2 | -0.00048887 | -0.00012212 | 0.00048892 | 0.00011898 | 4.8985e-08 | -3.1414e-06 | 0.00073141 | 0.00073031 | 0.00073141 | 0.99439 | -0.10856 | 0.9945 | -0.10643 | 0.20094
3 | 0.00047166 | 0.00011821 | -0.00047166 | -0.00011821 | 3.2901e-12 | -2.6523e-10 | 0.00070589 | 0.00070589 | 0.00070589 | 0.99426 | -0.11105 | 0.99426 | -0.11105 | 0.19393
4 | -0.0009432 | -0.00023639 | 0.0009434 | 0.00023293 | 2.0644e-07 | -3.455e-06 | 0.0014116 | 0.0014103 | 0.0014116 | 0.99426 | -0.11105 | 0.9945 | -0.10643 | 0.3878
5 | -0.0014323 | -0.00035191 | 0.0014327 | 0.00034955 | 3.4131e-07 | -2.3605e-06 | 0.0021406 | 0.0021398 | 0.0021406 | 0.9945 | -0.10643 | 0.99475 | -0.10135 | 0.58809
6 | -0.00368 | -0.00091156 | 0.0036837 | 0.00090969 | 3.7085e-06 | -1.8749e-06 | 0.005501 | 0.0054995 | 0.005501 | 0.99475 | -0.10135 | 0.99585 | -0.07999 | 1.5113
7 | 0.0020463 | 0.00051163 | -0.0020462 | -0.00051176 | 4.3299e-08 | -1.3231e-07 | 0.0030605 | 0.0030606 | 0.0030606 | 0.99475 | -0.10135 | 0.99473 | -0.10179 | 0.84081
8 | -0.0054112 | -0.0013427 | 0.0054114 | 0.0013427 | 1.8028e-07 | 1.9589e-08 | 0.0080808 | 0.0080808 | 0.0080808 | 0.99585 | -0.07999 | 0.99589 | -0.079286 | 2.22
9 | 9.816e-05 | 2.3965e-05 | -9.816e-05 | -2.4601e-05 | 3.9578e-10 | -6.3614e-07 | 0.00014662 | 0.00014684 | 0.00014684 | 0.99473 | -0.10179 | 0.99473 | -0.10188 | 0.04034
10 | 0.0019481 | 0.00048779 | -0.001948 | -0.000488 | 6.0965e-08 | -2.0951e-07 | 0.0029139 | 0.002914 | 0.002914 | 0.99473 | -0.10179 | 0.9947 | -0.10245 | 0.80056
11 | -0.0341 | -0.0085998 | 0.034121 | 0.0086133 | 2.1486e-05 | 1.3463e-05 | 0.050956 | 0.050956 | 0.050956 | 0.99615 | -0.073682 | 0.99684 | -0.060528 | 13.9989
12 | 0.031395 | 0.0079219 | -0.031367 | -0.0079045 | 2.7956e-05 | 1.7451e-05 | 0.046916 | 0.046916 | 0.046916 | 0.99615 | -0.073682 | 0.99518 | -0.092294 | 12.889
13 | -0.034924 | -0.0088145 | 0.03498 | 0.0088492 | 5.5281e-05 | 3.4672e-05 | 0.052155 | 0.052155 | 0.052155 | 0.99684 | -0.060528 | 0.99856 | -0.027536 | 14.3282
14 | 0.026204 | 0.0066112 | -0.026148 | -0.0065767 | 5.6021e-05 | 3.4593e-05 | 0.039196 | 0.039197 | 0.039197 | 0.99518 | -0.092294 | 0.99286 | -0.13704 | 10.7683
15 | 0.0051632 | 0.0012932 | -0.0051631 | -0.0012932 | 9.9034e-08 | 5.8055e-09 | 0.0077198 | 0.0077198 | 0.0077198 | 0.99518 | -0.092294 | 0.99516 | -0.092697 | 2.1208
16 | -0.036384 | -0.0092012 | 0.036399 | 0.0092104 | 1.4642e-05 | 9.1973e-06 | 0.054247 | 0.054247 | 0.054247 | 0.99856 | -0.027536 | 0.999 | -0.01915 | 14.9031
17 | 0.022133 | 0.0055719 | -0.022105 | -0.0055548 | 2.8053e-05 | 1.7076e-05 | 0.03318 | 0.03318 | 0.03318 | 0.99286 | -0.13704 | 0.99148 | -0.16359 | 9.1154
18 | 0.0040151 | 0.0010048 | -0.0040149 | -0.0010048 | 1.5529e-07 | -4.8534e-08 | 0.0060169 | 0.006017 | 0.006017 | 0.99286 | -0.13704 | 0.99282 | -0.13786 | 1.653
19 | 0.0031921 | 0.00079927 | -0.0031918 | -0.00079956 | 3.2815e-07 | -2.8902e-07 | 0.0047728 | 0.004773 | 0.004773 | 0.99516 | -0.092697 | 0.99505 | -0.094856 | 1.3113
20 | -0.044592 | -0.011264 | 0.044633 | 0.01129 | 4.0967e-05 | 2.5894e-05 | 0.066451 | 0.066451 | 0.066451 | 0.999 | -0.01915 | 1 | 0 | 18.2557
21 | 0.021522 | 0.0054089 | -0.021505 | -0.0053982 | 1.7537e-05 | 1.0647e-05 | 0.032306 | 0.032306 | 0.032306 | 0.99148 | -0.16359 | 0.9906 | -0.18068 | 8.8753
22 | 0.0012834 | 0.00032118 | -0.0012834 | -0.00032136 | 2.0775e-08 | -1.8034e-07 | 0.0019234 | 0.0019235 | 0.0019235 | 0.99282 | -0.13786 | 0.9928 | -0.1382 | 0.52843
23 | 0.0027315 | 0.00068362 | -0.0027314 | -0.00068371 | 6.499e-08 | -9.2142e-08 | 0.0040935 | 0.0040936 | 0.0040936 | 0.99282 | -0.13786 | 0.99279 | -0.13836 | 1.1246
24 | 0.0014888 | 0.00037275 | -0.0014888 | -0.00037312 | 5.9004e-08 | -3.7456e-07 | 0.0022263 | 0.0022264 | 0.0022264 | 0.99505 | -0.094856 | 0.99501 | -0.095689 | 0.61166
25 | 0.033586 | 0.0084405 | -0.033551 | -0.008419 | 3.4359e-05 | 2.1509e-05 | 0.049984 | 0.049985 | 0.049985 | 1 | 0 | 0.99888 | -0.021453 | 13.732
26 | 0.0043738 | 0.0010952 | -0.0043732 | -0.0010952 | 5.5559e-07 | -8.6282e-08 | 0.0065696 | 0.0065698 | 0.0065698 | 0.9906 | -0.18068 | 0.99047 | -0.18334 | 1.8049
27 | 0.017131 | 0.0043031 | -0.017092 | -0.0042799 | 3.9283e-05 | 2.311e-05 | 0.025737 | 0.025737 | 0.025737 | 0.9906 | -0.18068 | 0.98812 | -0.22884 | 7.0707
28 | 0.0007116 | 0.00017805 | -0.00071159 | -0.00017834 | 9.6567e-09 | -2.8657e-07 | 0.0010664 | 0.0010666 | 0.0010666 | 0.9928 | -0.1382 | 0.99278 | -0.13848 | 0.29301
29 | 0.0019667 | 0.00049206 | -0.0019666 | -0.00049232 | 7.9244e-08 | -2.6379e-07 | 0.0029475 | 0.0029476 | 0.0029476 | 0.99279 | -0.13836 | 0.99275 | -0.1392 | 0.80977
30 | 0.0097025 | 0.0024306 | -0.0097019 | -0.0024303 | 5.8886e-07 | 2.7848e-07 | 0.014453 | 0.014453 | 0.014453 | 0.99888 | -0.021453 | 0.99882 | -0.022727 | 3.9707
31 | 0.023849 | 0.0059885 | -0.023821 | -0.0059715 | 2.7738e-05 | 1.6987e-05 | 0.035531 | 0.035532 | 0.035532 | 0.99888 | -0.021453 | 0.99761 | -0.045862 | 9.7614
32 | 0.0013409 | 0.0003355 | -0.0013409 | -0.00033556 | 7.6199e-09 | -6.0174e-08 | 0.0020097 | 0.0020097 | 0.0020097 | 0.99275 | -0.1392 | 0.99274 | -0.13932 | 0.55211
33 | 0.00083673 | 0.00020921 | -0.00083672 | -0.00020951 | 1.4243e-08 | -3.0313e-07 | 0.001254 | 0.0012541 | 0.0012541 | 0.99274 | -0.13932 | 0.99272 | -0.13968 | 0.34454
34 | 0.00036026 | 9.0098e-05 | -0.00036026 | -9.0289e-05 | 1.6247e-09 | -1.9108e-07 | 0.00053993 | 0.00054 | 0.00054 | 0.99272 | -0.13968 | 0.99272 | -0.13977 | 0.14835
35 | -0.0227 | -0.0056854 | 0.022714 | 0.005694 | 1.4155e-05 | 8.6302e-06 | 0.033881 | 0.03388 | 0.033881 | 0.99694 | -0.058949 | 0.99761 | -0.045862 | 9.3078
36 | 0.020904 | 0.0052353 | -0.020892 | -0.0052277 | 1.2664e-05 | 7.6531e-06 | 0.0312 | 0.0312 | 0.0312 | 0.99694 | -0.058949 | 0.99628 | -0.071681 | 8.5715
37 | 0.0060676 | 0.0015071 | -0.0060674 | -0.001507 | 2.2154e-07 | 4.8022e-08 | 0.0090577 | 0.0090577 | 0.0090577 | 0.99628 | -0.071681 | 0.99624 | -0.072453 | 2.4884
38 | 0.014824 | 0.0037206 | -0.014813 | -0.0037146 | 1.0616e-05 | 6.043e-06 | 0.022143 | 0.022143 | 0.022143 | 0.99628 | -0.071681 | 0.9955 | -0.086708 | 6.0832
39 | 0.0060674 | 0.001507 | -0.0060654 | -0.0015066 | 1.9466e-06 | 4.223e-07 | 0.0090577 | 0.009058 | 0.009058 | 0.99624 | -0.072453 | 0.99589 | -0.079235 | 2.4885
40 | 0.014375 | 0.0036048 | -0.01437 | -0.0036016 | 5.7561e-06 | 3.2519e-06 | 0.021488 | 0.021489 | 0.021489 | 0.9955 | -0.086708 | 0.99506 | -0.095113 | 5.9034
41 | 0.0087202 | 0.0021842 | -0.0087177 | -0.0021832 | 2.4515e-06 | 1.0621e-06 | 0.012991 | 0.012991 | 0.012991 | 0.99882 | -0.022727 | 0.99851 | -0.028632 | 3.5689
42 | 0.0057383 | 0.0014246 | -0.0057383 | -0.0014246 | 1.3902e-08 | 2.3285e-09 | 0.0085692 | 0.0085692 | 0.0085692 | 0.99589 | -0.079235 | 0.99589 | -0.079286 | 2.3542
43 | 0.012014 | 0.0030113 | -0.012005 | -0.0030062 | 9.4929e-06 | 5.0576e-06 | 0.017967 | 0.017967 | 0.017967 | 0.99506 | -0.095113 | 0.9942 | -0.11171 | 4.936
44 | 0.0082919 | 0.0020765 | -0.0082901 | -0.0020757 | 1.806e-06 | 7.4336e-07 | 0.012356 | 0.012357 | 0.012357 | 0.99851 | -0.028632 | 0.99827 | -0.033208 | 3.3946
45 | 0.0032732 | 0.00081785 | -0.0032727 | -0.00081819 | 4.3204e-07 | -3.4612e-07 | 0.004898 | 0.0048983 | 0.0048983 | 0.9942 | -0.11171 | 0.99406 | -0.11449 | 1.3457
46 | 0.0013186 | 0.00032999 | -0.0013186 | -0.00033012 | 1.5115e-08 | -1.2675e-07 | 0.0019653 | 0.0019654 | 0.0019654 | 0.99827 | -0.033208 | 0.99826 | -0.033449 | 0.53994
47 | 0.0033637 | 0.00084225 | -0.0033634 | -0.0008425 | 3.4111e-07 | -2.5473e-07 | 0.0050137 | 0.0050139 | 0.0050139 | 0.99827 | -0.033208 | 0.99816 | -0.035338 | 1.3774
48 | 0.0036078 | 0.00090349 | -0.0036073 | -0.00090377 | 5.0334e-07 | -2.846e-07 | 0.0053775 | 0.0053777 | 0.0053777 | 0.99827 | -0.033208 | 0.99812 | -0.036138 | 1.4774
49 | 0.0010275 | 0.00025716 | -0.0010275 | -0.00025735 | 1.3675e-08 | -1.9452e-07 | 0.0015314 | 0.0015315 | 0.0015315 | 0.99826 | -0.033449 | 0.99825 | -0.033728 | 0.42074
50 | 0.0027093 | 0.00067856 | -0.0027091 | -0.00067885 | 1.9169e-07 | -2.8691e-07 | 0.0040387 | 0.0040388 | 0.0040388 | 0.99816 | -0.035338 | 0.99809 | -0.036824 | 1.1096
51 | 0.0027338 | 0.00068487 | -0.0027337 | -0.00068503 | 1.0665e-07 | -1.5552e-07 | 0.0040755 | 0.0040756 | 0.0040756 | 0.99812 | -0.036138 | 0.99808 | -0.036957 | 1.1197
52 | 0.00064077 | 0.00016044 | -0.00064077 | -0.00016059 | 4.0728e-09 | -1.5303e-07 | 0.0009551 | 0.00095516 | 0.00095516 | 0.99825 | -0.033728 | 0.99824 | -0.033862 | 0.26241
53 | 0.0023294 | 0.0005837 | -0.0023294 | -0.00058379 | 4.26e-08 | -9.5832e-08 | 0.0034728 | 0.0034729 | 0.0034729 | 0.99809 | -0.036824 | 0.99807 | -0.037207 | 0.95408
54 | 0.00072502 | 0.0001816 | -0.00072502 | -0.00018171 | 3.7784e-09 | -1.1029e-07 | 0.0010809 | 0.0010809 | 0.0010809 | 0.99808 | -0.036957 | 0.99807 | -0.037066 | 0.29696
55 | 0.0015874 | 0.00039784 | -0.0015874 | -0.00039785 | 6.1306e-10 | -3.4207e-09 | 0.0023667 | 0.0023667 | 0.0023667 | 0.99807 | -0.037207 | 0.99806 | -0.037216 | 0.65019
56 | 0.0017597 | 0.00043445 | -0.0017597 | -0.00043452 | 1.7768e-08 | -7.3954e-08 | 0.0026573 | 0.0026573 | 0.0026573 | 0.98453 | -0.29913 | 0.98451 | -0.29934 | 0.73004
57 | -0.0049154 | -0.0012253 | 0.0049156 | 0.0012253 | 1.9485e-07 | 4.9077e-09 | 0.0074269 | 0.0074268 | 0.0074269 | 0.98453 | -0.29913 | 0.98457 | -0.29829 | 2.0403
58 | 0.0011435 | 0.00028009 | -0.0011429 | -0.00028644 | 5.9241e-07 | -6.3507e-06 | 0.001726 | 0.0017284 | 0.0017284 | 0.98451 | -0.29934 | 0.98396 | -0.31031 | 0.47484
59 | -0.0053572 | -0.001336 | 0.0053644 | 0.0013369 | 7.1355e-06 | 8.6719e-07 | 0.0080942 | 0.0080929 | 0.0080942 | 0.98457 | -0.29829 | 0.986 | -0.27024 | 2.2237
60 | -0.011675 | -0.0029184 | 0.011675 | 0.0029188 | 7.3919e-07 | 3.9206e-07 | 0.017616 | 0.017616 | 0.017616 | 0.986 | -0.27024 | 0.98607 | -0.26891 | 4.8396
61 | -0.012418 | -0.0031049 | 0.012442 | 0.0031177 | 2.3704e-05 | 1.2869e-05 | 0.018736 | 0.018736 | 0.018736 | 0.98607 | -0.26891 | 0.98812 | -0.22884 | 5.1474
62 | -0.0017738 | -0.00044454 | 0.0017739 | 0.00044436 | 4.0784e-08 | -1.7438e-07 | 0.0026536 | 0.0026535 | 0.0026536 | 0.99467 | -0.10293 | 0.9947 | -0.10245 | 0.72902
63 | 0.00094385 | 0.00023652 | -0.00094385 | -0.00023655 | 1.558e-09 | -2.6051e-08 | 0.001412 | 0.001412 | 0.001412 | 0.99467 | -0.10293 | 0.99467 | -0.10296 | 0.38791
64 | 0.00077768 | 0.0001949 | -0.00077768 | -0.0001949 | 1.6316e-10 | -3.9463e-09 | 0.0011717 | 0.0011717 | 0.0011717 | 0.98762 | -0.23871 | 0.98762 | -0.23871 | 0.3219
65 | -0.0015551 | -0.00038974 | 0.0015556 | 0.00038712 | 4.6911e-07 | -2.6179e-06 | 0.002343 | 0.002342 | 0.002343 | 0.98762 | -0.23871 | 0.98794 | -0.23236 | 0.64369
66 | 0.003094 | 0.00077513 | -0.0030937 | -0.00077536 | 2.4739e-07 | -2.3064e-07 | 0.0046599 | 0.0046601 | 0.0046601 | 0.98794 | -0.23236 | 0.98786 | -0.23404 | 1.2802
67 | -0.0046495 | -0.0011622 | 0.0046503 | 0.0011622 | 7.7861e-07 | -4.4086e-08 | 0.0070019 | 0.0070017 | 0.0070019 | 0.98794 | -0.23236 | 0.98812 | -0.22884 | 1.9236
68 | 0.0018677 | 0.00046775 | -0.0018677 | -0.00046778 | 9.2713e-09 | -3.4484e-08 | 0.0028058 | 0.0028058 | 0.0028058 | 0.99047 | -0.18334 | 0.99046 | -0.18345 | 0.77084
69 | 0.0025055 | 0.00062749 | -0.0025054 | -0.00062757 | 4.5424e-08 | -8.0968e-08 | 0.0037639 | 0.003764 | 0.003764 | 0.99047 | -0.18334 | 0.99045 | -0.18373 | 1.0341
70 | 0.0013337 | 0.00033394 | -0.0013336 | -0.00033424 | 3.791e-08 | -2.9984e-07 | 0.0020035 | 0.0020036 | 0.0020036 | 0.99046 | -0.18345 | 0.99043 | -0.18405 | 0.55045
71 | 0.0020325 | 0.00050904 | -0.0020324 | -0.00050919 | 4.8686e-08 | -1.4805e-07 | 0.0030534 | 0.0030535 | 0.0030535 | 0.99045 | -0.18373 | 0.99042 | -0.18423 | 0.83887
72 | 0.001551 | 0.00038852 | -0.0015509 | -0.0003887 | 3.1402e-08 | -1.7837e-07 | 0.0023301 | 0.0023302 | 0.0023302 | 0.99042 | -0.18423 | 0.9904 | -0.18465 | 0.64017
73 | 0.0032727 | 0.00081819 | -0.003271 | -0.00081961 | 1.7738e-06 | -1.4186e-06 | 0.0048983 | 0.0048992 | 0.0048992 | 0.99406 | -0.11449 | 0.99347 | -0.12588 | 1.3459
74 | 0.00024407 | 6.1003e-05 | -0.00024407 | -6.117e-05 | 6.4725e-10 | -1.6685e-07 | 0.00036551 | 0.00036557 | 0.00036557 | 0.99347 | -0.12588 | 0.99347 | -0.12593 | 0.10043

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.080579 | 0.019908

## res_load
| p_mw | q_mvar
0 | 0.00015108 | 3.7863e-05
1 | 0.00014972 | 3.7522e-05
2 | 0.00018808 | 4.7137e-05
3 | 0.00047154 | 0.00011818
4 | 0.00047166 | 0.00011821
5 | 0.00020105 | 5.0387e-05
6 | 0.0017276 | 0.00043297
7 | 0.0027048 | 0.00067787
8 | 0.00080303 | 0.00020126
9 | 0.0014043 | 0.00035196
10 | 0.0019709 | 0.00049396
11 | 0.008193 | 0.0020534
12 | 0.00058241 | 0.00014596
13 | 0.001703 | 0.00042681
14 | 0.00071062 | 0.0001781
15 | 0.00057181 | 0.00014331
16 | 0.0007647 | 0.00019165
17 | 0.0014888 | 0.00037312
18 | 0.00062573 | 0.00015682
19 | 0.00050416 | 0.00012635
20 | 0.00047646 | 0.00011941
21 | 0.00071159 | 0.00017834
22 | 0.00036026 | 9.0289e-05
23 | 0.0017958 | 0.00045007
24 | 0.001107 | 0.00027743
25 | 0.00043789 | 0.00010975
26 | 0.00098178 | 0.00024606
27 | 0.00032712 | 8.1984e-05
28 | 0.0023552 | 0.00059028
29 | 0.00042577 | 0.00010671
30 | 0.00032689 | 8.1926e-05
31 | 0.0087318 | 0.0021884
32 | 0.00029113 | 7.2965e-05
33 | 0.00065414 | 0.00016394
34 | 0.00087344 | 0.0002189
35 | 0.00038668 | 9.6911e-05
36 | 0.00037965 | 9.515e-05
37 | 0.0020087 | 0.00050343
38 | 0.00074194 | 0.00018595
39 | 0.0015874 | 0.00039785
40 | 0.0031557 | 0.0007909
41 | 0.00061619 | 0.00015443
42 | 0.00044159 | 0.00011067
43 | 0.0011429 | 0.00028644
44 | 0.0063103 | 0.0015815
45 | 0.00074246 | 0.00018608
46 | 0.00072502 | 0.00018171
47 | 0.00064077 | 0.00016059
48 | 0.00082998 | 0.00020801
49 | 0.00017413 | 4.3641e-05
50 | 0.00094385 | 0.00023655
51 | 9.816e-05 | 2.4601e-05
52 | 0.00077743 | 0.00019484
53 | 0.00077768 | 0.0001949
54 | 0.0030937 | 0.00077536
55 | 0.00053405 | 0.00013385
56 | 0.00047295 | 0.00011853
57 | 0.0013336 | 0.00033424
58 | 0.00048146 | 0.00012067
59 | 0.0015509 | 0.0003887
60 | 0.0030269 | 0.00075861
61 | 0.00024407 | 6.117e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1