## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2325-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2325-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2325-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2325-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2325-6_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2325-6_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2325-6_0_4_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_2325-6_0_4_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_2325-6_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2325-6_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_2325-6_0_4_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_2325-6_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2325-6_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2325-6_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_2325-6_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_2325-6_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2325-6_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_2325-6_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_2325-6_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_2325-6_0_4_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_2325-6_0_4_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_2325-6_0_4_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_2325-6_0_4_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_2325-6_0_4_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_2325-6_0_4_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_2325-6_0_4_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_2325-6_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_2325-6_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_2325-6_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2325-6_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2325-6_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2325-6_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_2325-6_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_2325-6_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2325-6_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_2325-6_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_2325-6_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_2325-6_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_2325-6_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_2325-6_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_2325-6_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_2325-6_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_2325-6_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_2325-6_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_2325-6_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_2325-6_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_2325-6_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_2325-6_0_4_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_2325-6_0_4_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_2325-6_0_4_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_2325-6_0_4_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_2325-6_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_2325-6_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_2325-6_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_2325-6_0_4_node_56 | 0.4 | n |  | TRUE
55 | bus_MV_37_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2325-6_0_4_load_0 | 0 | 0.012088 | 0.0030294 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2325-6_0_4_load_1 | 1 | 0.053941 | 0.013519 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2325-6_0_4_load_2 | 2 | 0.052151 | 0.01307 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2325-6_0_4_load_41 | 6 | 0.0057046 | 0.0014297 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2325-6_0_4_load_44 | 7 | 0.017289 | 0.0043331 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2325-6_0_4_load_7 | 8 | 0.047703 | 0.011955 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2325-6_0_4_load_9 | 9 | 0.010927 | 0.0027385 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2325-6_0_4_load_42 | 10 | 0.0071168 | 0.0017837 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2325-6_0_4_load_8 | 11 | 0.020557 | 0.0051521 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2325-6_0_4_load_11 | 13 | 0.024418 | 0.0061198 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2325-6_0_4_load_12 | 14 | 0.016178 | 0.0040546 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2325-6_0_4_load_13 | 15 | 0.00072944 | 0.00018282 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2325-6_0_4_load_14 | 16 | 0.0010397 | 0.00026057 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2325-6_0_4_load_15 | 17 | 0.075462 | 0.018913 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2325-6_0_4_load_39 | 19 | 0.018727 | 0.0046935 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2325-6_0_4_load_38 | 20 | 0.0012556 | 0.00031468 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2325-6_0_4_load_40 | 22 | 0.0062285 | 0.001561 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2325-6_0_4_load_37 | 23 | 0.0025203 | 0.00063166 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2325-6_0_4_load_47 | 24 | 0.0071883 | 0.0018015 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2325-6_0_4_load_17 | 26 | 0.0038118 | 0.00095532 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2325-6_0_4_load_18 | 27 | 0.003745 | 0.00093859 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2325-6_0_4_load_19 | 28 | 0.0021915 | 0.00054925 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2325-6_0_4_load_21 | 30 | 0.0098385 | 0.0024658 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2325-6_0_4_load_25 | 32 | 0.0038003 | 0.00095246 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2325-6_0_4_load_23 | 33 | 0.003391 | 0.00084986 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2325-6_0_4_load_26 | 34 | 0.0014005 | 0.00035101 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2325-6_0_4_load_24 | 35 | 0.00895 | 0.0022431 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2325-6_0_4_load_32 | 38 | 0.0011938 | 0.00029921 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2325-6_0_4_load_27 | 39 | 0.0076941 | 0.0019283 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2325-6_0_4_load_28 | 40 | 0.0031885 | 0.00079911 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2325-6_0_4_load_30 | 41 | 0.003178 | 0.00079648 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2325-6_0_4_load_34 | 43 | 0.00082797 | 0.00020751 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2325-6_0_4_load_35 | 44 | 0.008655 | 0.0021692 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2325-6_0_4_load_36 | 45 | 0.0030918 | 0.00077487 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2325-6_0_4_load_53 | 46 | 0.0024699 | 0.00061902 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2325-6_0_4_load_54 | 47 | 0.0032061 | 0.00080352 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2325-6_0_4_load_57 | 48 | 0.0024763 | 0.00062063 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2325-6_0_4_load_51 | 50 | 0.021766 | 0.005455 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2325-6_0_4_load_43 | 51 | 0.005813 | 0.0014569 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2325-6_0_4_load_49 | 53 | 0.019927 | 0.0049941 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2325-6_0_4_load_56 | 54 | 0.0032061 | 0.00080351 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2325-6_0_4_line_0 |  | 0 | 1 | 0.013484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2325-6_0_4_line_1 |  | 0 | 2 | 0.014796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2325-6_0_4_line_2 |  | 1 | 3 | 0.018114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2325-6_0_4_line_3 |  | 3 | 4 | 0.01287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2325-6_0_4_line_4 |  | 4 | 5 | 0.025243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2325-6_0_4_line_5 |  | 4 | 6 | 0.012882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2325-6_0_4_line_6 |  | 5 | 7 | 0.0046183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2325-6_0_4_line_7 |  | 6 | 10 | 0.0040088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2325-6_0_4_line_8 |  | 8 | 9 | 0.016778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2325-6_0_4_line_9 |  | 9 | 11 | 0.031341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2325-6_0_4_line_10 |  | 10 | 51 | 3.0994e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2325-6_0_4_line_11 |  | 11 | 12 | 0.016715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2325-6_0_4_line_12 |  | 12 | 13 | 0.0096889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2325-6_0_4_line_13 |  | 12 | 14 | 0.015546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2325-6_0_4_line_14 |  | 12 | 15 | 0.044024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2325-6_0_4_line_15 |  | 13 | 16 | 0.020567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_2325-6_0_4_line_16 |  | 14 | 17 | 0.0037107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2325-6_0_4_line_17 |  | 15 | 18 | 0.035586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2325-6_0_4_line_18 |  | 16 | 19 | 0.0047299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2325-6_0_4_line_19 |  | 17 | 20 | 0.032151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2325-6_0_4_line_20 |  | 18 | 21 | 0.008337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2325-6_0_4_line_21 |  | 19 | 22 | 0.0074611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2325-6_0_4_line_22 |  | 20 | 23 | 1.4148e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2325-6_0_4_line_23 |  | 21 | 24 | 0.020539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2325-6_0_4_line_24 |  | 21 | 25 | 0.013866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2325-6_0_4_line_25 |  | 22 | 51 | 0.008226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2325-6_0_4_line_26 |  | 23 | 50 | 0.050866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2325-6_0_4_line_27 |  | 24 | 52 | 0.00028353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2325-6_0_4_line_28 |  | 25 | 44 | 0.034334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2325-6_0_4_line_29 |  | 26 | 27 | 0.012081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2325-6_0_4_line_30 |  | 26 | 28 | 0.0079133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2325-6_0_4_line_31 |  | 28 | 29 | 0.021331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2325-6_0_4_line_32 |  | 29 | 30 | 0.0082594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2325-6_0_4_line_33 |  | 29 | 31 | 0.01207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2325-6_0_4_line_34 |  | 31 | 32 | 0.002606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2325-6_0_4_line_35 |  | 31 | 33 | 0.010034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2325-6_0_4_line_36 |  | 32 | 34 | 0.02442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2325-6_0_4_line_37 |  | 33 | 35 | 0.057606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2325-6_0_4_line_38 |  | 34 | 36 | 0.020819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2325-6_0_4_line_39 |  | 36 | 37 | 0.049826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2325-6_0_4_line_40 |  | 36 | 38 | 0.025647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2325-6_0_4_line_41 |  | 36 | 39 | 0.058814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2325-6_0_4_line_42 |  | 37 | 43 | 0.069719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2325-6_0_4_line_43 |  | 37 | 44 | 0.046131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2325-6_0_4_line_44 |  | 38 | 45 | 0.023992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2325-6_0_4_line_45 |  | 39 | 40 | 0.052398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2325-6_0_4_line_46 |  | 40 | 41 | 0.013472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2325-6_0_4_line_47 |  | 41 | 42 | 0.0018024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2325-6_0_4_line_48 |  | 42 | 46 | 0.022094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2325-6_0_4_line_49 |  | 42 | 47 | 0.013376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2325-6_0_4_line_50 |  | 46 | 48 | 0.010737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2325-6_0_4_line_51 |  | 47 | 49 | 0.011246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2325-6_0_4_line_52 |  | 49 | 54 | 0.02238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2325-6_0_4_line_53 |  | 52 | 53 | 0.0709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2325-6_0_4_trafo_13 | 0.63 MVA 20/0.4 kV | 55 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2558798.8766 | 1153067.5938 | 2558800.6709 | 1153071.7715 | 2558802.9423 | 1153076.2804 | 2558804.7928 | 1153079.7009
1 | 2558798.8766 | 1153067.5938 | 2558793.9963 | 1153056.2315 | 2558793.0932 | 1153053.9758
2 | 2558813.2498 | 1153095.7197 | 2558806.7891 | 1153083.391 | 2558804.7928 | 1153079.7009
3 | 2558820.3135 | 1153106.488 | 2558813.2498 | 1153095.7197
4 | 2558820.3135 | 1153106.488 | 2558830.1056 | 1153122.3846 | 2558834.009 | 1153127.6939
5 | 2558820.3135 | 1153106.488 | 2558814.2584 | 1153105.1844 | 2558808.3257 | 1153108.2731
6 | 2558834.009 | 1153127.6939 | 2558836.599 | 1153131.5175
7 | 2558804.77 | 1153110.1244 | 2558808.3257 | 1153108.2731
8 | 2558755.8614 | 1153042.6862 | 2558750.2062 | 1153058.482
9 | 2558753.109 | 1153085.8506 | 2558751.6419 | 1153080.7458 | 2558745.0117 | 1153063.8716 | 2558749.2063 | 1153061.2748 | 2558750.2062 | 1153058.482
10 | 2558804.77 | 1153110.1244 | 2558804.7425 | 1153110.1387
11 | 2558757.726 | 1153101.9149 | 2558753.109 | 1153085.8506
12 | 2558757.726 | 1153101.9149 | 2558767.4049 | 1153102.3572
13 | 2558757.726 | 1153101.9149 | 2558745.9846 | 1153106.0866 | 2558743.0894 | 1153107.1546
14 | 2558757.726 | 1153101.9149 | 2558771.8236 | 1153133.6011 | 2558779.1536 | 1153139.3953
15 | 2558786.5329 | 1153108.6463 | 2558783.3985 | 1153106.2966 | 2558773.3757 | 1153102.6301 | 2558767.4049 | 1153102.3572
16 | 2558743.0894 | 1153107.1546 | 2558739.6081 | 1153108.4387
17 | 2558805.3573 | 1153163.2307 | 2558799.97 | 1153156.3641 | 2558787.1602 | 1153145.7243 | 2558779.1536 | 1153139.3953
18 | 2558786.5329 | 1153108.6463 | 2558788.6738 | 1153110.2513 | 2558790.5676 | 1153111.0471
19 | 2558725.0821 | 1153132.4168 | 2558724.6312 | 1153126.1658 | 2558728.7875 | 1153112.4302 | 2558739.6081 | 1153108.4387
20 | 2558810.5047 | 1153169.7988 | 2558805.3573 | 1153163.2307
21 | 2558790.5676 | 1153111.0471 | 2558797.4461 | 1153113.9375 | 2558797.4461 | 1153113.9375
22 | 2558725.0821 | 1153132.4168 | 2558725.0831 | 1153132.4309
23 | 2558810.5047 | 1153169.7988 | 2558815.0857 | 1153173.2247 | 2558823.8931 | 1153185.1414
24 | 2558808.0658 | 1153180.0208 | 2558813.1894 | 1153177.5288 | 2558810.5047 | 1153169.7988
25 | 2558797.4461 | 1153113.9375 | 2558804.7425 | 1153110.1387
26 | 2558725.0831 | 1153132.4309 | 2558684.5518 | 1153163.1653
27 | 2558824.0617 | 1153185.3694 | 2558823.8931 | 1153185.1414
28 | 2558808.0658 | 1153180.0208 | 2558802.0897 | 1153179.039 | 2558787.1363 | 1153189.1912 | 2558779.239 | 1153195.6519
29 | 2558654.9408 | 1153313.4127 | 2558665.9488 | 1153308.4344
30 | 2558671.2648 | 1153302.6248 | 2558666.3595 | 1153308.2487 | 2558665.9488 | 1153308.4344
31 | 2558673.4402 | 1153283.5762 | 2558676.446 | 1153296.6845 | 2558671.2648 | 1153302.6248
32 | 2558673.4402 | 1153283.5762 | 2558665.5771 | 1153286.1039
33 | 2558684.9619 | 1153279.8729 | 2558673.4402 | 1153283.5762
34 | 2558684.9619 | 1153279.8729 | 2558687.4811 | 1153279.2062
35 | 2558684.9619 | 1153279.8729 | 2558681.4905 | 1153270.4581
36 | 2558711.0885 | 1153272.9593 | 2558687.4811 | 1153279.2062
37 | 2558665.496 | 1153215.1629 | 2558668.165 | 1153226.1275 | 2558677.206 | 1153258.8376 | 2558681.4905 | 1153270.4581
38 | 2558731.0785 | 1153267.1494 | 2558715.8874 | 1153271.6894 | 2558711.0885 | 1153272.9593
39 | 2558731.0785 | 1153267.1494 | 2558741.261 | 1153260.5872 | 2558741.0825 | 1153242.4235 | 2558742.0377 | 1153222.8847
40 | 2558731.0785 | 1153267.1494 | 2558727.2179 | 1153241.7945
41 | 2558731.0785 | 1153267.1494 | 2558741.7614 | 1153283.162 | 2558750.3388 | 1153316.598 | 2558749.966 | 1153321.6304
42 | 2558742.0377 | 1153222.8847 | 2558737.8393 | 1153203.6926 | 2558737.7378 | 1153188.919 | 2558752.2836 | 1153177.5133 | 2558765.632 | 1153167.2875
43 | 2558742.0377 | 1153222.8847 | 2558768.924 | 1153204.0905 | 2558779.239 | 1153195.6519
44 | 2558727.2179 | 1153241.7945 | 2558725.0842 | 1153227.7815 | 2558724.7957 | 1153217.968
45 | 2558735.1914 | 1153360.402 | 2558747.8758 | 1153361.249 | 2558748.2956 | 1153344.1818 | 2558749.966 | 1153321.6304
46 | 2558735.1914 | 1153360.402 | 2558721.749 | 1153359.5044
47 | 2558719.9506 | 1153359.3843 | 2558721.749 | 1153359.5044
48 | 2558719.9506 | 1153359.3843 | 2558698.0194 | 1153356.7072
49 | 2558719.9506 | 1153359.3843 | 2558718.2537 | 1153372.6522
50 | 2558687.3613 | 1153355.4062 | 2558698.0194 | 1153356.7072
51 | 2558716.827 | 1153383.8072 | 2558718.2537 | 1153372.6522
52 | 2558716.827 | 1153383.8072 | 2558739.0112 | 1153386.7634
53 | 2558824.0617 | 1153185.3694 | 2558827.1961 | 1153197.1428 | 2558827.8271 | 1153206.3655 | 2558825.3313 | 1153221.7016 | 2558819.4821 | 1153248.1663 | 2558818.8764 | 1153251.5945 | 2558817.6856 | 1153254.7154

## bus_geodata
| x | y | coords
0 | 2558798.8766 | 1153067.5938
1 | 2558804.7928 | 1153079.7009
2 | 2558793.0932 | 1153053.9758
3 | 2558813.2498 | 1153095.7197
4 | 2558820.3135 | 1153106.488
5 | 2558834.009 | 1153127.6939
6 | 2558808.3257 | 1153108.2731
7 | 2558836.599 | 1153131.5175
8 | 2558755.8614 | 1153042.6862
9 | 2558750.2062 | 1153058.482
10 | 2558804.77 | 1153110.1244
11 | 2558753.109 | 1153085.8506
12 | 2558757.726 | 1153101.9149
13 | 2558767.4049 | 1153102.3572
14 | 2558743.0894 | 1153107.1546
15 | 2558779.1536 | 1153139.3953
16 | 2558786.5329 | 1153108.6463
17 | 2558739.6081 | 1153108.4387
18 | 2558805.3573 | 1153163.2307
19 | 2558790.5676 | 1153111.0471
20 | 2558725.0821 | 1153132.4167
21 | 2558810.5047 | 1153169.7988
22 | 2558797.4461 | 1153113.9375
23 | 2558725.0831 | 1153132.4309
24 | 2558823.8931 | 1153185.1414
25 | 2558808.0658 | 1153180.0208
26 | 2558665.9488 | 1153308.4344
27 | 2558654.9408 | 1153313.4127
28 | 2558671.2648 | 1153302.6248
29 | 2558673.4402 | 1153283.5762
30 | 2558665.5771 | 1153286.1039
31 | 2558684.9619 | 1153279.8729
32 | 2558687.4811 | 1153279.2062
33 | 2558681.4905 | 1153270.4581
34 | 2558711.0885 | 1153272.9593
35 | 2558665.496 | 1153215.1629
36 | 2558731.0785 | 1153267.1494
37 | 2558742.0377 | 1153222.8847
38 | 2558727.2179 | 1153241.7945
39 | 2558749.966 | 1153321.6304
40 | 2558735.1914 | 1153360.402
41 | 2558721.749 | 1153359.5044
42 | 2558719.9506 | 1153359.3843
43 | 2558765.632 | 1153167.2875
44 | 2558779.239 | 1153195.6519
45 | 2558724.7957 | 1153217.968
46 | 2558698.0194 | 1153356.7072
47 | 2558718.2537 | 1153372.6522
48 | 2558687.3613 | 1153355.4062
49 | 2558716.827 | 1153383.8072
50 | 2558684.5518 | 1153163.1653
51 | 2558804.7425 | 1153110.1387
52 | 2558824.0617 | 1153185.3694
53 | 2558817.6856 | 1153254.7154
54 | 2558739.0112 | 1153386.7634
55 | 2558805.3573 | 1153163.2307

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98582 | -0.27297 | 0.012088 | 0.0030294
1 | 0.98662 | -0.25745 | 0.053941 | 0.013519
2 | 0.98511 | -0.28682 | 0.052151 | 0.01307
3 | 0.98859 | -0.21919 | 0 | 0
4 | 0.98999 | -0.19211 | 0 | 0
5 | 0.98959 | -0.19987 | 0 | 0
6 | 0.99159 | -0.16112 | 0.0057046 | 0.0014297
7 | 0.98952 | -0.20129 | 0.017289 | 0.0043331
8 | 0.99099 | -0.17315 | 0.047703 | 0.011955
9 | 0.99172 | -0.15895 | 0.010927 | 0.0027385
10 | 0.99185 | -0.15611 | 0.0071168 | 0.0017837
11 | 0.9934 | -0.12644 | 0.020557 | 0.0051521
12 | 0.99461 | -0.1031 | 0 | 0
13 | 0.994 | -0.11474 | 0.024418 | 0.0061198
14 | 0.99295 | -0.13525 | 0.016178 | 0.0040546
15 | 1 | 0 | -0.51074 | -0.12943
16 | 0.99287 | -0.13655 | 0.0010397 | 0.00026057
17 | 0.9926 | -0.14188 | 0.075462 | 0.018913
18 | 0.99662 | -0.064385 | 0 | 0
19 | 0.99261 | -0.14154 | 0.018727 | 0.0046935
20 | 0.99185 | -0.15641 | 0.0012556 | 0.00031468
21 | 0.99583 | -0.079533 | 0 | 0
22 | 0.99224 | -0.1486 | 0.0062285 | 0.001561
23 | 0.99185 | -0.15642 | 0.0025203 | 0.00063166
24 | 0.99532 | -0.089327 | 0.0071883 | 0.0018015
25 | 0.99485 | -0.098155 | 0 | 0
26 | 0.98444 | -0.29938 | 0.0038118 | 0.00095532
27 | 0.9844 | -0.30019 | 0.003745 | 0.00093859
28 | 0.9845 | -0.2983 | 0.0021915 | 0.00054925
29 | 0.98469 | -0.29456 | 0 | 0
30 | 0.98461 | -0.29602 | 0.0098385 | 0.0024658
31 | 0.98491 | -0.29031 | 0 | 0
32 | 0.98498 | -0.28882 | 0.0038003 | 0.00095246
33 | 0.98479 | -0.29254 | 0.003391 | 0.00084986
34 | 0.98579 | -0.27316 | 0.0014005 | 0.00035101
35 | 0.98432 | -0.30181 | 0.00895 | 0.0022431
36 | 0.9865 | -0.2593 | 0 | 0
37 | 0.98956 | -0.19983 | 0 | 0
38 | 0.9864 | -0.26127 | 0.0011938 | 0.00029921
39 | 0.98512 | -0.28612 | 0.0076941 | 0.0019283
40 | 0.98426 | -0.30282 | 0.0031885 | 0.00079911
41 | 0.98408 | -0.30634 | 0.003178 | 0.00079648
42 | 0.98407 | -0.30671 | 0 | 0
43 | 0.98951 | -0.20086 | 0.00082797 | 0.00020751
44 | 0.99244 | -0.14442 | 0.008655 | 0.0021692
45 | 0.98633 | -0.2626 | 0.0030918 | 0.00077487
46 | 0.98396 | -0.30868 | 0.0024699 | 0.00061902
47 | 0.98399 | -0.30825 | 0.0032061 | 0.00080352
48 | 0.98394 | -0.30916 | 0.0024763 | 0.00062063
49 | 0.98395 | -0.3089 | 0 | 0
50 | 0.99084 | -0.17606 | 0.021766 | 0.005455
51 | 0.99186 | -0.15608 | 0.005813 | 0.0014569
52 | 0.99531 | -0.089426 | 0 | 0
53 | 0.99402 | -0.11432 | 0.019927 | 0.0049941
54 | 0.98389 | -0.3102 | 0.0032061 | 0.00080351
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.064273 | -0.016122 | 0.064321 | 0.016152 | 4.7597e-05 | 3.029e-05 | 0.09702 | 0.09702 | 0.09702 | 0.98582 | -0.27297 | 0.98662 | -0.25745 | 26.6538
1 | 0.052186 | 0.013092 | -0.052151 | -0.01307 | 3.443e-05 | 2.1847e-05 | 0.078774 | 0.078775 | 0.078775 | 0.98582 | -0.27297 | 0.98511 | -0.28682 | 21.6413
2 | -0.11826 | -0.029671 | 0.11848 | 0.029809 | 0.00021613 | 0.00013809 | 0.17837 | 0.17837 | 0.17837 | 0.98662 | -0.25745 | 0.98859 | -0.21919 | 49.0037
3 | -0.11848 | -0.029809 | 0.11863 | 0.029907 | 0.00015356 | 9.8111e-05 | 0.17837 | 0.17837 | 0.17837 | 0.98859 | -0.21919 | 0.98999 | -0.19211 | 49.0037
4 | 0.017297 | 0.0043375 | -0.01729 | -0.0043338 | 6.3986e-06 | 3.7707e-06 | 0.025999 | 0.025999 | 0.025999 | 0.98999 | -0.19211 | 0.98959 | -0.19987 | 7.1426
5 | -0.13593 | -0.034245 | 0.13613 | 0.034374 | 0.00020178 | 0.00012897 | 0.20437 | 0.20437 | 0.20437 | 0.98999 | -0.19211 | 0.99159 | -0.16112 | 56.1463
6 | 0.01729 | 0.0043338 | -0.017289 | -0.0043331 | 1.1706e-06 | 6.8989e-07 | 0.025999 | 0.025999 | 0.025999 | 0.98959 | -0.19987 | 0.98952 | -0.20129 | 7.1426
7 | -0.14184 | -0.035803 | 0.14187 | 0.035825 | 3.408e-05 | 2.1708e-05 | 0.21293 | 0.21293 | 0.21293 | 0.99159 | -0.16112 | 0.99185 | -0.15611 | 29.249
8 | -0.047703 | -0.011955 | 0.047735 | 0.011976 | 3.228e-05 | 2.0443e-05 | 0.071628 | 0.071628 | 0.071628 | 0.99099 | -0.17315 | 0.99172 | -0.15895 | 19.678
9 | -0.058662 | -0.014714 | 0.058753 | 0.014772 | 9.1062e-05 | 5.7875e-05 | 0.088023 | 0.088023 | 0.088023 | 0.99172 | -0.15895 | 0.9934 | -0.12644 | 24.1822
10 | -0.14899 | -0.037609 | 0.14899 | 0.037609 | 1.9372e-07 | 1.2278e-07 | 0.22361 | 0.22361 | 0.22361 | 0.99185 | -0.15611 | 0.99186 | -0.15608 | 20.4771
11 | -0.07931 | -0.019924 | 0.079399 | 0.019981 | 8.8486e-05 | 5.6415e-05 | 0.11882 | 0.11882 | 0.11882 | 0.9934 | -0.12644 | 0.99461 | -0.1031 | 32.6416
12 | 0.20567 | 0.051991 | -0.20555 | -0.051918 | 0.00011478 | 7.3085e-05 | 0.30786 | 0.30786 | 0.30786 | 0.99461 | -0.1031 | 0.994 | -0.11474 | 28.192
13 | 0.11743 | 0.029527 | -0.11725 | -0.029412 | 0.00018002 | 0.00011501 | 0.17572 | 0.17572 | 0.17572 | 0.99461 | -0.1031 | 0.99295 | -0.13525 | 48.2751
14 | -0.4025 | -0.1015 | 0.4045 | 0.10278 | 0.0019969 | 0.0012763 | 0.60239 | 0.60239 | 0.60239 | 0.99461 | -0.1031 | 1 | 0 | 55.1642
15 | 0.18114 | 0.045798 | -0.18095 | -0.045678 | 0.00018923 | 0.00012031 | 0.2713 | 0.2713 | 0.2713 | 0.994 | -0.11474 | 0.99287 | -0.13655 | 24.8446
16 | 0.10107 | 0.025358 | -0.10104 | -0.025337 | 3.1928e-05 | 2.0386e-05 | 0.15148 | 0.15148 | 0.15148 | 0.99295 | -0.13525 | 0.9926 | -0.14188 | 41.6146
17 | 0.1046 | 0.026658 | -0.10427 | -0.026451 | 0.00032391 | 0.00020684 | 0.1558 | 0.1558 | 0.1558 | 1 | 0 | 0.99662 | -0.064385 | 42.8014
18 | 0.17991 | 0.045417 | -0.17986 | -0.04539 | 4.302e-05 | 2.7349e-05 | 0.26974 | 0.26974 | 0.26974 | 0.99287 | -0.13655 | 0.99261 | -0.14154 | 24.7019
19 | 0.02558 | 0.0064247 | -0.025562 | -0.0064138 | 1.7734e-05 | 1.0934e-05 | 0.038352 | 0.038352 | 0.038352 | 0.9926 | -0.14188 | 0.99185 | -0.15641 | 10.5362
20 | 0.10427 | 0.026451 | -0.1042 | -0.026402 | 7.5886e-05 | 4.8458e-05 | 0.1558 | 0.1558 | 0.1558 | 0.99662 | -0.064385 | 0.99583 | -0.079533 | 42.8014
21 | 0.16114 | 0.040696 | -0.16108 | -0.040662 | 5.447e-05 | 3.4572e-05 | 0.24167 | 0.24167 | 0.24167 | 0.99261 | -0.14154 | 0.99224 | -0.1486 | 22.131
22 | 0.024307 | 0.0060991 | -0.024307 | -0.0060991 | 7.0553e-09 | 4.3353e-09 | 0.036468 | 0.036468 | 0.036468 | 0.99185 | -0.15641 | 0.99185 | -0.15642 | 10.0187
23 | 0.027151 | 0.0068177 | -0.027139 | -0.0068099 | 1.268e-05 | 7.8483e-06 | 0.040575 | 0.040575 | 0.040575 | 0.99583 | -0.079533 | 0.99532 | -0.089327 | 11.1471
24 | 0.077045 | 0.019585 | -0.076976 | -0.019541 | 6.9032e-05 | 4.4e-05 | 0.11522 | 0.11522 | 0.11522 | 0.99583 | -0.079533 | 0.99485 | -0.098155 | 31.6544
25 | 0.15485 | 0.039101 | -0.1548 | -0.039066 | 5.5503e-05 | 3.5203e-05 | 0.23233 | 0.23233 | 0.23233 | 0.99224 | -0.1486 | 0.99186 | -0.15608 | 21.2757
26 | 0.021786 | 0.0054674 | -0.021766 | -0.005455 | 2.0381e-05 | 1.2388e-05 | 0.032687 | 0.032687 | 0.032687 | 0.99185 | -0.15642 | 0.99084 | -0.17606 | 8.98
27 | 0.01995 | 0.0050083 | -0.01995 | -0.0050083 | 9.4604e-08 | 5.6862e-08 | 0.029829 | 0.029829 | 0.029829 | 0.99532 | -0.089327 | 0.99531 | -0.089426 | 8.1948
28 | 0.076976 | 0.019541 | -0.076805 | -0.019432 | 0.00017093 | 0.00010895 | 0.11522 | 0.11522 | 0.11522 | 0.99485 | -0.098155 | 0.99244 | -0.14442 | 31.6544
29 | 0.0037452 | 0.00093853 | -0.003745 | -0.00093859 | 1.4519e-07 | -6.068e-08 | 0.0056609 | 0.005661 | 0.005661 | 0.98444 | -0.29938 | 0.9844 | -0.30019 | 1.5552
30 | -0.0075569 | -0.0018938 | 0.0075573 | 0.001894 | 3.8718e-07 | 1.4718e-07 | 0.011423 | 0.011422 | 0.011423 | 0.98444 | -0.29938 | 0.9845 | -0.2983 | 3.1381
31 | -0.0097489 | -0.0024432 | 0.0097506 | 0.0024441 | 1.7367e-06 | 8.4021e-07 | 0.014735 | 0.014735 | 0.014735 | 0.9845 | -0.2983 | 0.98469 | -0.29456 | 4.048
32 | 0.0098392 | 0.0024661 | -0.0098385 | -0.0024658 | 6.8473e-07 | 3.3317e-07 | 0.014869 | 0.014869 | 0.014869 | 0.98469 | -0.29456 | 0.98461 | -0.29602 | 4.0848
33 | -0.01959 | -0.0049102 | 0.019594 | 0.0049126 | 3.9666e-06 | 2.3851e-06 | 0.029603 | 0.029603 | 0.029603 | 0.98469 | -0.29456 | 0.98491 | -0.29031 | 8.1328
34 | -0.03194 | -0.008008 | 0.031942 | 0.0080094 | 2.2757e-06 | 1.4233e-06 | 0.048257 | 0.048257 | 0.048257 | 0.98491 | -0.29031 | 0.98498 | -0.28882 | 13.2574
35 | 0.012346 | 0.0030955 | -0.012345 | -0.0030948 | 1.3093e-06 | 7.1027e-07 | 0.018653 | 0.018654 | 0.018654 | 0.98491 | -0.29031 | 0.98479 | -0.29254 | 5.1246
36 | -0.035743 | -0.0089619 | 0.035769 | 0.0089787 | 2.6701e-05 | 1.6778e-05 | 0.053998 | 0.053998 | 0.053998 | 0.98498 | -0.28882 | 0.98579 | -0.27316 | 14.8346
37 | 0.008954 | 0.0022449 | -0.00895 | -0.0022431 | 3.9545e-06 | 1.7983e-06 | 0.01353 | 0.01353 | 0.01353 | 0.98479 | -0.29254 | 0.98432 | -0.30181 | 3.717
38 | -0.03717 | -0.0093297 | 0.037194 | 0.0093452 | 2.4581e-05 | 1.5466e-05 | 0.056112 | 0.056112 | 0.056112 | 0.98579 | -0.27316 | 0.9865 | -0.2593 | 15.4154
39 | -0.06695 | -0.016819 | 0.067141 | 0.016941 | 0.00019061 | 0.00012135 | 0.101 | 0.101 | 0.101 | 0.9865 | -0.2593 | 0.98956 | -0.19983 | 27.7475
40 | 0.0042862 | 0.0010738 | -0.0042858 | -0.0010739 | 4.02e-07 | -7.0132e-08 | 0.0064651 | 0.0064652 | 0.0064652 | 0.9865 | -0.2593 | 0.9864 | -0.26127 | 1.7762
41 | 0.02547 | 0.0064003 | -0.025437 | -0.0063803 | 3.2562e-05 | 2.009e-05 | 0.038424 | 0.038424 | 0.038424 | 0.9865 | -0.2593 | 0.98512 | -0.28612 | 10.5561
42 | 0.00082801 | 0.00020664 | -0.00082797 | -0.00020751 | 4.052e-08 | -8.697e-07 | 0.0012448 | 0.0012451 | 0.0012451 | 0.98956 | -0.19983 | 0.98951 | -0.20086 | 0.34206
43 | -0.067969 | -0.017147 | 0.06815 | 0.017262 | 0.00018085 | 0.00011515 | 0.10225 | 0.10225 | 0.10225 | 0.98956 | -0.19983 | 0.99244 | -0.14442 | 28.0894
44 | 0.003092 | 0.00077469 | -0.0030918 | -0.00077487 | 1.9574e-07 | -1.8096e-07 | 0.0046643 | 0.0046644 | 0.0046644 | 0.9864 | -0.26127 | 0.98633 | -0.2626 | 1.2814
45 | 0.017743 | 0.0044519 | -0.017729 | -0.0044436 | 1.4115e-05 | 8.3674e-06 | 0.026802 | 0.026803 | 0.026803 | 0.98512 | -0.28612 | 0.98426 | -0.30282 | 7.3633
46 | 0.01454 | 0.0036445 | -0.014538 | -0.0036431 | 2.4413e-06 | 1.3912e-06 | 0.021982 | 0.021982 | 0.021982 | 0.98426 | -0.30282 | 0.98408 | -0.30634 | 6.0391
47 | 0.01136 | 0.0028466 | -0.01136 | -0.0028465 | 1.9943e-07 | 1.0473e-07 | 0.017177 | 0.017177 | 0.017177 | 0.98408 | -0.30634 | 0.98407 | -0.30671 | 4.7189
48 | 0.0049468 | 0.0012396 | -0.0049463 | -0.0012396 | 4.6357e-07 | 1.6021e-08 | 0.00748 | 0.0074801 | 0.0074801 | 0.98407 | -0.30671 | 0.98396 | -0.30868 | 2.055
49 | 0.0064129 | 0.0016069 | -0.0064124 | -0.0016068 | 4.7166e-07 | 1.3194e-07 | 0.0096969 | 0.009697 | 0.009697 | 0.98407 | -0.30671 | 0.98399 | -0.30825 | 2.664
50 | 0.0024764 | 0.00062053 | -0.0024763 | -0.00062063 | 5.6469e-08 | -1.0024e-07 | 0.0037449 | 0.003745 | 0.003745 | 0.98396 | -0.30868 | 0.98394 | -0.30916 | 1.0288
51 | 0.0032064 | 0.00080328 | -0.0032063 | -0.00080336 | 9.9145e-08 | -7.9393e-08 | 0.0048486 | 0.0048487 | 0.0048487 | 0.98399 | -0.30825 | 0.98395 | -0.3089 | 1.3321
52 | 0.0032063 | 0.00080336 | -0.0032061 | -0.00080351 | 1.9731e-07 | -1.5797e-07 | 0.0048487 | 0.0048488 | 0.0048488 | 0.98395 | -0.3089 | 0.98389 | -0.3102 | 1.3321
53 | 0.01995 | 0.0050083 | -0.019927 | -0.0049941 | 2.3657e-05 | 1.422e-05 | 0.029829 | 0.029829 | 0.029829 | 0.99531 | -0.089426 | 0.99402 | -0.11432 | 8.1948

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51147 | 0.12962

## res_load
| p_mw | q_mvar
0 | 0.012088 | 0.0030294
1 | 0.053941 | 0.013519
2 | 0.052151 | 0.01307
3 | 0.0057046 | 0.0014297
4 | 0.017289 | 0.0043331
5 | 0.047703 | 0.011955
6 | 0.010927 | 0.0027385
7 | 0.0071168 | 0.0017837
8 | 0.020557 | 0.0051521
9 | 0.024418 | 0.0061198
10 | 0.016178 | 0.0040546
11 | 0.00072944 | 0.00018282
12 | 0.0010397 | 0.00026057
13 | 0.075462 | 0.018913
14 | 0.018727 | 0.0046935
15 | 0.0012556 | 0.00031468
16 | 0.0062285 | 0.001561
17 | 0.0025203 | 0.00063166
18 | 0.0071883 | 0.0018015
19 | 0.0038118 | 0.00095532
20 | 0.003745 | 0.00093859
21 | 0.0021915 | 0.00054925
22 | 0.0098385 | 0.0024658
23 | 0.0038003 | 0.00095246
24 | 0.003391 | 0.00084986
25 | 0.0014005 | 0.00035101
26 | 0.00895 | 0.0022431
27 | 0.0011938 | 0.00029921
28 | 0.0076941 | 0.0019283
29 | 0.0031885 | 0.00079911
30 | 0.003178 | 0.00079648
31 | 0.00082797 | 0.00020751
32 | 0.008655 | 0.0021692
33 | 0.0030918 | 0.00077487
34 | 0.0024699 | 0.00061902
35 | 0.0032061 | 0.00080352
36 | 0.0024763 | 0.00062063
37 | 0.021766 | 0.005455
38 | 0.005813 | 0.0014569
39 | 0.019927 | 0.0049941
40 | 0.0032061 | 0.00080351

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1