## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2325-9_1_4_node_46 | 0.4 | n |  | TRUE
1 | bus_LV_2325-9_1_4_node_64 | 0.4 | n |  | TRUE
2 | bus_LV_2325-9_1_4_node_45 | 0.4 | n |  | TRUE
3 | bus_LV_2325-9_1_4_node_70 | 0.4 | n |  | TRUE
4 | bus_LV_2325-9_1_4_node_98 | 0.4 | n |  | TRUE
5 | bus_LV_2325-9_1_4_node_68 | 0.4 | n |  | TRUE
6 | bus_LV_2325-9_1_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_2325-9_1_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_2325-9_1_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_2325-9_1_4_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_2325-9_1_4_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_2325-9_1_4_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_2325-9_1_4_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_2325-9_1_4_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_2325-9_1_4_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_2325-9_1_4_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_2325-9_1_4_node_95 | 0.4 | n |  | TRUE
17 | bus_LV_2325-9_1_4_node_79 | 0.4 | n |  | TRUE
18 | bus_LV_2325-9_1_4_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_2325-9_1_4_node_94 | 0.4 | n |  | TRUE
20 | bus_LV_2325-9_1_4_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_2325-9_1_4_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_2325-9_1_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_2325-9_1_4_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_2325-9_1_4_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_2325-9_1_4_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_2325-9_1_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_2325-9_1_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_2325-9_1_4_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_2325-9_1_4_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_2325-9_1_4_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_2325-9_1_4_node_67 | 0.4 | n |  | TRUE
32 | bus_LV_2325-9_1_4_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_2325-9_1_4_node_69 | 0.4 | n |  | TRUE
34 | bus_LV_2325-9_1_4_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_2325-9_1_4_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_2325-9_1_4_node_80 | 0.4 | n |  | TRUE
37 | bus_LV_2325-9_1_4_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_2325-9_1_4_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_2325-9_1_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_2325-9_1_4_node_93 | 0.4 | n |  | TRUE
41 | bus_LV_2325-9_1_4_node_71 | 0.4 | n |  | TRUE
42 | bus_LV_2325-9_1_4_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_2325-9_1_4_node_97 | 0.4 | n |  | TRUE
44 | bus_LV_2325-9_1_4_node_96 | 0.4 | n |  | TRUE
45 | bus_LV_2325-9_1_4_node_86 | 0.4 | n |  | TRUE
46 | bus_LV_2325-9_1_4_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_2325-9_1_4_node_90 | 0.4 | n |  | TRUE
48 | bus_LV_2325-9_1_4_node_91 | 0.4 | n |  | TRUE
49 | bus_MV_37_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2325-9_1_4_load_46 | 0 | 0.023216 | 0.0058185 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2325-9_1_4_load_64 | 1 | 0.0021588 | 0.00054104 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2325-9_1_4_load_70 | 3 | 0.0041353 | 0.0010364 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2325-9_1_4_load_98 | 4 | 0.0023722 | 0.00059454 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2325-9_1_4_load_68 | 5 | 0.023044 | 0.0057754 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2325-9_1_4_load_14 | 6 | 0.0011662 | 0.00029227 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2325-9_1_4_load_15 | 7 | 0.0037689 | 0.00094459 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2325-9_1_4_load_16 | 8 | 0.002131 | 0.00053408 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2325-9_1_4_load_18 | 10 | 0.00041839 | 0.00010486 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2325-9_1_4_load_19 | 11 | 0.00072353 | 0.00018133 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2325-9_1_4_load_20 | 12 | 0.0025418 | 0.00063705 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2325-9_1_4_load_21 | 13 | 0.0012288 | 0.00030795 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2325-9_1_4_load_53 | 14 | 0.002697 | 0.00067594 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2325-9_1_4_load_50 | 15 | 0.0080116 | 0.0020079 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2325-9_1_4_load_95 | 16 | 0.001235 | 0.00030953 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2325-9_1_4_load_79 | 17 | 0.0013582 | 0.0003404 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2325-9_1_4_load_51 | 18 | 0.0042318 | 0.0010606 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2325-9_1_4_load_94 | 19 | 0.0025562 | 0.00064065 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2325-9_1_4_load_22 | 20 | 0.015294 | 0.0038331 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2325-9_1_4_load_23 | 21 | 0.0065688 | 0.0016463 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2325-9_1_4_load_25 | 23 | 0.0043512 | 0.0010905 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2325-9_1_4_load_26 | 24 | 0.024079 | 0.0060348 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2325-9_1_4_load_27 | 25 | 0.010068 | 0.0025234 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2325-9_1_4_load_28 | 26 | 0.01319 | 0.0033057 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2325-9_1_4_load_29 | 27 | 0.010511 | 0.0026343 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2325-9_1_4_load_61 | 29 | 0.022728 | 0.0056963 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2325-9_1_4_load_54 | 30 | 0.010716 | 0.0026858 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2325-9_1_4_load_67 | 31 | 0.0028385 | 0.00071139 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2325-9_1_4_load_60 | 32 | 0.018009 | 0.0045135 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2325-9_1_4_load_69 | 33 | 0.0035758 | 0.00089618 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2325-9_1_4_load_62 | 34 | 0.0021661 | 0.00054288 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2325-9_1_4_load_52 | 35 | 0.0049689 | 0.0012453 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2325-9_1_4_load_80 | 36 | 0.0075154 | 0.0018835 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2325-9_1_4_load_57 | 37 | 0.016981 | 0.0042559 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2325-9_1_4_load_58 | 38 | 0.012467 | 0.0031244 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2325-9_1_4_load_59 | 39 | 0.0023114 | 0.00057929 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2325-9_1_4_load_93 | 40 | 0.0036454 | 0.00091361 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2325-9_1_4_load_71 | 41 | 0.02254 | 0.005649 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2325-9_1_4_load_96 | 44 | 0.018018 | 0.0045157 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2325-9_1_4_load_86 | 45 | 0.0039358 | 0.00098641 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2325-9_1_4_load_87 | 46 | 0.0020679 | 0.00051827 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2325-9_1_4_line_0 |  | 0 | 1 | 0.13653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2325-9_1_4_line_1 |  | 0 | 2 | 0.06406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2325-9_1_4_line_2 |  | 1 | 34 | 0.007883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2325-9_1_4_line_3 |  | 2 | 27 | 0.015459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2325-9_1_4_line_4 |  | 3 | 4 | 0.026304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2325-9_1_4_line_5 |  | 3 | 5 | 0.034677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2325-9_1_4_line_6 |  | 5 | 28 | 0.017817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2325-9_1_4_line_7 |  | 6 | 7 | 0.0064543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2325-9_1_4_line_8 |  | 6 | 8 | 0.0012843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2325-9_1_4_line_9 |  | 7 | 9 | 0.018451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2325-9_1_4_line_10 |  | 8 | 10 | 0.0057891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2325-9_1_4_line_11 |  | 9 | 11 | 0.013135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2325-9_1_4_line_12 |  | 9 | 12 | 0.015708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2325-9_1_4_line_13 |  | 10 | 13 | 0.0080054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2325-9_1_4_line_14 |  | 11 | 14 | 0.0052222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2325-9_1_4_line_15 |  | 12 | 15 | 0.00023206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2325-9_1_4_line_16 |  | 13 | 16 | 0.027126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2325-9_1_4_line_17 |  | 14 | 17 | 0.034478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2325-9_1_4_line_18 |  | 15 | 18 | 0.0081165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2325-9_1_4_line_19 |  | 16 | 19 | 0.01093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2325-9_1_4_line_20 |  | 17 | 36 | 0.0010759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2325-9_1_4_line_21 |  | 18 | 35 | 0.018904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2325-9_1_4_line_22 |  | 19 | 40 | 0.017361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2325-9_1_4_line_23 |  | 20 | 21 | 0.020826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2325-9_1_4_line_24 |  | 20 | 22 | 0.024275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2325-9_1_4_line_25 |  | 21 | 23 | 0.01498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2325-9_1_4_line_26 |  | 22 | 24 | 0.012443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2325-9_1_4_line_27 |  | 22 | 25 | 0.018479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2325-9_1_4_line_28 |  | 23 | 26 | 0.0070227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2325-9_1_4_line_29 |  | 24 | 27 | 0.043628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2325-9_1_4_line_30 |  | 25 | 28 | 0.0052606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2325-9_1_4_line_31 |  | 26 | 29 | 0.015556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2325-9_1_4_line_32 |  | 26 | 30 | 0.055235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2325-9_1_4_line_33 |  | 28 | 31 | 0.0089409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2325-9_1_4_line_34 |  | 29 | 32 | 0.018087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2325-9_1_4_line_35 |  | 31 | 33 | 0.0071007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2325-9_1_4_line_36 |  | 32 | 38 | 0.0053867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2325-9_1_4_line_37 |  | 33 | 40 | 0.0080008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2325-9_1_4_line_38 |  | 36 | 45 | 0.034418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2325-9_1_4_line_39 |  | 37 | 38 | 0.018222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2325-9_1_4_line_40 |  | 37 | 39 | 0.024014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2325-9_1_4_line_41 |  | 41 | 42 | 0.033068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2325-9_1_4_line_42 |  | 42 | 43 | 0.02279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2325-9_1_4_line_43 |  | 43 | 44 | 0.021941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2325-9_1_4_line_44 |  | 44 | 48 | 0.031705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2325-9_1_4_line_45 |  | 45 | 46 | 0.011295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2325-9_1_4_line_46 |  | 46 | 47 | 0.020247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2325-9_1_4_line_47 |  | 47 | 48 | 0.066102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2325-9_1_4_trafo_57 | 0.63 MVA 20/0.4 kV | 49 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2558644.8557 | 1152560.127 | 2558707.354 | 1152438.739
1 | 2558603.7291 | 1152567.0107 | 2558608.4737 | 1152561.7975 | 2558615.7729 | 1152548.685 | 2558620.2888 | 1152544.7963 | 2558631.7744 | 1152542.3271 | 2558638.0368 | 1152543.5624 | 2558644.8557 | 1152560.127
2 | 2558714.8747 | 1152436.3766 | 2558707.354 | 1152438.739
3 | 2558603.7291 | 1152567.0107 | 2558607.9343 | 1152574.819 | 2558610.4827 | 1152580.8969
4 | 2558686.8646 | 1152684.3098 | 2558680.1277 | 1152658.8832
5 | 2558656.892 | 1152648.5829 | 2558672.2979 | 1152642.6552 | 2558678.6559 | 1152653.3281 | 2558680.1277 | 1152658.8832
6 | 2558640.2465 | 1152654.9376 | 2558645.7035 | 1152652.8879 | 2558656.892 | 1152648.5829
7 | 2558670.307 | 1152744.5132 | 2558672.0238 | 1152750.735
8 | 2558670.307 | 1152744.5132 | 2558669.9654 | 1152743.2751
9 | 2558676.9317 | 1152768.5213 | 2558672.0238 | 1152750.735
10 | 2558668.4255 | 1152737.6946 | 2558669.9654 | 1152743.2751
11 | 2558676.9317 | 1152768.5213 | 2558663.9976 | 1152770.8075
12 | 2558676.9317 | 1152768.5213 | 2558680.6882 | 1152783.7732
13 | 2558666.2961 | 1152729.9776 | 2558668.4255 | 1152737.6946
14 | 2558663.9976 | 1152770.8075 | 2558658.8551 | 1152771.7165
15 | 2558680.7437 | 1152783.9985 | 2558680.6882 | 1152783.7732
16 | 2558658.101 | 1152704.1207 | 2558665.9065 | 1152728.5655 | 2558666.2961 | 1152729.9776
17 | 2558658.8551 | 1152771.7165 | 2558656.6454 | 1152772.1071 | 2558633.2205 | 1152771.1901 | 2558624.5361 | 1152769.8272
18 | 2558680.7437 | 1152783.9985 | 2558682.6847 | 1152791.8795
19 | 2558658.101 | 1152704.1207 | 2558654.9194 | 1152694.1568 | 2558654.7545 | 1152693.716
20 | 2558624.5361 | 1152769.8272 | 2558623.4732 | 1152769.6604
21 | 2558686.9291 | 1152810.2992 | 2558684.6754 | 1152799.9619 | 2558682.6847 | 1152791.8795
22 | 2558648.6711 | 1152677.4557 | 2558654.7545 | 1152693.716
23 | 2558608.3312 | 1152639.4239 | 2558602.6586 | 1152641.0338 | 2558587.9012 | 1152643.2941
24 | 2558631.684 | 1152632.7963 | 2558608.3312 | 1152639.4239
25 | 2558573.0937 | 1152645.5621 | 2558573.0937 | 1152645.5621 | 2558587.9012 | 1152643.2941
26 | 2558631.684 | 1152632.7963 | 2558627.3525 | 1152621.1313
27 | 2558631.684 | 1152632.7963 | 2558638.349 | 1152650.0312
28 | 2558570.3251 | 1152651.7819 | 2558570.1367 | 1152650.7296 | 2558573.0937 | 1152645.5621
29 | 2558627.3525 | 1152621.1313 | 2558610.4827 | 1152580.8969
30 | 2558640.2465 | 1152654.9376 | 2558638.349 | 1152650.0312
31 | 2558570.3251 | 1152651.7819 | 2558573.0652 | 1152667.0949
32 | 2558570.3251 | 1152651.7819 | 2558520.1977 | 1152628.5828
33 | 2558640.2465 | 1152654.9376 | 2558643.3794 | 1152663.3117
34 | 2558573.0652 | 1152667.0949 | 2558576.2511 | 1152684.8987
35 | 2558645.8675 | 1152669.9622 | 2558643.3794 | 1152663.3117
36 | 2558577.1999 | 1152690.2012 | 2558577.1999 | 1152690.2012 | 2558576.2511 | 1152684.8987
37 | 2558648.6711 | 1152677.4557 | 2558645.8675 | 1152669.9622
38 | 2558623.4732 | 1152769.6604 | 2558608.7241 | 1152767.3457 | 2558589.4658 | 1152768.6569 | 2558589.2842 | 1152768.6965
39 | 2558595.1026 | 1152686.8068 | 2558577.1999 | 1152690.2012
40 | 2558618.6967 | 1152682.3334 | 2558595.1026 | 1152686.8068
41 | 2558483.0986 | 1152703.0017 | 2558479.1997 | 1152681.7955 | 2558477.3964 | 1152670.4316
42 | 2558503.6409 | 1152693.1325 | 2558483.0986 | 1152703.0017
43 | 2558503.6409 | 1152693.1325 | 2558507.907 | 1152714.6544
44 | 2558514.0718 | 1152745.7541 | 2558507.907 | 1152714.6544
45 | 2558578.2483 | 1152771.1037 | 2558589.2842 | 1152768.6965
46 | 2558558.4666 | 1152775.4185 | 2558578.2483 | 1152771.1037
47 | 2558514.0718 | 1152745.7541 | 2558516.1129 | 1152749.0973 | 2558524.6336 | 1152748.4715 | 2558554.6242 | 1152752.3332 | 2558558.4666 | 1152775.4185

## bus_geodata
| x | y | coords
0 | 2558644.8557 | 1152560.127
1 | 2558707.354 | 1152438.739
2 | 2558603.7291 | 1152567.0107
3 | 2558680.1277 | 1152658.8832
4 | 2558686.8646 | 1152684.3098
5 | 2558656.892 | 1152648.5829
6 | 2558670.307 | 1152744.5132
7 | 2558672.0238 | 1152750.735
8 | 2558669.9654 | 1152743.2751
9 | 2558676.9317 | 1152768.5213
10 | 2558668.4255 | 1152737.6946
11 | 2558663.9976 | 1152770.8075
12 | 2558680.6882 | 1152783.7732
13 | 2558666.2961 | 1152729.9776
14 | 2558658.8551 | 1152771.7165
15 | 2558680.7437 | 1152783.9985
16 | 2558658.101 | 1152704.1207
17 | 2558624.5361 | 1152769.8272
18 | 2558682.6847 | 1152791.8795
19 | 2558654.7545 | 1152693.716
20 | 2558608.3312 | 1152639.4239
21 | 2558587.9012 | 1152643.2941
22 | 2558631.684 | 1152632.7963
23 | 2558573.0937 | 1152645.5621
24 | 2558627.3525 | 1152621.1313
25 | 2558638.349 | 1152650.0312
26 | 2558570.3251 | 1152651.7819
27 | 2558610.4827 | 1152580.8969
28 | 2558640.2465 | 1152654.9376
29 | 2558573.0652 | 1152667.0949
30 | 2558520.1977 | 1152628.5828
31 | 2558643.3794 | 1152663.3117
32 | 2558576.2511 | 1152684.8987
33 | 2558645.8675 | 1152669.9622
34 | 2558714.8747 | 1152436.3766
35 | 2558686.9291 | 1152810.2992
36 | 2558623.4732 | 1152769.6604
37 | 2558595.1026 | 1152686.8068
38 | 2558577.1999 | 1152690.2012
39 | 2558618.6967 | 1152682.3334
40 | 2558648.6711 | 1152677.4557
41 | 2558477.3964 | 1152670.4316
42 | 2558483.0986 | 1152703.0017
43 | 2558503.6409 | 1152693.1325
44 | 2558507.907 | 1152714.6544
45 | 2558589.2842 | 1152768.6965
46 | 2558578.2483 | 1152771.1037
47 | 2558558.4666 | 1152775.4185
48 | 2558514.0718 | 1152745.7541
49 | 2558618.6967 | 1152682.3334

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98638 | -0.26159 | 0.023216 | 0.0058185
1 | 0.98583 | -0.27218 | 0.0021588 | 0.00054104
2 | 0.988 | -0.23003 | 0 | 0
3 | 0.98892 | -0.212 | 0.0041353 | 0.0010364
4 | 0.98886 | -0.21311 | 0.0023722 | 0.00059454
5 | 0.98913 | -0.20798 | 0.023044 | 0.0057754
6 | 0.98385 | -0.30973 | 0.0011662 | 0.00029227
7 | 0.98335 | -0.31931 | 0.0037689 | 0.00094459
8 | 0.98395 | -0.3078 | 0.002131 | 0.00053408
9 | 0.982 | -0.3455 | 0 | 0
10 | 0.98441 | -0.29887 | 0.00041839 | 0.00010486
11 | 0.98128 | -0.35948 | 0.00072353 | 0.00018133
12 | 0.98172 | -0.35111 | 0.0025418 | 0.00063705
13 | 0.98505 | -0.28648 | 0.0012288 | 0.00030795
14 | 0.981 | -0.36498 | 0.002697 | 0.00067594
15 | 0.98171 | -0.35118 | 0.0080116 | 0.0020079
16 | 0.98725 | -0.24402 | 0.001235 | 0.00030953
17 | 0.97922 | -0.39966 | 0.0013582 | 0.0003404
18 | 0.98164 | -0.35253 | 0.0042318 | 0.0010606
19 | 0.98815 | -0.22673 | 0.0025562 | 0.00064065
20 | 0.99214 | -0.14998 | 0.015294 | 0.0038331
21 | 0.99354 | -0.12319 | 0.0065688 | 0.0016463
22 | 0.99063 | -0.1791 | 0 | 0
23 | 0.99457 | -0.10339 | 0.0043512 | 0.0010905
24 | 0.98992 | -0.19285 | 0.024079 | 0.0060348
25 | 0.98982 | -0.19452 | 0.010068 | 0.0025234
26 | 0.99507 | -0.09394 | 0.01319 | 0.0033057
27 | 0.98839 | -0.22243 | 0.010511 | 0.0026343
28 | 0.98961 | -0.1986 | 0 | 0
29 | 0.99628 | -0.070867 | 0.022728 | 0.0056963
30 | 0.99453 | -0.10437 | 0.010716 | 0.0026858
31 | 0.98933 | -0.20397 | 0.0028385 | 0.00071139
32 | 0.99781 | -0.041712 | 0.018009 | 0.0045135
33 | 0.98912 | -0.20812 | 0.0035758 | 0.00089618
34 | 0.98582 | -0.27248 | 0.0021661 | 0.00054288
35 | 0.98156 | -0.35423 | 0.0049689 | 0.0012453
36 | 0.97917 | -0.40072 | 0.0075154 | 0.0018835
37 | 1 | 0 | -0.31376 | -0.079585
38 | 0.99829 | -0.032481 | 0.012467 | 0.0031244
39 | 0.99995 | -0.00096767 | 0.0023114 | 0.00057929
40 | 0.98888 | -0.21262 | 0.0036454 | 0.00091361
41 | 0.97112 | -0.55884 | 0.02254 | 0.005649
42 | 0.97181 | -0.54507 | 0 | 0
43 | 0.97229 | -0.5356 | 0 | 0
44 | 0.97275 | -0.52648 | 0.018018 | 0.0045157
45 | 0.97767 | -0.4299 | 0.0039358 | 0.00098641
46 | 0.97722 | -0.43868 | 0.0020679 | 0.00051827
47 | 0.97645 | -0.45369 | 0 | 0
48 | 0.97395 | -0.50282 | 0 | 0
49 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0043271 | 0.0010835 | -0.0043249 | -0.0010838 | 2.1816e-06 | -3.4554e-07 | 0.0065273 | 0.006528 | 0.006528 | 0.98638 | -0.26159 | 0.98583 | -0.27218 | 1.7934
1 | -0.027543 | -0.006902 | 0.027585 | 0.0069277 | 4.1473e-05 | 2.5723e-05 | 0.04155 | 0.04155 | 0.04155 | 0.98638 | -0.26159 | 0.988 | -0.23003 | 11.4149
2 | 0.0021661 | 0.0005428 | -0.0021661 | -0.00054288 | 3.1601e-08 | -8.0284e-08 | 0.0032695 | 0.0032696 | 0.0032696 | 0.98583 | -0.27218 | 0.98582 | -0.27248 | 0.89823
3 | -0.027585 | -0.0069277 | 0.027595 | 0.0069339 | 1.0008e-05 | 6.2072e-06 | 0.04155 | 0.04155 | 0.04155 | 0.988 | -0.23003 | 0.98839 | -0.22243 | 11.4148
4 | 0.0023724 | 0.00059428 | -0.0023722 | -0.00059454 | 1.2569e-07 | -2.5703e-07 | 0.0035696 | 0.0035697 | 0.0035697 | 0.98892 | -0.212 | 0.98886 | -0.21311 | 0.98068
5 | -0.0065076 | -0.0016307 | 0.0065089 | 0.001631 | 1.2468e-06 | 3.5294e-07 | 0.0097918 | 0.0097917 | 0.0097918 | 0.98892 | -0.212 | 0.98913 | -0.20798 | 2.6901
6 | -0.029553 | -0.0074064 | 0.029566 | 0.0074146 | 1.3206e-05 | 8.2233e-06 | 0.044459 | 0.044458 | 0.044459 | 0.98913 | -0.20798 | 0.98961 | -0.1986 | 12.2139
7 | 0.082962 | 0.021015 | -0.082924 | -0.020991 | 3.8155e-05 | 2.4337e-05 | 0.12556 | 0.12556 | 0.12556 | 0.98385 | -0.30973 | 0.98335 | -0.31931 | 34.4934
8 | -0.084128 | -0.021307 | 0.084136 | 0.021312 | 7.8073e-06 | 4.9804e-06 | 0.12732 | 0.12732 | 0.12732 | 0.98385 | -0.30973 | 0.98395 | -0.3078 | 34.9779
9 | 0.079155 | 0.020046 | -0.079056 | -0.019983 | 9.9391e-05 | 6.3376e-05 | 0.11985 | 0.11985 | 0.11985 | 0.98335 | -0.31931 | 0.982 | -0.3455 | 32.9266
10 | -0.086267 | -0.021846 | 0.086304 | 0.02187 | 3.6995e-05 | 2.3603e-05 | 0.13054 | 0.13054 | 0.13054 | 0.98395 | -0.3078 | 0.98441 | -0.29887 | 35.8633
11 | 0.059295 | 0.015028 | -0.059255 | -0.015003 | 3.9816e-05 | 2.5316e-05 | 0.089909 | 0.08991 | 0.08991 | 0.982 | -0.3455 | 0.98128 | -0.35948 | 24.7004
12 | 0.01976 | 0.0049543 | -0.019755 | -0.0049512 | 5.2814e-06 | 3.1814e-06 | 0.029943 | 0.029943 | 0.029943 | 0.982 | -0.3455 | 0.98172 | -0.35111 | 8.2262
13 | -0.086723 | -0.021975 | 0.086774 | 0.022008 | 5.1655e-05 | 3.2957e-05 | 0.13117 | 0.13117 | 0.13117 | 0.98441 | -0.29887 | 0.98505 | -0.28648 | 36.037
14 | 0.058532 | 0.014822 | -0.058516 | -0.014812 | 1.5447e-05 | 9.8199e-06 | 0.088812 | 0.088812 | 0.088812 | 0.98128 | -0.35948 | 0.981 | -0.36498 | 24.399
15 | 0.017213 | 0.0043141 | -0.017213 | -0.0043141 | 5.9239e-08 | 3.4979e-08 | 0.026091 | 0.026091 | 0.026091 | 0.98172 | -0.35111 | 0.98171 | -0.35118 | 7.1678
16 | -0.088003 | -0.022316 | 0.088183 | 0.022431 | 0.00018002 | 0.00011487 | 0.13303 | 0.13303 | 0.13303 | 0.98505 | -0.28648 | 0.98725 | -0.24402 | 36.5469
17 | 0.055819 | 0.014136 | -0.055727 | -0.014077 | 9.2801e-05 | 5.8958e-05 | 0.084721 | 0.084722 | 0.084722 | 0.981 | -0.36498 | 0.97922 | -0.39966 | 23.2752
18 | 0.0092017 | 0.0023062 | -0.0092011 | -0.0023059 | 5.9208e-07 | 2.7631e-07 | 0.013947 | 0.013947 | 0.013947 | 0.98171 | -0.35118 | 0.98164 | -0.35253 | 3.8317
19 | -0.089418 | -0.02274 | 0.089493 | 0.022788 | 7.4582e-05 | 4.7592e-05 | 0.13489 | 0.13489 | 0.13489 | 0.98725 | -0.24402 | 0.98815 | -0.22673 | 37.0583
20 | 0.054368 | 0.013737 | -0.054366 | -0.013735 | 2.7567e-06 | 1.7507e-06 | 0.082658 | 0.082658 | 0.082658 | 0.97922 | -0.39966 | 0.97917 | -0.40072 | 22.7082
21 | 0.0049693 | 0.0012453 | -0.0049689 | -0.0012453 | 4.0224e-07 | 1.8469e-08 | 0.0075326 | 0.0075327 | 0.0075327 | 0.98164 | -0.35253 | 0.98156 | -0.35423 | 2.0694
22 | -0.092049 | -0.023428 | 0.092111 | 0.023468 | 6.266e-05 | 3.9657e-05 | 0.13874 | 0.13874 | 0.13874 | 0.98815 | -0.22673 | 0.98888 | -0.21262 | 19.0579
23 | -0.21986 | -0.05573 | 0.22015 | 0.055911 | 0.00028345 | 0.0001806 | 0.32998 | 0.32997 | 0.32998 | 0.99214 | -0.14998 | 0.99354 | -0.12319 | 30.2175
24 | 0.20457 | 0.051897 | -0.20428 | -0.051715 | 0.00028606 | 0.00018214 | 0.30704 | 0.30704 | 0.30704 | 0.99214 | -0.14998 | 0.99063 | -0.1791 | 28.117
25 | -0.22672 | -0.057557 | 0.22693 | 0.057695 | 0.00021623 | 0.0001378 | 0.33981 | 0.33981 | 0.33981 | 0.99354 | -0.12319 | 0.99457 | -0.10339 | 31.1184
26 | 0.062279 | 0.015663 | -0.062238 | -0.015637 | 4.0853e-05 | 2.5986e-05 | 0.093569 | 0.093569 | 0.093569 | 0.99063 | -0.1791 | 0.98992 | -0.19285 | 25.7057
27 | 0.142 | 0.036052 | -0.1419 | -0.035986 | 0.00010526 | 6.6651e-05 | 0.21347 | 0.21347 | 0.21347 | 0.99063 | -0.1791 | 0.98982 | -0.19452 | 19.5484
28 | -0.23128 | -0.058786 | 0.23139 | 0.058853 | 0.00010529 | 6.7111e-05 | 0.34632 | 0.34632 | 0.34632 | 0.99457 | -0.10339 | 0.99507 | -0.09394 | 31.7145
29 | 0.038159 | 0.0096021 | -0.038105 | -0.0095682 | 5.3855e-05 | 3.3907e-05 | 0.057374 | 0.057374 | 0.057374 | 0.98992 | -0.19285 | 0.98839 | -0.22243 | 15.7621
30 | 0.13183 | 0.033462 | -0.1318 | -0.033446 | 2.5866e-05 | 1.6352e-05 | 0.19833 | 0.19833 | 0.19833 | 0.98982 | -0.19452 | 0.98961 | -0.1986 | 18.1624
31 | -0.2553 | -0.064847 | 0.25558 | 0.065028 | 0.00028387 | 0.00018107 | 0.38208 | 0.38208 | 0.38208 | 0.99507 | -0.09394 | 0.99628 | -0.070867 | 34.989
32 | 0.010722 | 0.0026885 | -0.010716 | -0.0026858 | 5.325e-06 | 2.6908e-06 | 0.016034 | 0.016034 | 0.016034 | 0.99507 | -0.09394 | 0.99453 | -0.10437 | 4.4049
33 | 0.10224 | 0.026031 | -0.10221 | -0.026015 | 2.6462e-05 | 1.6591e-05 | 0.15387 | 0.15387 | 0.15387 | 0.98961 | -0.1986 | 0.98933 | -0.20397 | 14.0911
34 | -0.27831 | -0.070724 | 0.2787 | 0.070974 | 0.0003913 | 0.00024972 | 0.41603 | 0.41603 | 0.41603 | 0.99628 | -0.070867 | 0.99781 | -0.041712 | 38.0976
35 | 0.099373 | 0.025303 | -0.099353 | -0.025291 | 1.9866e-05 | 1.2441e-05 | 0.14961 | 0.14961 | 0.14961 | 0.98933 | -0.20397 | 0.98912 | -0.20812 | 13.7002
36 | -0.29671 | -0.075487 | 0.29684 | 0.075572 | 0.00013207 | 8.4314e-05 | 0.44288 | 0.44288 | 0.44288 | 0.99781 | -0.041712 | 0.99829 | -0.032481 | 40.557
37 | 0.095778 | 0.024395 | -0.095757 | -0.024382 | 2.0803e-05 | 1.3006e-05 | 0.14423 | 0.14423 | 0.14423 | 0.98912 | -0.20812 | 0.98888 | -0.21262 | 13.2076
38 | 0.04685 | 0.011851 | -0.046785 | -0.01181 | 6.5499e-05 | 4.1487e-05 | 0.071237 | 0.071237 | 0.071237 | 0.97917 | -0.40072 | 0.97767 | -0.4299 | 19.5706
39 | 0.3098 | 0.079006 | -0.30931 | -0.078696 | 0.00048504 | 0.00030971 | 0.46146 | 0.46146 | 0.46146 | 1 | 0 | 0.99829 | -0.032481 | 42.2586
40 | 0.0023115 | 0.00057905 | -0.0023114 | -0.00057929 | 1.0654e-07 | -2.4685e-07 | 0.0034395 | 0.0034396 | 0.0034396 | 1 | 0 | 0.99995 | -0.00096767 | 0.94494
41 | -0.02254 | -0.005649 | 0.022555 | 0.0056581 | 1.4791e-05 | 9.057e-06 | 0.034537 | 0.034537 | 0.034537 | 0.97112 | -0.55884 | 0.97181 | -0.54507 | 9.4882
42 | -0.022555 | -0.0056581 | 0.022565 | 0.0056643 | 1.0194e-05 | 6.2417e-06 | 0.034537 | 0.034537 | 0.034537 | 0.97181 | -0.54507 | 0.97229 | -0.5356 | 9.4882
43 | -0.022565 | -0.0056643 | 0.022575 | 0.0056703 | 9.8141e-06 | 6.0088e-06 | 0.034537 | 0.034537 | 0.034537 | 0.97229 | -0.5356 | 0.97275 | -0.52648 | 9.4882
44 | -0.040592 | -0.010186 | 0.040638 | 0.010215 | 4.5848e-05 | 2.8948e-05 | 0.062098 | 0.062098 | 0.062098 | 0.97275 | -0.52648 | 0.97395 | -0.50282 | 17.06
45 | 0.042849 | 0.010823 | -0.042831 | -0.010812 | 1.8032e-05 | 1.1399e-05 | 0.065247 | 0.065247 | 0.065247 | 0.97767 | -0.4299 | 0.97722 | -0.43868 | 17.9249
46 | 0.040763 | 0.010294 | -0.040734 | -0.010275 | 2.9278e-05 | 1.8484e-05 | 0.062098 | 0.062098 | 0.062098 | 0.97722 | -0.43868 | 0.97645 | -0.45369 | 17.0599
47 | 0.040734 | 0.010275 | -0.040638 | -0.010215 | 9.5588e-05 | 6.0351e-05 | 0.062098 | 0.062098 | 0.062098 | 0.97645 | -0.45369 | 0.97395 | -0.50282 | 17.06

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33074 | 0.083841

## res_load
| p_mw | q_mvar
0 | 0.023216 | 0.0058185
1 | 0.0021588 | 0.00054104
2 | 0.0041353 | 0.0010364
3 | 0.0023722 | 0.00059454
4 | 0.023044 | 0.0057754
5 | 0.0011662 | 0.00029227
6 | 0.0037689 | 0.00094459
7 | 0.002131 | 0.00053408
8 | 0.00041839 | 0.00010486
9 | 0.00072353 | 0.00018133
10 | 0.0025418 | 0.00063705
11 | 0.0012288 | 0.00030795
12 | 0.002697 | 0.00067594
13 | 0.0080116 | 0.0020079
14 | 0.001235 | 0.00030953
15 | 0.0013582 | 0.0003404
16 | 0.0042318 | 0.0010606
17 | 0.0025562 | 0.00064065
18 | 0.015294 | 0.0038331
19 | 0.0065688 | 0.0016463
20 | 0.0043512 | 0.0010905
21 | 0.024079 | 0.0060348
22 | 0.010068 | 0.0025234
23 | 0.01319 | 0.0033057
24 | 0.010511 | 0.0026343
25 | 0.022728 | 0.0056963
26 | 0.010716 | 0.0026858
27 | 0.0028385 | 0.00071139
28 | 0.018009 | 0.0045135
29 | 0.0035758 | 0.00089618
30 | 0.0021661 | 0.00054288
31 | 0.0049689 | 0.0012453
32 | 0.0075154 | 0.0018835
33 | 0.016981 | 0.0042559
34 | 0.012467 | 0.0031244
35 | 0.0023114 | 0.00057929
36 | 0.0036454 | 0.00091361
37 | 0.02254 | 0.005649
38 | 0.018018 | 0.0045157
39 | 0.0039358 | 0.00098641
40 | 0.0020679 | 0.00051827

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1