## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3002-3_1_3_node_36 | 0.4 | n |  | TRUE
1 | bus_LV_3002-3_1_3_node_98 | 0.4 | n |  | TRUE
2 | bus_LV_3002-3_1_3_node_37 | 0.4 | n |  | TRUE
3 | bus_LV_3002-3_1_3_node_38 | 0.4 | n |  | TRUE
4 | bus_LV_3002-3_1_3_node_39 | 0.4 | n |  | TRUE
5 | bus_LV_3002-3_1_3_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_3002-3_1_3_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_3002-3_1_3_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_3002-3_1_3_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_3002-3_1_3_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_3002-3_1_3_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_3002-3_1_3_node_46 | 0.4 | n |  | TRUE
12 | bus_LV_3002-3_1_3_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_3002-3_1_3_node_56 | 0.4 | n |  | TRUE
14 | bus_LV_3002-3_1_3_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_3002-3_1_3_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_3002-3_1_3_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_3002-3_1_3_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_3002-3_1_3_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_3002-3_1_3_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_3002-3_1_3_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_3002-3_1_3_node_249 | 0.4 | n |  | TRUE
22 | bus_LV_3002-3_1_3_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_3002-3_1_3_node_105 | 0.4 | n |  | TRUE
24 | bus_LV_3002-3_1_3_node_117 | 0.4 | n |  | TRUE
25 | bus_LV_3002-3_1_3_node_268 | 0.4 | n |  | TRUE
26 | bus_LV_3002-3_1_3_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_3002-3_1_3_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_3002-3_1_3_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_3002-3_1_3_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_3002-3_1_3_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_3002-3_1_3_node_125 | 0.4 | n |  | TRUE
32 | bus_LV_3002-3_1_3_node_106 | 0.4 | n |  | TRUE
33 | bus_LV_3002-3_1_3_node_269 | 0.4 | n |  | TRUE
34 | bus_LV_3002-3_1_3_node_84 | 0.4 | n |  | TRUE
35 | bus_LV_3002-3_1_3_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_3002-3_1_3_node_86 | 0.4 | n |  | TRUE
37 | bus_LV_3002-3_1_3_node_87 | 0.4 | n |  | TRUE
38 | bus_LV_3002-3_1_3_node_88 | 0.4 | n |  | TRUE
39 | bus_LV_3002-3_1_3_node_90 | 0.4 | n |  | TRUE
40 | bus_LV_3002-3_1_3_node_107 | 0.4 | n |  | TRUE
41 | bus_LV_3002-3_1_3_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_3002-3_1_3_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_3002-3_1_3_node_126 | 0.4 | n |  | TRUE
44 | bus_LV_3002-3_1_3_node_116 | 0.4 | n |  | TRUE
45 | bus_LV_3002-3_1_3_node_91 | 0.4 | n |  | TRUE
46 | bus_LV_3002-3_1_3_node_93 | 0.4 | n |  | TRUE
47 | bus_LV_3002-3_1_3_node_94 | 0.4 | n |  | TRUE
48 | bus_LV_3002-3_1_3_node_95 | 0.4 | n |  | TRUE
49 | bus_LV_3002-3_1_3_node_108 | 0.4 | n |  | TRUE
50 | bus_LV_3002-3_1_3_node_120 | 0.4 | n |  | TRUE
51 | bus_LV_3002-3_1_3_node_96 | 0.4 | n |  | TRUE
52 | bus_LV_3002-3_1_3_node_97 | 0.4 | n |  | TRUE
53 | bus_LV_3002-3_1_3_node_102 | 0.4 | n |  | TRUE
54 | bus_LV_3002-3_1_3_node_99 | 0.4 | n |  | TRUE
55 | bus_LV_3002-3_1_3_node_157 | 0.4 | n |  | TRUE
56 | bus_LV_3002-3_1_3_node_100 | 0.4 | n |  | TRUE
57 | bus_LV_3002-3_1_3_node_101 | 0.4 | n |  | TRUE
58 | bus_LV_3002-3_1_3_node_114 | 0.4 | n |  | TRUE
59 | bus_LV_3002-3_1_3_node_103 | 0.4 | n |  | TRUE
60 | bus_LV_3002-3_1_3_node_104 | 0.4 | n |  | TRUE
61 | bus_LV_3002-3_1_3_node_109 | 0.4 | n |  | TRUE
62 | bus_LV_3002-3_1_3_node_110 | 0.4 | n |  | TRUE
63 | bus_LV_3002-3_1_3_node_111 | 0.4 | n |  | TRUE
64 | bus_LV_3002-3_1_3_node_112 | 0.4 | n |  | TRUE
65 | bus_LV_3002-3_1_3_node_113 | 0.4 | n |  | TRUE
66 | bus_LV_3002-3_1_3_node_252 | 0.4 | n |  | TRUE
67 | bus_LV_3002-3_1_3_node_122 | 0.4 | n |  | TRUE
68 | bus_LV_3002-3_1_3_node_115 | 0.4 | n |  | TRUE
69 | bus_LV_3002-3_1_3_node_124 | 0.4 | n |  | TRUE
70 | bus_LV_3002-3_1_3_node_118 | 0.4 | n |  | TRUE
71 | bus_LV_3002-3_1_3_node_119 | 0.4 | n |  | TRUE
72 | bus_LV_3002-3_1_3_node_121 | 0.4 | n |  | TRUE
73 | bus_LV_3002-3_1_3_node_123 | 0.4 | n |  | TRUE
74 | bus_LV_3002-3_1_3_node_280 | 0.4 | n |  | TRUE
75 | bus_LV_3002-3_1_3_node_270 | 0.4 | n |  | TRUE
76 | bus_LV_3002-3_1_3_node_271 | 0.4 | n |  | TRUE
77 | bus_LV_3002-3_1_3_node_127 | 0.4 | n |  | TRUE
78 | bus_LV_3002-3_1_3_node_138 | 0.4 | n |  | TRUE
79 | bus_LV_3002-3_1_3_node_139 | 0.4 | n |  | TRUE
80 | bus_LV_3002-3_1_3_node_140 | 0.4 | n |  | TRUE
81 | bus_LV_3002-3_1_3_node_141 | 0.4 | n |  | TRUE
82 | bus_LV_3002-3_1_3_node_142 | 0.4 | n |  | TRUE
83 | bus_LV_3002-3_1_3_node_152 | 0.4 | n |  | TRUE
84 | bus_LV_3002-3_1_3_node_144 | 0.4 | n |  | TRUE
85 | bus_LV_3002-3_1_3_node_145 | 0.4 | n |  | TRUE
86 | bus_LV_3002-3_1_3_node_146 | 0.4 | n |  | TRUE
87 | bus_LV_3002-3_1_3_node_153 | 0.4 | n |  | TRUE
88 | bus_LV_3002-3_1_3_node_154 | 0.4 | n |  | TRUE
89 | bus_LV_3002-3_1_3_node_155 | 0.4 | n |  | TRUE
90 | bus_LV_3002-3_1_3_node_256 | 0.4 | n |  | TRUE
91 | bus_LV_3002-3_1_3_node_172 | 0.4 | n |  | TRUE
92 | bus_LV_3002-3_1_3_node_173 | 0.4 | n |  | TRUE
93 | bus_LV_3002-3_1_3_node_174 | 0.4 | n |  | TRUE
94 | bus_LV_3002-3_1_3_node_184 | 0.4 | n |  | TRUE
95 | bus_LV_3002-3_1_3_node_179 | 0.4 | n |  | TRUE
96 | bus_LV_3002-3_1_3_node_178 | 0.4 | n |  | TRUE
97 | bus_LV_3002-3_1_3_node_180 | 0.4 | n |  | TRUE
98 | bus_LV_3002-3_1_3_node_183 | 0.4 | n |  | TRUE
99 | bus_LV_3002-3_1_3_node_187 | 0.4 | n |  | TRUE
100 | bus_LV_3002-3_1_3_node_185 | 0.4 | n |  | TRUE
101 | bus_LV_3002-3_1_3_node_186 | 0.4 | n |  | TRUE
102 | bus_LV_3002-3_1_3_node_261 | 0.4 | n |  | TRUE
103 | bus_LV_3002-3_1_3_node_260 | 0.4 | n |  | TRUE
104 | bus_LV_3002-3_1_3_node_216 | 0.4 | n |  | TRUE
105 | bus_LV_3002-3_1_3_node_218 | 0.4 | n |  | TRUE
106 | bus_LV_3002-3_1_3_node_220 | 0.4 | n |  | TRUE
107 | bus_LV_3002-3_1_3_node_265 | 0.4 | n |  | TRUE
108 | bus_LV_3002-3_1_3_node_264 | 0.4 | n |  | TRUE
109 | bus_LV_3002-3_1_3_node_250 | 0.4 | n |  | TRUE
110 | bus_LV_3002-3_1_3_node_251 | 0.4 | n |  | TRUE
111 | bus_LV_3002-3_1_3_node_253 | 0.4 | n |  | TRUE
112 | bus_LV_3002-3_1_3_node_254 | 0.4 | n |  | TRUE
113 | bus_LV_3002-3_1_3_node_255 | 0.4 | n |  | TRUE
114 | bus_LV_3002-3_1_3_node_258 | 0.4 | n |  | TRUE
115 | bus_LV_3002-3_1_3_node_259 | 0.4 | n |  | TRUE
116 | bus_LV_3002-3_1_3_node_263 | 0.4 | n |  | TRUE
117 | bus_LV_3002-3_1_3_node_262 | 0.4 | n |  | TRUE
118 | bus_LV_3002-3_1_3_node_266 | 0.4 | n |  | TRUE
119 | bus_LV_3002-3_1_3_node_267 | 0.4 | n |  | TRUE
120 | bus_MV_39_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3002-3_1_3_load_36 | 0 | 0.00016979 | 4.2554e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3002-3_1_3_load_37 | 2 | 0.00016525 | 4.1416e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3002-3_1_3_load_40 | 5 | 0.00013818 | 3.4631e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3002-3_1_3_load_41 | 6 | 0.00014937 | 3.7435e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3002-3_1_3_load_42 | 8 | 0.00019432 | 4.8702e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3002-3_1_3_load_43 | 9 | 0.00028033 | 7.0258e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3002-3_1_3_load_47 | 12 | 0.0001169 | 2.9297e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3002-3_1_3_load_56 | 13 | 0.00037909 | 9.5008e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3002-3_1_3_load_55 | 14 | 9.8619e-05 | 2.4716e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3002-3_1_3_load_48 | 15 | 0.00036102 | 9.0479e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3002-3_1_3_load_49 | 16 | 6.0442e-05 | 1.5148e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3002-3_1_3_load_51 | 18 | 0.00015448 | 3.8716e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3002-3_1_3_load_52 | 19 | 0.00017583 | 4.4067e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3002-3_1_3_load_249 | 21 | 0.00017702 | 4.4365e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3002-3_1_3_load_117 | 24 | 0.00019481 | 4.8825e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3002-3_1_3_load_268 | 25 | 8.7049e-05 | 2.1817e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3002-3_1_3_load_57 | 26 | 0.00025107 | 6.2924e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3002-3_1_3_load_61 | 30 | 0.00017201 | 4.311e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3002-3_1_3_load_106 | 32 | 0.00051176 | 0.00012826 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3002-3_1_3_load_269 | 33 | 0.00036601 | 9.1732e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3002-3_1_3_load_84 | 34 | 0.00021563 | 5.4042e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3002-3_1_3_load_87 | 37 | 0.00026874 | 6.7352e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3002-3_1_3_load_88 | 38 | 6.9652e-05 | 1.7457e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3002-3_1_3_load_90 | 39 | 0.00023965 | 6.0061e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3002-3_1_3_load_107 | 40 | 0.00022394 | 5.6124e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3002-3_1_3_load_89 | 42 | 0.00025995 | 6.515e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3002-3_1_3_load_116 | 44 | 0.00017181 | 4.3059e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3002-3_1_3_load_91 | 45 | 0.00012087 | 3.0294e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3002-3_1_3_load_94 | 47 | 0.00024816 | 6.2196e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3002-3_1_3_load_95 | 48 | 0.00042013 | 0.0001053 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3002-3_1_3_load_108 | 49 | 8.626e-05 | 2.1619e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3002-3_1_3_load_96 | 51 | 0.00013348 | 3.3453e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3002-3_1_3_load_97 | 52 | 8.9148e-05 | 2.2343e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3002-3_1_3_load_102 | 53 | 0.00023359 | 5.8542e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3002-3_1_3_load_99 | 54 | 0.00012289 | 3.0799e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3002-3_1_3_load_157 | 55 | 0.00010241 | 2.5666e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3002-3_1_3_load_100 | 56 | 0.0012629 | 0.00031652 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3002-3_1_3_load_101 | 57 | 0.00016437 | 4.1196e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3002-3_1_3_load_103 | 59 | 8.4604e-05 | 2.1204e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3002-3_1_3_load_104 | 60 | 9.6142e-05 | 2.4095e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3002-3_1_3_load_109 | 61 | 0.00061214 | 0.00015342 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3002-3_1_3_load_111 | 63 | 0.00053032 | 0.00013291 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3002-3_1_3_load_252 | 66 | 0.0068531 | 0.0017176 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3002-3_1_3_load_115 | 68 | 0.00019606 | 4.9138e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3002-3_1_3_load_124 | 69 | 0.00027919 | 6.9971e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3002-3_1_3_load_118 | 70 | 0.00011864 | 2.9734e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3002-3_1_3_load_121 | 72 | 0.00021466 | 5.3798e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3002-3_1_3_load_123 | 73 | 0.00034125 | 8.5525e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3002-3_1_3_load_280 | 74 | 0.00048795 | 0.00012229 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3002-3_1_3_load_270 | 75 | 0.00047338 | 0.00011864 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3002-3_1_3_load_271 | 76 | 0.00028671 | 7.1856e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3002-3_1_3_load_127 | 77 | 8.0257e-05 | 2.0114e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3002-3_1_3_load_138 | 78 | 0.00022799 | 5.714e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3002-3_1_3_load_139 | 79 | 0.00010543 | 2.6422e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3002-3_1_3_load_140 | 80 | 0.00018402 | 4.612e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3002-3_1_3_load_141 | 81 | 0.00029976 | 7.5127e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3002-3_1_3_load_142 | 82 | 0.00041646 | 0.00010437 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3002-3_1_3_load_144 | 84 | 0.00091055 | 0.0002282 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3002-3_1_3_load_146 | 86 | 0.00056479 | 0.00014155 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3002-3_1_3_load_153 | 87 | 0.00017001 | 4.2609e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3002-3_1_3_load_154 | 88 | 0.0011802 | 0.00029579 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3002-3_1_3_load_155 | 89 | 0.0013879 | 0.00034785 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3002-3_1_3_load_172 | 91 | 0.00026381 | 6.6117e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3002-3_1_3_load_173 | 92 | 0.00022741 | 5.6995e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3002-3_1_3_load_179 | 95 | 0.00033139 | 8.3053e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3002-3_1_3_load_178 | 96 | 0.00017906 | 4.4876e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3002-3_1_3_load_183 | 98 | 0.0016924 | 0.00042416 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3002-3_1_3_load_185 | 100 | 0.0060365 | 0.0015129 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3002-3_1_3_load_186 | 101 | 0.0047798 | 0.0011979 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3002-3_1_3_load_260 | 103 | 0.0028069 | 0.00070349 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3002-3_1_3_load_216 | 104 | 0.00047479 | 0.00011899 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3002-3_1_3_load_265 | 107 | 0.0053152 | 0.0013321 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3002-3_1_3_load_264 | 108 | 0.0025808 | 0.00064682 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3002-3_1_3_load_250 | 109 | 0.012812 | 0.003211 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3002-3_1_3_load_251 | 110 | 0.0083541 | 0.0020937 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3002-3_1_3_load_253 | 111 | 0.00029467 | 7.385e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3002-3_1_3_load_254 | 112 | 0.0087622 | 0.002196 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3002-3_1_3_load_255 | 113 | 0.0038043 | 0.00095345 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3002-3_1_3_load_258 | 114 | 0.0014732 | 0.00036922 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3002-3_1_3_load_259 | 115 | 0.0014721 | 0.00036895 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3002-3_1_3_load_263 | 116 | 0.002931 | 0.00073458 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3002-3_1_3_load_262 | 117 | 0.00391 | 0.00097993 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3002-3_1_3_load_266 | 118 | 0.0040014 | 0.0010028 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3002-3_1_3_load_267 | 119 | 0.00093827 | 0.00023515 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 87 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3002-3_1_3_line_0 |  | 0 | 1 | 0.13256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3002-3_1_3_line_1 |  | 1 | 54 | 0.16833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3002-3_1_3_line_2 |  | 1 | 55 | 0.19202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3002-3_1_3_line_3 |  | 2 | 3 | 0.070462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3002-3_1_3_line_4 |  | 3 | 4 | 0.078181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3002-3_1_3_line_5 |  | 3 | 5 | 0.2953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3002-3_1_3_line_6 |  | 4 | 6 | 0.15135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3002-3_1_3_line_7 |  | 5 | 7 | 0.089085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3002-3_1_3_line_8 |  | 7 | 12 | 0.088795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3002-3_1_3_line_9 |  | 7 | 9 | 0.18955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3002-3_1_3_line_10 |  | 8 | 9 | 0.10092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3002-3_1_3_line_11 |  | 8 | 10 | 0.20365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3002-3_1_3_line_12 |  | 10 | 11 | 0.18965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3002-3_1_3_line_13 |  | 11 | 13 | 0.011177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3002-3_1_3_line_14 |  | 11 | 14 | 0.21933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3002-3_1_3_line_15 |  | 14 | 19 | 0.0067421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3002-3_1_3_line_16 |  | 15 | 16 | 0.10435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3002-3_1_3_line_17 |  | 15 | 17 | 0.018363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3002-3_1_3_line_18 |  | 16 | 18 | 0.20282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3002-3_1_3_line_19 |  | 17 | 19 | 0.036428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3002-3_1_3_line_20 |  | 17 | 20 | 0.076674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3002-3_1_3_line_21 |  | 18 | 21 | 0.066073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3002-3_1_3_line_22 |  | 20 | 25 | 0.022841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3002-3_1_3_line_23 |  | 20 | 22 | 0.12245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3002-3_1_3_line_24 |  | 22 | 23 | 0.083043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3002-3_1_3_line_25 |  | 22 | 24 | 0.18588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3002-3_1_3_line_26 |  | 23 | 40 | 0.20159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3002-3_1_3_line_27 |  | 23 | 59 | 0.15361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3002-3_1_3_line_28 |  | 25 | 77 | 0.12717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3002-3_1_3_line_29 |  | 26 | 27 | 0.16656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3002-3_1_3_line_30 |  | 26 | 28 | 0.14908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3002-3_1_3_line_31 |  | 27 | 29 | 0.052784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3002-3_1_3_line_32 |  | 28 | 30 | 0.11241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3002-3_1_3_line_33 |  | 29 | 31 | 0.05524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3002-3_1_3_line_34 |  | 29 | 32 | 0.04943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3002-3_1_3_line_35 |  | 30 | 33 | 0.091484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3002-3_1_3_line_36 |  | 31 | 76 | 0.05317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3002-3_1_3_line_37 |  | 32 | 60 | 0.003599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3002-3_1_3_line_38 |  | 34 | 35 | 0.019898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3002-3_1_3_line_39 |  | 34 | 36 | 0.014815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3002-3_1_3_line_40 |  | 35 | 37 | 0.12616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3002-3_1_3_line_41 |  | 35 | 38 | 0.018995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3002-3_1_3_line_42 |  | 36 | 39 | 0.016461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3002-3_1_3_line_43 |  | 37 | 40 | 0.23272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3002-3_1_3_line_44 |  | 38 | 41 | 0.25403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3002-3_1_3_line_45 |  | 41 | 47 | 0.0019332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3002-3_1_3_line_46 |  | 41 | 45 | 0.026129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3002-3_1_3_line_47 |  | 42 | 43 | 0.040883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3002-3_1_3_line_48 |  | 42 | 44 | 0.19904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3002-3_1_3_line_49 |  | 43 | 77 | 0.1146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3002-3_1_3_line_50 |  | 44 | 58 | 0.10591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3002-3_1_3_line_51 |  | 45 | 46 | 0.011691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3002-3_1_3_line_52 |  | 46 | 48 | 0.084211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3002-3_1_3_line_53 |  | 47 | 49 | 0.021705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3002-3_1_3_line_54 |  | 48 | 50 | 0.052958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3002-3_1_3_line_55 |  | 50 | 73 | 0.14966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3002-3_1_3_line_56 |  | 50 | 70 | 0.063548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3002-3_1_3_line_57 |  | 51 | 52 | 0.15852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3002-3_1_3_line_58 |  | 52 | 53 | 0.18429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3002-3_1_3_line_59 |  | 53 | 58 | 0.080203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3002-3_1_3_line_60 |  | 53 | 56 | 0.083291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3002-3_1_3_line_61 |  | 54 | 56 | 0.0091313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3002-3_1_3_line_62 |  | 54 | 57 | 0.0082182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3002-3_1_3_line_63 |  | 55 | 83 | 0.11137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3002-3_1_3_line_64 |  | 58 | 68 | 0.0076684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3002-3_1_3_line_65 |  | 59 | 60 | 0.032253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3002-3_1_3_line_66 |  | 61 | 62 | 0.021814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3002-3_1_3_line_67 |  | 61 | 63 | 0.067815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3002-3_1_3_line_68 |  | 62 | 64 | 0.14631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_3002-3_1_3_line_69 |  | 62 | 65 | 0.30949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_3002-3_1_3_line_70 |  | 64 | 66 | 0.043722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_3002-3_1_3_line_71 |  | 65 | 67 | 0.12001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_3002-3_1_3_line_72 |  | 66 | 109 | 0.039787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_3002-3_1_3_line_73 |  | 67 | 75 | 0.098754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3002-3_1_3_line_74 |  | 67 | 71 | 0.16306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3002-3_1_3_line_75 |  | 68 | 69 | 0.056244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3002-3_1_3_line_76 |  | 70 | 71 | 0.057745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3002-3_1_3_line_77 |  | 71 | 72 | 0.031759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3002-3_1_3_line_78 |  | 72 | 74 | 0.14462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3002-3_1_3_line_79 |  | 78 | 79 | 0.017702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3002-3_1_3_line_80 |  | 78 | 80 | 0.072928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3002-3_1_3_line_81 |  | 79 | 81 | 0.058346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3002-3_1_3_line_82 |  | 80 | 82 | 0.14521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3002-3_1_3_line_83 |  | 81 | 83 | 0.1136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3002-3_1_3_line_84 |  | 84 | 85 | 0.026836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3002-3_1_3_line_85 |  | 85 | 86 | 0.010823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3002-3_1_3_line_86 |  | 86 | 87 | 0.25107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3002-3_1_3_line_87 |  | 87 | 88 | 0.098117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_3002-3_1_3_line_88 |  | 88 | 89 | 0.022666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
89 | LV_3002-3_1_3_line_89 |  | 89 | 90 | 0.018792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_3002-3_1_3_line_90 |  | 90 | 114 | 0.010612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3002-3_1_3_line_91 |  | 90 | 113 | 0.010868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_3002-3_1_3_line_92 |  | 91 | 92 | 0.052619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3002-3_1_3_line_93 |  | 92 | 93 | 0.13208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3002-3_1_3_line_94 |  | 93 | 94 | 0.06664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3002-3_1_3_line_95 |  | 93 | 95 | 0.13084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3002-3_1_3_line_96 |  | 94 | 99 | 0.25325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3002-3_1_3_line_97 |  | 94 | 100 | 0.090731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3002-3_1_3_line_98 |  | 95 | 96 | 0.0036578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3002-3_1_3_line_99 |  | 96 | 97 | 0.11913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3002-3_1_3_line_100 |  | 97 | 98 | 0.22789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3002-3_1_3_line_101 |  | 99 | 102 | 0.018258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3002-3_1_3_line_102 |  | 99 | 103 | 0.033499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3002-3_1_3_line_103 |  | 100 | 101 | 0.013691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3002-3_1_3_line_104 |  | 102 | 116 | 0.024455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3002-3_1_3_line_105 |  | 102 | 117 | 0.024666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3002-3_1_3_line_106 |  | 103 | 115 | 0.014694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3002-3_1_3_line_107 |  | 104 | 105 | 0.37924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3002-3_1_3_line_108 |  | 105 | 106 | 0.23334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3002-3_1_3_line_109 |  | 106 | 107 | 0.025615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3002-3_1_3_line_110 |  | 106 | 108 | 0.054462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3002-3_1_3_line_111 |  | 107 | 118 | 0.047062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3002-3_1_3_line_112 |  | 108 | 116 | 0.010548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3002-3_1_3_line_113 |  | 109 | 110 | 0.037332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
114 | LV_3002-3_1_3_line_114 |  | 110 | 111 | 0.0021857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
115 | LV_3002-3_1_3_line_115 |  | 111 | 112 | 0.030156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
116 | LV_3002-3_1_3_line_116 |  | 112 | 113 | 0.034356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
117 | LV_3002-3_1_3_line_117 |  | 114 | 115 | 0.0095392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_3002-3_1_3_line_118 |  | 118 | 119 | 0.018804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3002-3_1_3_trafo_153 | 0.63 MVA 20/0.4 kV | 120 | 87 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2741647.1332 | 1243550.1849 | 2741714.7067 | 1243549.976 | 2741755.4615 | 1243547.803 | 2741779.3533 | 1243544.1038
1 | 2741642.6456 | 1243381.9171 | 2741647.1332 | 1243550.1849
2 | 2741648.2396 | 1243742.1969 | 2741647.1332 | 1243550.1849
3 | 2741563.8141 | 1242123.334 | 2741563.4416 | 1242104.408 | 2741559.7261 | 1242093.3983 | 2741551.2883 | 1242084.4111 | 2741533.7756 | 1242069.0462 | 2741529.8519 | 1242067.3181
4 | 2741563.8141 | 1242123.334 | 2741572.0285 | 1242113.7991 | 2741579.2855 | 1242107.2996 | 2741591.6966 | 1242097.4868 | 2741604.8539 | 1242090.3164 | 2741620.0101 | 1242084.0057 | 2741625.3634 | 1242080.8973 | 2741626.6124 | 1242078.6361
5 | 2741563.8141 | 1242123.334 | 2741592.0081 | 1242113.898 | 2741608.3201 | 1242133.9276 | 2741615.5472 | 1242140.7173 | 2741621.897 | 1242154.4701 | 2741640.7586 | 1242176.0398 | 2741655.301 | 1242198.8965 | 2741662.9532 | 1242229.0398 | 2741682.1967 | 1242261.195 | 2741689.4249 | 1242268.5631 | 2741692.9 | 1242276.9537 | 2741696.5922 | 1242291.7664 | 2741702.2403 | 1242301.9549 | 2741706.3203 | 1242305.2887 | 2741719.8592 | 1242311.8846 | 2741724.923 | 1242316.4541 | 2741727.4515 | 1242325.2113 | 2741730.0046 | 1242328.5086 | 2741732.915 | 1242330.6321
6 | 2741626.6124 | 1242078.6361 | 2741627.9008 | 1242076.3092 | 2741627.9781 | 1242073.0748 | 2741625.833 | 1242069.7873 | 2741621.076 | 1242065.025 | 2741614.7663 | 1242057.1896 | 2741604.9799 | 1242042.5984 | 2741592.8601 | 1242023.1027 | 2741579.693 | 1241997.0984 | 2741571.9441 | 1241981.7441 | 2741568.9543 | 1241970.7517 | 2741569.8743 | 1241966.1139 | 2741572.2441 | 1241960.3096 | 2741571.3179 | 1241956.6509 | 2741564.6122 | 1241948.6059 | 2741563.7041 | 1241947.7717
7 | 2741704.1521 | 1242407.4074 | 2741718.6052 | 1242389.9811 | 2741732.657 | 1242363.4036 | 2741738.3811 | 1242342.5659 | 2741739.2587 | 1242338.4386 | 2741737.8839 | 1242334.2576 | 2741732.915 | 1242330.6321
8 | 2741704.1521 | 1242407.4074 | 2741722.6823 | 1242407.0384 | 2741746.9555 | 1242404.3378 | 2741750.9121 | 1242405.8671 | 2741751.7364 | 1242410.3019 | 2741752.0826 | 1242436.3115 | 2741754.4815 | 1242441.6292 | 2741759.4577 | 1242443.2686
9 | 2741704.1521 | 1242407.4074 | 2741681.2329 | 1242420.8613 | 2741663.5674 | 1242430.3037 | 2741631.7725 | 1242453.4547 | 2741592.8542 | 1242486.0891 | 2741570.8114 | 1242505.3029 | 2741564.3431 | 1242512.6775 | 2741558.3503 | 1242516.2934 | 2741552.6645 | 1242516.558 | 2741551.6121 | 1242516.299
10 | 2741528.2216 | 1242436.7248 | 2741528.2216 | 1242436.7248 | 2741530.3918 | 1242446.8747 | 2741533.9106 | 1242453.4423 | 2741539.0629 | 1242458.4253 | 2741545.0385 | 1242462.1823 | 2741550.2778 | 1242463.5196 | 2741553.446 | 1242467.6656 | 2741554.5228 | 1242472.9294 | 2741554.8203 | 1242478.2079 | 2741552.6304 | 1242485.0397 | 2741550.4332 | 1242491.8601 | 2741544.1535 | 1242500.2068 | 2741541.5431 | 1242506.5948 | 2741541.855 | 1242510.6392 | 2741545.4091 | 1242514.7722 | 2741551.6121 | 1242516.299
11 | 2741366.4876 | 1242480.977 | 2741375.3777 | 1242482.4011 | 2741381.4718 | 1242482.1461 | 2741387.1896 | 1242481.4928 | 2741396.202 | 1242476.8366 | 2741422.7164 | 1242437.8553 | 2741432.3589 | 1242423.9057 | 2741442.2727 | 1242417.2916 | 2741454.1853 | 1242410.2691 | 2741468.0203 | 1242408.5751 | 2741484.1946 | 1242410.5847 | 2741500.6788 | 1242417.0391 | 2741519.1549 | 1242425.5874 | 2741525.5028 | 1242431.8111 | 2741528.2216 | 1242436.7248
12 | 2741345.3276 | 1242654.8084 | 2741345.2517 | 1242640.2267 | 2741343.4016 | 1242632.4978 | 2741342.5221 | 1242618.3196 | 2741338.1282 | 1242599.2865 | 2741334.5504 | 1242579.3277 | 2741336.1401 | 1242562.7616 | 2741340.3044 | 1242542.2533 | 2741339.5692 | 1242522.0175 | 2741340.3985 | 1242503.4093 | 2741346.3446 | 1242492.2296 | 2741352.1463 | 1242487.1076 | 2741359.1744 | 1242481.6145 | 2741366.4876 | 1242480.977
13 | 2741345.3276 | 1242654.8084 | 2741353.6648 | 1242662.2804
14 | 2741345.3276 | 1242654.8084 | 2741337.1117 | 1242659.061 | 2741319.7845 | 1242671.1816 | 2741288.7134 | 1242698.3442 | 2741274.2531 | 1242726.3142 | 2741263.8249 | 1242755.181 | 2741259.0381 | 1242768.8239 | 2741258.2187 | 1242778.4575 | 2741259.892 | 1242787.2609 | 2741263.4994 | 1242798.0454 | 2741288.7814 | 1242830.3489
15 | 2741288.7814 | 1242830.3489 | 2741290.2936 | 1242832.281 | 2741291.6866 | 1242836.3372
16 | 2741423.2685 | 1242857.7745 | 2741420.82 | 1242858.2136 | 2741404.6746 | 1242857.2614 | 2741386.0832 | 1242856.451 | 2741352.5635 | 1242858.8324 | 2741326.8493 | 1242864.97 | 2741320.0262 | 1242866.6931
17 | 2741302.2222 | 1242871.1892 | 2741320.0262 | 1242866.6931
18 | 2741423.2685 | 1242857.7745 | 2741430.0704 | 1242856.5548 | 2741451.0479 | 1242851.806 | 2741475.3844 | 1242848.2718 | 2741509.1067 | 1242845.3287 | 2741552.5525 | 1242836.4346 | 2741581.5696 | 1242833.5575 | 2741595.7279 | 1242831.271 | 2741602.7899 | 1242826.5686 | 2741612.6832 | 1242821.7447 | 2741620.8341 | 1242818.9478 | 2741620.8341 | 1242818.9478
19 | 2741302.2222 | 1242871.1892 | 2741299.812 | 1242861.5787 | 2741294.9608 | 1242845.8711 | 2741291.6866 | 1242836.3372
20 | 2741302.2222 | 1242871.1892 | 2741305.4276 | 1242879.1617 | 2741306.9912 | 1242900.496 | 2741307.2253 | 1242909.71 | 2741308.3449 | 1242923.3379 | 2741308.3338 | 1242929.8324 | 2741325.6358 | 1242929.5219
21 | 2741683.4698 | 1242817.8742 | 2741679.7827 | 1242822.4135 | 2741674.65 | 1242824.5374 | 2741666.7773 | 1242823.6041 | 2741657.2685 | 1242820.5633 | 2741643.2265 | 1242817.9813 | 2741630.2645 | 1242817.6717 | 2741620.8341 | 1242818.9478
22 | 2741325.6358 | 1242929.5219 | 2741338.1635 | 1242932.8122 | 2741347.8596 | 1242930.8697
23 | 2741325.6358 | 1242929.5219 | 2741308.3338 | 1242929.8324 | 2741302.1188 | 1242929.7844 | 2741284.2208 | 1242925.2764 | 2741260.5606 | 1242918.8517 | 2741240.2305 | 1242914.8531 | 2741205.2691 | 1242910.4727
24 | 2741123.9106 | 1242893.8334 | 2741142.489 | 1242899.9474 | 2741167.575 | 1242905.5715 | 2741194.2913 | 1242909.0991 | 2741205.2691 | 1242910.4727
25 | 2741205.2691 | 1242910.4727 | 2741207.33 | 1242916.9721 | 2741220.2077 | 1242921.1267 | 2741231.0148 | 1242927.4452 | 2741234.6452 | 1242936.6288 | 2741228.1064 | 1242955.8907 | 2741223.3421 | 1242960.0255 | 2741213.4159 | 1242959.5889 | 2741194.0604 | 1242954.6794 | 2741165.496 | 1242953.1874 | 2741146.9079 | 1242958.6057 | 2741140.4081 | 1242967.348 | 2741143.3095 | 1242973.4892 | 2741153.5477 | 1242977.9701 | 2741163.011 | 1242980.3487
26 | 2741123.9106 | 1242893.8334 | 2741112.6586 | 1242901.4394 | 2741093.7204 | 1242896.1398 | 2741083.206 | 1242894.6774 | 2741050.6041 | 1242900.7746 | 2741044.1099 | 1242901.0205 | 2741021.1708 | 1242893.2016 | 2741013.4502 | 1242893.8187 | 2741001.2029 | 1242897.1752 | 2740975.1767 | 1242916.7746 | 2740966.7981 | 1242927.8968 | 2740964.0088 | 1242942.7996 | 2740964.3577 | 1242954.5083
27 | 2741123.9106 | 1242893.8334 | 2741103.6659 | 1242884.3323 | 2741008.1833 | 1242834.1951 | 2740986.8071 | 1242824.6785
28 | 2741391.6367 | 1242976.4854 | 2741381.654 | 1242976.8659 | 2741377.8252 | 1242971.2585 | 2741378.0271 | 1242961.5211 | 2741383.1651 | 1242953.1359 | 2741390.9777 | 1242947.706 | 2741402.2082 | 1242944.504 | 2741405.9897 | 1242941.636 | 2741404.6008 | 1242937.7215 | 2741397.5045 | 1242931.8249 | 2741385.4067 | 1242926.365 | 2741376.9079 | 1242925.0502 | 2741347.8596 | 1242930.8697
29 | 2740854.3288 | 1242786.1534 | 2740836.3288 | 1242784.3134 | 2740817.7112 | 1242784.2827 | 2740800.384 | 1242785.6395 | 2740772.6606 | 1242788.5066 | 2740750.3524 | 1242787.8436 | 2740731.297 | 1242786.8241 | 2740712.5083 | 1242784.1205 | 2740696.0432 | 1242780.3823 | 2740688.9028 | 1242778.7452
30 | 2740548.4511 | 1242799.7915 | 2740560.0105 | 1242803.7577 | 2740567.8128 | 1242803.5201 | 2740577.3268 | 1242802.856 | 2740588.2104 | 1242797.6869 | 2740621.2025 | 1242778.0063 | 2740633.0946 | 1242774.0067 | 2740644.5672 | 1242772.3883 | 2740658.9837 | 1242772.9082 | 2740675.916 | 1242775.7677 | 2740688.9028 | 1242778.7452
31 | 2740905.5319 | 1242799.57 | 2740869.7677 | 1242790.1124 | 2740854.3288 | 1242786.1534
32 | 2740548.4511 | 1242799.7915 | 2740546.13 | 1242804.8744 | 2740543.137 | 1242809.9081 | 2740528.7715 | 1242829.2521 | 2740504.0554 | 1242859.6832 | 2740485.6394 | 1242892.6437
33 | 2740905.5319 | 1242799.57 | 2740902.0803 | 1242808.2959 | 2740897.8149 | 1242812.7654 | 2740864.8265 | 1242812.8379 | 2740858.8648 | 1242816.1327
34 | 2740905.5319 | 1242799.57 | 2740942.5037 | 1242808.4893 | 2740953.3916 | 1242811.8588
35 | 2740485.6394 | 1242892.6437 | 2740512.2464 | 1242884.8444 | 2740535.2864 | 1242881.0977 | 2740545.7816 | 1242885.9283 | 2740550.7539 | 1242894.0535 | 2740548.5701 | 1242913.4415
36 | 2740858.8648 | 1242816.1327 | 2740875.7024 | 1242825.83 | 2740877.0061 | 1242831.4327 | 2740872.9328 | 1242839.9104 | 2740868.4853 | 1242839.9493 | 2740856.0271 | 1242833.0807
37 | 2740953.3916 | 1242811.8588 | 2740956.8298 | 1242812.9228
38 | 2741140.0998 | 1243083.8574 | 2741144.722 | 1243088.2269 | 2741153.0797 | 1243098.8761
39 | 2741162.2262 | 1243110.5301 | 2741153.0797 | 1243098.8761
40 | 2741140.0998 | 1243083.8574 | 2741119.3345 | 1243064.1679 | 2741038.8153 | 1243038.397 | 2741025.8401 | 1243037.5727
41 | 2741140.0998 | 1243083.8574 | 2741129.1748 | 1243093.9401 | 2741125.0564 | 1243094.2246
42 | 2741162.2262 | 1243110.5301 | 2741168.3398 | 1243118.316 | 2741169.1163 | 1243124.8317
43 | 2740964.3577 | 1242954.5083 | 2740964.9131 | 1242973.1486 | 2740957.3047 | 1242985.9127 | 2740942.9554 | 1242992.4445 | 2740917.144 | 1242986.1703 | 2740906.992 | 1242986.3294 | 2740902.3409 | 1242994.3039 | 2740906.987 | 1243003.7228 | 2740947.805 | 1243027.3357 | 2740957.3973 | 1243033.2245 | 2741025.8401 | 1243037.5727
44 | 2740876.8944 | 1243079.9218 | 2740884.1874 | 1243082.9644 | 2740891.7829 | 1243083.1449 | 2740897.8598 | 1243074.9929 | 2740947.1703 | 1243082.0258 | 2741041.1244 | 1243087.552 | 2741107.6256 | 1243095.429 | 2741125.0564 | 1243094.2246
45 | 2740876.8944 | 1243079.9218 | 2740875.1099 | 1243079.1782
46 | 2740876.8944 | 1243079.9218 | 2740855.9033 | 1243095.4821
47 | 2741459.1279 | 1243056.4066 | 2741459.1527 | 1243058.8539 | 2741428.039 | 1243069.155 | 2741422.7242 | 1243071.1038
48 | 2741422.7242 | 1243071.1038 | 2741509.6072 | 1243250.1752
49 | 2741459.1279 | 1243056.4066 | 2741459.0831 | 1243052.5799 | 2741449.4614 | 1243041.6072 | 2741428.6154 | 1243026.9192 | 2741424.4511 | 1243017.3113 | 2741423.1835 | 1242997.8523 | 2741420.763 | 1242990.588 | 2741404.7167 | 1242979.4733 | 2741394.2185 | 1242976.387 | 2741391.6367 | 1242976.4854
50 | 2741509.6072 | 1243250.1752 | 2741505.7046 | 1243252.1061 | 2741512.1211 | 1243280.7629 | 2741508.7694 | 1243293.8282 | 2741485.5079 | 1243333.5096 | 2741478.0545 | 1243343.8635
51 | 2740860.6861 | 1243106.1497 | 2740855.9033 | 1243095.4821
52 | 2740860.6861 | 1243106.1497 | 2740855.6844 | 1243106.6092 | 2740852.3891 | 1243112.9033 | 2740843.7279 | 1243119.07 | 2740835.6999 | 1243132.3248 | 2740805.1736 | 1243166.676
53 | 2740855.075 | 1243070.8289 | 2740875.1099 | 1243079.1782
54 | 2740754.4714 | 1243171.1438 | 2740768.1311 | 1243171.9686 | 2740791.3981 | 1243174.5451 | 2740805.1736 | 1243166.676
55 | 2740754.4714 | 1243171.1438 | 2740746.9084 | 1243147.6209 | 2740741.7751 | 1243141.8384 | 2740679.4293 | 1243085.3645 | 2740654.8104 | 1243062.9384
56 | 2740754.4714 | 1243171.1438 | 2740740.5928 | 1243170.3028 | 2740724.0382 | 1243166.8737 | 2740715.9722 | 1243177.6033 | 2740710.2563 | 1243192.2254 | 2740708.078 | 1243195.1099
57 | 2741305.2525 | 1243490.6433 | 2741310.4919 | 1243493.4735 | 2741425.5364 | 1243531.9382 | 2741454.3296 | 1243533.5482 | 2741456.7166 | 1243533.9562
58 | 2741550.7206 | 1243375.4398 | 2741456.7166 | 1243533.9562
59 | 2741478.0545 | 1243343.8635 | 2741494.144 | 1243353.7562 | 2741531.8138 | 1243372.8496 | 2741550.7206 | 1243375.4398
60 | 2741550.7206 | 1243375.4398 | 2741567.5992 | 1243377.7522 | 2741603.3773 | 1243382.6436 | 2741633.5158 | 1243382.086
61 | 2741642.6456 | 1243381.9171 | 2741633.5158 | 1243382.086
62 | 2741650.8624 | 1243381.7651 | 2741642.6456 | 1243381.9171
63 | 2741542.964 | 1243729.5847 | 2741568.9831 | 1243721.6204 | 2741577.3863 | 1243721.8211 | 2741600.6765 | 1243735.9897 | 2741612.9106 | 1243740.7305 | 2741643.6075 | 1243741.7308 | 2741648.2396 | 1243742.1969
64 | 2741478.0545 | 1243343.8635 | 2741470.4343 | 1243344.7218
65 | 2740986.8071 | 1242824.6785 | 2740968.5456 | 1242816.5485 | 2740956.8298 | 1242812.9228
66 | 2740483.9132 | 1243444.1797 | 2740468.1528 | 1243437.5783 | 2740466.6706 | 1243433.0903
67 | 2740417.5817 | 1243389.0597 | 2740427.4142 | 1243393.7411 | 2740446.7449 | 1243407.9559 | 2740458.8865 | 1243417.9412 | 2740464.1807 | 1243425.5512 | 2740466.6706 | 1243433.0903
68 | 2740483.9132 | 1243444.1797 | 2740479.7372 | 1243451.2872 | 2740466.244 | 1243464.8467 | 2740451.2935 | 1243478.3162 | 2740434.7689 | 1243505.8945 | 2740407.4154 | 1243552.3559 | 2740400.132 | 1243562.9709
69 | 2740429.3652 | 1243147.9204 | 2740433.1032 | 1243163.7787 | 2740442.2533 | 1243180.3658 | 2740451.4024 | 1243199.5442 | 2740454.3426 | 1243213.0037 | 2740452.6443 | 1243224.6852 | 2740447.9062 | 1243236.6839 | 2740444.6537 | 1243250.1302 | 2740447.125 | 1243269.6619 | 2740469.4687 | 1243347.5725 | 2740487.2594 | 1243411.4626 | 2740488.7793 | 1243425.5002 | 2740486.4423 | 1243439.8801 | 2740483.9132 | 1243444.1797
70 | 2740400.132 | 1243562.9709 | 2740404.9678 | 1243577.1649 | 2740391.7961 | 1243602.6938
71 | 2740429.3652 | 1243147.9204 | 2740447.2404 | 1243160.4103 | 2740493.9334 | 1243184.0703 | 2740523.3084 | 1243194.0638 | 2740538.2034 | 1243196.6856
72 | 2740396.1101 | 1243640.5209 | 2740395.281 | 1243634.9881 | 2740391.0184 | 1243624.689 | 2740391.1238 | 1243614.4934 | 2740388.9593 | 1243608.192 | 2740391.7961 | 1243602.6938
73 | 2740573.112 | 1243274.9944 | 2740554.3894 | 1243243.4112 | 2740552.7022 | 1243237.7105 | 2740549.5165 | 1243218.0284 | 2740547.1934 | 1243213.3135 | 2740540.8287 | 1243208.1136 | 2740529.7868 | 1243203.4034 | 2740538.2034 | 1243196.6856
74 | 2740692.5074 | 1243226.38 | 2740669.5599 | 1243223.4111 | 2740666.6488 | 1243222.1298 | 2740656.3534 | 1243220.0616 | 2740650.3271 | 1243217.4943 | 2740641.2097 | 1243208.4811 | 2740633.4554 | 1243201.9358 | 2740622.9084 | 1243202.1861 | 2740616.887 | 1243203.5558 | 2740611.4587 | 1243206.0628 | 2740605.8573 | 1243206.9419 | 2740602.2094 | 1243206.7553 | 2740588.434 | 1243201.8801 | 2740570.1181 | 1243200.0223 | 2740543.2035 | 1243197.5715 | 2740538.2034 | 1243196.6856
75 | 2741470.4343 | 1243344.7218 | 2741467.7885 | 1243345.0198 | 2741419.8237 | 1243321.1384
76 | 2740692.5074 | 1243226.38 | 2740711.6558 | 1243227.2459 | 2740715.2699 | 1243224.3957 | 2740715.8625 | 1243220.7731 | 2740713.7433 | 1243216.0742 | 2740706.1332 | 1243207.5972 | 2740704.4198 | 1243203.0079 | 2740705.7516 | 1243198.1907 | 2740708.078 | 1243195.1099
77 | 2740692.5074 | 1243226.38 | 2740711.0115 | 1243233.047 | 2740715.3936 | 1243236.3873 | 2740717.4746 | 1243242.6979
78 | 2740717.4746 | 1243242.6979 | 2740812.7233 | 1243351.5227
79 | 2741364.1619 | 1243789.2375 | 2741373.6484 | 1243785.032 | 2741380.6314 | 1243782.8194
80 | 2741364.1619 | 1243789.2375 | 2741339.5582 | 1243800.1447 | 2741319.938 | 1243816.292 | 2741304.7511 | 1243825.6722 | 2741302.055 | 1243826.2364
81 | 2741380.6314 | 1243782.8194 | 2741407.8256 | 1243774.2032 | 2741436.8319 | 1243767.2877
82 | 2741159.52 | 1243837.7152 | 2741159.52 | 1243837.7152 | 2741175.4526 | 1243841.7757 | 2741196.5894 | 1243845.7378 | 2741278.5577 | 1243831.1535 | 2741302.055 | 1243826.2364
83 | 2741542.964 | 1243729.5847 | 2741517.8094 | 1243740.617 | 2741498.865 | 1243752.4982 | 2741436.8319 | 1243767.2877
84 | 2740661.149 | 1243607.5376 | 2740665.3207 | 1243608.5818 | 2740687.5214 | 1243612.4547
85 | 2740661.149 | 1243607.5376 | 2740650.6471 | 1243604.9207
86 | 2740650.6471 | 1243604.9207 | 2740631.1569 | 1243600.0643 | 2740547.3833 | 1243571.7871 | 2740521.7245 | 1243564.2726 | 2740507.3984 | 1243562.8877 | 2740497.2902 | 1243566.029 | 2740489.901 | 1243572.8046 | 2740479.5904 | 1243594.0575 | 2740472.2476 | 1243614.8358 | 2740451.9641 | 1243643.5592
87 | 2740396.7628 | 1243720.8141 | 2740399.2405 | 1243719.3804 | 2740419.1193 | 1243706.5837 | 2740430.2833 | 1243689.1877 | 2740441.2736 | 1243658.6979 | 2740451.9641 | 1243643.5592
88 | 2740396.7628 | 1243720.8141 | 2740386.0011 | 1243727.0408 | 2740379.3472 | 1243734.8154
89 | 2740367.1283 | 1243749.092 | 2740379.3472 | 1243734.8154
90 | 2740367.1283 | 1243749.092 | 2740364.6986 | 1243759.4217 | 2740364.6986 | 1243759.4217
91 | 2740367.1283 | 1243749.092 | 2740367.4341 | 1243738.2287
92 | 2740787.9802 | 1243729.4968 | 2740767.6482 | 1243769.6547 | 2740761.9265 | 1243774.6679
93 | 2740633.3951 | 1243772.496 | 2740641.9078 | 1243769.3504 | 2740664.4702 | 1243762.9684 | 2740692.676 | 1243764.7498 | 2740713.7437 | 1243774.1913 | 2740748.9077 | 1243775.2485 | 2740761.9265 | 1243774.6679
94 | 2740633.3951 | 1243772.496 | 2740571.2945 | 1243797.1245
95 | 2740633.3951 | 1243772.496 | 2740667.7756 | 1243774.0679 | 2740668.4053 | 1243775.2506 | 2740672.8732 | 1243783.564 | 2740674.2127 | 1243786.0647 | 2740686.4827 | 1243788.3577 | 2740702.7209 | 1243793.8922 | 2740739.029 | 1243822.2346 | 2740745.1215 | 1243825.9087
96 | 2740571.2945 | 1243797.1245 | 2740569.5221 | 1243802.999 | 2740522.1937 | 1243833.7947 | 2740486.4456 | 1243844.0019 | 2740469.8977 | 1243843.8767 | 2740453.3447 | 1243844.2852 | 2740443.8169 | 1243847.8407 | 2740434.3196 | 1243855.2114 | 2740427.5309 | 1243858.3647 | 2740417.8509 | 1243858.7693 | 2740407.5221 | 1243855.5998 | 2740399.1581 | 1243850.564 | 2740388.6126 | 1243838.0253 | 2740381.2046 | 1243830.61 | 2740350.791 | 1243815.1098
97 | 2740571.2945 | 1243797.1245 | 2740563.2738 | 1243794.5099 | 2740554.3846 | 1243796.6346 | 2740545.6365 | 1243795.6821 | 2740504.9956 | 1243782.3074 | 2740485.8368 | 1243772.3971
98 | 2740748.2538 | 1243827.7977 | 2740745.1215 | 1243825.9087
99 | 2740855.368 | 1243862.7209 | 2740846.3104 | 1243852.5188 | 2740830.3929 | 1243838.2725 | 2740815.6639 | 1243832.5511 | 2740784.0947 | 1243834.2368 | 2740751.6415 | 1243829.8407 | 2740748.2538 | 1243827.7977
100 | 2740855.368 | 1243862.7209 | 2740755.1424 | 1244067.3839
101 | 2740333.5744 | 1243819.273 | 2740343.1901 | 1243819.0336 | 2740347.326 | 1243817.7525 | 2740350.791 | 1243815.1098
102 | 2740350.791 | 1243815.1098 | 2740352.6762 | 1243810.8506 | 2740355.0778 | 1243789.2545 | 2740357.2608 | 1243782.4853
103 | 2740473.6761 | 1243766.1067 | 2740485.8368 | 1243772.3971
104 | 2740333.5744 | 1243819.273 | 2740332.7981 | 1243833.2229 | 2740331.7175 | 1243842.4612 | 2740331.3246 | 1243843.5763
105 | 2740333.5744 | 1243819.273 | 2740332.9708 | 1243794.6145
106 | 2740361.7707 | 1243768.5005 | 2740357.2608 | 1243782.4853
107 | 2740271.1519 | 1244126.9425 | 2740274.6596 | 1244176.804 | 2740279.8348 | 1244193.2523 | 2740292.844 | 1244213.4783 | 2740329.9599 | 1244250.4562 | 2740364.1345 | 1244284.8737 | 2740372.4056 | 1244297.959 | 2740375.8541 | 1244311.9644 | 2740375.9667 | 1244327.9594 | 2740371.2892 | 1244400.0141 | 2740372.6562 | 1244423.0562 | 2740378.4353 | 1244441.443 | 2740392.5843 | 1244463.9743
108 | 2740301.1757 | 1243901.0587 | 2740282.2434 | 1243933.9631 | 2740273.19 | 1243956.7809 | 2740269.9975 | 1243974.755 | 2740266.1124 | 1244028.3896 | 2740265.1467 | 1244041.7233 | 2740270.5239 | 1244118.0195 | 2740271.1519 | 1244126.9425
109 | 2740301.1757 | 1243901.0587 | 2740321.8801 | 1243903.8175 | 2740326.1971 | 1243905.7436
110 | 2740301.1757 | 1243901.0587 | 2740327.5094 | 1243853.3861
111 | 2740326.1971 | 1243905.7436 | 2740333.8024 | 1243918.5573 | 2740340.474 | 1243928.0125 | 2740349.5733 | 1243933.2881 | 2740359.5892 | 1243934.3371
112 | 2740331.3246 | 1243843.5763 | 2740328.4996 | 1243851.5934 | 2740327.5094 | 1243853.3861
113 | 2740396.1101 | 1243640.5209 | 2740398.0037 | 1243653.1578 | 2740391.0101 | 1243676.6946
114 | 2740391.0101 | 1243676.6946 | 2740390.3875 | 1243678.7897
115 | 2740377.1457 | 1243705.8464 | 2740387.5162 | 1243686.0506 | 2740390.3875 | 1243678.7897 | 2740390.3875 | 1243678.7897
116 | 2740377.1457 | 1243705.8464 | 2740373.1352 | 1243713.5019 | 2740369.6413 | 1243721.5154 | 2740367.6998 | 1243728.7872 | 2740367.4341 | 1243738.2287
117 | 2740361.7707 | 1243768.5005 | 2740364.6986 | 1243759.4217
118 | 2740376.2117 | 1243943.1161 | 2740368.9072 | 1243938.9951 | 2740359.5892 | 1243934.3371

## bus_geodata
| x | y | coords
0 | 2741779.3533 | 1243544.1038
1 | 2741647.1332 | 1243550.1849
2 | 2741529.8519 | 1242067.3181
3 | 2741563.8141 | 1242123.334
4 | 2741626.6124 | 1242078.6361
5 | 2741732.915 | 1242330.6321
6 | 2741563.7041 | 1241947.7717
7 | 2741704.1521 | 1242407.4074
8 | 2741528.2216 | 1242436.7248
9 | 2741551.6121 | 1242516.299
10 | 2741366.4876 | 1242480.977
11 | 2741345.3276 | 1242654.8084
12 | 2741759.4577 | 1242443.2686
13 | 2741353.6648 | 1242662.2804
14 | 2741288.7814 | 1242830.3489
15 | 2741320.0262 | 1242866.6931
16 | 2741423.2685 | 1242857.7745
17 | 2741302.2222 | 1242871.1892
18 | 2741620.8341 | 1242818.9478
19 | 2741291.6866 | 1242836.3372
20 | 2741325.6358 | 1242929.5219
21 | 2741683.4698 | 1242817.8742
22 | 2741205.2691 | 1242910.4727
23 | 2741123.9106 | 1242893.8334
24 | 2741163.011 | 1242980.3487
25 | 2741347.8596 | 1242930.8697
26 | 2740688.9028 | 1242778.7452
27 | 2740854.3288 | 1242786.1534
28 | 2740548.4511 | 1242799.7915
29 | 2740905.5319 | 1242799.57
30 | 2740485.6394 | 1242892.6437
31 | 2740858.8648 | 1242816.1327
32 | 2740953.3916 | 1242811.8588
33 | 2740548.5701 | 1242913.4415
34 | 2741153.0797 | 1243098.8761
35 | 2741140.0998 | 1243083.8574
36 | 2741162.2262 | 1243110.5301
37 | 2741025.8401 | 1243037.5727
38 | 2741125.0564 | 1243094.2246
39 | 2741169.1163 | 1243124.8317
40 | 2740964.3577 | 1242954.5083
41 | 2740876.8944 | 1243079.9218
42 | 2741422.7242 | 1243071.1038
43 | 2741459.1279 | 1243056.4066
44 | 2741509.6072 | 1243250.1752
45 | 2740855.9033 | 1243095.4821
46 | 2740860.6861 | 1243106.1497
47 | 2740875.1099 | 1243079.1782
48 | 2740805.1736 | 1243166.676
49 | 2740855.075 | 1243070.8289
50 | 2740754.4714 | 1243171.1438
51 | 2741305.2525 | 1243490.6433
52 | 2741456.7166 | 1243533.9562
53 | 2741550.7206 | 1243375.4398
54 | 2741642.6456 | 1243381.9171
55 | 2741648.2396 | 1243742.1969
56 | 2741633.5158 | 1243382.086
57 | 2741650.8624 | 1243381.7651
58 | 2741478.0545 | 1243343.8635
59 | 2740986.8071 | 1242824.6785
60 | 2740956.8298 | 1242812.9228
61 | 2740466.6706 | 1243433.0903
62 | 2740483.9132 | 1243444.1797
63 | 2740417.5817 | 1243389.0597
64 | 2740400.132 | 1243562.9709
65 | 2740429.3652 | 1243147.9204
66 | 2740391.7961 | 1243602.6938
67 | 2740538.2034 | 1243196.6856
68 | 2741470.4343 | 1243344.7218
69 | 2741419.8237 | 1243321.1384
70 | 2740708.078 | 1243195.1099
71 | 2740692.5074 | 1243226.38
72 | 2740717.4746 | 1243242.6979
73 | 2740654.8104 | 1243062.9384
74 | 2740812.7233 | 1243351.5227
75 | 2740573.112 | 1243274.9944
76 | 2740856.0271 | 1242833.0807
77 | 2741391.6367 | 1242976.4854
78 | 2741364.1619 | 1243789.2375
79 | 2741380.6314 | 1243782.8194
80 | 2741302.055 | 1243826.2364
81 | 2741436.8319 | 1243767.2877
82 | 2741159.52 | 1243837.7152
83 | 2741542.964 | 1243729.5847
84 | 2740687.5214 | 1243612.4547
85 | 2740661.149 | 1243607.5376
86 | 2740650.6471 | 1243604.9207
87 | 2740451.9641 | 1243643.5591
88 | 2740396.7628 | 1243720.8141
89 | 2740379.3472 | 1243734.8154
90 | 2740367.1283 | 1243749.092
91 | 2740787.9802 | 1243729.4968
92 | 2740761.9265 | 1243774.6679
93 | 2740633.3951 | 1243772.496
94 | 2740571.2945 | 1243797.1245
95 | 2740745.1215 | 1243825.9087
96 | 2740748.2538 | 1243827.7977
97 | 2740855.368 | 1243862.7209
98 | 2740755.1424 | 1244067.3839
99 | 2740350.791 | 1243815.1098
100 | 2740485.8368 | 1243772.3971
101 | 2740473.6761 | 1243766.1067
102 | 2740333.5744 | 1243819.273
103 | 2740357.2608 | 1243782.4853
104 | 2740392.5843 | 1244463.9743
105 | 2740271.152 | 1244126.9425
106 | 2740301.1757 | 1243901.0587
107 | 2740326.1971 | 1243905.7436
108 | 2740327.5094 | 1243853.3861
109 | 2740396.1101 | 1243640.5209
110 | 2740391.0101 | 1243676.6946
111 | 2740390.3875 | 1243678.7897
112 | 2740377.1457 | 1243705.8464
113 | 2740367.4341 | 1243738.2287
114 | 2740364.6986 | 1243759.4217
115 | 2740361.7707 | 1243768.5005
116 | 2740331.3246 | 1243843.5763
117 | 2740332.9708 | 1243794.6145
118 | 2740359.5892 | 1243934.3371
119 | 2740376.2117 | 1243943.1161
120 | 2740367.1283 | 1243749.092

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1