## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3005-1_1_3_node_52 | 0.4 | n |  | TRUE
1 | bus_LV_3005-1_1_3_node_53 | 0.4 | n |  | TRUE
2 | bus_LV_3005-1_1_3_node_54 | 0.4 | n |  | TRUE
3 | bus_LV_3005-1_1_3_node_55 | 0.4 | n |  | TRUE
4 | bus_LV_3005-1_1_3_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_3005-1_1_3_node_79 | 0.4 | n |  | TRUE
6 | bus_LV_3005-1_1_3_node_78 | 0.4 | n |  | TRUE
7 | bus_LV_3005-1_1_3_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_3005-1_1_3_node_58 | 0.4 | n |  | TRUE
9 | bus_LV_3005-1_1_3_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_3005-1_1_3_node_60 | 0.4 | n |  | TRUE
11 | bus_LV_3005-1_1_3_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_3005-1_1_3_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_3005-1_1_3_node_62 | 0.4 | n |  | TRUE
14 | bus_LV_3005-1_1_3_node_63 | 0.4 | n |  | TRUE
15 | bus_LV_3005-1_1_3_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_3005-1_1_3_node_65 | 0.4 | n |  | TRUE
17 | bus_LV_3005-1_1_3_node_67 | 0.4 | n |  | TRUE
18 | bus_LV_3005-1_1_3_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_3005-1_1_3_node_73 | 0.4 | n |  | TRUE
20 | bus_LV_3005-1_1_3_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_3005-1_1_3_node_306 | 0.4 | n |  | TRUE
22 | bus_LV_3005-1_1_3_node_184 | 0.4 | n |  | TRUE
23 | bus_LV_3005-1_1_3_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_3005-1_1_3_node_76 | 0.4 | n |  | TRUE
25 | bus_LV_3005-1_1_3_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_3005-1_1_3_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_3005-1_1_3_node_160 | 0.4 | n |  | TRUE
28 | bus_LV_3005-1_1_3_node_142 | 0.4 | n |  | TRUE
29 | bus_LV_3005-1_1_3_node_80 | 0.4 | n |  | TRUE
30 | bus_LV_3005-1_1_3_node_81 | 0.4 | n |  | TRUE
31 | bus_LV_3005-1_1_3_node_82 | 0.4 | n |  | TRUE
32 | bus_LV_3005-1_1_3_node_104 | 0.4 | n |  | TRUE
33 | bus_LV_3005-1_1_3_node_83 | 0.4 | n |  | TRUE
34 | bus_LV_3005-1_1_3_node_84 | 0.4 | n |  | TRUE
35 | bus_LV_3005-1_1_3_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_3005-1_1_3_node_86 | 0.4 | n |  | TRUE
37 | bus_LV_3005-1_1_3_node_87 | 0.4 | n |  | TRUE
38 | bus_LV_3005-1_1_3_node_88 | 0.4 | n |  | TRUE
39 | bus_LV_3005-1_1_3_node_169 | 0.4 | n |  | TRUE
40 | bus_LV_3005-1_1_3_node_132 | 0.4 | n |  | TRUE
41 | bus_LV_3005-1_1_3_node_190 | 0.4 | n |  | TRUE
42 | bus_LV_3005-1_1_3_node_97 | 0.4 | n |  | TRUE
43 | bus_LV_3005-1_1_3_node_98 | 0.4 | n |  | TRUE
44 | bus_LV_3005-1_1_3_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_3005-1_1_3_node_100 | 0.4 | n |  | TRUE
46 | bus_LV_3005-1_1_3_node_101 | 0.4 | n |  | TRUE
47 | bus_LV_3005-1_1_3_node_159 | 0.4 | n |  | TRUE
48 | bus_LV_3005-1_1_3_node_130 | 0.4 | n |  | TRUE
49 | bus_LV_3005-1_1_3_node_139 | 0.4 | n |  | TRUE
50 | bus_LV_3005-1_1_3_node_102 | 0.4 | n |  | TRUE
51 | bus_LV_3005-1_1_3_node_103 | 0.4 | n |  | TRUE
52 | bus_LV_3005-1_1_3_node_106 | 0.4 | n |  | TRUE
53 | bus_LV_3005-1_1_3_node_107 | 0.4 | n |  | TRUE
54 | bus_LV_3005-1_1_3_node_105 | 0.4 | n |  | TRUE
55 | bus_LV_3005-1_1_3_node_146 | 0.4 | n |  | TRUE
56 | bus_LV_3005-1_1_3_node_144 | 0.4 | n |  | TRUE
57 | bus_LV_3005-1_1_3_node_173 | 0.4 | n |  | TRUE
58 | bus_LV_3005-1_1_3_node_128 | 0.4 | n |  | TRUE
59 | bus_LV_3005-1_1_3_node_192 | 0.4 | n |  | TRUE
60 | bus_LV_3005-1_1_3_node_108 | 0.4 | n |  | TRUE
61 | bus_LV_3005-1_1_3_node_109 | 0.4 | n |  | TRUE
62 | bus_LV_3005-1_1_3_node_110 | 0.4 | n |  | TRUE
63 | bus_LV_3005-1_1_3_node_111 | 0.4 | n |  | TRUE
64 | bus_LV_3005-1_1_3_node_112 | 0.4 | n |  | TRUE
65 | bus_LV_3005-1_1_3_node_113 | 0.4 | n |  | TRUE
66 | bus_LV_3005-1_1_3_node_114 | 0.4 | n |  | TRUE
67 | bus_LV_3005-1_1_3_node_136 | 0.4 | n |  | TRUE
68 | bus_LV_3005-1_1_3_node_270 | 0.4 | n |  | TRUE
69 | bus_LV_3005-1_1_3_node_115 | 0.4 | n |  | TRUE
70 | bus_LV_3005-1_1_3_node_116 | 0.4 | n |  | TRUE
71 | bus_LV_3005-1_1_3_node_117 | 0.4 | n |  | TRUE
72 | bus_LV_3005-1_1_3_node_118 | 0.4 | n |  | TRUE
73 | bus_LV_3005-1_1_3_node_155 | 0.4 | n |  | TRUE
74 | bus_LV_3005-1_1_3_node_156 | 0.4 | n |  | TRUE
75 | bus_LV_3005-1_1_3_node_125 | 0.4 | n |  | TRUE
76 | bus_LV_3005-1_1_3_node_126 | 0.4 | n |  | TRUE
77 | bus_LV_3005-1_1_3_node_127 | 0.4 | n |  | TRUE
78 | bus_LV_3005-1_1_3_node_221 | 0.4 | n |  | TRUE
79 | bus_LV_3005-1_1_3_node_311 | 0.4 | n |  | TRUE
80 | bus_LV_3005-1_1_3_node_129 | 0.4 | n |  | TRUE
81 | bus_LV_3005-1_1_3_node_153 | 0.4 | n |  | TRUE
82 | bus_LV_3005-1_1_3_node_164 | 0.4 | n |  | TRUE
83 | bus_LV_3005-1_1_3_node_131 | 0.4 | n |  | TRUE
84 | bus_LV_3005-1_1_3_node_133 | 0.4 | n |  | TRUE
85 | bus_LV_3005-1_1_3_node_134 | 0.4 | n |  | TRUE
86 | bus_LV_3005-1_1_3_node_138 | 0.4 | n |  | TRUE
87 | bus_LV_3005-1_1_3_node_135 | 0.4 | n |  | TRUE
88 | bus_LV_3005-1_1_3_node_137 | 0.4 | n |  | TRUE
89 | bus_LV_3005-1_1_3_node_189 | 0.4 | n |  | TRUE
90 | bus_LV_3005-1_1_3_node_145 | 0.4 | n |  | TRUE
91 | bus_LV_3005-1_1_3_node_180 | 0.4 | n |  | TRUE
92 | bus_LV_3005-1_1_3_node_140 | 0.4 | n |  | TRUE
93 | bus_LV_3005-1_1_3_node_141 | 0.4 | n |  | TRUE
94 | bus_LV_3005-1_1_3_node_143 | 0.4 | n |  | TRUE
95 | bus_LV_3005-1_1_3_node_147 | 0.4 | n |  | TRUE
96 | bus_LV_3005-1_1_3_node_148 | 0.4 | n |  | TRUE
97 | bus_LV_3005-1_1_3_node_307 | 0.4 | n |  | TRUE
98 | bus_LV_3005-1_1_3_node_232 | 0.4 | n |  | TRUE
99 | bus_LV_3005-1_1_3_node_152 | 0.4 | n |  | TRUE
100 | bus_LV_3005-1_1_3_node_154 | 0.4 | n |  | TRUE
101 | bus_LV_3005-1_1_3_node_157 | 0.4 | n |  | TRUE
102 | bus_LV_3005-1_1_3_node_186 | 0.4 | n |  | TRUE
103 | bus_LV_3005-1_1_3_node_158 | 0.4 | n |  | TRUE
104 | bus_LV_3005-1_1_3_node_161 | 0.4 | n |  | TRUE
105 | bus_LV_3005-1_1_3_node_162 | 0.4 | n |  | TRUE
106 | bus_LV_3005-1_1_3_node_163 | 0.4 | n |  | TRUE
107 | bus_LV_3005-1_1_3_node_165 | 0.4 | n |  | TRUE
108 | bus_LV_3005-1_1_3_node_166 | 0.4 | n |  | TRUE
109 | bus_LV_3005-1_1_3_node_196 | 0.4 | n |  | TRUE
110 | bus_LV_3005-1_1_3_node_234 | 0.4 | n |  | TRUE
111 | bus_LV_3005-1_1_3_node_167 | 0.4 | n |  | TRUE
112 | bus_LV_3005-1_1_3_node_168 | 0.4 | n |  | TRUE
113 | bus_LV_3005-1_1_3_node_170 | 0.4 | n |  | TRUE
114 | bus_LV_3005-1_1_3_node_174 | 0.4 | n |  | TRUE
115 | bus_LV_3005-1_1_3_node_183 | 0.4 | n |  | TRUE
116 | bus_LV_3005-1_1_3_node_185 | 0.4 | n |  | TRUE
117 | bus_LV_3005-1_1_3_node_304 | 0.4 | n |  | TRUE
118 | bus_LV_3005-1_1_3_node_305 | 0.4 | n |  | TRUE
119 | bus_LV_3005-1_1_3_node_187 | 0.4 | n |  | TRUE
120 | bus_LV_3005-1_1_3_node_188 | 0.4 | n |  | TRUE
121 | bus_LV_3005-1_1_3_node_295 | 0.4 | n |  | TRUE
122 | bus_LV_3005-1_1_3_node_294 | 0.4 | n |  | TRUE
123 | bus_LV_3005-1_1_3_node_265 | 0.4 | n |  | TRUE
124 | bus_LV_3005-1_1_3_node_309 | 0.4 | n |  | TRUE
125 | bus_LV_3005-1_1_3_node_308 | 0.4 | n |  | TRUE
126 | bus_LV_3005-1_1_3_node_191 | 0.4 | n |  | TRUE
127 | bus_LV_3005-1_1_3_node_193 | 0.4 | n |  | TRUE
128 | bus_LV_3005-1_1_3_node_194 | 0.4 | n |  | TRUE
129 | bus_LV_3005-1_1_3_node_195 | 0.4 | n |  | TRUE
130 | bus_LV_3005-1_1_3_node_197 | 0.4 | n |  | TRUE
131 | bus_LV_3005-1_1_3_node_198 | 0.4 | n |  | TRUE
132 | bus_LV_3005-1_1_3_node_223 | 0.4 | n |  | TRUE
133 | bus_LV_3005-1_1_3_node_199 | 0.4 | n |  | TRUE
134 | bus_LV_3005-1_1_3_node_200 | 0.4 | n |  | TRUE
135 | bus_LV_3005-1_1_3_node_201 | 0.4 | n |  | TRUE
136 | bus_LV_3005-1_1_3_node_222 | 0.4 | n |  | TRUE
137 | bus_LV_3005-1_1_3_node_230 | 0.4 | n |  | TRUE
138 | bus_LV_3005-1_1_3_node_231 | 0.4 | n |  | TRUE
139 | bus_LV_3005-1_1_3_node_233 | 0.4 | n |  | TRUE
140 | bus_LV_3005-1_1_3_node_235 | 0.4 | n |  | TRUE
141 | bus_LV_3005-1_1_3_node_236 | 0.4 | n |  | TRUE
142 | bus_LV_3005-1_1_3_node_239 | 0.4 | n |  | TRUE
143 | bus_LV_3005-1_1_3_node_240 | 0.4 | n |  | TRUE
144 | bus_LV_3005-1_1_3_node_266 | 0.4 | n |  | TRUE
145 | bus_LV_3005-1_1_3_node_271 | 0.4 | n |  | TRUE
146 | bus_MV_40_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3005-1_1_3_load_52 | 0 | 0.00037953 | 9.512e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3005-1_1_3_load_53 | 1 | 0.0011447 | 0.00028688 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3005-1_1_3_load_56 | 4 | 0.0010853 | 0.00027199 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3005-1_1_3_load_78 | 6 | 0.0017349 | 0.0004348 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3005-1_1_3_load_57 | 7 | 0.0023988 | 0.0006012 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3005-1_1_3_load_58 | 8 | 0.0012864 | 0.0003224 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3005-1_1_3_load_59 | 9 | 0.0024848 | 0.00062276 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3005-1_1_3_load_60 | 10 | 0.0024297 | 0.00060893 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3005-1_1_3_load_61 | 11 | 0.0021771 | 0.00054564 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3005-1_1_3_load_62 | 13 | 0.00069033 | 0.00017301 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3005-1_1_3_load_63 | 14 | 0.00072463 | 0.00018161 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3005-1_1_3_load_65 | 16 | 0.00086728 | 0.00021736 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3005-1_1_3_load_68 | 18 | 0.0019124 | 0.0004793 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3005-1_1_3_load_73 | 19 | 0.00070084 | 0.00017565 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3005-1_1_3_load_69 | 20 | 0.00089613 | 0.00022459 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3005-1_1_3_load_306 | 21 | 0.0012245 | 0.00030688 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3005-1_1_3_load_75 | 23 | 0.00033362 | 8.3613e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3005-1_1_3_load_76 | 24 | 0.0027861 | 0.00069827 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3005-1_1_3_load_74 | 25 | 0.0012628 | 0.00031648 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3005-1_1_3_load_77 | 26 | 0.0088994 | 0.0022304 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3005-1_1_3_load_160 | 27 | 0.00054356 | 0.00013623 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3005-1_1_3_load_142 | 28 | 0.0027088 | 0.00067889 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3005-1_1_3_load_80 | 29 | 0.0083429 | 0.0020909 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3005-1_1_3_load_82 | 31 | 0.0020597 | 0.00051621 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3005-1_1_3_load_83 | 33 | 0.0049297 | 0.0012355 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3005-1_1_3_load_84 | 34 | 0.0051239 | 0.0012842 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3005-1_1_3_load_86 | 36 | 0.01225 | 0.0030702 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3005-1_1_3_load_87 | 37 | 0.0022795 | 0.00057129 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3005-1_1_3_load_88 | 38 | 0.0017581 | 0.00044063 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3005-1_1_3_load_169 | 39 | 0.0058913 | 0.0014765 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3005-1_1_3_load_132 | 40 | 0.003315 | 0.00083083 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3005-1_1_3_load_97 | 42 | 0.002826 | 0.00070825 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3005-1_1_3_load_98 | 43 | 0.0030652 | 0.00076821 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3005-1_1_3_load_99 | 44 | 0.0021498 | 0.00053879 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3005-1_1_3_load_100 | 45 | 0.0013539 | 0.00033932 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3005-1_1_3_load_159 | 47 | 0.00061587 | 0.00015435 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3005-1_1_3_load_139 | 49 | 0.0021483 | 0.0005384 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3005-1_1_3_load_102 | 50 | 0.010467 | 0.0026234 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3005-1_1_3_load_106 | 52 | 0.0055501 | 0.001391 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3005-1_1_3_load_146 | 55 | 0.00087632 | 0.00021963 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3005-1_1_3_load_144 | 56 | 0.00061434 | 0.00015397 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3005-1_1_3_load_192 | 59 | 0.0014744 | 0.00036953 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3005-1_1_3_load_108 | 60 | 0.0023633 | 0.0005923 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3005-1_1_3_load_111 | 63 | 0.0010566 | 0.0002648 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3005-1_1_3_load_112 | 64 | 0.00044943 | 0.00011264 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3005-1_1_3_load_113 | 65 | 0.0022029 | 0.00055211 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3005-1_1_3_load_270 | 68 | 0.002083 | 0.00052205 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3005-1_1_3_load_115 | 69 | 0.00023865 | 5.9811e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3005-1_1_3_load_116 | 70 | 0.00039116 | 9.8035e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3005-1_1_3_load_117 | 71 | 0.0021597 | 0.00054126 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3005-1_1_3_load_156 | 74 | 0.0013994 | 0.00035072 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3005-1_1_3_load_125 | 75 | 0.0015387 | 0.00038563 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3005-1_1_3_load_126 | 76 | 0.00047825 | 0.00011986 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3005-1_1_3_load_127 | 77 | 0.00078652 | 0.00019712 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3005-1_1_3_load_311 | 79 | 0.0026152 | 0.00065542 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3005-1_1_3_load_129 | 80 | 0.0020465 | 0.00051291 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3005-1_1_3_load_131 | 83 | 0.002611 | 0.00065437 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3005-1_1_3_load_133 | 84 | 0.0028747 | 0.00072047 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3005-1_1_3_load_134 | 85 | 0.0037205 | 0.00093245 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3005-1_1_3_load_138 | 86 | 0.0035112 | 0.00087998 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3005-1_1_3_load_145 | 90 | 0.00056961 | 0.00014276 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3005-1_1_3_load_180 | 91 | 0.00039314 | 9.853e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3005-1_1_3_load_140 | 92 | 0.00071191 | 0.00017842 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3005-1_1_3_load_141 | 93 | 0.00089771 | 0.00022499 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3005-1_1_3_load_307 | 97 | 0.00047801 | 0.0001198 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3005-1_1_3_load_232 | 98 | 0.0014158 | 0.00035484 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3005-1_1_3_load_152 | 99 | 0.0020492 | 0.00051357 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3005-1_1_3_load_154 | 100 | 0.0016675 | 0.00041791 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3005-1_1_3_load_157 | 101 | 0.00058959 | 0.00014777 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3005-1_1_3_load_158 | 103 | 0.0019346 | 0.00048485 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3005-1_1_3_load_161 | 104 | 0.0018916 | 0.00047408 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3005-1_1_3_load_162 | 105 | 0.0058765 | 0.0014728 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3005-1_1_3_load_166 | 108 | 0.0013572 | 0.00034015 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3005-1_1_3_load_196 | 109 | 0.00063407 | 0.00015891 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3005-1_1_3_load_234 | 110 | 0.0023671 | 0.00059326 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3005-1_1_3_load_167 | 111 | 0.0089583 | 0.0022452 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3005-1_1_3_load_168 | 112 | 0.0084294 | 0.0021126 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3005-1_1_3_load_170 | 113 | 0.0039572 | 0.00099178 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3005-1_1_3_load_174 | 114 | 0.003139 | 0.0007867 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3005-1_1_3_load_304 | 117 | 0.00052865 | 0.00013249 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3005-1_1_3_load_305 | 118 | 0.0033354 | 0.00083594 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3005-1_1_3_load_295 | 121 | 0.00043555 | 0.00010916 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3005-1_1_3_load_294 | 122 | 0.00064461 | 0.00016155 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3005-1_1_3_load_265 | 123 | 0.0003182 | 7.9749e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3005-1_1_3_load_309 | 124 | 0.00070337 | 0.00017628 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3005-1_1_3_load_308 | 125 | 0.00031439 | 7.8795e-05 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3005-1_1_3_load_191 | 126 | 0.0059499 | 0.0014912 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3005-1_1_3_load_193 | 127 | 0.0035387 | 0.00088688 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3005-1_1_3_load_194 | 128 | 0.00036131 | 9.0554e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3005-1_1_3_load_197 | 130 | 0.001503 | 0.00037668 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3005-1_1_3_load_223 | 132 | 0.0013069 | 0.00032753 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3005-1_1_3_load_199 | 133 | 0.00038291 | 9.5967e-05 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3005-1_1_3_load_200 | 134 | 0.002356 | 0.00059047 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3005-1_1_3_load_222 | 136 | 0.0042615 | 0.001068 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3005-1_1_3_load_230 | 137 | 0.0042017 | 0.0010531 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3005-1_1_3_load_231 | 138 | 0.0021514 | 0.00053919 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3005-1_1_3_load_233 | 139 | 0.0010968 | 0.00027489 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3005-1_1_3_load_235 | 140 | 0.00077057 | 0.00019312 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3005-1_1_3_load_236 | 141 | 0.0013309 | 0.00033355 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3005-1_1_3_load_239 | 142 | 0.00069918 | 0.00017523 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3005-1_1_3_load_240 | 143 | 0.00029979 | 7.5135e-05 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3005-1_1_3_load_266 | 144 | 0.00064776 | 0.00016234 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3005-1_1_3_load_271 | 145 | 0.00056743 | 0.00014221 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3005-1_1_3_line_0 |  | 0 | 1 | 0.027917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3005-1_1_3_line_1 |  | 0 | 2 | 0.016186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3005-1_1_3_line_2 |  | 2 | 3 | 0.018403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3005-1_1_3_line_3 |  | 2 | 4 | 0.013062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3005-1_1_3_line_4 |  | 3 | 5 | 0.024718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3005-1_1_3_line_5 |  | 3 | 6 | 0.018466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3005-1_1_3_line_6 |  | 5 | 27 | 0.11865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3005-1_1_3_line_7 |  | 5 | 28 | 0.11198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3005-1_1_3_line_8 |  | 7 | 8 | 0.010575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3005-1_1_3_line_9 |  | 7 | 9 | 0.0081936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3005-1_1_3_line_10 |  | 8 | 10 | 0.007469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3005-1_1_3_line_11 |  | 9 | 11 | 0.028058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3005-1_1_3_line_12 |  | 11 | 12 | 0.038095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3005-1_1_3_line_13 |  | 12 | 20 | 0.017178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3005-1_1_3_line_14 |  | 12 | 15 | 0.032582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3005-1_1_3_line_15 |  | 13 | 14 | 0.005452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3005-1_1_3_line_16 |  | 13 | 15 | 0.013097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3005-1_1_3_line_17 |  | 14 | 16 | 0.021783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3005-1_1_3_line_18 |  | 15 | 17 | 0.10629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3005-1_1_3_line_19 |  | 15 | 18 | 0.064705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3005-1_1_3_line_20 |  | 16 | 19 | 0.0056043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3005-1_1_3_line_21 |  | 17 | 21 | 0.024438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3005-1_1_3_line_22 |  | 17 | 22 | 0.039846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3005-1_1_3_line_23 |  | 18 | 23 | 0.028984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3005-1_1_3_line_24 |  | 19 | 24 | 0.025352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3005-1_1_3_line_25 |  | 22 | 55 | 0.11539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_3005-1_1_3_line_26 |  | 22 | 115 | 0.064586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_3005-1_1_3_line_27 |  | 23 | 25 | 0.11018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3005-1_1_3_line_28 |  | 24 | 26 | 0.01421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3005-1_1_3_line_29 |  | 27 | 88 | 0.032605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3005-1_1_3_line_30 |  | 28 | 92 | 0.016674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3005-1_1_3_line_31 |  | 29 | 30 | 0.025418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3005-1_1_3_line_32 |  | 30 | 31 | 0.0077421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3005-1_1_3_line_33 |  | 31 | 32 | 0.019091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3005-1_1_3_line_34 |  | 32 | 53 | 0.04101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3005-1_1_3_line_35 |  | 32 | 50 | 0.028689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3005-1_1_3_line_36 |  | 33 | 34 | 0.019287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3005-1_1_3_line_37 |  | 33 | 35 | 0.0084206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3005-1_1_3_line_38 |  | 34 | 36 | 0.0074838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3005-1_1_3_line_39 |  | 35 | 37 | 0.0212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3005-1_1_3_line_40 |  | 35 | 38 | 0.032458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3005-1_1_3_line_41 |  | 36 | 39 | 0.008862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3005-1_1_3_line_42 |  | 37 | 40 | 0.014002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3005-1_1_3_line_43 |  | 38 | 41 | 0.026021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3005-1_1_3_line_44 |  | 39 | 111 | 0.028412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3005-1_1_3_line_45 |  | 40 | 84 | 0.018668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3005-1_1_3_line_46 |  | 41 | 126 | 0.016334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3005-1_1_3_line_47 |  | 42 | 43 | 0.024957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3005-1_1_3_line_48 |  | 42 | 44 | 0.029748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3005-1_1_3_line_49 |  | 43 | 45 | 0.021534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3005-1_1_3_line_50 |  | 44 | 46 | 0.020229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3005-1_1_3_line_51 |  | 45 | 47 | 0.0019192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3005-1_1_3_line_52 |  | 46 | 48 | 0.04775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3005-1_1_3_line_53 |  | 46 | 49 | 0.0049813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3005-1_1_3_line_54 |  | 48 | 83 | 0.008298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3005-1_1_3_line_55 |  | 49 | 86 | 0.03219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3005-1_1_3_line_56 |  | 50 | 51 | 0.021356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3005-1_1_3_line_57 |  | 51 | 52 | 0.012199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3005-1_1_3_line_58 |  | 52 | 57 | 0.075027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_3005-1_1_3_line_59 |  | 53 | 58 | 0.12993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3005-1_1_3_line_60 |  | 53 | 59 | 0.021095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3005-1_1_3_line_61 |  | 54 | 55 | 0.020121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_3005-1_1_3_line_62 |  | 54 | 56 | 0.045894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_3005-1_1_3_line_63 |  | 56 | 90 | 0.0026423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_3005-1_1_3_line_64 |  | 57 | 114 | 0.026046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_3005-1_1_3_line_65 |  | 57 | 113 | 0.0235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3005-1_1_3_line_66 |  | 58 | 81 | 0.033604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3005-1_1_3_line_67 |  | 58 | 76 | 0.078322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3005-1_1_3_line_68 |  | 60 | 61 | 0.031388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3005-1_1_3_line_69 |  | 60 | 62 | 0.089302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3005-1_1_3_line_70 |  | 61 | 63 | 0.064654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3005-1_1_3_line_71 |  | 61 | 64 | 0.033443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3005-1_1_3_line_72 |  | 62 | 65 | 0.080978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3005-1_1_3_line_73 |  | 62 | 66 | 0.075796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3005-1_1_3_line_74 |  | 64 | 67 | 0.090217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3005-1_1_3_line_75 |  | 66 | 68 | 0.078482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3005-1_1_3_line_76 |  | 67 | 89 | 0.017679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3005-1_1_3_line_77 |  | 67 | 90 | 0.12038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_3005-1_1_3_line_78 |  | 67 | 87 | 0.077596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3005-1_1_3_line_79 |  | 68 | 145 | 0.1533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3005-1_1_3_line_80 |  | 69 | 70 | 0.0078996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3005-1_1_3_line_81 |  | 69 | 71 | 0.084198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3005-1_1_3_line_82 |  | 70 | 72 | 0.024933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3005-1_1_3_line_83 |  | 72 | 73 | 0.086534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3005-1_1_3_line_84 |  | 72 | 74 | 0.065249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3005-1_1_3_line_85 |  | 73 | 101 | 0.026256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3005-1_1_3_line_86 |  | 73 | 95 | 0.062711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3005-1_1_3_line_87 |  | 74 | 102 | 0.077838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3005-1_1_3_line_88 |  | 75 | 76 | 0.025933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3005-1_1_3_line_89 |  | 75 | 77 | 0.013328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3005-1_1_3_line_90 |  | 75 | 78 | 0.12663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3005-1_1_3_line_91 |  | 76 | 79 | 0.17861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3005-1_1_3_line_92 |  | 77 | 80 | 0.081191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3005-1_1_3_line_93 |  | 78 | 136 | 0.12476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3005-1_1_3_line_94 |  | 80 | 82 | 0.039166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3005-1_1_3_line_95 |  | 81 | 100 | 0.018949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3005-1_1_3_line_96 |  | 81 | 99 | 0.030624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3005-1_1_3_line_97 |  | 82 | 109 | 0.010049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3005-1_1_3_line_98 |  | 82 | 105 | 0.059414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3005-1_1_3_line_99 |  | 84 | 85 | 0.023312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3005-1_1_3_line_100 |  | 85 | 86 | 0.035479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3005-1_1_3_line_101 |  | 87 | 88 | 0.007451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3005-1_1_3_line_102 |  | 88 | 91 | 0.030646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3005-1_1_3_line_103 |  | 89 | 124 | 0.020842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3005-1_1_3_line_104 |  | 89 | 125 | 0.008381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3005-1_1_3_line_105 |  | 92 | 93 | 0.013922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3005-1_1_3_line_106 |  | 93 | 94 | 0.049066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3005-1_1_3_line_107 |  | 94 | 95 | 0.10002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3005-1_1_3_line_108 |  | 94 | 96 | 0.07346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3005-1_1_3_line_109 |  | 95 | 97 | 0.10382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3005-1_1_3_line_110 |  | 96 | 98 | 0.08456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3005-1_1_3_line_111 |  | 98 | 137 | 0.050533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3005-1_1_3_line_112 |  | 101 | 103 | 0.011963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3005-1_1_3_line_113 |  | 102 | 119 | 0.047119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_3005-1_1_3_line_114 |  | 102 | 120 | 0.089397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_3005-1_1_3_line_115 |  | 104 | 105 | 0.062136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_3005-1_1_3_line_116 |  | 104 | 106 | 0.079648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_3005-1_1_3_line_117 |  | 106 | 107 | 0.065708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_3005-1_1_3_line_118 |  | 106 | 108 | 0.015895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_3005-1_1_3_line_119 |  | 107 | 110 | 0.017938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_3005-1_1_3_line_120 |  | 109 | 128 | 0.010499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_3005-1_1_3_line_121 |  | 110 | 140 | 0.057909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_3005-1_1_3_line_122 |  | 111 | 112 | 0.030531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_3005-1_1_3_line_123 |  | 112 | 113 | 0.012242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_3005-1_1_3_line_124 |  | 114 | 115 | 0.034805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
125 | LV_3005-1_1_3_line_125 |  | 115 | 116 | 0.0126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_3005-1_1_3_line_126 |  | 116 | 117 | 0.012527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_3005-1_1_3_line_127 |  | 116 | 118 | 0.009181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_3005-1_1_3_line_128 |  | 119 | 121 | 0.048506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_3005-1_1_3_line_129 |  | 119 | 122 | 0.15513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_3005-1_1_3_line_130 |  | 120 | 123 | 0.03289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_3005-1_1_3_line_131 |  | 123 | 144 | 0.10291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_3005-1_1_3_line_132 |  | 127 | 128 | 0.0092375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_3005-1_1_3_line_133 |  | 127 | 129 | 0.011899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_3005-1_1_3_line_134 |  | 129 | 130 | 0.014451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_3005-1_1_3_line_135 |  | 129 | 131 | 0.1538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_3005-1_1_3_line_136 |  | 131 | 132 | 0.016984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_3005-1_1_3_line_137 |  | 132 | 135 | 0.11312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_3005-1_1_3_line_138 |  | 133 | 134 | 0.019994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_3005-1_1_3_line_139 |  | 134 | 135 | 0.016886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_3005-1_1_3_line_140 |  | 137 | 138 | 0.024717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_3005-1_1_3_line_141 |  | 138 | 139 | 0.011097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_3005-1_1_3_line_142 |  | 140 | 141 | 0.015889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_3005-1_1_3_line_143 |  | 142 | 143 | 0.01021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_3005-1_1_3_line_144 |  | 142 | 144 | 0.090434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3005-1_1_3_trafo_106 | 0.63 MVA 20/0.4 kV | 146 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2744327.8227 | 1248175.2839 | 2744335.3719 | 1248194.7748 | 2744340.1176 | 1248199.9408
1 | 2744355.0813 | 1248199.2477 | 2744346.9889 | 1248202.3647 | 2744341.1719 | 1248201.0885 | 2744340.1176 | 1248199.9408
2 | 2744355.0813 | 1248199.2477 | 2744363.5036 | 1248201.5104 | 2744372.3157 | 1248197.3878
3 | 2744355.0813 | 1248199.2477 | 2744350.7648 | 1248186.9192
4 | 2744380.3359 | 1248174.2948 | 2744376.004 | 1248191.7612 | 2744372.3157 | 1248197.3878
5 | 2744372.3157 | 1248197.3878 | 2744376.3536 | 1248210.2759 | 2744379.1847 | 1248214.3488
6 | 2744380.3359 | 1248174.2948 | 2744360.9991 | 1248143.0615 | 2744342.9062 | 1248130.8429 | 2744325.6083 | 1248113.906 | 2744307.3818 | 1248088.5609 | 2744305.9297 | 1248084.1357
7 | 2744380.3359 | 1248174.2948 | 2744385.6427 | 1248182.8654 | 2744402.52 | 1248190.6948 | 2744433.2053 | 1248207.9695 | 2744471.4662 | 1248237.0835
8 | 2743968.9429 | 1248265.2281 | 2743959.0764 | 1248261.4229
9 | 2743968.9429 | 1248265.2281 | 2743976.5877 | 1248268.1764
10 | 2743951.9913 | 1248259.0837 | 2743955.8732 | 1248260.1875 | 2743959.0764 | 1248261.4229
11 | 2744001.5526 | 1248280.9202 | 2743980.7096 | 1248269.7662 | 2743976.5877 | 1248268.1764
12 | 2744035.0228 | 1248299.1127 | 2744007.575 | 1248284.1431 | 2744001.5526 | 1248280.9202
13 | 2744035.0228 | 1248299.1127 | 2744028.9809 | 1248315.1932
14 | 2744046.8003 | 1248268.726 | 2744035.0228 | 1248299.1127
15 | 2744036.7065 | 1248260.3811 | 2744032.5046 | 1248256.9072
16 | 2744046.8003 | 1248268.726 | 2744036.7065 | 1248260.3811
17 | 2744032.5046 | 1248256.9072 | 2744021.2844 | 1248247.631 | 2744015.6944 | 1248243.0544
18 | 2744071.2393 | 1248165.7126 | 2744071.6928 | 1248173.4753 | 2744070.9068 | 1248180.0067 | 2744065.2341 | 1248201.6891 | 2744046.8003 | 1248268.726
19 | 2744046.8003 | 1248268.726 | 2744065.7847 | 1248269.1432 | 2744093.111 | 1248275.124 | 2744106.727 | 1248286.4996
20 | 2744011.358 | 1248239.5041 | 2744015.6944 | 1248243.0544
21 | 2744071.2393 | 1248165.7126 | 2744062.8294 | 1248162.6276 | 2744050.3378 | 1248153.3933
22 | 2744071.2393 | 1248165.7126 | 2744070.1113 | 1248159.5906 | 2744055.9613 | 1248129.0739
23 | 2744106.727 | 1248286.4996 | 2744108.2617 | 1248287.7818 | 2744127.4293 | 1248297.1231 | 2744132.6779 | 1248299.2446
24 | 2743990.9217 | 1248224.5504 | 2744002.7346 | 1248232.444 | 2744011.358 | 1248239.5041
25 | 2744055.9613 | 1248129.0739 | 2744054.1723 | 1248092.3406 | 2744057.0767 | 1248060.5259 | 2744058.8526 | 1248055.2308 | 2744073.6443 | 1248032.3466 | 2744081.8977 | 1248021.2407
26 | 2744028.6738 | 1248070.5008 | 2744055.9613 | 1248129.0739
27 | 2744205.8424 | 1248378.3756 | 2744189.3273 | 1248353.4696 | 2744180.4527 | 1248341.2423 | 2744163.7924 | 1248318.2936 | 2744146.6353 | 1248304.8861 | 2744132.6779 | 1248299.2446
28 | 2743979.1068 | 1248216.6555 | 2743990.9217 | 1248224.5504
29 | 2744303.8327 | 1248051.8736 | 2744303.7876 | 1248077.6077 | 2744305.9297 | 1248084.1357
30 | 2744485.233 | 1248246.4412 | 2744478.6699 | 1248242.5651 | 2744471.4662 | 1248237.0835
31 | 2743959.8045 | 1247898.8127 | 2743958.0645 | 1247902.6295 | 2743966.0514 | 1247915.0572 | 2743969.9676 | 1247920.1833
32 | 2743959.8045 | 1247898.8127 | 2743961.042 | 1247896.0846 | 2743965.0155 | 1247893.4883
33 | 2743980.9969 | 1247883.0459 | 2743965.0155 | 1247893.4883
34 | 2743961.4038 | 1247846.9921 | 2743971.8723 | 1247866.7536 | 2743980.9969 | 1247883.0459
35 | 2743980.9969 | 1247883.0459 | 2743995.0169 | 1247908.0763
36 | 2743924.9524 | 1247922.9224 | 2743924.9524 | 1247922.9224 | 2743937.62 | 1247930.2256 | 2743940.3116 | 1247934.0351
37 | 2743916.6439 | 1247921.5528 | 2743924.9524 | 1247922.9224
38 | 2743940.3116 | 1247934.0351 | 2743942.1051 | 1247936.5737 | 2743943.5608 | 1247940.7
39 | 2743916.6439 | 1247921.5528 | 2743906.1078 | 1247925.1004 | 2743898.0203 | 1247931.1208
40 | 2743916.6439 | 1247921.5528 | 2743905.4426 | 1247910.8042 | 2743893.7399 | 1247898.5644
41 | 2743946.4038 | 1247949.0866 | 2743946.2405 | 1247948.2961 | 2743943.5608 | 1247940.7
42 | 2743898.0203 | 1247931.1208 | 2743898.0203 | 1247931.1208 | 2743890.7038 | 1247940.552 | 2743890.2093 | 1247942.558
43 | 2743874.8772 | 1247880.69 | 2743884.3016 | 1247888.6928 | 2743893.7399 | 1247898.5644
44 | 2743946.4038 | 1247949.0866 | 2743948.4039 | 1247958.7695 | 2743954.7304 | 1247976.1809
45 | 2743890.2093 | 1247942.558 | 2743885.7417 | 1247960.6837
46 | 2743867.7769 | 1247865.9707 | 2743874.8772 | 1247880.69
47 | 2743961.3007 | 1248107.4675 | 2743943.8628 | 1248089.6137
48 | 2743925.1498 | 1248066.6219 | 2743934.3172 | 1248079.8404 | 2743943.8628 | 1248089.6137
49 | 2743961.3007 | 1248107.4675 | 2743976.3474 | 1248122.873
50 | 2743913.6216 | 1248049.9991 | 2743925.1498 | 1248066.6219
51 | 2743977.6884 | 1248124.2459 | 2743976.3474 | 1248122.873
52 | 2743871.3155 | 1248054.7213 | 2743878.4837 | 1248060.1003 | 2743885.0204 | 1248062.55 | 2743892.9568 | 1248061.8086 | 2743900.3464 | 1248059.0076 | 2743913.6216 | 1248049.9991
53 | 2743913.6216 | 1248049.9991 | 2743911.035 | 1248045.7421
54 | 2743871.3155 | 1248054.7213 | 2743873.3053 | 1248051.8113 | 2743876.549 | 1248048.2979
55 | 2743911.035 | 1248045.7421 | 2743899.2799 | 1248026.3957 | 2743895.0748 | 1248017.8191
56 | 2744002.67 | 1247928.0141 | 2743995.0169 | 1247908.0763
57 | 2744002.67 | 1247928.0141 | 2744002.0643 | 1247940.1985
58 | 2744003.5151 | 1248015.0936 | 2744002.5302 | 1248008.9862 | 2744002.0839 | 1247994.7065 | 2744000.9694 | 1247962.2269 | 2744002.0643 | 1247940.1985
59 | 2743884.5962 | 1247749.9485 | 2743904.7302 | 1247756.61 | 2743920.9668 | 1247768.8043 | 2743934.3873 | 1247786.1907 | 2743944.7502 | 1247806.2609 | 2743956.6077 | 1247834.1637 | 2743961.4038 | 1247846.9921
60 | 2743961.4038 | 1247846.9921 | 2743953.5339 | 1247850.2707 | 2743944.5657 | 1247859.0773
61 | 2744093.8995 | 1248005.0912 | 2744081.8977 | 1248021.2407
62 | 2744093.8995 | 1248005.0912 | 2744107.0497 | 1248038.5086 | 2744107.6976 | 1248048.4702
63 | 2744107.8691 | 1248051.1069 | 2744107.6976 | 1248048.4702
64 | 2744003.5151 | 1248015.0936 | 2744006.1386 | 1248020.9294 | 2744010.182 | 1248029.9026 | 2744014.2466 | 1248038.8264
65 | 2744003.5151 | 1248015.0936 | 2743996.9977 | 1248015.5802 | 2743981.318 | 1248009.1045
66 | 2743915.952 | 1247738.2208 | 2743897.2956 | 1247743.206 | 2743884.5962 | 1247749.9485
67 | 2743884.5962 | 1247749.9485 | 2743865.2305 | 1247744.3178 | 2743845.223 | 1247729.9524 | 2743826.1988 | 1247702.3499
68 | 2744196.8361 | 1247930.7687 | 2744192.223 | 1247909.8259 | 2744186.4346 | 1247901.7415
69 | 2744159.3347 | 1247818.4187 | 2744160.3407 | 1247841.3534 | 2744175.9417 | 1247887.0865 | 2744186.4346 | 1247901.7415
70 | 2744196.8361 | 1247930.7687 | 2744251.1917 | 1247912.5405 | 2744254.3581 | 1247919.1434
71 | 2744196.8361 | 1247930.7687 | 2744208.8516 | 1247961.9785
72 | 2744159.3347 | 1247818.4187 | 2744150.8805 | 1247816.8228 | 2744123.0866 | 1247809.1623 | 2744109.6076 | 1247807.5665 | 2744104.2781 | 1247811.0847 | 2744103.7065 | 1247821.5361 | 2744111.5212 | 1247832.0729
73 | 2744151.143 | 1247743.6165 | 2744156.779 | 1247760.1133 | 2744159.3347 | 1247818.4187
74 | 2744228.2413 | 1248049.8325 | 2744226.4464 | 1248030.7599 | 2744211.8168 | 1247969.6804 | 2744208.8516 | 1247961.9785
75 | 2744151.143 | 1247743.6165 | 2744162.1227 | 1247739.8688 | 2744168.524 | 1247729.8818 | 2744177.3461 | 1247707.6756 | 2744183.4831 | 1247698.6164 | 2744189.9982 | 1247693.5812 | 2744190.8688 | 1247686.9962 | 2744188.1384 | 1247682.4478
76 | 2744229.8906 | 1248067.4335 | 2744228.2413 | 1248049.8325
77 | 2744107.8691 | 1248051.1069 | 2744228.2413 | 1248049.8325
78 | 2744304.0972 | 1248044.4287 | 2744258.4642 | 1248040.5368 | 2744253.9927 | 1248043.8867 | 2744228.2413 | 1248049.8325
79 | 2744188.1384 | 1247682.4478 | 2744207.8253 | 1247682.9493 | 2744218.553 | 1247678.3837 | 2744256.8876 | 1247650.0786 | 2744290.4036 | 1247610.8353 | 2744304.5274 | 1247593.0763
80 | 2744587.1404 | 1248026.4739 | 2744584.9297 | 1248026.8758 | 2744579.4252 | 1248028.1613
81 | 2744667.5697 | 1248031.4514 | 2744649.5503 | 1248020.2569 | 2744629.4602 | 1248019.5995 | 2744609.5198 | 1248022.4047 | 2744587.1404 | 1248026.4739
82 | 2744555.0531 | 1248033.4091 | 2744568.9334 | 1248030.6115 | 2744579.4252 | 1248028.1613
83 | 2744555.0531 | 1248033.4091 | 2744554.3848 | 1248047.1723 | 2744551.0986 | 1248074.3954 | 2744542.9384 | 1248118.9826
84 | 2744555.0531 | 1248033.4091 | 2744557.2096 | 1248003.5559 | 2744559.1742 | 1247987.1441 | 2744562.963 | 1247974.3133 | 2744564.9646 | 1247969.2866
85 | 2744542.9384 | 1248118.9826 | 2744561.5874 | 1248126.3553 | 2744566.2471 | 1248130.4485
86 | 2744542.9384 | 1248118.9826 | 2744538.9957 | 1248140.2953 | 2744537.8258 | 1248157.8943 | 2744537.9954 | 1248181.287
87 | 2744601.1021 | 1247900.4632 | 2744592.7686 | 1247914.6732 | 2744570.3442 | 1247955.776 | 2744564.9646 | 1247969.2866
88 | 2743813.6913 | 1247680.0573 | 2743818.9197 | 1247685.4507 | 2743825.625 | 1247701.5172 | 2743826.1988 | 1247702.3499
89 | 2743804.4149 | 1247670.4879 | 2743813.6913 | 1247680.0573
90 | 2743813.6913 | 1247680.0573 | 2743914.7237 | 1247603.7102
91 | 2743826.1988 | 1247702.3499 | 2743677.3747 | 1247801.1048
92 | 2743804.4149 | 1247670.4879 | 2743801.8175 | 1247667.8084 | 2743762.4604 | 1247644.9328 | 2743739.5629 | 1247622.6685
93 | 2743914.7237 | 1247603.7102 | 2744000.2256 | 1247549.858 | 2744023.16 | 1247555.8888
94 | 2743712.3738 | 1247594.6164 | 2743715.6206 | 1247599.3884 | 2743739.5629 | 1247622.6685
95 | 2743915.952 | 1247738.2208 | 2743934.2587 | 1247733.3272
96 | 2743915.952 | 1247738.2208 | 2743928.5705 | 1247745.0779 | 2743943.423 | 1247751.7023
97 | 2743712.3738 | 1247594.6164 | 2743712.5219 | 1247590.3827 | 2743714.5309 | 1247584.9279
98 | 2743712.3738 | 1247594.6164 | 2743676.1481 | 1247588.4105 | 2743653.8683 | 1247584.2753
99 | 2743885.7417 | 1247960.6837 | 2743885.7417 | 1247960.6837 | 2743884.9399 | 1247972.2306 | 2743885.7586 | 1247983.9391
100 | 2743895.0748 | 1248017.8191 | 2743891.692 | 1248010.9194 | 2743887.4058 | 1247998.5594 | 2743885.7586 | 1247983.9391 | 2743885.7586 | 1247983.9391
101 | 2744303.8327 | 1248051.8736 | 2744304.0972 | 1248044.4287
102 | 2744303.8327 | 1248051.8736 | 2744316.2347 | 1248023.8382
103 | 2744226.5871 | 1248087.672 | 2744226.1687 | 1248078.7869 | 2744229.8906 | 1248067.4335
104 | 2744235.1951 | 1248073.9353 | 2744229.8906 | 1248067.4335
105 | 2744485.233 | 1248246.4412 | 2744497.2202 | 1248253.5207
106 | 2744537.331 | 1248281.2866 | 2744526.0049 | 1248275.4161 | 2744508.664 | 1248260.2793 | 2744497.2202 | 1248253.5207
107 | 2744537.331 | 1248281.2866 | 2744536.9946 | 1248254.8203 | 2744537.9954 | 1248181.287
108 | 2744604.2769 | 1248307.7437 | 2744581.5029 | 1248302.8615 | 2744571.9135 | 1248298.2789 | 2744558.0558 | 1248288.0982 | 2744547.5586 | 1248281.703 | 2744537.331 | 1248281.2866
109 | 2744502.3808 | 1248096.929 | 2744496.5216 | 1248102.6471 | 2744495.6261 | 1248114.2695 | 2744499.258 | 1248128.9272 | 2744505.9021 | 1248138.4202 | 2744513.1803 | 1248147.3171 | 2744518.4771 | 1248158.4566 | 2744522.8462 | 1248172.9322 | 2744527.0485 | 1248178.7623 | 2744537.9954 | 1248181.287
110 | 2744604.2769 | 1248307.7437 | 2744686.3316 | 1248328.1742
111 | 2744735.3676 | 1248340.3835 | 2744686.3316 | 1248328.1742
112 | 2744575.2351 | 1248138.3437 | 2744566.2471 | 1248130.4485
113 | 2744640.0694 | 1247927.0384 | 2744618.3761 | 1247910.9498 | 2744601.1021 | 1247900.4632
114 | 2744644.8369 | 1247822.457 | 2744623.7533 | 1247861.8462 | 2744601.1021 | 1247900.4632
115 | 2743653.8683 | 1247584.2753 | 2743626.1084 | 1247579.123 | 2743593.8472 | 1247568.7028
116 | 2743521.7518 | 1247535.5892 | 2743566.5843 | 1247559.897 | 2743593.8472 | 1247568.7028
117 | 2743462.8444 | 1247506.1586 | 2743504.1723 | 1247526.0548 | 2743521.7518 | 1247535.5892
118 | 2743534.2148 | 1247529.563 | 2743526.263 | 1247529.0367 | 2743521.7518 | 1247535.5892
119 | 2743462.8444 | 1247506.1586 | 2743463.4591 | 1247524.0861
120 | 2743714.5309 | 1247584.9279 | 2743718.1596 | 1247575.0755
121 | 2743463.4591 | 1247524.0861 | 2743463.8054 | 1247534.1856 | 2743456.8263 | 1247548.7303 | 2743450.9489 | 1247558.3415 | 2743439.043 | 1247563.8364 | 2743433.4993 | 1247568.5751
122 | 2743972.3715 | 1248000.7477 | 2743965.7808 | 1247994.5915 | 2743955.4082 | 1247978.0464 | 2743954.7304 | 1247976.1809
123 | 2743972.3715 | 1248000.7477 | 2743981.318 | 1248009.1045
124 | 2744028.6738 | 1248070.5008 | 2744014.2466 | 1248038.8264
125 | 2744028.6738 | 1248070.5008 | 2744020.9693 | 1248075.3737 | 2744018.7944 | 1248078.1235
126 | 2744018.7944 | 1248078.1235 | 2744021.5422 | 1248090.346
127 | 2744012.203 | 1248071.7129 | 2744018.7944 | 1248078.1235
128 | 2744688.4672 | 1247930.9896 | 2744670.6974 | 1247928.1311 | 2744656.231 | 1247927.3775 | 2744640.0694 | 1247927.0384
129 | 2744640.0694 | 1247927.0384 | 2744675.0796 | 1247974.8595 | 2744696.637 | 1247996.806 | 2744723.5387 | 1248019.5839 | 2744749.7974 | 1248033.7815
130 | 2744644.8369 | 1247822.457 | 2744626.4754 | 1247821.8419 | 2744613.8186 | 1247825.57 | 2744612.4955 | 1247825.5377
131 | 2744534.1308 | 1247827.1619 | 2744531.5379 | 1247817.3006 | 2744535.4464 | 1247806.6859 | 2744546.5458 | 1247804.232 | 2744559.5559 | 1247806.7737 | 2744573.1505 | 1247810.4419 | 2744595.8642 | 1247822.2068 | 2744606.0253 | 1247825.3797 | 2744612.4955 | 1247825.5377
132 | 2743721.3522 | 1247566.4072 | 2743718.1596 | 1247575.0755
133 | 2743725.4646 | 1247555.2415 | 2743721.3522 | 1247566.4072
134 | 2743725.4646 | 1247555.2415 | 2743739.0593 | 1247560.1434
135 | 2743725.4646 | 1247555.2415 | 2743725.2661 | 1247520.4376 | 2743734.1825 | 1247481.2061 | 2743745.5417 | 1247454.6568 | 2743761.6177 | 1247434.2831 | 2743767.0269 | 1247421.2577 | 2743776.4255 | 1247424.1327
136 | 2743776.4255 | 1247424.1327 | 2743785.1622 | 1247429.683 | 2743790.9173 | 1247432.9825
137 | 2743863.2521 | 1247354.3625 | 2743806.3653 | 1247432.1995 | 2743800.4385 | 1247435.103 | 2743794.7839 | 1247435.1993 | 2743790.9173 | 1247432.9825
138 | 2743898.4291 | 1247361.9867 | 2743884.9335 | 1247363.0188 | 2743878.9345 | 1247360.6237
139 | 2743863.2521 | 1247354.3625 | 2743878.9345 | 1247360.6237
140 | 2744735.3676 | 1248340.3835 | 2744749.832 | 1248343.9849 | 2744757.7339 | 1248349.8004
141 | 2744757.7339 | 1248349.8004 | 2744766.6717 | 1248356.3783
142 | 2743433.4993 | 1247568.5751 | 2743430.5785 | 1247571.0717 | 2743428.4628 | 1247582.9315
143 | 2744494.2858 | 1247738.6303 | 2744490.331 | 1247748.0427
144 | 2744534.1308 | 1247827.1619 | 2744490.331 | 1247748.0427

## bus_geodata
| x | y | coords
0 | 2744340.1176 | 1248199.9408
1 | 2744327.8227 | 1248175.2839
2 | 2744355.0813 | 1248199.2477
3 | 2744372.3157 | 1248197.3878
4 | 2744350.7648 | 1248186.9192
5 | 2744380.3359 | 1248174.2948
6 | 2744379.1847 | 1248214.3488
7 | 2743968.9429 | 1248265.2281
8 | 2743959.0764 | 1248261.4229
9 | 2743976.5877 | 1248268.1764
10 | 2743951.9913 | 1248259.0837
11 | 2744001.5526 | 1248280.9202
12 | 2744035.0228 | 1248299.1127
13 | 2744036.7065 | 1248260.3811
14 | 2744032.5046 | 1248256.9072
15 | 2744046.8003 | 1248268.726
16 | 2744015.6944 | 1248243.0544
17 | 2744071.2393 | 1248165.7126
18 | 2744106.727 | 1248286.4996
19 | 2744011.358 | 1248239.5041
20 | 2744028.9809 | 1248315.1932
21 | 2744050.3378 | 1248153.3933
22 | 2744055.9613 | 1248129.0739
23 | 2744132.6779 | 1248299.2446
24 | 2743990.9217 | 1248224.5504
25 | 2744205.8424 | 1248378.3756
26 | 2743979.1068 | 1248216.6555
27 | 2744305.9297 | 1248084.1357
28 | 2744471.4662 | 1248237.0835
29 | 2743969.9676 | 1247920.1833
30 | 2743959.8045 | 1247898.8127
31 | 2743965.0155 | 1247893.4883
32 | 2743980.9969 | 1247883.0459
33 | 2743924.9524 | 1247922.9224
34 | 2743940.3116 | 1247934.0351
35 | 2743916.6439 | 1247921.5528
36 | 2743943.5608 | 1247940.7
37 | 2743898.0203 | 1247931.1208
38 | 2743893.7399 | 1247898.5644
39 | 2743946.4038 | 1247949.0866
40 | 2743890.2093 | 1247942.558
41 | 2743874.8772 | 1247880.69
42 | 2743943.8628 | 1248089.6137
43 | 2743961.3007 | 1248107.4675
44 | 2743925.1498 | 1248066.6219
45 | 2743976.3474 | 1248122.873
46 | 2743913.6216 | 1248049.9991
47 | 2743977.6884 | 1248124.2459
48 | 2743871.3155 | 1248054.7213
49 | 2743911.035 | 1248045.7421
50 | 2743995.0169 | 1247908.0763
51 | 2744002.67 | 1247928.0141
52 | 2744002.0643 | 1247940.1985
53 | 2743961.4038 | 1247846.9921
54 | 2744093.8995 | 1248005.0912
55 | 2744081.8977 | 1248021.2407
56 | 2744107.6976 | 1248048.4702
57 | 2744003.5151 | 1248015.0936
58 | 2743884.5962 | 1247749.9485
59 | 2743944.5657 | 1247859.0773
60 | 2744186.4346 | 1247901.7415
61 | 2744196.8361 | 1247930.7687
62 | 2744159.3347 | 1247818.4187
63 | 2744254.3581 | 1247919.1434
64 | 2744208.8516 | 1247961.9785
65 | 2744111.5212 | 1247832.0729
66 | 2744151.143 | 1247743.6165
67 | 2744228.2413 | 1248049.8325
68 | 2744188.1384 | 1247682.4478
69 | 2744587.1404 | 1248026.4739
70 | 2744579.4252 | 1248028.1613
71 | 2744667.5697 | 1248031.4514
72 | 2744555.0531 | 1248033.4091
73 | 2744542.9384 | 1248118.9826
74 | 2744564.9646 | 1247969.2866
75 | 2743813.6913 | 1247680.0573
76 | 2743826.1989 | 1247702.3499
77 | 2743804.4149 | 1247670.4879
78 | 2743914.7237 | 1247603.7102
79 | 2743677.3747 | 1247801.1048
80 | 2743739.5629 | 1247622.6685
81 | 2743915.952 | 1247738.2208
82 | 2743712.3738 | 1247594.6164
83 | 2743876.549 | 1248048.2979
84 | 2743885.7417 | 1247960.6837
85 | 2743885.7586 | 1247983.9391
86 | 2743895.0748 | 1248017.8191
87 | 2744304.0972 | 1248044.4287
88 | 2744303.8327 | 1248051.8736
89 | 2744229.8906 | 1248067.4335
90 | 2744107.8691 | 1248051.1069
91 | 2744316.2347 | 1248023.8382
92 | 2744485.233 | 1248246.4412
93 | 2744497.2202 | 1248253.5207
94 | 2744537.331 | 1248281.2866
95 | 2744537.9954 | 1248181.287
96 | 2744604.2769 | 1248307.7437
97 | 2744502.3808 | 1248096.929
98 | 2744686.3316 | 1248328.1742
99 | 2743943.423 | 1247751.7023
100 | 2743934.2586 | 1247733.3272
101 | 2744566.2471 | 1248130.4485
102 | 2744601.1021 | 1247900.4632
103 | 2744575.2351 | 1248138.3437
104 | 2743593.8472 | 1247568.7028
105 | 2743653.8683 | 1247584.2753
106 | 2743521.7518 | 1247535.5892
107 | 2743462.8444 | 1247506.1586
108 | 2743534.2148 | 1247529.563
109 | 2743714.5309 | 1247584.9279
110 | 2743463.4591 | 1247524.0861
111 | 2743954.7304 | 1247976.1809
112 | 2743972.3715 | 1248000.7477
113 | 2743981.318 | 1248009.1045
114 | 2744014.2466 | 1248038.8264
115 | 2744028.6738 | 1248070.5008
116 | 2744018.7944 | 1248078.1234
117 | 2744021.5422 | 1248090.346
118 | 2744012.203 | 1248071.7129
119 | 2744640.0694 | 1247927.0384
120 | 2744644.8369 | 1247822.457
121 | 2744688.4672 | 1247930.9896
122 | 2744749.7974 | 1248033.7815
123 | 2744612.4955 | 1247825.5377
124 | 2744226.5871 | 1248087.672
125 | 2744235.1951 | 1248073.9353
126 | 2743867.7769 | 1247865.9707
127 | 2743721.3522 | 1247566.4072
128 | 2743718.1596 | 1247575.0755
129 | 2743725.4646 | 1247555.2415
130 | 2743739.0593 | 1247560.1434
131 | 2743776.4255 | 1247424.1327
132 | 2743790.9173 | 1247432.9825
133 | 2743898.4291 | 1247361.9867
134 | 2743878.9345 | 1247360.6237
135 | 2743863.2521 | 1247354.3625
136 | 2744023.16 | 1247555.8888
137 | 2744735.3676 | 1248340.3835
138 | 2744757.7339 | 1248349.8004
139 | 2744766.6717 | 1248356.3783
140 | 2743433.4993 | 1247568.5751
141 | 2743428.4628 | 1247582.9315
142 | 2744490.331 | 1247748.0427
143 | 2744494.2858 | 1247738.6303
144 | 2744534.1308 | 1247827.1619
145 | 2744304.5274 | 1247593.0763
146 | 2744002.67 | 1247928.0141

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1