## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3005-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3005-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3005-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3005-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3005-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3005-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3005-3_0_3_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_3005-3_0_3_node_68 | 0.4 | n |  | TRUE
8 | bus_LV_3005-3_0_3_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_3005-3_0_3_node_81 | 0.4 | n |  | TRUE
10 | bus_LV_3005-3_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3005-3_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3005-3_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3005-3_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3005-3_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3005-3_0_3_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_3005-3_0_3_node_79 | 0.4 | n |  | TRUE
17 | bus_LV_3005-3_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3005-3_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3005-3_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_3005-3_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_3005-3_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_3005-3_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_3005-3_0_3_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_3005-3_0_3_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_3005-3_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_3005-3_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_3005-3_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_3005-3_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_3005-3_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_3005-3_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_3005-3_0_3_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_3005-3_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_3005-3_0_3_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_3005-3_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_3005-3_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_3005-3_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_3005-3_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_3005-3_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_3005-3_0_3_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_3005-3_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_3005-3_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_3005-3_0_3_node_192 | 0.4 | n |  | TRUE
43 | bus_LV_3005-3_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_3005-3_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_3005-3_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_3005-3_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_3005-3_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_3005-3_0_3_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_3005-3_0_3_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_3005-3_0_3_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_3005-3_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_3005-3_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_3005-3_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_3005-3_0_3_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_3005-3_0_3_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_3005-3_0_3_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_3005-3_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_3005-3_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_3005-3_0_3_node_338 | 0.4 | n |  | TRUE
60 | bus_LV_3005-3_0_3_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_3005-3_0_3_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_3005-3_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_3005-3_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_3005-3_0_3_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_3005-3_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_3005-3_0_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_3005-3_0_3_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_3005-3_0_3_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_3005-3_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_3005-3_0_3_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_3005-3_0_3_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_3005-3_0_3_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_3005-3_0_3_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_3005-3_0_3_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_3005-3_0_3_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_3005-3_0_3_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_3005-3_0_3_node_330 | 0.4 | n |  | TRUE
78 | bus_LV_3005-3_0_3_node_336 | 0.4 | n |  | TRUE
79 | bus_LV_3005-3_0_3_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_3005-3_0_3_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_3005-3_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_3005-3_0_3_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_3005-3_0_3_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_3005-3_0_3_node_341 | 0.4 | n |  | TRUE
85 | bus_LV_3005-3_0_3_node_340 | 0.4 | n |  | TRUE
86 | bus_LV_3005-3_0_3_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_3005-3_0_3_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_3005-3_0_3_node_112 | 0.4 | n |  | TRUE
89 | bus_LV_3005-3_0_3_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_3005-3_0_3_node_138 | 0.4 | n |  | TRUE
91 | bus_LV_3005-3_0_3_node_101 | 0.4 | n |  | TRUE
92 | bus_LV_3005-3_0_3_node_102 | 0.4 | n |  | TRUE
93 | bus_LV_3005-3_0_3_node_103 | 0.4 | n |  | TRUE
94 | bus_LV_3005-3_0_3_node_104 | 0.4 | n |  | TRUE
95 | bus_LV_3005-3_0_3_node_105 | 0.4 | n |  | TRUE
96 | bus_LV_3005-3_0_3_node_114 | 0.4 | n |  | TRUE
97 | bus_LV_3005-3_0_3_node_193 | 0.4 | n |  | TRUE
98 | bus_LV_3005-3_0_3_node_106 | 0.4 | n |  | TRUE
99 | bus_LV_3005-3_0_3_node_108 | 0.4 | n |  | TRUE
100 | bus_LV_3005-3_0_3_node_110 | 0.4 | n |  | TRUE
101 | bus_LV_3005-3_0_3_node_111 | 0.4 | n |  | TRUE
102 | bus_LV_3005-3_0_3_node_109 | 0.4 | n |  | TRUE
103 | bus_LV_3005-3_0_3_node_145 | 0.4 | n |  | TRUE
104 | bus_LV_3005-3_0_3_node_144 | 0.4 | n |  | TRUE
105 | bus_LV_3005-3_0_3_node_298 | 0.4 | n |  | TRUE
106 | bus_LV_3005-3_0_3_node_135 | 0.4 | n |  | TRUE
107 | bus_LV_3005-3_0_3_node_136 | 0.4 | n |  | TRUE
108 | bus_LV_3005-3_0_3_node_137 | 0.4 | n |  | TRUE
109 | bus_LV_3005-3_0_3_node_160 | 0.4 | n |  | TRUE
110 | bus_LV_3005-3_0_3_node_139 | 0.4 | n |  | TRUE
111 | bus_LV_3005-3_0_3_node_245 | 0.4 | n |  | TRUE
112 | bus_LV_3005-3_0_3_node_345 | 0.4 | n |  | TRUE
113 | bus_LV_3005-3_0_3_node_203 | 0.4 | n |  | TRUE
114 | bus_LV_3005-3_0_3_node_190 | 0.4 | n |  | TRUE
115 | bus_LV_3005-3_0_3_node_191 | 0.4 | n |  | TRUE
116 | bus_LV_3005-3_0_3_node_194 | 0.4 | n |  | TRUE
117 | bus_LV_3005-3_0_3_node_195 | 0.4 | n |  | TRUE
118 | bus_LV_3005-3_0_3_node_335 | 0.4 | n |  | TRUE
119 | bus_LV_3005-3_0_3_node_333 | 0.4 | n |  | TRUE
120 | bus_LV_3005-3_0_3_node_205 | 0.4 | n |  | TRUE
121 | bus_LV_3005-3_0_3_node_202 | 0.4 | n |  | TRUE
122 | bus_LV_3005-3_0_3_node_204 | 0.4 | n |  | TRUE
123 | bus_LV_3005-3_0_3_node_233 | 0.4 | n |  | TRUE
124 | bus_LV_3005-3_0_3_node_234 | 0.4 | n |  | TRUE
125 | bus_LV_3005-3_0_3_node_235 | 0.4 | n |  | TRUE
126 | bus_LV_3005-3_0_3_node_236 | 0.4 | n |  | TRUE
127 | bus_LV_3005-3_0_3_node_265 | 0.4 | n |  | TRUE
128 | bus_LV_3005-3_0_3_node_278 | 0.4 | n |  | TRUE
129 | bus_LV_3005-3_0_3_node_242 | 0.4 | n |  | TRUE
130 | bus_LV_3005-3_0_3_node_243 | 0.4 | n |  | TRUE
131 | bus_LV_3005-3_0_3_node_244 | 0.4 | n |  | TRUE
132 | bus_LV_3005-3_0_3_node_246 | 0.4 | n |  | TRUE
133 | bus_LV_3005-3_0_3_node_279 | 0.4 | n |  | TRUE
134 | bus_LV_3005-3_0_3_node_295 | 0.4 | n |  | TRUE
135 | bus_LV_3005-3_0_3_node_294 | 0.4 | n |  | TRUE
136 | bus_LV_3005-3_0_3_node_299 | 0.4 | n |  | TRUE
137 | bus_LV_3005-3_0_3_node_303 | 0.4 | n |  | TRUE
138 | bus_LV_3005-3_0_3_node_304 | 0.4 | n |  | TRUE
139 | bus_LV_3005-3_0_3_node_305 | 0.4 | n |  | TRUE
140 | bus_LV_3005-3_0_3_node_306 | 0.4 | n |  | TRUE
141 | bus_LV_3005-3_0_3_node_307 | 0.4 | n |  | TRUE
142 | bus_LV_3005-3_0_3_node_311 | 0.4 | n |  | TRUE
143 | bus_LV_3005-3_0_3_node_309 | 0.4 | n |  | TRUE
144 | bus_LV_3005-3_0_3_node_308 | 0.4 | n |  | TRUE
145 | bus_LV_3005-3_0_3_node_347 | 0.4 | n |  | TRUE
146 | bus_LV_3005-3_0_3_node_329 | 0.4 | n |  | TRUE
147 | bus_LV_3005-3_0_3_node_332 | 0.4 | n |  | TRUE
148 | bus_LV_3005-3_0_3_node_334 | 0.4 | n |  | TRUE
149 | bus_LV_3005-3_0_3_node_337 | 0.4 | n |  | TRUE
150 | bus_LV_3005-3_0_3_node_339 | 0.4 | n |  | TRUE
151 | bus_MV_40_0_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3005-3_0_3_load_0 | 0 | 0.0043255 | 0.0010841 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3005-3_0_3_load_1 | 1 | 0.0026452 | 0.00066294 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3005-3_0_3_load_4 | 4 | 0.0039022 | 0.00097799 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3005-3_0_3_load_5 | 5 | 0.0027998 | 0.0007017 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3005-3_0_3_load_68 | 7 | 0.005029 | 0.0012604 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3005-3_0_3_load_37 | 8 | 0.0033605 | 0.00084222 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3005-3_0_3_load_81 | 9 | 0.0036665 | 0.00091892 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3005-3_0_3_load_6 | 10 | 0.00056075 | 0.00014054 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3005-3_0_3_load_7 | 11 | 0.00159 | 0.00039848 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3005-3_0_3_load_9 | 13 | 0.0017462 | 0.00043764 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3005-3_0_3_load_10 | 14 | 0.0014251 | 0.00035715 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3005-3_0_3_load_58 | 15 | 0.00094408 | 0.00023661 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3005-3_0_3_load_79 | 16 | 0.0022791 | 0.00057119 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3005-3_0_3_load_11 | 17 | 0.0011059 | 0.00027716 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3005-3_0_3_load_12 | 18 | 0.0015723 | 0.00039406 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3005-3_0_3_load_14 | 20 | 0.00044044 | 0.00011039 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3005-3_0_3_load_15 | 21 | 0.0018881 | 0.00047321 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3005-3_0_3_load_16 | 22 | 0.00075655 | 0.00018961 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3005-3_0_3_load_43 | 23 | 0.0021094 | 0.00052868 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3005-3_0_3_load_17 | 25 | 0.0033759 | 0.00084608 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3005-3_0_3_load_18 | 26 | 0.0035748 | 0.00089593 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3005-3_0_3_load_21 | 29 | 0.00047192 | 0.00011827 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3005-3_0_3_load_22 | 30 | 0.0095968 | 0.0024052 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3005-3_0_3_load_48 | 31 | 0.0038038 | 0.00095333 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3005-3_0_3_load_28 | 32 | 0.00061006 | 0.0001529 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3005-3_0_3_load_23 | 34 | 0.00088089 | 0.00022077 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3005-3_0_3_load_24 | 35 | 0.0025956 | 0.00065051 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3005-3_0_3_load_26 | 37 | 0.00061956 | 0.00015528 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3005-3_0_3_load_27 | 38 | 0.0005798 | 0.00014531 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3005-3_0_3_load_49 | 39 | 0.0011924 | 0.00029885 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3005-3_0_3_load_30 | 41 | 0.00033019 | 8.2753e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3005-3_0_3_load_31 | 43 | 0.0018772 | 0.00047046 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3005-3_0_3_load_35 | 46 | 0.0020307 | 0.00050894 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3005-3_0_3_load_78 | 48 | 0.00054612 | 0.00013687 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3005-3_0_3_load_46 | 49 | 0.001084 | 0.00027167 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3005-3_0_3_load_44 | 50 | 0.00073804 | 0.00018497 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3005-3_0_3_load_38 | 51 | 0.00889 | 0.0022281 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3005-3_0_3_load_39 | 52 | 0.0004736 | 0.00011869 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3005-3_0_3_load_41 | 53 | 0.00057784 | 0.00014482 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3005-3_0_3_load_67 | 55 | 0.0032623 | 0.00081761 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3005-3_0_3_load_71 | 56 | 0.0041927 | 0.0010508 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3005-3_0_3_load_45 | 57 | 0.010215 | 0.0025602 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3005-3_0_3_load_338 | 59 | 0.0028421 | 0.00071229 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3005-3_0_3_load_74 | 60 | 0.003596 | 0.00090125 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3005-3_0_3_load_80 | 61 | 0.0021546 | 0.00053998 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3005-3_0_3_load_50 | 62 | 0.00059569 | 0.00014929 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3005-3_0_3_load_52 | 63 | 0.00040058 | 0.0001004 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3005-3_0_3_load_82 | 64 | 0.033761 | 0.0084613 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3005-3_0_3_load_54 | 65 | 0.002508 | 0.00062856 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3005-3_0_3_load_55 | 66 | 0.0067549 | 0.0016929 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3005-3_0_3_load_59 | 69 | 0.0012752 | 0.00031959 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3005-3_0_3_load_61 | 71 | 0.0013729 | 0.00034408 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3005-3_0_3_load_62 | 72 | 0.0022545 | 0.00056502 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3005-3_0_3_load_63 | 73 | 0.00090312 | 0.00022634 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3005-3_0_3_load_64 | 74 | 0.00070585 | 0.0001769 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3005-3_0_3_load_66 | 76 | 0.0051926 | 0.0013014 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3005-3_0_3_load_336 | 78 | 0.0041665 | 0.0010442 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3005-3_0_3_load_72 | 79 | 0.0022611 | 0.00056669 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3005-3_0_3_load_73 | 80 | 0.0023085 | 0.00057855 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3005-3_0_3_load_76 | 82 | 0.0021923 | 0.00054944 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3005-3_0_3_load_341 | 84 | 0.0025526 | 0.00063974 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3005-3_0_3_load_340 | 85 | 0.0016157 | 0.00040494 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3005-3_0_3_load_83 | 86 | 0.00025405 | 6.3672e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3005-3_0_3_load_85 | 87 | 0.00032437 | 8.1296e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3005-3_0_3_load_112 | 88 | 0.00022893 | 5.7376e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3005-3_0_3_load_86 | 89 | 0.00031557 | 7.9089e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3005-3_0_3_load_138 | 90 | 0.00042563 | 0.00010667 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3005-3_0_3_load_101 | 91 | 0.00012377 | 3.102e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3005-3_0_3_load_102 | 92 | 0.00061508 | 0.00015415 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3005-3_0_3_load_104 | 94 | 0.00024329 | 6.0973e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3005-3_0_3_load_114 | 96 | 0.00018265 | 4.5777e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3005-3_0_3_load_193 | 97 | 0.001504 | 0.00037693 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3005-3_0_3_load_106 | 98 | 0.0035599 | 0.0008922 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3005-3_0_3_load_110 | 100 | 0.0022173 | 0.0005557 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3005-3_0_3_load_111 | 101 | 0.0071604 | 0.0017946 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3005-3_0_3_load_144 | 104 | 0.00826 | 0.0020702 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3005-3_0_3_load_135 | 106 | 0.00061812 | 0.00015492 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3005-3_0_3_load_136 | 107 | 0.00028488 | 7.1397e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3005-3_0_3_load_160 | 109 | 0.0008035 | 0.00020138 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3005-3_0_3_load_139 | 110 | 0.00074263 | 0.00018612 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3005-3_0_3_load_345 | 112 | 0.00026285 | 6.5878e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3005-3_0_3_load_190 | 114 | 0.00078167 | 0.00019591 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3005-3_0_3_load_191 | 115 | 0.00053628 | 0.0001344 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3005-3_0_3_load_195 | 117 | 0.0014761 | 0.00036994 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3005-3_0_3_load_335 | 118 | 0.00066256 | 0.00016605 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3005-3_0_3_load_333 | 119 | 0.0017014 | 0.00042641 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3005-3_0_3_load_202 | 121 | 0.0032608 | 0.00081724 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3005-3_0_3_load_204 | 122 | 0.00097076 | 0.00024329 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3005-3_0_3_load_233 | 123 | 0.0015844 | 0.00039709 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3005-3_0_3_load_235 | 125 | 0.00073275 | 0.00018364 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3005-3_0_3_load_236 | 126 | 0.00068835 | 0.00017252 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3005-3_0_3_load_265 | 127 | 0.0010761 | 0.0002697 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3005-3_0_3_load_242 | 129 | 0.00076114 | 0.00019076 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3005-3_0_3_load_243 | 130 | 0.00090922 | 0.00022787 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3005-3_0_3_load_244 | 131 | 0.00040085 | 0.00010046 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3005-3_0_3_load_295 | 134 | 0.00578 | 0.0014486 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3005-3_0_3_load_294 | 135 | 0.0021791 | 0.00054614 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3005-3_0_3_load_299 | 136 | 0.0042424 | 0.0010632 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3005-3_0_3_load_303 | 137 | 0.00012048 | 3.0194e-05 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3005-3_0_3_load_304 | 138 | 0.00025299 | 6.3404e-05 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3005-3_0_3_load_309 | 143 | 0.00014582 | 3.6545e-05 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3005-3_0_3_load_308 | 144 | 0.0001342 | 3.3633e-05 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3005-3_0_3_load_347 | 145 | 0.00017745 | 4.4474e-05 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3005-3_0_3_load_329 | 146 | 0.0027484 | 0.00068882 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3005-3_0_3_load_332 | 147 | 0.0014531 | 0.00036419 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_3005-3_0_3_load_334 | 148 | 0.00060277 | 0.00015107 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_3005-3_0_3_load_337 | 149 | 0.006855 | 0.001718 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_3005-3_0_3_load_339 | 150 | 0.0021951 | 0.00055013 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 150 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3005-3_0_3_line_0 |  | 0 | 1 | 0.017353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3005-3_0_3_line_1 |  | 0 | 2 | 0.022496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3005-3_0_3_line_2 |  | 1 | 3 | 0.01199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3005-3_0_3_line_3 |  | 2 | 4 | 0.013495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3005-3_0_3_line_4 |  | 2 | 5 | 0.0080482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3005-3_0_3_line_5 |  | 3 | 6 | 0.00757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3005-3_0_3_line_6 |  | 3 | 7 | 0.024651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3005-3_0_3_line_7 |  | 4 | 8 | 0.0049889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3005-3_0_3_line_8 |  | 5 | 9 | 0.014999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3005-3_0_3_line_9 |  | 6 | 59 | 0.029986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_3005-3_0_3_line_10 |  | 6 | 28 | 0.009248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_3005-3_0_3_line_11 |  | 10 | 11 | 0.0032123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3005-3_0_3_line_12 |  | 10 | 12 | 0.056942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3005-3_0_3_line_13 |  | 12 | 13 | 0.0065914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3005-3_0_3_line_14 |  | 12 | 14 | 0.014435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3005-3_0_3_line_15 |  | 13 | 15 | 0.10386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3005-3_0_3_line_16 |  | 14 | 16 | 0.028653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3005-3_0_3_line_17 |  | 15 | 46 | 0.036964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3005-3_0_3_line_18 |  | 16 | 61 | 0.0047801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3005-3_0_3_line_19 |  | 17 | 18 | 0.034609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3005-3_0_3_line_20 |  | 17 | 19 | 0.013114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3005-3_0_3_line_21 |  | 18 | 20 | 0.0045355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3005-3_0_3_line_22 |  | 19 | 21 | 0.020364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3005-3_0_3_line_23 |  | 19 | 22 | 0.017854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3005-3_0_3_line_24 |  | 20 | 23 | 0.012407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3005-3_0_3_line_25 |  | 21 | 24 | 0.15616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3005-3_0_3_line_26 |  | 24 | 47 | 0.005022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_3005-3_0_3_line_27 |  | 24 | 43 | 0.14386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3005-3_0_3_line_28 |  | 25 | 26 | 0.023757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_3005-3_0_3_line_29 |  | 25 | 27 | 0.037382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_3005-3_0_3_line_30 |  | 26 | 28 | 0.030266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_3005-3_0_3_line_31 |  | 27 | 29 | 0.05801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_3005-3_0_3_line_32 |  | 27 | 30 | 0.025911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3005-3_0_3_line_33 |  | 28 | 31 | 0.018538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_3005-3_0_3_line_34 |  | 29 | 32 | 0.0226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_3005-3_0_3_line_35 |  | 30 | 33 | 0.0082897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3005-3_0_3_line_36 |  | 31 | 60 | 0.015638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_3005-3_0_3_line_37 |  | 32 | 40 | 0.092468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_3005-3_0_3_line_38 |  | 33 | 54 | 0.009329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3005-3_0_3_line_39 |  | 33 | 51 | 0.02198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3005-3_0_3_line_40 |  | 34 | 35 | 0.09111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3005-3_0_3_line_41 |  | 34 | 36 | 0.033898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3005-3_0_3_line_42 |  | 35 | 37 | 0.02761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3005-3_0_3_line_43 |  | 36 | 38 | 0.050347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3005-3_0_3_line_44 |  | 37 | 39 | 0.013502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3005-3_0_3_line_45 |  | 39 | 61 | 0.11068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3005-3_0_3_line_46 |  | 40 | 41 | 0.024555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_3005-3_0_3_line_47 |  | 41 | 42 | 0.13846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_3005-3_0_3_line_48 |  | 42 | 116 | 0.024352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3005-3_0_3_line_49 |  | 42 | 117 | 0.029317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3005-3_0_3_line_50 |  | 42 | 114 | 0.15272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3005-3_0_3_line_51 |  | 43 | 44 | 0.014562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3005-3_0_3_line_52 |  | 44 | 45 | 0.036652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3005-3_0_3_line_53 |  | 44 | 46 | 0.015333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3005-3_0_3_line_54 |  | 45 | 48 | 0.018919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3005-3_0_3_line_55 |  | 47 | 49 | 0.11213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_3005-3_0_3_line_56 |  | 47 | 50 | 0.038747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3005-3_0_3_line_57 |  | 48 | 72 | 0.043422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3005-3_0_3_line_58 |  | 49 | 58 | 0.041189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_3005-3_0_3_line_59 |  | 50 | 57 | 0.0050577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3005-3_0_3_line_60 |  | 51 | 52 | 0.010181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3005-3_0_3_line_61 |  | 52 | 53 | 0.0067247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3005-3_0_3_line_62 |  | 54 | 55 | 0.012712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3005-3_0_3_line_63 |  | 54 | 56 | 0.011045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3005-3_0_3_line_64 |  | 55 | 75 | 0.015928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3005-3_0_3_line_65 |  | 56 | 79 | 0.01863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3005-3_0_3_line_66 |  | 58 | 63 | 0.072148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_3005-3_0_3_line_67 |  | 58 | 62 | 0.030161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3005-3_0_3_line_68 |  | 59 | 149 | 0.026798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_3005-3_0_3_line_69 |  | 60 | 81 | 0.0080946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_3005-3_0_3_line_70 |  | 63 | 64 | 0.019358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_3005-3_0_3_line_71 |  | 64 | 67 | 0.074127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_3005-3_0_3_line_72 |  | 65 | 66 | 0.011123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3005-3_0_3_line_73 |  | 66 | 67 | 0.059033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3005-3_0_3_line_74 |  | 67 | 68 | 0.13263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_3005-3_0_3_line_75 |  | 68 | 78 | 0.065924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_3005-3_0_3_line_76 |  | 69 | 70 | 0.032405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3005-3_0_3_line_77 |  | 69 | 71 | 0.024211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3005-3_0_3_line_78 |  | 70 | 72 | 0.028594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3005-3_0_3_line_79 |  | 73 | 74 | 0.0057591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3005-3_0_3_line_80 |  | 73 | 75 | 0.033784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3005-3_0_3_line_81 |  | 75 | 76 | 0.028604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3005-3_0_3_line_82 |  | 76 | 77 | 0.075134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3005-3_0_3_line_83 |  | 77 | 132 | 0.021225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3005-3_0_3_line_84 |  | 77 | 146 | 0.021083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3005-3_0_3_line_85 |  | 78 | 149 | 0.041682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_3005-3_0_3_line_86 |  | 79 | 80 | 0.0059596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3005-3_0_3_line_87 |  | 81 | 82 | 0.014384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3005-3_0_3_line_88 |  | 81 | 83 | 0.031309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_3005-3_0_3_line_89 |  | 83 | 84 | 0.059233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3005-3_0_3_line_90 |  | 83 | 85 | 0.016887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_3005-3_0_3_line_91 |  | 85 | 150 | 0.02316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_3005-3_0_3_line_92 |  | 86 | 87 | 0.017015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3005-3_0_3_line_93 |  | 86 | 88 | 0.17192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3005-3_0_3_line_94 |  | 88 | 96 | 0.031502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3005-3_0_3_line_95 |  | 89 | 90 | 0.019257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3005-3_0_3_line_96 |  | 90 | 108 | 0.045618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3005-3_0_3_line_97 |  | 91 | 92 | 0.024058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3005-3_0_3_line_98 |  | 91 | 93 | 0.012872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3005-3_0_3_line_99 |  | 93 | 94 | 0.089396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3005-3_0_3_line_100 |  | 93 | 95 | 0.003471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3005-3_0_3_line_101 |  | 94 | 96 | 0.068256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3005-3_0_3_line_102 |  | 95 | 97 | 0.075567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3005-3_0_3_line_103 |  | 97 | 115 | 0.015795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3005-3_0_3_line_104 |  | 98 | 99 | 0.0081769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3005-3_0_3_line_105 |  | 99 | 100 | 0.007491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3005-3_0_3_line_106 |  | 99 | 101 | 0.034621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3005-3_0_3_line_107 |  | 100 | 104 | 0.048853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3005-3_0_3_line_108 |  | 101 | 105 | 0.079276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3005-3_0_3_line_109 |  | 102 | 103 | 0.10636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3005-3_0_3_line_110 |  | 102 | 104 | 0.020343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3005-3_0_3_line_111 |  | 103 | 112 | 0.020241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3005-3_0_3_line_112 |  | 103 | 113 | 0.044435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3005-3_0_3_line_113 |  | 105 | 136 | 0.17289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_3005-3_0_3_line_114 |  | 106 | 107 | 0.0068675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_3005-3_0_3_line_115 |  | 106 | 108 | 0.11754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_3005-3_0_3_line_116 |  | 107 | 109 | 0.35436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_3005-3_0_3_line_117 |  | 108 | 110 | 0.050706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_3005-3_0_3_line_118 |  | 110 | 111 | 0.061649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_3005-3_0_3_line_119 |  | 111 | 127 | 0.038604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_3005-3_0_3_line_120 |  | 113 | 120 | 0.040509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_3005-3_0_3_line_121 |  | 113 | 121 | 0.097381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_3005-3_0_3_line_122 |  | 114 | 115 | 0.012384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_3005-3_0_3_line_123 |  | 116 | 118 | 0.06274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_3005-3_0_3_line_124 |  | 116 | 119 | 0.02252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_3005-3_0_3_line_125 |  | 117 | 120 | 0.040037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_3005-3_0_3_line_126 |  | 118 | 141 | 0.019985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_3005-3_0_3_line_127 |  | 119 | 148 | 0.040808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_3005-3_0_3_line_128 |  | 121 | 122 | 0.012225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_3005-3_0_3_line_129 |  | 123 | 124 | 0.070684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_3005-3_0_3_line_130 |  | 123 | 125 | 0.0036322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_3005-3_0_3_line_131 |  | 124 | 126 | 0.065277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_3005-3_0_3_line_132 |  | 125 | 127 | 0.10043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_3005-3_0_3_line_133 |  | 126 | 128 | 0.042911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_3005-3_0_3_line_134 |  | 128 | 133 | 0.016899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_3005-3_0_3_line_135 |  | 128 | 130 | 0.12208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_3005-3_0_3_line_136 |  | 129 | 130 | 0.0020569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_3005-3_0_3_line_137 |  | 129 | 131 | 0.14823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_3005-3_0_3_line_138 |  | 131 | 132 | 0.0037064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_3005-3_0_3_line_139 |  | 133 | 134 | 0.039228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_3005-3_0_3_line_140 |  | 133 | 135 | 0.016679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_3005-3_0_3_line_141 |  | 137 | 138 | 0.023483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_3005-3_0_3_line_142 |  | 137 | 139 | 0.12751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_3005-3_0_3_line_143 |  | 138 | 140 | 0.021012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_3005-3_0_3_line_144 |  | 139 | 141 | 0.14788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_3005-3_0_3_line_145 |  | 140 | 142 | 0.023964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_3005-3_0_3_line_146 |  | 140 | 143 | 0.046096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_3005-3_0_3_line_147 |  | 142 | 145 | 0.054035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_3005-3_0_3_line_148 |  | 143 | 144 | 0.010534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_3005-3_0_3_line_149 |  | 147 | 148 | 0.13833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3005-3_0_3_trafo_339 | 0.63 MVA 20/0.4 kV | 151 | 150 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2743950.9015 | 1248986.2295 | 2743964.9865 | 1248984.0849 | 2743967.805 | 1248982.7809
1 | 2743928.4841 | 1248986.8234 | 2743944.4526 | 1248987.2114 | 2743950.9015 | 1248986.2295
2 | 2743978.8005 | 1248978.0036 | 2743971.2899 | 1248981.1686 | 2743967.805 | 1248982.7809
3 | 2743928.4841 | 1248986.8234 | 2743923.4684 | 1248999.3514
4 | 2743928.4841 | 1248986.8234 | 2743929.9153 | 1248978.9035
5 | 2743986.138 | 1248976.0577 | 2743978.8005 | 1248978.0036
6 | 2743978.8005 | 1248978.0036 | 2743957.6836 | 1248965.2848
7 | 2743921.6142 | 1249003.9829 | 2743923.4684 | 1248999.3514
8 | 2743934.2819 | 1248964.61 | 2743930.8233 | 1248973.8792 | 2743929.9153 | 1248978.9035
9 | 2743986.138 | 1248976.0577 | 2743980.0852 | 1248946.689
10 | 2743988.1168 | 1248985.092 | 2743986.138 | 1248976.0577
11 | 2744584.3243 | 1248691.4941 | 2744583.2529 | 1248694.5225
12 | 2744585.4998 | 1248750.7338 | 2744583.6794 | 1248742.6708 | 2744585.1916 | 1248732.4092 | 2744585.0816 | 1248721.4407 | 2744582.0034 | 1248698.0548 | 2744583.2529 | 1248694.5225
13 | 2744585.4998 | 1248750.7338 | 2744581.2139 | 1248755.7417
14 | 2744585.4998 | 1248750.7338 | 2744594.7701 | 1248739.669
15 | 2744581.2139 | 1248755.7417 | 2744548.4205 | 1248794.0592 | 2744538.6934 | 1248801.9627 | 2744527.3606 | 1248807.5584 | 2744513.802 | 1248809.6298 | 2744499.7804 | 1248808.9985 | 2744499.2842 | 1248808.9574
16 | 2744594.7701 | 1248739.669 | 2744612.619 | 1248718.365 | 2744613.1189 | 1248717.6654
17 | 2744499.2842 | 1248808.9574 | 2744476.7922 | 1248807.0921 | 2744462.6291 | 1248804.5223
18 | 2744613.1189 | 1248717.6654 | 2744615.8983 | 1248713.7764
19 | 2744441.0016 | 1248521.3725 | 2744421.1886 | 1248549.7487
20 | 2744412.0952 | 1248559.0836 | 2744418.7736 | 1248553.2075 | 2744421.1886 | 1248549.7487
21 | 2744441.0016 | 1248521.3725 | 2744443.5981 | 1248517.6538
22 | 2744412.0952 | 1248559.0836 | 2744428.2423 | 1248571.4921
23 | 2744412.0952 | 1248559.0836 | 2744404.841 | 1248561.9207 | 2744395.0926 | 1248564.4226
24 | 2744450.7008 | 1248507.4812 | 2744443.5981 | 1248517.6538
25 | 2744346.5872 | 1248678.945 | 2744408.001 | 1248627.8483 | 2744438.4482 | 1248595.9267 | 2744442.7494 | 1248584.6766 | 2744442.1678 | 1248582.1934 | 2744428.2423 | 1248571.4921
26 | 2744343.4725 | 1248674.9988 | 2744344.4043 | 1248676.1336 | 2744346.5872 | 1248678.945
27 | 2744346.5872 | 1248678.945 | 2744425.3181 | 1248780.2572 | 2744436.1352 | 1248791.433
28 | 2743991.4888 | 1249015.152 | 2743991.7871 | 1249030.5125 | 2743991.2053 | 1249038.8863
29 | 2743988.6145 | 1249076.1782 | 2743991.2053 | 1249038.8863
30 | 2743988.1168 | 1248985.092 | 2743991.4181 | 1249011.508 | 2743991.4888 | 1249015.152
31 | 2743988.6145 | 1249076.1782 | 2743986.0798 | 1249120.1578 | 2743984.6076 | 1249134.0374
32 | 2743988.6145 | 1249076.1782 | 2743968.9179 | 1249075.3324 | 2743962.7251 | 1249075.139
33 | 2743988.1168 | 1248985.092 | 2744006.2845 | 1248981.4076
34 | 2743984.6076 | 1249134.0374 | 2743982.2239 | 1249156.5113
35 | 2743954.4394 | 1249074.8804 | 2743962.7251 | 1249075.139
36 | 2744006.2845 | 1248981.4076 | 2744021.708 | 1248983.9885
37 | 2743972.8294 | 1249248.5005 | 2743978.6802 | 1249189.9211 | 2743982.2239 | 1249156.5113
38 | 2743945.1127 | 1249074.131 | 2743954.4394 | 1249074.8804
39 | 2743954.4394 | 1249074.8804 | 2743954.295 | 1249089.2125 | 2743953.9828 | 1249096.8528
40 | 2744696.2381 | 1248623.2927 | 2744691.2265 | 1248609.5809 | 2744677.7666 | 1248590.5791 | 2744664.0927 | 1248573.2181 | 2744648.5871 | 1248556.3017 | 2744644.2809 | 1248549.349
41 | 2744624.168 | 1248525.3881 | 2744632.229 | 1248526.6415 | 2744639.3341 | 1248541.362 | 2744644.2809 | 1248549.349
42 | 2744696.2381 | 1248623.2927 | 2744697.4443 | 1248626.5931 | 2744702.3158 | 1248637.7891 | 2744708.8732 | 1248647.7029 | 2744708.8732 | 1248647.7029
43 | 2744624.168 | 1248525.3881 | 2744620.8004 | 1248512.6163 | 2744616.0827 | 1248492.0152 | 2744608.8473 | 1248477.7397
44 | 2744712.9496 | 1248660.5743 | 2744708.8732 | 1248647.7029
45 | 2744615.8983 | 1248713.7764 | 2744712.9496 | 1248660.5743
46 | 2743972.8294 | 1249248.5005 | 2743972.4569 | 1249273.0527
47 | 2743987.3654 | 1249410.6275 | 2743986.0678 | 1249399.063 | 2743974.6787 | 1249308.5349 | 2743972.3278 | 1249281.5637 | 2743972.4569 | 1249273.0527
48 | 2743989.8207 | 1249434.8543 | 2743988.968 | 1249426.4257 | 2743987.3654 | 1249410.6275
49 | 2743987.3654 | 1249410.6275 | 2743999.281 | 1249402.7429 | 2744004.206 | 1249388.5439
50 | 2743987.3654 | 1249410.6275 | 2743975.8798 | 1249420.7136 | 2743902.3922 | 1249520.9008 | 2743894.1209 | 1249531.1742
51 | 2744448.0426 | 1248799.7958 | 2744436.5414 | 1248791.8526 | 2744436.1352 | 1248791.433
52 | 2744448.0426 | 1248799.7958 | 2744440.7223 | 1248812.4849 | 2744432.7535 | 1248826.6707 | 2744430.2475 | 1248831.8478
53 | 2744448.0426 | 1248799.7958 | 2744462.6291 | 1248804.5223 | 2744462.6291 | 1248804.5223
54 | 2744430.2475 | 1248831.8478 | 2744428.0595 | 1248836.3765 | 2744433.2168 | 1248846.089 | 2744434.3425 | 1248848.7536
55 | 2744343.4725 | 1248674.9988 | 2744336.5463 | 1248666.5556 | 2744326.5204 | 1248657.5809 | 2744319.9572 | 1248653.1503 | 2744314.1484 | 1248650.9402 | 2744306.5255 | 1248648.7637 | 2744297.9513 | 1248647.7985 | 2744288.6587 | 1248648.106 | 2744241.625 | 1248656.4233
56 | 2744343.4725 | 1248674.9988 | 2744325.4804 | 1248709.3148
57 | 2744434.3425 | 1248848.7536 | 2744437.2095 | 1248855.5396 | 2744438.9344 | 1248871.2408 | 2744449.6767 | 1248882.7244 | 2744453.5787 | 1248885.0339
58 | 2744201.1739 | 1248664.137 | 2744213.0927 | 1248661.4688 | 2744241.625 | 1248656.4233
59 | 2744325.4804 | 1248709.3148 | 2744323.1318 | 1248713.7942
60 | 2743953.5672 | 1249107.0255 | 2743953.9828 | 1249096.8528
61 | 2743953.5672 | 1249107.0255 | 2743953.5305 | 1249107.9225 | 2743954.4094 | 1249110.9245 | 2743956.196 | 1249112.9475
62 | 2743945.1127 | 1249074.131 | 2743938.237 | 1249075.7322 | 2743932.996 | 1249077.8476
63 | 2743945.1127 | 1249074.131 | 2743945.9829 | 1249063.1198
64 | 2743918.2253 | 1249083.8094 | 2743932.996 | 1249077.8476
65 | 2743945.9829 | 1249063.1198 | 2743946.7382 | 1249053.5623 | 2743947.4946 | 1249044.5508
66 | 2744201.1739 | 1248664.137 | 2744189.1011 | 1248670.6494 | 2744178.0049 | 1248679.2543 | 2744149.5446 | 1248713.3191
67 | 2744201.1739 | 1248664.137 | 2744200.2084 | 1248652.903 | 2744211.5688 | 1248637.8162
68 | 2743974.6759 | 1248920.4427 | 2743980.0852 | 1248946.689
69 | 2744029.6916 | 1248985.3244 | 2744021.708 | 1248983.9885
70 | 2744137.133 | 1248728.1749 | 2744149.5446 | 1248713.3191
71 | 2744076.1822 | 1248767.6282 | 2744093.5108 | 1248762.4445 | 2744110.9856 | 1248752.8047 | 2744123.3086 | 1248743.4511 | 2744132.4356 | 1248733.7973 | 2744137.133 | 1248728.1749
72 | 2744117.2259 | 1248821.3499 | 2744107.7661 | 1248815.4983
73 | 2744076.1822 | 1248767.6282 | 2744082.8568 | 1248780.8361 | 2744089.0801 | 1248797.6809 | 2744097.7499 | 1248809.3025 | 2744107.7661 | 1248815.4983
74 | 2743953.1539 | 1248815.0729 | 2743957.5465 | 1248812.4549 | 2743965.285 | 1248808.3167 | 2743979.4406 | 1248802.1881 | 2743999.5703 | 1248793.024 | 2744027.319 | 1248779.6744 | 2744042.0803 | 1248774.7396 | 2744061.8632 | 1248770.5274 | 2744076.1822 | 1248767.6282
75 | 2743953.1539 | 1248815.0729 | 2743958.6141 | 1248835.0464 | 2743961.4218 | 1248851.3187 | 2743965.306 | 1248872.4105 | 2743966.6306 | 1248879.5467
76 | 2744478.9841 | 1248898.1085 | 2744478.5334 | 1248911.0096 | 2744484.2072 | 1248918.744 | 2744493.2703 | 1248922.7364
77 | 2744514.55 | 1248934.098 | 2744502.0268 | 1248928.4207 | 2744494.604 | 1248923.3239 | 2744493.2703 | 1248922.7364
78 | 2744478.9841 | 1248898.1085 | 2744461.004 | 1248889.4289 | 2744453.5787 | 1248885.0339
79 | 2743905.0147 | 1249113.9067 | 2743901.3566 | 1249118.3547
80 | 2743918.2253 | 1249083.8094 | 2743916.4285 | 1249096.1996 | 2743912.853 | 1249104.376 | 2743905.0147 | 1249113.9067
81 | 2743918.2253 | 1249083.8094 | 2743909.254 | 1249084.2921 | 2743900.092 | 1249086.0936 | 2743894.8862 | 1249088.9255 | 2743891.7285 | 1249092.0295
82 | 2743891.7285 | 1249092.0295 | 2743825.6212 | 1249127.7365
83 | 2743823.7631 | 1249148.8778 | 2743825.6212 | 1249127.7365
84 | 2743825.6212 | 1249127.7365 | 2743820.3575 | 1249127.3529 | 2743814.0326 | 1249125.5644 | 2743810.1693 | 1249121.9562 | 2743809.3337 | 1249118.099
85 | 2743966.6306 | 1248879.5467 | 2743970.1022 | 1248898.2511 | 2743974.6759 | 1248920.4427
86 | 2743947.993 | 1249038.6121 | 2743947.4946 | 1249044.5508
87 | 2744029.6916 | 1248985.3244 | 2744038.3112 | 1248994.965 | 2744038.9967 | 1248996.245
88 | 2744025.3235 | 1248954.3226 | 2744029.6916 | 1248985.3244
89 | 2744025.3235 | 1248954.3226 | 2744021.3605 | 1248923.7422 | 2744023.5523 | 1248918.4238 | 2744019.9939 | 1248896.0609
90 | 2744025.3235 | 1248954.3226 | 2744041.9564 | 1248951.4031
91 | 2744063.8259 | 1248944.72 | 2744057.7542 | 1248945.6802 | 2744055.3033 | 1248946.4325 | 2744052.9336 | 1248947.8874 | 2744050.6695 | 1248949.3449 | 2744047.25 | 1248950.4739 | 2744041.9564 | 1248951.4031
92 | 2743640.5094 | 1249741.423 | 2743643.1582 | 1249757.2456 | 2743643.3319 | 1249758.2023
93 | 2743809.4308 | 1249802.5614 | 2743643.3319 | 1249758.2023
94 | 2743819.0482 | 1249772.7159 | 2743818.5252 | 1249777.0386 | 2743815.6074 | 1249787.7 | 2743809.4308 | 1249802.5614
95 | 2743646.3082 | 1249568.1703 | 2743646.5871 | 1249559.5103 | 2743647.3435 | 1249548.9445
96 | 2743653.0022 | 1249503.6914 | 2743647.8667 | 1249541.6357 | 2743647.3435 | 1249548.9445
97 | 2743865.3262 | 1249621.2951 | 2743841.572 | 1249617.4868
98 | 2743828.8626 | 1249615.4492 | 2743841.572 | 1249617.4868
99 | 2743828.8626 | 1249615.4492 | 2743825.3503 | 1249662.4079 | 2743821.6308 | 1249704.5507
100 | 2743828.8626 | 1249615.4492 | 2743829.0601 | 1249611.9841
101 | 2743819.0482 | 1249772.7159 | 2743819.8199 | 1249766.3378 | 2743820.8379 | 1249713.5352 | 2743821.6308 | 1249704.5507
102 | 2743829.0601 | 1249611.9841 | 2743876.4494 | 1249553.1233
103 | 2743876.4494 | 1249553.1233 | 2743886.3546 | 1249540.8204
104 | 2744149.1747 | 1249158.5461 | 2744142.5639 | 1249153.7338
105 | 2744149.1747 | 1249158.5461 | 2744146.3258 | 1249165.4742
106 | 2744149.1747 | 1249158.5461 | 2744152.2083 | 1249156.8183 | 2744160.5784 | 1249157.4446 | 2744163.3847 | 1249155.7446 | 2744178.0578 | 1249142.97
107 | 2744146.3258 | 1249165.4742 | 2744142.9759 | 1249173.6206 | 2744135.5851 | 1249180.2471 | 2744124.9801 | 1249184.2263 | 2744117.6262 | 1249185.3041 | 2744107.4529 | 1249182.4097 | 2744106.7209 | 1249182.135
108 | 2744243.438 | 1249098.3826 | 2744235.0933 | 1249102.2943 | 2744206.3133 | 1249122.9802 | 2744178.8438 | 1249142.2857 | 2744178.0578 | 1249142.97
109 | 2744035.59 | 1249267.7653 | 2744044.2741 | 1249250.5046 | 2744087.6749 | 1249174.9886
110 | 2744087.6749 | 1249174.9886 | 2744106.7209 | 1249182.135
111 | 2744035.59 | 1249267.7653 | 2744021.4363 | 1249264.2292 | 2744016.6689 | 1249267.3608
112 | 2744025.7005 | 1249310.9877 | 2744026.0238 | 1249305.1457 | 2744035.59 | 1249267.7653
113 | 2744307.2396 | 1249246.4185 | 2744305.4275 | 1249239.5568 | 2744304.2184 | 1249237.4031 | 2744302.0696 | 1249235.994 | 2744300.3593 | 1249235.4963 | 2744293.5969 | 1249234.6198 | 2744291.0528 | 1249233.0008 | 2744290.1284 | 1249231.2544 | 2744289.9609 | 1249228.8258 | 2744289.953 | 1249217.0591 | 2744289.0803 | 1249195.2062 | 2744278.3576 | 1249156.876 | 2744272.4825 | 1249142.5196 | 2744268.5012 | 1249132.6023 | 2744260.3216 | 1249121.9822 | 2744254.6281 | 1249108.2308 | 2744251.2117 | 1249099.9287 | 2744243.438 | 1249098.3826
114 | 2743531.0458 | 1249511.6371 | 2743531.8218 | 1249510.5735 | 2743537.3636 | 1249510.2542
115 | 2743653.0022 | 1249503.6914 | 2743644.2976 | 1249505.9715 | 2743625.7478 | 1249510.8488 | 2743586.7611 | 1249515.8757 | 2743553.1535 | 1249509.3445 | 2743537.3636 | 1249510.2542
116 | 2743531.0458 | 1249511.6371 | 2743191.1069 | 1249611.6967
117 | 2743653.0022 | 1249503.6914 | 2743660.2518 | 1249456.1337 | 2743660.9481 | 1249453.6298
118 | 2743663.4638 | 1249392.8524 | 2743666.6702 | 1249413.8831 | 2743665.2504 | 1249438.1602 | 2743660.9481 | 1249453.6298
119 | 2743697.9939 | 1249375.3952 | 2743663.4638 | 1249392.8524
120 | 2744015.9137 | 1249350.2979 | 2744025.7005 | 1249310.9877
121 | 2744025.7005 | 1249310.9877 | 2744075.9235 | 1249325.4661 | 2744082.0498 | 1249325.1592 | 2744087.2284 | 1249321.5817 | 2744105.8815 | 1249294.7421
122 | 2743886.3546 | 1249540.8204 | 2743894.1209 | 1249531.1742
123 | 2743989.8207 | 1249434.8543 | 2743992.8731 | 1249464.9678 | 2743991.8128 | 1249497.4229
124 | 2743989.8207 | 1249434.8543 | 2744012.3313 | 1249435.4906
125 | 2744015.9137 | 1249350.2979 | 2744011.9619 | 1249366.1834 | 2744004.206 | 1249388.5439
126 | 2743991.1602 | 1249517.3975 | 2743991.8128 | 1249497.4229
127 | 2744032.4836 | 1249452.3404 | 2744028.9256 | 1249457.0028 | 2744026.5584 | 1249458.6691 | 2744023.6119 | 1249458.9978 | 2744021.1098 | 1249457.8248 | 2744019.3245 | 1249456.0687 | 2744018.1728 | 1249453.416 | 2744016.5276 | 1249437.817 | 2744015.1551 | 1249435.8596 | 2744012.3313 | 1249435.4906
128 | 2744112.8581 | 1249284.7035 | 2744105.8815 | 1249294.7421
129 | 2743854.8757 | 1249452.2721 | 2743792.1911 | 1249419.6084
130 | 2743788.97 | 1249417.9299 | 2743792.1911 | 1249419.6084
131 | 2743854.8757 | 1249452.2721 | 2743855.4344 | 1249442.0205 | 2743852.3194 | 1249417.5665 | 2743845.6172 | 1249387.9573
132 | 2743788.97 | 1249417.9299 | 2743697.9939 | 1249375.3952
133 | 2743832.1051 | 1249347.2546 | 2743844.6241 | 1249383.5702 | 2743845.6172 | 1249387.9573
134 | 2743848.6269 | 1249343.4853 | 2743832.1051 | 1249347.2546
135 | 2743832.1051 | 1249347.2546 | 2743734.9705 | 1249273.3114
136 | 2743735.9268 | 1249271.4903 | 2743734.9705 | 1249273.3114
137 | 2743735.9268 | 1249271.4903 | 2743744.4357 | 1249255.2866 | 2743756.3004 | 1249238.9146 | 2743797.5672 | 1249195.7528 | 2743821.955 | 1249152.1133
138 | 2743823.7631 | 1249148.8778 | 2743821.955 | 1249152.1133
139 | 2743848.6269 | 1249343.4853 | 2743859.6422 | 1249340.3163 | 2743862.6182 | 1249338.776 | 2743863.9907 | 1249336.3849 | 2743864.5578 | 1249333.874 | 2743864.6143 | 1249331.551 | 2743860.044 | 1249315.3805
140 | 2743848.6269 | 1249343.4853 | 2743851.1756 | 1249346.7836 | 2743862.2613 | 1249352.5834
141 | 2743974.4419 | 1249709.4872 | 2743970.181 | 1249712.3039 | 2743964.9642 | 1249717.7823 | 2743962.0791 | 1249722.7391 | 2743961.3568 | 1249727.7625
142 | 2744077.0162 | 1249637.0179 | 2744068.8984 | 1249638.7778 | 2744045.9999 | 1249652.5676 | 2744023.2941 | 1249664.6494 | 2744004.1826 | 1249681.4453 | 2743996.3729 | 1249691.3538 | 2743988.5829 | 1249700.1394 | 2743974.4419 | 1249709.4872
143 | 2743948.7366 | 1249740.8765 | 2743956.5627 | 1249739.2984 | 2743959.0303 | 1249737.2231 | 2743960.57 | 1249733.2345 | 2743961.3568 | 1249727.7625
144 | 2744077.0162 | 1249637.0179 | 2744053.1589 | 1249601.7161 | 2743998.6577 | 1249535.2519 | 2743994.0929 | 1249526.9554 | 2743991.1602 | 1249517.3975
145 | 2743954.6566 | 1249717.6541 | 2743948.7366 | 1249740.8765
146 | 2743948.7366 | 1249740.8765 | 2743939.4335 | 1249776.1837 | 2743936.8287 | 1249785.4069
147 | 2743954.6566 | 1249717.6541 | 2743922.8452 | 1249731.4501 | 2743912.6099 | 1249737.0513 | 2743906.6922 | 1249742.1568
148 | 2743933.9505 | 1249795.5401 | 2743934.2927 | 1249794.387 | 2743936.8287 | 1249785.4069
149 | 2744032.4836 | 1249452.3404 | 2744164.7953 | 1249492.6856

## bus_geodata
| x | y | coords
0 | 2743950.9015 | 1248986.2295
1 | 2743967.805 | 1248982.7809
2 | 2743928.4841 | 1248986.8234
3 | 2743978.8005 | 1248978.0036
4 | 2743923.4684 | 1248999.3514
5 | 2743929.9153 | 1248978.9035
6 | 2743986.138 | 1248976.0577
7 | 2743957.6836 | 1248965.2848
8 | 2743921.6142 | 1249003.9829
9 | 2743934.2819 | 1248964.61
10 | 2744583.2529 | 1248694.5225
11 | 2744584.3243 | 1248691.4941
12 | 2744585.4998 | 1248750.7338
13 | 2744581.2139 | 1248755.7417
14 | 2744594.7701 | 1248739.669
15 | 2744499.2842 | 1248808.9574
16 | 2744613.1189 | 1248717.6654
17 | 2744421.1886 | 1248549.7487
18 | 2744441.0016 | 1248521.3725
19 | 2744412.0952 | 1248559.0836
20 | 2744443.5981 | 1248517.6538
21 | 2744428.2423 | 1248571.4921
22 | 2744395.0926 | 1248564.4226
23 | 2744450.7008 | 1248507.4812
24 | 2744346.5872 | 1248678.945
25 | 2743991.2053 | 1249038.8863
26 | 2743991.4888 | 1249015.152
27 | 2743988.6145 | 1249076.1782
28 | 2743988.1168 | 1248985.092
29 | 2743984.6076 | 1249134.0374
30 | 2743962.7251 | 1249075.139
31 | 2744006.2845 | 1248981.4076
32 | 2743982.2239 | 1249156.5113
33 | 2743954.4394 | 1249074.8804
34 | 2744644.2809 | 1248549.349
35 | 2744696.2381 | 1248623.2927
36 | 2744624.168 | 1248525.3881
37 | 2744708.8732 | 1248647.7029
38 | 2744608.8473 | 1248477.7397
39 | 2744712.9496 | 1248660.5743
40 | 2743972.8294 | 1249248.5005
41 | 2743972.4569 | 1249273.0527
42 | 2743987.3654 | 1249410.6275
43 | 2744436.1352 | 1248791.433
44 | 2744448.0426 | 1248799.7958
45 | 2744430.2475 | 1248831.8478
46 | 2744462.6291 | 1248804.5223
47 | 2744343.4725 | 1248674.9988
48 | 2744434.3425 | 1248848.7536
49 | 2744241.625 | 1248656.4233
50 | 2744325.4804 | 1248709.3148
51 | 2743953.9828 | 1249096.8528
52 | 2743953.5672 | 1249107.0255
53 | 2743956.196 | 1249112.9475
54 | 2743945.1127 | 1249074.131
55 | 2743932.996 | 1249077.8476
56 | 2743945.9829 | 1249063.1198
57 | 2744323.1318 | 1248713.7942
58 | 2744201.1739 | 1248664.137
59 | 2743980.0852 | 1248946.689
60 | 2744021.708 | 1248983.9885
61 | 2744615.8983 | 1248713.7764
62 | 2744211.5688 | 1248637.8162
63 | 2744149.5446 | 1248713.3191
64 | 2744137.133 | 1248728.1749
65 | 2744117.2259 | 1248821.3499
66 | 2744107.7661 | 1248815.4983
67 | 2744076.1822 | 1248767.6282
68 | 2743953.1539 | 1248815.0729
69 | 2744493.2703 | 1248922.7364
70 | 2744478.9841 | 1248898.1085
71 | 2744514.55 | 1248934.098
72 | 2744453.5787 | 1248885.0339
73 | 2743905.0147 | 1249113.9067
74 | 2743901.3566 | 1249118.3547
75 | 2743918.2253 | 1249083.8094
76 | 2743891.7285 | 1249092.0295
77 | 2743825.6212 | 1249127.7365
78 | 2743966.6306 | 1248879.5467
79 | 2743947.4946 | 1249044.5508
80 | 2743947.993 | 1249038.6121
81 | 2744029.6916 | 1248985.3244
82 | 2744038.9967 | 1248996.245
83 | 2744025.3235 | 1248954.3226
84 | 2744019.9939 | 1248896.0609
85 | 2744041.9564 | 1248951.4031
86 | 2743643.3319 | 1249758.2023
87 | 2743640.5094 | 1249741.423
88 | 2743809.4308 | 1249802.5614
89 | 2743646.3082 | 1249568.1703
90 | 2743647.3435 | 1249548.9445
91 | 2743841.572 | 1249617.4868
92 | 2743865.3262 | 1249621.2951
93 | 2743828.8626 | 1249615.4492
94 | 2743821.6308 | 1249704.5507
95 | 2743829.0601 | 1249611.9841
96 | 2743819.0482 | 1249772.7159
97 | 2743876.4494 | 1249553.1233
98 | 2744142.5639 | 1249153.7338
99 | 2744149.1747 | 1249158.5461
100 | 2744146.3258 | 1249165.4742
101 | 2744178.0578 | 1249142.97
102 | 2744087.6749 | 1249174.9886
103 | 2744035.59 | 1249267.7653
104 | 2744106.7209 | 1249182.135
105 | 2744243.438 | 1249098.3826
106 | 2743537.3636 | 1249510.2542
107 | 2743531.0458 | 1249511.6371
108 | 2743653.0022 | 1249503.6914
109 | 2743191.1069 | 1249611.6967
110 | 2743660.9481 | 1249453.6298
111 | 2743663.4638 | 1249392.8524
112 | 2744016.6689 | 1249267.3608
113 | 2744025.7005 | 1249310.9877
114 | 2743894.1209 | 1249531.1742
115 | 2743886.3546 | 1249540.8204
116 | 2743989.8207 | 1249434.8543
117 | 2744004.206 | 1249388.5439
118 | 2743991.8128 | 1249497.4229
119 | 2744012.3313 | 1249435.4906
120 | 2744015.9137 | 1249350.2979
121 | 2744105.8815 | 1249294.7421
122 | 2744112.8581 | 1249284.7035
123 | 2743792.1911 | 1249419.6084
124 | 2743854.8757 | 1249452.2721
125 | 2743788.97 | 1249417.9299
126 | 2743845.6172 | 1249387.9573
127 | 2743697.9939 | 1249375.3952
128 | 2743832.1051 | 1249347.2546
129 | 2743735.9268 | 1249271.4903
130 | 2743734.9705 | 1249273.3114
131 | 2743821.955 | 1249152.1133
132 | 2743823.7631 | 1249148.8778
133 | 2743848.6269 | 1249343.4853
134 | 2743860.044 | 1249315.3805
135 | 2743862.2613 | 1249352.5834
136 | 2744307.2396 | 1249246.4185
137 | 2743974.4419 | 1249709.4872
138 | 2743961.3568 | 1249727.7625
139 | 2744077.0162 | 1249637.0179
140 | 2743948.7366 | 1249740.8765
141 | 2743991.1602 | 1249517.3975
142 | 2743954.6566 | 1249717.6541
143 | 2743936.8287 | 1249785.4069
144 | 2743933.9505 | 1249795.5401
145 | 2743906.6922 | 1249742.1568
146 | 2743809.3337 | 1249118.099
147 | 2744164.7953 | 1249492.6856
148 | 2744032.4836 | 1249452.3404
149 | 2743974.6759 | 1248920.4427
150 | 2744063.8259 | 1248944.72
151 | 2744069.3954 | 1248943.8392

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1