## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3007-2_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_3007-2_1_3_node_118 | 0.4 | n |  | TRUE
2 | bus_LV_3007-2_1_3_node_124 | 0.4 | n |  | TRUE
3 | bus_LV_3007-2_1_3_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_3007-2_1_3_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_3007-2_1_3_node_119 | 0.4 | n |  | TRUE
6 | bus_LV_3007-2_1_3_node_130 | 0.4 | n |  | TRUE
7 | bus_LV_3007-2_1_3_node_131 | 0.4 | n |  | TRUE
8 | bus_LV_3007-2_1_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_3007-2_1_3_node_132 | 0.4 | n |  | TRUE
10 | bus_LV_3007-2_1_3_node_133 | 0.4 | n |  | TRUE
11 | bus_LV_3007-2_1_3_node_135 | 0.4 | n |  | TRUE
12 | bus_LV_3007-2_1_3_node_136 | 0.4 | n |  | TRUE
13 | bus_LV_3007-2_1_3_node_137 | 0.4 | n |  | TRUE
14 | bus_LV_3007-2_1_3_node_138 | 0.4 | n |  | TRUE
15 | bus_LV_3007-2_1_3_node_139 | 0.4 | n |  | TRUE
16 | bus_LV_3007-2_1_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3007-2_1_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3007-2_1_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3007-2_1_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_3007-2_1_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3007-2_1_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_3007-2_1_3_node_126 | 0.4 | n |  | TRUE
23 | bus_LV_3007-2_1_3_node_93 | 0.4 | n |  | TRUE
24 | bus_LV_3007-2_1_3_node_94 | 0.4 | n |  | TRUE
25 | bus_LV_3007-2_1_3_node_95 | 0.4 | n |  | TRUE
26 | bus_LV_3007-2_1_3_node_96 | 0.4 | n |  | TRUE
27 | bus_LV_3007-2_1_3_node_97 | 0.4 | n |  | TRUE
28 | bus_LV_3007-2_1_3_node_101 | 0.4 | n |  | TRUE
29 | bus_LV_3007-2_1_3_node_98 | 0.4 | n |  | TRUE
30 | bus_LV_3007-2_1_3_node_99 | 0.4 | n |  | TRUE
31 | bus_LV_3007-2_1_3_node_100 | 0.4 | n |  | TRUE
32 | bus_LV_3007-2_1_3_node_102 | 0.4 | n |  | TRUE
33 | bus_LV_3007-2_1_3_node_111 | 0.4 | n |  | TRUE
34 | bus_LV_3007-2_1_3_node_108 | 0.4 | n |  | TRUE
35 | bus_LV_3007-2_1_3_node_103 | 0.4 | n |  | TRUE
36 | bus_LV_3007-2_1_3_node_104 | 0.4 | n |  | TRUE
37 | bus_LV_3007-2_1_3_node_105 | 0.4 | n |  | TRUE
38 | bus_LV_3007-2_1_3_node_106 | 0.4 | n |  | TRUE
39 | bus_LV_3007-2_1_3_node_107 | 0.4 | n |  | TRUE
40 | bus_LV_3007-2_1_3_node_114 | 0.4 | n |  | TRUE
41 | bus_LV_3007-2_1_3_node_115 | 0.4 | n |  | TRUE
42 | bus_LV_3007-2_1_3_node_110 | 0.4 | n |  | TRUE
43 | bus_LV_3007-2_1_3_node_109 | 0.4 | n |  | TRUE
44 | bus_LV_3007-2_1_3_node_112 | 0.4 | n |  | TRUE
45 | bus_LV_3007-2_1_3_node_113 | 0.4 | n |  | TRUE
46 | bus_LV_3007-2_1_3_node_116 | 0.4 | n |  | TRUE
47 | bus_LV_3007-2_1_3_node_117 | 0.4 | n |  | TRUE
48 | bus_LV_3007-2_1_3_node_120 | 0.4 | n |  | TRUE
49 | bus_LV_3007-2_1_3_node_121 | 0.4 | n |  | TRUE
50 | bus_LV_3007-2_1_3_node_122 | 0.4 | n |  | TRUE
51 | bus_LV_3007-2_1_3_node_123 | 0.4 | n |  | TRUE
52 | bus_LV_3007-2_1_3_node_125 | 0.4 | n |  | TRUE
53 | bus_LV_3007-2_1_3_node_127 | 0.4 | n |  | TRUE
54 | bus_MV_39_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3007-2_1_3_load_128 | 0 | 0.0068512 | 0.0017171 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3007-2_1_3_load_118 | 1 | 0.04997 | 0.012524 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3007-2_1_3_load_124 | 2 | 0.017216 | 0.0043146 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3007-2_1_3_load_129 | 3 | 0.012458 | 0.0031222 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3007-2_1_3_load_119 | 5 | 0.010598 | 0.0026561 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3007-2_1_3_load_130 | 6 | 0.0081685 | 0.0020472 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3007-2_1_3_load_131 | 7 | 0.0065024 | 0.0016296 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3007-2_1_3_load_132 | 9 | 0.021693 | 0.0054367 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3007-2_1_3_load_133 | 10 | 0.0054429 | 0.0013641 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3007-2_1_3_load_135 | 11 | 0.0058535 | 0.001467 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3007-2_1_3_load_136 | 12 | 0.0066711 | 0.0016719 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3007-2_1_3_load_137 | 13 | 0.0008647 | 0.00021672 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3007-2_1_3_load_138 | 14 | 0.0011136 | 0.00027908 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3007-2_1_3_load_139 | 15 | 0.0017699 | 0.00044358 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3007-2_1_3_load_11 | 16 | 0.0094836 | 0.0023768 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3007-2_1_3_load_13 | 18 | 0.011389 | 0.0028543 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3007-2_1_3_load_18 | 21 | 0.0052376 | 0.0013127 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3007-2_1_3_load_126 | 22 | 0.0012896 | 0.00032319 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3007-2_1_3_load_93 | 23 | 0.0018481 | 0.00046318 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3007-2_1_3_load_94 | 24 | 0.0015506 | 0.00038863 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3007-2_1_3_load_95 | 25 | 0.001872 | 0.00046917 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3007-2_1_3_load_96 | 26 | 0.0019425 | 0.00048682 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3007-2_1_3_load_97 | 27 | 0.00063724 | 0.00015971 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3007-2_1_3_load_101 | 28 | 0.0032694 | 0.00081939 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3007-2_1_3_load_98 | 29 | 0.0015917 | 0.00039891 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3007-2_1_3_load_99 | 30 | 0.0022601 | 0.00056645 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3007-2_1_3_load_100 | 31 | 0.00077581 | 0.00019444 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3007-2_1_3_load_102 | 32 | 0.003217 | 0.00080626 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3007-2_1_3_load_111 | 33 | 0.0016378 | 0.00041047 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3007-2_1_3_load_108 | 34 | 0.0023135 | 0.00057982 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3007-2_1_3_load_103 | 35 | 0.0023288 | 0.00058366 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3007-2_1_3_load_104 | 36 | 0.0039121 | 0.00098048 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3007-2_1_3_load_107 | 39 | 0.0047671 | 0.0011947 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3007-2_1_3_load_114 | 40 | 0.0013297 | 0.00033326 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3007-2_1_3_load_115 | 41 | 0.00094432 | 0.00023667 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3007-2_1_3_load_110 | 42 | 0.0048165 | 0.0012071 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3007-2_1_3_load_109 | 43 | 0.0021502 | 0.0005389 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3007-2_1_3_load_112 | 44 | 0.0051562 | 0.0012923 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3007-2_1_3_load_113 | 45 | 0.0029965 | 0.00075099 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3007-2_1_3_load_116 | 46 | 0.0014873 | 0.00037276 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3007-2_1_3_load_120 | 48 | 0.0019074 | 0.00047804 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3007-2_1_3_load_121 | 49 | 0.00099258 | 0.00024876 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3007-2_1_3_load_122 | 50 | 0.076374 | 0.019141 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3007-2_1_3_load_123 | 51 | 0.0017887 | 0.00044828 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3007-2_1_3_load_127 | 53 | 0.0018853 | 0.00047249 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3007-2_1_3_line_0 |  | 0 | 1 | 0.001855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_3007-2_1_3_line_1 |  | 0 | 2 | 0.021007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_3007-2_1_3_line_2 |  | 1 | 47 | 0.011784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3007-2_1_3_line_3 |  | 2 | 50 | 0.0011035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_3007-2_1_3_line_4 |  | 3 | 4 | 0.0022924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3007-2_1_3_line_5 |  | 3 | 5 | 0.012473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3007-2_1_3_line_6 |  | 4 | 6 | 0.011283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3007-2_1_3_line_7 |  | 5 | 47 | 0.015506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3007-2_1_3_line_8 |  | 6 | 7 | 0.013601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3007-2_1_3_line_9 |  | 7 | 8 | 0.00872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3007-2_1_3_line_10 |  | 8 | 19 | 0.020364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3007-2_1_3_line_11 |  | 8 | 20 | 0.040543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3007-2_1_3_line_12 |  | 9 | 10 | 0.08367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3007-2_1_3_line_13 |  | 10 | 11 | 0.034259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3007-2_1_3_line_14 |  | 11 | 12 | 0.028995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3007-2_1_3_line_15 |  | 12 | 13 | 0.016233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3007-2_1_3_line_16 |  | 13 | 14 | 0.016883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3007-2_1_3_line_17 |  | 14 | 15 | 0.029689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3007-2_1_3_line_18 |  | 15 | 22 | 0.027007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3007-2_1_3_line_19 |  | 16 | 17 | 0.025702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3007-2_1_3_line_20 |  | 17 | 18 | 0.026454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3007-2_1_3_line_21 |  | 18 | 19 | 0.030939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3007-2_1_3_line_22 |  | 20 | 21 | 0.064405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3007-2_1_3_line_23 |  | 22 | 52 | 0.013044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3007-2_1_3_line_24 |  | 23 | 24 | 0.037139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3007-2_1_3_line_25 |  | 23 | 25 | 0.024715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3007-2_1_3_line_26 |  | 24 | 26 | 0.042747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3007-2_1_3_line_27 |  | 25 | 27 | 0.01681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3007-2_1_3_line_28 |  | 26 | 28 | 0.029079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3007-2_1_3_line_29 |  | 27 | 29 | 0.0069939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3007-2_1_3_line_30 |  | 28 | 33 | 0.029816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3007-2_1_3_line_31 |  | 29 | 30 | 0.0050605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3007-2_1_3_line_32 |  | 30 | 31 | 0.012945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3007-2_1_3_line_33 |  | 31 | 32 | 0.026263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3007-2_1_3_line_34 |  | 32 | 34 | 0.0013656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3007-2_1_3_line_35 |  | 34 | 43 | 0.020013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3007-2_1_3_line_36 |  | 35 | 36 | 0.061344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3007-2_1_3_line_37 |  | 35 | 37 | 0.080922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3007-2_1_3_line_38 |  | 36 | 38 | 0.034785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3007-2_1_3_line_39 |  | 37 | 39 | 0.010632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3007-2_1_3_line_40 |  | 38 | 40 | 0.0072696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3007-2_1_3_line_41 |  | 38 | 41 | 0.020136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3007-2_1_3_line_42 |  | 39 | 42 | 0.024284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3007-2_1_3_line_43 |  | 40 | 45 | 0.039976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3007-2_1_3_line_44 |  | 41 | 46 | 0.018807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3007-2_1_3_line_45 |  | 42 | 43 | 0.019818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3007-2_1_3_line_46 |  | 44 | 45 | 0.12859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3007-2_1_3_line_47 |  | 46 | 47 | 0.10728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3007-2_1_3_line_48 |  | 48 | 49 | 0.02351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_3007-2_1_3_line_49 |  | 48 | 50 | 0.04839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_3007-2_1_3_line_50 |  | 49 | 51 | 0.024632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3007-2_1_3_line_51 |  | 51 | 52 | 0.029119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3007-2_1_3_line_52 |  | 52 | 53 | 0.019951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3007-2_1_3_trafo_121 | 0.63 MVA 20/0.4 kV | 54 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2739668.4986 | 1247578.8458 | 2739667.4593 | 1247578.8831 | 2739666.7009 | 1247578.5847
1 | 2739668.4986 | 1247578.8458 | 2739683.1742 | 1247578.3194 | 2739689.2011 | 1247576.4104
2 | 2739655.7352 | 1247574.2694 | 2739666.7009 | 1247578.5847
3 | 2739689.2011 | 1247576.4104 | 2739690.2531 | 1247576.0772
4 | 2739629.3617 | 1247589.1286 | 2739631.3591 | 1247588.0037
5 | 2739631.3591 | 1247588.0037 | 2739640.4118 | 1247582.9053 | 2739642.2269 | 1247581.8824
6 | 2739629.3617 | 1247589.1286 | 2739619.6001 | 1247594.7873
7 | 2739655.7352 | 1247574.2694 | 2739642.2269 | 1247581.8824
8 | 2739619.6001 | 1247594.7873 | 2739607.8332 | 1247601.6085
9 | 2739600.2892 | 1247605.9817 | 2739607.8332 | 1247601.6085
10 | 2739588.0901 | 1247591.0587 | 2739588.3007 | 1247593.9885 | 2739589.2144 | 1247596.5791 | 2739592.4705 | 1247600.7707 | 2739596.6539 | 1247603.4494 | 2739600.2892 | 1247605.9817
11 | 2739600.2892 | 1247605.9817 | 2739574.8484 | 1247621.0299 | 2739564.745 | 1247625.5629
12 | 2740030.8702 | 1247672.4762 | 2739984.3085 | 1247623.74 | 2739974.5791 | 1247614.3462 | 2739972.3413 | 1247612.7616
13 | 2739941.3803 | 1247599.1574 | 2739961.4992 | 1247605.0846 | 2739972.3413 | 1247612.7616
14 | 2739941.3803 | 1247599.1574 | 2739925.5481 | 1247594.4931 | 2739913.569 | 1247590.9587
15 | 2739913.569 | 1247590.9587 | 2739897.9997 | 1247586.365
16 | 2739897.9997 | 1247586.365 | 2739881.8067 | 1247581.5874
17 | 2739881.8067 | 1247581.5874 | 2739861.7128 | 1247575.6587 | 2739853.1917 | 1247573.7206
18 | 2739853.1917 | 1247573.7206 | 2739826.857 | 1247567.7309
19 | 2739617.0565 | 1247541.5176 | 2739622.6784 | 1247531.5742 | 2739631.0078 | 1247519.9755
20 | 2739617.0565 | 1247541.5176 | 2739603.8281 | 1247564.4271
21 | 2739588.0901 | 1247591.0587 | 2739592.2026 | 1247584.5607 | 2739603.8281 | 1247564.4271
22 | 2739564.745 | 1247625.5629 | 2739526.7707 | 1247669.7318 | 2739522.6249 | 1247674.282
23 | 2739814.1379 | 1247564.838 | 2739826.857 | 1247567.7309
24 | 2740070.5964 | 1247380.6087 | 2740100.3576 | 1247388.4543 | 2740106.046 | 1247391.3007
25 | 2740070.5964 | 1247380.6087 | 2740049.4726 | 1247375.04 | 2740046.6036 | 1247375.0997
26 | 2740106.046 | 1247391.3007 | 2740144.2741 | 1247410.4294
27 | 2740046.6036 | 1247375.0997 | 2740029.7968 | 1247375.449
28 | 2740144.2741 | 1247410.4294 | 2740152.1929 | 1247414.3918 | 2740170.0185 | 1247423.9459
29 | 2740022.8044 | 1247375.5943 | 2740029.7968 | 1247375.449
30 | 2740192.7111 | 1247442.1305 | 2740189.747 | 1247439.0243 | 2740187.2139 | 1247434.627 | 2740184.9499 | 1247431.9488 | 2740170.0185 | 1247423.9459
31 | 2740022.8044 | 1247375.5943 | 2740017.745 | 1247375.6995
32 | 2740017.745 | 1247375.6995 | 2740004.8023 | 1247375.9685
33 | 2739978.5448 | 1247376.5142 | 2740004.8023 | 1247375.9685
34 | 2739977.1794 | 1247376.5426 | 2739978.5448 | 1247376.5142
35 | 2739977.1794 | 1247376.5426 | 2739960.0818 | 1247376.8979 | 2739957.3613 | 1247377.9356
36 | 2739846.3753 | 1247429.1994 | 2739836.0904 | 1247445.3464 | 2739823.6849 | 1247461.9135 | 2739811.8948 | 1247473.535 | 2739808.0451 | 1247476.6427
37 | 2739907.3627 | 1247378.0994 | 2739886.1212 | 1247389.3197 | 2739870.6217 | 1247399.9415 | 2739862.0861 | 1247408.7705 | 2739851.4158 | 1247421.2858 | 2739846.3753 | 1247429.1994
38 | 2739779.6728 | 1247496.6854 | 2739797.1975 | 1247485.3993 | 2739808.0451 | 1247476.6427
39 | 2739907.3627 | 1247378.0994 | 2739915.4733 | 1247384.7079 | 2739915.6384 | 1247384.7498
40 | 2739779.6728 | 1247496.6854 | 2739785.7914 | 1247500.611
41 | 2739779.6728 | 1247496.6854 | 2739770.6112 | 1247502.5216 | 2739762.683 | 1247507.4924
42 | 2739915.6384 | 1247384.7498 | 2739929.9627 | 1247388.3865 | 2739938.8441 | 1247384.9988
43 | 2739819.8375 | 1247481.1284 | 2739793.117 | 1247499.8163 | 2739785.7914 | 1247500.611 | 2739785.7914 | 1247500.611
44 | 2739762.683 | 1247507.4924 | 2739746.7492 | 1247517.4826
45 | 2739957.3613 | 1247377.9356 | 2739938.8441 | 1247384.9988
46 | 2739933.0389 | 1247444.36 | 2739919.8551 | 1247447.4576 | 2739915.2095 | 1247451.5517 | 2739910.4071 | 1247462.6041 | 2739899.4214 | 1247467.0378 | 2739889.5398 | 1247465.9926 | 2739877.5816 | 1247463.6084 | 2739855.2049 | 1247462.435 | 2739841.9651 | 1247466.3264 | 2739822.0053 | 1247479.6123 | 2739819.8375 | 1247481.1284
47 | 2739655.7352 | 1247574.2694 | 2739688.781 | 1247553.6401 | 2739726.319 | 1247530.292 | 2739746.7492 | 1247517.4826
48 | 2739736.8867 | 1247563.5711 | 2739760.394 | 1247563.9566
49 | 2739736.8867 | 1247563.5711 | 2739735.2897 | 1247563.5449 | 2739717.2576 | 1247567.5237 | 2739690.2531 | 1247576.0772
50 | 2739760.394 | 1247563.9566 | 2739785.023 | 1247564.3605
51 | 2739814.1379 | 1247564.838 | 2739785.023 | 1247564.3605
52 | 2739814.1379 | 1247564.838 | 2739807.3494 | 1247574.2532 | 2739800.042 | 1247578.2811

## bus_geodata
| x | y | coords
0 | 2739668.4986 | 1247578.8458
1 | 2739666.7009 | 1247578.5847
2 | 2739689.2011 | 1247576.4104
3 | 2739631.3591 | 1247588.0037
4 | 2739629.3617 | 1247589.1286
5 | 2739642.2269 | 1247581.8824
6 | 2739619.6001 | 1247594.7873
7 | 2739607.8332 | 1247601.6085
8 | 2739600.2892 | 1247605.9817
9 | 2740030.8702 | 1247672.4762
10 | 2739972.3413 | 1247612.7616
11 | 2739941.3803 | 1247599.1574
12 | 2739913.569 | 1247590.9587
13 | 2739897.9997 | 1247586.365
14 | 2739881.8067 | 1247581.5874
15 | 2739853.1917 | 1247573.7206
16 | 2739631.0078 | 1247519.9755
17 | 2739617.0565 | 1247541.5176
18 | 2739603.8281 | 1247564.4271
19 | 2739588.0901 | 1247591.0587
20 | 2739564.745 | 1247625.5629
21 | 2739522.6249 | 1247674.282
22 | 2739826.857 | 1247567.7309
23 | 2740070.5964 | 1247380.6087
24 | 2740106.046 | 1247391.3007
25 | 2740046.6036 | 1247375.0997
26 | 2740144.2741 | 1247410.4294
27 | 2740029.7968 | 1247375.449
28 | 2740170.0185 | 1247423.9459
29 | 2740022.8044 | 1247375.5943
30 | 2740017.745 | 1247375.6995
31 | 2740004.8023 | 1247375.9685
32 | 2739978.5448 | 1247376.5142
33 | 2740192.7111 | 1247442.1305
34 | 2739977.1794 | 1247376.5426
35 | 2739846.3753 | 1247429.1994
36 | 2739808.0451 | 1247476.6427
37 | 2739907.3627 | 1247378.0994
38 | 2739779.6728 | 1247496.6854
39 | 2739915.6384 | 1247384.7498
40 | 2739785.7914 | 1247500.611
41 | 2739762.683 | 1247507.4924
42 | 2739938.8441 | 1247384.9988
43 | 2739957.3613 | 1247377.9356
44 | 2739933.0389 | 1247444.36
45 | 2739819.8375 | 1247481.1284
46 | 2739746.7492 | 1247517.4826
47 | 2739655.7352 | 1247574.2694
48 | 2739736.8867 | 1247563.5711
49 | 2739760.394 | 1247563.9566
50 | 2739690.2531 | 1247576.0772
51 | 2739785.0231 | 1247564.3605
52 | 2739814.1379 | 1247564.838
53 | 2739800.042 | 1247578.2811
54 | 2739814.1379 | 1247564.838

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1