## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3007-3_1_2_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_3007-3_1_2_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_3007-3_1_2_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_3007-3_1_2_node_27 | 0.4 | n |  | TRUE
4 | bus_LV_3007-3_1_2_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_3007-3_1_2_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_3007-3_1_2_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_3007-3_1_2_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_3007-3_1_2_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_3007-3_1_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_3007-3_1_2_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_3007-3_1_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_3007-3_1_2_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_3007-3_1_2_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_3007-3_1_2_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_3007-3_1_2_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_3007-3_1_2_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_3007-3_1_2_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_3007-3_1_2_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_3007-3_1_2_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_3007-3_1_2_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_3007-3_1_2_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_3007-3_1_2_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_3007-3_1_2_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_3007-3_1_2_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_3007-3_1_2_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_3007-3_1_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_3007-3_1_2_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_3007-3_1_2_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_3007-3_1_2_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_3007-3_1_2_node_70 | 0.4 | n |  | TRUE
31 | bus_LV_3007-3_1_2_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_3007-3_1_2_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_3007-3_1_2_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_3007-3_1_2_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_3007-3_1_2_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_3007-3_1_2_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_3007-3_1_2_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_3007-3_1_2_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_3007-3_1_2_node_214 | 0.4 | n |  | TRUE
40 | bus_LV_3007-3_1_2_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_3007-3_1_2_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_3007-3_1_2_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_3007-3_1_2_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_3007-3_1_2_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_3007-3_1_2_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_3007-3_1_2_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_3007-3_1_2_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_3007-3_1_2_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_3007-3_1_2_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_3007-3_1_2_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_3007-3_1_2_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_3007-3_1_2_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_3007-3_1_2_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_3007-3_1_2_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_3007-3_1_2_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_3007-3_1_2_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_3007-3_1_2_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_3007-3_1_2_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_3007-3_1_2_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_3007-3_1_2_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_3007-3_1_2_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_3007-3_1_2_node_196 | 0.4 | n |  | TRUE
63 | bus_LV_3007-3_1_2_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_3007-3_1_2_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_3007-3_1_2_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_3007-3_1_2_node_83 | 0.4 | n |  | TRUE
67 | bus_LV_3007-3_1_2_node_215 | 0.4 | n |  | TRUE
68 | bus_LV_3007-3_1_2_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_3007-3_1_2_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_3007-3_1_2_node_80 | 0.4 | n |  | TRUE
71 | bus_LV_3007-3_1_2_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_3007-3_1_2_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_3007-3_1_2_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_3007-3_1_2_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_3007-3_1_2_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_3007-3_1_2_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_3007-3_1_2_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_3007-3_1_2_node_82 | 0.4 | n |  | TRUE
79 | bus_MV_39_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3007-3_1_2_load_5 | 0 | 0.0027071 | 0.00067846 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3007-3_1_2_load_8 | 2 | 0.01143 | 0.0028646 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3007-3_1_2_load_54 | 6 | 0.024058 | 0.0060294 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3007-3_1_2_load_10 | 7 | 0.0095765 | 0.0024001 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3007-3_1_2_load_11 | 8 | 0.002038 | 0.00051078 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3007-3_1_2_load_12 | 9 | 0.0095001 | 0.0023809 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3007-3_1_2_load_31 | 10 | 0.0018321 | 0.00045917 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3007-3_1_2_load_14 | 11 | 0.0024418 | 0.00061198 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3007-3_1_2_load_15 | 12 | 0.0013804 | 0.00034595 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3007-3_1_2_load_17 | 14 | 0.0012343 | 0.00030933 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3007-3_1_2_load_18 | 15 | 0.0031419 | 0.00078743 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3007-3_1_2_load_19 | 16 | 0.002768 | 0.00069373 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3007-3_1_2_load_32 | 17 | 0.0011295 | 0.00028307 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3007-3_1_2_load_30 | 18 | 0.0033055 | 0.00082845 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3007-3_1_2_load_22 | 19 | 0.0012139 | 0.00030424 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3007-3_1_2_load_20 | 20 | 0.0036696 | 0.0009197 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3007-3_1_2_load_21 | 21 | 0.0011206 | 0.00028085 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3007-3_1_2_load_23 | 22 | 0.0012319 | 0.00030874 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3007-3_1_2_load_49 | 23 | 0.0011992 | 0.00030055 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3007-3_1_2_load_24 | 24 | 0.023052 | 0.0057775 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3007-3_1_2_load_29 | 28 | 0.0065235 | 0.001635 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3007-3_1_2_load_71 | 29 | 0.0079646 | 0.0019961 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3007-3_1_2_load_70 | 30 | 0.0015474 | 0.00038782 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3007-3_1_2_load_33 | 31 | 0.0035237 | 0.00088312 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3007-3_1_2_load_34 | 32 | 0.0041241 | 0.0010336 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3007-3_1_2_load_36 | 34 | 0.0050675 | 0.00127 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3007-3_1_2_load_37 | 35 | 0.0039008 | 0.00097764 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3007-3_1_2_load_53 | 38 | 0.0013866 | 0.00034751 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3007-3_1_2_load_214 | 39 | 0.0076735 | 0.0019232 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3007-3_1_2_load_39 | 41 | 0.0014541 | 0.00036442 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3007-3_1_2_load_40 | 42 | 0.0020064 | 0.00050285 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3007-3_1_2_load_41 | 43 | 0.00088453 | 0.00022168 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3007-3_1_2_load_42 | 44 | 0.0017629 | 0.00044182 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3007-3_1_2_load_76 | 46 | 0.0024361 | 0.00061055 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3007-3_1_2_load_44 | 47 | 0.0016564 | 0.00041514 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3007-3_1_2_load_45 | 48 | 0.0019441 | 0.00048723 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3007-3_1_2_load_47 | 50 | 0.0012087 | 0.00030292 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3007-3_1_2_load_51 | 52 | 0.0015972 | 0.00040029 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3007-3_1_2_load_69 | 53 | 0.0028614 | 0.00071713 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3007-3_1_2_load_68 | 54 | 0.0012975 | 0.00032518 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3007-3_1_2_load_52 | 55 | 0.0011644 | 0.00029182 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3007-3_1_2_load_55 | 56 | 0.00039774 | 9.9684e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3007-3_1_2_load_56 | 57 | 0.00035043 | 8.7825e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3007-3_1_2_load_58 | 59 | 0.00035424 | 8.8782e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3007-3_1_2_load_59 | 60 | 0.00085475 | 0.00021422 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3007-3_1_2_load_196 | 62 | 0.0037232 | 0.00093313 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3007-3_1_2_load_60 | 63 | 0.0034471 | 0.00086392 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3007-3_1_2_load_63 | 64 | 0.007322 | 0.0018351 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3007-3_1_2_load_215 | 67 | 0.0048864 | 0.0012246 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3007-3_1_2_load_74 | 69 | 0.0052856 | 0.0013247 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3007-3_1_2_load_80 | 70 | 0.0013694 | 0.0003432 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3007-3_1_2_load_77 | 71 | 0.0026725 | 0.00066979 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3007-3_1_2_load_78 | 72 | 0.00075301 | 0.00018872 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3007-3_1_2_load_72 | 73 | 0.0017544 | 0.00043969 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3007-3_1_2_load_73 | 74 | 0.0088267 | 0.0022122 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3007-3_1_2_load_75 | 75 | 0.00041928 | 0.00010508 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3007-3_1_2_load_79 | 76 | 0.0025566 | 0.00064074 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3007-3_1_2_load_81 | 77 | 0.0013087 | 0.00032799 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3007-3_1_2_load_82 | 78 | 0.0091791 | 0.0023005 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3007-3_1_2_line_0 |  | 0 | 1 | 0.01359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3007-3_1_2_line_1 |  | 1 | 2 | 0.052355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3007-3_1_2_line_2 |  | 2 | 3 | 0.018173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3007-3_1_2_line_3 |  | 3 | 27 | 0.022773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3007-3_1_2_line_4 |  | 3 | 29 | 0.11475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3007-3_1_2_line_5 |  | 3 | 25 | 0.013369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3007-3_1_2_line_6 |  | 4 | 5 | 0.003872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3007-3_1_2_line_7 |  | 4 | 6 | 0.063983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3007-3_1_2_line_8 |  | 5 | 10 | 0.011449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3007-3_1_2_line_9 |  | 5 | 8 | 0.028602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3007-3_1_2_line_10 |  | 6 | 27 | 0.023957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3007-3_1_2_line_11 |  | 7 | 8 | 0.011826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3007-3_1_2_line_12 |  | 7 | 9 | 0.018702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3007-3_1_2_line_13 |  | 10 | 18 | 0.025847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3007-3_1_2_line_14 |  | 11 | 12 | 0.02053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3007-3_1_2_line_15 |  | 11 | 13 | 0.010985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3007-3_1_2_line_16 |  | 12 | 14 | 0.0078494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3007-3_1_2_line_17 |  | 13 | 15 | 0.020046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_3007-3_1_2_line_18 |  | 13 | 16 | 0.0049287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_3007-3_1_2_line_19 |  | 14 | 17 | 0.016993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3007-3_1_2_line_20 |  | 15 | 18 | 0.0058172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3007-3_1_2_line_21 |  | 16 | 19 | 0.024471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_3007-3_1_2_line_22 |  | 17 | 30 | 0.0018527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3007-3_1_2_line_23 |  | 19 | 20 | 0.0051061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_3007-3_1_2_line_24 |  | 20 | 21 | 0.015151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_3007-3_1_2_line_25 |  | 21 | 22 | 0.020372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_3007-3_1_2_line_26 |  | 22 | 23 | 0.019177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_3007-3_1_2_line_27 |  | 23 | 49 | 0.0081915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3007-3_1_2_line_28 |  | 24 | 25 | 0.027445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3007-3_1_2_line_29 |  | 26 | 27 | 0.043863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3007-3_1_2_line_30 |  | 26 | 28 | 0.035146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3007-3_1_2_line_31 |  | 29 | 73 | 0.20078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3007-3_1_2_line_32 |  | 30 | 72 | 0.01139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3007-3_1_2_line_33 |  | 31 | 32 | 0.0055911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3007-3_1_2_line_34 |  | 31 | 33 | 0.11812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3007-3_1_2_line_35 |  | 32 | 34 | 0.055309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3007-3_1_2_line_36 |  | 33 | 35 | 0.046344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3007-3_1_2_line_37 |  | 33 | 36 | 0.11012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3007-3_1_2_line_38 |  | 34 | 37 | 0.15972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3007-3_1_2_line_39 |  | 35 | 38 | 0.0039833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3007-3_1_2_line_40 |  | 36 | 39 | 0.033413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3007-3_1_2_line_41 |  | 36 | 40 | 0.11859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3007-3_1_2_line_42 |  | 37 | 70 | 0.044746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3007-3_1_2_line_43 |  | 37 | 61 | 0.060922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3007-3_1_2_line_44 |  | 38 | 45 | 0.02205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3007-3_1_2_line_45 |  | 40 | 64 | 0.048193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3007-3_1_2_line_46 |  | 40 | 65 | 0.1043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3007-3_1_2_line_47 |  | 40 | 63 | 0.030361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3007-3_1_2_line_48 |  | 41 | 42 | 0.019296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3007-3_1_2_line_49 |  | 41 | 43 | 0.0056381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3007-3_1_2_line_50 |  | 42 | 44 | 0.0059616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3007-3_1_2_line_51 |  | 43 | 45 | 0.0065489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3007-3_1_2_line_52 |  | 45 | 46 | 0.021833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3007-3_1_2_line_53 |  | 46 | 71 | 0.024005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3007-3_1_2_line_54 |  | 47 | 48 | 0.018774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_3007-3_1_2_line_55 |  | 47 | 49 | 0.012049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_3007-3_1_2_line_56 |  | 48 | 50 | 0.010209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_3007-3_1_2_line_57 |  | 49 | 51 | 0.02751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3007-3_1_2_line_58 |  | 50 | 52 | 0.015147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_3007-3_1_2_line_59 |  | 51 | 53 | 0.057141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3007-3_1_2_line_60 |  | 51 | 54 | 0.080605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3007-3_1_2_line_61 |  | 52 | 55 | 0.0045723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_3007-3_1_2_line_62 |  | 53 | 71 | 0.01744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3007-3_1_2_line_63 |  | 56 | 57 | 0.001977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3007-3_1_2_line_64 |  | 56 | 58 | 0.020934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3007-3_1_2_line_65 |  | 57 | 59 | 0.010734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3007-3_1_2_line_66 |  | 58 | 60 | 0.13026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3007-3_1_2_line_67 |  | 59 | 61 | 0.033588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3007-3_1_2_line_68 |  | 60 | 62 | 0.0056364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3007-3_1_2_line_69 |  | 61 | 68 | 0.017043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3007-3_1_2_line_70 |  | 65 | 66 | 0.044942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3007-3_1_2_line_71 |  | 65 | 67 | 0.27941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3007-3_1_2_line_72 |  | 66 | 78 | 0.014148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3007-3_1_2_line_73 |  | 68 | 69 | 0.12566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3007-3_1_2_line_74 |  | 69 | 75 | 0.12651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3007-3_1_2_line_75 |  | 70 | 77 | 0.013657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3007-3_1_2_line_76 |  | 72 | 76 | 0.0048641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3007-3_1_2_line_77 |  | 73 | 74 | 0.0092363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3007-3_1_2_trafo_52 | 0.63 MVA 20/0.4 kV | 79 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2739869.9909 | 1246592.1336 | 2739875.7409 | 1246589.6224 | 2739881.603 | 1246585.2456
1 | 2739869.9909 | 1246592.1336 | 2739869.0579 | 1246598.6842 | 2739873.1953 | 1246607.1784 | 2739879.2894 | 1246613.4612 | 2739861.8811 | 1246634.798
2 | 2739850.3929 | 1246648.8787 | 2739861.8811 | 1246634.798
3 | 2739850.3929 | 1246648.8787 | 2739847.5616 | 1246643.963 | 2739831.1596 | 1246638.9495
4 | 2739850.3929 | 1246648.8787 | 2739865.5371 | 1246662.0367 | 2739875.2805 | 1246669.9515 | 2739893.7966 | 1246684.3236 | 2739915.3984 | 1246696.3552 | 2739931.4164 | 1246704.8187 | 2739939.0177 | 1246709.0352 | 2739945.0185 | 1246712.9453
5 | 2739849.2549 | 1246662.1973 | 2739850.3929 | 1246648.8787
6 | 2739797.784 | 1246580.754 | 2739798.9362 | 1246584.4512
7 | 2739798.9362 | 1246584.4512 | 2739798.3434 | 1246587.7959 | 2739786.8776 | 1246609.3119 | 2739787.6234 | 1246619.9836 | 2739791.0551 | 1246626.6817 | 2739808.2507 | 1246631.9417
8 | 2739797.784 | 1246580.754 | 2739797.5792 | 1246576.9457 | 2739794.901 | 1246569.7959
9 | 2739797.784 | 1246580.754 | 2739784.1038 | 1246597.7916 | 2739779.9544 | 1246603.1177
10 | 2739831.1596 | 1246638.9495 | 2739808.2507 | 1246631.9417
11 | 2739779.9544 | 1246603.1177 | 2739772.6865 | 1246612.4469
12 | 2739771.1133 | 1246631.0824 | 2739772.6865 | 1246612.4469
13 | 2739794.901 | 1246569.7959 | 2739785.8344 | 1246545.5913
14 | 2739756.389 | 1246545.2211 | 2739760.053 | 1246540.8951 | 2739768.6372 | 1246528.7641 | 2739768.6372 | 1246528.7641
15 | 2739776.762 | 1246521.3711 | 2739768.6372 | 1246528.7641
16 | 2739756.389 | 1246545.2211 | 2739751.316 | 1246551.2109
17 | 2739776.762 | 1246521.3711 | 2739783.7939 | 1246540.1437
18 | 2739776.762 | 1246521.3711 | 2739774.9499 | 1246516.7876
19 | 2739741.8123 | 1246564.9523 | 2739742.8026 | 1246561.2627 | 2739751.316 | 1246551.2109
20 | 2739783.7939 | 1246540.1437 | 2739785.8344 | 1246545.5913
21 | 2739767.2313 | 1246493.624 | 2739769.5588 | 1246503.1514 | 2739774.9499 | 1246516.7876
22 | 2739741.8123 | 1246564.9523 | 2739741.332 | 1246566.7417
23 | 2739767.2313 | 1246493.624 | 2739766.0195 | 1246488.6637
24 | 2739762.4241 | 1246473.946 | 2739766.0195 | 1246488.6637
25 | 2739762.4241 | 1246473.946 | 2739757.5896 | 1246454.156
26 | 2739753.0387 | 1246435.5271 | 2739757.5896 | 1246454.156
27 | 2739751.0948 | 1246427.5696 | 2739753.0387 | 1246435.5271
28 | 2739849.2549 | 1246662.1973 | 2739842.1174 | 1246668.4236 | 2739836.1961 | 1246685.3937
29 | 2739831.1596 | 1246638.9495 | 2739826.7844 | 1246652.0583 | 2739808.1368 | 1246663.429 | 2739803.0707 | 1246669.9489
30 | 2739777.4115 | 1246687.9827 | 2739783.9581 | 1246690.139 | 2739789.9859 | 1246687.056 | 2739803.0707 | 1246669.9489
31 | 2739945.0185 | 1246712.9453 | 2740144.9318 | 1246731.5603
32 | 2739740.5298 | 1246577.9588 | 2739740.1182 | 1246571.2642 | 2739741.332 | 1246566.7417
33 | 2739796.7659 | 1246263.687 | 2739797.8567 | 1246263.4222 | 2739802.2586 | 1246264.1915
34 | 2739690.0577 | 1246310.6364 | 2739708.7277 | 1246300.6003 | 2739734.9144 | 1246281.0883 | 2739752.3047 | 1246275.6487 | 2739780.8221 | 1246267.5578 | 2739796.7659 | 1246263.687
35 | 2739843.6978 | 1246294.0419 | 2739839.1245 | 1246280.9443 | 2739819.2628 | 1246267.1635 | 2739802.2586 | 1246264.1915
36 | 2739690.0577 | 1246310.6364 | 2739673.7869 | 1246325.0218 | 2739655.0627 | 1246341.0172
37 | 2739726.2618 | 1246206.6834 | 2739700.9996 | 1246284.1033 | 2739690.0577 | 1246310.6364
38 | 2739843.6978 | 1246294.0419 | 2740003.3548 | 1246289.6044
39 | 2739655.0627 | 1246341.0172 | 2739652.034 | 1246343.6044
40 | 2739726.2618 | 1246206.6834 | 2739708.4626 | 1246201.5706 | 2739693.5064 | 1246200.573
41 | 2739726.2618 | 1246206.6834 | 2739781.7901 | 1246115.6645 | 2739789.5628 | 1246106.5617
42 | 2740003.3548 | 1246289.6044 | 2740018.4679 | 1246272.7569 | 2740016.4842 | 1246265.548 | 2740007.2162 | 1246254.2199
43 | 2740003.3548 | 1246289.6044 | 2739994.3659 | 1246299.6347 | 2739993.8079 | 1246323.2542 | 2739996.6891 | 1246335.6557 | 2740000.4858 | 1246346.0993
44 | 2739636.6604 | 1246359.1453 | 2739640.1506 | 1246353.7559 | 2739652.034 | 1246343.6044
45 | 2739789.5628 | 1246106.5617 | 2739805.0374 | 1246113.466 | 2739830.0551 | 1246132.189
46 | 2739700.7503 | 1246125.731 | 2739704.0165 | 1246130.1676 | 2739714.0019 | 1246135.5632 | 2739733.0059 | 1246140.8713 | 2739742.6925 | 1246139.3871 | 2739753.7034 | 1246134.9424 | 2739781.7901 | 1246115.6645 | 2739789.5628 | 1246106.5617
47 | 2739789.5628 | 1246106.5617 | 2739791.1824 | 1246088.2053 | 2739789.3732 | 1246076.4094
48 | 2739625.2749 | 1246354.7991 | 2739612.0997 | 1246349.7697 | 2739606.9841 | 1246348.8713
49 | 2739625.2749 | 1246354.7991 | 2739630.5422 | 1246356.8098
50 | 2739606.9841 | 1246348.8713 | 2739601.1124 | 1246347.84
51 | 2739636.6604 | 1246359.1453 | 2739630.5422 | 1246356.8098
52 | 2739636.6604 | 1246359.1453 | 2739657.0875 | 1246366.8535
53 | 2739679.547 | 1246375.3286 | 2739657.0875 | 1246366.8535
54 | 2739762.0804 | 1246432.5196 | 2739779.1975 | 1246440.2323
55 | 2739751.0948 | 1246427.5696 | 2739762.0804 | 1246432.5196
56 | 2739789.3869 | 1246440.8614 | 2739779.1975 | 1246440.2323 | 2739779.1975 | 1246440.2323
57 | 2739751.0948 | 1246427.5696 | 2739747.7382 | 1246413.8336 | 2739748.0516 | 1246406.6344 | 2739749.6806 | 1246400.6896
58 | 2739789.3869 | 1246440.8614 | 2739804.5051 | 1246441.7949
59 | 2739749.6806 | 1246400.6896 | 2739701.4803 | 1246383.6052 | 2739695.8641 | 1246381.4859
60 | 2739749.6806 | 1246400.6896 | 2739769.6837 | 1246407.823 | 2739795.0606 | 1246414.9387 | 2739808.2592 | 1246417.0518 | 2739821.6509 | 1246417.39 | 2739827.8767 | 1246416.8441
61 | 2739809.0687 | 1246442.0766 | 2739804.5051 | 1246441.7949
62 | 2739679.547 | 1246375.3286 | 2739695.8641 | 1246381.4859
63 | 2740040.132 | 1246322.7017 | 2740038.8373 | 1246324.1958 | 2740038.8373 | 1246324.1958
64 | 2740052.9419 | 1246306.2125 | 2740048.9224 | 1246312.5567 | 2740040.132 | 1246322.7017
65 | 2740030.0622 | 1246330.3771 | 2740038.8373 | 1246324.1958
66 | 2740052.9419 | 1246306.2125 | 2740065.899 | 1246310.8783 | 2740073.7135 | 1246309.9286 | 2740079.7396 | 1246302.4641 | 2740086.3488 | 1246290.7985 | 2740092.578 | 1246274.4307 | 2740097.5784 | 1246262.082 | 2740101.5012 | 1246254.0785 | 2740108.3794 | 1246251.8167 | 2740114.8068 | 1246254.5599 | 2740118.1165 | 1246262.2562 | 2740122.8103 | 1246285.0346
67 | 2740000.4858 | 1246346.0993 | 2740022.9049 | 1246335.4188 | 2740030.0622 | 1246330.3771
68 | 2740122.8103 | 1246285.0346 | 2740123.9478 | 1246290.555
69 | 2740000.4858 | 1246346.0993 | 2740007.8769 | 1246361.4656
70 | 2739700.7503 | 1246125.731 | 2739701.293 | 1246120.9839 | 2739709.3062 | 1246116.4241 | 2739720.0055 | 1246114.2964 | 2739738.9341 | 1246107.425
71 | 2739700.7503 | 1246125.731 | 2739449.5932 | 1246003.2872
72 | 2739738.9341 | 1246107.425 | 2739728.2488 | 1246098.1515
73 | 2740007.8769 | 1246361.4656 | 2740020.4083 | 1246379.6669 | 2740045.8575 | 1246400.3422 | 2740052.4068 | 1246407.1919 | 2740061.5403 | 1246421.0981 | 2740069.9471 | 1246439.8471 | 2740073.8193 | 1246456.6761 | 2740079.5265 | 1246460.4588
74 | 2740079.5265 | 1246460.4588 | 2740203.8465 | 1246437.0359
75 | 2739998.5681 | 1246243.6495 | 2740007.2162 | 1246254.2199
76 | 2739740.8282 | 1246582.8136 | 2739740.5298 | 1246577.9588
77 | 2740153.6302 | 1246728.4542 | 2740144.9318 | 1246731.5603

## bus_geodata
| x | y | coords
0 | 2739881.603 | 1246585.2456
1 | 2739869.9909 | 1246592.1336
2 | 2739861.8811 | 1246634.798
3 | 2739850.3929 | 1246648.8787
4 | 2739798.9362 | 1246584.4512
5 | 2739797.784 | 1246580.754
6 | 2739808.2507 | 1246631.9417
7 | 2739772.6865 | 1246612.4469
8 | 2739779.9544 | 1246603.1177
9 | 2739771.1133 | 1246631.0824
10 | 2739794.901 | 1246569.7959
11 | 2739768.6372 | 1246528.7641
12 | 2739756.389 | 1246545.2211
13 | 2739776.762 | 1246521.3711
14 | 2739751.316 | 1246551.2109
15 | 2739783.7939 | 1246540.1437
16 | 2739774.9499 | 1246516.7876
17 | 2739741.8123 | 1246564.9523
18 | 2739785.8344 | 1246545.5913
19 | 2739767.2313 | 1246493.624
20 | 2739766.0196 | 1246488.6637
21 | 2739762.4241 | 1246473.946
22 | 2739757.5896 | 1246454.156
23 | 2739753.0387 | 1246435.5271
24 | 2739836.1961 | 1246685.3937
25 | 2739849.2549 | 1246662.1973
26 | 2739803.0707 | 1246669.9489
27 | 2739831.1596 | 1246638.9495
28 | 2739777.4115 | 1246687.9827
29 | 2739945.0185 | 1246712.9453
30 | 2739741.332 | 1246566.7417
31 | 2739796.7659 | 1246263.687
32 | 2739802.2586 | 1246264.1915
33 | 2739690.0577 | 1246310.6364
34 | 2739843.6978 | 1246294.0419
35 | 2739655.0627 | 1246341.0172
36 | 2739726.2618 | 1246206.6834
37 | 2740003.3548 | 1246289.6044
38 | 2739652.034 | 1246343.6044
39 | 2739693.5064 | 1246200.573
40 | 2739789.5628 | 1246106.5617
41 | 2739625.2749 | 1246354.7991
42 | 2739606.9841 | 1246348.8713
43 | 2739630.5422 | 1246356.8098
44 | 2739601.1124 | 1246347.84
45 | 2739636.6604 | 1246359.1453
46 | 2739657.0875 | 1246366.8535
47 | 2739762.0804 | 1246432.5196
48 | 2739779.1975 | 1246440.2323
49 | 2739751.0948 | 1246427.5697
50 | 2739789.3869 | 1246440.8614
51 | 2739749.6806 | 1246400.6896
52 | 2739804.5051 | 1246441.7949
53 | 2739695.8641 | 1246381.4859
54 | 2739827.8767 | 1246416.8441
55 | 2739809.0687 | 1246442.0766
56 | 2740040.132 | 1246322.7017
57 | 2740038.8373 | 1246324.1958
58 | 2740052.9419 | 1246306.2125
59 | 2740030.0622 | 1246330.3771
60 | 2740122.8103 | 1246285.0346
61 | 2740000.4858 | 1246346.0993
62 | 2740123.9478 | 1246290.555
63 | 2739789.3732 | 1246076.4094
64 | 2739830.0551 | 1246132.189
65 | 2739700.7503 | 1246125.731
66 | 2739738.9341 | 1246107.425
67 | 2739449.5932 | 1246003.2872
68 | 2740007.8769 | 1246361.4656
69 | 2740079.5265 | 1246460.4588
70 | 2740007.2162 | 1246254.2199
71 | 2739679.547 | 1246375.3286
72 | 2739740.5298 | 1246577.9588
73 | 2740144.9318 | 1246731.5603
74 | 2740153.6302 | 1246728.4542
75 | 2740203.8465 | 1246437.0359
76 | 2739740.8282 | 1246582.8136
77 | 2739998.5681 | 1246243.6495
78 | 2739728.2488 | 1246098.1515
79 | 2739813.0138 | 1246442.3202

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1