## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3023-1_1_3_node_36 | 0.4 | n |  | TRUE
1 | bus_LV_3023-1_1_3_node_223 | 0.4 | n |  | TRUE
2 | bus_LV_3023-1_1_3_node_38 | 0.4 | n |  | TRUE
3 | bus_LV_3023-1_1_3_node_43 | 0.4 | n |  | TRUE
4 | bus_LV_3023-1_1_3_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_3023-1_1_3_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_3023-1_1_3_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_3023-1_1_3_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_3023-1_1_3_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_3023-1_1_3_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_3023-1_1_3_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_3023-1_1_3_node_143 | 0.4 | n |  | TRUE
12 | bus_LV_3023-1_1_3_node_221 | 0.4 | n |  | TRUE
13 | bus_LV_3023-1_1_3_node_222 | 0.4 | n |  | TRUE
14 | bus_LV_3023-1_1_3_node_89 | 0.4 | n |  | TRUE
15 | bus_LV_3023-1_1_3_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_3023-1_1_3_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_3023-1_1_3_node_201 | 0.4 | n |  | TRUE
18 | bus_LV_3023-1_1_3_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_3023-1_1_3_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_3023-1_1_3_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_3023-1_1_3_node_125 | 0.4 | n |  | TRUE
22 | bus_LV_3023-1_1_3_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_3023-1_1_3_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_3023-1_1_3_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_3023-1_1_3_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_3023-1_1_3_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_3023-1_1_3_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_3023-1_1_3_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_3023-1_1_3_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_3023-1_1_3_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_3023-1_1_3_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_3023-1_1_3_node_72 | 0.4 | n |  | TRUE
33 | bus_LV_3023-1_1_3_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_3023-1_1_3_node_91 | 0.4 | n |  | TRUE
35 | bus_LV_3023-1_1_3_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_3023-1_1_3_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_3023-1_1_3_node_99 | 0.4 | n |  | TRUE
38 | bus_LV_3023-1_1_3_node_97 | 0.4 | n |  | TRUE
39 | bus_LV_3023-1_1_3_node_77 | 0.4 | n |  | TRUE
40 | bus_LV_3023-1_1_3_node_93 | 0.4 | n |  | TRUE
41 | bus_LV_3023-1_1_3_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_3023-1_1_3_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_3023-1_1_3_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_3023-1_1_3_node_224 | 0.4 | n |  | TRUE
45 | bus_LV_3023-1_1_3_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_3023-1_1_3_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_3023-1_1_3_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_3023-1_1_3_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_3023-1_1_3_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_3023-1_1_3_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_3023-1_1_3_node_211 | 0.4 | n |  | TRUE
52 | bus_LV_3023-1_1_3_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_3023-1_1_3_node_226 | 0.4 | n |  | TRUE
54 | bus_LV_3023-1_1_3_node_103 | 0.4 | n |  | TRUE
55 | bus_LV_3023-1_1_3_node_100 | 0.4 | n |  | TRUE
56 | bus_LV_3023-1_1_3_node_214 | 0.4 | n |  | TRUE
57 | bus_LV_3023-1_1_3_node_92 | 0.4 | n |  | TRUE
58 | bus_LV_3023-1_1_3_node_101 | 0.4 | n |  | TRUE
59 | bus_LV_3023-1_1_3_node_102 | 0.4 | n |  | TRUE
60 | bus_LV_3023-1_1_3_node_104 | 0.4 | n |  | TRUE
61 | bus_LV_3023-1_1_3_node_113 | 0.4 | n |  | TRUE
62 | bus_LV_3023-1_1_3_node_115 | 0.4 | n |  | TRUE
63 | bus_LV_3023-1_1_3_node_117 | 0.4 | n |  | TRUE
64 | bus_LV_3023-1_1_3_node_126 | 0.4 | n |  | TRUE
65 | bus_LV_3023-1_1_3_node_131 | 0.4 | n |  | TRUE
66 | bus_LV_3023-1_1_3_node_129 | 0.4 | n |  | TRUE
67 | bus_LV_3023-1_1_3_node_130 | 0.4 | n |  | TRUE
68 | bus_LV_3023-1_1_3_node_132 | 0.4 | n |  | TRUE
69 | bus_LV_3023-1_1_3_node_133 | 0.4 | n |  | TRUE
70 | bus_LV_3023-1_1_3_node_134 | 0.4 | n |  | TRUE
71 | bus_LV_3023-1_1_3_node_135 | 0.4 | n |  | TRUE
72 | bus_LV_3023-1_1_3_node_202 | 0.4 | n |  | TRUE
73 | bus_LV_3023-1_1_3_node_212 | 0.4 | n |  | TRUE
74 | bus_LV_3023-1_1_3_node_213 | 0.4 | n |  | TRUE
75 | bus_LV_3023-1_1_3_node_215 | 0.4 | n |  | TRUE
76 | bus_LV_3023-1_1_3_node_216 | 0.4 | n |  | TRUE
77 | bus_LV_3023-1_1_3_node_217 | 0.4 | n |  | TRUE
78 | bus_LV_3023-1_1_3_node_218 | 0.4 | n |  | TRUE
79 | bus_LV_3023-1_1_3_node_219 | 0.4 | n |  | TRUE
80 | bus_LV_3023-1_1_3_node_220 | 0.4 | n |  | TRUE
81 | bus_MV_41_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3023-1_1_3_load_223 | 1 | 0.00072504 | 0.00018171 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3023-1_1_3_load_39 | 5 | 0.003296 | 0.00082604 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3023-1_1_3_load_41 | 7 | 0.0048017 | 0.0012034 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3023-1_1_3_load_59 | 9 | 0.0061904 | 0.0015515 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3023-1_1_3_load_143 | 11 | 0.0082205 | 0.0020603 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3023-1_1_3_load_221 | 12 | 0.00049638 | 0.00012441 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3023-1_1_3_load_222 | 13 | 0.005423 | 0.0013591 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3023-1_1_3_load_45 | 15 | 0.00055105 | 0.0001381 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3023-1_1_3_load_46 | 16 | 0.0011034 | 0.00027653 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3023-1_1_3_load_201 | 17 | 0.0044938 | 0.0011263 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3023-1_1_3_load_60 | 19 | 0.0076351 | 0.0019135 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3023-1_1_3_load_53 | 22 | 0.0099124 | 0.0024843 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3023-1_1_3_load_54 | 23 | 0.0046608 | 0.0011681 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3023-1_1_3_load_56 | 24 | 0.0023957 | 0.00060041 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3023-1_1_3_load_57 | 25 | 0.0094908 | 0.0023786 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3023-1_1_3_load_58 | 26 | 0.0021787 | 0.00054603 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3023-1_1_3_load_63 | 27 | 0.013838 | 0.0034681 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3023-1_1_3_load_64 | 28 | 0.0058943 | 0.0014773 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3023-1_1_3_load_65 | 29 | 0.0043264 | 0.0010843 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3023-1_1_3_load_91 | 34 | 0.0011141 | 0.00027921 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3023-1_1_3_load_78 | 35 | 0.0012009 | 0.00030097 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3023-1_1_3_load_99 | 37 | 0.0047186 | 0.0011826 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3023-1_1_3_load_97 | 38 | 0.0058547 | 0.0014673 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3023-1_1_3_load_79 | 41 | 0.0017032 | 0.00042686 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3023-1_1_3_load_82 | 43 | 0.0079006 | 0.0019801 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3023-1_1_3_load_224 | 44 | 0.0062634 | 0.0015697 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3023-1_1_3_load_90 | 45 | 0.0033788 | 0.00084681 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3023-1_1_3_load_87 | 46 | 0.0047906 | 0.0012006 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3023-1_1_3_load_83 | 47 | 0.0021526 | 0.00053949 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3023-1_1_3_load_84 | 48 | 0.0020121 | 0.00050429 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3023-1_1_3_load_86 | 50 | 0.0020285 | 0.00050838 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3023-1_1_3_load_211 | 51 | 0.0019401 | 0.00048624 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3023-1_1_3_load_226 | 53 | 0.0051136 | 0.0012816 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3023-1_1_3_load_100 | 55 | 0.0047926 | 0.0012011 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3023-1_1_3_load_214 | 56 | 0.0031501 | 0.00078949 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3023-1_1_3_load_92 | 57 | 0.0048953 | 0.0012269 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3023-1_1_3_load_101 | 58 | 0.0044398 | 0.0011127 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3023-1_1_3_load_102 | 59 | 0.0049327 | 0.0012362 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3023-1_1_3_load_104 | 60 | 0.0048993 | 0.0012279 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3023-1_1_3_load_113 | 61 | 0.0084845 | 0.0021264 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3023-1_1_3_load_117 | 63 | 0.0030521 | 0.00076492 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3023-1_1_3_load_126 | 64 | 0.0050634 | 0.001269 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3023-1_1_3_load_129 | 66 | 0.0007097 | 0.00017787 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3023-1_1_3_load_132 | 68 | 0.0046751 | 0.0011717 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3023-1_1_3_load_133 | 69 | 0.00072304 | 0.00018121 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3023-1_1_3_load_134 | 70 | 0.00069784 | 0.0001749 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3023-1_1_3_load_135 | 71 | 0.0020119 | 0.00050422 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3023-1_1_3_load_202 | 72 | 0.00079178 | 0.00019844 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3023-1_1_3_load_212 | 73 | 0.0020864 | 0.00052291 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3023-1_1_3_load_213 | 74 | 0.003191 | 0.00079973 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3023-1_1_3_load_215 | 75 | 0.0031804 | 0.00079709 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3023-1_1_3_load_216 | 76 | 0.0030393 | 0.00076173 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3023-1_1_3_load_217 | 77 | 0.0033735 | 0.00084548 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3023-1_1_3_load_218 | 78 | 0.0031534 | 0.00079031 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3023-1_1_3_load_219 | 79 | 0.003179 | 0.00079673 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3023-1_1_3_load_220 | 80 | 0.0030392 | 0.0007617 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3023-1_1_3_line_0 |  | 0 | 1 | 0.018062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3023-1_1_3_line_1 |  | 0 | 2 | 0.024707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3023-1_1_3_line_2 |  | 2 | 3 | 0.086994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3023-1_1_3_line_3 |  | 2 | 4 | 0.11074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3023-1_1_3_line_4 |  | 2 | 5 | 0.011559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3023-1_1_3_line_5 |  | 3 | 12 | 0.016216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3023-1_1_3_line_6 |  | 3 | 10 | 0.054948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3023-1_1_3_line_7 |  | 4 | 13 | 0.038742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3023-1_1_3_line_8 |  | 4 | 14 | 0.046337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3023-1_1_3_line_9 |  | 5 | 6 | 0.0092303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3023-1_1_3_line_10 |  | 6 | 7 | 0.013616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3023-1_1_3_line_11 |  | 7 | 8 | 0.032463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3023-1_1_3_line_12 |  | 7 | 9 | 0.029917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3023-1_1_3_line_13 |  | 8 | 18 | 0.005774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3023-1_1_3_line_14 |  | 8 | 22 | 0.058813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3023-1_1_3_line_15 |  | 9 | 26 | 0.036476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3023-1_1_3_line_16 |  | 10 | 11 | 0.038935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3023-1_1_3_line_17 |  | 11 | 20 | 0.021674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3023-1_1_3_line_18 |  | 14 | 55 | 0.019253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_3023-1_1_3_line_19 |  | 14 | 49 | 0.037386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3023-1_1_3_line_20 |  | 14 | 52 | 0.02762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3023-1_1_3_line_21 |  | 15 | 16 | 0.027726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3023-1_1_3_line_22 |  | 15 | 17 | 0.071751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3023-1_1_3_line_23 |  | 16 | 18 | 0.026068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3023-1_1_3_line_24 |  | 17 | 72 | 0.023994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3023-1_1_3_line_25 |  | 18 | 19 | 0.0075108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3023-1_1_3_line_26 |  | 20 | 21 | 0.01186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3023-1_1_3_line_27 |  | 21 | 64 | 0.022007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3023-1_1_3_line_28 |  | 21 | 63 | 0.016478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3023-1_1_3_line_29 |  | 22 | 23 | 0.020231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3023-1_1_3_line_30 |  | 23 | 24 | 0.029482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3023-1_1_3_line_31 |  | 24 | 25 | 0.051087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3023-1_1_3_line_32 |  | 27 | 28 | 0.027805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3023-1_1_3_line_33 |  | 27 | 29 | 0.031294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3023-1_1_3_line_34 |  | 28 | 30 | 0.061548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3023-1_1_3_line_35 |  | 30 | 31 | 0.016235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3023-1_1_3_line_36 |  | 30 | 32 | 0.027009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3023-1_1_3_line_37 |  | 31 | 45 | 0.0081869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3023-1_1_3_line_38 |  | 31 | 46 | 0.022036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3023-1_1_3_line_39 |  | 32 | 35 | 0.013896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3023-1_1_3_line_40 |  | 32 | 33 | 0.017601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3023-1_1_3_line_41 |  | 33 | 34 | 0.011736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3023-1_1_3_line_42 |  | 34 | 57 | 0.019976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3023-1_1_3_line_43 |  | 35 | 41 | 0.014896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3023-1_1_3_line_44 |  | 36 | 37 | 0.011534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3023-1_1_3_line_45 |  | 36 | 38 | 0.021633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3023-1_1_3_line_46 |  | 37 | 39 | 0.040949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3023-1_1_3_line_47 |  | 39 | 40 | 0.018925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3023-1_1_3_line_48 |  | 40 | 54 | 0.009485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3023-1_1_3_line_49 |  | 41 | 42 | 0.090945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3023-1_1_3_line_50 |  | 42 | 43 | 0.068522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3023-1_1_3_line_51 |  | 42 | 44 | 0.11594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3023-1_1_3_line_52 |  | 44 | 71 | 0.19464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3023-1_1_3_line_53 |  | 45 | 56 | 0.0066822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3023-1_1_3_line_54 |  | 46 | 49 | 0.021405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3023-1_1_3_line_55 |  | 47 | 48 | 0.0066554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3023-1_1_3_line_56 |  | 47 | 49 | 0.017804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3023-1_1_3_line_57 |  | 48 | 50 | 0.0065003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3023-1_1_3_line_58 |  | 50 | 51 | 0.0063495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3023-1_1_3_line_59 |  | 51 | 73 | 0.0065018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3023-1_1_3_line_60 |  | 52 | 53 | 0.018026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3023-1_1_3_line_61 |  | 52 | 54 | 0.010462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3023-1_1_3_line_62 |  | 54 | 59 | 0.0122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3023-1_1_3_line_63 |  | 55 | 58 | 0.017339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3023-1_1_3_line_64 |  | 56 | 75 | 0.0064931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3023-1_1_3_line_65 |  | 59 | 60 | 0.022214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3023-1_1_3_line_66 |  | 61 | 62 | 0.015874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3023-1_1_3_line_67 |  | 62 | 63 | 0.027301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3023-1_1_3_line_68 |  | 64 | 65 | 0.038022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3023-1_1_3_line_69 |  | 65 | 70 | 0.008895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3023-1_1_3_line_70 |  | 65 | 66 | 0.0087026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3023-1_1_3_line_71 |  | 66 | 67 | 0.0097248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3023-1_1_3_line_72 |  | 67 | 68 | 0.009871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3023-1_1_3_line_73 |  | 67 | 69 | 0.028706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3023-1_1_3_line_74 |  | 73 | 74 | 0.0012242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3023-1_1_3_line_75 |  | 75 | 76 | 0.01075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3023-1_1_3_line_76 |  | 76 | 77 | 0.023132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3023-1_1_3_line_77 |  | 77 | 78 | 0.006667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3023-1_1_3_line_78 |  | 78 | 79 | 0.0065038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3023-1_1_3_line_79 |  | 79 | 80 | 0.006352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3023-1_1_3_trafo_100 | 0.63 MVA 20/0.4 kV | 81 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2750750.9304 | 1253599.5341 | 2750751.3684 | 1253597.154 | 2750738.2397 | 1253588.5893
1 | 2750750.9304 | 1253599.5341 | 2750761.857 | 1253602.0813 | 2750770.9299 | 1253604.2031 | 2750774.9898 | 1253605.1519
2 | 2750774.9898 | 1253605.1519 | 2750770.9299 | 1253604.2031 | 2750770.0087 | 1253608.0613 | 2750786.1142 | 1253612.976 | 2750794.7313 | 1253616.6878 | 2750802.0888 | 1253620.3565 | 2750810.9356 | 1253625.42 | 2750820.6506 | 1253631.3731 | 2750838.8865 | 1253645.1064
3 | 2750774.9898 | 1253605.1519 | 2750770.9299 | 1253604.2031 | 2750770.0087 | 1253608.0613 | 2750786.1142 | 1253612.976 | 2750794.7313 | 1253616.6878 | 2750802.0888 | 1253620.3565 | 2750799.5868 | 1253624.6303 | 2750798.6185 | 1253626.4853 | 2750805.1719 | 1253654.6018 | 2750806.432 | 1253665.2887 | 2750804.9561 | 1253679.0646 | 2750801.5212 | 1253685.8839
4 | 2750774.9898 | 1253605.1519 | 2750778.2724 | 1253596.0154 | 2750779.1767 | 1253594.4012
5 | 2750838.8865 | 1253645.1064 | 2750835.6463 | 1253648.4272 | 2750831.1344 | 1253655.4414 | 2750829.3681 | 1253658.1537
6 | 2750882.285 | 1253678.9114 | 2750877.1949 | 1253675.7342 | 2750871.1276 | 1253671.2085 | 2750838.8865 | 1253645.1064
7 | 2750801.5212 | 1253685.8839 | 2750803.4579 | 1253702.0156 | 2750818.29 | 1253718.9653
8 | 2750801.5212 | 1253685.8839 | 2750793.7349 | 1253687.7875 | 2750783.3962 | 1253685.5777 | 2750758.3027 | 1253673.4494
9 | 2750784.448 | 1253588.8878 | 2750782.7567 | 1253588.0106 | 2750779.1767 | 1253594.4012
10 | 2750792.0365 | 1253577.5699 | 2750784.448 | 1253588.8878
11 | 2750824.1487 | 1253582.6813 | 2750812.2413 | 1253581.5882 | 2750792.0365 | 1253577.5699
12 | 2750792.0365 | 1253577.5699 | 2750763.7327 | 1253571.4213 | 2750762.7848 | 1253571.3253
13 | 2750824.1487 | 1253582.6813 | 2750829.9306 | 1253583.0066
14 | 2750824.1487 | 1253582.6813 | 2750824.2934 | 1253576.4122 | 2750821.0745 | 1253572.3818 | 2750818.2265 | 1253565.3469 | 2750816.7018 | 1253556.1547 | 2750815.3177 | 1253538.7802 | 2750813.4882 | 1253525.8616
15 | 2750762.7848 | 1253571.3253 | 2750747.2952 | 1253569.7569 | 2750738.593 | 1253569.6798 | 2750727.7157 | 1253570.5261 | 2750726.4311 | 1253570.6878
16 | 2750882.285 | 1253678.9114 | 2750879.5053 | 1253683.7119 | 2750878.7244 | 1253686.8062 | 2750885.8736 | 1253694.1955 | 2750889.8374 | 1253706.6086 | 2750891.7543 | 1253713.2206
17 | 2750900.7838 | 1253732.0567 | 2750896.1101 | 1253728.2451 | 2750891.7543 | 1253713.2206
18 | 2750758.3027 | 1253673.4494 | 2750762.1154 | 1253670.7661 | 2750767.6929 | 1253666.3704 | 2750772.3632 | 1253663.2084 | 2750773.8126 | 1253662.0594
19 | 2750734.3952 | 1253690.6245 | 2750737.7703 | 1253684.6712 | 2750748.2236 | 1253668.4547 | 2750758.3027 | 1253673.4494
20 | 2750733.6157 | 1253661.0647 | 2750748.2236 | 1253668.4547 | 2750758.3027 | 1253673.4494
21 | 2750878.0393 | 1253605.7434 | 2750854.2078 | 1253591.5728
22 | 2750878.0393 | 1253605.7434 | 2750925.2917 | 1253551.7489
23 | 2750829.9306 | 1253583.0066 | 2750845.4418 | 1253586.3604 | 2750854.2078 | 1253591.5728
24 | 2750925.2917 | 1253551.7489 | 2750919.3959 | 1253545.1148 | 2750911.2854 | 1253532.3551
25 | 2750829.9306 | 1253583.0066 | 2750828.6579 | 1253590.2924 | 2750828.77 | 1253590.3167
26 | 2750895.2396 | 1253742.548 | 2750900.7838 | 1253732.0567
27 | 2750895.2396 | 1253742.548 | 2750887.1203 | 1253741.2288 | 2750876.543 | 1253732.3952
28 | 2750895.2396 | 1253742.548 | 2750896.3458 | 1253752.7528 | 2750899.0399 | 1253758.3518
29 | 2750808.6979 | 1253506.289 | 2750812.2147 | 1253516.8687 | 2750813.4882 | 1253525.8616
30 | 2750808.6979 | 1253506.289 | 2750806.0513 | 1253498.327 | 2750797.2191 | 1253479.174
31 | 2750775.3704 | 1253432.9967 | 2750789.6257 | 1253462.7075 | 2750797.2191 | 1253479.174
32 | 2750768.768 | 1253775.3232 | 2750745.4237 | 1253760.219
33 | 2750795.042 | 1253792.323 | 2750768.768 | 1253775.3232
34 | 2750700.3586 | 1253719.8982 | 2750706.2259 | 1253722.4945 | 2750719.8028 | 1253741.6141 | 2750737.7985 | 1253755.2854 | 2750745.4237 | 1253760.219
35 | 2750700.3586 | 1253719.8982 | 2750704.7549 | 1253718.0082 | 2750708.9844 | 1253718.8166 | 2750713.5001 | 1253724.3925
36 | 2750675.5896 | 1253708.9575 | 2750700.3586 | 1253719.8982
37 | 2750713.5001 | 1253724.3925 | 2750716.3476 | 1253727.8906 | 2750719.7418 | 1253729.3031
38 | 2750713.5001 | 1253724.3925 | 2750712.0422 | 1253714.0564 | 2750718.8308 | 1253704.6538
39 | 2750675.5896 | 1253708.9575 | 2750671.2065 | 1253718.3329 | 2750670.5922 | 1253721.8262
40 | 2750675.5896 | 1253708.9575 | 2750677.6867 | 1253702.4934 | 2750671.0823 | 1253697.7096 | 2750672.3723 | 1253695.3735
41 | 2750672.3723 | 1253695.3735 | 2750673.2115 | 1253695.9176 | 2750679.0572 | 1253686.913
42 | 2750691.6942 | 1253675.946 | 2750687.9305 | 1253682.0451 | 2750686.1271 | 1253682.3106 | 2750685.262 | 1253683.968 | 2750684.2827 | 1253683.8874 | 2750682.0284 | 1253688.2232 | 2750679.0572 | 1253686.913
43 | 2750670.5922 | 1253721.8262 | 2750670.2973 | 1253723.5037 | 2750672.2983 | 1253730.8952 | 2750675.3712 | 1253735.4995
44 | 2750693.1782 | 1253610.2529 | 2750703.2483 | 1253615.8758
45 | 2750693.1782 | 1253610.2529 | 2750672.839 | 1253617.6217
46 | 2750697.9092 | 1253645.9192 | 2750700.0102 | 1253639.0103 | 2750704.4754 | 1253638.568 | 2750705.4578 | 1253637.9368 | 2750708.116 | 1253630.7863 | 2750709.7169 | 1253627.8019 | 2750710.9981 | 1253623.1411 | 2750711.5855 | 1253620.5312 | 2750703.2483 | 1253615.8758
47 | 2750697.9092 | 1253645.9192 | 2750703.6629 | 1253647.0556 | 2750715.8444 | 1253651.9036
48 | 2750724.2624 | 1253656.322 | 2750715.8444 | 1253651.9036
49 | 2750743.3574 | 1253793.1083 | 2750738.6636 | 1253785.3368 | 2750726.9887 | 1253775.43 | 2750715.248 | 1253767.2121 | 2750709.8024 | 1253764.3597 | 2750697.4478 | 1253758.9067 | 2750692.9348 | 1253756.1893 | 2750688.3659 | 1253752.4027 | 2750681.3368 | 1253744.4383 | 2750675.3712 | 1253735.4995
50 | 2750678.3993 | 1253797.5488 | 2750703.1876 | 1253793.4865 | 2750717.1213 | 1253793.2519 | 2750732.7086 | 1253798.6316 | 2750739.8978 | 1253797.936 | 2750743.3574 | 1253793.1083
51 | 2750743.3574 | 1253793.1083 | 2750746.0968 | 1253909.0135
52 | 2750746.0968 | 1253909.0135 | 2750789.3996 | 1254098.779
53 | 2750719.7418 | 1253729.3031 | 2750725.9111 | 1253731.8705
54 | 2750734.3952 | 1253690.6245 | 2750729.8978 | 1253697.3722 | 2750719.2412 | 1253704.0854 | 2750718.8308 | 1253704.6538
55 | 2750754.7697 | 1253702.9328 | 2750748.4086 | 1253700.9756
56 | 2750734.3952 | 1253690.6245 | 2750743.6954 | 1253699.5254 | 2750748.4086 | 1253700.9756
57 | 2750754.7697 | 1253702.9328 | 2750760.9825 | 1253704.8444
58 | 2750767.0512 | 1253706.7116 | 2750760.9825 | 1253704.8444
59 | 2750767.0512 | 1253706.7116 | 2750773.2655 | 1253708.6236
60 | 2750733.6157 | 1253661.0647 | 2750723.497 | 1253675.9996
61 | 2750724.2624 | 1253656.322 | 2750733.6157 | 1253661.0647
62 | 2750724.2624 | 1253656.322 | 2750731.236 | 1253646.3119
63 | 2750785.9678 | 1253649.8305 | 2750782.2986 | 1253654.5862 | 2750779.6993 | 1253657.3449 | 2750775.0136 | 1253661.1071 | 2750773.8126 | 1253662.0594
64 | 2750725.9111 | 1253731.8705 | 2750731.9058 | 1253734.3652
65 | 2750745.5117 | 1253634.4414 | 2750741.0259 | 1253641.3228 | 2750739.2259 | 1253640.5652 | 2750734.1359 | 1253647.7538 | 2750731.236 | 1253646.3119
66 | 2750910.8774 | 1253782.9525 | 2750915.6258 | 1253785.6094 | 2750925.7646 | 1253788.0688
67 | 2750910.8774 | 1253782.9525 | 2750899.0399 | 1253758.3518
68 | 2750853.9816 | 1253701.7907 | 2750876.543 | 1253732.3952
69 | 2750859.9626 | 1253695.1921 | 2750853.9816 | 1253701.7907
70 | 2750853.9816 | 1253701.7907 | 2750846.1385 | 1253705.5616
71 | 2750837.3741 | 1253709.7756 | 2750846.1385 | 1253705.5616
72 | 2750837.3741 | 1253709.7756 | 2750838.0512 | 1253715.1981 | 2750840.5018 | 1253718.8641
73 | 2750837.3741 | 1253709.7756 | 2750830.9109 | 1253703.605 | 2750818.0389 | 1253696.8262 | 2750816.6743 | 1253694.389 | 2750818.048 | 1253692.322
74 | 2750774.4356 | 1253708.9836 | 2750773.2655 | 1253708.6236
75 | 2750731.9058 | 1253734.3652 | 2750738.9512 | 1253737.2971 | 2750742.07 | 1253737.3189
76 | 2750742.07 | 1253737.3189 | 2750763.5867 | 1253737.4687 | 2750765.1192 | 1253737.9775
77 | 2750765.1192 | 1253737.9775 | 2750771.4466 | 1253740.0784
78 | 2750771.4466 | 1253740.0784 | 2750777.6192 | 1253742.1278
79 | 2750777.6192 | 1253742.1278 | 2750783.6476 | 1253744.1294

## bus_geodata
| x | y | coords
0 | 2750750.9304 | 1253599.5341
1 | 2750738.2397 | 1253588.5893
2 | 2750774.9898 | 1253605.1519
3 | 2750838.8865 | 1253645.1064
4 | 2750801.5212 | 1253685.8839
5 | 2750779.1767 | 1253594.4012
6 | 2750784.448 | 1253588.8878
7 | 2750792.0365 | 1253577.5699
8 | 2750824.1487 | 1253582.6813
9 | 2750762.7848 | 1253571.3253
10 | 2750882.285 | 1253678.9114
11 | 2750891.7543 | 1253713.2206
12 | 2750829.3681 | 1253658.1537
13 | 2750818.29 | 1253718.9653
14 | 2750758.3027 | 1253673.4494
15 | 2750878.0393 | 1253605.7434
16 | 2750854.2078 | 1253591.5728
17 | 2750925.2917 | 1253551.7489
18 | 2750829.9306 | 1253583.0066
19 | 2750828.77 | 1253590.3167
20 | 2750900.7838 | 1253732.0567
21 | 2750895.2396 | 1253742.548
22 | 2750813.4882 | 1253525.8616
23 | 2750808.6979 | 1253506.289
24 | 2750797.2191 | 1253479.174
25 | 2750775.3704 | 1253432.9967
26 | 2750726.4311 | 1253570.6878
27 | 2750768.768 | 1253775.3232
28 | 2750745.4237 | 1253760.219
29 | 2750795.042 | 1253792.323
30 | 2750700.3586 | 1253719.8982
31 | 2750713.5001 | 1253724.3925
32 | 2750675.5896 | 1253708.9575
33 | 2750672.3723 | 1253695.3735
34 | 2750679.0572 | 1253686.913
35 | 2750670.5922 | 1253721.8262
36 | 2750693.1782 | 1253610.2529
37 | 2750703.2483 | 1253615.8758
38 | 2750672.839 | 1253617.6217
39 | 2750697.9092 | 1253645.9192
40 | 2750715.8444 | 1253651.9036
41 | 2750675.3712 | 1253735.4995
42 | 2750743.3574 | 1253793.1083
43 | 2750678.3993 | 1253797.5488
44 | 2750746.0968 | 1253909.0135
45 | 2750719.7418 | 1253729.3031
46 | 2750718.8308 | 1253704.6538
47 | 2750748.4086 | 1253700.9756
48 | 2750754.7697 | 1253702.9328
49 | 2750734.3952 | 1253690.6245
50 | 2750760.9825 | 1253704.8444
51 | 2750767.0512 | 1253706.7116
52 | 2750733.6156 | 1253661.0647
53 | 2750723.497 | 1253675.9996
54 | 2750724.2624 | 1253656.322
55 | 2750773.8126 | 1253662.0594
56 | 2750725.9111 | 1253731.8705
57 | 2750691.6942 | 1253675.946
58 | 2750785.9678 | 1253649.8305
59 | 2750731.236 | 1253646.3119
60 | 2750745.5117 | 1253634.4414
61 | 2750925.7646 | 1253788.0688
62 | 2750910.8774 | 1253782.9525
63 | 2750899.0399 | 1253758.3518
64 | 2750876.543 | 1253732.3952
65 | 2750853.9816 | 1253701.7907
66 | 2750846.1385 | 1253705.5616
67 | 2750837.3741 | 1253709.7756
68 | 2750840.5018 | 1253718.8641
69 | 2750818.048 | 1253692.322
70 | 2750859.9626 | 1253695.1921
71 | 2750789.3996 | 1254098.779
72 | 2750911.2854 | 1253532.3551
73 | 2750773.2655 | 1253708.6236
74 | 2750774.4356 | 1253708.9836
75 | 2750731.9058 | 1253734.3652
76 | 2750742.07 | 1253737.3189
77 | 2750765.1192 | 1253737.9775
78 | 2750771.4466 | 1253740.0784
79 | 2750777.6192 | 1253742.1278
80 | 2750783.6476 | 1253744.1294
81 | 2750785.9678 | 1253649.8305

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1