## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3023-1_2_4_node_49 | 0.4 | n |  | TRUE
1 | bus_LV_3023-1_2_4_node_158 | 0.4 | n |  | TRUE
2 | bus_LV_3023-1_2_4_node_51 | 0.4 | n |  | TRUE
3 | bus_LV_3023-1_2_4_node_173 | 0.4 | n |  | TRUE
4 | bus_LV_3023-1_2_4_node_182 | 0.4 | n |  | TRUE
5 | bus_LV_3023-1_2_4_node_105 | 0.4 | n |  | TRUE
6 | bus_LV_3023-1_2_4_node_106 | 0.4 | n |  | TRUE
7 | bus_LV_3023-1_2_4_node_107 | 0.4 | n |  | TRUE
8 | bus_LV_3023-1_2_4_node_108 | 0.4 | n |  | TRUE
9 | bus_LV_3023-1_2_4_node_109 | 0.4 | n |  | TRUE
10 | bus_LV_3023-1_2_4_node_136 | 0.4 | n |  | TRUE
11 | bus_LV_3023-1_2_4_node_118 | 0.4 | n |  | TRUE
12 | bus_LV_3023-1_2_4_node_110 | 0.4 | n |  | TRUE
13 | bus_LV_3023-1_2_4_node_140 | 0.4 | n |  | TRUE
14 | bus_LV_3023-1_2_4_node_138 | 0.4 | n |  | TRUE
15 | bus_LV_3023-1_2_4_node_128 | 0.4 | n |  | TRUE
16 | bus_LV_3023-1_2_4_node_111 | 0.4 | n |  | TRUE
17 | bus_LV_3023-1_2_4_node_112 | 0.4 | n |  | TRUE
18 | bus_LV_3023-1_2_4_node_142 | 0.4 | n |  | TRUE
19 | bus_LV_3023-1_2_4_node_114 | 0.4 | n |  | TRUE
20 | bus_LV_3023-1_2_4_node_116 | 0.4 | n |  | TRUE
21 | bus_LV_3023-1_2_4_node_120 | 0.4 | n |  | TRUE
22 | bus_LV_3023-1_2_4_node_119 | 0.4 | n |  | TRUE
23 | bus_LV_3023-1_2_4_node_121 | 0.4 | n |  | TRUE
24 | bus_LV_3023-1_2_4_node_122 | 0.4 | n |  | TRUE
25 | bus_LV_3023-1_2_4_node_123 | 0.4 | n |  | TRUE
26 | bus_LV_3023-1_2_4_node_124 | 0.4 | n |  | TRUE
27 | bus_LV_3023-1_2_4_node_127 | 0.4 | n |  | TRUE
28 | bus_LV_3023-1_2_4_node_144 | 0.4 | n |  | TRUE
29 | bus_LV_3023-1_2_4_node_137 | 0.4 | n |  | TRUE
30 | bus_LV_3023-1_2_4_node_139 | 0.4 | n |  | TRUE
31 | bus_LV_3023-1_2_4_node_141 | 0.4 | n |  | TRUE
32 | bus_LV_3023-1_2_4_node_145 | 0.4 | n |  | TRUE
33 | bus_LV_3023-1_2_4_node_146 | 0.4 | n |  | TRUE
34 | bus_LV_3023-1_2_4_node_147 | 0.4 | n |  | TRUE
35 | bus_LV_3023-1_2_4_node_155 | 0.4 | n |  | TRUE
36 | bus_LV_3023-1_2_4_node_151 | 0.4 | n |  | TRUE
37 | bus_LV_3023-1_2_4_node_152 | 0.4 | n |  | TRUE
38 | bus_LV_3023-1_2_4_node_148 | 0.4 | n |  | TRUE
39 | bus_LV_3023-1_2_4_node_149 | 0.4 | n |  | TRUE
40 | bus_LV_3023-1_2_4_node_150 | 0.4 | n |  | TRUE
41 | bus_LV_3023-1_2_4_node_153 | 0.4 | n |  | TRUE
42 | bus_LV_3023-1_2_4_node_154 | 0.4 | n |  | TRUE
43 | bus_LV_3023-1_2_4_node_156 | 0.4 | n |  | TRUE
44 | bus_LV_3023-1_2_4_node_157 | 0.4 | n |  | TRUE
45 | bus_LV_3023-1_2_4_node_162 | 0.4 | n |  | TRUE
46 | bus_LV_3023-1_2_4_node_225 | 0.4 | n |  | TRUE
47 | bus_LV_3023-1_2_4_node_159 | 0.4 | n |  | TRUE
48 | bus_LV_3023-1_2_4_node_160 | 0.4 | n |  | TRUE
49 | bus_LV_3023-1_2_4_node_161 | 0.4 | n |  | TRUE
50 | bus_LV_3023-1_2_4_node_163 | 0.4 | n |  | TRUE
51 | bus_LV_3023-1_2_4_node_164 | 0.4 | n |  | TRUE
52 | bus_LV_3023-1_2_4_node_174 | 0.4 | n |  | TRUE
53 | bus_LV_3023-1_2_4_node_165 | 0.4 | n |  | TRUE
54 | bus_LV_3023-1_2_4_node_166 | 0.4 | n |  | TRUE
55 | bus_LV_3023-1_2_4_node_167 | 0.4 | n |  | TRUE
56 | bus_LV_3023-1_2_4_node_168 | 0.4 | n |  | TRUE
57 | bus_LV_3023-1_2_4_node_179 | 0.4 | n |  | TRUE
58 | bus_LV_3023-1_2_4_node_171 | 0.4 | n |  | TRUE
59 | bus_LV_3023-1_2_4_node_169 | 0.4 | n |  | TRUE
60 | bus_LV_3023-1_2_4_node_170 | 0.4 | n |  | TRUE
61 | bus_LV_3023-1_2_4_node_172 | 0.4 | n |  | TRUE
62 | bus_LV_3023-1_2_4_node_175 | 0.4 | n |  | TRUE
63 | bus_LV_3023-1_2_4_node_176 | 0.4 | n |  | TRUE
64 | bus_LV_3023-1_2_4_node_177 | 0.4 | n |  | TRUE
65 | bus_LV_3023-1_2_4_node_178 | 0.4 | n |  | TRUE
66 | bus_LV_3023-1_2_4_node_198 | 0.4 | n |  | TRUE
67 | bus_LV_3023-1_2_4_node_180 | 0.4 | n |  | TRUE
68 | bus_LV_3023-1_2_4_node_181 | 0.4 | n |  | TRUE
69 | bus_LV_3023-1_2_4_node_183 | 0.4 | n |  | TRUE
70 | bus_LV_3023-1_2_4_node_190 | 0.4 | n |  | TRUE
71 | bus_LV_3023-1_2_4_node_184 | 0.4 | n |  | TRUE
72 | bus_LV_3023-1_2_4_node_185 | 0.4 | n |  | TRUE
73 | bus_LV_3023-1_2_4_node_204 | 0.4 | n |  | TRUE
74 | bus_LV_3023-1_2_4_node_186 | 0.4 | n |  | TRUE
75 | bus_LV_3023-1_2_4_node_187 | 0.4 | n |  | TRUE
76 | bus_LV_3023-1_2_4_node_188 | 0.4 | n |  | TRUE
77 | bus_LV_3023-1_2_4_node_189 | 0.4 | n |  | TRUE
78 | bus_LV_3023-1_2_4_node_191 | 0.4 | n |  | TRUE
79 | bus_LV_3023-1_2_4_node_192 | 0.4 | n |  | TRUE
80 | bus_LV_3023-1_2_4_node_197 | 0.4 | n |  | TRUE
81 | bus_LV_3023-1_2_4_node_194 | 0.4 | n |  | TRUE
82 | bus_LV_3023-1_2_4_node_195 | 0.4 | n |  | TRUE
83 | bus_LV_3023-1_2_4_node_193 | 0.4 | n |  | TRUE
84 | bus_LV_3023-1_2_4_node_196 | 0.4 | n |  | TRUE
85 | bus_LV_3023-1_2_4_node_200 | 0.4 | n |  | TRUE
86 | bus_LV_3023-1_2_4_node_199 | 0.4 | n |  | TRUE
87 | bus_LV_3023-1_2_4_node_205 | 0.4 | n |  | TRUE
88 | bus_LV_3023-1_2_4_node_206 | 0.4 | n |  | TRUE
89 | bus_LV_3023-1_2_4_node_207 | 0.4 | n |  | TRUE
90 | bus_LV_3023-1_2_4_node_208 | 0.4 | n |  | TRUE
91 | bus_MV_41_0_node_202 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3023-1_2_4_load_173 | 3 | 0.003899 | 0.00097719 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3023-1_2_4_load_105 | 5 | 0.0018218 | 0.00045657 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3023-1_2_4_load_106 | 6 | 0.0027459 | 0.00068819 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3023-1_2_4_load_109 | 9 | 0.0029914 | 0.00074972 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3023-1_2_4_load_136 | 10 | 0.0042443 | 0.0010637 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3023-1_2_4_load_118 | 11 | 0.0014055 | 0.00035224 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3023-1_2_4_load_138 | 14 | 0.004233 | 0.0010609 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3023-1_2_4_load_128 | 15 | 0.002871 | 0.00071953 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3023-1_2_4_load_111 | 16 | 0.0013522 | 0.00033889 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3023-1_2_4_load_112 | 17 | 0.0027074 | 0.00067854 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3023-1_2_4_load_142 | 18 | 0.003094 | 0.00077543 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3023-1_2_4_load_114 | 19 | 0.0027951 | 0.00070052 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3023-1_2_4_load_116 | 20 | 0.0050998 | 0.0012781 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3023-1_2_4_load_119 | 22 | 0.002399 | 0.00060124 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3023-1_2_4_load_122 | 24 | 0.0028826 | 0.00072246 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3023-1_2_4_load_123 | 25 | 0.0014514 | 0.00036375 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3023-1_2_4_load_127 | 27 | 0.00060755 | 0.00015227 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3023-1_2_4_load_144 | 28 | 0.003342 | 0.00083758 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3023-1_2_4_load_137 | 29 | 0.0032779 | 0.00082152 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3023-1_2_4_load_141 | 31 | 0.0032246 | 0.00080817 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3023-1_2_4_load_147 | 34 | 0.004228 | 0.0010596 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3023-1_2_4_load_155 | 35 | 0.0037702 | 0.00094491 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3023-1_2_4_load_151 | 36 | 0.002694 | 0.00067517 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3023-1_2_4_load_152 | 37 | 0.0032931 | 0.00082534 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3023-1_2_4_load_148 | 38 | 0.0028735 | 0.00072016 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3023-1_2_4_load_149 | 39 | 0.0027171 | 0.00068098 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3023-1_2_4_load_150 | 40 | 0.0026989 | 0.00067641 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3023-1_2_4_load_153 | 41 | 0.0053233 | 0.0013342 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3023-1_2_4_load_154 | 42 | 0.0048939 | 0.0012265 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3023-1_2_4_load_157 | 44 | 0.0052207 | 0.0013084 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3023-1_2_4_load_162 | 45 | 0.0028421 | 0.00071229 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3023-1_2_4_load_225 | 46 | 0.005769 | 0.0014459 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3023-1_2_4_load_159 | 47 | 0.0015382 | 0.00038551 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3023-1_2_4_load_160 | 48 | 0.0033463 | 0.00083866 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3023-1_2_4_load_163 | 50 | 0.0027863 | 0.0006983 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3023-1_2_4_load_164 | 51 | 0.002789 | 0.00069898 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3023-1_2_4_load_174 | 52 | 0.0013185 | 0.00033045 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3023-1_2_4_load_165 | 53 | 0.0031194 | 0.0007818 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3023-1_2_4_load_168 | 56 | 0.0022139 | 0.00055486 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3023-1_2_4_load_179 | 57 | 0.0032607 | 0.0008172 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3023-1_2_4_load_171 | 58 | 0.0031498 | 0.00078942 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3023-1_2_4_load_169 | 59 | 0.0039392 | 0.00098726 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3023-1_2_4_load_172 | 61 | 0.0030914 | 0.00077478 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3023-1_2_4_load_175 | 62 | 0.0029149 | 0.00073055 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3023-1_2_4_load_177 | 64 | 0.0055296 | 0.0013858 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3023-1_2_4_load_178 | 65 | 0.0055682 | 0.0013955 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3023-1_2_4_load_180 | 67 | 0.0039584 | 0.00099208 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3023-1_2_4_load_181 | 68 | 0.0033563 | 0.00084117 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3023-1_2_4_load_183 | 69 | 0.0034696 | 0.00086957 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3023-1_2_4_load_190 | 70 | 0.0068334 | 0.0017126 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3023-1_2_4_load_184 | 71 | 0.0025376 | 0.00063599 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3023-1_2_4_load_185 | 72 | 0.0043109 | 0.0010804 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3023-1_2_4_load_204 | 73 | 0.0024691 | 0.00061881 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3023-1_2_4_load_186 | 74 | 0.0025916 | 0.00064951 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3023-1_2_4_load_187 | 75 | 0.010071 | 0.002524 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3023-1_2_4_load_188 | 76 | 0.0084259 | 0.0021117 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3023-1_2_4_load_192 | 79 | 0.0036692 | 0.0009196 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3023-1_2_4_load_197 | 80 | 0.0041092 | 0.0010299 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3023-1_2_4_load_194 | 81 | 0.0026481 | 0.00066368 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3023-1_2_4_load_193 | 83 | 0.0026 | 0.00065162 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3023-1_2_4_load_196 | 84 | 0.0042685 | 0.0010698 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3023-1_2_4_load_200 | 85 | 0.0071353 | 0.0017883 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3023-1_2_4_load_199 | 86 | 0.0073891 | 0.0018519 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3023-1_2_4_load_205 | 87 | 0.0044073 | 0.0011046 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3023-1_2_4_load_207 | 89 | 0.0042173 | 0.001057 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3023-1_2_4_load_208 | 90 | 0.0025778 | 0.00064606 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3023-1_2_4_line_0 |  | 0 | 1 | 0.010454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_3023-1_2_4_line_1 |  | 0 | 2 | 0.10823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_3023-1_2_4_line_2 |  | 0 | 3 | 0.020311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3023-1_2_4_line_3 |  | 1 | 46 | 0.019536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3023-1_2_4_line_4 |  | 1 | 43 | 0.046582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_3023-1_2_4_line_5 |  | 2 | 4 | 0.047377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_3023-1_2_4_line_6 |  | 3 | 61 | 0.023495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3023-1_2_4_line_7 |  | 4 | 67 | 0.033687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_3023-1_2_4_line_8 |  | 5 | 6 | 0.09656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3023-1_2_4_line_9 |  | 5 | 7 | 0.025247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3023-1_2_4_line_10 |  | 7 | 8 | 0.016026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3023-1_2_4_line_11 |  | 7 | 9 | 0.043763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3023-1_2_4_line_12 |  | 8 | 10 | 0.019277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3023-1_2_4_line_13 |  | 8 | 11 | 0.014067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3023-1_2_4_line_14 |  | 10 | 29 | 0.013674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3023-1_2_4_line_15 |  | 11 | 22 | 0.050712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3023-1_2_4_line_16 |  | 12 | 13 | 0.03657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3023-1_2_4_line_17 |  | 12 | 14 | 0.02291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3023-1_2_4_line_18 |  | 12 | 15 | 0.055128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3023-1_2_4_line_19 |  | 13 | 18 | 0.049324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3023-1_2_4_line_20 |  | 14 | 30 | 0.017625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3023-1_2_4_line_21 |  | 15 | 27 | 0.0084858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3023-1_2_4_line_22 |  | 16 | 17 | 0.012176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3023-1_2_4_line_23 |  | 16 | 18 | 0.14097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3023-1_2_4_line_24 |  | 19 | 20 | 0.0035391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3023-1_2_4_line_25 |  | 20 | 21 | 0.0060599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3023-1_2_4_line_26 |  | 21 | 24 | 0.027004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3023-1_2_4_line_27 |  | 21 | 22 | 0.038371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3023-1_2_4_line_28 |  | 22 | 23 | 0.0090153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3023-1_2_4_line_29 |  | 23 | 25 | 0.012512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3023-1_2_4_line_30 |  | 23 | 26 | 0.045034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3023-1_2_4_line_31 |  | 25 | 27 | 0.01019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3023-1_2_4_line_32 |  | 26 | 28 | 0.010977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3023-1_2_4_line_33 |  | 28 | 32 | 0.010639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3023-1_2_4_line_34 |  | 30 | 31 | 0.021412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3023-1_2_4_line_35 |  | 32 | 33 | 0.006113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3023-1_2_4_line_36 |  | 32 | 34 | 0.029312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3023-1_2_4_line_37 |  | 33 | 35 | 0.0084485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3023-1_2_4_line_38 |  | 33 | 36 | 0.0082042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3023-1_2_4_line_39 |  | 34 | 37 | 0.003907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3023-1_2_4_line_40 |  | 35 | 43 | 0.028227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3023-1_2_4_line_41 |  | 36 | 40 | 0.0035184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3023-1_2_4_line_42 |  | 37 | 41 | 0.014583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3023-1_2_4_line_43 |  | 38 | 39 | 0.003923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3023-1_2_4_line_44 |  | 38 | 40 | 0.0054016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3023-1_2_4_line_45 |  | 41 | 42 | 0.0045051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3023-1_2_4_line_46 |  | 43 | 44 | 0.014299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_3023-1_2_4_line_47 |  | 44 | 45 | 0.0085125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_3023-1_2_4_line_48 |  | 45 | 48 | 0.031636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_3023-1_2_4_line_49 |  | 47 | 48 | 0.016228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_3023-1_2_4_line_50 |  | 47 | 49 | 0.014283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_3023-1_2_4_line_51 |  | 49 | 50 | 0.016292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3023-1_2_4_line_52 |  | 49 | 51 | 0.03997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3023-1_2_4_line_53 |  | 50 | 52 | 0.068447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3023-1_2_4_line_54 |  | 52 | 56 | 0.014056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3023-1_2_4_line_55 |  | 53 | 54 | 0.022625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3023-1_2_4_line_56 |  | 54 | 55 | 0.031359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3023-1_2_4_line_57 |  | 54 | 56 | 0.0069765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3023-1_2_4_line_58 |  | 55 | 57 | 0.019796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3023-1_2_4_line_59 |  | 55 | 58 | 0.0039496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3023-1_2_4_line_60 |  | 58 | 60 | 0.016437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3023-1_2_4_line_61 |  | 59 | 60 | 0.034904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3023-1_2_4_line_62 |  | 62 | 63 | 0.023153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3023-1_2_4_line_63 |  | 63 | 64 | 0.017519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3023-1_2_4_line_64 |  | 63 | 65 | 0.014502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3023-1_2_4_line_65 |  | 65 | 66 | 0.031332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3023-1_2_4_line_66 |  | 66 | 86 | 0.008692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_3023-1_2_4_line_67 |  | 66 | 74 | 0.016191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_3023-1_2_4_line_68 |  | 67 | 68 | 0.038395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_3023-1_2_4_line_69 |  | 68 | 69 | 0.032909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_3023-1_2_4_line_70 |  | 69 | 70 | 0.0046834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_3023-1_2_4_line_71 |  | 70 | 76 | 0.022949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_3023-1_2_4_line_72 |  | 71 | 72 | 0.0014848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_3023-1_2_4_line_73 |  | 71 | 73 | 0.12795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_3023-1_2_4_line_74 |  | 72 | 74 | 0.012093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_3023-1_2_4_line_75 |  | 73 | 87 | 0.043793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_3023-1_2_4_line_76 |  | 75 | 76 | 0.0071637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_3023-1_2_4_line_77 |  | 75 | 77 | 0.017308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_3023-1_2_4_line_78 |  | 77 | 78 | 0.019246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_3023-1_2_4_line_79 |  | 77 | 79 | 0.017393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3023-1_2_4_line_80 |  | 78 | 80 | 0.0080097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_3023-1_2_4_line_81 |  | 78 | 81 | 0.011849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3023-1_2_4_line_82 |  | 79 | 82 | 0.059704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3023-1_2_4_line_83 |  | 80 | 85 | 0.026851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_3023-1_2_4_line_84 |  | 81 | 83 | 0.016856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3023-1_2_4_line_85 |  | 82 | 84 | 0.028678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3023-1_2_4_line_86 |  | 85 | 86 | 0.034415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_3023-1_2_4_line_87 |  | 87 | 88 | 0.065058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_3023-1_2_4_line_88 |  | 88 | 89 | 0.039232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
89 | LV_3023-1_2_4_line_89 |  | 89 | 90 | 0.022732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3023-1_2_4_trafo_161 | 0.63 MVA 20/0.4 kV | 91 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2751017.1714 | 1253716.4853 | 2751010.7313 | 1253708.2352
1 | 2750995.7828 | 1253631.0676 | 2750965.4645 | 1253666.6185 | 2750993.4156 | 1253691.2995 | 2751010.7313 | 1253708.2352
2 | 2751010.7313 | 1253708.2352 | 2751014.2889 | 1253707.8589 | 2751030.73 | 1253710.9755
3 | 2751017.1714 | 1253716.4853 | 2751014.9542 | 1253726.1604 | 2751016.0009 | 1253730.7027 | 2751019.211 | 1253734.4771
4 | 2751017.1714 | 1253716.4853 | 2751051.1797 | 1253748.428
5 | 2751035.0059 | 1253657.1819 | 2751010.5856 | 1253644.1244 | 2751001.9695 | 1253637.4204 | 2750995.7828 | 1253631.0676
6 | 2751049.4884 | 1253725.1039 | 2751030.8318 | 1253710.9948 | 2751030.73 | 1253710.9755
7 | 2751035.0059 | 1253657.1819 | 2751064.8532 | 1253672.801
8 | 2750943.2174 | 1253896.6443 | 2750941.1993 | 1253898.4603 | 2750932.5448 | 1253915.7678 | 2750924.5137 | 1253941.4884 | 2750919.2634 | 1253983.0842 | 2750916.1172 | 1253987.745
9 | 2750958.6664 | 1253877.1846 | 2750953.2057 | 1253887.6557 | 2750943.2174 | 1253896.6443
10 | 2750958.6664 | 1253877.1846 | 2750952.3388 | 1253862.4534
11 | 2750958.6664 | 1253877.1846 | 2750937.3232 | 1253883.8028 | 2750917.8668 | 1253874.849
12 | 2750952.3388 | 1253862.4534 | 2750933.4178 | 1253858.7643
13 | 2750952.3388 | 1253862.4534 | 2750946.9217 | 1253849.4717
14 | 2750933.4178 | 1253858.7643 | 2750929.1058 | 1253857.9236 | 2750921.8094 | 1253852.1879
15 | 2750990.1742 | 1253822.9959 | 2750946.9217 | 1253849.4717
16 | 2751020.2094 | 1253895.9161 | 2751014.9478 | 1253907.1596 | 2751015.7604 | 1253916.4338 | 2751019.958 | 1253921.4458 | 2751027.8448 | 1253924.1717
17 | 2751020.2094 | 1253895.9161 | 2751030.0916 | 1253902.6858 | 2751040.417 | 1253906.2743
18 | 2751026.0696 | 1253841.1007 | 2751020.2094 | 1253895.9161
19 | 2751027.8448 | 1253924.1717 | 2751031.8607 | 1253934.2284 | 2751059.2689 | 1253961.2597
20 | 2751057.0656 | 1253912.0605 | 2751040.417 | 1253906.2743
21 | 2751026.0696 | 1253841.1007 | 2751018.4871 | 1253837.291
22 | 2751065.1979 | 1254102.1096 | 2751073.7761 | 1254110.7505
23 | 2751059.2689 | 1253961.2597 | 2751065.1979 | 1254102.1096
24 | 2750954.1033 | 1253794.9428 | 2750957.5426 | 1253795.7771
25 | 2750963.4317 | 1253797.2056 | 2750957.5426 | 1253795.7771
26 | 2750990.2464 | 1253801.0149 | 2750963.4317 | 1253797.2056
27 | 2750963.4317 | 1253797.2056 | 2750967.8523 | 1253806.2048 | 2750977.6797 | 1253816.6099 | 2750990.1742 | 1253822.9959
28 | 2750998.2017 | 1253827.0988 | 2750990.1742 | 1253822.9959
29 | 2750998.2017 | 1253827.0988 | 2751009.382 | 1253832.7162
30 | 2750998.2017 | 1253827.0988 | 2751010.0005 | 1253827.3999 | 2751013.6283 | 1253825.1568 | 2751024.9211 | 1253804.7581 | 2751020.1914 | 1253801.6678
31 | 2751018.4871 | 1253837.291 | 2751009.382 | 1253832.7162
32 | 2751020.1914 | 1253801.6678 | 2751025.9086 | 1253792.2967
33 | 2751031.4497 | 1253783.2146 | 2751025.9086 | 1253792.2967
34 | 2751057.0656 | 1253912.0605 | 2751064.1758 | 1253915.9345 | 2751060.9537 | 1253928.854
35 | 2751031.4497 | 1253783.2146 | 2751034.6328 | 1253777.9906
36 | 2751031.4497 | 1253783.2146 | 2751006.5855 | 1253767.6922
37 | 2751034.6328 | 1253777.9906 | 2751032.2307 | 1253775.6827 | 2751034.8062 | 1253771.2606
38 | 2751034.6328 | 1253777.9906 | 2751041.5027 | 1253782.4753
39 | 2751006.5855 | 1253767.6922 | 2751003.2713 | 1253765.6232
40 | 2751051.1797 | 1253748.428 | 2751042.0283 | 1253758.8605 | 2751034.8062 | 1253771.2606
41 | 2751044.4489 | 1253784.3986 | 2751041.5027 | 1253782.4753
42 | 2751003.2713 | 1253765.6232 | 2750990.901 | 1253757.9006
43 | 2751048.9721 | 1253787.3513 | 2751052.2571 | 1253789.4957
44 | 2751048.9721 | 1253787.3513 | 2751044.4489 | 1253784.3986
45 | 2750990.5476 | 1253753.4094 | 2750990.901 | 1253757.9006
46 | 2751051.1797 | 1253748.428 | 2751061.7243 | 1253758.0853
47 | 2751061.7243 | 1253758.0853 | 2751068.0019 | 1253763.8346
48 | 2751091.4537 | 1253785.0668 | 2751080.1989 | 1253775.0052 | 2751068.0019 | 1253763.8346
49 | 2751091.4537 | 1253785.0668 | 2751103.5523 | 1253795.8828
50 | 2751114.2007 | 1253805.4022 | 2751103.5523 | 1253795.8828
51 | 2751114.2007 | 1253805.4022 | 2751123.2114 | 1253813.7848 | 2751126.4614 | 1253816.0915
52 | 2751128.3739 | 1253842.7893 | 2751114.2007 | 1253805.4022
53 | 2751185.854 | 1253849.9795 | 2751170.0872 | 1253841.6748 | 2751135.386 | 1253822.426 | 2751126.4614 | 1253816.0915
54 | 2751185.854 | 1253849.9795 | 2751198.29 | 1253856.5298
55 | 2751204.4626 | 1253859.781 | 2751193.805 | 1253879.7389
56 | 2751204.4626 | 1253859.781 | 2751232.2757 | 1253874.4276
57 | 2751204.4626 | 1253859.781 | 2751198.29 | 1253856.5298
58 | 2751223.4892 | 1253889.7739 | 2751227.0545 | 1253889.687 | 2751231.118 | 1253880.7375 | 2751232.2757 | 1253874.4276
59 | 2751232.2757 | 1253874.4276 | 2751235.6559 | 1253876.4705
60 | 2751249.7232 | 1253884.9723 | 2751235.6559 | 1253876.4705
61 | 2751249.7232 | 1253884.9723 | 2751272.0773 | 1253911.7784
62 | 2751203.0421 | 1253806.6483 | 2751194.5321 | 1253808.2215 | 2751186.3395 | 1253806.2326 | 2751180.8821 | 1253803.5784
63 | 2751203.0421 | 1253806.6483 | 2751188.0888 | 1253797.4465
64 | 2751203.0421 | 1253806.6483 | 2751217.4293 | 1253808.4706
65 | 2751244.4964 | 1253800.3225 | 2751238.0712 | 1253808.6333 | 2751229.0019 | 1253809.9364 | 2751217.4293 | 1253808.4706
66 | 2751244.4964 | 1253800.3225 | 2751237.2495 | 1253795.5232
67 | 2751244.4964 | 1253800.3225 | 2751258.3829 | 1253808.6476
68 | 2751064.8532 | 1253672.801 | 2751066.2643 | 1253673.5394 | 2751085.3417 | 1253685.0372 | 2751097.2591 | 1253693.3461
69 | 2751122.9596 | 1253713.8717 | 2751102.8607 | 1253697.2516 | 2751097.2591 | 1253693.3461
70 | 2751122.9596 | 1253713.8717 | 2751126.5688 | 1253716.8562
71 | 2751144.2683 | 1253731.4634 | 2751128.078 | 1253718.1041 | 2751126.5688 | 1253716.8562
72 | 2751270.028 | 1253815.6289 | 2751268.7545 | 1253814.8654
73 | 2751270.028 | 1253815.6289 | 2751395.7313 | 1253839.5057
74 | 2751258.3829 | 1253808.6476 | 2751268.7545 | 1253814.8654
75 | 2751395.7313 | 1253839.5057 | 2751398.7867 | 1253820.4725 | 2751401.8375 | 1253796.1467
76 | 2751149.7939 | 1253736.0227 | 2751144.2683 | 1253731.4634
77 | 2751163.1439 | 1253747.0383 | 2751149.7939 | 1253736.0227
78 | 2751163.1439 | 1253747.0383 | 2751179.1837 | 1253757.747
79 | 2751163.1439 | 1253747.0383 | 2751168.0027 | 1253741.2344 | 2751175.9611 | 1253735.4746
80 | 2751179.1837 | 1253757.747 | 2751185.9379 | 1253762.0522
81 | 2751179.1837 | 1253757.747 | 2751173.3006 | 1253767.5954 | 2751173.1012 | 1253767.9151
82 | 2751220.8577 | 1253697.6296 | 2751217.2111 | 1253705.6221 | 2751204.6514 | 1253714.7104 | 2751175.9611 | 1253735.4746
83 | 2751208.5565 | 1253776.5207 | 2751206.5039 | 1253775.1613 | 2751185.9379 | 1253762.0522
84 | 2751164.1818 | 1253782.2179 | 2751173.1012 | 1253767.9151
85 | 2751220.8577 | 1253697.6296 | 2751204.3724 | 1253697.264 | 2751192.2834 | 1253695.7061
86 | 2751208.5565 | 1253776.5207 | 2751237.2495 | 1253795.5232
87 | 2751413.2096 | 1253733.2557 | 2751409.2565 | 1253736.9916 | 2751401.8375 | 1253796.1467
88 | 2751413.2096 | 1253733.2557 | 2751429.4553 | 1253768.966
89 | 2751436.8709 | 1253790.2823 | 2751434.2181 | 1253783.72 | 2751433.2927 | 1253777.4012 | 2751429.4553 | 1253768.966

## bus_geodata
| x | y | coords
0 | 2751010.7313 | 1253708.2352
1 | 2751017.1714 | 1253716.4853
2 | 2750995.7828 | 1253631.0676
3 | 2751030.73 | 1253710.9755
4 | 2751035.0059 | 1253657.1819
5 | 2750943.2174 | 1253896.6443
6 | 2750916.1172 | 1253987.745
7 | 2750958.6664 | 1253877.1846
8 | 2750952.3388 | 1253862.4534
9 | 2750917.8668 | 1253874.849
10 | 2750933.4178 | 1253858.7643
11 | 2750946.9217 | 1253849.4717
12 | 2751020.2094 | 1253895.9161
13 | 2751027.8448 | 1253924.1717
14 | 2751040.417 | 1253906.2743
15 | 2751026.0696 | 1253841.1007
16 | 2751065.1979 | 1254102.1096
17 | 2751073.7761 | 1254110.7505
18 | 2751059.2689 | 1253961.2597
19 | 2750954.1033 | 1253794.9428
20 | 2750957.5426 | 1253795.7771
21 | 2750963.4318 | 1253797.2056
22 | 2750990.1742 | 1253822.9959
23 | 2750998.2017 | 1253827.0988
24 | 2750990.2464 | 1253801.0149
25 | 2751009.382 | 1253832.7162
26 | 2751020.1914 | 1253801.6678
27 | 2751018.4871 | 1253837.291
28 | 2751025.9086 | 1253792.2967
29 | 2750921.8094 | 1253852.1879
30 | 2751057.0656 | 1253912.0605
31 | 2751060.9537 | 1253928.854
32 | 2751031.4497 | 1253783.2146
33 | 2751034.6328 | 1253777.9906
34 | 2751006.5855 | 1253767.6922
35 | 2751034.8062 | 1253771.2606
36 | 2751041.5027 | 1253782.4753
37 | 2751003.2713 | 1253765.6232
38 | 2751048.9721 | 1253787.3513
39 | 2751052.2571 | 1253789.4957
40 | 2751044.4489 | 1253784.3986
41 | 2750990.901 | 1253757.9006
42 | 2750990.5476 | 1253753.4094
43 | 2751051.1797 | 1253748.428
44 | 2751061.7243 | 1253758.0853
45 | 2751068.0019 | 1253763.8346
46 | 2751019.211 | 1253734.4771
47 | 2751103.5523 | 1253795.8828
48 | 2751091.4537 | 1253785.0668
49 | 2751114.2007 | 1253805.4022
50 | 2751126.4614 | 1253816.0915
51 | 2751128.3739 | 1253842.7893
52 | 2751185.854 | 1253849.9795
53 | 2751193.805 | 1253879.7389
54 | 2751204.4626 | 1253859.781
55 | 2751232.2757 | 1253874.4276
56 | 2751198.29 | 1253856.5298
57 | 2751223.4892 | 1253889.7739
58 | 2751235.6559 | 1253876.4705
59 | 2751272.0773 | 1253911.7784
60 | 2751249.7232 | 1253884.9723
61 | 2751049.4884 | 1253725.1039
62 | 2751180.8821 | 1253803.5784
63 | 2751203.0421 | 1253806.6483
64 | 2751188.0888 | 1253797.4465
65 | 2751217.4293 | 1253808.4706
66 | 2751244.4964 | 1253800.3225
67 | 2751064.8532 | 1253672.801
68 | 2751097.2591 | 1253693.3461
69 | 2751122.9596 | 1253713.8717
70 | 2751126.5688 | 1253716.8562
71 | 2751270.028 | 1253815.6289
72 | 2751268.7545 | 1253814.8654
73 | 2751395.7313 | 1253839.5057
74 | 2751258.3829 | 1253808.6476
75 | 2751149.7939 | 1253736.0227
76 | 2751144.2683 | 1253731.4634
77 | 2751163.1439 | 1253747.0383
78 | 2751179.1837 | 1253757.747
79 | 2751175.9611 | 1253735.4746
80 | 2751185.9379 | 1253762.0522
81 | 2751173.1012 | 1253767.9151
82 | 2751220.8577 | 1253697.6296
83 | 2751164.1818 | 1253782.2179
84 | 2751192.2834 | 1253695.7061
85 | 2751208.5565 | 1253776.5207
86 | 2751237.2495 | 1253795.5232
87 | 2751401.8375 | 1253796.1467
88 | 2751413.2096 | 1253733.2557
89 | 2751429.4553 | 1253768.966
90 | 2751436.8709 | 1253790.2823
91 | 2751128.3739 | 1253842.7893

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1