## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3023-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3023-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3023-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3023-5_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3023-5_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3023-5_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_3023-5_0_5_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_3023-5_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_3023-5_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_3023-5_0_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_3023-5_0_5_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_3023-5_0_5_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_3023-5_0_5_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_3023-5_0_5_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_3023-5_0_5_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_3023-5_0_5_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_3023-5_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3023-5_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3023-5_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_3023-5_0_5_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_3023-5_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_3023-5_0_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_3023-5_0_5_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_3023-5_0_5_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_3023-5_0_5_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_3023-5_0_5_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_3023-5_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3023-5_0_5_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_3023-5_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_3023-5_0_5_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_3023-5_0_5_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_3023-5_0_5_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_3023-5_0_5_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_3023-5_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_3023-5_0_5_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_3023-5_0_5_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_3023-5_0_5_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_3023-5_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_3023-5_0_5_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_3023-5_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_3023-5_0_5_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_3023-5_0_5_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_3023-5_0_5_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_3023-5_0_5_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_3023-5_0_5_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_3023-5_0_5_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_3023-5_0_5_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_3023-5_0_5_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_3023-5_0_5_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_3023-5_0_5_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_3023-5_0_5_node_79 | 0.4 | n |  | TRUE
51 | bus_LV_3023-5_0_5_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_3023-5_0_5_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_3023-5_0_5_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_3023-5_0_5_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_3023-5_0_5_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_3023-5_0_5_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_3023-5_0_5_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_3023-5_0_5_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_3023-5_0_5_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_3023-5_0_5_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_3023-5_0_5_node_78 | 0.4 | n |  | TRUE
62 | bus_LV_3023-5_0_5_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_3023-5_0_5_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_3023-5_0_5_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_3023-5_0_5_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_3023-5_0_5_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_3023-5_0_5_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_3023-5_0_5_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_3023-5_0_5_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_3023-5_0_5_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_3023-5_0_5_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_3023-5_0_5_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_3023-5_0_5_node_75 | 0.4 | n |  | TRUE
74 | bus_MV_41_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3023-5_0_5_load_0 | 0 | 0.0045315 | 0.0011357 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3023-5_0_5_load_1 | 1 | 0.0066137 | 0.0016576 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3023-5_0_5_load_4 | 3 | 0.003942 | 0.00098795 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3023-5_0_5_load_5 | 4 | 0.0041664 | 0.0010442 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3023-5_0_5_load_12 | 6 | 0.0045816 | 0.0011483 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3023-5_0_5_load_8 | 7 | 0.0034864 | 0.00087376 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3023-5_0_5_load_9 | 8 | 0.0030519 | 0.00076488 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3023-5_0_5_load_10 | 9 | 0.0084505 | 0.0021179 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3023-5_0_5_load_15 | 10 | 0.0049463 | 0.0012397 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3023-5_0_5_load_14 | 11 | 0.0039641 | 0.00099349 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3023-5_0_5_load_58 | 12 | 0.0046721 | 0.0011709 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3023-5_0_5_load_60 | 13 | 0.0033136 | 0.00083045 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3023-5_0_5_load_11 | 16 | 0.0062739 | 0.0015724 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3023-5_0_5_load_13 | 17 | 0.004359 | 0.0010925 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3023-5_0_5_load_16 | 18 | 0.035563 | 0.008913 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3023-5_0_5_load_17 | 19 | 0.0072124 | 0.0018076 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3023-5_0_5_load_19 | 21 | 0.0045652 | 0.0011441 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3023-5_0_5_load_49 | 23 | 0.00172 | 0.00043108 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3023-5_0_5_load_25 | 25 | 0.0049661 | 0.0012446 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3023-5_0_5_load_21 | 26 | 0.006408 | 0.001606 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3023-5_0_5_load_22 | 28 | 0.0083736 | 0.0020986 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3023-5_0_5_load_24 | 29 | 0.011562 | 0.0028977 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3023-5_0_5_load_57 | 30 | 0.0056375 | 0.0014129 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3023-5_0_5_load_26 | 32 | 0.0036233 | 0.00090808 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3023-5_0_5_load_40 | 35 | 0.0122 | 0.0030577 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3023-5_0_5_load_77 | 38 | 0.0063075 | 0.0015808 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3023-5_0_5_load_80 | 40 | 0.011935 | 0.0029913 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3023-5_0_5_load_76 | 42 | 0.014629 | 0.0036663 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3023-5_0_5_load_56 | 44 | 0.0030164 | 0.00075598 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3023-5_0_5_load_62 | 49 | 0.001331 | 0.00033359 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3023-5_0_5_load_79 | 50 | 0.0073966 | 0.0018538 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3023-5_0_5_load_39 | 51 | 0.0020481 | 0.0005133 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3023-5_0_5_load_48 | 53 | 0.0062971 | 0.0015782 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3023-5_0_5_load_35 | 54 | 0.0051721 | 0.0012963 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3023-5_0_5_load_38 | 55 | 0.0051895 | 0.0013006 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3023-5_0_5_load_50 | 57 | 0.013011 | 0.0032608 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3023-5_0_5_load_41 | 58 | 0.0039942 | 0.001001 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3023-5_0_5_load_42 | 59 | 0.0024198 | 0.00060645 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3023-5_0_5_load_78 | 61 | 0.0021256 | 0.00053272 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3023-5_0_5_load_63 | 62 | 0.003212 | 0.00080501 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3023-5_0_5_load_71 | 63 | 0.0022674 | 0.00056827 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3023-5_0_5_load_68 | 64 | 0.020396 | 0.0051118 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3023-5_0_5_load_72 | 65 | 0.0024724 | 0.00061964 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3023-5_0_5_load_69 | 66 | 0.0033137 | 0.0008305 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3023-5_0_5_load_64 | 67 | 0.0014608 | 0.0003661 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3023-5_0_5_load_66 | 68 | 0.04314 | 0.010812 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3023-5_0_5_load_67 | 69 | 0.0058031 | 0.0014544 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3023-5_0_5_load_74 | 70 | 0.043146 | 0.010813 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3023-5_0_5_load_70 | 71 | 0.0048698 | 0.0012205 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3023-5_0_5_load_73 | 72 | 0.0031221 | 0.00078248 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3023-5_0_5_load_75 | 73 | 0.0034063 | 0.00085369 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3023-5_0_5_line_0 |  | 0 | 1 | 0.00036801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3023-5_0_5_line_1 |  | 0 | 2 | 0.019711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3023-5_0_5_line_2 |  | 2 | 3 | 0.038276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3023-5_0_5_line_3 |  | 2 | 4 | 0.0015046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3023-5_0_5_line_4 |  | 3 | 5 | 0.0092007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3023-5_0_5_line_5 |  | 4 | 6 | 0.02936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3023-5_0_5_line_6 |  | 5 | 7 | 0.031742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_3023-5_0_5_line_7 |  | 5 | 8 | 0.02048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_3023-5_0_5_line_8 |  | 6 | 9 | 0.014245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3023-5_0_5_line_9 |  | 7 | 12 | 0.025499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_3023-5_0_5_line_10 |  | 8 | 13 | 0.0087314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_3023-5_0_5_line_11 |  | 9 | 16 | 0.016929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3023-5_0_5_line_12 |  | 10 | 11 | 0.03199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3023-5_0_5_line_13 |  | 11 | 17 | 0.0070033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3023-5_0_5_line_14 |  | 12 | 14 | 0.099855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_3023-5_0_5_line_15 |  | 13 | 15 | 0.022383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_3023-5_0_5_line_16 |  | 14 | 37 | 0.076975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_3023-5_0_5_line_17 |  | 15 | 63 | 0.012118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3023-5_0_5_line_18 |  | 15 | 64 | 0.012891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_3023-5_0_5_line_19 |  | 16 | 17 | 0.019664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3023-5_0_5_line_20 |  | 18 | 19 | 0.015444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3023-5_0_5_line_21 |  | 18 | 20 | 0.0062615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3023-5_0_5_line_22 |  | 19 | 21 | 0.005888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3023-5_0_5_line_23 |  | 20 | 22 | 0.008588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3023-5_0_5_line_24 |  | 22 | 23 | 0.0091585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3023-5_0_5_line_25 |  | 23 | 27 | 0.010944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3023-5_0_5_line_26 |  | 24 | 25 | 0.017139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3023-5_0_5_line_27 |  | 24 | 26 | 0.020231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3023-5_0_5_line_28 |  | 25 | 30 | 0.02092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3023-5_0_5_line_29 |  | 26 | 28 | 0.027535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3023-5_0_5_line_30 |  | 27 | 53 | 0.0019808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3023-5_0_5_line_31 |  | 27 | 60 | 0.007529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3023-5_0_5_line_32 |  | 28 | 29 | 0.012072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3023-5_0_5_line_33 |  | 30 | 31 | 0.0218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3023-5_0_5_line_34 |  | 31 | 36 | 0.016734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_3023-5_0_5_line_35 |  | 31 | 37 | 0.1355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_3023-5_0_5_line_36 |  | 32 | 33 | 0.062799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3023-5_0_5_line_37 |  | 33 | 34 | 0.05057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3023-5_0_5_line_38 |  | 34 | 35 | 0.017746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3023-5_0_5_line_39 |  | 35 | 41 | 0.012395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3023-5_0_5_line_40 |  | 36 | 42 | 0.011394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3023-5_0_5_line_41 |  | 36 | 39 | 0.018998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_3023-5_0_5_line_42 |  | 37 | 38 | 0.041571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3023-5_0_5_line_43 |  | 39 | 40 | 0.026061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3023-5_0_5_line_44 |  | 39 | 41 | 0.020423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_3023-5_0_5_line_45 |  | 41 | 54 | 0.037652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_3023-5_0_5_line_46 |  | 43 | 44 | 0.042602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3023-5_0_5_line_47 |  | 43 | 45 | 0.075127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3023-5_0_5_line_48 |  | 45 | 56 | 0.014261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3023-5_0_5_line_49 |  | 45 | 58 | 0.0044828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3023-5_0_5_line_50 |  | 46 | 47 | 0.006914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3023-5_0_5_line_51 |  | 46 | 48 | 0.10777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3023-5_0_5_line_52 |  | 46 | 49 | 0.010583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3023-5_0_5_line_53 |  | 47 | 61 | 0.00615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3023-5_0_5_line_54 |  | 48 | 50 | 0.002544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3023-5_0_5_line_55 |  | 49 | 62 | 0.023275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3023-5_0_5_line_56 |  | 51 | 52 | 0.0029651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3023-5_0_5_line_57 |  | 52 | 55 | 0.01617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_3023-5_0_5_line_58 |  | 52 | 54 | 0.014547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_3023-5_0_5_line_59 |  | 55 | 56 | 0.024508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3023-5_0_5_line_60 |  | 56 | 57 | 0.014668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3023-5_0_5_line_61 |  | 58 | 59 | 0.006028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3023-5_0_5_line_62 |  | 59 | 60 | 0.020396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3023-5_0_5_line_63 |  | 62 | 67 | 0.0023912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3023-5_0_5_line_64 |  | 63 | 65 | 0.024125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3023-5_0_5_line_65 |  | 64 | 66 | 0.0067063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3023-5_0_5_line_66 |  | 65 | 72 | 0.023869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3023-5_0_5_line_67 |  | 66 | 71 | 0.018383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3023-5_0_5_line_68 |  | 67 | 68 | 0.0022915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3023-5_0_5_line_69 |  | 68 | 69 | 0.020093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3023-5_0_5_line_70 |  | 69 | 70 | 0.020206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3023-5_0_5_line_71 |  | 70 | 71 | 0.006361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3023-5_0_5_line_72 |  | 72 | 73 | 0.01399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3023-5_0_5_trafo_68 | 0.63 MVA 20/0.4 kV | 74 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2750982.754 | 1253646.345 | 2750982.9928 | 1253646.065
1 | 2750995.7828 | 1253631.0676 | 2750982.9928 | 1253646.065
2 | 2750995.7828 | 1253631.0676 | 2751001.9695 | 1253637.4204 | 2751010.5856 | 1253644.1244 | 2751026.8922 | 1253652.8436
3 | 2750995.7828 | 1253631.0676 | 2750994.7833 | 1253629.943
4 | 2751035.0059 | 1253657.1819 | 2751026.8922 | 1253652.8436
5 | 2750975.2797 | 1253607.997 | 2750994.7833 | 1253629.943
6 | 2751035.0059 | 1253657.1819 | 2751063.1295 | 1253671.899
7 | 2751035.0059 | 1253657.1819 | 2751048.5515 | 1253641.8211
8 | 2750975.2797 | 1253607.997 | 2750965.8168 | 1253597.349
9 | 2751063.1295 | 1253671.899 | 2751066.2643 | 1253673.5394 | 2751085.0729 | 1253684.8752
10 | 2751048.5515 | 1253641.8211 | 2751054.3265 | 1253635.2723
11 | 2750954.5708 | 1253584.6946 | 2750965.8168 | 1253597.349
12 | 2750936.8563 | 1253564.7617 | 2750919.3959 | 1253545.1148 | 2750916.3351 | 1253540.2994
13 | 2750936.8563 | 1253564.7617 | 2750941.5085 | 1253569.9966
14 | 2751163.1439 | 1253747.0383 | 2751128.078 | 1253718.1041 | 2751102.8607 | 1253697.2516 | 2751085.3417 | 1253685.0372 | 2751085.0729 | 1253684.8752
15 | 2751057.4158 | 1253616.7916 | 2751060.2801 | 1253624.9504 | 2751061.8344 | 1253626.7585 | 2751054.3265 | 1253635.2723
16 | 2751163.1439 | 1253747.0383 | 2751168.0027 | 1253741.2344 | 2751204.6514 | 1253714.7104 | 2751217.2111 | 1253705.6221 | 2751220.8577 | 1253697.6296
17 | 2751057.4158 | 1253616.7916 | 2751062.1705 | 1253619.5044 | 2751066.5538 | 1253624.4979
18 | 2751057.4158 | 1253616.7916 | 2751047.9986 | 1253607.9885
19 | 2750954.5708 | 1253584.6946 | 2750941.5085 | 1253569.9966
20 | 2751115.1939 | 1253583.1084 | 2751117.8364 | 1253588.8164 | 2751116.7726 | 1253593.2269 | 2751120.6934 | 1253595.6645
21 | 2751112.5635 | 1253577.4263 | 2751115.1939 | 1253583.1084
22 | 2751125.6939 | 1253598.7732 | 2751120.6934 | 1253595.6645
23 | 2751120.1268 | 1253573.3263 | 2751115.3006 | 1253576.0725 | 2751112.5635 | 1253577.4263
24 | 2751120.1268 | 1253573.3263 | 2751120.8927 | 1253567.5735 | 2751122.7077 | 1253564.7519
25 | 2751128.6282 | 1253555.548 | 2751122.7077 | 1253564.7519
26 | 2751135.3123 | 1253606.5684 | 2751151.5313 | 1253612.1084
27 | 2751135.3123 | 1253606.5684 | 2751135.784 | 1253614.9998 | 2751143.2462 | 1253624.1234
28 | 2751169.1758 | 1253614.9528 | 2751167.8315 | 1253618.1985 | 2751159.5601 | 1253614.8508 | 2751151.5313 | 1253612.1084
29 | 2751143.2462 | 1253624.1234 | 2751147.3139 | 1253629.0967 | 2751147.9394 | 1253635.6413 | 2751155.5671 | 1253648.0148
30 | 2751128.6282 | 1253555.548 | 2751129.9151 | 1253557.0538
31 | 2751128.6282 | 1253555.548 | 2751123.6545 | 1253549.8822
32 | 2751155.0065 | 1253658.9444 | 2751157.7258 | 1253654.1536 | 2751156.5074 | 1253649.5402 | 2751155.5671 | 1253648.0148
33 | 2751177.5181 | 1253594.8117 | 2751169.1758 | 1253614.9528
34 | 2751177.5181 | 1253594.8117 | 2751178.6312 | 1253592.3154 | 2751180.9041 | 1253587.8579 | 2751181.5621 | 1253586.6291 | 2751182.7133 | 1253584.4118 | 2751183.5291 | 1253579.3722
35 | 2751177.5181 | 1253594.8117 | 2751203.9593 | 1253609.1338 | 2751219.1088 | 1253614.5147 | 2751213.3386 | 1253632.6407 | 2751212.4131 | 1253641.6815 | 2751213.3353 | 1253651.6815 | 2751226.9312 | 1253689.1986 | 2751226.2612 | 1253693.8527 | 2751220.8577 | 1253697.6296
36 | 2751208.6734 | 1253503.5175 | 2751199.7977 | 1253489.2436 | 2751197.318 | 1253482.5849 | 2751194.0727 | 1253473.0928 | 2751194.1349 | 1253465.0421 | 2751194.4003 | 1253444.2412
37 | 2751208.6734 | 1253503.5175 | 2751220.285 | 1253523.5779 | 2751226.843 | 1253535.19 | 2751215.2409 | 1253543.1239
38 | 2751215.2409 | 1253543.1239 | 2751203.6744 | 1253544.6412 | 2751198.1211 | 1253542.1637
39 | 2751191.7571 | 1253552.8006 | 2751198.1211 | 1253542.1637
40 | 2751183.5291 | 1253579.3722 | 2751183.7196 | 1253578.1203 | 2751183.665 | 1253572.8693 | 2751185.5999 | 1253568.3935
41 | 2751193.3355 | 1253571.3924 | 2751195.0956 | 1253573.4171 | 2751195.9402 | 1253576.9977 | 2751183.5291 | 1253579.3722
42 | 2751220.8577 | 1253697.6296 | 2751204.3724 | 1253697.264 | 2751188.5489 | 1253695.2248 | 2751186.0581 | 1253686.3414
43 | 2751169.3853 | 1253569.1902 | 2751176.2169 | 1253573.046 | 2751178.0054 | 1253573.9592 | 2751180.7253 | 1253575.3522 | 2751193.3355 | 1253571.3924
44 | 2751191.7571 | 1253552.8006 | 2751188.6253 | 1253563.0974 | 2751190.6094 | 1253568.1752 | 2751193.3355 | 1253571.3924
45 | 2751191.7571 | 1253552.8006 | 2751167.0751 | 1253538.4567 | 2751160.955 | 1253537.4773 | 2751158.4297 | 1253536.0386
46 | 2751059.2614 | 1253466.4027 | 2751044.1623 | 1253478.2515 | 2751035.7913 | 1253492.9969 | 2751031.4818 | 1253488.1937
47 | 2751059.2614 | 1253466.4027 | 2751081.0372 | 1253490.5149 | 2751087.4726 | 1253498.6648 | 2751107.4739 | 1253523.9664
48 | 2751107.4739 | 1253523.9664 | 2751110.6405 | 1253522.0564 | 2751111.0683 | 1253516.2394 | 2751109.5143 | 1253511.762
49 | 2751107.4739 | 1253523.9664 | 2751110.5661 | 1253527.2118
50 | 2750975.7857 | 1253524.8096 | 2750969.6347 | 1253528.0004
51 | 2750975.7857 | 1253524.8096 | 2750974.2509 | 1253517.7969 | 2750973.6142 | 1253509.3169 | 2750975.4242 | 1253498.141 | 2750987.0407 | 1253470.3988 | 2750989.5715 | 1253464.413 | 2750992.6266 | 1253466.2816 | 2750994.6233 | 1253469.3911 | 2750998.3064 | 1253506.1209
52 | 2750975.7857 | 1253524.8096 | 2750981.8103 | 1253533.5099
53 | 2750969.6347 | 1253528.0004 | 2750963.801 | 1253529.9981
54 | 2750998.5589 | 1253508.652 | 2750998.3064 | 1253506.1209
55 | 2750981.8103 | 1253533.5099 | 2750983.4453 | 1253535.8712 | 2750996.892 | 1253551.2164
56 | 2751145.7903 | 1253528.8375 | 2751147.4166 | 1253526.3582
57 | 2751145.7903 | 1253528.8375 | 2751131.7445 | 1253520.8263
58 | 2751145.7903 | 1253528.8375 | 2751158.4297 | 1253536.0386
59 | 2751109.5143 | 1253511.762 | 2751116.8229 | 1253512.3157 | 2751131.7445 | 1253520.8263
60 | 2751109.5143 | 1253511.762 | 2751100.65 | 1253500.0753
61 | 2751110.5661 | 1253527.2118 | 2751114.7243 | 1253531.576
62 | 2751123.6545 | 1253549.8822 | 2751115.1202 | 1253531.9915 | 2751114.7243 | 1253531.576
63 | 2750998.4679 | 1253553.0148 | 2750996.892 | 1253551.2164
64 | 2751066.5538 | 1253624.4979 | 2751072.5067 | 1253631.2795 | 2751080.1833 | 1253642.2527 | 2751081.2993 | 1253643.5477
65 | 2751047.9986 | 1253607.9885 | 2751043.0994 | 1253603.4089
66 | 2751081.2993 | 1253643.5477 | 2751089.2089 | 1253652.7264 | 2751095.4364 | 1253658.0683 | 2751098.4204 | 1253659.9877
67 | 2751043.0994 | 1253603.4089 | 2751040.4869 | 1253600.9667 | 2751030.7288 | 1253589.8308
68 | 2750998.4679 | 1253553.0148 | 2750999.9781 | 1253554.7382
69 | 2751013.2202 | 1253569.8501 | 2750999.9781 | 1253554.7382
70 | 2751013.2202 | 1253569.8501 | 2751026.5366 | 1253585.0467
71 | 2751030.7288 | 1253589.8308 | 2751026.5366 | 1253585.0467
72 | 2751110.2023 | 1253667.532 | 2751102.0985 | 1253662.3535 | 2751098.4204 | 1253659.9877

## bus_geodata
| x | y | coords
0 | 2750982.9928 | 1253646.065
1 | 2750982.754 | 1253646.345
2 | 2750995.7828 | 1253631.0676
3 | 2751026.8922 | 1253652.8435
4 | 2750994.7833 | 1253629.943
5 | 2751035.0059 | 1253657.1819
6 | 2750975.2797 | 1253607.997
7 | 2751063.1295 | 1253671.899
8 | 2751048.5515 | 1253641.8211
9 | 2750965.8168 | 1253597.349
10 | 2750916.3351 | 1253540.2994
11 | 2750936.8563 | 1253564.7617
12 | 2751085.0729 | 1253684.8752
13 | 2751054.3265 | 1253635.2723
14 | 2751163.1439 | 1253747.0383
15 | 2751057.4158 | 1253616.7916
16 | 2750954.5708 | 1253584.6946
17 | 2750941.5085 | 1253569.9966
18 | 2751115.1939 | 1253583.1084
19 | 2751120.6934 | 1253595.6645
20 | 2751112.5635 | 1253577.4263
21 | 2751125.6939 | 1253598.7732
22 | 2751120.1268 | 1253573.3263
23 | 2751122.7077 | 1253564.7519
24 | 2751135.3123 | 1253606.5684
25 | 2751151.5313 | 1253612.1084
26 | 2751143.2462 | 1253624.1234
27 | 2751128.6282 | 1253555.548
28 | 2751155.5671 | 1253648.0148
29 | 2751155.0065 | 1253658.9444
30 | 2751169.1758 | 1253614.9528
31 | 2751177.5181 | 1253594.8117
32 | 2751194.4003 | 1253444.2412
33 | 2751208.6734 | 1253503.5175
34 | 2751215.2409 | 1253543.1239
35 | 2751198.1211 | 1253542.1637
36 | 2751183.5291 | 1253579.3722
37 | 2751220.8577 | 1253697.6296
38 | 2751186.0581 | 1253686.3414
39 | 2751193.3355 | 1253571.3924
40 | 2751169.3853 | 1253569.1902
41 | 2751191.7571 | 1253552.8006
42 | 2751185.5999 | 1253568.3935
43 | 2751059.2614 | 1253466.4027
44 | 2751031.4818 | 1253488.1937
45 | 2751107.4739 | 1253523.9664
46 | 2750975.7857 | 1253524.8096
47 | 2750969.6347 | 1253528.0004
48 | 2750998.3064 | 1253506.1209
49 | 2750981.8103 | 1253533.5099
50 | 2750998.5589 | 1253508.652
51 | 2751147.4166 | 1253526.3582
52 | 2751145.7903 | 1253528.8375
53 | 2751129.9151 | 1253557.0538
54 | 2751158.4297 | 1253536.0386
55 | 2751131.7445 | 1253520.8263
56 | 2751109.5143 | 1253511.762
57 | 2751100.65 | 1253500.0753
58 | 2751110.5661 | 1253527.2118
59 | 2751114.7243 | 1253531.576
60 | 2751123.6545 | 1253549.8822
61 | 2750963.801 | 1253529.9981
62 | 2750996.892 | 1253551.2164
63 | 2751066.5538 | 1253624.4979
64 | 2751047.9986 | 1253607.9885
65 | 2751081.2993 | 1253643.5477
66 | 2751043.0994 | 1253603.4089
67 | 2750998.4679 | 1253553.0148
68 | 2750999.9781 | 1253554.7382
69 | 2751013.2202 | 1253569.8501
70 | 2751026.5366 | 1253585.0467
71 | 2751030.7288 | 1253589.8308
72 | 2751098.4204 | 1253659.9877
73 | 2751110.2023 | 1253667.532
74 | 2751057.4158 | 1253616.7916

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1