## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3023-6_1_4_node_42 | 0.4 | n |  | TRUE
1 | bus_LV_3023-6_1_4_node_45 | 0.4 | n |  | TRUE
2 | bus_LV_3023-6_1_4_node_40 | 0.4 | n |  | TRUE
3 | bus_LV_3023-6_1_4_node_31 | 0.4 | n |  | TRUE
4 | bus_LV_3023-6_1_4_node_32 | 0.4 | n |  | TRUE
5 | bus_LV_3023-6_1_4_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_3023-6_1_4_node_186 | 0.4 | n |  | TRUE
7 | bus_LV_3023-6_1_4_node_188 | 0.4 | n |  | TRUE
8 | bus_LV_3023-6_1_4_node_66 | 0.4 | n |  | TRUE
9 | bus_LV_3023-6_1_4_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_3023-6_1_4_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_3023-6_1_4_node_69 | 0.4 | n |  | TRUE
12 | bus_LV_3023-6_1_4_node_136 | 0.4 | n |  | TRUE
13 | bus_LV_3023-6_1_4_node_135 | 0.4 | n |  | TRUE
14 | bus_LV_3023-6_1_4_node_95 | 0.4 | n |  | TRUE
15 | bus_LV_3023-6_1_4_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_3023-6_1_4_node_102 | 0.4 | n |  | TRUE
17 | bus_LV_3023-6_1_4_node_155 | 0.4 | n |  | TRUE
18 | bus_LV_3023-6_1_4_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_3023-6_1_4_node_157 | 0.4 | n |  | TRUE
20 | bus_LV_3023-6_1_4_node_154 | 0.4 | n |  | TRUE
21 | bus_LV_3023-6_1_4_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_3023-6_1_4_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_3023-6_1_4_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_3023-6_1_4_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_3023-6_1_4_node_65 | 0.4 | n |  | TRUE
26 | bus_LV_3023-6_1_4_node_80 | 0.4 | n |  | TRUE
27 | bus_LV_3023-6_1_4_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_3023-6_1_4_node_81 | 0.4 | n |  | TRUE
29 | bus_LV_3023-6_1_4_node_190 | 0.4 | n |  | TRUE
30 | bus_LV_3023-6_1_4_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_3023-6_1_4_node_191 | 0.4 | n |  | TRUE
32 | bus_LV_3023-6_1_4_node_73 | 0.4 | n |  | TRUE
33 | bus_LV_3023-6_1_4_node_74 | 0.4 | n |  | TRUE
34 | bus_LV_3023-6_1_4_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_3023-6_1_4_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_3023-6_1_4_node_187 | 0.4 | n |  | TRUE
37 | bus_LV_3023-6_1_4_node_134 | 0.4 | n |  | TRUE
38 | bus_LV_3023-6_1_4_node_194 | 0.4 | n |  | TRUE
39 | bus_LV_3023-6_1_4_node_114 | 0.4 | n |  | TRUE
40 | bus_LV_3023-6_1_4_node_92 | 0.4 | n |  | TRUE
41 | bus_LV_3023-6_1_4_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_3023-6_1_4_node_100 | 0.4 | n |  | TRUE
43 | bus_LV_3023-6_1_4_node_156 | 0.4 | n |  | TRUE
44 | bus_LV_3023-6_1_4_node_96 | 0.4 | n |  | TRUE
45 | bus_LV_3023-6_1_4_node_195 | 0.4 | n |  | TRUE
46 | bus_LV_3023-6_1_4_node_97 | 0.4 | n |  | TRUE
47 | bus_LV_3023-6_1_4_node_90 | 0.4 | n |  | TRUE
48 | bus_LV_3023-6_1_4_node_94 | 0.4 | n |  | TRUE
49 | bus_LV_3023-6_1_4_node_193 | 0.4 | n |  | TRUE
50 | bus_LV_3023-6_1_4_node_91 | 0.4 | n |  | TRUE
51 | bus_LV_3023-6_1_4_node_192 | 0.4 | n |  | TRUE
52 | bus_LV_3023-6_1_4_node_133 | 0.4 | n |  | TRUE
53 | bus_LV_3023-6_1_4_node_83 | 0.4 | n |  | TRUE
54 | bus_LV_3023-6_1_4_node_84 | 0.4 | n |  | TRUE
55 | bus_LV_3023-6_1_4_node_85 | 0.4 | n |  | TRUE
56 | bus_LV_3023-6_1_4_node_137 | 0.4 | n |  | TRUE
57 | bus_LV_3023-6_1_4_node_158 | 0.4 | n |  | TRUE
58 | bus_LV_3023-6_1_4_node_86 | 0.4 | n |  | TRUE
59 | bus_LV_3023-6_1_4_node_87 | 0.4 | n |  | TRUE
60 | bus_LV_3023-6_1_4_node_88 | 0.4 | n |  | TRUE
61 | bus_LV_3023-6_1_4_node_140 | 0.4 | n |  | TRUE
62 | bus_LV_3023-6_1_4_node_138 | 0.4 | n |  | TRUE
63 | bus_LV_3023-6_1_4_node_93 | 0.4 | n |  | TRUE
64 | bus_LV_3023-6_1_4_node_132 | 0.4 | n |  | TRUE
65 | bus_LV_3023-6_1_4_node_146 | 0.4 | n |  | TRUE
66 | bus_LV_3023-6_1_4_node_98 | 0.4 | n |  | TRUE
67 | bus_LV_3023-6_1_4_node_99 | 0.4 | n |  | TRUE
68 | bus_LV_3023-6_1_4_node_101 | 0.4 | n |  | TRUE
69 | bus_LV_3023-6_1_4_node_108 | 0.4 | n |  | TRUE
70 | bus_LV_3023-6_1_4_node_168 | 0.4 | n |  | TRUE
71 | bus_LV_3023-6_1_4_node_103 | 0.4 | n |  | TRUE
72 | bus_LV_3023-6_1_4_node_104 | 0.4 | n |  | TRUE
73 | bus_LV_3023-6_1_4_node_105 | 0.4 | n |  | TRUE
74 | bus_LV_3023-6_1_4_node_106 | 0.4 | n |  | TRUE
75 | bus_LV_3023-6_1_4_node_130 | 0.4 | n |  | TRUE
76 | bus_LV_3023-6_1_4_node_131 | 0.4 | n |  | TRUE
77 | bus_LV_3023-6_1_4_node_163 | 0.4 | n |  | TRUE
78 | bus_LV_3023-6_1_4_node_120 | 0.4 | n |  | TRUE
79 | bus_LV_3023-6_1_4_node_118 | 0.4 | n |  | TRUE
80 | bus_LV_3023-6_1_4_node_115 | 0.4 | n |  | TRUE
81 | bus_LV_3023-6_1_4_node_116 | 0.4 | n |  | TRUE
82 | bus_LV_3023-6_1_4_node_117 | 0.4 | n |  | TRUE
83 | bus_LV_3023-6_1_4_node_119 | 0.4 | n |  | TRUE
84 | bus_LV_3023-6_1_4_node_153 | 0.4 | n |  | TRUE
85 | bus_LV_3023-6_1_4_node_144 | 0.4 | n |  | TRUE
86 | bus_LV_3023-6_1_4_node_121 | 0.4 | n |  | TRUE
87 | bus_LV_3023-6_1_4_node_122 | 0.4 | n |  | TRUE
88 | bus_LV_3023-6_1_4_node_123 | 0.4 | n |  | TRUE
89 | bus_LV_3023-6_1_4_node_125 | 0.4 | n |  | TRUE
90 | bus_LV_3023-6_1_4_node_126 | 0.4 | n |  | TRUE
91 | bus_LV_3023-6_1_4_node_143 | 0.4 | n |  | TRUE
92 | bus_LV_3023-6_1_4_node_159 | 0.4 | n |  | TRUE
93 | bus_LV_3023-6_1_4_node_152 | 0.4 | n |  | TRUE
94 | bus_LV_3023-6_1_4_node_141 | 0.4 | n |  | TRUE
95 | bus_LV_3023-6_1_4_node_150 | 0.4 | n |  | TRUE
96 | bus_LV_3023-6_1_4_node_127 | 0.4 | n |  | TRUE
97 | bus_LV_3023-6_1_4_node_128 | 0.4 | n |  | TRUE
98 | bus_LV_3023-6_1_4_node_129 | 0.4 | n |  | TRUE
99 | bus_LV_3023-6_1_4_node_151 | 0.4 | n |  | TRUE
100 | bus_LV_3023-6_1_4_node_162 | 0.4 | n |  | TRUE
101 | bus_LV_3023-6_1_4_node_164 | 0.4 | n |  | TRUE
102 | bus_LV_3023-6_1_4_node_160 | 0.4 | n |  | TRUE
103 | bus_LV_3023-6_1_4_node_142 | 0.4 | n |  | TRUE
104 | bus_LV_3023-6_1_4_node_145 | 0.4 | n |  | TRUE
105 | bus_LV_3023-6_1_4_node_189 | 0.4 | n |  | TRUE
106 | bus_LV_3023-6_1_4_node_161 | 0.4 | n |  | TRUE
107 | bus_MV_41_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3023-6_1_4_load_40 | 2 | 0.018409 | 0.0046138 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3023-6_1_4_load_31 | 3 | 0.001275 | 0.00031954 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3023-6_1_4_load_32 | 4 | 0.00028741 | 7.2032e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3023-6_1_4_load_188 | 7 | 0.00078748 | 0.00019736 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3023-6_1_4_load_71 | 10 | 0.0075452 | 0.001891 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3023-6_1_4_load_69 | 11 | 0.0027595 | 0.00069159 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3023-6_1_4_load_135 | 13 | 0.0075943 | 0.0019033 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3023-6_1_4_load_155 | 17 | 0.0032915 | 0.00082492 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3023-6_1_4_load_157 | 19 | 0.0076841 | 0.0019258 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3023-6_1_4_load_154 | 20 | 0.006164 | 0.0015448 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3023-6_1_4_load_53 | 21 | 0.0013451 | 0.0003371 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3023-6_1_4_load_55 | 23 | 0.001542 | 0.00038646 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3023-6_1_4_load_56 | 24 | 0.0015123 | 0.00037902 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3023-6_1_4_load_80 | 26 | 0.0025674 | 0.00064346 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3023-6_1_4_load_190 | 29 | 0.015297 | 0.0038338 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3023-6_1_4_load_191 | 31 | 0.008194 | 0.0020536 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3023-6_1_4_load_74 | 33 | 0.0034018 | 0.00085256 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3023-6_1_4_load_62 | 34 | 0.0012349 | 0.00030949 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3023-6_1_4_load_64 | 35 | 0.00034629 | 8.6789e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3023-6_1_4_load_187 | 36 | 0.0047046 | 0.0011791 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3023-6_1_4_load_194 | 38 | 0.0081647 | 0.0020463 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3023-6_1_4_load_114 | 39 | 0.014194 | 0.0035575 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3023-6_1_4_load_100 | 42 | 0.0035357 | 0.00088612 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3023-6_1_4_load_195 | 45 | 0.015367 | 0.0038513 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3023-6_1_4_load_90 | 47 | 0.014259 | 0.0035736 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3023-6_1_4_load_193 | 49 | 0.015367 | 0.0038514 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3023-6_1_4_load_192 | 51 | 0.015358 | 0.0038492 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3023-6_1_4_load_83 | 53 | 0.0024772 | 0.00062085 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3023-6_1_4_load_84 | 54 | 0.0054422 | 0.0013639 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3023-6_1_4_load_85 | 55 | 0.0034947 | 0.00087584 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3023-6_1_4_load_137 | 56 | 0.0027436 | 0.00068761 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3023-6_1_4_load_158 | 57 | 0.0039161 | 0.00098148 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3023-6_1_4_load_86 | 58 | 0.0031194 | 0.0007818 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3023-6_1_4_load_87 | 59 | 0.0032678 | 0.000819 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3023-6_1_4_load_88 | 60 | 0.0023957 | 0.00060043 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3023-6_1_4_load_138 | 62 | 0.010902 | 0.0027324 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3023-6_1_4_load_132 | 64 | 0.016122 | 0.0040406 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3023-6_1_4_load_146 | 65 | 0.0036065 | 0.00090386 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3023-6_1_4_load_98 | 66 | 0.0040723 | 0.0010206 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3023-6_1_4_load_99 | 67 | 0.0032027 | 0.00080268 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3023-6_1_4_load_101 | 68 | 0.0015297 | 0.00038339 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3023-6_1_4_load_168 | 70 | 0.0017915 | 0.000449 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3023-6_1_4_load_103 | 71 | 0.0026153 | 0.00065546 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3023-6_1_4_load_104 | 72 | 0.0033723 | 0.00084517 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3023-6_1_4_load_105 | 73 | 0.0031274 | 0.00078379 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3023-6_1_4_load_106 | 74 | 0.002518 | 0.00063108 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3023-6_1_4_load_130 | 75 | 0.0021828 | 0.00054706 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3023-6_1_4_load_131 | 76 | 0.0012734 | 0.00031914 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3023-6_1_4_load_163 | 77 | 0.002429 | 0.00060877 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3023-6_1_4_load_120 | 78 | 0.0034295 | 0.00085952 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3023-6_1_4_load_118 | 79 | 0.0029208 | 0.00073203 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3023-6_1_4_load_115 | 80 | 0.0030089 | 0.00075411 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3023-6_1_4_load_116 | 81 | 0.0018054 | 0.00045248 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3023-6_1_4_load_117 | 82 | 0.001386 | 0.00034736 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3023-6_1_4_load_119 | 83 | 0.0018375 | 0.00046052 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3023-6_1_4_load_153 | 84 | 0.004805 | 0.0012042 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3023-6_1_4_load_144 | 85 | 0.0057761 | 0.0014476 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3023-6_1_4_load_121 | 86 | 0.0027274 | 0.00068355 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3023-6_1_4_load_122 | 87 | 0.0026828 | 0.00067237 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3023-6_1_4_load_126 | 90 | 0.0016497 | 0.00041344 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3023-6_1_4_load_159 | 92 | 0.0037566 | 0.0009415 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3023-6_1_4_load_152 | 93 | 0.0024075 | 0.00060338 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3023-6_1_4_load_141 | 94 | 0.0044087 | 0.0011049 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3023-6_1_4_load_150 | 95 | 0.0041004 | 0.0010277 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3023-6_1_4_load_127 | 96 | 0.0038655 | 0.00096879 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3023-6_1_4_load_128 | 97 | 0.0049201 | 0.0012331 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3023-6_1_4_load_151 | 99 | 0.0025471 | 0.00063835 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3023-6_1_4_load_164 | 101 | 0.0015713 | 0.0003938 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3023-6_1_4_load_160 | 102 | 0.007721 | 0.0019351 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3023-6_1_4_load_189 | 105 | 0.0016443 | 0.0004121 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3023-6_1_4_load_161 | 106 | 0.0028948 | 0.00072551 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3023-6_1_4_line_0 |  | 0 | 1 | 0.12838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3023-6_1_4_line_1 |  | 0 | 2 | 0.036817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3023-6_1_4_line_2 |  | 1 | 12 | 0.027494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3023-6_1_4_line_3 |  | 1 | 13 | 0.014633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3023-6_1_4_line_4 |  | 3 | 4 | 0.0078149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3023-6_1_4_line_5 |  | 4 | 5 | 0.0067401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3023-6_1_4_line_6 |  | 5 | 6 | 0.013302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3023-6_1_4_line_7 |  | 6 | 7 | 0.18457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3023-6_1_4_line_8 |  | 6 | 8 | 0.038354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3023-6_1_4_line_9 |  | 8 | 36 | 0.074314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3023-6_1_4_line_10 |  | 8 | 25 | 0.012613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3023-6_1_4_line_11 |  | 9 | 10 | 0.010468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3023-6_1_4_line_12 |  | 9 | 11 | 0.027498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3023-6_1_4_line_13 |  | 10 | 14 | 0.017758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_3023-6_1_4_line_14 |  | 11 | 18 | 0.0063477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3023-6_1_4_line_15 |  | 12 | 19 | 0.0027237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3023-6_1_4_line_16 |  | 12 | 20 | 0.061173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3023-6_1_4_line_17 |  | 14 | 39 | 0.03583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_3023-6_1_4_line_18 |  | 14 | 40 | 0.043379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3023-6_1_4_line_19 |  | 15 | 16 | 0.021982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3023-6_1_4_line_20 |  | 15 | 17 | 0.023186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3023-6_1_4_line_21 |  | 16 | 41 | 0.026072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3023-6_1_4_line_22 |  | 16 | 42 | 0.016357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_3023-6_1_4_line_23 |  | 17 | 43 | 0.01379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3023-6_1_4_line_24 |  | 17 | 20 | 0.014049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3023-6_1_4_line_25 |  | 18 | 32 | 0.04056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3023-6_1_4_line_26 |  | 18 | 33 | 0.020342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3023-6_1_4_line_27 |  | 21 | 22 | 0.039458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3023-6_1_4_line_28 |  | 22 | 23 | 0.0081518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3023-6_1_4_line_29 |  | 22 | 24 | 0.0075432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3023-6_1_4_line_30 |  | 23 | 25 | 0.084999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3023-6_1_4_line_31 |  | 24 | 26 | 0.060158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3023-6_1_4_line_32 |  | 25 | 27 | 0.14449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3023-6_1_4_line_33 |  | 27 | 35 | 0.010604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3023-6_1_4_line_34 |  | 27 | 34 | 0.01731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3023-6_1_4_line_35 |  | 28 | 29 | 0.004201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3023-6_1_4_line_36 |  | 28 | 30 | 0.023343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3023-6_1_4_line_37 |  | 30 | 31 | 0.005056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3023-6_1_4_line_38 |  | 30 | 32 | 0.052212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3023-6_1_4_line_39 |  | 32 | 38 | 0.005329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3023-6_1_4_line_40 |  | 36 | 37 | 0.0292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3023-6_1_4_line_41 |  | 37 | 52 | 0.008954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3023-6_1_4_line_42 |  | 39 | 65 | 0.0023703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_3023-6_1_4_line_43 |  | 40 | 47 | 0.014773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3023-6_1_4_line_44 |  | 41 | 61 | 0.10296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3023-6_1_4_line_45 |  | 41 | 60 | 0.01874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3023-6_1_4_line_46 |  | 42 | 66 | 0.00064425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_3023-6_1_4_line_47 |  | 43 | 76 | 0.020822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3023-6_1_4_line_48 |  | 43 | 98 | 0.010764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3023-6_1_4_line_49 |  | 44 | 45 | 0.004659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3023-6_1_4_line_50 |  | 44 | 46 | 0.03608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3023-6_1_4_line_51 |  | 46 | 51 | 0.005055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3023-6_1_4_line_52 |  | 46 | 52 | 0.035998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3023-6_1_4_line_53 |  | 47 | 50 | 0.017817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3023-6_1_4_line_54 |  | 48 | 49 | 0.00266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3023-6_1_4_line_55 |  | 48 | 50 | 0.039244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3023-6_1_4_line_56 |  | 50 | 63 | 0.006182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3023-6_1_4_line_57 |  | 52 | 64 | 0.026343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3023-6_1_4_line_58 |  | 53 | 54 | 0.0029596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3023-6_1_4_line_59 |  | 54 | 55 | 0.023581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3023-6_1_4_line_60 |  | 55 | 56 | 0.0018126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3023-6_1_4_line_61 |  | 56 | 57 | 0.0053582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3023-6_1_4_line_62 |  | 57 | 92 | 0.023622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3023-6_1_4_line_63 |  | 58 | 59 | 0.0096449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3023-6_1_4_line_64 |  | 58 | 60 | 0.020019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3023-6_1_4_line_65 |  | 61 | 62 | 0.012222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3023-6_1_4_line_66 |  | 63 | 64 | 0.0090637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3023-6_1_4_line_67 |  | 65 | 69 | 0.025445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_3023-6_1_4_line_68 |  | 66 | 67 | 0.026182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_3023-6_1_4_line_69 |  | 67 | 68 | 0.0049587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_3023-6_1_4_line_70 |  | 68 | 69 | 0.010406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_3023-6_1_4_line_71 |  | 69 | 70 | 0.013392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3023-6_1_4_line_72 |  | 70 | 77 | 0.017026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3023-6_1_4_line_73 |  | 71 | 72 | 0.015097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3023-6_1_4_line_74 |  | 71 | 73 | 0.010922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3023-6_1_4_line_75 |  | 72 | 74 | 0.01555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3023-6_1_4_line_76 |  | 74 | 75 | 0.00024904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3023-6_1_4_line_77 |  | 75 | 76 | 0.012159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3023-6_1_4_line_78 |  | 77 | 106 | 0.0076491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3023-6_1_4_line_79 |  | 78 | 79 | 0.011156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3023-6_1_4_line_80 |  | 79 | 81 | 0.013114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3023-6_1_4_line_81 |  | 80 | 81 | 0.017171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3023-6_1_4_line_82 |  | 80 | 82 | 0.0047955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3023-6_1_4_line_83 |  | 82 | 83 | 0.018156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3023-6_1_4_line_84 |  | 83 | 84 | 0.0058131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3023-6_1_4_line_85 |  | 84 | 85 | 0.023056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3023-6_1_4_line_86 |  | 85 | 103 | 0.032051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3023-6_1_4_line_87 |  | 86 | 87 | 0.001294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3023-6_1_4_line_88 |  | 86 | 88 | 0.015677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3023-6_1_4_line_89 |  | 88 | 89 | 0.018962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3023-6_1_4_line_90 |  | 88 | 90 | 0.016069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3023-6_1_4_line_91 |  | 89 | 91 | 0.017147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3023-6_1_4_line_92 |  | 89 | 92 | 0.013165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3023-6_1_4_line_93 |  | 90 | 93 | 0.0066479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3023-6_1_4_line_94 |  | 91 | 94 | 0.002823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3023-6_1_4_line_95 |  | 93 | 95 | 0.0056111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3023-6_1_4_line_96 |  | 94 | 103 | 0.032307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3023-6_1_4_line_97 |  | 95 | 99 | 0.017688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3023-6_1_4_line_98 |  | 96 | 97 | 0.033448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3023-6_1_4_line_99 |  | 97 | 98 | 0.050097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3023-6_1_4_line_100 |  | 98 | 99 | 0.0020782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3023-6_1_4_line_101 |  | 100 | 101 | 0.021444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3023-6_1_4_line_102 |  | 100 | 102 | 0.039332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3023-6_1_4_line_103 |  | 102 | 106 | 0.0091862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3023-6_1_4_line_104 |  | 103 | 104 | 0.1575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3023-6_1_4_line_105 |  | 104 | 105 | 0.018013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3023-6_1_4_trafo_71 | 0.63 MVA 20/0.4 kV | 107 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2751459.9262 | 1253460.5717 | 2751489.5384 | 1253392.0061 | 2751504.5275 | 1253353.2404 | 2751492.4757 | 1253351.8753
1 | 2751459.9262 | 1253460.5717 | 2751470.997 | 1253466.3382 | 2751481.6369 | 1253475.0743 | 2751485.8429 | 1253484.7692 | 2751485.8429 | 1253484.7692
2 | 2751495.9873 | 1253326.1732 | 2751499.1234 | 1253334.6061 | 2751492.4757 | 1253351.8753
3 | 2751492.4757 | 1253351.8753 | 2751477.9231 | 1253350.3388
4 | 2751822.6834 | 1253314.4185 | 2751829.1502 | 1253318.8065
5 | 2751817.106 | 1253310.634 | 2751822.6834 | 1253314.4185
6 | 2751810.0297 | 1253321.9082 | 2751817.106 | 1253310.634
7 | 2751810.0297 | 1253321.9082 | 2751806.6712 | 1253314.2146 | 2751811.418 | 1253287.2098 | 2751837.5219 | 1253271.7191 | 2751865.8372 | 1253224.1872 | 2751861.1003 | 1253214.6008 | 2751843.8629 | 1253200.5341 | 2751833.5702 | 1253190.9164 | 2751828.1236 | 1253186.6282 | 2751819.6401 | 1253183.2964
8 | 2751810.0297 | 1253321.9082 | 2751788.8847 | 1253353.9423
9 | 2751788.8847 | 1253353.9423 | 2751771.876 | 1253346.5659 | 2751747.5312 | 1253332.3394 | 2751726.8183 | 1253326.0361 | 2751720.9898 | 1253324.9612
10 | 2751800.4156 | 1253359.1317 | 2751788.8847 | 1253353.9423
11 | 2751537.8247 | 1253313.8757 | 2751548.2232 | 1253315.0783
12 | 2751537.8247 | 1253313.8757 | 2751534.3861 | 1253334.063 | 2751535.37 | 1253341.0136
13 | 2751565.8637 | 1253317.1184 | 2751548.2232 | 1253315.0783
14 | 2751535.9034 | 1253347.3371 | 2751535.4985 | 1253341.9214 | 2751535.37 | 1253341.0136
15 | 2751495.9873 | 1253326.1732 | 2751493.432 | 1253327.1162
16 | 2751495.9873 | 1253326.1732 | 2751505.8786 | 1253322.5782 | 2751518.5624 | 1253283.0417 | 2751513.4901 | 1253275.4534
17 | 2751565.8637 | 1253317.1184 | 2751579.7424 | 1253284.0849
18 | 2751565.8637 | 1253317.1184 | 2751576.0447 | 1253318.1354 | 2751600.601 | 1253320.5884 | 2751609.0488 | 1253321.1829
19 | 2751533.4993 | 1253264.3165 | 2751535.6419 | 1253251.4031 | 2751536.4273 | 1253242.5479
20 | 2751533.4993 | 1253264.3165 | 2751510.3156 | 1253262.4995
21 | 2751536.4273 | 1253242.5479 | 2751538.753 | 1253216.5819
22 | 2751536.4273 | 1253242.5479 | 2751547.5458 | 1253247.3481 | 2751551.7444 | 1253247.9844
23 | 2751496.5035 | 1253261.7678 | 2751510.3156 | 1253262.4995
24 | 2751510.3156 | 1253262.4995 | 2751509.917 | 1253270.1079 | 2751513.4901 | 1253275.4534
25 | 2751535.9034 | 1253347.3371 | 2751545.9479 | 1253355.7467 | 2751572.3418 | 1253363.6741
26 | 2751535.9034 | 1253347.3371 | 2751535.872 | 1253355.3441 | 2751536.6107 | 1253359.8118 | 2751539.1919 | 1253367.1795
27 | 2751848.1643 | 1253438.0661 | 2751811.2744 | 1253424.0651
28 | 2751848.1643 | 1253438.0661 | 2751848.1149 | 1253432.0479 | 2751846.947 | 1253430.2626
29 | 2751848.1643 | 1253438.0661 | 2751845.6423 | 1253445.1752
30 | 2751800.4156 | 1253359.1317 | 2751846.947 | 1253430.2626
31 | 2751866.7104 | 1253491.7034 | 2751841.653 | 1253469.1075 | 2751838.6768 | 1253463.2922 | 2751839.1966 | 1253457.155 | 2751843.6559 | 1253450.7742 | 2751845.6423 | 1253445.1752
32 | 2751800.4156 | 1253359.1317 | 2751812.9339 | 1253357.9068 | 2751820.949 | 1253357.1226 | 2751840.7547 | 1253351.9918 | 2751916.5428 | 1253332.3489 | 2751938.9619 | 1253343.646
33 | 2751938.9619 | 1253343.646 | 2751933.6377 | 1253352.8166
34 | 2751938.9619 | 1253343.646 | 2751954.4175 | 1253351.4415
35 | 2751609.1102 | 1253401.5966 | 2751607.8001 | 1253405.5892
36 | 2751586.5136 | 1253398.1038 | 2751589.9065 | 1253399.1583 | 2751591.2723 | 1253401.5401 | 2751597.2489 | 1253402.5273 | 2751607.8001 | 1253405.5892
37 | 2751586.5136 | 1253398.1038 | 2751581.4685 | 1253397.5965
38 | 2751572.3418 | 1253363.6741 | 2751594.1206 | 1253370.2156 | 2751594.5684 | 1253372.774 | 2751594.3422 | 1253376.5942 | 2751593.4879 | 1253379.8867 | 2751589.3293 | 1253387.7991 | 2751588.2315 | 1253390.5737 | 2751586.5136 | 1253398.1038
39 | 2751573.8092 | 1253358.5511 | 2751572.3418 | 1253363.6741
40 | 2751692.0897 | 1253321.053 | 2751705.9443 | 1253322.1866 | 2751720.9898 | 1253324.9612
41 | 2751692.0897 | 1253321.053 | 2751683.118 | 1253321.457
42 | 2751579.7424 | 1253284.0849 | 2751580.6605 | 1253281.8997
43 | 2751609.0488 | 1253321.1829 | 2751623.7659 | 1253322.4703
44 | 2751538.753 | 1253216.5819 | 2751538.5259 | 1253186.8248 | 2751538.0392 | 1253181.952 | 2751543.3406 | 1253181.5984 | 2751552.2656 | 1253177.4226 | 2751549.5449 | 1253137.7252 | 2751562.858 | 1253136.7315
45 | 2751538.753 | 1253216.5819 | 2751557.4316 | 1253218.1021
46 | 2751552.3814 | 1253248.0809 | 2751551.7444 | 1253247.9844
47 | 2751496.5035 | 1253261.7678 | 2751497.1475 | 1253248.994 | 2751497.7276 | 1253240.9835
48 | 2751485.722 | 1253261.2027 | 2751496.5035 | 1253261.7678
49 | 2751657.9175 | 1253389.2226 | 2751662.4566 | 1253390.3288
50 | 2751673.3786 | 1253355.9414 | 2751668.5418 | 1253371.1658 | 2751662.4566 | 1253390.3288
51 | 2751668.4489 | 1253354.7585 | 2751673.3786 | 1253355.9414
52 | 2751683.118 | 1253321.457 | 2751683.1674 | 1253325.1285 | 2751673.3786 | 1253355.9414
53 | 2751641.5559 | 1253323.2948 | 2751629.9068 | 1253323.0074 | 2751623.7659 | 1253322.4703
54 | 2751625.2425 | 1253358.0223 | 2751627.8221 | 1253358.7001
55 | 2751641.5559 | 1253323.2948 | 2751630.673 | 1253357.9279 | 2751627.8221 | 1253358.7001
56 | 2751641.5559 | 1253323.2948 | 2751647.7557 | 1253323.2312
57 | 2751683.118 | 1253321.457 | 2751656.8081 | 1253322.777
58 | 2751403.1418 | 1253324.9812 | 2751403.7988 | 1253322.0955
59 | 2751409.0341 | 1253299.1028 | 2751403.7988 | 1253322.0955
60 | 2751409.0341 | 1253299.1028 | 2751409.4365 | 1253297.3355
61 | 2751409.4365 | 1253297.3355 | 2751410.6261 | 1253292.111
62 | 2751410.6261 | 1253292.111 | 2751415.8704 | 1253269.0785
63 | 2751577.2076 | 1253220.7237 | 2751586.5007 | 1253223.305
64 | 2751577.2076 | 1253220.7237 | 2751572.0532 | 1253219.292 | 2751557.4316 | 1253218.1021
65 | 2751562.858 | 1253136.7315 | 2751575.0378 | 1253135.7215
66 | 2751647.7557 | 1253323.2312 | 2751656.8081 | 1253322.777
67 | 2751591.9156 | 1253259.117 | 2751584.7489 | 1253272.1686 | 2751580.6605 | 1253281.8997
68 | 2751552.3814 | 1253248.0809 | 2751574.3036 | 1253251.4033 | 2751578.1566 | 1253252.5113
69 | 2751578.1566 | 1253252.5113 | 2751582.9222 | 1253253.8818
70 | 2751591.9156 | 1253259.117 | 2751582.9222 | 1253253.8818
71 | 2751591.9156 | 1253259.117 | 2751605.288 | 1253259.8381
72 | 2751622.289 | 1253260.7548 | 2751605.288 | 1253259.8381
73 | 2751486.2515 | 1253202.759 | 2751486.2515 | 1253202.759 | 2751493.6769 | 1253208.499 | 2751496.5019 | 1253213.4637
74 | 2751486.2515 | 1253202.759 | 2751477.9767 | 1253199.2329 | 2751476.1854 | 1253198.5206
75 | 2751498.6238 | 1253228.6082 | 2751498.9459 | 1253224.1601 | 2751497.6072 | 1253215.4062 | 2751496.5019 | 1253213.4637
76 | 2751498.6238 | 1253228.6082 | 2751498.6058 | 1253228.8566
77 | 2751497.7276 | 1253240.9835 | 2751498.6058 | 1253228.8566
78 | 2751622.289 | 1253260.7548 | 2751629.9271 | 1253261.1666
79 | 2751331.3013 | 1253368.1416 | 2751333.1663 | 1253357.1423
80 | 2751335.3586 | 1253344.213 | 2751333.1663 | 1253357.1423
81 | 2751338.2291 | 1253327.2833 | 2751335.3586 | 1253344.213
82 | 2751338.2291 | 1253327.2833 | 2751339.0308 | 1253322.5553
83 | 2751339.0308 | 1253322.5553 | 2751342.066 | 1253304.6546
84 | 2751342.066 | 1253304.6546 | 2751343.0378 | 1253298.9233
85 | 2751346.9636 | 1253276.2062 | 2751346.7251 | 1253277.1768 | 2751343.0378 | 1253298.9233
86 | 2751366.5988 | 1253253.4391 | 2751362.1875 | 1253255.5952 | 2751356.7332 | 1253258.0916 | 2751352.5458 | 1253262.1219 | 2751349.0088 | 1253267.8816 | 2751346.9636 | 1253276.2062
87 | 2751436.4254 | 1253243.2517 | 2751436.7184 | 1253241.9914
88 | 2751437.7483 | 1253257.7951 | 2751438.2424 | 1253252.0576 | 2751435.293 | 1253248.1228 | 2751436.4254 | 1253243.2517
89 | 2751437.7483 | 1253257.7951 | 2751418.7931 | 1253256.2424
90 | 2751437.7483 | 1253257.7951 | 2751453.777 | 1253258.9336
91 | 2751418.7931 | 1253256.2424 | 2751401.654 | 1253254.8252
92 | 2751418.7931 | 1253256.2424 | 2751415.8704 | 1253269.0785
93 | 2751460.4082 | 1253259.4046 | 2751453.777 | 1253258.9336
94 | 2751401.654 | 1253254.8252 | 2751398.8406 | 1253254.5918
95 | 2751460.4082 | 1253259.4046 | 2751466.0052 | 1253259.8022
96 | 2751366.5988 | 1253253.4391 | 2751380.9063 | 1253253.1044 | 2751398.8406 | 1253254.5918
97 | 2751466.0052 | 1253259.8022 | 2751483.649 | 1253261.0554
98 | 2751469.0083 | 1253308.0284 | 2751455.7806 | 1253338.7491
99 | 2751485.722 | 1253261.2027 | 2751484.5809 | 1253271.8617 | 2751469.0083 | 1253308.0284
100 | 2751485.722 | 1253261.2027 | 2751483.649 | 1253261.0554
101 | 2751678.3754 | 1253263.779 | 2751679.9764 | 1253242.3948
102 | 2751678.3754 | 1253263.779 | 2751639.0999 | 1253261.6612
103 | 2751639.0999 | 1253261.6612 | 2751629.9271 | 1253261.1666
104 | 2751366.5988 | 1253253.4391 | 2751362.0536 | 1253249.319 | 2751305.8374 | 1253236.982 | 2751286.6885 | 1253234.1457 | 2751275.5692 | 1253230.5472 | 2751275.5701 | 1253235.2407 | 2751279.0748 | 1253250.534 | 2751282.4441 | 1253274.0764 | 2751283.5264 | 1253279.8764 | 2751291.7109 | 1253289.5949
105 | 2751291.7109 | 1253289.5949 | 2751297.3692 | 1253298.0143 | 2751300.3002 | 1253305.3297

## bus_geodata
| x | y | coords
0 | 2751459.9262 | 1253460.5717
1 | 2751492.4757 | 1253351.8753
2 | 2751485.8429 | 1253484.7692
3 | 2751829.1502 | 1253318.8065
4 | 2751822.6834 | 1253314.4185
5 | 2751817.106 | 1253310.634
6 | 2751810.0297 | 1253321.9082
7 | 2751819.6401 | 1253183.2964
8 | 2751788.8847 | 1253353.9423
9 | 2751537.8247 | 1253313.8757
10 | 2751548.2232 | 1253315.0783
11 | 2751535.37 | 1253341.0136
12 | 2751495.9873 | 1253326.1732
13 | 2751477.9231 | 1253350.3388
14 | 2751565.8637 | 1253317.1184
15 | 2751533.4993 | 1253264.3165
16 | 2751536.4273 | 1253242.5479
17 | 2751510.3156 | 1253262.4995
18 | 2751535.9034 | 1253347.3371
19 | 2751493.432 | 1253327.1162
20 | 2751513.4901 | 1253275.4534
21 | 2751811.2744 | 1253424.0651
22 | 2751848.1643 | 1253438.0661
23 | 2751846.947 | 1253430.2626
24 | 2751845.6423 | 1253445.1752
25 | 2751800.4156 | 1253359.1317
26 | 2751866.7104 | 1253491.7034
27 | 2751938.9619 | 1253343.646
28 | 2751607.8001 | 1253405.5892
29 | 2751609.1102 | 1253401.5966
30 | 2751586.5136 | 1253398.1038
31 | 2751581.4685 | 1253397.5965
32 | 2751572.3418 | 1253363.6741
33 | 2751539.1919 | 1253367.1795
34 | 2751954.4175 | 1253351.4415
35 | 2751933.6377 | 1253352.8166
36 | 2751720.9898 | 1253324.9612
37 | 2751692.0897 | 1253321.053
38 | 2751573.8092 | 1253358.5511
39 | 2751579.7424 | 1253284.0849
40 | 2751609.0488 | 1253321.1829
41 | 2751538.753 | 1253216.5819
42 | 2751551.7444 | 1253247.9844
43 | 2751496.5035 | 1253261.7678
44 | 2751662.4566 | 1253390.3288
45 | 2751657.9175 | 1253389.2226
46 | 2751673.3786 | 1253355.9414
47 | 2751623.7659 | 1253322.4703
48 | 2751627.8221 | 1253358.7001
49 | 2751625.2425 | 1253358.0223
50 | 2751641.5559 | 1253323.2948
51 | 2751668.4489 | 1253354.7585
52 | 2751683.118 | 1253321.457
53 | 2751403.1418 | 1253324.9812
54 | 2751403.7988 | 1253322.0955
55 | 2751409.0341 | 1253299.1028
56 | 2751409.4365 | 1253297.3355
57 | 2751410.6261 | 1253292.111
58 | 2751577.2076 | 1253220.7237
59 | 2751586.5007 | 1253223.305
60 | 2751557.4316 | 1253218.1021
61 | 2751562.858 | 1253136.7315
62 | 2751575.0378 | 1253135.7215
63 | 2751647.7557 | 1253323.2312
64 | 2751656.8081 | 1253322.777
65 | 2751580.6605 | 1253281.8997
66 | 2751552.3814 | 1253248.0809
67 | 2751578.1566 | 1253252.5113
68 | 2751582.9222 | 1253253.8818
69 | 2751591.9156 | 1253259.117
70 | 2751605.288 | 1253259.8381
71 | 2751486.2515 | 1253202.759
72 | 2751496.5019 | 1253213.4637
73 | 2751476.1854 | 1253198.5206
74 | 2751498.6238 | 1253228.6082
75 | 2751498.6058 | 1253228.8566
76 | 2751497.7276 | 1253240.9835
77 | 2751622.289 | 1253260.7548
78 | 2751331.3013 | 1253368.1416
79 | 2751333.1663 | 1253357.1423
80 | 2751338.2291 | 1253327.2833
81 | 2751335.3586 | 1253344.213
82 | 2751339.0308 | 1253322.5553
83 | 2751342.066 | 1253304.6546
84 | 2751343.0378 | 1253298.9233
85 | 2751346.9636 | 1253276.2062
86 | 2751436.4254 | 1253243.2517
87 | 2751436.7184 | 1253241.9914
88 | 2751437.7483 | 1253257.7951
89 | 2751418.7931 | 1253256.2424
90 | 2751453.777 | 1253258.9336
91 | 2751401.654 | 1253254.8252
92 | 2751415.8704 | 1253269.0785
93 | 2751460.4082 | 1253259.4046
94 | 2751398.8406 | 1253254.5918
95 | 2751466.0052 | 1253259.8022
96 | 2751455.7806 | 1253338.7491
97 | 2751469.0083 | 1253308.0284
98 | 2751485.722 | 1253261.2027
99 | 2751483.649 | 1253261.0554
100 | 2751678.3754 | 1253263.779
101 | 2751679.9764 | 1253242.3948
102 | 2751639.0999 | 1253261.6612
103 | 2751366.5988 | 1253253.4391
104 | 2751291.7109 | 1253289.5949
105 | 2751300.3002 | 1253305.3297
106 | 2751629.9271 | 1253261.1666
107 | 2751537.8247 | 1253313.8757

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1