## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3024-14_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3024-14_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3024-14_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3024-14_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3024-14_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3024-14_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3024-14_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3024-14_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3024-14_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3024-14_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_3024-14_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_3024-14_0_2_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_3024-14_0_2_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_3024-14_0_2_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_3024-14_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3024-14_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3024-14_0_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_3024-14_0_2_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_3024-14_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_3024-14_0_2_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_3024-14_0_2_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_3024-14_0_2_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_3024-14_0_2_node_144 | 0.4 | n |  | TRUE
23 | bus_LV_3024-14_0_2_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_3024-14_0_2_node_141 | 0.4 | n |  | TRUE
25 | bus_LV_3024-14_0_2_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_3024-14_0_2_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_3024-14_0_2_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_3024-14_0_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_3024-14_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_3024-14_0_2_node_151 | 0.4 | n |  | TRUE
31 | bus_LV_3024-14_0_2_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_3024-14_0_2_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_3024-14_0_2_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_3024-14_0_2_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_3024-14_0_2_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_3024-14_0_2_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_3024-14_0_2_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_3024-14_0_2_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_3024-14_0_2_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_3024-14_0_2_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_3024-14_0_2_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_3024-14_0_2_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_3024-14_0_2_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_3024-14_0_2_node_150 | 0.4 | n |  | TRUE
45 | bus_LV_3024-14_0_2_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_3024-14_0_2_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_3024-14_0_2_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_3024-14_0_2_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_3024-14_0_2_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_3024-14_0_2_node_142 | 0.4 | n |  | TRUE
51 | bus_LV_3024-14_0_2_node_139 | 0.4 | n |  | TRUE
52 | bus_LV_3024-14_0_2_node_133 | 0.4 | n |  | TRUE
53 | bus_LV_3024-14_0_2_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_3024-14_0_2_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_3024-14_0_2_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_3024-14_0_2_node_134 | 0.4 | n |  | TRUE
57 | bus_LV_3024-14_0_2_node_132 | 0.4 | n |  | TRUE
58 | bus_LV_3024-14_0_2_node_136 | 0.4 | n |  | TRUE
59 | bus_LV_3024-14_0_2_node_138 | 0.4 | n |  | TRUE
60 | bus_LV_3024-14_0_2_node_137 | 0.4 | n |  | TRUE
61 | bus_LV_3024-14_0_2_node_145 | 0.4 | n |  | TRUE
62 | bus_LV_3024-14_0_2_node_135 | 0.4 | n |  | TRUE
63 | bus_LV_3024-14_0_2_node_140 | 0.4 | n |  | TRUE
64 | bus_LV_3024-14_0_2_node_143 | 0.4 | n |  | TRUE
65 | bus_LV_3024-14_0_2_node_146 | 0.4 | n |  | TRUE
66 | bus_LV_3024-14_0_2_node_147 | 0.4 | n |  | TRUE
67 | bus_LV_3024-14_0_2_node_148 | 0.4 | n |  | TRUE
68 | bus_LV_3024-14_0_2_node_131 | 0.4 | n |  | TRUE
69 | bus_LV_3024-14_0_2_node_149 | 0.4 | n |  | TRUE
70 | bus_MV_41_1_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3024-14_0_2_load_0 | 0 | 0.0097564 | 0.0024452 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3024-14_0_2_load_1 | 1 | 0.002228 | 0.00055838 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3024-14_0_2_load_3 | 3 | 0.0017219 | 0.00043154 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3024-14_0_2_load_4 | 4 | 0.00865 | 0.0021679 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3024-14_0_2_load_5 | 5 | 0.0087499 | 0.0021929 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3024-14_0_2_load_10 | 10 | 0.0014052 | 0.00035218 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3024-14_0_2_load_38 | 12 | 0.0086093 | 0.0021577 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3024-14_0_2_load_11 | 14 | 0.0044922 | 0.0011258 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3024-14_0_2_load_13 | 15 | 0.0026941 | 0.00067521 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3024-14_0_2_load_14 | 16 | 0.0029362 | 0.00073589 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3024-14_0_2_load_16 | 18 | 0.0021153 | 0.00053014 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3024-14_0_2_load_18 | 20 | 0.0037732 | 0.00094565 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3024-14_0_2_load_144 | 22 | 0.0029807 | 0.00074705 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3024-14_0_2_load_19 | 23 | 0.00269 | 0.00067418 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3024-14_0_2_load_141 | 24 | 0.016622 | 0.0041659 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3024-14_0_2_load_21 | 25 | 0.0071086 | 0.0017816 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3024-14_0_2_load_24 | 28 | 0.0054763 | 0.0013725 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3024-14_0_2_load_25 | 29 | 0.0090369 | 0.0022649 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3024-14_0_2_load_151 | 30 | 0.026007 | 0.0065179 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3024-14_0_2_load_27 | 31 | 0.0069121 | 0.0017323 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3024-14_0_2_load_28 | 32 | 0.004418 | 0.0011073 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3024-14_0_2_load_29 | 33 | 0.0054384 | 0.001363 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3024-14_0_2_load_31 | 35 | 0.0019178 | 0.00048064 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3024-14_0_2_load_33 | 37 | 0.005762 | 0.0014441 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3024-14_0_2_load_34 | 38 | 0.0046487 | 0.0011651 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3024-14_0_2_load_45 | 39 | 0.011082 | 0.0027775 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3024-14_0_2_load_46 | 40 | 0.0048792 | 0.0012229 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3024-14_0_2_load_35 | 41 | 0.0014422 | 0.00036145 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3024-14_0_2_load_37 | 42 | 0.0043696 | 0.0010951 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3024-14_0_2_load_39 | 43 | 0.0034923 | 0.00087526 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3024-14_0_2_load_150 | 44 | 0.0039949 | 0.0010012 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3024-14_0_2_load_41 | 46 | 0.0024162 | 0.00060557 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3024-14_0_2_load_42 | 47 | 0.0037319 | 0.00093531 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3024-14_0_2_load_44 | 49 | 0.0058812 | 0.001474 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3024-14_0_2_load_142 | 50 | 0.0029859 | 0.00074833 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3024-14_0_2_load_139 | 51 | 0.0020668 | 0.00051799 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3024-14_0_2_load_47 | 53 | 0.0046081 | 0.0011549 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3024-14_0_2_load_48 | 54 | 0.0031933 | 0.00080031 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3024-14_0_2_load_66 | 55 | 0.0031916 | 0.00079988 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3024-14_0_2_load_134 | 56 | 0.002138 | 0.00053583 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3024-14_0_2_load_132 | 57 | 0.0021082 | 0.00052836 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3024-14_0_2_load_136 | 58 | 0.0022269 | 0.00055812 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3024-14_0_2_load_138 | 59 | 0.0051702 | 0.0012958 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3024-14_0_2_load_137 | 60 | 0.0032783 | 0.00082162 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3024-14_0_2_load_145 | 61 | 0.0055716 | 0.0013964 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3024-14_0_2_load_140 | 63 | 0.0025535 | 0.00063997 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3024-14_0_2_load_143 | 64 | 0.0048259 | 0.0012095 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3024-14_0_2_load_146 | 65 | 0.0025225 | 0.0006322 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3024-14_0_2_load_147 | 66 | 0.0016334 | 0.00040937 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3024-14_0_2_load_148 | 67 | 0.0021967 | 0.00055055 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3024-14_0_2_load_131 | 68 | 0.0024602 | 0.00061658 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3024-14_0_2_load_149 | 69 | 0.0074087 | 0.0018568 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3024-14_0_2_line_0 |  | 0 | 1 | 0.025306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3024-14_0_2_line_1 |  | 0 | 2 | 0.038381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3024-14_0_2_line_2 |  | 1 | 3 | 0.033276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3024-14_0_2_line_3 |  | 2 | 4 | 0.0027575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3024-14_0_2_line_4 |  | 2 | 5 | 0.052815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3024-14_0_2_line_5 |  | 3 | 6 | 0.0099024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3024-14_0_2_line_6 |  | 4 | 7 | 0.037807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3024-14_0_2_line_7 |  | 5 | 8 | 0.020564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3024-14_0_2_line_8 |  | 6 | 9 | 0.018277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3024-14_0_2_line_9 |  | 6 | 10 | 0.024243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3024-14_0_2_line_10 |  | 7 | 11 | 0.022058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3024-14_0_2_line_11 |  | 8 | 12 | 0.020364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_3024-14_0_2_line_12 |  | 8 | 13 | 0.060618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_3024-14_0_2_line_13 |  | 9 | 14 | 0.071413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3024-14_0_2_line_14 |  | 11 | 28 | 0.030591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3024-14_0_2_line_15 |  | 12 | 44 | 0.022432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_3024-14_0_2_line_16 |  | 13 | 42 | 0.020208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3024-14_0_2_line_17 |  | 13 | 41 | 0.028182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3024-14_0_2_line_18 |  | 15 | 16 | 0.046005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3024-14_0_2_line_19 |  | 15 | 17 | 0.07467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3024-14_0_2_line_20 |  | 16 | 18 | 0.020392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3024-14_0_2_line_21 |  | 17 | 19 | 0.017217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3024-14_0_2_line_22 |  | 18 | 20 | 0.018841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3024-14_0_2_line_23 |  | 19 | 21 | 0.028612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3024-14_0_2_line_24 |  | 20 | 22 | 0.054915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3024-14_0_2_line_25 |  | 21 | 25 | 0.076622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3024-14_0_2_line_26 |  | 23 | 24 | 0.025474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3024-14_0_2_line_27 |  | 24 | 63 | 0.0034102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3024-14_0_2_line_28 |  | 25 | 26 | 0.01455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3024-14_0_2_line_29 |  | 26 | 27 | 0.001587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3024-14_0_2_line_30 |  | 26 | 28 | 0.023882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3024-14_0_2_line_31 |  | 27 | 29 | 0.024682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3024-14_0_2_line_32 |  | 29 | 30 | 0.012959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3024-14_0_2_line_33 |  | 31 | 32 | 0.025692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3024-14_0_2_line_34 |  | 31 | 33 | 0.0071708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3024-14_0_2_line_35 |  | 32 | 34 | 0.043108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3024-14_0_2_line_36 |  | 33 | 35 | 0.0076982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3024-14_0_2_line_37 |  | 34 | 36 | 0.048428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3024-14_0_2_line_38 |  | 34 | 37 | 0.035889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3024-14_0_2_line_39 |  | 35 | 38 | 0.012889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3024-14_0_2_line_40 |  | 36 | 39 | 0.053906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3024-14_0_2_line_41 |  | 37 | 40 | 0.069726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3024-14_0_2_line_42 |  | 38 | 41 | 0.0048491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3024-14_0_2_line_43 |  | 40 | 53 | 0.014814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3024-14_0_2_line_44 |  | 42 | 43 | 0.00091723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3024-14_0_2_line_45 |  | 43 | 45 | 0.036709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3024-14_0_2_line_46 |  | 44 | 64 | 0.0076555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_3024-14_0_2_line_47 |  | 45 | 46 | 0.023739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3024-14_0_2_line_48 |  | 45 | 47 | 0.0093014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3024-14_0_2_line_49 |  | 46 | 48 | 0.0023748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3024-14_0_2_line_50 |  | 47 | 49 | 0.038952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3024-14_0_2_line_51 |  | 48 | 50 | 0.0086374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3024-14_0_2_line_52 |  | 48 | 51 | 0.028169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3024-14_0_2_line_53 |  | 49 | 52 | 0.015739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3024-14_0_2_line_54 |  | 51 | 63 | 0.030783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3024-14_0_2_line_55 |  | 52 | 62 | 0.085982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3024-14_0_2_line_56 |  | 52 | 68 | 0.018413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3024-14_0_2_line_57 |  | 53 | 54 | 0.019946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3024-14_0_2_line_58 |  | 54 | 55 | 0.002231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3024-14_0_2_line_59 |  | 56 | 57 | 0.029814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3024-14_0_2_line_60 |  | 56 | 58 | 0.00018704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3024-14_0_2_line_61 |  | 57 | 68 | 0.011462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3024-14_0_2_line_62 |  | 58 | 59 | 0.013178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3024-14_0_2_line_63 |  | 60 | 61 | 0.0093623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3024-14_0_2_line_64 |  | 60 | 62 | 0.029841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3024-14_0_2_line_65 |  | 61 | 65 | 0.059212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3024-14_0_2_line_66 |  | 65 | 66 | 0.0049932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3024-14_0_2_line_67 |  | 66 | 67 | 0.014909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3024-14_0_2_line_68 |  | 67 | 69 | 0.0054658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3024-14_0_2_trafo_143 | 0.63 MVA 20/0.4 kV | 70 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2747079.3677 | 1250871.6369 | 2747066.3618 | 1250874.9958 | 2747062.3941 | 1250875.4089 | 2747054.7458 | 1250873.495
1 | 2747116.5294 | 1250862.0397 | 2747079.3677 | 1250871.6369
2 | 2747054.7458 | 1250873.495 | 2747054.7458 | 1250873.495 | 2747025.9535 | 1250856.812
3 | 2747116.5294 | 1250862.0397 | 2747119.1952 | 1250861.334
4 | 2747116.5294 | 1250862.0397 | 2747102.906 | 1250883.5776 | 2747088.5717 | 1250906.8472
5 | 2747017.3854 | 1250851.8475 | 2747025.9535 | 1250856.812
6 | 2747155.7427 | 1250851.6589 | 2747119.1952 | 1250861.334
7 | 2747081.1598 | 1250925.9561 | 2747086.7652 | 1250909.7798 | 2747088.5717 | 1250906.8472
8 | 2747017.3854 | 1250851.8475 | 2747014.8013 | 1250852.5062 | 2747011.4565 | 1250852.4677 | 2747007.1706 | 1250851.7051 | 2747002.9197 | 1250849.5309 | 2747000.228 | 1250847.8292
9 | 2747017.3854 | 1250851.8475 | 2747019.4758 | 1250849.7863 | 2747023.0395 | 1250840.3991 | 2747024.8759 | 1250833.6604 | 2747026.3208 | 1250829.6291
10 | 2747155.7427 | 1250851.6589 | 2747159.3781 | 1250852.1607 | 2747167.1965 | 1250868.8041
11 | 2747081.1598 | 1250925.9561 | 2747084.0644 | 1250927.2961 | 2747085.1385 | 1250928.7464 | 2747087.6236 | 1250943.9044
12 | 2747036.9251 | 1250961.5702 | 2747054.9771 | 1250956.0128 | 2747064.0748 | 1250951.8679 | 2747069.959 | 1250947.8768 | 2747074.2807 | 1250941.7226 | 2747081.1598 | 1250925.9561
13 | 2747000.228 | 1250847.8292 | 2747006.619 | 1250870.5761 | 2747009.9785 | 1250889.7888 | 2747009.4905 | 1250896.9724 | 2747007.592 | 1250899.2164 | 2747004.3311 | 1250900.6702 | 2747001.1082 | 1250900.5902 | 2746990.7913 | 1250895.7408
14 | 2747167.1965 | 1250868.8041 | 2747183.3505 | 1250894.7822
15 | 2747087.6236 | 1250943.9044 | 2747091.2527 | 1250966.0407
16 | 2747036.9251 | 1250961.5702 | 2747037.5857 | 1250972.3746 | 2747035.954 | 1250981.6147
17 | 2747036.9251 | 1250961.5702 | 2747033.0563 | 1250953.7445 | 2747027.3507 | 1250948.7204 | 2747016.6225 | 1250943.6886
18 | 2747206.7971 | 1251094.688 | 2747203.7782 | 1251097.3195 | 2747198.1284 | 1251100.6935 | 2747179.9681 | 1251111.5306 | 2747166.6909 | 1251116.7656
19 | 2747252.1955 | 1251038.0769 | 2747244.4719 | 1251060.7622 | 2747226.3189 | 1251077.6718 | 2747206.7971 | 1251094.688
20 | 2747147.45 | 1251123.3693 | 2747153.2742 | 1251122.0555 | 2747166.6909 | 1251116.7656
21 | 2747244.5744 | 1251022.6283 | 2747252.1955 | 1251038.0769
22 | 2747147.45 | 1251123.3693 | 2747129.0707 | 1251127.515
23 | 2747240.0433 | 1250994.3777 | 2747243.0247 | 1251012.9695 | 2747244.5744 | 1251022.6283
24 | 2747078.3707 | 1251145.9239 | 2747080.8063 | 1251143.2657 | 2747088.3957 | 1251138.1158 | 2747095.4487 | 1251135.0991 | 2747129.0707 | 1251127.515
25 | 2747240.0433 | 1250994.3777 | 2747232.7532 | 1250975.6342 | 2747218.2531 | 1250946.7687 | 2747204.3299 | 1250926.9652
26 | 2747120.4918 | 1251027.2149 | 2747145.9611 | 1251026.7335
27 | 2747120.4918 | 1251027.2149 | 2747117.0822 | 1251027.2794
28 | 2747195.9615 | 1250915.0625 | 2747204.3299 | 1250926.9652
29 | 2747195.9615 | 1250915.0625 | 2747195.3213 | 1250916.5147
30 | 2747195.9615 | 1250915.0625 | 2747183.3505 | 1250894.7822
31 | 2747195.3213 | 1250916.5147 | 2747185.3921 | 1250939.1113
32 | 2747180.1788 | 1250950.9756 | 2747185.3921 | 1250939.1113
33 | 2746986.0384 | 1250932.5266 | 2746979.9058 | 1250930.5262 | 2746960.9319 | 1250927.3273
34 | 2746986.0384 | 1250932.5266 | 2746992.8557 | 1250934.7504
35 | 2746919.2792 | 1250919.1343 | 2746926.0986 | 1250923.4074 | 2746956.6213 | 1250926.6006 | 2746960.9319 | 1250927.3273
36 | 2747000.1743 | 1250937.1378 | 2746992.8557 | 1250934.7504
37 | 2746919.2792 | 1250919.1343 | 2746914.8088 | 1250914.241 | 2746912.7717 | 1250909.8975 | 2746912.0874 | 1250904.2974 | 2746914.9696 | 1250873.0614
38 | 2746919.2792 | 1250919.1343 | 2746911.8499 | 1250925.1336 | 2746908.6975 | 1250931.0389 | 2746908.2661 | 1250941.427 | 2746910.2344 | 1250950.4638
39 | 2747012.2322 | 1250941.6296 | 2747008.3215 | 1250939.7954 | 2747000.1743 | 1250937.1378
40 | 2746959.1355 | 1250894.3767 | 2746957.1899 | 1250886.9547 | 2746953.9741 | 1250882.0258 | 2746950.7886 | 1250879.8336 | 2746946.3705 | 1250878.3115 | 2746926.1627 | 1250876.0862 | 2746922.3407 | 1250875.1906 | 2746914.9696 | 1250873.0614
41 | 2746910.2344 | 1250950.4638 | 2746910.8357 | 1250953.2241 | 2746929.4483 | 1250996.8938 | 2746930.4708 | 1251002.5579 | 2746929.952 | 1251009.4627 | 2746925.8021 | 1251014.7872 | 2746925.8021 | 1251014.7872
42 | 2747012.2322 | 1250941.6296 | 2747016.6225 | 1250943.6886
43 | 2746911.6482 | 1251014.9209 | 2746919.297 | 1251017.028 | 2746925.8021 | 1251014.7872
44 | 2747035.954 | 1250981.6147 | 2747035.7945 | 1250982.518
45 | 2747035.1168 | 1251018.2682 | 2747032.8522 | 1251012.7512 | 2747031.5395 | 1251006.6128 | 2747035.7945 | 1250982.518
46 | 2747092.4912 | 1250973.5954 | 2747091.2527 | 1250966.0407
47 | 2747035.1168 | 1251018.2682 | 2747041.6756 | 1251024.5147 | 2747049.5091 | 1251027.4786 | 2747055.7796 | 1251028.1433
48 | 2747035.1168 | 1251018.2682 | 2747028.6669 | 1251024.9702
49 | 2747058.1412 | 1251028.3936 | 2747055.7796 | 1251028.1433
50 | 2747016.2089 | 1251061.7854 | 2747024.4413 | 1251033.9517 | 2747028.6669 | 1251024.9702
51 | 2747058.1412 | 1251028.3936 | 2747061.4434 | 1251020.4124
52 | 2747058.1412 | 1251028.3936 | 2747086.3047 | 1251027.8612
53 | 2747011.745 | 1251076.8777 | 2747016.2089 | 1251061.7854
54 | 2747086.3047 | 1251027.8612 | 2747117.0822 | 1251027.2794
55 | 2746958.2463 | 1251122.194 | 2746973.754 | 1251126.0155 | 2746979.5859 | 1251127.773 | 2746985.0651 | 1251127.3084 | 2746989.5732 | 1251125.196 | 2746993.1051 | 1251121.6469 | 2746996.2846 | 1251115.8647 | 2746999.3228 | 1251107.8657 | 2747003.8675 | 1251096.0672 | 2747011.5473 | 1251077.5401 | 2747011.745 | 1251076.8777
56 | 2747011.745 | 1251076.8777 | 2747025.1214 | 1251079.8568 | 2747029.7166 | 1251080.8842
57 | 2746898.5036 | 1251000.3384 | 2746909.8908 | 1251014.4368 | 2746911.6482 | 1251014.9209
58 | 2746898.5036 | 1251000.3384 | 2746897.1017 | 1250998.6029
59 | 2747069.9983 | 1251089.8902 | 2747040.9022 | 1251083.385
60 | 2747070.1808 | 1251089.931 | 2747069.9983 | 1251089.8902
61 | 2747029.7166 | 1251080.8842 | 2747040.9022 | 1251083.385
62 | 2747083.0416 | 1251092.8063 | 2747070.1808 | 1251089.931
63 | 2746961.0484 | 1251092.9016 | 2746962.414 | 1251083.6395
64 | 2746958.2463 | 1251122.194 | 2746957.0913 | 1251119.7408 | 2746961.0484 | 1251092.9016
65 | 2746962.414 | 1251083.6395 | 2746968.5424 | 1251042.0729 | 2746973.4166 | 1251025.5817
66 | 2746973.4166 | 1251025.5817 | 2746974.2889 | 1251022.6302 | 2746974.9777 | 1251020.8428
67 | 2746980.339 | 1251006.9316 | 2746974.9777 | 1251020.8428
68 | 2746982.3045 | 1251001.8314 | 2746980.339 | 1251006.9316

## bus_geodata
| x | y | coords
0 | 2747079.3677 | 1250871.6369
1 | 2747054.7458 | 1250873.495
2 | 2747116.5294 | 1250862.0397
3 | 2747025.9535 | 1250856.812
4 | 2747119.1952 | 1250861.334
5 | 2747088.5717 | 1250906.8472
6 | 2747017.3854 | 1250851.8475
7 | 2747155.7427 | 1250851.6589
8 | 2747081.1598 | 1250925.9561
9 | 2747000.228 | 1250847.8292
10 | 2747026.3208 | 1250829.6291
11 | 2747167.1965 | 1250868.8041
12 | 2747087.6236 | 1250943.9044
13 | 2747036.9251 | 1250961.5702
14 | 2746990.7913 | 1250895.7408
15 | 2747206.7971 | 1251094.688
16 | 2747166.6909 | 1251116.7656
17 | 2747252.1955 | 1251038.0769
18 | 2747147.45 | 1251123.3693
19 | 2747244.5744 | 1251022.6283
20 | 2747129.0707 | 1251127.515
21 | 2747240.0433 | 1250994.3777
22 | 2747078.3708 | 1251145.9239
23 | 2747145.9611 | 1251026.7335
24 | 2747120.4918 | 1251027.2149
25 | 2747204.3299 | 1250926.9652
26 | 2747195.9615 | 1250915.0625
27 | 2747195.3213 | 1250916.5147
28 | 2747183.3505 | 1250894.7822
29 | 2747185.3921 | 1250939.1113
30 | 2747180.1788 | 1250950.9756
31 | 2746986.0384 | 1250932.5266
32 | 2746960.9319 | 1250927.3273
33 | 2746992.8557 | 1250934.7504
34 | 2746919.2792 | 1250919.1343
35 | 2747000.1743 | 1250937.1378
36 | 2746914.9696 | 1250873.0614
37 | 2746910.2344 | 1250950.4638
38 | 2747012.2322 | 1250941.6296
39 | 2746959.1355 | 1250894.3767
40 | 2746925.8021 | 1251014.7872
41 | 2747016.6225 | 1250943.6886
42 | 2747035.954 | 1250981.6147
43 | 2747035.7945 | 1250982.518
44 | 2747091.2527 | 1250966.0407
45 | 2747035.1168 | 1251018.2682
46 | 2747055.7796 | 1251028.1433
47 | 2747028.6669 | 1251024.9702
48 | 2747058.1412 | 1251028.3936
49 | 2747016.2089 | 1251061.7854
50 | 2747061.4434 | 1251020.4124
51 | 2747086.3047 | 1251027.8612
52 | 2747011.745 | 1251076.8777
53 | 2746911.6482 | 1251014.9209
54 | 2746898.5036 | 1251000.3384
55 | 2746897.1017 | 1250998.6029
56 | 2747069.9983 | 1251089.8902
57 | 2747040.9022 | 1251083.385
58 | 2747070.1808 | 1251089.931
59 | 2747083.0416 | 1251092.8063
60 | 2746961.0484 | 1251092.9016
61 | 2746962.414 | 1251083.6395
62 | 2746958.2463 | 1251122.194
63 | 2747117.0822 | 1251027.2794
64 | 2747092.4912 | 1250973.5954
65 | 2746973.4166 | 1251025.5817
66 | 2746974.9777 | 1251020.8428
67 | 2746980.339 | 1251006.9316
68 | 2747029.7166 | 1251080.8842
69 | 2746982.3045 | 1251001.8314
70 | 2747081.1598 | 1250925.9561

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1