## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3024-15_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3024-15_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3024-15_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3024-15_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3024-15_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3024-15_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3024-15_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3024-15_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3024-15_0_2_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_3024-15_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3024-15_0_2_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_3024-15_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3024-15_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3024-15_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3024-15_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3024-15_0_2_node_102 | 0.4 | n |  | TRUE
16 | bus_LV_3024-15_0_2_node_103 | 0.4 | n |  | TRUE
17 | bus_LV_3024-15_0_2_node_101 | 0.4 | n |  | TRUE
18 | bus_LV_3024-15_0_2_node_110 | 0.4 | n |  | TRUE
19 | bus_LV_3024-15_0_2_node_100 | 0.4 | n |  | TRUE
20 | bus_LV_3024-15_0_2_node_77 | 0.4 | n |  | TRUE
21 | bus_LV_3024-15_0_2_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_3024-15_0_2_node_69 | 0.4 | n |  | TRUE
23 | bus_LV_3024-15_0_2_node_68 | 0.4 | n |  | TRUE
24 | bus_LV_3024-15_0_2_node_79 | 0.4 | n |  | TRUE
25 | bus_LV_3024-15_0_2_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_3024-15_0_2_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_3024-15_0_2_node_82 | 0.4 | n |  | TRUE
28 | bus_LV_3024-15_0_2_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_3024-15_0_2_node_84 | 0.4 | n |  | TRUE
30 | bus_LV_3024-15_0_2_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_3024-15_0_2_node_87 | 0.4 | n |  | TRUE
32 | bus_LV_3024-15_0_2_node_95 | 0.4 | n |  | TRUE
33 | bus_LV_3024-15_0_2_node_122 | 0.4 | n |  | TRUE
34 | bus_LV_3024-15_0_2_node_89 | 0.4 | n |  | TRUE
35 | bus_LV_3024-15_0_2_node_86 | 0.4 | n |  | TRUE
36 | bus_LV_3024-15_0_2_node_92 | 0.4 | n |  | TRUE
37 | bus_LV_3024-15_0_2_node_121 | 0.4 | n |  | TRUE
38 | bus_LV_3024-15_0_2_node_120 | 0.4 | n |  | TRUE
39 | bus_LV_3024-15_0_2_node_125 | 0.4 | n |  | TRUE
40 | bus_LV_3024-15_0_2_node_118 | 0.4 | n |  | TRUE
41 | bus_LV_3024-15_0_2_node_123 | 0.4 | n |  | TRUE
42 | bus_LV_3024-15_0_2_node_124 | 0.4 | n |  | TRUE
43 | bus_LV_3024-15_0_2_node_113 | 0.4 | n |  | TRUE
44 | bus_LV_3024-15_0_2_node_114 | 0.4 | n |  | TRUE
45 | bus_LV_3024-15_0_2_node_115 | 0.4 | n |  | TRUE
46 | bus_LV_3024-15_0_2_node_116 | 0.4 | n |  | TRUE
47 | bus_LV_3024-15_0_2_node_117 | 0.4 | n |  | TRUE
48 | bus_LV_3024-15_0_2_node_119 | 0.4 | n |  | TRUE
49 | bus_LV_3024-15_0_2_node_88 | 0.4 | n |  | TRUE
50 | bus_LV_3024-15_0_2_node_148 | 0.4 | n |  | TRUE
51 | bus_LV_3024-15_0_2_node_147 | 0.4 | n |  | TRUE
52 | bus_LV_3024-15_0_2_node_142 | 0.4 | n |  | TRUE
53 | bus_LV_3024-15_0_2_node_136 | 0.4 | n |  | TRUE
54 | bus_LV_3024-15_0_2_node_137 | 0.4 | n |  | TRUE
55 | bus_LV_3024-15_0_2_node_138 | 0.4 | n |  | TRUE
56 | bus_LV_3024-15_0_2_node_139 | 0.4 | n |  | TRUE
57 | bus_LV_3024-15_0_2_node_140 | 0.4 | n |  | TRUE
58 | bus_LV_3024-15_0_2_node_141 | 0.4 | n |  | TRUE
59 | bus_LV_3024-15_0_2_node_144 | 0.4 | n |  | TRUE
60 | bus_LV_3024-15_0_2_node_145 | 0.4 | n |  | TRUE
61 | bus_LV_3024-15_0_2_node_146 | 0.4 | n |  | TRUE
62 | bus_LV_3024-15_0_2_node_90 | 0.4 | n |  | TRUE
63 | bus_LV_3024-15_0_2_node_91 | 0.4 | n |  | TRUE
64 | bus_LV_3024-15_0_2_node_93 | 0.4 | n |  | TRUE
65 | bus_LV_3024-15_0_2_node_94 | 0.4 | n |  | TRUE
66 | bus_LV_3024-15_0_2_node_96 | 0.4 | n |  | TRUE
67 | bus_LV_3024-15_0_2_node_97 | 0.4 | n |  | TRUE
68 | bus_LV_3024-15_0_2_node_98 | 0.4 | n |  | TRUE
69 | bus_LV_3024-15_0_2_node_99 | 0.4 | n |  | TRUE
70 | bus_LV_3024-15_0_2_node_135 | 0.4 | n |  | TRUE
71 | bus_LV_3024-15_0_2_node_109 | 0.4 | n |  | TRUE
72 | bus_LV_3024-15_0_2_node_104 | 0.4 | n |  | TRUE
73 | bus_LV_3024-15_0_2_node_105 | 0.4 | n |  | TRUE
74 | bus_LV_3024-15_0_2_node_106 | 0.4 | n |  | TRUE
75 | bus_LV_3024-15_0_2_node_107 | 0.4 | n |  | TRUE
76 | bus_LV_3024-15_0_2_node_108 | 0.4 | n |  | TRUE
77 | bus_LV_3024-15_0_2_node_111 | 0.4 | n |  | TRUE
78 | bus_LV_3024-15_0_2_node_112 | 0.4 | n |  | TRUE
79 | bus_LV_3024-15_0_2_node_134 | 0.4 | n |  | TRUE
80 | bus_LV_3024-15_0_2_node_133 | 0.4 | n |  | TRUE
81 | bus_LV_3024-15_0_2_node_126 | 0.4 | n |  | TRUE
82 | bus_LV_3024-15_0_2_node_127 | 0.4 | n |  | TRUE
83 | bus_LV_3024-15_0_2_node_129 | 0.4 | n |  | TRUE
84 | bus_LV_3024-15_0_2_node_130 | 0.4 | n |  | TRUE
85 | bus_LV_3024-15_0_2_node_132 | 0.4 | n |  | TRUE
86 | bus_MV_42_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3024-15_0_2_load_0 | 0 | 0.0012369 | 0.00031 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3024-15_0_2_load_6 | 6 | 0.002299 | 0.00057619 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3024-15_0_2_load_7 | 7 | 0.0036618 | 0.00091774 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3024-15_0_2_load_15 | 8 | 0.0032982 | 0.00082662 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3024-15_0_2_load_8 | 9 | 0.0022059 | 0.00055286 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3024-15_0_2_load_16 | 10 | 0.0012589 | 0.00031551 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3024-15_0_2_load_12 | 14 | 0.0014948 | 0.00037464 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3024-15_0_2_load_102 | 15 | 0.0093393 | 0.0023406 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3024-15_0_2_load_103 | 16 | 0.003304 | 0.00082805 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3024-15_0_2_load_101 | 17 | 0.0082326 | 0.0020633 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3024-15_0_2_load_100 | 19 | 0.0081663 | 0.0020467 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3024-15_0_2_load_77 | 20 | 0.0049287 | 0.0012353 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3024-15_0_2_load_78 | 21 | 0.00053896 | 0.00013508 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3024-15_0_2_load_69 | 22 | 0.00092682 | 0.00023228 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3024-15_0_2_load_68 | 23 | 0.0014279 | 0.00035786 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3024-15_0_2_load_79 | 24 | 0.0022778 | 0.00057087 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3024-15_0_2_load_82 | 27 | 0.00038045 | 9.535e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3024-15_0_2_load_84 | 29 | 0.00032439 | 8.1299e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3024-15_0_2_load_85 | 30 | 0.00033888 | 8.4932e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3024-15_0_2_load_95 | 32 | 0.0050317 | 0.0012611 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3024-15_0_2_load_122 | 33 | 0.00030637 | 7.6784e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3024-15_0_2_load_89 | 34 | 0.016673 | 0.0041787 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3024-15_0_2_load_86 | 35 | 0.00039588 | 9.9216e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3024-15_0_2_load_121 | 37 | 0.0002658 | 6.6615e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3024-15_0_2_load_120 | 38 | 0.00012204 | 3.0586e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3024-15_0_2_load_125 | 39 | 0.00036991 | 9.2708e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3024-15_0_2_load_123 | 41 | 0.00036755 | 9.2117e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3024-15_0_2_load_124 | 42 | 0.00023268 | 5.8314e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3024-15_0_2_load_114 | 44 | 0.00033969 | 8.5134e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3024-15_0_2_load_115 | 45 | 0.00045275 | 0.00011347 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3024-15_0_2_load_117 | 47 | 0.00022639 | 5.6738e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3024-15_0_2_load_119 | 48 | 0.00025509 | 6.3933e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3024-15_0_2_load_88 | 49 | 0.000287 | 7.193e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3024-15_0_2_load_148 | 50 | 0.00077172 | 0.00019341 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3024-15_0_2_load_147 | 51 | 0.00070891 | 0.00017767 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3024-15_0_2_load_136 | 53 | 0.002009 | 0.00050351 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3024-15_0_2_load_139 | 56 | 0.00033676 | 8.4401e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3024-15_0_2_load_140 | 57 | 0.00061493 | 0.00015412 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3024-15_0_2_load_141 | 58 | 0.00093545 | 0.00023445 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3024-15_0_2_load_144 | 59 | 0.00030829 | 7.7265e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3024-15_0_2_load_145 | 60 | 0.00076191 | 0.00019095 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3024-15_0_2_load_146 | 61 | 0.00029648 | 7.4306e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3024-15_0_2_load_90 | 62 | 0.0084331 | 0.0021135 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3024-15_0_2_load_93 | 64 | 0.0047385 | 0.0011876 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3024-15_0_2_load_94 | 65 | 0.0036968 | 0.0009265 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3024-15_0_2_load_96 | 66 | 0.0054917 | 0.0013764 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3024-15_0_2_load_97 | 67 | 0.0048111 | 0.0012058 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3024-15_0_2_load_98 | 68 | 0.0097248 | 0.0024373 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3024-15_0_2_load_99 | 69 | 0.0093063 | 0.0023324 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3024-15_0_2_load_135 | 70 | 0.00098412 | 0.00024664 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3024-15_0_2_load_109 | 71 | 0.01035 | 0.0025941 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3024-15_0_2_load_104 | 72 | 0.0041492 | 0.0010399 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3024-15_0_2_load_105 | 73 | 0.002081 | 0.00052154 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3024-15_0_2_load_108 | 76 | 0.010008 | 0.0025082 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3024-15_0_2_load_111 | 77 | 0.0018841 | 0.00047221 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3024-15_0_2_load_112 | 78 | 0.0082048 | 0.0020563 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3024-15_0_2_load_134 | 79 | 0.0036415 | 0.00091266 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3024-15_0_2_load_133 | 80 | 0.00024347 | 6.102e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3024-15_0_2_load_126 | 81 | 0.00090831 | 0.00022764 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3024-15_0_2_load_127 | 82 | 0.00018638 | 4.671e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3024-15_0_2_load_132 | 85 | 0.00099268 | 0.00024879 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3024-15_0_2_line_0 |  | 0 | 1 | 0.0045968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3024-15_0_2_line_1 |  | 0 | 2 | 0.011164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3024-15_0_2_line_2 |  | 1 | 3 | 0.015659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3024-15_0_2_line_3 |  | 1 | 4 | 0.012119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3024-15_0_2_line_4 |  | 2 | 5 | 0.029011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3024-15_0_2_line_5 |  | 3 | 6 | 0.034571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3024-15_0_2_line_6 |  | 4 | 7 | 0.054499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3024-15_0_2_line_7 |  | 5 | 8 | 0.024614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3024-15_0_2_line_8 |  | 7 | 9 | 0.014481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3024-15_0_2_line_9 |  | 8 | 10 | 0.064885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3024-15_0_2_line_10 |  | 9 | 11 | 0.028137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3024-15_0_2_line_11 |  | 10 | 20 | 0.13523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3024-15_0_2_line_12 |  | 11 | 12 | 0.04422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3024-15_0_2_line_13 |  | 11 | 13 | 0.17118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3024-15_0_2_line_14 |  | 12 | 14 | 0.016855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3024-15_0_2_line_15 |  | 13 | 15 | 0.014239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3024-15_0_2_line_16 |  | 13 | 16 | 0.15058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3024-15_0_2_line_17 |  | 13 | 17 | 0.027377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3024-15_0_2_line_18 |  | 16 | 18 | 0.064049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3024-15_0_2_line_19 |  | 17 | 19 | 0.01301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3024-15_0_2_line_20 |  | 18 | 70 | 0.114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3024-15_0_2_line_21 |  | 18 | 71 | 0.048268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3024-15_0_2_line_22 |  | 19 | 69 | 0.028893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3024-15_0_2_line_23 |  | 20 | 21 | 0.014339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3024-15_0_2_line_24 |  | 21 | 22 | 0.18356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3024-15_0_2_line_25 |  | 22 | 23 | 0.013129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3024-15_0_2_line_26 |  | 24 | 25 | 0.013927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3024-15_0_2_line_27 |  | 24 | 26 | 0.06029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3024-15_0_2_line_28 |  | 25 | 27 | 0.075685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3024-15_0_2_line_29 |  | 25 | 28 | 0.085782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3024-15_0_2_line_30 |  | 26 | 29 | 0.048155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3024-15_0_2_line_31 |  | 26 | 30 | 0.055438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3024-15_0_2_line_32 |  | 28 | 31 | 0.089207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3024-15_0_2_line_33 |  | 28 | 32 | 0.061848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3024-15_0_2_line_34 |  | 29 | 33 | 0.087184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3024-15_0_2_line_35 |  | 31 | 34 | 0.039098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3024-15_0_2_line_36 |  | 31 | 35 | 0.053815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3024-15_0_2_line_37 |  | 32 | 36 | 0.099565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3024-15_0_2_line_38 |  | 33 | 39 | 0.016171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3024-15_0_2_line_39 |  | 33 | 40 | 0.17289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3024-15_0_2_line_40 |  | 35 | 49 | 0.086729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3024-15_0_2_line_41 |  | 36 | 66 | 0.059486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3024-15_0_2_line_42 |  | 36 | 62 | 0.011529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3024-15_0_2_line_43 |  | 37 | 38 | 0.045496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3024-15_0_2_line_44 |  | 38 | 40 | 0.0098688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3024-15_0_2_line_45 |  | 39 | 42 | 0.0044389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3024-15_0_2_line_46 |  | 40 | 46 | 0.044011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3024-15_0_2_line_47 |  | 41 | 42 | 0.050032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3024-15_0_2_line_48 |  | 43 | 44 | 0.018821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3024-15_0_2_line_49 |  | 43 | 45 | 0.10896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3024-15_0_2_line_50 |  | 44 | 46 | 0.045679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3024-15_0_2_line_51 |  | 46 | 47 | 0.0079073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3024-15_0_2_line_52 |  | 47 | 48 | 0.055669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3024-15_0_2_line_53 |  | 49 | 50 | 0.063084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3024-15_0_2_line_54 |  | 50 | 61 | 0.0031427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3024-15_0_2_line_55 |  | 51 | 52 | 0.095364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3024-15_0_2_line_56 |  | 52 | 59 | 0.11905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3024-15_0_2_line_57 |  | 52 | 55 | 0.036603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3024-15_0_2_line_58 |  | 53 | 54 | 0.020769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3024-15_0_2_line_59 |  | 54 | 55 | 0.021309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3024-15_0_2_line_60 |  | 54 | 56 | 0.08872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3024-15_0_2_line_61 |  | 55 | 57 | 0.0089654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3024-15_0_2_line_62 |  | 57 | 58 | 0.0014096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3024-15_0_2_line_63 |  | 59 | 60 | 0.018987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3024-15_0_2_line_64 |  | 60 | 61 | 0.1078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3024-15_0_2_line_65 |  | 62 | 63 | 0.04169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3024-15_0_2_line_66 |  | 63 | 64 | 0.030545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3024-15_0_2_line_67 |  | 63 | 65 | 0.051409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3024-15_0_2_line_68 |  | 64 | 67 | 0.059163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3024-15_0_2_line_69 |  | 67 | 68 | 0.029475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3024-15_0_2_line_70 |  | 68 | 69 | 0.03248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3024-15_0_2_line_71 |  | 70 | 79 | 0.026055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3024-15_0_2_line_72 |  | 71 | 74 | 0.015335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3024-15_0_2_line_73 |  | 72 | 73 | 0.001506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3024-15_0_2_line_74 |  | 72 | 74 | 0.0033119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3024-15_0_2_line_75 |  | 73 | 75 | 0.040772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3024-15_0_2_line_76 |  | 74 | 76 | 0.01568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3024-15_0_2_line_77 |  | 75 | 77 | 0.036178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3024-15_0_2_line_78 |  | 77 | 78 | 0.005481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3024-15_0_2_line_79 |  | 78 | 80 | 0.17982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3024-15_0_2_line_80 |  | 80 | 85 | 0.022596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3024-15_0_2_line_81 |  | 81 | 82 | 0.048805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3024-15_0_2_line_82 |  | 82 | 83 | 0.041414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3024-15_0_2_line_83 |  | 83 | 84 | 0.14002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3024-15_0_2_line_84 |  | 84 | 85 | 0.01799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3024-15_0_2_trafo_98 | 0.63 MVA 20/0.4 kV | 86 | 68 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2747041.8575 | 1251395.7623 | 2747037.3626 | 1251396.7251
1 | 2747026.2037 | 1251396.6414 | 2747037.158 | 1251396.7689 | 2747037.3626 | 1251396.7251
2 | 2747041.8575 | 1251395.7623 | 2747044.9413 | 1251384.4058 | 2747043.3989 | 1251380.8308
3 | 2747053.7394 | 1251393.2103 | 2747041.8575 | 1251395.7623
4 | 2747026.2037 | 1251396.6414 | 2747020.5565 | 1251396.5791 | 2747011.4963 | 1251396.8101 | 2747001.5606 | 1251396.1074 | 2746997.1384 | 1251396.2867
5 | 2747043.3989 | 1251380.8308 | 2747047.5779 | 1251377.6759 | 2747074.8632 | 1251366.9037
6 | 2747053.7394 | 1251393.2103 | 2747092.5309 | 1251385.6769 | 2747107.3467 | 1251383.4459
7 | 2746997.1384 | 1251396.2867 | 2746994.538 | 1251396.389 | 2746991.1811 | 1251394.7264 | 2746977.3545 | 1251382.7912
8 | 2747107.3467 | 1251383.4459 | 2747109.9651 | 1251383.0516 | 2747121.7744 | 1251383.7965
9 | 2746928.2574 | 1251340.3696 | 2746958.6136 | 1251366.614 | 2746977.3545 | 1251382.7912
10 | 2747149.7128 | 1251386.8866 | 2747134.9901 | 1251384.63 | 2747121.7744 | 1251383.7965
11 | 2746928.2574 | 1251340.3696 | 2746948.4957 | 1251206.6579
12 | 2747149.7128 | 1251386.8866 | 2747151.7792 | 1251384.8693 | 2747156.6587 | 1251376.0154 | 2747161.6615 | 1251345.1879
13 | 2747047.7663 | 1251509.3396 | 2747050.0626 | 1251505.3595 | 2747057.5335 | 1251498.2714 | 2747068.6532 | 1251491.1295 | 2747079.7653 | 1251483.9873 | 2747087.2489 | 1251476.0877 | 2747090.6946 | 1251468.099 | 2747090.0739 | 1251457.5179 | 2747089.9123 | 1251451.864 | 2747089.094 | 1251440.1214 | 2747094.416 | 1251428.042 | 2747104.2137 | 1251420.9228 | 2747121.3293 | 1251408.6249 | 2747132.8481 | 1251401.5374 | 2747149.7128 | 1251386.8866
14 | 2747161.6615 | 1251345.1879 | 2747160.9642 | 1251328.3478
15 | 2747047.7663 | 1251509.3396 | 2747034.9661 | 1251503.1025
16 | 2747047.7663 | 1251509.3396 | 2747054.1173 | 1251508.1183 | 2747063.5962 | 1251508.3537 | 2747074.7916 | 1251511.2343 | 2747084.4869 | 1251518.8712 | 2747093.5606 | 1251524.1681 | 2747101.3246 | 1251525.9514 | 2747131.1825 | 1251530.8529 | 2747159.5116 | 1251535.5831 | 2747174.6479 | 1251537.2828 | 2747183.8295 | 1251537.0217 | 2747192.6815 | 1251537.4483
17 | 2747047.7663 | 1251509.3396 | 2747045.8298 | 1251527.4088 | 2747043.2998 | 1251536.2584
18 | 2747255.2364 | 1251550.0971 | 2747244.6437 | 1251546.6751 | 2747226.7485 | 1251541.7368 | 2747197.6549 | 1251537.688 | 2747192.6815 | 1251537.4483
19 | 2747043.2998 | 1251536.2584 | 2747042.8526 | 1251537.8227 | 2747041.952 | 1251549.1704
20 | 2747255.2364 | 1251550.0971 | 2747295.9252 | 1251443.6105
21 | 2747255.2364 | 1251550.0971 | 2747263.5011 | 1251556.3418 | 2747269.1792 | 1251564.2571 | 2747275.0062 | 1251574.3894 | 2747280.6817 | 1251582.1045 | 2747285.9773 | 1251586.5313
22 | 2747041.018 | 1251577.9556 | 2747040.2433 | 1251568.9988 | 2747041.0061 | 1251561.088 | 2747041.952 | 1251549.1704
23 | 2746938.1638 | 1251196.8116 | 2746941.3139 | 1251200.7268 | 2746948.4957 | 1251206.6579
24 | 2746938.1638 | 1251196.8116 | 2746754.71 | 1251190.482
25 | 2746743.0458 | 1251184.4587 | 2746749.8157 | 1251188.0696 | 2746754.71 | 1251190.482 | 2746754.71 | 1251190.482
26 | 2746816.2835 | 1251913.2857 | 2746813.9655 | 1251927.0188
27 | 2746801.3206 | 1251985.9288 | 2746804.3651 | 1251969.1215 | 2746812.0082 | 1251938.6151 | 2746813.9655 | 1251927.0188
28 | 2746816.2835 | 1251913.2857 | 2746807.7737 | 1251913.2749 | 2746793.6792 | 1251910.1004 | 2746781.0007 | 1251906.7609 | 2746766.9536 | 1251901.3634 | 2746754.3629 | 1251894.7897 | 2746746.0132 | 1251888.3212
29 | 2746806.608 | 1251829.655 | 2746806.0622 | 1251833.0892 | 2746803.9664 | 1251846.3499 | 2746805.5787 | 1251862.9391 | 2746814.3205 | 1251886.1778 | 2746817.0087 | 1251900.18 | 2746816.2835 | 1251913.2857
30 | 2746801.3206 | 1251985.9288 | 2746797.5552 | 1251988.8717 | 2746782.2271 | 1251994.3416 | 2746767.2765 | 1252001.0333 | 2746763.1515 | 1252004.1674 | 2746761.6727 | 1252006.5553 | 2746761.3989 | 1252009.3734
31 | 2746801.3206 | 1251985.9288 | 2746803.3116 | 1251995.465 | 2746806.1725 | 1252002.8096 | 2746814.423 | 1252021.1871 | 2746816.59 | 1252026.368 | 2746821.2293 | 1252037.4932
32 | 2746806.608 | 1251829.655 | 2746802.6289 | 1251828.4219 | 2746798.6518 | 1251826.4993 | 2746791.1766 | 1251822.2212 | 2746760.9805 | 1251804.2116 | 2746732.9327 | 1251786.9561 | 2746729.2641 | 1251785.0745
33 | 2746806.608 | 1251829.655 | 2746811.9484 | 1251810.4023 | 2746816.6653 | 1251776.7092 | 2746820.5996 | 1251769.9199
34 | 2746761.3989 | 1252009.3734 | 2746686.1088 | 1252053.3325
35 | 2746729.2641 | 1251785.0745 | 2746729.9744 | 1251774.393 | 2746730.7643 | 1251762.935 | 2746732.0212 | 1251759.1403 | 2746735.929 | 1251756.2454 | 2746739.2812 | 1251755.6612 | 2746743.9484 | 1251755.9437
36 | 2746729.2641 | 1251785.0745 | 2746723.7167 | 1251782.2233 | 2746718.1448 | 1251779.7497 | 2746713.7957 | 1251778.8189 | 2746703.4939 | 1251777.3736 | 2746692.3594 | 1251776.3191 | 2746688.271 | 1251774.316 | 2746687.0777 | 1251772.4958 | 2746686.6418 | 1251767.5359 | 2746687.0378 | 1251763.8184
37 | 2746893.8404 | 1251702.9958 | 2746867.7926 | 1251726.2613 | 2746843.948 | 1251745.9558 | 2746823.9783 | 1251764.0894 | 2746820.5996 | 1251769.9199
38 | 2746678.1158 | 1252039.2755 | 2746686.1088 | 1252053.3325
39 | 2746725.8845 | 1252215.7133 | 2746722.9499 | 1252206.1648 | 2746719.4584 | 1252192.2762 | 2746716.6351 | 1252178.2373 | 2746714.6411 | 1252164.5526 | 2746706.8965 | 1252080.0579 | 2746705.5719 | 1252072.8738 | 2746704.1443 | 1252069.8467 | 2746702.0364 | 1252067.4589 | 2746695.6181 | 1252063.8076 | 2746691.8463 | 1252061.2229 | 2746687.8001 | 1252056.3069 | 2746686.1088 | 1252053.3325
40 | 2746681.7218 | 1251681.4542 | 2746684.9105 | 1251685.6371 | 2746688.1608 | 1251687.6417 | 2746690.1941 | 1251694.265 | 2746691.9561 | 1251711.8365 | 2746691.542 | 1251717.5762 | 2746689.7972 | 1251726.13 | 2746690.1907 | 1251731.278 | 2746691.9305 | 1251736.337 | 2746692.188 | 1251739.6577 | 2746691.4398 | 1251744.2547 | 2746687.9312 | 1251757.8586 | 2746687.183 | 1251762.4555 | 2746687.0378 | 1251763.8184
41 | 2746844.416 | 1251670.462 | 2746850.2701 | 1251672.5202 | 2746857.7464 | 1251675.8531 | 2746866.0008 | 1251680.9959 | 2746876.5228 | 1251688.7863 | 2746893.8404 | 1251702.9958
42 | 2746893.8404 | 1251702.9958 | 2746894.8983 | 1251702.0545 | 2746902.5243 | 1251695.4129
43 | 2746716.1104 | 1252216.8935 | 2746714.8452 | 1252216.9411 | 2746709.5678 | 1252214.4859 | 2746696.5771 | 1252207.0126 | 2746693.9554 | 1252204.9458 | 2746692.337 | 1252202.9149 | 2746691.6017 | 1252199.0708 | 2746691.3768 | 1252194.7388 | 2746689.5046 | 1252189.5431 | 2746687.8404 | 1252186.2247
44 | 2746725.8845 | 1252215.7133 | 2746720.1885 | 1252216.7399 | 2746716.1104 | 1252216.8935
45 | 2746678.1158 | 1252039.2755 | 2746675.9217 | 1252035.4169
46 | 2746725.8845 | 1252215.7133 | 2746728.138 | 1252218.9277 | 2746731.7312 | 1252222.0085 | 2746736.199 | 1252223.6207 | 2746742.3475 | 1252224.4404 | 2746753.3744 | 1252223.7128 | 2746766.7349 | 1252222.0533
47 | 2746635.5346 | 1252011.4371 | 2746639.6877 | 1252012.0404 | 2746652.4705 | 1252014.5147 | 2746659.594 | 1252016.5263 | 2746664.3571 | 1252019.636 | 2746669.7305 | 1252024.9297 | 2746671.9759 | 1252028.4775 | 2746675.9217 | 1252035.4169
48 | 2746830.7619 | 1252215.4555 | 2746827.4793 | 1252215.0738 | 2746823.6459 | 1252214.9787 | 2746815.7801 | 1252216.1182 | 2746812.0905 | 1252216.6913
49 | 2746830.7619 | 1252215.4555 | 2746831.5884 | 1252218.9682 | 2746833.2613 | 1252227.9293 | 2746832.4136 | 1252254.8007 | 2746829.7026 | 1252270.3373 | 2746823.5182 | 1252291.9714 | 2746819.562 | 1252302.0052 | 2746817.1778 | 1252315.0252 | 2746818.7256 | 1252321.9118
50 | 2746766.7349 | 1252222.0533 | 2746774.6192 | 1252221.081 | 2746786.334 | 1252219.7143 | 2746804.7286 | 1252217.8349 | 2746812.0905 | 1252216.6913
51 | 2746766.7349 | 1252222.0533 | 2746764.1944 | 1252225.8495 | 2746762.6721 | 1252228.8218
52 | 2746744.3777 | 1252281.1338 | 2746745.1788 | 1252273.7911 | 2746747.4451 | 1252266.7404 | 2746757.802 | 1252240.6498 | 2746761.2188 | 1252231.6592 | 2746762.6721 | 1252228.8218
53 | 2746681.7218 | 1251681.4542 | 2746634.4429 | 1251639.6887
54 | 2746634.4429 | 1251639.6887 | 2746635.7864 | 1251636.8476
55 | 2746429.1778 | 1251671.5878 | 2746431.5156 | 1251672.9357 | 2746434.3056 | 1251674.9288 | 2746437.559 | 1251678.3346 | 2746441.7362 | 1251685.6115 | 2746444.9828 | 1251693.5659 | 2746446.4357 | 1251700.464 | 2746446.809 | 1251705.8228 | 2746446.467 | 1251719.6497 | 2746446.2822 | 1251727.1189 | 2746446.7647 | 1251736.006 | 2746448.3762 | 1251744.7319 | 2746451.2177 | 1251752.5763 | 2746453.3216 | 1251757.5775 | 2746454.1822 | 1251759.723
56 | 2746429.1778 | 1251671.5878 | 2746442.191 | 1251667.5277 | 2746450.792 | 1251664.1704 | 2746460.3033 | 1251657.2878 | 2746471.0926 | 1251643.3078 | 2746482.0724 | 1251632.6246 | 2746491.8968 | 1251624.3818 | 2746500.5655 | 1251618.2903 | 2746505.5697 | 1251615.9451 | 2746512.7359 | 1251615.0325 | 2746521.5069 | 1251615.7946 | 2746527.732 | 1251617.6546
57 | 2746393.8816 | 1251681.4139 | 2746402.3148 | 1251679.9542 | 2746419.2172 | 1251674.3554 | 2746429.1778 | 1251671.5878
58 | 2746397.4969 | 1251660.4166 | 2746376.9755 | 1251657.2204
59 | 2746397.4969 | 1251660.4166 | 2746396.463 | 1251665.8851 | 2746393.8816 | 1251681.4139
60 | 2746397.4969 | 1251660.4166 | 2746401.6852 | 1251638.2322 | 2746406.1947 | 1251613.142 | 2746415.0581 | 1251573.4685
61 | 2746393.8816 | 1251681.4139 | 2746393.4196 | 1251684.2163 | 2746390.7438 | 1251689.7261
62 | 2746390.7438 | 1251689.7261 | 2746390.128 | 1251690.9941
63 | 2746527.732 | 1251617.6546 | 2746545.9242 | 1251623.0903
64 | 2746545.9242 | 1251623.0903 | 2746560.5083 | 1251627.4479 | 2746565.7172 | 1251628.1219 | 2746573.1485 | 1251627.4828 | 2746585.5574 | 1251625.8771 | 2746597.762 | 1251621.2413 | 2746605.0824 | 1251618.6755 | 2746612.5208 | 1251616.8356 | 2746616.5734 | 1251616.9359 | 2746622.9279 | 1251618.0053 | 2746630.9433 | 1251621.5292 | 2746635.3383 | 1251623.9625 | 2746638.4834 | 1251627.7773 | 2746638.637 | 1251629.8052 | 2746638.0766 | 1251632.0046 | 2746635.7864 | 1251636.8476
65 | 2746935.8629 | 1251670.4622 | 2746911.9707 | 1251687.1858 | 2746902.5243 | 1251695.4129
66 | 2746935.8629 | 1251670.4622 | 2746939.5516 | 1251667.8845 | 2746962.2824 | 1251655.1698
67 | 2746959.3994 | 1251715.2219 | 2746955.8944 | 1251712.5324 | 2746953.487 | 1251709.7367 | 2746950.6077 | 1251704.0488 | 2746948.0781 | 1251695.222 | 2746946.2999 | 1251689.2834 | 2746942.7882 | 1251681.3888 | 2746938.4232 | 1251674.7075 | 2746935.8629 | 1251670.4622
68 | 2746962.2824 | 1251655.1698 | 2746969.7841 | 1251650.9737 | 2746994.8397 | 1251637.8937 | 2747013.8113 | 1251626.1665
69 | 2747013.8113 | 1251626.1665 | 2747015.4927 | 1251625.1272 | 2747030.3063 | 1251615.1853 | 2747037.3694 | 1251608.5989
70 | 2747037.3694 | 1251608.5989 | 2747038.6011 | 1251607.4504 | 2747042.4664 | 1251601.1069 | 2747043.3163 | 1251594.555 | 2747041.2054 | 1251580.1222 | 2747041.018 | 1251577.9556
71 | 2747319.8629 | 1251453.6934 | 2747310.9928 | 1251448.8972 | 2747296.8343 | 1251444.0073 | 2747295.9252 | 1251443.6105
72 | 2747298.7971 | 1251594.8781 | 2747289.0189 | 1251589.074 | 2747285.9773 | 1251586.5313
73 | 2747301.6976 | 1251596.4767 | 2747303.0166 | 1251597.2036
74 | 2747298.7971 | 1251594.8781 | 2747301.6976 | 1251596.4767
75 | 2747340.5723 | 1251613.0674 | 2747303.5945 | 1251597.5221 | 2747303.0166 | 1251597.2036
76 | 2747298.7971 | 1251594.8781 | 2747293.3408 | 1251580.1729
77 | 2747340.5723 | 1251613.0674 | 2747346.2745 | 1251612.7311 | 2747352.4202 | 1251610.048 | 2747357.0233 | 1251604.1123 | 2747360.4617 | 1251596.1235 | 2747362.0412 | 1251589.7011 | 2747362.2712 | 1251588.7923
78 | 2747363.6158 | 1251583.4788 | 2747362.2712 | 1251588.7923
79 | 2747363.6158 | 1251583.4788 | 2747531.7619 | 1251519.7394
80 | 2747552.7252 | 1251517.248 | 2747541.0028 | 1251514.6045 | 2747534.8636 | 1251518.2329 | 2747531.7619 | 1251519.7394
81 | 2747630.9977 | 1251643.9138 | 2747634.1344 | 1251636.4295 | 2747636.92 | 1251631.3163 | 2747643.2014 | 1251623.1983 | 2747656.201 | 1251609.4313 | 2747659.8647 | 1251605.1065
82 | 2747683.1284 | 1251571.0322 | 2747678.9193 | 1251579.3241 | 2747673.7098 | 1251587.7579 | 2747665.0864 | 1251598.9426 | 2747659.8647 | 1251605.1065
83 | 2747569.2634 | 1251523.8949 | 2747571.147 | 1251529.8252 | 2747576.4414 | 1251538.2763 | 2747581.167 | 1251542.8873 | 2747587.2915 | 1251544.6971 | 2747596.2908 | 1251545.0883 | 2747611.5678 | 1251541.1428 | 2747619.8114 | 1251538.5234 | 2747633.6945 | 1251536.8788 | 2747644.9803 | 1251539.151 | 2747652.721 | 1251541.257 | 2747665.4876 | 1251548.9492 | 2747676.2491 | 1251558.6155 | 2747681.3876 | 1251563.9264 | 2747683.035 | 1251568.1159 | 2747683.1284 | 1251571.0322
84 | 2747569.2634 | 1251523.8949 | 2747560.0767 | 1251518.9058 | 2747552.7252 | 1251517.248

## bus_geodata
| x | y | coords
0 | 2747037.3626 | 1251396.7251
1 | 2747041.8575 | 1251395.7623
2 | 2747026.2037 | 1251396.6414
3 | 2747043.3989 | 1251380.8308
4 | 2747053.7394 | 1251393.2103
5 | 2746997.1384 | 1251396.2867
6 | 2747074.8632 | 1251366.9037
7 | 2747107.3467 | 1251383.4459
8 | 2746977.3545 | 1251382.7912
9 | 2747121.7744 | 1251383.7965
10 | 2746928.2574 | 1251340.3696
11 | 2747149.7128 | 1251386.8866
12 | 2747161.6615 | 1251345.1879
13 | 2747047.7663 | 1251509.3396
14 | 2747160.9642 | 1251328.3478
15 | 2747034.9661 | 1251503.1025
16 | 2747192.6815 | 1251537.4483
17 | 2747043.2998 | 1251536.2584
18 | 2747255.2364 | 1251550.0971
19 | 2747041.952 | 1251549.1704
20 | 2746948.4957 | 1251206.6579
21 | 2746938.1638 | 1251196.8116
22 | 2746754.71 | 1251190.482
23 | 2746743.0458 | 1251184.4587
24 | 2746813.9655 | 1251927.0188
25 | 2746816.2835 | 1251913.2857
26 | 2746801.3206 | 1251985.9288
27 | 2746746.0132 | 1251888.3212
28 | 2746806.608 | 1251829.655
29 | 2746761.3989 | 1252009.3734
30 | 2746821.2293 | 1252037.4932
31 | 2746729.2641 | 1251785.0745
32 | 2746820.5996 | 1251769.9199
33 | 2746686.1088 | 1252053.3325
34 | 2746743.9484 | 1251755.9437
35 | 2746687.0378 | 1251763.8184
36 | 2746893.8404 | 1251702.9958
37 | 2746687.8404 | 1252186.2247
38 | 2746716.1104 | 1252216.8935
39 | 2746678.1158 | 1252039.2755
40 | 2746725.8845 | 1252215.7133
41 | 2746635.5346 | 1252011.4371
42 | 2746675.9217 | 1252035.4169
43 | 2746830.7619 | 1252215.4555
44 | 2746812.0905 | 1252216.6913
45 | 2746818.7256 | 1252321.9118
46 | 2746766.7349 | 1252222.0533
47 | 2746762.6721 | 1252228.8218
48 | 2746744.3777 | 1252281.1338
49 | 2746681.7218 | 1251681.4542
50 | 2746634.4429 | 1251639.6887
51 | 2746454.1822 | 1251759.723
52 | 2746429.1778 | 1251671.5878
53 | 2746376.9755 | 1251657.2204
54 | 2746397.4969 | 1251660.4166
55 | 2746393.8816 | 1251681.4139
56 | 2746415.0581 | 1251573.4685
57 | 2746390.7438 | 1251689.7261
58 | 2746390.128 | 1251690.9941
59 | 2746527.732 | 1251617.6546
60 | 2746545.9242 | 1251623.0903
61 | 2746635.7864 | 1251636.8476
62 | 2746902.5243 | 1251695.4129
63 | 2746935.8629 | 1251670.4622
64 | 2746962.2824 | 1251655.1698
65 | 2746959.3994 | 1251715.2219
66 | 2746844.416 | 1251670.462
67 | 2747013.8113 | 1251626.1665
68 | 2747037.3694 | 1251608.5989
69 | 2747041.018 | 1251577.9556
70 | 2747295.9252 | 1251443.6105
71 | 2747285.9773 | 1251586.5313
72 | 2747301.6976 | 1251596.4767
73 | 2747303.0166 | 1251597.2036
74 | 2747298.7971 | 1251594.8781
75 | 2747340.5723 | 1251613.0674
76 | 2747293.3408 | 1251580.1729
77 | 2747362.2712 | 1251588.7923
78 | 2747363.6158 | 1251583.4788
79 | 2747319.8629 | 1251453.6934
80 | 2747531.7619 | 1251519.7394
81 | 2747630.9977 | 1251643.9138
82 | 2747659.8647 | 1251605.1065
83 | 2747683.1284 | 1251571.0322
84 | 2747569.2634 | 1251523.8949
85 | 2747552.7252 | 1251517.248
86 | 2747047.7663 | 1251509.3396

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1