## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3024-15_1_4_node_131 | 0.4 | n |  | TRUE
1 | bus_LV_3024-15_1_4_node_150 | 0.4 | n |  | TRUE
2 | bus_LV_3024-15_1_4_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_3024-15_1_4_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_3024-15_1_4_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_3024-15_1_4_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_3024-15_1_4_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_3024-15_1_4_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_3024-15_1_4_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_3024-15_1_4_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_3024-15_1_4_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_3024-15_1_4_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_3024-15_1_4_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_3024-15_1_4_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_3024-15_1_4_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_3024-15_1_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_3024-15_1_4_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_3024-15_1_4_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_3024-15_1_4_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_3024-15_1_4_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_3024-15_1_4_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_3024-15_1_4_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_3024-15_1_4_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_3024-15_1_4_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_3024-15_1_4_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_3024-15_1_4_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_3024-15_1_4_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_3024-15_1_4_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_3024-15_1_4_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_3024-15_1_4_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_3024-15_1_4_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_3024-15_1_4_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_3024-15_1_4_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_3024-15_1_4_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_3024-15_1_4_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_3024-15_1_4_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_3024-15_1_4_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_3024-15_1_4_node_152 | 0.4 | n |  | TRUE
38 | bus_LV_3024-15_1_4_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_3024-15_1_4_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_3024-15_1_4_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_3024-15_1_4_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_3024-15_1_4_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_3024-15_1_4_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_3024-15_1_4_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_3024-15_1_4_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_3024-15_1_4_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_3024-15_1_4_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_3024-15_1_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_3024-15_1_4_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_3024-15_1_4_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_3024-15_1_4_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_3024-15_1_4_node_151 | 0.4 | n |  | TRUE
53 | bus_LV_3024-15_1_4_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_3024-15_1_4_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_3024-15_1_4_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_3024-15_1_4_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_3024-15_1_4_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_3024-15_1_4_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_3024-15_1_4_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_3024-15_1_4_node_149 | 0.4 | n |  | TRUE
61 | bus_LV_3024-15_1_4_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_3024-15_1_4_node_76 | 0.4 | n |  | TRUE
63 | bus_MV_41_1_node_205 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3024-15_1_4_load_131 | 0 | 0.00057075 | 0.00014304 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3024-15_1_4_load_150 | 1 | 0.00077786 | 0.00019495 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3024-15_1_4_load_13 | 2 | 0.001863 | 0.00046692 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3024-15_1_4_load_14 | 3 | 0.003194 | 0.00080048 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3024-15_1_4_load_17 | 4 | 0.0018761 | 0.0004702 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3024-15_1_4_load_18 | 5 | 0.00072956 | 0.00018285 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3024-15_1_4_load_19 | 6 | 0.0037715 | 0.00094523 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3024-15_1_4_load_21 | 7 | 0.0029114 | 0.00072966 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3024-15_1_4_load_20 | 8 | 0.0032596 | 0.00081694 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3024-15_1_4_load_22 | 9 | 0.0022893 | 0.00057375 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3024-15_1_4_load_25 | 11 | 0.0009766 | 0.00024476 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3024-15_1_4_load_24 | 12 | 0.0035312 | 0.00088501 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3024-15_1_4_load_27 | 13 | 0.0029989 | 0.0007516 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3024-15_1_4_load_26 | 14 | 0.0057471 | 0.0014404 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3024-15_1_4_load_28 | 15 | 0.0023204 | 0.00058154 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3024-15_1_4_load_29 | 16 | 0.0037377 | 0.00093674 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3024-15_1_4_load_31 | 18 | 0.0041555 | 0.0010415 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3024-15_1_4_load_33 | 20 | 0.0067689 | 0.0016964 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3024-15_1_4_load_34 | 22 | 0.0039217 | 0.00098286 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3024-15_1_4_load_35 | 23 | 0.002767 | 0.00069347 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3024-15_1_4_load_36 | 24 | 0.0033054 | 0.00082842 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3024-15_1_4_load_66 | 26 | 0.0051235 | 0.0012841 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3024-15_1_4_load_40 | 27 | 0.05651 | 0.014163 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3024-15_1_4_load_42 | 29 | 0.048328 | 0.012112 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3024-15_1_4_load_75 | 32 | 0.0048549 | 0.0012167 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3024-15_1_4_load_63 | 35 | 0.0018319 | 0.00045911 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3024-15_1_4_load_152 | 37 | 0.037899 | 0.0094984 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3024-15_1_4_load_47 | 38 | 0.0017741 | 0.00044464 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3024-15_1_4_load_55 | 41 | 0.0030994 | 0.00077678 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3024-15_1_4_load_50 | 42 | 0.0068819 | 0.0017248 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3024-15_1_4_load_52 | 43 | 0.0073567 | 0.0018438 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3024-15_1_4_load_53 | 44 | 0.003324 | 0.00083307 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3024-15_1_4_load_56 | 45 | 0.011626 | 0.0029139 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3024-15_1_4_load_54 | 46 | 0.0069548 | 0.001743 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3024-15_1_4_load_57 | 47 | 0.0020367 | 0.00051043 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3024-15_1_4_load_58 | 48 | 0.0017765 | 0.00044523 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3024-15_1_4_load_61 | 50 | 0.0023742 | 0.00059503 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3024-15_1_4_load_151 | 52 | 0.010179 | 0.0025512 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3024-15_1_4_load_64 | 53 | 0.0020558 | 0.00051523 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3024-15_1_4_load_65 | 54 | 0.0028531 | 0.00071505 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3024-15_1_4_load_67 | 55 | 0.0032204 | 0.0008071 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3024-15_1_4_load_70 | 56 | 0.00061445 | 0.000154 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3024-15_1_4_load_71 | 57 | 0.001907 | 0.00047794 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3024-15_1_4_load_73 | 59 | 0.00059406 | 0.00014888 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3024-15_1_4_load_76 | 62 | 0.00097117 | 0.0002434 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3024-15_1_4_line_0 |  | 0 | 1 | 0.17052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3024-15_1_4_line_1 |  | 1 | 60 | 0.058512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3024-15_1_4_line_2 |  | 2 | 3 | 0.048028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3024-15_1_4_line_3 |  | 3 | 4 | 0.0097964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3024-15_1_4_line_4 |  | 4 | 5 | 0.0088917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3024-15_1_4_line_5 |  | 5 | 6 | 0.016379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3024-15_1_4_line_6 |  | 6 | 7 | 0.0043929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3024-15_1_4_line_7 |  | 7 | 8 | 0.0064327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3024-15_1_4_line_8 |  | 8 | 9 | 0.024349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3024-15_1_4_line_9 |  | 9 | 10 | 0.07674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3024-15_1_4_line_10 |  | 10 | 11 | 0.016693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3024-15_1_4_line_11 |  | 10 | 12 | 0.030267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3024-15_1_4_line_12 |  | 11 | 13 | 0.01988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3024-15_1_4_line_13 |  | 13 | 14 | 0.013696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3024-15_1_4_line_14 |  | 14 | 15 | 0.0019191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3024-15_1_4_line_15 |  | 15 | 16 | 0.037655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3024-15_1_4_line_16 |  | 16 | 17 | 0.053861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3024-15_1_4_line_17 |  | 17 | 18 | 0.048277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3024-15_1_4_line_18 |  | 17 | 19 | 0.017217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3024-15_1_4_line_19 |  | 18 | 20 | 0.007171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3024-15_1_4_line_20 |  | 19 | 21 | 0.009782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3024-15_1_4_line_21 |  | 19 | 22 | 0.0057161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3024-15_1_4_line_22 |  | 21 | 25 | 0.018829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_3024-15_1_4_line_23 |  | 21 | 26 | 0.036246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_3024-15_1_4_line_24 |  | 22 | 23 | 0.018952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3024-15_1_4_line_25 |  | 23 | 24 | 0.028494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3024-15_1_4_line_26 |  | 25 | 44 | 0.0097904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_3024-15_1_4_line_27 |  | 25 | 42 | 0.038632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3024-15_1_4_line_28 |  | 26 | 55 | 0.012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_3024-15_1_4_line_29 |  | 27 | 28 | 0.014786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3024-15_1_4_line_30 |  | 27 | 29 | 0.082256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3024-15_1_4_line_31 |  | 28 | 30 | 0.12216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3024-15_1_4_line_32 |  | 28 | 31 | 0.04178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_3024-15_1_4_line_33 |  | 30 | 32 | 0.059172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3024-15_1_4_line_34 |  | 31 | 33 | 0.078682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_3024-15_1_4_line_35 |  | 31 | 34 | 0.002632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3024-15_1_4_line_36 |  | 31 | 35 | 0.028233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3024-15_1_4_line_37 |  | 32 | 62 | 0.080955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3024-15_1_4_line_38 |  | 33 | 36 | 0.026579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_3024-15_1_4_line_39 |  | 33 | 37 | 0.002472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3024-15_1_4_line_40 |  | 34 | 50 | 0.024065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3024-15_1_4_line_41 |  | 34 | 47 | 0.015212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3024-15_1_4_line_42 |  | 35 | 53 | 0.021597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3024-15_1_4_line_43 |  | 36 | 38 | 0.054393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_3024-15_1_4_line_44 |  | 38 | 39 | 0.1196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_3024-15_1_4_line_45 |  | 39 | 40 | 0.072861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_3024-15_1_4_line_46 |  | 40 | 41 | 0.030152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_3024-15_1_4_line_47 |  | 41 | 46 | 0.025553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_3024-15_1_4_line_48 |  | 42 | 43 | 0.0063453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3024-15_1_4_line_49 |  | 44 | 45 | 0.0052412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_3024-15_1_4_line_50 |  | 45 | 46 | 0.020436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_3024-15_1_4_line_51 |  | 47 | 48 | 0.0056335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3024-15_1_4_line_52 |  | 48 | 49 | 0.079541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3024-15_1_4_line_53 |  | 49 | 51 | 0.17815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3024-15_1_4_line_54 |  | 51 | 52 | 0.077368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3024-15_1_4_line_55 |  | 53 | 54 | 0.019848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3024-15_1_4_line_56 |  | 56 | 57 | 0.032152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3024-15_1_4_line_57 |  | 56 | 58 | 0.061202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3024-15_1_4_line_58 |  | 57 | 59 | 0.062169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3024-15_1_4_line_59 |  | 57 | 60 | 0.13415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3024-15_1_4_line_60 |  | 58 | 61 | 0.005805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3024-15_1_4_line_61 |  | 61 | 62 | 0.14339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3024-15_1_4_trafo_67 | 0.63 MVA 20/0.4 kV | 63 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2747559.3348 | 1251309.309 | 2747626.8638 | 1251465.8908
1 | 2747559.3348 | 1251309.309 | 2747587.0927 | 1251294.575 | 2747612.3858 | 1251284.5064
2 | 2747192.8982 | 1251283.4946 | 2747206.0551 | 1251269.6962 | 2747217.8141 | 1251257.8214 | 2747227.5825 | 1251250.4285
3 | 2747235.394 | 1251244.5167 | 2747227.5825 | 1251250.4285
4 | 2747235.394 | 1251244.5167 | 2747242.4841 | 1251239.1508
5 | 2747242.4841 | 1251239.1508 | 2747246.4692 | 1251236.1348 | 2747256.7574 | 1251231.2675
6 | 2747256.7574 | 1251231.2675 | 2747257.7257 | 1251230.8094 | 2747260.729 | 1251229.3903
7 | 2747266.5451 | 1251226.6421 | 2747260.729 | 1251229.3903
8 | 2747266.5451 | 1251226.6421 | 2747288.5602 | 1251216.2396 | 2747288.5602 | 1251216.2396
9 | 2747315.9376 | 1251148.1884 | 2747316.0202 | 1251149.7252 | 2747314.4134 | 1251172.4181 | 2747311.423 | 1251188.1921 | 2747301.3494 | 1251203.6454 | 2747288.5602 | 1251216.2396
10 | 2747315.9376 | 1251148.1884 | 2747315.0564 | 1251131.5185
11 | 2747315.9376 | 1251148.1884 | 2747307.7257 | 1251145.5706 | 2747289.8677 | 1251133.3337
12 | 2747315.0564 | 1251131.5185 | 2747314.0069 | 1251111.6666
13 | 2747313.2839 | 1251097.9895 | 2747314.0069 | 1251111.6666
14 | 2747313.2839 | 1251097.9895 | 2747313.1826 | 1251096.073
15 | 2747313.1826 | 1251096.073 | 2747312.569 | 1251084.466 | 2747308.1577 | 1251075.3921 | 2747294.8973 | 1251066.543
16 | 2747252.1955 | 1251038.0769 | 2747258.812 | 1251049.5856 | 2747267.6002 | 1251057.278 | 2747277.2039 | 1251061.6319 | 2747294.8973 | 1251066.543
17 | 2747252.1955 | 1251038.0769 | 2747244.4719 | 1251060.7622 | 2747226.6813 | 1251077.3342
18 | 2747244.5744 | 1251022.6283 | 2747252.1955 | 1251038.0769
19 | 2747221.2866 | 1251082.0582 | 2747226.3189 | 1251077.6718 | 2747226.6813 | 1251077.3342
20 | 2747244.5744 | 1251022.6283 | 2747243.0247 | 1251012.9695
21 | 2747244.5744 | 1251022.6283 | 2747240.1569 | 1251019.0007
22 | 2747240.0433 | 1250994.3777 | 2747243.0247 | 1251012.9695
23 | 2747243.0247 | 1251012.9695 | 2747279.2697 | 1251013.1924
24 | 2747240.1569 | 1251019.0007 | 2747237.0327 | 1251016.4351 | 2747228.9622 | 1251013.5874 | 2747222.6423 | 1251012.9609
25 | 2747194.7205 | 1251017.8371 | 2747219.0781 | 1251012.6076 | 2747222.6423 | 1251012.9609
26 | 2747240.0433 | 1250994.3777 | 2747236.4944 | 1250985.2531
27 | 2747240.0433 | 1250994.3777 | 2747262.1819 | 1250989.7011 | 2747271.8118 | 1250976.917
28 | 2747291.7366 | 1251013.2691 | 2747279.2697 | 1251013.1924
29 | 2747398.4851 | 1250912.6382 | 2747406.8342 | 1250924.8418
30 | 2747428.4019 | 1251002.0344 | 2747427.4485 | 1250982.0916 | 2747423.2132 | 1250952.0019 | 2747420.5401 | 1250944.7063 | 2747413.657 | 1250934.8145 | 2747406.8342 | 1250924.8418
31 | 2747398.4851 | 1250912.6382 | 2747407.3416 | 1250915.1609 | 2747417.5961 | 1250923.1124 | 2747425.9462 | 1250933.8415 | 2747431.4511 | 1250942.3643 | 2747436.7869 | 1250952.5179 | 2747439.6211 | 1250954.2567 | 2747442.8441 | 1250954.9375 | 2747451.8835 | 1250950.1134 | 2747466.5148 | 1250939.4005 | 2747480.9135 | 1250930.7506 | 2747492.8788 | 1250925.1986
32 | 2747373.1316 | 1250888.0731 | 2747370.0549 | 1250896.6826 | 2747378.6463 | 1250901.9679 | 2747387.8276 | 1250906.3115 | 2747398.4851 | 1250912.6382
33 | 2747492.8788 | 1250925.1986 | 2747495.4907 | 1250955.259 | 2747495.7054 | 1250972.7143 | 2747498.7198 | 1250983.8559
34 | 2747313.3444 | 1250915.1904 | 2747313.7628 | 1250914.767 | 2747314.5764 | 1250914.5426 | 2747315.6323 | 1250914.6022 | 2747320.9057 | 1250916.3461 | 2747324.2346 | 1250916.7181 | 2747327.2199 | 1250915.7247 | 2747325.8399 | 1250911.9979 | 2747327.5693 | 1250906.5357 | 2747332.5183 | 1250903.111 | 2747339.4362 | 1250902.5046 | 2747355.138 | 1250903.0956 | 2747360.8097 | 1250902.1913 | 2747364.9196 | 1250900.6142 | 2747370.0549 | 1250896.6826 | 2747373.1316 | 1250888.0731
35 | 2747373.1316 | 1250888.0731 | 2747373.9041 | 1250885.5566
36 | 2747373.1316 | 1250888.0731 | 2747357.1692 | 1250889.4553 | 2747353.4579 | 1250888.9737 | 2747345.9931 | 1250884.9745
37 | 2747498.7198 | 1250983.8559 | 2747500.3042 | 1250989.7117 | 2747511.6426 | 1251007.8001 | 2747537.7761 | 1251027.3915 | 2747556.0276 | 1251037.5304
38 | 2747306.5664 | 1250936.887 | 2747309.8593 | 1250934.7557 | 2747314.438 | 1250929.8204 | 2747315.9743 | 1250925.4433 | 2747316.624 | 1250923.6132 | 2747316.4054 | 1250922.3844 | 2747315.9092 | 1250919.5583 | 2747313.2596 | 1250915.8667 | 2747313.3444 | 1250915.1904
39 | 2747311.041 | 1250914.2767 | 2747313.3444 | 1250915.1904
40 | 2747373.9041 | 1250885.5566 | 2747396.4477 | 1250893.9772
41 | 2747373.9041 | 1250885.5566 | 2747378.3964 | 1250871.0232
42 | 2747345.9931 | 1250884.9745 | 2747326.9558 | 1250874.7755
43 | 2747306.5664 | 1250936.887 | 2747298.6464 | 1250937.7021 | 2747291.3855 | 1250936.3092 | 2747283.7898 | 1250932.2832 | 2747275.6431 | 1250925.819 | 2747266.5676 | 1250916.3067 | 2747261.6047 | 1250911.5216
44 | 2747159.3781 | 1250852.1607 | 2747211.7108 | 1250873.9478 | 2747239.2635 | 1250889.9809 | 2747261.6047 | 1250911.5216
45 | 2747159.3781 | 1250852.1607 | 2747167.1965 | 1250868.8041 | 2747195.9615 | 1250915.0625
46 | 2747195.9615 | 1250915.0625 | 2747213.3031 | 1250939.7281
47 | 2747225.8601 | 1250961.9121 | 2747218.2531 | 1250946.7687 | 2747213.3031 | 1250939.7281
48 | 2747277.933 | 1250975.2453 | 2747271.8118 | 1250976.917
49 | 2747236.4944 | 1250985.2531 | 2747234.5945 | 1250980.3683
50 | 2747225.8601 | 1250961.9121 | 2747232.7532 | 1250975.6342 | 2747234.5945 | 1250980.3683
51 | 2747378.3964 | 1250871.0232 | 2747380.0601 | 1250865.6409
52 | 2747414.2177 | 1250794.5946 | 2747413.0866 | 1250799.9827 | 2747408.9513 | 1250811.0682 | 2747403.5625 | 1250821.8444 | 2747390.2216 | 1250839.8743 | 2747382.2247 | 1250858.6378 | 2747380.0601 | 1250865.6409
53 | 2747304.544 | 1250803.554 | 2747307.9445 | 1250792.5502 | 2747308.0374 | 1250788.8156 | 2747305.9239 | 1250784.2143 | 2747301.8552 | 1250780.7877 | 2747300.0915 | 1250778.5194 | 2747299.8524 | 1250775.9889 | 2747303.1753 | 1250764.4604 | 2747308.8756 | 1250751.1783 | 2747311.9582 | 1250745.0602 | 2747354.2114 | 1250767.9547 | 2747366.5469 | 1250774.5455 | 2747380.6521 | 1250781.336 | 2747399.4112 | 1250789.2768 | 2747414.2177 | 1250794.5946
54 | 2747265.5261 | 1250848.2603 | 2747270.7829 | 1250850.0704 | 2747275.8589 | 1250850.041 | 2747279.6574 | 1250847.3217 | 2747287.8737 | 1250836.7269 | 2747299.8886 | 1250830.6975 | 2747309.5027 | 1250822.5064 | 2747311.6514 | 1250816.8878 | 2747312.0445 | 1250811.7149 | 2747308.6567 | 1250805.8139 | 2747304.544 | 1250803.554
55 | 2747326.9558 | 1250874.7755 | 2747309.4602 | 1250865.4025
56 | 2747602.9951 | 1251144.2227 | 2747584.1389 | 1251147.9834 | 2747573.9786 | 1251155.9714
57 | 2747663.8818 | 1251138.5719 | 2747611.4015 | 1251142.5461 | 2747602.9951 | 1251144.2227
58 | 2747514.48 | 1251173.9962 | 2747573.9786 | 1251155.9714
59 | 2747573.9786 | 1251155.9714 | 2747612.3858 | 1251284.5064
60 | 2747663.8818 | 1251138.5719 | 2747661.0938 | 1251133.4754
61 | 2747661.0938 | 1251133.4754 | 2747655.9294 | 1251124.0377 | 2747581.8447 | 1251053.6917 | 2747563.3488 | 1251041.5974 | 2747556.0276 | 1251037.5304

## bus_geodata
| x | y | coords
0 | 2747626.8638 | 1251465.8908
1 | 2747559.3348 | 1251309.309
2 | 2747192.8982 | 1251283.4946
3 | 2747227.5825 | 1251250.4285
4 | 2747235.394 | 1251244.5167
5 | 2747242.4841 | 1251239.1508
6 | 2747256.7574 | 1251231.2675
7 | 2747260.729 | 1251229.3903
8 | 2747266.5451 | 1251226.6421
9 | 2747288.5602 | 1251216.2396
10 | 2747315.9376 | 1251148.1884
11 | 2747315.0564 | 1251131.5185
12 | 2747289.8677 | 1251133.3337
13 | 2747314.0069 | 1251111.6666
14 | 2747313.2839 | 1251097.9895
15 | 2747313.1826 | 1251096.073
16 | 2747294.8973 | 1251066.543
17 | 2747252.1955 | 1251038.0769
18 | 2747226.6813 | 1251077.3342
19 | 2747244.5744 | 1251022.6283
20 | 2747221.2866 | 1251082.0582
21 | 2747243.0247 | 1251012.9695
22 | 2747240.1569 | 1251019.0007
23 | 2747222.6423 | 1251012.9609
24 | 2747194.7205 | 1251017.8371
25 | 2747240.0433 | 1250994.3777
26 | 2747279.2697 | 1251013.1924
27 | 2747406.8342 | 1250924.8418
28 | 2747398.4851 | 1250912.6382
29 | 2747428.4019 | 1251002.0344
30 | 2747492.8788 | 1250925.1986
31 | 2747373.1316 | 1250888.0731
32 | 2747498.7198 | 1250983.8559
33 | 2747313.3444 | 1250915.1904
34 | 2747373.9041 | 1250885.5566
35 | 2747345.9931 | 1250884.9745
36 | 2747306.5664 | 1250936.887
37 | 2747311.041 | 1250914.2767
38 | 2747261.6047 | 1250911.5216
39 | 2747159.3781 | 1250852.1607
40 | 2747195.9615 | 1250915.0625
41 | 2747213.3031 | 1250939.7281
42 | 2747271.8118 | 1250976.917
43 | 2747277.933 | 1250975.2453
44 | 2747236.4944 | 1250985.2531
45 | 2747234.5945 | 1250980.3683
46 | 2747225.8601 | 1250961.9121
47 | 2747378.3964 | 1250871.0232
48 | 2747380.0601 | 1250865.6409
49 | 2747414.2177 | 1250794.5946
50 | 2747396.4477 | 1250893.9772
51 | 2747304.544 | 1250803.554
52 | 2747265.5261 | 1250848.2603
53 | 2747326.9558 | 1250874.7755
54 | 2747309.4602 | 1250865.4025
55 | 2747291.7366 | 1251013.2691
56 | 2747602.9951 | 1251144.2227
57 | 2747573.9786 | 1251155.9714
58 | 2747663.8818 | 1251138.5719
59 | 2747514.48 | 1251173.9962
60 | 2747612.3858 | 1251284.5064
61 | 2747661.0938 | 1251133.4754
62 | 2747556.0276 | 1251037.5304
63 | 2747243.0247 | 1251012.9695

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1