## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3024-17_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3024-17_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3024-17_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3024-17_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3024-17_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3024-17_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3024-17_0_6_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_3024-17_0_6_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_3024-17_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3024-17_0_6_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_3024-17_0_6_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_3024-17_0_6_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_3024-17_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3024-17_0_6_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_3024-17_0_6_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_3024-17_0_6_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_3024-17_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3024-17_0_6_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_3024-17_0_6_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_3024-17_0_6_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_3024-17_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_3024-17_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_3024-17_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3024-17_0_6_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_3024-17_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_3024-17_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_3024-17_0_6_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_3024-17_0_6_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_3024-17_0_6_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_3024-17_0_6_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_3024-17_0_6_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_3024-17_0_6_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_3024-17_0_6_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_3024-17_0_6_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_3024-17_0_6_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_3024-17_0_6_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_3024-17_0_6_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_3024-17_0_6_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_3024-17_0_6_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_3024-17_0_6_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_3024-17_0_6_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_3024-17_0_6_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_3024-17_0_6_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_3024-17_0_6_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_3024-17_0_6_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_3024-17_0_6_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_3024-17_0_6_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_3024-17_0_6_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_3024-17_0_6_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_3024-17_0_6_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_3024-17_0_6_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_3024-17_0_6_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_3024-17_0_6_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_3024-17_0_6_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_3024-17_0_6_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_3024-17_0_6_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_3024-17_0_6_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_3024-17_0_6_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_3024-17_0_6_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_3024-17_0_6_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_3024-17_0_6_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_3024-17_0_6_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_3024-17_0_6_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_3024-17_0_6_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_3024-17_0_6_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_3024-17_0_6_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_3024-17_0_6_node_60 | 0.4 | n |  | TRUE
67 | bus_MV_40_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3024-17_0_6_load_0 | 0 | 0.002342 | 0.00058695 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3024-17_0_6_load_1 | 1 | 0.0023434 | 0.00058732 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3024-17_0_6_load_3 | 3 | 0.0038293 | 0.00095972 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3024-17_0_6_load_5 | 5 | 0.0049552 | 0.0012419 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3024-17_0_6_load_27 | 7 | 0.010125 | 0.0025376 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3024-17_0_6_load_6 | 8 | 0.0068662 | 0.0017208 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3024-17_0_6_load_34 | 9 | 0.0040471 | 0.0010143 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3024-17_0_6_load_31 | 10 | 0.015104 | 0.0037853 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3024-17_0_6_load_28 | 11 | 0.0047233 | 0.0011838 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3024-17_0_6_load_21 | 14 | 0.005776 | 0.0014476 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3024-17_0_6_load_15 | 15 | 0.0030861 | 0.00077345 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3024-17_0_6_load_11 | 16 | 0.0032256 | 0.00080841 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3024-17_0_6_load_20 | 17 | 0.0022713 | 0.00056925 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3024-17_0_6_load_8 | 18 | 0.0027692 | 0.00069403 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3024-17_0_6_load_9 | 19 | 0.0071687 | 0.0017966 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3024-17_0_6_load_12 | 21 | 0.0047626 | 0.0011936 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3024-17_0_6_load_13 | 22 | 0.0018705 | 0.0004688 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3024-17_0_6_load_19 | 23 | 0.0022614 | 0.00056676 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3024-17_0_6_load_16 | 25 | 0.0037398 | 0.00093729 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3024-17_0_6_load_18 | 26 | 0.0017572 | 0.0004404 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3024-17_0_6_load_22 | 27 | 0.0020109 | 0.00050398 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3024-17_0_6_load_23 | 28 | 0.0017232 | 0.00043188 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3024-17_0_6_load_24 | 29 | 0.0025936 | 0.00065003 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3024-17_0_6_load_25 | 30 | 0.005186 | 0.0012997 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3024-17_0_6_load_26 | 31 | 0.003631 | 0.00091001 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3024-17_0_6_load_29 | 32 | 0.0087711 | 0.0021982 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3024-17_0_6_load_49 | 33 | 0.0064008 | 0.0016042 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3024-17_0_6_load_66 | 34 | 0.0027268 | 0.00068339 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3024-17_0_6_load_35 | 35 | 0.043482 | 0.010898 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3024-17_0_6_load_32 | 36 | 0.020847 | 0.0052248 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3024-17_0_6_load_33 | 37 | 0.022658 | 0.0056787 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3024-17_0_6_load_46 | 38 | 0.029838 | 0.0074782 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3024-17_0_6_load_36 | 40 | 0.01693 | 0.0042429 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3024-17_0_6_load_37 | 41 | 0.0033278 | 0.00083401 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3024-17_0_6_load_67 | 42 | 0.0031412 | 0.00078727 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3024-17_0_6_load_38 | 43 | 0.0053397 | 0.0013383 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3024-17_0_6_load_68 | 44 | 0.0011251 | 0.00028199 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3024-17_0_6_load_44 | 45 | 0.0080958 | 0.002029 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3024-17_0_6_load_43 | 46 | 0.0069171 | 0.0017336 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3024-17_0_6_load_39 | 47 | 0.021453 | 0.0053766 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3024-17_0_6_load_40 | 48 | 0.022387 | 0.0056108 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3024-17_0_6_load_41 | 49 | 0.016743 | 0.0041961 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3024-17_0_6_load_42 | 50 | 0.0078193 | 0.0019597 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3024-17_0_6_load_54 | 54 | 0.0049948 | 0.0012518 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3024-17_0_6_load_53 | 55 | 0.02556 | 0.006406 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3024-17_0_6_load_58 | 57 | 0.026736 | 0.0067007 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3024-17_0_6_load_56 | 58 | 0.026352 | 0.0066046 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3024-17_0_6_load_50 | 59 | 0.0093592 | 0.0023456 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3024-17_0_6_load_64 | 60 | 0.0038909 | 0.00097515 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3024-17_0_6_load_65 | 61 | 0.002995 | 0.00075063 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3024-17_0_6_load_63 | 62 | 0.0033655 | 0.00084347 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3024-17_0_6_load_51 | 63 | 0.034303 | 0.0085973 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3024-17_0_6_load_52 | 64 | 0.021679 | 0.0054333 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3024-17_0_6_load_61 | 65 | 0.0059021 | 0.0014792 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3024-17_0_6_line_0 |  | 0 | 1 | 0.010627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3024-17_0_6_line_1 |  | 0 | 2 | 0.014356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3024-17_0_6_line_2 |  | 1 | 3 | 0.015742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3024-17_0_6_line_3 |  | 2 | 4 | 0.026434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3024-17_0_6_line_4 |  | 3 | 5 | 0.01638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3024-17_0_6_line_5 |  | 4 | 6 | 0.02359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3024-17_0_6_line_6 |  | 4 | 7 | 0.021267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3024-17_0_6_line_7 |  | 5 | 8 | 0.04909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3024-17_0_6_line_8 |  | 6 | 9 | 0.017831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3024-17_0_6_line_9 |  | 6 | 10 | 0.023258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_3024-17_0_6_line_10 |  | 7 | 11 | 0.033404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3024-17_0_6_line_11 |  | 8 | 12 | 0.022352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3024-17_0_6_line_12 |  | 9 | 35 | 0.025713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3024-17_0_6_line_13 |  | 10 | 36 | 0.045073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_3024-17_0_6_line_14 |  | 11 | 32 | 0.034289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3024-17_0_6_line_15 |  | 12 | 13 | 0.032364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3024-17_0_6_line_16 |  | 12 | 14 | 0.0062331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3024-17_0_6_line_17 |  | 13 | 15 | 0.017327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3024-17_0_6_line_18 |  | 13 | 16 | 0.010652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3024-17_0_6_line_19 |  | 14 | 17 | 0.028611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3024-17_0_6_line_20 |  | 15 | 23 | 0.012446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3024-17_0_6_line_21 |  | 16 | 19 | 0.014586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3024-17_0_6_line_22 |  | 17 | 27 | 0.000841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3024-17_0_6_line_23 |  | 18 | 19 | 0.01686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3024-17_0_6_line_24 |  | 18 | 20 | 0.015629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3024-17_0_6_line_25 |  | 20 | 21 | 0.01131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3024-17_0_6_line_26 |  | 20 | 22 | 0.06472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3024-17_0_6_line_27 |  | 23 | 24 | 0.0051462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3024-17_0_6_line_28 |  | 24 | 26 | 0.017825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3024-17_0_6_line_29 |  | 24 | 25 | 0.03059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3024-17_0_6_line_30 |  | 27 | 28 | 0.014895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3024-17_0_6_line_31 |  | 28 | 29 | 0.0094906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3024-17_0_6_line_32 |  | 29 | 30 | 0.026776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3024-17_0_6_line_33 |  | 30 | 31 | 0.015665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3024-17_0_6_line_34 |  | 32 | 33 | 0.034908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3024-17_0_6_line_35 |  | 33 | 34 | 0.0076197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3024-17_0_6_line_36 |  | 34 | 61 | 0.027882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3024-17_0_6_line_37 |  | 36 | 37 | 0.046777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_3024-17_0_6_line_38 |  | 37 | 38 | 0.074495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_3024-17_0_6_line_39 |  | 38 | 39 | 0.0037071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_3024-17_0_6_line_40 |  | 39 | 55 | 0.071232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3024-17_0_6_line_41 |  | 39 | 51 | 0.008117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_3024-17_0_6_line_42 |  | 40 | 41 | 0.0024118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3024-17_0_6_line_43 |  | 40 | 42 | 0.17101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3024-17_0_6_line_44 |  | 41 | 43 | 0.0096787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3024-17_0_6_line_45 |  | 42 | 44 | 0.052905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3024-17_0_6_line_46 |  | 43 | 45 | 0.0098807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3024-17_0_6_line_47 |  | 45 | 46 | 0.015424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3024-17_0_6_line_48 |  | 46 | 49 | 0.013491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3024-17_0_6_line_49 |  | 47 | 48 | 0.027733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3024-17_0_6_line_50 |  | 47 | 49 | 0.0054419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3024-17_0_6_line_51 |  | 48 | 50 | 0.02753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3024-17_0_6_line_52 |  | 50 | 51 | 0.058277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3024-17_0_6_line_53 |  | 51 | 52 | 0.017933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3024-17_0_6_line_54 |  | 52 | 53 | 0.005825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3024-17_0_6_line_55 |  | 52 | 54 | 0.01771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3024-17_0_6_line_56 |  | 53 | 57 | 0.012179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3024-17_0_6_line_57 |  | 53 | 58 | 0.057569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3024-17_0_6_line_58 |  | 55 | 56 | 0.039382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3024-17_0_6_line_59 |  | 56 | 66 | 0.094541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3024-17_0_6_line_60 |  | 59 | 60 | 0.020906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3024-17_0_6_line_61 |  | 59 | 61 | 0.018303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3024-17_0_6_line_62 |  | 60 | 62 | 0.012711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3024-17_0_6_line_63 |  | 63 | 64 | 0.038748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3024-17_0_6_line_64 |  | 64 | 65 | 0.022659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3024-17_0_6_line_65 |  | 65 | 66 | 0.039927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3024-17_0_6_trafo_33 | 0.63 MVA 20/0.4 kV | 67 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2746520.2916 | 1250703.5762 | 2746518.4466 | 1250702.8166 | 2746511.7298 | 1250697.3947
1 | 2746530.549 | 1250696.2762 | 2746527.6569 | 1250700.531 | 2746526.2484 | 1250702.5092 | 2746522.8726 | 1250704.6388 | 2746520.2916 | 1250703.5762
2 | 2746511.7298 | 1250697.3947 | 2746499.4803 | 1250687.5067
3 | 2746530.549 | 1250696.2762 | 2746538.4519 | 1250701.0428 | 2746549.5535 | 1250706.8673 | 2746551.15 | 1250702.4804
4 | 2746499.4803 | 1250687.5067 | 2746486.7346 | 1250677.2182
5 | 2746559.2361 | 1250680.3148 | 2746551.15 | 1250702.4804
6 | 2746551.15 | 1250702.4804 | 2746539.4242 | 1250696.8518 | 2746532.6039 | 1250692.1912
7 | 2746486.7346 | 1250677.2182 | 2746461.0526 | 1250656.4873 | 2746446.9041 | 1250648.8368
8 | 2746559.2361 | 1250680.3148 | 2746565.9231 | 1250674.3968 | 2746569.2261 | 1250671.8538 | 2746573.8631 | 1250672.8002
9 | 2746559.2361 | 1250680.3148 | 2746553.6295 | 1250671.5679 | 2746543.2811 | 1250663.9196
10 | 2746532.6039 | 1250692.1912 | 2746529.123 | 1250689.8126 | 2746506.9362 | 1250670.8464
11 | 2746426.6973 | 1250639.3221 | 2746440.2962 | 1250645.2637 | 2746446.9041 | 1250648.8368
12 | 2746573.8631 | 1250672.8002 | 2746574.8696 | 1250673.0056 | 2746598.9527 | 1250678.4261
13 | 2746543.2811 | 1250663.9196 | 2746528.983 | 1250653.3523 | 2746511.1273 | 1250632.7095
14 | 2746484.1346 | 1250645.4511 | 2746488.1298 | 1250651.5629 | 2746500.4111 | 1250665.2684 | 2746506.9362 | 1250670.8464
15 | 2746426.6973 | 1250639.3221 | 2746430.4415 | 1250671.4674
16 | 2746426.6973 | 1250639.3221 | 2746420.9395 | 1250636.9348
17 | 2746430.4415 | 1250671.4674 | 2746414.7083 | 1250664.2075
18 | 2746430.4415 | 1250671.4674 | 2746432.7727 | 1250681.8611
19 | 2746394.7315 | 1250625.5172 | 2746398.7147 | 1250627.7198 | 2746420.9395 | 1250636.9348
20 | 2746403.4076 | 1250658.993 | 2746414.7083 | 1250664.2075
21 | 2746432.7727 | 1250681.8611 | 2746435.9651 | 1250696.0937
22 | 2746393.9955 | 1250625.1102 | 2746394.7315 | 1250625.5172
23 | 2746439.655 | 1250712.5451 | 2746435.9651 | 1250696.0937
24 | 2746440.5464 | 1250727.9818 | 2746441.1827 | 1250719.356 | 2746439.655 | 1250712.5451
25 | 2746440.5464 | 1250727.9818 | 2746443.07 | 1250732.2149 | 2746446.366 | 1250737.6793
26 | 2746379.5473 | 1250726.0398 | 2746402.2199 | 1250727.8793 | 2746427.4398 | 1250735.4318 | 2746435.8662 | 1250733.3824 | 2746440.5464 | 1250727.9818
27 | 2746398.7349 | 1250656.8369 | 2746403.4076 | 1250658.993
28 | 2746398.7349 | 1250656.8369 | 2746388.1047 | 1250656.3739 | 2746382.9642 | 1250661.4517
29 | 2746398.7349 | 1250656.8369 | 2746393.5944 | 1250661.9147 | 2746394.6511 | 1250667.7463 | 2746405.5934 | 1250681.3238
30 | 2746393.9955 | 1250625.1102 | 2746380.9604 | 1250617.9021
31 | 2746373.7036 | 1250612.0235 | 2746376.7348 | 1250615.5654 | 2746380.9604 | 1250617.9021
32 | 2746373.7036 | 1250612.0235 | 2746356.2937 | 1250591.6804
33 | 2746344.2041 | 1250582.1684 | 2746351.3655 | 1250585.9218 | 2746356.2937 | 1250591.6804
34 | 2746484.1346 | 1250645.4511 | 2746475.6857 | 1250632.5262 | 2746465.0707 | 1250616.2086
35 | 2746465.0707 | 1250616.2086 | 2746465.098 | 1250623.8283
36 | 2746465.098 | 1250623.8283 | 2746450.4439 | 1250600.1073
37 | 2746486.5789 | 1250593.4675 | 2746496.7783 | 1250616.1208 | 2746511.1273 | 1250632.7095
38 | 2746486.5789 | 1250593.4675 | 2746481.7438 | 1250582.7286 | 2746468.6725 | 1250526.7524 | 2746467.5476 | 1250521.6393
39 | 2746466.7511 | 1250518.0188 | 2746467.5476 | 1250521.6393
40 | 2746466.7511 | 1250518.0188 | 2746461.6297 | 1250507.6602 | 2746451.9276 | 1250494.3967 | 2746438.5209 | 1250486.1688 | 2746428.4985 | 1250478.525 | 2746417.4371 | 1250468.5294
41 | 2746466.7511 | 1250518.0188 | 2746474.024 | 1250514.3729
42 | 2746620.7853 | 1250562.8597 | 2746618.4269 | 1250562.3551
43 | 2746620.7853 | 1250562.8597 | 2746751.6115 | 1250452.7255
44 | 2746618.4269 | 1250562.3551 | 2746608.9624 | 1250560.3301
45 | 2746751.6115 | 1250452.7255 | 2746775.8609 | 1250449.3114 | 2746796.5597 | 1250452.2046 | 2746803.2625 | 1250455.6059
46 | 2746599.3003 | 1250558.2629 | 2746608.9624 | 1250560.3301
47 | 2746599.3003 | 1250558.2629 | 2746584.2173 | 1250555.0358 | 2746584.2173 | 1250555.0358
48 | 2746570.835 | 1250556.7414 | 2746584.2173 | 1250555.0358
49 | 2746565.4368 | 1250557.4294 | 2746542.129 | 1250560.4001 | 2746537.893 | 1250560.3296
50 | 2746565.4368 | 1250557.4294 | 2746570.835 | 1250556.7414
51 | 2746537.893 | 1250560.3296 | 2746517.4417 | 1250559.9893 | 2746511.4491 | 1250556.2264
52 | 2746474.024 | 1250514.3729 | 2746479.5798 | 1250516.0228 | 2746498.8561 | 1250548.3188 | 2746511.4491 | 1250556.2264
53 | 2746484.7054 | 1250500.2568 | 2746476.4885 | 1250508.784 | 2746474.024 | 1250514.3729
54 | 2746488.0635 | 1250495.4908 | 2746484.7054 | 1250500.2568
55 | 2746484.7054 | 1250500.2568 | 2746494.6554 | 1250498.6122 | 2746500.7988 | 1250503.1294
56 | 2746487.548 | 1250483.3554 | 2746488.284 | 1250490.5471 | 2746488.0635 | 1250495.4908
57 | 2746488.0635 | 1250495.4908 | 2746493.4445 | 1250490.7749 | 2746496.9756 | 1250483.2884 | 2746500.5127 | 1250467.0159 | 2746505.0723 | 1250441.9435
58 | 2746385.5168 | 1250454.9409 | 2746397.8761 | 1250450.8534 | 2746417.4371 | 1250468.5294
59 | 2746385.5168 | 1250454.9409 | 2746370.6425 | 1250456.5751 | 2746326.0513 | 1250454.7056 | 2746310.6705 | 1250455.7491 | 2746296.0439 | 1250469.0674
60 | 2746444.3823 | 1250582.8373 | 2746430.2548 | 1250567.4268
61 | 2746444.3823 | 1250582.8373 | 2746450.4439 | 1250600.1073
62 | 2746423.5744 | 1250556.613 | 2746430.2548 | 1250567.4268
63 | 2746389.7916 | 1250504.4807 | 2746374.5126 | 1250493.7282 | 2746361.5948 | 1250486.8026 | 2746356.4603 | 1250485.1066
64 | 2746356.4603 | 1250485.1066 | 2746335.9732 | 1250478.3397 | 2746334.922 | 1250478.0797
65 | 2746296.0439 | 1250469.0674 | 2746303.6483 | 1250470.3452 | 2746334.922 | 1250478.0797

## bus_geodata
| x | y | coords
0 | 2746520.2916 | 1250703.5762
1 | 2746511.7298 | 1250697.3947
2 | 2746530.549 | 1250696.2762
3 | 2746499.4803 | 1250687.5067
4 | 2746551.15 | 1250702.4804
5 | 2746486.7346 | 1250677.2182
6 | 2746559.2361 | 1250680.3148
7 | 2746532.6039 | 1250692.1912
8 | 2746446.9041 | 1250648.8368
9 | 2746573.8631 | 1250672.8002
10 | 2746543.2811 | 1250663.9196
11 | 2746506.9362 | 1250670.8464
12 | 2746426.6973 | 1250639.3221
13 | 2746430.4415 | 1250671.4674
14 | 2746420.9395 | 1250636.9348
15 | 2746414.7083 | 1250664.2075
16 | 2746432.7727 | 1250681.8611
17 | 2746394.7315 | 1250625.5172
18 | 2746439.655 | 1250712.5451
19 | 2746435.9651 | 1250696.0937
20 | 2746440.5464 | 1250727.9818
21 | 2746446.366 | 1250737.6793
22 | 2746379.5473 | 1250726.0398
23 | 2746403.4076 | 1250658.993
24 | 2746398.7349 | 1250656.8369
25 | 2746405.5934 | 1250681.3238
26 | 2746382.9642 | 1250661.4517
27 | 2746393.9955 | 1250625.1102
28 | 2746380.9604 | 1250617.9021
29 | 2746373.7036 | 1250612.0235
30 | 2746356.2937 | 1250591.6804
31 | 2746344.2041 | 1250582.1684
32 | 2746484.1346 | 1250645.4511
33 | 2746465.0708 | 1250616.2086
34 | 2746465.098 | 1250623.8283
35 | 2746598.9527 | 1250678.4261
36 | 2746511.1273 | 1250632.7095
37 | 2746486.5789 | 1250593.4675
38 | 2746467.5476 | 1250521.6393
39 | 2746466.7511 | 1250518.0188
40 | 2746620.7853 | 1250562.8597
41 | 2746618.4269 | 1250562.3551
42 | 2746751.6115 | 1250452.7255
43 | 2746608.9624 | 1250560.3301
44 | 2746803.2625 | 1250455.6059
45 | 2746599.3003 | 1250558.2629
46 | 2746584.2173 | 1250555.0358
47 | 2746565.4368 | 1250557.4294
48 | 2746537.893 | 1250560.3296
49 | 2746570.835 | 1250556.7414
50 | 2746511.4491 | 1250556.2264
51 | 2746474.024 | 1250514.3729
52 | 2746484.7054 | 1250500.2568
53 | 2746488.0635 | 1250495.4908
54 | 2746500.7988 | 1250503.1294
55 | 2746417.4371 | 1250468.5294
56 | 2746385.5168 | 1250454.9409
57 | 2746487.548 | 1250483.3554
58 | 2746505.0723 | 1250441.9435
59 | 2746444.3823 | 1250582.8373
60 | 2746430.2548 | 1250567.4268
61 | 2746450.4439 | 1250600.1073
62 | 2746423.5744 | 1250556.613
63 | 2746389.7916 | 1250504.4807
64 | 2746356.4603 | 1250485.1066
65 | 2746334.922 | 1250478.0797
66 | 2746296.0439 | 1250469.0674
67 | 2746466.7511 | 1250518.0188

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1