## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3024-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3024-1_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3024-1_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3024-1_0_3_node_26 | 0.4 | n |  | TRUE
4 | bus_LV_3024-1_0_3_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_3024-1_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_3024-1_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_3024-1_0_3_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_3024-1_0_3_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_3024-1_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3024-1_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3024-1_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_3024-1_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3024-1_0_3_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_3024-1_0_3_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_3024-1_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_3024-1_0_3_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_3024-1_0_3_node_69 | 0.4 | n |  | TRUE
18 | bus_LV_3024-1_0_3_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_3024-1_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_3024-1_0_3_node_108 | 0.4 | n |  | TRUE
21 | bus_LV_3024-1_0_3_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_3024-1_0_3_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_3024-1_0_3_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_3024-1_0_3_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_3024-1_0_3_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_3024-1_0_3_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_3024-1_0_3_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_3024-1_0_3_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_3024-1_0_3_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_3024-1_0_3_node_70 | 0.4 | n |  | TRUE
31 | bus_LV_3024-1_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_3024-1_0_3_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_3024-1_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_3024-1_0_3_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_3024-1_0_3_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_3024-1_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_3024-1_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_3024-1_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_3024-1_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_3024-1_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_3024-1_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_3024-1_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_3024-1_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_3024-1_0_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_3024-1_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_3024-1_0_3_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_3024-1_0_3_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_3024-1_0_3_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_3024-1_0_3_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_3024-1_0_3_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_3024-1_0_3_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_3024-1_0_3_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_3024-1_0_3_node_90 | 0.4 | n |  | TRUE
54 | bus_LV_3024-1_0_3_node_107 | 0.4 | n |  | TRUE
55 | bus_LV_3024-1_0_3_node_68 | 0.4 | n |  | TRUE
56 | bus_MV_41_1_node_198 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3024-1_0_3_load_0 | 0 | 0.011853 | 0.0029706 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3024-1_0_3_load_26 | 3 | 0.0024516 | 0.00061443 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3024-1_0_3_load_24 | 4 | 0.0035457 | 0.00088864 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3024-1_0_3_load_43 | 8 | 0.012691 | 0.0031806 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3024-1_0_3_load_34 | 13 | 0.0041993 | 0.0010525 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3024-1_0_3_load_33 | 14 | 0.011478 | 0.0028767 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3024-1_0_3_load_69 | 17 | 0.0034938 | 0.00087564 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3024-1_0_3_load_46 | 18 | 0.0085371 | 0.0021396 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3024-1_0_3_load_108 | 20 | 0.0867 | 0.021729 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3024-1_0_3_load_35 | 21 | 0.0026938 | 0.00067512 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3024-1_0_3_load_25 | 22 | 0.0031667 | 0.00079364 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3024-1_0_3_load_51 | 23 | 0.0023257 | 0.00058288 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3024-1_0_3_load_41 | 24 | 0.006699 | 0.0016789 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3024-1_0_3_load_44 | 25 | 0.0073983 | 0.0018542 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3024-1_0_3_load_60 | 26 | 0.0043032 | 0.0010785 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3024-1_0_3_load_64 | 27 | 0.0020042 | 0.00050231 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3024-1_0_3_load_56 | 28 | 0.0024632 | 0.00061734 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3024-1_0_3_load_52 | 29 | 0.0023363 | 0.00058553 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3024-1_0_3_load_70 | 30 | 0.0050009 | 0.0012533 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3024-1_0_3_load_47 | 32 | 0.017462 | 0.0043765 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3024-1_0_3_load_48 | 35 | 0.0059693 | 0.001496 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3024-1_0_3_load_28 | 36 | 0.0073214 | 0.0018349 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3024-1_0_3_load_27 | 37 | 0.0041535 | 0.001041 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3024-1_0_3_load_32 | 39 | 0.0065636 | 0.001645 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3024-1_0_3_load_39 | 40 | 0.0047784 | 0.0011976 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3024-1_0_3_load_36 | 41 | 0.0042 | 0.0010526 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3024-1_0_3_load_40 | 42 | 0.007634 | 0.0019133 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3024-1_0_3_load_37 | 43 | 0.0076341 | 0.0019133 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3024-1_0_3_load_50 | 44 | 0.0014794 | 0.00037077 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3024-1_0_3_load_38 | 45 | 0.0047497 | 0.0011904 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3024-1_0_3_load_61 | 46 | 0.0014303 | 0.00035847 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3024-1_0_3_load_54 | 47 | 0.0027216 | 0.00068211 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3024-1_0_3_load_55 | 48 | 0.0026336 | 0.00066005 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3024-1_0_3_load_57 | 49 | 0.005062 | 0.0012687 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3024-1_0_3_load_58 | 50 | 0.0052109 | 0.001306 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3024-1_0_3_load_90 | 53 | 0.0020382 | 0.00051083 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3024-1_0_3_load_107 | 54 | 0.00075182 | 0.00018842 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3024-1_0_3_load_68 | 55 | 0.0055877 | 0.0014004 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3024-1_0_3_line_0 |  | 0 | 1 | 0.021641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3024-1_0_3_line_1 |  | 1 | 2 | 0.050529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3024-1_0_3_line_2 |  | 2 | 3 | 0.030036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3024-1_0_3_line_3 |  | 2 | 4 | 0.014787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3024-1_0_3_line_4 |  | 4 | 22 | 0.01313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3024-1_0_3_line_5 |  | 5 | 6 | 0.030875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3024-1_0_3_line_6 |  | 5 | 7 | 0.021234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3024-1_0_3_line_7 |  | 5 | 8 | 0.0048492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3024-1_0_3_line_8 |  | 6 | 23 | 0.018881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3024-1_0_3_line_9 |  | 6 | 12 | 0.013953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3024-1_0_3_line_10 |  | 7 | 24 | 0.019391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3024-1_0_3_line_11 |  | 7 | 19 | 0.004549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_3024-1_0_3_line_12 |  | 8 | 25 | 0.05871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3024-1_0_3_line_13 |  | 9 | 10 | 0.013116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3024-1_0_3_line_14 |  | 9 | 11 | 0.030015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3024-1_0_3_line_15 |  | 10 | 18 | 0.0063549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3024-1_0_3_line_16 |  | 11 | 21 | 0.027815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3024-1_0_3_line_17 |  | 11 | 22 | 0.01293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3024-1_0_3_line_18 |  | 11 | 14 | 0.023886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3024-1_0_3_line_19 |  | 12 | 13 | 0.03821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3024-1_0_3_line_20 |  | 12 | 14 | 0.024171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3024-1_0_3_line_21 |  | 13 | 26 | 7.1569e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3024-1_0_3_line_22 |  | 15 | 16 | 0.005981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3024-1_0_3_line_23 |  | 15 | 17 | 0.0579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3024-1_0_3_line_24 |  | 16 | 27 | 0.047638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3024-1_0_3_line_25 |  | 16 | 28 | 0.021123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3024-1_0_3_line_26 |  | 16 | 29 | 0.032566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3024-1_0_3_line_27 |  | 17 | 30 | 0.028491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3024-1_0_3_line_28 |  | 19 | 20 | 0.015104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3024-1_0_3_line_29 |  | 21 | 34 | 0.036538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3024-1_0_3_line_30 |  | 23 | 29 | 0.00031109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3024-1_0_3_line_31 |  | 24 | 42 | 0.00095982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3024-1_0_3_line_32 |  | 28 | 47 | 0.0019275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3024-1_0_3_line_33 |  | 31 | 32 | 0.026746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3024-1_0_3_line_34 |  | 31 | 33 | 0.022958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3024-1_0_3_line_35 |  | 33 | 38 | 0.002988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3024-1_0_3_line_36 |  | 33 | 39 | 0.0061355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3024-1_0_3_line_37 |  | 33 | 37 | 0.031875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3024-1_0_3_line_38 |  | 34 | 44 | 0.016319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3024-1_0_3_line_39 |  | 34 | 35 | 0.018043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3024-1_0_3_line_40 |  | 36 | 37 | 0.020693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3024-1_0_3_line_41 |  | 38 | 40 | 0.0075937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3024-1_0_3_line_42 |  | 38 | 41 | 0.045678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3024-1_0_3_line_43 |  | 40 | 42 | 0.041854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3024-1_0_3_line_44 |  | 41 | 43 | 0.023004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3024-1_0_3_line_45 |  | 43 | 45 | 0.01657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3024-1_0_3_line_46 |  | 44 | 46 | 6.1727e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3024-1_0_3_line_47 |  | 47 | 48 | 3.2422e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3024-1_0_3_line_48 |  | 48 | 49 | 0.03272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3024-1_0_3_line_49 |  | 49 | 50 | 0.00027906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3024-1_0_3_line_50 |  | 50 | 51 | 0.044304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3024-1_0_3_line_51 |  | 51 | 52 | 0.1668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3024-1_0_3_line_52 |  | 52 | 53 | 0.025375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3024-1_0_3_line_53 |  | 53 | 54 | 0.0059388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3024-1_0_3_line_54 |  | 54 | 55 | 0.016635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3024-1_0_3_trafo_9 | 0.63 MVA 20/0.4 kV | 56 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2747280.2694 | 1250689.1193 | 2747292.9799 | 1250671.6041
1 | 2747280.2694 | 1250689.1193 | 2747275.7913 | 1250694.2574 | 2747271.1072 | 1250703.4275 | 2747269.9879 | 1250707.4369 | 2747270.6059 | 1250710.2215 | 2747271.3995 | 1250712.0208 | 2747272.6703 | 1250713.7651 | 2747267.3029 | 1250715.7892 | 2747268.7585 | 1250716.7819 | 2747277.9043 | 1250721.9585 | 2747275.9594 | 1250725.7583
2 | 2747275.9594 | 1250725.7583 | 2747262.2721 | 1250752.4945
3 | 2747275.9594 | 1250725.7583 | 2747288.9911 | 1250732.7456
4 | 2747300.563 | 1250738.9503 | 2747288.9911 | 1250732.7456
5 | 2747366.5469 | 1250774.5455 | 2747369.3865 | 1250769.0886 | 2747371.3616 | 1250765.2897 | 2747376.1745 | 1250767.0332 | 2747380.9499 | 1250766.6405 | 2747384.7764 | 1250763.4104 | 2747385.3486 | 1250762.2679 | 2747389.1535 | 1250764.1533
6 | 2747396.9324 | 1250744.439 | 2747394.4164 | 1250752.6732 | 2747389.5346 | 1250763.4065 | 2747389.1535 | 1250764.1533
7 | 2747389.1535 | 1250764.1533 | 2747393.6552 | 1250765.9558
8 | 2747366.5469 | 1250774.5455 | 2747380.6521 | 1250781.336 | 2747383.6228 | 1250782.5935
9 | 2747366.5469 | 1250774.5455 | 2747354.2114 | 1250767.9547
10 | 2747396.9324 | 1250744.439 | 2747400.168 | 1250734.9104 | 2747401.7865 | 1250725.7236
11 | 2747396.9324 | 1250744.439 | 2747394.9729 | 1250740.3308
12 | 2747393.6552 | 1250765.9558 | 2747393.6552 | 1250765.9558 | 2747393.1256 | 1250769.635 | 2747394.0021 | 1250773.2603 | 2747396.8402 | 1250776.0558 | 2747402.2481 | 1250778.4704 | 2747432.6394 | 1250790.3043 | 2747440.9643 | 1250792.9759
13 | 2747315.6392 | 1250737.3555 | 2747327.3559 | 1250743.3191
14 | 2747311.9582 | 1250745.0602 | 2747314.2068 | 1250740.5896 | 2747305.7321 | 1250736.0636 | 2747308.8211 | 1250730.9021 | 2747311.8777 | 1250733.7252 | 2747315.6392 | 1250737.3555
15 | 2747327.3559 | 1250743.3191 | 2747328.8392 | 1250740.4644 | 2747329.7897 | 1250737.474
16 | 2747311.9582 | 1250745.0602 | 2747308.8756 | 1250751.1783 | 2747303.1753 | 1250764.4604 | 2747301.3722 | 1250770.7161
17 | 2747311.9582 | 1250745.0602 | 2747300.563 | 1250738.9503
18 | 2747311.9582 | 1250745.0602 | 2747332.9593 | 1250756.4394
19 | 2747354.2114 | 1250767.9547 | 2747341.8143 | 1250795.1057 | 2747341.4319 | 1250798.3326 | 2747342.4836 | 1250800.6832 | 2747344.452 | 1250802.2848
20 | 2747354.2114 | 1250767.9547 | 2747332.9593 | 1250756.4394
21 | 2747344.452 | 1250802.2848 | 2747344.5076 | 1250802.33
22 | 2747415.451 | 1250788.7419 | 2747414.2177 | 1250794.5946
23 | 2747415.451 | 1250788.7419 | 2747442.4311 | 1250798.0441 | 2747470.9794 | 1250804.9043
24 | 2747414.2177 | 1250794.5946 | 2747423.5358 | 1250797.696 | 2747442.1979 | 1250802.5537 | 2747460.1776 | 1250807.0497
25 | 2747414.2177 | 1250794.5946 | 2747413.0866 | 1250799.9827 | 2747408.9513 | 1250811.0682 | 2747407.2581 | 1250814.4541
26 | 2747414.2177 | 1250794.5946 | 2747399.4112 | 1250789.2768 | 2747383.9093 | 1250782.7148
27 | 2747470.9794 | 1250804.9043 | 2747498.682 | 1250811.5613
28 | 2747394.9729 | 1250740.3308 | 2747392.3668 | 1250735.4947 | 2747392.06 | 1250733.8633 | 2747393.9966 | 1250726.1485
29 | 2747304.544 | 1250803.554 | 2747307.9445 | 1250792.5502 | 2747308.0374 | 1250788.8156 | 2747305.9239 | 1250784.2143 | 2747301.8552 | 1250780.7877 | 2747300.0915 | 1250778.5194 | 2747299.8524 | 1250775.9889 | 2747301.3722 | 1250770.7161
30 | 2747383.9093 | 1250782.7148 | 2747383.6228 | 1250782.5935
31 | 2747401.7865 | 1250725.7236 | 2747401.9531 | 1250724.7784
32 | 2747406.396 | 1250816.1781 | 2747407.2581 | 1250814.4541
33 | 2747404.143 | 1250695.9832 | 2747377.896 | 1250690.843
34 | 2747404.143 | 1250695.9832 | 2747411.0728 | 1250683.6883 | 2747417.4053 | 1250677.4843
35 | 2747419.1422 | 1250679.9187 | 2747417.4053 | 1250677.4843
36 | 2747417.4053 | 1250677.4843 | 2747416.4529 | 1250674.48 | 2747417.2196 | 1250671.5963
37 | 2747417.4053 | 1250677.4843 | 2747426.7998 | 1250670.2444 | 2747435.1981 | 1250666.6165 | 2747445.9667 | 1250665.1608
38 | 2747304.544 | 1250803.554 | 2747308.6567 | 1250805.8139 | 2747312.0445 | 1250811.7149 | 2747311.6792 | 1250816.5231
39 | 2747304.544 | 1250803.554 | 2747296.661 | 1250799.2317 | 2747288.0883 | 1250796.3234
40 | 2747466.0722 | 1250669.1934 | 2747455.7788 | 1250665.7166 | 2747445.9667 | 1250665.1608 | 2747445.9667 | 1250665.1608
41 | 2747419.1422 | 1250679.9187 | 2747414.0362 | 1250685.5394
42 | 2747419.1422 | 1250679.9187 | 2747426.8972 | 1250673.917 | 2747435.9445 | 1250670.005 | 2747444.1398 | 1250668.7633 | 2747455.6323 | 1250668.8715 | 2747461.6685 | 1250670.427
43 | 2747414.0362 | 1250685.5394 | 2747410.9419 | 1250688.9456 | 2747406.953 | 1250696.5759 | 2747406.36 | 1250699.7642 | 2747401.9531 | 1250724.7784
44 | 2747481.1966 | 1250681.9711 | 2747477.8682 | 1250679.1457 | 2747467.2418 | 1250671.8632 | 2747461.6685 | 1250670.427
45 | 2747481.1966 | 1250681.9711 | 2747493.8287 | 1250692.6941
46 | 2747311.6745 | 1250816.5847 | 2747311.6792 | 1250816.5231
47 | 2747406.3815 | 1250816.2071 | 2747406.396 | 1250816.1781
48 | 2747388.6578 | 1250843.5434 | 2747390.2216 | 1250839.8743 | 2747403.5625 | 1250821.8444 | 2747406.3815 | 1250816.2071
49 | 2747388.5484 | 1250843.8001 | 2747388.6578 | 1250843.5434
50 | 2747373.9041 | 1250885.5566 | 2747382.2247 | 1250858.6378 | 2747388.5484 | 1250843.8001
51 | 2747373.9041 | 1250885.5566 | 2747373.1316 | 1250888.0731 | 2747370.0549 | 1250896.6826 | 2747378.6463 | 1250901.9679 | 2747387.8276 | 1250906.3115 | 2747398.4851 | 1250912.6382 | 2747407.3416 | 1250915.1609 | 2747417.5961 | 1250923.1124 | 2747425.9462 | 1250933.8415 | 2747431.4511 | 1250942.3643 | 2747436.7869 | 1250952.5179 | 2747439.6211 | 1250954.2567 | 2747442.8441 | 1250954.9375 | 2747451.8835 | 1250950.1134 | 2747466.5148 | 1250939.4005 | 2747480.9135 | 1250930.7506 | 2747492.8788 | 1250925.1986
52 | 2747492.8788 | 1250925.1986 | 2747489.6166 | 1250900.0342
53 | 2747488.8531 | 1250894.1448 | 2747489.6166 | 1250900.0342
54 | 2747488.8531 | 1250894.1448 | 2747487.8741 | 1250886.5927 | 2747487.9071 | 1250877.5735

## bus_geodata
| x | y | coords
0 | 2747292.9799 | 1250671.6041
1 | 2747280.2694 | 1250689.1193
2 | 2747275.9594 | 1250725.7583
3 | 2747262.2721 | 1250752.4945
4 | 2747288.9911 | 1250732.7456
5 | 2747389.1535 | 1250764.1533
6 | 2747366.5469 | 1250774.5455
7 | 2747396.9324 | 1250744.439
8 | 2747393.6552 | 1250765.9558
9 | 2747315.6392 | 1250737.3555
10 | 2747327.3559 | 1250743.3191
11 | 2747311.9582 | 1250745.0602
12 | 2747354.2114 | 1250767.9547
13 | 2747344.452 | 1250802.2848
14 | 2747332.9593 | 1250756.4394
15 | 2747415.451 | 1250788.7419
16 | 2747414.2177 | 1250794.5946
17 | 2747470.9794 | 1250804.9043
18 | 2747329.7897 | 1250737.474
19 | 2747394.9729 | 1250740.3308
20 | 2747393.9966 | 1250726.1485
21 | 2747301.3722 | 1250770.7161
22 | 2747300.563 | 1250738.9503
23 | 2747383.6228 | 1250782.5935
24 | 2747401.7865 | 1250725.7236
25 | 2747440.9643 | 1250792.9759
26 | 2747344.5076 | 1250802.33
27 | 2747460.1776 | 1250807.0497
28 | 2747407.2581 | 1250814.4541
29 | 2747383.9093 | 1250782.7148
30 | 2747498.682 | 1250811.5613
31 | 2747404.143 | 1250695.9832
32 | 2747377.896 | 1250690.843
33 | 2747417.4053 | 1250677.4843
34 | 2747304.544 | 1250803.554
35 | 2747288.0883 | 1250796.3234
36 | 2747466.0722 | 1250669.1934
37 | 2747445.9667 | 1250665.1608
38 | 2747419.1422 | 1250679.9187
39 | 2747417.2196 | 1250671.5963
40 | 2747414.0362 | 1250685.5394
41 | 2747461.6685 | 1250670.427
42 | 2747401.9531 | 1250724.7784
43 | 2747481.1966 | 1250681.9711
44 | 2747311.6792 | 1250816.5231
45 | 2747493.8287 | 1250692.6941
46 | 2747311.6745 | 1250816.5847
47 | 2747406.396 | 1250816.1781
48 | 2747406.3815 | 1250816.2071
49 | 2747388.6578 | 1250843.5434
50 | 2747388.5484 | 1250843.8001
51 | 2747373.9041 | 1250885.5566
52 | 2747492.8788 | 1250925.1986
53 | 2747489.6166 | 1250900.0342
54 | 2747488.8531 | 1250894.1448
55 | 2747487.9071 | 1250877.5735
56 | 2747396.9324 | 1250744.439

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1