## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3024-4_1_6_node_32 | 0.4 | n |  | TRUE
1 | bus_LV_3024-4_1_6_node_33 | 0.4 | n |  | TRUE
2 | bus_LV_3024-4_1_6_node_44 | 0.4 | n |  | TRUE
3 | bus_LV_3024-4_1_6_node_43 | 0.4 | n |  | TRUE
4 | bus_LV_3024-4_1_6_node_45 | 0.4 | n |  | TRUE
5 | bus_LV_3024-4_1_6_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_3024-4_1_6_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_3024-4_1_6_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_3024-4_1_6_node_149 | 0.4 | n |  | TRUE
9 | bus_LV_3024-4_1_6_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_3024-4_1_6_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_3024-4_1_6_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_3024-4_1_6_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_3024-4_1_6_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_3024-4_1_6_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_3024-4_1_6_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_3024-4_1_6_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_3024-4_1_6_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_3024-4_1_6_node_50 | 0.4 | n |  | TRUE
19 | bus_LV_3024-4_1_6_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_3024-4_1_6_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_3024-4_1_6_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_3024-4_1_6_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_3024-4_1_6_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_3024-4_1_6_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_3024-4_1_6_node_107 | 0.4 | n |  | TRUE
26 | bus_LV_3024-4_1_6_node_150 | 0.4 | n |  | TRUE
27 | bus_LV_3024-4_1_6_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_3024-4_1_6_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_3024-4_1_6_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_3024-4_1_6_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_3024-4_1_6_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_3024-4_1_6_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_3024-4_1_6_node_92 | 0.4 | n |  | TRUE
34 | bus_LV_3024-4_1_6_node_84 | 0.4 | n |  | TRUE
35 | bus_LV_3024-4_1_6_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_3024-4_1_6_node_90 | 0.4 | n |  | TRUE
37 | bus_LV_3024-4_1_6_node_98 | 0.4 | n |  | TRUE
38 | bus_LV_3024-4_1_6_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_3024-4_1_6_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_3024-4_1_6_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_3024-4_1_6_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_3024-4_1_6_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_3024-4_1_6_node_85 | 0.4 | n |  | TRUE
44 | bus_LV_3024-4_1_6_node_76 | 0.4 | n |  | TRUE
45 | bus_LV_3024-4_1_6_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_3024-4_1_6_node_88 | 0.4 | n |  | TRUE
47 | bus_LV_3024-4_1_6_node_102 | 0.4 | n |  | TRUE
48 | bus_LV_3024-4_1_6_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_3024-4_1_6_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_3024-4_1_6_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_3024-4_1_6_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_3024-4_1_6_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_3024-4_1_6_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_3024-4_1_6_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_3024-4_1_6_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_3024-4_1_6_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_3024-4_1_6_node_91 | 0.4 | n |  | TRUE
58 | bus_LV_3024-4_1_6_node_94 | 0.4 | n |  | TRUE
59 | bus_LV_3024-4_1_6_node_93 | 0.4 | n |  | TRUE
60 | bus_LV_3024-4_1_6_node_103 | 0.4 | n |  | TRUE
61 | bus_LV_3024-4_1_6_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_3024-4_1_6_node_97 | 0.4 | n |  | TRUE
63 | bus_LV_3024-4_1_6_node_99 | 0.4 | n |  | TRUE
64 | bus_LV_3024-4_1_6_node_105 | 0.4 | n |  | TRUE
65 | bus_LV_3024-4_1_6_node_82 | 0.4 | n |  | TRUE
66 | bus_LV_3024-4_1_6_node_83 | 0.4 | n |  | TRUE
67 | bus_LV_3024-4_1_6_node_89 | 0.4 | n |  | TRUE
68 | bus_LV_3024-4_1_6_node_95 | 0.4 | n |  | TRUE
69 | bus_LV_3024-4_1_6_node_96 | 0.4 | n |  | TRUE
70 | bus_LV_3024-4_1_6_node_134 | 0.4 | n |  | TRUE
71 | bus_LV_3024-4_1_6_node_124 | 0.4 | n |  | TRUE
72 | bus_LV_3024-4_1_6_node_135 | 0.4 | n |  | TRUE
73 | bus_LV_3024-4_1_6_node_125 | 0.4 | n |  | TRUE
74 | bus_LV_3024-4_1_6_node_126 | 0.4 | n |  | TRUE
75 | bus_LV_3024-4_1_6_node_127 | 0.4 | n |  | TRUE
76 | bus_LV_3024-4_1_6_node_128 | 0.4 | n |  | TRUE
77 | bus_LV_3024-4_1_6_node_104 | 0.4 | n |  | TRUE
78 | bus_LV_3024-4_1_6_node_106 | 0.4 | n |  | TRUE
79 | bus_LV_3024-4_1_6_node_129 | 0.4 | n |  | TRUE
80 | bus_LV_3024-4_1_6_node_140 | 0.4 | n |  | TRUE
81 | bus_LV_3024-4_1_6_node_143 | 0.4 | n |  | TRUE
82 | bus_LV_3024-4_1_6_node_139 | 0.4 | n |  | TRUE
83 | bus_LV_3024-4_1_6_node_142 | 0.4 | n |  | TRUE
84 | bus_LV_3024-4_1_6_node_130 | 0.4 | n |  | TRUE
85 | bus_LV_3024-4_1_6_node_131 | 0.4 | n |  | TRUE
86 | bus_LV_3024-4_1_6_node_133 | 0.4 | n |  | TRUE
87 | bus_LV_3024-4_1_6_node_138 | 0.4 | n |  | TRUE
88 | bus_LV_3024-4_1_6_node_137 | 0.4 | n |  | TRUE
89 | bus_LV_3024-4_1_6_node_136 | 0.4 | n |  | TRUE
90 | bus_LV_3024-4_1_6_node_141 | 0.4 | n |  | TRUE
91 | bus_LV_3024-4_1_6_node_144 | 0.4 | n |  | TRUE
92 | bus_MV_40_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3024-4_1_6_load_33 | 1 | 0.0019142 | 0.00047974 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3024-4_1_6_load_44 | 2 | 0.0025578 | 0.00064105 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3024-4_1_6_load_43 | 3 | 0.0047457 | 0.0011894 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3024-4_1_6_load_38 | 5 | 0.013714 | 0.0034371 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3024-4_1_6_load_39 | 6 | 0.0093244 | 0.0023369 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3024-4_1_6_load_40 | 7 | 0.0039023 | 0.000978 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3024-4_1_6_load_149 | 8 | 0.0042424 | 0.0010632 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3024-4_1_6_load_41 | 9 | 0.0064465 | 0.0016156 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3024-4_1_6_load_42 | 10 | 0.0027989 | 0.00070146 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3024-4_1_6_load_47 | 11 | 0.0061796 | 0.0015488 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3024-4_1_6_load_49 | 12 | 0.0043366 | 0.0010869 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3024-4_1_6_load_46 | 13 | 0.0019039 | 0.00047716 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3024-4_1_6_load_48 | 15 | 0.0028127 | 0.00070492 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3024-4_1_6_load_54 | 16 | 0.0016343 | 0.00040959 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3024-4_1_6_load_51 | 17 | 0.010811 | 0.0027095 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3024-4_1_6_load_50 | 18 | 0.0031529 | 0.0007902 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3024-4_1_6_load_72 | 21 | 0.0043234 | 0.0010836 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3024-4_1_6_load_77 | 23 | 0.0043646 | 0.0010939 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3024-4_1_6_load_71 | 24 | 0.0037418 | 0.00093778 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3024-4_1_6_load_150 | 26 | 0.0075181 | 0.0018842 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3024-4_1_6_load_78 | 27 | 0.0037886 | 0.00094951 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3024-4_1_6_load_56 | 28 | 0.012128 | 0.0030396 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3024-4_1_6_load_57 | 29 | 0.023578 | 0.0059091 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3024-4_1_6_load_58 | 30 | 0.022017 | 0.0055179 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3024-4_1_6_load_59 | 31 | 0.0058442 | 0.0014647 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3024-4_1_6_load_92 | 33 | 0.0064655 | 0.0016204 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3024-4_1_6_load_84 | 34 | 0.015012 | 0.0037624 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3024-4_1_6_load_81 | 35 | 0.01535 | 0.003847 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3024-4_1_6_load_90 | 36 | 0.0075355 | 0.0018886 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3024-4_1_6_load_61 | 38 | 0.0019413 | 0.00048653 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3024-4_1_6_load_62 | 39 | 0.0016604 | 0.00041614 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3024-4_1_6_load_63 | 40 | 0.0063951 | 0.0016028 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3024-4_1_6_load_64 | 41 | 0.0065159 | 0.001633 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3024-4_1_6_load_85 | 43 | 0.009716 | 0.0024351 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3024-4_1_6_load_76 | 44 | 0.0026368 | 0.00066086 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3024-4_1_6_load_73 | 45 | 0.0039425 | 0.00098808 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3024-4_1_6_load_88 | 46 | 0.015234 | 0.0038179 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3024-4_1_6_load_102 | 47 | 0.013173 | 0.0033014 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3024-4_1_6_load_74 | 48 | 0.034051 | 0.008534 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3024-4_1_6_load_66 | 49 | 0.0031512 | 0.00078977 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3024-4_1_6_load_67 | 50 | 0.0067674 | 0.0016961 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3024-4_1_6_load_69 | 52 | 0.0037363 | 0.00093641 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3024-4_1_6_load_70 | 53 | 0.0031179 | 0.00078142 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3024-4_1_6_load_86 | 54 | 0.0046668 | 0.0011696 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3024-4_1_6_load_87 | 55 | 0.001541 | 0.00038621 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3024-4_1_6_load_91 | 57 | 0.012567 | 0.0031496 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3024-4_1_6_load_94 | 58 | 0.011364 | 0.002848 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3024-4_1_6_load_93 | 59 | 0.0092039 | 0.0023067 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3024-4_1_6_load_103 | 60 | 0.012534 | 0.0031413 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3024-4_1_6_load_79 | 61 | 0.002784 | 0.00069773 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3024-4_1_6_load_97 | 62 | 0.0017926 | 0.00044927 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3024-4_1_6_load_99 | 63 | 0.017834 | 0.0044697 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3024-4_1_6_load_105 | 64 | 0.011346 | 0.0028435 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3024-4_1_6_load_82 | 65 | 0.012986 | 0.0032545 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3024-4_1_6_load_83 | 66 | 0.0094832 | 0.0023767 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3024-4_1_6_load_89 | 67 | 0.0019334 | 0.00048457 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3024-4_1_6_load_95 | 68 | 0.0036799 | 0.00092228 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3024-4_1_6_load_96 | 69 | 0.0086882 | 0.0021775 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3024-4_1_6_load_134 | 70 | 0.001586 | 0.00039749 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3024-4_1_6_load_124 | 71 | 0.0050714 | 0.001271 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3024-4_1_6_load_126 | 74 | 0.0013601 | 0.00034088 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3024-4_1_6_load_104 | 77 | 0.0065817 | 0.0016495 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3024-4_1_6_load_106 | 78 | 0.0022827 | 0.00057209 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3024-4_1_6_load_129 | 79 | 0.0072188 | 0.0018092 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3024-4_1_6_load_143 | 81 | 0.00044541 | 0.00011163 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3024-4_1_6_load_139 | 82 | 0.0060883 | 0.0015259 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3024-4_1_6_load_130 | 84 | 0.0026816 | 0.00067206 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3024-4_1_6_load_131 | 85 | 0.0023325 | 0.00058458 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3024-4_1_6_load_137 | 88 | 0.002147 | 0.00053809 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3024-4_1_6_load_136 | 89 | 0.0057935 | 0.001452 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3024-4_1_6_load_141 | 90 | 0.0010271 | 0.00025741 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3024-4_1_6_load_144 | 91 | 0.0004709 | 0.00011802 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3024-4_1_6_line_0 |  | 0 | 1 | 0.071496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3024-4_1_6_line_1 |  | 0 | 2 | 0.13665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3024-4_1_6_line_2 |  | 2 | 3 | 0.04297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3024-4_1_6_line_3 |  | 3 | 4 | 0.095564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3024-4_1_6_line_4 |  | 4 | 13 | 0.077781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3024-4_1_6_line_5 |  | 5 | 6 | 0.0038485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_3024-4_1_6_line_6 |  | 5 | 7 | 0.060123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_3024-4_1_6_line_7 |  | 5 | 8 | 0.074812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3024-4_1_6_line_8 |  | 6 | 9 | 0.028099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_3024-4_1_6_line_9 |  | 7 | 10 | 0.085387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_3024-4_1_6_line_10 |  | 9 | 11 | 0.020334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_3024-4_1_6_line_11 |  | 10 | 12 | 0.0080775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3024-4_1_6_line_12 |  | 10 | 13 | 0.11442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3024-4_1_6_line_13 |  | 11 | 14 | 0.022317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_3024-4_1_6_line_14 |  | 12 | 15 | 0.017877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3024-4_1_6_line_15 |  | 14 | 16 | 0.079078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_3024-4_1_6_line_16 |  | 14 | 17 | 0.016488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_3024-4_1_6_line_17 |  | 15 | 18 | 0.032137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3024-4_1_6_line_18 |  | 16 | 21 | 0.045644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3024-4_1_6_line_19 |  | 17 | 19 | 0.067732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_3024-4_1_6_line_20 |  | 19 | 20 | 0.046649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_3024-4_1_6_line_21 |  | 20 | 22 | 0.017662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_3024-4_1_6_line_22 |  | 20 | 23 | 0.021339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3024-4_1_6_line_23 |  | 21 | 24 | 0.011228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3024-4_1_6_line_24 |  | 22 | 25 | 0.003966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_3024-4_1_6_line_25 |  | 22 | 26 | 0.03362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3024-4_1_6_line_26 |  | 23 | 27 | 0.028836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3024-4_1_6_line_27 |  | 24 | 52 | 0.012055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3024-4_1_6_line_28 |  | 25 | 63 | 0.10807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_3024-4_1_6_line_29 |  | 25 | 64 | 0.037953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3024-4_1_6_line_30 |  | 27 | 61 | 0.03181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3024-4_1_6_line_31 |  | 28 | 29 | 0.018756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_3024-4_1_6_line_32 |  | 28 | 30 | 0.047883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_3024-4_1_6_line_33 |  | 29 | 31 | 0.028537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_3024-4_1_6_line_34 |  | 30 | 32 | 0.0054488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_3024-4_1_6_line_35 |  | 31 | 33 | 0.0025041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_3024-4_1_6_line_36 |  | 32 | 34 | 0.013209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_3024-4_1_6_line_37 |  | 32 | 35 | 0.035836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3024-4_1_6_line_38 |  | 33 | 36 | 0.023955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_3024-4_1_6_line_39 |  | 34 | 37 | 0.014174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_3024-4_1_6_line_40 |  | 36 | 57 | 0.019313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_3024-4_1_6_line_41 |  | 37 | 63 | 0.0097457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_3024-4_1_6_line_42 |  | 38 | 39 | 0.026173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3024-4_1_6_line_43 |  | 38 | 40 | 0.0037857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3024-4_1_6_line_44 |  | 39 | 41 | 0.0083477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3024-4_1_6_line_45 |  | 40 | 42 | 0.0083369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3024-4_1_6_line_46 |  | 41 | 43 | 0.014513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3024-4_1_6_line_47 |  | 42 | 44 | 0.025955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3024-4_1_6_line_48 |  | 42 | 45 | 0.040819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_3024-4_1_6_line_49 |  | 43 | 46 | 0.012717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3024-4_1_6_line_50 |  | 44 | 47 | 0.10488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3024-4_1_6_line_51 |  | 45 | 48 | 0.0094988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_3024-4_1_6_line_52 |  | 46 | 66 | 0.012999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3024-4_1_6_line_53 |  | 47 | 60 | 0.058083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3024-4_1_6_line_54 |  | 48 | 56 | 0.030245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_3024-4_1_6_line_55 |  | 49 | 50 | 0.032855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3024-4_1_6_line_56 |  | 49 | 51 | 0.04351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3024-4_1_6_line_57 |  | 50 | 52 | 0.043594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3024-4_1_6_line_58 |  | 51 | 53 | 0.021023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3024-4_1_6_line_59 |  | 53 | 54 | 0.024357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3024-4_1_6_line_60 |  | 54 | 55 | 0.031051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3024-4_1_6_line_61 |  | 55 | 67 | 0.010975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3024-4_1_6_line_62 |  | 56 | 57 | 0.023398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_3024-4_1_6_line_63 |  | 56 | 58 | 0.035662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3024-4_1_6_line_64 |  | 58 | 59 | 0.031872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3024-4_1_6_line_65 |  | 59 | 68 | 0.032306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3024-4_1_6_line_66 |  | 60 | 70 | 0.069486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3024-4_1_6_line_67 |  | 60 | 71 | 0.26549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3024-4_1_6_line_68 |  | 61 | 62 | 0.0072433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3024-4_1_6_line_69 |  | 64 | 77 | 0.016973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3024-4_1_6_line_70 |  | 65 | 66 | 0.029687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3024-4_1_6_line_71 |  | 68 | 69 | 0.0091178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3024-4_1_6_line_72 |  | 70 | 72 | 0.061416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3024-4_1_6_line_73 |  | 71 | 73 | 0.059355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3024-4_1_6_line_74 |  | 72 | 89 | 0.0043972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3024-4_1_6_line_75 |  | 72 | 88 | 0.023244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3024-4_1_6_line_76 |  | 73 | 74 | 0.014436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3024-4_1_6_line_77 |  | 74 | 75 | 0.0056288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3024-4_1_6_line_78 |  | 75 | 76 | 0.04287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3024-4_1_6_line_79 |  | 76 | 79 | 0.2584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3024-4_1_6_line_80 |  | 77 | 78 | 0.044709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3024-4_1_6_line_81 |  | 79 | 80 | 0.084556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3024-4_1_6_line_82 |  | 80 | 81 | 0.10343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3024-4_1_6_line_83 |  | 80 | 82 | 0.056375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3024-4_1_6_line_84 |  | 81 | 83 | 0.01003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3024-4_1_6_line_85 |  | 83 | 91 | 0.022466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3024-4_1_6_line_86 |  | 83 | 90 | 0.0019961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3024-4_1_6_line_87 |  | 84 | 85 | 0.010187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3024-4_1_6_line_88 |  | 85 | 86 | 0.020783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3024-4_1_6_line_89 |  | 86 | 87 | 0.033124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3024-4_1_6_line_90 |  | 87 | 88 | 0.044967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3024-4_1_6_trafo_91 | 0.63 MVA 20/0.4 kV | 92 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2744949.5296 | 1250711.2681 | 2744956.9411 | 1250703.1417 | 2744968.0438 | 1250700.0326 | 2744989.5523 | 1250699.1468 | 2745016.8837 | 1250703.1971
1 | 2744949.5296 | 1250711.2681 | 2744994.212 | 1250840.4053
2 | 2744994.212 | 1250840.4053 | 2745015.9482 | 1250857.0306 | 2745031.0856 | 1250860.8225
3 | 2745122.1073 | 1250889.5154 | 2745083.0663 | 1250878.8717 | 2745044.5393 | 1250864.1926 | 2745031.0856 | 1250860.8225
4 | 2745122.1073 | 1250889.5154 | 2745131.5422 | 1250876.1783 | 2745138.742 | 1250859.4388 | 2745136.3757 | 1250853.3751 | 2745125.33 | 1250848.3109 | 2745114.8588 | 1250837.6778 | 2745107.0095 | 1250831.9246
5 | 2745304.3225 | 1250755.7189 | 2745308.1673 | 1250755.5506
6 | 2745304.3225 | 1250755.7189 | 2745244.2571 | 1250758.3488
7 | 2745304.3225 | 1250755.7189 | 2745294.9221 | 1250829.9377
8 | 2745308.1673 | 1250755.5506 | 2745336.2398 | 1250754.3215
9 | 2745244.2571 | 1250758.3488 | 2745232.6748 | 1250758.8559 | 2745181.5442 | 1250751.4962 | 2745172.7968 | 1250748.7905 | 2745169.677 | 1250736.1911 | 2745169.677 | 1250736.1911
10 | 2745336.2398 | 1250754.3215 | 2745356.5548 | 1250753.4321
11 | 2745169.677 | 1250736.1911 | 2745169.8749 | 1250728.1159
12 | 2745169.677 | 1250736.1911 | 2745107.0095 | 1250831.9246
13 | 2745378.8503 | 1250752.4559 | 2745356.5548 | 1250753.4321
14 | 2745170.9744 | 1250710.3505 | 2745170.2519 | 1250712.7385 | 2745169.8749 | 1250728.1159
15 | 2745378.8503 | 1250752.4559 | 2745368.7294 | 1250746.0238 | 2745351.6681 | 1250743.2694 | 2745332.0344 | 1250730.8539 | 2745322.6049 | 1250713.7844 | 2745318.7553 | 1250707.851
16 | 2745378.8503 | 1250752.4559 | 2745395.1809 | 1250754.7277
17 | 2745189.245 | 1250686.9238 | 2745175.8898 | 1250694.1035 | 2745170.9744 | 1250710.3505
18 | 2745318.7553 | 1250707.851 | 2745311.7454 | 1250706.9783 | 2745285.9772 | 1250705.4007 | 2745273.645 | 1250702.1111
19 | 2745459.1407 | 1250776.4153 | 2745404.5767 | 1250756.0348 | 2745395.1809 | 1250754.7277
20 | 2745459.1407 | 1250776.4153 | 2745455.6066 | 1250746.5781 | 2745454.1852 | 1250730.0387
21 | 2745459.0056 | 1250713.052 | 2745457.0666 | 1250719.1213 | 2745454.1852 | 1250730.0387
22 | 2745454.1852 | 1250730.0387 | 2745441.8621 | 1250728.0899 | 2745433.3341 | 1250725.6774
23 | 2745262.7959 | 1250699.2172 | 2745273.645 | 1250702.1111
24 | 2745460.6053 | 1250709.4212 | 2745459.0056 | 1250713.052
25 | 2745432.7205 | 1250697.47 | 2745436.8327 | 1250707.4692 | 2745444.6528 | 1250709.7967 | 2745459.0056 | 1250713.052
26 | 2745433.3341 | 1250725.6774 | 2745420.3361 | 1250722.0004 | 2745407.2674 | 1250718.432 | 2745405.5047 | 1250718.1811
27 | 2745262.7959 | 1250699.2172 | 2745252.182 | 1250696.386 | 2745251.1849 | 1250695.9968
28 | 2745460.6053 | 1250709.4212 | 2745472.2694 | 1250695.4609 | 2745493.8926 | 1250681.9233 | 2745502.985 | 1250673.6609 | 2745510.2888 | 1250657.6585 | 2745504.3167 | 1250639.1388 | 2745497.9527 | 1250625.5223
29 | 2745460.6053 | 1250709.4212 | 2745453.1753 | 1250702.5879 | 2745450.4513 | 1250693.8795 | 2745448.2082 | 1250675.2798
30 | 2745405.5047 | 1250718.1811 | 2745382.4234 | 1250714.8969 | 2745377.323 | 1250708.1018
31 | 2745413.0113 | 1250571.7373 | 2745431.6465 | 1250569.6116 | 2745431.6465 | 1250569.6116
32 | 2745472.7963 | 1250591.6498 | 2745453.635 | 1250575.3455 | 2745431.6465 | 1250569.6116
33 | 2745413.0113 | 1250571.7373 | 2745384.658 | 1250574.9716
34 | 2745476.9461 | 1250595.1808 | 2745472.7963 | 1250591.6498
35 | 2745382.1701 | 1250575.2554 | 2745384.658 | 1250574.9716
36 | 2745476.9461 | 1250595.1808 | 2745482.3041 | 1250601.5072 | 2745485.4839 | 1250605.2595
37 | 2745476.9461 | 1250595.1808 | 2745489.6518 | 1250570.5027 | 2745490.0211 | 1250562.4319
38 | 2745382.1701 | 1250575.2554 | 2745358.3694 | 1250577.9704
39 | 2745493.8263 | 1250616.6933 | 2745488.7338 | 1250609.0945 | 2745485.4839 | 1250605.2595
40 | 2745358.3694 | 1250577.9704 | 2745356.794 | 1250578.1501 | 2745339.0957 | 1250577.1327
41 | 2745493.8263 | 1250616.6933 | 2745497.9527 | 1250625.5223
42 | 2745359.9152 | 1250502.1237 | 2745384.8802 | 1250495.7945 | 2745385.2981 | 1250495.8149
43 | 2745359.9152 | 1250502.1237 | 2745356.2456 | 1250503.054
44 | 2745385.2981 | 1250495.8149 | 2745393.6358 | 1250496.2234
45 | 2745348.1644 | 1250505.1027 | 2745356.2456 | 1250503.054
46 | 2745408.1313 | 1250496.9336 | 2745393.6358 | 1250496.2234
47 | 2745348.1644 | 1250505.1027 | 2745322.2964 | 1250502.9767
48 | 2745348.1644 | 1250505.1027 | 2745331.3295 | 1250519.5591 | 2745319.621 | 1250534.0491
49 | 2745408.1313 | 1250496.9336 | 2745420.8334 | 1250497.5559 | 2745420.8334 | 1250497.5559
50 | 2745322.2964 | 1250502.9767 | 2745305.7205 | 1250501.6143 | 2745292.1134 | 1250500.88 | 2745255.4912 | 1250501.761 | 2745222.8775 | 1250507.9565 | 2745218.0923 | 1250507.6475
51 | 2745314.8341 | 1250541.9623 | 2745315.2212 | 1250539.4941 | 2745319.621 | 1250534.0491
52 | 2745420.8334 | 1250497.5559 | 2745433.6018 | 1250499.9937
53 | 2745218.0923 | 1250507.6475 | 2745180.3927 | 1250505.2131 | 2745164.3867 | 1250497.8919 | 2745162.0931 | 1250496.4596
54 | 2745316.6022 | 1250571.5472 | 2745312.6515 | 1250555.8799 | 2745314.8341 | 1250541.9623
55 | 2745188.1838 | 1250654.8223 | 2745198.9872 | 1250665.3866 | 2745212.5433 | 1250676.8374
56 | 2745151.6051 | 1250634.4745 | 2745163.8241 | 1250635.7528 | 2745174.699 | 1250641.6358 | 2745188.1838 | 1250654.8223
57 | 2745251.1849 | 1250695.9968 | 2745221.5105 | 1250684.412 | 2745212.5433 | 1250676.8374
58 | 2745151.6051 | 1250634.4745 | 2745141.5089 | 1250652.915
59 | 2745141.5089 | 1250652.915 | 2745129.812 | 1250674.2791
60 | 2745114.9003 | 1250701.5148 | 2745129.812 | 1250674.2791
61 | 2745109.6297 | 1250711.1413 | 2745114.9003 | 1250701.5148
62 | 2745316.6022 | 1250571.5472 | 2745330.7967 | 1250576.6556 | 2745339.0957 | 1250577.1327
63 | 2745316.6022 | 1250571.5472 | 2745298.2136 | 1250598.8555 | 2745296.3603 | 1250600.8733
64 | 2745274.8841 | 1250624.4174 | 2745275.6477 | 1250623.4255 | 2745296.3603 | 1250600.8733
65 | 2745274.8841 | 1250624.4174 | 2745255.1771 | 1250650.0167
66 | 2745095.224 | 1250502.6558 | 2745099.6605 | 1250499.7087 | 2745155.2667 | 1250492.1965 | 2745162.0931 | 1250496.4596
67 | 2745162.0931 | 1250496.4596 | 2745157.8429 | 1250231.0053
68 | 2745372.9747 | 1250702.3088 | 2745377.323 | 1250708.1018
69 | 2745448.2082 | 1250675.2798 | 2745448.0043 | 1250673.5891 | 2745442.1666 | 1250665.2713 | 2745437.2628 | 1250663.8412
70 | 2745433.6018 | 1250499.9937 | 2745451.4522 | 1250503.4017 | 2745462.4088 | 1250506.9426
71 | 2745249.6152 | 1250657.2417 | 2745255.1771 | 1250650.0167
72 | 2745044.0666 | 1250536.6383 | 2745095.224 | 1250502.6558
73 | 2745216.7376 | 1250223.671 | 2745173.6373 | 1250228.6977 | 2745157.8429 | 1250231.0053
74 | 2745044.0666 | 1250536.6383 | 2745045.9493 | 1250540.612
75 | 2745044.0666 | 1250536.6383 | 2745026.9213 | 1250520.9441
76 | 2745216.7376 | 1250223.671 | 2745231.0759 | 1250221.9982
77 | 2745236.6668 | 1250221.346 | 2745231.0759 | 1250221.9982
78 | 2745236.6668 | 1250221.346 | 2745249.1168 | 1250230.4819 | 2745273.4823 | 1250217.8894
79 | 2745531.467 | 1250232.6161 | 2745273.4823 | 1250217.8894
80 | 2745401.5193 | 1250681.2446 | 2745409.5778 | 1250668.3301 | 2745427.7163 | 1250661.0572 | 2745437.2628 | 1250663.8412
81 | 2745573.0803 | 1250306.2235 | 2745531.467 | 1250232.6161
82 | 2745662.246 | 1250358.6304 | 2745573.0803 | 1250306.2235
83 | 2745573.0803 | 1250306.2235 | 2745533.3643 | 1250343.806 | 2745532.099 | 1250344.9354
84 | 2745672.1152 | 1250360.5748 | 2745662.246 | 1250358.6304
85 | 2745672.1152 | 1250360.5748 | 2745660.0621 | 1250379.5521
86 | 2745672.1152 | 1250360.5748 | 2745672.2041 | 1250358.5807
87 | 2744944.4431 | 1250488.3805 | 2744953.5922 | 1250492.8614
88 | 2744974.3752 | 1250492.9476 | 2744953.5922 | 1250492.8614 | 2744953.5922 | 1250492.8614
89 | 2745003.6223 | 1250482.6533 | 2744985.2084 | 1250495.0034 | 2744974.3752 | 1250492.9476
90 | 2745003.6223 | 1250482.6533 | 2745010.2405 | 1250495.216 | 2745016.8271 | 1250506.9104 | 2745025.1409 | 1250519.3144 | 2745026.9213 | 1250520.9441

## bus_geodata
| x | y | coords
0 | 2744949.5296 | 1250711.2681
1 | 2745016.8837 | 1250703.1971
2 | 2744994.212 | 1250840.4053
3 | 2745031.0856 | 1250860.8225
4 | 2745122.1073 | 1250889.5154
5 | 2745304.3225 | 1250755.7189
6 | 2745308.1673 | 1250755.5506
7 | 2745244.2571 | 1250758.3488
8 | 2745294.9221 | 1250829.9377
9 | 2745336.2398 | 1250754.3215
10 | 2745169.677 | 1250736.1911
11 | 2745356.5548 | 1250753.4321
12 | 2745169.8749 | 1250728.1159
13 | 2745107.0095 | 1250831.9246
14 | 2745378.8503 | 1250752.4559
15 | 2745170.9744 | 1250710.3505
16 | 2745318.7553 | 1250707.851
17 | 2745395.1809 | 1250754.7277
18 | 2745189.245 | 1250686.9238
19 | 2745459.1407 | 1250776.4153
20 | 2745454.1852 | 1250730.0387
21 | 2745273.645 | 1250702.1111
22 | 2745459.0056 | 1250713.052
23 | 2745433.3341 | 1250725.6774
24 | 2745262.7959 | 1250699.2172
25 | 2745460.6053 | 1250709.4212
26 | 2745432.7205 | 1250697.47
27 | 2745405.5047 | 1250718.1811
28 | 2745431.6465 | 1250569.6116
29 | 2745413.0113 | 1250571.7373
30 | 2745472.7963 | 1250591.6498
31 | 2745384.658 | 1250574.9716
32 | 2745476.9461 | 1250595.1808
33 | 2745382.1701 | 1250575.2554
34 | 2745485.4839 | 1250605.2595
35 | 2745490.0211 | 1250562.4319
36 | 2745358.3694 | 1250577.9704
37 | 2745493.8263 | 1250616.6933
38 | 2745359.9152 | 1250502.1237
39 | 2745385.2981 | 1250495.8149
40 | 2745356.2456 | 1250503.054
41 | 2745393.6358 | 1250496.2234
42 | 2745348.1644 | 1250505.1027
43 | 2745408.1313 | 1250496.9336
44 | 2745322.2964 | 1250502.9767
45 | 2745319.621 | 1250534.0491
46 | 2745420.8334 | 1250497.5559
47 | 2745218.0923 | 1250507.6475
48 | 2745314.8341 | 1250541.9623
49 | 2745188.1838 | 1250654.8223
50 | 2745212.5433 | 1250676.8374
51 | 2745151.6051 | 1250634.4745
52 | 2745251.1849 | 1250695.9968
53 | 2745141.5089 | 1250652.915
54 | 2745129.812 | 1250674.279
55 | 2745114.9003 | 1250701.5148
56 | 2745316.6022 | 1250571.5472
57 | 2745339.0957 | 1250577.1327
58 | 2745296.3603 | 1250600.8733
59 | 2745274.8841 | 1250624.4174
60 | 2745162.0931 | 1250496.4596
61 | 2745377.323 | 1250708.1018
62 | 2745372.9747 | 1250702.3088
63 | 2745497.9527 | 1250625.5223
64 | 2745448.2082 | 1250675.2798
65 | 2745462.4088 | 1250506.9426
66 | 2745433.6018 | 1250499.9937
67 | 2745109.6297 | 1250711.1413
68 | 2745255.1771 | 1250650.0167
69 | 2745249.6152 | 1250657.2417
70 | 2745095.224 | 1250502.6558
71 | 2745157.8429 | 1250231.0053
72 | 2745044.0666 | 1250536.6383
73 | 2745216.7376 | 1250223.671
74 | 2745231.0759 | 1250221.9982
75 | 2745236.6668 | 1250221.346
76 | 2745273.4823 | 1250217.8894
77 | 2745437.2628 | 1250663.8412
78 | 2745401.5193 | 1250681.2446
79 | 2745531.467 | 1250232.6161
80 | 2745573.0803 | 1250306.2235
81 | 2745662.246 | 1250358.6304
82 | 2745532.099 | 1250344.9354
83 | 2745672.1152 | 1250360.5748
84 | 2744944.4431 | 1250488.3805
85 | 2744953.5922 | 1250492.8614
86 | 2744974.3752 | 1250492.9476
87 | 2745003.6223 | 1250482.6533
88 | 2745026.9213 | 1250520.9441
89 | 2745045.9494 | 1250540.612
90 | 2745672.2041 | 1250358.5807
91 | 2745660.0621 | 1250379.5521
92 | 2745316.6022 | 1250571.5472

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1