## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3024-5_2_4_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_3024-5_2_4_node_125 | 0.4 | n |  | TRUE
2 | bus_LV_3024-5_2_4_node_126 | 0.4 | n |  | TRUE
3 | bus_LV_3024-5_2_4_node_127 | 0.4 | n |  | TRUE
4 | bus_LV_3024-5_2_4_node_169 | 0.4 | n |  | TRUE
5 | bus_LV_3024-5_2_4_node_129 | 0.4 | n |  | TRUE
6 | bus_LV_3024-5_2_4_node_58 | 0.4 | n |  | TRUE
7 | bus_LV_3024-5_2_4_node_130 | 0.4 | n |  | TRUE
8 | bus_LV_3024-5_2_4_node_140 | 0.4 | n |  | TRUE
9 | bus_LV_3024-5_2_4_node_139 | 0.4 | n |  | TRUE
10 | bus_LV_3024-5_2_4_node_131 | 0.4 | n |  | TRUE
11 | bus_LV_3024-5_2_4_node_136 | 0.4 | n |  | TRUE
12 | bus_LV_3024-5_2_4_node_132 | 0.4 | n |  | TRUE
13 | bus_LV_3024-5_2_4_node_122 | 0.4 | n |  | TRUE
14 | bus_LV_3024-5_2_4_node_133 | 0.4 | n |  | TRUE
15 | bus_LV_3024-5_2_4_node_134 | 0.4 | n |  | TRUE
16 | bus_LV_3024-5_2_4_node_135 | 0.4 | n |  | TRUE
17 | bus_LV_3024-5_2_4_node_137 | 0.4 | n |  | TRUE
18 | bus_LV_3024-5_2_4_node_138 | 0.4 | n |  | TRUE
19 | bus_LV_3024-5_2_4_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_3024-5_2_4_node_141 | 0.4 | n |  | TRUE
21 | bus_LV_3024-5_2_4_node_123 | 0.4 | n |  | TRUE
22 | bus_LV_3024-5_2_4_node_142 | 0.4 | n |  | TRUE
23 | bus_LV_3024-5_2_4_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_3024-5_2_4_node_143 | 0.4 | n |  | TRUE
25 | bus_LV_3024-5_2_4_node_144 | 0.4 | n |  | TRUE
26 | bus_LV_3024-5_2_4_node_171 | 0.4 | n |  | TRUE
27 | bus_LV_3024-5_2_4_node_145 | 0.4 | n |  | TRUE
28 | bus_LV_3024-5_2_4_node_146 | 0.4 | n |  | TRUE
29 | bus_LV_3024-5_2_4_node_147 | 0.4 | n |  | TRUE
30 | bus_LV_3024-5_2_4_node_148 | 0.4 | n |  | TRUE
31 | bus_LV_3024-5_2_4_node_149 | 0.4 | n |  | TRUE
32 | bus_LV_3024-5_2_4_node_150 | 0.4 | n |  | TRUE
33 | bus_LV_3024-5_2_4_node_151 | 0.4 | n |  | TRUE
34 | bus_LV_3024-5_2_4_node_152 | 0.4 | n |  | TRUE
35 | bus_LV_3024-5_2_4_node_154 | 0.4 | n |  | TRUE
36 | bus_LV_3024-5_2_4_node_165 | 0.4 | n |  | TRUE
37 | bus_LV_3024-5_2_4_node_172 | 0.4 | n |  | TRUE
38 | bus_LV_3024-5_2_4_node_153 | 0.4 | n |  | TRUE
39 | bus_LV_3024-5_2_4_node_156 | 0.4 | n |  | TRUE
40 | bus_LV_3024-5_2_4_node_155 | 0.4 | n |  | TRUE
41 | bus_LV_3024-5_2_4_node_182 | 0.4 | n |  | TRUE
42 | bus_LV_3024-5_2_4_node_183 | 0.4 | n |  | TRUE
43 | bus_LV_3024-5_2_4_node_157 | 0.4 | n |  | TRUE
44 | bus_LV_3024-5_2_4_node_158 | 0.4 | n |  | TRUE
45 | bus_LV_3024-5_2_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_3024-5_2_4_node_162 | 0.4 | n |  | TRUE
47 | bus_LV_3024-5_2_4_node_175 | 0.4 | n |  | TRUE
48 | bus_LV_3024-5_2_4_node_159 | 0.4 | n |  | TRUE
49 | bus_LV_3024-5_2_4_node_160 | 0.4 | n |  | TRUE
50 | bus_LV_3024-5_2_4_node_161 | 0.4 | n |  | TRUE
51 | bus_LV_3024-5_2_4_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_3024-5_2_4_node_163 | 0.4 | n |  | TRUE
53 | bus_LV_3024-5_2_4_node_124 | 0.4 | n |  | TRUE
54 | bus_LV_3024-5_2_4_node_164 | 0.4 | n |  | TRUE
55 | bus_LV_3024-5_2_4_node_166 | 0.4 | n |  | TRUE
56 | bus_LV_3024-5_2_4_node_167 | 0.4 | n |  | TRUE
57 | bus_LV_3024-5_2_4_node_168 | 0.4 | n |  | TRUE
58 | bus_LV_3024-5_2_4_node_170 | 0.4 | n |  | TRUE
59 | bus_LV_3024-5_2_4_node_173 | 0.4 | n |  | TRUE
60 | bus_LV_3024-5_2_4_node_174 | 0.4 | n |  | TRUE
61 | bus_LV_3024-5_2_4_node_176 | 0.4 | n |  | TRUE
62 | bus_LV_3024-5_2_4_node_177 | 0.4 | n |  | TRUE
63 | bus_LV_3024-5_2_4_node_178 | 0.4 | n |  | TRUE
64 | bus_LV_3024-5_2_4_node_179 | 0.4 | n |  | TRUE
65 | bus_LV_3024-5_2_4_node_180 | 0.4 | n |  | TRUE
66 | bus_LV_3024-5_2_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_3024-5_2_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_3024-5_2_4_node_181 | 0.4 | n |  | TRUE
69 | bus_LV_3024-5_2_4_node_117 | 0.4 | n |  | TRUE
70 | bus_LV_3024-5_2_4_node_118 | 0.4 | n |  | TRUE
71 | bus_LV_3024-5_2_4_node_119 | 0.4 | n |  | TRUE
72 | bus_LV_3024-5_2_4_node_120 | 0.4 | n |  | TRUE
73 | bus_MV_43_0_node_144 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3024-5_2_4_load_169 | 4 | 0.00051847 | 0.00012994 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3024-5_2_4_load_129 | 5 | 0.0021454 | 0.0005377 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3024-5_2_4_load_140 | 8 | 0.0046076 | 0.0011548 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3024-5_2_4_load_139 | 9 | 0.0021308 | 0.00053402 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3024-5_2_4_load_132 | 12 | 0.0036311 | 0.00091003 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3024-5_2_4_load_122 | 13 | 0.0023001 | 0.00057645 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3024-5_2_4_load_133 | 14 | 0.0014398 | 0.00036084 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3024-5_2_4_load_134 | 15 | 0.0049086 | 0.0012302 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3024-5_2_4_load_135 | 16 | 0.006833 | 0.0017125 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3024-5_2_4_load_137 | 17 | 0.0061218 | 0.0015343 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3024-5_2_4_load_138 | 18 | 0.0058364 | 0.0014627 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3024-5_2_4_load_141 | 20 | 0.0010921 | 0.0002737 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3024-5_2_4_load_142 | 22 | 0.0010876 | 0.00027258 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3024-5_2_4_load_144 | 25 | 0.0018917 | 0.0004741 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3024-5_2_4_load_171 | 26 | 0.001469 | 0.00036817 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3024-5_2_4_load_145 | 27 | 0.00038136 | 9.5579e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3024-5_2_4_load_146 | 28 | 0.00044829 | 0.00011235 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3024-5_2_4_load_150 | 32 | 0.0074385 | 0.0018643 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3024-5_2_4_load_151 | 33 | 0.0019658 | 0.00049267 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3024-5_2_4_load_152 | 34 | 0.00030849 | 7.7315e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3024-5_2_4_load_172 | 37 | 0.0014896 | 0.00037334 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3024-5_2_4_load_155 | 40 | 0.00066231 | 0.00016599 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3024-5_2_4_load_182 | 41 | 0.00025529 | 6.3981e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3024-5_2_4_load_183 | 42 | 0.00037551 | 9.4111e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3024-5_2_4_load_157 | 43 | 0.00026531 | 6.6493e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3024-5_2_4_load_162 | 46 | 0.00016777 | 4.2047e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3024-5_2_4_load_175 | 47 | 0.00073688 | 0.00018468 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3024-5_2_4_load_159 | 48 | 0.00034473 | 8.6398e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3024-5_2_4_load_160 | 49 | 0.00026139 | 6.5511e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3024-5_2_4_load_161 | 50 | 0.00018582 | 4.6571e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3024-5_2_4_load_54 | 51 | 0.0011528 | 0.00028892 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3024-5_2_4_load_163 | 52 | 0.0010055 | 0.00025201 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3024-5_2_4_load_164 | 54 | 0.0021201 | 0.00053134 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3024-5_2_4_load_166 | 55 | 0.0015641 | 0.000392 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3024-5_2_4_load_168 | 57 | 0.0015024 | 0.00037654 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3024-5_2_4_load_170 | 58 | 0.0005864 | 0.00014696 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3024-5_2_4_load_173 | 59 | 0.0014381 | 0.00036043 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3024-5_2_4_load_174 | 60 | 0.001788 | 0.0004481 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3024-5_2_4_load_176 | 61 | 0.00063933 | 0.00016023 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3024-5_2_4_load_177 | 62 | 0.00031609 | 7.922e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3024-5_2_4_load_178 | 63 | 0.00036248 | 9.0847e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3024-5_2_4_load_179 | 64 | 0.00012138 | 3.0422e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3024-5_2_4_load_180 | 65 | 0.0007234 | 0.0001813 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3024-5_2_4_load_59 | 67 | 0.0010283 | 0.00025772 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3024-5_2_4_load_181 | 68 | 0.00029287 | 7.3399e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3024-5_2_4_load_117 | 69 | 0.0036184 | 0.00090685 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3024-5_2_4_load_118 | 70 | 0.0024773 | 0.00062087 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3024-5_2_4_line_0 |  | 0 | 1 | 0.23975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3024-5_2_4_line_1 |  | 0 | 2 | 0.013233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3024-5_2_4_line_2 |  | 0 | 3 | 0.44008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3024-5_2_4_line_3 |  | 0 | 4 | 0.013694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3024-5_2_4_line_4 |  | 1 | 65 | 0.016336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3024-5_2_4_line_5 |  | 1 | 68 | 0.013954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3024-5_2_4_line_6 |  | 2 | 58 | 0.14092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3024-5_2_4_line_7 |  | 3 | 56 | 0.022238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3024-5_2_4_line_8 |  | 5 | 6 | 0.037958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3024-5_2_4_line_9 |  | 6 | 19 | 0.045935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3024-5_2_4_line_10 |  | 6 | 20 | 0.030632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3024-5_2_4_line_11 |  | 7 | 8 | 0.0030746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3024-5_2_4_line_12 |  | 7 | 9 | 0.02435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3024-5_2_4_line_13 |  | 8 | 10 | 0.0088362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3024-5_2_4_line_14 |  | 9 | 12 | 0.044538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3024-5_2_4_line_15 |  | 10 | 11 | 0.004109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3024-5_2_4_line_16 |  | 11 | 15 | 0.019923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3024-5_2_4_line_17 |  | 12 | 13 | 0.010947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3024-5_2_4_line_18 |  | 13 | 71 | 0.0014447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3024-5_2_4_line_19 |  | 14 | 15 | 0.020507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3024-5_2_4_line_20 |  | 14 | 16 | 0.039729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3024-5_2_4_line_21 |  | 16 | 17 | 0.021507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3024-5_2_4_line_22 |  | 17 | 18 | 0.029359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3024-5_2_4_line_23 |  | 18 | 19 | 0.031299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3024-5_2_4_line_24 |  | 19 | 22 | 0.0022486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3024-5_2_4_line_25 |  | 20 | 21 | 0.30951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3024-5_2_4_line_26 |  | 21 | 24 | 0.008084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3024-5_2_4_line_27 |  | 22 | 23 | 0.63152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3024-5_2_4_line_28 |  | 23 | 45 | 1.0632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3024-5_2_4_line_29 |  | 24 | 25 | 0.040375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3024-5_2_4_line_30 |  | 25 | 26 | 0.11436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3024-5_2_4_line_31 |  | 27 | 28 | 0.014583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3024-5_2_4_line_32 |  | 27 | 29 | 0.020633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3024-5_2_4_line_33 |  | 29 | 30 | 0.15568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3024-5_2_4_line_34 |  | 29 | 31 | 0.022817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3024-5_2_4_line_35 |  | 30 | 32 | 0.04655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3024-5_2_4_line_36 |  | 30 | 33 | 0.018911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3024-5_2_4_line_37 |  | 31 | 34 | 0.02951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3024-5_2_4_line_38 |  | 31 | 35 | 0.054098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3024-5_2_4_line_39 |  | 32 | 36 | 0.16866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3024-5_2_4_line_40 |  | 33 | 37 | 0.0055225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3024-5_2_4_line_41 |  | 35 | 41 | 0.001469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3024-5_2_4_line_42 |  | 35 | 42 | 0.043838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3024-5_2_4_line_43 |  | 35 | 38 | 0.056459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3024-5_2_4_line_44 |  | 36 | 53 | 0.024224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3024-5_2_4_line_45 |  | 36 | 55 | 0.080629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3024-5_2_4_line_46 |  | 37 | 59 | 0.057647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3024-5_2_4_line_47 |  | 38 | 39 | 0.24703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3024-5_2_4_line_48 |  | 38 | 40 | 0.017746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3024-5_2_4_line_49 |  | 39 | 43 | 0.24838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3024-5_2_4_line_50 |  | 39 | 44 | 0.041939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3024-5_2_4_line_51 |  | 43 | 46 | 0.014694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3024-5_2_4_line_52 |  | 44 | 47 | 0.11702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3024-5_2_4_line_53 |  | 45 | 51 | 0.1534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3024-5_2_4_line_54 |  | 46 | 49 | 0.040316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3024-5_2_4_line_55 |  | 47 | 61 | 0.028457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3024-5_2_4_line_56 |  | 48 | 49 | 0.01671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3024-5_2_4_line_57 |  | 48 | 50 | 0.0060356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3024-5_2_4_line_58 |  | 51 | 66 | 0.35421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3024-5_2_4_line_59 |  | 52 | 53 | 0.015226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3024-5_2_4_line_60 |  | 52 | 54 | 0.012791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3024-5_2_4_line_61 |  | 53 | 72 | 0.51611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_3024-5_2_4_line_62 |  | 55 | 56 | 0.016426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3024-5_2_4_line_63 |  | 56 | 57 | 0.028875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3024-5_2_4_line_64 |  | 59 | 60 | 0.15018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3024-5_2_4_line_65 |  | 62 | 63 | 0.20718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3024-5_2_4_line_66 |  | 62 | 64 | 0.0021921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3024-5_2_4_line_67 |  | 63 | 65 | 0.019561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3024-5_2_4_line_68 |  | 66 | 67 | 0.18541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3024-5_2_4_line_69 |  | 69 | 70 | 0.013422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3024-5_2_4_line_70 |  | 69 | 71 | 0.0016856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3024-5_2_4_line_71 |  | 70 | 72 | 0.052863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3024-5_2_4_trafo_124 | 0.63 MVA 20/0.4 kV | 73 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78 | x79 | y79 | x80 | y80
0 | 2746257.6305 | 1252132.6461 | 2746250.9067 | 1252137.6849 | 2746248.3309 | 1252142.0033 | 2746248.9439 | 1252150.5043 | 2746249.8148 | 1252154.3739 | 2746252.74 | 1252167.3919 | 2746258.0999 | 1252191.2692 | 2746259.8144 | 1252199.8085 | 2746259.4211 | 1252204.7257 | 2746255.9611 | 1252211.2132 | 2746238.322 | 1252235.7012 | 2746232.0485 | 1252245.1331 | 2746228.4736 | 1252256.2777 | 2746227.4685 | 1252263.6488 | 2746225.906 | 1252271.2731 | 2746224.9891 | 1252279.6585 | 2746273.9657 | 1252310.3633 | 2746283.5018 | 1252315.8707 | 2746292.543 | 1252318.185
1 | 2746292.543 | 1252318.185 | 2746292.5395 | 1252314.6593 | 2746293.4702 | 1252310.3004 | 2746294.9163 | 1252305.2535
2 | 2745990.6908 | 1252053.6212 | 2745992.1001 | 1252056.7922 | 2745993.7746 | 1252058.0903 | 2745996.0483 | 1252058.9694 | 2746002.2679 | 1252059.9791 | 2746022.2034 | 1252055.9443 | 2746044.6903 | 1252062.9608 | 2746046.9661 | 1252061.6156 | 2746051.1249 | 1252053.4214 | 2746057.5966 | 1252061.6554 | 2746063.198 | 1252063.8511 | 2746064.731 | 1252064.4562 | 2746067.1119 | 1252068.0294 | 2746073.2376 | 1252072.5402 | 2746079.5898 | 1252085.9207 | 2746092.0861 | 1252096.639 | 2746100.1123 | 1252103.6881 | 2746105.5103 | 1252114.7317 | 2746108.8465 | 1252127.3259 | 2746116.7062 | 1252145.0922 | 2746123.0695 | 1252153.7352 | 2746133.483 | 1252162.8674 | 2746147.5913 | 1252174.6488 | 2746164.6111 | 1252198.7805 | 2746174.6162 | 1252216.1884 | 2746182.4338 | 1252227.3919 | 2746196.4181 | 1252239.2927 | 2746206.78 | 1252250.5035 | 2746214.5895 | 1252270.2818 | 2746224.9891 | 1252279.6585 | 2746273.9657 | 1252310.3633 | 2746283.5018 | 1252315.8707 | 2746292.543 | 1252318.185
3 | 2746292.543 | 1252318.185 | 2746306.2218 | 1252318.8212
4 | 2746257.6305 | 1252132.6461 | 2746265.3597 | 1252130.9241 | 2746273.2797 | 1252133.7756
5 | 2746257.6305 | 1252132.6461 | 2746253.3672 | 1252125.5007 | 2746250.5266 | 1252120.6354
6 | 2746400.3746 | 1252220.3661 | 2746364.4192 | 1252241.1087 | 2746336.0362 | 1252255.4769 | 2746323.2428 | 1252262.0005 | 2746319.0617 | 1252264.3662 | 2746314.7589 | 1252271.6558 | 2746312.6386 | 1252279.5443 | 2746309.9749 | 1252287.4194 | 2746306.2161 | 1252295.0005 | 2746298.3375 | 1252302.4686 | 2746294.9163 | 1252305.2535
7 | 2745990.6908 | 1252053.6212 | 2745984.83 | 1252054.2885 | 2745977.1386 | 1252056.6235 | 2745974.3076 | 1252058.7446 | 2745970.4241 | 1252061.5961
8 | 2745678.79 | 1252324.5358 | 2745693.1254 | 1252352.5705 | 2745695.9268 | 1252358.4038
9 | 2745653.4529 | 1252288.5453 | 2745660.6052 | 1252290.612 | 2745678.79 | 1252324.5358
10 | 2745678.79 | 1252324.5358 | 2745683.5542 | 1252322.3953 | 2745685.7702 | 1252320.4035 | 2745686.8575 | 1252318.5618 | 2745693.7474 | 1252299.4766
11 | 2745729.3625 | 1252431.8927 | 2745729.7026 | 1252434.9485
12 | 2745729.3625 | 1252431.8927 | 2745730.2799 | 1252428.3675 | 2745732.2249 | 1252415.9146 | 2745733.8678 | 1252412.0513 | 2745736.528 | 1252409.1918
13 | 2745720.9918 | 1252436.3911 | 2745723.9075 | 1252436.0292 | 2745726.4159 | 1252435.6572 | 2745729.7026 | 1252434.9485
14 | 2745736.528 | 1252409.1918 | 2745739.7493 | 1252407.4583 | 2745743.1664 | 1252406.9752 | 2745747.4689 | 1252407.6372 | 2745779.5441 | 1252415.7086
15 | 2745720.9918 | 1252436.3911 | 2745716.8897 | 1252436.7906
16 | 2745716.8897 | 1252436.7906 | 2745715.0927 | 1252425.1353 | 2745713.4446 | 1252417.1741
17 | 2745790.1605 | 1252418.38 | 2745779.5441 | 1252415.7086
18 | 2745791.5615 | 1252418.7326 | 2745790.1605 | 1252418.38
19 | 2745707.5617 | 1252397.5527 | 2745710.2571 | 1252405.0306 | 2745713.0076 | 1252415.0634 | 2745713.4446 | 1252417.1741
20 | 2745707.5617 | 1252397.5527 | 2745704.7443 | 1252389.736 | 2745700.7228 | 1252378.8824 | 2745695.1861 | 1252367.0127 | 2745692.1354 | 1252360.9932
21 | 2745692.1354 | 1252360.9932 | 2745682.4127 | 1252341.8089
22 | 2745668.9146 | 1252315.7389 | 2745674.3471 | 1252325.8945 | 2745682.4127 | 1252341.8089
23 | 2745653.4529 | 1252288.5453 | 2745659.6794 | 1252298.4745 | 2745668.9146 | 1252315.7389
24 | 2745653.4529 | 1252288.5453 | 2745652.1393 | 1252286.7203
25 | 2745661.5123 | 1252048.7709 | 2745639.1338 | 1252059.1195 | 2745630.8877 | 1252064.978 | 2745626.2219 | 1252073.5492 | 2745617.9775 | 1252106.0442 | 2745611.8907 | 1252137.3911 | 2745611.6772 | 1252146.0719 | 2745614.6911 | 1252155.2324 | 2745621.0166 | 1252161.4493 | 2745641.9733 | 1252169.283 | 2745644.9174 | 1252172.9922 | 2745648.5601 | 1252189.4307 | 2745654.5553 | 1252201.0892 | 2745670.9655 | 1252217.2413 | 2745686.5782 | 1252232.9623 | 2745688.2477 | 1252239.0648 | 2745687.0278 | 1252247.5206 | 2745684.3945 | 1252255.7303 | 2745685.0358 | 1252262.8084 | 2745694.3204 | 1252280.3979 | 2745696.1638 | 1252287.7168 | 2745694.9442 | 1252296.1615 | 2745693.7474 | 1252299.4766
26 | 2745661.7111 | 1252040.6903 | 2745661.5123 | 1252048.7709
27 | 2745132.203 | 1251959.4424 | 2745141.1971 | 1251972.9533 | 2745155.8679 | 1251995.1448 | 2745163.39 | 1252005.8615 | 2745172.7906 | 1252018.4927 | 2745179.7955 | 1252027.2059 | 2745192.8715 | 1252041.1395 | 2745201.001 | 1252048.9461 | 2745209.4262 | 1252056.393 | 2745222.8292 | 1252066.8425 | 2745234.7429 | 1252074.8977 | 2745248.5264 | 1252083.3769 | 2745261.8597 | 1252090.1992 | 2745281.6716 | 1252098.8598 | 2745299.8295 | 1252105.0776 | 2745316.3946 | 1252110.0441 | 2745351.882 | 1252119.6125 | 2745404.0222 | 1252133.9498 | 2745438.8977 | 1252143.8263 | 2745458.4834 | 1252150.0018 | 2745476.9817 | 1252157.4074 | 2745491.167 | 1252164.2622 | 2745504.6124 | 1252171.4214 | 2745520.5614 | 1252181.1668 | 2745535.3151 | 1252191.6169 | 2745550.4166 | 1252202.9653 | 2745562.7082 | 1252212.2093 | 2745581.6851 | 1252226.5448 | 2745603.2231 | 1252242.9674 | 2745627.045 | 1252261.0812 | 2745633.482 | 1252266.4445 | 2745640.0695 | 1252272.134 | 2745645.3947 | 1252277.8815 | 2745649.3863 | 1252282.8955 | 2745652.1393 | 1252286.7203
28 | 2745132.203 | 1251959.4424 | 2745106.7673 | 1251921.7281 | 2745096.5755 | 1251906.5531 | 2745089.265 | 1251896.7425 | 2745083.2449 | 1251889.4326 | 2745074.5116 | 1251881.2889 | 2745061.9517 | 1251871.2274 | 2745050.2373 | 1251863.3332 | 2745038.6244 | 1251856.2199 | 2745027.4101 | 1251849.4835 | 2745016.7872 | 1251843.5735 | 2744988.6913 | 1251828.4049 | 2744982.9777 | 1251825.2177 | 2744977.9112 | 1251822.1241 | 2744973.1839 | 1251818.7497 | 2744968.4988 | 1251815.1873 | 2744963.9921 | 1251811.1287 | 2744959.8574 | 1251806.6789 | 2744956.1192 | 1251802.6837 | 2744952.644 | 1251798.1277 | 2744948.9725 | 1251792.9552 | 2744944.852 | 1251786.3815 | 2744943.6382 | 1251784.45 | 2744947.1386 | 1251779.6533 | 2744952.2969 | 1251773.14 | 2744954.4737 | 1251770.2794 | 2744953.2349 | 1251765.9783 | 2744952.0797 | 1251761.3457 | 2744950.9411 | 1251755.4233 | 2744950.4787 | 1251751.1747 | 2744950.4546 | 1251745.9914 | 2744951.19 | 1251736.6227 | 2744952.563 | 1251730.5061 | 2744954.0107 | 1251725.6591 | 2744957.3073 | 1251717.4654 | 2744960.673 | 1251711.075 | 2744963.3754 | 1251707.104 | 2744965.7356 | 1251703.8475 | 2744963.6423 | 1251702.3727 | 2744967.5631 | 1251697.6753 | 2744966.6658 | 1251696.6968 | 2744964.9707 | 1251694.6868 | 2744969.1164 | 1251690.9847 | 2744971.5747 | 1251688.9652 | 2744980.3545 | 1251681.9622 | 2744987.7885 | 1251679.0414 | 2744995.6248 | 1251676.653 | 2745004.5788 | 1251674.2588 | 2745024.6419 | 1251669.6565 | 2745026.1983 | 1251676.401 | 2745026.8601 | 1251680.2097 | 2745027.0348 | 1251682.3271 | 2745026.6954 | 1251683.8535 | 2745025.7915 | 1251685.2995 | 2745024.1455 | 1251686.527 | 2745015.4545 | 1251690.2067 | 2745010.138 | 1251693.9245 | 2745004.511 | 1251699.8369 | 2745000.5201 | 1251706.7791 | 2744996.6517 | 1251714.2694 | 2744994.1684 | 1251721.6267 | 2744995.4433 | 1251730.3105 | 2745011.5758 | 1251753.6052 | 2745024.5816 | 1251777.535 | 2745031.696 | 1251775.0179 | 2745033.6076 | 1251766.957 | 2745031.0227 | 1251736.5427 | 2745051.7415 | 1251745.2358 | 2745091.3497 | 1251744.8274 | 2745126.7805 | 1251752.8026 | 2745142.8609 | 1251756.3331 | 2745164.4848 | 1251760.1331 | 2745177.6832 | 1251752.7828 | 2745190.2939 | 1251760.7771 | 2745199.4116 | 1251757.8644 | 2745260.4496 | 1251715.9206 | 2745280.7918 | 1251691.029 | 2745310.6248 | 1251661.8773 | 2745325.8646 | 1251651.3633 | 2745340.9601 | 1251647.0405 | 2745439.2563 | 1251645.1504
29 | 2745661.7111 | 1252040.6903 | 2745662.019 | 1252028.1749 | 2745654.1624 | 1252005.9272 | 2745653.9122 | 1252001.6726
30 | 2745712.0554 | 1251937.1852 | 2745711.1472 | 1251941.2557 | 2745711.9194 | 1251944.8559 | 2745713.7492 | 1251948.4376 | 2745721.3049 | 1251958.3662 | 2745721.9535 | 1251960.8512 | 2745721.0248 | 1251963.6087 | 2745719.456 | 1251965.6832 | 2745717.2845 | 1251967.3981 | 2745679.9709 | 1251987.8334 | 2745676.5878 | 1251991.5315 | 2745675.3797 | 1251993.3702 | 2745674.7578 | 1251995.9352 | 2745674.5208 | 1252001.5791 | 2745673.4318 | 1252002.5644 | 2745670.1293 | 1252002.9836 | 2745665.066 | 1252003.1593 | 2745653.9122 | 1252001.6726
31 | 2746044.4187 | 1251850.2477 | 2746031.3083 | 1251843.8608
32 | 2746062.9673 | 1251859.284 | 2746044.4187 | 1251850.2477
33 | 2746062.9673 | 1251859.284 | 2746054.5794 | 1251872.3897 | 2746026.9545 | 1251908.6434 | 2746020.9524 | 1251911.0533 | 2746012.4 | 1251911.2427 | 2745984.3058 | 1251905.9121 | 2745979.9797 | 1251906.8064 | 2745973.537 | 1251909.9395 | 2745969.0154 | 1251914.1655 | 2745961.7918 | 1251925.3871 | 2745953.5863 | 1251943.6691
34 | 2746082.6102 | 1251847.8573 | 2746071.0401 | 1251853.1327 | 2746062.9673 | 1251859.284
35 | 2745953.5863 | 1251943.6691 | 2745948.1695 | 1251955.7249 | 2745943.1565 | 1251967.635 | 2745938.3334 | 1251987.4684
36 | 2745953.5863 | 1251943.6691 | 2745940.5136 | 1251930.0037
37 | 2746082.6102 | 1251847.8573 | 2746089.7109 | 1251849.2782 | 2746097.1874 | 1251850.4636 | 2746106.672 | 1251851.365 | 2746111.8393 | 1251851.1558
38 | 2746082.6102 | 1251847.8573 | 2746098.3404 | 1251842.2954 | 2746111.6554 | 1251838.8315 | 2746131.5787 | 1251834.4075 | 2746132.0961 | 1251837.6122
39 | 2745948.6701 | 1252155.3162 | 2745949.7097 | 1252131.2188 | 2745947.3847 | 1252118.6385 | 2745944.7837 | 1252104.6945 | 2745942.653 | 1252082.6988 | 2745941.2824 | 1252063.8694 | 2745938.9461 | 1252037.0418 | 2745938.8932 | 1252011.9277 | 2745937.6699 | 1252000.5979 | 2745938.3334 | 1251987.4684
40 | 2745940.5136 | 1251930.0037 | 2745936.6961 | 1251926.0131
41 | 2746132.0961 | 1251837.6122 | 2746132.3777 | 1251839.0538
42 | 2746162.245 | 1251863.714 | 2746161.8293 | 1251860.3672 | 2746160.3931 | 1251857.6736 | 2746154.6703 | 1251853.0503 | 2746151.2511 | 1251849.6294 | 2746147.4913 | 1251846.5448 | 2746144.9297 | 1251842.3332 | 2746142.6678 | 1251839.4413 | 2746139.074 | 1251836.3609 | 2746132.0961 | 1251837.6122
43 | 2746132.0961 | 1251837.6122 | 2746131.5787 | 1251834.4075 | 2746149.2899 | 1251835.1672 | 2746168.7725 | 1251836.36 | 2746184.2095 | 1251832.2814
44 | 2745933.5301 | 1252170.0573 | 2745936.601 | 1252169.5324 | 2745942.9071 | 1252168.2532 | 2745946.9787 | 1252163.8938 | 2745948.6701 | 1252155.3162
45 | 2745948.6701 | 1252155.3162 | 2745953.0762 | 1252150.2532 | 2745954.625 | 1252143.1735 | 2745962.2183 | 1252102.5552 | 2745966.0175 | 1252082.9079 | 2745967.0981 | 1252077.6818
46 | 2745936.6961 | 1251926.0131 | 2745932.0988 | 1251921.2074 | 2745918.1922 | 1251905.7947 | 2745907.3379 | 1251889.0893 | 2745901.5191 | 1251880.5723
47 | 2746384.9292 | 1251699.599 | 2746381.9687 | 1251701.7501 | 2746357.5868 | 1251706.8972 | 2746331.9471 | 1251713.4369 | 2746317.2715 | 1251717.2448 | 2746303.6645 | 1251723.0366 | 2746298.4079 | 1251726.132 | 2746263.1367 | 1251761.862 | 2746238.4442 | 1251784.4852 | 2746195.5952 | 1251826.2232 | 2746184.2095 | 1251832.2814
48 | 2746184.2095 | 1251832.2814 | 2746177.8576 | 1251819.19 | 2746176.4331 | 1251816.3299
49 | 2746384.9292 | 1251699.599 | 2746387.1149 | 1251700.9876 | 2746395.2059 | 1251707.5604 | 2746401.9738 | 1251714.2006 | 2746405.9215 | 1251723.7295 | 2746408.4379 | 1251733.1228 | 2746410.2411 | 1251744.7896 | 2746410.764 | 1251754.7898 | 2746410.3166 | 1251768.6031 | 2746409.5082 | 1251779.0041 | 2746408.5512 | 1251786.5543 | 2746406.0386 | 1251794.7223 | 2746401.8144 | 1251800.6458 | 2746395.2044 | 1251805.6428 | 2746388.7626 | 1251812.3901 | 2746385.035 | 1251820.528 | 2746383.5402 | 1251829.9778 | 2746386.6781 | 1251882.0272 | 2746381.9044 | 1251896.1338 | 2746377.5731 | 1251912.1977 | 2746369.8899 | 1251926.8373
50 | 2746384.9292 | 1251699.599 | 2746386.6054 | 1251698.3837 | 2746387.8104 | 1251695.7665 | 2746393.4196 | 1251684.2163 | 2746393.8816 | 1251681.4139 | 2746396.463 | 1251665.8851 | 2746397.4969 | 1251660.4166
51 | 2746363.0614 | 1251939.8486 | 2746369.8899 | 1251926.8373
52 | 2746397.4969 | 1251660.4166 | 2746361.6754 | 1251654.8375 | 2746348.7839 | 1251653.9738 | 2746326.3389 | 1251650.405 | 2746307.709 | 1251648.2986 | 2746295.4218 | 1251644.981 | 2746289.976 | 1251643.2004 | 2746286.9023 | 1251645.0485 | 2746284.3466 | 1251648.5443
53 | 2745439.2563 | 1251645.1504 | 2745444.8095 | 1251664.3939 | 2745453.5323 | 1251729.8145 | 2745458.8036 | 1251753.4552 | 2745466.3853 | 1251776.7968 | 2745465.6052 | 1251787.0319 | 2745461.0017 | 1251793.9921
54 | 2746340.0987 | 1251972.9211 | 2746343.211 | 1251969.2144 | 2746361.0588 | 1251943.6642 | 2746363.0614 | 1251939.8486
55 | 2746272.9885 | 1251674.5553 | 2746275.891 | 1251668.3322 | 2746278.5211 | 1251661.8242 | 2746282.2599 | 1251655.0656 | 2746284.3466 | 1251648.5443
56 | 2746329.3536 | 1251985.7186 | 2746340.0987 | 1251972.9211
57 | 2746325.4726 | 1251990.3409 | 2746329.3536 | 1251985.7186
58 | 2745349.7649 | 1252038.2388 | 2745368.2296 | 1252037.1908 | 2745449.4621 | 1252024.55 | 2745464.3547 | 1252015.5404 | 2745471.509 | 1252000.3349 | 2745474.9639 | 1251982.0357 | 2745465.6722 | 1251961.9218 | 2745460.7146 | 1251934.1292 | 2745459.3638 | 1251919.9604 | 2745454.9646 | 1251873.7419 | 2745444.6989 | 1251822.5746 | 2745443.0177 | 1251811.4005 | 2745447.3227 | 1251802.1419 | 2745461.0017 | 1251793.9921
59 | 2745933.5301 | 1252170.0573 | 2745930.9407 | 1252156.5585 | 2745930.4025 | 1252155.1791
60 | 2745930.4025 | 1252155.1791 | 2745925.753 | 1252143.2629
61 | 2745857.4137 | 1252435.0466 | 2745870.9686 | 1252437.1045 | 2745876.6425 | 1252435.7318 | 2745877.9787 | 1252429.6144 | 2745872.5506 | 1252421.3173 | 2745863.0062 | 1252409.0929 | 2745855.8452 | 1252398.1951 | 2745855.31 | 1252392.6433 | 2745858.0195 | 1252387.1715 | 2745862.9044 | 1252385.0341 | 2745870.15 | 1252386.6808 | 2745888.8352 | 1252391.3564 | 2745898.0147 | 1252392.0386 | 2745907.1342 | 1252391.1735 | 2745932.6917 | 1252384.1517 | 2745963.64 | 1252380.1992 | 2745988.7132 | 1252380.5728 | 2745999.9999 | 1252378.7826 | 2746006.7299 | 1252375.9235 | 2746009.2042 | 1252367.443 | 2746008.6694 | 1252360.045 | 2745999.8426 | 1252342.6109 | 2745989.5162 | 1252321.3806 | 2745978.3444 | 1252304.4226 | 2745966.3975 | 1252299.3011 | 2745952.1316 | 1252289.9297 | 2745951.8886 | 1252289.679 | 2745932.5971 | 1252269.4624 | 2745911.8095 | 1252247.1403 | 2745897.8038 | 1252230.2682 | 2745885.7869 | 1252203.469 | 2745885.6632 | 1252193.779 | 2745894.482 | 1252178.7818 | 2745920.4997 | 1252168.1346 | 2745933.5301 | 1252170.0573
62 | 2745970.4241 | 1252061.5961 | 2745967.0981 | 1252077.6818
63 | 2745970.4241 | 1252061.5961 | 2745973.7523 | 1252052.4805 | 2745979.3412 | 1252043.8545 | 2745983.1124 | 1252041.8788 | 2745987.5904 | 1252040.6814
64 | 2745948.31 | 1251746.04 | 2745944.3901 | 1251753.1168 | 2745932.7416 | 1251773.8274 | 2745926.68 | 1251785.3891 | 2745920.0732 | 1251798.8504 | 2745914.1781 | 1251811.9288 | 2745910.2309 | 1251820.1171 | 2745898.1526 | 1251841.7292 | 2745894.6231 | 1251849.5163 | 2745892.7659 | 1251855.0203 | 2745892.4402 | 1251859.9614 | 2745893.0427 | 1251864.3137 | 2745894.7546 | 1251868.6934 | 2745899.9186 | 1251878.2296 | 2745901.5191 | 1251880.5723
65 | 2746477.4393 | 1252101.0565 | 2746471.3497 | 1252097.1136 | 2746469.268 | 1252095.494 | 2746466.7057 | 1252096.2091 | 2746461.7382 | 1252100.4459 | 2746457.0129 | 1252102.52 | 2746452.8868 | 1252102.9628 | 2746444.9384 | 1252101.9432 | 2746439.9888 | 1252102.0988 | 2746437.7387 | 1252104.2341 | 2746435.6664 | 1252110.4777 | 2746433.8919 | 1252115.3608 | 2746428.8002 | 1252121.2628 | 2746421.614 | 1252123.0091 | 2746412.2525 | 1252123.8675 | 2746399.2403 | 1252127.9276 | 2746391.1571 | 1252132.6658 | 2746375.3171 | 1252139.9369 | 2746360.6524 | 1252143.9563 | 2746341.358 | 1252146.4933 | 2746315.53 | 1252146.6778 | 2746304.2577 | 1252146.9442 | 2746290.9113 | 1252142.2324
66 | 2746479.2794 | 1252102.2479 | 2746477.4393 | 1252101.0565
67 | 2746273.2797 | 1252133.7756 | 2746274.3481 | 1252134.1602 | 2746290.9113 | 1252142.2324 | 2746290.9113 | 1252142.2324
68 | 2745349.7649 | 1252038.2388 | 2745324.4685 | 1252025.9845 | 2745315.1671 | 1252021.63 | 2745307.6342 | 1252021.8233 | 2745297.0335 | 1252024.5659 | 2745289.1604 | 1252023.2383 | 2745217.7978 | 1251971.2173 | 2745213.4967 | 1251962.4814 | 2745213.2939 | 1251939.9662
69 | 2745793.1937 | 1252419.1536 | 2745803.7158 | 1252421.868 | 2745806.2238 | 1252422.3556
70 | 2745791.5615 | 1252418.7326 | 2745793.1937 | 1252419.1536
71 | 2745857.4137 | 1252435.0466 | 2745850.4831 | 1252432.2623 | 2745836.9292 | 1252428.3249 | 2745806.2238 | 1252422.3556

## bus_geodata
| x | y | coords
0 | 2746292.543 | 1252318.185
1 | 2746257.6305 | 1252132.6461
2 | 2746294.9163 | 1252305.2535
3 | 2745990.6908 | 1252053.6212
4 | 2746306.2218 | 1252318.8212
5 | 2745695.9268 | 1252358.4038
6 | 2745678.79 | 1252324.5358
7 | 2745729.3625 | 1252431.8927
8 | 2745729.7026 | 1252434.9485
9 | 2745736.528 | 1252409.1918
10 | 2745720.9918 | 1252436.3911
11 | 2745716.8897 | 1252436.7906
12 | 2745779.5441 | 1252415.7086
13 | 2745790.1605 | 1252418.38
14 | 2745707.5617 | 1252397.5527
15 | 2745713.4446 | 1252417.1741
16 | 2745692.1354 | 1252360.9932
17 | 2745682.4127 | 1252341.8089
18 | 2745668.9146 | 1252315.7389
19 | 2745653.4529 | 1252288.5453
20 | 2745693.7474 | 1252299.4766
21 | 2745661.5123 | 1252048.7709
22 | 2745652.1393 | 1252286.7203
23 | 2745132.203 | 1251959.4424
24 | 2745661.7111 | 1252040.6903
25 | 2745653.9122 | 1252001.6726
26 | 2745712.0554 | 1251937.1852
27 | 2746044.4187 | 1251850.2477
28 | 2746031.3083 | 1251843.8608
29 | 2746062.9673 | 1251859.284
30 | 2745953.5863 | 1251943.6691
31 | 2746082.6102 | 1251847.8573
32 | 2745938.3334 | 1251987.4684
33 | 2745940.5136 | 1251930.0037
34 | 2746111.8393 | 1251851.1558
35 | 2746132.0961 | 1251837.6122
36 | 2745948.6701 | 1252155.3162
37 | 2745936.6961 | 1251926.0131
38 | 2746184.2095 | 1251832.2814
39 | 2746384.9292 | 1251699.599
40 | 2746176.4331 | 1251816.3299
41 | 2746132.3777 | 1251839.0538
42 | 2746162.245 | 1251863.714
43 | 2746369.8899 | 1251926.8373
44 | 2746397.4969 | 1251660.4166
45 | 2745439.2563 | 1251645.1504
46 | 2746363.0613 | 1251939.8486
47 | 2746284.3466 | 1251648.5443
48 | 2746329.3536 | 1251985.7186
49 | 2746340.0987 | 1251972.9211
50 | 2746325.4726 | 1251990.3409
51 | 2745461.0017 | 1251793.9921
52 | 2745930.4025 | 1252155.1791
53 | 2745933.5301 | 1252170.0573
54 | 2745925.753 | 1252143.2629
55 | 2745967.0981 | 1252077.6818
56 | 2745970.4241 | 1252061.5961
57 | 2745987.5904 | 1252040.6814
58 | 2746400.3746 | 1252220.3661
59 | 2745901.5191 | 1251880.5723
60 | 2745948.31 | 1251746.04
61 | 2746272.9885 | 1251674.5553
62 | 2746477.4393 | 1252101.0565
63 | 2746290.9113 | 1252142.2324
64 | 2746479.2794 | 1252102.2479
65 | 2746273.2797 | 1252133.7756
66 | 2745349.7649 | 1252038.2388
67 | 2745213.2939 | 1251939.9662
68 | 2746250.5266 | 1252120.6354
69 | 2745793.1937 | 1252419.1536
70 | 2745806.2238 | 1252422.3556
71 | 2745791.5615 | 1252418.7326
72 | 2745857.4137 | 1252435.0466
73 | 2745948.6701 | 1252155.3162

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1