## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3024-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3024-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3024-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3024-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3024-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3024-9_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3024-9_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_3024-9_0_3_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_3024-9_0_3_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_3024-9_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3024-9_0_3_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_3024-9_0_3_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_3024-9_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3024-9_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3024-9_0_3_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_3024-9_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3024-9_0_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_3024-9_0_3_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_3024-9_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3024-9_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_3024-9_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3024-9_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_3024-9_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3024-9_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_3024-9_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_3024-9_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_3024-9_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_3024-9_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_3024-9_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_3024-9_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_3024-9_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_3024-9_0_3_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_3024-9_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_3024-9_0_3_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_3024-9_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_3024-9_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_3024-9_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_3024-9_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_3024-9_0_3_node_91 | 0.4 | n |  | TRUE
39 | bus_LV_3024-9_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_3024-9_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_3024-9_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_3024-9_0_3_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_3024-9_0_3_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_3024-9_0_3_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_3024-9_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_3024-9_0_3_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_3024-9_0_3_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_3024-9_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_3024-9_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_3024-9_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_3024-9_0_3_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_3024-9_0_3_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_3024-9_0_3_node_93 | 0.4 | n |  | TRUE
54 | bus_LV_3024-9_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_3024-9_0_3_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_3024-9_0_3_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_3024-9_0_3_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_3024-9_0_3_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_3024-9_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_3024-9_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_3024-9_0_3_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_3024-9_0_3_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_3024-9_0_3_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_3024-9_0_3_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_3024-9_0_3_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_3024-9_0_3_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_3024-9_0_3_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_3024-9_0_3_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_3024-9_0_3_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_3024-9_0_3_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_3024-9_0_3_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_3024-9_0_3_node_86 | 0.4 | n |  | TRUE
73 | bus_LV_3024-9_0_3_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_3024-9_0_3_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_3024-9_0_3_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_3024-9_0_3_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_3024-9_0_3_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_3024-9_0_3_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_3024-9_0_3_node_247 | 0.4 | n |  | TRUE
80 | bus_LV_3024-9_0_3_node_90 | 0.4 | n |  | TRUE
81 | bus_LV_3024-9_0_3_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_3024-9_0_3_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_3024-9_0_3_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_3024-9_0_3_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_3024-9_0_3_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_3024-9_0_3_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_3024-9_0_3_node_95 | 0.4 | n |  | TRUE
88 | bus_LV_3024-9_0_3_node_96 | 0.4 | n |  | TRUE
89 | bus_LV_3024-9_0_3_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_3024-9_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_3024-9_0_3_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_3024-9_0_3_node_248 | 0.4 | n |  | TRUE
93 | bus_LV_3024-9_0_3_node_252 | 0.4 | n |  | TRUE
94 | bus_MV_41_1_node_50 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3024-9_0_3_load_0 | 0 | 0.033752 | 0.0084589 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3024-9_0_3_load_4 | 4 | 0.0051802 | 0.0012983 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3024-9_0_3_load_5 | 5 | 0.003749 | 0.00093958 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3024-9_0_3_load_32 | 7 | 0.0047563 | 0.001192 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3024-9_0_3_load_36 | 8 | 0.0042713 | 0.0010705 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3024-9_0_3_load_37 | 10 | 0.011137 | 0.0027912 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3024-9_0_3_load_35 | 11 | 0.0017046 | 0.00042721 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3024-9_0_3_load_8 | 12 | 0.0054291 | 0.0013607 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3024-9_0_3_load_29 | 14 | 0.0062523 | 0.001567 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3024-9_0_3_load_26 | 16 | 0.0045252 | 0.0011341 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3024-9_0_3_load_24 | 17 | 0.0060652 | 0.0015201 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3024-9_0_3_load_18 | 19 | 0.013931 | 0.0034915 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3024-9_0_3_load_15 | 20 | 0.0047096 | 0.0011803 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3024-9_0_3_load_16 | 21 | 0.0031946 | 0.00080064 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3024-9_0_3_load_17 | 22 | 0.0023817 | 0.00059691 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3024-9_0_3_load_19 | 23 | 0.0035653 | 0.00089354 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3024-9_0_3_load_20 | 24 | 0.0043839 | 0.0010987 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3024-9_0_3_load_22 | 26 | 0.0039596 | 0.00099238 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3024-9_0_3_load_23 | 27 | 0.0073003 | 0.0018296 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3024-9_0_3_load_25 | 28 | 0.019148 | 0.0047989 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3024-9_0_3_load_31 | 34 | 0.0021467 | 0.00053802 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3024-9_0_3_load_40 | 35 | 0.00066831 | 0.00016749 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3024-9_0_3_load_91 | 38 | 0.0035379 | 0.00088667 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3024-9_0_3_load_39 | 40 | 0.0010757 | 0.00026959 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3024-9_0_3_load_41 | 41 | 0.0014064 | 0.00035248 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3024-9_0_3_load_42 | 42 | 0.0036534 | 0.00091562 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3024-9_0_3_load_43 | 43 | 0.001216 | 0.00030475 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3024-9_0_3_load_44 | 44 | 0.0011997 | 0.00030066 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3024-9_0_3_load_46 | 45 | 0.0018224 | 0.00045675 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3024-9_0_3_load_47 | 47 | 0.003457 | 0.0008664 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3024-9_0_3_load_89 | 51 | 0.00058848 | 0.00014749 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3024-9_0_3_load_93 | 53 | 0.00045385 | 0.00011374 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3024-9_0_3_load_51 | 54 | 0.0017709 | 0.00044384 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3024-9_0_3_load_52 | 55 | 0.00054783 | 0.0001373 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3024-9_0_3_load_53 | 56 | 0.0026336 | 0.00066004 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3024-9_0_3_load_56 | 58 | 0.00055808 | 0.00013987 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3024-9_0_3_load_57 | 59 | 0.00094347 | 0.00023646 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3024-9_0_3_load_59 | 61 | 0.00032916 | 8.2495e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3024-9_0_3_load_60 | 62 | 0.0013297 | 0.00033325 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3024-9_0_3_load_71 | 63 | 0.0025993 | 0.00065145 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3024-9_0_3_load_62 | 64 | 0.0013443 | 0.00033692 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3024-9_0_3_load_70 | 66 | 0.0012139 | 0.00030423 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3024-9_0_3_load_68 | 67 | 0.00060875 | 0.00015257 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3024-9_0_3_load_64 | 68 | 0.00019329 | 4.8442e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3024-9_0_3_load_65 | 69 | 0.00085964 | 0.00021545 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3024-9_0_3_load_67 | 70 | 0.00093863 | 0.00023524 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3024-9_0_3_load_69 | 71 | 0.0004182 | 0.00010481 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3024-9_0_3_load_86 | 72 | 0.0036111 | 0.00090502 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3024-9_0_3_load_73 | 73 | 0.00054034 | 0.00013542 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3024-9_0_3_load_75 | 75 | 0.00082458 | 0.00020666 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3024-9_0_3_load_247 | 79 | 0.00034234 | 8.5798e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3024-9_0_3_load_94 | 81 | 0.00069213 | 0.00017346 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3024-9_0_3_load_78 | 82 | 0.0003826 | 9.5888e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3024-9_0_3_load_79 | 83 | 0.00056085 | 0.00014056 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3024-9_0_3_load_80 | 84 | 0.00018035 | 4.52e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3024-9_0_3_load_95 | 87 | 0.00046411 | 0.00011632 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3024-9_0_3_load_83 | 89 | 0.00035372 | 8.8649e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3024-9_0_3_load_85 | 90 | 0.00089554 | 0.00022444 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3024-9_0_3_load_87 | 91 | 0.004258 | 0.0010671 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3024-9_0_3_load_248 | 92 | 0.00085528 | 0.00021435 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3024-9_0_3_load_252 | 93 | 0.00067731 | 0.00016975 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3024-9_0_3_line_0 |  | 0 | 1 | 0.0052102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3024-9_0_3_line_1 |  | 0 | 2 | 0.0059243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3024-9_0_3_line_2 |  | 1 | 3 | 0.016714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3024-9_0_3_line_3 |  | 1 | 4 | 0.030547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3024-9_0_3_line_4 |  | 2 | 5 | 0.032596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3024-9_0_3_line_5 |  | 3 | 6 | 0.08479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3024-9_0_3_line_6 |  | 3 | 7 | 0.0042508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3024-9_0_3_line_7 |  | 4 | 8 | 0.043764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3024-9_0_3_line_8 |  | 6 | 13 | 0.079903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3024-9_0_3_line_9 |  | 6 | 12 | 0.0041155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3024-9_0_3_line_10 |  | 7 | 22 | 0.017937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3024-9_0_3_line_11 |  | 8 | 36 | 0.035282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3024-9_0_3_line_12 |  | 9 | 10 | 0.0056215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3024-9_0_3_line_13 |  | 9 | 11 | 0.054214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3024-9_0_3_line_14 |  | 10 | 39 | 0.01699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3024-9_0_3_line_15 |  | 11 | 36 | 0.012004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3024-9_0_3_line_16 |  | 13 | 14 | 0.070933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3024-9_0_3_line_17 |  | 14 | 27 | 0.011374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3024-9_0_3_line_18 |  | 15 | 16 | 0.025426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3024-9_0_3_line_19 |  | 15 | 17 | 0.016219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3024-9_0_3_line_20 |  | 16 | 30 | 0.018865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3024-9_0_3_line_21 |  | 17 | 28 | 0.028284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3024-9_0_3_line_22 |  | 18 | 19 | 0.045734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3024-9_0_3_line_23 |  | 18 | 20 | 0.025882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3024-9_0_3_line_24 |  | 20 | 21 | 0.016286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3024-9_0_3_line_25 |  | 21 | 22 | 0.013253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3024-9_0_3_line_26 |  | 23 | 24 | 0.0050611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3024-9_0_3_line_27 |  | 23 | 25 | 0.017782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3024-9_0_3_line_28 |  | 25 | 26 | 0.008018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3024-9_0_3_line_29 |  | 25 | 27 | 0.0049279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3024-9_0_3_line_30 |  | 28 | 29 | 0.01261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3024-9_0_3_line_31 |  | 29 | 31 | 0.018598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3024-9_0_3_line_32 |  | 30 | 34 | 0.020035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3024-9_0_3_line_33 |  | 31 | 45 | 0.098831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3024-9_0_3_line_34 |  | 31 | 32 | 0.009877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3024-9_0_3_line_35 |  | 31 | 44 | 0.0089331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3024-9_0_3_line_36 |  | 32 | 33 | 0.052056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3024-9_0_3_line_37 |  | 33 | 57 | 0.11897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3024-9_0_3_line_38 |  | 33 | 55 | 0.22947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3024-9_0_3_line_39 |  | 34 | 35 | 0.039002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3024-9_0_3_line_40 |  | 35 | 39 | 0.039809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_3024-9_0_3_line_41 |  | 36 | 37 | 0.34335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3024-9_0_3_line_42 |  | 37 | 38 | 0.24815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3024-9_0_3_line_43 |  | 39 | 40 | 0.02361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3024-9_0_3_line_44 |  | 41 | 42 | 0.016368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3024-9_0_3_line_45 |  | 41 | 43 | 0.0091884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3024-9_0_3_line_46 |  | 42 | 44 | 0.015997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3024-9_0_3_line_47 |  | 45 | 46 | 0.039015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3024-9_0_3_line_48 |  | 46 | 60 | 0.008016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3024-9_0_3_line_49 |  | 47 | 48 | 0.04971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3024-9_0_3_line_50 |  | 48 | 49 | 0.084587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3024-9_0_3_line_51 |  | 48 | 50 | 0.005283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3024-9_0_3_line_52 |  | 49 | 51 | 0.016932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3024-9_0_3_line_53 |  | 50 | 52 | 0.14111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3024-9_0_3_line_54 |  | 50 | 53 | 0.13767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3024-9_0_3_line_55 |  | 52 | 70 | 0.0057965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3024-9_0_3_line_56 |  | 52 | 68 | 0.21184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3024-9_0_3_line_57 |  | 53 | 81 | 0.041266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3024-9_0_3_line_58 |  | 54 | 55 | 0.0057809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3024-9_0_3_line_59 |  | 54 | 56 | 0.024088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3024-9_0_3_line_60 |  | 57 | 72 | 0.033903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3024-9_0_3_line_61 |  | 58 | 59 | 0.062595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3024-9_0_3_line_62 |  | 58 | 60 | 0.023798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3024-9_0_3_line_63 |  | 59 | 61 | 0.13118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3024-9_0_3_line_64 |  | 60 | 62 | 0.065235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3024-9_0_3_line_65 |  | 61 | 63 | 0.00055931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3024-9_0_3_line_66 |  | 62 | 64 | 0.011315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3024-9_0_3_line_67 |  | 64 | 65 | 0.1351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3024-9_0_3_line_68 |  | 65 | 66 | 0.10034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3024-9_0_3_line_69 |  | 65 | 67 | 0.07212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3024-9_0_3_line_70 |  | 66 | 70 | 0.011188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3024-9_0_3_line_71 |  | 67 | 71 | 0.16416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3024-9_0_3_line_72 |  | 68 | 69 | 0.01946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3024-9_0_3_line_73 |  | 72 | 91 | 0.013178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3024-9_0_3_line_74 |  | 73 | 74 | 0.012564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3024-9_0_3_line_75 |  | 74 | 75 | 0.0050362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3024-9_0_3_line_76 |  | 74 | 76 | 0.033731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3024-9_0_3_line_77 |  | 76 | 80 | 0.15748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3024-9_0_3_line_78 |  | 76 | 81 | 0.10527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3024-9_0_3_line_79 |  | 76 | 77 | 0.29952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3024-9_0_3_line_80 |  | 77 | 78 | 0.027568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3024-9_0_3_line_81 |  | 77 | 79 | 0.11004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3024-9_0_3_line_82 |  | 78 | 90 | 0.0098309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3024-9_0_3_line_83 |  | 78 | 89 | 0.0075704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3024-9_0_3_line_84 |  | 80 | 92 | 0.090591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3024-9_0_3_line_85 |  | 80 | 85 | 0.019063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3024-9_0_3_line_86 |  | 82 | 83 | 0.017776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3024-9_0_3_line_87 |  | 82 | 84 | 0.16241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3024-9_0_3_line_88 |  | 83 | 85 | 0.0055178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3024-9_0_3_line_89 |  | 84 | 86 | 0.067323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3024-9_0_3_line_90 |  | 86 | 87 | 0.033516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3024-9_0_3_line_91 |  | 86 | 88 | 0.043541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3024-9_0_3_line_92 |  | 88 | 93 | 0.014362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3024-9_0_3_trafo_40 | 0.63 MVA 20/0.4 kV | 94 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2747549.3139 | 1250300.3625 | 2747553.1345 | 1250296.82
1 | 2747557.4787 | 1250292.7919 | 2747553.1345 | 1250296.82
2 | 2747538.8977 | 1250313.4157 | 2747540.575 | 1250310.6659 | 2747549.3139 | 1250300.3625
3 | 2747549.3139 | 1250300.3625 | 2747554.6627 | 1250301.5301 | 2747576.3051 | 1250314.1889
4 | 2747557.4787 | 1250292.7919 | 2747573.7532 | 1250266.5276 | 2747575.2158 | 1250267.3912
5 | 2747499.0578 | 1250312.0895 | 2747504.0521 | 1250311.1128 | 2747501.9315 | 1250306.489 | 2747500.225 | 1250304.0442 | 2747504.7797 | 1250301.3105 | 2747509.2421 | 1250298.6412 | 2747513.0817 | 1250291.8637 | 2747511.7814 | 1250287.0601 | 2747518.8759 | 1250286.3693 | 2747521.7665 | 1250287.9761 | 2747526.1698 | 1250290.4102 | 2747521.4167 | 1250300.5016 | 2747535.4564 | 1250310.872 | 2747538.8977 | 1250313.4157
6 | 2747538.8977 | 1250313.4157 | 2747536.7164 | 1250317.0641
7 | 2747614.0814 | 1250336.2844 | 2747576.3051 | 1250314.1889
8 | 2747458.0015 | 1250256.1813 | 2747454.4239 | 1250263.3547 | 2747453.4473 | 1250265.2656 | 2747459.4252 | 1250266.9492 | 2747461.1391 | 1250272.7418 | 2747462.9368 | 1250278.8034 | 2747464.17 | 1250282.9714 | 2747468.7495 | 1250283.7861 | 2747474.9297 | 1250287.0541 | 2747481.0637 | 1250292.1783 | 2747495.9822 | 1250306.085 | 2747497.9254 | 1250309.0362 | 2747499.0578 | 1250312.0895
9 | 2747499.0578 | 1250312.0895 | 2747499.251 | 1250314.6412 | 2747499.1069 | 1250316.191
10 | 2747536.7164 | 1250317.0641 | 2747527.5122 | 1250332.4589
11 | 2747644.2024 | 1250354.655 | 2747617.2643 | 1250338.146 | 2747614.0814 | 1250336.2844
12 | 2747635.1064 | 1250301.7224 | 2747638.0575 | 1250296.9378
13 | 2747635.1064 | 1250301.7224 | 2747626.3947 | 1250316.6863 | 2747622.6633 | 1250323.055 | 2747638.5846 | 1250332.1714 | 2747641.2926 | 1250343.0094
14 | 2747646.9764 | 1250282.4774 | 2747638.0575 | 1250296.9378
15 | 2747644.2024 | 1250354.655 | 2747641.2926 | 1250343.0094
16 | 2747458.0015 | 1250256.1813 | 2747463.4821 | 1250256.9072 | 2747469.7381 | 1250254.7052 | 2747483.5721 | 1250246.0523 | 2747500.4208 | 1250227.654 | 2747501.0564 | 1250213.3562 | 2747499.8691 | 1250210.3897
17 | 2747499.8691 | 1250210.3897 | 2747497.9135 | 1250205.5039 | 2747492.7686 | 1250202.2048
18 | 2747563.8367 | 1250201.6299 | 2747570.538 | 1250203.6876 | 2747585.0159 | 1250207.3961 | 2747588.4854 | 1250207.4825
19 | 2747563.8367 | 1250201.6299 | 2747573.3688 | 1250188.5082
20 | 2747607.3445 | 1250207.9526 | 2747588.4854 | 1250207.4825
21 | 2747589.9922 | 1250165.6246 | 2747573.3688 | 1250188.5082
22 | 2747498.6409 | 1250379.7659 | 2747503.1048 | 1250382.1904 | 2747538.5188 | 1250402.1561
23 | 2747498.6409 | 1250379.7659 | 2747512.1306 | 1250357.6769
24 | 2747512.1306 | 1250357.6769 | 2747520.6189 | 1250343.7776
25 | 2747527.5122 | 1250332.4589 | 2747526.6261 | 1250333.9409 | 2747520.6189 | 1250343.7776
26 | 2747473.3989 | 1250215.383 | 2747474.6335 | 1250214.333 | 2747476.3838 | 1250211.3711
27 | 2747488.6203 | 1250199.5447 | 2747481.3047 | 1250203.0438 | 2747476.3838 | 1250211.3711
28 | 2747488.6203 | 1250199.5447 | 2747482.8417 | 1250193.9863
29 | 2747488.6203 | 1250199.5447 | 2747492.7686 | 1250202.2048
30 | 2747601.4717 | 1250170.8376 | 2747595.9947 | 1250167.8428 | 2747589.9922 | 1250165.6246
31 | 2747612.4954 | 1250155.8534 | 2747611.5026 | 1250156.8964 | 2747601.4717 | 1250170.8376
32 | 2747607.3445 | 1250207.9526 | 2747625.9315 | 1250214.0769 | 2747626.3544 | 1250214.2711
33 | 2747612.4954 | 1250155.8534 | 2747623.0647 | 1250147.5865 | 2747637.6135 | 1250142.0881 | 2747659.1571 | 1250134.7622 | 2747668.0032 | 1250133.5036 | 2747683.1935 | 1250138.3311 | 2747697.454 | 1250143.4914 | 2747704.2041 | 1250145.5752
34 | 2747604.5608 | 1250149.9391 | 2747609.8555 | 1250153.8858 | 2747612.4954 | 1250155.8534
35 | 2747612.4954 | 1250155.8534 | 2747619.1655 | 1250161.7957
36 | 2747604.5608 | 1250149.9391 | 2747631.1999 | 1250130.306 | 2747648.0619 | 1250121.4064
37 | 2747719.9912 | 1250047.5838 | 2747716.1669 | 1250054.6396 | 2747709.351 | 1250061.7098 | 2747702.9875 | 1250068.5133 | 2747694.9864 | 1250076.466 | 2747686.0934 | 1250085.3529 | 2747678.6681 | 1250088.393 | 2747667.8529 | 1250090.1585 | 2747656.5855 | 1250091.2789 | 2747649.3093 | 1250094.4006 | 2747645.2655 | 1250098.4482 | 2747643.6367 | 1250103.7905 | 2747643.4589 | 1250110.3145 | 2747645.5091 | 1250116.8496 | 2747648.0619 | 1250121.4064
38 | 2747648.0619 | 1250121.4064 | 2747677.1485 | 1250108.7412 | 2747702.6753 | 1250096.7769 | 2747721.2752 | 1250083.3165 | 2747736.8266 | 1250068.223 | 2747747.2964 | 1250056.0835 | 2747759.2762 | 1250037.9204 | 2747771.1915 | 1250016.5971 | 2747780.2234 | 1249995.1907 | 2747789.6805 | 1249969.1572 | 2747792.414 | 1249957.7038
39 | 2747626.3544 | 1250214.2711 | 2747635.7889 | 1250218.6045 | 2747642.2453 | 1250228.3635 | 2747647.2422 | 1250244.5273
40 | 2747646.9764 | 1250282.4774 | 2747644.2517 | 1250272.0997 | 2747650.3601 | 1250254.6129 | 2747647.2422 | 1250244.5273
41 | 2747644.2024 | 1250354.655 | 2747667.8002 | 1250369.1122 | 2747693.0028 | 1250387.0573 | 2747700.0339 | 1250394.9623 | 2747705.1881 | 1250404.8335 | 2747717.278 | 1250429.7586 | 2747728.2977 | 1250451.8654 | 2747735.3896 | 1250462.7748 | 2747759.7516 | 1250498.038 | 2747783.9158 | 1250540.9148 | 2747786.7933 | 1250548.4826 | 2747794.9498 | 1250555.7708 | 2747802.9016 | 1250560.6626 | 2747815.8326 | 1250563.6658 | 2747828.8066 | 1250569.1835 | 2747841.3324 | 1250577.8264 | 2747855.2688 | 1250591.3759 | 2747861.9692 | 1250604.9449
42 | 2747861.9692 | 1250604.9449 | 2747872.5734 | 1250610.0811 | 2747881.8809 | 1250611.1921 | 2747894.1294 | 1250609.4628 | 2747919.5157 | 1250603.3571 | 2747942.1047 | 1250602.8093 | 2747958.2961 | 1250604.9934 | 2747973.351 | 1250609.4401 | 2747989.7033 | 1250614.253 | 2748001.7754 | 1250615.9561 | 2748015.6916 | 1250613.6792 | 2748026.8219 | 1250606.2278 | 2748052.8457 | 1250580.6756 | 2748066.0576 | 1250569.4171 | 2748076.9738 | 1250563.284 | 2748086.7366 | 1250558.6628
43 | 2747646.9764 | 1250282.4774 | 2747655.1816 | 1250282.682 | 2747668.4708 | 1250290.4688
44 | 2747641.2307 | 1250185.1309 | 2747636.8929 | 1250180.3845 | 2747635.4222 | 1250178.7796 | 2747632.7492 | 1250173.8973 | 2747631.1102 | 1250172.437
45 | 2747647.4293 | 1250191.9135 | 2747641.2307 | 1250185.1309
46 | 2747619.1655 | 1250161.7957 | 2747631.1102 | 1250172.437
47 | 2747741.6571 | 1250150.7221 | 2747732.4763 | 1250153.5849 | 2747721.9497 | 1250151.0535 | 2747704.2041 | 1250145.5752
48 | 2747746.0134 | 1250157.4594 | 2747741.6571 | 1250150.7221
49 | 2748035.5162 | 1250006.761 | 2748029.8975 | 1250002.4833 | 2748009.8541 | 1249982.0855 | 2747996.8865 | 1249987.4954
50 | 2748098.7762 | 1249950.621 | 2748048.927 | 1249992.1264 | 2748035.5162 | 1250006.761
51 | 2748035.5162 | 1250006.761 | 2748036.9146 | 1250011.8564
52 | 2748098.7762 | 1249950.621 | 2748111.6103 | 1249939.5771
53 | 2747938.0057 | 1250079.3958 | 2747958.6398 | 1250074.94 | 2747988.633 | 1250071.3742 | 2748013.5471 | 1250065.8243 | 2748026.808 | 1250058.9934 | 2748030.352 | 1250051.3858 | 2748030.5365 | 1250044.0055 | 2748030.0269 | 1250027.2212 | 2748032.1595 | 1250019.2669 | 2748036.9146 | 1250011.8564
54 | 2748036.9146 | 1250011.8564 | 2748044.3904 | 1250009.83 | 2748060.4579 | 1250009.7869 | 2748136.726 | 1250016.4321 | 2748158.7809 | 1250017.3954 | 2748171.3636 | 1250017.1541 | 2748173.9826 | 1250016.8582
55 | 2747938.0057 | 1250079.3958 | 2747932.2393 | 1250079.9861
56 | 2747938.0057 | 1250079.3958 | 2747959.2485 | 1250088.368 | 2747981.5792 | 1250106.9988 | 2748022.6357 | 1250121.9604 | 2748063.3206 | 1250123.378 | 2748078.976 | 1250129.2302 | 2748107.3725 | 1250152.3507 | 2748125.6627 | 1250164.5063
57 | 2748173.9826 | 1250016.8582 | 2748196.5882 | 1250014.3042 | 2748209.6348 | 1250014.5418 | 2748215.0165 | 1250015.5103
58 | 2747793.756 | 1249952.0808 | 2747792.414 | 1249957.7038
59 | 2747793.756 | 1249952.0808 | 2747799.3478 | 1249928.6509
60 | 2747719.9912 | 1250047.5838 | 2747718.8702 | 1250041.3499 | 2747716.6852 | 1250034.4666 | 2747712.6087 | 1250029.527 | 2747705.6278 | 1250023.2248 | 2747701.6512 | 1250021.039
61 | 2747747.3839 | 1250181.0864 | 2747747.8755 | 1250185.4547 | 2747749.2514 | 1250209.6232 | 2747751.0815 | 1250219.2224 | 2747755.79 | 1250228.4931 | 2747762.0638 | 1250234.6665 | 2747766.1532 | 1250237.577
62 | 2747746.0134 | 1250157.4594 | 2747745.285 | 1250162.4348 | 2747747.3839 | 1250181.0864
63 | 2747859.9734 | 1250328.0576 | 2747809.312 | 1250285.0927 | 2747787.6941 | 1250256.6709 | 2747783.5841 | 1250250.963 | 2747777.9827 | 1250245.9964 | 2747766.1532 | 1250237.577
64 | 2747746.0134 | 1250157.4594 | 2747751.5022 | 1250159.3758 | 2747772.5933 | 1250172.0025 | 2747781.8832 | 1250181.1095 | 2747789.1679 | 1250190.0552 | 2747795.3203 | 1250198.3083
65 | 2747859.9734 | 1250328.0576 | 2747860.3999 | 1250328.4194
66 | 2747795.3203 | 1250198.3083 | 2747800.5474 | 1250205.3202 | 2747802.4617 | 1250207.0332
67 | 2747883.1355 | 1250142.0865 | 2747884.5855 | 1250155.402 | 2747882.0741 | 1250172.7893 | 2747877.9299 | 1250184.7862 | 2747870.1995 | 1250197.9281 | 2747858.7837 | 1250209.2319 | 2747849.0319 | 1250214.0933 | 2747837.1098 | 1250216.3314 | 2747823.398 | 1250216.1337 | 2747808.0908 | 1250212.0703 | 2747802.4617 | 1250207.0332
68 | 2747883.1355 | 1250142.0865 | 2747874.4219 | 1250116.5558 | 2747872.9808 | 1250103.4852 | 2747876.6643 | 1250092.7001 | 2747881.4835 | 1250086.9482 | 2747890.1487 | 1250081.448 | 2747899.3738 | 1250080.1436 | 2747921.0988 | 1250080.8169
69 | 2747883.1355 | 1250142.0865 | 2747904.2783 | 1250155.9606 | 2747931.774 | 1250182.5054 | 2747939.3641 | 1250186.5768
70 | 2747921.0988 | 1250080.8169 | 2747923.4205 | 1250080.8888 | 2747932.2393 | 1250079.9861
71 | 2747939.3641 | 1250186.5768 | 2747962.9591 | 1250199.2331 | 2747975.5174 | 1250199.3467 | 2747988.5439 | 1250197.0475 | 2748009.8734 | 1250202.8301 | 2748047.2021 | 1250225.1726 | 2748065.2256 | 1250257.7428 | 2748072.1555 | 1250263.1198
72 | 2748125.6627 | 1250164.5063 | 2748129.4912 | 1250167.0508 | 2748130.0733 | 1250181.9025
73 | 2747701.6512 | 1250021.039 | 2747697.7219 | 1250018.8792 | 2747690.2963 | 1250014.3566
74 | 2748309.8559 | 1250036.5362 | 2748309.3257 | 1250041.1162 | 2748304.2658 | 1250047.2529
75 | 2748309.8559 | 1250036.5362 | 2748313.6486 | 1250039.8496
76 | 2748309.8559 | 1250036.5362 | 2748307.1466 | 1250027.6933 | 2748308.7837 | 1250019.026 | 2748318.5623 | 1250006.7923
77 | 2748318.5623 | 1250006.7923 | 2748321.2828 | 1250005.537 | 2748363.0342 | 1249986.13 | 2748393.3472 | 1249974.6556 | 2748411.7847 | 1249969.2676 | 2748425.9649 | 1249961.6487 | 2748443.2287 | 1249949.7474 | 2748446.5097 | 1249969.226
78 | 2748318.5623 | 1250006.7923 | 2748290.02 | 1250014.8303 | 2748246.4719 | 1250019.7346 | 2748234.4723 | 1250019.0116 | 2748215.0165 | 1250015.5103
79 | 2748318.5623 | 1250006.7923 | 2748308.7837 | 1250019.026 | 2748296.1877 | 1250025.5282 | 2748289.1979 | 1250031.0697 | 2748281.9052 | 1250037.8493 | 2748275.8063 | 1250047.0277 | 2748259.6809 | 1250077.1421 | 2748256.6614 | 1250086.1196 | 2748255.8659 | 1250095.5643 | 2748257.6473 | 1250108.2876 | 2748260.7442 | 1250118.5416 | 2748267.7935 | 1250132.6425 | 2748299.7229 | 1250185.6809 | 2748302.3694 | 1250191.5972 | 2748305.463 | 1250201.9845 | 2748309.3771 | 1250213.082 | 2748314.6278 | 1250220.8764 | 2748322.5356 | 1250228.7373 | 2748351.4958 | 1250249.8045
80 | 2748351.4958 | 1250249.8045 | 2748356.3161 | 1250270.5561 | 2748359.9572 | 1250275.6632
81 | 2748351.4958 | 1250249.8045 | 2748379.6138 | 1250264.9895 | 2748387.5215 | 1250267.4231 | 2748395.1913 | 1250267.8934 | 2748403.3223 | 1250266.8404 | 2748424.8628 | 1250265.9901 | 2748430.5504 | 1250267.8009 | 2748447.444 | 1250279.3684 | 2748452.3516 | 1250282.6905
82 | 2748359.9572 | 1250275.6632 | 2748367.8618 | 1250281.5083
83 | 2748359.9572 | 1250275.6632 | 2748361.448 | 1250283.0854
84 | 2748446.5097 | 1249969.226 | 2748457.4653 | 1249975.1394 | 2748463.0269 | 1249976.2575 | 2748509.3675 | 1249978.3982 | 2748515.896 | 1249979.8187 | 2748521.9817 | 1249982.3291 | 2748525.4105 | 1249985.0621 | 2748526.8659 | 1249988.1682 | 2748525.8258 | 1249990.7891 | 2748523.4373 | 1249991.1518
85 | 2748446.5097 | 1249969.226 | 2748449.6793 | 1249988.0234
86 | 2748461.6294 | 1250003.3442 | 2748451.8884 | 1250001.1468 | 2748450.5952 | 1249993.4647
87 | 2748461.6294 | 1250003.3442 | 2748473.5203 | 1250006.0266 | 2748513.7839 | 1250023.0738 | 2748582.3294 | 1250056.6126 | 2748591.5504 | 1250062.4049 | 2748595.3267 | 1250066.9372 | 2748597.6464 | 1250070.8213 | 2748600.0454 | 1250079.3674
88 | 2748449.6793 | 1249988.0234 | 2748450.5952 | 1249993.4647
89 | 2748572.0225 | 1250138.655 | 2748573.1484 | 1250135.0242 | 2748583.8337 | 1250121.5903 | 2748590.1771 | 1250112.6185 | 2748595.3852 | 1250104.0409 | 2748598.1383 | 1250096.0689 | 2748600.002 | 1250087.4185 | 2748600.0454 | 1250079.3674 | 2748600.0454 | 1250079.3674
90 | 2748572.0225 | 1250138.655 | 2748561.6583 | 1250136.2819 | 2748551.8963 | 1250132.4891 | 2748540.7216 | 1250126.8926
91 | 2748572.0225 | 1250138.655 | 2748574.4269 | 1250143.6757 | 2748577.5708 | 1250147.5248 | 2748596.1658 | 1250165.6416 | 2748601.3797 | 1250170.3769
92 | 2748601.3797 | 1250170.3769 | 2748597.915 | 1250176.9074 | 2748597.1745 | 1250183.8399

## bus_geodata
| x | y | coords
0 | 2747553.1345 | 1250296.82
1 | 2747549.3139 | 1250300.3625
2 | 2747557.4787 | 1250292.7919
3 | 2747538.8977 | 1250313.4157
4 | 2747576.3051 | 1250314.1889
5 | 2747575.2158 | 1250267.3912
6 | 2747499.0578 | 1250312.0895
7 | 2747536.7164 | 1250317.0641
8 | 2747614.0814 | 1250336.2844
9 | 2747635.1064 | 1250301.7224
10 | 2747638.0575 | 1250296.9378
11 | 2747641.2926 | 1250343.0094
12 | 2747499.1069 | 1250316.191
13 | 2747458.0015 | 1250256.1813
14 | 2747499.8691 | 1250210.3897
15 | 2747563.8367 | 1250201.6299
16 | 2747588.4854 | 1250207.4825
17 | 2747573.3688 | 1250188.5082
18 | 2747498.6409 | 1250379.7659
19 | 2747538.5188 | 1250402.1561
20 | 2747512.1306 | 1250357.6769
21 | 2747520.6189 | 1250343.7776
22 | 2747527.5122 | 1250332.4589
23 | 2747476.3838 | 1250211.3711
24 | 2747473.3989 | 1250215.383
25 | 2747488.6203 | 1250199.5447
26 | 2747482.8417 | 1250193.9863
27 | 2747492.7686 | 1250202.2048
28 | 2747589.9922 | 1250165.6246
29 | 2747601.4717 | 1250170.8376
30 | 2747607.3445 | 1250207.9526
31 | 2747612.4954 | 1250155.8534
32 | 2747604.5608 | 1250149.9391
33 | 2747648.0619 | 1250121.4064
34 | 2747626.3544 | 1250214.2711
35 | 2747647.2422 | 1250244.5273
36 | 2747644.2024 | 1250354.655
37 | 2747861.9692 | 1250604.9449
38 | 2748086.7366 | 1250558.6628
39 | 2747646.9764 | 1250282.4774
40 | 2747668.4708 | 1250290.4688
41 | 2747641.2307 | 1250185.1309
42 | 2747631.1102 | 1250172.437
43 | 2747647.4293 | 1250191.9135
44 | 2747619.1655 | 1250161.7957
45 | 2747704.2041 | 1250145.5752
46 | 2747741.6571 | 1250150.7221
47 | 2747996.8865 | 1249987.4954
48 | 2748035.5162 | 1250006.761
49 | 2748098.7762 | 1249950.621
50 | 2748036.9146 | 1250011.8564
51 | 2748111.6103 | 1249939.5771
52 | 2747938.0057 | 1250079.3958
53 | 2748173.9826 | 1250016.8582
54 | 2747793.756 | 1249952.0808
55 | 2747792.414 | 1249957.7038
56 | 2747799.3478 | 1249928.6509
57 | 2747719.9912 | 1250047.5838
58 | 2747747.3839 | 1250181.0864
59 | 2747766.1532 | 1250237.577
60 | 2747746.0134 | 1250157.4594
61 | 2747859.9734 | 1250328.0576
62 | 2747795.3203 | 1250198.3083
63 | 2747860.3999 | 1250328.4194
64 | 2747802.4617 | 1250207.0332
65 | 2747883.1355 | 1250142.0865
66 | 2747921.0988 | 1250080.8169
67 | 2747939.3641 | 1250186.5768
68 | 2748125.6627 | 1250164.5063
69 | 2748130.0733 | 1250181.9025
70 | 2747932.2393 | 1250079.9861
71 | 2748072.1555 | 1250263.1198
72 | 2747701.6512 | 1250021.039
73 | 2748304.2658 | 1250047.2529
74 | 2748309.8559 | 1250036.5362
75 | 2748313.6486 | 1250039.8496
76 | 2748318.5623 | 1250006.7923
77 | 2748351.4958 | 1250249.8045
78 | 2748359.9572 | 1250275.6632
79 | 2748452.3516 | 1250282.6905
80 | 2748446.5097 | 1249969.226
81 | 2748215.0165 | 1250015.5103
82 | 2748461.6294 | 1250003.3442
83 | 2748450.5952 | 1249993.4647
84 | 2748600.0454 | 1250079.3674
85 | 2748449.6793 | 1249988.0234
86 | 2748572.0225 | 1250138.655
87 | 2748540.7216 | 1250126.8926
88 | 2748601.3797 | 1250170.3769
89 | 2748361.448 | 1250283.0854
90 | 2748367.8618 | 1250281.5083
91 | 2747690.2963 | 1250014.3566
92 | 2748523.4373 | 1249991.1518
93 | 2748597.1745 | 1250183.8399
94 | 2747646.9764 | 1250282.4774

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1