## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3025-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3025-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3025-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3025-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3025-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3025-1_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3025-1_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3025-1_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3025-1_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3025-1_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_3025-1_0_3_node_125 | 0.4 | n |  | TRUE
11 | bus_LV_3025-1_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3025-1_0_3_node_166 | 0.4 | n |  | TRUE
13 | bus_LV_3025-1_0_3_node_167 | 0.4 | n |  | TRUE
14 | bus_LV_3025-1_0_3_node_170 | 0.4 | n |  | TRUE
15 | bus_LV_3025-1_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3025-1_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3025-1_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3025-1_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_3025-1_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_3025-1_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_3025-1_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_3025-1_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_3025-1_0_3_node_108 | 0.4 | n |  | TRUE
24 | bus_LV_3025-1_0_3_node_105 | 0.4 | n |  | TRUE
25 | bus_LV_3025-1_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_3025-1_0_3_node_104 | 0.4 | n |  | TRUE
27 | bus_LV_3025-1_0_3_node_175 | 0.4 | n |  | TRUE
28 | bus_LV_3025-1_0_3_node_101 | 0.4 | n |  | TRUE
29 | bus_LV_3025-1_0_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_3025-1_0_3_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_3025-1_0_3_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_3025-1_0_3_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_3025-1_0_3_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_3025-1_0_3_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_3025-1_0_3_node_116 | 0.4 | n |  | TRUE
36 | bus_LV_3025-1_0_3_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_3025-1_0_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_3025-1_0_3_node_182 | 0.4 | n |  | TRUE
39 | bus_LV_3025-1_0_3_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_3025-1_0_3_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_3025-1_0_3_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_3025-1_0_3_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_3025-1_0_3_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_3025-1_0_3_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_3025-1_0_3_node_103 | 0.4 | n |  | TRUE
46 | bus_LV_3025-1_0_3_node_113 | 0.4 | n |  | TRUE
47 | bus_LV_3025-1_0_3_node_106 | 0.4 | n |  | TRUE
48 | bus_LV_3025-1_0_3_node_107 | 0.4 | n |  | TRUE
49 | bus_LV_3025-1_0_3_node_109 | 0.4 | n |  | TRUE
50 | bus_LV_3025-1_0_3_node_110 | 0.4 | n |  | TRUE
51 | bus_LV_3025-1_0_3_node_111 | 0.4 | n |  | TRUE
52 | bus_LV_3025-1_0_3_node_112 | 0.4 | n |  | TRUE
53 | bus_LV_3025-1_0_3_node_114 | 0.4 | n |  | TRUE
54 | bus_LV_3025-1_0_3_node_115 | 0.4 | n |  | TRUE
55 | bus_LV_3025-1_0_3_node_117 | 0.4 | n |  | TRUE
56 | bus_LV_3025-1_0_3_node_118 | 0.4 | n |  | TRUE
57 | bus_LV_3025-1_0_3_node_119 | 0.4 | n |  | TRUE
58 | bus_LV_3025-1_0_3_node_120 | 0.4 | n |  | TRUE
59 | bus_LV_3025-1_0_3_node_121 | 0.4 | n |  | TRUE
60 | bus_LV_3025-1_0_3_node_122 | 0.4 | n |  | TRUE
61 | bus_LV_3025-1_0_3_node_123 | 0.4 | n |  | TRUE
62 | bus_LV_3025-1_0_3_node_124 | 0.4 | n |  | TRUE
63 | bus_LV_3025-1_0_3_node_135 | 0.4 | n |  | TRUE
64 | bus_LV_3025-1_0_3_node_126 | 0.4 | n |  | TRUE
65 | bus_LV_3025-1_0_3_node_127 | 0.4 | n |  | TRUE
66 | bus_LV_3025-1_0_3_node_128 | 0.4 | n |  | TRUE
67 | bus_LV_3025-1_0_3_node_129 | 0.4 | n |  | TRUE
68 | bus_LV_3025-1_0_3_node_130 | 0.4 | n |  | TRUE
69 | bus_LV_3025-1_0_3_node_134 | 0.4 | n |  | TRUE
70 | bus_LV_3025-1_0_3_node_131 | 0.4 | n |  | TRUE
71 | bus_LV_3025-1_0_3_node_132 | 0.4 | n |  | TRUE
72 | bus_LV_3025-1_0_3_node_133 | 0.4 | n |  | TRUE
73 | bus_LV_3025-1_0_3_node_136 | 0.4 | n |  | TRUE
74 | bus_LV_3025-1_0_3_node_185 | 0.4 | n |  | TRUE
75 | bus_LV_3025-1_0_3_node_168 | 0.4 | n |  | TRUE
76 | bus_LV_3025-1_0_3_node_169 | 0.4 | n |  | TRUE
77 | bus_LV_3025-1_0_3_node_174 | 0.4 | n |  | TRUE
78 | bus_LV_3025-1_0_3_node_176 | 0.4 | n |  | TRUE
79 | bus_LV_3025-1_0_3_node_171 | 0.4 | n |  | TRUE
80 | bus_LV_3025-1_0_3_node_172 | 0.4 | n |  | TRUE
81 | bus_LV_3025-1_0_3_node_173 | 0.4 | n |  | TRUE
82 | bus_LV_3025-1_0_3_node_177 | 0.4 | n |  | TRUE
83 | bus_LV_3025-1_0_3_node_178 | 0.4 | n |  | TRUE
84 | bus_LV_3025-1_0_3_node_179 | 0.4 | n |  | TRUE
85 | bus_LV_3025-1_0_3_node_180 | 0.4 | n |  | TRUE
86 | bus_LV_3025-1_0_3_node_183 | 0.4 | n |  | TRUE
87 | bus_LV_3025-1_0_3_node_184 | 0.4 | n |  | TRUE
88 | bus_MV_41_0_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3025-1_0_3_load_0 | 0 | 0.0014733 | 0.00036924 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3025-1_0_3_load_3 | 3 | 0.0028748 | 0.00072049 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3025-1_0_3_load_4 | 4 | 0.0019031 | 0.00047696 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3025-1_0_3_load_5 | 5 | 0.00079233 | 0.00019858 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3025-1_0_3_load_6 | 6 | 0.000193 | 4.8371e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3025-1_0_3_load_7 | 7 | 0.0025927 | 0.0006498 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3025-1_0_3_load_8 | 8 | 0.0040248 | 0.0010087 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3025-1_0_3_load_10 | 9 | 0.00089573 | 0.00022449 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3025-1_0_3_load_125 | 10 | 0.0046313 | 0.0011607 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3025-1_0_3_load_166 | 12 | 0.001394 | 0.00034936 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3025-1_0_3_load_167 | 13 | 0.0015747 | 0.00039466 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3025-1_0_3_load_170 | 14 | 0.0015362 | 0.00038502 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3025-1_0_3_load_11 | 15 | 0.014377 | 0.0036032 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3025-1_0_3_load_12 | 16 | 0.018648 | 0.0046736 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3025-1_0_3_load_13 | 17 | 0.0041537 | 0.001041 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3025-1_0_3_load_16 | 21 | 0.001067 | 0.00026741 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3025-1_0_3_load_20 | 22 | 0.0025391 | 0.00063637 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3025-1_0_3_load_108 | 23 | 0.0041538 | 0.001041 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3025-1_0_3_load_105 | 24 | 0.0063775 | 0.0015983 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3025-1_0_3_load_104 | 26 | 0.0042637 | 0.0010686 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3025-1_0_3_load_175 | 27 | 0.0076306 | 0.0019124 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3025-1_0_3_load_101 | 28 | 0.031293 | 0.0078427 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3025-1_0_3_load_38 | 29 | 0.0023515 | 0.00058933 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3025-1_0_3_load_39 | 30 | 0.0011251 | 0.00028199 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3025-1_0_3_load_43 | 31 | 0.0019897 | 0.00049868 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3025-1_0_3_load_116 | 35 | 0.0047541 | 0.0011915 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3025-1_0_3_load_45 | 36 | 0.0024756 | 0.00062044 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3025-1_0_3_load_54 | 39 | 0.00067351 | 0.0001688 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3025-1_0_3_load_57 | 41 | 0.0044715 | 0.0011207 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3025-1_0_3_load_59 | 42 | 0.00090207 | 0.00022608 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3025-1_0_3_load_61 | 43 | 0.00038547 | 9.6608e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3025-1_0_3_load_62 | 44 | 0.00066453 | 0.00016655 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3025-1_0_3_load_106 | 47 | 0.0057715 | 0.0014465 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3025-1_0_3_load_107 | 48 | 0.0025591 | 0.00064136 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3025-1_0_3_load_109 | 49 | 0.010476 | 0.0026256 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3025-1_0_3_load_110 | 50 | 0.0060846 | 0.0015249 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3025-1_0_3_load_111 | 51 | 0.0057997 | 0.0014536 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3025-1_0_3_load_112 | 52 | 0.0077889 | 0.0019521 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3025-1_0_3_load_114 | 53 | 0.0060018 | 0.0015042 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3025-1_0_3_load_115 | 54 | 0.0042222 | 0.0010582 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3025-1_0_3_load_117 | 55 | 0.0043759 | 0.0010967 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3025-1_0_3_load_118 | 56 | 0.0048023 | 0.0012036 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3025-1_0_3_load_119 | 57 | 0.0043055 | 0.001079 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3025-1_0_3_load_120 | 58 | 0.0059467 | 0.0014904 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3025-1_0_3_load_121 | 59 | 0.0047013 | 0.0011783 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3025-1_0_3_load_122 | 60 | 0.003178 | 0.00079647 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3025-1_0_3_load_123 | 61 | 0.0054334 | 0.0013617 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3025-1_0_3_load_124 | 62 | 0.0028789 | 0.00072153 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3025-1_0_3_load_135 | 63 | 0.0011071 | 0.00027746 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3025-1_0_3_load_126 | 64 | 0.0042801 | 0.0010727 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3025-1_0_3_load_128 | 66 | 0.0053141 | 0.0013318 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3025-1_0_3_load_129 | 67 | 0.0027622 | 0.00069227 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3025-1_0_3_load_134 | 69 | 0.0029885 | 0.00074898 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3025-1_0_3_load_131 | 70 | 0.004407 | 0.0011045 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3025-1_0_3_load_132 | 71 | 0.0032836 | 0.00082294 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3025-1_0_3_load_133 | 72 | 0.0043242 | 0.0010837 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3025-1_0_3_load_136 | 73 | 0.0042524 | 0.0010658 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3025-1_0_3_load_168 | 75 | 0.0012619 | 0.00031626 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3025-1_0_3_load_169 | 76 | 0.0063376 | 0.0015883 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3025-1_0_3_load_174 | 77 | 0.0012637 | 0.00031672 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3025-1_0_3_load_176 | 78 | 0.0031932 | 0.00080029 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3025-1_0_3_load_172 | 80 | 0.0014306 | 0.00035855 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3025-1_0_3_load_173 | 81 | 0.004433 | 0.001111 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3025-1_0_3_load_177 | 82 | 0.0010282 | 0.00025768 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3025-1_0_3_load_178 | 83 | 0.0012607 | 0.00031597 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3025-1_0_3_load_179 | 84 | 0.0017346 | 0.00043474 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3025-1_0_3_load_180 | 85 | 0.0014193 | 0.00035571 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3025-1_0_3_load_183 | 86 | 0.0026928 | 0.00067487 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3025-1_0_3_load_184 | 87 | 0.0036042 | 0.0009033 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3025-1_0_3_line_0 |  | 0 | 1 | 0.029589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3025-1_0_3_line_1 |  | 0 | 2 | 0.060847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3025-1_0_3_line_2 |  | 1 | 3 | 0.0090653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3025-1_0_3_line_3 |  | 1 | 4 | 0.004404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3025-1_0_3_line_4 |  | 2 | 5 | 0.0040712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3025-1_0_3_line_5 |  | 2 | 6 | 0.007088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3025-1_0_3_line_6 |  | 3 | 7 | 0.00021004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3025-1_0_3_line_7 |  | 4 | 8 | 0.0067197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3025-1_0_3_line_8 |  | 6 | 9 | 0.014167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3025-1_0_3_line_9 |  | 8 | 10 | 0.022446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3025-1_0_3_line_10 |  | 9 | 14 | 0.023927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3025-1_0_3_line_11 |  | 10 | 64 | 0.017305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3025-1_0_3_line_12 |  | 11 | 12 | 0.01465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3025-1_0_3_line_13 |  | 11 | 13 | 0.095601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3025-1_0_3_line_14 |  | 12 | 75 | 0.012819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3025-1_0_3_line_15 |  | 13 | 76 | 0.012228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3025-1_0_3_line_16 |  | 14 | 79 | 0.037854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3025-1_0_3_line_17 |  | 15 | 16 | 0.045437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3025-1_0_3_line_18 |  | 15 | 17 | 0.049304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3025-1_0_3_line_19 |  | 17 | 18 | 0.01768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3025-1_0_3_line_20 |  | 18 | 19 | 0.007171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3025-1_0_3_line_21 |  | 18 | 20 | 0.027895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3025-1_0_3_line_22 |  | 19 | 23 | 0.019874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3025-1_0_3_line_23 |  | 19 | 24 | 0.011874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3025-1_0_3_line_24 |  | 20 | 26 | 0.014656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3025-1_0_3_line_25 |  | 20 | 28 | 0.077553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3025-1_0_3_line_26 |  | 21 | 22 | 0.016724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3025-1_0_3_line_27 |  | 22 | 27 | 0.010345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3025-1_0_3_line_28 |  | 24 | 47 | 0.011724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3025-1_0_3_line_29 |  | 25 | 26 | 0.014975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3025-1_0_3_line_30 |  | 25 | 27 | 0.0094102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3025-1_0_3_line_31 |  | 29 | 30 | 0.0051425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3025-1_0_3_line_32 |  | 29 | 31 | 0.22265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3025-1_0_3_line_33 |  | 31 | 34 | 0.32806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3025-1_0_3_line_34 |  | 31 | 32 | 0.019588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3025-1_0_3_line_35 |  | 32 | 33 | 0.21565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3025-1_0_3_line_36 |  | 33 | 35 | 0.084731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3025-1_0_3_line_37 |  | 34 | 39 | 0.1828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3025-1_0_3_line_38 |  | 35 | 45 | 0.013437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3025-1_0_3_line_39 |  | 36 | 37 | 0.22474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3025-1_0_3_line_40 |  | 37 | 38 | 0.094289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3025-1_0_3_line_41 |  | 38 | 86 | 0.17448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3025-1_0_3_line_42 |  | 39 | 40 | 0.02697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3025-1_0_3_line_43 |  | 40 | 41 | 0.015909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3025-1_0_3_line_44 |  | 41 | 42 | 0.027124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3025-1_0_3_line_45 |  | 42 | 43 | 0.019409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3025-1_0_3_line_46 |  | 43 | 44 | 0.021671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3025-1_0_3_line_47 |  | 45 | 46 | 0.007012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3025-1_0_3_line_48 |  | 46 | 53 | 0.018733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_3025-1_0_3_line_49 |  | 46 | 52 | 0.042991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_3025-1_0_3_line_50 |  | 47 | 48 | 0.023711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3025-1_0_3_line_51 |  | 48 | 49 | 0.011157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3025-1_0_3_line_52 |  | 49 | 50 | 0.032546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_3025-1_0_3_line_53 |  | 50 | 51 | 0.011287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_3025-1_0_3_line_54 |  | 51 | 52 | 0.017939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_3025-1_0_3_line_55 |  | 53 | 54 | 0.0058508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_3025-1_0_3_line_56 |  | 54 | 55 | 0.0143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_3025-1_0_3_line_57 |  | 55 | 56 | 0.015708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_3025-1_0_3_line_58 |  | 56 | 57 | 0.0027817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_3025-1_0_3_line_59 |  | 57 | 58 | 0.02041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_3025-1_0_3_line_60 |  | 58 | 59 | 0.010231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_3025-1_0_3_line_61 |  | 59 | 60 | 0.028549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_3025-1_0_3_line_62 |  | 60 | 61 | 0.00047236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_3025-1_0_3_line_63 |  | 61 | 62 | 0.013693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_3025-1_0_3_line_64 |  | 62 | 63 | 0.0033876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_3025-1_0_3_line_65 |  | 63 | 72 | 0.019656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_3025-1_0_3_line_66 |  | 64 | 65 | 0.013445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3025-1_0_3_line_67 |  | 65 | 66 | 0.017221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3025-1_0_3_line_68 |  | 65 | 67 | 0.0064759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3025-1_0_3_line_69 |  | 67 | 68 | 0.001429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3025-1_0_3_line_70 |  | 68 | 69 | 0.038004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3025-1_0_3_line_71 |  | 68 | 70 | 0.028349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_3025-1_0_3_line_72 |  | 69 | 73 | 0.021247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3025-1_0_3_line_73 |  | 70 | 71 | 0.019858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_3025-1_0_3_line_74 |  | 71 | 72 | 0.0033718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_3025-1_0_3_line_75 |  | 73 | 74 | 0.0099797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3025-1_0_3_line_76 |  | 74 | 87 | 0.0081073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3025-1_0_3_line_77 |  | 75 | 77 | 0.0024117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3025-1_0_3_line_78 |  | 76 | 78 | 0.01021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3025-1_0_3_line_79 |  | 77 | 81 | 0.0089851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3025-1_0_3_line_80 |  | 78 | 82 | 0.023729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3025-1_0_3_line_81 |  | 79 | 80 | 0.009693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3025-1_0_3_line_82 |  | 79 | 81 | 0.061881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3025-1_0_3_line_83 |  | 82 | 83 | 0.016179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3025-1_0_3_line_84 |  | 83 | 84 | 0.0064507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3025-1_0_3_line_85 |  | 84 | 85 | 0.041701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3025-1_0_3_line_86 |  | 86 | 87 | 0.026318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3025-1_0_3_trafo_109 | 0.63 MVA 20/0.4 kV | 88 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2752708.7062 | 1253034.4669 | 2752702.044 | 1253036.3415 | 2752693.4334 | 1253038.822 | 2752680.2629 | 1253042.6206
1 | 2752622.3031 | 1253060.8553 | 2752628.2217 | 1253057.9493 | 2752645.223 | 1253052.7267 | 2752680.2629 | 1253042.6206
2 | 2752708.7062 | 1253034.4669 | 2752712.742 | 1253031.379 | 2752714.6201 | 1253028.5246 | 2752714.8671 | 1253028.0144
3 | 2752708.7062 | 1253034.4669 | 2752708.6735 | 1253038.8709
4 | 2752622.3031 | 1253060.8553 | 2752619.2641 | 1253063.5644
5 | 2752622.3031 | 1253060.8553 | 2752620.6781 | 1253055.6528 | 2752619.5269 | 1253054.488
6 | 2752714.8671 | 1253028.0144 | 2752714.9586 | 1253027.8254
7 | 2752708.6735 | 1253038.8709 | 2752708.6421 | 1253043.096 | 2752708.5901 | 1253045.5899
8 | 2752609.5582 | 1253044.4223 | 2752609.9281 | 1253044.7762 | 2752619.5269 | 1253054.488
9 | 2752708.5901 | 1253045.5899 | 2752708.2617 | 1253061.3486 | 2752709.4986 | 1253067.9172
10 | 2752609.5582 | 1253044.4223 | 2752592.2708 | 1253027.8798
11 | 2752709.4986 | 1253067.9172 | 2752710.36 | 1253072.4914 | 2752714.5197 | 1253084.4383
12 | 2752549.415 | 1253093.1097 | 2752540.735 | 1253081.3081
13 | 2752549.415 | 1253093.1097 | 2752546.7538 | 1253100.2816 | 2752543.0887 | 1253127.9478 | 2752537.8782 | 1253150.5469 | 2752534.1082 | 1253163.5404 | 2752532.0787 | 1253176.6677 | 2752531.4884 | 1253186.6895
14 | 2752540.735 | 1253081.3081 | 2752540.268 | 1253080.6731 | 2752537.3614 | 1253068.9987
15 | 2752533.5971 | 1253198.5142 | 2752531.2062 | 1253191.4821 | 2752531.4884 | 1253186.6895
16 | 2752565.1642 | 1253001.7255 | 2752566.9093 | 1253004.9069 | 2752584.2351 | 1253020.1903 | 2752592.2708 | 1253027.8798
17 | 2752693.1741 | 1252934.0421 | 2752687.3305 | 1252921.5605 | 2752676.5882 | 1252900.7188 | 2752670.4981 | 1252895.2157
18 | 2752722.7271 | 1252959.4832 | 2752715.8879 | 1252963.8826 | 2752707.5616 | 1252963.5343 | 2752704.9982 | 1252959.2974 | 2752693.1741 | 1252934.0421
19 | 2752737.8676 | 1252950.3693 | 2752730.4829 | 1252954.4941 | 2752722.7271 | 1252959.4832
20 | 2752737.8676 | 1252950.3693 | 2752736.0052 | 1252957.2948
21 | 2752756.6041 | 1252929.7098 | 2752744.0634 | 1252943.1664 | 2752737.8676 | 1252950.3693
22 | 2752736.0052 | 1252957.2948 | 2752730.445 | 1252976.3754
23 | 2752736.0052 | 1252957.2948 | 2752745.3158 | 1252964.6643
24 | 2752756.6041 | 1252929.7098 | 2752751.2537 | 1252929.3159 | 2752743.1313 | 1252924.8053
25 | 2752756.6041 | 1252929.7098 | 2752833.9153 | 1252935.8285
26 | 2752718.0295 | 1252901.8502 | 2752715.5048 | 1252898.553 | 2752706.3902 | 1252889.8946
27 | 2752724.3188 | 1252910.0638 | 2752718.0295 | 1252901.8502
28 | 2752745.3158 | 1252964.6643 | 2752754.5086 | 1252971.9407
29 | 2752730.0398 | 1252917.5352 | 2752743.1313 | 1252924.8053
30 | 2752730.0398 | 1252917.5352 | 2752724.3188 | 1252910.0638
31 | 2753223.954 | 1253262.0391 | 2753226.0472 | 1253257.3419
32 | 2753075.7128 | 1253093.1071 | 2753226.0472 | 1253257.3419
33 | 2753075.7128 | 1253093.1071 | 2753260.5076 | 1253364.1632
34 | 2753086.4825 | 1253077.5033 | 2753083.4467 | 1253086.2891 | 2753075.7128 | 1253093.1071
35 | 2752950.4567 | 1253055.8131 | 2752975.6399 | 1253065.8843 | 2752981.4215 | 1253061.2735 | 2752986.2916 | 1253059.7978 | 2752996.2702 | 1253056.9749 | 2753001.817 | 1253063.2021 | 2753006.2924 | 1253064.7303 | 2753016.9086 | 1253064.6933 | 2753024.5323 | 1253064.1786 | 2753038.028 | 1253057.0202 | 2753050.029 | 1253046.353 | 2753095.2969 | 1253048.4691 | 2753101.0561 | 1253051.4431 | 2753108.6704 | 1253055.3771 | 2753111.7649 | 1253056.2913 | 2753104.3413 | 1253076.5083 | 2753086.4825 | 1253077.5033
36 | 2752950.4567 | 1253055.8131 | 2752930.1683 | 1253047.6925 | 2752935.3681 | 1253027.9072 | 2752933.9718 | 1253022.6326 | 2752916.9126 | 1253012.8382 | 2752901.0153 | 1253006.0309
37 | 2753260.5076 | 1253364.1632 | 2753254.3873 | 1253383.6018 | 2753238.6458 | 1253409.5758 | 2753222.454 | 1253426.9964 | 2753204.1267 | 1253442.0484 | 2753193.8756 | 1253455.4187 | 2753184.1453 | 1253466.4669 | 2753180.5564 | 1253477.6629 | 2753180.8173 | 1253485.6664 | 2753185.8375 | 1253492.3807 | 2753197.5318 | 1253496.4537 | 2753209.7386 | 1253498.8681
38 | 2752888.6633 | 1253000.7417 | 2752901.0153 | 1253006.0309
39 | 2752755.8247 | 1253442.8503 | 2752762.5298 | 1253449.2406 | 2752772.261 | 1253454.5078 | 2752785.3626 | 1253463.1542 | 2752792.4978 | 1253464.2838 | 2752811.8864 | 1253453.6957 | 2752827.4624 | 1253435.2238 | 2752834.426 | 1253416.1068 | 2752847.422 | 1253404.286 | 2752862.7722 | 1253394.5614 | 2752874.9762 | 1253384.7666 | 2752880.2171 | 1253365.127 | 2752897.1453 | 1253328.5167 | 2752898.8811 | 1253326.2696
40 | 2752755.8247 | 1253442.8503 | 2752751.536 | 1253434.0977 | 2752747.9258 | 1253418.6561 | 2752746.6518 | 1253405.4213 | 2752746.0439 | 1253358.7708 | 2752746.601 | 1253350.0544
41 | 2752746.601 | 1253350.0544 | 2752749.8538 | 1253320.5537 | 2752760.0328 | 1253289.1741 | 2752760.855 | 1253279.8417 | 2752760.8032 | 1253248.7987 | 2752762.0502 | 1253234.7059 | 2752766.6631 | 1253226.5168 | 2752776.2168 | 1253217.0316 | 2752783.9565 | 1253206.1649 | 2752785.357 | 1253195.4905 | 2752785.4977 | 1253187.4084 | 2752785.0103 | 1253185.2595
42 | 2753236.6235 | 1253499.3454 | 2753213.9659 | 1253499.7042 | 2753209.7386 | 1253498.8681
43 | 2753236.6235 | 1253499.3454 | 2753252.5313 | 1253499.5223
44 | 2753279.5487 | 1253501.248 | 2753268.2389 | 1253499.697 | 2753252.5313 | 1253499.5223
45 | 2753279.5487 | 1253501.248 | 2753293.6356 | 1253503.1798 | 2753298.7239 | 1253504.2038
46 | 2753298.7239 | 1253504.2038 | 2753312.4113 | 1253506.9583 | 2753320.1187 | 1253506.7723
47 | 2752888.6633 | 1253000.7417 | 2752885.5861 | 1253007.0463
48 | 2752885.5861 | 1253007.0463 | 2752877.3707 | 1253023.8818
49 | 2752885.5861 | 1253007.0463 | 2752859.2111 | 1252994.8759 | 2752854.8434 | 1252992.6833 | 2752846.5798 | 1252988.9769
50 | 2752754.5086 | 1252971.9407 | 2752763.9658 | 1252979.4263 | 2752775.3484 | 1252981.9074
51 | 2752775.3484 | 1252981.9074 | 2752786.249 | 1252984.2835 | 2752786.249 | 1252984.2835
52 | 2752786.249 | 1252984.2835 | 2752801.8924 | 1252984.298 | 2752812.7339 | 1252983.1432 | 2752818.5293 | 1252984.694
53 | 2752818.5293 | 1252984.694 | 2752829.4325 | 1252987.6117 | 2752829.4325 | 1252987.6117
54 | 2752846.5798 | 1252988.9769 | 2752839.7669 | 1252985.921 | 2752829.4325 | 1252987.6117
55 | 2752874.8049 | 1253029.1399 | 2752877.3707 | 1253023.8818
56 | 2752874.8049 | 1253029.1399 | 2752874.2181 | 1253030.3425 | 2752865.7502 | 1253040.1559 | 2752865.7502 | 1253040.1559
57 | 2752865.7502 | 1253040.1559 | 2752853.9588 | 1253050.5341
58 | 2752851.8708 | 1253052.372 | 2752853.9588 | 1253050.5341
59 | 2752851.8708 | 1253052.372 | 2752849.4106 | 1253054.5373 | 2752834.1306 | 1253062.2855
60 | 2752834.1306 | 1253062.2855 | 2752829.8338 | 1253064.4643 | 2752825.3392 | 1253067.4818
61 | 2752804.7362 | 1253086.9844 | 2752806.3966 | 1253084.7241 | 2752818.555 | 1253072.0364 | 2752825.3392 | 1253067.4818
62 | 2752804.4565 | 1253087.365 | 2752804.7362 | 1253086.9844
63 | 2752804.4565 | 1253087.365 | 2752796.3494 | 1253098.4007
64 | 2752796.3494 | 1253098.4007 | 2752796.3494 | 1253098.4007 | 2752793.1917 | 1253099.6271
65 | 2752793.1917 | 1253099.6271 | 2752785.3674 | 1253102.6661 | 2752774.1946 | 1253104.0799
66 | 2752719.4381 | 1253096.9495 | 2752715.1468 | 1253086.2394 | 2752714.5197 | 1253084.4383
67 | 2752719.4381 | 1253096.9495 | 2752716.7279 | 1253098.1141 | 2752714.4622 | 1253096.3873 | 2752704.4456 | 1253096.596 | 2752703.0885 | 1253097.106
68 | 2752719.4381 | 1253096.9495 | 2752722.4445 | 1253102.6853
69 | 2752723.1079 | 1253103.951 | 2752722.4445 | 1253102.6853
70 | 2752723.1079 | 1253103.951 | 2752730.7331 | 1253120.0523 | 2752735.1462 | 1253127.7959 | 2752740.7961 | 1253135.3045 | 2752742.0716 | 1253136.6844
71 | 2752723.1079 | 1253103.951 | 2752731.6469 | 1253106.5848 | 2752738.8979 | 1253106.1713 | 2752751.0373 | 1253105.6676
72 | 2752742.0716 | 1253136.6844 | 2752747.8103 | 1253142.8928 | 2752756.6913 | 1253152.1003
73 | 2752770.8495 | 1253104.5032 | 2752766.8247 | 1253105.0125 | 2752751.0373 | 1253105.6676
74 | 2752770.8495 | 1253104.5032 | 2752774.1946 | 1253104.0799
75 | 2752763.6195 | 1253159.2832 | 2752756.6913 | 1253152.1003
76 | 2752763.6195 | 1253159.2832 | 2752769.5161 | 1253164.8473
77 | 2752536.7787 | 1253066.6584 | 2752536.7787 | 1253066.6584 | 2752537.3614 | 1253068.9987
78 | 2752533.5971 | 1253198.5142 | 2752536.8837 | 1253208.1808
79 | 2752540.3777 | 1253058.4255 | 2752536.7787 | 1253066.6584
80 | 2752536.8837 | 1253208.1808 | 2752541.3118 | 1253221.2048 | 2752545.9677 | 1253230.0246
81 | 2752565.1642 | 1253001.7255 | 2752567.8355 | 1252992.4073
82 | 2752565.1642 | 1253001.7255 | 2752540.3777 | 1253058.4255
83 | 2752545.9677 | 1253230.0246 | 2752547.6391 | 1253233.1906 | 2752549.5502 | 1253243.6946 | 2752549.5322 | 1253245.6167
84 | 2752549.5322 | 1253245.6167 | 2752549.4719 | 1253252.0671
85 | 2752549.4719 | 1253252.0671 | 2752549.374 | 1253262.5419 | 2752553.2921 | 1253282.1733 | 2752558.4174 | 1253292.1401
86 | 2752785.0103 | 1253185.2595 | 2752784.0946 | 1253181.2217 | 2752781.603 | 1253176.2525 | 2752769.5161 | 1253164.8473

## bus_geodata
| x | y | coords
0 | 2752680.2629 | 1253042.6206
1 | 2752708.7062 | 1253034.4669
2 | 2752622.3031 | 1253060.8553
3 | 2752714.8671 | 1253028.0144
4 | 2752708.6735 | 1253038.8709
5 | 2752619.2641 | 1253063.5644
6 | 2752619.5269 | 1253054.488
7 | 2752714.9586 | 1253027.8254
8 | 2752708.5901 | 1253045.5899
9 | 2752609.5582 | 1253044.4223
10 | 2752709.4986 | 1253067.9172
11 | 2752549.415 | 1253093.1097
12 | 2752540.735 | 1253081.3081
13 | 2752531.4884 | 1253186.6895
14 | 2752592.2708 | 1253027.8798
15 | 2752693.1741 | 1252934.0421
16 | 2752670.498 | 1252895.2157
17 | 2752722.7271 | 1252959.4832
18 | 2752737.8676 | 1252950.3693
19 | 2752736.0052 | 1252957.2948
20 | 2752756.6041 | 1252929.7098
21 | 2752706.3902 | 1252889.8946
22 | 2752718.0295 | 1252901.8502
23 | 2752730.445 | 1252976.3754
24 | 2752745.3158 | 1252964.6643
25 | 2752730.0398 | 1252917.5352
26 | 2752743.1313 | 1252924.8053
27 | 2752724.3188 | 1252910.0638
28 | 2752833.9153 | 1252935.8285
29 | 2753226.0472 | 1253257.3419
30 | 2753223.954 | 1253262.0391
31 | 2753075.7128 | 1253093.1071
32 | 2753086.4825 | 1253077.5033
33 | 2752950.4567 | 1253055.8131
34 | 2753260.5076 | 1253364.1632
35 | 2752901.0153 | 1253006.0309
36 | 2752898.8811 | 1253326.2696
37 | 2752755.8247 | 1253442.8503
38 | 2752746.601 | 1253350.0544
39 | 2753209.7386 | 1253498.8681
40 | 2753236.6235 | 1253499.3454
41 | 2753252.5313 | 1253499.5223
42 | 2753279.5487 | 1253501.248
43 | 2753298.7239 | 1253504.2038
44 | 2753320.1187 | 1253506.7723
45 | 2752888.6633 | 1253000.7417
46 | 2752885.5861 | 1253007.0463
47 | 2752754.5086 | 1252971.9407
48 | 2752775.3484 | 1252981.9074
49 | 2752786.249 | 1252984.2835
50 | 2752818.5293 | 1252984.694
51 | 2752829.4325 | 1252987.6117
52 | 2752846.5798 | 1252988.9769
53 | 2752877.3707 | 1253023.8818
54 | 2752874.8049 | 1253029.1399
55 | 2752865.7502 | 1253040.1559
56 | 2752853.9588 | 1253050.5341
57 | 2752851.8708 | 1253052.372
58 | 2752834.1306 | 1253062.2855
59 | 2752825.3392 | 1253067.4818
60 | 2752804.7362 | 1253086.9844
61 | 2752804.4565 | 1253087.365
62 | 2752796.3494 | 1253098.4007
63 | 2752793.1917 | 1253099.6271
64 | 2752714.5197 | 1253084.4383
65 | 2752719.4381 | 1253096.9495
66 | 2752703.0885 | 1253097.106
67 | 2752722.4445 | 1253102.6853
68 | 2752723.1079 | 1253103.951
69 | 2752742.0716 | 1253136.6844
70 | 2752751.0373 | 1253105.6676
71 | 2752770.8495 | 1253104.5032
72 | 2752774.1946 | 1253104.0799
73 | 2752756.6913 | 1253152.1003
74 | 2752763.6195 | 1253159.2832
75 | 2752537.3614 | 1253068.9987
76 | 2752533.5971 | 1253198.5142
77 | 2752536.7787 | 1253066.6584
78 | 2752536.8837 | 1253208.1808
79 | 2752565.1642 | 1253001.7255
80 | 2752567.8355 | 1252992.4073
81 | 2752540.3777 | 1253058.4255
82 | 2752545.9677 | 1253230.0246
83 | 2752549.5322 | 1253245.6167
84 | 2752549.4719 | 1253252.0671
85 | 2752558.4174 | 1253292.1401
86 | 2752785.0103 | 1253185.2595
87 | 2752769.5161 | 1253164.8473
88 | 2752736.0052 | 1252957.2948

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1