## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3025-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3025-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3025-3_0_4_node_147 | 0.4 | n |  | TRUE
3 | bus_LV_3025-3_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3025-3_0_4_node_125 | 0.4 | n |  | TRUE
5 | bus_LV_3025-3_0_4_node_146 | 0.4 | n |  | TRUE
6 | bus_LV_3025-3_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3025-3_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_3025-3_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_3025-3_0_4_node_198 | 0.4 | n |  | TRUE
10 | bus_LV_3025-3_0_4_node_3 | 0.4 | n |  | TRUE
11 | bus_LV_3025-3_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_3025-3_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3025-3_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_3025-3_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_3025-3_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3025-3_0_4_node_255 | 0.4 | n |  | TRUE
17 | bus_LV_3025-3_0_4_node_124 | 0.4 | n |  | TRUE
18 | bus_LV_3025-3_0_4_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_3025-3_0_4_node_258 | 0.4 | n |  | TRUE
20 | bus_LV_3025-3_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_3025-3_0_4_node_259 | 0.4 | n |  | TRUE
22 | bus_LV_3025-3_0_4_node_260 | 0.4 | n |  | TRUE
23 | bus_LV_3025-3_0_4_node_257 | 0.4 | n |  | TRUE
24 | bus_LV_3025-3_0_4_node_256 | 0.4 | n |  | TRUE
25 | bus_LV_3025-3_0_4_node_272 | 0.4 | n |  | TRUE
26 | bus_LV_3025-3_0_4_node_197 | 0.4 | n |  | TRUE
27 | bus_LV_3025-3_0_4_node_144 | 0.4 | n |  | TRUE
28 | bus_LV_3025-3_0_4_node_148 | 0.4 | n |  | TRUE
29 | bus_LV_3025-3_0_4_node_141 | 0.4 | n |  | TRUE
30 | bus_LV_3025-3_0_4_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_3025-3_0_4_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_3025-3_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_3025-3_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_3025-3_0_4_node_126 | 0.4 | n |  | TRUE
35 | bus_LV_3025-3_0_4_node_127 | 0.4 | n |  | TRUE
36 | bus_LV_3025-3_0_4_node_119 | 0.4 | n |  | TRUE
37 | bus_LV_3025-3_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_3025-3_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_3025-3_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_3025-3_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_3025-3_0_4_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_3025-3_0_4_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_3025-3_0_4_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_3025-3_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_3025-3_0_4_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_3025-3_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_3025-3_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_3025-3_0_4_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_3025-3_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_3025-3_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_3025-3_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_3025-3_0_4_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_3025-3_0_4_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_3025-3_0_4_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_3025-3_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_3025-3_0_4_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_3025-3_0_4_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_3025-3_0_4_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_3025-3_0_4_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_3025-3_0_4_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_3025-3_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_3025-3_0_4_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_3025-3_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_3025-3_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_3025-3_0_4_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_3025-3_0_4_node_114 | 0.4 | n |  | TRUE
67 | bus_LV_3025-3_0_4_node_115 | 0.4 | n |  | TRUE
68 | bus_LV_3025-3_0_4_node_112 | 0.4 | n |  | TRUE
69 | bus_LV_3025-3_0_4_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_3025-3_0_4_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_3025-3_0_4_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_3025-3_0_4_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_3025-3_0_4_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_3025-3_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_3025-3_0_4_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_3025-3_0_4_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_3025-3_0_4_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_3025-3_0_4_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_3025-3_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_3025-3_0_4_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_3025-3_0_4_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_3025-3_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_3025-3_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_3025-3_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_3025-3_0_4_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_3025-3_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_3025-3_0_4_node_65 | 0.4 | n |  | TRUE
88 | bus_LV_3025-3_0_4_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_3025-3_0_4_node_265 | 0.4 | n |  | TRUE
90 | bus_LV_3025-3_0_4_node_266 | 0.4 | n |  | TRUE
91 | bus_LV_3025-3_0_4_node_263 | 0.4 | n |  | TRUE
92 | bus_LV_3025-3_0_4_node_60 | 0.4 | n |  | TRUE
93 | bus_LV_3025-3_0_4_node_75 | 0.4 | n |  | TRUE
94 | bus_LV_3025-3_0_4_node_63 | 0.4 | n |  | TRUE
95 | bus_LV_3025-3_0_4_node_117 | 0.4 | n |  | TRUE
96 | bus_LV_3025-3_0_4_node_118 | 0.4 | n |  | TRUE
97 | bus_LV_3025-3_0_4_node_113 | 0.4 | n |  | TRUE
98 | bus_LV_3025-3_0_4_node_62 | 0.4 | n |  | TRUE
99 | bus_LV_3025-3_0_4_node_66 | 0.4 | n |  | TRUE
100 | bus_LV_3025-3_0_4_node_123 | 0.4 | n |  | TRUE
101 | bus_LV_3025-3_0_4_node_128 | 0.4 | n |  | TRUE
102 | bus_LV_3025-3_0_4_node_83 | 0.4 | n |  | TRUE
103 | bus_LV_3025-3_0_4_node_82 | 0.4 | n |  | TRUE
104 | bus_LV_3025-3_0_4_node_122 | 0.4 | n |  | TRUE
105 | bus_LV_3025-3_0_4_node_85 | 0.4 | n |  | TRUE
106 | bus_LV_3025-3_0_4_node_86 | 0.4 | n |  | TRUE
107 | bus_LV_3025-3_0_4_node_121 | 0.4 | n |  | TRUE
108 | bus_LV_3025-3_0_4_node_116 | 0.4 | n |  | TRUE
109 | bus_LV_3025-3_0_4_node_120 | 0.4 | n |  | TRUE
110 | bus_LV_3025-3_0_4_node_129 | 0.4 | n |  | TRUE
111 | bus_LV_3025-3_0_4_node_130 | 0.4 | n |  | TRUE
112 | bus_LV_3025-3_0_4_node_131 | 0.4 | n |  | TRUE
113 | bus_LV_3025-3_0_4_node_132 | 0.4 | n |  | TRUE
114 | bus_LV_3025-3_0_4_node_133 | 0.4 | n |  | TRUE
115 | bus_LV_3025-3_0_4_node_134 | 0.4 | n |  | TRUE
116 | bus_LV_3025-3_0_4_node_135 | 0.4 | n |  | TRUE
117 | bus_LV_3025-3_0_4_node_136 | 0.4 | n |  | TRUE
118 | bus_LV_3025-3_0_4_node_142 | 0.4 | n |  | TRUE
119 | bus_LV_3025-3_0_4_node_145 | 0.4 | n |  | TRUE
120 | bus_LV_3025-3_0_4_node_137 | 0.4 | n |  | TRUE
121 | bus_LV_3025-3_0_4_node_138 | 0.4 | n |  | TRUE
122 | bus_LV_3025-3_0_4_node_139 | 0.4 | n |  | TRUE
123 | bus_LV_3025-3_0_4_node_140 | 0.4 | n |  | TRUE
124 | bus_LV_3025-3_0_4_node_149 | 0.4 | n |  | TRUE
125 | bus_LV_3025-3_0_4_node_150 | 0.4 | n |  | TRUE
126 | bus_LV_3025-3_0_4_node_261 | 0.4 | n |  | TRUE
127 | bus_LV_3025-3_0_4_node_262 | 0.4 | n |  | TRUE
128 | bus_LV_3025-3_0_4_node_264 | 0.4 | n |  | TRUE
129 | bus_LV_3025-3_0_4_node_271 | 0.4 | n |  | TRUE
130 | bus_LV_3025-3_0_4_node_268 | 0.4 | n |  | TRUE
131 | bus_LV_3025-3_0_4_node_269 | 0.4 | n |  | TRUE
132 | bus_LV_3025-3_0_4_node_267 | 0.4 | n |  | TRUE
133 | bus_MV_41_2_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3025-3_0_4_load_0 | 0 | 0.00046222 | 0.00011584 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3025-3_0_4_load_1 | 1 | 0.0013496 | 0.00033823 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3025-3_0_4_load_147 | 2 | 0.00038652 | 9.687e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3025-3_0_4_load_146 | 5 | 0.00052543 | 0.00013169 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3025-3_0_4_load_198 | 9 | 0.00057302 | 0.00014361 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3025-3_0_4_load_3 | 10 | 0.00045642 | 0.00011439 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3025-3_0_4_load_10 | 12 | 0.00035295 | 8.8456e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3025-3_0_4_load_7 | 14 | 0.00030216 | 7.5729e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3025-3_0_4_load_8 | 15 | 0.00017693 | 4.4342e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3025-3_0_4_load_255 | 16 | 0.00031269 | 7.8368e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3025-3_0_4_load_124 | 17 | 0.0003359 | 8.4184e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3025-3_0_4_load_6 | 18 | 0.00050182 | 0.00012577 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3025-3_0_4_load_9 | 20 | 0.00063933 | 0.00016023 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3025-3_0_4_load_259 | 21 | 0.00030138 | 7.5532e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3025-3_0_4_load_260 | 22 | 0.00049886 | 0.00012503 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3025-3_0_4_load_257 | 23 | 0.00035263 | 8.8378e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3025-3_0_4_load_256 | 24 | 0.0010267 | 0.00025731 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3025-3_0_4_load_272 | 25 | 0.00044557 | 0.00011167 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3025-3_0_4_load_197 | 26 | 0.0034912 | 0.00087497 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3025-3_0_4_load_148 | 28 | 0.00011144 | 2.7929e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3025-3_0_4_load_14 | 30 | 0.00096274 | 0.00024128 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3025-3_0_4_load_15 | 31 | 0.0048458 | 0.0012145 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3025-3_0_4_load_126 | 34 | 0.00050514 | 0.0001266 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3025-3_0_4_load_30 | 38 | 0.0046923 | 0.001176 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3025-3_0_4_load_24 | 39 | 0.0054184 | 0.001358 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3025-3_0_4_load_18 | 41 | 0.00048668 | 0.00012197 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3025-3_0_4_load_21 | 43 | 0.00063774 | 0.00015983 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3025-3_0_4_load_28 | 44 | 0.00091664 | 0.00022973 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3025-3_0_4_load_22 | 45 | 0.0010111 | 0.00025342 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3025-3_0_4_load_26 | 46 | 0.00048253 | 0.00012093 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3025-3_0_4_load_23 | 48 | 0.0042771 | 0.0010719 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3025-3_0_4_load_31 | 49 | 0.00094727 | 0.00023741 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3025-3_0_4_load_39 | 51 | 0.00064528 | 0.00016172 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3025-3_0_4_load_32 | 52 | 0.0004064 | 0.00010185 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3025-3_0_4_load_33 | 53 | 0.00061798 | 0.00015488 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3025-3_0_4_load_35 | 54 | 0.00050349 | 0.00012619 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3025-3_0_4_load_58 | 57 | 0.00038257 | 9.5881e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3025-3_0_4_load_36 | 58 | 0.0010802 | 0.00027072 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3025-3_0_4_load_37 | 59 | 0.00093264 | 0.00023374 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3025-3_0_4_load_38 | 60 | 0.001342 | 0.00033633 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3025-3_0_4_load_57 | 63 | 0.00049725 | 0.00012462 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3025-3_0_4_load_114 | 66 | 0.00093592 | 0.00023456 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3025-3_0_4_load_115 | 67 | 0.00023243 | 5.8253e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3025-3_0_4_load_112 | 68 | 0.0025383 | 0.00063617 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3025-3_0_4_load_51 | 69 | 0.00092691 | 0.0002323 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3025-3_0_4_load_52 | 70 | 0.00067288 | 0.00016864 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3025-3_0_4_load_79 | 72 | 0.00084544 | 0.00021189 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3025-3_0_4_load_56 | 73 | 0.00053871 | 0.00013501 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3025-3_0_4_load_67 | 74 | 0.0014264 | 0.00035749 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3025-3_0_4_load_68 | 75 | 0.0019441 | 0.00048725 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3025-3_0_4_load_69 | 76 | 0.0022697 | 0.00056885 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3025-3_0_4_load_70 | 77 | 0.0013565 | 0.00033997 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3025-3_0_4_load_71 | 78 | 0.00029312 | 7.3462e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3025-3_0_4_load_74 | 79 | 0.00030224 | 7.5748e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3025-3_0_4_load_73 | 80 | 0.00030507 | 7.6457e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3025-3_0_4_load_84 | 81 | 0.00034584 | 8.6675e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3025-3_0_4_load_76 | 82 | 0.00034346 | 8.608e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3025-3_0_4_load_77 | 83 | 0.0010399 | 0.00026064 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3025-3_0_4_load_80 | 85 | 0.00064588 | 0.00016187 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3025-3_0_4_load_81 | 86 | 0.0005915 | 0.00014824 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3025-3_0_4_load_72 | 88 | 0.00062016 | 0.00015543 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3025-3_0_4_load_265 | 89 | 0.00041728 | 0.00010458 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3025-3_0_4_load_266 | 90 | 0.00017347 | 4.3474e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3025-3_0_4_load_263 | 91 | 0.00021553 | 5.4018e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3025-3_0_4_load_60 | 92 | 0.0030856 | 0.00077331 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3025-3_0_4_load_63 | 94 | 0.00022215 | 5.5677e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3025-3_0_4_load_117 | 95 | 0.00024556 | 6.1544e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3025-3_0_4_load_62 | 98 | 0.00069715 | 0.00017472 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3025-3_0_4_load_66 | 99 | 0.00059583 | 0.00014933 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3025-3_0_4_load_123 | 100 | 0.00082143 | 0.00020587 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3025-3_0_4_load_128 | 101 | 0.00069517 | 0.00017423 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3025-3_0_4_load_83 | 102 | 0.00051464 | 0.00012898 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3025-3_0_4_load_82 | 103 | 0.00090281 | 0.00022626 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3025-3_0_4_load_122 | 104 | 0.00042489 | 0.00010649 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3025-3_0_4_load_85 | 105 | 0.00060823 | 0.00015244 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3025-3_0_4_load_86 | 106 | 0.00035463 | 8.8879e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3025-3_0_4_load_121 | 107 | 0.00060249 | 0.000151 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3025-3_0_4_load_116 | 108 | 0.0030638 | 0.00076785 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3025-3_0_4_load_120 | 109 | 0.00074337 | 0.00018631 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3025-3_0_4_load_129 | 110 | 0.0011689 | 0.00029294 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3025-3_0_4_load_130 | 111 | 0.0004238 | 0.00010622 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3025-3_0_4_load_132 | 113 | 0.00017925 | 4.4923e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3025-3_0_4_load_133 | 114 | 0.00024944 | 6.2516e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3025-3_0_4_load_134 | 115 | 0.00056641 | 0.00014196 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3025-3_0_4_load_135 | 116 | 0.00026412 | 6.6194e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3025-3_0_4_load_136 | 117 | 0.0001422 | 3.5639e-05 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3025-3_0_4_load_145 | 119 | 0.00064276 | 0.00016109 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3025-3_0_4_load_137 | 120 | 0.00027211 | 6.8197e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3025-3_0_4_load_138 | 121 | 0.00019112 | 4.79e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3025-3_0_4_load_139 | 122 | 0.00088875 | 0.00022274 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3025-3_0_4_load_140 | 123 | 0.0014607 | 0.00036608 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3025-3_0_4_load_149 | 124 | 0.00011444 | 2.8682e-05 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3025-3_0_4_load_150 | 125 | 0.00062629 | 0.00015696 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3025-3_0_4_load_261 | 126 | 0.00031413 | 7.8728e-05 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3025-3_0_4_load_271 | 129 | 0.0015238 | 0.00038191 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3025-3_0_4_load_269 | 131 | 0.0048096 | 0.0012054 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3025-3_0_4_load_267 | 132 | 0.0017094 | 0.00042841 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 98 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3025-3_0_4_line_0 |  | 0 | 1 | 0.093464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3025-3_0_4_line_1 |  | 0 | 2 | 0.10498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3025-3_0_4_line_2 |  | 1 | 3 | 0.011114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3025-3_0_4_line_3 |  | 2 | 4 | 0.050767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_3025-3_0_4_line_4 |  | 2 | 5 | 0.033391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_3025-3_0_4_line_5 |  | 3 | 6 | 0.016662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3025-3_0_4_line_6 |  | 3 | 7 | 0.19621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3025-3_0_4_line_7 |  | 4 | 16 | 0.029025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_3025-3_0_4_line_8 |  | 4 | 17 | 0.0064821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3025-3_0_4_line_9 |  | 5 | 119 | 0.19711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_3025-3_0_4_line_10 |  | 6 | 10 | 0.0063676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3025-3_0_4_line_11 |  | 7 | 11 | 0.23359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3025-3_0_4_line_12 |  | 7 | 12 | 0.030293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3025-3_0_4_line_13 |  | 7 | 8 | 0.25039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3025-3_0_4_line_14 |  | 8 | 9 | 0.019721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3025-3_0_4_line_15 |  | 9 | 26 | 0.07536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3025-3_0_4_line_16 |  | 10 | 13 | 0.054922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3025-3_0_4_line_17 |  | 11 | 25 | 0.19397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3025-3_0_4_line_18 |  | 13 | 14 | 0.025813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3025-3_0_4_line_19 |  | 13 | 15 | 0.016678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3025-3_0_4_line_20 |  | 14 | 20 | 0.026835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3025-3_0_4_line_21 |  | 16 | 24 | 0.027896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_3025-3_0_4_line_22 |  | 18 | 19 | 0.13416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3025-3_0_4_line_23 |  | 19 | 21 | 0.023381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3025-3_0_4_line_24 |  | 19 | 22 | 0.014427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3025-3_0_4_line_25 |  | 19 | 23 | 0.2058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3025-3_0_4_line_26 |  | 21 | 126 | 0.04631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3025-3_0_4_line_27 |  | 23 | 107 | 0.21986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3025-3_0_4_line_28 |  | 23 | 24 | 0.13051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_3025-3_0_4_line_29 |  | 27 | 28 | 0.12389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3025-3_0_4_line_30 |  | 27 | 29 | 0.13298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3025-3_0_4_line_31 |  | 28 | 124 | 0.031898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3025-3_0_4_line_32 |  | 29 | 118 | 0.15207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3025-3_0_4_line_33 |  | 29 | 123 | 0.040834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3025-3_0_4_line_34 |  | 30 | 31 | 0.03925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3025-3_0_4_line_35 |  | 30 | 32 | 0.037722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3025-3_0_4_line_36 |  | 32 | 33 | 0.011229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3025-3_0_4_line_37 |  | 33 | 37 | 0.11146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3025-3_0_4_line_38 |  | 33 | 38 | 0.066381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3025-3_0_4_line_39 |  | 34 | 35 | 0.036043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_3025-3_0_4_line_40 |  | 34 | 36 | 0.1508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_3025-3_0_4_line_41 |  | 35 | 110 | 0.19802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_3025-3_0_4_line_42 |  | 35 | 101 | 0.068141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3025-3_0_4_line_43 |  | 36 | 96 | 0.053196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_3025-3_0_4_line_44 |  | 37 | 39 | 0.021454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3025-3_0_4_line_45 |  | 38 | 40 | 0.031187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3025-3_0_4_line_46 |  | 39 | 48 | 0.040839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3025-3_0_4_line_47 |  | 40 | 49 | 0.023949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3025-3_0_4_line_48 |  | 40 | 46 | 0.071856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3025-3_0_4_line_49 |  | 41 | 42 | 0.016117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3025-3_0_4_line_50 |  | 42 | 43 | 0.089115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3025-3_0_4_line_51 |  | 43 | 44 | 0.034558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3025-3_0_4_line_52 |  | 44 | 47 | 0.061323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3025-3_0_4_line_53 |  | 45 | 46 | 0.017813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3025-3_0_4_line_54 |  | 47 | 50 | 0.067418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3025-3_0_4_line_55 |  | 47 | 49 | 0.08152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3025-3_0_4_line_56 |  | 50 | 51 | 0.049567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3025-3_0_4_line_57 |  | 51 | 59 | 0.15795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3025-3_0_4_line_58 |  | 52 | 53 | 0.047822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3025-3_0_4_line_59 |  | 53 | 54 | 0.14972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3025-3_0_4_line_60 |  | 54 | 55 | 0.02067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3025-3_0_4_line_61 |  | 55 | 56 | 0.22155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_3025-3_0_4_line_62 |  | 55 | 57 | 0.0059789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_3025-3_0_4_line_63 |  | 56 | 66 | 0.10756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3025-3_0_4_line_64 |  | 56 | 67 | 0.19196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_3025-3_0_4_line_65 |  | 56 | 68 | 0.04846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3025-3_0_4_line_66 |  | 57 | 65 | 0.046661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_3025-3_0_4_line_67 |  | 58 | 59 | 0.0052482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3025-3_0_4_line_68 |  | 58 | 60 | 0.16139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3025-3_0_4_line_69 |  | 60 | 61 | 0.0035426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3025-3_0_4_line_70 |  | 61 | 62 | 0.047353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_3025-3_0_4_line_71 |  | 61 | 63 | 0.026067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_3025-3_0_4_line_72 |  | 62 | 64 | 0.018813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_3025-3_0_4_line_73 |  | 63 | 65 | 0.010228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_3025-3_0_4_line_74 |  | 64 | 73 | 0.17843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_3025-3_0_4_line_75 |  | 64 | 69 | 0.077686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3025-3_0_4_line_76 |  | 65 | 92 | 0.00023396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3025-3_0_4_line_77 |  | 66 | 95 | 0.0056813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3025-3_0_4_line_78 |  | 67 | 96 | 0.14959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_3025-3_0_4_line_79 |  | 68 | 97 | 0.09156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3025-3_0_4_line_80 |  | 69 | 70 | 0.10425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3025-3_0_4_line_81 |  | 70 | 71 | 0.24795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3025-3_0_4_line_82 |  | 70 | 72 | 0.17686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3025-3_0_4_line_83 |  | 71 | 79 | 0.0096708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3025-3_0_4_line_84 |  | 71 | 80 | 0.01829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3025-3_0_4_line_85 |  | 72 | 83 | 0.018361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3025-3_0_4_line_86 |  | 73 | 87 | 0.025387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_3025-3_0_4_line_87 |  | 74 | 75 | 0.021334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3025-3_0_4_line_88 |  | 74 | 76 | 0.043259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3025-3_0_4_line_89 |  | 75 | 77 | 0.028898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3025-3_0_4_line_90 |  | 76 | 78 | 0.064357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3025-3_0_4_line_91 |  | 78 | 81 | 0.0098435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3025-3_0_4_line_92 |  | 80 | 88 | 0.018859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3025-3_0_4_line_93 |  | 81 | 85 | 0.016212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3025-3_0_4_line_94 |  | 82 | 83 | 0.025984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3025-3_0_4_line_95 |  | 82 | 84 | 0.10821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3025-3_0_4_line_96 |  | 84 | 85 | 0.015878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3025-3_0_4_line_97 |  | 84 | 86 | 0.014591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3025-3_0_4_line_98 |  | 87 | 93 | 0.1198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3025-3_0_4_line_99 |  | 87 | 94 | 0.029088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_3025-3_0_4_line_100 |  | 89 | 90 | 0.0086136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3025-3_0_4_line_101 |  | 89 | 91 | 0.010315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3025-3_0_4_line_102 |  | 91 | 127 | 0.072332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3025-3_0_4_line_103 |  | 93 | 102 | 0.061288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3025-3_0_4_line_104 |  | 93 | 103 | 0.14169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3025-3_0_4_line_105 |  | 94 | 98 | 0.13044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_3025-3_0_4_line_106 |  | 96 | 109 | 0.027146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3025-3_0_4_line_107 |  | 97 | 108 | 0.025042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3025-3_0_4_line_108 |  | 99 | 100 | 0.052272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3025-3_0_4_line_109 |  | 100 | 104 | 0.013292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3025-3_0_4_line_110 |  | 102 | 105 | 0.089151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3025-3_0_4_line_111 |  | 104 | 107 | 0.069658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3025-3_0_4_line_112 |  | 105 | 106 | 0.10296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3025-3_0_4_line_113 |  | 110 | 111 | 0.025336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
114 | LV_3025-3_0_4_line_114 |  | 111 | 112 | 0.036786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
115 | LV_3025-3_0_4_line_115 |  | 112 | 113 | 0.020597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
116 | LV_3025-3_0_4_line_116 |  | 113 | 114 | 0.019294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
117 | LV_3025-3_0_4_line_117 |  | 114 | 115 | 0.0049002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
118 | LV_3025-3_0_4_line_118 |  | 115 | 116 | 0.011098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
119 | LV_3025-3_0_4_line_119 |  | 116 | 117 | 0.047849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
120 | LV_3025-3_0_4_line_120 |  | 117 | 118 | 0.012244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
121 | LV_3025-3_0_4_line_121 |  | 118 | 119 | 0.012638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
122 | LV_3025-3_0_4_line_122 |  | 120 | 121 | 0.0055225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_3025-3_0_4_line_123 |  | 120 | 122 | 0.0087742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_3025-3_0_4_line_124 |  | 121 | 123 | 0.057544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_3025-3_0_4_line_125 |  | 124 | 125 | 0.0050998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_3025-3_0_4_line_126 |  | 126 | 127 | 0.063827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_3025-3_0_4_line_127 |  | 127 | 128 | 0.28059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_3025-3_0_4_line_128 |  | 128 | 129 | 0.032547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_3025-3_0_4_line_129 |  | 128 | 130 | 0.27073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_3025-3_0_4_line_130 |  | 130 | 131 | 0.01664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_3025-3_0_4_line_131 |  | 130 | 132 | 0.069487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3025-3_0_4_trafo_62 | 0.63 MVA 20/0.4 kV | 133 | 98 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2754256.8067 | 1251765.0431 | 2754264.9956 | 1251764.8978 | 2754269.045 | 1251761.0661 | 2754269.0558 | 1251752.5357 | 2754270.3698 | 1251747.0312 | 2754283.6617 | 1251730.7723 | 2754302.5705 | 1251705.5954 | 2754298.4825 | 1251693.2323
1 | 2754243.7917 | 1251869.2175 | 2754256.8067 | 1251765.0431
2 | 2754302.5955 | 1251682.907 | 2754298.4825 | 1251693.2323 | 2754298.4825 | 1251693.2323
3 | 2754290.0005 | 1251881.9087 | 2754272.6465 | 1251870.0452 | 2754261.4944 | 1251866.2177 | 2754243.7917 | 1251869.2175
4 | 2754216.334 | 1251887.1279 | 2754237.829 | 1251870.2279 | 2754243.7917 | 1251869.2175
5 | 2754302.5955 | 1251682.907 | 2754308.6851 | 1251684.5338 | 2754316.972 | 1251690.8113
6 | 2754260.9433 | 1251613.2094 | 2754258.023 | 1251618.0492 | 2754250.5381 | 1251632.5798 | 2754247.8656 | 1251636.6031 | 2754241.4434 | 1251642.2304 | 2754228.9817 | 1251650.9702 | 2754201.0564 | 1251667.1483 | 2754197.8432 | 1251671.0575 | 2754204.5056 | 1251672.4433 | 2754219.4063 | 1251673.2763 | 2754243.0486 | 1251677.4291 | 2754264.87 | 1251679.0098 | 2754284.912 | 1251674.6829 | 2754291.8524 | 1251675.8314 | 2754297.3429 | 1251681.035 | 2754302.5955 | 1251682.907
7 | 2754290.0005 | 1251881.9087 | 2754312.9893 | 1251899.6279
8 | 2754290.0005 | 1251881.9087 | 2754289.7467 | 1251888.3858
9 | 2754216.334 | 1251887.1279 | 2754213.2512 | 1251889.5517 | 2754193.8012 | 1251929.4516 | 2754177.9799 | 1251944.8551 | 2754159.7627 | 1251952.8001 | 2754060.6107 | 1251992.5971
10 | 2754316.972 | 1251690.8113 | 2754321.9862 | 1251694.7362
11 | 2754260.9433 | 1251613.2094 | 2754266.5879 | 1251606.4163 | 2754273.5149 | 1251600.2572 | 2754283.6021 | 1251595.1259 | 2754326.4216 | 1251580.3485 | 2754357.8093 | 1251564.3502 | 2754365.2999 | 1251559.4627 | 2754376.7406 | 1251550.2183 | 2754427.9744 | 1251491.6955 | 2754434.7457 | 1251480.5164 | 2754436.5388 | 1251475.7585 | 2754436.4885 | 1251471.3195
12 | 2754260.9433 | 1251613.2094 | 2754256.7522 | 1251612.6219 | 2754247.4766 | 1251612.4025 | 2754231.0761 | 1251608.8406
13 | 2754048.0505 | 1251604.6851 | 2754068.0711 | 1251618.8862 | 2754076.1663 | 1251624.1241 | 2754107.8352 | 1251639.6406 | 2754119.486 | 1251643.7699 | 2754139.0694 | 1251647.1938 | 2754147.0474 | 1251649.3923 | 2754161.0728 | 1251654.8403 | 2754176.0086 | 1251659.5447 | 2754185.1159 | 1251661.2944 | 2754193.289 | 1251662.0857 | 2754196.9554 | 1251663.6826 | 2754201.0564 | 1251667.1483 | 2754228.9817 | 1251650.9702 | 2754241.4434 | 1251642.2304 | 2754247.8656 | 1251636.6031 | 2754250.5381 | 1251632.5798 | 2754258.023 | 1251618.0492 | 2754260.9433 | 1251613.2094
14 | 2754048.0505 | 1251604.6851 | 2754041.2587 | 1251598.9807 | 2754033.0971 | 1251591.8298
15 | 2753982.0636 | 1251538.522 | 2753994.217 | 1251551.1109 | 2754007.9074 | 1251558.4183 | 2754015.3447 | 1251566.0191 | 2754022.7195 | 1251578.3451 | 2754026.5802 | 1251586.1198 | 2754033.0971 | 1251591.8298
16 | 2754362.4383 | 1251731.7693 | 2754335.9772 | 1251705.6876 | 2754321.9862 | 1251694.7362
17 | 2754436.4885 | 1251471.3195 | 2754559.2418 | 1251604.618 | 2754570.6227 | 1251610.9767
18 | 2754362.4383 | 1251731.7693 | 2754376.1708 | 1251746.4081 | 2754379.5267 | 1251751.0662
19 | 2754362.4383 | 1251731.7693 | 2754358.9321 | 1251747.7826 | 2754358.959 | 1251748.0669
20 | 2754391.869 | 1251774.8563 | 2754381.1849 | 1251753.3678 | 2754379.5267 | 1251751.0662
21 | 2754312.9893 | 1251899.6279 | 2754332.7887 | 1251914.8888 | 2754335.2957 | 1251916.3418
22 | 2754641.3882 | 1251907.4381 | 2754551.2337 | 1251808.0878
23 | 2754641.3882 | 1251907.4381 | 2754657.5684 | 1251890.56
24 | 2754641.3882 | 1251907.4381 | 2754644.8862 | 1251910.8438 | 2754646.8401 | 1251913.5197 | 2754646.7031 | 1251918.7658 | 2754646.2929 | 1251919.6604
25 | 2754641.3882 | 1251907.4381 | 2754622.954 | 1251923.0836 | 2754565.3002 | 1251935.1469 | 2754552.1925 | 1251940.5771 | 2754509.784 | 1251970.6342 | 2754483.3383 | 1251975.8609 | 2754462.8549 | 1251971.3781 | 2754454.8461 | 1251968.1675
26 | 2754689.6163 | 1251857.1298 | 2754657.5684 | 1251890.56
27 | 2754454.8461 | 1251968.1675 | 2754435.4226 | 1252187.1711
28 | 2754335.2957 | 1251916.3418 | 2754357.122 | 1251928.9921 | 2754454.8461 | 1251968.1675
29 | 2753967.8078 | 1251856.57 | 2753987.8442 | 1251864.3316 | 2754015.3498 | 1251872.9327 | 2754042.1229 | 1251880.0802 | 2754065.2736 | 1251884.5197 | 2754085.9276 | 1251887.1149 | 2754087.3778 | 1251887.42
30 | 2753967.8078 | 1251856.57 | 2753910.1254 | 1251853.8021 | 2753904.5321 | 1251855.1582 | 2753900.7216 | 1251858.8184 | 2753899.9833 | 1251864.5604 | 2753902.1421 | 1251870.9895 | 2753907.2946 | 1251874.3822 | 2753926.0659 | 1251880.8428 | 2753931.8387 | 1251884.1961 | 2753943.6847 | 1251895.6151 | 2753945.4832 | 1251897.3079
31 | 2754087.3778 | 1251887.42 | 2754089.4875 | 1251887.8637 | 2754093.7406 | 1251889.8318 | 2754099.7697 | 1251890.5894 | 2754107.1987 | 1251891.5279 | 2754112.0529 | 1251893.3226 | 2754116.9111 | 1251894.3834 | 2754118.1225 | 1251894.9644
32 | 2754048.8818 | 1251997.3048 | 2754044.2343 | 1251989.8878 | 2754030.8165 | 1251978.2386 | 2754018.8193 | 1251968.8731 | 2754010.4307 | 1251965.0624 | 2753998.5318 | 1251961.4941 | 2753988.2688 | 1251958.3242 | 2753979.7323 | 1251954.3874 | 2753974.7777 | 1251949.7763 | 2753971.6424 | 1251943.155 | 2753968.9565 | 1251929.4161 | 2753965.8495 | 1251919.6702 | 2753961.0228 | 1251911.8816 | 2753945.4832 | 1251897.3079
33 | 2753945.4832 | 1251897.3079 | 2753941.3774 | 1251903.0291 | 2753937.9513 | 1251910.2027 | 2753938.3504 | 1251918.0875 | 2753939.2041 | 1251924.1713 | 2753932.5354 | 1251933.9112
34 | 2754467.3104 | 1252968.4697 | 2754458.352 | 1252980.1922 | 2754443.4674 | 1252999.6474
35 | 2754408.9734 | 1253003.3613 | 2754428.0948 | 1253006.663 | 2754435.5229 | 1253007.0014 | 2754441.7335 | 1253001.9138 | 2754443.4674 | 1252999.6474
36 | 2754407.7008 | 1253014.517 | 2754408.9734 | 1253003.3613
37 | 2754407.7008 | 1253014.517 | 2754407.3209 | 1253024.1611 | 2754407.4824 | 1253032.151 | 2754408.4965 | 1253038.1389 | 2754410.6097 | 1253043.6661 | 2754413.9993 | 1253049.4714 | 2754418.6627 | 1253055.0651 | 2754428.1988 | 1253062.8658 | 2754448.6792 | 1253078.8934 | 2754453.4972 | 1253083.1899 | 2754458.151 | 1253089.1505 | 2754462.9201 | 1253097.6388 | 2754464.0852 | 1253100.4386 | 2754465.035 | 1253103.0994
38 | 2754407.7008 | 1253014.517 | 2754403.3851 | 1253014.4044 | 2754397.0299 | 1253015.4843 | 2754391.4202 | 1253015.1934 | 2754386.3519 | 1253011.8024 | 2754382.864 | 1253007.4516 | 2754379.1056 | 1253003.9169 | 2754374.3928 | 1253000.2126 | 2754364.4798 | 1252997.8854 | 2754359.0383 | 1252996.9315 | 2754349.4255 | 1252990.6831
39 | 2754135.1319 | 1252221.2687 | 2754133.3155 | 1252227.5165 | 2754129.0313 | 1252233.7112 | 2754130.7703 | 1252240.8746 | 2754140.1078 | 1252252.1412
40 | 2754140.1078 | 1252252.1412 | 2754080.3956 | 1252390.6123
41 | 2754135.1319 | 1252221.2687 | 2754004.5167 | 1252119.5277 | 2753990.6177 | 1252115.062 | 2753976.0315 | 1252105.3734 | 2753975.8157 | 1252105.0986
42 | 2754135.1319 | 1252221.2687 | 2754183.5412 | 1252173.1807
43 | 2754047.9725 | 1252430.0526 | 2754072.8121 | 1252411.5914 | 2754080.3956 | 1252390.6123
44 | 2754465.035 | 1253103.0994 | 2754483.4779 | 1253101.7233 | 2754486.3899 | 1253101.1935
45 | 2754359.6239 | 1252966.6612 | 2754352.0306 | 1252972.3691 | 2754346.3586 | 1252978.2271 | 2754345.6748 | 1252983.3143 | 2754348.6814 | 1252990.1995 | 2754349.4255 | 1252990.6831
46 | 2754511.0049 | 1253073.2627 | 2754510.1008 | 1253074.7686 | 2754503.1483 | 1253092.9498 | 2754497.1101 | 1253099.243 | 2754486.3899 | 1253101.1935
47 | 2754359.6239 | 1252966.6612 | 2754367.6685 | 1252961.0208 | 2754372.2413 | 1252956.491 | 2754374.1985 | 1252951.5038 | 2754374.4243 | 1252949.1846
48 | 2754359.6239 | 1252966.6612 | 2754336.8983 | 1252952.7443 | 2754310.1073 | 1252939.5334 | 2754298.6656 | 1252935.5981 | 2754295.4604 | 1252935.1493
49 | 2754233.9165 | 1252877.5881 | 2754221.3743 | 1252887.7101
50 | 2754233.9165 | 1252877.5881 | 2754236.9794 | 1252879.4252 | 2754247.5961 | 1252881.4147 | 2754267.9941 | 1252880.9453 | 2754316.5475 | 1252880.1757 | 2754322.326 | 1252880.2752
51 | 2754322.326 | 1252880.2752 | 2754356.8789 | 1252880.8706
52 | 2754418.1634 | 1252882.9149 | 2754378.1453 | 1252881.237 | 2754356.8789 | 1252880.8706
53 | 2754277.8199 | 1252932.6789 | 2754295.4604 | 1252935.1493
54 | 2754418.1634 | 1252882.9149 | 2754421.1951 | 1252883.0496 | 2754423.5729 | 1252875.2594 | 2754432.425 | 1252869.6401 | 2754453.5357 | 1252860.0921 | 2754475.5415 | 1252855.0163
55 | 2754418.1634 | 1252882.9149 | 2754412.9037 | 1252888.3054 | 2754390.2047 | 1252912.1485 | 2754378.241 | 1252930.2547 | 2754375.0958 | 1252942.2847 | 2754374.4243 | 1252949.1846
56 | 2754475.5415 | 1252855.0163 | 2754485.2118 | 1252849.007 | 2754501.8814 | 1252838.9428 | 2754506.0782 | 1252833.2021 | 2754507.0794 | 1252827.8229 | 2754504.1315 | 1252822.4518
57 | 2754504.1315 | 1252822.4518 | 2754493.5098 | 1252818.3374 | 2754472.3549 | 1252813.9481 | 2754454.9613 | 1252807.4883 | 2754430.8063 | 1252793.9341 | 2754423.8616 | 1252786.6347 | 2754419.2186 | 1252772.433 | 2754416.6812 | 1252751.3237 | 2754418.3241 | 1252727.1315 | 2754420.3914 | 1252719.2206
58 | 2754264.2387 | 1252696.4849 | 2754269.7828 | 1252691.2264 | 2754299.1384 | 1252663.7904
59 | 2754299.1384 | 1252663.7904 | 2754301.2964 | 1252661.7734 | 2754325.3562 | 1252645.9956 | 2754346.7959 | 1252634.2758 | 2754382.2911 | 1252618.6518 | 2754399.1895 | 1252607.3587 | 2754411.4969 | 1252597.2361 | 2754424.9774 | 1252584.5323
60 | 2754440.1839 | 1252570.5351 | 2754433.8451 | 1252576.1755 | 2754424.9774 | 1252584.5323
61 | 2754440.1839 | 1252570.5351 | 2754434.4808 | 1252568.0173 | 2754425.7857 | 1252566.7339 | 2754406.4548 | 1252574.3042 | 2754388.129 | 1252578.0748 | 2754360.14 | 1252595.1069 | 2754343.6279 | 1252599.114 | 2754333.4373 | 1252597.8473 | 2754314.7532 | 1252591.9103 | 2754292.0456 | 1252600.7054 | 2754285.0157 | 1252598.3979 | 2754280.5284 | 1252591.819 | 2754274.5134 | 1252553.758 | 2754268.88 | 1252545.9592
62 | 2754440.1839 | 1252570.5351 | 2754444.6485 | 1252566.5585
63 | 2754268.88 | 1252545.9592 | 2754286.8785 | 1252518.8232 | 2754291.9505 | 1252509.6351 | 2754300.6809 | 1252507.5382 | 2754306.8559 | 1252513.6829 | 2754314.4761 | 1252528.685 | 2754323.693 | 1252533.4187 | 2754337.029 | 1252527.2822 | 2754340.0018 | 1252523.3343
64 | 2754268.88 | 1252545.9592 | 2754266.5749 | 1252523.4436 | 2754270.0369 | 1252499.2543 | 2754267.5968 | 1252484.2314 | 2754278.311 | 1252463.3898 | 2754275.1823 | 1252449.0052 | 2754235.3526 | 1252428.6815 | 2754189.9399 | 1252417.3809
65 | 2754268.88 | 1252545.9592 | 2754242.1209 | 1252554.9158 | 2754223.8252 | 1252563.5762
66 | 2754489.7143 | 1252562.8076 | 2754460.3562 | 1252560.818 | 2754448.494 | 1252563.1333 | 2754444.6485 | 1252566.5585
67 | 2754421.7183 | 1252714.1429 | 2754420.3914 | 1252719.2206
68 | 2754421.7183 | 1252714.1429 | 2754422.149 | 1252712.4944 | 2754427.8908 | 1252701.9448 | 2754440.9589 | 1252684.368 | 2754445.8722 | 1252674.6086 | 2754449.2227 | 1252660.5042 | 2754451.9266 | 1252644.2698 | 2754455.3353 | 1252636.0394 | 2754463.6822 | 1252626.3585 | 2754474.1029 | 1252615.3304 | 2754477.3669 | 1252608.5977 | 2754482.7537 | 1252601.8203 | 2754493.2338 | 1252596.0434 | 2754504.2412 | 1252593.4946 | 2754511.2507 | 1252590.5077 | 2754511.2507 | 1252590.5077
69 | 2754513.1559 | 1252587.5211 | 2754511.2507 | 1252590.5077
70 | 2754513.1559 | 1252587.5211 | 2754518.8554 | 1252584.3889 | 2754527.4727 | 1252579.9759 | 2754535.1184 | 1252574.3142 | 2754542.8142 | 1252566.4404 | 2754551.3721 | 1252559.9684
71 | 2754513.1559 | 1252587.5211 | 2754511.9843 | 1252583.8091 | 2754500.3804 | 1252578.2566 | 2754493.0942 | 1252572.4609
72 | 2754551.3721 | 1252559.9684 | 2754570.0215 | 1252557.1076
73 | 2754489.7143 | 1252562.8076 | 2754493.0942 | 1252572.4609
74 | 2754570.0215 | 1252557.1076 | 2754578.1409 | 1252552.3925 | 2754592.0576 | 1252541.0889 | 2754613.4632 | 1252524.0639 | 2754624.2261 | 1252509.2078 | 2754662.3243 | 1252442.8587 | 2754680.1481 | 1252420.1042
75 | 2754570.0215 | 1252557.1076 | 2754595.9775 | 1252550.8786 | 2754623.6337 | 1252540.8459 | 2754642.0844 | 1252529.6669
76 | 2754489.9477 | 1252562.8232 | 2754489.7143 | 1252562.8076
77 | 2754343.4192 | 1252518.7958 | 2754340.0018 | 1252523.3343
78 | 2754047.9725 | 1252430.0526 | 2754052.3204 | 1252430.3994 | 2754083.8612 | 1252423.4015 | 2754108.9036 | 1252409.9172 | 2754122.2383 | 1252416.5929 | 2754138.1954 | 1252418.8324 | 2754165.9119 | 1252411.4017 | 2754189.9399 | 1252417.3809
79 | 2754141.9632 | 1252602.9568 | 2754154.2185 | 1252593.3662 | 2754176.4018 | 1252580.6308 | 2754219.8281 | 1252565.4682 | 2754223.8252 | 1252563.5762
80 | 2754642.0844 | 1252529.6669 | 2754646.1592 | 1252527.1981 | 2754671.4619 | 1252505.5259 | 2754726.6246 | 1252468.9842
81 | 2754952.3595 | 1252404.8544 | 2754926.8413 | 1252398.0693 | 2754909.5199 | 1252397.7605 | 2754888.6868 | 1252392.5663 | 2754876.6211 | 1252391.6723 | 2754859.239 | 1252393.6866 | 2754823.2058 | 1252407.2584 | 2754787.2583 | 1252428.8183 | 2754726.6246 | 1252468.9842
82 | 2754726.6246 | 1252468.9842 | 2754848.8196 | 1252596.849
83 | 2754952.3595 | 1252404.8544 | 2754960.2812 | 1252410.4015
84 | 2754952.3595 | 1252404.8544 | 2754953.4889 | 1252403.249 | 2754959.8721 | 1252394.207 | 2754963.3804 | 1252390.2897
85 | 2754848.8196 | 1252596.849 | 2754864.0295 | 1252607.1347
86 | 2754691.6738 | 1252397.5244 | 2754681.2515 | 1252418.6955 | 2754680.1481 | 1252420.1042
87 | 2754782.8744 | 1252718.8913 | 2754782.8744 | 1252718.8913 | 2754768.3356 | 1252726.8416 | 2754764.3564 | 1252729.4596
88 | 2754782.8744 | 1252718.8913 | 2754785.9045 | 1252711.2963 | 2754785.4842 | 1252706.2914 | 2754782.1649 | 1252701.5556 | 2754774.9868 | 1252697.1304 | 2754766.2204 | 1252691.6515 | 2754763.4453 | 1252686.8965 | 2754763.4453 | 1252686.8965
89 | 2754741.7195 | 1252747.2881 | 2754753.654 | 1252736.501 | 2754764.3564 | 1252729.4596
90 | 2754821.6458 | 1252669.2884 | 2754817.3704 | 1252669.3323 | 2754787.7816 | 1252672.429 | 2754771.8054 | 1252677.0162 | 2754765.6979 | 1252680.7381 | 2754763.4453 | 1252686.8965
91 | 2754831.4887 | 1252669.1873 | 2754821.6458 | 1252669.2884
92 | 2754975.962 | 1252376.2416 | 2754963.3804 | 1252390.2897
93 | 2754831.4887 | 1252669.1873 | 2754839.6582 | 1252669.1034 | 2754847.6767 | 1252669.7208
94 | 2754886.1904 | 1252620.6349 | 2754875.6631 | 1252615.0019 | 2754864.0295 | 1252607.1347
95 | 2754863.5078 | 1252670.9397 | 2754878.78 | 1252666.7125 | 2754894.5651 | 1252666.258 | 2754904.314 | 1252663.9106 | 2754911.1147 | 1252660.2514 | 2754916.4831 | 1252654.1969 | 2754918.0463 | 1252646.6858 | 2754915.9941 | 1252639.703 | 2754910.9366 | 1252633.8761 | 2754886.1904 | 1252620.6349
96 | 2754863.5078 | 1252670.9397 | 2754847.6767 | 1252669.7208
97 | 2754863.5078 | 1252670.9397 | 2754877.7205 | 1252674.241
98 | 2754769.5892 | 1252316.4788 | 2754763.961 | 1252336.2181 | 2754758.5463 | 1252345.775 | 2754742.8387 | 1252355.9415 | 2754718.2428 | 1252364.4076 | 2754707.4454 | 1252370.4538 | 2754701.3047 | 1252379.7694 | 2754691.6738 | 1252397.5244
99 | 2754691.6738 | 1252397.5244 | 2754675.6171 | 1252387.2506 | 2754665.6874 | 1252385.8661
100 | 2754731.1912 | 1251878.2264 | 2754739.1229 | 1251874.8675
101 | 2754721.2806 | 1251878.6618 | 2754721.2806 | 1251878.6618 | 2754725.0953 | 1251879.7736 | 2754728.7563 | 1251879.2576 | 2754731.1912 | 1251878.2264
102 | 2754733.7861 | 1251811.0548 | 2754736.6487 | 1251817.6805 | 2754737.1365 | 1251822.131 | 2754730.041 | 1251837.9058 | 2754719.0563 | 1251870.7292 | 2754718.9297 | 1251875.5751 | 2754721.2806 | 1251878.6618
103 | 2754769.5892 | 1252316.4788 | 2754762.4835 | 1252316.4821 | 2754741.8936 | 1252321.6161 | 2754718.6595 | 1252322.4658 | 2754710.3079 | 1252327.4246
104 | 2754769.5892 | 1252316.4788 | 2754777.8823 | 1252301.6697 | 2754789.1466 | 1252295.1019 | 2754813.2197 | 1252292.2057 | 2754851.5343 | 1252294.7872 | 2754897.6626 | 1252293.1024 | 2754900.5078 | 1252292.7401
105 | 2754548.3681 | 1252431.6316 | 2754559.8231 | 1252434.687 | 2754585.4697 | 1252424.7129 | 2754614.1588 | 1252402.9065 | 2754642.3616 | 1252391.3422 | 2754659.2233 | 1252384.9649 | 2754665.6874 | 1252385.8661
106 | 2754021.2631 | 1252431.582 | 2754030.3474 | 1252428.6597 | 2754047.9725 | 1252430.0526
107 | 2754147.1846 | 1252627.4502 | 2754141.9632 | 1252602.9568
108 | 2754407.4699 | 1252265.0248 | 2754395.4938 | 1252270.5293 | 2754387.6581 | 1252275.6524 | 2754381.3452 | 1252281.4492 | 2754377.7977 | 1252288.6305 | 2754374.313 | 1252301.3098
109 | 2754411.1533 | 1252252.2752 | 2754409.2924 | 1252257.3981 | 2754407.4699 | 1252265.0248 | 2754407.4699 | 1252265.0248
110 | 2754710.3079 | 1252327.4246 | 2754707.4458 | 1252329.124 | 2754700.6148 | 1252329.6017 | 2754694.3599 | 1252326.5242 | 2754671.578 | 1252310.0688 | 2754663.0498 | 1252300.9371 | 2754640.5049 | 1252279.0734
111 | 2754435.4226 | 1252187.1711 | 2754433.7083 | 1252190.991 | 2754423.8384 | 1252212.1435 | 2754417.6975 | 1252230.1568 | 2754414.5233 | 1252242.9979 | 2754411.1533 | 1252252.2752
112 | 2754640.5049 | 1252279.0734 | 2754634.2326 | 1252272.9907 | 2754594.7198 | 1252244.2868 | 2754587.1141 | 1252237.1257 | 2754583.2233 | 1252230.551 | 2754578.382 | 1252217.0002 | 2754572.4534 | 1252207.7809 | 2754572.1005 | 1252205.8689
113 | 2753975.8157 | 1252105.0986 | 2753965.9303 | 1252092.5094 | 2753961.9502 | 1252084.0718
114 | 2753946.2565 | 1252050.8015 | 2753961.9502 | 1252084.0718
115 | 2753946.2565 | 1252050.8015 | 2753964.1439 | 1252040.5889
116 | 2753980.8993 | 1252031.0226 | 2753964.1439 | 1252040.5889
117 | 2753980.8993 | 1252031.0226 | 2753985.1547 | 1252028.593
118 | 2753985.1547 | 1252028.593 | 2753994.7922 | 1252023.0905
119 | 2754037.568 | 1252001.9866 | 2754011.5077 | 1252012.7707 | 2753995.7045 | 1252022.5697 | 2753994.7922 | 1252023.0905
120 | 2754048.8818 | 1251997.3048 | 2754037.568 | 1252001.9866
121 | 2754048.8818 | 1251997.3048 | 2754060.6107 | 1251992.5971
122 | 2753898.2694 | 1251984.7641 | 2753901.0825 | 1251980.0117
123 | 2753893.8001 | 1251992.3146 | 2753898.2694 | 1251984.7641
124 | 2753901.0825 | 1251980.0117 | 2753905.9635 | 1251971.7658 | 2753912.4945 | 1251954.3739 | 2753918.9442 | 1251947.6681 | 2753924.6745 | 1251945.3925 | 2753932.5354 | 1251933.9112
125 | 2754119.8105 | 1251899.3303 | 2754119.2158 | 1251895.4888 | 2754118.1225 | 1251894.9644
126 | 2754733.7861 | 1251811.0548 | 2754689.6163 | 1251857.1298
127 | 2754733.7861 | 1251811.0548 | 2754750.1321 | 1251792.1185 | 2754764.6205 | 1251767.1166 | 2754776.6157 | 1251721.9408 | 2754779.6076 | 1251696.4715 | 2754786.2076 | 1251651.7108 | 2754798.8164 | 1251637.0924 | 2754816.1354 | 1251593.3905 | 2754828.8143 | 1251587.9386 | 2754852.0164 | 1251589.869 | 2754855.4947 | 1251594.3198
128 | 2754879.5953 | 1251615.5929 | 2754874.6376 | 1251609.6686 | 2754860.668 | 1251600.9504 | 2754855.4947 | 1251594.3198
129 | 2755107.3249 | 1251600.0115 | 2755099.4877 | 1251597.9266 | 2754992.2036 | 1251566.2216 | 2754963.5041 | 1251570.0415 | 2754886.8598 | 1251595.6964 | 2754852.0164 | 1251589.869 | 2754855.4947 | 1251594.3198
130 | 2755107.3249 | 1251600.0115 | 2755123.9484 | 1251599.2788
131 | 2755107.3249 | 1251600.0115 | 2755099.4848 | 1251625.1312 | 2755115.6839 | 1251656.2527 | 2755121.3438 | 1251662.0295

## bus_geodata
| x | y | coords
0 | 2754256.8067 | 1251765.0431
1 | 2754298.4825 | 1251693.2323
2 | 2754243.7917 | 1251869.2175
3 | 2754302.5955 | 1251682.907
4 | 2754290.0005 | 1251881.9087
5 | 2754216.334 | 1251887.1279
6 | 2754316.972 | 1251690.8113
7 | 2754260.9433 | 1251613.2094
8 | 2754048.0505 | 1251604.6851
9 | 2754033.0971 | 1251591.8298
10 | 2754321.9862 | 1251694.7362
11 | 2754436.4885 | 1251471.3195
12 | 2754231.0761 | 1251608.8406
13 | 2754362.4383 | 1251731.7693
14 | 2754379.5267 | 1251751.0662
15 | 2754358.959 | 1251748.0669
16 | 2754312.9893 | 1251899.6279
17 | 2754289.7467 | 1251888.3858
18 | 2754551.2337 | 1251808.0878
19 | 2754641.3882 | 1251907.4381
20 | 2754391.869 | 1251774.8563
21 | 2754657.5684 | 1251890.56
22 | 2754646.2929 | 1251919.6604
23 | 2754454.8461 | 1251968.1675
24 | 2754335.2957 | 1251916.3418
25 | 2754570.6227 | 1251610.9767
26 | 2753982.0636 | 1251538.522
27 | 2753967.8078 | 1251856.57
28 | 2754087.3778 | 1251887.42
29 | 2753945.4832 | 1251897.3079
30 | 2754443.4674 | 1252999.6474
31 | 2754467.3104 | 1252968.4697
32 | 2754408.9734 | 1253003.3613
33 | 2754407.7008 | 1253014.517
34 | 2754140.1078 | 1252252.1412
35 | 2754135.1319 | 1252221.2687
36 | 2754080.3956 | 1252390.6123
37 | 2754465.035 | 1253103.0993
38 | 2754349.4255 | 1252990.6831
39 | 2754486.3899 | 1253101.1935
40 | 2754359.6239 | 1252966.6612
41 | 2754221.3743 | 1252887.7101
42 | 2754233.9165 | 1252877.5881
43 | 2754322.326 | 1252880.2752
44 | 2754356.8789 | 1252880.8706
45 | 2754277.8199 | 1252932.6789
46 | 2754295.4604 | 1252935.1493
47 | 2754418.1634 | 1252882.9149
48 | 2754511.0049 | 1253073.2627
49 | 2754374.4243 | 1252949.1846
50 | 2754475.5415 | 1252855.0163
51 | 2754504.1315 | 1252822.4518
52 | 2754264.2387 | 1252696.4849
53 | 2754299.1384 | 1252663.7904
54 | 2754424.9774 | 1252584.5323
55 | 2754440.1839 | 1252570.5351
56 | 2754268.88 | 1252545.9592
57 | 2754444.6485 | 1252566.5585
58 | 2754421.7183 | 1252714.1429
59 | 2754420.3914 | 1252719.2206
60 | 2754511.2507 | 1252590.5077
61 | 2754513.1559 | 1252587.5211
62 | 2754551.3721 | 1252559.9684
63 | 2754493.0942 | 1252572.4609
64 | 2754570.0215 | 1252557.1076
65 | 2754489.7143 | 1252562.8076
66 | 2754340.0018 | 1252523.3343
67 | 2754189.9399 | 1252417.3809
68 | 2754223.8252 | 1252563.5762
69 | 2754642.0844 | 1252529.6669
70 | 2754726.6246 | 1252468.9842
71 | 2754952.3595 | 1252404.8544
72 | 2754848.8196 | 1252596.849
73 | 2754680.1481 | 1252420.1042
74 | 2754782.8744 | 1252718.8913
75 | 2754764.3564 | 1252729.4596
76 | 2754763.4453 | 1252686.8965
77 | 2754741.7195 | 1252747.2881
78 | 2754821.6458 | 1252669.2884
79 | 2754960.2812 | 1252410.4015
80 | 2754963.3804 | 1252390.2897
81 | 2754831.4887 | 1252669.1873
82 | 2754886.1904 | 1252620.6349
83 | 2754864.0295 | 1252607.1347
84 | 2754863.5078 | 1252670.9397
85 | 2754847.6767 | 1252669.7208
86 | 2754877.7205 | 1252674.241
87 | 2754691.6738 | 1252397.5244
88 | 2754975.962 | 1252376.2416
89 | 2754731.1912 | 1251878.2264
90 | 2754739.1229 | 1251874.8675
91 | 2754721.2806 | 1251878.6618
92 | 2754489.9477 | 1252562.8232
93 | 2754769.5892 | 1252316.4788
94 | 2754665.6874 | 1252385.8661
95 | 2754343.4192 | 1252518.7958
96 | 2754047.9725 | 1252430.0526
97 | 2754141.9632 | 1252602.9568
98 | 2754548.3681 | 1252431.6316
99 | 2754374.313 | 1252301.3098
100 | 2754407.4699 | 1252265.0248
101 | 2754183.5412 | 1252173.1807
102 | 2754710.3079 | 1252327.4246
103 | 2754900.5078 | 1252292.7401
104 | 2754411.1533 | 1252252.2752
105 | 2754640.5049 | 1252279.0734
106 | 2754572.1005 | 1252205.8689
107 | 2754435.4226 | 1252187.1711
108 | 2754147.1846 | 1252627.4502
109 | 2754021.2631 | 1252431.582
110 | 2753975.8157 | 1252105.0986
111 | 2753961.9502 | 1252084.0718
112 | 2753946.2565 | 1252050.8015
113 | 2753964.1439 | 1252040.5889
114 | 2753980.8993 | 1252031.0226
115 | 2753985.1547 | 1252028.593
116 | 2753994.7922 | 1252023.0905
117 | 2754037.568 | 1252001.9866
118 | 2754048.8818 | 1251997.3048
119 | 2754060.6107 | 1251992.5971
120 | 2753898.2694 | 1251984.7641
121 | 2753901.0825 | 1251980.0117
122 | 2753893.8001 | 1251992.3146
123 | 2753932.5354 | 1251933.9112
124 | 2754118.1225 | 1251894.9644
125 | 2754119.8105 | 1251899.3303
126 | 2754689.6163 | 1251857.1298
127 | 2754733.7861 | 1251811.0548
128 | 2754855.4947 | 1251594.3198
129 | 2754879.5953 | 1251615.5929
130 | 2755107.3249 | 1251600.0115
131 | 2755123.9484 | 1251599.2788
132 | 2755121.3438 | 1251662.0295
133 | 2754691.6738 | 1252397.5244

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1