## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3034-4_1_3_node_95 | 0.4 | n |  | TRUE
1 | bus_LV_3034-4_1_3_node_96 | 0.4 | n |  | TRUE
2 | bus_LV_3034-4_1_3_node_97 | 0.4 | n |  | TRUE
3 | bus_LV_3034-4_1_3_node_98 | 0.4 | n |  | TRUE
4 | bus_LV_3034-4_1_3_node_99 | 0.4 | n |  | TRUE
5 | bus_LV_3034-4_1_3_node_100 | 0.4 | n |  | TRUE
6 | bus_LV_3034-4_1_3_node_115 | 0.4 | n |  | TRUE
7 | bus_LV_3034-4_1_3_node_141 | 0.4 | n |  | TRUE
8 | bus_LV_3034-4_1_3_node_164 | 0.4 | n |  | TRUE
9 | bus_LV_3034-4_1_3_node_101 | 0.4 | n |  | TRUE
10 | bus_LV_3034-4_1_3_node_102 | 0.4 | n |  | TRUE
11 | bus_LV_3034-4_1_3_node_104 | 0.4 | n |  | TRUE
12 | bus_LV_3034-4_1_3_node_103 | 0.4 | n |  | TRUE
13 | bus_LV_3034-4_1_3_node_105 | 0.4 | n |  | TRUE
14 | bus_LV_3034-4_1_3_node_106 | 0.4 | n |  | TRUE
15 | bus_LV_3034-4_1_3_node_147 | 0.4 | n |  | TRUE
16 | bus_LV_3034-4_1_3_node_166 | 0.4 | n |  | TRUE
17 | bus_LV_3034-4_1_3_node_170 | 0.4 | n |  | TRUE
18 | bus_LV_3034-4_1_3_node_124 | 0.4 | n |  | TRUE
19 | bus_LV_3034-4_1_3_node_107 | 0.4 | n |  | TRUE
20 | bus_LV_3034-4_1_3_node_110 | 0.4 | n |  | TRUE
21 | bus_LV_3034-4_1_3_node_114 | 0.4 | n |  | TRUE
22 | bus_LV_3034-4_1_3_node_112 | 0.4 | n |  | TRUE
23 | bus_LV_3034-4_1_3_node_113 | 0.4 | n |  | TRUE
24 | bus_LV_3034-4_1_3_node_200 | 0.4 | n |  | TRUE
25 | bus_LV_3034-4_1_3_node_138 | 0.4 | n |  | TRUE
26 | bus_LV_3034-4_1_3_node_116 | 0.4 | n |  | TRUE
27 | bus_LV_3034-4_1_3_node_118 | 0.4 | n |  | TRUE
28 | bus_LV_3034-4_1_3_node_119 | 0.4 | n |  | TRUE
29 | bus_LV_3034-4_1_3_node_120 | 0.4 | n |  | TRUE
30 | bus_LV_3034-4_1_3_node_171 | 0.4 | n |  | TRUE
31 | bus_LV_3034-4_1_3_node_121 | 0.4 | n |  | TRUE
32 | bus_LV_3034-4_1_3_node_122 | 0.4 | n |  | TRUE
33 | bus_LV_3034-4_1_3_node_123 | 0.4 | n |  | TRUE
34 | bus_LV_3034-4_1_3_node_145 | 0.4 | n |  | TRUE
35 | bus_LV_3034-4_1_3_node_125 | 0.4 | n |  | TRUE
36 | bus_LV_3034-4_1_3_node_126 | 0.4 | n |  | TRUE
37 | bus_LV_3034-4_1_3_node_127 | 0.4 | n |  | TRUE
38 | bus_LV_3034-4_1_3_node_128 | 0.4 | n |  | TRUE
39 | bus_LV_3034-4_1_3_node_129 | 0.4 | n |  | TRUE
40 | bus_LV_3034-4_1_3_node_133 | 0.4 | n |  | TRUE
41 | bus_LV_3034-4_1_3_node_137 | 0.4 | n |  | TRUE
42 | bus_LV_3034-4_1_3_node_135 | 0.4 | n |  | TRUE
43 | bus_LV_3034-4_1_3_node_136 | 0.4 | n |  | TRUE
44 | bus_LV_3034-4_1_3_node_162 | 0.4 | n |  | TRUE
45 | bus_LV_3034-4_1_3_node_139 | 0.4 | n |  | TRUE
46 | bus_LV_3034-4_1_3_node_140 | 0.4 | n |  | TRUE
47 | bus_LV_3034-4_1_3_node_142 | 0.4 | n |  | TRUE
48 | bus_LV_3034-4_1_3_node_143 | 0.4 | n |  | TRUE
49 | bus_LV_3034-4_1_3_node_144 | 0.4 | n |  | TRUE
50 | bus_LV_3034-4_1_3_node_152 | 0.4 | n |  | TRUE
51 | bus_LV_3034-4_1_3_node_204 | 0.4 | n |  | TRUE
52 | bus_LV_3034-4_1_3_node_146 | 0.4 | n |  | TRUE
53 | bus_LV_3034-4_1_3_node_197 | 0.4 | n |  | TRUE
54 | bus_LV_3034-4_1_3_node_172 | 0.4 | n |  | TRUE
55 | bus_LV_3034-4_1_3_node_173 | 0.4 | n |  | TRUE
56 | bus_LV_3034-4_1_3_node_148 | 0.4 | n |  | TRUE
57 | bus_LV_3034-4_1_3_node_149 | 0.4 | n |  | TRUE
58 | bus_LV_3034-4_1_3_node_150 | 0.4 | n |  | TRUE
59 | bus_LV_3034-4_1_3_node_151 | 0.4 | n |  | TRUE
60 | bus_LV_3034-4_1_3_node_153 | 0.4 | n |  | TRUE
61 | bus_LV_3034-4_1_3_node_154 | 0.4 | n |  | TRUE
62 | bus_LV_3034-4_1_3_node_155 | 0.4 | n |  | TRUE
63 | bus_LV_3034-4_1_3_node_156 | 0.4 | n |  | TRUE
64 | bus_LV_3034-4_1_3_node_157 | 0.4 | n |  | TRUE
65 | bus_LV_3034-4_1_3_node_206 | 0.4 | n |  | TRUE
66 | bus_LV_3034-4_1_3_node_205 | 0.4 | n |  | TRUE
67 | bus_LV_3034-4_1_3_node_158 | 0.4 | n |  | TRUE
68 | bus_LV_3034-4_1_3_node_159 | 0.4 | n |  | TRUE
69 | bus_LV_3034-4_1_3_node_160 | 0.4 | n |  | TRUE
70 | bus_LV_3034-4_1_3_node_163 | 0.4 | n |  | TRUE
71 | bus_LV_3034-4_1_3_node_165 | 0.4 | n |  | TRUE
72 | bus_LV_3034-4_1_3_node_167 | 0.4 | n |  | TRUE
73 | bus_LV_3034-4_1_3_node_168 | 0.4 | n |  | TRUE
74 | bus_LV_3034-4_1_3_node_169 | 0.4 | n |  | TRUE
75 | bus_LV_3034-4_1_3_node_202 | 0.4 | n |  | TRUE
76 | bus_LV_3034-4_1_3_node_201 | 0.4 | n |  | TRUE
77 | bus_LV_3034-4_1_3_node_178 | 0.4 | n |  | TRUE
78 | bus_LV_3034-4_1_3_node_179 | 0.4 | n |  | TRUE
79 | bus_LV_3034-4_1_3_node_180 | 0.4 | n |  | TRUE
80 | bus_LV_3034-4_1_3_node_181 | 0.4 | n |  | TRUE
81 | bus_LV_3034-4_1_3_node_190 | 0.4 | n |  | TRUE
82 | bus_LV_3034-4_1_3_node_198 | 0.4 | n |  | TRUE
83 | bus_LV_3034-4_1_3_node_182 | 0.4 | n |  | TRUE
84 | bus_LV_3034-4_1_3_node_183 | 0.4 | n |  | TRUE
85 | bus_LV_3034-4_1_3_node_185 | 0.4 | n |  | TRUE
86 | bus_LV_3034-4_1_3_node_186 | 0.4 | n |  | TRUE
87 | bus_LV_3034-4_1_3_node_187 | 0.4 | n |  | TRUE
88 | bus_LV_3034-4_1_3_node_188 | 0.4 | n |  | TRUE
89 | bus_LV_3034-4_1_3_node_189 | 0.4 | n |  | TRUE
90 | bus_LV_3034-4_1_3_node_191 | 0.4 | n |  | TRUE
91 | bus_LV_3034-4_1_3_node_192 | 0.4 | n |  | TRUE
92 | bus_LV_3034-4_1_3_node_193 | 0.4 | n |  | TRUE
93 | bus_LV_3034-4_1_3_node_194 | 0.4 | n |  | TRUE
94 | bus_LV_3034-4_1_3_node_195 | 0.4 | n |  | TRUE
95 | bus_LV_3034-4_1_3_node_203 | 0.4 | n |  | TRUE
96 | bus_LV_3034-4_1_3_node_196 | 0.4 | n |  | TRUE
97 | bus_LV_3034-4_1_3_node_199 | 0.4 | n |  | TRUE
98 | bus_MV_41_2_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3034-4_1_3_load_95 | 0 | 0.0044324 | 0.0011109 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3034-4_1_3_load_96 | 1 | 0.0106 | 0.0026566 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3034-4_1_3_load_98 | 3 | 0.0074082 | 0.0018567 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3034-4_1_3_load_100 | 5 | 0.0027174 | 0.00068104 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3034-4_1_3_load_115 | 6 | 0.010993 | 0.0027551 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3034-4_1_3_load_141 | 7 | 0.0013609 | 0.00034108 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3034-4_1_3_load_164 | 8 | 0.0020264 | 0.00050786 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3034-4_1_3_load_101 | 9 | 0.0025279 | 0.00063355 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3034-4_1_3_load_102 | 10 | 0.0025728 | 0.00064481 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3034-4_1_3_load_104 | 11 | 0.0032874 | 0.0008239 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3034-4_1_3_load_106 | 14 | 0.0011569 | 0.00028994 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3034-4_1_3_load_170 | 17 | 0.0021073 | 0.00052814 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3034-4_1_3_load_124 | 18 | 0.0011959 | 0.00029972 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3034-4_1_3_load_107 | 19 | 0.0052789 | 0.001323 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3034-4_1_3_load_110 | 20 | 0.0070545 | 0.001768 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3034-4_1_3_load_114 | 21 | 0.0055357 | 0.0013874 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3034-4_1_3_load_113 | 23 | 0.00054998 | 0.00013784 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3034-4_1_3_load_200 | 24 | 0.0010631 | 0.00026643 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3034-4_1_3_load_138 | 25 | 0.0029477 | 0.00073875 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3034-4_1_3_load_116 | 26 | 0.0063931 | 0.0016023 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3034-4_1_3_load_119 | 28 | 0.022178 | 0.0055582 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3034-4_1_3_load_120 | 29 | 0.00097729 | 0.00024493 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3034-4_1_3_load_171 | 30 | 0.0016058 | 0.00040246 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3034-4_1_3_load_121 | 31 | 0.0011722 | 0.00029377 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3034-4_1_3_load_122 | 32 | 0.00089986 | 0.00022553 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3034-4_1_3_load_123 | 33 | 0.0021044 | 0.0005274 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3034-4_1_3_load_145 | 34 | 0.0030442 | 0.00076295 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3034-4_1_3_load_125 | 35 | 0.028236 | 0.0070767 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3034-4_1_3_load_133 | 40 | 0.0039738 | 0.00099592 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3034-4_1_3_load_137 | 41 | 0.012758 | 0.0031975 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3034-4_1_3_load_162 | 44 | 0.002186 | 0.00054786 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3034-4_1_3_load_139 | 45 | 0.0020369 | 0.00051048 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3034-4_1_3_load_140 | 46 | 0.0038583 | 0.00096697 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3034-4_1_3_load_144 | 49 | 0.0018298 | 0.0004586 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3034-4_1_3_load_152 | 50 | 0.0022742 | 0.00056997 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3034-4_1_3_load_204 | 51 | 0.0018376 | 0.00046055 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3034-4_1_3_load_146 | 52 | 0.0027625 | 0.00069235 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3034-4_1_3_load_197 | 53 | 0.0032861 | 0.00082358 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3034-4_1_3_load_148 | 56 | 0.0014866 | 0.00037258 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3034-4_1_3_load_149 | 57 | 0.0017142 | 0.00042962 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3034-4_1_3_load_151 | 59 | 0.0035461 | 0.00088875 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3034-4_1_3_load_153 | 60 | 0.0018894 | 0.00047353 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3034-4_1_3_load_154 | 61 | 0.0023764 | 0.00059559 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3034-4_1_3_load_156 | 63 | 0.0021063 | 0.0005279 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3034-4_1_3_load_206 | 65 | 0.0013823 | 0.00034643 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3034-4_1_3_load_205 | 66 | 0.0019259 | 0.00048268 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3034-4_1_3_load_158 | 67 | 0.00088922 | 0.00022286 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3034-4_1_3_load_159 | 68 | 0.00088876 | 0.00022274 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3034-4_1_3_load_160 | 69 | 0.00088887 | 0.00022277 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3034-4_1_3_load_163 | 70 | 0.0013608 | 0.00034106 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3034-4_1_3_load_165 | 71 | 0.0027607 | 0.00069189 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3034-4_1_3_load_167 | 72 | 0.0053972 | 0.0013527 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3034-4_1_3_load_168 | 73 | 0.0018191 | 0.00045591 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3034-4_1_3_load_169 | 74 | 0.004133 | 0.0010358 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3034-4_1_3_load_202 | 75 | 0.0036479 | 0.00091425 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3034-4_1_3_load_201 | 76 | 0.0041107 | 0.0010302 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3034-4_1_3_load_178 | 77 | 0.0012645 | 0.00031691 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3034-4_1_3_load_180 | 79 | 0.0011652 | 0.00029203 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3034-4_1_3_load_181 | 80 | 0.0009706 | 0.00024326 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3034-4_1_3_load_190 | 81 | 0.0023079 | 0.00057841 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3034-4_1_3_load_198 | 82 | 0.00089528 | 0.00022438 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3034-4_1_3_load_182 | 83 | 0.0050055 | 0.0012545 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3034-4_1_3_load_183 | 84 | 0.0046609 | 0.0011681 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3034-4_1_3_load_185 | 85 | 0.0032188 | 0.00080672 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3034-4_1_3_load_186 | 86 | 0.007191 | 0.0018022 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3034-4_1_3_load_187 | 87 | 0.0041727 | 0.0010458 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3034-4_1_3_load_189 | 89 | 0.0034321 | 0.00086017 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3034-4_1_3_load_191 | 90 | 0.0034514 | 0.00086499 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3034-4_1_3_load_193 | 92 | 0.0023415 | 0.00058684 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3034-4_1_3_load_194 | 93 | 0.0029557 | 0.00074076 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3034-4_1_3_load_195 | 94 | 0.002205 | 0.00055263 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3034-4_1_3_load_203 | 95 | 0.0029524 | 0.00073995 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3034-4_1_3_load_196 | 96 | 0.0036507 | 0.00091495 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3034-4_1_3_load_199 | 97 | 0.00093941 | 0.00023544 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3034-4_1_3_line_0 |  | 0 | 1 | 0.13466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_3034-4_1_3_line_1 |  | 0 | 2 | 0.042304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_3034-4_1_3_line_2 |  | 1 | 3 | 0.031807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_3034-4_1_3_line_3 |  | 2 | 4 | 0.14658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_3034-4_1_3_line_4 |  | 2 | 5 | 0.044922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3034-4_1_3_line_5 |  | 3 | 6 | 0.034991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_3034-4_1_3_line_6 |  | 4 | 7 | 0.0224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_3034-4_1_3_line_7 |  | 4 | 8 | 0.0057621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3034-4_1_3_line_8 |  | 6 | 25 | 0.044283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_3034-4_1_3_line_9 |  | 7 | 46 | 0.0036652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_3034-4_1_3_line_10 |  | 8 | 70 | 0.013465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3034-4_1_3_line_11 |  | 9 | 10 | 0.023386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3034-4_1_3_line_12 |  | 10 | 11 | 0.01965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3034-4_1_3_line_13 |  | 11 | 15 | 0.021385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3034-4_1_3_line_14 |  | 12 | 13 | 0.070544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3034-4_1_3_line_15 |  | 12 | 14 | 0.043895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3034-4_1_3_line_16 |  | 13 | 16 | 0.017747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3034-4_1_3_line_17 |  | 13 | 17 | 0.018212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3034-4_1_3_line_18 |  | 14 | 18 | 0.030299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3034-4_1_3_line_19 |  | 15 | 54 | 0.092936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_3034-4_1_3_line_20 |  | 15 | 55 | 0.084927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_3034-4_1_3_line_21 |  | 16 | 72 | 0.04737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3034-4_1_3_line_22 |  | 16 | 71 | 0.026901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3034-4_1_3_line_23 |  | 17 | 73 | 0.0095373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3034-4_1_3_line_24 |  | 19 | 20 | 0.084484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3034-4_1_3_line_25 |  | 20 | 21 | 0.13235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3034-4_1_3_line_26 |  | 21 | 22 | 0.074948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3034-4_1_3_line_27 |  | 22 | 23 | 0.037772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3034-4_1_3_line_28 |  | 23 | 24 | 0.00063301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3034-4_1_3_line_29 |  | 24 | 97 | 0.0047193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3034-4_1_3_line_30 |  | 25 | 45 | 0.020468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_3034-4_1_3_line_31 |  | 26 | 27 | 0.013324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3034-4_1_3_line_32 |  | 27 | 28 | 0.01166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3034-4_1_3_line_33 |  | 27 | 29 | 0.020731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3034-4_1_3_line_34 |  | 29 | 30 | 0.017623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3034-4_1_3_line_35 |  | 30 | 59 | 0.0017886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3034-4_1_3_line_36 |  | 31 | 32 | 0.11907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3034-4_1_3_line_37 |  | 32 | 33 | 0.017339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3034-4_1_3_line_38 |  | 33 | 34 | 0.03293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3034-4_1_3_line_39 |  | 34 | 52 | 0.026945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3034-4_1_3_line_40 |  | 35 | 36 | 0.034255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_3034-4_1_3_line_41 |  | 35 | 37 | 0.021402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3034-4_1_3_line_42 |  | 36 | 38 | 0.012159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_3034-4_1_3_line_43 |  | 37 | 39 | 0.008028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3034-4_1_3_line_44 |  | 38 | 40 | 0.10177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_3034-4_1_3_line_45 |  | 39 | 41 | 0.042534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3034-4_1_3_line_46 |  | 40 | 42 | 0.095575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_3034-4_1_3_line_47 |  | 42 | 43 | 0.06358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_3034-4_1_3_line_48 |  | 43 | 44 | 0.14174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_3034-4_1_3_line_49 |  | 44 | 45 | 0.012934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_3034-4_1_3_line_50 |  | 46 | 47 | 0.028924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_3034-4_1_3_line_51 |  | 47 | 48 | 0.005821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_3034-4_1_3_line_52 |  | 47 | 49 | 0.023983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_3034-4_1_3_line_53 |  | 48 | 50 | 0.055554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_3034-4_1_3_line_54 |  | 49 | 51 | 0.013204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_3034-4_1_3_line_55 |  | 50 | 58 | 0.013257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_3034-4_1_3_line_56 |  | 51 | 66 | 0.012199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_3034-4_1_3_line_57 |  | 52 | 53 | 0.028455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3034-4_1_3_line_58 |  | 53 | 96 | 0.022512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3034-4_1_3_line_59 |  | 54 | 75 | 0.023573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_3034-4_1_3_line_60 |  | 54 | 76 | 0.0077194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3034-4_1_3_line_61 |  | 55 | 60 | 0.028697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_3034-4_1_3_line_62 |  | 56 | 57 | 0.0040654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3034-4_1_3_line_63 |  | 56 | 58 | 0.0068278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3034-4_1_3_line_64 |  | 57 | 59 | 0.011828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3034-4_1_3_line_65 |  | 58 | 60 | 0.0081611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_3034-4_1_3_line_66 |  | 61 | 62 | 0.021233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3034-4_1_3_line_67 |  | 62 | 63 | 0.01706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_3034-4_1_3_line_68 |  | 62 | 64 | 0.025822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_3034-4_1_3_line_69 |  | 64 | 65 | 0.020994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3034-4_1_3_line_70 |  | 64 | 66 | 0.0033428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_3034-4_1_3_line_71 |  | 65 | 72 | 0.023224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3034-4_1_3_line_72 |  | 67 | 68 | 0.0117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3034-4_1_3_line_73 |  | 68 | 69 | 0.011596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3034-4_1_3_line_74 |  | 69 | 70 | 0.012403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3034-4_1_3_line_75 |  | 73 | 74 | 0.045069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3034-4_1_3_line_76 |  | 75 | 95 | 0.02923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_3034-4_1_3_line_77 |  | 76 | 85 | 0.027375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3034-4_1_3_line_78 |  | 77 | 78 | 0.059514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3034-4_1_3_line_79 |  | 78 | 79 | 0.020816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_3034-4_1_3_line_80 |  | 78 | 80 | 0.019793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_3034-4_1_3_line_81 |  | 79 | 81 | 0.0091023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_3034-4_1_3_line_82 |  | 80 | 82 | 0.0039149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3034-4_1_3_line_83 |  | 81 | 88 | 0.16925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_3034-4_1_3_line_84 |  | 82 | 97 | 0.0045909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3034-4_1_3_line_85 |  | 83 | 84 | 0.035227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3034-4_1_3_line_86 |  | 84 | 85 | 0.023952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3034-4_1_3_line_87 |  | 86 | 87 | 0.039964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_3034-4_1_3_line_88 |  | 86 | 88 | 0.14574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_3034-4_1_3_line_89 |  | 87 | 89 | 0.025979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_3034-4_1_3_line_90 |  | 89 | 90 | 0.021769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_3034-4_1_3_line_91 |  | 90 | 91 | 0.013798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_3034-4_1_3_line_92 |  | 91 | 92 | 0.041735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3034-4_1_3_line_93 |  | 91 | 93 | 0.050591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_3034-4_1_3_line_94 |  | 92 | 94 | 0.01801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3034-4_1_3_line_95 |  | 93 | 95 | 0.02127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_3034-4_1_3_line_96 |  | 94 | 96 | 0.021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3034-4_1_3_trafo_156 | 0.63 MVA 20/0.4 kV | 98 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2754530.9114 | 1254900.705 | 2754531.8337 | 1254900.7399 | 2754535.3755 | 1254900.9547 | 2754541.009 | 1254901.7136 | 2754546.4173 | 1254903.0004 | 2754609.3022 | 1254922.4611 | 2754659.0669 | 1254941.0366
1 | 2754493.2517 | 1254889.967 | 2754494.4463 | 1254893.068 | 2754496.6244 | 1254895.7941 | 2754500.0095 | 1254898.2516 | 2754504.8646 | 1254900.2024 | 2754510.6019 | 1254900.7415 | 2754516.5257 | 1254900.785 | 2754528.0108 | 1254900.5955 | 2754530.9114 | 1254900.705
2 | 2754659.0669 | 1254941.0366 | 2754665.1164 | 1254943.2947 | 2754672.6321 | 1254953.1786 | 2754677.8443 | 1254965.0143
3 | 2754493.2517 | 1254889.967 | 2754492.7841 | 1254886.7739 | 2754492.74 | 1254883.5473 | 2754493.5637 | 1254880.0431 | 2754495.3081 | 1254877.119 | 2754497.7162 | 1254874.5014 | 2754501.192 | 1254872.9127 | 2754516.9027 | 1254868.4292 | 2754529.736 | 1254865.7502 | 2754540.4245 | 1254863.4046 | 2754557.1501 | 1254859.6595 | 2754625.3348 | 1254852.2318
4 | 2754506.9364 | 1254931.2763 | 2754505.1439 | 1254928.2376 | 2754503.3468 | 1254924.5092 | 2754499.6217 | 1254915.1249 | 2754493.4022 | 1254899.5249 | 2754491.6074 | 1254894.5509 | 2754491.7513 | 1254891.9298 | 2754493.2517 | 1254889.967
5 | 2754694.7 | 1254995.3266 | 2754687.309 | 1254986.5063 | 2754677.8443 | 1254965.0143
6 | 2754625.3348 | 1254852.2318 | 2754647.7146 | 1254851.29
7 | 2754625.3348 | 1254852.2318 | 2754619.7238 | 1254850.9206
8 | 2754694.7 | 1254995.3266 | 2754701.1351 | 1255003.0061 | 2754730.8461 | 1255020.0732
9 | 2754651.3765 | 1254851.1359 | 2754647.7146 | 1254851.29
10 | 2754606.5319 | 1254848.2848 | 2754611.4561 | 1254848.9885 | 2754619.7238 | 1254850.9206
11 | 2754807.3602 | 1254854.2403 | 2754785.3028 | 1254846.4698
12 | 2754785.3028 | 1254846.4698 | 2754766.7692 | 1254839.9406
13 | 2754746.5994 | 1254832.8351 | 2754766.7692 | 1254839.9406
14 | 2754865.5756 | 1254942.7213 | 2754857.4858 | 1254940.9413 | 2754852.5292 | 1254936.5295 | 2754835.4706 | 1254900.5031 | 2754828.0644 | 1254891.3448 | 2754824.7757 | 1254888.9564
15 | 2754865.5756 | 1254942.7213 | 2754871.1992 | 1254949.9088 | 2754880.8041 | 1254956.6667 | 2754901.8073 | 1254966.1003
16 | 2754813.447 | 1254901.9177 | 2754819.5352 | 1254894.8142 | 2754820.1835 | 1254891.9616 | 2754824.7757 | 1254888.9564
17 | 2754824.7757 | 1254888.9564 | 2754819.546 | 1254885.1715 | 2754808.4974 | 1254881.1552
18 | 2754901.8073 | 1254966.1003 | 2754925.1386 | 1254976.5795 | 2754929.5886 | 1254978.1595
19 | 2754746.5994 | 1254832.8351 | 2754704.6723 | 1254818.0695 | 2754680.1314 | 1254808.9417 | 2754659.5874 | 1254799.6515
20 | 2754662.5518 | 1254826.578 | 2754715.0848 | 1254828.8857 | 2754733.8818 | 1254834.8382 | 2754746.5994 | 1254832.8351
21 | 2754813.447 | 1254901.9177 | 2754769.0428 | 1254885.4189
22 | 2754813.447 | 1254901.9177 | 2754815.6364 | 1254914.8767 | 2754819.4915 | 1254928.0835
23 | 2754808.4974 | 1254881.1552 | 2754799.534 | 1254877.8969
24 | 2754930.9162 | 1254599.0689 | 2754846.9369 | 1254608.289
25 | 2754723.7045 | 1254656.5612 | 2754846.9369 | 1254608.289
26 | 2754723.7045 | 1254656.5612 | 2754728.4795 | 1254650.035 | 2754731.036 | 1254635.9766 | 2754729.6988 | 1254621.0157 | 2754724.2016 | 1254610.9954 | 2754717.0667 | 1254606.4489 | 2754711.4015 | 1254602.8529 | 2754705.3545 | 1254593.6525
27 | 2754705.3545 | 1254593.6525 | 2754695.6804 | 1254592.1094 | 2754680.9866 | 1254585.9528 | 2754677.3802 | 1254584.446 | 2754669.7051 | 1254581.7481
28 | 2754669.108 | 1254581.5382 | 2754669.108 | 1254581.5382 | 2754669.7051 | 1254581.7481
29 | 2754664.3906 | 1254581.6742 | 2754669.108 | 1254581.5382
30 | 2754748.5252 | 1255030.3788 | 2754747.0815 | 1255029.3995 | 2754730.8461 | 1255020.0732
31 | 2754566.0302 | 1254803.4574 | 2754560.8379 | 1254803.1438 | 2754552.7171 | 1254803.3196
32 | 2754566.0302 | 1254803.4574 | 2754566.4571 | 1254797.5182 | 2754564.6984 | 1254792.0906
33 | 2754566.0302 | 1254803.4574 | 2754571.4865 | 1254803.7779 | 2754586.6032 | 1254805.8994
34 | 2754603.9278 | 1254809.0832 | 2754592.6185 | 1254806.7435 | 2754586.6032 | 1254805.8994
35 | 2754605.6793 | 1254809.4455 | 2754603.9278 | 1254809.0832
36 | 2754951.9894 | 1254906.6167 | 2754951.1782 | 1254904.8112 | 2754947.2762 | 1254896.7344 | 2754941.0983 | 1254891.9792 | 2754933.0036 | 1254888.9421 | 2754926.801 | 1254889.169 | 2754912.7439 | 1254895.9192 | 2754907.4342 | 1254895.4799 | 2754901.2379 | 1254888.8334 | 2754873.3338 | 1254840.9039
37 | 2754863.4657 | 1254826.6755 | 2754870.7278 | 1254836.4276 | 2754873.3338 | 1254840.9039
38 | 2754838.1468 | 1254806.6457 | 2754844.2246 | 1254809.4188 | 2754852.9619 | 1254814.4412 | 2754858.2009 | 1254819.6055 | 2754863.4657 | 1254826.6755
39 | 2754813.6329 | 1254795.4609 | 2754838.1468 | 1254806.6457
40 | 2754782.3699 | 1255294.6866 | 2754771.8964 | 1255311.3406 | 2754771.5075 | 1255319.8612 | 2754774.7473 | 1255324.9732
41 | 2754795.5617 | 1255329.6219 | 2754783.8252 | 1255327.9134 | 2754774.7473 | 1255324.9732
42 | 2754779.8661 | 1255282.787 | 2754782.3699 | 1255294.6866
43 | 2754795.5617 | 1255329.6219 | 2754801.6974 | 1255334.8208
44 | 2754779.8661 | 1255282.787 | 2754780.3568 | 1255266.339 | 2754783.9556 | 1255255.4221 | 2754791.1633 | 1255246.1902 | 2754797.8086 | 1255241.1477 | 2754826.6171 | 1255223.8279 | 2754842.875 | 1255211.9177
45 | 2754801.6974 | 1255334.8208 | 2754817.4469 | 1255338.6252 | 2754829.4724 | 1255339.3847 | 2754843.4446 | 1255336.4254
46 | 2754921.102 | 1255161.581 | 2754921.2636 | 1255164.6327 | 2754918.8225 | 1255169.0844 | 2754863.1756 | 1255197.0459 | 2754842.875 | 1255211.9177
47 | 2754921.102 | 1255161.581 | 2754900.6237 | 1255145.5182 | 2754876.5504 | 1255116.5708
48 | 2754876.5504 | 1255116.5708 | 2754866.6123 | 1255107.5575 | 2754853.1436 | 1255097.9068 | 2754837.4804 | 1255090.2006 | 2754820.6465 | 1255079.9281 | 2754809.4646 | 1255071.7165 | 2754759.2289 | 1255037.6395
49 | 2754748.5252 | 1255030.3788 | 2754759.2289 | 1255037.6395
50 | 2754680.2753 | 1254849.9197 | 2754651.3765 | 1254851.1359
51 | 2754680.2753 | 1254849.9197 | 2754686.1087 | 1254849.6718
52 | 2754680.2753 | 1254849.9197 | 2754693.9615 | 1254861.3885 | 2754699.5122 | 1254863.9815
53 | 2754686.1087 | 1254849.6718 | 2754680.8405 | 1254841.8708 | 2754643.6098 | 1254825.8827 | 2754638.7593 | 1254823.0399
54 | 2754699.5122 | 1254863.9815 | 2754704.4531 | 1254866.2897 | 2754712.0051 | 1254868.0342
55 | 2754627.322 | 1254816.3368 | 2754638.7593 | 1254823.0399
56 | 2754712.0051 | 1254868.0342 | 2754723.8911 | 1254870.7798
57 | 2754787.7454 | 1254783.6494 | 2754813.6329 | 1254795.4609
58 | 2754767.2892 | 1254774.2515 | 2754776.4983 | 1254778.5177 | 2754787.7454 | 1254783.6494
59 | 2754659.5874 | 1254799.6515 | 2754680.2844 | 1254797.0227 | 2754682.9937 | 1254797.0724
60 | 2754659.5874 | 1254799.6515 | 2754653.0297 | 1254795.5788
61 | 2754662.5518 | 1254826.578 | 2754635.3877 | 1254817.3241
62 | 2754616.9644 | 1254812.9627 | 2754620.8299 | 1254814.2219
63 | 2754627.322 | 1254816.3368 | 2754620.8299 | 1254814.2219
64 | 2754605.6793 | 1254809.4455 | 2754607.0175 | 1254809.7224 | 2754616.9644 | 1254812.9627
65 | 2754627.322 | 1254816.3368 | 2754634.0857 | 1254816.8806 | 2754635.3877 | 1254817.3241
66 | 2754745.4801 | 1254889.7738 | 2754760.8447 | 1254901.4202 | 2754762.4823 | 1254902.4852
67 | 2754745.4801 | 1254889.7738 | 2754728.4935 | 1254888.1906
68 | 2754727.1481 | 1254871.5322 | 2754745.4801 | 1254889.7738
69 | 2754727.1481 | 1254871.5322 | 2754741.5126 | 1254874.9554 | 2754747.3313 | 1254877.1752
70 | 2754727.1481 | 1254871.5322 | 2754723.8911 | 1254870.7798
71 | 2754747.3313 | 1254877.1752 | 2754765.113 | 1254883.9588 | 2754769.0428 | 1254885.4189
72 | 2754571.1562 | 1254843.5024 | 2754582.7625 | 1254844.9764
73 | 2754594.2536 | 1254846.5303 | 2754588.3103 | 1254845.681 | 2754582.7625 | 1254844.9764
74 | 2754594.2536 | 1254846.5303 | 2754606.5319 | 1254848.2848
75 | 2754757.1768 | 1254862.4995 | 2754799.534 | 1254877.8969
76 | 2754682.9937 | 1254797.0724 | 2754694.5205 | 1254797.2836 | 2754705.6042 | 1254791.6675 | 2754709.9279 | 1254788.6448
77 | 2754629.7748 | 1254781.1359 | 2754653.0297 | 1254795.5788
78 | 2754643.2526 | 1254598.6913 | 2754673.1601 | 1254639.9133 | 2754679.2107 | 1254646.0044
79 | 2754643.2526 | 1254598.6913 | 2754634.1254 | 1254612.033 | 2754630.6832 | 1254615.1605
80 | 2754643.2526 | 1254598.6913 | 2754649.031 | 1254592.1801 | 2754653.8697 | 1254586.6788 | 2754656.7764 | 1254584.2914
81 | 2754623.9464 | 1254621.2815 | 2754630.6832 | 1254615.1605
82 | 2754656.7764 | 1254584.2914 | 2754659.8016 | 1254581.8066
83 | 2754463.0909 | 1254661.2636 | 2754486.7475 | 1254657.4657 | 2754499.3247 | 1254656.515 | 2754501.5633 | 1254656.351 | 2754505.874 | 1254656.319 | 2754512.6235 | 1254656.2617 | 2754522.2421 | 1254656.7464 | 2754532.0195 | 1254656.9351 | 2754559.3295 | 1254653.1328 | 2754577.6238 | 1254647.1487 | 2754599.2963 | 1254636.0922 | 2754621.9171 | 1254623.1253 | 2754623.9464 | 1254621.2815
84 | 2754659.8016 | 1254581.8066 | 2754659.8016 | 1254581.8066 | 2754664.3906 | 1254581.6742
85 | 2754579.502 | 1254749.9131 | 2754609.4276 | 1254768.4989
86 | 2754609.4276 | 1254768.4989 | 2754629.7748 | 1254781.1359
87 | 2754604.9333 | 1254693.6866 | 2754620.6017 | 1254701.191 | 2754639.2626 | 1254713.9249
88 | 2754463.0909 | 1254661.2636 | 2754473.0708 | 1254663.5261 | 2754485.7753 | 1254665.7931 | 2754505.9165 | 1254669.7224 | 2754521.5828 | 1254673.0344 | 2754541.8945 | 1254677.0794 | 2754570.3839 | 1254683.0288 | 2754589.2958 | 1254687.4935 | 2754602.9415 | 1254692.7327 | 2754604.9333 | 1254693.6866
89 | 2754639.2626 | 1254713.9249 | 2754645.9562 | 1254718.4924 | 2754660.3837 | 1254729.0463 | 2754660.3837 | 1254729.0463
90 | 2754660.3837 | 1254729.0463 | 2754667.7404 | 1254734.0545 | 2754679.5625 | 1254739.1401
91 | 2754692.4717 | 1254743.9992 | 2754682.3027 | 1254740.3188 | 2754679.5625 | 1254739.1401
92 | 2754692.4717 | 1254743.9992 | 2754725.9728 | 1254756.2865 | 2754731.5579 | 1254758.6166
93 | 2754692.4717 | 1254743.9992 | 2754698.0053 | 1254749.16 | 2754708.077 | 1254755.4071 | 2754717.3775 | 1254767.4732 | 2754722.6302 | 1254773.5609 | 2754728.1066 | 1254777.4412 | 2754726.9258 | 1254777.5456
94 | 2754731.5579 | 1254758.6166 | 2754748.1792 | 1254765.551
95 | 2754709.9279 | 1254788.6448 | 2754711.3398 | 1254787.6578 | 2754716.911 | 1254780.9856 | 2754721.9938 | 1254777.982 | 2754726.9258 | 1254777.5456
96 | 2754748.1792 | 1254765.551 | 2754751.4857 | 1254766.9304 | 2754767.2892 | 1254774.2515

## bus_geodata
| x | y | coords
0 | 2754530.9114 | 1254900.705
1 | 2754659.0669 | 1254941.0366
2 | 2754493.2517 | 1254889.967
3 | 2754677.8443 | 1254965.0143
4 | 2754625.3348 | 1254852.2318
5 | 2754506.9364 | 1254931.2763
6 | 2754694.7 | 1254995.3266
7 | 2754647.7146 | 1254851.29
8 | 2754619.7238 | 1254850.9206
9 | 2754807.3602 | 1254854.2403
10 | 2754785.3028 | 1254846.4698
11 | 2754766.7692 | 1254839.9406
12 | 2754865.5756 | 1254942.7213
13 | 2754824.7757 | 1254888.9564
14 | 2754901.8073 | 1254966.1003
15 | 2754746.5994 | 1254832.8351
16 | 2754813.447 | 1254901.9177
17 | 2754808.4974 | 1254881.1552
18 | 2754929.5886 | 1254978.1595
19 | 2754930.9162 | 1254599.0689
20 | 2754846.9369 | 1254608.289
21 | 2754723.7045 | 1254656.5612
22 | 2754705.3545 | 1254593.6525
23 | 2754669.7051 | 1254581.7481
24 | 2754669.108 | 1254581.5382
25 | 2754730.8461 | 1255020.0732
26 | 2754552.7171 | 1254803.3196
27 | 2754566.0302 | 1254803.4574
28 | 2754564.6984 | 1254792.0906
29 | 2754586.6032 | 1254805.8994
30 | 2754603.9278 | 1254809.0832
31 | 2754951.9894 | 1254906.6167
32 | 2754873.3338 | 1254840.9039
33 | 2754863.4657 | 1254826.6755
34 | 2754838.1468 | 1254806.6457
35 | 2754774.7473 | 1255324.9732
36 | 2754782.3699 | 1255294.6866
37 | 2754795.5617 | 1255329.6219
38 | 2754779.8661 | 1255282.787
39 | 2754801.6974 | 1255334.8208
40 | 2754842.875 | 1255211.9177
41 | 2754843.4446 | 1255336.4254
42 | 2754921.102 | 1255161.581
43 | 2754876.5504 | 1255116.5708
44 | 2754759.2289 | 1255037.6395
45 | 2754748.5252 | 1255030.3788
46 | 2754651.3765 | 1254851.1359
47 | 2754680.2753 | 1254849.9197
48 | 2754686.1087 | 1254849.6718
49 | 2754699.5122 | 1254863.9815
50 | 2754638.7593 | 1254823.0399
51 | 2754712.0051 | 1254868.0342
52 | 2754813.6329 | 1254795.4609
53 | 2754787.7454 | 1254783.6494
54 | 2754659.5874 | 1254799.6515
55 | 2754662.5518 | 1254826.578
56 | 2754620.8299 | 1254814.2219
57 | 2754616.9644 | 1254812.9627
58 | 2754627.322 | 1254816.3368
59 | 2754605.6793 | 1254809.4455
60 | 2754635.3877 | 1254817.3241
61 | 2754762.4823 | 1254902.4852
62 | 2754745.4801 | 1254889.7738
63 | 2754728.4935 | 1254888.1906
64 | 2754727.1481 | 1254871.5322
65 | 2754747.3313 | 1254877.1752
66 | 2754723.8911 | 1254870.7798
67 | 2754571.1562 | 1254843.5024
68 | 2754582.7625 | 1254844.9764
69 | 2754594.2536 | 1254846.5303
70 | 2754606.5319 | 1254848.2848
71 | 2754819.4915 | 1254928.0835
72 | 2754769.0428 | 1254885.4189
73 | 2754799.534 | 1254877.8969
74 | 2754757.1768 | 1254862.4995
75 | 2754682.9937 | 1254797.0724
76 | 2754653.0297 | 1254795.5788
77 | 2754679.2107 | 1254646.0044
78 | 2754643.2526 | 1254598.6913
79 | 2754630.6832 | 1254615.1605
80 | 2754656.7764 | 1254584.2914
81 | 2754623.9464 | 1254621.2815
82 | 2754659.8016 | 1254581.8066
83 | 2754579.502 | 1254749.9131
84 | 2754609.4276 | 1254768.4989
85 | 2754629.7748 | 1254781.1359
86 | 2754604.9333 | 1254693.6866
87 | 2754639.2626 | 1254713.9249
88 | 2754463.0909 | 1254661.2636
89 | 2754660.3837 | 1254729.0463
90 | 2754679.5625 | 1254739.1401
91 | 2754692.4717 | 1254743.9992
92 | 2754731.5579 | 1254758.6166
93 | 2754726.9258 | 1254777.5456
94 | 2754748.1792 | 1254765.551
95 | 2754709.9279 | 1254788.6448
96 | 2754767.2892 | 1254774.2515
97 | 2754664.3906 | 1254581.6742
98 | 2754745.4801 | 1254889.7738

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1