## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3037-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3037-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3037-3_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3037-3_0_5_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_3037-3_0_5_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_3037-3_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_3037-3_0_5_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_3037-3_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_3037-3_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3037-3_0_5_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_3037-3_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_3037-3_0_5_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_3037-3_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3037-3_0_5_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_3037-3_0_5_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_3037-3_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3037-3_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3037-3_0_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_3037-3_0_5_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_3037-3_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3037-3_0_5_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_3037-3_0_5_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_3037-3_0_5_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_3037-3_0_5_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_3037-3_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_3037-3_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_3037-3_0_5_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_3037-3_0_5_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_3037-3_0_5_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_3037-3_0_5_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_3037-3_0_5_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_3037-3_0_5_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_3037-3_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_3037-3_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_3037-3_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_3037-3_0_5_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_3037-3_0_5_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_3037-3_0_5_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_3037-3_0_5_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_3037-3_0_5_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_3037-3_0_5_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_3037-3_0_5_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_3037-3_0_5_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_3037-3_0_5_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_3037-3_0_5_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_3037-3_0_5_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_3037-3_0_5_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_3037-3_0_5_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_3037-3_0_5_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_3037-3_0_5_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_3037-3_0_5_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_3037-3_0_5_node_49 | 0.4 | n |  | TRUE
52 | bus_MV_46_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3037-3_0_5_load_0 | 0 | 0.01489 | 0.0037318 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3037-3_0_5_load_53 | 6 | 0.0081909 | 0.0020528 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3037-3_0_5_load_54 | 9 | 0.0087742 | 0.002199 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3037-3_0_5_load_29 | 11 | 0.007363 | 0.0018454 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3037-3_0_5_load_14 | 13 | 0.0047232 | 0.0011837 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3037-3_0_5_load_13 | 15 | 0.005785 | 0.0014499 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3037-3_0_5_load_11 | 16 | 0.0041235 | 0.0010334 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3037-3_0_5_load_15 | 17 | 0.0083837 | 0.0021012 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3037-3_0_5_load_12 | 19 | 0.0047667 | 0.0011946 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3037-3_0_5_load_23 | 21 | 0.0042489 | 0.0010649 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3037-3_0_5_load_31 | 22 | 0.0030918 | 0.00077488 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3037-3_0_5_load_10 | 23 | 0.006103 | 0.0015295 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3037-3_0_5_load_16 | 24 | 0.0020746 | 0.00051995 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3037-3_0_5_load_40 | 27 | 0.010665 | 0.0026728 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3037-3_0_5_load_38 | 28 | 0.0045626 | 0.0011435 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3037-3_0_5_load_24 | 30 | 0.0022889 | 0.00057365 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3037-3_0_5_load_33 | 31 | 0.0055032 | 0.0013792 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3037-3_0_5_load_18 | 33 | 0.037761 | 0.0094637 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3037-3_0_5_load_19 | 34 | 0.066517 | 0.016671 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3037-3_0_5_load_39 | 36 | 0.048586 | 0.012177 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3037-3_0_5_load_34 | 37 | 0.04171 | 0.010454 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3037-3_0_5_load_51 | 38 | 0.041583 | 0.010422 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3037-3_0_5_load_50 | 40 | 0.0045012 | 0.0011281 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3037-3_0_5_load_35 | 42 | 0.089102 | 0.022331 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3037-3_0_5_load_37 | 43 | 0.029723 | 0.0074492 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3037-3_0_5_load_41 | 45 | 0.0034157 | 0.00085605 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3037-3_0_5_load_43 | 46 | 0.00072617 | 0.000182 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3037-3_0_5_load_46 | 48 | 0.037506 | 0.0093999 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3037-3_0_5_load_47 | 49 | 0.002354 | 0.00058997 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3037-3_0_5_load_48 | 50 | 0.0021527 | 0.00053953 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3037-3_0_5_line_0 |  | 0 | 1 | 0.0078589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3037-3_0_5_line_1 |  | 0 | 2 | 0.0033182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3037-3_0_5_line_2 |  | 1 | 3 | 0.024468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3037-3_0_5_line_3 |  | 2 | 4 | 0.006125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3037-3_0_5_line_4 |  | 3 | 16 | 0.017697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3037-3_0_5_line_5 |  | 3 | 17 | 0.010121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3037-3_0_5_line_6 |  | 3 | 10 | 0.003057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3037-3_0_5_line_7 |  | 4 | 5 | 0.010526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3037-3_0_5_line_8 |  | 5 | 6 | 0.02203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3037-3_0_5_line_9 |  | 7 | 8 | 0.006519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3037-3_0_5_line_10 |  | 7 | 9 | 0.061405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3037-3_0_5_line_11 |  | 8 | 15 | 0.021144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3037-3_0_5_line_12 |  | 10 | 11 | 0.022288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3037-3_0_5_line_13 |  | 11 | 18 | 0.034516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3037-3_0_5_line_14 |  | 12 | 13 | 0.0033574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3037-3_0_5_line_15 |  | 12 | 14 | 0.016786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3037-3_0_5_line_16 |  | 13 | 19 | 0.01495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3037-3_0_5_line_17 |  | 14 | 20 | 0.004599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3037-3_0_5_line_18 |  | 14 | 21 | 0.016425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3037-3_0_5_line_19 |  | 15 | 19 | 0.018133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3037-3_0_5_line_20 |  | 16 | 23 | 0.0074079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3037-3_0_5_line_21 |  | 17 | 24 | 0.0063208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3037-3_0_5_line_22 |  | 18 | 29 | 0.010102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3037-3_0_5_line_23 |  | 18 | 30 | 0.017812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3037-3_0_5_line_24 |  | 20 | 22 | 0.0045487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3037-3_0_5_line_25 |  | 21 | 30 | 0.010812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3037-3_0_5_line_26 |  | 25 | 26 | 0.005708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_3037-3_0_5_line_27 |  | 25 | 27 | 0.013071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3037-3_0_5_line_28 |  | 26 | 28 | 0.0088674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3037-3_0_5_line_29 |  | 26 | 29 | 0.005152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3037-3_0_5_line_30 |  | 27 | 32 | 0.015458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_3037-3_0_5_line_31 |  | 29 | 31 | 0.020183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3037-3_0_5_line_32 |  | 31 | 39 | 0.012615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3037-3_0_5_line_33 |  | 32 | 35 | 0.004312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_3037-3_0_5_line_34 |  | 32 | 34 | 0.0082526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3037-3_0_5_line_35 |  | 33 | 34 | 0.037989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3037-3_0_5_line_36 |  | 35 | 36 | 0.014307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3037-3_0_5_line_37 |  | 35 | 37 | 0.020465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_3037-3_0_5_line_38 |  | 36 | 38 | 0.004107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3037-3_0_5_line_39 |  | 37 | 42 | 0.0060608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3037-3_0_5_line_40 |  | 39 | 40 | 0.0011519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3037-3_0_5_line_41 |  | 40 | 41 | 0.020201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3037-3_0_5_line_42 |  | 41 | 51 | 0.031164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3037-3_0_5_line_43 |  | 42 | 43 | 0.0039143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3037-3_0_5_line_44 |  | 43 | 44 | 0.0046077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3037-3_0_5_line_45 |  | 44 | 45 | 0.01878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3037-3_0_5_line_46 |  | 46 | 47 | 0.07192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3037-3_0_5_line_47 |  | 47 | 48 | 0.018715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3037-3_0_5_line_48 |  | 48 | 49 | 0.01671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3037-3_0_5_line_49 |  | 49 | 50 | 0.0136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3037-3_0_5_line_50 |  | 50 | 51 | 0.098008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3037-3_0_5_trafo_36 | 0.63 MVA 20/0.4 kV | 52 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2763084.0449 | 1257856.8042 | 2763082.9036 | 1257859.342 | 2763081.0673 | 1257860.8152 | 2763078.5593 | 1257861.8731
1 | 2763075.4301 | 1257861.4161 | 2763077.8003 | 1257862.1933 | 2763078.5593 | 1257861.8731
2 | 2763084.0449 | 1257856.8042 | 2763085.4555 | 1257853.5285 | 2763091.0571 | 1257855.863 | 2763092.9648 | 1257859.1857 | 2763095.7159 | 1257863.1101 | 2763100.5267 | 1257867.0356
3 | 2763075.4301 | 1257861.4161 | 2763069.5571 | 1257859.6191
4 | 2763100.5267 | 1257867.0356 | 2763090.92 | 1257881.8976
5 | 2763100.5267 | 1257867.0356 | 2763104.8505 | 1257868.9234 | 2763108.9657 | 1257869.8933 | 2763110.1405 | 1257869.9257
6 | 2763102.1894 | 1257864.4676 | 2763100.5267 | 1257867.0356
7 | 2763069.5571 | 1257859.6191 | 2763073.4187 | 1257855.2876 | 2763074.7922 | 1257854.1799 | 2763077.0918 | 1257852.3191
8 | 2763077.0918 | 1257852.3191 | 2763074.5099 | 1257848.8221 | 2763071.11 | 1257844.891 | 2763066.9403 | 1257840.972 | 2763061.7844 | 1257836.5951
9 | 2763108.201 | 1257835.5252 | 2763101.7937 | 1257834.2251
10 | 2763115.9235 | 1257798.1657 | 2763124.6901 | 1257799.542 | 2763129.0463 | 1257801.0747 | 2763131.2297 | 1257804.2493 | 2763130.9692 | 1257808.7691 | 2763128.7226 | 1257812.8114 | 2763125.8021 | 1257815.8452 | 2763115.2953 | 1257820.9388 | 2763102.7817 | 1257832.0501 | 2763101.7937 | 1257834.2251
11 | 2763108.201 | 1257835.5252 | 2763115.0932 | 1257836.4717 | 2763120.8831 | 1257836.6314 | 2763128.0228 | 1257835.171 | 2763129.0881 | 1257834.8683
12 | 2763102.1894 | 1257864.4676 | 2763106.6342 | 1257866.0695 | 2763111.4791 | 1257866.5702 | 2763115.8493 | 1257866.5017 | 2763121.2893 | 1257865.3948 | 2763123.9863 | 1257864.7607
13 | 2763155.5162 | 1257872.6011 | 2763143.831 | 1257864.6263 | 2763138.1207 | 1257862.678 | 2763134.3385 | 1257862.7628 | 2763129.164 | 1257863.5432 | 2763123.9863 | 1257864.7607
14 | 2763162.0537 | 1257828.9802 | 2763160.9111 | 1257825.8232
15 | 2763174.8285 | 1257833.2924 | 2763171.7727 | 1257830.8389 | 2763163.5548 | 1257833.0925 | 2763162.0537 | 1257828.9802
16 | 2763160.9111 | 1257825.8232 | 2763146.5303 | 1257829.9106
17 | 2763174.8285 | 1257833.2924 | 2763178.4857 | 1257836.0961
18 | 2763174.8285 | 1257833.2924 | 2763170.1112 | 1257836.6436 | 2763167.1854 | 1257840.1444 | 2763164.6564 | 1257845.6694
19 | 2763146.5303 | 1257829.9106 | 2763129.0881 | 1257834.8683
20 | 2763090.92 | 1257881.8976 | 2763086.626 | 1257885.7722 | 2763085.1179 | 1257886.3752
21 | 2763116.4102 | 1257869.4819 | 2763113.5342 | 1257870.0193 | 2763110.1405 | 1257869.9257
22 | 2763155.5162 | 1257872.6011 | 2763153.1074 | 1257877.3286 | 2763157.6934 | 1257878.7342
23 | 2763155.5162 | 1257872.6011 | 2763160.4895 | 1257862.7057 | 2763162.2787 | 1257856.6486 | 2763162.3679 | 1257856.2368
24 | 2763178.4857 | 1257836.0961 | 2763175.0223 | 1257839.0449
25 | 2763164.6564 | 1257845.6694 | 2763162.3679 | 1257856.2368
26 | 2763150.7631 | 1257883.2702 | 2763156.4689 | 1257883.739
27 | 2763150.7631 | 1257883.2702 | 2763146.3003 | 1257895.556
28 | 2763156.4689 | 1257883.739 | 2763153.1122 | 1257891.9466
29 | 2763156.4689 | 1257883.739 | 2763157.6934 | 1257878.7342
30 | 2763141.0227 | 1257910.0853 | 2763146.3003 | 1257895.556
31 | 2763157.6934 | 1257878.7342 | 2763169.0794 | 1257882.2406 | 2763177.1358 | 1257884.1057
32 | 2763189.4253 | 1257886.9508 | 2763177.1358 | 1257884.1057
33 | 2763141.0227 | 1257910.0853 | 2763145.0212 | 1257911.7306
34 | 2763141.0227 | 1257910.0853 | 2763137.7822 | 1257917.6751
35 | 2763137.7822 | 1257917.6751 | 2763137.127 | 1257919.2097 | 2763133.6406 | 1257924.7083 | 2763129.6082 | 1257929.491 | 2763125.2222 | 1257932.5957 | 2763119.4938 | 1257934.8624 | 2763112.8362 | 1257936.0802 | 2763107.5862 | 1257935.9439
36 | 2763145.0212 | 1257911.7306 | 2763143.3681 | 1257915.589 | 2763140.7843 | 1257921.7354 | 2763139.2952 | 1257924.8386
37 | 2763145.0212 | 1257911.7306 | 2763163.9429 | 1257919.5267
38 | 2763139.2952 | 1257924.8386 | 2763137.5184 | 1257928.5414
39 | 2763163.9429 | 1257919.5267 | 2763169.5467 | 1257921.8356
40 | 2763189.4253 | 1257886.9508 | 2763190.574 | 1257887.0361
41 | 2763210.6668 | 1257889.0052 | 2763204.1898 | 1257888.0479 | 2763190.574 | 1257887.0361
42 | 2763210.6668 | 1257889.0052 | 2763217.1792 | 1257892.7776 | 2763228.8968 | 1257902.8556 | 2763233.7376 | 1257909.5183
43 | 2763173.1658 | 1257923.3268 | 2763169.5467 | 1257921.8356
44 | 2763177.426 | 1257925.0821 | 2763173.1658 | 1257923.3268
45 | 2763177.426 | 1257925.0821 | 2763195.1801 | 1257918.9598
46 | 2763170.6296 | 1258012.2637 | 2763098.7221 | 1258010.9081
47 | 2763170.6296 | 1258012.2637 | 2763188.8157 | 1258007.848
48 | 2763204.0427 | 1258001.0393 | 2763190.4152 | 1258007.4596 | 2763188.8157 | 1258007.848
49 | 2763204.0427 | 1258001.0393 | 2763213.721 | 1257996.4795 | 2763216.1069 | 1257994.8289
50 | 2763233.7376 | 1257909.5183 | 2763237.7863 | 1257915.0802 | 2763243.6183 | 1257930.6573 | 2763243.1627 | 1257955.3595 | 2763237.5421 | 1257972.578 | 2763230.5572 | 1257984.8316 | 2763216.1069 | 1257994.8289

## bus_geodata
| x | y | coords
0 | 2763078.5593 | 1257861.8731
1 | 2763084.0449 | 1257856.8042
2 | 2763075.4301 | 1257861.4161
3 | 2763100.5267 | 1257867.0356
4 | 2763069.5571 | 1257859.6191
5 | 2763077.0918 | 1257852.3191
6 | 2763061.7844 | 1257836.5951
7 | 2763101.7937 | 1257834.2251
8 | 2763108.201 | 1257835.5252
9 | 2763115.9235 | 1257798.1657
10 | 2763102.1894 | 1257864.4676
11 | 2763123.9863 | 1257864.7607
12 | 2763162.0537 | 1257828.9802
13 | 2763160.9111 | 1257825.8232
14 | 2763174.8285 | 1257833.2924
15 | 2763129.0881 | 1257834.8683
16 | 2763090.92 | 1257881.8976
17 | 2763110.1405 | 1257869.9257
18 | 2763155.5162 | 1257872.6011
19 | 2763146.5303 | 1257829.9106
20 | 2763178.4857 | 1257836.0961
21 | 2763164.6564 | 1257845.6694
22 | 2763175.0223 | 1257839.0449
23 | 2763085.1179 | 1257886.3752
24 | 2763116.4102 | 1257869.4819
25 | 2763150.7631 | 1257883.2702
26 | 2763156.4689 | 1257883.739
27 | 2763146.3003 | 1257895.556
28 | 2763153.1122 | 1257891.9466
29 | 2763157.6934 | 1257878.7342
30 | 2763162.3679 | 1257856.2368
31 | 2763177.1358 | 1257884.1057
32 | 2763141.0227 | 1257910.0853
33 | 2763107.5862 | 1257935.9439
34 | 2763137.7822 | 1257917.6751
35 | 2763145.0212 | 1257911.7306
36 | 2763139.2952 | 1257924.8386
37 | 2763163.9429 | 1257919.5267
38 | 2763137.5184 | 1257928.5414
39 | 2763189.4253 | 1257886.9508
40 | 2763190.574 | 1257887.0361
41 | 2763210.6668 | 1257889.0052
42 | 2763169.5467 | 1257921.8356
43 | 2763173.1658 | 1257923.3268
44 | 2763177.426 | 1257925.0821
45 | 2763195.1801 | 1257918.9598
46 | 2763098.7221 | 1258010.9081
47 | 2763170.6296 | 1258012.2637
48 | 2763188.8157 | 1258007.848
49 | 2763204.0427 | 1258001.0393
50 | 2763216.1069 | 1257994.8289
51 | 2763233.7376 | 1257909.5183
52 | 2763141.0227 | 1257910.0853

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1